## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-95_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-95_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-95_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-95_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1061-95_0_5_node_39 | 0.4 | n |  | TRUE
5 | bus_LV_1061-95_0_5_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_1061-95_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1061-95_0_5_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1061-95_0_5_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_1061-95_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1061-95_0_5_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_1061-95_0_5_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1061-95_0_5_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_1061-95_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1061-95_0_5_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_1061-95_0_5_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1061-95_0_5_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_1061-95_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1061-95_0_5_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_1061-95_0_5_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_1061-95_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1061-95_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1061-95_0_5_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_1061-95_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1061-95_0_5_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_1061-95_0_5_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1061-95_0_5_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_1061-95_0_5_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_1061-95_0_5_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_1061-95_0_5_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_1061-95_0_5_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_1061-95_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_1061-95_0_5_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_1061-95_0_5_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_1061-95_0_5_node_90 | 0.4 | n |  | TRUE
35 | bus_LV_1061-95_0_5_node_88 | 0.4 | n |  | TRUE
36 | bus_LV_1061-95_0_5_node_98 | 0.4 | n |  | TRUE
37 | bus_LV_1061-95_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_1061-95_0_5_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_1061-95_0_5_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_1061-95_0_5_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_1061-95_0_5_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1061-95_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1061-95_0_5_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1061-95_0_5_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_1061-95_0_5_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_1061-95_0_5_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_1061-95_0_5_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_1061-95_0_5_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_1061-95_0_5_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_1061-95_0_5_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_1061-95_0_5_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_1061-95_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_1061-95_0_5_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_1061-95_0_5_node_25 | 0.4 | n |  | TRUE
55 | bus_LV_1061-95_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_1061-95_0_5_node_26 | 0.4 | n |  | TRUE
57 | bus_LV_1061-95_0_5_node_24 | 0.4 | n |  | TRUE
58 | bus_LV_1061-95_0_5_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_1061-95_0_5_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_1061-95_0_5_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_1061-95_0_5_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_1061-95_0_5_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_1061-95_0_5_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_1061-95_0_5_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_1061-95_0_5_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_1061-95_0_5_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_1061-95_0_5_node_33 | 0.4 | n |  | TRUE
68 | bus_LV_1061-95_0_5_node_35 | 0.4 | n |  | TRUE
69 | bus_LV_1061-95_0_5_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_1061-95_0_5_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_1061-95_0_5_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_1061-95_0_5_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_1061-95_0_5_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_1061-95_0_5_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_1061-95_0_5_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_1061-95_0_5_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_1061-95_0_5_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_1061-95_0_5_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_1061-95_0_5_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_1061-95_0_5_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_1061-95_0_5_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_1061-95_0_5_node_97 | 0.4 | n |  | TRUE
83 | bus_LV_1061-95_0_5_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_1061-95_0_5_node_95 | 0.4 | n |  | TRUE
85 | bus_LV_1061-95_0_5_node_91 | 0.4 | n |  | TRUE
86 | bus_LV_1061-95_0_5_node_96 | 0.4 | n |  | TRUE
87 | bus_LV_1061-95_0_5_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_1061-95_0_5_node_94 | 0.4 | n |  | TRUE
89 | bus_MV_215_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-95_0_5_load_0 | 0 | 0.010428 | 0.0026135 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-95_0_5_load_1 | 1 | 0.011697 | 0.0029316 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-95_0_5_load_36 | 5 | 0.0098255 | 0.0024625 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-95_0_5_load_44 | 8 | 0.021352 | 0.0053513 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-95_0_5_load_50 | 12 | 0.01119 | 0.0028045 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-95_0_5_load_73 | 14 | 0.0091835 | 0.0023016 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-95_0_5_load_71 | 16 | 0.0037561 | 0.00094136 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-95_0_5_load_42 | 19 | 0.0018726 | 0.00046932 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-95_0_5_load_70 | 22 | 0.028741 | 0.0072033 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-95_0_5_load_64 | 24 | 0.0078051 | 0.0019561 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-95_0_5_load_60 | 26 | 0.013742 | 0.0034441 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-95_0_5_load_62 | 27 | 0.0088459 | 0.002217 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-95_0_5_load_63 | 28 | 0.010375 | 0.0026003 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-95_0_5_load_61 | 29 | 0.013389 | 0.0033555 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-95_0_5_load_89 | 32 | 0.0043067 | 0.0010793 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-95_0_5_load_59 | 33 | 0.0090181 | 0.0022601 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-95_0_5_load_90 | 34 | 0.011698 | 0.0029318 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-95_0_5_load_88 | 35 | 0.0082654 | 0.0020715 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-95_0_5_load_98 | 36 | 0.0086686 | 0.0021726 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-95_0_5_load_51 | 39 | 0.009277 | 0.002325 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-95_0_5_load_47 | 40 | 0.0088204 | 0.0022106 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-95_0_5_load_38 | 41 | 0.0097582 | 0.0024456 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-95_0_5_load_37 | 42 | 0.0097931 | 0.0024544 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-95_0_5_load_40 | 44 | 0.0098991 | 0.0024809 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-95_0_5_load_57 | 45 | 0.018701 | 0.0046869 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-95_0_5_load_74 | 46 | 0.0106 | 0.0026566 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-95_0_5_load_75 | 47 | 0.011534 | 0.0028906 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-95_0_5_load_81 | 49 | 0.016591 | 0.0041582 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-95_0_5_load_79 | 51 | 0.016115 | 0.0040389 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-95_0_5_load_28 | 53 | 0.0010717 | 0.00026858 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-95_0_5_load_25 | 54 | 0.006038 | 0.0015133 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-95_0_5_load_32 | 55 | 0.00927 | 0.0023233 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1061-95_0_5_load_26 | 56 | 0.0047182 | 0.0011825 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1061-95_0_5_load_24 | 57 | 0.0052574 | 0.0013176 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1061-95_0_5_load_84 | 61 | 0.0036685 | 0.00091942 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1061-95_0_5_load_52 | 62 | 0.0087765 | 0.0021996 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1061-95_0_5_load_45 | 63 | 0.015498 | 0.0038841 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1061-95_0_5_load_56 | 65 | 0.015559 | 0.0038994 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1061-95_0_5_load_80 | 66 | 0.0077616 | 0.0019452 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1061-95_0_5_load_33 | 67 | 0.0085406 | 0.0021405 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1061-95_0_5_load_35 | 68 | 0.0087963 | 0.0022046 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1061-95_0_5_load_55 | 70 | 0.0093618 | 0.0023463 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1061-95_0_5_load_53 | 71 | 0.0094549 | 0.0023696 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1061-95_0_5_load_46 | 72 | 0.0088306 | 0.0022132 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1061-95_0_5_load_48 | 73 | 0.0094264 | 0.0023625 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1061-95_0_5_load_49 | 74 | 0.015529 | 0.003892 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1061-95_0_5_load_87 | 76 | 0.0055421 | 0.001389 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1061-95_0_5_load_85 | 77 | 0.0046974 | 0.0011773 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1061-95_0_5_load_76 | 78 | 0.010432 | 0.0026145 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1061-95_0_5_load_77 | 79 | 0.01169 | 0.0029297 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1061-95_0_5_load_78 | 80 | 0.0084256 | 0.0021117 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1061-95_0_5_load_97 | 82 | 0.0050989 | 0.0012779 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1061-95_0_5_load_95 | 84 | 0.0071794 | 0.0017993 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1061-95_0_5_load_91 | 85 | 0.013135 | 0.0032919 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1061-95_0_5_load_96 | 86 | 0.0046325 | 0.001161 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1061-95_0_5_load_92 | 87 | 0.0025973 | 0.00065095 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1061-95_0_5_load_94 | 88 | 0.0046043 | 0.0011539 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-95_0_5_line_0 |  | 0 | 1 | 0.0041733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-95_0_5_line_1 |  | 0 | 2 | 0.045521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-95_0_5_line_2 |  | 2 | 3 | 0.034964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-95_0_5_line_3 |  | 3 | 4 | 0.034559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-95_0_5_line_4 |  | 3 | 5 | 0.016642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-95_0_5_line_5 |  | 4 | 43 | 0.014519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-95_0_5_line_6 |  | 4 | 44 | 0.016473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-95_0_5_line_7 |  | 5 | 42 | 0.020422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-95_0_5_line_8 |  | 6 | 7 | 0.014624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-95_0_5_line_9 |  | 6 | 8 | 0.0097479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-95_0_5_line_10 |  | 7 | 22 | 0.021426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-95_0_5_line_11 |  | 8 | 52 | 0.025683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-95_0_5_line_12 |  | 9 | 10 | 0.00508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1061-95_0_5_line_13 |  | 9 | 11 | 0.02463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_1061-95_0_5_line_14 |  | 9 | 12 | 0.030404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-95_0_5_line_15 |  | 10 | 45 | 0.024611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1061-95_0_5_line_16 |  | 11 | 28 | 0.01918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-95_0_5_line_17 |  | 11 | 29 | 0.033198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1061-95_0_5_line_18 |  | 13 | 14 | 0.022731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-95_0_5_line_19 |  | 13 | 15 | 0.0085856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-95_0_5_line_20 |  | 13 | 16 | 0.0093682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-95_0_5_line_21 |  | 15 | 34 | 0.0035428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-95_0_5_line_22 |  | 15 | 35 | 0.026361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-95_0_5_line_23 |  | 17 | 18 | 0.030861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-95_0_5_line_24 |  | 17 | 19 | 0.0056321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-95_0_5_line_25 |  | 18 | 53 | 0.0065177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-95_0_5_line_26 |  | 18 | 54 | 0.020347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-95_0_5_line_27 |  | 19 | 52 | 0.021198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-95_0_5_line_28 |  | 20 | 21 | 0.00804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-95_0_5_line_29 |  | 20 | 22 | 0.023533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-95_0_5_line_30 |  | 21 | 36 | 0.025062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-95_0_5_line_31 |  | 21 | 30 | 0.013691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-95_0_5_line_32 |  | 23 | 24 | 0.014637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-95_0_5_line_33 |  | 23 | 25 | 0.014624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1061-95_0_5_line_34 |  | 23 | 26 | 0.033321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-95_0_5_line_35 |  | 23 | 27 | 0.014915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_1061-95_0_5_line_36 |  | 24 | 58 | 0.020485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-95_0_5_line_37 |  | 25 | 40 | 0.017475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-95_0_5_line_38 |  | 25 | 37 | 0.026886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1061-95_0_5_line_39 |  | 26 | 33 | 0.03158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-95_0_5_line_40 |  | 27 | 29 | 0.0232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1061-95_0_5_line_41 |  | 28 | 59 | 0.050345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-95_0_5_line_42 |  | 30 | 31 | 0.024177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-95_0_5_line_43 |  | 30 | 32 | 0.031603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-95_0_5_line_44 |  | 31 | 33 | 0.018152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-95_0_5_line_45 |  | 32 | 35 | 0.015625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-95_0_5_line_46 |  | 37 | 38 | 0.030878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-95_0_5_line_47 |  | 37 | 39 | 0.016648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1061-95_0_5_line_48 |  | 38 | 55 | 0.01795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-95_0_5_line_49 |  | 39 | 62 | 0.020337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_1061-95_0_5_line_50 |  | 40 | 63 | 0.0098379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1061-95_0_5_line_51 |  | 41 | 42 | 0.02101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-95_0_5_line_52 |  | 43 | 69 | 0.028854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1061-95_0_5_line_53 |  | 44 | 68 | 0.0088822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1061-95_0_5_line_54 |  | 45 | 50 | 0.032941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_1061-95_0_5_line_55 |  | 46 | 47 | 0.020419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1061-95_0_5_line_56 |  | 47 | 78 | 0.032275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1061-95_0_5_line_57 |  | 48 | 49 | 0.029188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1061-95_0_5_line_58 |  | 48 | 50 | 0.007802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1061-95_0_5_line_59 |  | 48 | 51 | 0.040897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1061-95_0_5_line_60 |  | 49 | 64 | 0.050638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1061-95_0_5_line_61 |  | 50 | 65 | 0.029799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1061-95_0_5_line_62 |  | 51 | 66 | 0.02643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1061-95_0_5_line_63 |  | 54 | 57 | 0.021332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1061-95_0_5_line_64 |  | 55 | 67 | 0.020468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1061-95_0_5_line_65 |  | 56 | 57 | 0.020865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1061-95_0_5_line_66 |  | 58 | 60 | 0.001519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1061-95_0_5_line_67 |  | 59 | 75 | 0.011905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1061-95_0_5_line_68 |  | 60 | 61 | 0.01923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1061-95_0_5_line_69 |  | 61 | 77 | 0.022889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1061-95_0_5_line_70 |  | 62 | 71 | 0.040185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1061-95_0_5_line_71 |  | 63 | 72 | 0.010224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1061-95_0_5_line_72 |  | 64 | 81 | 0.099728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1061-95_0_5_line_73 |  | 66 | 80 | 0.0049477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1061-95_0_5_line_74 |  | 69 | 70 | 0.014904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1061-95_0_5_line_75 |  | 70 | 74 | 0.010918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1061-95_0_5_line_76 |  | 72 | 73 | 0.034183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1061-95_0_5_line_77 |  | 73 | 74 | 0.0088801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1061-95_0_5_line_78 |  | 75 | 76 | 0.015491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1061-95_0_5_line_79 |  | 78 | 79 | 0.02062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1061-95_0_5_line_80 |  | 79 | 80 | 0.030655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1061-95_0_5_line_81 |  | 81 | 82 | 0.015483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1061-95_0_5_line_82 |  | 82 | 86 | 0.025663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1061-95_0_5_line_83 |  | 83 | 84 | 0.013447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1061-95_0_5_line_84 |  | 83 | 85 | 0.019937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1061-95_0_5_line_85 |  | 85 | 87 | 0.029575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1061-95_0_5_line_86 |  | 86 | 88 | 0.01884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1061-95_0_5_line_87 |  | 87 | 88 | 0.023001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-95_0_5_trafo_52 | 0.63 MVA 20/0.4 kV | 89 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2666355.3059 | 1210156.7051 | 2666357.2801 | 1210153.0283
1 | 2666335.0629 | 1210185.9016 | 2666343.0214 | 1210184.4669 | 2666349.6476 | 1210183.918 | 2666350.9476 | 1210180.4748 | 2666346.616 | 1210172.8887 | 2666355.3059 | 1210156.7051
2 | 2666335.0629 | 1210185.9016 | 2666367.2722 | 1210199.7237
3 | 2666399.4547 | 1210212.534 | 2666377.9298 | 1210204.3562 | 2666367.2722 | 1210199.7237
4 | 2666367.2722 | 1210199.7237 | 2666370.4949 | 1210192.1994 | 2666370.133 | 1210190.5721 | 2666369.2892 | 1210187.1717 | 2666369.0142 | 1210185.2453 | 2666369.5217 | 1210184.0055
5 | 2666413.1334 | 1210217.5114 | 2666399.4547 | 1210212.534
6 | 2666399.4547 | 1210212.534 | 2666399.7913 | 1210211.6483 | 2666400.175 | 1210210.6408 | 2666400.0861 | 1210209.7504 | 2666397.4701 | 1210206.4637 | 2666395.981 | 1210205.0463 | 2666394.7235 | 1210203.2979 | 2666394.6175 | 1210201.2176 | 2666395.2437 | 1210198.2228
7 | 2666381.668 | 1210168.776 | 2666379.2386 | 1210174.8526 | 2666378.0714 | 1210177.2856 | 2666374.678 | 1210178.9711 | 2666371.7145 | 1210180.9616 | 2666370.0924 | 1210182.6112 | 2666369.5217 | 1210184.0055
8 | 2666430.7068 | 1210069.3159 | 2666430.7973 | 1210068.0161 | 2666431.1471 | 1210063.2281 | 2666431.2102 | 1210062.3394 | 2666431.2735 | 1210061.4284 | 2666431.6967 | 1210055.5073 | 2666431.751 | 1210054.7296
9 | 2666430.7068 | 1210069.3159 | 2666428.0225 | 1210069.4305 | 2666421.03 | 1210068.448
10 | 2666431.751 | 1210054.7296 | 2666440.216 | 1210054.924 | 2666453.1429 | 1210055.8379
11 | 2666395.5953 | 1210064.8891 | 2666408.4282 | 1210066.6774 | 2666421.03 | 1210068.448
12 | 2666552.4463 | 1210198.8295 | 2666552.8768 | 1210201.8028 | 2666552.1634 | 1210203.7516
13 | 2666548.5644 | 1210180.2637 | 2666557.1309 | 1210192.4667 | 2666558.4103 | 1210194.2821 | 2666557.889 | 1210194.6765 | 2666555.39 | 1210196.5832 | 2666552.8526 | 1210198.5227 | 2666552.4463 | 1210198.8295
14 | 2666552.4463 | 1210198.8295 | 2666534.1056 | 1210174.5809
15 | 2666552.1634 | 1210203.7516 | 2666537.5116 | 1210223.5263
16 | 2666548.5644 | 1210180.2637 | 2666557.5122 | 1210174.6378 | 2666562.5508 | 1210167.6555
17 | 2666548.5644 | 1210180.2637 | 2666546.5967 | 1210177.4622 | 2666534.4492 | 1210161.2724 | 2666527.5765 | 1210154.6643
18 | 2666548.0308 | 1210053.0017 | 2666537.8631 | 1210032.6717
19 | 2666551.8671 | 1210060.6825 | 2666551.5249 | 1210060.0116 | 2666549.8448 | 1210056.6352 | 2666548.3504 | 1210053.6501 | 2666548.0308 | 1210053.0017
20 | 2666548.0308 | 1210053.0017 | 2666556.5971 | 1210049.2094
21 | 2666551.8671 | 1210060.6825 | 2666555.1322 | 1210059.3076
22 | 2666551.8671 | 1210060.6825 | 2666549.4081 | 1210061.7224 | 2666534.242 | 1210067.4124 | 2666526.9168 | 1210068.9878
23 | 2666349.3055 | 1210086.2097 | 2666352.0986 | 1210082.4607 | 2666354.838 | 1210078.7666 | 2666359.1127 | 1210073.0217 | 2666360.0772 | 1210071.7206 | 2666365.3886 | 1210065.0199 | 2666366.8564 | 1210063.5798 | 2666368.048 | 1210063.0483 | 2666368.9619 | 1210062.8917
24 | 2666368.9619 | 1210062.8917 | 2666371.8782 | 1210062.4127 | 2666374.5533 | 1210062.5036
25 | 2666349.3055 | 1210086.2097 | 2666343.955 | 1210089.9316
26 | 2666349.3055 | 1210086.2097 | 2666360.1092 | 1210085.2403 | 2666369.6032 | 1210085.5832
27 | 2666395.5953 | 1210064.8891 | 2666379.6584 | 1210062.6772 | 2666374.5533 | 1210062.5036
28 | 2666484.6428 | 1210058.2763 | 2666476.6175 | 1210057.4975
29 | 2666476.6175 | 1210057.4975 | 2666453.1429 | 1210055.8379
30 | 2666484.6428 | 1210058.2763 | 2666488.3215 | 1210036.4594 | 2666491.2526 | 1210036.7144
31 | 2666479.7656 | 1210067.6055 | 2666479.7798 | 1210062.925 | 2666483.8206 | 1210063.1701 | 2666484.6428 | 1210058.2763
32 | 2666497.8805 | 1210130.7906 | 2666506.7035 | 1210119.1113
33 | 2666498.7615 | 1210141.0845 | 2666493.2288 | 1210136.9425 | 2666493.8767 | 1210136.0937 | 2666495.9828 | 1210133.3043 | 2666497.6183 | 1210131.1323 | 2666497.8805 | 1210130.7906
34 | 2666497.8805 | 1210130.7906 | 2666490.1062 | 1210124.5557 | 2666472.3585 | 1210109.3733
35 | 2666497.8805 | 1210130.7906 | 2666506.1672 | 1210137.4314 | 2666509.5406 | 1210140.0907
36 | 2666517.1904 | 1210101.7768 | 2666514.2464 | 1210109.5043 | 2666509.6991 | 1210115.146 | 2666506.7035 | 1210119.1113
37 | 2666498.7615 | 1210141.0845 | 2666497.1243 | 1210143.401 | 2666488.6759 | 1210155.3558
38 | 2666477.2413 | 1210124.9682 | 2666493.2288 | 1210136.9425 | 2666498.7615 | 1210141.0845
39 | 2666454.304 | 1210083.9068 | 2666454.7154 | 1210085.1929 | 2666459.1517 | 1210094.2812 | 2666464.5214 | 1210101.4565 | 2666470.0644 | 1210107.4108 | 2666472.3585 | 1210109.3733
40 | 2666527.5765 | 1210154.6643 | 2666525.523 | 1210152.6899 | 2666509.5406 | 1210140.0907
41 | 2666580.2376 | 1210126.3171 | 2666585.0051 | 1210140.4456 | 2666576.5419 | 1210148.2671 | 2666562.5508 | 1210167.6555
42 | 2666479.7656 | 1210067.6055 | 2666469.6559 | 1210066.9925 | 2666461.6862 | 1210066.6813 | 2666455.5827 | 1210067.3805
43 | 2666479.7656 | 1210067.6055 | 2666494.7593 | 1210068.5064 | 2666511.3304 | 1210069.1213
44 | 2666455.5827 | 1210067.3805 | 2666452.8972 | 1210070.3302 | 2666451.6818 | 1210073.6743 | 2666452.0565 | 1210076.8804 | 2666454.304 | 1210083.9068
45 | 2666526.9168 | 1210068.9878 | 2666525.8382 | 1210069.2198 | 2666520.986 | 1210069.4881 | 2666514.4598 | 1210069.2375 | 2666511.3304 | 1210069.1213
46 | 2666455.8245 | 1210102.9828 | 2666463.4753 | 1210113.4856 | 2666477.2413 | 1210124.9682
47 | 2666477.2413 | 1210124.9682 | 2666467.6411 | 1210138.5692
48 | 2666455.8245 | 1210102.9828 | 2666452.9111 | 1210105.9189 | 2666453.1737 | 1210110.3245 | 2666447.8607 | 1210118.0792
49 | 2666467.6411 | 1210138.5692 | 2666456.5295 | 1210154.3112 | 2666455.9255 | 1210155.193
50 | 2666482.9982 | 1210163.39 | 2666488.6759 | 1210155.3558
51 | 2666381.668 | 1210168.776 | 2666387.9872 | 1210152.9698 | 2666389.5383 | 1210149.2963
52 | 2666440.3165 | 1210227.409 | 2666413.1334 | 1210217.5114
53 | 2666395.2437 | 1210198.2228 | 2666398.7314 | 1210193.5253 | 2666400.137 | 1210190.8393
54 | 2666515.3258 | 1210247.1788 | 2666517.6003 | 1210246.3258 | 2666521.322 | 1210243.8213 | 2666525.1936 | 1210240.1511 | 2666537.5116 | 1210223.5263
55 | 2666351.0903 | 1210200.0588 | 2666369.9997 | 1210207.7651
56 | 2666400.092 | 1210219.4142 | 2666386.7843 | 1210214.6054 | 2666369.9997 | 1210207.7651
57 | 2666516.3112 | 1210254.9168 | 2666517.3331 | 1210263.4667 | 2666505.6929 | 1210280.4357
58 | 2666516.3112 | 1210254.9168 | 2666516.1434 | 1210253.603 | 2666515.8988 | 1210251.688 | 2666515.4655 | 1210248.281 | 2666515.3258 | 1210247.1788
59 | 2666516.3112 | 1210254.9168 | 2666508.7993 | 1210256.5118 | 2666502.1924 | 1210256.705 | 2666495.1985 | 1210254.7925 | 2666476.9699 | 1210248.2806
60 | 2666540.0987 | 1210309.5933 | 2666513.9578 | 1210294.2036 | 2666503.9064 | 1210287.7098 | 2666502.8391 | 1210284.596 | 2666505.6929 | 1210280.4357
61 | 2666515.3258 | 1210247.1788 | 2666511.6468 | 1210248.572 | 2666505.2639 | 1210249.1234 | 2666501.0824 | 1210248.5543 | 2666486.6321 | 1210243.717
62 | 2666476.9699 | 1210248.2806 | 2666452.0801 | 1210239.3889
63 | 2666390.8538 | 1210087.2313 | 2666380.129 | 1210085.9634 | 2666369.6032 | 1210085.5832
64 | 2666447.8607 | 1210118.0792 | 2666436.292 | 1210134.9645
65 | 2666390.8538 | 1210087.2313 | 2666393.314 | 1210087.5221 | 2666411.2116 | 1210091.7371
66 | 2666517.1904 | 1210101.7768 | 2666516.0001 | 1210100.8296
67 | 2666569.767 | 1210120.5968 | 2666580.2376 | 1210126.3171
68 | 2666516.0001 | 1210100.8296 | 2666517.7858 | 1210099.5042 | 2666523.7566 | 1210095.0347 | 2666532.5747 | 1210091.3739
69 | 2666532.5747 | 1210091.3739 | 2666539.0134 | 1210088.7009 | 2666544.993 | 1210091.6138 | 2666554.1804 | 1210092.8203
70 | 2666428.9319 | 1210181.5985 | 2666435.0912 | 1210175.2076 | 2666442.5613 | 1210163.717 | 2666450.1047 | 1210163.3896 | 2666454.4512 | 1210157.3454 | 2666455.9255 | 1210155.193
71 | 2666482.9982 | 1210163.39 | 2666477.0978 | 1210171.7392
72 | 2666480.5036 | 1210369.644 | 2666492.8477 | 1210353.1713 | 2666498.0727 | 1210352.1734 | 2666533.6157 | 1210331.39 | 2666547.4436 | 1210321.5937 | 2666548.7112 | 1210319.0174 | 2666547.5642 | 1210316.2362 | 2666540.0987 | 1210309.5933
73 | 2666452.0801 | 1210239.3889 | 2666447.4209 | 1210237.7245
74 | 2666440.3165 | 1210227.409 | 2666446.4432 | 1210213.8221
75 | 2666446.4432 | 1210213.8221 | 2666450.9313 | 1210203.8691
76 | 2666477.0978 | 1210171.7392 | 2666464.2579 | 1210189.908 | 2666455.7156 | 1210193.2594 | 2666454.5817 | 1210195.774
77 | 2666454.5817 | 1210195.774 | 2666450.9313 | 1210203.8691
78 | 2666569.767 | 1210120.5968 | 2666572.4371 | 1210119.0256 | 2666579.2909 | 1210108.7009
79 | 2666400.092 | 1210219.4142 | 2666419.4849 | 1210226.4219
80 | 2666419.4849 | 1210226.4219 | 2666429.2599 | 1210229.9541 | 2666429.8589 | 1210231.4506 | 2666447.4209 | 1210237.7245
81 | 2666480.5036 | 1210369.644 | 2666467.2726 | 1210361.6025
82 | 2666467.2726 | 1210361.6025 | 2666448.3591 | 1210350.1073 | 2666445.4102 | 1210348.1668
83 | 2666369.0979 | 1210297.9489 | 2666357.8279 | 1210290.6137
84 | 2666369.0979 | 1210297.9489 | 2666385.7522 | 1210308.9083
85 | 2666385.7522 | 1210308.9083 | 2666410.4579 | 1210325.1662
86 | 2666445.4102 | 1210348.1668 | 2666429.672 | 1210337.8102
87 | 2666410.4579 | 1210325.1662 | 2666429.672 | 1210337.8102

## bus_geodata
| x | y | coords
0 | 2666355.3059 | 1210156.7051
1 | 2666357.2801 | 1210153.0283
2 | 2666335.0629 | 1210185.9016
3 | 2666367.2722 | 1210199.7237
4 | 2666399.4547 | 1210212.534
5 | 2666369.5217 | 1210184.0055
6 | 2666430.7068 | 1210069.3159
7 | 2666431.751 | 1210054.7296
8 | 2666421.03 | 1210068.448
9 | 2666552.4463 | 1210198.8295
10 | 2666552.1634 | 1210203.7516
11 | 2666548.5644 | 1210180.2637
12 | 2666534.1056 | 1210174.5809
13 | 2666548.0308 | 1210053.0017
14 | 2666537.8631 | 1210032.6717
15 | 2666551.8671 | 1210060.6825
16 | 2666556.5971 | 1210049.2094
17 | 2666368.9619 | 1210062.8917
18 | 2666349.3055 | 1210086.2097
19 | 2666374.5533 | 1210062.5036
20 | 2666476.6175 | 1210057.4975
21 | 2666484.6428 | 1210058.2763
22 | 2666453.1429 | 1210055.8379
23 | 2666497.8805 | 1210130.7906
24 | 2666506.7035 | 1210119.1113
25 | 2666498.7615 | 1210141.0845
26 | 2666472.3585 | 1210109.3733
27 | 2666509.5406 | 1210140.0907
28 | 2666562.5508 | 1210167.6555
29 | 2666527.5765 | 1210154.6643
30 | 2666479.7656 | 1210067.6055
31 | 2666455.5827 | 1210067.3805
32 | 2666511.3304 | 1210069.1213
33 | 2666454.304 | 1210083.9068
34 | 2666555.1322 | 1210059.3076
35 | 2666526.9168 | 1210068.9878
36 | 2666491.2526 | 1210036.7144
37 | 2666477.2413 | 1210124.9682
38 | 2666455.8245 | 1210102.9828
39 | 2666467.6411 | 1210138.5692
40 | 2666488.6759 | 1210155.3558
41 | 2666389.5383 | 1210149.2963
42 | 2666381.668 | 1210168.776
43 | 2666413.1334 | 1210217.5114
44 | 2666395.2437 | 1210198.2228
45 | 2666537.5116 | 1210223.5263
46 | 2666351.0903 | 1210200.0588
47 | 2666369.9997 | 1210207.7651
48 | 2666516.3112 | 1210254.9168
49 | 2666505.6929 | 1210280.4357
50 | 2666515.3258 | 1210247.1788
51 | 2666476.9699 | 1210248.2806
52 | 2666395.5953 | 1210064.8891
53 | 2666343.955 | 1210089.9316
54 | 2666369.6032 | 1210085.5832
55 | 2666447.8607 | 1210118.0792
56 | 2666411.2116 | 1210091.7371
57 | 2666390.8538 | 1210087.2313
58 | 2666517.1904 | 1210101.7768
59 | 2666580.2376 | 1210126.3171
60 | 2666516.0001 | 1210100.8296
61 | 2666532.5747 | 1210091.3739
62 | 2666455.9255 | 1210155.193
63 | 2666482.9982 | 1210163.39
64 | 2666540.0987 | 1210309.5933
65 | 2666486.6321 | 1210243.717
66 | 2666452.0801 | 1210239.3889
67 | 2666436.292 | 1210134.9645
68 | 2666400.137 | 1210190.8393
69 | 2666440.3165 | 1210227.409
70 | 2666446.4432 | 1210213.8221
71 | 2666428.9319 | 1210181.5985
72 | 2666477.0978 | 1210171.7392
73 | 2666454.5817 | 1210195.774
74 | 2666450.9313 | 1210203.8691
75 | 2666569.767 | 1210120.5968
76 | 2666579.2909 | 1210108.7009
77 | 2666554.1804 | 1210092.8203
78 | 2666400.092 | 1210219.4142
79 | 2666419.4849 | 1210226.4219
80 | 2666447.4209 | 1210237.7245
81 | 2666480.5036 | 1210369.644
82 | 2666467.2726 | 1210361.6025
83 | 2666369.0979 | 1210297.9489
84 | 2666357.8279 | 1210290.6137
85 | 2666385.7522 | 1210308.9083
86 | 2666445.4102 | 1210348.1668
87 | 2666410.4579 | 1210325.1662
88 | 2666429.672 | 1210337.8102
89 | 2666477.2413 | 1210124.9682

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97585 | -0.46537 | 0.010428 | 0.0026135
1 | 0.97581 | -0.46626 | 0.011697 | 0.0029316
2 | 0.97679 | -0.44695 | 0 | 0
3 | 0.97751 | -0.43283 | 0 | 0
4 | 0.97916 | -0.40042 | 0 | 0
5 | 0.97705 | -0.44175 | 0.0098255 | 0.0024625
6 | 0.97428 | -0.49547 | 0 | 0
7 | 0.97483 | -0.48465 | 0 | 0
8 | 0.97391 | -0.50269 | 0.021352 | 0.0053513
9 | 0.98676 | -0.25246 | 0 | 0
10 | 0.98657 | -0.25621 | 0 | 0
11 | 0.98777 | -0.2331 | 0 | 0
12 | 0.98645 | -0.25856 | 0.01119 | 0.0028045
13 | 0.97638 | -0.4543 | 0 | 0
14 | 0.97618 | -0.45811 | 0.0091835 | 0.0023016
15 | 0.97648 | -0.45227 | 0 | 0
16 | 0.97634 | -0.45494 | 0.0037561 | 0.00094136
17 | 0.97299 | -0.52081 | 0 | 0
18 | 0.9725 | -0.53052 | 0 | 0
19 | 0.97308 | -0.51904 | 0.0018726 | 0.00046932
20 | 0.97714 | -0.43911 | 0 | 0
21 | 0.97766 | -0.42898 | 0 | 0
22 | 0.97563 | -0.46882 | 0.028741 | 0.0072033
23 | 0.99108 | -0.16936 | 0 | 0
24 | 0.99086 | -0.17356 | 0.0078051 | 0.0019561
25 | 0.99233 | -0.14552 | 0 | 0
26 | 0.98682 | -0.25113 | 0.013742 | 0.0034441
27 | 0.99034 | -0.18353 | 0.0088459 | 0.002217
28 | 0.98749 | -0.23856 | 0.010375 | 0.0026003
29 | 0.98924 | -0.20471 | 0.013389 | 0.0033555
30 | 0.97865 | -0.40959 | 0 | 0
31 | 0.98124 | -0.35915 | 0 | 0
32 | 0.97756 | -0.43102 | 0.0043067 | 0.0010793
33 | 0.98318 | -0.32146 | 0.0090181 | 0.0022601
34 | 0.97644 | -0.45302 | 0.011698 | 0.0029318
35 | 0.97708 | -0.4404 | 0.0082654 | 0.0020715
36 | 0.97746 | -0.43294 | 0.0086686 | 0.0021726
37 | 0.99548 | -0.085561 | 0 | 0
38 | 0.99497 | -0.09524 | 0 | 0
39 | 0.99749 | -0.047324 | 0.009277 | 0.002325
40 | 0.9901 | -0.1882 | 0.0088204 | 0.0022106
41 | 0.97649 | -0.45279 | 0.0097582 | 0.0024456
42 | 0.97668 | -0.44905 | 0.0097931 | 0.0024544
43 | 0.98011 | -0.3819 | 0 | 0
44 | 0.97888 | -0.40602 | 0.0098991 | 0.0024809
45 | 0.98563 | -0.27437 | 0.018701 | 0.0046869
46 | 0.97507 | -0.48058 | 0.0106 | 0.0026566
47 | 0.97527 | -0.47661 | 0.011534 | 0.0028906
48 | 0.98245 | -0.33596 | 0 | 0
49 | 0.98099 | -0.36438 | 0.016591 | 0.0041582
50 | 0.9834 | -0.3176 | 0 | 0
51 | 0.97954 | -0.39267 | 0.016115 | 0.0040389
52 | 0.97346 | -0.51164 | 0 | 0
53 | 0.9725 | -0.53065 | 0.0010717 | 0.00026858
54 | 0.9722 | -0.53653 | 0.006038 | 0.0015133
55 | 0.99468 | -0.10087 | 0.00927 | 0.0023233
56 | 0.97191 | -0.54227 | 0.0047182 | 0.0011825
57 | 0.972 | -0.54045 | 0.0052574 | 0.0013176
58 | 0.99071 | -0.17661 | 0 | 0
59 | 0.98723 | -0.24355 | 0 | 0
60 | 0.9907 | -0.17683 | 0 | 0
61 | 0.99055 | -0.17969 | 0.0036685 | 0.00091942
62 | 1 | 0 | -0.55322 | -0.14191
63 | 0.98893 | -0.21077 | 0.015498 | 0.0038841
64 | 0.97923 | -0.39861 | 0 | 0
65 | 0.98297 | -0.32596 | 0.015559 | 0.0038994
66 | 0.97806 | -0.42173 | 0.0077616 | 0.0019452
67 | 0.99452 | -0.10395 | 0.0085406 | 0.0021405
68 | 0.9788 | -0.40744 | 0.0087963 | 0.0022046
69 | 0.98199 | -0.34522 | 0 | 0
70 | 0.98296 | -0.32633 | 0.0093618 | 0.0023463
71 | 0.99966 | -0.006625 | 0.0094549 | 0.0023696
72 | 0.98786 | -0.23144 | 0.0088306 | 0.0022132
73 | 0.98455 | -0.29547 | 0.0094264 | 0.0023625
74 | 0.98376 | -0.31067 | 0.015529 | 0.003892
75 | 0.98717 | -0.24473 | 0 | 0
76 | 0.98709 | -0.24626 | 0.0055421 | 0.001389
77 | 0.99045 | -0.1816 | 0.0046974 | 0.0011773
78 | 0.97593 | -0.46353 | 0.010432 | 0.0026145
79 | 0.97656 | -0.45125 | 0.01169 | 0.0029297
80 | 0.97782 | -0.42648 | 0.0084256 | 0.0021117
81 | 0.97577 | -0.46638 | 0 | 0
82 | 0.97524 | -0.47695 | 0.0050989 | 0.0012779
83 | 0.9728 | -0.52498 | 0 | 0
84 | 0.97271 | -0.52676 | 0.0071794 | 0.0017993
85 | 0.97293 | -0.52234 | 0.013135 | 0.0032919
86 | 0.97447 | -0.49208 | 0.0046325 | 0.001161
87 | 0.97349 | -0.51129 | 0.0025973 | 0.00065095
88 | 0.97398 | -0.5016 | 0.0046043 | 0.0011539
89 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.011698 | 0.0029319 | -0.011697 | -0.0029316 | 4.9793e-07 | 2.6654e-07 | 0.017837 | 0.017837 | 0.017837 | 0.97585 | -0.46537 | 0.97581 | -0.46626 | 4.9003
1 | -0.022126 | -0.0055453 | 0.022145 | 0.0055572 | 1.943e-05 | 1.1866e-05 | 0.033738 | 0.033738 | 0.033738 | 0.97585 | -0.46537 | 0.97679 | -0.44695 | 9.2686
2 | -0.022145 | -0.0055572 | 0.02216 | 0.0055663 | 1.4924e-05 | 9.1133e-06 | 0.033738 | 0.033738 | 0.033738 | 0.97679 | -0.44695 | 0.97751 | -0.43283 | 9.2686
3 | -0.051558 | -0.012942 | 0.051638 | 0.012992 | 7.9843e-05 | 5.0665e-05 | 0.078491 | 0.078491 | 0.078491 | 0.97751 | -0.43283 | 0.97916 | -0.40042 | 21.5635
4 | 0.029398 | 0.0073753 | -0.029385 | -0.0073675 | 1.2499e-05 | 7.791e-06 | 0.044754 | 0.044754 | 0.044754 | 0.97751 | -0.43283 | 0.97705 | -0.44175 | 12.295
5 | -0.070339 | -0.017681 | 0.070401 | 0.017721 | 6.2232e-05 | 3.9646e-05 | 0.10691 | 0.10691 | 0.10691 | 0.97916 | -0.40042 | 0.98011 | -0.3819 | 29.3713
6 | 0.018701 | 0.0046888 | -0.018696 | -0.0046858 | 4.9896e-06 | 2.9862e-06 | 0.02842 | 0.02842 | 0.02842 | 0.97916 | -0.40042 | 0.97888 | -0.40602 | 7.8078
7 | 0.01956 | 0.004905 | -0.019553 | -0.0049009 | 6.7962e-06 | 4.0939e-06 | 0.02979 | 0.02979 | 0.02979 | 0.97705 | -0.44175 | 0.97668 | -0.44905 | 8.1841
8 | -0.040355 | -0.010129 | 0.040375 | 0.010142 | 2.0835e-05 | 1.3152e-05 | 0.061639 | 0.061639 | 0.061639 | 0.97428 | -0.49547 | 0.97483 | -0.48465 | 16.9338
9 | 0.040355 | 0.010129 | -0.040341 | -0.010121 | 1.3889e-05 | 8.7673e-06 | 0.061639 | 0.061639 | 0.061639 | 0.97428 | -0.49547 | 0.97391 | -0.50269 | 16.9339
10 | -0.040375 | -0.010142 | 0.040406 | 0.010162 | 3.0528e-05 | 1.927e-05 | 0.061639 | 0.061639 | 0.061639 | 0.97483 | -0.48465 | 0.97563 | -0.46882 | 16.9338
11 | 0.018989 | 0.0047693 | -0.018981 | -0.0047644 | 8.1088e-06 | 4.8702e-06 | 0.029016 | 0.029016 | 0.029016 | 0.97391 | -0.50269 | 0.97346 | -0.51164 | 7.9716
12 | 0.16598 | 0.042107 | -0.16595 | -0.042088 | 2.988e-05 | 1.8864e-05 | 0.25048 | 0.25048 | 0.25048 | 0.98676 | -0.25246 | 0.98657 | -0.25621 | 17.2034
13 | -0.17718 | -0.044913 | 0.17734 | 0.045018 | 0.00016506 | 0.00010438 | 0.26736 | 0.26736 | 0.26736 | 0.98676 | -0.25246 | 0.98777 | -0.2331 | 18.3627
14 | 0.011193 | 0.0028062 | -0.01119 | -0.0028045 | 3.2485e-06 | 1.6908e-06 | 0.01688 | 0.01688 | 0.01688 | 0.98676 | -0.25246 | 0.98645 | -0.25856 | 4.6373
15 | 0.16595 | 0.042088 | -0.16581 | -0.041997 | 0.00014476 | 9.1392e-05 | 0.25048 | 0.25048 | 0.25048 | 0.98657 | -0.25621 | 0.98563 | -0.27437 | 17.2034
16 | 0.015924 | 0.003992 | -0.01592 | -0.0039896 | 4.139e-06 | 2.4035e-06 | 0.023989 | 0.023989 | 0.023989 | 0.98777 | -0.2331 | 0.98749 | -0.23856 | 6.5903
17 | -0.19327 | -0.04901 | 0.19353 | 0.049177 | 0.00026418 | 0.00016738 | 0.29135 | 0.29135 | 0.29135 | 0.98777 | -0.2331 | 0.98924 | -0.20471 | 20.0102
18 | 0.0091852 | 0.0023024 | -0.0091835 | -0.0023016 | 1.6704e-06 | 7.8482e-07 | 0.013999 | 0.013999 | 0.013999 | 0.97638 | -0.4543 | 0.97618 | -0.45811 | 3.8458
19 | -0.012941 | -0.0032437 | 0.012943 | 0.0032444 | 1.2524e-06 | 6.9416e-07 | 0.019723 | 0.019723 | 0.019723 | 0.97638 | -0.4543 | 0.97648 | -0.45227 | 5.4184
20 | 0.0037562 | 0.00094132 | -0.0037561 | -0.00094136 | 1.1512e-07 | -4.3483e-08 | 0.0057245 | 0.0057245 | 0.0057245 | 0.97638 | -0.4543 | 0.97634 | -0.45494 | 1.5727
21 | 0.011699 | 0.0029321 | -0.011698 | -0.0029318 | 4.2222e-07 | 2.259e-07 | 0.017827 | 0.017827 | 0.017827 | 0.97648 | -0.45227 | 0.97644 | -0.45302 | 4.8975
22 | -0.024641 | -0.0061765 | 0.024655 | 0.0061851 | 1.3938e-05 | 8.5906e-06 | 0.03755 | 0.03755 | 0.03755 | 0.97648 | -0.45227 | 0.97708 | -0.4404 | 10.3159
23 | 0.0171 | 0.0042902 | -0.017092 | -0.0042855 | 7.9157e-06 | 4.6829e-06 | 0.026153 | 0.026153 | 0.026153 | 0.97299 | -0.52081 | 0.9725 | -0.53052 | 7.1849
24 | -0.0171 | -0.0042902 | 0.017101 | 0.004291 | 1.4446e-06 | 8.5457e-07 | 0.026153 | 0.026153 | 0.026153 | 0.97299 | -0.52081 | 0.97308 | -0.51904 | 7.1849
25 | 0.0010717 | 0.00026851 | -0.0010717 | -0.00026858 | 6.5716e-09 | -7.6663e-08 | 0.0016397 | 0.0016397 | 0.0016397 | 0.9725 | -0.53052 | 0.9725 | -0.53065 | 0.45048
26 | 0.01602 | 0.004017 | -0.016016 | -0.0040143 | 4.5851e-06 | 2.6821e-06 | 0.024513 | 0.024514 | 0.024514 | 0.9725 | -0.53052 | 0.9722 | -0.53653 | 6.7345
27 | -0.018974 | -0.0047604 | 0.018981 | 0.0047644 | 6.6928e-06 | 4.02e-06 | 0.029017 | 0.029016 | 0.029017 | 0.97308 | -0.51904 | 0.97346 | -0.51164 | 7.9716
28 | -0.069246 | -0.017428 | 0.069279 | 0.017449 | 3.3542e-05 | 2.1366e-05 | 0.10547 | 0.10547 | 0.10547 | 0.97714 | -0.43911 | 0.97766 | -0.42898 | 28.9766
29 | 0.069246 | 0.017428 | -0.069147 | -0.017365 | 9.8177e-05 | 6.2539e-05 | 0.10547 | 0.10547 | 0.10547 | 0.97714 | -0.43911 | 0.97563 | -0.46882 | 28.9766
30 | 0.0086702 | 0.0021733 | -0.0086686 | -0.0021726 | 1.6367e-06 | 7.3325e-07 | 0.013196 | 0.013196 | 0.013196 | 0.97766 | -0.42898 | 0.97746 | -0.43294 | 3.6254
31 | -0.077949 | -0.019622 | 0.078022 | 0.019668 | 7.2304e-05 | 4.6103e-05 | 0.11867 | 0.11867 | 0.11867 | 0.97766 | -0.42898 | 0.97865 | -0.40959 | 32.6019
32 | 0.016177 | 0.0040558 | -0.016174 | -0.0040539 | 3.2383e-06 | 1.8839e-06 | 0.024289 | 0.024289 | 0.024289 | 0.99108 | -0.16936 | 0.99086 | -0.17356 | 6.6728
33 | -0.37182 | -0.094708 | 0.37225 | 0.094981 | 0.0004281 | 0.00027323 | 0.5588 | 0.5588 | 0.5588 | 0.99108 | -0.16936 | 0.99233 | -0.14552 | 38.3791
34 | 0.13952 | 0.035675 | -0.13897 | -0.035324 | 0.00054965 | 0.00035135 | 0.20973 | 0.20973 | 0.20973 | 0.99108 | -0.16936 | 0.98682 | -0.25113 | 57.6191
35 | 0.21612 | 0.054977 | -0.21598 | -0.054883 | 0.00014749 | 9.3625e-05 | 0.32478 | 0.32478 | 0.32478 | 0.99108 | -0.16936 | 0.99034 | -0.18353 | 22.3061
36 | 0.0083688 | 0.0020977 | -0.0083676 | -0.0020972 | 1.2134e-06 | 5.1274e-07 | 0.012568 | 0.012568 | 0.012568 | 0.99086 | -0.17356 | 0.99071 | -0.17661 | 3.4527
37 | 0.13905 | 0.035383 | -0.13876 | -0.035201 | 0.00028542 | 0.00018244 | 0.2087 | 0.2087 | 0.2087 | 0.99233 | -0.14552 | 0.9901 | -0.1882 | 57.3339
38 | -0.5113 | -0.13036 | 0.51278 | 0.13131 | 0.0014847 | 0.00094883 | 0.76749 | 0.76749 | 0.76749 | 0.99233 | -0.14552 | 0.99548 | -0.085561 | 52.7125
39 | 0.12523 | 0.03188 | -0.12481 | -0.031609 | 0.00042307 | 0.00027037 | 0.18901 | 0.18901 | 0.18901 | 0.98682 | -0.25113 | 0.98318 | -0.32146 | 51.9264
40 | 0.20713 | 0.052666 | -0.20692 | -0.052532 | 0.00021103 | 0.00013386 | 0.31149 | 0.31149 | 0.31149 | 0.99034 | -0.18353 | 0.98924 | -0.20471 | 21.3933
41 | 0.0055442 | 0.0013893 | -0.0055429 | -0.0013891 | 1.3177e-06 | 1.9944e-07 | 0.0083543 | 0.0083545 | 0.0083545 | 0.98749 | -0.23856 | 0.98723 | -0.24355 | 2.2952
42 | -0.1153 | -0.029037 | 0.11558 | 0.029216 | 0.00027881 | 0.00017814 | 0.17536 | 0.17536 | 0.17536 | 0.97865 | -0.40959 | 0.98124 | -0.35915 | 48.1768
43 | 0.03728 | 0.0093691 | -0.037242 | -0.0093452 | 3.8091e-05 | 2.3981e-05 | 0.056693 | 0.056693 | 0.056693 | 0.97865 | -0.40959 | 0.97756 | -0.43102 | 15.575
44 | -0.11558 | -0.029216 | 0.11579 | 0.029349 | 0.00020933 | 0.00013374 | 0.17536 | 0.17536 | 0.17536 | 0.98124 | -0.35915 | 0.98318 | -0.32146 | 48.1768
45 | 0.032935 | 0.0082658 | -0.032921 | -0.0082566 | 1.473e-05 | 9.2311e-06 | 0.050137 | 0.050138 | 0.050138 | 0.97756 | -0.43102 | 0.97708 | -0.4404 | 13.774
46 | 0.017825 | 0.004472 | -0.017817 | -0.0044671 | 8.2214e-06 | 4.8604e-06 | 0.026646 | 0.026646 | 0.026646 | 0.99548 | -0.085561 | 0.99497 | -0.09524 | 7.3204
47 | -0.53061 | -0.13579 | 0.53159 | 0.13641 | 0.00098429 | 0.00062908 | 0.79414 | 0.79414 | 0.79414 | 0.99548 | -0.085561 | 0.99749 | -0.047324 | 54.5425
48 | 0.017817 | 0.0044671 | -0.017812 | -0.0044643 | 4.7792e-06 | 2.8257e-06 | 0.026646 | 0.026646 | 0.026646 | 0.99497 | -0.09524 | 0.99468 | -0.10087 | 7.3204
49 | -0.54087 | -0.13874 | 0.54211 | 0.13953 | 0.0012447 | 0.00079554 | 0.80798 | 0.80798 | 0.80798 | 0.99749 | -0.047324 | 1 | 0 | 55.493
50 | 0.12994 | 0.03299 | -0.1298 | -0.0329 | 0.00014091 | 9.0059e-05 | 0.19544 | 0.19544 | 0.19544 | 0.9901 | -0.1882 | 0.98893 | -0.21077 | 53.6921
51 | -0.0097582 | -0.0024456 | 0.00976 | 0.0024465 | 1.7421e-06 | 8.5206e-07 | 0.01487 | 0.01487 | 0.01487 | 0.97649 | -0.45279 | 0.97668 | -0.44905 | 4.0851
52 | -0.070401 | -0.017721 | 0.070525 | 0.017799 | 0.00012368 | 7.8788e-05 | 0.10691 | 0.10691 | 0.10691 | 0.98011 | -0.3819 | 0.98199 | -0.34522 | 29.3713
53 | 0.0087969 | 0.0022048 | -0.0087963 | -0.0022046 | 5.9563e-07 | 2.6956e-07 | 0.013373 | 0.013373 | 0.013373 | 0.97888 | -0.40602 | 0.9788 | -0.40744 | 3.6738
54 | 0.14711 | 0.03731 | -0.1468 | -0.037115 | 0.00030508 | 0.00019441 | 0.22225 | 0.22225 | 0.22225 | 0.98563 | -0.27437 | 0.9834 | -0.3176 | 30.5287
55 | -0.0106 | -0.0026566 | 0.010602 | 0.0026577 | 2.0037e-06 | 1.0276e-06 | 0.016176 | 0.016176 | 0.016176 | 0.97507 | -0.48058 | 0.97527 | -0.47661 | 4.4441
56 | -0.022136 | -0.0055483 | 0.02215 | 0.0055567 | 1.3806e-05 | 8.4325e-06 | 0.033774 | 0.033774 | 0.033774 | 0.97527 | -0.47661 | 0.97593 | -0.46353 | 9.2785
57 | 0.054172 | 0.013703 | -0.054099 | -0.013656 | 7.3769e-05 | 4.6843e-05 | 0.082094 | 0.082095 | 0.082095 | 0.98245 | -0.33596 | 0.98099 | -0.36438 | 22.5535
58 | -0.13112 | -0.033139 | 0.13124 | 0.033212 | 0.00011551 | 7.3827e-05 | 0.1987 | 0.1987 | 0.1987 | 0.98245 | -0.33596 | 0.9834 | -0.3176 | 54.5868
59 | 0.07695 | 0.019436 | -0.076741 | -0.019303 | 0.00020851 | 0.00013293 | 0.1166 | 0.1166 | 0.1166 | 0.98245 | -0.33596 | 0.97954 | -0.39267 | 32.0334
60 | 0.037507 | 0.0094978 | -0.037446 | -0.009459 | 6.1541e-05 | 3.8748e-05 | 0.056928 | 0.056928 | 0.056928 | 0.98099 | -0.36438 | 0.97923 | -0.39861 | 15.6396
61 | 0.015565 | 0.003903 | -0.015559 | -0.0038994 | 6.1991e-06 | 3.5895e-06 | 0.023553 | 0.023553 | 0.023553 | 0.9834 | -0.3176 | 0.98297 | -0.32596 | 6.4706
62 | 0.060626 | 0.015264 | -0.060542 | -0.01521 | 8.4111e-05 | 5.3499e-05 | 0.092121 | 0.092121 | 0.092121 | 0.97954 | -0.39267 | 0.97806 | -0.42173 | 25.3081
63 | 0.0099778 | 0.002501 | -0.009976 | -0.0025001 | 1.8658e-06 | 9.2962e-07 | 0.015272 | 0.015272 | 0.015272 | 0.9722 | -0.53653 | 0.972 | -0.54045 | 4.1956
64 | 0.0085419 | 0.002141 | -0.0085406 | -0.0021405 | 1.2533e-06 | 5.365e-07 | 0.012778 | 0.012779 | 0.012779 | 0.99468 | -0.10087 | 0.99452 | -0.10395 | 3.5106
65 | -0.0047182 | -0.0011825 | 0.0047186 | 0.0011825 | 4.0827e-07 | 2.7023e-09 | 0.0072236 | 0.0072235 | 0.0072236 | 0.97191 | -0.54227 | 0.972 | -0.54045 | 1.9845
66 | 0.0083676 | 0.0020972 | -0.0083675 | -0.0020972 | 8.9975e-08 | 3.8024e-08 | 0.012568 | 0.012568 | 0.012568 | 0.99071 | -0.17661 | 0.9907 | -0.17683 | 3.4527
67 | 0.0055429 | 0.0013891 | -0.0055426 | -0.0013891 | 3.1161e-07 | 4.7217e-08 | 0.0083545 | 0.0083546 | 0.0083546 | 0.98723 | -0.24355 | 0.98717 | -0.24473 | 2.2952
68 | 0.0083675 | 0.0020972 | -0.0083664 | -0.0020967 | 1.1391e-06 | 4.8142e-07 | 0.012568 | 0.012568 | 0.012568 | 0.9907 | -0.17683 | 0.99055 | -0.17969 | 3.4528
69 | 0.0046979 | 0.0011773 | -0.0046974 | -0.0011773 | 4.2749e-07 | -2.1017e-08 | 0.0070571 | 0.0070573 | 0.0070573 | 0.99055 | -0.17969 | 0.99045 | -0.1816 | 1.9388
70 | 0.0094578 | 0.002371 | -0.0094549 | -0.0023696 | 2.9848e-06 | 1.3833e-06 | 0.014074 | 0.014074 | 0.014074 | 1 | 0 | 0.99966 | -0.006625 | 3.8664
71 | 0.1143 | 0.029016 | -0.11419 | -0.028943 | 0.00011358 | 7.256e-05 | 0.17212 | 0.17212 | 0.17212 | 0.98893 | -0.21077 | 0.98786 | -0.23144 | 47.2858
72 | 0.037446 | 0.009459 | -0.037325 | -0.0093827 | 0.0001212 | 7.6319e-05 | 0.056928 | 0.056929 | 0.056929 | 0.97923 | -0.39861 | 0.97577 | -0.46638 | 15.6398
73 | 0.05278 | 0.013265 | -0.052768 | -0.013258 | 1.1967e-05 | 7.5971e-06 | 0.080313 | 0.080313 | 0.080313 | 0.97806 | -0.42173 | 0.97782 | -0.42648 | 22.064
74 | -0.070525 | -0.017799 | 0.070588 | 0.01784 | 6.3884e-05 | 4.0697e-05 | 0.10691 | 0.10691 | 0.10691 | 0.98199 | -0.34522 | 0.98296 | -0.32633 | 29.3712
75 | -0.07995 | -0.020186 | 0.08001 | 0.020225 | 6.0027e-05 | 3.8279e-05 | 0.12108 | 0.12108 | 0.12108 | 0.98296 | -0.32633 | 0.98376 | -0.31067 | 33.2646
76 | 0.10536 | 0.02673 | -0.10504 | -0.026524 | 0.00032333 | 0.00020649 | 0.15882 | 0.15882 | 0.15882 | 0.98786 | -0.23144 | 0.98455 | -0.29547 | 43.6316
77 | 0.095609 | 0.024161 | -0.09554 | -0.024117 | 6.9602e-05 | 4.4432e-05 | 0.14457 | 0.14457 | 0.14457 | 0.98455 | -0.29547 | 0.98376 | -0.31067 | 39.7176
78 | 0.0055426 | 0.0013891 | -0.0055421 | -0.001389 | 4.0547e-07 | 6.147e-08 | 0.0083546 | 0.0083547 | 0.0083547 | 0.98717 | -0.24473 | 0.98709 | -0.24626 | 2.2952
79 | -0.032582 | -0.0081712 | 0.032601 | 0.0081832 | 1.9084e-05 | 1.1956e-05 | 0.04968 | 0.049679 | 0.04968 | 0.97593 | -0.46353 | 0.97656 | -0.45125 | 13.6482
80 | -0.04429 | -0.011113 | 0.044343 | 0.011146 | 5.2363e-05 | 3.3128e-05 | 0.067491 | 0.067491 | 0.067491 | 0.97656 | -0.45125 | 0.97782 | -0.42648 | 18.5416
81 | 0.037325 | 0.0093827 | -0.037306 | -0.0093709 | 1.8817e-05 | 1.185e-05 | 0.056929 | 0.056929 | 0.056929 | 0.97577 | -0.46638 | 0.97524 | -0.47695 | 15.6398
82 | 0.032207 | 0.008093 | -0.032184 | -0.0080784 | 2.3247e-05 | 1.4558e-05 | 0.049149 | 0.049149 | 0.049149 | 0.97524 | -0.47695 | 0.97447 | -0.49208 | 13.5024
83 | 0.00718 | 0.0017996 | -0.0071794 | -0.0017993 | 6.0825e-07 | 2.2235e-07 | 0.010983 | 0.010983 | 0.010983 | 0.9728 | -0.52498 | 0.97271 | -0.52676 | 3.0173
84 | -0.00718 | -0.0017996 | 0.0071809 | 0.0017999 | 9.018e-07 | 3.2959e-07 | 0.010983 | 0.010983 | 0.010983 | 0.9728 | -0.52498 | 0.97293 | -0.52234 | 3.0172
85 | -0.020316 | -0.0050918 | 0.020326 | 0.0050983 | 1.0707e-05 | 6.485e-06 | 0.031071 | 0.031071 | 0.031071 | 0.97293 | -0.52234 | 0.97349 | -0.51129 | 8.536
86 | 0.027551 | 0.0069174 | -0.027539 | -0.0069096 | 1.2507e-05 | 7.7702e-06 | 0.042075 | 0.042075 | 0.042075 | 0.97447 | -0.49208 | 0.97398 | -0.5016 | 11.5591
87 | -0.022924 | -0.0057492 | 0.022934 | 0.0057557 | 1.0591e-05 | 6.4921e-06 | 0.035041 | 0.035041 | 0.035041 | 0.97349 | -0.51129 | 0.97398 | -0.5016 | 9.6267

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.562 | 0.14411

## res_load
| p_mw | q_mvar
0 | 0.010428 | 0.0026135
1 | 0.011697 | 0.0029316
2 | 0.0098255 | 0.0024625
3 | 0.021352 | 0.0053513
4 | 0.01119 | 0.0028045
5 | 0.0091835 | 0.0023016
6 | 0.0037561 | 0.00094136
7 | 0.0018726 | 0.00046932
8 | 0.028741 | 0.0072033
9 | 0.0078051 | 0.0019561
10 | 0.013742 | 0.0034441
11 | 0.0088459 | 0.002217
12 | 0.010375 | 0.0026003
13 | 0.013389 | 0.0033555
14 | 0.0043067 | 0.0010793
15 | 0.0090181 | 0.0022601
16 | 0.011698 | 0.0029318
17 | 0.0082654 | 0.0020715
18 | 0.0086686 | 0.0021726
19 | 0.009277 | 0.002325
20 | 0.0088204 | 0.0022106
21 | 0.0097582 | 0.0024456
22 | 0.0097931 | 0.0024544
23 | 0.0098991 | 0.0024809
24 | 0.018701 | 0.0046869
25 | 0.0106 | 0.0026566
26 | 0.011534 | 0.0028906
27 | 0.016591 | 0.0041582
28 | 0.016115 | 0.0040389
29 | 0.0010717 | 0.00026858
30 | 0.006038 | 0.0015133
31 | 0.00927 | 0.0023233
32 | 0.0047182 | 0.0011825
33 | 0.0052574 | 0.0013176
34 | 0.0036685 | 0.00091942
35 | 0.0087765 | 0.0021996
36 | 0.015498 | 0.0038841
37 | 0.015559 | 0.0038994
38 | 0.0077616 | 0.0019452
39 | 0.0085406 | 0.0021405
40 | 0.0087963 | 0.0022046
41 | 0.0093618 | 0.0023463
42 | 0.0094549 | 0.0023696
43 | 0.0088306 | 0.0022132
44 | 0.0094264 | 0.0023625
45 | 0.015529 | 0.003892
46 | 0.0055421 | 0.001389
47 | 0.0046974 | 0.0011773
48 | 0.010432 | 0.0026145
49 | 0.01169 | 0.0029297
50 | 0.0084256 | 0.0021117
51 | 0.0050989 | 0.0012779
52 | 0.0071794 | 0.0017993
53 | 0.013135 | 0.0032919
54 | 0.0046325 | 0.001161
55 | 0.0025973 | 0.00065095
56 | 0.0046043 | 0.0011539

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1