## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-96_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-96_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-96_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-96_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1061-96_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-96_0_4_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_1061-96_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1061-96_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1061-96_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1061-96_0_4_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_1061-96_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1061-96_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1061-96_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1061-96_0_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_1061-96_0_4_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_1061-96_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1061-96_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1061-96_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_1061-96_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1061-96_0_4_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_1061-96_0_4_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_1061-96_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1061-96_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1061-96_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1061-96_0_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_1061-96_0_4_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_1061-96_0_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_1061-96_0_4_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_1061-96_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_1061-96_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1061-96_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1061-96_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1061-96_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1061-96_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1061-96_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_MV_219_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-96_0_4_load_0 | 0 | 0.01639 | 0.0041078 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-96_0_4_load_1 | 1 | 0.015202 | 0.00381 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-96_0_4_load_2 | 2 | 0.01275 | 0.0031956 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-96_0_4_load_3 | 3 | 0.048006 | 0.012032 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-96_0_4_load_21 | 5 | 0.011672 | 0.0029252 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-96_0_4_load_18 | 7 | 0.05541 | 0.013887 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-96_0_4_load_5 | 8 | 0.013093 | 0.0032813 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-96_0_4_load_22 | 9 | 0.012976 | 0.0032521 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-96_0_4_load_8 | 11 | 0.017232 | 0.0043188 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-96_0_4_load_9 | 12 | 0.010259 | 0.0025712 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-96_0_4_load_27 | 13 | 0.018123 | 0.0045422 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-96_0_4_load_34 | 14 | 0.010735 | 0.0026906 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-96_0_4_load_19 | 17 | 0.0057096 | 0.001431 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-96_0_4_load_31 | 19 | 0.010223 | 0.0025622 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-96_0_4_load_35 | 20 | 0.030773 | 0.0077126 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-96_0_4_load_20 | 22 | 0.013495 | 0.0033821 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-96_0_4_load_28 | 23 | 0.009533 | 0.0023892 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-96_0_4_load_39 | 24 | 0.020611 | 0.0051657 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-96_0_4_load_37 | 25 | 0.024219 | 0.0060699 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-96_0_4_load_38 | 26 | 0.0083639 | 0.0020962 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-96_0_4_load_33 | 27 | 0.021123 | 0.005294 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-96_0_4_load_32 | 28 | 0.013527 | 0.0033902 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-96_0_4_load_36 | 29 | 0.020515 | 0.0051416 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-96_0_4_load_23 | 30 | 0.014625 | 0.0036654 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-96_0_4_load_26 | 32 | 0.019701 | 0.0049375 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-96_0_4_load_29 | 33 | 0.019713 | 0.0049406 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-96_0_4_load_30 | 34 | 0.016482 | 0.0041309 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-96_0_4_line_0 |  | 0 | 1 | 0.015745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-96_0_4_line_1 |  | 0 | 2 | 0.0016043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-96_0_4_line_2 |  | 1 | 3 | 0.0081804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-96_0_4_line_3 |  | 2 | 4 | 0.010658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-96_0_4_line_4 |  | 4 | 5 | 0.018753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-96_0_4_line_5 |  | 5 | 9 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-96_0_4_line_6 |  | 6 | 7 | 0.031999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-96_0_4_line_7 |  | 6 | 8 | 0.050558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-96_0_4_line_8 |  | 8 | 10 | 0.027363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-96_0_4_line_9 |  | 9 | 30 | 0.014877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-96_0_4_line_10 |  | 10 | 11 | 0.023238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1061-96_0_4_line_11 |  | 10 | 12 | 0.027114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1061-96_0_4_line_12 |  | 11 | 13 | 0.00092095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1061-96_0_4_line_13 |  | 12 | 14 | 0.010331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1061-96_0_4_line_14 |  | 13 | 23 | 0.013723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1061-96_0_4_line_15 |  | 14 | 18 | 0.018576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1061-96_0_4_line_16 |  | 15 | 16 | 0.033943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-96_0_4_line_17 |  | 15 | 17 | 0.001962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-96_0_4_line_18 |  | 16 | 20 | 0.037655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-96_0_4_line_19 |  | 16 | 18 | 0.027489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-96_0_4_line_20 |  | 17 | 21 | 0.009486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-96_0_4_line_21 |  | 18 | 19 | 0.013593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-96_0_4_line_22 |  | 19 | 28 | 0.0076319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-96_0_4_line_23 |  | 20 | 29 | 0.020393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-96_0_4_line_24 |  | 21 | 22 | 0.015016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-96_0_4_line_25 |  | 23 | 34 | 0.0025599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1061-96_0_4_line_26 |  | 24 | 25 | 0.022418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-96_0_4_line_27 |  | 25 | 29 | 0.039107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-96_0_4_line_28 |  | 26 | 27 | 0.0011666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-96_0_4_line_29 |  | 27 | 28 | 0.00091171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-96_0_4_line_30 |  | 30 | 31 | 0.014321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-96_0_4_line_31 |  | 31 | 32 | 0.0093436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-96_0_4_line_32 |  | 32 | 33 | 0.00015518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1061-96_0_4_line_33 |  | 33 | 34 | 0.016422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-96_0_4_trafo_8 | 0.63 MVA 20/0.4 kV | 35 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2665574.252 | 1211065.467 | 2665576.2876 | 1211062.2996 | 2665582.7569 | 1211052.2163
1 | 2665574.252 | 1211065.467 | 2665573.3846 | 1211066.8166
2 | 2665587.1742 | 1211045.3311 | 2665582.7569 | 1211052.2163
3 | 2665567.6884 | 1211075.8246 | 2665570.5121 | 1211071.2862 | 2665573.3846 | 1211066.8166
4 | 2665567.6884 | 1211075.8246 | 2665583.5545 | 1211085.8216
5 | 2665583.5545 | 1211085.8216 | 2665595.1356 | 1211093.1187
6 | 2665590.2381 | 1211009.9652 | 2665595.1531 | 1211002.5369 | 2665607.8942 | 1210983.2781
7 | 2665590.2381 | 1211009.9652 | 2665632.6441 | 1211037.4948
8 | 2665655.4123 | 1211052.6637 | 2665648.9124 | 1211048.056 | 2665632.6441 | 1211037.4948
9 | 2665595.1356 | 1211093.1187 | 2665607.7228 | 1211101.0497
10 | 2665655.4123 | 1211052.6637 | 2665650.4013 | 1211060.5356 | 2665642.9489 | 1211072.2762
11 | 2665655.4123 | 1211052.6637 | 2665663.8732 | 1211057.9378 | 2665678.2268 | 1211067.3135
12 | 2665642.9489 | 1211072.2762 | 2665642.4554 | 1211073.0537
13 | 2665678.2268 | 1211067.3135 | 2665686.8762 | 1211072.9633
14 | 2665642.4554 | 1211073.0537 | 2665635.1014 | 1211084.6394
15 | 2665702.4288 | 1211083.1221 | 2665686.8762 | 1211072.9633
16 | 2665721.8958 | 1211088.184 | 2665722.7167 | 1211084.7243 | 2665724.2312 | 1211078.3148 | 2665726.9995 | 1211054.6752
17 | 2665726.9995 | 1211054.6752 | 2665727.2281 | 1211052.7265
18 | 2665721.8958 | 1211088.184 | 2665718.4341 | 1211084.4102 | 2665709.7226 | 1211079.1333 | 2665693.5929 | 1211068.438 | 2665691.106 | 1211066.7681
19 | 2665702.4288 | 1211083.1221 | 2665704.3906 | 1211084.4 | 2665712.135 | 1211089.166 | 2665719.8578 | 1211094.521 | 2665721.8958 | 1211088.184
20 | 2665728.3331 | 1211043.3051 | 2665727.2281 | 1211052.7265
21 | 2665702.4288 | 1211083.1221 | 2665699.3092 | 1211095.1952 | 2665699.3439 | 1211096.3179
22 | 2665699.3439 | 1211096.3179 | 2665699.4325 | 1211099.1879 | 2665699.6064 | 1211103.9453
23 | 2665691.106 | 1211066.7681 | 2665676.7932 | 1211057.1573 | 2665674.1211 | 1211055.4844
24 | 2665728.3331 | 1211043.3051 | 2665729.3327 | 1211028.3223
25 | 2665635.1014 | 1211084.6394 | 2665633.7295 | 1211086.8007
26 | 2665693.0484 | 1211006.3048 | 2665687.5864 | 1211014.8834 | 2665680.9452 | 1211025.175
27 | 2665674.1211 | 1211055.4844 | 2665670.1591 | 1211053.0039 | 2665668.1956 | 1211051.8816 | 2665667.3952 | 1211051.417 | 2665666.349 | 1211050.4938 | 2665665.9637 | 1211049.6001 | 2665665.9792 | 1211048.1883 | 2665667.1435 | 1211045.9775 | 2665674.0797 | 1211035.8143 | 2665680.9452 | 1211025.175
28 | 2665699.6397 | 1211104.8564 | 2665699.6427 | 1211104.9382 | 2665699.9499 | 1211105.9785
29 | 2665699.6064 | 1211103.9453 | 2665699.6397 | 1211104.8564
30 | 2665619.8386 | 1211108.6847 | 2665613.1595 | 1211104.4753 | 2665607.7228 | 1211101.0497
31 | 2665619.8386 | 1211108.6847 | 2665624.8459 | 1211100.7961
32 | 2665624.9291 | 1211100.6651 | 2665624.8459 | 1211100.7961
33 | 2665624.9291 | 1211100.6651 | 2665633.7295 | 1211086.8007

## bus_geodata
| x | y | coords
0 | 2665574.252 | 1211065.467
1 | 2665582.7569 | 1211052.2163
2 | 2665573.3846 | 1211066.8166
3 | 2665587.1742 | 1211045.3311
4 | 2665567.6884 | 1211075.8246
5 | 2665583.5545 | 1211085.8216
6 | 2665590.2381 | 1211009.9652
7 | 2665607.8942 | 1210983.2781
8 | 2665632.6441 | 1211037.4948
9 | 2665595.1356 | 1211093.1187
10 | 2665655.4123 | 1211052.6637
11 | 2665642.9489 | 1211072.2762
12 | 2665678.2268 | 1211067.3135
13 | 2665642.4554 | 1211073.0538
14 | 2665686.8762 | 1211072.9633
15 | 2665726.9995 | 1211054.6752
16 | 2665721.8958 | 1211088.184
17 | 2665727.2281 | 1211052.7265
18 | 2665702.4288 | 1211083.1221
19 | 2665699.3439 | 1211096.3179
20 | 2665691.106 | 1211066.7681
21 | 2665728.3331 | 1211043.3051
22 | 2665729.3327 | 1211028.3223
23 | 2665635.1014 | 1211084.6394
24 | 2665693.0484 | 1211006.3048
25 | 2665680.9452 | 1211025.175
26 | 2665699.9499 | 1211105.9785
27 | 2665699.6397 | 1211104.8564
28 | 2665699.6064 | 1211103.9453
29 | 2665674.1211 | 1211055.4844
30 | 2665607.7228 | 1211101.0497
31 | 2665619.8386 | 1211108.6847
32 | 2665624.8459 | 1211100.7961
33 | 2665624.9291 | 1211100.6651
34 | 2665633.7295 | 1211086.8007
35 | 2665655.4123 | 1211052.6637

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98879 | -0.21559 | 0.01639 | 0.0041078
1 | 0.98787 | -0.23334 | 0.015202 | 0.00381
2 | 0.98891 | -0.21331 | 0.01275 | 0.0031956
3 | 0.98751 | -0.24036 | 0.048006 | 0.012032
4 | 0.98981 | -0.19578 | 0 | 0
5 | 0.9914 | -0.16502 | 0.011672 | 0.0029252
6 | 0.99297 | -0.13471 | 0 | 0
7 | 0.99135 | -0.1661 | 0.05541 | 0.013887
8 | 0.99554 | -0.085316 | 0.013093 | 0.0032813
9 | 0.99271 | -0.13981 | 0.012976 | 0.0032521
10 | 0.99725 | -0.052406 | 0 | 0
11 | 1 | 0 | -0.47889 | -0.12116
12 | 0.99489 | -0.097554 | 0.010259 | 0.0025712
13 | 0.99991 | -0.0017272 | 0.018123 | 0.0045422
14 | 0.99404 | -0.11388 | 0.010735 | 0.0026906
15 | 0.98908 | -0.20939 | 0 | 0
16 | 0.98968 | -0.19778 | 0 | 0
17 | 0.98905 | -0.21006 | 0.0057096 | 0.001431
18 | 0.9926 | -0.14154 | 0 | 0
19 | 0.99194 | -0.15435 | 0.010223 | 0.0025622
20 | 0.98635 | -0.26241 | 0.030773 | 0.0077126
21 | 0.98893 | -0.21234 | 0 | 0
22 | 0.98875 | -0.21596 | 0.013495 | 0.0033821
23 | 0.99867 | -0.025326 | 0.009533 | 0.0023892
24 | 0.98308 | -0.32618 | 0.020611 | 0.0051657
25 | 0.9835 | -0.31785 | 0.024219 | 0.0060699
26 | 0.99161 | -0.16081 | 0.0083639 | 0.0020962
27 | 0.99161 | -0.16064 | 0.021123 | 0.005294
28 | 0.99164 | -0.16016 | 0.013527 | 0.0033902
29 | 0.98512 | -0.28631 | 0.020515 | 0.0051416
30 | 0.9943 | -0.10907 | 0.014625 | 0.0036654
31 | 0.99603 | -0.075895 | 0 | 0
32 | 0.99716 | -0.054313 | 0.019701 | 0.0049375
33 | 0.99717 | -0.054107 | 0.019713 | 0.0049406
34 | 0.99845 | -0.029522 | 0.016482 | 0.0041309
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.063278 | 0.015886 | -0.063224 | -0.015852 | 5.3553e-05 | 3.4072e-05 | 0.095236 | 0.095236 | 0.095236 | 0.98879 | -0.21559 | 0.98787 | -0.23334 | 26.1637
1 | -0.079668 | -0.019994 | 0.079677 | 0.019999 | 8.649e-06 | 5.5148e-06 | 0.1199 | 0.1199 | 0.1199 | 0.98879 | -0.21559 | 0.98891 | -0.21331 | 32.94
2 | 0.048022 | 0.012042 | -0.048006 | -0.012032 | 1.6052e-05 | 1.0169e-05 | 0.072337 | 0.072337 | 0.072337 | 0.98787 | -0.23334 | 0.98751 | -0.24036 | 19.8729
3 | -0.092428 | -0.023195 | 0.092505 | 0.023244 | 7.732e-05 | 4.9348e-05 | 0.13909 | 0.13909 | 0.13909 | 0.98891 | -0.21331 | 0.98981 | -0.19578 | 38.2108
4 | -0.092505 | -0.023244 | 0.092641 | 0.023331 | 0.00013604 | 8.6826e-05 | 0.13909 | 0.13909 | 0.13909 | 0.98981 | -0.19578 | 0.9914 | -0.16502 | 38.2108
5 | -0.10431 | -0.026256 | 0.10444 | 0.026336 | 0.00012589 | 8.0393e-05 | 0.15661 | 0.15661 | 0.15661 | 0.9914 | -0.16502 | 0.99271 | -0.13981 | 43.0235
6 | 0.055493 | 0.01394 | -0.05541 | -0.013887 | 8.3005e-05 | 5.271e-05 | 0.08317 | 0.08317 | 0.08317 | 0.99297 | -0.13471 | 0.99135 | -0.1661 | 22.849
7 | -0.055493 | -0.01394 | 0.055624 | 0.014023 | 0.00013115 | 8.3278e-05 | 0.08317 | 0.08317 | 0.08317 | 0.99297 | -0.13471 | 0.99554 | -0.085316 | 22.8489
8 | -0.068717 | -0.017304 | 0.068825 | 0.017373 | 0.00010831 | 6.8962e-05 | 0.10274 | 0.10274 | 0.10274 | 0.99554 | -0.085316 | 0.99725 | -0.052406 | 28.2251
9 | -0.11741 | -0.029588 | 0.11759 | 0.029699 | 0.00017293 | 0.00011048 | 0.17606 | 0.17606 | 0.17606 | 0.99271 | -0.13981 | 0.9943 | -0.10907 | 48.3669
10 | -0.25998 | -0.065901 | 0.26064 | 0.066321 | 0.00065656 | 0.00041959 | 0.38819 | 0.38819 | 0.38819 | 0.99725 | -0.052406 | 1 | 0 | 53.3225
11 | 0.19116 | 0.048528 | -0.19074 | -0.048263 | 0.00041424 | 0.00026441 | 0.28545 | 0.28545 | 0.28545 | 0.99725 | -0.052406 | 0.99489 | -0.097554 | 39.21
12 | 0.2166 | 0.054837 | -0.21658 | -0.054825 | 1.7959e-05 | 1.147e-05 | 0.3225 | 0.3225 | 0.3225 | 1 | 0 | 0.99991 | -0.0017272 | 44.299
13 | 0.18048 | 0.045692 | -0.18034 | -0.045602 | 0.00014132 | 9.018e-05 | 0.2701 | 0.2701 | 0.2701 | 0.99489 | -0.097554 | 0.99404 | -0.11388 | 37.1023
14 | 0.19846 | 0.050283 | -0.19823 | -0.05014 | 0.00022471 | 0.00014346 | 0.29553 | 0.29553 | 0.29553 | 0.99991 | -0.0017272 | 0.99867 | -0.025326 | 40.5943
15 | 0.16961 | 0.042911 | -0.16938 | -0.042768 | 0.00022478 | 0.00014338 | 0.25403 | 0.25403 | 0.25403 | 0.99404 | -0.11388 | 0.9926 | -0.14154 | 34.8949
16 | -0.019209 | -0.0048155 | 0.019219 | 0.0048219 | 1.063e-05 | 6.3673e-06 | 0.028899 | 0.028898 | 0.028899 | 0.98908 | -0.20939 | 0.98968 | -0.19778 | 7.9392
17 | 0.019209 | 0.0048155 | -0.019208 | -0.0048151 | 6.1445e-07 | 3.6807e-07 | 0.028899 | 0.028899 | 0.028899 | 0.98908 | -0.20939 | 0.98905 | -0.21006 | 7.9392
18 | 0.096568 | 0.024375 | -0.09627 | -0.024185 | 0.00029793 | 0.00019019 | 0.14525 | 0.14525 | 0.14525 | 0.98968 | -0.19778 | 0.98635 | -0.26241 | 39.9049
19 | -0.11579 | -0.029197 | 0.1161 | 0.029397 | 0.00031264 | 0.00019974 | 0.17415 | 0.17415 | 0.17415 | 0.98968 | -0.19778 | 0.9926 | -0.14154 | 47.844
20 | 0.013498 | 0.0033842 | -0.013497 | -0.0033834 | 1.4672e-06 | 8.1725e-07 | 0.020309 | 0.020309 | 0.020309 | 0.98905 | -0.21006 | 0.98893 | -0.21234 | 5.5793
21 | 0.053283 | 0.013371 | -0.05325 | -0.013351 | 3.2527e-05 | 2.0642e-05 | 0.079883 | 0.079883 | 0.079883 | 0.9926 | -0.14154 | 0.99194 | -0.15435 | 21.9458
22 | 0.043027 | 0.010788 | -0.043015 | -0.010781 | 1.1924e-05 | 7.5327e-06 | 0.064547 | 0.064547 | 0.064547 | 0.99194 | -0.15435 | 0.99164 | -0.16016 | 17.7326
23 | 0.065496 | 0.016472 | -0.065421 | -0.016425 | 7.4692e-05 | 4.7543e-05 | 0.098829 | 0.098829 | 0.098829 | 0.98635 | -0.26241 | 0.98512 | -0.28631 | 27.1508
24 | 0.013497 | 0.0033834 | -0.013495 | -0.0033821 | 2.3225e-06 | 1.2938e-06 | 0.020309 | 0.020309 | 0.020309 | 0.98893 | -0.21234 | 0.98875 | -0.21596 | 5.5793
25 | 0.1887 | 0.04775 | -0.18866 | -0.047726 | 3.7987e-05 | 2.4245e-05 | 0.28132 | 0.28132 | 0.28132 | 0.99867 | -0.025326 | 0.99845 | -0.029522 | 38.6432
26 | -0.020611 | -0.0051657 | 0.02062 | 0.0051707 | 8.1826e-06 | 4.9525e-06 | 0.031198 | 0.031198 | 0.031198 | 0.98308 | -0.32618 | 0.9835 | -0.31785 | 8.5709
27 | -0.044839 | -0.011241 | 0.044906 | 0.011283 | 6.7495e-05 | 4.27e-05 | 0.067841 | 0.067841 | 0.067841 | 0.9835 | -0.31785 | 0.98512 | -0.28631 | 18.6376
28 | -0.0083639 | -0.0020962 | 0.008364 | 0.0020962 | 6.8916e-08 | 2.9057e-08 | 0.012551 | 0.012551 | 0.012551 | 0.99161 | -0.16081 | 0.99161 | -0.16064 | 3.4481
29 | -0.029487 | -0.0073902 | 0.029488 | 0.0073906 | 6.694e-07 | 4.1666e-07 | 0.044249 | 0.044248 | 0.044249 | 0.99161 | -0.16064 | 0.99164 | -0.16016 | 12.1562
30 | -0.13221 | -0.033364 | 0.13242 | 0.033499 | 0.00021042 | 0.00013448 | 0.19794 | 0.19794 | 0.19794 | 0.9943 | -0.10907 | 0.99603 | -0.075895 | 54.3799
31 | -0.13242 | -0.033499 | 0.13256 | 0.033587 | 0.00013729 | 8.7741e-05 | 0.19794 | 0.19794 | 0.19794 | 0.99603 | -0.075895 | 0.99716 | -0.054313 | 54.3799
32 | -0.15226 | -0.038524 | 0.15226 | 0.038525 | 1.5038e-06 | 9.5838e-07 | 0.22734 | 0.22734 | 0.22734 | 0.99716 | -0.054313 | 0.99717 | -0.054107 | 31.2282
33 | -0.17198 | -0.043466 | 0.17218 | 0.043595 | 0.00020299 | 0.00012948 | 0.25676 | 0.25676 | 0.25676 | 0.99717 | -0.054107 | 0.99845 | -0.029522 | 35.269

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49612 | 0.12548

## res_load
| p_mw | q_mvar
0 | 0.01639 | 0.0041078
1 | 0.015202 | 0.00381
2 | 0.01275 | 0.0031956
3 | 0.048006 | 0.012032
4 | 0.011672 | 0.0029252
5 | 0.05541 | 0.013887
6 | 0.013093 | 0.0032813
7 | 0.012976 | 0.0032521
8 | 0.017232 | 0.0043188
9 | 0.010259 | 0.0025712
10 | 0.018123 | 0.0045422
11 | 0.010735 | 0.0026906
12 | 0.0057096 | 0.001431
13 | 0.010223 | 0.0025622
14 | 0.030773 | 0.0077126
15 | 0.013495 | 0.0033821
16 | 0.009533 | 0.0023892
17 | 0.020611 | 0.0051657
18 | 0.024219 | 0.0060699
19 | 0.0083639 | 0.0020962
20 | 0.021123 | 0.005294
21 | 0.013527 | 0.0033902
22 | 0.020515 | 0.0051416
23 | 0.014625 | 0.0036654
24 | 0.019701 | 0.0049375
25 | 0.019713 | 0.0049406
26 | 0.016482 | 0.0041309

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1