## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-97_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-97_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-97_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1061-97_0_4_node_53 | 0.4 | n |  | TRUE
4 | bus_LV_1061-97_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1061-97_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1061-97_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1061-97_0_4_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_1061-97_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1061-97_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1061-97_0_4_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_1061-97_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1061-97_0_4_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_1061-97_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_1061-97_0_4_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_1061-97_0_4_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_1061-97_0_4_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_1061-97_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1061-97_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1061-97_0_4_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_1061-97_0_4_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_1061-97_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1061-97_0_4_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_1061-97_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1061-97_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_1061-97_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1061-97_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1061-97_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1061-97_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1061-97_0_4_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_1061-97_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_1061-97_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1061-97_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1061-97_0_4_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_1061-97_0_4_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_1061-97_0_4_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_1061-97_0_4_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_1061-97_0_4_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_1061-97_0_4_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_1061-97_0_4_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_1061-97_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1061-97_0_4_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_1061-97_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1061-97_0_4_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_1061-97_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1061-97_0_4_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_1061-97_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_1061-97_0_4_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_1061-97_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1061-97_0_4_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_1061-97_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_1061-97_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_1061-97_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_1061-97_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_1061-97_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_MV_216_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-97_0_4_load_0 | 0 | 0.0059181 | 0.0014832 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-97_0_4_load_3 | 2 | 0.010796 | 0.0027057 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-97_0_4_load_23 | 7 | 0.0080457 | 0.0020165 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-97_0_4_load_50 | 12 | 0.0082123 | 0.0020582 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-97_0_4_load_31 | 14 | 0.010391 | 0.0026043 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-97_0_4_load_52 | 15 | 0.008362 | 0.0020957 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-97_0_4_load_44 | 16 | 0.025234 | 0.0063242 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-97_0_4_load_38 | 19 | 0.011615 | 0.002911 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-97_0_4_load_34 | 20 | 0.022201 | 0.0055642 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-97_0_4_load_49 | 22 | 0.011488 | 0.0028791 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-97_0_4_load_28 | 24 | 0.011552 | 0.0028952 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-97_0_4_load_26 | 27 | 0.010321 | 0.0025867 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-97_0_4_load_40 | 29 | 0.018027 | 0.0045179 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-97_0_4_load_39 | 30 | 0.018383 | 0.0046073 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-97_0_4_load_30 | 31 | 0.010038 | 0.0025157 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-97_0_4_load_29 | 32 | 0.010038 | 0.0025158 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-97_0_4_load_62 | 33 | 0.011833 | 0.0029656 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-97_0_4_load_54 | 35 | 0.011833 | 0.0029656 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-97_0_4_load_55 | 36 | 0.010798 | 0.0027063 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-97_0_4_load_60 | 37 | 0.010845 | 0.002718 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-97_0_4_load_51 | 39 | 0.0082169 | 0.0020594 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-97_0_4_load_32 | 40 | 0.010391 | 0.0026043 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-97_0_4_load_61 | 41 | 0.010693 | 0.0026799 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-97_0_4_load_33 | 42 | 0.010249 | 0.0025687 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-97_0_4_load_48 | 45 | 0.010895 | 0.0027306 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-97_0_4_load_27 | 46 | 0.010322 | 0.0025868 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-97_0_4_load_59 | 47 | 0.010034 | 0.0025149 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-97_0_4_load_43 | 48 | 0.020009 | 0.0050148 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-97_0_4_load_57 | 49 | 0.011827 | 0.0029642 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-97_0_4_load_42 | 51 | 0.02072 | 0.0051929 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-97_0_4_load_41 | 52 | 0.019093 | 0.0047852 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-97_0_4_load_47 | 53 | 0.012102 | 0.0030331 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-97_0_4_line_0 |  | 0 | 1 | 0.017575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-97_0_4_line_1 |  | 1 | 2 | 0.024428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-97_0_4_line_2 |  | 2 | 3 | 0.0033163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1061-97_0_4_line_3 |  | 3 | 35 | 0.009988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1061-97_0_4_line_4 |  | 3 | 36 | 0.016212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1061-97_0_4_line_5 |  | 4 | 5 | 0.020912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-97_0_4_line_6 |  | 4 | 6 | 0.033881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-97_0_4_line_7 |  | 4 | 7 | 0.038408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-97_0_4_line_8 |  | 5 | 15 | 0.010569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-97_0_4_line_9 |  | 6 | 12 | 0.0099616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-97_0_4_line_10 |  | 8 | 9 | 0.019373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-97_0_4_line_11 |  | 8 | 10 | 0.01076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-97_0_4_line_12 |  | 8 | 11 | 0.04033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-97_0_4_line_13 |  | 9 | 13 | 0.041531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-97_0_4_line_14 |  | 9 | 14 | 0.014649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-97_0_4_line_15 |  | 10 | 37 | 0.013302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-97_0_4_line_16 |  | 10 | 38 | 0.017619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-97_0_4_line_17 |  | 11 | 16 | 0.026303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-97_0_4_line_18 |  | 12 | 39 | 0.018397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-97_0_4_line_19 |  | 13 | 23 | 0.016708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-97_0_4_line_20 |  | 13 | 24 | 0.0091813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1061-97_0_4_line_21 |  | 13 | 21 | 0.02686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1061-97_0_4_line_22 |  | 14 | 40 | 0.01767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-97_0_4_line_23 |  | 16 | 43 | 0.023394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-97_0_4_line_24 |  | 17 | 18 | 0.037056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-97_0_4_line_25 |  | 17 | 19 | 0.022313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-97_0_4_line_26 |  | 18 | 20 | 0.021641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1061-97_0_4_line_27 |  | 20 | 44 | 0.012871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1061-97_0_4_line_28 |  | 21 | 22 | 0.014606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1061-97_0_4_line_29 |  | 22 | 45 | 0.017463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1061-97_0_4_line_30 |  | 23 | 33 | 0.007581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-97_0_4_line_31 |  | 23 | 34 | 0.018599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-97_0_4_line_32 |  | 24 | 32 | 0.032542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1061-97_0_4_line_33 |  | 25 | 26 | 0.026169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-97_0_4_line_34 |  | 25 | 27 | 0.013487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-97_0_4_line_35 |  | 26 | 31 | 0.027016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-97_0_4_line_36 |  | 26 | 32 | 0.012495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-97_0_4_line_37 |  | 26 | 28 | 0.030211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-97_0_4_line_38 |  | 27 | 46 | 0.018402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-97_0_4_line_39 |  | 28 | 29 | 0.016406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-97_0_4_line_40 |  | 28 | 30 | 0.013083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-97_0_4_line_41 |  | 29 | 48 | 0.011201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-97_0_4_line_42 |  | 31 | 47 | 0.018039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-97_0_4_line_43 |  | 34 | 49 | 0.009303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-97_0_4_line_44 |  | 34 | 36 | 0.0025807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-97_0_4_line_45 |  | 38 | 41 | 0.013242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-97_0_4_line_46 |  | 39 | 54 | 0.016117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1061-97_0_4_line_47 |  | 40 | 42 | 0.01767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1061-97_0_4_line_48 |  | 43 | 54 | 0.024339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1061-97_0_4_line_49 |  | 44 | 50 | 0.033394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_1061-97_0_4_line_50 |  | 45 | 53 | 0.018467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_1061-97_0_4_line_51 |  | 48 | 52 | 0.0065883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1061-97_0_4_line_52 |  | 50 | 53 | 0.011052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_1061-97_0_4_line_53 |  | 51 | 52 | 0.018377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-97_0_4_trafo_13 | 0.63 MVA 20/0.4 kV | 55 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2666022.0051 | 1210106.8486 | 2666036.5255 | 1210096.9476
1 | 2666022.0051 | 1210106.8486 | 2666012.909 | 1210096.3749 | 2666005.9874 | 1210088.405
2 | 2666003.8129 | 1210085.9012 | 2666005.9874 | 1210088.405
3 | 2666003.8129 | 1210085.9012 | 2665995.4895 | 1210091.457
4 | 2666003.8129 | 1210085.9012 | 2665995.5048 | 1210076.3368 | 2665993.2971 | 1210073.5656
5 | 2665822.0909 | 1210065.7265 | 2665824.1665 | 1210067.7395 | 2665826.5734 | 1210068.6555 | 2665830.1419 | 1210069.0062 | 2665832.1213 | 1210068.7056 | 2665832.2737 | 1210069.3632 | 2665833.0423 | 1210072.7182 | 2665833.1875 | 1210073.3424 | 2665833.3688 | 1210074.1338 | 2665834.1373 | 1210077.4999 | 2665834.3259 | 1210078.3136
6 | 2665834.3259 | 1210078.3136 | 2665834.1373 | 1210077.4999 | 2665833.3688 | 1210074.1338 | 2665833.1875 | 1210073.3424 | 2665843.6674 | 1210071.4013 | 2665856.5509 | 1210069.9981 | 2665857.3976 | 1210064.9043
7 | 2665834.3259 | 1210078.3136 | 2665842.0948 | 1210076.1535 | 2665872.0723 | 1210071.4499
8 | 2665822.0909 | 1210065.7265 | 2665820.6988 | 1210063.7655 | 2665817.6418 | 1210056.1951
9 | 2665857.3976 | 1210064.9043 | 2665857.9596 | 1210061.4973 | 2665855.5349 | 1210055.4573
10 | 2665918.8447 | 1210064.6158 | 2665927.382 | 1210063.0869 | 2665937.8088 | 1210060.456
11 | 2665922.6402 | 1210074.6861 | 2665918.8447 | 1210064.6158
12 | 2665885.042 | 1210060.7068 | 2665887.0349 | 1210065.3873 | 2665917.2054 | 1210060.2728 | 2665918.8447 | 1210064.6158
13 | 2665937.8088 | 1210060.456 | 2665948.479 | 1210057.1274 | 2665962.1698 | 1210052.1423 | 2665962.7574 | 1210051.9265 | 2665972.4527 | 1210047.4086 | 2665976.3381 | 1210045.2169
14 | 2665937.8088 | 1210060.456 | 2665943.1879 | 1210074.0821
15 | 2665922.6402 | 1210074.6861 | 2665910.5314 | 1210080.2669
16 | 2665922.6402 | 1210074.6861 | 2665928.8577 | 1210091.176
17 | 2665885.042 | 1210060.7068 | 2665874.7333 | 1210036.5084
18 | 2665855.5349 | 1210055.4573 | 2665848.6811 | 1210038.3843
19 | 2665980.0842 | 1210056.9877 | 2665972.4527 | 1210047.4086 | 2665976.3381 | 1210045.2169
20 | 2665976.3381 | 1210045.2169 | 2665982.495 | 1210041.7495 | 2665984.2336 | 1210040.5448
21 | 2665956.2022 | 1210044.6718 | 2665971.8993 | 1210036.9628 | 2665972.3461 | 1210037.8015 | 2665974.2901 | 1210041.403 | 2665975.5933 | 1210043.83 | 2665976.3381 | 1210045.2169
22 | 2665949.6764 | 1210090.5182 | 2665943.1879 | 1210074.0821
23 | 2665865.5646 | 1210014.986 | 2665874.7333 | 1210036.5084
24 | 2665970.3693 | 1210017.923 | 2665981.197 | 1210031.2843 | 2665993.2097 | 1210023.4122 | 2665997.8035 | 1210020.3945
25 | 2665997.8035 | 1210020.3945 | 2665987.3167 | 1210008.5157 | 2665984.5545 | 1210005.361 | 2665983.1808 | 1210003.8004 | 2665983.0521 | 1210003.654
26 | 2665970.3693 | 1210017.923 | 2665956.7429 | 1210001.1102
27 | 2665948.6388 | 1209991.1109 | 2665956.7429 | 1210001.1102
28 | 2665956.2022 | 1210044.6718 | 2665946.4951 | 1210033.7578 | 2665946.4951 | 1210033.7578
29 | 2665946.4951 | 1210033.7578 | 2665944.3125 | 1210026.9962 | 2665938.9974 | 1210018.1066
30 | 2665980.0842 | 1210056.9877 | 2665974.1864 | 1210061.7699
31 | 2665980.0842 | 1210056.9877 | 2665991.6891 | 1210071.5472
32 | 2665984.2336 | 1210040.5448 | 2666010.9817 | 1210022.0111
33 | 2666042.1618 | 1209999.0832 | 2666021.2519 | 1210014.8949
34 | 2666042.1618 | 1209999.0832 | 2666051.8941 | 1210008.4203
35 | 2666021.2519 | 1210014.8949 | 2666041.1021 | 1210033.2209
36 | 2666021.2519 | 1210014.8949 | 2666010.9817 | 1210022.0111
37 | 2666021.2519 | 1210014.8949 | 2666017.9865 | 1210011.8792 | 2666034.8777 | 1209999.3138 | 2666031.3244 | 1209996.2171
38 | 2666065.1732 | 1210021.1601 | 2666051.8941 | 1210008.4203
39 | 2666031.3244 | 1209996.2171 | 2666018.9545 | 1209985.4408
40 | 2666031.3244 | 1209996.2171 | 2666041.3768 | 1209987.8433
41 | 2666018.9545 | 1209985.4408 | 2666010.5092 | 1209978.0834
42 | 2666054.3564 | 1210045.4574 | 2666041.1021 | 1210033.2209
43 | 2665991.6891 | 1210071.5472 | 2665984.2992 | 1210077.2245
44 | 2665991.6891 | 1210071.5472 | 2665993.2971 | 1210073.5656
45 | 2665928.8577 | 1210091.176 | 2665916.4248 | 1210095.8305
46 | 2665842.6768 | 1210023.4276 | 2665848.6811 | 1210038.3843
47 | 2665956.1648 | 1210106.9543 | 2665949.6764 | 1210090.5182
48 | 2665865.5646 | 1210014.986 | 2665859.6728 | 1210017.1668 | 2665854.1921 | 1210019.2854 | 2665846.2616 | 1210022.2998 | 2665842.6768 | 1210023.4276
49 | 2665923.8495 | 1209992.7714 | 2665931.6957 | 1209988.4443 | 2665942.0736 | 1209981.3101 | 2665945.1145 | 1209986.7582 | 2665948.6388 | 1209991.1109
50 | 2665929.5209 | 1210002.257 | 2665938.9974 | 1210018.1066
51 | 2666005.5415 | 1209973.7558 | 2666010.5092 | 1209978.0834
52 | 2665923.8495 | 1209992.7714 | 2665929.5209 | 1210002.257
53 | 2666005.5415 | 1209973.7558 | 2665993.0886 | 1209962.9071 | 2665991.6936 | 1209961.6744

## bus_geodata
| x | y | coords
0 | 2666036.5255 | 1210096.9476
1 | 2666022.0051 | 1210106.8486
2 | 2666005.9874 | 1210088.405
3 | 2666003.8129 | 1210085.9012
4 | 2665834.3259 | 1210078.3136
5 | 2665822.0909 | 1210065.7265
6 | 2665857.3976 | 1210064.9043
7 | 2665872.0723 | 1210071.4499
8 | 2665918.8447 | 1210064.6158
9 | 2665937.8088 | 1210060.456
10 | 2665922.6402 | 1210074.6861
11 | 2665885.042 | 1210060.7068
12 | 2665855.5349 | 1210055.4573
13 | 2665976.3381 | 1210045.2169
14 | 2665943.1879 | 1210074.0821
15 | 2665817.6418 | 1210056.1951
16 | 2665874.7333 | 1210036.5084
17 | 2665997.8035 | 1210020.3945
18 | 2665970.3693 | 1210017.923
19 | 2665983.0521 | 1210003.654
20 | 2665956.7429 | 1210001.1102
21 | 2665956.2022 | 1210044.6718
22 | 2665946.4951 | 1210033.7578
23 | 2665980.0842 | 1210056.9877
24 | 2665984.2336 | 1210040.5448
25 | 2666042.1618 | 1209999.0832
26 | 2666021.2519 | 1210014.8949
27 | 2666051.8941 | 1210008.4203
28 | 2666031.3244 | 1209996.2171
29 | 2666018.9545 | 1209985.4408
30 | 2666041.3768 | 1209987.8433
31 | 2666041.1021 | 1210033.2209
32 | 2666010.9817 | 1210022.0111
33 | 2665974.1864 | 1210061.7699
34 | 2665991.6891 | 1210071.5472
35 | 2665995.4895 | 1210091.457
36 | 2665993.2971 | 1210073.5656
37 | 2665910.5314 | 1210080.2669
38 | 2665928.8577 | 1210091.176
39 | 2665848.6811 | 1210038.3843
40 | 2665949.6764 | 1210090.5182
41 | 2665916.4248 | 1210095.8305
42 | 2665956.1648 | 1210106.9543
43 | 2665865.5646 | 1210014.986
44 | 2665948.6388 | 1209991.1109
45 | 2665938.9974 | 1210018.1066
46 | 2666065.1732 | 1210021.1601
47 | 2666054.3564 | 1210045.4574
48 | 2666010.5092 | 1209978.0834
49 | 2665984.2992 | 1210077.2245
50 | 2665923.8495 | 1209992.7714
51 | 2665991.6936 | 1209961.6744
52 | 2666005.5415 | 1209973.7558
53 | 2665929.5209 | 1210002.257
54 | 2665842.6768 | 1210023.4276
55 | 2665956.8473 | 1210011.0805

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98008 | -0.38164 | 0.0059181 | 0.0014832
1 | 0.98017 | -0.37975 | 0 | 0
2 | 0.98031 | -0.37713 | 0.010796 | 0.0027057
3 | 0.98036 | -0.37612 | 0 | 0
4 | 0.97035 | -0.57232 | 0 | 0
5 | 0.97019 | -0.57556 | 0 | 0
6 | 0.97087 | -0.56204 | 0 | 0
7 | 0.97006 | -0.57805 | 0.0080457 | 0.0020165
8 | 0.97702 | -0.44107 | 0 | 0
9 | 0.97846 | -0.41295 | 0 | 0
10 | 0.9768 | -0.4453 | 0 | 0
11 | 0.97483 | -0.48394 | 0 | 0
12 | 0.97103 | -0.55902 | 0.0082123 | 0.0020582
13 | 0.98273 | -0.32965 | 0 | 0
14 | 0.97803 | -0.42123 | 0.010391 | 0.0026043
15 | 0.97011 | -0.5772 | 0.008362 | 0.0020957
16 | 0.97341 | -0.51199 | 0.025234 | 0.0063242
17 | 0.99961 | -0.0075055 | 0 | 0
18 | 1 | 0 | -0.40989 | -0.10532
19 | 0.99937 | -0.012027 | 0.011615 | 0.002911
20 | 0.9974 | -0.049026 | 0.022201 | 0.0055642
21 | 0.9855 | -0.27612 | 0 | 0
22 | 0.987 | -0.24714 | 0.011488 | 0.0028791
23 | 0.98176 | -0.34867 | 0 | 0
24 | 0.98228 | -0.33841 | 0.011552 | 0.0028952
25 | 0.97797 | -0.42265 | 0 | 0
26 | 0.97847 | -0.41281 | 0 | 0
27 | 0.97771 | -0.42773 | 0.010321 | 0.0025867
28 | 0.97576 | -0.46589 | 0 | 0
29 | 0.97457 | -0.4893 | 0.018027 | 0.0045179
30 | 0.97554 | -0.47029 | 0.018383 | 0.0046073
31 | 0.97796 | -0.42269 | 0.010038 | 0.0025157
32 | 0.98006 | -0.38171 | 0.010038 | 0.0025158
33 | 0.98168 | -0.35029 | 0.011833 | 0.0029656
34 | 0.98088 | -0.3659 | 0 | 0
35 | 0.98025 | -0.37827 | 0.011833 | 0.0029656
36 | 0.98079 | -0.36773 | 0.010798 | 0.0027063
37 | 0.97667 | -0.44794 | 0.010845 | 0.002718
38 | 0.97663 | -0.44875 | 0 | 0
39 | 0.97145 | -0.55065 | 0.0082169 | 0.0020594
40 | 0.9777 | -0.42788 | 0.010391 | 0.0026043
41 | 0.9765 | -0.45133 | 0.010693 | 0.0026799
42 | 0.97753 | -0.43118 | 0.010249 | 0.0025687
43 | 0.97269 | -0.52614 | 0 | 0
44 | 0.99593 | -0.076632 | 0 | 0
45 | 0.98886 | -0.21141 | 0.010895 | 0.0027306
46 | 0.97753 | -0.43119 | 0.010322 | 0.0025868
47 | 0.9778 | -0.42599 | 0.010034 | 0.0025149
48 | 0.97395 | -0.5016 | 0.020009 | 0.0050148
49 | 0.98078 | -0.36789 | 0.011827 | 0.0029642
50 | 0.99214 | -0.14863 | 0 | 0
51 | 0.97335 | -0.51342 | 0.02072 | 0.0051929
52 | 0.9737 | -0.50642 | 0.019093 | 0.0047852
53 | 0.99089 | -0.17258 | 0.012102 | 0.0030331
54 | 0.97194 | -0.54087 | 0 | 0
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0059181 | -0.0014832 | 0.0059186 | 0.0014833 | 5.3207e-07 | 1.1903e-07 | 0.0089852 | 0.0089851 | 0.0089852 | 0.98008 | -0.38164 | 0.98017 | -0.37975 | 2.4685
1 | -0.0059186 | -0.0014833 | 0.0059193 | 0.0014835 | 7.3954e-07 | 1.6537e-07 | 0.0089851 | 0.008985 | 0.0089851 | 0.98017 | -0.37975 | 0.98031 | -0.37713 | 2.4684
2 | -0.016715 | -0.0041892 | 0.016716 | 0.0041896 | 8.0056e-07 | 4.7055e-07 | 0.025372 | 0.025372 | 0.025372 | 0.98031 | -0.37713 | 0.98036 | -0.37612 | 6.9703
3 | 0.011834 | 0.0029662 | -0.011833 | -0.0029656 | 1.2084e-06 | 6.4748e-07 | 0.017962 | 0.017962 | 0.017962 | 0.98036 | -0.37612 | 0.98025 | -0.37827 | 4.9347
4 | -0.02855 | -0.0071559 | 0.028561 | 0.007163 | 1.1416e-05 | 7.102e-06 | 0.043334 | 0.043334 | 0.043334 | 0.98036 | -0.37612 | 0.98079 | -0.36773 | 11.905
5 | 0.008364 | 0.0020966 | -0.0083627 | -0.002096 | 1.2901e-06 | 5.6738e-07 | 0.012826 | 0.012826 | 0.012826 | 0.97035 | -0.57232 | 0.97019 | -0.57556 | 3.5237
6 | -0.016412 | -0.004114 | 0.01642 | 0.0041187 | 8.0477e-06 | 4.7318e-06 | 0.025168 | 0.025167 | 0.025168 | 0.97035 | -0.57232 | 0.97087 | -0.56204 | 6.9142
7 | 0.0080479 | 0.0020174 | -0.0080457 | -0.0020165 | 2.1938e-06 | 9.2971e-07 | 0.012341 | 0.012342 | 0.012342 | 0.97035 | -0.57232 | 0.97006 | -0.57805 | 3.3906
8 | 0.0083627 | 0.002096 | -0.008362 | -0.0020957 | 6.5204e-07 | 2.868e-07 | 0.012826 | 0.012826 | 0.012826 | 0.97019 | -0.57556 | 0.97011 | -0.5772 | 3.5237
9 | -0.01642 | -0.0041187 | 0.016422 | 0.0041201 | 2.3661e-06 | 1.3911e-06 | 0.025167 | 0.025167 | 0.025167 | 0.97087 | -0.56204 | 0.97103 | -0.55902 | 6.9141
10 | -0.0799 | -0.020134 | 0.080008 | 0.020203 | 0.00010765 | 6.8653e-05 | 0.12173 | 0.12173 | 0.12173 | 0.97702 | -0.44107 | 0.97846 | -0.41295 | 33.4421
11 | 0.021547 | 0.0054028 | -0.021542 | -0.0054002 | 4.3455e-06 | 2.6464e-06 | 0.032817 | 0.032817 | 0.032817 | 0.97702 | -0.44107 | 0.9768 | -0.4453 | 9.0157
12 | 0.058354 | 0.014732 | -0.058234 | -0.014656 | 0.00011956 | 7.6014e-05 | 0.088912 | 0.088912 | 0.088912 | 0.97702 | -0.44107 | 0.97483 | -0.48394 | 24.4265
13 | -0.11106 | -0.027993 | 0.1115 | 0.028277 | 0.00044457 | 0.000284 | 0.16895 | 0.16895 | 0.16895 | 0.97846 | -0.41295 | 0.98273 | -0.32965 | 46.4162
14 | 0.031052 | 0.0077897 | -0.03104 | -0.007782 | 1.2252e-05 | 7.6575e-06 | 0.047226 | 0.047226 | 0.047226 | 0.97846 | -0.41295 | 0.97803 | -0.42123 | 12.9742
15 | 0.010846 | 0.0027187 | -0.010845 | -0.002718 | 1.3618e-06 | 7.0509e-07 | 0.016523 | 0.016523 | 0.016523 | 0.9768 | -0.4453 | 0.97667 | -0.44794 | 4.5393
16 | 0.010696 | 0.0026815 | -0.010694 | -0.0026806 | 1.7542e-06 | 9.0217e-07 | 0.016294 | 0.016294 | 0.016294 | 0.9768 | -0.4453 | 0.97663 | -0.44875 | 4.4764
17 | 0.058234 | 0.014656 | -0.058156 | -0.014606 | 7.7975e-05 | 4.9577e-05 | 0.088912 | 0.088912 | 0.088912 | 0.97483 | -0.48394 | 0.97341 | -0.51199 | 24.4265
18 | -0.024635 | -0.0061783 | 0.024644 | 0.0061844 | 9.8325e-06 | 6.0652e-06 | 0.037752 | 0.037752 | 0.037752 | 0.97103 | -0.55902 | 0.97145 | -0.55065 | 10.3715
19 | 0.063125 | 0.015865 | -0.063067 | -0.015829 | 5.726e-05 | 3.6435e-05 | 0.095597 | 0.095597 | 0.095597 | 0.98273 | -0.32965 | 0.98176 | -0.34867 | 26.2629
20 | 0.15953 | 0.040365 | -0.15946 | -0.040322 | 6.7041e-05 | 4.2557e-05 | 0.24169 | 0.24169 | 0.24169 | 0.98273 | -0.32965 | 0.98228 | -0.33841 | 22.133
21 | -0.33416 | -0.084507 | 0.33502 | 0.085057 | 0.00086046 | 0.00054967 | 0.50624 | 0.50624 | 0.50624 | 0.98273 | -0.32965 | 0.9855 | -0.27612 | 46.3593
22 | 0.020649 | 0.0051778 | -0.020642 | -0.0051738 | 6.5403e-06 | 3.9641e-06 | 0.031417 | 0.031417 | 0.031417 | 0.97803 | -0.42123 | 0.9777 | -0.42788 | 8.631
23 | 0.032922 | 0.0082817 | -0.0329 | -0.0082678 | 2.2229e-05 | 1.3936e-05 | 0.050338 | 0.050338 | 0.050338 | 0.97341 | -0.51199 | 0.97269 | -0.52614 | 13.8291
24 | -0.011617 | -0.0029123 | 0.011622 | 0.0029144 | 4.156e-06 | 2.1738e-06 | 0.017294 | 0.017294 | 0.017294 | 0.99961 | -0.0075055 | 1 | 0 | 4.751
25 | 0.011617 | 0.0029123 | -0.011615 | -0.002911 | 2.5025e-06 | 1.3091e-06 | 0.017294 | 0.017294 | 0.017294 | 0.99961 | -0.0075055 | 0.99937 | -0.012027 | 4.7511
26 | 0.39662 | 0.10241 | -0.39568 | -0.1018 | 0.00094567 | 0.00060438 | 0.59125 | 0.59125 | 0.59125 | 1 | 0 | 0.9974 | -0.049026 | 54.1438
27 | 0.37348 | 0.096237 | -0.37297 | -0.095916 | 0.00050118 | 0.00032025 | 0.55813 | 0.55813 | 0.55813 | 0.9974 | -0.049026 | 0.99593 | -0.076632 | 51.1107
28 | -0.33502 | -0.085057 | 0.33549 | 0.085356 | 0.00046791 | 0.00029891 | 0.50624 | 0.50624 | 0.50624 | 0.9855 | -0.27612 | 0.987 | -0.24714 | 46.3593
29 | -0.34698 | -0.088235 | 0.34757 | 0.088617 | 0.00059835 | 0.00038227 | 0.52356 | 0.52356 | 0.52356 | 0.987 | -0.24714 | 0.98886 | -0.21141 | 47.9452
30 | 0.011834 | 0.0029661 | -0.011833 | -0.0029656 | 9.1456e-07 | 4.8947e-07 | 0.017936 | 0.017936 | 0.017936 | 0.98176 | -0.34867 | 0.98168 | -0.35029 | 4.9275
31 | 0.051234 | 0.012863 | -0.051191 | -0.012836 | 4.2065e-05 | 2.6687e-05 | 0.077661 | 0.077661 | 0.077661 | 0.98176 | -0.34867 | 0.98088 | -0.3659 | 21.3354
32 | 0.14791 | 0.037427 | -0.1476 | -0.037232 | 0.00030668 | 0.00019545 | 0.22419 | 0.22419 | 0.22419 | 0.98228 | -0.33841 | 0.98006 | -0.38171 | 30.7957
33 | -0.020649 | -0.0051774 | 0.020659 | 0.0051833 | 9.6877e-06 | 5.8716e-06 | 0.03142 | 0.03142 | 0.03142 | 0.97797 | -0.42265 | 0.97847 | -0.41281 | 8.6318
34 | 0.020649 | 0.0051774 | -0.020644 | -0.0051744 | 4.9929e-06 | 3.0263e-06 | 0.03142 | 0.03142 | 0.03142 | 0.97797 | -0.42265 | 0.97771 | -0.42773 | 8.6318
35 | 0.020083 | 0.0050371 | -0.020074 | -0.0050314 | 9.4513e-06 | 5.7097e-06 | 0.030543 | 0.030544 | 0.030544 | 0.97847 | -0.41281 | 0.97796 | -0.42269 | 8.3911
36 | -0.13736 | -0.034585 | 0.13757 | 0.034716 | 0.00020457 | 0.00013077 | 0.20895 | 0.20895 | 0.20895 | 0.97847 | -0.41281 | 0.98006 | -0.38171 | 57.4044
37 | 0.09662 | 0.024365 | -0.096375 | -0.024208 | 0.00024477 | 0.00015628 | 0.14699 | 0.14699 | 0.14699 | 0.97847 | -0.41281 | 0.97576 | -0.46589 | 40.3817
38 | 0.010323 | 0.0025877 | -0.010322 | -0.0025868 | 1.7035e-06 | 8.5949e-07 | 0.015711 | 0.015712 | 0.015712 | 0.97771 | -0.42773 | 0.97753 | -0.43119 | 4.3164
39 | 0.077988 | 0.019599 | -0.077901 | -0.019543 | 8.7045e-05 | 5.5504e-05 | 0.11895 | 0.11895 | 0.11895 | 0.97576 | -0.46589 | 0.97457 | -0.4893 | 32.6783
40 | 0.018387 | 0.0046096 | -0.018383 | -0.0046073 | 3.8576e-06 | 2.3055e-06 | 0.02804 | 0.028041 | 0.028041 | 0.97576 | -0.46589 | 0.97554 | -0.47029 | 7.7034
41 | 0.059874 | 0.015025 | -0.059839 | -0.015003 | 3.5108e-05 | 2.233e-05 | 0.091425 | 0.091425 | 0.091425 | 0.97457 | -0.4893 | 0.97395 | -0.5016 | 25.1167
42 | 0.010036 | 0.0025157 | -0.010034 | -0.0025149 | 1.5774e-06 | 7.8325e-07 | 0.01527 | 0.01527 | 0.01527 | 0.97796 | -0.42269 | 0.9778 | -0.42599 | 4.1952
43 | 0.011828 | 0.0029648 | -0.011827 | -0.0029642 | 1.1233e-06 | 6.0151e-07 | 0.017944 | 0.017944 | 0.017944 | 0.98088 | -0.3659 | 0.98078 | -0.36789 | 4.9297
44 | 0.039363 | 0.0098714 | -0.03936 | -0.0098692 | 3.4511e-06 | 2.1761e-06 | 0.059717 | 0.059717 | 0.059717 | 0.98088 | -0.3659 | 0.98079 | -0.36773 | 16.4057
45 | 0.010694 | 0.0026806 | -0.010693 | -0.0026799 | 1.3184e-06 | 6.7811e-07 | 0.016294 | 0.016294 | 0.016294 | 0.97663 | -0.44875 | 0.9765 | -0.45133 | 4.4764
46 | -0.032861 | -0.0082437 | 0.032877 | 0.0082533 | 1.5315e-05 | 9.6018e-06 | 0.050338 | 0.050338 | 0.050338 | 0.97145 | -0.55065 | 0.97194 | -0.54087 | 13.8292
47 | 0.010251 | 0.0025695 | -0.010249 | -0.0025687 | 1.613e-06 | 8.1075e-07 | 0.015602 | 0.015602 | 0.015602 | 0.9777 | -0.42788 | 0.97753 | -0.43118 | 4.2862
48 | 0.0329 | 0.0082678 | -0.032877 | -0.0082533 | 2.3127e-05 | 1.45e-05 | 0.050338 | 0.050338 | 0.050338 | 0.97269 | -0.52614 | 0.97194 | -0.54087 | 13.8292
49 | 0.37297 | 0.095916 | -0.37167 | -0.095086 | 0.0013003 | 0.00083089 | 0.55813 | 0.55813 | 0.55813 | 0.99593 | -0.076632 | 0.99214 | -0.14863 | 51.1107
50 | -0.35847 | -0.091347 | 0.35914 | 0.091777 | 0.00067299 | 0.00043 | 0.53996 | 0.53996 | 0.53996 | 0.98886 | -0.21141 | 0.99089 | -0.17258 | 49.4465
51 | 0.039829 | 0.0099881 | -0.03982 | -0.0099823 | 9.1493e-06 | 5.7736e-06 | 0.060854 | 0.060854 | 0.060854 | 0.97395 | -0.5016 | 0.9737 | -0.50642 | 16.7182
52 | 0.37167 | 0.095086 | -0.37124 | -0.094811 | 0.00043034 | 0.00027499 | 0.55813 | 0.55813 | 0.55813 | 0.99214 | -0.14863 | 0.99089 | -0.17258 | 51.1107
53 | -0.02072 | -0.0051929 | 0.020727 | 0.0051971 | 6.9147e-06 | 4.1969e-06 | 0.031676 | 0.031676 | 0.031676 | 0.97335 | -0.51342 | 0.9737 | -0.50642 | 8.7022

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40989 | 0.10532

## res_load
| p_mw | q_mvar
0 | 0.0059181 | 0.0014832
1 | 0.010796 | 0.0027057
2 | 0.0080457 | 0.0020165
3 | 0.0082123 | 0.0020582
4 | 0.010391 | 0.0026043
5 | 0.008362 | 0.0020957
6 | 0.025234 | 0.0063242
7 | 0.011615 | 0.002911
8 | 0.022201 | 0.0055642
9 | 0.011488 | 0.0028791
10 | 0.011552 | 0.0028952
11 | 0.010321 | 0.0025867
12 | 0.018027 | 0.0045179
13 | 0.018383 | 0.0046073
14 | 0.010038 | 0.0025157
15 | 0.010038 | 0.0025158
16 | 0.011833 | 0.0029656
17 | 0.011833 | 0.0029656
18 | 0.010798 | 0.0027063
19 | 0.010845 | 0.002718
20 | 0.0082169 | 0.0020594
21 | 0.010391 | 0.0026043
22 | 0.010693 | 0.0026799
23 | 0.010249 | 0.0025687
24 | 0.010895 | 0.0027306
25 | 0.010322 | 0.0025868
26 | 0.010034 | 0.0025149
27 | 0.020009 | 0.0050148
28 | 0.011827 | 0.0029642
29 | 0.02072 | 0.0051929
30 | 0.019093 | 0.0047852
31 | 0.012102 | 0.0030331

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1