## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1061-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1061-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1061-9_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1061-9_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1061-9_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1061-9_0_5_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1061-9_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1061-9_0_5_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_1061-9_0_5_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_1061-9_0_5_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_1061-9_0_5_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1061-9_0_5_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1061-9_0_5_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_1061-9_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1061-9_0_5_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_1061-9_0_5_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1061-9_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1061-9_0_5_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_1061-9_0_5_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_1061-9_0_5_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1061-9_0_5_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_1061-9_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1061-9_0_5_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_1061-9_0_5_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_1061-9_0_5_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_1061-9_0_5_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1061-9_0_5_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_1061-9_0_5_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_1061-9_0_5_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1061-9_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1061-9_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1061-9_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1061-9_0_5_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_1061-9_0_5_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_1061-9_0_5_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_1061-9_0_5_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_1061-9_0_5_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_1061-9_0_5_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1061-9_0_5_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_1061-9_0_5_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_1061-9_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1061-9_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1061-9_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1061-9_0_5_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_1061-9_0_5_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1061-9_0_5_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1061-9_0_5_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1061-9_0_5_node_54 | 0.4 | n |  | TRUE
48 | bus_MV_24_1_node_189 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1061-9_0_5_load_0 | 0 | 0.0096254 | 0.0024123 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1061-9_0_5_load_1 | 1 | 0.010423 | 0.0026123 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1061-9_0_5_load_16 | 5 | 0.02585 | 0.0064786 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1061-9_0_5_load_30 | 7 | 0.089879 | 0.022526 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1061-9_0_5_load_26 | 9 | 0.0072686 | 0.0018217 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1061-9_0_5_load_36 | 12 | 0.0035741 | 0.00089575 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1061-9_0_5_load_44 | 14 | 0.003117 | 0.00078119 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1061-9_0_5_load_21 | 15 | 0.0035911 | 0.0009 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1061-9_0_5_load_22 | 17 | 0.011183 | 0.0028028 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1061-9_0_5_load_23 | 18 | 0.0022399 | 0.00056137 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1061-9_0_5_load_20 | 19 | 0.0029752 | 0.00074566 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1061-9_0_5_load_52 | 20 | 0.0077583 | 0.0019444 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1061-9_0_5_load_43 | 23 | 0.0082469 | 0.0020669 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1061-9_0_5_load_42 | 24 | 0.006332 | 0.0015869 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1061-9_0_5_load_28 | 25 | 0.047523 | 0.01191 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1061-9_0_5_load_37 | 26 | 0.0038996 | 0.00097732 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1061-9_0_5_load_34 | 27 | 0.0029235 | 0.00073269 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1061-9_0_5_load_25 | 28 | 0.0036497 | 0.00091471 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1061-9_0_5_load_24 | 29 | 0.0022396 | 0.00056131 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1061-9_0_5_load_50 | 32 | 0.0074116 | 0.0018575 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1061-9_0_5_load_46 | 34 | 0.0039205 | 0.00098257 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1061-9_0_5_load_49 | 35 | 0.0033353 | 0.0008359 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1061-9_0_5_load_53 | 36 | 0.0037709 | 0.00094508 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1061-9_0_5_load_45 | 38 | 0.012024 | 0.0030135 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1061-9_0_5_load_48 | 39 | 0.0037368 | 0.00093653 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1061-9_0_5_load_31 | 40 | 0.0092787 | 0.0023255 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1061-9_0_5_load_32 | 41 | 0.0070321 | 0.0017624 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1061-9_0_5_load_33 | 42 | 0.0034376 | 0.00086155 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1061-9_0_5_load_35 | 43 | 0.0043072 | 0.0010795 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1061-9_0_5_load_38 | 44 | 0.0035183 | 0.00088178 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1061-9_0_5_load_40 | 46 | 0.0074563 | 0.0018687 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1061-9_0_5_load_54 | 47 | 0.0039477 | 0.00098938 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1061-9_0_5_line_0 |  | 0 | 1 | 0.02208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1061-9_0_5_line_1 |  | 0 | 2 | 0.040081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1061-9_0_5_line_2 |  | 2 | 3 | 0.045708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1061-9_0_5_line_3 |  | 2 | 4 | 0.010619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1061-9_0_5_line_4 |  | 3 | 5 | 0.0215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1061-9_0_5_line_5 |  | 4 | 8 | 0.015922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1061-9_0_5_line_6 |  | 4 | 9 | 0.016703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1061-9_0_5_line_7 |  | 4 | 6 | 0.040007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1061-9_0_5_line_8 |  | 5 | 21 | 0.068474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1061-9_0_5_line_9 |  | 6 | 7 | 0.033202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1061-9_0_5_line_10 |  | 7 | 22 | 0.0053014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1061-9_0_5_line_11 |  | 8 | 23 | 0.012634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1061-9_0_5_line_12 |  | 8 | 24 | 0.021349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1061-9_0_5_line_13 |  | 10 | 11 | 0.025516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1061-9_0_5_line_14 |  | 10 | 12 | 0.03322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1061-9_0_5_line_15 |  | 11 | 20 | 0.006559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1061-9_0_5_line_16 |  | 12 | 26 | 0.0061835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1061-9_0_5_line_17 |  | 13 | 14 | 0.014885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1061-9_0_5_line_18 |  | 13 | 15 | 0.012607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1061-9_0_5_line_19 |  | 14 | 27 | 0.0079932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1061-9_0_5_line_20 |  | 15 | 19 | 0.005412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1061-9_0_5_line_21 |  | 16 | 17 | 0.010538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1061-9_0_5_line_22 |  | 16 | 18 | 0.022368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1061-9_0_5_line_23 |  | 16 | 19 | 0.024297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1061-9_0_5_line_24 |  | 18 | 29 | 0.015118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1061-9_0_5_line_25 |  | 21 | 30 | 0.017384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1061-9_0_5_line_26 |  | 21 | 31 | 0.003438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1061-9_0_5_line_27 |  | 22 | 25 | 0.047622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1061-9_0_5_line_28 |  | 26 | 44 | 0.0052215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1061-9_0_5_line_29 |  | 27 | 41 | 0.03651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1061-9_0_5_line_30 |  | 28 | 29 | 0.018608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1061-9_0_5_line_31 |  | 30 | 32 | 0.008319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1061-9_0_5_line_32 |  | 30 | 33 | 0.006299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1061-9_0_5_line_33 |  | 31 | 34 | 0.012023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1061-9_0_5_line_34 |  | 31 | 35 | 0.015514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1061-9_0_5_line_35 |  | 33 | 36 | 0.008685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1061-9_0_5_line_36 |  | 33 | 37 | 0.006256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1061-9_0_5_line_37 |  | 34 | 38 | 0.017521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1061-9_0_5_line_38 |  | 35 | 39 | 0.0050141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1061-9_0_5_line_39 |  | 37 | 47 | 0.009719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1061-9_0_5_line_40 |  | 37 | 45 | 0.005717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1061-9_0_5_line_41 |  | 39 | 43 | 0.0052998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1061-9_0_5_line_42 |  | 40 | 41 | 0.017111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1061-9_0_5_line_43 |  | 40 | 42 | 0.028427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1061-9_0_5_line_44 |  | 42 | 43 | 0.0073093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1061-9_0_5_line_45 |  | 44 | 45 | 0.020558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1061-9_0_5_line_46 |  | 45 | 46 | 0.010922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1061-9_0_5_trafo_2 | 0.63 MVA 20/0.4 kV | 48 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2664618.5935 | 1210884.8152 | 2664630.3886 | 1210880.8918 | 2664639.6391 | 1210878.1466
1 | 2664587.5709 | 1210908.4007 | 2664590.5539 | 1210903.8301 | 2664595.7376 | 1210897.4379 | 2664601.4256 | 1210892.9078 | 2664603.8557 | 1210890.9662 | 2664611.2904 | 1210887.2444 | 2664618.5935 | 1210884.8152
2 | 2664544.0303 | 1210900.925 | 2664581.3948 | 1210910.991 | 2664584.0111 | 1210910.8081 | 2664585.9727 | 1210910.0177 | 2664587.5709 | 1210908.4007
3 | 2664587.5709 | 1210908.4007 | 2664588.9325 | 1210908.9824 | 2664592.9646 | 1210910.6938 | 2664596.3611 | 1210912.1425 | 2664597.3446 | 1210912.5534
4 | 2664544.0303 | 1210900.925 | 2664549.2701 | 1210897.7687 | 2664549.2027 | 1210882.3858
5 | 2664597.3446 | 1210912.5534 | 2664596.2666 | 1210915.2545 | 2664595.7105 | 1210918.8841 | 2664595.9053 | 1210921.9547 | 2664597.0566 | 1210926.5144 | 2664597.7558 | 1210927.9117
6 | 2664597.3446 | 1210912.5534 | 2664598.6645 | 1210909.2657 | 2664602.3637 | 1210904.5251 | 2664604.5591 | 1210902.5031 | 2664607.6186 | 1210899.6808
7 | 2664597.3446 | 1210912.5534 | 2664596.3611 | 1210912.1425 | 2664592.9646 | 1210910.6938 | 2664591.3353 | 1210917.2802 | 2664591.5478 | 1210927.133 | 2664593.8738 | 1210935.5077 | 2664598.9141 | 1210940.2541 | 2664596.04 | 1210941.0901
8 | 2664554.1844 | 1210814.4596 | 2664553.9621 | 1210816.036 | 2664550.492 | 1210831.9193 | 2664549.0115 | 1210838.8075 | 2664549.2027 | 1210882.3858
9 | 2664596.04 | 1210941.0901 | 2664593.852 | 1210941.7335 | 2664562.9309 | 1210941.9587
10 | 2664557.6297 | 1210941.9973 | 2664562.9309 | 1210941.9587
11 | 2664597.7558 | 1210927.9117 | 2664604.0311 | 1210927.3905 | 2664606.402 | 1210926.7046 | 2664609.2202 | 1210924.0112
12 | 2664597.7558 | 1210927.9117 | 2664599.2882 | 1210930.9747 | 2664603.2784 | 1210935.8431 | 2664609.6021 | 1210941.3705 | 2664612.4064 | 1210942.9752
13 | 2664648.6439 | 1210824.0102 | 2664648.0841 | 1210821.6694 | 2664648.0369 | 1210818.3112 | 2664648.0078 | 1210816.0873 | 2664647.9679 | 1210812.7515 | 2664647.9912 | 1210810.606 | 2664647.9702 | 1210807.6373 | 2664647.6276 | 1210798.5725
14 | 2664647.6276 | 1210798.5725 | 2664642.2108 | 1210804.7176 | 2664634.1293 | 1210810.6114 | 2664627.184 | 1210814.0383 | 2664621.0246 | 1210816.4842 | 2664620.3982 | 1210816.672
15 | 2664642.4048 | 1210826.0883 | 2664648.6439 | 1210824.0102
16 | 2664614.4752 | 1210818.4479 | 2664614.4752 | 1210818.4479 | 2664620.3982 | 1210816.672
17 | 2664656.4012 | 1210757.5868 | 2664653.9026 | 1210772.2605
18 | 2664656.4012 | 1210757.5868 | 2664646.0877 | 1210750.3366
19 | 2664651.7485 | 1210779.9375 | 2664653.4874 | 1210774.6991 | 2664653.9026 | 1210772.2605
20 | 2664646.0877 | 1210750.3366 | 2664644.5146 | 1210749.2307 | 2664641.662 | 1210747.2216
21 | 2664621.7974 | 1210733.2305 | 2664621.0873 | 1210734.2345 | 2664613.0188 | 1210738.9167
22 | 2664621.7974 | 1210733.2305 | 2664603.5089 | 1210720.3518
23 | 2664621.7974 | 1210733.2305 | 2664641.662 | 1210747.2216
24 | 2664603.5089 | 1210720.3518 | 2664591.1482 | 1210711.6475
25 | 2664554.1844 | 1210814.4596 | 2664556.1129 | 1210815.3255 | 2664566.2223 | 1210818.6702 | 2664570.8189 | 1210819.4871
26 | 2664555.2533 | 1210811.1914 | 2664554.4516 | 1210813.6398 | 2664554.1844 | 1210814.4596
27 | 2664557.6297 | 1210941.9973 | 2664555.3133 | 1210957.315 | 2664560.9052 | 1210959.5435 | 2664585.6723 | 1210967.8102
28 | 2664609.3859 | 1210819.6157 | 2664614.4752 | 1210818.4479
29 | 2664631.1283 | 1210808.2603 | 2664636.8098 | 1210805.2038 | 2664645.0496 | 1210797.3327 | 2664648.648 | 1210789.2778 | 2664651.7485 | 1210779.9375
30 | 2664575.9339 | 1210700.9337 | 2664591.1482 | 1210711.6475
31 | 2664570.8189 | 1210819.4871 | 2664570.8352 | 1210820.7881 | 2664570.854 | 1210823.2676 | 2664570.8714 | 1210824.4685 | 2664570.9036 | 1210827.8042
32 | 2664570.8189 | 1210819.4871 | 2664577.0387 | 1210820.5884
33 | 2664555.2533 | 1210811.1914 | 2664556.1513 | 1210808.266 | 2664556.7656 | 1210806.2825 | 2664557.1847 | 1210799.8609 | 2664557.227 | 1210799.4115
34 | 2664555.2533 | 1210811.1914 | 2664568.5919 | 1210816.0053 | 2664569.9045 | 1210816.2371
35 | 2664577.0387 | 1210820.5884 | 2664577.0455 | 1210822.0672 | 2664577.0527 | 1210824.213 | 2664577.0562 | 1210825.9919 | 2664577.0739 | 1210829.2719
36 | 2664577.0387 | 1210820.5884 | 2664580.5355 | 1210821.2044 | 2664583.2457 | 1210821.4672
37 | 2664557.3451 | 1210782.2296 | 2664558.3381 | 1210783.8747 | 2664558.4786 | 1210785.6329 | 2664557.985 | 1210791.2198 | 2664557.8726 | 1210792.475 | 2664557.3135 | 1210798.4948 | 2664557.227 | 1210799.4115
38 | 2664574.8422 | 1210817.109 | 2664569.9045 | 1210816.2371
39 | 2664583.2457 | 1210821.4672 | 2664583.229 | 1210823.0124 | 2664583.2025 | 1210826.1585 | 2664583.1859 | 1210827.6926 | 2664583.1557 | 1210831.1833
40 | 2664583.2457 | 1210821.4672 | 2664586.1002 | 1210821.7427 | 2664588.9659 | 1210821.6848
41 | 2664574.8422 | 1210817.109 | 2664580.0612 | 1210818.0306
42 | 2664631.1283 | 1210808.2603 | 2664624.1891 | 1210811.9935 | 2664615.3075 | 1210814.5087
43 | 2664587.3448 | 1210818.5085 | 2664592.6231 | 1210818.7226 | 2664597.0035 | 1210818.4476 | 2664607.0219 | 1210816.8551 | 2664615.3075 | 1210814.5087
44 | 2664587.3448 | 1210818.5085 | 2664581.4033 | 1210818.2676 | 2664580.0612 | 1210818.0306
45 | 2664588.9659 | 1210821.6848 | 2664590.509 | 1210821.6571 | 2664594.8656 | 1210821.4708 | 2664601.909 | 1210820.9133 | 2664609.3859 | 1210819.6157 | 2664609.3859 | 1210819.6157
46 | 2664589.0909 | 1210832.604 | 2664589.0477 | 1210828.8679 | 2664589.0099 | 1210825.3431 | 2664588.9774 | 1210822.73 | 2664588.9659 | 1210821.6848

## bus_geodata
| x | y | coords
0 | 2664618.5935 | 1210884.8152
1 | 2664639.6391 | 1210878.1466
2 | 2664587.5709 | 1210908.4007
3 | 2664544.0303 | 1210900.925
4 | 2664597.3446 | 1210912.5534
5 | 2664549.2027 | 1210882.3858
6 | 2664596.04 | 1210941.0901
7 | 2664562.9309 | 1210941.9587
8 | 2664597.7558 | 1210927.9117
9 | 2664607.6186 | 1210899.6808
10 | 2664647.6276 | 1210798.5725
11 | 2664648.6439 | 1210824.0102
12 | 2664620.3982 | 1210816.672
13 | 2664656.4012 | 1210757.5868
14 | 2664653.9026 | 1210772.2605
15 | 2664646.0877 | 1210750.3366
16 | 2664621.7974 | 1210733.2305
17 | 2664613.0188 | 1210738.9167
18 | 2664603.5089 | 1210720.3518
19 | 2664641.662 | 1210747.2216
20 | 2664642.4048 | 1210826.0883
21 | 2664554.1844 | 1210814.4596
22 | 2664557.6297 | 1210941.9973
23 | 2664609.2202 | 1210924.0112
24 | 2664612.4064 | 1210942.9752
25 | 2664585.6723 | 1210967.8102
26 | 2664614.4752 | 1210818.4479
27 | 2664651.7485 | 1210779.9375
28 | 2664575.9339 | 1210700.9337
29 | 2664591.1482 | 1210711.6475
30 | 2664570.8189 | 1210819.4871
31 | 2664555.2533 | 1210811.1914
32 | 2664570.9036 | 1210827.8042
33 | 2664577.0387 | 1210820.5884
34 | 2664557.2271 | 1210799.4115
35 | 2664569.9045 | 1210816.2371
36 | 2664577.0739 | 1210829.2719
37 | 2664583.2457 | 1210821.4672
38 | 2664557.3451 | 1210782.2296
39 | 2664574.8422 | 1210817.109
40 | 2664615.3075 | 1210814.5087
41 | 2664631.1283 | 1210808.2603
42 | 2664587.3448 | 1210818.5085
43 | 2664580.0612 | 1210818.0306
44 | 2664609.3859 | 1210819.6157
45 | 2664588.9659 | 1210821.6848
46 | 2664589.0909 | 1210832.604
47 | 2664583.1557 | 1210831.1833
48 | 2664592.9646 | 1210910.6938

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99927 | -0.014017 | 0.0096254 | 0.0024123
1 | 0.99906 | -0.018035 | 0.010423 | 0.0026123
2 | 1 | 0 | -0.33032 | -0.083602
3 | 0.99693 | -0.058415 | 0 | 0
4 | 0.99923 | -0.01475 | 0 | 0
5 | 0.99548 | -0.086016 | 0.02585 | 0.0064786
6 | 0.99418 | -0.1112 | 0 | 0
7 | 0.99 | -0.19199 | 0.089879 | 0.022526
8 | 0.99901 | -0.018803 | 0 | 0
9 | 0.99912 | -0.016869 | 0.0072686 | 0.0018217
10 | 0.986 | -0.26899 | 0 | 0
11 | 0.98581 | -0.27254 | 0 | 0
12 | 0.98623 | -0.26437 | 0.0035741 | 0.00089575
13 | 0.98232 | -0.34062 | 0 | 0
14 | 0.98267 | -0.33366 | 0.003117 | 0.00078119
15 | 0.98201 | -0.34651 | 0.0035911 | 0.0009
16 | 0.98147 | -0.35718 | 0 | 0
17 | 0.98136 | -0.35931 | 0.011183 | 0.0028028
18 | 0.9813 | -0.36047 | 0.0022399 | 0.00056137
19 | 0.9819 | -0.34869 | 0.0029752 | 0.00074566
20 | 0.98577 | -0.27346 | 0.0077583 | 0.0019444
21 | 0.98789 | -0.23206 | 0 | 0
22 | 0.98977 | -0.19647 | 0 | 0
23 | 0.99892 | -0.020623 | 0.0082469 | 0.0020669
24 | 0.99889 | -0.021164 | 0.006332 | 0.0015869
25 | 0.98769 | -0.23682 | 0.047523 | 0.01191
26 | 0.9863 | -0.26312 | 0.0038996 | 0.00097732
27 | 0.98289 | -0.32948 | 0.0029235 | 0.00073269
28 | 0.98116 | -0.36331 | 0.0036497 | 0.00091471
29 | 0.98122 | -0.36209 | 0.0022396 | 0.00056131
30 | 0.98723 | -0.24491 | 0 | 0
31 | 0.98764 | -0.23691 | 0 | 0
32 | 0.98718 | -0.24601 | 0.0074116 | 0.0018575
33 | 0.98704 | -0.24873 | 0 | 0
34 | 0.98747 | -0.24034 | 0.0039205 | 0.00098257
35 | 0.98674 | -0.25441 | 0.0033353 | 0.0008359
36 | 0.98701 | -0.24932 | 0.0037709 | 0.00094508
37 | 0.98686 | -0.25211 | 0 | 0
38 | 0.98727 | -0.24411 | 0.012024 | 0.0030135
39 | 0.98647 | -0.25977 | 0.0037368 | 0.00093653
40 | 0.98458 | -0.29648 | 0.0092787 | 0.0023255
41 | 0.98396 | -0.30847 | 0.0070321 | 0.0017624
42 | 0.98584 | -0.27186 | 0.0034376 | 0.00086155
43 | 0.98619 | -0.26509 | 0.0043072 | 0.0010795
44 | 0.98637 | -0.26169 | 0.0035183 | 0.00088178
45 | 0.98673 | -0.25479 | 0 | 0
46 | 0.98665 | -0.25625 | 0.0074563 | 0.0018687
47 | 0.98683 | -0.25279 | 0.0039477 | 0.00098938
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010425 | 0.0026133 | -0.010423 | -0.0026123 | 1.9955e-06 | 9.8792e-07 | 0.015524 | 0.015524 | 0.015524 | 0.99927 | -0.014017 | 0.99906 | -0.018035 | 4.2649
1 | -0.02005 | -0.0050256 | 0.020064 | 0.0050337 | 1.3399e-05 | 8.0498e-06 | 0.029857 | 0.029857 | 0.029857 | 0.99927 | -0.014017 | 1 | 0 | 8.2026
2 | 0.14796 | 0.037767 | -0.14754 | -0.037502 | 0.00041634 | 0.00026526 | 0.22041 | 0.22041 | 0.22041 | 1 | 0 | 0.99693 | -0.058415 | 30.276
3 | 0.16064 | 0.040801 | -0.16053 | -0.040728 | 0.00011395 | 7.2653e-05 | 0.23923 | 0.23923 | 0.23923 | 1 | 0 | 0.99923 | -0.01475 | 32.8613
4 | 0.14754 | 0.037502 | -0.14735 | -0.037377 | 0.00019584 | 0.00012478 | 0.22041 | 0.22041 | 0.22041 | 0.99693 | -0.058415 | 0.99548 | -0.086016 | 30.2761
5 | 0.014583 | 0.0036559 | -0.01458 | -0.0036543 | 2.816e-06 | 1.5937e-06 | 0.021717 | 0.021717 | 0.021717 | 0.99923 | -0.01475 | 0.99901 | -0.018803 | 5.9662
6 | 0.0072693 | 0.0018219 | -0.0072686 | -0.0018217 | 7.3402e-07 | 2.51e-07 | 0.010825 | 0.010825 | 0.010825 | 0.99923 | -0.01475 | 0.99912 | -0.016869 | 2.974
7 | 0.13868 | 0.03525 | -0.13804 | -0.034841 | 0.00064091 | 0.00040966 | 0.20669 | 0.20669 | 0.20669 | 0.99923 | -0.01475 | 0.99418 | -0.1112 | 56.7826
8 | 0.1215 | 0.030899 | -0.12065 | -0.030357 | 0.00084841 | 0.0005421 | 0.18177 | 0.18177 | 0.18177 | 0.99548 | -0.086016 | 0.98789 | -0.23206 | 49.937
9 | 0.13804 | 0.034841 | -0.1375 | -0.034501 | 0.00053191 | 0.00033999 | 0.20669 | 0.20669 | 0.20669 | 0.99418 | -0.1112 | 0.99 | -0.19199 | 56.7826
10 | 0.047625 | 0.011975 | -0.047615 | -0.011968 | 1.0191e-05 | 6.4539e-06 | 0.071597 | 0.071597 | 0.071597 | 0.99 | -0.19199 | 0.98977 | -0.19647 | 19.6694
11 | 0.0082476 | 0.0020672 | -0.0082469 | -0.0020669 | 7.1499e-07 | 2.9219e-07 | 0.012285 | 0.012285 | 0.012285 | 0.99901 | -0.018803 | 0.99892 | -0.020623 | 3.3749
12 | 0.0063327 | 0.0015871 | -0.006332 | -0.0015869 | 7.1231e-07 | 1.7637e-07 | 0.0094324 | 0.0094325 | 0.0094325 | 0.99901 | -0.018803 | 0.99889 | -0.021164 | 2.5914
13 | 0.00776 | 0.0019451 | -0.0077587 | -0.0019446 | 1.3123e-06 | 5.1451e-07 | 0.011711 | 0.011711 | 0.011711 | 0.986 | -0.26899 | 0.98581 | -0.27254 | 3.2174
14 | -0.00776 | -0.0019451 | 0.0077617 | 0.0019457 | 1.7085e-06 | 6.6965e-07 | 0.011711 | 0.011711 | 0.011711 | 0.986 | -0.26899 | 0.98623 | -0.26437 | 3.2173
15 | 0.0077587 | 0.0019446 | -0.0077583 | -0.0019444 | 3.3734e-07 | 1.3228e-07 | 0.011711 | 0.011711 | 0.011711 | 0.98581 | -0.27254 | 0.98577 | -0.27346 | 3.2174
16 | -0.011336 | -0.0028415 | 0.011336 | 0.0028418 | 6.7832e-07 | 3.5521e-07 | 0.017103 | 0.017103 | 0.017103 | 0.98623 | -0.26437 | 0.9863 | -0.26312 | 4.6987
17 | -0.025899 | -0.0064976 | 0.025908 | 0.0065029 | 8.5926e-06 | 5.3107e-06 | 0.039235 | 0.039235 | 0.039235 | 0.98232 | -0.34062 | 0.98267 | -0.33366 | 10.7788
18 | 0.025899 | 0.0064976 | -0.025892 | -0.0064931 | 7.2776e-06 | 4.4981e-06 | 0.039235 | 0.039235 | 0.039235 | 0.98232 | -0.34062 | 0.98201 | -0.34651 | 10.7789
19 | -0.029025 | -0.0072841 | 0.029031 | 0.0072877 | 5.7912e-06 | 3.6051e-06 | 0.043955 | 0.043955 | 0.043955 | 0.98267 | -0.33366 | 0.98289 | -0.32948 | 12.0755
20 | 0.022301 | 0.0055931 | -0.022299 | -0.0055917 | 2.3177e-06 | 1.4149e-06 | 0.033794 | 0.033794 | 0.033794 | 0.98201 | -0.34651 | 0.9819 | -0.34869 | 9.284
21 | 0.011185 | 0.0028034 | -0.011183 | -0.0028028 | 1.1363e-06 | 5.9408e-07 | 0.016957 | 0.016957 | 0.016957 | 0.98147 | -0.35718 | 0.98136 | -0.35931 | 4.6586
22 | 0.0081312 | 0.0020379 | -0.0081299 | -0.0020374 | 1.2748e-06 | 5.3323e-07 | 0.012328 | 0.012328 | 0.012328 | 0.98147 | -0.35718 | 0.9813 | -0.36047 | 3.3868
23 | -0.019316 | -0.0048413 | 0.019324 | 0.004846 | 7.8141e-06 | 4.6938e-06 | 0.029285 | 0.029285 | 0.029285 | 0.98147 | -0.35718 | 0.9819 | -0.34869 | 8.0453
24 | 0.00589 | 0.001476 | -0.0058896 | -0.0014759 | 4.5224e-07 | 9.8459e-08 | 0.0089314 | 0.0089315 | 0.0089315 | 0.9813 | -0.36047 | 0.98122 | -0.36209 | 2.4537
25 | 0.041389 | 0.010391 | -0.041364 | -0.010375 | 2.5342e-05 | 1.5996e-05 | 0.062349 | 0.062349 | 0.062349 | 0.98789 | -0.23206 | 0.98723 | -0.24491 | 17.1287
26 | 0.07926 | 0.019966 | -0.079242 | -0.019954 | 1.8387e-05 | 1.1724e-05 | 0.11942 | 0.11942 | 0.11942 | 0.98789 | -0.23206 | 0.98764 | -0.23691 | 32.8083
27 | 0.047615 | 0.011968 | -0.047523 | -0.01191 | 9.1542e-05 | 5.7976e-05 | 0.071597 | 0.071597 | 0.071597 | 0.98977 | -0.19647 | 0.98769 | -0.23682 | 19.6694
28 | -0.015236 | -0.0038192 | 0.015237 | 0.0038198 | 1.0346e-06 | 5.9551e-07 | 0.022987 | 0.022987 | 0.022987 | 0.9863 | -0.26312 | 0.98637 | -0.26169 | 6.315
29 | -0.031954 | -0.0080204 | 0.031986 | 0.0080405 | 3.2047e-05 | 2.0047e-05 | 0.048381 | 0.048381 | 0.048381 | 0.98289 | -0.32948 | 0.98396 | -0.30847 | 13.2914
30 | -0.0036497 | -0.00091471 | 0.0036499 | 0.00091461 | 2.1379e-07 | -9.8201e-08 | 0.0055352 | 0.0055351 | 0.0055352 | 0.98116 | -0.36331 | 0.98122 | -0.36209 | 1.5206
31 | 0.007412 | 0.0018577 | -0.0074116 | -0.0018575 | 3.8936e-07 | 1.4283e-07 | 0.011172 | 0.011172 | 0.011172 | 0.98723 | -0.24491 | 0.98718 | -0.24601 | 3.0692
32 | 0.033952 | 0.0085175 | -0.033945 | -0.0085136 | 6.1866e-06 | 3.8789e-06 | 0.051177 | 0.051177 | 0.051177 | 0.98723 | -0.24491 | 0.98704 | -0.24873 | 14.0596
33 | 0.015949 | 0.0039988 | -0.015947 | -0.0039973 | 2.6036e-06 | 1.5125e-06 | 0.02403 | 0.02403 | 0.02403 | 0.98764 | -0.23691 | 0.98747 | -0.24034 | 6.6018
34 | 0.063293 | 0.015955 | -0.06324 | -0.015921 | 5.2938e-05 | 3.3682e-05 | 0.095392 | 0.095392 | 0.095392 | 0.98764 | -0.23691 | 0.98674 | -0.25441 | 26.2065
35 | 0.003771 | 0.00094504 | -0.0037709 | -0.00094508 | 1.0526e-07 | -4.3636e-08 | 0.005685 | 0.005685 | 0.005685 | 0.98704 | -0.24873 | 0.98701 | -0.24932 | 1.5618
36 | 0.030174 | 0.0075686 | -0.03017 | -0.0075655 | 4.8551e-06 | 3.0273e-06 | 0.045492 | 0.045492 | 0.045492 | 0.98704 | -0.24873 | 0.98686 | -0.25211 | 12.4978
37 | 0.012026 | 0.0030147 | -0.012024 | -0.0030135 | 2.1579e-06 | 1.1569e-06 | 0.018123 | 0.018123 | 0.018123 | 0.98747 | -0.24034 | 0.98727 | -0.24411 | 4.9788
38 | 0.059904 | 0.015085 | -0.059889 | -0.015076 | 1.5353e-05 | 9.762e-06 | 0.090362 | 0.090362 | 0.090362 | 0.98674 | -0.25441 | 0.98647 | -0.25977 | 24.8248
39 | 0.0039478 | 0.00098934 | -0.0039477 | -0.00098938 | 1.2914e-07 | -4.1524e-08 | 0.0059526 | 0.0059526 | 0.0059526 | 0.98686 | -0.25211 | 0.98683 | -0.25279 | 1.6353
40 | 0.026222 | 0.0065762 | -0.026218 | -0.0065741 | 3.3516e-06 | 2.072e-06 | 0.039539 | 0.039539 | 0.039539 | 0.98686 | -0.25211 | 0.98673 | -0.25479 | 10.8624
41 | 0.056152 | 0.014139 | -0.056138 | -0.01413 | 1.4267e-05 | 9.0629e-06 | 0.084725 | 0.084725 | 0.084725 | 0.98647 | -0.25977 | 0.98619 | -0.26509 | 23.2762
42 | 0.039041 | 0.009817 | -0.039018 | -0.0098029 | 2.2347e-05 | 1.4085e-05 | 0.059015 | 0.059015 | 0.059015 | 0.98458 | -0.29648 | 0.98396 | -0.30847 | 16.2129
43 | -0.04832 | -0.012142 | 0.048376 | 0.012178 | 5.6867e-05 | 3.6033e-05 | 0.073038 | 0.073038 | 0.073038 | 0.98458 | -0.29648 | 0.98584 | -0.27186 | 20.0654
44 | -0.051814 | -0.01304 | 0.051831 | 0.013051 | 1.6773e-05 | 1.0642e-05 | 0.078227 | 0.078227 | 0.078227 | 0.98584 | -0.27186 | 0.98619 | -0.26509 | 21.4908
45 | -0.018755 | -0.0047015 | 0.018762 | 0.0047052 | 6.1717e-06 | 3.6874e-06 | 0.028294 | 0.028294 | 0.028294 | 0.98637 | -0.26169 | 0.98673 | -0.25479 | 7.7731
46 | 0.0074568 | 0.0018689 | -0.0074563 | -0.0018687 | 5.1792e-07 | 1.9197e-07 | 0.011245 | 0.011245 | 0.011245 | 0.98673 | -0.25479 | 0.98665 | -0.25625 | 3.0893

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33032 | 0.083602

## res_load
| p_mw | q_mvar
0 | 0.0096254 | 0.0024123
1 | 0.010423 | 0.0026123
2 | 0.02585 | 0.0064786
3 | 0.089879 | 0.022526
4 | 0.0072686 | 0.0018217
5 | 0.0035741 | 0.00089575
6 | 0.003117 | 0.00078119
7 | 0.0035911 | 0.0009
8 | 0.011183 | 0.0028028
9 | 0.0022399 | 0.00056137
10 | 0.0029752 | 0.00074566
11 | 0.0077583 | 0.0019444
12 | 0.0082469 | 0.0020669
13 | 0.006332 | 0.0015869
14 | 0.047523 | 0.01191
15 | 0.0038996 | 0.00097732
16 | 0.0029235 | 0.00073269
17 | 0.0036497 | 0.00091471
18 | 0.0022396 | 0.00056131
19 | 0.0074116 | 0.0018575
20 | 0.0039205 | 0.00098257
21 | 0.0033353 | 0.0008359
22 | 0.0037709 | 0.00094508
23 | 0.012024 | 0.0030135
24 | 0.0037368 | 0.00093653
25 | 0.0092787 | 0.0023255
26 | 0.0070321 | 0.0017624
27 | 0.0034376 | 0.00086155
28 | 0.0043072 | 0.0010795
29 | 0.0035183 | 0.00088178
30 | 0.0074563 | 0.0018687
31 | 0.0039477 | 0.00098938

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1