## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1063-13_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1063-13_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1063-13_0_2_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1063-13_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1063-13_0_2_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1063-13_0_2_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1063-13_0_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1063-13_0_2_node_110 | 0.4 | n |  | TRUE
8 | bus_LV_1063-13_0_2_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1063-13_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1063-13_0_2_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_1063-13_0_2_node_161 | 0.4 | n |  | TRUE
12 | bus_LV_1063-13_0_2_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1063-13_0_2_node_182 | 0.4 | n |  | TRUE
14 | bus_LV_1063-13_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1063-13_0_2_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_1063-13_0_2_node_112 | 0.4 | n |  | TRUE
17 | bus_LV_1063-13_0_2_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_1063-13_0_2_node_181 | 0.4 | n |  | TRUE
19 | bus_LV_1063-13_0_2_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1063-13_0_2_node_94 | 0.4 | n |  | TRUE
21 | bus_LV_1063-13_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1063-13_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1063-13_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1063-13_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1063-13_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1063-13_0_2_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1063-13_0_2_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_1063-13_0_2_node_90 | 0.4 | n |  | TRUE
29 | bus_LV_1063-13_0_2_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_1063-13_0_2_node_109 | 0.4 | n |  | TRUE
31 | bus_LV_1063-13_0_2_node_111 | 0.4 | n |  | TRUE
32 | bus_MV_211_2_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1063-13_0_2_load_0 | 0 | 0.011927 | 0.0029892 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1063-13_0_2_load_110 | 7 | 0.0027079 | 0.00067867 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1063-13_0_2_load_161 | 11 | 0.0036239 | 0.00090822 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1063-13_0_2_load_182 | 13 | 0.013579 | 0.0034031 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1063-13_0_2_load_112 | 16 | 0.0015282 | 0.00038299 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1063-13_0_2_load_60 | 17 | 0.0062007 | 0.001554 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1063-13_0_2_load_181 | 18 | 0.0051733 | 0.0012965 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1063-13_0_2_load_17 | 19 | 0.036936 | 0.0092571 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1063-13_0_2_load_94 | 20 | 0.0061707 | 0.0015465 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1063-13_0_2_load_13 | 21 | 0.0078231 | 0.0019607 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1063-13_0_2_load_18 | 24 | 0.026189 | 0.0065637 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1063-13_0_2_load_19 | 26 | 0.060928 | 0.01527 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1063-13_0_2_load_59 | 27 | 0.0061992 | 0.0015537 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1063-13_0_2_load_90 | 28 | 0.0026189 | 0.00065635 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1063-13_0_2_load_92 | 29 | 0.0014963 | 0.00037501 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1063-13_0_2_load_109 | 30 | 0.003699 | 0.00092705 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1063-13_0_2_load_111 | 31 | 0.0015293 | 0.00038329 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1063-13_0_2_line_0 |  | 0 | 1 | 0.038546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1063-13_0_2_line_1 |  | 1 | 5 | 0.009601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1063-13_0_2_line_2 |  | 1 | 6 | 0.032294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1063-13_0_2_line_3 |  | 2 | 3 | 0.048221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1063-13_0_2_line_4 |  | 2 | 4 | 0.18587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1063-13_0_2_line_5 |  | 3 | 7 | 0.0074471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1063-13_0_2_line_6 |  | 4 | 18 | 0.071267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1063-13_0_2_line_7 |  | 5 | 15 | 0.068546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1063-13_0_2_line_8 |  | 6 | 19 | 0.019999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1063-13_0_2_line_9 |  | 7 | 30 | 0.032276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1063-13_0_2_line_10 |  | 8 | 9 | 0.004722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1063-13_0_2_line_11 |  | 8 | 10 | 0.003255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1063-13_0_2_line_12 |  | 8 | 11 | 0.03849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1063-13_0_2_line_13 |  | 9 | 20 | 0.0046954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1063-13_0_2_line_14 |  | 9 | 15 | 0.065159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1063-13_0_2_line_15 |  | 10 | 27 | 0.014105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1063-13_0_2_line_16 |  | 12 | 13 | 0.014643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1063-13_0_2_line_17 |  | 12 | 14 | 0.044421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1063-13_0_2_line_18 |  | 14 | 17 | 0.066399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1063-13_0_2_line_19 |  | 15 | 16 | 0.022664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1063-13_0_2_line_20 |  | 16 | 31 | 0.007852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1063-13_0_2_line_21 |  | 17 | 27 | 0.02664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1063-13_0_2_line_22 |  | 19 | 23 | 0.035133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1063-13_0_2_line_23 |  | 20 | 29 | 0.025802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1063-13_0_2_line_24 |  | 21 | 22 | 0.015508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1063-13_0_2_line_25 |  | 22 | 23 | 0.017603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1063-13_0_2_line_26 |  | 23 | 24 | 0.020615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1063-13_0_2_line_27 |  | 24 | 25 | 0.015785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1063-13_0_2_line_28 |  | 25 | 26 | 0.0049196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1063-13_0_2_line_29 |  | 28 | 29 | 0.012665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1063-13_0_2_line_30 |  | 30 | 31 | 0.024403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1063-13_0_2_trafo_17 | 0.63 MVA 20/0.4 kV | 32 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2670672.0401 | 1210986.2237 | 2670665.0807 | 1210984.14 | 2670635.5834 | 1210973.7264
1 | 2670672.0401 | 1210986.2237 | 2670681.2638 | 1210988.9791
2 | 2670681.9949 | 1210955.5002 | 2670672.0401 | 1210986.2237
3 | 2670537.8022 | 1210988.5925 | 2670539.9866 | 1210984.4602 | 2670542.0546 | 1210980.5266 | 2670547.6292 | 1210975.0446 | 2670552.9099 | 1210968.7142 | 2670558.3242 | 1210960.084 | 2670562.9045 | 1210948.0751
4 | 2670567.3149 | 1210821.9707 | 2670582.2664 | 1210832.0205 | 2670591.1166 | 1210836.8282 | 2670598.2581 | 1210839.5922 | 2670601.098 | 1210840.4374 | 2670601.949 | 1210837.2455 | 2670619.8872 | 1210841.5159 | 2670613.8062 | 1210854.4521 | 2670607.0932 | 1210857.2188 | 2670594.098 | 1210867.4492 | 2670591.1114 | 1210869.3706 | 2670589.3846 | 1210871.4293 | 2670585.9979 | 1210881.4733 | 2670562.9045 | 1210948.0751
5 | 2670537.8022 | 1210988.5925 | 2670544.6794 | 1210991.4496
6 | 2670511.0299 | 1210829.7214 | 2670547.9878 | 1210841.9436 | 2670553.0639 | 1210843.2711 | 2670557.3646 | 1210842.0545 | 2670559.8279 | 1210840.049 | 2670565.276 | 1210827.9281 | 2670567.3149 | 1210821.9707
7 | 2670624.361 | 1211026.5511 | 2670626.0132 | 1211024.3693 | 2670626.8547 | 1211023.2563 | 2670627.7425 | 1211022.0883 | 2670671.98 | 1210995.1397 | 2670675.639 | 1210992.915 | 2670681.2638 | 1210988.9791
8 | 2670681.9949 | 1210955.5002 | 2670700.7607 | 1210962.4134
9 | 2670574.4851 | 1211003.8324 | 2670544.6794 | 1210991.4496
10 | 2670612.4811 | 1211067.7807 | 2670611.9763 | 1211069.9761 | 2670611.4234 | 1211072.3822
11 | 2670610.5958 | 1211075.5299 | 2670610.8426 | 1211074.5878 | 2670611.4234 | 1211072.3822
12 | 2670611.4234 | 1211072.3822 | 2670605.9899 | 1211071.0837 | 2670574.2137 | 1211062.5453
13 | 2670612.4811 | 1211067.7807 | 2670607.9132 | 1211066.694
14 | 2670612.4811 | 1211067.7807 | 2670620.0011 | 1211069.3596 | 2670625.3909 | 1211069.2122 | 2670628.4303 | 1211067.9696 | 2670630.872 | 1211065.8527 | 2670631.3121 | 1211065.2687 | 2670633.1112 | 1211062.8662 | 2670634.6508 | 1211058.6374 | 2670635.1036 | 1211055.0627 | 2670634.2438 | 1211049.3712 | 2670632.8138 | 1211044.3512 | 2670630.3693 | 1211038.9967 | 2670626.3716 | 1211033.8906 | 2670621.7032 | 1211029.5882 | 2670622.1424 | 1211029.082 | 2670624.361 | 1211026.5511
15 | 2670610.5958 | 1211075.5299 | 2670624.4389 | 1211078.2372
16 | 2670688.6062 | 1211068.3824 | 2670685.784 | 1211058.9986 | 2670681.323 | 1211057.0779
17 | 2670688.6062 | 1211068.3824 | 2670711.3898 | 1211062.6042 | 2670718.9589 | 1211060.6816 | 2670719.1751 | 1211061.6737 | 2670719.7448 | 1211064.2598 | 2670720.228 | 1211066.4558 | 2670720.7327 | 1211068.7521 | 2670716.0518 | 1211069.9974
18 | 2670716.0518 | 1211069.9974 | 2670704.1969 | 1211073.1701 | 2670688.4518 | 1211076.9192 | 2670679.4533 | 1211078.9027 | 2670671.1786 | 1211080.0833 | 2670660.0317 | 1211081.2297 | 2670652.9025 | 1211081.3009 | 2670650.872 | 1211081.1981
19 | 2670624.361 | 1211026.5511 | 2670614.1602 | 1211020.3154 | 2670604.2715 | 1211016.2071
20 | 2670604.2715 | 1211016.2071 | 2670597.0204 | 1211013.1947
21 | 2670624.4389 | 1211078.2372 | 2670629.8389 | 1211079.2933 | 2670639.7252 | 1211080.6334 | 2670650.872 | 1211081.1981
22 | 2670733.728 | 1210974.5584 | 2670700.7607 | 1210962.4134
23 | 2670582.8648 | 1211060.5088 | 2670596.0061 | 1211063.8611 | 2670607.9132 | 1211066.694
24 | 2670727.3246 | 1210990.9594 | 2670722.7841 | 1211000.8674 | 2670718.3715 | 1210999.5353
25 | 2670733.728 | 1210974.5584 | 2670727.3246 | 1210990.9594
26 | 2670733.728 | 1210974.5584 | 2670736.1062 | 1210968.1937 | 2670743.3142 | 1210969.1798 | 2670745.6299 | 1210963.0579
27 | 2670751.2148 | 1210948.2938 | 2670745.6299 | 1210963.0579
28 | 2670751.2148 | 1210948.2938 | 2670752.8857 | 1210943.6666
29 | 2670582.8648 | 1211060.5088 | 2670570.5927 | 1211057.3781
30 | 2670574.4851 | 1211003.8324 | 2670597.0204 | 1211013.1947

## bus_geodata
| x | y | coords
0 | 2670635.5834 | 1210973.7264
1 | 2670672.0401 | 1210986.2237
2 | 2670562.9045 | 1210948.0751
3 | 2670537.8022 | 1210988.5925
4 | 2670567.3149 | 1210821.9707
5 | 2670681.2638 | 1210988.9791
6 | 2670681.9949 | 1210955.5002
7 | 2670544.6794 | 1210991.4496
8 | 2670611.4234 | 1211072.3822
9 | 2670612.4811 | 1211067.7807
10 | 2670610.5958 | 1211075.5299
11 | 2670574.2137 | 1211062.5453
12 | 2670688.6062 | 1211068.3824
13 | 2670681.323 | 1211057.0779
14 | 2670716.0518 | 1211069.9974
15 | 2670624.361 | 1211026.5511
16 | 2670604.2715 | 1211016.2071
17 | 2670650.872 | 1211081.1981
18 | 2670511.0299 | 1210829.7214
19 | 2670700.7607 | 1210962.4134
20 | 2670607.9132 | 1211066.694
21 | 2670718.3715 | 1210999.5353
22 | 2670727.3246 | 1210990.9594
23 | 2670733.728 | 1210974.5584
24 | 2670745.6299 | 1210963.0579
25 | 2670751.2148 | 1210948.2938
26 | 2670752.8857 | 1210943.6666
27 | 2670624.4389 | 1211078.2372
28 | 2670570.5927 | 1211057.3781
29 | 2670582.8648 | 1211060.5088
30 | 2670574.4851 | 1211003.8324
31 | 2670597.0204 | 1211013.1947
32 | 2670681.9949 | 1210955.5002

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9964 | -0.068855 | 0.011927 | 0.0029892
1 | 0.99682 | -0.060787 | 0 | 0
2 | 0.99176 | -0.15818 | 0 | 0
3 | 0.99199 | -0.15375 | 0 | 0
4 | 0.99088 | -0.17525 | 0 | 0
5 | 0.99634 | -0.069978 | 0 | 0
6 | 0.99878 | -0.023202 | 0 | 0
7 | 0.99203 | -0.15307 | 0.0027079 | 0.00067867
8 | 0.99041 | -0.18441 | 0 | 0
9 | 0.99053 | -0.18193 | 0 | 0
10 | 0.99033 | -0.18591 | 0 | 0
11 | 0.99028 | -0.18689 | 0.0036239 | 0.00090822
12 | 0.98813 | -0.22864 | 0 | 0
13 | 0.98794 | -0.23219 | 0.013579 | 0.0034031
14 | 0.98868 | -0.21787 | 0 | 0
15 | 0.99292 | -0.13586 | 0 | 0
16 | 0.99261 | -0.14173 | 0.0015282 | 0.00038299
17 | 0.98951 | -0.20181 | 0.0062007 | 0.001554
18 | 0.99055 | -0.1818 | 0.0051733 | 0.0012965
19 | 1 | 0 | -0.16405 | -0.041081
20 | 0.99049 | -0.18279 | 0.0061707 | 0.0015465
21 | 0.99672 | -0.06286 | 0.0078231 | 0.0019607
22 | 0.99683 | -0.060732 | 0 | 0
23 | 0.99696 | -0.058316 | 0 | 0
24 | 0.99532 | -0.089862 | 0.026189 | 0.0065637
25 | 0.99444 | -0.1068 | 0 | 0
26 | 0.99417 | -0.11208 | 0.060928 | 0.01527
27 | 0.98999 | -0.19243 | 0.0061992 | 0.0015537
28 | 0.99036 | -0.18526 | 0.0026189 | 0.00065635
29 | 0.99039 | -0.18467 | 0.0014963 | 0.00037501
30 | 0.99226 | -0.14856 | 0.003699 | 0.00092705
31 | 0.99252 | -0.14355 | 0.0015293 | 0.00038329
32 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011927 | -0.0029892 | 0.011932 | 0.0029917 | 4.586e-06 | 2.4328e-06 | 0.017812 | 0.017812 | 0.017812 | 0.9964 | -0.068855 | 0.99682 | -0.060787 | 4.8934
1 | 0.054871 | 0.013876 | -0.054847 | -0.013861 | 2.4181e-05 | 1.5351e-05 | 0.081953 | 0.081953 | 0.081953 | 0.99682 | -0.060787 | 0.99634 | -0.069978 | 22.5146
2 | -0.066803 | -0.016868 | 0.066923 | 0.016944 | 0.00012053 | 7.6719e-05 | 0.099765 | 0.099765 | 0.099765 | 0.99682 | -0.060787 | 0.99878 | -0.023202 | 27.4079
3 | -0.0051791 | -0.001297 | 0.0051802 | 0.001297 | 1.0917e-06 | 7.6327e-08 | 0.0077702 | 0.00777 | 0.0077702 | 0.99176 | -0.15818 | 0.99199 | -0.15375 | 2.1347
4 | 0.0051791 | 0.001297 | -0.0051749 | -0.0012967 | 4.2089e-06 | 2.9726e-07 | 0.0077702 | 0.0077711 | 0.0077711 | 0.99176 | -0.15818 | 0.99088 | -0.17525 | 2.1349
5 | -0.0051802 | -0.001297 | 0.0051804 | 0.001297 | 1.686e-07 | 1.1759e-08 | 0.00777 | 0.00777 | 0.00777 | 0.99199 | -0.15375 | 0.99203 | -0.15307 | 2.1346
6 | 0.0051749 | 0.0012967 | -0.0051733 | -0.0012965 | 1.614e-06 | 1.1526e-07 | 0.0077711 | 0.0077714 | 0.0077714 | 0.99088 | -0.17525 | 0.99055 | -0.1818 | 2.135
7 | 0.054847 | 0.013861 | -0.054674 | -0.013751 | 0.00017264 | 0.0001096 | 0.081953 | 0.081953 | 0.081953 | 0.99634 | -0.069978 | 0.99292 | -0.13586 | 22.5146
8 | -0.066923 | -0.016944 | 0.066998 | 0.016992 | 7.4642e-05 | 4.7509e-05 | 0.099765 | 0.099765 | 0.099765 | 0.99878 | -0.023202 | 1 | 0 | 27.4079
9 | -0.0078883 | -0.0019757 | 0.00789 | 0.0019764 | 1.6943e-06 | 6.6757e-07 | 0.011832 | 0.011832 | 0.011832 | 0.99203 | -0.15307 | 0.99226 | -0.14856 | 3.2505
10 | -0.029641 | -0.0074413 | 0.029645 | 0.0074435 | 3.5126e-06 | 2.1873e-06 | 0.044538 | 0.044538 | 0.044538 | 0.99041 | -0.18441 | 0.99053 | -0.18193 | 12.2358
11 | 0.026017 | 0.0065333 | -0.026015 | -0.0065321 | 1.8655e-06 | 1.152e-06 | 0.039093 | 0.039093 | 0.039093 | 0.99041 | -0.18441 | 0.99033 | -0.18591 | 10.7399
12 | 0.0036243 | 0.000908 | -0.0036239 | -0.00090822 | 4.2796e-07 | -2.2136e-07 | 0.0054451 | 0.0054453 | 0.0054453 | 0.99041 | -0.18441 | 0.99028 | -0.18689 | 1.496
13 | 0.010287 | 0.0025779 | -0.010286 | -0.0025777 | 4.2047e-07 | 2.0866e-07 | 0.015453 | 0.015453 | 0.015453 | 0.99053 | -0.18193 | 0.99049 | -0.18279 | 4.2454
14 | -0.039932 | -0.010021 | 0.040019 | 0.010077 | 8.7939e-05 | 5.544e-05 | 0.059991 | 0.059991 | 0.059991 | 0.99053 | -0.18193 | 0.99292 | -0.13586 | 16.4812
15 | 0.026015 | 0.0065321 | -0.026007 | -0.0065271 | 8.0839e-06 | 4.9923e-06 | 0.039093 | 0.039093 | 0.039093 | 0.99033 | -0.18591 | 0.98999 | -0.19243 | 10.7399
16 | 0.013581 | 0.0034044 | -0.013579 | -0.0034031 | 2.2968e-06 | 1.2824e-06 | 0.020452 | 0.020452 | 0.020452 | 0.98813 | -0.22864 | 0.98794 | -0.23219 | 5.6186
17 | -0.013581 | -0.0034044 | 0.013588 | 0.0034083 | 6.9675e-06 | 3.8898e-06 | 0.020452 | 0.020451 | 0.020452 | 0.98813 | -0.22864 | 0.98868 | -0.21787 | 5.6186
18 | -0.013588 | -0.0034083 | 0.013598 | 0.0034141 | 1.0414e-05 | 5.813e-06 | 0.020451 | 0.020451 | 0.020451 | 0.98868 | -0.21787 | 0.98951 | -0.20181 | 5.6185
19 | 0.014654 | 0.0036741 | -0.01465 | -0.0036718 | 4.0994e-06 | 2.3305e-06 | 0.021962 | 0.021962 | 0.021962 | 0.99292 | -0.13586 | 0.99261 | -0.14173 | 6.0336
20 | 0.013122 | 0.0032888 | -0.013121 | -0.0032882 | 1.1394e-06 | 6.2774e-07 | 0.019671 | 0.019671 | 0.019671 | 0.99261 | -0.14173 | 0.99252 | -0.14355 | 5.4042
21 | -0.019799 | -0.0049682 | 0.019808 | 0.0049735 | 8.8571e-06 | 5.3262e-06 | 0.029776 | 0.029776 | 0.029776 | 0.98951 | -0.20181 | 0.98999 | -0.19243 | 8.1802
22 | 0.095404 | 0.02409 | -0.095138 | -0.02392 | 0.00026576 | 0.00016963 | 0.14203 | 0.14203 | 0.14203 | 1 | 0 | 0.99696 | -0.058316 | 39.0182
23 | 0.0041156 | 0.0010311 | -0.0041152 | -0.0010312 | 3.6988e-07 | -9.5337e-08 | 0.0061828 | 0.0061829 | 0.0061829 | 0.99049 | -0.18279 | 0.99039 | -0.18467 | 1.6986
24 | -0.0078231 | -0.0019607 | 0.0078239 | 0.001961 | 7.9325e-07 | 3.0553e-07 | 0.011679 | 0.011679 | 0.011679 | 0.99672 | -0.06286 | 0.99683 | -0.060732 | 3.2086
25 | -0.0078239 | -0.001961 | 0.0078248 | 0.0019613 | 9.0039e-07 | 3.4674e-07 | 0.011679 | 0.011679 | 0.011679 | 0.99683 | -0.060732 | 0.99696 | -0.058316 | 3.2085
26 | 0.087314 | 0.021959 | -0.087182 | -0.021875 | 0.00013135 | 8.3793e-05 | 0.13035 | 0.13035 | 0.13035 | 0.99696 | -0.058316 | 0.99532 | -0.089862 | 35.8097
27 | 0.060993 | 0.015311 | -0.060944 | -0.01528 | 4.9228e-05 | 3.1301e-05 | 0.091194 | 0.091194 | 0.091194 | 0.99532 | -0.089862 | 0.99444 | -0.1068 | 25.0532
28 | 0.060944 | 0.01528 | -0.060928 | -0.01527 | 1.5342e-05 | 9.7552e-06 | 0.091194 | 0.091194 | 0.091194 | 0.99444 | -0.1068 | 0.99417 | -0.11208 | 25.0532
29 | -0.0026189 | -0.00065635 | 0.0026189 | 0.00065623 | 7.3534e-08 | -1.1591e-07 | 0.0039348 | 0.0039348 | 0.0039348 | 0.99036 | -0.18526 | 0.99039 | -0.18467 | 1.081
30 | -0.011589 | -0.0029034 | 0.011592 | 0.0029049 | 2.7638e-06 | 1.4535e-06 | 0.017379 | 0.017379 | 0.017379 | 0.99226 | -0.14856 | 0.99252 | -0.14355 | 4.7744

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20099 | 0.050339

## res_load
| p_mw | q_mvar
0 | 0.011927 | 0.0029892
1 | 0.0027079 | 0.00067867
2 | 0.0036239 | 0.00090822
3 | 0.013579 | 0.0034031
4 | 0.0015282 | 0.00038299
5 | 0.0062007 | 0.001554
6 | 0.0051733 | 0.0012965
7 | 0.036936 | 0.0092571
8 | 0.0061707 | 0.0015465
9 | 0.0078231 | 0.0019607
10 | 0.026189 | 0.0065637
11 | 0.060928 | 0.01527
12 | 0.0061992 | 0.0015537
13 | 0.0026189 | 0.00065635
14 | 0.0014963 | 0.00037501
15 | 0.003699 | 0.00092705
16 | 0.0015293 | 0.00038329

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1