## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1063-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1063-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1063-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1063-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1063-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1063-15_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1063-15_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1063-15_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1063-15_0_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1063-15_0_3_node_77 | 0.4 | n |  | TRUE
10 | bus_LV_1063-15_0_3_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_1063-15_0_3_node_177 | 0.4 | n |  | TRUE
12 | bus_LV_1063-15_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1063-15_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_1063-15_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1063-15_0_3_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_1063-15_0_3_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_1063-15_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1063-15_0_3_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_1063-15_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1063-15_0_3_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_1063-15_0_3_node_183 | 0.4 | n |  | TRUE
22 | bus_LV_1063-15_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1063-15_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1063-15_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1063-15_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1063-15_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1063-15_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1063-15_0_3_node_133 | 0.4 | n |  | TRUE
29 | bus_LV_1063-15_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1063-15_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1063-15_0_3_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_1063-15_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1063-15_0_3_node_128 | 0.4 | n |  | TRUE
34 | bus_LV_1063-15_0_3_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_1063-15_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1063-15_0_3_node_123 | 0.4 | n |  | TRUE
37 | bus_LV_1063-15_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1063-15_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1063-15_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1063-15_0_3_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_1063-15_0_3_node_178 | 0.4 | n |  | TRUE
42 | bus_LV_1063-15_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1063-15_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1063-15_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1063-15_0_3_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_1063-15_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1063-15_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1063-15_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1063-15_0_3_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_1063-15_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_1063-15_0_3_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_1063-15_0_3_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_1063-15_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_1063-15_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1063-15_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1063-15_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_1063-15_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_1063-15_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_1063-15_0_3_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_1063-15_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_1063-15_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_1063-15_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_1063-15_0_3_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_1063-15_0_3_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_1063-15_0_3_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_1063-15_0_3_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_1063-15_0_3_node_75 | 0.4 | n |  | TRUE
68 | bus_MV_211_2_node_195 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1063-15_0_3_load_0 | 0 | 0.0013329 | 0.00033406 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1063-15_0_3_load_3 | 3 | 0.0083991 | 0.002105 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1063-15_0_3_load_4 | 4 | 0.00033085 | 8.292e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1063-15_0_3_load_17 | 8 | 0.0034221 | 0.00085765 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1063-15_0_3_load_77 | 9 | 0.0028336 | 0.00071018 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1063-15_0_3_load_19 | 10 | 0.0016843 | 0.00042213 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1063-15_0_3_load_177 | 11 | 0.0017505 | 0.00043871 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1063-15_0_3_load_18 | 13 | 0.0031252 | 0.00078324 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1063-15_0_3_load_41 | 16 | 0.00049766 | 0.00012473 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1063-15_0_3_load_62 | 20 | 0.0014345 | 0.00035953 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1063-15_0_3_load_183 | 21 | 0.0025818 | 0.00064706 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1063-15_0_3_load_13 | 22 | 0.00062939 | 0.00015774 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1063-15_0_3_load_14 | 23 | 0.0012191 | 0.00030552 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1063-15_0_3_load_15 | 24 | 0.0021068 | 0.00052801 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1063-15_0_3_load_16 | 25 | 0.0014258 | 0.00035734 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1063-15_0_3_load_133 | 28 | 0.0021562 | 0.0005404 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1063-15_0_3_load_57 | 31 | 0.009689 | 0.0024283 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1063-15_0_3_load_128 | 33 | 0.002834 | 0.00071027 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1063-15_0_3_load_76 | 34 | 0.00072737 | 0.0001823 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1063-15_0_3_load_123 | 36 | 0.0017597 | 0.00044103 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1063-15_0_3_load_27 | 37 | 0.0046705 | 0.0011705 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1063-15_0_3_load_29 | 39 | 0.00052995 | 0.00013282 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1063-15_0_3_load_65 | 40 | 0.0012207 | 0.00030593 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1063-15_0_3_load_178 | 41 | 0.0028176 | 0.00070617 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1063-15_0_3_load_36 | 42 | 0.00071049 | 0.00017807 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1063-15_0_3_load_38 | 43 | 0.0018271 | 0.00045791 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1063-15_0_3_load_39 | 44 | 0.0020851 | 0.00052258 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1063-15_0_3_load_61 | 45 | 0.00079022 | 0.00019805 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1063-15_0_3_load_40 | 46 | 0.0010377 | 0.00026006 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1063-15_0_3_load_42 | 47 | 0.0017825 | 0.00044672 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1063-15_0_3_load_43 | 48 | 0.0013501 | 0.00033836 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1063-15_0_3_load_44 | 49 | 0.0027811 | 0.00069701 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1063-15_0_3_load_45 | 50 | 0.0016326 | 0.00040917 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1063-15_0_3_load_52 | 51 | 0.0021333 | 0.00053466 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1063-15_0_3_load_46 | 52 | 0.0004827 | 0.00012098 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1063-15_0_3_load_47 | 53 | 0.0022226 | 0.00055704 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1063-15_0_3_load_48 | 54 | 0.0011472 | 0.0002875 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1063-15_0_3_load_49 | 55 | 0.0040436 | 0.0010134 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1063-15_0_3_load_50 | 56 | 0.0020409 | 0.0005115 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1063-15_0_3_load_51 | 57 | 0.00082991 | 0.00020799 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1063-15_0_3_load_53 | 58 | 0.0014202 | 0.00035595 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1063-15_0_3_load_59 | 59 | 0.0011888 | 0.00029794 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1063-15_0_3_load_54 | 60 | 0.0026229 | 0.00065736 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1063-15_0_3_load_55 | 61 | 0.0033971 | 0.00085139 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1063-15_0_3_load_58 | 63 | 0.00039938 | 0.00010009 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1063-15_0_3_load_60 | 64 | 0.0016553 | 0.00041485 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1063-15_0_3_load_63 | 65 | 0.00057022 | 0.00014291 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1063-15_0_3_load_64 | 66 | 0.00059452 | 0.000149 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1063-15_0_3_load_75 | 67 | 0.0011087 | 0.00027787 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1063-15_0_3_line_0 |  | 0 | 1 | 0.023639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1063-15_0_3_line_1 |  | 0 | 2 | 0.054278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1063-15_0_3_line_2 |  | 1 | 3 | 0.058112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1063-15_0_3_line_3 |  | 1 | 4 | 0.020024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1063-15_0_3_line_4 |  | 2 | 5 | 0.068561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1063-15_0_3_line_5 |  | 4 | 6 | 0.015082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1063-15_0_3_line_6 |  | 5 | 10 | 0.085454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1063-15_0_3_line_7 |  | 5 | 11 | 0.050206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1063-15_0_3_line_8 |  | 6 | 14 | 0.028783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1063-15_0_3_line_9 |  | 7 | 8 | 0.016771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1063-15_0_3_line_10 |  | 7 | 9 | 0.019288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1063-15_0_3_line_11 |  | 8 | 24 | 0.030951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1063-15_0_3_line_12 |  | 9 | 67 | 0.011086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1063-15_0_3_line_13 |  | 10 | 12 | 0.0943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1063-15_0_3_line_14 |  | 11 | 41 | 0.0087595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1063-15_0_3_line_15 |  | 12 | 13 | 0.064211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1063-15_0_3_line_16 |  | 14 | 15 | 0.20155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1063-15_0_3_line_17 |  | 14 | 16 | 0.099093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1063-15_0_3_line_18 |  | 15 | 44 | 0.069539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1063-15_0_3_line_19 |  | 15 | 42 | 0.14354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1063-15_0_3_line_20 |  | 16 | 46 | 0.018978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1063-15_0_3_line_21 |  | 17 | 18 | 0.03908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1063-15_0_3_line_22 |  | 17 | 19 | 0.033424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1063-15_0_3_line_23 |  | 17 | 20 | 0.0036724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1063-15_0_3_line_24 |  | 18 | 39 | 0.023054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1063-15_0_3_line_25 |  | 19 | 21 | 0.04056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1063-15_0_3_line_26 |  | 20 | 65 | 0.016726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1063-15_0_3_line_27 |  | 22 | 23 | 0.0067786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1063-15_0_3_line_28 |  | 22 | 24 | 0.0008297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1063-15_0_3_line_29 |  | 23 | 25 | 0.028302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1063-15_0_3_line_30 |  | 26 | 27 | 0.046823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1063-15_0_3_line_31 |  | 26 | 28 | 0.016231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1063-15_0_3_line_32 |  | 27 | 35 | 0.050003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1063-15_0_3_line_33 |  | 27 | 36 | 0.028372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1063-15_0_3_line_34 |  | 28 | 33 | 0.015529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1063-15_0_3_line_35 |  | 29 | 30 | 0.023867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1063-15_0_3_line_36 |  | 29 | 31 | 0.034385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1063-15_0_3_line_37 |  | 30 | 40 | 0.0066409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1063-15_0_3_line_38 |  | 31 | 61 | 0.012036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1063-15_0_3_line_39 |  | 32 | 33 | 0.010849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1063-15_0_3_line_40 |  | 32 | 34 | 0.01717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1063-15_0_3_line_41 |  | 34 | 67 | 0.0019797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1063-15_0_3_line_42 |  | 35 | 37 | 0.029353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1063-15_0_3_line_43 |  | 37 | 38 | 0.0155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1063-15_0_3_line_44 |  | 38 | 39 | 0.0068508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1063-15_0_3_line_45 |  | 40 | 66 | 0.012177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1063-15_0_3_line_46 |  | 42 | 43 | 0.031973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1063-15_0_3_line_47 |  | 44 | 45 | 0.010312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1063-15_0_3_line_48 |  | 46 | 47 | 0.032526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1063-15_0_3_line_49 |  | 47 | 48 | 0.010549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1063-15_0_3_line_50 |  | 48 | 49 | 0.002353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1063-15_0_3_line_51 |  | 49 | 50 | 0.018924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1063-15_0_3_line_52 |  | 50 | 51 | 0.012011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1063-15_0_3_line_53 |  | 51 | 56 | 0.017592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1063-15_0_3_line_54 |  | 52 | 53 | 0.035922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1063-15_0_3_line_55 |  | 52 | 54 | 0.0057451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1063-15_0_3_line_56 |  | 53 | 55 | 0.00019991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1063-15_0_3_line_57 |  | 54 | 56 | 0.023942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1063-15_0_3_line_58 |  | 55 | 57 | 0.040004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1063-15_0_3_line_59 |  | 57 | 58 | 0.082921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1063-15_0_3_line_60 |  | 58 | 59 | 0.0046395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1063-15_0_3_line_61 |  | 59 | 62 | 0.031838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1063-15_0_3_line_62 |  | 60 | 61 | 0.025058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1063-15_0_3_line_63 |  | 60 | 62 | 0.030539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1063-15_0_3_line_64 |  | 62 | 63 | 0.011937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1063-15_0_3_line_65 |  | 63 | 64 | 0.024635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1063-15_0_3_line_66 |  | 65 | 66 | 0.020275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1063-15_0_3_trafo_12 | 0.63 MVA 20/0.4 kV | 68 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2672060.9157 | 1211702.7171 | 2672048.4446 | 1211690.8924 | 2672043.2929 | 1211687.0054
1 | 2671994.6403 | 1211674.2992 | 2672005.3782 | 1211669.826 | 2672020.0285 | 1211671.7373 | 2672033.9038 | 1211679.9211 | 2672043.2929 | 1211687.0054
2 | 2672060.9157 | 1211702.7171 | 2672071.5653 | 1211705.5475 | 2672101.1751 | 1211716.4566 | 2672109.8136 | 1211720.33 | 2672114.6224 | 1211716.6265
3 | 2672060.9157 | 1211702.7171 | 2672068.2071 | 1211684.0678
4 | 2671950.8872 | 1211712.0062 | 2671953.2222 | 1211707.4204 | 2671948.7591 | 1211704.487 | 2671946.9648 | 1211703.309 | 2671950.3352 | 1211700.4479 | 2671953.2604 | 1211697.9594 | 2671994.6403 | 1211674.2992
5 | 2672072.7812 | 1211669.7063 | 2672069.5253 | 1211680.6961 | 2672068.2071 | 1211684.0678
6 | 2671950.8872 | 1211712.0062 | 2672022.1897 | 1211759.1061
7 | 2671950.8872 | 1211712.0062 | 2671949.3307 | 1211715.056 | 2671950.4949 | 1211719.9621 | 2671954.0214 | 1211723.6847 | 2671960.6662 | 1211728.4345 | 2671971.8798 | 1211733.0171 | 2671985.8688 | 1211741.4428
8 | 2672072.7812 | 1211669.7063 | 2672074.805 | 1211663.8382 | 2672082.1203 | 1211650.2069 | 2672087.7582 | 1211645.85
9 | 2672251.9221 | 1211916.9062 | 2672240.1767 | 1211907.3358 | 2672238.9616 | 1211906.2643
10 | 2672251.9221 | 1211916.9062 | 2672256.2358 | 1211928.3768 | 2672260.6556 | 1211933.8473
11 | 2672215.7459 | 1211885.7946 | 2672238.9616 | 1211906.2643
12 | 2672268.981 | 1211941.081 | 2672262.4044 | 1211936.0119 | 2672260.6556 | 1211933.8473
13 | 2672101.6642 | 1211809.8545 | 2672044.4111 | 1211773.7847 | 2672022.1897 | 1211759.1061
14 | 2671993.3723 | 1211745.9623 | 2671985.8688 | 1211741.4428
15 | 2672101.6642 | 1211809.8545 | 2672083.5977 | 1211851.0844 | 2672073.2377 | 1211865.1792 | 2672072.4557 | 1211866.6929
16 | 2672087.7582 | 1211645.85 | 2672035.2095 | 1211613.9843 | 2672026.0182 | 1211608.67 | 2672018.9239 | 1211602.1247 | 2672008.6695 | 1211588.5702 | 2672001.7153 | 1211573.5657 | 2672015.6605 | 1211581.0165 | 2672020.1257 | 1211582.5268 | 2672023.9354 | 1211582.306 | 2672028.2318 | 1211580.8014 | 2672034.6877 | 1211577.2882 | 2672040.6503 | 1211571.8457 | 2672042.9367 | 1211568.1376 | 2672045.2772 | 1211564.3635 | 2672046.914 | 1211558.4573 | 2672071.5438 | 1211569.6396
17 | 2672087.7582 | 1211645.85 | 2672120.4145 | 1211661.221 | 2672146.5969 | 1211674.0456 | 2672169.6624 | 1211689.4898 | 2672175.3006 | 1211691.7821
18 | 2672071.5438 | 1211569.6396 | 2672089.4627 | 1211571.4794 | 2672099.4408 | 1211574.5686 | 2672135.7564 | 1211593.7733
19 | 2672071.5438 | 1211569.6396 | 2672078.8023 | 1211576.4315 | 2672157.8803 | 1211625.7628 | 2672165.3457 | 1211628.6327 | 2672172.3949 | 1211633.2319 | 2672179.9792 | 1211638.2046 | 2672185.8915 | 1211638.1761 | 2672193.0847 | 1211632.7708
20 | 2672192.1447 | 1211700.3668 | 2672184.347 | 1211695.4601 | 2672175.3006 | 1211691.7821
21 | 2672280.6453 | 1211902.4228 | 2672285.3525 | 1211896.4761 | 2672288.9406 | 1211891.95 | 2672289.5503 | 1211891.1792 | 2672304.9216 | 1211871.7977
22 | 2672278.4111 | 1211860.436 | 2672281.6246 | 1211856.7392 | 2672286.5377 | 1211856.9989 | 2672290.3335 | 1211859.7911 | 2672304.9216 | 1211871.7977
23 | 2672304.9216 | 1211871.7977 | 2672307.7579 | 1211874.1306
24 | 2672280.6453 | 1211902.4228 | 2672299.0105 | 1211916.3593
25 | 2672251.4096 | 1211875.7964 | 2672261.6458 | 1211862.5565 | 2672271.1391 | 1211869.8538 | 2672278.4111 | 1211860.436
26 | 2672307.7579 | 1211874.1306 | 2672320.6754 | 1211884.7556
27 | 2672215.1236 | 1211885.2459 | 2672210.0392 | 1211880.7628
28 | 2672215.1236 | 1211885.2459 | 2672215.7459 | 1211885.7946
29 | 2672187.8617 | 1211863.2206 | 2672189.8007 | 1211864.4769 | 2672203.0742 | 1211874.6216 | 2672210.0392 | 1211880.7628
30 | 2672299.0139 | 1211983.6409 | 2672301.8432 | 1211986.5548 | 2672302.2641 | 1211986.3042 | 2672306.6469 | 1211983.9225 | 2672310.3208 | 1211981.0986 | 2672313.025 | 1211978.0405 | 2672314.183 | 1211976.5314 | 2672316.8108 | 1211972.2495 | 2672317.2605 | 1211971.51 | 2672326.8742 | 1211978.2641 | 2672334.2577 | 1211983.4569
31 | 2672299.0139 | 1211983.6409 | 2672287.7114 | 1211971.9923
32 | 2672333.7241 | 1211944.7594 | 2672332.7149 | 1211947.1487 | 2672335.0879 | 1211949.4678 | 2672336.9953 | 1211951.3365 | 2672339.8488 | 1211954.1284 | 2672340.5847 | 1211954.8489 | 2672337.8947 | 1211957.9961 | 2672335.6543 | 1211961.6601 | 2672334.7615 | 1211968.2312 | 2672336.8022 | 1211969.7569 | 2672341.8398 | 1211973.5315 | 2672338.6277 | 1211977.7396 | 2672338.0332 | 1211978.5218 | 2672337.5235 | 1211979.1938 | 2672334.2577 | 1211983.4569
33 | 2672334.2577 | 1211983.4569 | 2672355.0313 | 1211997.273 | 2672357.7986 | 1211999.2887
34 | 2672287.7114 | 1211971.9923 | 2672276.8976 | 1211960.8475 | 2672276.8976 | 1211960.8475
35 | 2672350.8675 | 1211909.5895 | 2672369.33 | 1211924.7786
36 | 2672369.33 | 1211924.7786 | 2672395.7005 | 1211910.7007 | 2672399.3687 | 1211908.1081
37 | 2672350.8675 | 1211909.5895 | 2672345.7387 | 1211905.3709
38 | 2672409.197 | 1211901.1613 | 2672399.3687 | 1211908.1081
39 | 2672284.1457 | 1211952.7747 | 2672276.8976 | 1211960.8475
40 | 2672284.1457 | 1211952.7747 | 2672275.5938 | 1211946.178 | 2672270.549 | 1211942.2896
41 | 2672268.981 | 1211941.081 | 2672270.549 | 1211942.2896
42 | 2672333.7241 | 1211944.7594 | 2672334.0607 | 1211940.8165 | 2672334.1026 | 1211937.3593 | 2672333.9981 | 1211936.5798 | 2672330.2373 | 1211937.1679 | 2672328.2599 | 1211934.8091 | 2672321.4578 | 1211929.9236 | 2672320.734 | 1211930.0816 | 2672319.1346 | 1211931.6409 | 2672316.811 | 1211929.876
43 | 2672304.4678 | 1211920.5006 | 2672316.811 | 1211929.876
44 | 2672304.4678 | 1211920.5006 | 2672299.0105 | 1211916.3593
45 | 2672336.3343 | 1211897.6356 | 2672345.7387 | 1211905.3709
46 | 2672223.0816 | 1211621.7602 | 2672207.327 | 1211626.9506 | 2672193.0847 | 1211632.7708
47 | 2672135.7564 | 1211593.7733 | 2672144.8721 | 1211598.594
48 | 2672192.1447 | 1211700.3668 | 2672196.9938 | 1211703.4181 | 2672217.82 | 1211719.269 | 2672218.3497 | 1211719.6007
49 | 2672227.2902 | 1211725.2001 | 2672218.3497 | 1211719.6007
50 | 2672227.2902 | 1211725.2001 | 2672229.2843 | 1211726.449
51 | 2672245.3225 | 1211736.4936 | 2672229.2843 | 1211726.449
52 | 2672245.3225 | 1211736.4936 | 2672255.5019 | 1211742.8689
53 | 2672270.411 | 1211752.2077 | 2672257.7902 | 1211744.302 | 2672255.5019 | 1211742.8689
54 | 2672295.6915 | 1211767.7708 | 2672326.3638 | 1211786.4674
55 | 2672295.6915 | 1211767.7708 | 2672290.7859 | 1211764.7805
56 | 2672326.3638 | 1211786.4674 | 2672326.5345 | 1211786.5714
57 | 2672270.411 | 1211752.2077 | 2672279.5096 | 1211757.907 | 2672290.7859 | 1211764.7805
58 | 2672326.5345 | 1211786.5714 | 2672360.6927 | 1211807.3928
59 | 2672433.0116 | 1211840.4538 | 2672424.2047 | 1211829.2065 | 2672418.2134 | 1211825.1201 | 2672409.0697 | 1211823.4525 | 2672395.6524 | 1211823.2896 | 2672383.3976 | 1211820.0166 | 2672367.1809 | 1211811.3478 | 2672360.6927 | 1211807.3928
60 | 2672435.6544 | 1211844.267 | 2672433.0116 | 1211840.4538 | 2672433.0116 | 1211840.4538
61 | 2672454.9143 | 1211869.5603 | 2672446.4087 | 1211859.7842 | 2672435.6544 | 1211844.267
62 | 2672409.197 | 1211901.1613 | 2672429.6593 | 1211886.6985
63 | 2672454.9143 | 1211869.5603 | 2672450.9356 | 1211871.8134 | 2672442.8822 | 1211877.3524 | 2672429.6593 | 1211886.6985
64 | 2672454.9143 | 1211869.5603 | 2672466.6858 | 1211867.5798
65 | 2672490.5725 | 1211872.5751 | 2672479.9704 | 1211868.6418 | 2672466.6858 | 1211867.5798
66 | 2672320.6754 | 1211884.7556 | 2672336.3343 | 1211897.6356

## bus_geodata
| x | y | coords
0 | 2672043.2929 | 1211687.0054
1 | 2672060.9157 | 1211702.7171
2 | 2671994.6403 | 1211674.2992
3 | 2672114.6224 | 1211716.6265
4 | 2672068.2071 | 1211684.0678
5 | 2671950.8872 | 1211712.0062
6 | 2672072.7812 | 1211669.7063
7 | 2672251.9221 | 1211916.9062
8 | 2672238.9616 | 1211906.2643
9 | 2672260.6556 | 1211933.8473
10 | 2672022.1897 | 1211759.1061
11 | 2671985.8688 | 1211741.4428
12 | 2672101.6642 | 1211809.8545
13 | 2672072.4557 | 1211866.6929
14 | 2672087.7582 | 1211645.85
15 | 2672071.5438 | 1211569.6396
16 | 2672175.3006 | 1211691.7821
17 | 2672304.9216 | 1211871.7977
18 | 2672280.6453 | 1211902.4228
19 | 2672278.4111 | 1211860.436
20 | 2672307.7579 | 1211874.1306
21 | 2672251.4096 | 1211875.7964
22 | 2672215.1236 | 1211885.2459
23 | 2672210.0392 | 1211880.7628
24 | 2672215.7459 | 1211885.7946
25 | 2672187.8617 | 1211863.2206
26 | 2672299.0139 | 1211983.6409
27 | 2672334.2577 | 1211983.4569
28 | 2672287.7114 | 1211971.9923
29 | 2672369.33 | 1211924.7786
30 | 2672350.8675 | 1211909.5895
31 | 2672399.3687 | 1211908.1081
32 | 2672284.1457 | 1211952.7747
33 | 2672276.8976 | 1211960.8475
34 | 2672270.549 | 1211942.2896
35 | 2672333.7241 | 1211944.7594
36 | 2672357.7986 | 1211999.2887
37 | 2672316.811 | 1211929.876
38 | 2672304.4678 | 1211920.5006
39 | 2672299.0105 | 1211916.3593
40 | 2672345.7387 | 1211905.3709
41 | 2671993.3723 | 1211745.9623
42 | 2672193.0847 | 1211632.7708
43 | 2672223.0816 | 1211621.7602
44 | 2672135.7564 | 1211593.7733
45 | 2672144.8721 | 1211598.594
46 | 2672192.1447 | 1211700.3668
47 | 2672218.3497 | 1211719.6007
48 | 2672227.2902 | 1211725.2001
49 | 2672229.2843 | 1211726.449
50 | 2672245.3225 | 1211736.4936
51 | 2672255.5019 | 1211742.8689
52 | 2672295.6915 | 1211767.7708
53 | 2672326.3638 | 1211786.4674
54 | 2672290.7859 | 1211764.7805
55 | 2672326.5345 | 1211786.5714
56 | 2672270.411 | 1211752.2077
57 | 2672360.6927 | 1211807.3928
58 | 2672433.0116 | 1211840.4538
59 | 2672435.6544 | 1211844.267
60 | 2672429.6593 | 1211886.6985
61 | 2672409.197 | 1211901.1613
62 | 2672454.9143 | 1211869.5603
63 | 2672466.6858 | 1211867.5798
64 | 2672490.5725 | 1211872.5751
65 | 2672320.6754 | 1211884.7557
66 | 2672336.3343 | 1211897.6356
67 | 2672268.981 | 1211941.081
68 | 2672281.6246 | 1211856.7392

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97216 | -0.53739 | 0.0013329 | 0.00033406
1 | 0.9724 | -0.53271 | 0 | 0
2 | 0.97168 | -0.54679 | 0 | 0
3 | 0.97194 | -0.54171 | 0.0083991 | 0.002105
4 | 0.97275 | -0.52566 | 0.00033085 | 8.292e-05
5 | 0.97108 | -0.55868 | 0 | 0
6 | 0.97303 | -0.52025 | 0 | 0
7 | 0.99317 | -0.13119 | 0 | 0
8 | 0.99303 | -0.1338 | 0.0034221 | 0.00085765
9 | 0.99332 | -0.12819 | 0.0028336 | 0.00071018
10 | 0.9707 | -0.56629 | 0.0016843 | 0.00042213
11 | 0.97087 | -0.56292 | 0.0017505 | 0.00043871
12 | 0.97043 | -0.57175 | 0 | 0
13 | 0.97024 | -0.57546 | 0.0031252 | 0.00078324
14 | 0.97355 | -0.50995 | 0 | 0
15 | 0.97253 | -0.53007 | 0 | 0
16 | 0.97585 | -0.4647 | 0.00049766 | 0.00012473
17 | 0.99851 | -0.028156 | 0 | 0
18 | 0.99761 | -0.04555 | 0 | 0
19 | 1 | 0 | -0.10211 | -0.025703
20 | 0.99839 | -0.030438 | 0.0014345 | 0.00035953
21 | 0.99991 | -0.0018258 | 0.0025818 | 0.00064706
22 | 0.99288 | -0.13679 | 0.00062939 | 0.00015774
23 | 0.99286 | -0.13711 | 0.0012191 | 0.00030552
24 | 0.99288 | -0.13674 | 0.0021068 | 0.00052801
25 | 0.99282 | -0.13782 | 0.0014258 | 0.00035734
26 | 0.99431 | -0.10904 | 0 | 0
27 | 0.9951 | -0.093807 | 0 | 0
28 | 0.99404 | -0.11433 | 0.0021562 | 0.0005404
29 | 0.99388 | -0.11596 | 0 | 0
30 | 0.99537 | -0.087677 | 0 | 0
31 | 0.99174 | -0.15685 | 0.009689 | 0.0024283
32 | 0.99367 | -0.12138 | 0 | 0
33 | 0.99381 | -0.1188 | 0.002834 | 0.00071027
34 | 0.99346 | -0.12546 | 0.00072737 | 0.0001823
35 | 0.99602 | -0.076017 | 0 | 0
36 | 0.99505 | -0.094686 | 0.0017597 | 0.00044103
37 | 0.99656 | -0.065589 | 0.0046705 | 0.0011705
38 | 0.99692 | -0.058816 | 0 | 0
39 | 0.99707 | -0.055825 | 0.00052995 | 0.00013282
40 | 0.99578 | -0.079822 | 0.0012207 | 0.00030593
41 | 0.97085 | -0.56338 | 0.0028176 | 0.00070617
42 | 0.97219 | -0.5368 | 0.00071049 | 0.00017807
43 | 0.97214 | -0.53787 | 0.0018271 | 0.00045791
44 | 0.97235 | -0.53376 | 0.0020851 | 0.00052258
45 | 0.97234 | -0.53391 | 0.00079022 | 0.00019805
46 | 0.9763 | -0.45589 | 0.0010377 | 0.00026006
47 | 0.9771 | -0.44018 | 0.0017825 | 0.00044672
48 | 0.97737 | -0.43475 | 0.0013501 | 0.00033836
49 | 0.97744 | -0.43348 | 0.0027811 | 0.00069701
50 | 0.97801 | -0.42232 | 0.0016326 | 0.00040917
51 | 0.97839 | -0.41489 | 0.0021333 | 0.00053466
52 | 0.98004 | -0.38264 | 0.0004827 | 0.00012098
53 | 0.98137 | -0.35674 | 0.0022226 | 0.00055704
54 | 0.97983 | -0.38674 | 0.0011472 | 0.0002875
55 | 0.98138 | -0.35659 | 0.0040436 | 0.0010134
56 | 0.97898 | -0.40333 | 0.0020409 | 0.0005115
57 | 0.98309 | -0.32331 | 0.00082991 | 0.00020799
58 | 0.9867 | -0.25347 | 0.0014202 | 0.00035595
59 | 0.98691 | -0.24946 | 0.0011888 | 0.00029794
60 | 0.98984 | -0.19326 | 0.0026229 | 0.00065736
61 | 0.9911 | -0.16914 | 0.0033971 | 0.00085139
62 | 0.98838 | -0.2213 | 0 | 0
63 | 0.98835 | -0.22174 | 0.00039938 | 0.00010009
64 | 0.98832 | -0.22247 | 0.0016553 | 0.00041485
65 | 0.99785 | -0.040628 | 0.00057022 | 0.00014291
66 | 0.99656 | -0.065176 | 0.00059452 | 0.000149
67 | 0.99344 | -0.12591 | 0.0011087 | 0.00027787
68 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010724 | -0.0026878 | 0.010727 | 0.002689 | 2.3885e-06 | 1.2355e-06 | 0.016415 | 0.016415 | 0.016415 | 0.97216 | -0.53739 | 0.9724 | -0.53271 | 4.5095
1 | 0.0093912 | 0.0023537 | -0.009387 | -0.0023517 | 4.2058e-06 | 2.019e-06 | 0.014374 | 0.014375 | 0.014375 | 0.97216 | -0.53739 | 0.97168 | -0.54679 | 3.9491
2 | 0.0084027 | 0.0021066 | -0.0083991 | -0.002105 | 3.6032e-06 | 1.5855e-06 | 0.012858 | 0.012859 | 0.012859 | 0.9724 | -0.53271 | 0.97194 | -0.54171 | 3.5326
3 | -0.019129 | -0.0047956 | 0.019136 | 0.0047994 | 6.4346e-06 | 3.8696e-06 | 0.029273 | 0.029273 | 0.029273 | 0.9724 | -0.53271 | 0.97275 | -0.52566 | 8.042
4 | 0.009387 | 0.0023517 | -0.0093817 | -0.0023491 | 5.3127e-06 | 2.5514e-06 | 0.014375 | 0.014375 | 0.014375 | 0.97168 | -0.54679 | 0.97108 | -0.55868 | 3.9492
5 | -0.019466 | -0.0048824 | 0.019471 | 0.0048854 | 5.0155e-06 | 3.0226e-06 | 0.029779 | 0.029779 | 0.029779 | 0.97275 | -0.52566 | 0.97303 | -0.52025 | 8.1811
6 | 0.0048126 | 0.0012043 | -0.0048109 | -0.0012043 | 1.7425e-06 | 5.8409e-08 | 0.0073738 | 0.0073742 | 0.0073742 | 0.97108 | -0.55868 | 0.9707 | -0.56629 | 2.0259
7 | 0.0045691 | 0.0011448 | -0.0045682 | -0.0011448 | 9.2289e-07 | -3.0342e-08 | 0.0070012 | 0.0070014 | 0.0070014 | 0.97108 | -0.55868 | 0.97087 | -0.56292 | 1.9235
8 | -0.019471 | -0.0048854 | 0.019481 | 0.0048912 | 9.5716e-06 | 5.7681e-06 | 0.029779 | 0.029779 | 0.029779 | 0.97303 | -0.52025 | 0.97355 | -0.50995 | 8.181
9 | 0.008805 | 0.0022064 | -0.0088039 | -0.0022059 | 1.0945e-06 | 4.8348e-07 | 0.013192 | 0.013192 | 0.013192 | 0.99317 | -0.13119 | 0.99303 | -0.1338 | 3.6242
10 | -0.008805 | -0.0022064 | 0.0088063 | 0.002207 | 1.2587e-06 | 5.5595e-07 | 0.013192 | 0.013192 | 0.013192 | 0.99317 | -0.13119 | 0.99332 | -0.12819 | 3.6242
11 | 0.0053819 | 0.0013483 | -0.0053811 | -0.0013482 | 7.5483e-07 | 8.2735e-08 | 0.0080643 | 0.0080644 | 0.0080644 | 0.99303 | -0.1338 | 0.99288 | -0.13674 | 2.2155
12 | -0.01164 | -0.0029172 | 0.011641 | 0.0029178 | 1.264e-06 | 6.6544e-07 | 0.017437 | 0.017437 | 0.017437 | 0.99332 | -0.12819 | 0.99344 | -0.12591 | 4.7903
13 | 0.0031265 | 0.00078216 | -0.0031257 | -0.0007828 | 8.1219e-07 | -6.4558e-07 | 0.0047922 | 0.0047927 | 0.0047927 | 0.9707 | -0.56629 | 0.97043 | -0.57175 | 1.3167
14 | 0.0028177 | 0.0007061 | -0.0028176 | -0.00070617 | 6.1262e-08 | -6.9111e-08 | 0.0043185 | 0.0043186 | 0.0043186 | 0.97087 | -0.56292 | 0.97085 | -0.56338 | 1.1864
15 | 0.0031257 | 0.0007828 | -0.0031252 | -0.00078324 | 5.5312e-07 | -4.3916e-07 | 0.0047927 | 0.0047929 | 0.0047929 | 0.97043 | -0.57175 | 0.97024 | -0.57546 | 1.3167
16 | 0.0054195 | 0.0013552 | -0.0054143 | -0.0013543 | 5.1852e-06 | 8.1498e-07 | 0.0082823 | 0.0082832 | 0.0082832 | 0.97355 | -0.50995 | 0.97253 | -0.53007 | 2.2756
17 | -0.024901 | -0.0062463 | 0.024954 | 0.0062795 | 5.3831e-05 | 3.3217e-05 | 0.038061 | 0.038061 | 0.038061 | 0.97355 | -0.50995 | 0.97585 | -0.4647 | 10.4564
18 | 0.0028759 | 0.00071997 | -0.0028754 | -0.00072051 | 5.0487e-07 | -5.396e-07 | 0.0043999 | 0.0044002 | 0.0044002 | 0.97253 | -0.53007 | 0.97235 | -0.53376 | 1.2088
19 | 0.0025385 | 0.00063438 | -0.0025377 | -0.00063564 | 8.1185e-07 | -1.2609e-06 | 0.0038833 | 0.003884 | 0.003884 | 0.97253 | -0.53007 | 0.97219 | -0.5368 | 1.067
20 | -0.025452 | -0.0064043 | 0.025463 | 0.0064109 | 1.0725e-05 | 6.6267e-06 | 0.03882 | 0.03882 | 0.03882 | 0.97585 | -0.4647 | 0.9763 | -0.45589 | 10.6647
21 | 0.025527 | 0.0064324 | -0.025505 | -0.0064193 | 2.1221e-05 | 1.307e-05 | 0.038053 | 0.038053 | 0.038053 | 0.99851 | -0.028156 | 0.99761 | -0.04555 | 10.4541
22 | -0.097741 | -0.024972 | 0.097874 | 0.025056 | 0.00013327 | 8.4416e-05 | 0.14583 | 0.14583 | 0.14583 | 0.99851 | -0.028156 | 1 | 0 | 20.031
23 | 0.072215 | 0.018539 | -0.072207 | -0.018534 | 7.9979e-06 | 5.0226e-06 | 0.10777 | 0.10777 | 0.10777 | 0.99851 | -0.028156 | 0.99839 | -0.030438 | 14.804
24 | 0.025505 | 0.0064193 | -0.025493 | -0.0064116 | 1.2519e-05 | 7.7112e-06 | 0.038053 | 0.038053 | 0.038053 | 0.99761 | -0.04555 | 0.99707 | -0.055825 | 10.4541
25 | 0.002582 | 0.00064667 | -0.0025818 | -0.00064706 | 2.2452e-07 | -3.8838e-07 | 0.0038419 | 0.0038421 | 0.0038421 | 1 | 0 | 0.99991 | -0.0018258 | 1.0555
26 | 0.070772 | 0.018175 | -0.070737 | -0.018153 | 3.4995e-05 | 2.196e-05 | 0.10564 | 0.10564 | 0.10564 | 0.99839 | -0.030438 | 0.99785 | -0.040628 | 14.5104
27 | 0.0026449 | 0.00066246 | -0.0026449 | -0.00066252 | 3.9939e-08 | -6.2105e-08 | 0.0039638 | 0.0039638 | 0.0039638 | 0.99288 | -0.13679 | 0.99286 | -0.13711 | 1.089
28 | -0.0032743 | -0.0008202 | 0.0032743 | 0.0008202 | 7.4921e-09 | -5.9357e-09 | 0.004907 | 0.004907 | 0.004907 | 0.99288 | -0.13679 | 0.99288 | -0.13674 | 1.3481
29 | 0.0014258 | 0.000357 | -0.0014258 | -0.00035734 | 4.8463e-08 | -3.3499e-07 | 0.0021368 | 0.0021369 | 0.0021369 | 0.99286 | -0.13711 | 0.99282 | -0.13782 | 0.58707
30 | -0.01848 | -0.004636 | 0.018494 | 0.004644 | 1.3431e-05 | 7.9882e-06 | 0.027658 | 0.027657 | 0.027658 | 0.99431 | -0.10904 | 0.9951 | -0.093807 | 7.5983
31 | 0.01848 | 0.004636 | -0.018476 | -0.0046332 | 4.6559e-06 | 2.7693e-06 | 0.027658 | 0.027658 | 0.027658 | 0.99431 | -0.10904 | 0.99404 | -0.11433 | 7.5983
32 | -0.020253 | -0.0050847 | 0.020271 | 0.005095 | 1.7203e-05 | 1.0359e-05 | 0.030289 | 0.030289 | 0.030289 | 0.9951 | -0.093807 | 0.99602 | -0.076017 | 8.3211
33 | 0.0017598 | 0.00044071 | -0.0017597 | -0.00044103 | 7.3675e-08 | -3.2141e-07 | 0.0026314 | 0.0026315 | 0.0026315 | 0.9951 | -0.093807 | 0.99505 | -0.094686 | 0.72295
34 | 0.016319 | 0.0040928 | -0.016316 | -0.0040908 | 3.4755e-06 | 2.0231e-06 | 0.02443 | 0.02443 | 0.02443 | 0.99404 | -0.11433 | 0.99381 | -0.1188 | 6.7116
35 | -0.0681 | -0.017395 | 0.068193 | 0.017454 | 9.3252e-05 | 5.9371e-05 | 0.10207 | 0.10207 | 0.10207 | 0.99388 | -0.11596 | 0.99537 | -0.087677 | 28.0422
36 | 0.0681 | 0.017395 | -0.067965 | -0.017309 | 0.00013435 | 8.5537e-05 | 0.10207 | 0.10207 | 0.10207 | 0.99388 | -0.11596 | 0.99174 | -0.15685 | 28.0423
37 | -0.068193 | -0.017454 | 0.068219 | 0.017471 | 2.5947e-05 | 1.652e-05 | 0.10207 | 0.10207 | 0.10207 | 0.99537 | -0.087677 | 0.99578 | -0.079822 | 28.0422
38 | 0.058276 | 0.014881 | -0.058242 | -0.014859 | 3.4584e-05 | 2.1979e-05 | 0.087537 | 0.087537 | 0.087537 | 0.99174 | -0.15685 | 0.9911 | -0.16914 | 24.0485
39 | -0.01348 | -0.0033796 | 0.013482 | 0.0033805 | 1.6579e-06 | 9.2051e-07 | 0.020187 | 0.020187 | 0.020187 | 0.99367 | -0.12138 | 0.99381 | -0.1188 | 5.5458
40 | 0.01348 | 0.0033796 | -0.013478 | -0.0033781 | 2.6238e-06 | 1.4569e-06 | 0.020187 | 0.020187 | 0.020187 | 0.99367 | -0.12138 | 0.99346 | -0.12546 | 5.5459
41 | 0.01275 | 0.0031958 | -0.01275 | -0.0031957 | 2.7076e-07 | 1.4765e-07 | 0.019097 | 0.019097 | 0.019097 | 0.99346 | -0.12546 | 0.99344 | -0.12591 | 5.2466
42 | -0.020271 | -0.005095 | 0.020281 | 0.0051011 | 1.0098e-05 | 6.0806e-06 | 0.030289 | 0.030289 | 0.030289 | 0.99602 | -0.076017 | 0.99656 | -0.065589 | 8.3211
43 | -0.024951 | -0.0062716 | 0.024959 | 0.0062766 | 8.0705e-06 | 4.9631e-06 | 0.037262 | 0.037262 | 0.037262 | 0.99656 | -0.065589 | 0.99692 | -0.058816 | 10.2369
44 | -0.024959 | -0.0062766 | 0.024963 | 0.0062788 | 3.567e-06 | 2.1936e-06 | 0.037262 | 0.037262 | 0.037262 | 0.99692 | -0.058816 | 0.99707 | -0.055825 | 10.2368
45 | -0.06944 | -0.017777 | 0.069489 | 0.017808 | 4.9292e-05 | 3.1389e-05 | 0.1039 | 0.1039 | 0.1039 | 0.99578 | -0.079822 | 0.99656 | -0.065176 | 28.5433
46 | 0.0018272 | 0.00045757 | -0.0018271 | -0.00045791 | 9.3771e-08 | -3.3643e-07 | 0.0027965 | 0.0027966 | 0.0027966 | 0.97219 | -0.5368 | 0.97214 | -0.53787 | 0.76831
47 | 0.00079022 | 0.00019792 | -0.00079022 | -0.00019805 | 5.655e-09 | -1.2429e-07 | 0.0012093 | 0.0012093 | 0.0012093 | 0.97235 | -0.53376 | 0.97234 | -0.53391 | 0.33223
48 | -0.0265 | -0.0066709 | 0.02652 | 0.0066833 | 1.9909e-05 | 1.2335e-05 | 0.040401 | 0.040401 | 0.040401 | 0.9763 | -0.45589 | 0.9771 | -0.44018 | 11.0992
49 | -0.028303 | -0.00713 | 0.02831 | 0.0071346 | 7.3538e-06 | 4.5743e-06 | 0.043115 | 0.043115 | 0.043115 | 0.9771 | -0.44018 | 0.97737 | -0.43475 | 11.8449
50 | -0.02966 | -0.0074729 | 0.029662 | 0.0074741 | 1.8004e-06 | 1.1228e-06 | 0.045171 | 0.045171 | 0.045171 | 0.97737 | -0.43475 | 0.97744 | -0.43348 | 12.4096
51 | -0.032443 | -0.0081711 | 0.03246 | 0.0081819 | 1.7321e-05 | 1.0848e-05 | 0.049405 | 0.049405 | 0.049405 | 0.97744 | -0.43348 | 0.97801 | -0.42232 | 13.5727
52 | -0.034093 | -0.0085911 | 0.034105 | 0.0085987 | 1.2127e-05 | 7.6105e-06 | 0.051888 | 0.051888 | 0.051888 | 0.97801 | -0.42232 | 0.97839 | -0.41489 | 14.2551
53 | -0.036239 | -0.0091334 | 0.036259 | 0.009146 | 2.0053e-05 | 1.2613e-05 | 0.055133 | 0.055133 | 0.055133 | 0.97839 | -0.41489 | 0.97898 | -0.40333 | 15.1464
54 | -0.039968 | -0.01009 | 0.040017 | 0.010121 | 4.9648e-05 | 3.1322e-05 | 0.06071 | 0.06071 | 0.06071 | 0.98004 | -0.38264 | 0.98137 | -0.35674 | 16.6785
55 | 0.039485 | 0.009969 | -0.039477 | -0.0099642 | 7.7499e-06 | 4.8876e-06 | 0.059977 | 0.059977 | 0.059977 | 0.98004 | -0.38264 | 0.97983 | -0.38674 | 16.4772
56 | -0.04224 | -0.010678 | 0.04224 | 0.010679 | 3.0783e-07 | 1.9449e-07 | 0.06408 | 0.06408 | 0.06408 | 0.98137 | -0.35674 | 0.98138 | -0.35659 | 17.6043
57 | 0.03833 | 0.0096767 | -0.038299 | -0.0096575 | 3.0448e-05 | 1.9186e-05 | 0.058235 | 0.058235 | 0.058235 | 0.97983 | -0.38674 | 0.97898 | -0.40333 | 15.9986
58 | -0.046284 | -0.011692 | 0.046358 | 0.011739 | 7.395e-05 | 4.6822e-05 | 0.070211 | 0.070211 | 0.070211 | 0.98138 | -0.35659 | 0.98309 | -0.32331 | 19.2887
59 | -0.047187 | -0.011947 | 0.047346 | 0.012047 | 0.00015882 | 0.00010059 | 0.071467 | 0.071466 | 0.071467 | 0.98309 | -0.32331 | 0.9867 | -0.25347 | 19.6337
60 | -0.048767 | -0.012403 | 0.048776 | 0.012409 | 9.4266e-06 | 5.9738e-06 | 0.073608 | 0.073608 | 0.073608 | 0.9867 | -0.25347 | 0.98691 | -0.24946 | 20.222
61 | -0.049965 | -0.012707 | 0.050033 | 0.01275 | 6.7877e-05 | 4.3034e-05 | 0.075401 | 0.0754 | 0.075401 | 0.98691 | -0.24946 | 0.98838 | -0.2213 | 20.7144
62 | -0.054781 | -0.013967 | 0.054845 | 0.014008 | 6.3857e-05 | 4.0546e-05 | 0.082437 | 0.082436 | 0.082437 | 0.98984 | -0.19326 | 0.9911 | -0.16914 | 22.6474
63 | 0.052158 | 0.01331 | -0.052087 | -0.013265 | 7.056e-05 | 4.4766e-05 | 0.078494 | 0.078494 | 0.078494 | 0.98984 | -0.19326 | 0.98838 | -0.2213 | 21.5642
64 | 0.0020548 | 0.00051454 | -0.0020547 | -0.00051467 | 4.2834e-08 | -1.2557e-07 | 0.0030933 | 0.0030934 | 0.0030934 | 0.98838 | -0.2213 | 0.98835 | -0.22174 | 0.84983
65 | 0.0016553 | 0.00041458 | -0.0016553 | -0.00041485 | 5.7377e-08 | -2.7898e-07 | 0.0024921 | 0.0024922 | 0.0024922 | 0.98835 | -0.22174 | 0.98832 | -0.22247 | 0.68467
66 | 0.070167 | 0.01801 | -0.070083 | -0.017957 | 8.3484e-05 | 5.3165e-05 | 0.10479 | 0.10479 | 0.10479 | 0.99785 | -0.040628 | 0.99656 | -0.065176 | 28.7872

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.10211 | 0.025703

## res_load
| p_mw | q_mvar
0 | 0.0013329 | 0.00033406
1 | 0.0083991 | 0.002105
2 | 0.00033085 | 8.292e-05
3 | 0.0034221 | 0.00085765
4 | 0.0028336 | 0.00071018
5 | 0.0016843 | 0.00042213
6 | 0.0017505 | 0.00043871
7 | 0.0031252 | 0.00078324
8 | 0.00049766 | 0.00012473
9 | 0.0014345 | 0.00035953
10 | 0.0025818 | 0.00064706
11 | 0.00062939 | 0.00015774
12 | 0.0012191 | 0.00030552
13 | 0.0021068 | 0.00052801
14 | 0.0014258 | 0.00035734
15 | 0.0021562 | 0.0005404
16 | 0.009689 | 0.0024283
17 | 0.002834 | 0.00071027
18 | 0.00072737 | 0.0001823
19 | 0.0017597 | 0.00044103
20 | 0.0046705 | 0.0011705
21 | 0.00052995 | 0.00013282
22 | 0.0012207 | 0.00030593
23 | 0.0028176 | 0.00070617
24 | 0.00071049 | 0.00017807
25 | 0.0018271 | 0.00045791
26 | 0.0020851 | 0.00052258
27 | 0.00079022 | 0.00019805
28 | 0.0010377 | 0.00026006
29 | 0.0017825 | 0.00044672
30 | 0.0013501 | 0.00033836
31 | 0.0027811 | 0.00069701
32 | 0.0016326 | 0.00040917
33 | 0.0021333 | 0.00053466
34 | 0.0004827 | 0.00012098
35 | 0.0022226 | 0.00055704
36 | 0.0011472 | 0.0002875
37 | 0.0040436 | 0.0010134
38 | 0.0020409 | 0.0005115
39 | 0.00082991 | 0.00020799
40 | 0.0014202 | 0.00035595
41 | 0.0011888 | 0.00029794
42 | 0.0026229 | 0.00065736
43 | 0.0033971 | 0.00085139
44 | 0.00039938 | 0.00010009
45 | 0.0016553 | 0.00041485
46 | 0.00057022 | 0.00014291
47 | 0.00059452 | 0.000149
48 | 0.0011087 | 0.00027787

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1