## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1063-19_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1063-19_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1063-19_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1063-19_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1063-19_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1063-19_0_2_node_78 | 0.4 | n |  | TRUE
6 | bus_LV_1063-19_0_2_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_1063-19_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1063-19_0_2_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1063-19_0_2_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_1063-19_0_2_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1063-19_0_2_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_1063-19_0_2_node_70 | 0.4 | n |  | TRUE
13 | bus_LV_1063-19_0_2_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_1063-19_0_2_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_1063-19_0_2_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_1063-19_0_2_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_1063-19_0_2_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1063-19_0_2_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1063-19_0_2_node_75 | 0.4 | n |  | TRUE
20 | bus_LV_1063-19_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1063-19_0_2_node_6 | 0.4 | n |  | TRUE
22 | bus_LV_1063-19_0_2_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_1063-19_0_2_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_1063-19_0_2_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_1063-19_0_2_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1063-19_0_2_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_1063-19_0_2_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_1063-19_0_2_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_1063-19_0_2_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_1063-19_0_2_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_1063-19_0_2_node_10 | 0.4 | n |  | TRUE
32 | bus_LV_1063-19_0_2_node_11 | 0.4 | n |  | TRUE
33 | bus_LV_1063-19_0_2_node_12 | 0.4 | n |  | TRUE
34 | bus_LV_1063-19_0_2_node_13 | 0.4 | n |  | TRUE
35 | bus_LV_1063-19_0_2_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1063-19_0_2_node_81 | 0.4 | n |  | TRUE
37 | bus_LV_1063-19_0_2_node_82 | 0.4 | n |  | TRUE
38 | bus_LV_1063-19_0_2_node_14 | 0.4 | n |  | TRUE
39 | bus_LV_1063-19_0_2_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1063-19_0_2_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_1063-19_0_2_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_1063-19_0_2_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1063-19_0_2_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1063-19_0_2_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_1063-19_0_2_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_1063-19_0_2_node_20 | 0.4 | n |  | TRUE
47 | bus_LV_1063-19_0_2_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_1063-19_0_2_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_1063-19_0_2_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_1063-19_0_2_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_1063-19_0_2_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_1063-19_0_2_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_1063-19_0_2_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_1063-19_0_2_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_1063-19_0_2_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_1063-19_0_2_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_1063-19_0_2_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_1063-19_0_2_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_1063-19_0_2_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_1063-19_0_2_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_1063-19_0_2_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_1063-19_0_2_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_1063-19_0_2_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_1063-19_0_2_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_1063-19_0_2_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_1063-19_0_2_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_1063-19_0_2_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_1063-19_0_2_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_1063-19_0_2_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_1063-19_0_2_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_1063-19_0_2_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_1063-19_0_2_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_1063-19_0_2_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_1063-19_0_2_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_1063-19_0_2_node_45 | 0.4 | n |  | TRUE
76 | bus_LV_1063-19_0_2_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_1063-19_0_2_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_1063-19_0_2_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_1063-19_0_2_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_1063-19_0_2_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_1063-19_0_2_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_1063-19_0_2_node_66 | 0.4 | n |  | TRUE
83 | bus_MV_211_2_node_188 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1063-19_0_2_load_0 | 0 | 0.0040886 | 0.0010247 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1063-19_0_2_load_1 | 1 | 0.0009414 | 0.00023594 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1063-19_0_2_load_78 | 5 | 0.0054709 | 0.0013711 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1063-19_0_2_load_74 | 9 | 0.0012087 | 0.00030292 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1063-19_0_2_load_15 | 10 | 0.0066974 | 0.0016785 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1063-19_0_2_load_70 | 12 | 0.0058596 | 0.0014686 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1063-19_0_2_load_77 | 14 | 0.0032493 | 0.00081436 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1063-19_0_2_load_29 | 16 | 0.00069325 | 0.00017374 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1063-19_0_2_load_28 | 17 | 0.0062391 | 0.0015637 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1063-19_0_2_load_25 | 18 | 0.0027525 | 0.00068984 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1063-19_0_2_load_75 | 19 | 0.014176 | 0.0035528 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1063-19_0_2_load_16 | 20 | 0.0042223 | 0.0010582 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1063-19_0_2_load_6 | 21 | 0.0041399 | 0.0010375 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1063-19_0_2_load_9 | 24 | 0.00256 | 0.00064159 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1063-19_0_2_load_34 | 26 | 0.0049857 | 0.0012495 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1063-19_0_2_load_64 | 27 | 0.0025664 | 0.00064321 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1063-19_0_2_load_72 | 28 | 0.0058267 | 0.0014603 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1063-19_0_2_load_63 | 30 | 0.0093117 | 0.0023337 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1063-19_0_2_load_10 | 31 | 0.0045126 | 0.001131 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1063-19_0_2_load_12 | 33 | 0.0052821 | 0.0013238 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1063-19_0_2_load_81 | 36 | 0.0057186 | 0.0014332 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1063-19_0_2_load_82 | 37 | 0.006497 | 0.0016283 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1063-19_0_2_load_79 | 40 | 0.0067241 | 0.0016852 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1063-19_0_2_load_80 | 41 | 0.0047869 | 0.0011997 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1063-19_0_2_load_31 | 43 | 0.00073664 | 0.00018462 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1063-19_0_2_load_26 | 45 | 0.0035032 | 0.00087798 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1063-19_0_2_load_20 | 46 | 0.0020913 | 0.00052412 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1063-19_0_2_load_21 | 47 | 0.0036741 | 0.00092081 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1063-19_0_2_load_22 | 48 | 0.0028733 | 0.00072011 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1063-19_0_2_load_24 | 50 | 0.0029099 | 0.0007293 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1063-19_0_2_load_32 | 51 | 0.0046213 | 0.0011582 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1063-19_0_2_load_33 | 52 | 0.00267 | 0.00066916 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1063-19_0_2_load_52 | 53 | 0.011049 | 0.002769 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1063-19_0_2_load_50 | 54 | 0.0045508 | 0.0011405 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1063-19_0_2_load_51 | 56 | 0.0019651 | 0.0004925 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1063-19_0_2_load_67 | 57 | 0.0073479 | 0.0018416 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1063-19_0_2_load_60 | 58 | 0.0025251 | 0.00063285 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1063-19_0_2_load_62 | 60 | 0.00365 | 0.00091478 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1063-19_0_2_load_71 | 62 | 0.0049145 | 0.0012317 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1063-19_0_2_load_39 | 63 | 0.0052612 | 0.0013186 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1063-19_0_2_load_73 | 66 | 0.00249 | 0.00062405 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1063-19_0_2_load_49 | 67 | 0.0017749 | 0.00044484 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1063-19_0_2_load_47 | 68 | 0.0023924 | 0.0005996 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1063-19_0_2_load_44 | 70 | 0.0093888 | 0.0023531 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1063-19_0_2_load_76 | 71 | 0.0063233 | 0.0015848 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1063-19_0_2_load_69 | 74 | 0.0099967 | 0.0025054 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1063-19_0_2_load_45 | 75 | 0.0023897 | 0.0005989 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1063-19_0_2_load_46 | 76 | 0.0025196 | 0.00063146 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1063-19_0_2_load_53 | 77 | 0.0012259 | 0.00030724 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1063-19_0_2_load_54 | 78 | 0.0013596 | 0.00034075 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1063-19_0_2_load_56 | 79 | 0.0051941 | 0.0013018 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1063-19_0_2_load_57 | 80 | 0.0026511 | 0.00066443 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1063-19_0_2_load_58 | 81 | 0.0025235 | 0.00063244 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1063-19_0_2_load_66 | 82 | 0.0035478 | 0.00088916 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1063-19_0_2_line_0 |  | 0 | 1 | 0.013847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1063-19_0_2_line_1 |  | 0 | 2 | 0.040409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1063-19_0_2_line_2 |  | 2 | 3 | 0.033335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1063-19_0_2_line_3 |  | 3 | 4 | 0.071547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1063-19_0_2_line_4 |  | 3 | 5 | 0.006349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1063-19_0_2_line_5 |  | 4 | 6 | 0.068442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1063-19_0_2_line_6 |  | 4 | 7 | 0.082028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1063-19_0_2_line_7 |  | 4 | 8 | 0.10118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1063-19_0_2_line_8 |  | 4 | 9 | 0.016106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1063-19_0_2_line_9 |  | 6 | 14 | 0.009529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1063-19_0_2_line_10 |  | 6 | 15 | 0.032469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1063-19_0_2_line_11 |  | 7 | 10 | 0.047585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1063-19_0_2_line_12 |  | 8 | 16 | 0.079212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1063-19_0_2_line_13 |  | 9 | 19 | 0.0030818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1063-19_0_2_line_14 |  | 10 | 20 | 0.016556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1063-19_0_2_line_15 |  | 11 | 12 | 0.026934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1063-19_0_2_line_16 |  | 11 | 13 | 0.002797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1063-19_0_2_line_17 |  | 12 | 62 | 0.038065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1063-19_0_2_line_18 |  | 13 | 30 | 0.033773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1063-19_0_2_line_19 |  | 13 | 45 | 0.0035079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1063-19_0_2_line_20 |  | 15 | 17 | 0.042834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1063-19_0_2_line_21 |  | 15 | 18 | 0.025453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1063-19_0_2_line_22 |  | 16 | 42 | 0.01553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1063-19_0_2_line_23 |  | 17 | 44 | 0.054517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1063-19_0_2_line_24 |  | 18 | 45 | 0.044925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1063-19_0_2_line_25 |  | 21 | 22 | 0.044798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1063-19_0_2_line_26 |  | 22 | 23 | 0.032644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1063-19_0_2_line_27 |  | 22 | 24 | 0.010318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1063-19_0_2_line_28 |  | 23 | 25 | 0.002578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1063-19_0_2_line_29 |  | 23 | 26 | 0.045439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1063-19_0_2_line_30 |  | 24 | 27 | 0.015141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1063-19_0_2_line_31 |  | 25 | 28 | 0.05182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1063-19_0_2_line_32 |  | 26 | 29 | 0.0072597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1063-19_0_2_line_33 |  | 27 | 30 | 0.053031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1063-19_0_2_line_34 |  | 29 | 39 | 0.002874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1063-19_0_2_line_35 |  | 31 | 32 | 0.012171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1063-19_0_2_line_36 |  | 32 | 33 | 0.035982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1063-19_0_2_line_37 |  | 32 | 34 | 0.007464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1063-19_0_2_line_38 |  | 33 | 35 | 0.017408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1063-19_0_2_line_39 |  | 34 | 36 | 0.051445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1063-19_0_2_line_40 |  | 34 | 37 | 0.056364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1063-19_0_2_line_41 |  | 35 | 38 | 0.002917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1063-19_0_2_line_42 |  | 38 | 39 | 0.025051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1063-19_0_2_line_43 |  | 38 | 40 | 0.03982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1063-19_0_2_line_44 |  | 39 | 41 | 0.070975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1063-19_0_2_line_45 |  | 42 | 43 | 0.008259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1063-19_0_2_line_46 |  | 44 | 57 | 0.017233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1063-19_0_2_line_47 |  | 44 | 58 | 0.013108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1063-19_0_2_line_48 |  | 46 | 47 | 0.022208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1063-19_0_2_line_49 |  | 46 | 48 | 0.05269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1063-19_0_2_line_50 |  | 47 | 49 | 0.033491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1063-19_0_2_line_51 |  | 48 | 50 | 0.019716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1063-19_0_2_line_52 |  | 49 | 51 | 0.017481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1063-19_0_2_line_53 |  | 49 | 52 | 0.060555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1063-19_0_2_line_54 |  | 50 | 53 | 0.019438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1063-19_0_2_line_55 |  | 51 | 54 | 0.0086334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1063-19_0_2_line_56 |  | 52 | 55 | 0.0020679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1063-19_0_2_line_57 |  | 53 | 56 | 0.0076942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1063-19_0_2_line_58 |  | 54 | 59 | 0.015461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1063-19_0_2_line_59 |  | 55 | 60 | 0.033984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1063-19_0_2_line_60 |  | 55 | 61 | 0.02212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1063-19_0_2_line_61 |  | 56 | 77 | 0.0074515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1063-19_0_2_line_62 |  | 57 | 82 | 0.044622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1063-19_0_2_line_63 |  | 58 | 81 | 0.012738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_1063-19_0_2_line_64 |  | 59 | 67 | 0.060729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1063-19_0_2_line_65 |  | 59 | 64 | 0.035393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1063-19_0_2_line_66 |  | 61 | 80 | 0.055106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_1063-19_0_2_line_67 |  | 61 | 81 | 0.017206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_1063-19_0_2_line_68 |  | 61 | 78 | 0.1253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1063-19_0_2_line_69 |  | 63 | 64 | 0.0015586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1063-19_0_2_line_70 |  | 64 | 65 | 0.006028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1063-19_0_2_line_71 |  | 65 | 66 | 0.051934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1063-19_0_2_line_72 |  | 67 | 68 | 0.023518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1063-19_0_2_line_73 |  | 68 | 75 | 0.0095826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1063-19_0_2_line_74 |  | 69 | 70 | 0.093613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1063-19_0_2_line_75 |  | 69 | 71 | 0.14396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1063-19_0_2_line_76 |  | 70 | 72 | 0.029274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1063-19_0_2_line_77 |  | 71 | 73 | 0.072397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1063-19_0_2_line_78 |  | 72 | 74 | 0.086171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1063-19_0_2_line_79 |  | 73 | 76 | 0.04136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1063-19_0_2_line_80 |  | 75 | 76 | 0.0040615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1063-19_0_2_line_81 |  | 78 | 79 | 0.02621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1063-19_0_2_trafo_57 | 0.63 MVA 20/0.4 kV | 83 | 80 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2670409.4498 | 1210206.2799 | 2670401.2287 | 1210209.5496 | 2670396.636 | 1210211.5261
1 | 2670447.7566 | 1210193.7332 | 2670441.076 | 1210194.9885 | 2670427.5899 | 1210199.0652 | 2670409.4498 | 1210206.2799
2 | 2670447.7566 | 1210193.7332 | 2670447.8743 | 1210192.7785 | 2670449.1358 | 1210187.0009 | 2670454.9512 | 1210175.3512 | 2670461.3008 | 1210163.5076
3 | 2670461.3008 | 1210163.5076 | 2670465.3889 | 1210162.9556 | 2670473.1762 | 1210159.3897 | 2670477.5622 | 1210158.7078 | 2670486.4563 | 1210157.3119 | 2670498.6722 | 1210158.468 | 2670509.6068 | 1210164.4898 | 2670524.1643 | 1210175.2352 | 2670525.7211 | 1210177.2771
4 | 2670461.3008 | 1210163.5076 | 2670463.7112 | 1210157.6324
5 | 2670531.6023 | 1210149.785 | 2670533.0731 | 1210157.1737 | 2670535.3433 | 1210166.3729 | 2670540.2376 | 1210183.1301 | 2670541.8239 | 1210190.3867 | 2670542.2225 | 1210193.3154 | 2670540.2565 | 1210193.1032 | 2670533.1977 | 1210187.1271 | 2670525.7211 | 1210177.2771
6 | 2670518.5295 | 1210221.7532 | 2670519.0513 | 1210212.9761 | 2670528.335 | 1210212.0519 | 2670549.2266 | 1210208.4076 | 2670548.3241 | 1210203.7496 | 2670546.39 | 1210193.765 | 2670542.2225 | 1210193.3154 | 2670540.2565 | 1210193.1032 | 2670533.1977 | 1210187.1271 | 2670525.7211 | 1210177.2771
7 | 2670525.7211 | 1210177.2771 | 2670533.1977 | 1210187.1271 | 2670540.2565 | 1210193.1032 | 2670542.2225 | 1210193.3154 | 2670546.39 | 1210193.765 | 2670548.3241 | 1210203.7496 | 2670554.0352 | 1210202.8499 | 2670557.2486 | 1210202.3431 | 2670563.2398 | 1210203.4702 | 2670568.8617 | 1210203.6924 | 2670579.5766 | 1210205.1422 | 2670588.001 | 1210206.8318 | 2670594.5033 | 1210209.0768 | 2670608.8561 | 1210216.5512
8 | 2670525.7211 | 1210177.2771 | 2670534.8603 | 1210173.794 | 2670540.9716 | 1210172.1618
9 | 2670531.6023 | 1210149.785 | 2670529.2066 | 1210149.9124 | 2670522.8143 | 1210146.7015
10 | 2670531.6023 | 1210149.785 | 2670534.9485 | 1210149.6245 | 2670528.0853 | 1210121.3257
11 | 2670518.5295 | 1210221.7532 | 2670541.6965 | 1210244.2187 | 2670552.691 | 1210254.8789
12 | 2670608.8561 | 1210216.5512 | 2670632.2815 | 1210230.6483 | 2670649.5892 | 1210239.5365 | 2670656.3568 | 1210242.4851 | 2670680.1227 | 1210250.3508
13 | 2670543.949 | 1210171.3666 | 2670540.9716 | 1210172.1618
14 | 2670564.5768 | 1210266.4033 | 2670552.691 | 1210254.8789
15 | 2670460.5535 | 1210102.5942 | 2670453.5791 | 1210095.2518 | 2670442.292 | 1210082.7985
16 | 2670460.5535 | 1210102.5942 | 2670462.2218 | 1210100.3458
17 | 2670442.292 | 1210082.7985 | 2670417.5719 | 1210055.5243 | 2670416.7673 | 1210054.5612
18 | 2670462.2218 | 1210100.3458 | 2670458.0724 | 1210096.4278 | 2670439.0314 | 1210075.8092
19 | 2670462.2218 | 1210100.3458 | 2670464.7736 | 1210102.7528
20 | 2670528.0853 | 1210121.3257 | 2670524.8627 | 1210110.3808 | 2670521.1317 | 1210103.2323 | 2670516.8486 | 1210097.7672 | 2670505.9348 | 1210085.5021
21 | 2670528.0853 | 1210121.3257 | 2670508.8637 | 1210124.4784 | 2670502.9105 | 1210123.9685
22 | 2670693.6309 | 1210257.8138 | 2670688.9279 | 1210254.456 | 2670683.3925 | 1210251.433 | 2670680.1227 | 1210250.3508
23 | 2670484.4006 | 1210036.6903 | 2670487.2808 | 1210054.7467 | 2670493.0004 | 1210067.9336 | 2670501.4113 | 1210080.4185 | 2670505.9348 | 1210085.5021
24 | 2670464.7736 | 1210102.7528 | 2670475.4592 | 1210112.8321 | 2670483.7578 | 1210118.7449 | 2670495.462 | 1210123.3305 | 2670502.9105 | 1210123.9685
25 | 2670387.5135 | 1210016.6344 | 2670390.1836 | 1210006.7931 | 2670390.7283 | 1209995.4147 | 2670375.6617 | 1209977.7607
26 | 2670387.5135 | 1210016.6344 | 2670366.6724 | 1209991.4619
27 | 2670387.5135 | 1210016.6344 | 2670394.0755 | 1210024.5964
28 | 2670364.7594 | 1209993.196 | 2670366.6724 | 1209991.4619
29 | 2670366.6724 | 1209991.4619 | 2670339.0651 | 1209963.1745 | 2670334.5452 | 1209959.3635
30 | 2670394.0755 | 1210024.5964 | 2670401.9761 | 1210034.1826 | 2670403.7054 | 1210036.2803
31 | 2670364.7594 | 1209993.196 | 2670362.7821 | 1209996.5081 | 2670364.5277 | 1210004.4558 | 2670379.5185 | 1210029.4259 | 2670381.233 | 1210040.0082
32 | 2670328.9951 | 1209954.6838 | 2670334.5452 | 1209959.3635
33 | 2670439.0314 | 1210075.8092 | 2670413.5087 | 1210048.1718 | 2670403.7054 | 1210036.2803
34 | 2670327.4539 | 1209957.1116 | 2670328.9951 | 1209954.6838
35 | 2670263.8799 | 1209909.3332 | 2670253.725 | 1209902.624
36 | 2670263.8799 | 1209909.3332 | 2670293.9008 | 1209929.1687
37 | 2670259.5592 | 1209915.4194 | 2670262.5813 | 1209911.1635 | 2670263.8799 | 1209909.3332
38 | 2670308.4245 | 1209938.7649 | 2670293.9008 | 1209929.1687
39 | 2670259.5592 | 1209915.4194 | 2670266.1799 | 1209924.4363 | 2670272.5786 | 1209934.8737 | 2670275.9172 | 1209945.6864 | 2670276.0433 | 1209952.4031 | 2670273.5435 | 1209956.8431 | 2670269.0357 | 1209958.8135
40 | 2670259.5592 | 1209915.4194 | 2670253.4964 | 1209910.6673 | 2670244.9866 | 1209906.509 | 2670234.3919 | 1209905.7728 | 2670219.8761 | 1209909.4598 | 2670216.7343 | 1209916.1381 | 2670212.1977 | 1209920.5542
41 | 2670307.7526 | 1209941.6032 | 2670308.4245 | 1209938.7649
42 | 2670307.7526 | 1209941.6032 | 2670313.2646 | 1209945.3594 | 2670321.9604 | 1209952.4329 | 2670327.4539 | 1209957.1116
43 | 2670307.7526 | 1209941.6032 | 2670307.1287 | 1209944.2308 | 2670311.0829 | 1209955.0508 | 2670319.2939 | 1209967.1328 | 2670319.9854 | 1209978.1145
44 | 2670327.4539 | 1209957.1116 | 2670326.3232 | 1209958.8883 | 2670327.0482 | 1209967.0241 | 2670334.0859 | 1209974.823 | 2670341.7275 | 1209984.2634 | 2670344.2716 | 1209992.832 | 2670344.1446 | 1210003.6039 | 2670342.3025 | 1210021.8713
45 | 2670693.6309 | 1210257.8138 | 2670698.9503 | 1210251.484
46 | 2670484.4006 | 1210036.6903 | 2670495.7663 | 1210038.4145 | 2670501.2 | 1210040.2567
47 | 2670484.4006 | 1210036.6903 | 2670484.8653 | 1210023.5909
48 | 2670511.8494 | 1209915.5972 | 2670522.2881 | 1209935.1988
49 | 2670549.9242 | 1209979.3197 | 2670548.3347 | 1209978.5762 | 2670542.203 | 1209972.6 | 2670526.6844 | 1209943.454 | 2670522.2881 | 1209935.1988
50 | 2670486.0703 | 1209909.542 | 2670491.3757 | 1209905.0463 | 2670499.5906 | 1209903.2756 | 2670504.9252 | 1209905.3176 | 2670510.1618 | 1209912.4284 | 2670511.8494 | 1209915.5972
51 | 2670549.9242 | 1209979.3197 | 2670556.5287 | 1209982.4088 | 2670561.9592 | 1209983.4069 | 2670568.8101 | 1209982.5541
52 | 2670486.0703 | 1209909.542 | 2670482.9258 | 1209902.9119 | 2670478.9444 | 1209893.5829
53 | 2670486.0703 | 1209909.542 | 2670489.4572 | 1209929.7501 | 2670489.8541 | 1209955.3374 | 2670488.5 | 1209969.7483
54 | 2670585.3441 | 1209972.3924 | 2670579.836 | 1209976.3917 | 2670568.8101 | 1209982.5541 | 2670568.8101 | 1209982.5541
55 | 2670475.5556 | 1209885.6424 | 2670478.9444 | 1209893.5829
56 | 2670488.3065 | 1209971.8072 | 2670488.5 | 1209969.7483
57 | 2670591.5703 | 1209967.8718 | 2670585.3441 | 1209972.3924
58 | 2670469.4868 | 1209871.4225 | 2670475.5556 | 1209885.6424
59 | 2670488.3065 | 1209971.8072 | 2670468.7037 | 1209963.4372 | 2670468.664 | 1209950.7177
60 | 2670488.3065 | 1209971.8072 | 2670488.4556 | 1209993.9227
61 | 2670597.6 | 1209963.4938 | 2670591.5703 | 1209967.8718
62 | 2670540.9221 | 1210059.8764 | 2670520.2645 | 1210046.7202 | 2670501.2 | 1210040.2567
63 | 2670485.5872 | 1210010.8883 | 2670485.244 | 1210012.9188 | 2670484.8653 | 1210023.5909
64 | 2670469.4868 | 1209871.4225 | 2670464.8012 | 1209871.0558 | 2670456.3692 | 1209868.6881 | 2670451.6082 | 1209869.5658 | 2670447.9088 | 1209871.9459 | 2670443.9059 | 1209877.4909 | 2670441.0684 | 1209880.2592 | 2670426.5872 | 1209886.8035 | 2670415.4782 | 1209889.0627 | 2670415.4782 | 1209889.0627
65 | 2670469.4868 | 1209871.4225 | 2670462.4449 | 1209853.6839 | 2670454.9925 | 1209839.1646
66 | 2670445.0848 | 1209984.2713 | 2670445.5913 | 1209976.1389 | 2670450.6955 | 1209975.7989 | 2670472.1987 | 1209984.7917 | 2670488.4556 | 1209993.9227
67 | 2670488.4556 | 1209993.9227 | 2670485.5872 | 1210010.8883
68 | 2670488.4556 | 1209993.9227 | 2670502.1255 | 1209991.0602 | 2670508.8576 | 1209991.2509 | 2670533.0456 | 1210000.7315 | 2670587.7928 | 1210018.9012 | 2670604.261 | 1210022.3537 | 2670608.3616 | 1210022.5378
69 | 2670454.9925 | 1209839.1646 | 2670454.2314 | 1209837.8044
70 | 2670449.5273 | 1209836.5874 | 2670454.9925 | 1209839.1646
71 | 2670449.5273 | 1209836.5874 | 2670443.3472 | 1209837.9153 | 2670435.1831 | 1209839.242 | 2670423.3478 | 1209839.9139 | 2670410.5374 | 1209836.9164 | 2670398.78 | 1209833.2004
72 | 2670415.4782 | 1209889.0627 | 2670394.1344 | 1209891.6459 | 2670392.1158 | 1209891.682
73 | 2670382.5348 | 1209891.8533 | 2670392.1158 | 1209891.682
74 | 2670267.8713 | 1209683.4175 | 2670247.7882 | 1209676.9993 | 2670227.6479 | 1209672.8598 | 2670211.488 | 1209665.7096 | 2670203.1093 | 1209662.0088 | 2670185.1273 | 1209648.211 | 2670183.5294 | 1209646.3249
75 | 2670290.7943 | 1209825.5424 | 2670267.8713 | 1209683.4175
76 | 2670167.2894 | 1209622.1517 | 2670174.8711 | 1209636.1051 | 2670183.5294 | 1209646.3249
77 | 2670339.5791 | 1209877.6829 | 2670335.2068 | 1209870.0933 | 2670326.1227 | 1209859.8466 | 2670302.3416 | 1209842.8558 | 2670290.7943 | 1209825.5424
78 | 2670167.2894 | 1209622.1517 | 2670157.5623 | 1209616.7563 | 2670144.9584 | 1209613.5951 | 2670118.0723 | 1209611.6557 | 2670096.8434 | 1209613.4408 | 2670083.1479 | 1209616.493
79 | 2670339.5791 | 1209877.6829 | 2670362.589 | 1209887.2267 | 2670378.5588 | 1209891.1718
80 | 2670382.5348 | 1209891.8533 | 2670381.3999 | 1209891.8736 | 2670378.5588 | 1209891.1718
81 | 2670634.397 | 1210021.1984 | 2670622.4099 | 1210023.1689 | 2670608.3616 | 1210022.5378

## bus_geodata
| x | y | coords
0 | 2670409.4498 | 1210206.2799
1 | 2670396.636 | 1210211.5261
2 | 2670447.7566 | 1210193.7332
3 | 2670461.3008 | 1210163.5076
4 | 2670525.7211 | 1210177.2771
5 | 2670463.7112 | 1210157.6324
6 | 2670531.6023 | 1210149.785
7 | 2670518.5295 | 1210221.7532
8 | 2670608.8561 | 1210216.5512
9 | 2670540.9716 | 1210172.1618
10 | 2670552.691 | 1210254.8789
11 | 2670460.5535 | 1210102.5942
12 | 2670442.292 | 1210082.7985
13 | 2670462.2218 | 1210100.3458
14 | 2670522.8143 | 1210146.7015
15 | 2670528.0853 | 1210121.3257
16 | 2670680.1227 | 1210250.3508
17 | 2670505.9348 | 1210085.5021
18 | 2670502.9105 | 1210123.9685
19 | 2670543.949 | 1210171.3666
20 | 2670564.5768 | 1210266.4033
21 | 2670375.6617 | 1209977.7607
22 | 2670387.5135 | 1210016.6344
23 | 2670366.6724 | 1209991.4619
24 | 2670394.0755 | 1210024.5964
25 | 2670364.7594 | 1209993.196
26 | 2670334.5452 | 1209959.3635
27 | 2670403.7054 | 1210036.2803
28 | 2670381.233 | 1210040.0082
29 | 2670328.9951 | 1209954.6838
30 | 2670439.0314 | 1210075.8092
31 | 2670253.725 | 1209902.624
32 | 2670263.8799 | 1209909.3332
33 | 2670293.9008 | 1209929.1687
34 | 2670259.5592 | 1209915.4194
35 | 2670308.4245 | 1209938.7649
36 | 2670269.0357 | 1209958.8135
37 | 2670212.1977 | 1209920.5542
38 | 2670307.7526 | 1209941.6032
39 | 2670327.4539 | 1209957.1116
40 | 2670319.9854 | 1209978.1145
41 | 2670342.3025 | 1210021.8713
42 | 2670693.6309 | 1210257.8138
43 | 2670698.9503 | 1210251.484
44 | 2670484.4006 | 1210036.6903
45 | 2670464.7736 | 1210102.7528
46 | 2670522.2881 | 1209935.1988
47 | 2670511.8494 | 1209915.5972
48 | 2670549.9242 | 1209979.3197
49 | 2670486.0703 | 1209909.542
50 | 2670568.8101 | 1209982.5541
51 | 2670478.9444 | 1209893.5829
52 | 2670488.5 | 1209969.7483
53 | 2670585.3441 | 1209972.3924
54 | 2670475.5556 | 1209885.6424
55 | 2670488.3065 | 1209971.8072
56 | 2670591.5703 | 1209967.8718
57 | 2670501.2 | 1210040.2567
58 | 2670484.8653 | 1210023.5909
59 | 2670469.4868 | 1209871.4225
60 | 2670468.664 | 1209950.7177
61 | 2670488.4556 | 1209993.9227
62 | 2670416.7673 | 1210054.5612
63 | 2670454.2314 | 1209837.8044
64 | 2670454.9925 | 1209839.1646
65 | 2670449.5273 | 1209836.5874
66 | 2670398.78 | 1209833.2004
67 | 2670415.4782 | 1209889.0627
68 | 2670392.1158 | 1209891.682
69 | 2670267.8713 | 1209683.4175
70 | 2670183.5294 | 1209646.3249
71 | 2670290.7943 | 1209825.5424
72 | 2670167.2894 | 1209622.1517
73 | 2670339.5791 | 1209877.6829
74 | 2670083.1479 | 1209616.493
75 | 2670382.5348 | 1209891.8533
76 | 2670378.5588 | 1209891.1718
77 | 2670597.6 | 1209963.4938
78 | 2670608.3616 | 1210022.5378
79 | 2670634.397 | 1210021.1984
80 | 2670445.0848 | 1209984.2713
81 | 2670485.5872 | 1210010.8883
82 | 2670540.9221 | 1210059.8764
83 | 2670488.4556 | 1209993.9227

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98088 | -0.36719 | 0.0040886 | 0.0010247
1 | 0.98087 | -0.36743 | 0.0009414 | 0.00023594
2 | 0.98107 | -0.36351 | 0 | 0
3 | 0.98122 | -0.36047 | 0 | 0
4 | 0.98191 | -0.34687 | 0 | 0
5 | 0.98119 | -0.3611 | 0.0054709 | 0.0013711
6 | 0.98433 | -0.29966 | 0 | 0
7 | 0.98109 | -0.36309 | 0 | 0
8 | 0.98178 | -0.3495 | 0 | 0
9 | 0.98169 | -0.35135 | 0.0012087 | 0.00030292
10 | 0.98061 | -0.3725 | 0.0066974 | 0.0016785
11 | 0.98275 | -0.33017 | 0 | 0
12 | 0.98248 | -0.33541 | 0.0058596 | 0.0014686
13 | 0.98278 | -0.32962 | 0 | 0
14 | 0.9843 | -0.30022 | 0.0032493 | 0.00081436
15 | 0.98558 | -0.27545 | 0 | 0
16 | 0.98168 | -0.35155 | 0.00069325 | 0.00017374
17 | 0.98799 | -0.22888 | 0.0062391 | 0.0015637
18 | 0.98463 | -0.29373 | 0.0027525 | 0.00068984
19 | 0.98165 | -0.35214 | 0.014176 | 0.0035528
20 | 0.98054 | -0.37377 | 0.0042223 | 0.0010582
21 | 0.9768 | -0.44632 | 0.0041399 | 0.0010375
22 | 0.97697 | -0.44293 | 0 | 0
23 | 0.97562 | -0.46941 | 0 | 0
24 | 0.97743 | -0.4338 | 0.00256 | 0.00064159
25 | 0.97561 | -0.46968 | 0 | 0
26 | 0.97399 | -0.50151 | 0.0049857 | 0.0012495
27 | 0.97815 | -0.41971 | 0.0025664 | 0.00064321
28 | 0.97532 | -0.47521 | 0.0058267 | 0.0014603
29 | 0.97376 | -0.50598 | 0 | 0
30 | 0.9808 | -0.36806 | 0.0093117 | 0.0023337
31 | 0.97197 | -0.54136 | 0.0045126 | 0.001131
32 | 0.97202 | -0.54034 | 0 | 0
33 | 0.97258 | -0.52924 | 0.0052821 | 0.0013238
34 | 0.97194 | -0.54203 | 0 | 0
35 | 0.97294 | -0.52218 | 0 | 0
36 | 0.97166 | -0.54746 | 0.0057186 | 0.0014332
37 | 0.97159 | -0.54879 | 0.006497 | 0.0016283
38 | 0.973 | -0.521 | 0 | 0
39 | 0.97367 | -0.50776 | 0 | 0
40 | 0.97275 | -0.52593 | 0.0067241 | 0.0016852
41 | 0.97335 | -0.514 | 0.0047869 | 0.0011997
42 | 0.98167 | -0.35176 | 0 | 0
43 | 0.98166 | -0.35187 | 0.00073664 | 0.00018462
44 | 0.99122 | -0.16692 | 0 | 0
45 | 0.98302 | -0.32496 | 0.0035032 | 0.00087798
46 | 0.98659 | -0.25651 | 0.0020913 | 0.00052412
47 | 0.98704 | -0.24772 | 0.0036741 | 0.00092081
48 | 0.98562 | -0.27542 | 0.0028733 | 0.00072011
49 | 0.98784 | -0.23228 | 0 | 0
50 | 0.98531 | -0.28149 | 0.0029099 | 0.0007293
51 | 0.987 | -0.24844 | 0.0046213 | 0.0011582
52 | 0.99217 | -0.14879 | 0.00267 | 0.00066916
53 | 0.98505 | -0.28646 | 0.011049 | 0.002769
54 | 0.98663 | -0.25572 | 0.0045508 | 0.0011405
55 | 0.99232 | -0.14586 | 0 | 0
56 | 0.98503 | -0.2869 | 0.0019651 | 0.0004925
57 | 0.99105 | -0.17025 | 0.0073479 | 0.0018416
58 | 0.99206 | -0.15082 | 0.0025251 | 0.00063285
59 | 0.98602 | -0.26751 | 0 | 0
60 | 0.99221 | -0.14805 | 0.00365 | 0.00091478
61 | 0.99404 | -0.11309 | 0 | 0
62 | 0.98231 | -0.33879 | 0.0049145 | 0.0012317
63 | 0.98576 | -0.27258 | 0.0052612 | 0.0013186
64 | 0.98576 | -0.27243 | 0 | 0
65 | 0.98575 | -0.2727 | 0 | 0
66 | 0.98563 | -0.27502 | 0.00249 | 0.00062405
67 | 0.98406 | -0.30548 | 0.0017749 | 0.00044484
68 | 0.98334 | -0.31947 | 0.0023924 | 0.0005996
69 | 0.97765 | -0.43054 | 0 | 0
70 | 0.97596 | -0.4637 | 0.0093888 | 0.0023531
71 | 0.98024 | -0.37976 | 0.0063233 | 0.0015848
72 | 0.97569 | -0.46906 | 0 | 0
73 | 0.98197 | -0.34604 | 0 | 0
74 | 0.97489 | -0.48484 | 0.0099967 | 0.0025054
75 | 0.98307 | -0.32476 | 0.0023897 | 0.0005989
76 | 0.98296 | -0.32683 | 0.0025196 | 0.00063146
77 | 0.98502 | -0.28707 | 0.0012259 | 0.00030724
78 | 0.99329 | -0.12759 | 0.0013596 | 0.00034075
79 | 0.99316 | -0.12999 | 0.0051941 | 0.0013018
80 | 1 | 0 | -0.23966 | -0.061182
81 | 0.99289 | -0.13491 | 0.0025235 | 0.00063244
82 | 0.9909 | -0.17306 | 0.0035478 | 0.00088916
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00094141 | 0.00023577 | -0.0009414 | -0.00023594 | 1.0591e-08 | -1.6801e-07 | 0.0014281 | 0.0014282 | 0.0014282 | 0.98088 | -0.36719 | 0.98087 | -0.36743 | 0.39235
1 | -0.00503 | -0.0012605 | 0.0050309 | 0.0012605 | 8.8228e-07 | 5.451e-08 | 0.0076305 | 0.0076304 | 0.0076305 | 0.98088 | -0.36719 | 0.98107 | -0.36351 | 2.0963
2 | -0.0050309 | -0.0012605 | 0.0050316 | 0.0012606 | 7.2779e-07 | 4.48e-08 | 0.0076304 | 0.0076302 | 0.0076304 | 0.98107 | -0.36351 | 0.98122 | -0.36047 | 2.0963
3 | -0.010503 | -0.0026317 | 0.010509 | 0.0026352 | 6.8058e-06 | 3.4514e-06 | 0.015927 | 0.015927 | 0.015927 | 0.98122 | -0.36047 | 0.98191 | -0.34687 | 4.3756
4 | 0.005471 | 0.0013712 | -0.0054709 | -0.0013711 | 1.6389e-07 | 2.4698e-08 | 0.0082968 | 0.0082968 | 0.0082968 | 0.98122 | -0.36047 | 0.98119 | -0.3611 | 2.2793
5 | -0.038261 | -0.0095926 | 0.038347 | 0.009647 | 8.6289e-05 | 5.4357e-05 | 0.057983 | 0.057983 | 0.057983 | 0.98191 | -0.34687 | 0.98433 | -0.29966 | 15.9294
6 | 0.010933 | 0.0027436 | -0.010925 | -0.0027392 | 8.4458e-06 | 4.3686e-06 | 0.01657 | 0.01657 | 0.01657 | 0.98191 | -0.34687 | 0.98109 | -0.36309 | 4.5523
7 | 0.0014302 | 0.00035599 | -0.00143 | -0.00035716 | 1.7813e-07 | -1.1656e-06 | 0.0021665 | 0.002167 | 0.002167 | 0.98191 | -0.34687 | 0.98178 | -0.3495 | 0.59532
8 | 0.015388 | 0.0038579 | -0.015385 | -0.003856 | 3.2846e-06 | 1.8984e-06 | 0.02332 | 0.02332 | 0.02332 | 0.98191 | -0.34687 | 0.98169 | -0.35135 | 6.4066
9 | 0.0032494 | 0.0008143 | -0.0032493 | -0.00081436 | 8.6223e-08 | -6.5941e-08 | 0.0049121 | 0.0049122 | 0.0049122 | 0.98433 | -0.29966 | 0.9843 | -0.30022 | 1.3495
10 | -0.041597 | -0.010461 | 0.041645 | 0.010492 | 4.8165e-05 | 3.0412e-05 | 0.062895 | 0.062895 | 0.062895 | 0.98433 | -0.29966 | 0.98558 | -0.27545 | 17.2788
11 | 0.010925 | 0.0027392 | -0.01092 | -0.0027367 | 4.8996e-06 | 2.5352e-06 | 0.01657 | 0.01657 | 0.01657 | 0.98109 | -0.36309 | 0.98061 | -0.3725 | 4.5523
12 | 0.00143 | 0.00035716 | -0.0014299 | -0.00035807 | 1.3951e-07 | -9.123e-07 | 0.002167 | 0.0021673 | 0.0021673 | 0.98178 | -0.3495 | 0.98168 | -0.35155 | 0.59542
13 | 0.014176 | 0.0035531 | -0.014176 | -0.0035528 | 5.3361e-07 | 3.0255e-07 | 0.021488 | 0.021488 | 0.021488 | 0.98169 | -0.35135 | 0.98165 | -0.35214 | 5.9033
14 | 0.0042225 | 0.0010582 | -0.0042223 | -0.0010582 | 2.5489e-07 | -4.5713e-08 | 0.0064074 | 0.0064075 | 0.0064075 | 0.98061 | -0.3725 | 0.98054 | -0.37377 | 1.7603
15 | 0.010778 | 0.0027016 | -0.010775 | -0.0027003 | 2.6898e-06 | 1.3803e-06 | 0.016319 | 0.016319 | 0.016319 | 0.98275 | -0.33017 | 0.98248 | -0.33541 | 4.4832
16 | -0.010778 | -0.0027016 | 0.010778 | 0.0027018 | 2.7932e-07 | 1.4332e-07 | 0.016319 | 0.016319 | 0.016319 | 0.98275 | -0.33017 | 0.98278 | -0.32962 | 4.4832
17 | 0.0049153 | 0.0012317 | -0.0049145 | -0.0012317 | 7.9107e-07 | 2.433e-08 | 0.0074443 | 0.0074445 | 0.0074445 | 0.98248 | -0.33541 | 0.98231 | -0.33879 | 2.0452
18 | 0.063389 | 0.016065 | -0.063272 | -0.01599 | 0.00011682 | 7.4335e-05 | 0.09604 | 0.09604 | 0.09604 | 0.98278 | -0.32962 | 0.9808 | -0.36806 | 26.3847
19 | -0.074167 | -0.018767 | 0.074183 | 0.018777 | 1.6607e-05 | 1.0584e-05 | 0.11236 | 0.11236 | 0.11236 | 0.98278 | -0.32962 | 0.98302 | -0.32496 | 30.8679
20 | -0.12227 | -0.030955 | 0.12255 | 0.031129 | 0.00027403 | 0.00017429 | 0.18472 | 0.18472 | 0.18472 | 0.98558 | -0.27545 | 0.98799 | -0.22888 | 25.373
21 | 0.080626 | 0.020463 | -0.080556 | -0.020419 | 7.0826e-05 | 4.468e-05 | 0.12182 | 0.12182 | 0.12182 | 0.98558 | -0.27545 | 0.98463 | -0.29373 | 16.7337
22 | 0.00073665 | 0.00018433 | -0.00073665 | -0.00018452 | 7.2603e-09 | -1.917e-07 | 0.0011165 | 0.0011166 | 0.0011166 | 0.98168 | -0.35155 | 0.98167 | -0.35176 | 0.30675
23 | -0.12878 | -0.032693 | 0.12917 | 0.032938 | 0.00038516 | 0.0002451 | 0.19411 | 0.19411 | 0.19411 | 0.98799 | -0.22888 | 0.99122 | -0.16692 | 26.6637
24 | 0.077803 | 0.019729 | -0.077686 | -0.019655 | 0.00011662 | 7.3494e-05 | 0.11766 | 0.11766 | 0.11766 | 0.98463 | -0.29373 | 0.98302 | -0.32496 | 16.1623
25 | -0.0041399 | -0.0010375 | 0.0041405 | 0.0010374 | 6.6812e-07 | -1.3326e-07 | 0.0063065 | 0.0063063 | 0.0063065 | 0.9768 | -0.44632 | 0.97697 | -0.44293 | 1.7326
26 | 0.044504 | 0.011214 | -0.044448 | -0.011179 | 5.6282e-05 | 3.5612e-05 | 0.067806 | 0.067806 | 0.067806 | 0.97697 | -0.44293 | 0.97562 | -0.46941 | 18.628
27 | -0.048645 | -0.012252 | 0.048666 | 0.012265 | 2.1252e-05 | 1.3472e-05 | 0.074112 | 0.074112 | 0.074112 | 0.97697 | -0.44293 | 0.97743 | -0.4338 | 20.3605
28 | 0.0058283 | 0.0014607 | -0.0058282 | -0.0014606 | 7.6392e-08 | 1.6699e-08 | 0.0088893 | 0.0088893 | 0.0088893 | 0.97562 | -0.46941 | 0.97561 | -0.46968 | 2.4421
29 | 0.03862 | 0.0097182 | -0.03856 | -0.0096809 | 5.9147e-05 | 3.7288e-05 | 0.058917 | 0.058917 | 0.058917 | 0.97562 | -0.46941 | 0.97399 | -0.50151 | 16.186
30 | -0.051226 | -0.012907 | 0.05126 | 0.012929 | 3.4552e-05 | 2.1924e-05 | 0.078009 | 0.078009 | 0.078009 | 0.97743 | -0.4338 | 0.97815 | -0.41971 | 21.4311
31 | 0.0058282 | 0.0014606 | -0.0058267 | -0.0014603 | 1.5356e-06 | 3.3589e-07 | 0.0088893 | 0.0088895 | 0.0088895 | 0.97561 | -0.46968 | 0.97532 | -0.47521 | 2.4422
32 | 0.033575 | 0.0084313 | -0.033568 | -0.0084268 | 7.1645e-06 | 4.4949e-06 | 0.0513 | 0.0513 | 0.0513 | 0.97399 | -0.50151 | 0.97376 | -0.50598 | 14.0934
33 | -0.053827 | -0.013572 | 0.05396 | 0.013657 | 0.00013344 | 8.4731e-05 | 0.081913 | 0.081913 | 0.081913 | 0.97815 | -0.41971 | 0.9808 | -0.36806 | 22.5037
34 | 0.033568 | 0.0084268 | -0.033565 | -0.0084251 | 2.8363e-06 | 1.7795e-06 | 0.0513 | 0.0513 | 0.0513 | 0.97376 | -0.50598 | 0.97367 | -0.50776 | 14.0934
35 | -0.0045126 | -0.001131 | 0.0045128 | 0.001131 | 2.1783e-07 | -1.1445e-08 | 0.0069085 | 0.0069084 | 0.0069085 | 0.97197 | -0.54136 | 0.97202 | -0.54034 | 1.8979
36 | -0.016733 | -0.0041939 | 0.016742 | 0.0041992 | 8.8537e-06 | 5.2201e-06 | 0.025616 | 0.025616 | 0.025616 | 0.97202 | -0.54034 | 0.97258 | -0.52924 | 7.0373
37 | 0.01222 | 0.003063 | -0.012219 | -0.0030625 | 9.7954e-07 | 5.3439e-07 | 0.018707 | 0.018707 | 0.018707 | 0.97202 | -0.54034 | 0.97194 | -0.54203 | 5.1394
38 | -0.022024 | -0.005523 | 0.022031 | 0.0055275 | 7.4123e-06 | 4.5278e-06 | 0.033697 | 0.033697 | 0.033697 | 0.97258 | -0.52924 | 0.97294 | -0.52218 | 9.2574
39 | 0.0057201 | 0.0014335 | -0.0057186 | -0.0014332 | 1.4795e-06 | 3.0951e-07 | 0.0087573 | 0.0087575 | 0.0087575 | 0.97194 | -0.54203 | 0.97166 | -0.54746 | 2.4059
40 | 0.0064991 | 0.0016289 | -0.006497 | -0.0016283 | 2.0926e-06 | 6.4099e-07 | 0.00995 | 0.0099503 | 0.0099503 | 0.97194 | -0.54203 | 0.97159 | -0.54879 | 2.7336
41 | -0.022031 | -0.0055275 | 0.022033 | 0.0055283 | 1.2421e-06 | 7.587e-07 | 0.033697 | 0.033697 | 0.033697 | 0.97294 | -0.52218 | 0.973 | -0.521 | 9.2574
42 | -0.028758 | -0.007214 | 0.028776 | 0.0072253 | 1.8173e-05 | 1.1319e-05 | 0.043983 | 0.043982 | 0.043983 | 0.973 | -0.521 | 0.97367 | -0.50776 | 12.0831
43 | 0.0067257 | 0.0016857 | -0.0067241 | -0.0016852 | 1.5798e-06 | 5.1662e-07 | 0.010286 | 0.010286 | 0.010286 | 0.973 | -0.521 | 0.97275 | -0.52593 | 2.8258
44 | 0.0047883 | 0.0011997 | -0.0047869 | -0.0011997 | 1.4253e-06 | 2.9708e-08 | 0.0073177 | 0.007318 | 0.007318 | 0.97367 | -0.50776 | 0.97335 | -0.514 | 2.0104
45 | 0.00073665 | 0.00018452 | -0.00073664 | -0.00018462 | 3.8614e-09 | -1.0194e-07 | 0.0011166 | 0.0011166 | 0.0011166 | 0.98167 | -0.35176 | 0.98166 | -0.35187 | 0.30676
46 | 0.010898 | 0.0027313 | -0.010896 | -0.0027305 | 1.7297e-06 | 8.8491e-07 | 0.01636 | 0.01636 | 0.01636 | 0.99122 | -0.16692 | 0.99105 | -0.17025 | 4.4945
47 | -0.14007 | -0.035669 | 0.14018 | 0.035739 | 0.00010887 | 6.9339e-05 | 0.21047 | 0.21047 | 0.21047 | 0.99122 | -0.16692 | 0.99206 | -0.15082 | 28.9109
48 | -0.022141 | -0.0055579 | 0.02215 | 0.0055635 | 9.2883e-06 | 5.6608e-06 | 0.033396 | 0.033396 | 0.033396 | 0.98659 | -0.25651 | 0.98704 | -0.24772 | 9.1748
49 | 0.020049 | 0.0050338 | -0.020031 | -0.0050229 | 1.8071e-05 | 1.0893e-05 | 0.030242 | 0.030242 | 0.030242 | 0.98659 | -0.25651 | 0.98562 | -0.27542 | 8.3084
50 | -0.025824 | -0.0064844 | 0.025843 | 0.0064961 | 1.9039e-05 | 1.1756e-05 | 0.038935 | 0.038935 | 0.038935 | 0.98704 | -0.24772 | 0.98784 | -0.23228 | 10.6965
51 | 0.017158 | 0.0043028 | -0.017153 | -0.0042998 | 4.9615e-06 | 2.9242e-06 | 0.025905 | 0.025905 | 0.025905 | 0.98562 | -0.27542 | 0.98531 | -0.28149 | 7.1167
52 | 0.052042 | 0.013164 | -0.052002 | -0.013138 | 4.033e-05 | 2.5588e-05 | 0.078436 | 0.078436 | 0.078436 | 0.98784 | -0.23228 | 0.987 | -0.24844 | 21.5483
53 | -0.077885 | -0.01966 | 0.078198 | 0.019859 | 0.00031282 | 0.00019943 | 0.11737 | 0.11737 | 0.11737 | 0.98784 | -0.23228 | 0.99217 | -0.14879 | 32.2447
54 | 0.014243 | 0.0035705 | -0.01424 | -0.0035686 | 3.3726e-06 | 1.911e-06 | 0.02151 | 0.02151 | 0.02151 | 0.98531 | -0.28149 | 0.98505 | -0.28646 | 5.9094
55 | 0.04738 | 0.01198 | -0.047364 | -0.01197 | 1.6537e-05 | 1.0473e-05 | 0.071469 | 0.071469 | 0.071469 | 0.987 | -0.24844 | 0.98663 | -0.25572 | 19.6343
56 | -0.080868 | -0.020529 | 0.080879 | 0.020536 | 1.1424e-05 | 7.2846e-06 | 0.12137 | 0.12137 | 0.12137 | 0.99217 | -0.14879 | 0.99232 | -0.14586 | 33.3447
57 | 0.0031911 | 0.0007996 | -0.003191 | -0.00079965 | 6.7044e-08 | -5.5038e-08 | 0.0048204 | 0.0048204 | 0.0048204 | 0.98505 | -0.28646 | 0.98503 | -0.2869 | 1.3243
58 | 0.042813 | 0.010829 | -0.042789 | -0.010814 | 2.4199e-05 | 1.529e-05 | 0.064605 | 0.064605 | 0.064605 | 0.98663 | -0.25572 | 0.98602 | -0.26751 | 17.7488
59 | 0.0036504 | 0.00091459 | -0.00365 | -0.00091478 | 3.8185e-07 | -1.9459e-07 | 0.0054738 | 0.0054739 | 0.0054739 | 0.99232 | -0.14586 | 0.99221 | -0.14805 | 1.5038
60 | -0.08453 | -0.02145 | 0.084663 | 0.021536 | 0.00013347 | 8.5135e-05 | 0.12685 | 0.12685 | 0.12685 | 0.99232 | -0.14586 | 0.99404 | -0.11309 | 34.8485
61 | 0.0012259 | 0.00030715 | -0.0012259 | -0.00030724 | 9.5829e-09 | -8.872e-08 | 0.0018518 | 0.0018519 | 0.0018519 | 0.98503 | -0.2869 | 0.98502 | -0.28707 | 0.50876
62 | 0.0035483 | 0.00088889 | -0.0035478 | -0.00088916 | 4.7493e-07 | -2.7093e-07 | 0.0053274 | 0.0053276 | 0.0053276 | 0.99105 | -0.17025 | 0.9909 | -0.17306 | 1.4636
63 | -0.1427 | -0.036371 | 0.14281 | 0.036441 | 0.00010964 | 6.9842e-05 | 0.21426 | 0.21426 | 0.21426 | 0.99206 | -0.15082 | 0.99289 | -0.13491 | 29.4311
64 | 0.035035 | 0.008871 | -0.034972 | -0.0088309 | 6.3741e-05 | 4.0021e-05 | 0.052905 | 0.052905 | 0.052905 | 0.98602 | -0.26751 | 0.98406 | -0.30548 | 14.5344
65 | 0.0077533 | 0.0019428 | -0.0077515 | -0.0019421 | 1.8171e-06 | 7.116e-07 | 0.011701 | 0.011701 | 0.011701 | 0.98602 | -0.26751 | 0.98576 | -0.27243 | 3.2145
66 | -0.23671 | -0.060351 | 0.23801 | 0.061181 | 0.0013 | 0.00083055 | 0.35471 | 0.35471 | 0.35471 | 0.99404 | -0.11309 | 1 | 0 | 48.7234
67 | 0.14549 | 0.037171 | -0.14533 | -0.037074 | 0.00015338 | 9.7717e-05 | 0.21804 | 0.21804 | 0.21804 | 0.99404 | -0.11309 | 0.99289 | -0.13491 | 29.9506
68 | 0.0065588 | 0.0016438 | -0.0065543 | -0.0016426 | 4.5296e-06 | 1.2759e-06 | 0.0098182 | 0.0098188 | 0.0098188 | 0.99404 | -0.11309 | 0.99329 | -0.12759 | 2.6975
69 | -0.0052612 | -0.0013186 | 0.0052612 | 0.0013186 | 3.6866e-08 | 3.7239e-09 | 0.0079419 | 0.0079419 | 0.0079419 | 0.98576 | -0.27258 | 0.98576 | -0.27243 | 2.1818
70 | 0.0024903 | 0.0006235 | -0.0024902 | -0.00062356 | 3.1939e-08 | -5.6405e-08 | 0.0037589 | 0.0037589 | 0.0037589 | 0.98576 | -0.27243 | 0.98575 | -0.2727 | 1.0327
71 | 0.0024902 | 0.00062356 | -0.00249 | -0.00062405 | 2.7519e-07 | -4.8586e-07 | 0.0037589 | 0.0037591 | 0.0037591 | 0.98575 | -0.2727 | 0.98563 | -0.27502 | 1.0327
72 | 0.033197 | 0.0083861 | -0.033175 | -0.0083722 | 2.2244e-05 | 1.3938e-05 | 0.050221 | 0.050221 | 0.050221 | 0.98406 | -0.30548 | 0.98334 | -0.31947 | 13.7971
73 | 0.030782 | 0.0077726 | -0.030774 | -0.0077677 | 7.8038e-06 | 4.8729e-06 | 0.046601 | 0.046601 | 0.046601 | 0.98334 | -0.31947 | 0.98307 | -0.32476 | 12.8025
74 | 0.019426 | 0.004882 | -0.019396 | -0.0048635 | 3.07e-05 | 1.8476e-05 | 0.029572 | 0.029573 | 0.029573 | 0.97765 | -0.43054 | 0.97596 | -0.4637 | 8.1244
75 | -0.019426 | -0.004882 | 0.019473 | 0.0049104 | 4.721e-05 | 2.8405e-05 | 0.029572 | 0.029572 | 0.029572 | 0.97765 | -0.43054 | 0.98024 | -0.37976 | 8.1243
76 | 0.010007 | 0.0025104 | -0.010004 | -0.0025091 | 2.5557e-06 | 1.2699e-06 | 0.015258 | 0.015258 | 0.015258 | 0.97596 | -0.4637 | 0.97569 | -0.46906 | 4.1918
77 | -0.025797 | -0.0064951 | 0.025838 | 0.0065209 | 4.1655e-05 | 2.5745e-05 | 0.03917 | 0.03917 | 0.03917 | 0.98024 | -0.37976 | 0.98197 | -0.34604 | 10.7611
78 | 0.010004 | 0.0025091 | -0.0099967 | -0.0025054 | 7.5231e-06 | 3.7395e-06 | 0.015258 | 0.015258 | 0.015258 | 0.97569 | -0.46906 | 0.97489 | -0.48484 | 4.1919
79 | -0.025838 | -0.0065209 | 0.025862 | 0.0065356 | 2.3797e-05 | 1.4706e-05 | 0.03917 | 0.03917 | 0.03917 | 0.98197 | -0.34604 | 0.98296 | -0.32683 | 10.761
80 | 0.028385 | 0.0071688 | -0.028382 | -0.007167 | 2.8141e-06 | 1.7495e-06 | 0.042984 | 0.042984 | 0.042984 | 0.98307 | -0.32476 | 0.98296 | -0.32683 | 11.8088
81 | 0.0051947 | 0.0013018 | -0.0051941 | -0.0013018 | 5.9524e-07 | 4.1737e-08 | 0.007782 | 0.0077821 | 0.0077821 | 0.99329 | -0.12759 | 0.99316 | -0.12999 | 2.1379

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24231 | 0.061846

## res_load
| p_mw | q_mvar
0 | 0.0040886 | 0.0010247
1 | 0.0009414 | 0.00023594
2 | 0.0054709 | 0.0013711
3 | 0.0012087 | 0.00030292
4 | 0.0066974 | 0.0016785
5 | 0.0058596 | 0.0014686
6 | 0.0032493 | 0.00081436
7 | 0.00069325 | 0.00017374
8 | 0.0062391 | 0.0015637
9 | 0.0027525 | 0.00068984
10 | 0.014176 | 0.0035528
11 | 0.0042223 | 0.0010582
12 | 0.0041399 | 0.0010375
13 | 0.00256 | 0.00064159
14 | 0.0049857 | 0.0012495
15 | 0.0025664 | 0.00064321
16 | 0.0058267 | 0.0014603
17 | 0.0093117 | 0.0023337
18 | 0.0045126 | 0.001131
19 | 0.0052821 | 0.0013238
20 | 0.0057186 | 0.0014332
21 | 0.006497 | 0.0016283
22 | 0.0067241 | 0.0016852
23 | 0.0047869 | 0.0011997
24 | 0.00073664 | 0.00018462
25 | 0.0035032 | 0.00087798
26 | 0.0020913 | 0.00052412
27 | 0.0036741 | 0.00092081
28 | 0.0028733 | 0.00072011
29 | 0.0029099 | 0.0007293
30 | 0.0046213 | 0.0011582
31 | 0.00267 | 0.00066916
32 | 0.011049 | 0.002769
33 | 0.0045508 | 0.0011405
34 | 0.0019651 | 0.0004925
35 | 0.0073479 | 0.0018416
36 | 0.0025251 | 0.00063285
37 | 0.00365 | 0.00091478
38 | 0.0049145 | 0.0012317
39 | 0.0052612 | 0.0013186
40 | 0.00249 | 0.00062405
41 | 0.0017749 | 0.00044484
42 | 0.0023924 | 0.0005996
43 | 0.0093888 | 0.0023531
44 | 0.0063233 | 0.0015848
45 | 0.0099967 | 0.0025054
46 | 0.0023897 | 0.0005989
47 | 0.0025196 | 0.00063146
48 | 0.0012259 | 0.00030724
49 | 0.0013596 | 0.00034075
50 | 0.0051941 | 0.0013018
51 | 0.0026511 | 0.00066443
52 | 0.0025235 | 0.00063244
53 | 0.0035478 | 0.00088916

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1