## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1063-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1063-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1063-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1063-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1063-5_0_5_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_1063-5_0_5_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1063-5_0_5_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1063-5_0_5_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_1063-5_0_5_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_1063-5_0_5_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_1063-5_0_5_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_1063-5_0_5_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_1063-5_0_5_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_1063-5_0_5_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_1063-5_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1063-5_0_5_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_1063-5_0_5_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_1063-5_0_5_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_1063-5_0_5_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1063-5_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1063-5_0_5_node_6 | 0.4 | n |  | TRUE
21 | bus_LV_1063-5_0_5_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_1063-5_0_5_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_1063-5_0_5_node_5 | 0.4 | n |  | TRUE
24 | bus_LV_1063-5_0_5_node_7 | 0.4 | n |  | TRUE
25 | bus_LV_1063-5_0_5_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1063-5_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1063-5_0_5_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1063-5_0_5_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_1063-5_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1063-5_0_5_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1063-5_0_5_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1063-5_0_5_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_1063-5_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1063-5_0_5_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1063-5_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1063-5_0_5_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1063-5_0_5_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1063-5_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1063-5_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_1063-5_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1063-5_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_MV_211_2_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1063-5_0_5_load_0 | 0 | 0.010278 | 0.0025759 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1063-5_0_5_load_1 | 1 | 0.0038395 | 0.00096227 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1063-5_0_5_load_2 | 2 | 0.010815 | 0.0027105 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1063-5_0_5_load_36 | 7 | 0.003674 | 0.00092079 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1063-5_0_5_load_41 | 9 | 0.026983 | 0.0067625 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1063-5_0_5_load_39 | 12 | 0.0036062 | 0.00090379 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1063-5_0_5_load_37 | 13 | 0.016291 | 0.0040829 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1063-5_0_5_load_43 | 15 | 0.011207 | 0.0028087 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1063-5_0_5_load_44 | 16 | 0.016608 | 0.0041625 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1063-5_0_5_load_40 | 17 | 0.0091222 | 0.0022862 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1063-5_0_5_load_8 | 21 | 0.0067337 | 0.0016876 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1063-5_0_5_load_9 | 22 | 0.015913 | 0.0039883 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1063-5_0_5_load_5 | 23 | 0.089601 | 0.022456 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1063-5_0_5_load_26 | 26 | 0.038081 | 0.009544 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1063-5_0_5_load_30 | 27 | 0.012552 | 0.0031457 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1063-5_0_5_load_38 | 28 | 0.0072864 | 0.0018262 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1063-5_0_5_load_24 | 29 | 0.030189 | 0.007566 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1063-5_0_5_load_32 | 30 | 0.055602 | 0.013935 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1063-5_0_5_load_27 | 31 | 0.011531 | 0.0028899 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1063-5_0_5_load_42 | 32 | 0.0036061 | 0.00090378 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1063-5_0_5_load_23 | 35 | 0.042681 | 0.010697 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1063-5_0_5_load_31 | 36 | 0.01614 | 0.004045 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1063-5_0_5_load_33 | 37 | 0.01637 | 0.0041028 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1063-5_0_5_load_29 | 38 | 0.015846 | 0.0039713 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1063-5_0_5_load_22 | 39 | 0.041856 | 0.01049 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1063-5_0_5_load_35 | 40 | 0.034333 | 0.0086046 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1063-5_0_5_load_28 | 41 | 0.007115 | 0.0017832 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1063-5_0_5_line_0 |  | 0 | 1 | 0.017878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1063-5_0_5_line_1 |  | 0 | 2 | 0.044942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1063-5_0_5_line_2 |  | 1 | 3 | 0.094209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1063-5_0_5_line_3 |  | 3 | 4 | 0.057965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1063-5_0_5_line_4 |  | 4 | 27 | 0.065599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1063-5_0_5_line_5 |  | 5 | 6 | 0.017471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1063-5_0_5_line_6 |  | 5 | 7 | 0.017967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1063-5_0_5_line_7 |  | 6 | 16 | 0.022481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1063-5_0_5_line_8 |  | 7 | 18 | 0.013298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1063-5_0_5_line_9 |  | 8 | 9 | 0.063897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1063-5_0_5_line_10 |  | 8 | 10 | 0.017025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1063-5_0_5_line_11 |  | 9 | 32 | 0.03503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1063-5_0_5_line_12 |  | 10 | 17 | 0.0086853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1063-5_0_5_line_13 |  | 10 | 14 | 0.057617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1063-5_0_5_line_14 |  | 11 | 12 | 0.026781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1063-5_0_5_line_15 |  | 11 | 13 | 0.035286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1063-5_0_5_line_16 |  | 13 | 28 | 0.038962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1063-5_0_5_line_17 |  | 14 | 15 | 0.041582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1063-5_0_5_line_18 |  | 17 | 21 | 0.037258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1063-5_0_5_line_19 |  | 18 | 19 | 0.004489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1063-5_0_5_line_20 |  | 19 | 26 | 0.070512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1063-5_0_5_line_21 |  | 19 | 20 | 0.012824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_1063-5_0_5_line_22 |  | 20 | 21 | 0.052237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1063-5_0_5_line_23 |  | 20 | 22 | 0.015544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1063-5_0_5_line_24 |  | 20 | 23 | 0.039794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1063-5_0_5_line_25 |  | 22 | 28 | 0.039193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1063-5_0_5_line_26 |  | 23 | 24 | 0.099049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1063-5_0_5_line_27 |  | 24 | 25 | 0.009681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1063-5_0_5_line_28 |  | 25 | 29 | 0.011548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1063-5_0_5_line_29 |  | 25 | 30 | 0.0067354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1063-5_0_5_line_30 |  | 26 | 31 | 0.033222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1063-5_0_5_line_31 |  | 27 | 38 | 0.042098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1063-5_0_5_line_32 |  | 29 | 39 | 0.020868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1063-5_0_5_line_33 |  | 30 | 36 | 0.028395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1063-5_0_5_line_34 |  | 31 | 41 | 0.0054361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1063-5_0_5_line_35 |  | 33 | 34 | 0.021052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1063-5_0_5_line_36 |  | 33 | 35 | 0.045456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1063-5_0_5_line_37 |  | 34 | 40 | 0.018071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1063-5_0_5_line_38 |  | 34 | 37 | 0.043561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1063-5_0_5_line_39 |  | 35 | 39 | 0.019383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1063-5_0_5_line_40 |  | 38 | 41 | 0.031126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1063-5_0_5_trafo_23 | 0.63 MVA 20/0.4 kV | 42 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2671675.049 | 1211460.8276 | 2671688.5712 | 1211472.5218
1 | 2671675.049 | 1211460.8276 | 2671656.0943 | 1211444.4352 | 2671657.5354 | 1211424.6052
2 | 2671759.8368 | 1211534.1382 | 2671752.8047 | 1211528.072 | 2671688.5712 | 1211472.5218
3 | 2671722.024 | 1211542.3665 | 2671739.302 | 1211555.8049 | 2671742.6138 | 1211557.1789 | 2671745.4168 | 1211557.2682 | 2671747.2845 | 1211556.7681 | 2671751.3484 | 1211553.7373 | 2671756.6769 | 1211547.2862 | 2671758.4133 | 1211543.816 | 2671758.686 | 1211540.0948 | 2671757.6683 | 1211537.5254 | 2671758.2182 | 1211536.6648 | 2671759.8368 | 1211534.1382
4 | 2671722.024 | 1211542.3665 | 2671717.5747 | 1211538.8997 | 2671704.8867 | 1211526.0725 | 2671689.5151 | 1211513.9691 | 2671684.2398 | 1211510.9372 | 2671671.4552 | 1211500.8783
5 | 2671539.1036 | 1211347.7374 | 2671556.2982 | 1211351.1012
6 | 2671539.1036 | 1211347.7374 | 2671538.1114 | 1211353.1622 | 2671535.1916 | 1211365.2676
7 | 2671558.3359 | 1211371.9054 | 2671555.2767 | 1211369.1003 | 2671554.1222 | 1211365.2507 | 2671556.2982 | 1211351.1012
8 | 2671532.0737 | 1211378.1944 | 2671535.1916 | 1211365.2676
9 | 2671440.3829 | 1211315.957 | 2671397.9702 | 1211363.7478
10 | 2671440.3829 | 1211315.957 | 2671446.5522 | 1211322.4126 | 2671452.9593 | 1211327.4036
11 | 2671397.9702 | 1211363.7478 | 2671387.701 | 1211375.3192 | 2671374.794 | 1211390.0151
12 | 2671452.9593 | 1211327.4036 | 2671457.6198 | 1211331.0284 | 2671459.8886 | 1211332.637
13 | 2671452.9593 | 1211327.4036 | 2671453.5216 | 1211326.7766 | 2671456.7798 | 1211323.1245 | 2671457.3806 | 1211322.4534 | 2671457.7734 | 1211322.0134 | 2671460.5541 | 1211318.9003 | 2671461.3396 | 1211318.0314 | 2671465.0902 | 1211321.4896 | 2671482.2639 | 1211336.1156 | 2671484.8552 | 1211337.3919 | 2671487.7918 | 1211337.7495 | 2671489.9467 | 1211337.3862 | 2671492.0406 | 1211337.0444 | 2671498.8631 | 1211334.6469
14 | 2671495.051 | 1211515.6925 | 2671470.8896 | 1211503.9957
15 | 2671495.051 | 1211515.6925 | 2671503.6579 | 1211481.4727
16 | 2671503.6579 | 1211481.4727 | 2671513.1614 | 1211443.6878
17 | 2671498.8631 | 1211334.6469 | 2671497.8112 | 1211331.7436 | 2671500.5518 | 1211320.5583 | 2671500.3651 | 1211318.388 | 2671498.2343 | 1211314.838 | 2671492.8421 | 1211310.7598 | 2671480.9152 | 1211303.6245
18 | 2671489.1313 | 1211355.6572 | 2671486.4361 | 1211353.2208 | 2671474.0164 | 1211342.6542 | 2671459.8886 | 1211332.637
19 | 2671532.0737 | 1211378.1944 | 2671535.6275 | 1211380.9499
20 | 2671535.6275 | 1211380.9499 | 2671541.4361 | 1211385.1444 | 2671549.8954 | 1211392.6283 | 2671555.1197 | 1211398.6503 | 2671582.8114 | 1211422.6752 | 2671588.2437 | 1211427.7281
21 | 2671527.6118 | 1211390.9601 | 2671528.3139 | 1211390.0791 | 2671531.2377 | 1211386.434 | 2671531.662 | 1211385.9055 | 2671532.2562 | 1211385.1566 | 2671535.2262 | 1211381.4565 | 2671535.6275 | 1211380.9499
22 | 2671527.6118 | 1211390.9601 | 2671524.7011 | 1211387.8121 | 2671489.1313 | 1211355.6572
23 | 2671527.6118 | 1211390.9601 | 2671524.3917 | 1211399.0377 | 2671522.7214 | 1211405.6786
24 | 2671527.6118 | 1211390.9601 | 2671530.8603 | 1211394.4568 | 2671538.3197 | 1211404.8416 | 2671546.3424 | 1211411.9756 | 2671554.2229 | 1211418.93 | 2671555.0494 | 1211419.4739
25 | 2671522.7214 | 1211405.6786 | 2671513.1614 | 1211443.6878
26 | 2671630.7037 | 1211483.1879 | 2671575.2241 | 1211433.7245 | 2671567.681 | 1211427.7858 | 2671555.0494 | 1211419.4739
27 | 2671630.7037 | 1211483.1879 | 2671624.3617 | 1211490.5164
28 | 2671624.3617 | 1211490.5164 | 2671615.8039 | 1211482.7626
29 | 2671624.3617 | 1211490.5164 | 2671629.3516 | 1211495.0403
30 | 2671588.2437 | 1211427.7281 | 2671596.7371 | 1211435.6282 | 2671598.8384 | 1211440.9901 | 2671610.7566 | 1211451.4602
31 | 2671638.2247 | 1211475.5908 | 2671641.528 | 1211478.4927 | 2671644.857 | 1211480.9676 | 2671649.4602 | 1211482.3904 | 2671668.469 | 1211498.5288 | 2671671.4552 | 1211500.8783
32 | 2671615.8039 | 1211482.7626 | 2671600.3396 | 1211468.7512
33 | 2671629.3516 | 1211495.0403 | 2671639.5614 | 1211504.2964 | 2671641.5038 | 1211508.3334 | 2671641.3847 | 1211513.1906 | 2671639.2538 | 1211518.0164
34 | 2671610.7566 | 1211451.4602 | 2671614.8406 | 1211455.048
35 | 2671548.9277 | 1211470.7435 | 2671545.7214 | 1211468.1701 | 2671545.6596 | 1211473.317 | 2671546.3174 | 1211478.0278 | 2671548.8374 | 1211484.6066
36 | 2671548.9277 | 1211470.7435 | 2671549.5888 | 1211466.949 | 2671553.3292 | 1211461.1124 | 2671558.6975 | 1211457.0298 | 2671564.59 | 1211454.8658 | 2671571.1478 | 1211453.6103 | 2671579.1554 | 1211453.762 | 2671583.448 | 1211455.1032 | 2671585.6546 | 1211456.2063
37 | 2671535.2416 | 1211472.6583 | 2671548.8374 | 1211484.6066
38 | 2671548.8374 | 1211484.6066 | 2671564.0921 | 1211497.6199 | 2671579.5322 | 1211512.2699 | 2671581.1922 | 1211513.7524
39 | 2671585.6546 | 1211456.2063 | 2671587.527 | 1211457.1423 | 2671600.3396 | 1211468.7512
40 | 2671638.2247 | 1211475.5908 | 2671614.8406 | 1211455.048

## bus_geodata
| x | y | coords
0 | 2671675.049 | 1211460.8276
1 | 2671688.5712 | 1211472.5218
2 | 2671657.5354 | 1211424.6052
3 | 2671759.8368 | 1211534.1382
4 | 2671722.024 | 1211542.3665
5 | 2671539.1036 | 1211347.7374
6 | 2671556.2982 | 1211351.1012
7 | 2671535.1916 | 1211365.2676
8 | 2671440.3829 | 1211315.957
9 | 2671397.9702 | 1211363.7478
10 | 2671452.9593 | 1211327.4036
11 | 2671495.051 | 1211515.6925
12 | 2671470.8896 | 1211503.9957
13 | 2671503.6579 | 1211481.4727
14 | 2671498.8631 | 1211334.6469
15 | 2671480.9152 | 1211303.6245
16 | 2671558.3359 | 1211371.9054
17 | 2671459.8886 | 1211332.637
18 | 2671532.0737 | 1211378.1944
19 | 2671535.6275 | 1211380.9499
20 | 2671527.6118 | 1211390.9601
21 | 2671489.1313 | 1211355.6572
22 | 2671522.7214 | 1211405.6786
23 | 2671555.0494 | 1211419.4739
24 | 2671630.7037 | 1211483.1879
25 | 2671624.3617 | 1211490.5164
26 | 2671588.2437 | 1211427.7281
27 | 2671671.4552 | 1211500.8783
28 | 2671513.1614 | 1211443.6878
29 | 2671615.8039 | 1211482.7626
30 | 2671629.3516 | 1211495.0403
31 | 2671610.7566 | 1211451.4602
32 | 2671374.794 | 1211390.0151
33 | 2671548.9277 | 1211470.7435
34 | 2671548.8374 | 1211484.6066
35 | 2671585.6546 | 1211456.2063
36 | 2671639.2538 | 1211518.0164
37 | 2671581.1922 | 1211513.7524
38 | 2671638.2247 | 1211475.5908
39 | 2671600.3396 | 1211468.7512
40 | 2671535.2416 | 1211472.6583
41 | 2671614.8406 | 1211455.048
42 | 2671548.9277 | 1211470.7435

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9709 | -0.56327 | 0.010278 | 0.0025759
1 | 0.97125 | -0.5563 | 0.0038395 | 0.00096227
2 | 0.97045 | -0.57226 | 0.010815 | 0.0027105
3 | 0.97345 | -0.51299 | 0 | 0
4 | 0.9748 | -0.48644 | 0 | 0
5 | 0.98366 | -0.31334 | 0 | 0
6 | 0.9834 | -0.31857 | 0 | 0
7 | 0.98394 | -0.30797 | 0.003674 | 0.00092079
8 | 0.97929 | -0.39867 | 0 | 0
9 | 0.97748 | -0.43426 | 0.026983 | 0.0067625
10 | 0.97977 | -0.38921 | 0 | 0
11 | 0.98223 | -0.3415 | 0 | 0
12 | 0.98214 | -0.34325 | 0.0036062 | 0.00090379
13 | 0.98234 | -0.3392 | 0.016291 | 0.0040829
14 | 0.97918 | -0.40095 | 0 | 0
15 | 0.97874 | -0.40942 | 0.011207 | 0.0028087
16 | 0.98305 | -0.3253 | 0.016608 | 0.0041625
17 | 0.98011 | -0.38262 | 0.0091222 | 0.0022862
18 | 0.98419 | -0.30311 | 0 | 0
19 | 0.98427 | -0.30147 | 0 | 0
20 | 0.98466 | -0.29396 | 0 | 0
21 | 0.98187 | -0.34826 | 0.0067337 | 0.0016876
22 | 0.98404 | -0.30601 | 0.015913 | 0.0039883
23 | 0.98679 | -0.25271 | 0.089601 | 0.022456
24 | 0.99413 | -0.1116 | 0 | 0
25 | 0.99485 | -0.097922 | 0 | 0
26 | 0.98187 | -0.34813 | 0.038081 | 0.009544
27 | 0.97633 | -0.45648 | 0.012552 | 0.0031457
28 | 0.98306 | -0.32521 | 0.0072864 | 0.0018262
29 | 0.99589 | -0.077988 | 0.030189 | 0.007566
30 | 0.99441 | -0.10643 | 0.055602 | 0.013935
31 | 0.97965 | -0.39147 | 0.011531 | 0.0028899
32 | 0.97736 | -0.43657 | 0.0036061 | 0.00090378
33 | 0.9979 | -0.040257 | 0 | 0
34 | 0.99693 | -0.058959 | 0 | 0
35 | 1 | 0 | -0.52311 | -0.13311
36 | 0.99399 | -0.11452 | 0.01614 | 0.004045
37 | 0.99628 | -0.071473 | 0.01637 | 0.0041028
38 | 0.9778 | -0.42766 | 0.015846 | 0.0039713
39 | 0.99793 | -0.039316 | 0.041856 | 0.01049
40 | 0.99637 | -0.069846 | 0.034333 | 0.0086046
41 | 0.97934 | -0.39744 | 0.007115 | 0.0017832
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.021098 | -0.0052889 | 0.021105 | 0.0052931 | 7.0095e-06 | 4.2649e-06 | 0.032335 | 0.032335 | 0.032335 | 0.9709 | -0.56327 | 0.97125 | -0.5563 | 8.8833
1 | 0.01082 | 0.002713 | -0.010815 | -0.0027105 | 4.6347e-06 | 2.4107e-06 | 0.016583 | 0.016583 | 0.016583 | 0.9709 | -0.56327 | 0.97045 | -0.57226 | 4.5558
2 | -0.024944 | -0.0062554 | 0.024996 | 0.0062873 | 5.1599e-05 | 3.1855e-05 | 0.038217 | 0.038217 | 0.038217 | 0.97125 | -0.5563 | 0.97345 | -0.51299 | 10.4993
3 | -0.024996 | -0.0062873 | 0.025028 | 0.0063069 | 3.1747e-05 | 1.9597e-05 | 0.038217 | 0.038217 | 0.038217 | 0.97345 | -0.51299 | 0.9748 | -0.48644 | 10.4992
4 | -0.025028 | -0.0063069 | 0.025064 | 0.006329 | 3.5928e-05 | 2.2175e-05 | 0.038217 | 0.038217 | 0.038217 | 0.9748 | -0.48644 | 0.97633 | -0.45648 | 10.4991
5 | 0.016618 | 0.004168 | -0.016614 | -0.0041656 | 4.1406e-06 | 2.4282e-06 | 0.025139 | 0.025139 | 0.025139 | 0.98366 | -0.31334 | 0.9834 | -0.31857 | 6.9065
6 | -0.016618 | -0.004168 | 0.016622 | 0.0041705 | 4.2582e-06 | 2.4971e-06 | 0.025139 | 0.025139 | 0.025139 | 0.98366 | -0.31334 | 0.98394 | -0.30797 | 6.9064
7 | 0.016614 | 0.0041656 | -0.016608 | -0.0041625 | 5.328e-06 | 3.1248e-06 | 0.025139 | 0.02514 | 0.02514 | 0.9834 | -0.31857 | 0.98305 | -0.3253 | 6.9065
8 | -0.020296 | -0.0050913 | 0.020301 | 0.0050941 | 4.6984e-06 | 2.838e-06 | 0.030696 | 0.030695 | 0.030696 | 0.98394 | -0.30797 | 0.98419 | -0.30311 | 8.4328
9 | 0.030641 | 0.0076985 | -0.030589 | -0.0076661 | 5.1957e-05 | 3.245e-05 | 0.046565 | 0.046566 | 0.046566 | 0.97929 | -0.39867 | 0.97748 | -0.43426 | 12.7928
10 | -0.030641 | -0.0076985 | 0.030655 | 0.0077072 | 1.3843e-05 | 8.6455e-06 | 0.046565 | 0.046565 | 0.046565 | 0.97929 | -0.39867 | 0.97977 | -0.38921 | 12.7927
11 | 0.0036065 | 0.00090359 | -0.0036061 | -0.00090378 | 3.9596e-07 | -1.8564e-07 | 0.0054901 | 0.0054903 | 0.0054903 | 0.97748 | -0.43426 | 0.97736 | -0.43657 | 1.5083
12 | -0.041873 | -0.010522 | 0.041886 | 0.01053 | 1.3176e-05 | 8.3231e-06 | 0.063603 | 0.063603 | 0.063603 | 0.97977 | -0.38921 | 0.98011 | -0.38262 | 17.4734
13 | 0.011218 | 0.0028144 | -0.011211 | -0.0028111 | 6.2722e-06 | 3.289e-06 | 0.017038 | 0.017038 | 0.017038 | 0.97977 | -0.38921 | 0.97918 | -0.40095 | 4.6808
14 | 0.0036065 | 0.00090365 | -0.0036062 | -0.00090379 | 2.9979e-07 | -1.4707e-07 | 0.0054635 | 0.0054636 | 0.0054636 | 0.98223 | -0.3415 | 0.98214 | -0.34325 | 1.501
15 | -0.0036065 | -0.00090365 | 0.0036069 | 0.00090345 | 3.9497e-07 | -1.9389e-07 | 0.0054635 | 0.0054634 | 0.0054635 | 0.98223 | -0.3415 | 0.98234 | -0.3392 | 1.501
16 | -0.019898 | -0.0049864 | 0.019911 | 0.0049944 | 1.3273e-05 | 8.001e-06 | 0.03014 | 0.03014 | 0.03014 | 0.98234 | -0.3392 | 0.98306 | -0.32521 | 8.2803
17 | 0.011211 | 0.0028111 | -0.011207 | -0.0028087 | 4.5267e-06 | 2.3743e-06 | 0.017038 | 0.017038 | 0.017038 | 0.97918 | -0.40095 | 0.97874 | -0.40942 | 4.6808
18 | -0.051008 | -0.012816 | 0.051092 | 0.012869 | 8.3816e-05 | 5.3172e-05 | 0.077453 | 0.077452 | 0.077453 | 0.98011 | -0.38262 | 0.98187 | -0.34826 | 21.2782
19 | -0.020301 | -0.0050941 | 0.020302 | 0.0050951 | 1.5861e-06 | 9.5805e-07 | 0.030695 | 0.030695 | 0.030695 | 0.98419 | -0.30311 | 0.98427 | -0.30147 | 8.4328
20 | 0.11073 | 0.028007 | -0.11048 | -0.027852 | 0.00024727 | 0.00015557 | 0.16749 | 0.1675 | 0.1675 | 0.98427 | -0.30147 | 0.98187 | -0.34813 | 15.3384
21 | -0.13103 | -0.033102 | 0.13108 | 0.033132 | 4.7223e-05 | 2.9571e-05 | 0.19819 | 0.19819 | 0.19819 | 0.98427 | -0.30147 | 0.98466 | -0.29396 | 13.612
22 | 0.057976 | 0.014653 | -0.057826 | -0.014557 | 0.00015052 | 9.5668e-05 | 0.087657 | 0.087657 | 0.087657 | 0.98466 | -0.29396 | 0.98187 | -0.34826 | 24.0817
23 | 0.043161 | 0.01084 | -0.043136 | -0.010824 | 2.4803e-05 | 1.5677e-05 | 0.065233 | 0.065233 | 0.065233 | 0.98466 | -0.29396 | 0.98404 | -0.30601 | 17.921
24 | -0.23222 | -0.058624 | 0.23268 | 0.058917 | 0.00045984 | 0.00029227 | 0.35108 | 0.35108 | 0.35108 | 0.98466 | -0.29396 | 0.98679 | -0.25271 | 24.1126
25 | 0.027223 | 0.006836 | -0.027198 | -0.0068205 | 2.4911e-05 | 1.5445e-05 | 0.041169 | 0.041169 | 0.041169 | 0.98404 | -0.30601 | 0.98306 | -0.32521 | 11.3103
26 | -0.32228 | -0.081373 | 0.32447 | 0.082772 | 0.002195 | 0.0013997 | 0.48619 | 0.48619 | 0.48619 | 0.98679 | -0.25271 | 0.99413 | -0.1116 | 33.3922
27 | -0.32447 | -0.082772 | 0.32469 | 0.082909 | 0.00021454 | 0.0001368 | 0.48619 | 0.48619 | 0.48619 | 0.99413 | -0.1116 | 0.99485 | -0.097922 | 33.3921
28 | -0.39647 | -0.10091 | 0.39685 | 0.10116 | 0.00038141 | 0.0002435 | 0.59355 | 0.59355 | 0.59355 | 0.99485 | -0.097922 | 0.99589 | -0.077988 | 40.7658
29 | 0.071777 | 0.018002 | -0.071748 | -0.017984 | 2.9114e-05 | 1.8546e-05 | 0.10736 | 0.10736 | 0.10736 | 0.99485 | -0.097922 | 0.99441 | -0.10643 | 29.4954
30 | 0.072403 | 0.018308 | -0.072253 | -0.018212 | 0.00015016 | 9.5681e-05 | 0.10978 | 0.10978 | 0.10978 | 0.98187 | -0.34813 | 0.97965 | -0.39147 | 30.1606
31 | -0.037615 | -0.0094748 | 0.037667 | 0.0095075 | 5.1917e-05 | 3.2699e-05 | 0.057346 | 0.057346 | 0.057346 | 0.97633 | -0.45648 | 0.9778 | -0.42766 | 15.7545
32 | -0.42704 | -0.10872 | 0.42783 | 0.10923 | 0.00079796 | 0.00050961 | 0.63866 | 0.63866 | 0.63866 | 0.99589 | -0.077988 | 0.99793 | -0.039316 | 43.8638
33 | 0.016146 | 0.0040487 | -0.01614 | -0.004045 | 6.2162e-06 | 3.6101e-06 | 0.024162 | 0.024162 | 0.024162 | 0.99441 | -0.10643 | 0.99399 | -0.11452 | 6.6378
34 | 0.060723 | 0.015322 | -0.060705 | -0.015311 | 1.7356e-05 | 1.1039e-05 | 0.09227 | 0.09227 | 0.09227 | 0.97965 | -0.39147 | 0.97934 | -0.39744 | 25.349
35 | 0.050776 | 0.012753 | -0.050731 | -0.012724 | 4.5268e-05 | 2.8697e-05 | 0.075724 | 0.075724 | 0.075724 | 0.9979 | -0.040257 | 0.99693 | -0.058959 | 20.8032
36 | -0.050776 | -0.012753 | 0.050874 | 0.012815 | 9.7742e-05 | 6.196e-05 | 0.075724 | 0.075723 | 0.075724 | 0.9979 | -0.040257 | 1 | 0 | 20.8032
37 | 0.034351 | 0.0086158 | -0.034333 | -0.0086046 | 1.7816e-05 | 1.1167e-05 | 0.051274 | 0.051274 | 0.051274 | 0.99693 | -0.058959 | 0.99637 | -0.069846 | 14.0863
38 | 0.01638 | 0.0041084 | -0.01637 | -0.0041028 | 9.7653e-06 | 5.6822e-06 | 0.02445 | 0.02445 | 0.02445 | 0.99693 | -0.058959 | 0.99628 | -0.071473 | 6.717
39 | 0.47058 | 0.12029 | -0.46969 | -0.11972 | 0.00089312 | 0.00057058 | 0.70107 | 0.70107 | 0.70107 | 1 | 0 | 0.99793 | -0.039316 | 48.1502
40 | -0.053513 | -0.013479 | 0.05359 | 0.013528 | 7.7453e-05 | 4.9179e-05 | 0.08146 | 0.08146 | 0.08146 | 0.9778 | -0.42766 | 0.97934 | -0.39744 | 22.3791

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56579 | 0.1438

## res_load
| p_mw | q_mvar
0 | 0.010278 | 0.0025759
1 | 0.0038395 | 0.00096227
2 | 0.010815 | 0.0027105
3 | 0.003674 | 0.00092079
4 | 0.026983 | 0.0067625
5 | 0.0036062 | 0.00090379
6 | 0.016291 | 0.0040829
7 | 0.011207 | 0.0028087
8 | 0.016608 | 0.0041625
9 | 0.0091222 | 0.0022862
10 | 0.0067337 | 0.0016876
11 | 0.015913 | 0.0039883
12 | 0.089601 | 0.022456
13 | 0.038081 | 0.009544
14 | 0.012552 | 0.0031457
15 | 0.0072864 | 0.0018262
16 | 0.030189 | 0.007566
17 | 0.055602 | 0.013935
18 | 0.011531 | 0.0028899
19 | 0.0036061 | 0.00090378
20 | 0.042681 | 0.010697
21 | 0.01614 | 0.004045
22 | 0.01637 | 0.0041028
23 | 0.015846 | 0.0039713
24 | 0.041856 | 0.01049
25 | 0.034333 | 0.0086046
26 | 0.007115 | 0.0017832

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1