## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1201-14_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1201-14_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1201-14_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1201-14_0_6_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1201-14_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1201-14_0_6_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_1201-14_0_6_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_1201-14_0_6_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_1201-14_0_6_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_1201-14_0_6_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1201-14_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1201-14_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1201-14_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1201-14_0_6_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_1201-14_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1201-14_0_6_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1201-14_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1201-14_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1201-14_0_6_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_1201-14_0_6_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1201-14_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1201-14_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1201-14_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1201-14_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1201-14_0_6_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_1201-14_0_6_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_1201-14_0_6_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_1201-14_0_6_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_1201-14_0_6_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_1201-14_0_6_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_1201-14_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1201-14_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1201-14_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1201-14_0_6_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1201-14_0_6_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1201-14_0_6_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1201-14_0_6_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1201-14_0_6_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1201-14_0_6_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1201-14_0_6_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1201-14_0_6_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1201-14_0_6_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1201-14_0_6_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1201-14_0_6_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1201-14_0_6_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_1201-14_0_6_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1201-14_0_6_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_1201-14_0_6_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_1201-14_0_6_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_1201-14_0_6_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_1201-14_0_6_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_1201-14_0_6_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_1201-14_0_6_node_48 | 0.4 | n |  | TRUE
53 | bus_MV_14_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1201-14_0_6_load_0 | 0 | 0.0071542 | 0.001793 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1201-14_0_6_load_1 | 1 | 0.0065462 | 0.0016406 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1201-14_0_6_load_5 | 3 | 0.012456 | 0.0031217 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1201-14_0_6_load_60 | 7 | 0.011932 | 0.0029904 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1201-14_0_6_load_27 | 8 | 0.014606 | 0.0036607 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1201-14_0_6_load_7 | 10 | 0.010533 | 0.0026399 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1201-14_0_6_load_8 | 11 | 0.0084831 | 0.0021261 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1201-14_0_6_load_9 | 12 | 0.025637 | 0.0064253 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1201-14_0_6_load_15 | 13 | 0.050785 | 0.012728 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1201-14_0_6_load_14 | 15 | 0.0092539 | 0.0023192 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1201-14_0_6_load_56 | 18 | 0.043776 | 0.010971 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1201-14_0_6_load_13 | 20 | 0.008995 | 0.0022544 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1201-14_0_6_load_16 | 21 | 0.029334 | 0.0073518 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1201-14_0_6_load_17 | 22 | 0.094623 | 0.023715 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1201-14_0_6_load_54 | 25 | 0.0032195 | 0.00080689 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1201-14_0_6_load_55 | 27 | 0.0079227 | 0.0019856 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1201-14_0_6_load_36 | 28 | 0.020778 | 0.0052075 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1201-14_0_6_load_35 | 29 | 0.0064246 | 0.0016102 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1201-14_0_6_load_23 | 30 | 0.010743 | 0.0026925 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1201-14_0_6_load_28 | 33 | 0.0056195 | 0.0014084 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1201-14_0_6_load_32 | 34 | 0.0065192 | 0.0016339 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1201-14_0_6_load_29 | 35 | 0.00511 | 0.0012807 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1201-14_0_6_load_33 | 36 | 0.013025 | 0.0032644 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1201-14_0_6_load_30 | 38 | 0.0082781 | 0.0020747 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1201-14_0_6_load_31 | 40 | 0.04708 | 0.011799 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1201-14_0_6_load_40 | 41 | 0.010025 | 0.0025125 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1201-14_0_6_load_38 | 42 | 0.0062547 | 0.0015676 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1201-14_0_6_load_39 | 43 | 0.0050202 | 0.0012582 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1201-14_0_6_load_41 | 45 | 0.027251 | 0.0068297 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1201-14_0_6_load_44 | 46 | 0.023979 | 0.0060098 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1201-14_0_6_load_53 | 47 | 0.0075445 | 0.0018908 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1201-14_0_6_load_58 | 49 | 0.017824 | 0.0044671 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1201-14_0_6_load_59 | 51 | 0.013883 | 0.0034795 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1201-14_0_6_load_48 | 52 | 0.014396 | 0.0036081 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1201-14_0_6_line_0 |  | 0 | 1 | 0.021792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1201-14_0_6_line_1 |  | 1 | 2 | 0.012824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1201-14_0_6_line_2 |  | 2 | 3 | 0.0031392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1201-14_0_6_line_3 |  | 3 | 4 | 0.03668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1201-14_0_6_line_4 |  | 4 | 10 | 0.015213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1201-14_0_6_line_5 |  | 4 | 11 | 0.037084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1201-14_0_6_line_6 |  | 5 | 6 | 0.060555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1201-14_0_6_line_7 |  | 5 | 7 | 0.021456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1201-14_0_6_line_8 |  | 6 | 49 | 0.012429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1201-14_0_6_line_9 |  | 6 | 41 | 0.0058156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1201-14_0_6_line_10 |  | 7 | 16 | 0.023759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1201-14_0_6_line_11 |  | 8 | 9 | 0.0030859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1201-14_0_6_line_12 |  | 9 | 32 | 0.0136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1201-14_0_6_line_13 |  | 9 | 30 | 0.02055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1201-14_0_6_line_14 |  | 10 | 12 | 0.020038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1201-14_0_6_line_15 |  | 11 | 13 | 0.0074549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1201-14_0_6_line_16 |  | 12 | 14 | 0.032609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1201-14_0_6_line_17 |  | 13 | 15 | 0.01066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1201-14_0_6_line_18 |  | 14 | 16 | 0.005995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1201-14_0_6_line_19 |  | 14 | 17 | 0.00947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1201-14_0_6_line_20 |  | 15 | 20 | 0.016918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1201-14_0_6_line_21 |  | 17 | 18 | 0.013697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1201-14_0_6_line_22 |  | 18 | 19 | 0.024345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1201-14_0_6_line_23 |  | 19 | 23 | 0.037591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1201-14_0_6_line_24 |  | 21 | 22 | 0.01993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1201-14_0_6_line_25 |  | 21 | 23 | 0.027761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1201-14_0_6_line_26 |  | 24 | 25 | 0.018368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1201-14_0_6_line_27 |  | 24 | 26 | 0.026018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1201-14_0_6_line_28 |  | 25 | 27 | 0.0082376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1201-14_0_6_line_29 |  | 26 | 52 | 0.021408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1201-14_0_6_line_30 |  | 28 | 29 | 0.036409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1201-14_0_6_line_31 |  | 29 | 37 | 0.029062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1201-14_0_6_line_32 |  | 30 | 31 | 0.004982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1201-14_0_6_line_33 |  | 31 | 33 | 0.020558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1201-14_0_6_line_34 |  | 32 | 34 | 0.021616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1201-14_0_6_line_35 |  | 32 | 35 | 0.013127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1201-14_0_6_line_36 |  | 33 | 36 | 0.034645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1201-14_0_6_line_37 |  | 34 | 37 | 0.033776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1201-14_0_6_line_38 |  | 35 | 38 | 0.022722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1201-14_0_6_line_39 |  | 36 | 39 | 0.046065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1201-14_0_6_line_40 |  | 37 | 42 | 0.01216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1201-14_0_6_line_41 |  | 37 | 43 | 0.029342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1201-14_0_6_line_42 |  | 38 | 40 | 0.0097282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1201-14_0_6_line_43 |  | 39 | 44 | 0.052622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1201-14_0_6_line_44 |  | 40 | 41 | 0.01232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1201-14_0_6_line_45 |  | 42 | 46 | 0.029448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1201-14_0_6_line_46 |  | 43 | 47 | 0.00096747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1201-14_0_6_line_47 |  | 44 | 45 | 0.058026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1201-14_0_6_line_48 |  | 47 | 48 | 0.022084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1201-14_0_6_line_49 |  | 48 | 50 | 0.053204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1201-14_0_6_line_50 |  | 49 | 51 | 0.017581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1201-14_0_6_line_51 |  | 50 | 52 | 0.0041775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1201-14_0_6_trafo_60 | 0.63 MVA 20/0.4 kV | 53 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2691482.517 | 1193147.2223 | 2691503.2414 | 1193140.4849
1 | 2691515.1982 | 1193135.8495 | 2691503.4496 | 1193140.4172 | 2691503.2414 | 1193140.4849
2 | 2691515.1982 | 1193135.8495 | 2691518.1243 | 1193134.7127
3 | 2691552.3149 | 1193121.4302 | 2691518.1243 | 1193134.7127
4 | 2691552.3149 | 1193121.4302 | 2691565.5514 | 1193113.932
5 | 2691552.3149 | 1193121.4302 | 2691564.8338 | 1193144.2253 | 2691571.4369 | 1193153.1192
6 | 2691597.2569 | 1193009.2126 | 2691569.0758 | 1193062.838
7 | 2691569.0758 | 1193062.838 | 2691587.8168 | 1193073.284
8 | 2691597.2569 | 1193009.2126 | 2691606.3546 | 1193017.6808
9 | 2691597.2569 | 1193009.2126 | 2691593.048 | 1193005.1994
10 | 2691607.7672 | 1193086.0006 | 2691602.5079 | 1193081.4727 | 2691587.8168 | 1193073.284
11 | 2691541.7704 | 1192975.1194 | 2691539.6764 | 1192977.3861
12 | 2691541.7704 | 1192975.1194 | 2691551.1458 | 1192965.2454
13 | 2691541.7704 | 1192975.1194 | 2691527.6845 | 1192960.1563
14 | 2691565.5514 | 1193113.932 | 2691582.9861 | 1193104.0556
15 | 2691571.4369 | 1193153.1192 | 2691575.8809 | 1193159.1048
16 | 2691612.3192 | 1193089.9172 | 2691594.0709 | 1193097.7762 | 2691582.9861 | 1193104.0556
17 | 2691582.3065 | 1193167.6104 | 2691579.6374 | 1193164.1646 | 2691575.8809 | 1193159.1048
18 | 2691612.3192 | 1193089.9172 | 2691607.7672 | 1193086.0006
19 | 2691621.8148 | 1193090.1071 | 2691612.3192 | 1193089.9172
20 | 2691592.6665 | 1193180.9853 | 2691582.3065 | 1193167.6104
21 | 2691621.8148 | 1193090.1071 | 2691634.6136 | 1193094.9854
22 | 2691656.1215 | 1193105.876 | 2691644.9927 | 1193101.8251 | 2691636.8893 | 1193095.8528 | 2691634.6136 | 1193094.9854
23 | 2691656.1215 | 1193105.876 | 2691663.1604 | 1193106.1951 | 2691679.3839 | 1193101.6296 | 2691671.8749 | 1193113.0775
24 | 2691647.4879 | 1193152.824 | 2691658.6564 | 1193136.3168
25 | 2691671.8749 | 1193113.0775 | 2691661.7639 | 1193126.1865 | 2691662.1216 | 1193131.1952 | 2691658.6564 | 1193136.3168
26 | 2691705.5066 | 1192960.0723 | 2691692.9541 | 1192973.4813
27 | 2691705.5066 | 1192960.0723 | 2691686.2756 | 1192942.4885
28 | 2691692.9541 | 1192973.4813 | 2691687.3244 | 1192979.495 | 2691687.3244 | 1192979.495
29 | 2691686.2756 | 1192942.4885 | 2691670.4284 | 1192928.0959
30 | 2691598.2817 | 1192952.2584 | 2691601.5681 | 1192965.6506 | 2691607.3213 | 1192979.2474 | 2691611.9037 | 1192985.6273
31 | 2691589.2907 | 1192925.0811 | 2691596.1253 | 1192937.7605 | 2691598.2817 | 1192952.2584 | 2691598.2817 | 1192952.2584
32 | 2691524.2697 | 1192956.5287 | 2691527.6845 | 1192960.1563
33 | 2691524.2697 | 1192956.5287 | 2691510.1773 | 1192941.561
34 | 2691551.1458 | 1192965.2454 | 2691566.0314 | 1192949.5717
35 | 2691551.1458 | 1192965.2454 | 2691560.6466 | 1192974.3044
36 | 2691510.1773 | 1192941.561 | 2691486.4283 | 1192916.337
37 | 2691589.2907 | 1192925.0811 | 2691566.0314 | 1192949.5717
38 | 2691560.6466 | 1192974.3044 | 2691577.0913 | 1192989.9845
39 | 2691454.8506 | 1192882.7979 | 2691486.4283 | 1192916.337
40 | 2691589.2907 | 1192925.0811 | 2691582.5686 | 1192914.9482
41 | 2691589.2907 | 1192925.0811 | 2691606.5289 | 1192913.0261 | 2691612.5354 | 1192907.2878
42 | 2691577.0913 | 1192989.9845 | 2691584.1318 | 1192996.6978
43 | 2691454.8506 | 1192882.7979 | 2691502.4484 | 1192860.0776
44 | 2691593.048 | 1193005.1994 | 2691584.1318 | 1192996.6978
45 | 2691582.5686 | 1192914.9482 | 2691582.2566 | 1192914.4778 | 2691579.336 | 1192907.5619 | 2691578.7963 | 1192897.0025 | 2691576.0135 | 1192886.5643 | 2691576.0135 | 1192886.5643
46 | 2691612.5354 | 1192907.2878 | 2691613.2349 | 1192906.6195
47 | 2691502.4484 | 1192860.0776 | 2691530.45 | 1192890.9256 | 2691542.0558 | 1192902.4624
48 | 2691627.6113 | 1192889.9007 | 2691622.055 | 1192896.7867 | 2691617.1126 | 1192902.915 | 2691613.2349 | 1192906.6195
49 | 2691627.6113 | 1192889.9007 | 2691637.5631 | 1192899.1479 | 2691643.7388 | 1192904.5682 | 2691667.336 | 1192925.2873
50 | 2691606.3546 | 1193017.6808 | 2691619.2231 | 1193029.659
51 | 2691667.336 | 1192925.2873 | 2691670.4284 | 1192928.0959

## bus_geodata
| x | y | coords
0 | 2691482.517 | 1193147.2223
1 | 2691503.2414 | 1193140.4849
2 | 2691515.1982 | 1193135.8495
3 | 2691518.1243 | 1193134.7127
4 | 2691552.3149 | 1193121.4302
5 | 2691569.0758 | 1193062.838
6 | 2691597.2569 | 1193009.2126
7 | 2691587.8168 | 1193073.284
8 | 2691539.6764 | 1192977.3861
9 | 2691541.7704 | 1192975.1194
10 | 2691565.5514 | 1193113.932
11 | 2691571.4369 | 1193153.1192
12 | 2691582.9861 | 1193104.0556
13 | 2691575.8809 | 1193159.1048
14 | 2691612.3192 | 1193089.9172
15 | 2691582.3065 | 1193167.6104
16 | 2691607.7672 | 1193086.0006
17 | 2691621.8148 | 1193090.1071
18 | 2691634.6136 | 1193094.9854
19 | 2691656.1215 | 1193105.876
20 | 2691592.6665 | 1193180.9853
21 | 2691658.6564 | 1193136.3168
22 | 2691647.4879 | 1193152.824
23 | 2691671.8749 | 1193113.0775
24 | 2691705.5066 | 1192960.0723
25 | 2691692.9541 | 1192973.4813
26 | 2691686.2756 | 1192942.4885
27 | 2691687.3244 | 1192979.495
28 | 2691611.9037 | 1192985.6273
29 | 2691598.2817 | 1192952.2584
30 | 2691527.6845 | 1192960.1563
31 | 2691524.2697 | 1192956.5287
32 | 2691551.1458 | 1192965.2454
33 | 2691510.1773 | 1192941.561
34 | 2691566.0314 | 1192949.5717
35 | 2691560.6466 | 1192974.3044
36 | 2691486.4283 | 1192916.337
37 | 2691589.2907 | 1192925.0811
38 | 2691577.0913 | 1192989.9845
39 | 2691454.8506 | 1192882.7979
40 | 2691584.1318 | 1192996.6978
41 | 2691593.048 | 1193005.1994
42 | 2691582.5686 | 1192914.9482
43 | 2691612.5354 | 1192907.2878
44 | 2691502.4484 | 1192860.0776
45 | 2691542.0558 | 1192902.4624
46 | 2691576.0135 | 1192886.5643
47 | 2691613.2349 | 1192906.6195
48 | 2691627.6113 | 1192889.9007
49 | 2691606.3546 | 1193017.6808
50 | 2691667.336 | 1192925.2873
51 | 2691619.2231 | 1193029.659
52 | 2691670.4284 | 1192928.0959
53 | 2691587.8168 | 1193073.284

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98823 | -0.22595 | 0.0071542 | 0.001793
1 | 0.98838 | -0.22316 | 0.0065462 | 0.0016406
2 | 0.98854 | -0.22003 | 0 | 0
3 | 0.98858 | -0.21926 | 0.012456 | 0.0031217
4 | 0.98946 | -0.20217 | 0 | 0
5 | 0.99819 | -0.034409 | 0 | 0
6 | 0.99307 | -0.1322 | 0 | 0
7 | 1 | 0 | -0.59172 | -0.15059
8 | 0.98796 | -0.23064 | 0.014606 | 0.0036607
9 | 0.988 | -0.22984 | 0 | 0
10 | 0.99091 | -0.17413 | 0.010533 | 0.0026399
11 | 0.98682 | -0.25348 | 0.0084831 | 0.0021261
12 | 0.99301 | -0.13359 | 0.025637 | 0.0064253
13 | 0.98634 | -0.2627 | 0.050785 | 0.012728
14 | 0.9972 | -0.053321 | 0 | 0
15 | 0.98616 | -0.26618 | 0.0092539 | 0.0023192
16 | 0.99776 | -0.042554 | 0 | 0
17 | 0.99671 | -0.062606 | 0 | 0
18 | 0.99565 | -0.082782 | 0.043776 | 0.010971
19 | 0.99287 | -0.13599 | 0 | 0
20 | 0.98602 | -0.26891 | 0.008995 | 0.0022544
21 | 0.9854 | -0.2803 | 0.029334 | 0.0073518
22 | 0.98367 | -0.31421 | 0.094623 | 0.023715
23 | 0.98857 | -0.21873 | 0 | 0
24 | 0.98045 | -0.37689 | 0 | 0
25 | 0.98026 | -0.3806 | 0.0032195 | 0.00080689
26 | 0.98072 | -0.37164 | 0 | 0
27 | 0.9802 | -0.38179 | 0.0079227 | 0.0019856
28 | 0.98245 | -0.33778 | 0.020778 | 0.0052075
29 | 0.98315 | -0.32413 | 0.0064246 | 0.0016102
30 | 0.98693 | -0.25065 | 0.010743 | 0.0026925
31 | 0.98672 | -0.25474 | 0 | 0
32 | 0.9889 | -0.21255 | 0 | 0
33 | 0.98585 | -0.27165 | 0.0056195 | 0.0014084
34 | 0.98686 | -0.25196 | 0.0065192 | 0.0016339
35 | 0.98995 | -0.1923 | 0.00511 | 0.0012807
36 | 0.98456 | -0.29671 | 0.013025 | 0.0032644
37 | 0.98388 | -0.30989 | 0 | 0
38 | 0.99119 | -0.16829 | 0.0082781 | 0.0020747
39 | 0.9834 | -0.31931 | 0 | 0
40 | 0.99175 | -0.15755 | 0.04708 | 0.011799
41 | 0.99264 | -0.14056 | 0.010025 | 0.0025125
42 | 0.98354 | -0.31651 | 0.0062547 | 0.0015676
43 | 0.98285 | -0.33004 | 0.0050202 | 0.0012582
44 | 0.98207 | -0.34519 | 0 | 0
45 | 0.98061 | -0.37381 | 0.027251 | 0.0068297
46 | 0.98289 | -0.32924 | 0.023979 | 0.0060098
47 | 0.98282 | -0.33062 | 0.0075445 | 0.0018908
48 | 0.9823 | -0.3408 | 0 | 0
49 | 0.99271 | -0.13917 | 0.017824 | 0.0044671
50 | 0.98104 | -0.36538 | 0 | 0
51 | 0.99249 | -0.14348 | 0.013883 | 0.0034795
52 | 0.98094 | -0.36731 | 0.014396 | 0.0036081
53 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0071542 | -0.001793 | 0.0071551 | 0.0017933 | 9.4829e-07 | 3.2766e-07 | 0.010772 | 0.010772 | 0.010772 | 0.98823 | -0.22595 | 0.98838 | -0.22316 | 2.9594
1 | -0.013701 | -0.003434 | 0.013703 | 0.0034351 | 2.0463e-06 | 1.1452e-06 | 0.020628 | 0.020628 | 0.020628 | 0.98838 | -0.22316 | 0.98854 | -0.22003 | 5.6669
2 | -0.013703 | -0.0034351 | 0.013704 | 0.0034354 | 5.009e-07 | 2.8033e-07 | 0.020628 | 0.020628 | 0.020628 | 0.98854 | -0.22003 | 0.98858 | -0.21926 | 5.6669
3 | -0.02616 | -0.0065571 | 0.026181 | 0.0065703 | 2.1327e-05 | 1.3178e-05 | 0.039376 | 0.039376 | 0.039376 | 0.98858 | -0.21926 | 0.98946 | -0.20217 | 10.8176
4 | -0.10392 | -0.026141 | 0.10406 | 0.02623 | 0.0001394 | 8.9022e-05 | 0.15632 | 0.15632 | 0.15632 | 0.98946 | -0.20217 | 0.99091 | -0.17413 | 42.9452
5 | 0.077742 | 0.019571 | -0.077552 | -0.019449 | 0.00019018 | 0.00012124 | 0.11694 | 0.11694 | 0.11694 | 0.98946 | -0.20217 | 0.98682 | -0.25348 | 32.1277
6 | 0.27851 | 0.070956 | -0.2772 | -0.070122 | 0.0013073 | 0.00083432 | 0.41558 | 0.41558 | 0.41558 | 0.99819 | -0.034409 | 0.99307 | -0.1322 | 38.0572
7 | -0.27851 | -0.070956 | 0.27897 | 0.071252 | 0.0004632 | 0.00029561 | 0.41558 | 0.41558 | 0.41558 | 0.99819 | -0.034409 | 1 | 0 | 38.0572
8 | 0.031721 | 0.0079548 | -0.03171 | -0.0079482 | 1.053e-05 | 6.5786e-06 | 0.047532 | 0.047532 | 0.047532 | 0.99307 | -0.1322 | 0.99271 | -0.13917 | 13.0583
9 | 0.24548 | 0.062167 | -0.24538 | -0.062104 | 9.8474e-05 | 6.2798e-05 | 0.36805 | 0.36805 | 0.36805 | 0.99307 | -0.1322 | 0.99264 | -0.14056 | 33.7045
10 | 0.3111 | 0.079337 | -0.31047 | -0.07893 | 0.00063778 | 0.00040725 | 0.46341 | 0.46341 | 0.46341 | 1 | 0 | 0.99776 | -0.042554 | 42.437
11 | -0.014606 | -0.0036607 | 0.014607 | 0.0036611 | 5.6006e-07 | 3.1892e-07 | 0.022 | 0.021999 | 0.022 | 0.98796 | -0.23064 | 0.988 | -0.22984 | 6.0438
12 | -0.071497 | -0.018014 | 0.071557 | 0.018052 | 5.9173e-05 | 3.7696e-05 | 0.10771 | 0.10771 | 0.10771 | 0.988 | -0.22984 | 0.9889 | -0.21255 | 29.592
13 | 0.05689 | 0.014353 | -0.056834 | -0.014317 | 5.6619e-05 | 3.5974e-05 | 0.085715 | 0.085716 | 0.085716 | 0.988 | -0.22984 | 0.98693 | -0.25065 | 23.5482
14 | -0.1146 | -0.02887 | 0.11482 | 0.029012 | 0.00022266 | 0.00014224 | 0.17214 | 0.17214 | 0.17214 | 0.99091 | -0.17413 | 0.99301 | -0.13359 | 47.2906
15 | 0.069069 | 0.017323 | -0.069038 | -0.017304 | 3.0326e-05 | 1.9314e-05 | 0.10415 | 0.10415 | 0.10415 | 0.98682 | -0.25348 | 0.98634 | -0.2627 | 28.6135
16 | -0.14046 | -0.035437 | 0.141 | 0.035784 | 0.00054212 | 0.00034653 | 0.21055 | 0.21055 | 0.21055 | 0.99301 | -0.13359 | 0.9972 | -0.053321 | 57.8447
17 | 0.018253 | 0.0045759 | -0.01825 | -0.0045741 | 3.0315e-06 | 1.8041e-06 | 0.027537 | 0.027537 | 0.027537 | 0.98634 | -0.2627 | 0.98616 | -0.26618 | 7.5652
18 | -0.31031 | -0.078827 | 0.31047 | 0.07893 | 0.00016093 | 0.00010276 | 0.46341 | 0.46341 | 0.46341 | 0.9972 | -0.053321 | 0.99776 | -0.042554 | 42.437
19 | 0.16931 | 0.043044 | -0.16923 | -0.042995 | 7.5685e-05 | 4.8068e-05 | 0.25286 | 0.25286 | 0.25286 | 0.9972 | -0.053321 | 0.99671 | -0.062606 | 23.1555
20 | 0.0089962 | 0.0022549 | -0.008995 | -0.0022544 | 1.169e-06 | 5.3235e-07 | 0.013574 | 0.013574 | 0.013574 | 0.98616 | -0.26618 | 0.98602 | -0.26891 | 3.7292
21 | 0.16923 | 0.042995 | -0.16907 | -0.042891 | 0.0001642 | 0.00010473 | 0.25286 | 0.25286 | 0.25286 | 0.99671 | -0.062606 | 0.99565 | -0.082782 | 34.7332
22 | 0.12529 | 0.031919 | -0.12497 | -0.031714 | 0.00032073 | 0.00020495 | 0.18743 | 0.18743 | 0.18743 | 0.99565 | -0.082782 | 0.99287 | -0.13599 | 51.4928
23 | 0.12497 | 0.031714 | -0.12448 | -0.031398 | 0.00049523 | 0.00031646 | 0.18743 | 0.18743 | 0.18743 | 0.99287 | -0.13599 | 0.98857 | -0.21873 | 51.4929
24 | 0.094776 | 0.023812 | -0.094623 | -0.023715 | 0.00015313 | 9.775e-05 | 0.14314 | 0.14314 | 0.14314 | 0.9854 | -0.2803 | 0.98367 | -0.31421 | 39.3238
25 | -0.12411 | -0.031164 | 0.12448 | 0.031398 | 0.00036573 | 0.00023371 | 0.18743 | 0.18743 | 0.18743 | 0.9854 | -0.2803 | 0.98857 | -0.21873 | 51.4929
26 | 0.011145 | 0.0027937 | -0.011143 | -0.0027927 | 1.9706e-06 | 1.0296e-06 | 0.016914 | 0.016914 | 0.016914 | 0.98045 | -0.37689 | 0.98026 | -0.3806 | 4.6468
27 | -0.011145 | -0.0027937 | 0.011147 | 0.0027952 | 2.7913e-06 | 1.4582e-06 | 0.016914 | 0.016914 | 0.016914 | 0.98045 | -0.37689 | 0.98072 | -0.37164 | 4.6468
28 | 0.0079231 | 0.0019858 | -0.0079227 | -0.0019856 | 4.4684e-07 | 1.8214e-07 | 0.012027 | 0.012027 | 0.012027 | 0.98026 | -0.3806 | 0.9802 | -0.38179 | 3.3042
29 | -0.011147 | -0.0027952 | 0.01115 | 0.0027964 | 2.2966e-06 | 1.1997e-06 | 0.016914 | 0.016914 | 0.016914 | 0.98072 | -0.37164 | 0.98094 | -0.36731 | 4.6467
30 | -0.020778 | -0.0052075 | 0.020792 | 0.0052156 | 1.3522e-05 | 8.1925e-06 | 0.03147 | 0.03147 | 0.03147 | 0.98245 | -0.33778 | 0.98315 | -0.32413 | 8.6456
31 | -0.027216 | -0.0068258 | 0.027235 | 0.0068373 | 1.8493e-05 | 1.1467e-05 | 0.041194 | 0.041194 | 0.041194 | 0.98315 | -0.32413 | 0.98388 | -0.30989 | 11.317
32 | 0.046091 | 0.011625 | -0.046082 | -0.011619 | 9.0288e-06 | 5.7148e-06 | 0.069518 | 0.069518 | 0.069518 | 0.98693 | -0.25065 | 0.98672 | -0.25474 | 19.0983
33 | 0.046082 | 0.011619 | -0.046044 | -0.011595 | 3.7257e-05 | 2.3582e-05 | 0.069518 | 0.069518 | 0.069518 | 0.98672 | -0.25474 | 0.98585 | -0.27165 | 19.0984
34 | 0.10266 | 0.025961 | -0.10247 | -0.025838 | 0.00019365 | 0.00012366 | 0.15456 | 0.15456 | 0.15456 | 0.9889 | -0.21255 | 0.98686 | -0.25196 | 42.4626
35 | -0.17422 | -0.044013 | 0.17439 | 0.044121 | 0.00016932 | 0.00010803 | 0.26228 | 0.26228 | 0.26228 | 0.9889 | -0.21255 | 0.98995 | -0.1923 | 36.0273
36 | 0.040425 | 0.010187 | -0.040376 | -0.010156 | 4.84e-05 | 3.0535e-05 | 0.061036 | 0.061036 | 0.061036 | 0.98585 | -0.27165 | 0.98456 | -0.29671 | 16.7682
37 | 0.095951 | 0.024204 | -0.095686 | -0.024034 | 0.00026532 | 0.00016938 | 0.14473 | 0.14473 | 0.14473 | 0.98686 | -0.25196 | 0.98388 | -0.30989 | 39.7621
38 | -0.1795 | -0.045402 | 0.17971 | 0.045533 | 0.00020699 | 0.0001316 | 0.26996 | 0.26996 | 0.26996 | 0.98995 | -0.1923 | 0.99119 | -0.16829 | 24.7216
39 | 0.027351 | 0.0068921 | -0.027322 | -0.0068738 | 2.9538e-05 | 1.8319e-05 | 0.041351 | 0.041351 | 0.041351 | 0.98456 | -0.29671 | 0.9834 | -0.31931 | 11.3602
40 | 0.030258 | 0.0075923 | -0.030249 | -0.0075863 | 9.5508e-06 | 5.9581e-06 | 0.045766 | 0.045766 | 0.045766 | 0.98388 | -0.30989 | 0.98354 | -0.31651 | 12.573
41 | 0.038193 | 0.0096048 | -0.038156 | -0.0095817 | 3.6728e-05 | 2.3134e-05 | 0.057775 | 0.057775 | 0.057775 | 0.98388 | -0.30989 | 0.98285 | -0.33004 | 15.8722
42 | -0.18799 | -0.047608 | 0.18808 | 0.04767 | 9.6968e-05 | 6.1683e-05 | 0.28239 | 0.28239 | 0.28239 | 0.99119 | -0.16829 | 0.99175 | -0.15755 | 25.8596
43 | 0.027322 | 0.0068738 | -0.027288 | -0.0068528 | 3.3742e-05 | 2.0928e-05 | 0.041351 | 0.041351 | 0.041351 | 0.9834 | -0.31931 | 0.98207 | -0.34519 | 11.3603
44 | -0.23516 | -0.059469 | 0.23535 | 0.059592 | 0.00019192 | 0.00012235 | 0.35302 | 0.35302 | 0.35302 | 0.99175 | -0.15755 | 0.99264 | -0.14056 | 32.3283
45 | 0.023994 | 0.0060188 | -0.023979 | -0.0060098 | 1.4553e-05 | 8.9407e-06 | 0.036303 | 0.036303 | 0.036303 | 0.98354 | -0.31651 | 0.98289 | -0.32924 | 9.9733
46 | 0.033136 | 0.0083235 | -0.033135 | -0.0083229 | 9.1334e-07 | 5.7228e-07 | 0.050174 | 0.050174 | 0.050174 | 0.98285 | -0.33004 | 0.98282 | -0.33062 | 13.7842
47 | 0.027288 | 0.0068528 | -0.027251 | -0.0068297 | 3.7208e-05 | 2.308e-05 | 0.041351 | 0.041352 | 0.041352 | 0.98207 | -0.34519 | 0.98061 | -0.37381 | 11.3604
48 | 0.025591 | 0.0064321 | -0.025578 | -0.0064244 | 1.2436e-05 | 7.6796e-06 | 0.038752 | 0.038752 | 0.038752 | 0.98282 | -0.33062 | 0.9823 | -0.3408 | 10.6462
49 | 0.025578 | 0.0064244 | -0.025549 | -0.0064059 | 2.9962e-05 | 1.8503e-05 | 0.038752 | 0.038752 | 0.038752 | 0.9823 | -0.3408 | 0.98104 | -0.36538 | 10.6462
50 | 0.013886 | 0.0034811 | -0.013883 | -0.0034795 | 2.8564e-06 | 1.6008e-06 | 0.020815 | 0.020815 | 0.020815 | 0.99271 | -0.13917 | 0.99249 | -0.14348 | 5.7184
51 | 0.025549 | 0.0064059 | -0.025546 | -0.0064045 | 2.3525e-06 | 1.4529e-06 | 0.038752 | 0.038752 | 0.038752 | 0.98104 | -0.36538 | 0.98094 | -0.36731 | 10.6462

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60366 | 0.15358

## res_load
| p_mw | q_mvar
0 | 0.0071542 | 0.001793
1 | 0.0065462 | 0.0016406
2 | 0.012456 | 0.0031217
3 | 0.011932 | 0.0029904
4 | 0.014606 | 0.0036607
5 | 0.010533 | 0.0026399
6 | 0.0084831 | 0.0021261
7 | 0.025637 | 0.0064253
8 | 0.050785 | 0.012728
9 | 0.0092539 | 0.0023192
10 | 0.043776 | 0.010971
11 | 0.008995 | 0.0022544
12 | 0.029334 | 0.0073518
13 | 0.094623 | 0.023715
14 | 0.0032195 | 0.00080689
15 | 0.0079227 | 0.0019856
16 | 0.020778 | 0.0052075
17 | 0.0064246 | 0.0016102
18 | 0.010743 | 0.0026925
19 | 0.0056195 | 0.0014084
20 | 0.0065192 | 0.0016339
21 | 0.00511 | 0.0012807
22 | 0.013025 | 0.0032644
23 | 0.0082781 | 0.0020747
24 | 0.04708 | 0.011799
25 | 0.010025 | 0.0025125
26 | 0.0062547 | 0.0015676
27 | 0.0050202 | 0.0012582
28 | 0.027251 | 0.0068297
29 | 0.023979 | 0.0060098
30 | 0.0075445 | 0.0018908
31 | 0.017824 | 0.0044671
32 | 0.013883 | 0.0034795
33 | 0.014396 | 0.0036081

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1