## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1201-15_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1201-15_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1201-15_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1201-15_0_5_node_65 | 0.4 | n |  | TRUE
4 | bus_LV_1201-15_0_5_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_1201-15_0_5_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1201-15_0_5_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1201-15_0_5_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_1201-15_0_5_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1201-15_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1201-15_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1201-15_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1201-15_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1201-15_0_5_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_1201-15_0_5_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1201-15_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1201-15_0_5_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_1201-15_0_5_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1201-15_0_5_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1201-15_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1201-15_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1201-15_0_5_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1201-15_0_5_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1201-15_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1201-15_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1201-15_0_5_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_1201-15_0_5_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_1201-15_0_5_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_1201-15_0_5_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1201-15_0_5_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_1201-15_0_5_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_1201-15_0_5_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1201-15_0_5_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_1201-15_0_5_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_1201-15_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1201-15_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1201-15_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1201-15_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1201-15_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1201-15_0_5_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1201-15_0_5_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_1201-15_0_5_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_1201-15_0_5_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1201-15_0_5_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_1201-15_0_5_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_1201-15_0_5_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_1201-15_0_5_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_1201-15_0_5_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1201-15_0_5_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_1201-15_0_5_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_1201-15_0_5_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_1201-15_0_5_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_1201-15_0_5_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_1201-15_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_1201-15_0_5_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_1201-15_0_5_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_1201-15_0_5_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_1201-15_0_5_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_1201-15_0_5_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_1201-15_0_5_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_1201-15_0_5_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_1201-15_0_5_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_1201-15_0_5_node_64 | 0.4 | n |  | TRUE
63 | bus_MV_14_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1201-15_0_5_load_0 | 0 | 0.025209 | 0.0063179 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1201-15_0_5_load_65 | 3 | 0.0051031 | 0.001279 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1201-15_0_5_load_16 | 5 | 0.0020973 | 0.00052563 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1201-15_0_5_load_13 | 6 | 0.022079 | 0.0055335 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1201-15_0_5_load_3 | 7 | 0.0019047 | 0.00047736 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1201-15_0_5_load_4 | 8 | 0.0041616 | 0.001043 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1201-15_0_5_load_5 | 9 | 0.0044933 | 0.0011261 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1201-15_0_5_load_6 | 10 | 0.018309 | 0.0045886 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1201-15_0_5_load_11 | 12 | 0.013562 | 0.0033989 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1201-15_0_5_load_22 | 13 | 0.011957 | 0.0029966 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1201-15_0_5_load_20 | 14 | 0.0088171 | 0.0022098 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1201-15_0_5_load_9 | 15 | 0.0091352 | 0.0022895 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1201-15_0_5_load_41 | 16 | 0.0074216 | 0.00186 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1201-15_0_5_load_18 | 17 | 0.011953 | 0.0029957 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1201-15_0_5_load_8 | 18 | 0.0055542 | 0.001392 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1201-15_0_5_load_10 | 19 | 0.0087694 | 0.0021978 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1201-15_0_5_load_12 | 20 | 0.010979 | 0.0027517 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1201-15_0_5_load_24 | 22 | 0.009433 | 0.0023641 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1201-15_0_5_load_17 | 23 | 0.085465 | 0.02142 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1201-15_0_5_load_19 | 24 | 0.01552 | 0.0038896 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1201-15_0_5_load_43 | 26 | 0.0041688 | 0.0010448 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1201-15_0_5_load_58 | 30 | 0.025172 | 0.0063088 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1201-15_0_5_load_30 | 31 | 0.018493 | 0.0046347 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1201-15_0_5_load_45 | 32 | 0.0027766 | 0.00069589 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1201-15_0_5_load_51 | 33 | 0.0038151 | 0.00095615 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1201-15_0_5_load_26 | 34 | 0.024522 | 0.0061457 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1201-15_0_5_load_27 | 35 | 0.0039667 | 0.00099415 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1201-15_0_5_load_31 | 37 | 0.00571 | 0.0014311 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1201-15_0_5_load_38 | 39 | 0.0059777 | 0.0014982 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1201-15_0_5_load_48 | 40 | 0.022249 | 0.0055762 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1201-15_0_5_load_50 | 41 | 0.0031152 | 0.00078074 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1201-15_0_5_load_34 | 44 | 0.019277 | 0.0048313 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1201-15_0_5_load_57 | 48 | 0.0052814 | 0.0013236 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1201-15_0_5_load_56 | 49 | 0.0057144 | 0.0014322 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1201-15_0_5_load_52 | 50 | 0.012299 | 0.0030825 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1201-15_0_5_load_59 | 52 | 0.0094146 | 0.0023595 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1201-15_0_5_load_39 | 53 | 0.01076 | 0.0026966 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1201-15_0_5_load_40 | 54 | 0.0071949 | 0.0018032 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1201-15_0_5_load_61 | 55 | 0.0042339 | 0.0010611 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1201-15_0_5_load_55 | 56 | 0.0055806 | 0.0013986 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1201-15_0_5_load_54 | 58 | 0.0056787 | 0.0014232 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1201-15_0_5_load_44 | 59 | 0.0049661 | 0.0012446 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1201-15_0_5_load_46 | 60 | 0.0069664 | 0.0017459 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1201-15_0_5_load_62 | 61 | 0.0035806 | 0.00089738 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1201-15_0_5_load_64 | 62 | 0.09721 | 0.024363 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1201-15_0_5_line_0 |  | 0 | 1 | 0.02517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1201-15_0_5_line_1 |  | 1 | 2 | 0.014457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1201-15_0_5_line_2 |  | 2 | 3 | 0.022823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1201-15_0_5_line_3 |  | 2 | 4 | 0.075317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1201-15_0_5_line_4 |  | 4 | 5 | 0.0089082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1201-15_0_5_line_5 |  | 4 | 6 | 0.028479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1201-15_0_5_line_6 |  | 5 | 11 | 0.015004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1201-15_0_5_line_7 |  | 7 | 8 | 0.010548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_1201-15_0_5_line_8 |  | 7 | 9 | 0.014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_1201-15_0_5_line_9 |  | 8 | 10 | 0.019815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_1201-15_0_5_line_10 |  | 9 | 11 | 0.020451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1201-15_0_5_line_11 |  | 10 | 12 | 0.0055524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_1201-15_0_5_line_12 |  | 11 | 13 | 0.03086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1201-15_0_5_line_13 |  | 11 | 14 | 0.027209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1201-15_0_5_line_14 |  | 12 | 15 | 0.022799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_1201-15_0_5_line_15 |  | 13 | 16 | 0.011284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1201-15_0_5_line_16 |  | 14 | 17 | 0.02411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1201-15_0_5_line_17 |  | 15 | 18 | 0.0077548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_1201-15_0_5_line_18 |  | 16 | 25 | 0.033856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1201-15_0_5_line_19 |  | 17 | 23 | 0.010679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1201-15_0_5_line_20 |  | 18 | 19 | 0.01457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_1201-15_0_5_line_21 |  | 19 | 20 | 0.017698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_1201-15_0_5_line_22 |  | 20 | 21 | 0.029599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_1201-15_0_5_line_23 |  | 21 | 22 | 0.023311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_1201-15_0_5_line_24 |  | 22 | 27 | 0.024769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_1201-15_0_5_line_25 |  | 23 | 24 | 0.0081327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1201-15_0_5_line_26 |  | 25 | 26 | 0.011808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1201-15_0_5_line_27 |  | 26 | 57 | 0.013724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1201-15_0_5_line_28 |  | 27 | 31 | 0.021833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1201-15_0_5_line_29 |  | 28 | 29 | 0.12704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1201-15_0_5_line_30 |  | 28 | 30 | 0.065003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1201-15_0_5_line_31 |  | 29 | 32 | 0.032834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1201-15_0_5_line_32 |  | 30 | 33 | 0.00090728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1201-15_0_5_line_33 |  | 31 | 36 | 0.024694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_1201-15_0_5_line_34 |  | 32 | 59 | 0.025961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1201-15_0_5_line_35 |  | 33 | 43 | 0.027002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1201-15_0_5_line_36 |  | 34 | 35 | 0.014387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1201-15_0_5_line_37 |  | 34 | 36 | 0.024988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1201-15_0_5_line_38 |  | 36 | 37 | 0.019365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_1201-15_0_5_line_39 |  | 36 | 38 | 0.018497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_1201-15_0_5_line_40 |  | 37 | 39 | 0.0043304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_1201-15_0_5_line_41 |  | 38 | 40 | 0.028142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_1201-15_0_5_line_42 |  | 40 | 43 | 0.023255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_1201-15_0_5_line_43 |  | 41 | 42 | 0.01178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1201-15_0_5_line_44 |  | 42 | 46 | 0.031615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1201-15_0_5_line_45 |  | 42 | 45 | 0.069764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1201-15_0_5_line_46 |  | 43 | 50 | 0.030568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_1201-15_0_5_line_47 |  | 44 | 45 | 0.034596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1201-15_0_5_line_48 |  | 46 | 50 | 0.0055653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_1201-15_0_5_line_49 |  | 46 | 51 | 0.056669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1201-15_0_5_line_50 |  | 47 | 48 | 0.028782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1201-15_0_5_line_51 |  | 47 | 49 | 0.053772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1201-15_0_5_line_52 |  | 48 | 52 | 0.039035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1201-15_0_5_line_53 |  | 51 | 61 | 0.013006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1201-15_0_5_line_54 |  | 51 | 52 | 0.010765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1201-15_0_5_line_55 |  | 53 | 54 | 0.001307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1201-15_0_5_line_56 |  | 54 | 55 | 0.013051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1201-15_0_5_line_57 |  | 55 | 56 | 0.016185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1201-15_0_5_line_58 |  | 56 | 57 | 0.012027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1201-15_0_5_line_59 |  | 57 | 58 | 0.034451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1201-15_0_5_line_60 |  | 59 | 60 | 0.013808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1201-15_0_5_line_61 |  | 61 | 62 | 0.0083321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1201-15_0_5_trafo_38 | 0.63 MVA 20/0.4 kV | 63 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2691489.8485 | 1193113.6032 | 2691465.9304 | 1193121.4414
1 | 2691489.8485 | 1193113.6032 | 2691495.2148 | 1193100.1766
2 | 2691495.2148 | 1193100.1766 | 2691516.0965 | 1193109.5241
3 | 2691474.4103 | 1193048.9034 | 2691476.9976 | 1193050.1994 | 2691482.1649 | 1193052.7689 | 2691507.6558 | 1193063.8102 | 2691508.103 | 1193067.9641 | 2691501.7379 | 1193083.8881 | 2691495.2148 | 1193100.1766
4 | 2691474.4103 | 1193048.9034 | 2691480.2919 | 1193042.213
5 | 2691474.4103 | 1193048.9034 | 2691461.8446 | 1193072.9935 | 2691461.3505 | 1193074.2054
6 | 2691490.1983 | 1193030.9444 | 2691480.2919 | 1193042.213
7 | 2691463.9308 | 1193008.4966 | 2691458.5108 | 1193003.8648 | 2691456.0126 | 1193001.5306
8 | 2691463.9308 | 1193008.4966 | 2691474.6509 | 1193017.6578
9 | 2691456.0126 | 1193001.5306 | 2691441.5339 | 1192988.0023
10 | 2691490.1983 | 1193030.9444 | 2691474.6509 | 1193017.6578
11 | 2691437.4768 | 1192984.2115 | 2691441.5339 | 1192988.0023
12 | 2691490.1983 | 1193030.9444 | 2691511.1393 | 1193008.2765
13 | 2691490.1983 | 1193030.9444 | 2691508.0239 | 1193028.7933 | 2691516.1065 | 1193033.3004
14 | 2691420.8181 | 1192968.6463 | 2691437.4768 | 1192984.2115
15 | 2691518.7963 | 1192999.9881 | 2691511.1393 | 1193008.2765
16 | 2691537.1642 | 1193045.0429 | 2691516.1065 | 1193033.3004
17 | 2691420.8181 | 1192968.6463 | 2691415.1518 | 1192963.352
18 | 2691541.7704 | 1192975.1194 | 2691518.7963 | 1192999.9881
19 | 2691537.1642 | 1193045.0429 | 2691546.4908 | 1193050.2438
20 | 2691404.506 | 1192953.405 | 2691415.1518 | 1192963.352
21 | 2691404.506 | 1192953.405 | 2691395.1211 | 1192944.6362 | 2691391.2315 | 1192941.7316
22 | 2691368.9831 | 1192922.5117 | 2691374.039 | 1192928.893 | 2691391.2315 | 1192941.7316
23 | 2691368.9831 | 1192922.5117 | 2691390.1403 | 1192912.7248
24 | 2691412.623 | 1192902.3319 | 2691391.924 | 1192911.8997 | 2691390.1403 | 1192912.7248
25 | 2691553.5937 | 1193054.2046 | 2691546.4908 | 1193050.2438
26 | 2691541.7704 | 1192975.1194 | 2691533.6767 | 1192966.5216
27 | 2691524.2697 | 1192956.5287 | 2691533.6767 | 1192966.5216
28 | 2691412.623 | 1192902.3319 | 2691432.4381 | 1192893.1656
29 | 2691326.2105 | 1192852.4695 | 2691318.7007 | 1192842.5263 | 2691310.2329 | 1192833.9138 | 2691299.7859 | 1192828.6065 | 2691287.6918 | 1192825.3199 | 2691275.2721 | 1192824.8858 | 2691228.7937 | 1192787.7533 | 2691223.6337 | 1192783.6831
30 | 2691326.2105 | 1192852.4695 | 2691337.9402 | 1192852.6597 | 2691347.0272 | 1192856.1673 | 2691360.0485 | 1192866.6173 | 2691385.4817 | 1192858.0557
31 | 2691223.6337 | 1192783.6831 | 2691232.0381 | 1192775.973 | 2691248.5296 | 1192789.6561
32 | 2691386.0567 | 1192857.3539 | 2691385.4817 | 1192858.0557 | 2691385.4817 | 1192858.0557
33 | 2691454.8506 | 1192882.7979 | 2691432.4381 | 1192893.1656
34 | 2691268.5087 | 1192806.2329 | 2691248.5296 | 1192789.6561
35 | 2691403.1703 | 1192836.4675 | 2691386.0567 | 1192857.3539
36 | 2691490.3843 | 1192865.8362 | 2691477.401 | 1192872.0337
37 | 2691454.8506 | 1192882.7979 | 2691477.401 | 1192872.0337
38 | 2691454.8506 | 1192882.7979 | 2691468.1251 | 1192896.897
39 | 2691443.8026 | 1192867.9418 | 2691454.8506 | 1192882.7979
40 | 2691471.0937 | 1192900.0499 | 2691468.1251 | 1192896.897
41 | 2691443.8026 | 1192867.9418 | 2691421.5548 | 1192850.7084
42 | 2691403.1703 | 1192836.4675 | 2691421.5548 | 1192850.7084
43 | 2691451.1722 | 1192826.7168 | 2691452.6388 | 1192838.4048
44 | 2691425.5366 | 1192808.1132 | 2691451.1722 | 1192826.7168
45 | 2691451.1722 | 1192826.7168 | 2691444.5615 | 1192802.8561 | 2691448.8552 | 1192797.2625 | 2691454.6966 | 1192789.6691 | 2691458.7178 | 1192784.4495 | 2691472.0263 | 1192767.1529
46 | 2691403.1703 | 1192836.4675 | 2691404.943 | 1192834.7046 | 2691422.1289 | 1192812.5133
47 | 2691472.0263 | 1192767.1529 | 2691444.611 | 1192746.0515
48 | 2691425.5366 | 1192808.1132 | 2691422.1289 | 1192812.5133
49 | 2691425.5366 | 1192808.1132 | 2691382.1382 | 1192771.5269
50 | 2691431.0097 | 1192719.8847 | 2691427.0973 | 1192723.972 | 2691422.3448 | 1192720.1747 | 2691421.0522 | 1192721.945 | 2691411.2471 | 1192733.0958
51 | 2691431.0097 | 1192719.8847 | 2691399.6055 | 1192694.5999 | 2691389.3092 | 1192685.9399
52 | 2691411.2471 | 1192733.0958 | 2691398.0638 | 1192748.0884 | 2691385.6426 | 1192762.2078 | 2691385.5183 | 1192762.4425
53 | 2691382.1382 | 1192771.5269 | 2691375.1355 | 1192782.4863
54 | 2691382.1382 | 1192771.5269 | 2691381.0739 | 1192770.8324 | 2691385.5183 | 1192762.4425
55 | 2691495.9842 | 1192926.4864 | 2691495.0882 | 1192925.5348
56 | 2691495.9842 | 1192926.4864 | 2691504.9303 | 1192935.9882
57 | 2691516.0252 | 1192947.7722 | 2691504.9303 | 1192935.9882
58 | 2691524.2697 | 1192956.5287 | 2691516.0252 | 1192947.7722
59 | 2691524.2697 | 1192956.5287 | 2691498.2142 | 1192979.0668
60 | 2691279.1348 | 1192815.0495 | 2691268.5087 | 1192806.2329
61 | 2691370.6492 | 1192789.5074 | 2691375.1355 | 1192782.4863

## bus_geodata
| x | y | coords
0 | 2691465.9304 | 1193121.4414
1 | 2691489.8485 | 1193113.6032
2 | 2691495.2148 | 1193100.1766
3 | 2691516.0965 | 1193109.5241
4 | 2691474.4103 | 1193048.9034
5 | 2691480.2919 | 1193042.213
6 | 2691461.3505 | 1193074.2054
7 | 2691463.9308 | 1193008.4966
8 | 2691456.0126 | 1193001.5306
9 | 2691474.6509 | 1193017.6578
10 | 2691441.5339 | 1192988.0023
11 | 2691490.1983 | 1193030.9444
12 | 2691437.4768 | 1192984.2115
13 | 2691511.1393 | 1193008.2765
14 | 2691516.1065 | 1193033.3004
15 | 2691420.8181 | 1192968.6463
16 | 2691518.7963 | 1192999.9881
17 | 2691537.1642 | 1193045.0429
18 | 2691415.1518 | 1192963.352
19 | 2691404.506 | 1192953.405
20 | 2691391.2315 | 1192941.7316
21 | 2691368.9831 | 1192922.5117
22 | 2691390.1403 | 1192912.7248
23 | 2691546.4908 | 1193050.2438
24 | 2691553.5937 | 1193054.2046
25 | 2691541.7704 | 1192975.1194
26 | 2691533.6767 | 1192966.5216
27 | 2691412.623 | 1192902.3319
28 | 2691326.2105 | 1192852.4695
29 | 2691223.6337 | 1192783.6831
30 | 2691385.4817 | 1192858.0557
31 | 2691432.4382 | 1192893.1656
32 | 2691248.5296 | 1192789.6561
33 | 2691386.0567 | 1192857.3539
34 | 2691477.401 | 1192872.0337
35 | 2691490.3843 | 1192865.8362
36 | 2691454.8506 | 1192882.7979
37 | 2691468.1251 | 1192896.897
38 | 2691443.8026 | 1192867.9418
39 | 2691471.0937 | 1192900.0499
40 | 2691421.5548 | 1192850.7084
41 | 2691452.6388 | 1192838.4048
42 | 2691451.1722 | 1192826.7168
43 | 2691403.1703 | 1192836.4675
44 | 2691444.611 | 1192746.0515
45 | 2691472.0263 | 1192767.1529
46 | 2691425.5366 | 1192808.1132
47 | 2691431.0097 | 1192719.8847
48 | 2691411.2471 | 1192733.0958
49 | 2691389.3092 | 1192685.9399
50 | 2691422.1289 | 1192812.5133
51 | 2691382.1382 | 1192771.5269
52 | 2691385.5183 | 1192762.4425
53 | 2691495.0882 | 1192925.5348
54 | 2691495.9842 | 1192926.4864
55 | 2691504.9303 | 1192935.9882
56 | 2691516.0252 | 1192947.7722
57 | 2691524.2697 | 1192956.5287
58 | 2691498.2142 | 1192979.0668
59 | 2691268.5087 | 1192806.2329
60 | 2691279.1348 | 1192815.0495
61 | 2691375.1355 | 1192782.4863
62 | 2691370.6492 | 1192789.5074
63 | 2691454.8506 | 1192882.7979

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97804 | -0.42258 | 0.025209 | 0.0063179
1 | 0.97863 | -0.41103 | 0 | 0
2 | 0.97896 | -0.4044 | 0 | 0
3 | 0.97886 | -0.40651 | 0.0051031 | 0.001279
4 | 0.98108 | -0.36296 | 0 | 0
5 | 0.98151 | -0.35451 | 0.0020973 | 0.00052563
6 | 0.9805 | -0.37435 | 0.022079 | 0.0055335
7 | 0.9851 | -0.28469 | 0.0019047 | 0.00047736
8 | 0.98557 | -0.27561 | 0.0041616 | 0.001043
9 | 0.98448 | -0.29674 | 0.0044933 | 0.0011261
10 | 0.98647 | -0.25829 | 0.018309 | 0.0045886
11 | 0.98227 | -0.33973 | 0 | 0
12 | 0.98674 | -0.25308 | 0.013562 | 0.0033989
13 | 0.98064 | -0.37156 | 0.011957 | 0.0029966
14 | 0.97919 | -0.39976 | 0.0088171 | 0.0022098
15 | 0.98791 | -0.2306 | 0.0091352 | 0.0022895
16 | 0.98017 | -0.38078 | 0.0074216 | 0.00186
17 | 0.97666 | -0.44939 | 0.011953 | 0.0029957
18 | 0.98832 | -0.22272 | 0.0055542 | 0.001392
19 | 0.9891 | -0.20763 | 0.0087694 | 0.0021978
20 | 0.99008 | -0.18878 | 0.010979 | 0.0027517
21 | 0.99178 | -0.1562 | 0 | 0
22 | 0.99312 | -0.13061 | 0.009433 | 0.0023641
23 | 0.97566 | -0.46912 | 0.085465 | 0.02142
24 | 0.97554 | -0.47143 | 0.01552 | 0.0038896
25 | 0.97899 | -0.40391 | 0 | 0
26 | 0.97857 | -0.41199 | 0.0041688 | 0.0010448
27 | 0.99459 | -0.10267 | 0 | 0
28 | 0.99269 | -0.13984 | 0 | 0
29 | 0.99098 | -0.17296 | 0 | 0
30 | 0.99356 | -0.12294 | 0.025172 | 0.0063088
31 | 0.99588 | -0.078116 | 0.018493 | 0.0046347
32 | 0.99053 | -0.18154 | 0.0027766 | 0.00069589
33 | 0.9936 | -0.1223 | 0.0038151 | 0.00095615
34 | 0.99678 | -0.061298 | 0.024522 | 0.0061457
35 | 0.99673 | -0.062299 | 0.0039667 | 0.00099415
36 | 0.99742 | -0.048818 | 0 | 0
37 | 0.99953 | -0.0089734 | 0.00571 | 0.0014311
38 | 0.99667 | -0.063209 | 0 | 0
39 | 1 | 0 | -0.60406 | -0.15419
40 | 0.99553 | -0.085145 | 0.022249 | 0.0055762
41 | 0.99275 | -0.13851 | 0.0031152 | 0.00078074
42 | 0.99278 | -0.13786 | 0 | 0
43 | 0.99467 | -0.10149 | 0 | 0
44 | 0.99094 | -0.1735 | 0.019277 | 0.0048313
45 | 0.99155 | -0.16167 | 0 | 0
46 | 0.99343 | -0.12535 | 0 | 0
47 | 0.98636 | -0.262 | 0 | 0
48 | 0.98651 | -0.25905 | 0.0052814 | 0.0013236
49 | 0.98608 | -0.2675 | 0.0057144 | 0.0014322
50 | 0.9938 | -0.11829 | 0.012299 | 0.0030825
51 | 0.98711 | -0.24743 | 0 | 0
52 | 0.98691 | -0.25136 | 0.0094146 | 0.0023595
53 | 0.97728 | -0.43752 | 0.01076 | 0.0026966
54 | 0.97729 | -0.43726 | 0.0071949 | 0.0018032
55 | 0.97751 | -0.43299 | 0.0042339 | 0.0010611
56 | 0.97784 | -0.42644 | 0.0055806 | 0.0013986
57 | 0.97815 | -0.42035 | 0 | 0
58 | 0.97797 | -0.42392 | 0.0056787 | 0.0014232
59 | 0.99025 | -0.18704 | 0.0049661 | 0.0012446
60 | 0.99016 | -0.18875 | 0.0069664 | 0.0017459
61 | 0.9859 | -0.27091 | 0.0035806 | 0.00089738
62 | 0.98516 | -0.28544 | 0.09721 | 0.024363
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.025209 | -0.0063179 | 0.025223 | 0.0063265 | 1.3884e-05 | 8.5699e-06 | 0.038354 | 0.038354 | 0.038354 | 0.97804 | -0.42258 | 0.97863 | -0.41103 | 10.5367
1 | -0.025223 | -0.0063265 | 0.025231 | 0.0063314 | 7.9748e-06 | 4.9222e-06 | 0.038354 | 0.038353 | 0.038354 | 0.97863 | -0.41103 | 0.97896 | -0.4044 | 10.5367
2 | 0.0051036 | 0.001279 | -0.0051031 | -0.001279 | 5.1505e-07 | 4.2708e-08 | 0.0077575 | 0.0077576 | 0.0077576 | 0.97896 | -0.4044 | 0.97886 | -0.40651 | 2.1312
3 | -0.030334 | -0.0076104 | 0.030394 | 0.0076479 | 6.0052e-05 | 3.7484e-05 | 0.046111 | 0.046111 | 0.046111 | 0.97896 | -0.4044 | 0.98108 | -0.36296 | 12.6678
4 | -0.052485 | -0.013189 | 0.052507 | 0.013202 | 2.1176e-05 | 1.344e-05 | 0.079618 | 0.079618 | 0.079618 | 0.98108 | -0.36296 | 0.98151 | -0.35451 | 21.873
5 | 0.022091 | 0.0055408 | -0.022079 | -0.0055335 | 1.199e-05 | 7.3144e-06 | 0.033507 | 0.033507 | 0.033507 | 0.98108 | -0.36296 | 0.9805 | -0.37435 | 9.2053
6 | -0.054604 | -0.013728 | 0.054642 | 0.013752 | 3.8572e-05 | 2.4496e-05 | 0.082797 | 0.082797 | 0.082797 | 0.98151 | -0.35451 | 0.98227 | -0.33973 | 22.7465
7 | -0.24132 | -0.061132 | 0.24143 | 0.061199 | 0.00010526 | 6.6694e-05 | 0.36476 | 0.36476 | 0.36476 | 0.9851 | -0.28469 | 0.98557 | -0.27561 | 20.0416
8 | 0.23942 | 0.060655 | -0.23928 | -0.060567 | 0.0001385 | 8.7744e-05 | 0.36188 | 0.36188 | 0.36188 | 0.9851 | -0.28469 | 0.98448 | -0.29674 | 19.8836
9 | -0.24559 | -0.062242 | 0.2458 | 0.062372 | 0.0002046 | 0.00012968 | 0.37104 | 0.37104 | 0.37104 | 0.98557 | -0.27561 | 0.98647 | -0.25829 | 20.3868
10 | 0.23479 | 0.059441 | -0.2343 | -0.059132 | 0.0004835 | 0.00030892 | 0.35509 | 0.35509 | 0.35509 | 0.98448 | -0.29674 | 0.98227 | -0.33973 | 48.7761
11 | -0.2641 | -0.06696 | 0.26417 | 0.067002 | 6.6183e-05 | 4.2002e-05 | 0.39866 | 0.39866 | 0.39866 | 0.98647 | -0.25829 | 0.98674 | -0.25308 | 21.9042
12 | 0.057191 | 0.014407 | -0.057104 | -0.014352 | 8.6917e-05 | 5.5237e-05 | 0.086664 | 0.086664 | 0.086664 | 0.98227 | -0.33973 | 0.98064 | -0.37156 | 23.8087
13 | 0.12247 | 0.030972 | -0.12212 | -0.030748 | 0.00035159 | 0.00022468 | 0.18563 | 0.18563 | 0.18563 | 0.98227 | -0.33973 | 0.97919 | -0.39976 | 50.997
14 | -0.27773 | -0.070401 | 0.27803 | 0.070592 | 0.00030035 | 0.00019077 | 0.41911 | 0.41911 | 0.41911 | 0.98674 | -0.25308 | 0.98791 | -0.2306 | 23.0279
15 | 0.045147 | 0.011356 | -0.045127 | -0.011343 | 1.9867e-05 | 1.2573e-05 | 0.068521 | 0.068521 | 0.068521 | 0.98064 | -0.37156 | 0.98017 | -0.38078 | 18.8244
16 | 0.1133 | 0.028538 | -0.11303 | -0.028367 | 0.0002682 | 0.00017134 | 0.17223 | 0.17223 | 0.17223 | 0.97919 | -0.39976 | 0.97666 | -0.44939 | 47.3161
17 | -0.28717 | -0.072881 | 0.28728 | 0.072951 | 0.00010898 | 6.9249e-05 | 0.43287 | 0.43287 | 0.43287 | 0.98791 | -0.2306 | 0.98832 | -0.22272 | 23.7839
18 | 0.037706 | 0.009483 | -0.037664 | -0.0094568 | 4.1619e-05 | 2.621e-05 | 0.057254 | 0.057254 | 0.057254 | 0.98017 | -0.38078 | 0.97899 | -0.40391 | 15.7292
19 | 0.10108 | 0.025371 | -0.10099 | -0.02531 | 9.4994e-05 | 6.0663e-05 | 0.15402 | 0.15402 | 0.15402 | 0.97666 | -0.44939 | 0.97566 | -0.46912 | 42.3129
20 | -0.29283 | -0.074343 | 0.29304 | 0.074478 | 0.00021274 | 0.00013522 | 0.44123 | 0.44123 | 0.44123 | 0.98832 | -0.22272 | 0.9891 | -0.20763 | 24.2434
21 | -0.30181 | -0.076676 | 0.30209 | 0.07685 | 0.0002741 | 0.00017429 | 0.45442 | 0.45442 | 0.45442 | 0.9891 | -0.20763 | 0.99008 | -0.18878 | 24.9682
22 | -0.31307 | -0.079602 | 0.31356 | 0.079915 | 0.0004923 | 0.00031317 | 0.47092 | 0.47092 | 0.47092 | 0.99008 | -0.18878 | 0.99178 | -0.1562 | 25.8749
23 | -0.31356 | -0.079915 | 0.31395 | 0.080161 | 0.00038772 | 0.00024664 | 0.47092 | 0.47092 | 0.47092 | 0.99178 | -0.1562 | 0.99312 | -0.13061 | 25.8748
24 | -0.32338 | -0.082526 | 0.32382 | 0.082804 | 0.00043706 | 0.00027812 | 0.48506 | 0.48505 | 0.48506 | 0.99312 | -0.13061 | 0.99459 | -0.10267 | 26.6514
25 | 0.015521 | 0.0038905 | -0.01552 | -0.0038896 | 1.709e-06 | 9.9221e-07 | 0.023672 | 0.023672 | 0.023672 | 0.97566 | -0.46912 | 0.97554 | -0.47143 | 6.5034
26 | 0.037664 | 0.0094568 | -0.03765 | -0.0094477 | 1.4515e-05 | 9.1414e-06 | 0.057254 | 0.057254 | 0.057254 | 0.97899 | -0.40391 | 0.97857 | -0.41199 | 15.7292
27 | 0.033481 | 0.0084029 | -0.033468 | -0.0083945 | 1.3342e-05 | 8.3663e-06 | 0.050915 | 0.050915 | 0.050915 | 0.97857 | -0.41199 | 0.97815 | -0.42035 | 13.9877
28 | -0.32382 | -0.082804 | 0.3242 | 0.083049 | 0.00038525 | 0.00024514 | 0.48505 | 0.48505 | 0.48505 | 0.99459 | -0.10267 | 0.99588 | -0.078116 | 26.6514
29 | 0.014742 | 0.003705 | -0.014719 | -0.0036917 | 2.3272e-05 | 1.3255e-05 | 0.022102 | 0.022102 | 0.022102 | 0.99269 | -0.13984 | 0.99098 | -0.17296 | 6.0721
30 | -0.014742 | -0.003705 | 0.014754 | 0.0037118 | 1.1907e-05 | 6.7796e-06 | 0.022102 | 0.022101 | 0.022102 | 0.99269 | -0.13984 | 0.99356 | -0.12294 | 6.0719
31 | 0.014719 | 0.0036917 | -0.014713 | -0.0036883 | 6.015e-06 | 3.4268e-06 | 0.022102 | 0.022102 | 0.022102 | 0.99098 | -0.17296 | 0.99053 | -0.18154 | 6.0721
32 | -0.039926 | -0.010021 | 0.039928 | 0.010021 | 1.2167e-06 | 7.6695e-07 | 0.059801 | 0.059801 | 0.059801 | 0.99356 | -0.12294 | 0.9936 | -0.1223 | 16.4289
33 | -0.3427 | -0.087684 | 0.34318 | 0.087994 | 0.00048681 | 0.00030995 | 0.51268 | 0.51268 | 0.51268 | 0.99588 | -0.078116 | 0.99742 | -0.048818 | 28.1695
34 | 0.011936 | 0.0029924 | -0.011933 | -0.0029908 | 3.1302e-06 | 1.6693e-06 | 0.017931 | 0.017931 | 0.017931 | 0.99053 | -0.18154 | 0.99025 | -0.18704 | 4.9262
35 | -0.043743 | -0.010977 | 0.043786 | 0.011005 | 4.3461e-05 | 2.7465e-05 | 0.065515 | 0.065514 | 0.065515 | 0.9936 | -0.1223 | 0.99467 | -0.10149 | 17.9985
36 | 0.0039669 | 0.00099408 | -0.0039667 | -0.00099415 | 1.892e-07 | -6.6433e-08 | 0.0059219 | 0.0059219 | 0.0059219 | 0.99678 | -0.061298 | 0.99673 | -0.062299 | 1.6269
37 | -0.028488 | -0.0071398 | 0.028505 | 0.0071503 | 1.6948e-05 | 1.0521e-05 | 0.042528 | 0.042528 | 0.042528 | 0.99678 | -0.061298 | 0.99742 | -0.048818 | 11.6836
38 | -0.59529 | -0.15185 | 0.59643 | 0.15259 | 0.0011479 | 0.00073339 | 0.88903 | 0.88903 | 0.88903 | 0.99742 | -0.048818 | 0.99953 | -0.0089734 | 48.8477
39 | 0.2236 | 0.05671 | -0.22344 | -0.056612 | 0.00015459 | 9.7731e-05 | 0.33382 | 0.33382 | 0.33382 | 0.99742 | -0.048818 | 0.99667 | -0.063209 | 18.3416
40 | -0.60214 | -0.15402 | 0.60241 | 0.15419 | 0.00026163 | 0.00016716 | 0.89753 | 0.89753 | 0.89753 | 0.99953 | -0.0089734 | 1 | 0 | 49.3147
41 | 0.22344 | 0.056612 | -0.22321 | -0.056464 | 0.00023519 | 0.00014869 | 0.33382 | 0.33382 | 0.33382 | 0.99667 | -0.063209 | 0.99553 | -0.085145 | 18.3416
42 | 0.20096 | 0.050887 | -0.2008 | -0.050788 | 0.00015756 | 9.9327e-05 | 0.30056 | 0.30056 | 0.30056 | 0.99553 | -0.085145 | 0.99467 | -0.10149 | 16.5144
43 | -0.0031152 | -0.00078074 | 0.0031153 | 0.00078065 | 9.6309e-08 | -9.0675e-08 | 0.0046693 | 0.0046693 | 0.0046693 | 0.99275 | -0.13851 | 0.99278 | -0.13786 | 1.2828
44 | -0.022425 | -0.0056316 | 0.022438 | 0.0056397 | 1.3397e-05 | 8.1649e-06 | 0.033615 | 0.033615 | 0.033615 | 0.99278 | -0.13786 | 0.99343 | -0.12535 | 9.235
45 | 0.01931 | 0.0048509 | -0.019288 | -0.0048378 | 2.192e-05 | 1.3128e-05 | 0.028946 | 0.028946 | 0.028946 | 0.99278 | -0.13786 | 0.99155 | -0.16167 | 7.9523
46 | 0.15702 | 0.039783 | -0.15689 | -0.039704 | 0.00012666 | 7.908e-05 | 0.23505 | 0.23505 | 0.23505 | 0.99467 | -0.10149 | 0.9938 | -0.11829 | 12.9147
47 | -0.019277 | -0.0048313 | 0.019288 | 0.0048378 | 1.087e-05 | 6.5111e-06 | 0.028947 | 0.028946 | 0.028947 | 0.99094 | -0.1735 | 0.99155 | -0.16167 | 7.9524
48 | -0.14454 | -0.03659 | 0.14459 | 0.036622 | 4.8971e-05 | 3.1197e-05 | 0.21663 | 0.21663 | 0.21663 | 0.99343 | -0.12535 | 0.9938 | -0.11829 | 29.7572
49 | 0.1221 | 0.030951 | -0.12139 | -0.030496 | 0.0007118 | 0.00045483 | 0.18302 | 0.18302 | 0.18302 | 0.99343 | -0.12535 | 0.98711 | -0.24743 | 50.2795
50 | -0.0057159 | -0.0014324 | 0.0057167 | 0.0014326 | 8.025e-07 | 1.4618e-07 | 0.0086229 | 0.0086228 | 0.0086229 | 0.98636 | -0.262 | 0.98651 | -0.25905 | 2.3689
51 | 0.0057159 | 0.0014324 | -0.0057144 | -0.0014322 | 1.4994e-06 | 2.7345e-07 | 0.0086229 | 0.0086231 | 0.0086231 | 0.98636 | -0.262 | 0.98608 | -0.2675 | 2.369
52 | -0.010998 | -0.0027562 | 0.011002 | 0.0027583 | 4.0283e-06 | 2.0795e-06 | 0.016589 | 0.016589 | 0.016589 | 0.98651 | -0.25905 | 0.98691 | -0.25136 | 4.5574
53 | 0.10097 | 0.025376 | -0.10086 | -0.025304 | 0.00011303 | 7.2172e-05 | 0.15223 | 0.15223 | 0.15223 | 0.98711 | -0.24743 | 0.9859 | -0.27091 | 41.8224
54 | 0.020421 | 0.0051201 | -0.020417 | -0.0051178 | 3.8256e-06 | 2.3108e-06 | 0.030784 | 0.030784 | 0.030784 | 0.98711 | -0.24743 | 0.98691 | -0.25136 | 8.4571
55 | -0.01076 | -0.0026966 | 0.01076 | 0.0026967 | 1.3155e-07 | 6.7817e-08 | 0.016383 | 0.016383 | 0.016383 | 0.97728 | -0.43752 | 0.97729 | -0.43726 | 4.5008
56 | -0.017955 | -0.0044999 | 0.017958 | 0.0045021 | 3.6575e-06 | 2.1773e-06 | 0.027338 | 0.027338 | 0.027338 | 0.97729 | -0.43726 | 0.97751 | -0.43299 | 7.5104
57 | -0.022192 | -0.0055632 | 0.022199 | 0.0055675 | 6.927e-06 | 4.2303e-06 | 0.033783 | 0.033783 | 0.033783 | 0.97751 | -0.43299 | 0.97784 | -0.42644 | 9.281
58 | -0.02778 | -0.0069661 | 0.027788 | 0.0069711 | 8.0604e-06 | 5.0077e-06 | 0.042275 | 0.042275 | 0.042275 | 0.97784 | -0.42644 | 0.97815 | -0.42035 | 11.614
59 | 0.0056796 | 0.0014234 | -0.0056787 | -0.0014232 | 9.6445e-07 | 1.849e-07 | 0.0086402 | 0.0086403 | 0.0086403 | 0.97815 | -0.42035 | 0.97797 | -0.42392 | 2.3737
60 | 0.006967 | 0.0017461 | -0.0069664 | -0.0017459 | 5.675e-07 | 1.8558e-07 | 0.010469 | 0.010469 | 0.010469 | 0.99025 | -0.18704 | 0.99016 | -0.18875 | 2.8761
61 | 0.097277 | 0.024406 | -0.09721 | -0.024363 | 6.7361e-05 | 4.3005e-05 | 0.14683 | 0.14683 | 0.14683 | 0.9859 | -0.27091 | 0.98516 | -0.28544 | 40.3378

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61003 | 0.15568

## res_load
| p_mw | q_mvar
0 | 0.025209 | 0.0063179
1 | 0.0051031 | 0.001279
2 | 0.0020973 | 0.00052563
3 | 0.022079 | 0.0055335
4 | 0.0019047 | 0.00047736
5 | 0.0041616 | 0.001043
6 | 0.0044933 | 0.0011261
7 | 0.018309 | 0.0045886
8 | 0.013562 | 0.0033989
9 | 0.011957 | 0.0029966
10 | 0.0088171 | 0.0022098
11 | 0.0091352 | 0.0022895
12 | 0.0074216 | 0.00186
13 | 0.011953 | 0.0029957
14 | 0.0055542 | 0.001392
15 | 0.0087694 | 0.0021978
16 | 0.010979 | 0.0027517
17 | 0.009433 | 0.0023641
18 | 0.085465 | 0.02142
19 | 0.01552 | 0.0038896
20 | 0.0041688 | 0.0010448
21 | 0.025172 | 0.0063088
22 | 0.018493 | 0.0046347
23 | 0.0027766 | 0.00069589
24 | 0.0038151 | 0.00095615
25 | 0.024522 | 0.0061457
26 | 0.0039667 | 0.00099415
27 | 0.00571 | 0.0014311
28 | 0.0059777 | 0.0014982
29 | 0.022249 | 0.0055762
30 | 0.0031152 | 0.00078074
31 | 0.019277 | 0.0048313
32 | 0.0052814 | 0.0013236
33 | 0.0057144 | 0.0014322
34 | 0.012299 | 0.0030825
35 | 0.0094146 | 0.0023595
36 | 0.01076 | 0.0026966
37 | 0.0071949 | 0.0018032
38 | 0.0042339 | 0.0010611
39 | 0.0055806 | 0.0013986
40 | 0.0056787 | 0.0014232
41 | 0.0049661 | 0.0012446
42 | 0.0069664 | 0.0017459
43 | 0.0035806 | 0.00089738
44 | 0.09721 | 0.024363

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1