## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1201-19_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1201-19_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1201-19_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1201-19_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1201-19_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1201-19_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1201-19_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1201-19_0_6_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_1201-19_0_6_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_1201-19_0_6_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_1201-19_0_6_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_1201-19_0_6_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_1201-19_0_6_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_1201-19_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1201-19_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1201-19_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1201-19_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1201-19_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1201-19_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1201-19_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1201-19_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1201-19_0_6_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_1201-19_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1201-19_0_6_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_1201-19_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1201-19_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1201-19_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1201-19_0_6_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_1201-19_0_6_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_1201-19_0_6_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_1201-19_0_6_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_1201-19_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1201-19_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1201-19_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1201-19_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1201-19_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1201-19_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1201-19_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1201-19_0_6_node_89 | 0.4 | n |  | TRUE
39 | bus_LV_1201-19_0_6_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_1201-19_0_6_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_1201-19_0_6_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1201-19_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_1201-19_0_6_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1201-19_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_1201-19_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_1201-19_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_1201-19_0_6_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_1201-19_0_6_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_1201-19_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_1201-19_0_6_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_1201-19_0_6_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_1201-19_0_6_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_1201-19_0_6_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_1201-19_0_6_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_1201-19_0_6_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_1201-19_0_6_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_1201-19_0_6_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_1201-19_0_6_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_1201-19_0_6_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_1201-19_0_6_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_1201-19_0_6_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_1201-19_0_6_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_1201-19_0_6_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_1201-19_0_6_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_1201-19_0_6_node_88 | 0.4 | n |  | TRUE
66 | bus_LV_1201-19_0_6_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_1201-19_0_6_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_1201-19_0_6_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_1201-19_0_6_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_1201-19_0_6_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_1201-19_0_6_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_1201-19_0_6_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_1201-19_0_6_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_1201-19_0_6_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_1201-19_0_6_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_1201-19_0_6_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_1201-19_0_6_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_1201-19_0_6_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_1201-19_0_6_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_1201-19_0_6_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_1201-19_0_6_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_1201-19_0_6_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_1201-19_0_6_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_1201-19_0_6_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_1201-19_0_6_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_1201-19_0_6_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_1201-19_0_6_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_1201-19_0_6_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_1201-19_0_6_node_90 | 0.4 | n |  | TRUE
90 | bus_MV_14_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1201-19_0_6_load_0 | 0 | 0.0032884 | 0.00082415 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1201-19_0_6_load_1 | 1 | 0.015842 | 0.0039704 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1201-19_0_6_load_2 | 2 | 0.0020473 | 0.00051311 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1201-19_0_6_load_3 | 3 | 0.0035904 | 0.00089983 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1201-19_0_6_load_4 | 4 | 0.0060036 | 0.0015046 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1201-19_0_6_load_6 | 6 | 0.0072982 | 0.0018291 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1201-19_0_6_load_70 | 7 | 0.0071074 | 0.0017813 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1201-19_0_6_load_54 | 8 | 0.0022632 | 0.00056722 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1201-19_0_6_load_64 | 9 | 0.0060003 | 0.0015038 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1201-19_0_6_load_7 | 13 | 0.0049946 | 0.0012518 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1201-19_0_6_load_8 | 14 | 0.013465 | 0.0033746 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1201-19_0_6_load_10 | 16 | 0.0039889 | 0.00099971 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1201-19_0_6_load_11 | 17 | 0.015716 | 0.0039388 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1201-19_0_6_load_12 | 18 | 0.0030168 | 0.00075607 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1201-19_0_6_load_13 | 19 | 0.0037296 | 0.00093472 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1201-19_0_6_load_14 | 20 | 0.012814 | 0.0032115 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1201-19_0_6_load_47 | 21 | 0.0024421 | 0.00061206 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1201-19_0_6_load_15 | 22 | 0.012699 | 0.0031826 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1201-19_0_6_load_48 | 23 | 0.0018591 | 0.00046594 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1201-19_0_6_load_18 | 26 | 0.0070056 | 0.0017558 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1201-19_0_6_load_35 | 27 | 0.0014948 | 0.00037462 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1201-19_0_6_load_40 | 29 | 0.013065 | 0.0032743 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1201-19_0_6_load_36 | 30 | 0.002068 | 0.00051829 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1201-19_0_6_load_19 | 31 | 0.0097942 | 0.0024547 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1201-19_0_6_load_20 | 32 | 0.004327 | 0.0010844 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1201-19_0_6_load_21 | 33 | 0.0012769 | 0.00032002 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1201-19_0_6_load_22 | 34 | 0.0043535 | 0.0010911 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1201-19_0_6_load_23 | 35 | 0.001289 | 0.00032305 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1201-19_0_6_load_26 | 36 | 0.0074316 | 0.0018625 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1201-19_0_6_load_28 | 37 | 0.0016597 | 0.00041595 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1201-19_0_6_load_89 | 38 | 0.001022 | 0.00025615 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1201-19_0_6_load_25 | 39 | 0.0010153 | 0.00025445 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1201-19_0_6_load_24 | 40 | 0.0012901 | 0.00032334 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1201-19_0_6_load_31 | 41 | 0.0014529 | 0.00036413 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1201-19_0_6_load_29 | 43 | 0.0035124 | 0.00088028 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1201-19_0_6_load_32 | 44 | 0.01522 | 0.0038144 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1201-19_0_6_load_30 | 45 | 0.0063787 | 0.0015986 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1201-19_0_6_load_33 | 46 | 0.0035719 | 0.0008952 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1201-19_0_6_load_34 | 47 | 0.0012893 | 0.00032312 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1201-19_0_6_load_60 | 48 | 0.0035356 | 0.00088611 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1201-19_0_6_load_41 | 49 | 0.013452 | 0.0033713 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1201-19_0_6_load_39 | 51 | 0.011957 | 0.0029967 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1201-19_0_6_load_37 | 52 | 0.0080287 | 0.0020122 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1201-19_0_6_load_42 | 53 | 0.004974 | 0.0012466 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1201-19_0_6_load_83 | 54 | 0.0042807 | 0.0010728 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1201-19_0_6_load_68 | 55 | 0.0069304 | 0.0017369 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1201-19_0_6_load_43 | 56 | 0.010631 | 0.0026644 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1201-19_0_6_load_81 | 59 | 0.011449 | 0.0028695 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1201-19_0_6_load_82 | 62 | 0.0054032 | 0.0013542 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1201-19_0_6_load_78 | 64 | 0.010881 | 0.0027272 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1201-19_0_6_load_88 | 65 | 0.0047291 | 0.0011852 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1201-19_0_6_load_77 | 66 | 0.015486 | 0.0038812 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1201-19_0_6_load_84 | 67 | 0.0016676 | 0.00041795 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1201-19_0_6_load_49 | 68 | 0.0027392 | 0.00068651 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1201-19_0_6_load_53 | 71 | 0.02016 | 0.0050525 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1201-19_0_6_load_55 | 72 | 0.0046259 | 0.0011594 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1201-19_0_6_load_57 | 73 | 0.029164 | 0.0073091 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1201-19_0_6_load_56 | 75 | 0.021455 | 0.0053772 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1201-19_0_6_load_87 | 76 | 0.0048625 | 0.0012187 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1201-19_0_6_load_86 | 77 | 0.0070206 | 0.0017595 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1201-19_0_6_load_62 | 78 | 0.0042606 | 0.0010678 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1201-19_0_6_load_80 | 80 | 0.0042633 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1201-19_0_6_load_66 | 81 | 0.0041165 | 0.0010317 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1201-19_0_6_load_67 | 82 | 0.0037463 | 0.00093892 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1201-19_0_6_load_69 | 83 | 0.0039388 | 0.00098715 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1201-19_0_6_load_75 | 84 | 0.0037561 | 0.00094138 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1201-19_0_6_load_73 | 85 | 0.0026173 | 0.00065596 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1201-19_0_6_load_72 | 86 | 0.0054324 | 0.0013615 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1201-19_0_6_load_74 | 87 | 0.0070218 | 0.0017598 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1201-19_0_6_load_76 | 88 | 0.012332 | 0.0030907 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1201-19_0_6_load_90 | 89 | 0.0043849 | 0.001099 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1201-19_0_6_line_0 |  | 0 | 1 | 0.00065264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_1201-19_0_6_line_1 |  | 0 | 2 | 0.019398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1201-19_0_6_line_2 |  | 1 | 3 | 0.0086132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1201-19_0_6_line_3 |  | 2 | 4 | 0.0094297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1201-19_0_6_line_4 |  | 3 | 5 | 0.03746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1201-19_0_6_line_5 |  | 4 | 6 | 0.01302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1201-19_0_6_line_6 |  | 5 | 7 | 0.018035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1201-19_0_6_line_7 |  | 5 | 8 | 0.017854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1201-19_0_6_line_8 |  | 6 | 9 | 0.011821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1201-19_0_6_line_9 |  | 7 | 10 | 0.020463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1201-19_0_6_line_10 |  | 8 | 11 | 0.012667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1201-19_0_6_line_11 |  | 9 | 12 | 0.0021764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1201-19_0_6_line_12 |  | 10 | 67 | 0.037937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1201-19_0_6_line_13 |  | 11 | 72 | 0.02276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1201-19_0_6_line_14 |  | 11 | 68 | 0.011543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1201-19_0_6_line_15 |  | 12 | 81 | 0.016077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1201-19_0_6_line_16 |  | 12 | 82 | 0.036133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1201-19_0_6_line_17 |  | 13 | 14 | 0.031645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1201-19_0_6_line_18 |  | 13 | 15 | 0.037329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1201-19_0_6_line_19 |  | 14 | 16 | 0.026579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1201-19_0_6_line_20 |  | 15 | 17 | 0.025541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1201-19_0_6_line_21 |  | 16 | 18 | 0.05003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1201-19_0_6_line_22 |  | 17 | 19 | 9.4704e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1201-19_0_6_line_23 |  | 18 | 20 | 0.028883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1201-19_0_6_line_24 |  | 19 | 21 | 0.024439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1201-19_0_6_line_25 |  | 20 | 22 | 0.032258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1201-19_0_6_line_26 |  | 21 | 23 | 0.0044745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1201-19_0_6_line_27 |  | 23 | 66 | 0.01697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1201-19_0_6_line_28 |  | 24 | 25 | 0.011594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1201-19_0_6_line_29 |  | 24 | 26 | 0.037579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1201-19_0_6_line_30 |  | 25 | 27 | 0.0065672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1201-19_0_6_line_31 |  | 26 | 28 | 0.013766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1201-19_0_6_line_32 |  | 28 | 29 | 0.034085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1201-19_0_6_line_33 |  | 28 | 30 | 0.014684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1201-19_0_6_line_34 |  | 29 | 53 | 0.0083309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1201-19_0_6_line_35 |  | 30 | 52 | 0.0083367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1201-19_0_6_line_36 |  | 31 | 32 | 0.0041102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1201-19_0_6_line_37 |  | 31 | 33 | 0.018572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1201-19_0_6_line_38 |  | 32 | 34 | 8.8812e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1201-19_0_6_line_39 |  | 33 | 35 | 0.013432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1201-19_0_6_line_40 |  | 34 | 40 | 0.0098675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1201-19_0_6_line_41 |  | 36 | 37 | 0.031174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1201-19_0_6_line_42 |  | 36 | 38 | 0.02554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1201-19_0_6_line_43 |  | 36 | 39 | 0.0058006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1201-19_0_6_line_44 |  | 37 | 41 | 0.0032867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1201-19_0_6_line_45 |  | 38 | 40 | 0.010588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1201-19_0_6_line_46 |  | 39 | 42 | 0.0082552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1201-19_0_6_line_47 |  | 41 | 47 | 0.0068032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1201-19_0_6_line_48 |  | 42 | 43 | 0.0096854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1201-19_0_6_line_49 |  | 43 | 44 | 0.016106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1201-19_0_6_line_50 |  | 44 | 48 | 0.034798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1201-19_0_6_line_51 |  | 45 | 46 | 0.0065097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1201-19_0_6_line_52 |  | 46 | 49 | 0.009937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1201-19_0_6_line_53 |  | 48 | 50 | 0.019149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1201-19_0_6_line_54 |  | 49 | 51 | 0.0095607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1201-19_0_6_line_55 |  | 50 | 78 | 0.017971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1201-19_0_6_line_56 |  | 51 | 52 | 0.025407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1201-19_0_6_line_57 |  | 53 | 54 | 0.0073377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1201-19_0_6_line_58 |  | 54 | 55 | 0.0040624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1201-19_0_6_line_59 |  | 55 | 81 | 0.017616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1201-19_0_6_line_60 |  | 56 | 57 | 0.019352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1201-19_0_6_line_61 |  | 57 | 58 | 0.013524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1201-19_0_6_line_62 |  | 58 | 59 | 0.024684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1201-19_0_6_line_63 |  | 58 | 60 | 0.004854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1201-19_0_6_line_64 |  | 59 | 63 | 0.00987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1201-19_0_6_line_65 |  | 60 | 64 | 0.017301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1201-19_0_6_line_66 |  | 60 | 61 | 0.024433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1201-19_0_6_line_67 |  | 61 | 62 | 0.02498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1201-19_0_6_line_68 |  | 62 | 65 | 0.035869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1201-19_0_6_line_69 |  | 63 | 77 | 0.011517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1201-19_0_6_line_70 |  | 63 | 75 | 0.02746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1201-19_0_6_line_71 |  | 64 | 79 | 0.01514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1201-19_0_6_line_72 |  | 65 | 89 | 0.059214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1201-19_0_6_line_73 |  | 66 | 67 | 0.010413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1201-19_0_6_line_74 |  | 68 | 69 | 0.018313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_1201-19_0_6_line_75 |  | 69 | 70 | 0.020301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1201-19_0_6_line_76 |  | 69 | 71 | 0.024018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_1201-19_0_6_line_77 |  | 70 | 73 | 0.010678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1201-19_0_6_line_78 |  | 71 | 74 | 0.025369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_1201-19_0_6_line_79 |  | 74 | 76 | 0.003961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1201-19_0_6_line_80 |  | 74 | 77 | 0.0188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_1201-19_0_6_line_81 |  | 78 | 79 | 0.020996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1201-19_0_6_line_82 |  | 79 | 80 | 0.023199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1201-19_0_6_line_83 |  | 82 | 83 | 0.0023935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1201-19_0_6_line_84 |  | 83 | 84 | 0.0056557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1201-19_0_6_line_85 |  | 84 | 85 | 0.010355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1201-19_0_6_line_86 |  | 85 | 86 | 0.011436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1201-19_0_6_line_87 |  | 86 | 87 | 0.022149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1201-19_0_6_line_88 |  | 87 | 88 | 0.0099622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1201-19_0_6_trafo_0 | 0.63 MVA 20/0.4 kV | 90 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2691481.5457 | 1192226.5988 | 2691482.0493 | 1192226.1837
1 | 2691482.0493 | 1192226.1837 | 2691497.0176 | 1192213.8449
2 | 2691481.5457 | 1192226.5988 | 2691474.8995 | 1192232.0775
3 | 2691497.0176 | 1192213.8449 | 2691504.2938 | 1192207.847
4 | 2691445.994 | 1192255.9052 | 2691474.8995 | 1192232.0775
5 | 2691514.3404 | 1192199.5653 | 2691504.2938 | 1192207.847
6 | 2691445.994 | 1192255.9052 | 2691430.8643 | 1192265.7211
7 | 2691445.994 | 1192255.9052 | 2691456.9236 | 1192270.0231
8 | 2691523.4616 | 1192192.0464 | 2691514.3404 | 1192199.5653
9 | 2691413.6976 | 1192276.8585 | 2691430.8643 | 1192265.7211
10 | 2691464.6779 | 1192280.0395 | 2691456.9236 | 1192270.0231
11 | 2691525.141 | 1192190.6621 | 2691523.4616 | 1192192.0464
12 | 2691413.6976 | 1192276.8585 | 2691401.1105 | 1192241.0702
13 | 2691464.6779 | 1192280.0395 | 2691446.5197 | 1192293.761
14 | 2691464.6779 | 1192280.0395 | 2691471.7455 | 1192289.166
15 | 2691525.141 | 1192190.6621 | 2691537.8104 | 1192180.7647
16 | 2691525.141 | 1192190.6621 | 2691506.3756 | 1192159.7837
17 | 2691408.7649 | 1192150.404 | 2691437.8653 | 1192137.9711
18 | 2691373.9264 | 1192163.7788 | 2691386.7382 | 1192159.1048 | 2691398.1162 | 1192154.9536 | 2691408.7649 | 1192150.404
19 | 2691437.8653 | 1192137.9711 | 2691445.4756 | 1192134.7196 | 2691461.942 | 1192126.7271
20 | 2691373.9264 | 1192163.7788 | 2691378.1645 | 1192175.829 | 2691382.4006 | 1192187.8734
21 | 2691461.942 | 1192126.7271 | 2691470.7245 | 1192122.4643 | 2691492.0373 | 1192112.8283 | 2691508.0248 | 1192107.4184
22 | 2691382.4321 | 1192187.9628 | 2691382.4006 | 1192187.8734
23 | 2691535.8671 | 1192099.8519 | 2691518.0033 | 1192104.0419 | 2691508.0248 | 1192107.4184
24 | 2691382.4321 | 1192187.9628 | 2691390.5407 | 1192211.0175
25 | 2691535.8671 | 1192099.8519 | 2691542.3441 | 1192098.3327 | 2691567.798 | 1192095.5506
26 | 2691392.0252 | 1192215.2386 | 2691390.5407 | 1192211.0175
27 | 2691392.0252 | 1192215.2386 | 2691397.6557 | 1192231.2473
28 | 2691634.4156 | 1192198.4613 | 2691637.2487 | 1192187.2197
29 | 2691637.2487 | 1192187.2197 | 2691613.5117 | 1192178.4174 | 2691606.2518 | 1192188.3003
30 | 2691634.4156 | 1192198.4613 | 2691633.2591 | 1192204.9259
31 | 2691598.1018 | 1192199.395 | 2691606.2518 | 1192188.3003
32 | 2691598.1018 | 1192199.395 | 2691569.6455 | 1192180.6332
33 | 2691598.1018 | 1192199.395 | 2691588.0052 | 1192210.0573
34 | 2691562.6903 | 1192176.0475 | 2691569.6455 | 1192180.6332
35 | 2691588.0052 | 1192210.0573 | 2691582.2731 | 1192216.1106
36 | 2691633.841 | 1192308.1228 | 2691632.1635 | 1192304.3706
37 | 2691651.5499 | 1192302.5267 | 2691633.841 | 1192308.1228 | 2691633.841 | 1192308.1228
38 | 2691632.1273 | 1192304.2895 | 2691632.1635 | 1192304.3706
39 | 2691664.3577 | 1192298.4793 | 2691651.5499 | 1192302.5267
40 | 2691628.1 | 1192295.2812 | 2691632.1273 | 1192304.2895
41 | 2691599.5923 | 1192277.4102 | 2691608.3766 | 1192270.7646 | 2691621.6443 | 1192261.7064 | 2691623.6663 | 1192258.146
42 | 2691599.5923 | 1192277.4102 | 2691623.7785 | 1192285.6147
43 | 2691594.9664 | 1192280.9099 | 2691599.5923 | 1192277.4102
44 | 2691623.6663 | 1192258.146 | 2691625.2895 | 1192255.288
45 | 2691628.1 | 1192295.2812 | 2691623.7785 | 1192285.6147
46 | 2691588.3829 | 1192285.8905 | 2691594.9664 | 1192280.9099
47 | 2691628.6493 | 1192249.3724 | 2691625.2895 | 1192255.288
48 | 2691588.3829 | 1192285.8905 | 2691580.0157 | 1192290.7687
49 | 2691566.2036 | 1192299.0395 | 2691568.0352 | 1192297.7535 | 2691580.0157 | 1192290.7687
50 | 2691539.4824 | 1192321.1634 | 2691552.1819 | 1192308.8847 | 2691566.2036 | 1192299.0395
51 | 2691565.5802 | 1192256.2137 | 2691562.671 | 1192250.3902
52 | 2691558.2301 | 1192241.5007 | 2691562.671 | 1192250.3902
53 | 2691525.7155 | 1192334.4741 | 2691539.4824 | 1192321.1634
54 | 2691564.8038 | 1192234.5586 | 2691558.2301 | 1192241.5007 | 2691558.2301 | 1192241.5007
55 | 2691525.7155 | 1192334.4741 | 2691515.9801 | 1192349.5799
56 | 2691564.8038 | 1192234.5586 | 2691582.2731 | 1192216.1106
57 | 2691562.6903 | 1192176.0475 | 2691556.5643 | 1192172.0085
58 | 2691552.5395 | 1192171.4577 | 2691556.5643 | 1192172.0085 | 2691556.5643 | 1192172.0085
59 | 2691552.5395 | 1192171.4577 | 2691552.5395 | 1192171.4577 | 2691547.3494 | 1192173.3128 | 2691537.8104 | 1192180.7647
60 | 2691478.4838 | 1192402.7735 | 2691459.9195 | 1192408.2378
61 | 2691474.8634 | 1192389.7432 | 2691476.5898 | 1192396.0069 | 2691478.4838 | 1192402.7735
62 | 2691474.8634 | 1192389.7432 | 2691468.7287 | 1192373.1166 | 2691464.9999 | 1192367.2378
63 | 2691474.8634 | 1192389.7432 | 2691478.7432 | 1192386.8117
64 | 2691459.7132 | 1192358.903 | 2691464.9999 | 1192367.2378
65 | 2691478.7432 | 1192386.8117 | 2691492.5359 | 1192376.3677
66 | 2691496.2487 | 1192399.2317 | 2691491.9223 | 1192388.9924 | 2691478.7432 | 1192386.8117
67 | 2691496.2487 | 1192399.2317 | 2691504.9826 | 1192402.9343 | 2691513.0607 | 1192405.1481 | 2691520.1753 | 1192405.3538
68 | 2691554.269 | 1192414.5955 | 2691538.1543 | 1192407.4556 | 2691531.7175 | 1192405.6004 | 2691521.2301 | 1192405.3843 | 2691520.1753 | 1192405.3538
69 | 2691459.7132 | 1192358.903 | 2691453.5423 | 1192349.1788
70 | 2691459.7132 | 1192358.903 | 2691481.7262 | 1192342.4875
71 | 2691504.6063 | 1192367.2279 | 2691492.5359 | 1192376.3677
72 | 2691554.269 | 1192414.5955 | 2691610.0392 | 1192434.495
73 | 2691401.1105 | 1192241.0702 | 2691397.6557 | 1192231.2473
74 | 2691482.9581 | 1192303.6451 | 2691471.7455 | 1192289.166
75 | 2691495.399 | 1192319.7122 | 2691482.9581 | 1192303.6451
76 | 2691482.9581 | 1192303.6451 | 2691463.7535 | 1192318.0694
77 | 2691495.399 | 1192319.7122 | 2691503.7501 | 1192313.0579
78 | 2691443.4688 | 1192333.305 | 2691463.7535 | 1192318.0694
79 | 2691443.4688 | 1192333.305 | 2691441.3468 | 1192329.9604
80 | 2691443.4688 | 1192333.305 | 2691453.5423 | 1192349.1788
81 | 2691504.6063 | 1192367.2279 | 2691515.9801 | 1192349.5799
82 | 2691504.6063 | 1192367.2279 | 2691504.6131 | 1192361.8023 | 2691492.5523 | 1192348.7476
83 | 2691505.1326 | 1192157.7383 | 2691506.3756 | 1192159.7837
84 | 2691505.1326 | 1192157.7383 | 2691502.1954 | 1192152.9051
85 | 2691494.6846 | 1192146.6126 | 2691499.4903 | 1192148.4539 | 2691502.1954 | 1192152.9051
86 | 2691483.8002 | 1192149.3016 | 2691489.0313 | 1192146.8486 | 2691494.6846 | 1192146.6126 | 2691494.6846 | 1192146.6126
87 | 2691483.8002 | 1192149.3016 | 2691463.7469 | 1192158.705
88 | 2691454.7272 | 1192162.9346 | 2691463.7469 | 1192158.705

## bus_geodata
| x | y | coords
0 | 2691482.0493 | 1192226.1837
1 | 2691481.5457 | 1192226.5988
2 | 2691497.0176 | 1192213.8449
3 | 2691474.8995 | 1192232.0775
4 | 2691504.2938 | 1192207.847
5 | 2691445.994 | 1192255.9052
6 | 2691514.3404 | 1192199.5653
7 | 2691430.8643 | 1192265.7211
8 | 2691456.9236 | 1192270.0231
9 | 2691523.4616 | 1192192.0464
10 | 2691413.6976 | 1192276.8585
11 | 2691464.6779 | 1192280.0395
12 | 2691525.141 | 1192190.6621
13 | 2691408.7649 | 1192150.404
14 | 2691437.8653 | 1192137.9711
15 | 2691373.9264 | 1192163.7788
16 | 2691461.942 | 1192126.7271
17 | 2691382.4006 | 1192187.8734
18 | 2691508.0248 | 1192107.4184
19 | 2691382.4321 | 1192187.9628
20 | 2691535.8671 | 1192099.8519
21 | 2691390.5407 | 1192211.0175
22 | 2691567.798 | 1192095.5506
23 | 2691392.0252 | 1192215.2386
24 | 2691637.2487 | 1192187.2197
25 | 2691634.4156 | 1192198.4613
26 | 2691606.2518 | 1192188.3003
27 | 2691633.2591 | 1192204.9259
28 | 2691598.1018 | 1192199.395
29 | 2691569.6455 | 1192180.6332
30 | 2691588.0052 | 1192210.0573
31 | 2691633.841 | 1192308.1228
32 | 2691632.1635 | 1192304.3706
33 | 2691651.5499 | 1192302.5267
34 | 2691632.1273 | 1192304.2895
35 | 2691664.3577 | 1192298.4793
36 | 2691599.5923 | 1192277.4102
37 | 2691623.6663 | 1192258.146
38 | 2691623.7785 | 1192285.6147
39 | 2691594.9664 | 1192280.9099
40 | 2691628.1 | 1192295.2812
41 | 2691625.2895 | 1192255.288
42 | 2691588.3829 | 1192285.8905
43 | 2691580.0157 | 1192290.7687
44 | 2691566.2036 | 1192299.0395
45 | 2691565.5802 | 1192256.2137
46 | 2691562.671 | 1192250.3902
47 | 2691628.6493 | 1192249.3724
48 | 2691539.4824 | 1192321.1634
49 | 2691558.2301 | 1192241.5007
50 | 2691525.7155 | 1192334.4741
51 | 2691564.8038 | 1192234.5586
52 | 2691582.2731 | 1192216.1106
53 | 2691562.6903 | 1192176.0475
54 | 2691556.5643 | 1192172.0085
55 | 2691552.5395 | 1192171.4577
56 | 2691459.9195 | 1192408.2378
57 | 2691478.4838 | 1192402.7735
58 | 2691474.8634 | 1192389.7432
59 | 2691464.9999 | 1192367.2378
60 | 2691478.7432 | 1192386.8117
61 | 2691496.2487 | 1192399.2317
62 | 2691520.1753 | 1192405.3538
63 | 2691459.7132 | 1192358.903
64 | 2691492.5359 | 1192376.3677
65 | 2691554.269 | 1192414.5955
66 | 2691397.6557 | 1192231.2473
67 | 2691401.1105 | 1192241.0702
68 | 2691471.7455 | 1192289.166
69 | 2691482.9581 | 1192303.6451
70 | 2691495.399 | 1192319.7122
71 | 2691463.7535 | 1192318.0694
72 | 2691446.5197 | 1192293.761
73 | 2691503.7501 | 1192313.0579
74 | 2691443.4688 | 1192333.305
75 | 2691481.7262 | 1192342.4875
76 | 2691441.3468 | 1192329.9604
77 | 2691453.5423 | 1192349.1788
78 | 2691515.9801 | 1192349.5799
79 | 2691504.6063 | 1192367.2279
80 | 2691492.5523 | 1192348.7476
81 | 2691537.8104 | 1192180.7647
82 | 2691506.3756 | 1192159.7837
83 | 2691505.1326 | 1192157.7383
84 | 2691502.1954 | 1192152.9051
85 | 2691494.6846 | 1192146.6126
86 | 2691483.8002 | 1192149.3016
87 | 2691463.7469 | 1192158.705
88 | 2691454.7272 | 1192162.9346
89 | 2691610.0392 | 1192434.495
90 | 2691445.994 | 1192255.9052

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.48022 | -0.1222
1 | 0.99993 | -0.0012333 | 0.015842 | 0.0039704
2 | 0.99913 | -0.016641 | 0.0020473 | 0.00051311
3 | 0.99911 | -0.01673 | 0.0035904 | 0.00089983
4 | 0.9985 | -0.028625 | 0.0060036 | 0.0015046
5 | 0.99559 | -0.083637 | 0 | 0
6 | 0.99684 | -0.060425 | 0.0072982 | 0.0018291
7 | 0.99394 | -0.11508 | 0.0071074 | 0.0017813
8 | 0.99445 | -0.1053 | 0.0022632 | 0.00056722
9 | 0.99541 | -0.08787 | 0.0060003 | 0.0015038
10 | 0.9922 | -0.14832 | 0 | 0
11 | 0.99366 | -0.12054 | 0 | 0
12 | 0.99516 | -0.092702 | 0 | 0
13 | 0.98208 | -0.34423 | 0.0049946 | 0.0012518
14 | 0.98073 | -0.37056 | 0.013465 | 0.0033746
15 | 0.98384 | -0.30989 | 0 | 0
16 | 0.97993 | -0.38624 | 0.0039889 | 0.00099971
17 | 0.98505 | -0.28647 | 0.015716 | 0.0039388
18 | 0.9786 | -0.41218 | 0.0030168 | 0.00075607
19 | 0.98505 | -0.28636 | 0.0037296 | 0.00093472
20 | 0.97792 | -0.4256 | 0.012814 | 0.0032115
21 | 0.98664 | -0.25549 | 0.0024421 | 0.00061206
22 | 0.97754 | -0.43307 | 0.012699 | 0.0031826
23 | 0.98695 | -0.24966 | 0.0018591 | 0.00046594
24 | 0.9894 | -0.20385 | 0 | 0
25 | 0.98938 | -0.20416 | 0 | 0
26 | 0.98945 | -0.20285 | 0.0070056 | 0.0017558
27 | 0.98937 | -0.20434 | 0.0014948 | 0.00037462
28 | 0.98956 | -0.20077 | 0 | 0
29 | 0.99124 | -0.16809 | 0.013065 | 0.0032743
30 | 0.98894 | -0.21266 | 0.002068 | 0.00051829
31 | 0.97329 | -0.51605 | 0.0097942 | 0.0024547
32 | 0.97334 | -0.51512 | 0.004327 | 0.0010844
33 | 0.97324 | -0.51693 | 0.0012769 | 0.00032002
34 | 0.97334 | -0.51509 | 0.0043535 | 0.0010911
35 | 0.97323 | -0.51725 | 0.001289 | 0.00032305
36 | 0.97431 | -0.49597 | 0.0074316 | 0.0018625
37 | 0.97418 | -0.49849 | 0.0016597 | 0.00041595
38 | 0.97375 | -0.50693 | 0.001022 | 0.00025615
39 | 0.9745 | -0.49222 | 0.0010153 | 0.00025445
40 | 0.97353 | -0.51127 | 0.0012901 | 0.00032334
41 | 0.97417 | -0.49865 | 0.0014529 | 0.00036413
42 | 0.97478 | -0.48674 | 0 | 0
43 | 0.9751 | -0.48031 | 0.0035124 | 0.00088028
44 | 0.9757 | -0.46859 | 0.01522 | 0.0038144
45 | 0.98745 | -0.24165 | 0.0063787 | 0.0015986
46 | 0.98749 | -0.2409 | 0.0035719 | 0.0008952
47 | 0.97416 | -0.49881 | 0.0012893 | 0.00032312
48 | 0.97748 | -0.43365 | 0.0035356 | 0.00088611
49 | 0.98758 | -0.23914 | 0.013452 | 0.0033713
50 | 0.97852 | -0.41324 | 0 | 0
51 | 0.98779 | -0.23514 | 0.011957 | 0.0029967
52 | 0.98861 | -0.21911 | 0.0080287 | 0.0020122
53 | 0.99176 | -0.15819 | 0.004974 | 0.0012466
54 | 0.99224 | -0.14883 | 0.0042807 | 0.0010728
55 | 0.99253 | -0.14334 | 0.0069304 | 0.0017369
56 | 0.98301 | -0.32574 | 0.010631 | 0.0026644
57 | 0.9832 | -0.32203 | 0 | 0
58 | 0.98333 | -0.31944 | 0 | 0
59 | 0.98569 | -0.2737 | 0.011449 | 0.0028695
60 | 0.98292 | -0.32753 | 0 | 0
61 | 0.98259 | -0.33393 | 0 | 0
62 | 0.98226 | -0.34048 | 0.0054032 | 0.0013542
63 | 0.98674 | -0.25346 | 0 | 0
64 | 0.98167 | -0.35187 | 0.010881 | 0.0027272
65 | 0.98195 | -0.34639 | 0.0047291 | 0.0011852
66 | 0.98812 | -0.22699 | 0.015486 | 0.0038812
67 | 0.98899 | -0.21023 | 0.0016676 | 0.00041795
68 | 0.99295 | -0.13412 | 0.0027392 | 0.00068651
69 | 0.99184 | -0.15542 | 0 | 0
70 | 0.99129 | -0.16592 | 0 | 0
71 | 0.99059 | -0.17928 | 0.02016 | 0.0050525
72 | 0.99356 | -0.12239 | 0.0046259 | 0.0011594
73 | 0.99101 | -0.17144 | 0.029164 | 0.0073091
74 | 0.98944 | -0.20151 | 0 | 0
75 | 0.9862 | -0.26401 | 0.021455 | 0.0053772
76 | 0.98942 | -0.20186 | 0.0048625 | 0.0012187
77 | 0.98819 | -0.22547 | 0.0070206 | 0.0017595
78 | 0.9795 | -0.39413 | 0.0042606 | 0.0010678
79 | 0.98072 | -0.37023 | 0 | 0
80 | 0.98063 | -0.37203 | 0.0042633 | 0.0010685
81 | 0.99387 | -0.11744 | 0.0041165 | 0.0010317
82 | 0.99387 | -0.11744 | 0.0037463 | 0.00093892
83 | 0.9938 | -0.11892 | 0.0039388 | 0.00098715
84 | 0.99364 | -0.12203 | 0.0037561 | 0.00094138
85 | 0.99338 | -0.12704 | 0.0026173 | 0.00065596
86 | 0.99312 | -0.13205 | 0.0054324 | 0.0013615
87 | 0.99273 | -0.13963 | 0.0070218 | 0.0017598
88 | 0.99262 | -0.1418 | 0.012332 | 0.0030907
89 | 0.98171 | -0.35109 | 0.0043849 | 0.001099
90 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.32991 | 0.084504 | -0.32989 | -0.084491 | 1.9712e-05 | 1.259e-05 | 0.49155 | 0.49155 | 0.49155 | 1 | 0 | 0.99993 | -0.0012333 | 45.014
1 | 0.14866 | 0.037697 | -0.14854 | -0.037622 | 0.00011882 | 7.5282e-05 | 0.22136 | 0.22136 | 0.22136 | 1 | 0 | 0.99913 | -0.016641 | 20.2714
2 | 0.31405 | 0.080521 | -0.31381 | -0.08037 | 0.00023579 | 0.00015057 | 0.46798 | 0.46798 | 0.46798 | 0.99993 | -0.0012333 | 0.99911 | -0.01673 | 42.8552
3 | 0.14649 | 0.037109 | -0.14641 | -0.037055 | 8.4268e-05 | 5.3685e-05 | 0.21832 | 0.21832 | 0.21832 | 0.99913 | -0.016641 | 0.9985 | -0.028625 | 29.9883
4 | 0.31022 | 0.07947 | -0.30922 | -0.07883 | 0.0010022 | 0.00063994 | 0.46263 | 0.46263 | 0.46263 | 0.99911 | -0.01673 | 0.99559 | -0.083637 | 42.3656
5 | 0.14041 | 0.035551 | -0.14019 | -0.035414 | 0.00021403 | 0.00013681 | 0.20937 | 0.20937 | 0.20937 | 0.9985 | -0.028625 | 0.99684 | -0.060425 | 57.5188
6 | 0.10012 | 0.025531 | -0.09997 | -0.025434 | 0.00015176 | 9.6894e-05 | 0.1498 | 0.1498 | 0.1498 | 0.99559 | -0.083637 | 0.99394 | -0.11508 | 41.1535
7 | 0.2091 | 0.0533 | -0.20888 | -0.053161 | 0.00021841 | 0.00013909 | 0.31283 | 0.31283 | 0.31283 | 0.99559 | -0.083637 | 0.99445 | -0.1053 | 28.6478
8 | 0.13289 | 0.033585 | -0.13272 | -0.033473 | 0.00017462 | 0.0001116 | 0.19847 | 0.19847 | 0.19847 | 0.99684 | -0.060425 | 0.99541 | -0.08787 | 54.5259
9 | 0.092863 | 0.023653 | -0.092714 | -0.023558 | 0.0001486 | 9.484e-05 | 0.13916 | 0.13916 | 0.13916 | 0.99394 | -0.11508 | 0.9922 | -0.14832 | 38.2304
10 | 0.20661 | 0.052593 | -0.20646 | -0.052497 | 0.00015162 | 9.6546e-05 | 0.30945 | 0.30945 | 0.30945 | 0.99445 | -0.1053 | 0.99366 | -0.12054 | 28.3377
11 | 0.12672 | 0.031969 | -0.12669 | -0.031951 | 2.9309e-05 | 1.8729e-05 | 0.1895 | 0.1895 | 0.1895 | 0.99541 | -0.08787 | 0.99516 | -0.092702 | 52.0616
12 | 0.092714 | 0.023558 | -0.092439 | -0.023382 | 0.0002755 | 0.00017583 | 0.13916 | 0.13916 | 0.13916 | 0.9922 | -0.14832 | 0.98899 | -0.21023 | 38.2304
13 | 0.0046263 | 0.0011593 | -0.0046259 | -0.0011594 | 4.0964e-07 | -3.2616e-08 | 0.0069279 | 0.006928 | 0.006928 | 0.99366 | -0.12054 | 0.99356 | -0.12239 | 1.9033
14 | 0.20184 | 0.051338 | -0.2017 | -0.051254 | 0.00013205 | 8.4065e-05 | 0.30252 | 0.30252 | 0.30252 | 0.99366 | -0.12054 | 0.99295 | -0.13412 | 27.7033
15 | 0.087771 | 0.022169 | -0.087667 | -0.022103 | 0.00010394 | 6.6312e-05 | 0.1313 | 0.1313 | 0.1313 | 0.99516 | -0.092702 | 0.99387 | -0.11744 | 36.0718
16 | 0.038919 | 0.0097814 | -0.038873 | -0.0097524 | 4.5902e-05 | 2.8908e-05 | 0.058203 | 0.058203 | 0.058203 | 0.99516 | -0.092702 | 0.99387 | -0.11744 | 15.9899
17 | 0.046122 | 0.011611 | -0.046064 | -0.011574 | 5.7984e-05 | 3.671e-05 | 0.069901 | 0.069901 | 0.069901 | 0.98208 | -0.34423 | 0.98073 | -0.37056 | 19.2037
18 | -0.051116 | -0.012863 | 0.051201 | 0.012916 | 8.401e-05 | 5.3293e-05 | 0.077469 | 0.077469 | 0.077469 | 0.98208 | -0.34423 | 0.98384 | -0.30989 | 21.2826
19 | 0.032599 | 0.0081997 | -0.032575 | -0.0081845 | 2.4394e-05 | 1.5277e-05 | 0.049472 | 0.049472 | 0.049472 | 0.98073 | -0.37056 | 0.97993 | -0.38624 | 13.5911
20 | -0.051201 | -0.012916 | 0.051258 | 0.012953 | 5.7481e-05 | 3.6463e-05 | 0.077469 | 0.077469 | 0.077469 | 0.98384 | -0.30989 | 0.98505 | -0.28647 | 21.2826
21 | 0.028586 | 0.0071847 | -0.02855 | -0.0071627 | 3.5362e-05 | 2.2002e-05 | 0.043415 | 0.043415 | 0.043415 | 0.97993 | -0.38624 | 0.9786 | -0.41218 | 11.9271
22 | -0.066974 | -0.016891 | 0.066974 | 0.016892 | 3.6377e-07 | 2.3161e-07 | 0.10121 | 0.10121 | 0.10121 | 0.98505 | -0.28647 | 0.98505 | -0.28636 | 27.8047
23 | 0.025534 | 0.0064067 | -0.025517 | -0.0063966 | 1.6329e-05 | 1.0088e-05 | 0.038828 | 0.038828 | 0.038828 | 0.9786 | -0.41218 | 0.97792 | -0.4256 | 10.667
24 | -0.070704 | -0.017826 | 0.070808 | 0.017893 | 0.00010462 | 6.6644e-05 | 0.10684 | 0.10684 | 0.10684 | 0.98505 | -0.28636 | 0.98664 | -0.25549 | 29.3524
25 | 0.012703 | 0.003185 | -0.012699 | -0.0031826 | 4.5198e-06 | 2.4881e-06 | 0.01933 | 0.01933 | 0.01933 | 0.97792 | -0.4256 | 0.97754 | -0.43307 | 5.3104
26 | -0.073251 | -0.018505 | 0.073271 | 0.018518 | 2.0498e-05 | 1.3061e-05 | 0.11053 | 0.11053 | 0.11053 | 0.98664 | -0.25549 | 0.98695 | -0.24966 | 30.3642
27 | -0.07513 | -0.018984 | 0.075212 | 0.019036 | 8.1732e-05 | 5.2092e-05 | 0.11333 | 0.11333 | 0.11333 | 0.98695 | -0.24966 | 0.98812 | -0.22699 | 31.1343
28 | 0.0014948 | 0.00037441 | -0.0014948 | -0.00037455 | 2.1973e-08 | -1.3483e-07 | 0.002248 | 0.0022481 | 0.0022481 | 0.9894 | -0.20385 | 0.98938 | -0.20416 | 0.61761
29 | -0.0014948 | -0.00037441 | 0.0014949 | 0.00037398 | 7.1213e-08 | -4.3707e-07 | 0.002248 | 0.0022479 | 0.002248 | 0.9894 | -0.20385 | 0.98945 | -0.20285 | 0.61759
30 | 0.0014948 | 0.00037455 | -0.0014948 | -0.00037462 | 1.2447e-08 | -7.6371e-08 | 0.0022481 | 0.0022481 | 0.0022481 | 0.98938 | -0.20416 | 0.98937 | -0.20434 | 0.61762
31 | -0.0085005 | -0.0021298 | 0.0085014 | 0.0021301 | 8.4363e-07 | 3.6309e-07 | 0.012784 | 0.012783 | 0.012784 | 0.98945 | -0.20285 | 0.98956 | -0.20077 | 3.512
32 | -0.054029 | -0.013567 | 0.054113 | 0.013621 | 8.4387e-05 | 5.3569e-05 | 0.081254 | 0.081254 | 0.081254 | 0.98956 | -0.20077 | 0.99124 | -0.16809 | 22.3225
33 | 0.045528 | 0.011437 | -0.045502 | -0.011421 | 2.5816e-05 | 1.6334e-05 | 0.06847 | 0.06847 | 0.06847 | 0.98956 | -0.20077 | 0.98894 | -0.21266 | 18.8106
34 | -0.067178 | -0.016895 | 0.06721 | 0.016915 | 3.1784e-05 | 2.0234e-05 | 0.10087 | 0.10087 | 0.10087 | 0.99124 | -0.16809 | 0.99176 | -0.15819 | 27.7104
35 | 0.043434 | 0.010903 | -0.04342 | -0.010894 | 1.3355e-05 | 8.4401e-06 | 0.065359 | 0.065359 | 0.065359 | 0.98894 | -0.21266 | 0.98861 | -0.21911 | 17.9557
36 | -0.01236 | -0.0030974 | 0.012361 | 0.0030977 | 5.5039e-07 | 3.0116e-07 | 0.018897 | 0.018897 | 0.018897 | 0.97329 | -0.51605 | 0.97334 | -0.51512 | 5.1914
37 | 0.002566 | 0.00064275 | -0.0025659 | -0.00064291 | 1.0718e-07 | -1.622e-07 | 0.0039229 | 0.003923 | 0.003923 | 0.97329 | -0.51605 | 0.97324 | -0.51693 | 1.0777
38 | -0.016688 | -0.0041822 | 0.016688 | 0.0041822 | 2.1677e-08 | 1.2769e-08 | 0.025512 | 0.025512 | 0.025512 | 0.97334 | -0.51512 | 0.97334 | -0.51509 | 7.0087
39 | 0.001289 | 0.00032289 | -0.001289 | -0.00032305 | 1.9563e-08 | -1.5439e-07 | 0.0019707 | 0.0019708 | 0.0019708 | 0.97324 | -0.51693 | 0.97323 | -0.51725 | 0.54142
40 | -0.021041 | -0.0052733 | 0.021045 | 0.0052756 | 3.8288e-06 | 2.3278e-06 | 0.032167 | 0.032167 | 0.032167 | 0.97334 | -0.51509 | 0.97353 | -0.51127 | 8.8372
41 | 0.0044024 | 0.001103 | -0.0044018 | -0.0011031 | 5.2847e-07 | -4.9966e-08 | 0.0067234 | 0.0067236 | 0.0067236 | 0.97431 | -0.49597 | 0.97418 | -0.49849 | 1.8471
42 | 0.023374 | 0.0058654 | -0.023362 | -0.0058579 | 1.2207e-05 | 7.4946e-06 | 0.035701 | 0.035701 | 0.035701 | 0.97431 | -0.49597 | 0.97375 | -0.50693 | 9.808
43 | -0.035208 | -0.008831 | 0.035214 | 0.0088349 | 6.29e-06 | 3.9533e-06 | 0.053774 | 0.053774 | 0.053774 | 0.97431 | -0.49597 | 0.9745 | -0.49222 | 14.7731
44 | 0.0027422 | 0.00068714 | -0.0027422 | -0.00068717 | 2.1623e-08 | -2.7083e-08 | 0.0041885 | 0.0041885 | 0.0041885 | 0.97418 | -0.49849 | 0.97417 | -0.49865 | 1.1507
45 | 0.02234 | 0.0056018 | -0.022335 | -0.0055989 | 4.6278e-06 | 2.8301e-06 | 0.034139 | 0.034139 | 0.034139 | 0.97375 | -0.50693 | 0.97353 | -0.51127 | 9.3789
46 | -0.03623 | -0.0090894 | 0.036239 | 0.0090953 | 9.4753e-06 | 5.9613e-06 | 0.055324 | 0.055324 | 0.055324 | 0.9745 | -0.49222 | 0.97478 | -0.48674 | 15.199
47 | 0.0012893 | 0.00032304 | -0.0012893 | -0.00032312 | 9.8941e-09 | -7.8369e-08 | 0.0019693 | 0.0019693 | 0.0019693 | 0.97417 | -0.49865 | 0.97416 | -0.49881 | 0.54103
48 | -0.036239 | -0.0090953 | 0.03625 | 0.0091023 | 1.1117e-05 | 6.994e-06 | 0.055324 | 0.055324 | 0.055324 | 0.97478 | -0.48674 | 0.9751 | -0.48031 | 15.199
49 | -0.039763 | -0.0099826 | 0.039785 | 0.0099966 | 2.2242e-05 | 1.4034e-05 | 0.060684 | 0.060684 | 0.060684 | 0.9751 | -0.48031 | 0.9757 | -0.46859 | 16.6715
50 | -0.055005 | -0.013811 | 0.055096 | 0.013869 | 9.1845e-05 | 5.8346e-05 | 0.083896 | 0.083895 | 0.083896 | 0.9757 | -0.46859 | 0.97748 | -0.43365 | 23.0482
51 | -0.0063787 | -0.0015986 | 0.0063789 | 0.0015987 | 2.2554e-07 | 6.1073e-08 | 0.0096122 | 0.0096122 | 0.0096122 | 0.98745 | -0.24165 | 0.98749 | -0.2409 | 2.6407
52 | -0.0099508 | -0.0024939 | 0.0099517 | 0.0024943 | 8.3782e-07 | 4.0907e-07 | 0.014995 | 0.014994 | 0.014995 | 0.98749 | -0.2409 | 0.98758 | -0.23914 | 4.1194
53 | -0.058632 | -0.014756 | 0.058689 | 0.014792 | 5.7237e-05 | 3.6391e-05 | 0.089278 | 0.089278 | 0.089278 | 0.97748 | -0.43365 | 0.97852 | -0.41324 | 24.5268
54 | -0.023403 | -0.0058656 | 0.023408 | 0.0058684 | 4.4581e-06 | 2.7308e-06 | 0.035263 | 0.035262 | 0.035263 | 0.98758 | -0.23914 | 0.98779 | -0.23514 | 9.6875
55 | -0.058689 | -0.014792 | 0.058743 | 0.014826 | 5.3715e-05 | 3.4151e-05 | 0.089278 | 0.089277 | 0.089278 | 0.97852 | -0.41324 | 0.9795 | -0.39413 | 24.5268
56 | -0.035365 | -0.0088651 | 0.035392 | 0.008882 | 2.7041e-05 | 1.6981e-05 | 0.053275 | 0.053274 | 0.053275 | 0.98779 | -0.23514 | 0.98861 | -0.21911 | 14.6359
57 | -0.072184 | -0.018162 | 0.072216 | 0.018183 | 3.2291e-05 | 2.0571e-05 | 0.10833 | 0.10833 | 0.10833 | 0.99176 | -0.15819 | 0.99224 | -0.14883 | 29.7606
58 | -0.076497 | -0.019256 | 0.076517 | 0.019268 | 2.0059e-05 | 1.2785e-05 | 0.11475 | 0.11475 | 0.11475 | 0.99224 | -0.14883 | 0.99253 | -0.14334 | 31.5242
59 | -0.083447 | -0.021005 | 0.083551 | 0.021071 | 0.00010345 | 6.598e-05 | 0.12514 | 0.12514 | 0.12514 | 0.99253 | -0.14334 | 0.99387 | -0.11744 | 34.3787
60 | -0.010631 | -0.0026644 | 0.010633 | 0.0026654 | 1.8794e-06 | 9.5743e-07 | 0.016093 | 0.016093 | 0.016093 | 0.98301 | -0.32574 | 0.9832 | -0.32203 | 4.4211
61 | -0.010633 | -0.0026654 | 0.010634 | 0.0026661 | 1.3134e-06 | 6.6904e-07 | 0.016093 | 0.016093 | 0.016093 | 0.9832 | -0.32203 | 0.98333 | -0.31944 | 4.4211
62 | -0.10357 | -0.026165 | 0.1038 | 0.02631 | 0.00022759 | 0.00014534 | 0.1568 | 0.1568 | 0.1568 | 0.98333 | -0.31944 | 0.98569 | -0.2737 | 43.0777
63 | 0.092937 | 0.023499 | -0.092901 | -0.023476 | 3.604e-05 | 2.3004e-05 | 0.14071 | 0.14071 | 0.14071 | 0.98333 | -0.31944 | 0.98292 | -0.32753 | 38.6566
64 | -0.11525 | -0.02918 | 0.11536 | 0.029252 | 0.00011217 | 7.1664e-05 | 0.17409 | 0.17409 | 0.17409 | 0.98569 | -0.2737 | 0.98674 | -0.25346 | 47.826
65 | 0.078372 | 0.019831 | -0.07828 | -0.019773 | 9.1431e-05 | 5.8297e-05 | 0.11871 | 0.11871 | 0.11871 | 0.98292 | -0.32753 | 0.98167 | -0.35187 | 32.6135
66 | 0.01453 | 0.0036445 | -0.014525 | -0.003642 | 4.4335e-06 | 2.5278e-06 | 0.021997 | 0.021997 | 0.021997 | 0.98292 | -0.32753 | 0.98259 | -0.33393 | 6.0432
67 | 0.014525 | 0.003642 | -0.014521 | -0.0036394 | 4.5328e-06 | 2.5847e-06 | 0.021997 | 0.021997 | 0.021997 | 0.98259 | -0.33393 | 0.98226 | -0.34048 | 6.0433
68 | 0.0091175 | 0.0022853 | -0.009115 | -0.0022841 | 2.5662e-06 | 1.1885e-06 | 0.013812 | 0.013812 | 0.013812 | 0.98226 | -0.34048 | 0.98195 | -0.34639 | 3.7946
69 | -0.13683 | -0.034635 | 0.13701 | 0.034753 | 0.00018409 | 0.00011767 | 0.20646 | 0.20646 | 0.20646 | 0.98674 | -0.25346 | 0.98819 | -0.22547 | 56.7196
70 | 0.021466 | 0.0053838 | -0.021455 | -0.0053772 | 1.0792e-05 | 6.556e-06 | 0.032373 | 0.032373 | 0.032373 | 0.98674 | -0.25346 | 0.9862 | -0.26401 | 8.8936
71 | 0.067399 | 0.017046 | -0.067339 | -0.017008 | 5.9324e-05 | 3.7776e-05 | 0.10222 | 0.10222 | 0.10222 | 0.98167 | -0.35187 | 0.98072 | -0.37023 | 28.0821
72 | 0.0043859 | 0.0010988 | -0.0043849 | -0.001099 | 9.8085e-07 | -1.2114e-07 | 0.0066461 | 0.0066463 | 0.0066463 | 0.98195 | -0.34639 | 0.98171 | -0.35109 | 1.8259
73 | -0.090698 | -0.022917 | 0.090771 | 0.022964 | 7.2915e-05 | 4.6532e-05 | 0.13665 | 0.13665 | 0.13665 | 0.98812 | -0.22699 | 0.98899 | -0.21023 | 37.5411
74 | 0.19896 | 0.050567 | -0.19876 | -0.050437 | 0.00020385 | 0.00012975 | 0.29841 | 0.29841 | 0.29841 | 0.99295 | -0.13412 | 0.99184 | -0.15542 | 27.3274
75 | 0.029186 | 0.007323 | -0.029171 | -0.0073139 | 1.4598e-05 | 9.0809e-06 | 0.04379 | 0.04379 | 0.04379 | 0.99184 | -0.15542 | 0.99129 | -0.16592 | 12.0302
76 | 0.16957 | 0.043114 | -0.16938 | -0.042991 | 0.00019465 | 0.00012365 | 0.25463 | 0.25463 | 0.25463 | 0.99184 | -0.15542 | 0.99059 | -0.17928 | 23.3174
77 | 0.029171 | 0.0073139 | -0.029164 | -0.0073091 | 7.6784e-06 | 4.7766e-06 | 0.04379 | 0.04379 | 0.04379 | 0.99129 | -0.16592 | 0.99101 | -0.17144 | 12.0302
78 | 0.14922 | 0.037938 | -0.14906 | -0.037837 | 0.0001596 | 0.00010117 | 0.22434 | 0.22434 | 0.22434 | 0.99059 | -0.17928 | 0.98944 | -0.20151 | 20.5443
79 | 0.0048626 | 0.0012187 | -0.0048625 | -0.0012187 | 7.9435e-08 | -3.3836e-11 | 0.0073129 | 0.0073129 | 0.0073129 | 0.98944 | -0.20151 | 0.98942 | -0.20186 | 2.009
80 | 0.1442 | 0.036618 | -0.14403 | -0.036513 | 0.00016604 | 0.00010578 | 0.21703 | 0.21703 | 0.21703 | 0.98944 | -0.20151 | 0.98819 | -0.22547 | 29.8119
81 | -0.063004 | -0.015894 | 0.063076 | 0.01594 | 7.2183e-05 | 4.5933e-05 | 0.09575 | 0.09575 | 0.09575 | 0.9795 | -0.39413 | 0.98072 | -0.37023 | 26.305
82 | 0.0042636 | 0.0010684 | -0.0042633 | -0.0010685 | 3.6406e-07 | -5.9703e-08 | 0.006469 | 0.0064691 | 0.0064691 | 0.98072 | -0.37023 | 0.98063 | -0.37203 | 1.7772
83 | 0.035126 | 0.0088135 | -0.035124 | -0.008812 | 2.4828e-06 | 1.558e-06 | 0.052594 | 0.052594 | 0.052594 | 0.99387 | -0.11744 | 0.9938 | -0.11892 | 14.449
84 | 0.031185 | 0.0078248 | -0.03118 | -0.0078219 | 4.6248e-06 | 2.8866e-06 | 0.046697 | 0.046697 | 0.046697 | 0.9938 | -0.11892 | 0.99364 | -0.12203 | 12.8288
85 | 0.027424 | 0.0068806 | -0.027418 | -0.0068765 | 6.5504e-06 | 4.0582e-06 | 0.041072 | 0.041072 | 0.041072 | 0.99364 | -0.12203 | 0.99338 | -0.12704 | 11.2835
86 | 0.0248 | 0.0062205 | -0.024795 | -0.0062169 | 5.919e-06 | 3.6401e-06 | 0.037151 | 0.037151 | 0.037151 | 0.99338 | -0.12704 | 0.99312 | -0.13205 | 10.2064
87 | 0.019362 | 0.0048554 | -0.019355 | -0.0048512 | 6.9908e-06 | 4.1876e-06 | 0.029012 | 0.029012 | 0.029012 | 0.99312 | -0.13205 | 0.99273 | -0.13963 | 7.9703
88 | 0.012333 | 0.0030914 | -0.012332 | -0.0030907 | 1.2767e-06 | 6.8833e-07 | 0.018487 | 0.018487 | 0.018487 | 0.99273 | -0.13963 | 0.99262 | -0.1418 | 5.0788

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48351 | 0.12303

## res_load
| p_mw | q_mvar
0 | 0.0032884 | 0.00082415
1 | 0.015842 | 0.0039704
2 | 0.0020473 | 0.00051311
3 | 0.0035904 | 0.00089983
4 | 0.0060036 | 0.0015046
5 | 0.0072982 | 0.0018291
6 | 0.0071074 | 0.0017813
7 | 0.0022632 | 0.00056722
8 | 0.0060003 | 0.0015038
9 | 0.0049946 | 0.0012518
10 | 0.013465 | 0.0033746
11 | 0.0039889 | 0.00099971
12 | 0.015716 | 0.0039388
13 | 0.0030168 | 0.00075607
14 | 0.0037296 | 0.00093472
15 | 0.012814 | 0.0032115
16 | 0.0024421 | 0.00061206
17 | 0.012699 | 0.0031826
18 | 0.0018591 | 0.00046594
19 | 0.0070056 | 0.0017558
20 | 0.0014948 | 0.00037462
21 | 0.013065 | 0.0032743
22 | 0.002068 | 0.00051829
23 | 0.0097942 | 0.0024547
24 | 0.004327 | 0.0010844
25 | 0.0012769 | 0.00032002
26 | 0.0043535 | 0.0010911
27 | 0.001289 | 0.00032305
28 | 0.0074316 | 0.0018625
29 | 0.0016597 | 0.00041595
30 | 0.001022 | 0.00025615
31 | 0.0010153 | 0.00025445
32 | 0.0012901 | 0.00032334
33 | 0.0014529 | 0.00036413
34 | 0.0035124 | 0.00088028
35 | 0.01522 | 0.0038144
36 | 0.0063787 | 0.0015986
37 | 0.0035719 | 0.0008952
38 | 0.0012893 | 0.00032312
39 | 0.0035356 | 0.00088611
40 | 0.013452 | 0.0033713
41 | 0.011957 | 0.0029967
42 | 0.0080287 | 0.0020122
43 | 0.004974 | 0.0012466
44 | 0.0042807 | 0.0010728
45 | 0.0069304 | 0.0017369
46 | 0.010631 | 0.0026644
47 | 0.011449 | 0.0028695
48 | 0.0054032 | 0.0013542
49 | 0.010881 | 0.0027272
50 | 0.0047291 | 0.0011852
51 | 0.015486 | 0.0038812
52 | 0.0016676 | 0.00041795
53 | 0.0027392 | 0.00068651
54 | 0.02016 | 0.0050525
55 | 0.0046259 | 0.0011594
56 | 0.029164 | 0.0073091
57 | 0.021455 | 0.0053772
58 | 0.0048625 | 0.0012187
59 | 0.0070206 | 0.0017595
60 | 0.0042606 | 0.0010678
61 | 0.0042633 | 0.0010685
62 | 0.0041165 | 0.0010317
63 | 0.0037463 | 0.00093892
64 | 0.0039388 | 0.00098715
65 | 0.0037561 | 0.00094138
66 | 0.0026173 | 0.00065596
67 | 0.0054324 | 0.0013615
68 | 0.0070218 | 0.0017598
69 | 0.012332 | 0.0030907
70 | 0.0043849 | 0.001099

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1