## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1201-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1201-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1201-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1201-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1201-1_0_5_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_1201-1_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1201-1_0_5_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1201-1_0_5_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1201-1_0_5_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_1201-1_0_5_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_1201-1_0_5_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_1201-1_0_5_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_1201-1_0_5_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_1201-1_0_5_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_1201-1_0_5_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_1201-1_0_5_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_1201-1_0_5_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_1201-1_0_5_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_1201-1_0_5_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_1201-1_0_5_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_1201-1_0_5_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_1201-1_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_1201-1_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1201-1_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1201-1_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1201-1_0_5_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_1201-1_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1201-1_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1201-1_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1201-1_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1201-1_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_1201-1_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1201-1_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1201-1_0_5_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_1201-1_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1201-1_0_5_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_1201-1_0_5_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_1201-1_0_5_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_1201-1_0_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1201-1_0_5_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_1201-1_0_5_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1201-1_0_5_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_1201-1_0_5_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1201-1_0_5_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_1201-1_0_5_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_1201-1_0_5_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_1201-1_0_5_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_1201-1_0_5_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_1201-1_0_5_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_1201-1_0_5_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_1201-1_0_5_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_1201-1_0_5_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1201-1_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_1201-1_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_1201-1_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1201-1_0_5_node_50 | 0.4 | n |  | TRUE
56 | bus_MV_12_0_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1201-1_0_5_load_0 | 0 | 0.0010252 | 0.00025695 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1201-1_0_5_load_1 | 1 | 0.0017454 | 0.00043743 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1201-1_0_5_load_2 | 2 | 0.0022626 | 0.00056705 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1201-1_0_5_load_38 | 4 | 0.0021916 | 0.00054927 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1201-1_0_5_load_4 | 5 | 0.0089744 | 0.0022492 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1201-1_0_5_load_13 | 6 | 0.005984 | 0.0014997 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1201-1_0_5_load_11 | 7 | 0.0231 | 0.0057893 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1201-1_0_5_load_33 | 8 | 0.0028104 | 0.00070434 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1201-1_0_5_load_37 | 9 | 0.00076525 | 0.00019179 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1201-1_0_5_load_29 | 10 | 0.0076967 | 0.001929 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1201-1_0_5_load_30 | 11 | 0.0014796 | 0.00037083 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1201-1_0_5_load_31 | 12 | 0.0027574 | 0.00069107 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1201-1_0_5_load_35 | 15 | 0.0018826 | 0.00047183 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1201-1_0_5_load_5 | 16 | 0.0010831 | 0.00027145 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1201-1_0_5_load_6 | 17 | 0.0086593 | 0.0021702 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1201-1_0_5_load_8 | 19 | 0.023417 | 0.0058688 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1201-1_0_5_load_9 | 20 | 0.0010587 | 0.00026532 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1201-1_0_5_load_10 | 21 | 0.0081942 | 0.0020537 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1201-1_0_5_load_15 | 23 | 0.0025867 | 0.00064828 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1201-1_0_5_load_12 | 24 | 0.0081021 | 0.0020306 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1201-1_0_5_load_16 | 27 | 0.020601 | 0.0051631 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1201-1_0_5_load_17 | 28 | 0.0038851 | 0.00097369 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1201-1_0_5_load_20 | 31 | 0.0023319 | 0.00058443 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1201-1_0_5_load_24 | 34 | 0.024525 | 0.0061466 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1201-1_0_5_load_40 | 35 | 0.0049541 | 0.0012416 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1201-1_0_5_load_39 | 36 | 0.0022473 | 0.00056323 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1201-1_0_5_load_26 | 38 | 0.023719 | 0.0059446 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1201-1_0_5_load_44 | 40 | 0.0021511 | 0.00053911 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1201-1_0_5_load_49 | 41 | 0.0033625 | 0.00084272 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1201-1_0_5_load_41 | 42 | 0.0012283 | 0.00030783 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1201-1_0_5_load_53 | 44 | 0.0028012 | 0.00070204 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1201-1_0_5_load_25 | 45 | 0.015062 | 0.0037749 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1201-1_0_5_load_58 | 46 | 0.0077659 | 0.0019463 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1201-1_0_5_load_57 | 48 | 0.0027216 | 0.0006821 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1201-1_0_5_load_52 | 50 | 0.0096735 | 0.0024244 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1201-1_0_5_load_43 | 52 | 0.0025153 | 0.00063038 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1201-1_0_5_load_47 | 54 | 0.0021371 | 0.00053561 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1201-1_0_5_load_50 | 55 | 0.0028446 | 0.00071293 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1201-1_0_5_line_0 |  | 0 | 1 | 0.009832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1201-1_0_5_line_1 |  | 0 | 2 | 0.10635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1201-1_0_5_line_2 |  | 1 | 3 | 0.13793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1201-1_0_5_line_3 |  | 1 | 4 | 0.15468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1201-1_0_5_line_4 |  | 2 | 5 | 0.016978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1201-1_0_5_line_5 |  | 3 | 8 | 0.20438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1201-1_0_5_line_6 |  | 4 | 9 | 0.012535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1201-1_0_5_line_7 |  | 5 | 6 | 0.12753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1201-1_0_5_line_8 |  | 6 | 7 | 0.0039818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1201-1_0_5_line_9 |  | 7 | 24 | 0.032638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1201-1_0_5_line_10 |  | 8 | 12 | 0.015274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1201-1_0_5_line_11 |  | 10 | 11 | 0.00035506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1201-1_0_5_line_12 |  | 10 | 12 | 0.0094552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1201-1_0_5_line_13 |  | 11 | 13 | 0.076273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1201-1_0_5_line_14 |  | 13 | 14 | 0.08482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1201-1_0_5_line_15 |  | 14 | 15 | 0.048184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1201-1_0_5_line_16 |  | 16 | 17 | 0.036479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1201-1_0_5_line_17 |  | 16 | 18 | 0.0055413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1201-1_0_5_line_18 |  | 17 | 19 | 0.00057772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1201-1_0_5_line_19 |  | 18 | 20 | 0.023849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1201-1_0_5_line_20 |  | 18 | 21 | 0.048963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1201-1_0_5_line_21 |  | 19 | 22 | 0.020411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1201-1_0_5_line_22 |  | 22 | 23 | 0.014336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1201-1_0_5_line_23 |  | 22 | 24 | 0.020015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1201-1_0_5_line_24 |  | 23 | 25 | 0.017925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1201-1_0_5_line_25 |  | 25 | 26 | 0.12958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1201-1_0_5_line_26 |  | 26 | 37 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1201-1_0_5_line_27 |  | 26 | 38 | 0.093697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1201-1_0_5_line_28 |  | 27 | 28 | 0.010665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1201-1_0_5_line_29 |  | 27 | 29 | 0.031911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1201-1_0_5_line_30 |  | 28 | 30 | 0.019266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1201-1_0_5_line_31 |  | 29 | 31 | 0.016841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1201-1_0_5_line_32 |  | 29 | 32 | 0.031427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1201-1_0_5_line_33 |  | 30 | 33 | 0.032227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1201-1_0_5_line_34 |  | 31 | 34 | 0.035518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1201-1_0_5_line_35 |  | 32 | 35 | 0.0020409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1201-1_0_5_line_36 |  | 32 | 36 | 0.017144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1201-1_0_5_line_37 |  | 33 | 39 | 0.065655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1201-1_0_5_line_38 |  | 33 | 40 | 0.0010701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1201-1_0_5_line_39 |  | 35 | 42 | 0.013709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1201-1_0_5_line_40 |  | 37 | 43 | 0.004081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1201-1_0_5_line_41 |  | 37 | 44 | 0.030072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1201-1_0_5_line_42 |  | 38 | 45 | 0.071871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1201-1_0_5_line_43 |  | 39 | 41 | 0.0058534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1201-1_0_5_line_44 |  | 40 | 52 | 0.015011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1201-1_0_5_line_45 |  | 41 | 55 | 0.0078024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1201-1_0_5_line_46 |  | 43 | 46 | 0.027242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1201-1_0_5_line_47 |  | 44 | 50 | 0.026238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1201-1_0_5_line_48 |  | 47 | 48 | 0.047063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1201-1_0_5_line_49 |  | 47 | 49 | 0.03582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1201-1_0_5_line_50 |  | 49 | 51 | 0.016166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1201-1_0_5_line_51 |  | 49 | 50 | 0.027367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1201-1_0_5_line_52 |  | 51 | 53 | 0.035832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1201-1_0_5_line_53 |  | 51 | 54 | 0.0098174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1201-1_0_5_line_54 |  | 52 | 53 | 0.032178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1201-1_0_5_trafo_22 | 0.63 MVA 20/0.4 kV | 56 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2690338.5142 | 1194217.5474 | 2690339.6229 | 1194214.5549 | 2690338.9224 | 1194207.9512
1 | 2690323.0929 | 1194307.7144 | 2690309.7291 | 1194303.972 | 2690307.9905 | 1194302.0112 | 2690309.5329 | 1194295.7638 | 2690338.5142 | 1194217.5474
2 | 2690206.8861 | 1194171.9249 | 2690208.6283 | 1194172.6405 | 2690214.4379 | 1194175.0519 | 2690229.8438 | 1194179.9429 | 2690267.6431 | 1194186.306 | 2690335.2698 | 1194204.038 | 2690338.9224 | 1194207.9512 | 2690338.9224 | 1194207.9512
3 | 2690338.9224 | 1194207.9512 | 2690439.2747 | 1194090.2363
4 | 2690339.4419 | 1194312.2926 | 2690323.0929 | 1194307.7144
5 | 2690206.8861 | 1194171.9249 | 2690041.1218 | 1194052.3654
6 | 2690439.2747 | 1194090.2363 | 2690443.0447 | 1194078.2814
7 | 2690463.705 | 1194340.9663 | 2690339.4419 | 1194312.2926
8 | 2690463.705 | 1194340.9663 | 2690467.5167 | 1194342.1176
9 | 2690498.7603 | 1194351.5542 | 2690467.5167 | 1194342.1176
10 | 2690041.1218 | 1194052.3654 | 2690042.3677 | 1194047.0891 | 2690044.0961 | 1194037.3894
11 | 2690045.7548 | 1194028.0808 | 2690045.8171 | 1194027.7313
12 | 2690045.7548 | 1194028.0808 | 2690044.0961 | 1194037.3894
13 | 2690057.7039 | 1193952.3927 | 2690047.5129 | 1194018.2147 | 2690045.8171 | 1194027.7313
14 | 2690057.7039 | 1193952.3927 | 2690068.8864 | 1193868.3295
15 | 2690068.8864 | 1193868.3295 | 2690080.9739 | 1193873.4703 | 2690095.0765 | 1193876.3956 | 2690105.5439 | 1193890.4177 | 2690108.6607 | 1193890.8542
16 | 2690512.397 | 1194377.5902 | 2690502.7967 | 1194412.7835
17 | 2690501.3383 | 1194418.1294 | 2690502.7967 | 1194412.7835
18 | 2690512.397 | 1194377.5902 | 2690512.5491 | 1194377.0328
19 | 2690501.3383 | 1194418.1294 | 2690503.0367 | 1194422.2355 | 2690508.1842 | 1194430.0962 | 2690508.9027 | 1194433.9873 | 2690507.8903 | 1194439.9544
20 | 2690501.3383 | 1194418.1294 | 2690493.932 | 1194418.0173 | 2690461.0625 | 1194399.2526 | 2690458.2054 | 1194396.8911
21 | 2690517.9207 | 1194357.3413 | 2690512.5491 | 1194377.0328
22 | 2690517.9207 | 1194357.3413 | 2690531.6454 | 1194361.4831
23 | 2690517.9207 | 1194357.3413 | 2690498.7603 | 1194351.5542
24 | 2690549.1415 | 1194365.1965 | 2690538.2459 | 1194363.475 | 2690531.6454 | 1194361.4831
25 | 2690549.1415 | 1194365.1965 | 2690550.6616 | 1194354.4015 | 2690560.5111 | 1194284.2945 | 2690567.476 | 1194248.6549 | 2690578.7148 | 1194251.3823
26 | 2690578.7148 | 1194251.3823 | 2690588.864 | 1194256.0945
27 | 2690578.7148 | 1194251.3823 | 2690572.0124 | 1194270.1929 | 2690561.1403 | 1194343.1149
28 | 2690653.8785 | 1194176.0843 | 2690656.6897 | 1194177.6493 | 2690662.7764 | 1194181.9419
29 | 2690625.9966 | 1194160.5623 | 2690653.8785 | 1194176.0843
30 | 2690678.5212 | 1194193.0456 | 2690662.7764 | 1194181.9419
31 | 2690625.9966 | 1194160.5623 | 2690635.1718 | 1194146.4398
32 | 2690597.4458 | 1194147.4548 | 2690602.0903 | 1194149.2819 | 2690610.5079 | 1194153.1007 | 2690625.9966 | 1194160.5623
33 | 2690678.5212 | 1194193.0456 | 2690694.5518 | 1194204.974 | 2690698.4089 | 1194207.9566 | 2690702.6425 | 1194210.7337 | 2690704.4267 | 1194212.195
34 | 2690654.5219 | 1194116.6561 | 2690635.1718 | 1194146.4398
35 | 2690597.4458 | 1194147.4548 | 2690596.7328 | 1194149.3671
36 | 2690597.4458 | 1194147.4548 | 2690603.8952 | 1194131.5702
37 | 2690704.4267 | 1194212.195 | 2690702.6425 | 1194210.7337 | 2690698.4089 | 1194207.9566 | 2690694.5518 | 1194204.974 | 2690706.7308 | 1194185.4127 | 2690715.0526 | 1194189.5082 | 2690722.9969 | 1194189.8511 | 2690734.8228 | 1194195.5786
38 | 2690704.4267 | 1194212.195 | 2690703.8125 | 1194213.0713
39 | 2690591.9434 | 1194162.2127 | 2690596.7328 | 1194149.3671
40 | 2690588.864 | 1194256.0945 | 2690588.787 | 1194260.1738
41 | 2690588.864 | 1194256.0945 | 2690592.2513 | 1194236.7668 | 2690600.0705 | 1194243.6992
42 | 2690550.542 | 1194414.2001 | 2690561.1403 | 1194343.1149
43 | 2690734.8228 | 1194195.5786 | 2690739.4 | 1194199.2271
44 | 2690695.1971 | 1194225.3635 | 2690703.8125 | 1194213.0713
45 | 2690745.5013 | 1194204.0904 | 2690739.4 | 1194199.2271
46 | 2690601.9152 | 1194277.0278 | 2690605.9264 | 1194271.8519 | 2690599.8026 | 1194267.5675 | 2690595.1022 | 1194264.4054 | 2690588.787 | 1194260.1738
47 | 2690619.7035 | 1194261.1055 | 2690600.0705 | 1194243.6992
48 | 2690617.2621 | 1194307.9134 | 2690613.7416 | 1194309.3721 | 2690607.1692 | 1194318.6007 | 2690603.2143 | 1194327.1018 | 2690601.1709 | 1194334.698 | 2690601.8703 | 1194339.3449 | 2690608.7033 | 1194346.6197
49 | 2690639.5843 | 1194279.8557 | 2690617.2621 | 1194307.9134
50 | 2690639.5843 | 1194279.8557 | 2690643.926 | 1194283.5461 | 2690647.1202 | 1194282.9941 | 2690652.9478 | 1194278.6685
51 | 2690639.5843 | 1194279.8557 | 2690635.0436 | 1194274.7059 | 2690619.7035 | 1194261.1055
52 | 2690652.9478 | 1194278.6685 | 2690675.2178 | 1194250.5546
53 | 2690652.9478 | 1194278.6685 | 2690662.4528 | 1194281.1253
54 | 2690675.2178 | 1194250.5546 | 2690689.3447 | 1194233.7135 | 2690695.1971 | 1194225.3635

## bus_geodata
| x | y | coords
0 | 2690338.5142 | 1194217.5474
1 | 2690338.9224 | 1194207.9512
2 | 2690323.0929 | 1194307.7144
3 | 2690206.8861 | 1194171.9249
4 | 2690439.2747 | 1194090.2363
5 | 2690339.4419 | 1194312.2926
6 | 2690463.705 | 1194340.9663
7 | 2690467.5167 | 1194342.1176
8 | 2690041.1218 | 1194052.3654
9 | 2690443.0447 | 1194078.2814
10 | 2690045.7548 | 1194028.0808
11 | 2690045.8171 | 1194027.7313
12 | 2690044.0961 | 1194037.3894
13 | 2690057.7039 | 1193952.3927
14 | 2690068.8864 | 1193868.3295
15 | 2690108.6607 | 1193890.8542
16 | 2690502.7967 | 1194412.7835
17 | 2690512.397 | 1194377.5902
18 | 2690501.3383 | 1194418.1294
19 | 2690512.5491 | 1194377.0328
20 | 2690507.8903 | 1194439.9544
21 | 2690458.2054 | 1194396.8911
22 | 2690517.9207 | 1194357.3413
23 | 2690531.6454 | 1194361.4831
24 | 2690498.7603 | 1194351.5542
25 | 2690549.1415 | 1194365.1965
26 | 2690578.7148 | 1194251.3823
27 | 2690653.8785 | 1194176.0843
28 | 2690662.7764 | 1194181.9419
29 | 2690625.9966 | 1194160.5623
30 | 2690678.5212 | 1194193.0456
31 | 2690635.1718 | 1194146.4398
32 | 2690597.4458 | 1194147.4548
33 | 2690704.4267 | 1194212.195
34 | 2690654.5219 | 1194116.6561
35 | 2690596.7328 | 1194149.3671
36 | 2690603.8952 | 1194131.5702
37 | 2690588.864 | 1194256.0945
38 | 2690561.1403 | 1194343.1149
39 | 2690734.8228 | 1194195.5786
40 | 2690703.8125 | 1194213.0713
41 | 2690739.4 | 1194199.2271
42 | 2690591.9434 | 1194162.2127
43 | 2690588.787 | 1194260.1738
44 | 2690600.0705 | 1194243.6992
45 | 2690550.542 | 1194414.2001
46 | 2690601.9152 | 1194277.0278
47 | 2690617.2621 | 1194307.9134
48 | 2690608.7033 | 1194346.6197
49 | 2690639.5843 | 1194279.8557
50 | 2690619.7035 | 1194261.1055
51 | 2690652.9478 | 1194278.6685
52 | 2690695.1971 | 1194225.3635
53 | 2690675.2178 | 1194250.5546
54 | 2690662.4528 | 1194281.1253
55 | 2690745.5013 | 1194204.0904
56 | 2690588.864 | 1194256.0945

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97976 | -0.38977 | 0.0010252 | 0.00025695
1 | 0.97957 | -0.39358 | 0.0017454 | 0.00043743
2 | 0.98197 | -0.34665 | 0.0022626 | 0.00056705
3 | 0.97743 | -0.43537 | 0 | 0
4 | 0.97915 | -0.4019 | 0.0021916 | 0.00054927
5 | 0.98236 | -0.33909 | 0.0089744 | 0.0022492
6 | 0.98634 | -0.26196 | 0.005984 | 0.0014997
7 | 0.98648 | -0.25914 | 0.0231 | 0.0057893
8 | 0.97427 | -0.4976 | 0.0028104 | 0.00070434
9 | 0.97914 | -0.40207 | 0.00076525 | 0.00019179
10 | 0.97398 | -0.5034 | 0.0076967 | 0.001929
11 | 0.97398 | -0.50343 | 0.0014796 | 0.00037083
12 | 0.97407 | -0.50148 | 0.0027574 | 0.00069107
13 | 0.97384 | -0.50607 | 0 | 0
14 | 0.97369 | -0.50901 | 0 | 0
15 | 0.97361 | -0.51068 | 0.0018826 | 0.00047183
16 | 0.98853 | -0.21964 | 0.0010831 | 0.00027145
17 | 0.98888 | -0.21291 | 0.0086593 | 0.0021702
18 | 0.98848 | -0.22055 | 0 | 0
19 | 0.98889 | -0.21272 | 0.023417 | 0.0058688
20 | 0.98846 | -0.221 | 0.0010587 | 0.00026532
21 | 0.98812 | -0.22771 | 0.0081942 | 0.0020537
22 | 0.98968 | -0.1973 | 0 | 0
23 | 0.99118 | -0.16846 | 0.0025867 | 0.00064828
24 | 0.98837 | -0.22255 | 0.0081021 | 0.0020306
25 | 0.99309 | -0.1317 | 0 | 0
26 | 1 | 0 | -0.25497 | -0.064636
27 | 0.98268 | -0.33287 | 0.020601 | 0.0051631
28 | 0.98323 | -0.32212 | 0.0038851 | 0.00097369
29 | 0.98164 | -0.35322 | 0 | 0
30 | 0.98429 | -0.30137 | 0 | 0
31 | 0.98122 | -0.3614 | 0.0023319 | 0.00058443
32 | 0.98139 | -0.35801 | 0 | 0
33 | 0.98607 | -0.26678 | 0 | 0
34 | 0.98041 | -0.37719 | 0.024525 | 0.0061466
35 | 0.98138 | -0.35824 | 0.0049541 | 0.0012416
36 | 0.98136 | -0.35871 | 0.0022473 | 0.00056323
37 | 0.99902 | -0.018651 | 0 | 0
38 | 0.99669 | -0.063549 | 0.023719 | 0.0059446
39 | 0.9857 | -0.27409 | 0 | 0
40 | 0.98614 | -0.26551 | 0.0021511 | 0.00053911
41 | 0.98566 | -0.27474 | 0.0033625 | 0.00084272
42 | 0.98136 | -0.35855 | 0.0012283 | 0.00030783
43 | 0.99899 | -0.019204 | 0 | 0
44 | 0.99658 | -0.064978 | 0.0028012 | 0.00070204
45 | 0.99571 | -0.082563 | 0.015062 | 0.0037749
46 | 0.99879 | -0.0229 | 0.0077659 | 0.0019463
47 | 0.99252 | -0.14251 | 0 | 0
48 | 0.9924 | -0.14477 | 0.0027216 | 0.0006821
49 | 0.99261 | -0.14078 | 0 | 0
50 | 0.99451 | -0.10429 | 0.0096735 | 0.0024244
51 | 0.99152 | -0.16162 | 0 | 0
52 | 0.98708 | -0.2472 | 0.0025153 | 0.00063038
53 | 0.98918 | -0.20661 | 0 | 0
54 | 0.9915 | -0.16199 | 0.0021371 | 0.00053561
55 | 0.98564 | -0.27514 | 0.0028446 | 0.00071293
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.021421 | 0.0053951 | -0.021417 | -0.0053927 | 3.9047e-06 | 2.3752e-06 | 0.032543 | 0.032543 | 0.032543 | 0.97976 | -0.38977 | 0.97957 | -0.39358 | 8.9403
1 | -0.022446 | -0.005652 | 0.022493 | 0.0056803 | 4.6372e-05 | 2.8335e-05 | 0.0341 | 0.034099 | 0.0341 | 0.97976 | -0.38977 | 0.98197 | -0.34665 | 9.3681
2 | 0.016714 | 0.0042155 | -0.01668 | -0.0041959 | 3.3368e-05 | 1.9623e-05 | 0.025399 | 0.025399 | 0.025399 | 0.97957 | -0.39358 | 0.97743 | -0.43537 | 6.9778
3 | 0.002958 | 0.00073971 | -0.0029569 | -0.00074091 | 1.1711e-06 | -1.197e-06 | 0.0044928 | 0.0044935 | 0.0044935 | 0.97957 | -0.39358 | 0.97915 | -0.4019 | 1.2345
4 | -0.024755 | -0.0062474 | 0.024764 | 0.0062529 | 8.9665e-06 | 5.5237e-06 | 0.037528 | 0.037528 | 0.037528 | 0.98197 | -0.34665 | 0.98236 | -0.33909 | 10.3098
5 | 0.01668 | 0.0041959 | -0.016631 | -0.0041668 | 4.9446e-05 | 2.9092e-05 | 0.025399 | 0.0254 | 0.0254 | 0.97743 | -0.43537 | 0.97427 | -0.4976 | 6.9781
6 | 0.00076526 | 0.00019164 | -0.00076525 | -0.00019179 | 6.3574e-09 | -1.536e-07 | 0.0011629 | 0.001163 | 0.001163 | 0.97915 | -0.4019 | 0.97914 | -0.40207 | 0.3195
7 | -0.033739 | -0.0085021 | 0.033864 | 0.0085805 | 0.00012498 | 7.8366e-05 | 0.051121 | 0.051121 | 0.051121 | 0.98236 | -0.33909 | 0.98634 | -0.26196 | 14.0444
8 | -0.039848 | -0.01008 | 0.039853 | 0.010084 | 5.402e-06 | 3.4065e-06 | 0.060148 | 0.060148 | 0.060148 | 0.98634 | -0.26196 | 0.98648 | -0.25914 | 16.5243
9 | -0.062952 | -0.015873 | 0.063063 | 0.015943 | 0.00011044 | 7.0263e-05 | 0.094992 | 0.094992 | 0.094992 | 0.98648 | -0.25914 | 0.98837 | -0.22255 | 26.0967
10 | 0.013821 | 0.0034625 | -0.013818 | -0.003461 | 2.552e-06 | 1.4431e-06 | 0.021108 | 0.021108 | 0.021108 | 0.97427 | -0.4976 | 0.97407 | -0.50148 | 5.7989
11 | 0.0033629 | 0.00084048 | -0.0033629 | -0.00084048 | 3.5133e-09 | -2.17e-09 | 0.0051369 | 0.0051369 | 0.0051369 | 0.97398 | -0.5034 | 0.97398 | -0.50343 | 1.4112
12 | -0.01106 | -0.0027694 | 0.011061 | 0.00277 | 1.0122e-06 | 5.301e-07 | 0.016896 | 0.016896 | 0.016896 | 0.97398 | -0.5034 | 0.97407 | -0.50148 | 4.6417
13 | 0.0018833 | 0.00046965 | -0.0018831 | -0.00047044 | 2.3667e-07 | -7.9764e-07 | 0.0028764 | 0.0028767 | 0.0028767 | 0.97398 | -0.50343 | 0.97384 | -0.50607 | 0.79031
14 | 0.0018831 | 0.00047044 | -0.0018828 | -0.00047133 | 2.6326e-07 | -8.8668e-07 | 0.0028767 | 0.0028771 | 0.0028771 | 0.97384 | -0.50607 | 0.97369 | -0.50901 | 0.79042
15 | 0.0018828 | 0.00047133 | -0.0018826 | -0.00047183 | 1.4958e-07 | -5.0353e-07 | 0.0028771 | 0.0028773 | 0.0028773 | 0.97369 | -0.50901 | 0.97361 | -0.51068 | 0.79048
16 | -0.010339 | -0.0025915 | 0.010342 | 0.0025931 | 3.3134e-06 | 1.6528e-06 | 0.015563 | 0.015563 | 0.015563 | 0.98853 | -0.21964 | 0.98888 | -0.21291 | 4.2756
17 | 0.009256 | 0.00232 | -0.0092556 | -0.0023198 | 4.034e-07 | 1.8714e-07 | 0.013933 | 0.013933 | 0.013933 | 0.98853 | -0.21964 | 0.98848 | -0.22055 | 3.8278
18 | -0.019002 | -0.0047634 | 0.019002 | 0.0047635 | 1.7712e-07 | 1.0595e-07 | 0.028593 | 0.028593 | 0.028593 | 0.98888 | -0.21291 | 0.98889 | -0.21272 | 7.8553
19 | 0.0010587 | 0.00026503 | -0.0010587 | -0.00026532 | 2.2713e-08 | -2.9117e-07 | 0.0015936 | 0.0015937 | 0.0015937 | 0.98848 | -0.22055 | 0.98846 | -0.221 | 0.43782
20 | 0.008197 | 0.0020548 | -0.0081942 | -0.0020537 | 2.7957e-06 | 1.1619e-06 | 0.012339 | 0.01234 | 0.01234 | 0.98848 | -0.22055 | 0.98812 | -0.22771 | 3.39
21 | -0.042419 | -0.010632 | 0.04245 | 0.010652 | 3.1184e-05 | 1.9696e-05 | 0.063829 | 0.063829 | 0.063829 | 0.98889 | -0.21272 | 0.98968 | -0.1973 | 17.5356
22 | -0.1137 | -0.028681 | 0.11386 | 0.028781 | 0.00015723 | 0.00010045 | 0.17102 | 0.17102 | 0.17102 | 0.98968 | -0.1973 | 0.99118 | -0.16846 | 46.9831
23 | 0.071251 | 0.018029 | -0.071165 | -0.017974 | 8.6238e-05 | 5.4935e-05 | 0.10719 | 0.10719 | 0.10719 | 0.98968 | -0.1973 | 0.98837 | -0.22255 | 29.4477
24 | -0.11645 | -0.029429 | 0.11665 | 0.029561 | 0.00020563 | 0.00013137 | 0.1749 | 0.1749 | 0.1749 | 0.99118 | -0.16846 | 0.99309 | -0.1317 | 48.05
25 | -0.11665 | -0.029561 | 0.11739 | 0.030033 | 0.00074321 | 0.00047228 | 0.1749 | 0.1749 | 0.1749 | 0.99309 | -0.1317 | 1 | 0 | 24.025
26 | 0.097017 | 0.024802 | -0.096929 | -0.024746 | 8.745e-05 | 5.5821e-05 | 0.14453 | 0.14453 | 0.14453 | 1 | 0 | 0.99902 | -0.018651 | 39.7074
27 | 0.038913 | 0.0098015 | -0.038795 | -0.0097273 | 0.00011787 | 7.4214e-05 | 0.05792 | 0.05792 | 0.05792 | 1 | 0 | 0.99669 | -0.063549 | 15.9122
28 | -0.055953 | -0.014047 | 0.055982 | 0.014065 | 2.8717e-05 | 1.8244e-05 | 0.084735 | 0.084735 | 0.084735 | 0.98268 | -0.33287 | 0.98323 | -0.32212 | 23.2789
29 | 0.035352 | 0.0088837 | -0.035318 | -0.0088621 | 3.4304e-05 | 2.155e-05 | 0.05354 | 0.05354 | 0.05354 | 0.98268 | -0.33287 | 0.98164 | -0.35322 | 14.7089
30 | -0.059867 | -0.015039 | 0.059926 | 0.015076 | 5.9324e-05 | 3.7723e-05 | 0.090615 | 0.090615 | 0.090615 | 0.98323 | -0.32212 | 0.98429 | -0.30137 | 24.8942
31 | 0.026886 | 0.0067489 | -0.026876 | -0.0067424 | 1.0492e-05 | 6.5021e-06 | 0.040759 | 0.040759 | 0.040759 | 0.98164 | -0.35322 | 0.98122 | -0.3614 | 11.1976
32 | 0.0084318 | 0.0021132 | -0.0084298 | -0.0021124 | 1.9252e-06 | 8.3496e-07 | 0.012781 | 0.012781 | 0.012781 | 0.98164 | -0.35322 | 0.98139 | -0.35801 | 3.5114
33 | -0.059926 | -0.015076 | 0.060025 | 0.015139 | 9.9231e-05 | 6.3097e-05 | 0.090615 | 0.090615 | 0.090615 | 0.98429 | -0.30137 | 0.98607 | -0.26678 | 24.8942
34 | 0.024544 | 0.006158 | -0.024525 | -0.0061466 | 1.8454e-05 | 1.1363e-05 | 0.037223 | 0.037223 | 0.037223 | 0.98122 | -0.3614 | 0.98041 | -0.37719 | 10.2261
35 | 0.0061824 | 0.0015493 | -0.0061824 | -0.0015493 | 6.7251e-08 | 1.7253e-08 | 0.0093739 | 0.0093739 | 0.0093739 | 0.98139 | -0.35801 | 0.98138 | -0.35824 | 2.5753
36 | 0.0022474 | 0.00056307 | -0.0022473 | -0.00056323 | 7.465e-08 | -1.6884e-07 | 0.0034075 | 0.0034076 | 0.0034076 | 0.98139 | -0.35801 | 0.98136 | -0.35871 | 0.93615
37 | 0.0062095 | 0.0015562 | -0.0062074 | -0.0015556 | 2.1618e-06 | 5.4638e-07 | 0.0093704 | 0.0093707 | 0.0093707 | 0.98607 | -0.26678 | 0.9857 | -0.27409 | 2.5744
38 | -0.066235 | -0.016696 | 0.066239 | 0.016698 | 4.0118e-06 | 2.5539e-06 | 0.099985 | 0.099985 | 0.099985 | 0.98607 | -0.26678 | 0.98614 | -0.26551 | 27.4684
39 | 0.0012283 | 0.00030767 | -0.0012283 | -0.00030783 | 1.7831e-08 | -1.6181e-07 | 0.0018623 | 0.0018624 | 0.0018624 | 0.98138 | -0.35824 | 0.98136 | -0.35855 | 0.51164
40 | 0.0077674 | 0.0019469 | -0.0077672 | -0.0019468 | 2.0485e-07 | 7.767e-08 | 0.01157 | 0.01157 | 0.01157 | 0.99902 | -0.018651 | 0.99899 | -0.019204 | 3.1785
41 | 0.089162 | 0.022799 | -0.088962 | -0.022672 | 0.00019938 | 0.00012721 | 0.13297 | 0.13297 | 0.13297 | 0.99902 | -0.018651 | 0.99658 | -0.064978 | 36.529
42 | 0.015076 | 0.0037827 | -0.015062 | -0.0037749 | 1.3655e-05 | 7.8034e-06 | 0.022509 | 0.022509 | 0.022509 | 0.99669 | -0.063549 | 0.99571 | -0.082563 | 6.1838
43 | 0.0062074 | 0.0015556 | -0.0062072 | -0.0015556 | 1.9274e-07 | 4.8747e-08 | 0.0093707 | 0.0093707 | 0.0093707 | 0.9857 | -0.27409 | 0.98566 | -0.27474 | 2.5744
44 | -0.06839 | -0.017237 | 0.06845 | 0.017276 | 5.9986e-05 | 3.82e-05 | 0.10323 | 0.10323 | 0.10323 | 0.98614 | -0.26551 | 0.98708 | -0.2472 | 28.3601
45 | 0.0028447 | 0.00071286 | -0.0028446 | -0.00071293 | 5.3961e-08 | -6.4911e-08 | 0.0042945 | 0.0042945 | 0.0042945 | 0.98566 | -0.27474 | 0.98564 | -0.27514 | 1.1798
46 | 0.0077672 | 0.0019468 | -0.0077659 | -0.0019463 | 1.3674e-06 | 5.1856e-07 | 0.01157 | 0.01157 | 0.01157 | 0.99899 | -0.019204 | 0.99879 | -0.0229 | 3.1785
47 | 0.086161 | 0.02197 | -0.085998 | -0.021866 | 0.00016319 | 0.0001041 | 0.12878 | 0.12878 | 0.12878 | 0.99658 | -0.064978 | 0.99451 | -0.10429 | 35.38
48 | 0.0027219 | 0.00068168 | -0.0027216 | -0.0006821 | 2.9389e-07 | -4.2006e-07 | 0.0040806 | 0.0040808 | 0.0040808 | 0.99252 | -0.14251 | 0.9924 | -0.14477 | 1.1211
49 | -0.0027219 | -0.00068168 | 0.0027221 | 0.00068136 | 2.2366e-07 | -3.1983e-07 | 0.0040806 | 0.0040804 | 0.0040806 | 0.99252 | -0.14251 | 0.99261 | -0.14078 | 1.121
50 | 0.073468 | 0.018674 | -0.073395 | -0.018628 | 7.3659e-05 | 4.6933e-05 | 0.11023 | 0.11023 | 0.11023 | 0.99261 | -0.14078 | 0.99152 | -0.16162 | 30.2828
51 | -0.07619 | -0.019356 | 0.076324 | 0.019441 | 0.0001341 | 8.5468e-05 | 0.11431 | 0.11431 | 0.11431 | 0.99261 | -0.14078 | 0.99451 | -0.10429 | 31.4038
52 | 0.071257 | 0.018092 | -0.071104 | -0.017994 | 0.0001539 | 9.8038e-05 | 0.10702 | 0.10702 | 0.10702 | 0.99152 | -0.16162 | 0.98918 | -0.20661 | 29.4017
53 | 0.0021372 | 0.00053551 | -0.0021371 | -0.00053561 | 3.7871e-08 | -1.0238e-07 | 0.0032073 | 0.0032073 | 0.0032073 | 0.99152 | -0.16162 | 0.9915 | -0.16199 | 0.88113
54 | -0.070965 | -0.017906 | 0.071104 | 0.017994 | 0.00013821 | 8.8043e-05 | 0.10702 | 0.10702 | 0.10702 | 0.98708 | -0.2472 | 0.98918 | -0.20661 | 29.4018

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.25497 | 0.064636

## res_load
| p_mw | q_mvar
0 | 0.0010252 | 0.00025695
1 | 0.0017454 | 0.00043743
2 | 0.0022626 | 0.00056705
3 | 0.0021916 | 0.00054927
4 | 0.0089744 | 0.0022492
5 | 0.005984 | 0.0014997
6 | 0.0231 | 0.0057893
7 | 0.0028104 | 0.00070434
8 | 0.00076525 | 0.00019179
9 | 0.0076967 | 0.001929
10 | 0.0014796 | 0.00037083
11 | 0.0027574 | 0.00069107
12 | 0.0018826 | 0.00047183
13 | 0.0010831 | 0.00027145
14 | 0.0086593 | 0.0021702
15 | 0.023417 | 0.0058688
16 | 0.0010587 | 0.00026532
17 | 0.0081942 | 0.0020537
18 | 0.0025867 | 0.00064828
19 | 0.0081021 | 0.0020306
20 | 0.020601 | 0.0051631
21 | 0.0038851 | 0.00097369
22 | 0.0023319 | 0.00058443
23 | 0.024525 | 0.0061466
24 | 0.0049541 | 0.0012416
25 | 0.0022473 | 0.00056323
26 | 0.023719 | 0.0059446
27 | 0.0021511 | 0.00053911
28 | 0.0033625 | 0.00084272
29 | 0.0012283 | 0.00030783
30 | 0.0028012 | 0.00070204
31 | 0.015062 | 0.0037749
32 | 0.0077659 | 0.0019463
33 | 0.0027216 | 0.0006821
34 | 0.0096735 | 0.0024244
35 | 0.0025153 | 0.00063038
36 | 0.0021371 | 0.00053561
37 | 0.0028446 | 0.00071293

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1