## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1201-20_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1201-20_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1201-20_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1201-20_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1201-20_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1201-20_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1201-20_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_1201-20_0_4_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_1201-20_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1201-20_0_4_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_1201-20_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1201-20_0_4_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_1201-20_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1201-20_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1201-20_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1201-20_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1201-20_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1201-20_0_4_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_1201-20_0_4_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_1201-20_0_4_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_1201-20_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1201-20_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1201-20_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1201-20_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1201-20_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_1201-20_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1201-20_0_4_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_1201-20_0_4_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_1201-20_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1201-20_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1201-20_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1201-20_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1201-20_0_4_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_1201-20_0_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_1201-20_0_4_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_1201-20_0_4_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1201-20_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1201-20_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1201-20_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1201-20_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1201-20_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_1201-20_0_4_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_1201-20_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_1201-20_0_4_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_1201-20_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_1201-20_0_4_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_1201-20_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_MV_14_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1201-20_0_4_load_0 | 0 | 0.039132 | 0.0098075 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1201-20_0_4_load_1 | 1 | 0.014017 | 0.003513 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1201-20_0_4_load_4 | 4 | 0.010248 | 0.0025683 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1201-20_0_4_load_5 | 5 | 0.0064252 | 0.0016103 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1201-20_0_4_load_39 | 7 | 0.0064066 | 0.0016056 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1201-20_0_4_load_21 | 9 | 0.085635 | 0.021462 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1201-20_0_4_load_38 | 11 | 0.0078929 | 0.0019782 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1201-20_0_4_load_10 | 12 | 0.014647 | 0.0036709 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1201-20_0_4_load_6 | 13 | 0.010927 | 0.0027385 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1201-20_0_4_load_7 | 14 | 0.014675 | 0.0036778 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1201-20_0_4_load_11 | 15 | 0.056352 | 0.014123 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1201-20_0_4_load_20 | 17 | 0.015534 | 0.0038931 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1201-20_0_4_load_45 | 18 | 0.0061968 | 0.0015531 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1201-20_0_4_load_46 | 19 | 0.0039945 | 0.0010011 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1201-20_0_4_load_17 | 21 | 0.006875 | 0.001723 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1201-20_0_4_load_22 | 22 | 0.012374 | 0.0031013 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1201-20_0_4_load_23 | 23 | 0.0069493 | 0.0017417 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1201-20_0_4_load_24 | 24 | 0.0062577 | 0.0015683 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1201-20_0_4_load_25 | 25 | 0.0075057 | 0.0018811 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1201-20_0_4_load_41 | 26 | 0.0040368 | 0.0010117 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1201-20_0_4_load_27 | 28 | 0.010294 | 0.0025798 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1201-20_0_4_load_31 | 30 | 0.010427 | 0.0026132 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1201-20_0_4_load_32 | 31 | 0.0067108 | 0.0016819 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1201-20_0_4_load_48 | 32 | 0.0056291 | 0.0014108 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1201-20_0_4_load_47 | 33 | 0.01405 | 0.0035213 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1201-20_0_4_load_49 | 34 | 0.021828 | 0.0054707 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1201-20_0_4_load_33 | 37 | 0.004365 | 0.001094 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1201-20_0_4_load_34 | 38 | 0.0076221 | 0.0019103 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1201-20_0_4_load_35 | 39 | 0.0028909 | 0.00072454 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1201-20_0_4_load_43 | 41 | 0.00339 | 0.00084962 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1201-20_0_4_load_44 | 42 | 0.0039918 | 0.0010005 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1201-20_0_4_load_52 | 44 | 0.01188 | 0.0029775 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1201-20_0_4_load_53 | 46 | 0.0038411 | 0.00096268 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1201-20_0_4_line_0 |  | 0 | 1 | 0.0046875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1201-20_0_4_line_1 |  | 0 | 2 | 0.017877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1201-20_0_4_line_2 |  | 1 | 3 | 0.016505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1201-20_0_4_line_3 |  | 2 | 4 | 0.014873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1201-20_0_4_line_4 |  | 2 | 5 | 0.039883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1201-20_0_4_line_5 |  | 3 | 6 | 0.016399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1201-20_0_4_line_6 |  | 3 | 7 | 0.033381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1201-20_0_4_line_7 |  | 4 | 8 | 0.022194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1201-20_0_4_line_8 |  | 6 | 9 | 0.034942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1201-20_0_4_line_9 |  | 6 | 10 | 0.049981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1201-20_0_4_line_10 |  | 7 | 11 | 0.014091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1201-20_0_4_line_11 |  | 8 | 12 | 0.046812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1201-20_0_4_line_12 |  | 8 | 13 | 0.0011254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1201-20_0_4_line_13 |  | 9 | 16 | 0.030866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1201-20_0_4_line_14 |  | 10 | 15 | 0.036376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1201-20_0_4_line_15 |  | 11 | 27 | 0.021924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1201-20_0_4_line_16 |  | 13 | 14 | 0.030407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1201-20_0_4_line_17 |  | 16 | 17 | 0.018917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1201-20_0_4_line_18 |  | 17 | 20 | 0.073584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1201-20_0_4_line_19 |  | 18 | 19 | 0.03353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1201-20_0_4_line_20 |  | 19 | 33 | 0.0068722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1201-20_0_4_line_21 |  | 20 | 21 | 0.042937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1201-20_0_4_line_22 |  | 22 | 23 | 0.0027174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1201-20_0_4_line_23 |  | 22 | 24 | 0.020418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1201-20_0_4_line_24 |  | 23 | 25 | 0.022501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1201-20_0_4_line_25 |  | 25 | 26 | 0.014813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1201-20_0_4_line_26 |  | 26 | 27 | 0.01118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1201-20_0_4_line_27 |  | 27 | 36 | 0.00452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1201-20_0_4_line_28 |  | 28 | 29 | 0.016906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1201-20_0_4_line_29 |  | 29 | 30 | 0.022527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1201-20_0_4_line_30 |  | 29 | 31 | 0.03841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1201-20_0_4_line_31 |  | 30 | 32 | 0.0097391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1201-20_0_4_line_32 |  | 31 | 33 | 0.0022266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1201-20_0_4_line_33 |  | 32 | 36 | 0.011067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1201-20_0_4_line_34 |  | 34 | 35 | 0.037986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1201-20_0_4_line_35 |  | 35 | 36 | 0.004056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1201-20_0_4_line_36 |  | 35 | 39 | 0.0058645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1201-20_0_4_line_37 |  | 37 | 38 | 0.016465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1201-20_0_4_line_38 |  | 37 | 39 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1201-20_0_4_line_39 |  | 38 | 40 | 0.01611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1201-20_0_4_line_40 |  | 40 | 41 | 0.026599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1201-20_0_4_line_41 |  | 40 | 42 | 0.010326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1201-20_0_4_line_42 |  | 41 | 43 | 0.026749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1201-20_0_4_line_43 |  | 42 | 44 | 0.014848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1201-20_0_4_line_44 |  | 43 | 45 | 0.024568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1201-20_0_4_line_45 |  | 45 | 46 | 0.008879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1201-20_0_4_trafo_1 | 0.63 MVA 20/0.4 kV | 47 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2691686.858 | 1192753.3634 | 2691689.6623 | 1192749.6073
1 | 2691676.1631 | 1192767.688 | 2691686.858 | 1192753.3634
2 | 2691699.5368 | 1192736.3816 | 2691689.6623 | 1192749.6073
3 | 2691676.1631 | 1192767.688 | 2691669.704 | 1192776.7616 | 2691667.4952 | 1192779.7743
4 | 2691676.1631 | 1192767.688 | 2691654.417 | 1192752.0004 | 2691651.0907 | 1192749.6702 | 2691645.7533 | 1192756.9263
5 | 2691711.6794 | 1192747.4414 | 2691699.5368 | 1192736.3816
6 | 2691699.5368 | 1192736.3816 | 2691674.2867 | 1192714.5482
7 | 2691654.3727 | 1192797.6735 | 2691660.812 | 1192788.8887 | 2691665.1334 | 1192782.9956 | 2691667.4952 | 1192779.7743
8 | 2691711.6794 | 1192747.4414 | 2691719.9481 | 1192746.1451 | 2691746.2037 | 1192742.0583
9 | 2691711.6794 | 1192747.4414 | 2691724.698 | 1192759.5376 | 2691746.5281 | 1192780.1744 | 2691748.0829 | 1192781.6881
10 | 2691661.9345 | 1192707.8726 | 2691672.872 | 1192713.3249 | 2691674.2867 | 1192714.5482
11 | 2691654.3727 | 1192797.6735 | 2691676.3728 | 1192813.6874 | 2691683.3573 | 1192804.155 | 2691684.5358 | 1192796.4014
12 | 2691654.3727 | 1192797.6735 | 2691653.7073 | 1192798.5811
13 | 2691776.7043 | 1192737.3207 | 2691754.0844 | 1192740.8316 | 2691746.2037 | 1192742.0583
14 | 2691748.0829 | 1192781.6881 | 2691724.2298 | 1192809.1509
15 | 2691642.3134 | 1192698.0916 | 2691661.9345 | 1192707.8726
16 | 2691653.7073 | 1192798.5811 | 2691635.728 | 1192823.1033
17 | 2691776.7043 | 1192737.3207 | 2691795.3971 | 1192734.4175
18 | 2691868.088 | 1192722.9914 | 2691803.6113 | 1192733.1418 | 2691795.3971 | 1192734.4175
19 | 2691586.2024 | 1192809.4225 | 2691601.5204 | 1192779.5965
20 | 2691601.5204 | 1192779.5965 | 2691604.66 | 1192773.4834
21 | 2691868.088 | 1192722.9914 | 2691858.7721 | 1192764.906
22 | 2691677.8545 | 1192668.2154 | 2691680.4126 | 1192667.2989
23 | 2691699.8501 | 1192661.1986 | 2691694.5748 | 1192662.2246 | 2691680.4126 | 1192667.2989
24 | 2691657.8825 | 1192678.2409 | 2691667.6141 | 1192671.8845 | 2691677.8545 | 1192668.2154
25 | 2691657.8825 | 1192678.2409 | 2691652.8285 | 1192681.542 | 2691646.728 | 1192687.8511
26 | 2691642.3134 | 1192698.0916 | 2691646.4299 | 1192688.1594 | 2691646.728 | 1192687.8511
27 | 2691642.3134 | 1192698.0916 | 2691637.9886 | 1192696.7356
28 | 2691623.2247 | 1192737.3356 | 2691606.8675 | 1192733.0636
29 | 2691623.2247 | 1192737.3356 | 2691628.7331 | 1192726.6131 | 2691631.8319 | 1192716.61
30 | 2691623.2247 | 1192737.3356 | 2691605.6772 | 1192771.5028
31 | 2691631.8319 | 1192716.61 | 2691634.7138 | 1192707.3071
32 | 2691605.6772 | 1192771.5028 | 2691604.66 | 1192773.4834
33 | 2691637.9886 | 1192696.7356 | 2691634.7138 | 1192707.3071
34 | 2691634.1117 | 1192695.5088 | 2691611.3617 | 1192690.0903 | 2691596.7691 | 1192690.5428
35 | 2691634.1117 | 1192695.5088 | 2691637.9886 | 1192696.7356
36 | 2691634.1117 | 1192695.5088 | 2691631.2485 | 1192690.3907
37 | 2691624.4446 | 1192678.2283 | 2691616.4059 | 1192663.8588
38 | 2691624.4446 | 1192678.2283 | 2691631.2485 | 1192690.3907
39 | 2691608.5406 | 1192649.7991 | 2691616.4059 | 1192663.8588
40 | 2691608.5406 | 1192649.7991 | 2691596.1021 | 1192626.2871
41 | 2691608.5406 | 1192649.7991 | 2691618.143 | 1192646.0013
42 | 2691583.5935 | 1192602.6426 | 2691596.1021 | 1192626.2871
43 | 2691631.9502 | 1192640.5404 | 2691618.143 | 1192646.0013
44 | 2691583.5935 | 1192602.6426 | 2691605.7823 | 1192591.9642
45 | 2691605.7823 | 1192591.9642 | 2691610.185 | 1192599.681

## bus_geodata
| x | y | coords
0 | 2691686.858 | 1192753.3634
1 | 2691689.6623 | 1192749.6073
2 | 2691676.1631 | 1192767.688
3 | 2691699.5368 | 1192736.3816
4 | 2691667.4952 | 1192779.7743
5 | 2691645.7533 | 1192756.9263
6 | 2691711.6794 | 1192747.4414
7 | 2691674.2867 | 1192714.5482
8 | 2691654.3727 | 1192797.6735
9 | 2691746.2037 | 1192742.0583
10 | 2691748.0829 | 1192781.6881
11 | 2691661.9345 | 1192707.8726
12 | 2691684.5358 | 1192796.4014
13 | 2691653.7073 | 1192798.5811
14 | 2691635.728 | 1192823.1033
15 | 2691724.2298 | 1192809.1509
16 | 2691776.7043 | 1192737.3207
17 | 2691795.3971 | 1192734.4175
18 | 2691586.2024 | 1192809.4225
19 | 2691601.5204 | 1192779.5965
20 | 2691868.088 | 1192722.9914
21 | 2691858.7721 | 1192764.906
22 | 2691680.4126 | 1192667.2989
23 | 2691677.8545 | 1192668.2154
24 | 2691699.8501 | 1192661.1986
25 | 2691657.8825 | 1192678.2409
26 | 2691646.728 | 1192687.8511
27 | 2691642.3134 | 1192698.0916
28 | 2691606.8675 | 1192733.0636
29 | 2691623.2247 | 1192737.3356
30 | 2691631.8319 | 1192716.61
31 | 2691605.6772 | 1192771.5028
32 | 2691634.7138 | 1192707.3071
33 | 2691604.66 | 1192773.4834
34 | 2691596.7691 | 1192690.5428
35 | 2691634.1117 | 1192695.5088
36 | 2691637.9886 | 1192696.7356
37 | 2691624.4446 | 1192678.2283
38 | 2691616.4059 | 1192663.8588
39 | 2691631.2485 | 1192690.3907
40 | 2691608.5406 | 1192649.7991
41 | 2691596.1021 | 1192626.2871
42 | 2691618.143 | 1192646.0013
43 | 2691583.5935 | 1192602.6426
44 | 2691631.9502 | 1192640.5404
45 | 2691605.7823 | 1192591.9642
46 | 2691610.185 | 1192599.681
47 | 2691699.5368 | 1192736.3816

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99959 | -0.0078513 | 0.039132 | 0.0098075
1 | 1 | 0 | -0.43298 | -0.109
2 | 0.99867 | -0.025619 | 0 | 0
3 | 0.99833 | -0.031982 | 0 | 0
4 | 0.99798 | -0.038755 | 0.010248 | 0.0025683
5 | 0.99843 | -0.030099 | 0.0064252 | 0.0016103
6 | 0.9971 | -0.055586 | 0 | 0
7 | 0.99661 | -0.064837 | 0.0064066 | 0.0016056
8 | 0.99717 | -0.054401 | 0 | 0
9 | 0.99365 | -0.122 | 0.085635 | 0.021462
10 | 0.99452 | -0.10509 | 0 | 0
11 | 0.99592 | -0.078211 | 0.0078929 | 0.0019782
12 | 0.99655 | -0.066427 | 0.014647 | 0.0036709
13 | 0.99714 | -0.054906 | 0.010927 | 0.0027385
14 | 0.99674 | -0.062731 | 0.014675 | 0.0036778
15 | 0.99265 | -0.14128 | 0.056352 | 0.014123
16 | 0.99302 | -0.13422 | 0 | 0
17 | 0.99263 | -0.14172 | 0.015534 | 0.0038931
18 | 0.99061 | -0.18081 | 0.0061968 | 0.0015531
19 | 0.9908 | -0.17712 | 0.0039945 | 0.0010011
20 | 0.99217 | -0.15068 | 0 | 0
21 | 0.9919 | -0.15591 | 0.006875 | 0.001723
22 | 0.99297 | -0.135 | 0.012374 | 0.0031013
23 | 0.99302 | -0.13411 | 0.0069493 | 0.0017417
24 | 0.99286 | -0.13726 | 0.0062577 | 0.0015683
25 | 0.99355 | -0.12394 | 0.0075057 | 0.0018811
26 | 0.99399 | -0.11529 | 0.0040368 | 0.0010117
27 | 0.99437 | -0.10797 | 0 | 0
28 | 0.99184 | -0.15692 | 0.010294 | 0.0025798
29 | 0.992 | -0.15384 | 0 | 0
30 | 0.99285 | -0.1374 | 0.010427 | 0.0026132
31 | 0.99091 | -0.17492 | 0.0067108 | 0.0016819
32 | 0.99331 | -0.1285 | 0.0056291 | 0.0014108
33 | 0.99086 | -0.17588 | 0.01405 | 0.0035213
34 | 0.99291 | -0.13624 | 0.021828 | 0.0054707
35 | 0.99367 | -0.12159 | 0 | 0
36 | 0.99389 | -0.11731 | 0 | 0
37 | 0.99302 | -0.13416 | 0.004365 | 0.001094
38 | 0.99255 | -0.14311 | 0.0076221 | 0.0019103
39 | 0.99346 | -0.12552 | 0.0028909 | 0.00072454
40 | 0.99221 | -0.1497 | 0 | 0
41 | 0.99204 | -0.15311 | 0.00339 | 0.00084962
42 | 0.99206 | -0.1526 | 0.0039918 | 0.0010005
43 | 0.99194 | -0.15493 | 0 | 0
44 | 0.9919 | -0.15572 | 0.01188 | 0.0029775
45 | 0.99186 | -0.1566 | 0 | 0
46 | 0.99183 | -0.1572 | 0.0038411 | 0.00096268
47 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.096179 | -0.024152 | 0.096215 | 0.024175 | 3.6042e-05 | 2.3005e-05 | 0.14319 | 0.14319 | 0.14319 | 0.99959 | -0.0078513 | 1 | 0 | 39.3383
1 | 0.057047 | 0.014344 | -0.056999 | -0.014313 | 4.8364e-05 | 3.0719e-05 | 0.084938 | 0.084938 | 0.084938 | 0.99959 | -0.0078513 | 0.99867 | -0.025619 | 23.3347
2 | 0.33511 | 0.084822 | -0.3346 | -0.084494 | 0.00051361 | 0.00032806 | 0.49894 | 0.49894 | 0.49894 | 1 | 0 | 0.99833 | -0.031982 | 45.6908
3 | 0.050572 | 0.012703 | -0.05054 | -0.012683 | 3.1678e-05 | 2.0079e-05 | 0.075363 | 0.075363 | 0.075363 | 0.99867 | -0.025619 | 0.99798 | -0.038755 | 20.704
4 | 0.0064265 | 0.0016107 | -0.0064252 | -0.0016103 | 1.3714e-06 | 3.5596e-07 | 0.0095756 | 0.0095758 | 0.0095758 | 0.99867 | -0.025619 | 0.99843 | -0.030099 | 2.6307
5 | 0.16518 | 0.041701 | -0.165 | -0.041582 | 0.00018655 | 0.00011896 | 0.24631 | 0.24631 | 0.24631 | 0.99833 | -0.031982 | 0.9971 | -0.055586 | 33.8343
6 | 0.16941 | 0.042793 | -0.16915 | -0.042624 | 0.0002663 | 0.00016913 | 0.25263 | 0.25263 | 0.25263 | 0.99833 | -0.031982 | 0.99661 | -0.064837 | 23.1347
7 | 0.040293 | 0.010114 | -0.040263 | -0.010095 | 3.0045e-05 | 1.8939e-05 | 0.060083 | 0.060083 | 0.060083 | 0.99798 | -0.038755 | 0.99717 | -0.054401 | 16.5064
8 | 0.10841 | 0.027312 | -0.10807 | -0.027093 | 0.0003432 | 0.00021919 | 0.16184 | 0.16184 | 0.16184 | 0.9971 | -0.055586 | 0.99365 | -0.122 | 44.4616
9 | 0.056583 | 0.01427 | -0.05645 | -0.014185 | 0.00013375 | 8.4947e-05 | 0.084474 | 0.084474 | 0.084474 | 0.9971 | -0.055586 | 0.99452 | -0.10509 | 23.2071
10 | 0.16274 | 0.041019 | -0.16264 | -0.040952 | 0.00010407 | 6.6052e-05 | 0.24307 | 0.24307 | 0.24307 | 0.99661 | -0.064837 | 0.99592 | -0.078211 | 22.2587
11 | 0.014655 | 0.0036756 | -0.014647 | -0.0036709 | 8.3965e-06 | 4.7635e-06 | 0.02187 | 0.02187 | 0.02187 | 0.99717 | -0.054401 | 0.99655 | -0.066427 | 6.0083
12 | 0.025608 | 0.0064198 | -0.025607 | -0.0064194 | 6.1626e-07 | 3.7972e-07 | 0.038213 | 0.038213 | 0.038213 | 0.99717 | -0.054401 | 0.99714 | -0.054906 | 10.4981
13 | 0.022434 | 0.0056305 | -0.022421 | -0.0056225 | 1.3067e-05 | 7.9631e-06 | 0.033599 | 0.033599 | 0.033599 | 0.99365 | -0.122 | 0.99302 | -0.13422 | 9.2305
14 | 0.05645 | 0.014185 | -0.056352 | -0.014123 | 9.7339e-05 | 6.1826e-05 | 0.084474 | 0.084474 | 0.084474 | 0.99452 | -0.10509 | 0.99265 | -0.14128 | 23.2071
15 | 0.15474 | 0.038974 | -0.15452 | -0.038834 | 0.00021987 | 0.00014015 | 0.23127 | 0.23127 | 0.23127 | 0.99592 | -0.078211 | 0.99437 | -0.10797 | 31.7682
16 | 0.01468 | 0.0036809 | -0.014675 | -0.0036778 | 5.4726e-06 | 3.106e-06 | 0.021907 | 0.021908 | 0.021908 | 0.99714 | -0.054906 | 0.99674 | -0.062731 | 6.0186
17 | 0.022421 | 0.0056225 | -0.022413 | -0.0056176 | 8.0082e-06 | 4.8806e-06 | 0.033599 | 0.033599 | 0.033599 | 0.99302 | -0.13422 | 0.99263 | -0.14172 | 9.2305
18 | 0.0068797 | 0.0017245 | -0.0068767 | -0.0017236 | 2.935e-06 | 9.2766e-07 | 0.010313 | 0.010313 | 0.010313 | 0.99263 | -0.14172 | 0.99217 | -0.15068 | 2.8334
19 | -0.0061968 | -0.0015531 | 0.0061979 | 0.0015533 | 1.0894e-06 | 2.6549e-07 | 0.0093083 | 0.0093082 | 0.0093083 | 0.99061 | -0.18081 | 0.9908 | -0.17712 | 2.5572
20 | -0.010192 | -0.0025544 | 0.010193 | 0.0025547 | 6.0384e-07 | 2.9794e-07 | 0.015307 | 0.015307 | 0.015307 | 0.9908 | -0.17712 | 0.99086 | -0.17588 | 4.2053
21 | 0.0068767 | 0.0017236 | -0.006875 | -0.001723 | 1.7127e-06 | 5.4177e-07 | 0.010313 | 0.010314 | 0.010314 | 0.99217 | -0.15068 | 0.9919 | -0.15591 | 2.8334
22 | -0.018633 | -0.0046698 | 0.018634 | 0.0046703 | 7.9447e-07 | 4.7331e-07 | 0.027922 | 0.027922 | 0.027922 | 0.99297 | -0.135 | 0.99302 | -0.13411 | 7.6709
23 | 0.0062584 | 0.0015685 | -0.0062577 | -0.0015683 | 6.7346e-07 | 1.6693e-07 | 0.0093785 | 0.0093786 | 0.0093786 | 0.99297 | -0.135 | 0.99286 | -0.13726 | 2.5765
24 | -0.025583 | -0.0064119 | 0.025595 | 0.0064196 | 1.2401e-05 | 7.6451e-06 | 0.038335 | 0.038335 | 0.038335 | 0.99302 | -0.13411 | 0.99355 | -0.12394 | 10.5317
25 | -0.033101 | -0.0083007 | 0.033115 | 0.0083092 | 1.3653e-05 | 8.5457e-06 | 0.049576 | 0.049576 | 0.049576 | 0.99355 | -0.12394 | 0.99399 | -0.11529 | 13.6199
26 | -0.037151 | -0.0093209 | 0.037164 | 0.0093291 | 1.297e-05 | 8.1558e-06 | 0.055619 | 0.055619 | 0.055619 | 0.99399 | -0.11529 | 0.99437 | -0.10797 | 15.2801
27 | 0.11736 | 0.029505 | -0.11731 | -0.029472 | 5.2298e-05 | 3.3412e-05 | 0.17565 | 0.17565 | 0.17565 | 0.99437 | -0.10797 | 0.99389 | -0.11731 | 48.2564
28 | -0.010294 | -0.0025798 | 0.010295 | 0.0025806 | 1.5119e-06 | 7.4942e-07 | 0.015443 | 0.015443 | 0.015443 | 0.99184 | -0.15692 | 0.992 | -0.15384 | 4.2426
29 | -0.041281 | -0.010359 | 0.041314 | 0.010379 | 3.2396e-05 | 2.0442e-05 | 0.061927 | 0.061927 | 0.061927 | 0.992 | -0.15384 | 0.99285 | -0.1374 | 17.0129
30 | 0.030986 | 0.007778 | -0.030955 | -0.0077586 | 3.1123e-05 | 1.9423e-05 | 0.046484 | 0.046484 | 0.046484 | 0.992 | -0.15384 | 0.99091 | -0.17492 | 12.7704
31 | -0.05174 | -0.012992 | 0.051762 | 0.013006 | 2.1966e-05 | 1.3932e-05 | 0.077554 | 0.077554 | 0.077554 | 0.99285 | -0.1374 | 0.99331 | -0.1285 | 21.306
32 | 0.024244 | 0.0060767 | -0.024243 | -0.006076 | 1.1067e-06 | 6.7962e-07 | 0.036407 | 0.036407 | 0.036407 | 0.99091 | -0.17492 | 0.99086 | -0.17588 | 10.0019
33 | -0.057391 | -0.014417 | 0.057422 | 0.014436 | 3.0685e-05 | 1.9495e-05 | 0.085986 | 0.085986 | 0.085986 | 0.99331 | -0.1285 | 0.99389 | -0.11731 | 23.6226
34 | -0.021828 | -0.0054707 | 0.021844 | 0.00548 | 1.5244e-05 | 9.2643e-06 | 0.032713 | 0.032713 | 0.032713 | 0.99291 | -0.13624 | 0.99367 | -0.12159 | 8.9871
35 | -0.059873 | -0.015027 | 0.059885 | 0.015035 | 1.2229e-05 | 7.7741e-06 | 0.089667 | 0.089667 | 0.089667 | 0.99367 | -0.12159 | 0.99389 | -0.11731 | 24.6338
36 | 0.038029 | 0.0095475 | -0.038022 | -0.009543 | 7.1338e-06 | 4.4897e-06 | 0.056954 | 0.056954 | 0.056954 | 0.99367 | -0.12159 | 0.99346 | -0.12552 | 15.6468
37 | 0.030752 | 0.0077154 | -0.030738 | -0.0077072 | 1.3113e-05 | 8.1792e-06 | 0.046084 | 0.046084 | 0.046084 | 0.99302 | -0.13416 | 0.99255 | -0.14311 | 12.6603
38 | -0.035117 | -0.0088094 | 0.035131 | 0.0088185 | 1.4473e-05 | 9.0821e-06 | 0.052624 | 0.052624 | 0.052624 | 0.99302 | -0.13416 | 0.99346 | -0.12552 | 14.4573
39 | 0.023116 | 0.005797 | -0.023109 | -0.0057925 | 7.2562e-06 | 4.4358e-06 | 0.034657 | 0.034657 | 0.034657 | 0.99255 | -0.14311 | 0.99221 | -0.1497 | 9.5211
40 | 0.0072331 | 0.0018124 | -0.0072319 | -0.001812 | 1.1737e-06 | 4.0767e-07 | 0.010847 | 0.010847 | 0.010847 | 0.99221 | -0.1497 | 0.99204 | -0.15311 | 2.9801
41 | 0.015876 | 0.0039801 | -0.015874 | -0.0039788 | 2.1952e-06 | 1.2716e-06 | 0.02381 | 0.02381 | 0.02381 | 0.99221 | -0.1497 | 0.99206 | -0.1526 | 6.5411
42 | 0.0038419 | 0.00096238 | -0.0038415 | -0.00096251 | 3.331e-07 | -1.3215e-07 | 0.0057625 | 0.0057626 | 0.0057626 | 0.99204 | -0.15311 | 0.99194 | -0.15493 | 1.5831
43 | 0.011882 | 0.0029784 | -0.01188 | -0.0029775 | 1.7685e-06 | 9.4019e-07 | 0.017822 | 0.017822 | 0.017822 | 0.99206 | -0.1526 | 0.9919 | -0.15572 | 4.8962
44 | 0.0038415 | 0.00096251 | -0.0038412 | -0.00096263 | 3.0595e-07 | -1.2131e-07 | 0.0057626 | 0.0057627 | 0.0057627 | 0.99194 | -0.15493 | 0.99186 | -0.1566 | 1.5832
45 | 0.0038412 | 0.00096263 | -0.0038411 | -0.00096268 | 1.1057e-07 | -4.3826e-08 | 0.0057627 | 0.0057628 | 0.0057628 | 0.99186 | -0.1566 | 0.99183 | -0.1572 | 1.5832

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44699 | 0.11251

## res_load
| p_mw | q_mvar
0 | 0.039132 | 0.0098075
1 | 0.014017 | 0.003513
2 | 0.010248 | 0.0025683
3 | 0.0064252 | 0.0016103
4 | 0.0064066 | 0.0016056
5 | 0.085635 | 0.021462
6 | 0.0078929 | 0.0019782
7 | 0.014647 | 0.0036709
8 | 0.010927 | 0.0027385
9 | 0.014675 | 0.0036778
10 | 0.056352 | 0.014123
11 | 0.015534 | 0.0038931
12 | 0.0061968 | 0.0015531
13 | 0.0039945 | 0.0010011
14 | 0.006875 | 0.001723
15 | 0.012374 | 0.0031013
16 | 0.0069493 | 0.0017417
17 | 0.0062577 | 0.0015683
18 | 0.0075057 | 0.0018811
19 | 0.0040368 | 0.0010117
20 | 0.010294 | 0.0025798
21 | 0.010427 | 0.0026132
22 | 0.0067108 | 0.0016819
23 | 0.0056291 | 0.0014108
24 | 0.01405 | 0.0035213
25 | 0.021828 | 0.0054707
26 | 0.004365 | 0.001094
27 | 0.0076221 | 0.0019103
28 | 0.0028909 | 0.00072454
29 | 0.00339 | 0.00084962
30 | 0.0039918 | 0.0010005
31 | 0.01188 | 0.0029775
32 | 0.0038411 | 0.00096268

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1