## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1201-31_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1201-31_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1201-31_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1201-31_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1201-31_0_5_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1201-31_0_5_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1201-31_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1201-31_0_5_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_1201-31_0_5_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_1201-31_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1201-31_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1201-31_0_5_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1201-31_0_5_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1201-31_0_5_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_1201-31_0_5_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_1201-31_0_5_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_1201-31_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1201-31_0_5_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1201-31_0_5_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_1201-31_0_5_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_1201-31_0_5_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_1201-31_0_5_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_1201-31_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1201-31_0_5_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_1201-31_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1201-31_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1201-31_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1201-31_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1201-31_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1201-31_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1201-31_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1201-31_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1201-31_0_5_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_1201-31_0_5_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1201-31_0_5_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_1201-31_0_5_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_1201-31_0_5_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_1201-31_0_5_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1201-31_0_5_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1201-31_0_5_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_1201-31_0_5_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_1201-31_0_5_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_1201-31_0_5_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_1201-31_0_5_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_1201-31_0_5_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1201-31_0_5_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_1201-31_0_5_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_1201-31_0_5_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_1201-31_0_5_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_1201-31_0_5_node_53 | 0.4 | n |  | TRUE
50 | bus_MV_14_0_node_136 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1201-31_0_5_load_0 | 0 | 0.043263 | 0.010843 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1201-31_0_5_load_3 | 2 | 0.0049199 | 0.001233 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1201-31_0_5_load_11 | 5 | 0.0047384 | 0.0011876 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1201-31_0_5_load_31 | 7 | 0.023293 | 0.0058377 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1201-31_0_5_load_24 | 13 | 0.012873 | 0.0032262 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1201-31_0_5_load_25 | 14 | 0.0077571 | 0.0019441 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1201-31_0_5_load_51 | 15 | 0.011467 | 0.002874 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1201-31_0_5_load_10 | 16 | 0.002821 | 0.000707 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1201-31_0_5_load_28 | 17 | 0.015315 | 0.0038383 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1201-31_0_5_load_30 | 18 | 0.035503 | 0.0088978 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1201-31_0_5_load_32 | 19 | 0.040183 | 0.010071 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1201-31_0_5_load_27 | 21 | 0.041611 | 0.010429 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1201-31_0_5_load_29 | 23 | 0.0052842 | 0.0013244 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1201-31_0_5_load_14 | 25 | 0.0074437 | 0.0018656 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1201-31_0_5_load_15 | 26 | 0.012612 | 0.0031608 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1201-31_0_5_load_19 | 28 | 0.013942 | 0.0034942 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1201-31_0_5_load_20 | 29 | 0.012268 | 0.0030746 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1201-31_0_5_load_23 | 31 | 0.0093677 | 0.0023478 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1201-31_0_5_load_50 | 32 | 0.0099723 | 0.0024993 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1201-31_0_5_load_39 | 34 | 0.012486 | 0.0031292 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1201-31_0_5_load_52 | 35 | 0.0046222 | 0.0011584 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1201-31_0_5_load_40 | 36 | 0.0081954 | 0.002054 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1201-31_0_5_load_55 | 39 | 0.018048 | 0.0045234 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1201-31_0_5_load_54 | 41 | 0.010328 | 0.0025884 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1201-31_0_5_load_42 | 42 | 0.010065 | 0.0025226 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1201-31_0_5_load_44 | 43 | 0.0060812 | 0.0015241 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1201-31_0_5_load_46 | 45 | 0.018937 | 0.004746 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1201-31_0_5_load_47 | 46 | 0.0039276 | 0.00098435 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1201-31_0_5_load_48 | 47 | 0.0081116 | 0.0020329 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1201-31_0_5_load_49 | 48 | 0.013936 | 0.0034926 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1201-31_0_5_line_0 |  | 0 | 1 | 0.042075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1201-31_0_5_line_1 |  | 1 | 2 | 0.010933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1201-31_0_5_line_2 |  | 1 | 3 | 0.013369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1201-31_0_5_line_3 |  | 2 | 4 | 0.0093148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1201-31_0_5_line_4 |  | 3 | 5 | 0.0034589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1201-31_0_5_line_5 |  | 4 | 9 | 0.012061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1201-31_0_5_line_6 |  | 4 | 10 | 0.018509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1201-31_0_5_line_7 |  | 5 | 16 | 0.067036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1201-31_0_5_line_8 |  | 6 | 7 | 0.0098303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1201-31_0_5_line_9 |  | 6 | 8 | 0.013682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1201-31_0_5_line_10 |  | 7 | 18 | 0.0078978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1201-31_0_5_line_11 |  | 8 | 19 | 0.01196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1201-31_0_5_line_12 |  | 9 | 14 | 0.0046533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1201-31_0_5_line_13 |  | 10 | 20 | 0.011385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1201-31_0_5_line_14 |  | 10 | 17 | 0.015174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1201-31_0_5_line_15 |  | 11 | 12 | 0.034042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1201-31_0_5_line_16 |  | 11 | 13 | 0.0025846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1201-31_0_5_line_17 |  | 12 | 15 | 0.0034772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1201-31_0_5_line_18 |  | 13 | 27 | 0.017809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1201-31_0_5_line_19 |  | 15 | 22 | 0.010244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1201-31_0_5_line_20 |  | 18 | 21 | 0.0056642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1201-31_0_5_line_21 |  | 19 | 33 | 0.010317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1201-31_0_5_line_22 |  | 20 | 21 | 0.014714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1201-31_0_5_line_23 |  | 22 | 23 | 0.015457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1201-31_0_5_line_24 |  | 23 | 24 | 0.028716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1201-31_0_5_line_25 |  | 24 | 26 | 0.024804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1201-31_0_5_line_26 |  | 25 | 26 | 0.023784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1201-31_0_5_line_27 |  | 27 | 31 | 0.013006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1201-31_0_5_line_28 |  | 27 | 28 | 0.017098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1201-31_0_5_line_29 |  | 28 | 29 | 0.00033703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1201-31_0_5_line_30 |  | 29 | 30 | 0.020672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1201-31_0_5_line_31 |  | 30 | 32 | 0.01216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1201-31_0_5_line_32 |  | 30 | 33 | 0.005061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1201-31_0_5_line_33 |  | 31 | 34 | 0.002747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1201-31_0_5_line_34 |  | 32 | 35 | 0.016037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1201-31_0_5_line_35 |  | 34 | 36 | 0.012423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1201-31_0_5_line_36 |  | 35 | 49 | 0.018094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1201-31_0_5_line_37 |  | 36 | 44 | 0.015802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1201-31_0_5_line_38 |  | 37 | 38 | 0.030351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1201-31_0_5_line_39 |  | 37 | 39 | 0.0079728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1201-31_0_5_line_40 |  | 38 | 40 | 0.015193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1201-31_0_5_line_41 |  | 38 | 41 | 0.012302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1201-31_0_5_line_42 |  | 40 | 43 | 0.0066748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1201-31_0_5_line_43 |  | 40 | 42 | 0.0072835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1201-31_0_5_line_44 |  | 43 | 49 | 0.0092565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1201-31_0_5_line_45 |  | 44 | 45 | 0.0008919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1201-31_0_5_line_46 |  | 44 | 46 | 0.010359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1201-31_0_5_line_47 |  | 45 | 48 | 0.016558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1201-31_0_5_line_48 |  | 47 | 48 | 0.028469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1201-31_0_5_trafo_22 | 0.63 MVA 20/0.4 kV | 50 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2691745.7998 | 1193141.2062 | 2691752.8961 | 1193164.1186 | 2691753.6703 | 1193168.311 | 2691752.7084 | 1193172.3766 | 2691748.186 | 1193175.9763 | 2691744.8594 | 1193177.6597 | 2691744.7957 | 1193177.7834
1 | 2691745.7998 | 1193141.2062 | 2691734.9316 | 1193142.3902
2 | 2691745.5245 | 1193127.849 | 2691745.8959 | 1193139.4177 | 2691745.7998 | 1193141.2062
3 | 2691725.6716 | 1193143.3991 | 2691734.9316 | 1193142.3902
4 | 2691745.5245 | 1193127.849 | 2691747.0873 | 1193130.9346
5 | 2691725.6716 | 1193143.3991 | 2691725.6754 | 1193142.1539 | 2691724.8046 | 1193135.3139 | 2691723.9561 | 1193131.4873
6 | 2691707.685 | 1193147.1147 | 2691712.7744 | 1193144.8134 | 2691725.6716 | 1193143.3991
7 | 2691747.9404 | 1193192.6361 | 2691746.7437 | 1193187.506 | 2691752.8972 | 1193172.4907 | 2691753.4964 | 1193171.1991 | 2691759.1904 | 1193154.8314 | 2691747.0873 | 1193130.9346
8 | 2691671.8749 | 1193113.0775 | 2691679.2141 | 1193119.6175
9 | 2691679.3839 | 1193101.6296 | 2691671.8749 | 1193113.0775
10 | 2691679.2141 | 1193119.6175 | 2691685.1104 | 1193124.8719
11 | 2691679.3839 | 1193101.6296 | 2691689.2426 | 1193098.5231 | 2691690.8437 | 1193098.2559
12 | 2691723.9561 | 1193131.4873 | 2691719.6324 | 1193133.2074
13 | 2691700.3246 | 1193138.4296 | 2691706.5967 | 1193145.5081 | 2691707.685 | 1193147.1147
14 | 2691707.685 | 1193147.1147 | 2691695.8456 | 1193156.606
15 | 2691783.1159 | 1193087.0103 | 2691761.0913 | 1193074.6646 | 2691755.7093 | 1193067.7109
16 | 2691755.7093 | 1193067.7109 | 2691753.7767 | 1193069.4272
17 | 2691783.1159 | 1193087.0103 | 2691785.8337 | 1193089.1794
18 | 2691740.4609 | 1193081.2525 | 2691753.7767 | 1193069.4272
19 | 2691793.84 | 1193095.5692 | 2691785.8337 | 1193089.1794
20 | 2691689.3393 | 1193128.6403 | 2691685.1104 | 1193124.8719
21 | 2691701.0201 | 1193096.5578 | 2691690.8437 | 1193098.2559
22 | 2691700.3246 | 1193138.4296 | 2691689.3393 | 1193128.6403
23 | 2691793.84 | 1193095.5692 | 2691799.1988 | 1193102.5448 | 2691804.6366 | 1193106.3909
24 | 2691822.5719 | 1193128.331 | 2691820.6689 | 1193125.6668 | 2691810.8802 | 1193110.807 | 2691804.6366 | 1193106.3909
25 | 2691822.5719 | 1193128.331 | 2691813.6095 | 1193139.1004 | 2691805.1761 | 1193145.8368
26 | 2691787.3015 | 1193161.4722 | 2691793.9986 | 1193154.7652 | 2691805.1761 | 1193145.8368
27 | 2691740.4609 | 1193081.2525 | 2691733.1269 | 1193070.5112
28 | 2691740.4609 | 1193081.2525 | 2691726.1846 | 1193090.6614
29 | 2691726.1846 | 1193090.6614 | 2691725.9032 | 1193090.8468
30 | 2691706.0261 | 1193095.7229 | 2691723.3646 | 1193092.5199 | 2691725.9032 | 1193090.8468
31 | 2691706.0261 | 1193095.7229 | 2691702.2698 | 1193084.1579 | 2691702.2698 | 1193084.1579
32 | 2691706.0261 | 1193095.7229 | 2691701.0201 | 1193096.5578
33 | 2691733.1269 | 1193070.5112 | 2691731.5779 | 1193068.2426
34 | 2691702.2698 | 1193084.1579 | 2691694.8621 | 1193069.9341
35 | 2691724.5728 | 1193057.9829 | 2691731.5779 | 1193068.2426
36 | 2691686.5041 | 1193053.8858 | 2691694.8621 | 1193069.9341
37 | 2691720.6758 | 1193042.6689 | 2691724.5728 | 1193057.9829
38 | 2691660.7007 | 1193072.7026 | 2691651.8047 | 1193060.2472 | 2691663.222 | 1193050.4491
39 | 2691660.7007 | 1193072.7026 | 2691665.3292 | 1193079.1943
40 | 2691663.222 | 1193050.4491 | 2691667.6538 | 1193046.7924 | 2691675.8299 | 1193042.0591
41 | 2691663.222 | 1193050.4491 | 2691654.0249 | 1193042.2791
42 | 2691675.8299 | 1193042.0591 | 2691680.3021 | 1193047.0142
43 | 2691675.8299 | 1193042.0591 | 2691670.9507 | 1193036.6515
44 | 2691686.5041 | 1193053.8858 | 2691680.3021 | 1193047.0142
45 | 2691720.2563 | 1193041.8818 | 2691720.6758 | 1193042.6689
46 | 2691720.6758 | 1193042.6689 | 2691716.6534 | 1193047.4659 | 2691712.6184 | 1193046.7449
47 | 2691712.4669 | 1193027.2701 | 2691720.2563 | 1193041.8818
48 | 2691699.06 | 1193002.156 | 2691708.0787 | 1193019.0384 | 2691712.4669 | 1193027.2701

## bus_geodata
| x | y | coords
0 | 2691744.7957 | 1193177.7834
1 | 2691745.7998 | 1193141.2062
2 | 2691734.9316 | 1193142.3903
3 | 2691745.5245 | 1193127.849
4 | 2691725.6716 | 1193143.3991
5 | 2691747.0873 | 1193130.9346
6 | 2691671.8749 | 1193113.0775
7 | 2691679.2141 | 1193119.6175
8 | 2691679.3839 | 1193101.6296
9 | 2691723.9561 | 1193131.4873
10 | 2691707.685 | 1193147.1147
11 | 2691755.7093 | 1193067.7109
12 | 2691783.1159 | 1193087.0103
13 | 2691753.7767 | 1193069.4272
14 | 2691719.6324 | 1193133.2074
15 | 2691785.8337 | 1193089.1794
16 | 2691747.9404 | 1193192.6361
17 | 2691695.8456 | 1193156.606
18 | 2691685.1104 | 1193124.8719
19 | 2691690.8437 | 1193098.2559
20 | 2691700.3246 | 1193138.4296
21 | 2691689.3393 | 1193128.6403
22 | 2691793.84 | 1193095.5692
23 | 2691804.6366 | 1193106.3909
24 | 2691822.5719 | 1193128.331
25 | 2691787.3015 | 1193161.4722
26 | 2691805.1761 | 1193145.8368
27 | 2691740.4609 | 1193081.2525
28 | 2691726.1846 | 1193090.6614
29 | 2691725.9032 | 1193090.8468
30 | 2691706.0261 | 1193095.7229
31 | 2691733.1269 | 1193070.5112
32 | 2691702.2698 | 1193084.1579
33 | 2691701.0201 | 1193096.5578
34 | 2691731.5779 | 1193068.2426
35 | 2691694.8621 | 1193069.9341
36 | 2691724.5728 | 1193057.9829
37 | 2691660.7007 | 1193072.7026
38 | 2691663.222 | 1193050.4491
39 | 2691665.3292 | 1193079.1943
40 | 2691675.8299 | 1193042.0591
41 | 2691654.0249 | 1193042.2791
42 | 2691670.9507 | 1193036.6515
43 | 2691680.3021 | 1193047.0142
44 | 2691720.6758 | 1193042.6689
45 | 2691720.2563 | 1193041.8818
46 | 2691712.6184 | 1193046.7449
47 | 2691699.06 | 1193002.156
48 | 2691712.4669 | 1193027.2701
49 | 2691686.5041 | 1193053.8858
50 | 2691701.0201 | 1193096.5578

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98875 | -0.21667 | 0.043263 | 0.010843
1 | 0.99042 | -0.18427 | 0 | 0
2 | 0.99093 | -0.1744 | 0.0049199 | 0.001233
3 | 0.99033 | -0.18607 | 0 | 0
4 | 0.99141 | -0.16519 | 0 | 0
5 | 0.99031 | -0.18653 | 0.0047384 | 0.0011876
6 | 0.99636 | -0.069709 | 0 | 0
7 | 0.99556 | -0.085188 | 0.023293 | 0.0058377
8 | 0.99748 | -0.048207 | 0 | 0
9 | 0.99132 | -0.16685 | 0 | 0
10 | 0.99248 | -0.14437 | 0 | 0
11 | 0.9957 | -0.082573 | 0 | 0
12 | 0.99456 | -0.10463 | 0 | 0
13 | 0.99579 | -0.080901 | 0.012873 | 0.0032262
14 | 0.99129 | -0.16749 | 0.0077571 | 0.0019441
15 | 0.99444 | -0.10688 | 0.011467 | 0.002874
16 | 0.99013 | -0.1899 | 0.002821 | 0.000707
17 | 0.99227 | -0.14848 | 0.015315 | 0.0038383
18 | 0.99499 | -0.096023 | 0.035503 | 0.0088978
19 | 0.99846 | -0.02945 | 0.040183 | 0.010071
20 | 0.99331 | -0.12851 | 0 | 0
21 | 0.99437 | -0.10804 | 0.041611 | 0.010429
22 | 0.9942 | -0.11146 | 0 | 0
23 | 0.99384 | -0.11837 | 0.0052842 | 0.0013244
24 | 0.99332 | -0.12854 | 0 | 0
25 | 0.9927 | -0.14046 | 0.0074437 | 0.0018656
26 | 0.99286 | -0.13733 | 0.012612 | 0.0031608
27 | 0.99659 | -0.065361 | 0 | 0
28 | 0.99854 | -0.028033 | 0.013942 | 0.0034942
29 | 0.99858 | -0.027216 | 0.012268 | 0.0030746
30 | 1 | 0 | -0.4331 | -0.10893
31 | 0.9957 | -0.082486 | 0.0093677 | 0.0023478
32 | 0.99935 | -0.012538 | 0.0099723 | 0.0024993
33 | 0.99949 | -0.0096822 | 0 | 0
34 | 0.99554 | -0.085654 | 0.012486 | 0.0031292
35 | 0.99863 | -0.026304 | 0.0046222 | 0.0011584
36 | 0.99494 | -0.097264 | 0.0081954 | 0.002054
37 | 0.9964 | -0.069279 | 0 | 0
38 | 0.9969 | -0.059666 | 0 | 0
39 | 0.99627 | -0.071805 | 0.018048 | 0.0045234
40 | 0.99729 | -0.052108 | 0 | 0
41 | 0.99678 | -0.061895 | 0.010328 | 0.0025884
42 | 0.99722 | -0.053393 | 0.010065 | 0.0025226
43 | 0.99752 | -0.047612 | 0.0060812 | 0.0015241
44 | 0.99429 | -0.10977 | 0 | 0
45 | 0.99426 | -0.11041 | 0.018937 | 0.004746
46 | 0.99425 | -0.11049 | 0.0039276 | 0.00098435
47 | 0.99371 | -0.12093 | 0.0081116 | 0.0020329
48 | 0.99392 | -0.11685 | 0.013936 | 0.0034926
49 | 0.9979 | -0.040395 | 0 | 0
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.043263 | -0.010843 | 0.043329 | 0.010885 | 6.6883e-05 | 4.2265e-05 | 0.065108 | 0.065107 | 0.065108 | 0.98875 | -0.21667 | 0.99042 | -0.18427 | 17.8867
1 | -0.05089 | -0.012779 | 0.050914 | 0.012794 | 2.3971e-05 | 1.5201e-05 | 0.076466 | 0.076466 | 0.076466 | 0.99042 | -0.18427 | 0.99093 | -0.1744 | 21.0073
2 | 0.0075607 | 0.0018943 | -0.00756 | -0.0018941 | 6.4686e-07 | 2.4196e-07 | 0.011359 | 0.011359 | 0.011359 | 0.99042 | -0.18427 | 0.99033 | -0.18607 | 3.1206
3 | -0.055834 | -0.014027 | 0.055859 | 0.014043 | 2.4562e-05 | 1.5599e-05 | 0.083854 | 0.083854 | 0.083854 | 0.99093 | -0.1744 | 0.99141 | -0.16519 | 23.0369
4 | 0.00756 | 0.0018941 | -0.0075598 | -0.001894 | 1.6736e-07 | 6.2606e-08 | 0.011359 | 0.011359 | 0.011359 | 0.99033 | -0.18607 | 0.99031 | -0.18653 | 3.1206
5 | 0.007758 | 0.0019445 | -0.0077574 | -0.0019442 | 6.1324e-07 | 2.3696e-07 | 0.011644 | 0.011644 | 0.011644 | 0.99141 | -0.16519 | 0.99132 | -0.16685 | 3.1989
6 | -0.063617 | -0.015987 | 0.06368 | 0.016028 | 6.33e-05 | 4.0273e-05 | 0.095498 | 0.095498 | 0.095498 | 0.99141 | -0.16519 | 0.99248 | -0.14437 | 26.2358
7 | 0.0028214 | 0.00070643 | -0.002821 | -0.000707 | 4.5178e-07 | -5.732e-07 | 0.0042392 | 0.0042395 | 0.0042395 | 0.99031 | -0.18653 | 0.99013 | -0.1899 | 1.1647
8 | 0.17982 | 0.0453 | -0.17969 | -0.045215 | 0.00013302 | 8.4877e-05 | 0.26864 | 0.26864 | 0.26864 | 0.99636 | -0.069709 | 0.99556 | -0.085188 | 36.9013
9 | -0.17982 | -0.0453 | 0.18001 | 0.045418 | 0.00018514 | 0.00011813 | 0.26864 | 0.26864 | 0.26864 | 0.99636 | -0.069709 | 0.99748 | -0.048207 | 36.9013
10 | 0.1564 | 0.039378 | -0.15632 | -0.039326 | 8.0965e-05 | 5.1612e-05 | 0.23383 | 0.23383 | 0.23383 | 0.99556 | -0.085188 | 0.99499 | -0.096023 | 32.1191
11 | -0.18001 | -0.045418 | 0.18017 | 0.045522 | 0.00016183 | 0.00010326 | 0.26864 | 0.26864 | 0.26864 | 0.99748 | -0.048207 | 0.99846 | -0.02945 | 36.9012
12 | 0.0077574 | 0.0019442 | -0.0077571 | -0.0019441 | 2.366e-07 | 9.143e-08 | 0.011644 | 0.011644 | 0.011644 | 0.99132 | -0.16685 | 0.99129 | -0.16749 | 3.199
13 | -0.078998 | -0.019868 | 0.079058 | 0.019906 | 5.9916e-05 | 3.8199e-05 | 0.11846 | 0.11846 | 0.11846 | 0.99248 | -0.14437 | 0.99331 | -0.12851 | 32.5452
14 | 0.015318 | 0.00384 | -0.015315 | -0.0038383 | 3.0014e-06 | 1.7248e-06 | 0.022966 | 0.022966 | 0.022966 | 0.99248 | -0.14437 | 0.99227 | -0.14848 | 6.3094
15 | 0.036883 | 0.0092715 | -0.036844 | -0.0092471 | 3.8798e-05 | 2.4388e-05 | 0.055129 | 0.055129 | 0.055129 | 0.9957 | -0.082573 | 0.99456 | -0.10463 | 15.1454
16 | -0.036883 | -0.0092715 | 0.036886 | 0.0092733 | 2.9457e-06 | 1.8516e-06 | 0.055129 | 0.055129 | 0.055129 | 0.9957 | -0.082573 | 0.99579 | -0.080901 | 15.1454
17 | 0.036844 | 0.0092471 | -0.03684 | -0.0092446 | 3.9631e-06 | 2.4912e-06 | 0.055129 | 0.055129 | 0.055129 | 0.99456 | -0.10463 | 0.99444 | -0.10688 | 15.1454
18 | -0.049758 | -0.012499 | 0.049795 | 0.012523 | 3.6932e-05 | 2.3404e-05 | 0.074365 | 0.074365 | 0.074365 | 0.99579 | -0.080901 | 0.99659 | -0.065361 | 20.4299
19 | 0.025373 | 0.0063706 | -0.025367 | -0.0063672 | 5.5383e-06 | 3.4116e-06 | 0.037971 | 0.037971 | 0.037971 | 0.99444 | -0.10688 | 0.9942 | -0.11146 | 10.4315
20 | 0.12082 | 0.030428 | -0.12075 | -0.030384 | 6.9382e-05 | 4.4331e-05 | 0.18073 | 0.18073 | 0.18073 | 0.99499 | -0.096023 | 0.99437 | -0.10804 | 49.6518
21 | -0.22035 | -0.055593 | 0.22056 | 0.055726 | 0.00020878 | 0.00013335 | 0.32853 | 0.32853 | 0.32853 | 0.99846 | -0.02945 | 0.99949 | -0.0096822 | 45.1272
22 | -0.079058 | -0.019906 | 0.079135 | 0.019955 | 7.7437e-05 | 4.9369e-05 | 0.11846 | 0.11846 | 0.11846 | 0.99331 | -0.12851 | 0.99437 | -0.10804 | 32.5452
23 | 0.025367 | 0.0063672 | -0.025359 | -0.0063621 | 8.357e-06 | 5.1481e-06 | 0.037971 | 0.037971 | 0.037971 | 0.9942 | -0.11146 | 0.99384 | -0.11837 | 10.4315
24 | 0.020075 | 0.0050377 | -0.020065 | -0.0050319 | 9.7297e-06 | 5.8551e-06 | 0.030059 | 0.030059 | 0.030059 | 0.99384 | -0.11837 | 0.99332 | -0.12854 | 8.258
25 | 0.020065 | 0.0050319 | -0.020057 | -0.0050268 | 8.4045e-06 | 5.058e-06 | 0.030059 | 0.030059 | 0.030059 | 0.99332 | -0.12854 | 0.99286 | -0.13733 | 8.258
26 | -0.0074437 | -0.0018656 | 0.0074448 | 0.001866 | 1.1104e-06 | 4.0309e-07 | 0.011158 | 0.011158 | 0.011158 | 0.9927 | -0.14046 | 0.99286 | -0.13733 | 3.0653
27 | 0.075098 | 0.018873 | -0.075036 | -0.018834 | 6.1342e-05 | 3.909e-05 | 0.11215 | 0.11215 | 0.11215 | 0.99659 | -0.065361 | 0.9957 | -0.082486 | 30.8096
28 | -0.12489 | -0.031396 | 0.12512 | 0.031539 | 0.00022304 | 0.00014252 | 0.18651 | 0.18651 | 0.18651 | 0.99659 | -0.065361 | 0.99854 | -0.028033 | 51.2394
29 | -0.13906 | -0.035033 | 0.13906 | 0.035036 | 5.4306e-06 | 3.4712e-06 | 0.20729 | 0.20729 | 0.20729 | 0.99854 | -0.028033 | 0.99858 | -0.027216 | 56.9471
30 | -0.15133 | -0.038111 | 0.15153 | 0.038237 | 0.00019722 | 0.00012568 | 0.22557 | 0.22557 | 0.22557 | 0.99858 | -0.027216 | 1 | 0 | 30.9846
31 | 0.059261 | 0.014906 | -0.059226 | -0.014884 | 3.5473e-05 | 2.2543e-05 | 0.0882 | 0.0882 | 0.0882 | 1 | 0 | 0.99935 | -0.012538 | 24.2309
32 | 0.22067 | 0.055791 | -0.22056 | -0.055726 | 0.00010242 | 6.5415e-05 | 0.32853 | 0.32853 | 0.32853 | 1 | 0 | 0.99949 | -0.0096822 | 45.1272
33 | 0.065669 | 0.016486 | -0.065659 | -0.01648 | 9.923e-06 | 6.315e-06 | 0.098147 | 0.098147 | 0.098147 | 0.9957 | -0.082486 | 0.99554 | -0.085654 | 26.9636
34 | 0.049253 | 0.012385 | -0.049221 | -0.012364 | 3.2358e-05 | 2.0499e-05 | 0.073352 | 0.073352 | 0.073352 | 0.99935 | -0.012538 | 0.99863 | -0.026304 | 20.1516
35 | 0.053173 | 0.013351 | -0.053144 | -0.013332 | 2.9433e-05 | 1.8676e-05 | 0.079485 | 0.079486 | 0.079486 | 0.99554 | -0.085654 | 0.99494 | -0.097264 | 21.8367
36 | 0.044599 | 0.011206 | -0.044569 | -0.011187 | 2.9975e-05 | 1.8947e-05 | 0.066465 | 0.066465 | 0.066465 | 0.99863 | -0.026304 | 0.9979 | -0.040395 | 18.2595
37 | 0.044948 | 0.011278 | -0.044921 | -0.011261 | 2.6783e-05 | 1.6936e-05 | 0.067229 | 0.067229 | 0.067229 | 0.99494 | -0.097264 | 0.99429 | -0.10977 | 18.4694
38 | -0.018051 | -0.0045246 | 0.018059 | 0.0045295 | 8.2707e-06 | 4.8978e-06 | 0.026957 | 0.026957 | 0.026957 | 0.9964 | -0.069279 | 0.9969 | -0.059666 | 7.4057
39 | 0.018051 | 0.0045246 | -0.018048 | -0.0045234 | 2.1726e-06 | 1.2866e-06 | 0.026957 | 0.026957 | 0.026957 | 0.9964 | -0.069279 | 0.99627 | -0.071805 | 7.4057
40 | -0.028388 | -0.0071184 | 0.028398 | 0.0071248 | 1.023e-05 | 6.349e-06 | 0.042374 | 0.042374 | 0.042374 | 0.9969 | -0.059666 | 0.99729 | -0.052108 | 11.6412
41 | 0.010329 | 0.0025889 | -0.010328 | -0.0025884 | 1.0965e-06 | 5.4141e-07 | 0.015417 | 0.015417 | 0.015417 | 0.9969 | -0.059666 | 0.99678 | -0.061895 | 4.2356
42 | -0.038464 | -0.0096477 | 0.038472 | 0.0096529 | 8.2451e-06 | 5.1897e-06 | 0.057393 | 0.057393 | 0.057393 | 0.99729 | -0.052108 | 0.99752 | -0.047612 | 15.7674
43 | 0.010066 | 0.0025229 | -0.010065 | -0.0025226 | 6.1613e-07 | 2.9929e-07 | 0.015019 | 0.015019 | 0.015019 | 0.99729 | -0.052108 | 0.99722 | -0.053393 | 4.1262
44 | -0.044553 | -0.011177 | 0.044569 | 0.011187 | 1.5334e-05 | 9.693e-06 | 0.066465 | 0.066465 | 0.066465 | 0.99752 | -0.047612 | 0.9979 | -0.040395 | 18.2595
45 | 0.040994 | 0.010277 | -0.040992 | -0.010276 | 1.2589e-06 | 7.9412e-07 | 0.061351 | 0.061351 | 0.061351 | 0.99429 | -0.10977 | 0.99426 | -0.11041 | 16.8546
46 | 0.0039277 | 0.0009843 | -0.0039276 | -0.00098435 | 1.3422e-07 | -4.8449e-08 | 0.0058781 | 0.0058781 | 0.0058781 | 0.99429 | -0.10977 | 0.99425 | -0.11049 | 1.6149
47 | 0.022055 | 0.0055303 | -0.022049 | -0.0055262 | 6.7659e-06 | 4.1155e-06 | 0.033009 | 0.033009 | 0.033009 | 0.99426 | -0.11041 | 0.99392 | -0.11685 | 9.0685
48 | -0.0081116 | -0.0020329 | 0.0081131 | 0.0020336 | 1.575e-06 | 6.3914e-07 | 0.012146 | 0.012146 | 0.012146 | 0.99371 | -0.12093 | 0.99392 | -0.11685 | 3.3369

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4331 | 0.10893

## res_load
| p_mw | q_mvar
0 | 0.043263 | 0.010843
1 | 0.0049199 | 0.001233
2 | 0.0047384 | 0.0011876
3 | 0.023293 | 0.0058377
4 | 0.012873 | 0.0032262
5 | 0.0077571 | 0.0019441
6 | 0.011467 | 0.002874
7 | 0.002821 | 0.000707
8 | 0.015315 | 0.0038383
9 | 0.035503 | 0.0088978
10 | 0.040183 | 0.010071
11 | 0.041611 | 0.010429
12 | 0.0052842 | 0.0013244
13 | 0.0074437 | 0.0018656
14 | 0.012612 | 0.0031608
15 | 0.013942 | 0.0034942
16 | 0.012268 | 0.0030746
17 | 0.0093677 | 0.0023478
18 | 0.0099723 | 0.0024993
19 | 0.012486 | 0.0031292
20 | 0.0046222 | 0.0011584
21 | 0.0081954 | 0.002054
22 | 0.018048 | 0.0045234
23 | 0.010328 | 0.0025884
24 | 0.010065 | 0.0025226
25 | 0.0060812 | 0.0015241
26 | 0.018937 | 0.004746
27 | 0.0039276 | 0.00098435
28 | 0.0081116 | 0.0020329
29 | 0.013936 | 0.0034926

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1