## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1201-37_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1201-37_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1201-37_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1201-37_0_4_node_54 | 0.4 | n |  | TRUE
4 | bus_LV_1201-37_0_4_node_36 | 0.4 | n |  | TRUE
5 | bus_LV_1201-37_0_4_node_53 | 0.4 | n |  | TRUE
6 | bus_LV_1201-37_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1201-37_0_4_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_1201-37_0_4_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_1201-37_0_4_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_1201-37_0_4_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_1201-37_0_4_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_1201-37_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1201-37_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1201-37_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1201-37_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1201-37_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1201-37_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1201-37_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1201-37_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1201-37_0_4_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_1201-37_0_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1201-37_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_1201-37_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1201-37_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1201-37_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1201-37_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1201-37_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1201-37_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1201-37_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1201-37_0_4_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_1201-37_0_4_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_1201-37_0_4_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_1201-37_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1201-37_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1201-37_0_4_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_1201-37_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1201-37_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1201-37_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1201-37_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1201-37_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1201-37_0_4_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_1201-37_0_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_1201-37_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1201-37_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1201-37_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1201-37_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_1201-37_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_1201-37_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1201-37_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_1201-37_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1201-37_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_1201-37_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_MV_14_0_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1201-37_0_4_load_0 | 0 | 0.0075342 | 0.0018882 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1201-37_0_4_load_1 | 1 | 0.011941 | 0.0029926 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1201-37_0_4_load_3 | 2 | 0.010915 | 0.0027356 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1201-37_0_4_load_36 | 4 | 0.0057095 | 0.0014309 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1201-37_0_4_load_53 | 5 | 0.0033057 | 0.00082847 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1201-37_0_4_load_4 | 6 | 0.010017 | 0.0025104 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1201-37_0_4_load_35 | 8 | 0.0057475 | 0.0014405 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1201-37_0_4_load_23 | 10 | 0.0034871 | 0.00087395 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1201-37_0_4_load_24 | 11 | 0.0095644 | 0.0023971 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1201-37_0_4_load_5 | 12 | 0.0084578 | 0.0021197 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1201-37_0_4_load_6 | 13 | 0.013665 | 0.0034246 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1201-37_0_4_load_7 | 14 | 0.014858 | 0.0037237 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1201-37_0_4_load_8 | 15 | 0.0072782 | 0.0018241 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1201-37_0_4_load_9 | 16 | 0.0085658 | 0.0021468 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1201-37_0_4_load_15 | 17 | 0.0036002 | 0.00090229 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1201-37_0_4_load_16 | 19 | 0.0077093 | 0.0019321 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1201-37_0_4_load_32 | 20 | 0.0070705 | 0.001772 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1201-37_0_4_load_26 | 21 | 0.015296 | 0.0038335 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1201-37_0_4_load_10 | 22 | 0.008596 | 0.0021544 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1201-37_0_4_load_11 | 23 | 0.0047007 | 0.0011781 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1201-37_0_4_load_12 | 24 | 0.0070325 | 0.0017625 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1201-37_0_4_load_13 | 25 | 0.0052862 | 0.0013248 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1201-37_0_4_load_14 | 26 | 0.0070205 | 0.0017595 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1201-37_0_4_load_19 | 28 | 0.0065798 | 0.0016491 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1201-37_0_4_load_20 | 29 | 0.0056216 | 0.0014089 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1201-37_0_4_load_49 | 31 | 0.014654 | 0.0036725 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1201-37_0_4_load_44 | 32 | 0.012714 | 0.0031864 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1201-37_0_4_load_25 | 33 | 0.0065082 | 0.0016311 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1201-37_0_4_load_34 | 34 | 0.0076099 | 0.0019072 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1201-37_0_4_load_52 | 35 | 0.0072233 | 0.0018103 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1201-37_0_4_load_27 | 36 | 0.0088606 | 0.0022207 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1201-37_0_4_load_29 | 37 | 0.0086473 | 0.0021672 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1201-37_0_4_load_30 | 38 | 0.0062005 | 0.001554 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1201-37_0_4_load_31 | 39 | 0.01258 | 0.0031528 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1201-37_0_4_load_33 | 40 | 0.0053979 | 0.0013529 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1201-37_0_4_load_48 | 41 | 0.0087336 | 0.0021888 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1201-37_0_4_load_37 | 43 | 0.01962 | 0.0049171 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1201-37_0_4_load_39 | 45 | 0.016527 | 0.004142 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1201-37_0_4_load_47 | 46 | 0.020655 | 0.0051767 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1201-37_0_4_load_40 | 47 | 0.013531 | 0.0033912 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1201-37_0_4_load_42 | 49 | 0.0092501 | 0.0023183 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1201-37_0_4_load_43 | 50 | 0.016609 | 0.0041627 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1201-37_0_4_load_51 | 51 | 0.0091706 | 0.0022984 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1201-37_0_4_load_50 | 52 | 0.011052 | 0.0027699 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1201-37_0_4_line_0 |  | 0 | 1 | 0.032206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1201-37_0_4_line_1 |  | 1 | 2 | 0.0078607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1201-37_0_4_line_2 |  | 1 | 3 | 0.094675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1201-37_0_4_line_3 |  | 2 | 4 | 0.015022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1201-37_0_4_line_4 |  | 3 | 5 | 0.045696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1201-37_0_4_line_5 |  | 4 | 8 | 0.010409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1201-37_0_4_line_6 |  | 6 | 7 | 0.02374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1201-37_0_4_line_7 |  | 7 | 9 | 0.026249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1201-37_0_4_line_8 |  | 7 | 10 | 0.012905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1201-37_0_4_line_9 |  | 7 | 11 | 0.025188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1201-37_0_4_line_10 |  | 8 | 34 | 0.010004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1201-37_0_4_line_11 |  | 9 | 35 | 0.017873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1201-37_0_4_line_12 |  | 10 | 25 | 0.0024346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1201-37_0_4_line_13 |  | 12 | 13 | 0.026719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1201-37_0_4_line_14 |  | 12 | 14 | 0.011637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1201-37_0_4_line_15 |  | 13 | 15 | 0.0056455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1201-37_0_4_line_16 |  | 14 | 16 | 0.023529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1201-37_0_4_line_17 |  | 15 | 17 | 0.022235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1201-37_0_4_line_18 |  | 16 | 18 | 0.019641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1201-37_0_4_line_19 |  | 17 | 19 | 0.00087549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1201-37_0_4_line_20 |  | 18 | 20 | 0.025605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1201-37_0_4_line_21 |  | 18 | 21 | 0.0015928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1201-37_0_4_line_22 |  | 19 | 30 | 0.017569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1201-37_0_4_line_23 |  | 20 | 28 | 0.02553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1201-37_0_4_line_24 |  | 21 | 33 | 0.0075687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1201-37_0_4_line_25 |  | 22 | 23 | 0.016426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1201-37_0_4_line_26 |  | 22 | 24 | 0.0081887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1201-37_0_4_line_27 |  | 23 | 25 | 0.020909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1201-37_0_4_line_28 |  | 24 | 26 | 0.023446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1201-37_0_4_line_29 |  | 26 | 27 | 0.010739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1201-37_0_4_line_30 |  | 27 | 28 | 0.0042518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1201-37_0_4_line_31 |  | 27 | 29 | 0.0026135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1201-37_0_4_line_32 |  | 29 | 34 | 0.00034734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1201-37_0_4_line_33 |  | 30 | 31 | 0.018472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1201-37_0_4_line_34 |  | 30 | 32 | 0.039455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1201-37_0_4_line_35 |  | 31 | 52 | 0.021805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1201-37_0_4_line_36 |  | 32 | 42 | 0.026307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1201-37_0_4_line_37 |  | 36 | 37 | 0.023865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1201-37_0_4_line_38 |  | 37 | 38 | 0.01545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1201-37_0_4_line_39 |  | 37 | 39 | 0.024181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1201-37_0_4_line_40 |  | 38 | 40 | 0.001799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1201-37_0_4_line_41 |  | 39 | 41 | 0.001496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1201-37_0_4_line_42 |  | 41 | 42 | 0.035358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1201-37_0_4_line_43 |  | 42 | 46 | 0.020246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1201-37_0_4_line_44 |  | 43 | 44 | 0.1101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1201-37_0_4_line_45 |  | 44 | 45 | 0.030516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1201-37_0_4_line_46 |  | 45 | 46 | 0.037589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1201-37_0_4_line_47 |  | 47 | 48 | 0.025583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1201-37_0_4_line_48 |  | 48 | 49 | 0.041918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1201-37_0_4_line_49 |  | 48 | 50 | 0.016837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1201-37_0_4_line_50 |  | 50 | 51 | 0.021115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1201-37_0_4_line_51 |  | 51 | 52 | 0.01876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1201-37_0_4_trafo_15 | 0.63 MVA 20/0.4 kV | 53 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2692297.2439 | 1192208.9007 | 2692294.6636 | 1192219.5534 | 2692276.2529 | 1192230.1559
1 | 2692269.4411 | 1192234.0788 | 2692276.2529 | 1192230.1559
2 | 2692276.2529 | 1192230.1559 | 2692344.354 | 1192295.9246
3 | 2692269.4411 | 1192234.0788 | 2692256.4238 | 1192241.5753
4 | 2692344.354 | 1192295.9246 | 2692337.7018 | 1192303.5824 | 2692313.962 | 1192330.0475
5 | 2692247.4036 | 1192246.7699 | 2692256.4238 | 1192241.5753
6 | 2692261.5295 | 1192161.6387 | 2692284.8982 | 1192165.8216
7 | 2692261.5295 | 1192161.6387 | 2692267.3985 | 1192136.0572
8 | 2692261.5295 | 1192161.6387 | 2692258.0862 | 1192174.0756
9 | 2692261.5295 | 1192161.6387 | 2692236.8581 | 1192156.565
10 | 2692247.4036 | 1192246.7699 | 2692238.7345 | 1192251.7624
11 | 2692267.3985 | 1192136.0572 | 2692271.3557 | 1192118.6278
12 | 2692257.4366 | 1192176.4219 | 2692258.0862 | 1192174.0756
13 | 2692193.555 | 1192222.2317 | 2692198.8363 | 1192196.0399
14 | 2692193.555 | 1192222.2317 | 2692191.2548 | 1192233.6388
15 | 2692198.8363 | 1192196.0399 | 2692199.9522 | 1192190.5058
16 | 2692186.604 | 1192256.704 | 2692191.2548 | 1192233.6388
17 | 2692204.3471 | 1192168.7097 | 2692199.9522 | 1192190.5058
18 | 2692185.614 | 1192275.8645 | 2692183.9697 | 1192269.7686 | 2692186.604 | 1192256.704
19 | 2692204.3471 | 1192168.7097 | 2692204.5202 | 1192167.8515
20 | 2692185.614 | 1192275.8645 | 2692208.985 | 1192265.4054
21 | 2692185.614 | 1192275.8645 | 2692184.1954 | 1192276.5887
22 | 2692207.993 | 1192150.6288 | 2692204.5202 | 1192167.8515
23 | 2692208.985 | 1192265.4054 | 2692232.2878 | 1192254.9768
24 | 2692184.1954 | 1192276.5887 | 2692177.4543 | 1192280.03
25 | 2692247.4749 | 1192212.4029 | 2692251.8576 | 1192196.5729
26 | 2692245.29 | 1192220.2947 | 2692247.4749 | 1192212.4029
27 | 2692257.4366 | 1192176.4219 | 2692251.8576 | 1192196.5729
28 | 2692245.29 | 1192220.2947 | 2692239.034 | 1192242.8908
29 | 2692236.1687 | 1192253.24 | 2692239.034 | 1192242.8908
30 | 2692236.1687 | 1192253.24 | 2692232.2878 | 1192254.9768
31 | 2692236.1687 | 1192253.24 | 2692238.4335 | 1192251.9357
32 | 2692238.4335 | 1192251.9357 | 2692238.7345 | 1192251.7624
33 | 2692207.993 | 1192150.6288 | 2692213.3973 | 1192141.8175 | 2692217.1548 | 1192134.6021
34 | 2692207.993 | 1192150.6288 | 2692169.3474 | 1192142.6756
35 | 2692217.1548 | 1192134.6021 | 2692217.2629 | 1192134.3945 | 2692220.8095 | 1192127.8894 | 2692223.759 | 1192114.0376
36 | 2692143.5802 | 1192137.3727 | 2692169.3474 | 1192142.6756
37 | 2692131.6941 | 1192197.2393 | 2692127.8917 | 1192220.7995
38 | 2692131.6941 | 1192197.2393 | 2692120.2876 | 1192197.2748 | 2692116.4164 | 1192198.441
39 | 2692131.6941 | 1192197.2393 | 2692136.4031 | 1192173.5215
40 | 2692114.6939 | 1192198.9599 | 2692116.4164 | 1192198.441
41 | 2692136.4031 | 1192173.5215 | 2692136.6945 | 1192172.0542
42 | 2692143.5802 | 1192137.3727 | 2692136.6945 | 1192172.0542
43 | 2692143.5802 | 1192137.3727 | 2692147.0626 | 1192117.4281
44 | 2692158.7824 | 1192050.3398 | 2692051.1439 | 1192027.179
45 | 2692158.7824 | 1192050.3398 | 2692156.8847 | 1192061.1731 | 2692153.5278 | 1192080.3997
46 | 2692153.5278 | 1192080.3997 | 2692147.0626 | 1192117.4281
47 | 2692236.5724 | 1192058.9547 | 2692221.2935 | 1192059.4085 | 2692211.1024 | 1192057.93
48 | 2692236.5724 | 1192058.9547 | 2692264.7253 | 1192056.2869 | 2692278.0812 | 1192059.051
49 | 2692236.5724 | 1192058.9547 | 2692235.4512 | 1192071.3454 | 2692234.2531 | 1192075.5752
50 | 2692234.2531 | 1192075.5752 | 2692229.8229 | 1192091.2159 | 2692228.5326 | 1192095.9001
51 | 2692228.5326 | 1192095.9001 | 2692224.5165 | 1192110.4798 | 2692223.759 | 1192114.0376

## bus_geodata
| x | y | coords
0 | 2692297.2439 | 1192208.9007
1 | 2692276.2529 | 1192230.1559
2 | 2692269.441 | 1192234.0788
3 | 2692344.354 | 1192295.9246
4 | 2692256.4238 | 1192241.5753
5 | 2692313.962 | 1192330.0475
6 | 2692284.8982 | 1192165.8216
7 | 2692261.5295 | 1192161.6387
8 | 2692247.4036 | 1192246.7699
9 | 2692267.3985 | 1192136.0572
10 | 2692258.0862 | 1192174.0756
11 | 2692236.8581 | 1192156.565
12 | 2692193.555 | 1192222.2317
13 | 2692198.8363 | 1192196.0399
14 | 2692191.2548 | 1192233.6388
15 | 2692199.9522 | 1192190.5058
16 | 2692186.604 | 1192256.704
17 | 2692204.3471 | 1192168.7097
18 | 2692185.614 | 1192275.8645
19 | 2692204.5202 | 1192167.8515
20 | 2692208.985 | 1192265.4054
21 | 2692184.1954 | 1192276.5887
22 | 2692247.4749 | 1192212.4029
23 | 2692251.8576 | 1192196.5729
24 | 2692245.29 | 1192220.2947
25 | 2692257.4366 | 1192176.4219
26 | 2692239.034 | 1192242.8908
27 | 2692236.1687 | 1192253.24
28 | 2692232.2878 | 1192254.9768
29 | 2692238.4335 | 1192251.9357
30 | 2692207.993 | 1192150.6288
31 | 2692217.1548 | 1192134.6021
32 | 2692169.3474 | 1192142.6756
33 | 2692177.4543 | 1192280.03
34 | 2692238.7345 | 1192251.7624
35 | 2692271.3557 | 1192118.6278
36 | 2692127.8917 | 1192220.7995
37 | 2692131.6941 | 1192197.2393
38 | 2692116.4164 | 1192198.441
39 | 2692136.4031 | 1192173.5215
40 | 2692114.6939 | 1192198.9599
41 | 2692136.6945 | 1192172.0542
42 | 2692143.5802 | 1192137.3727
43 | 2692051.1439 | 1192027.179
44 | 2692158.7824 | 1192050.3398
45 | 2692153.5278 | 1192080.3997
46 | 2692147.0626 | 1192117.4281
47 | 2692211.1024 | 1192057.93
48 | 2692236.5724 | 1192058.9547
49 | 2692278.0812 | 1192059.051
50 | 2692234.2531 | 1192075.5752
51 | 2692228.5326 | 1192095.9001
52 | 2692223.759 | 1192114.0376
53 | 2692207.993 | 1192150.6288

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98234 | -0.33984 | 0.0075342 | 0.0018882
1 | 0.98256 | -0.33546 | 0.011941 | 0.0029926
2 | 0.98273 | -0.33222 | 0.010915 | 0.0027356
3 | 0.98227 | -0.34111 | 0 | 0
4 | 0.98319 | -0.32309 | 0.0057095 | 0.0014309
5 | 0.98213 | -0.34384 | 0.0033057 | 0.00082847
6 | 0.98003 | -0.3849 | 0.010017 | 0.0025104
7 | 0.98025 | -0.38059 | 0 | 0
8 | 0.98357 | -0.3157 | 0.0057475 | 0.0014405
9 | 0.98008 | -0.38403 | 0 | 0
10 | 0.98057 | -0.37431 | 0.0034871 | 0.00087395
11 | 0.98003 | -0.38496 | 0.0095644 | 0.0023971
12 | 0.99501 | -0.094976 | 0.0084578 | 0.0021197
13 | 0.99733 | -0.050706 | 0.013665 | 0.0034246
14 | 0.99404 | -0.11345 | 0.014858 | 0.0037237
15 | 0.99786 | -0.040704 | 0.0072782 | 0.0018241
16 | 0.99225 | -0.14783 | 0.0085658 | 0.0021468
17 | 1 | 0 | -0.41728 | -0.10576
18 | 0.99083 | -0.17512 | 0 | 0
19 | 0.99992 | -0.0015408 | 0.0077093 | 0.0019321
20 | 0.98764 | -0.23668 | 0.0070705 | 0.001772
21 | 0.9908 | -0.17574 | 0.015296 | 0.0038335
22 | 0.98194 | -0.34753 | 0.008596 | 0.0021544
23 | 0.98133 | -0.3595 | 0.0047007 | 0.0011781
24 | 0.98231 | -0.3403 | 0.0070325 | 0.0017625
25 | 0.98064 | -0.37298 | 0.0052862 | 0.0013248
26 | 0.98352 | -0.31665 | 0.0070205 | 0.0017595
27 | 0.98415 | -0.30448 | 0 | 0
28 | 0.98462 | -0.2952 | 0.0065798 | 0.0016491
29 | 0.98401 | -0.30723 | 0.0056216 | 0.0014089
30 | 0.99836 | -0.031329 | 0 | 0
31 | 0.99711 | -0.05535 | 0.014654 | 0.0036725
32 | 0.99402 | -0.11445 | 0.012714 | 0.0031864
33 | 0.99075 | -0.17661 | 0.0065082 | 0.0016311
34 | 0.98399 | -0.30756 | 0.0076099 | 0.0019072
35 | 0.97996 | -0.38637 | 0.0072233 | 0.0018103
36 | 0.9889 | -0.21341 | 0.0088606 | 0.0022207
37 | 0.9891 | -0.20965 | 0.0086473 | 0.0021672
38 | 0.98893 | -0.21284 | 0.0062005 | 0.001554
39 | 0.98974 | -0.19711 | 0.01258 | 0.0031528
40 | 0.98892 | -0.21301 | 0.0053979 | 0.0013529
41 | 0.9898 | -0.196 | 0.0087336 | 0.0021888
42 | 0.99143 | -0.16434 | 0 | 0
43 | 0.9866 | -0.25821 | 0.01962 | 0.0049171
44 | 0.98858 | -0.21961 | 0 | 0
45 | 0.98913 | -0.20893 | 0.016527 | 0.004142
46 | 0.99038 | -0.18476 | 0.020655 | 0.0051767
47 | 0.99367 | -0.12172 | 0.013531 | 0.0033912
48 | 0.99398 | -0.11561 | 0 | 0
49 | 0.99363 | -0.12245 | 0.0092501 | 0.0023183
50 | 0.99433 | -0.10884 | 0.016609 | 0.0041627
51 | 0.99509 | -0.094191 | 0.0091706 | 0.0022984
52 | 0.99592 | -0.078167 | 0.011052 | 0.0027699
53 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0075342 | -0.0018882 | 0.0075357 | 0.0018888 | 1.573e-06 | 5.989e-07 | 0.011413 | 0.011412 | 0.011413 | 0.98234 | -0.33984 | 0.98256 | -0.33546 | 3.1353
1 | -0.022783 | -0.005709 | 0.022787 | 0.0057112 | 3.5093e-06 | 2.1464e-06 | 0.034504 | 0.034503 | 0.034504 | 0.98256 | -0.33546 | 0.98273 | -0.33222 | 9.479
2 | 0.003307 | 0.00082754 | -0.0033061 | -0.00082817 | 8.9039e-07 | -6.2892e-07 | 0.0050077 | 0.0050081 | 0.0050081 | 0.98256 | -0.33546 | 0.98227 | -0.34111 | 1.3759
3 | -0.033702 | -0.0084468 | 0.033717 | 0.008456 | 1.4669e-05 | 9.1981e-06 | 0.051031 | 0.051031 | 0.051031 | 0.98273 | -0.33222 | 0.98319 | -0.32309 | 14.0195
4 | 0.0033061 | 0.00082817 | -0.0033057 | -0.00082847 | 4.2982e-07 | -3.0327e-07 | 0.0050081 | 0.0050083 | 0.0050083 | 0.98227 | -0.34111 | 0.98213 | -0.34384 | 1.3759
5 | -0.039426 | -0.0098869 | 0.03944 | 0.0098957 | 1.3899e-05 | 8.7633e-06 | 0.059672 | 0.059672 | 0.059672 | 0.98319 | -0.32309 | 0.98357 | -0.3157 | 16.3934
6 | -0.010017 | -0.0025104 | 0.010019 | 0.0025114 | 2.0592e-06 | 1.0187e-06 | 0.015209 | 0.015209 | 0.015209 | 0.98003 | -0.3849 | 0.98025 | -0.38059 | 4.1782
7 | 0.0072253 | 0.0018111 | -0.0072241 | -0.0018106 | 1.1842e-06 | 4.2702e-07 | 0.010968 | 0.010968 | 0.010968 | 0.98025 | -0.38059 | 0.98008 | -0.38403 | 3.0132
8 | -0.02681 | -0.0067205 | 0.026818 | 0.0067255 | 8.0156e-06 | 4.9673e-06 | 0.040699 | 0.040699 | 0.040699 | 0.98025 | -0.38059 | 0.98057 | -0.37431 | 11.1809
9 | 0.0095664 | 0.002398 | -0.0095644 | -0.0023971 | 1.9919e-06 | 9.5738e-07 | 0.014522 | 0.014522 | 0.014522 | 0.98025 | -0.38059 | 0.98003 | -0.38496 | 3.9896
10 | -0.045188 | -0.011336 | 0.045205 | 0.011347 | 1.7535e-05 | 1.1095e-05 | 0.068367 | 0.068367 | 0.068367 | 0.98357 | -0.3157 | 0.98399 | -0.30756 | 18.7823
11 | 0.0072241 | 0.0018106 | -0.0072233 | -0.0018103 | 8.0631e-07 | 2.9083e-07 | 0.010968 | 0.010968 | 0.010968 | 0.98008 | -0.38403 | 0.97996 | -0.38637 | 3.0133
12 | -0.030306 | -0.0075994 | 0.030308 | 0.0076006 | 1.9311e-06 | 1.2052e-06 | 0.04599 | 0.04599 | 0.04599 | 0.98057 | -0.37431 | 0.98064 | -0.37298 | 12.6347
13 | -0.19035 | -0.04836 | 0.19075 | 0.048619 | 0.00040661 | 0.00025954 | 0.28489 | 0.28489 | 0.28489 | 0.99501 | -0.094976 | 0.99733 | -0.050706 | 39.1336
14 | 0.18189 | 0.04624 | -0.18173 | -0.046137 | 0.00016172 | 0.0001032 | 0.27224 | 0.27224 | 0.27224 | 0.99501 | -0.094976 | 0.99404 | -0.11345 | 37.3962
15 | -0.20442 | -0.052044 | 0.20452 | 0.052107 | 9.8651e-05 | 6.2989e-05 | 0.30528 | 0.30528 | 0.30528 | 0.99733 | -0.050706 | 0.99786 | -0.040704 | 41.9341
16 | 0.16687 | 0.042413 | -0.16659 | -0.042237 | 0.00027574 | 0.00017587 | 0.25 | 0.25 | 0.25 | 0.99404 | -0.11345 | 0.99225 | -0.14783 | 34.3412
17 | -0.2118 | -0.053931 | 0.21221 | 0.054197 | 0.00041665 | 0.00026608 | 0.31613 | 0.31613 | 0.31613 | 0.99786 | -0.040704 | 1 | 0 | 43.4249
18 | 0.15803 | 0.040091 | -0.15782 | -0.039959 | 0.00020713 | 0.00013206 | 0.23716 | 0.23716 | 0.23716 | 0.99225 | -0.14783 | 0.99083 | -0.17512 | 32.5767
19 | 0.20342 | 0.05156 | -0.2034 | -0.05155 | 1.506e-05 | 9.6155e-06 | 0.30289 | 0.30289 | 0.30289 | 1 | 0 | 0.99992 | -0.0015408 | 41.606
20 | 0.13602 | 0.034494 | -0.13562 | -0.034237 | 0.0004012 | 0.00025644 | 0.20441 | 0.20441 | 0.20441 | 0.99083 | -0.17512 | 0.98764 | -0.23668 | 56.1572
21 | 0.021805 | 0.0054651 | -0.021804 | -0.0054647 | 6.4052e-07 | 3.8942e-07 | 0.032747 | 0.032747 | 0.032747 | 0.99083 | -0.17512 | 0.9908 | -0.17574 | 8.9963
22 | 0.19569 | 0.049618 | -0.19541 | -0.049439 | 0.00027976 | 0.00017859 | 0.29142 | 0.29142 | 0.29142 | 0.99992 | -0.0015408 | 0.99836 | -0.031329 | 40.0301
23 | 0.12854 | 0.032465 | -0.12819 | -0.032235 | 0.00035942 | 0.00022971 | 0.19376 | 0.19376 | 0.19376 | 0.98764 | -0.23668 | 0.98462 | -0.2952 | 53.2306
24 | 0.0065085 | 0.0016312 | -0.0065082 | -0.0016311 | 2.7118e-07 | 7.6083e-08 | 0.0097747 | 0.0097747 | 0.0097747 | 0.9908 | -0.17574 | 0.99075 | -0.17661 | 2.6854
25 | 0.04034 | 0.010132 | -0.040317 | -0.010118 | 2.3024e-05 | 1.4528e-05 | 0.061139 | 0.061139 | 0.061139 | 0.98194 | -0.34753 | 0.98133 | -0.3595 | 16.7964
26 | -0.048936 | -0.012287 | 0.048953 | 0.012298 | 1.6891e-05 | 1.0706e-05 | 0.074165 | 0.074165 | 0.074165 | 0.98194 | -0.34753 | 0.98231 | -0.3403 | 20.3751
27 | 0.035617 | 0.0089399 | -0.035594 | -0.0089255 | 2.2874e-05 | 1.4375e-05 | 0.054011 | 0.054011 | 0.054011 | 0.98133 | -0.3595 | 0.98064 | -0.37298 | 14.8383
28 | -0.055986 | -0.01406 | 0.056049 | 0.0141 | 6.3253e-05 | 4.0184e-05 | 0.084818 | 0.084818 | 0.084818 | 0.98231 | -0.3403 | 0.98352 | -0.31665 | 23.3017
29 | -0.063069 | -0.01586 | 0.063106 | 0.015883 | 3.668e-05 | 2.3339e-05 | 0.09544 | 0.09544 | 0.09544 | 0.98352 | -0.31665 | 0.98415 | -0.30448 | 26.2197
30 | -0.12155 | -0.030552 | 0.12161 | 0.030586 | 5.3872e-05 | 3.4424e-05 | 0.18382 | 0.18382 | 0.18382 | 0.98415 | -0.30448 | 0.98462 | -0.2952 | 50.4988
31 | 0.058445 | 0.014669 | -0.058438 | -0.014664 | 7.6547e-06 | 4.8658e-06 | 0.088376 | 0.088376 | 0.088376 | 0.98415 | -0.30448 | 0.98401 | -0.30723 | 24.2792
32 | 0.052816 | 0.013255 | -0.052815 | -0.013254 | 8.3102e-07 | 5.2744e-07 | 0.079875 | 0.079875 | 0.079875 | 0.98401 | -0.30723 | 0.98399 | -0.30756 | 21.9438
33 | 0.074496 | 0.018758 | -0.074411 | -0.018703 | 8.5446e-05 | 5.4444e-05 | 0.11106 | 0.11106 | 0.11106 | 0.99836 | -0.031329 | 0.99711 | -0.05535 | 30.5123
34 | 0.12092 | 0.030682 | -0.12044 | -0.030374 | 0.00048127 | 0.0003075 | 0.18035 | 0.18035 | 0.18035 | 0.99836 | -0.031329 | 0.99402 | -0.11445 | 49.548
35 | 0.059757 | 0.015031 | -0.059692 | -0.014989 | 6.5057e-05 | 4.1353e-05 | 0.089197 | 0.089197 | 0.089197 | 0.99711 | -0.05535 | 0.99592 | -0.078167 | 24.5047
36 | 0.10772 | 0.027188 | -0.10746 | -0.027024 | 0.00025674 | 0.00016397 | 0.16132 | 0.16132 | 0.16132 | 0.99402 | -0.11445 | 0.99143 | -0.16434 | 44.3194
37 | -0.0088606 | -0.0022207 | 0.0088622 | 0.0022214 | 1.5908e-06 | 7.1189e-07 | 0.013333 | 0.013333 | 0.013333 | 0.9889 | -0.21341 | 0.9891 | -0.20965 | 3.6628
38 | 0.0116 | 0.0029078 | -0.011599 | -0.0029069 | 1.7646e-06 | 9.3106e-07 | 0.017452 | 0.017452 | 0.017452 | 0.9891 | -0.20965 | 0.98893 | -0.21284 | 4.7945
39 | -0.02911 | -0.0072964 | 0.029127 | 0.0073072 | 1.7391e-05 | 1.082e-05 | 0.043794 | 0.043794 | 0.043794 | 0.9891 | -0.20965 | 0.98974 | -0.19711 | 12.0312
40 | 0.005398 | 0.0013529 | -0.0053979 | -0.0013529 | 4.4504e-08 | 5.4012e-09 | 0.0081222 | 0.0081222 | 0.0081222 | 0.98893 | -0.21284 | 0.98892 | -0.21301 | 2.2314
41 | -0.041707 | -0.01046 | 0.041709 | 0.010461 | 2.2059e-06 | 1.3925e-06 | 0.062707 | 0.062707 | 0.062707 | 0.98974 | -0.19711 | 0.9898 | -0.196 | 17.2271
42 | -0.050443 | -0.01265 | 0.050519 | 0.012699 | 7.6256e-05 | 4.8349e-05 | 0.075836 | 0.075836 | 0.075836 | 0.9898 | -0.196 | 0.99143 | -0.16434 | 20.8341
43 | 0.056945 | 0.014325 | -0.05689 | -0.01429 | 5.5485e-05 | 3.5249e-05 | 0.085486 | 0.085487 | 0.085487 | 0.99143 | -0.16434 | 0.99038 | -0.18476 | 23.4853
44 | -0.01962 | -0.0049171 | 0.019656 | 0.0049388 | 3.6152e-05 | 2.1729e-05 | 0.029591 | 0.02959 | 0.029591 | 0.9866 | -0.25821 | 0.98858 | -0.21961 | 8.1294
45 | -0.019656 | -0.0049388 | 0.019666 | 0.0049449 | 1.002e-05 | 6.0211e-06 | 0.02959 | 0.02959 | 0.02959 | 0.98858 | -0.21961 | 0.98913 | -0.20893 | 8.1292
46 | -0.036193 | -0.0090869 | 0.036234 | 0.0091132 | 4.1795e-05 | 2.6266e-05 | 0.054453 | 0.054452 | 0.054453 | 0.98913 | -0.20893 | 0.99038 | -0.18476 | 14.9595
47 | -0.013531 | -0.0033912 | 0.013535 | 0.0033934 | 3.939e-06 | 2.1894e-06 | 0.020263 | 0.020263 | 0.020263 | 0.99367 | -0.12172 | 0.99398 | -0.11561 | 5.5667
48 | 0.0092531 | 0.0023197 | -0.0092501 | -0.0023183 | 3.0164e-06 | 1.3873e-06 | 0.013852 | 0.013853 | 0.013853 | 0.99398 | -0.11561 | 0.99363 | -0.12245 | 3.8057
49 | -0.022788 | -0.0057131 | 0.022795 | 0.0057176 | 7.3485e-06 | 4.4847e-06 | 0.034115 | 0.034115 | 0.034115 | 0.99398 | -0.11561 | 0.99433 | -0.10884 | 9.3722
50 | -0.039405 | -0.0098803 | 0.039432 | 0.0098976 | 2.7535e-05 | 1.7349e-05 | 0.058971 | 0.058971 | 0.058971 | 0.99433 | -0.10884 | 0.99509 | -0.094191 | 16.2008
51 | -0.048603 | -0.012196 | 0.04864 | 0.01222 | 3.7166e-05 | 2.3542e-05 | 0.072684 | 0.072684 | 0.072684 | 0.99509 | -0.094191 | 0.99592 | -0.078167 | 19.9681

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.42088 | 0.10666

## res_load
| p_mw | q_mvar
0 | 0.0075342 | 0.0018882
1 | 0.011941 | 0.0029926
2 | 0.010915 | 0.0027356
3 | 0.0057095 | 0.0014309
4 | 0.0033057 | 0.00082847
5 | 0.010017 | 0.0025104
6 | 0.0057475 | 0.0014405
7 | 0.0034871 | 0.00087395
8 | 0.0095644 | 0.0023971
9 | 0.0084578 | 0.0021197
10 | 0.013665 | 0.0034246
11 | 0.014858 | 0.0037237
12 | 0.0072782 | 0.0018241
13 | 0.0085658 | 0.0021468
14 | 0.0036002 | 0.00090229
15 | 0.0077093 | 0.0019321
16 | 0.0070705 | 0.001772
17 | 0.015296 | 0.0038335
18 | 0.008596 | 0.0021544
19 | 0.0047007 | 0.0011781
20 | 0.0070325 | 0.0017625
21 | 0.0052862 | 0.0013248
22 | 0.0070205 | 0.0017595
23 | 0.0065798 | 0.0016491
24 | 0.0056216 | 0.0014089
25 | 0.014654 | 0.0036725
26 | 0.012714 | 0.0031864
27 | 0.0065082 | 0.0016311
28 | 0.0076099 | 0.0019072
29 | 0.0072233 | 0.0018103
30 | 0.0088606 | 0.0022207
31 | 0.0086473 | 0.0021672
32 | 0.0062005 | 0.001554
33 | 0.01258 | 0.0031528
34 | 0.0053979 | 0.0013529
35 | 0.0087336 | 0.0021888
36 | 0.01962 | 0.0049171
37 | 0.016527 | 0.004142
38 | 0.020655 | 0.0051767
39 | 0.013531 | 0.0033912
40 | 0.0092501 | 0.0023183
41 | 0.016609 | 0.0041627
42 | 0.0091706 | 0.0022984
43 | 0.011052 | 0.0027699

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1