## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1203-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1203-3_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1203-3_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1203-3_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1203-3_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1203-3_0_5_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_1203-3_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1203-3_0_5_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_1203-3_0_5_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_1203-3_0_5_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_1203-3_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1203-3_0_5_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_1203-3_0_5_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_1203-3_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1203-3_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1203-3_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1203-3_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1203-3_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1203-3_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1203-3_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1203-3_0_5_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_1203-3_0_5_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_1203-3_0_5_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1203-3_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1203-3_0_5_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1203-3_0_5_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_1203-3_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1203-3_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1203-3_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1203-3_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1203-3_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1203-3_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1203-3_0_5_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1203-3_0_5_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_1203-3_0_5_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1203-3_0_5_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_1203-3_0_5_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_1203-3_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1203-3_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1203-3_0_5_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_1203-3_0_5_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_1203-3_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1203-3_0_5_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1203-3_0_5_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_1203-3_0_5_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_1203-3_0_5_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1203-3_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1203-3_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1203-3_0_5_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_1203-3_0_5_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1203-3_0_5_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1203-3_0_5_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_1203-3_0_5_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1203-3_0_5_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_1203-3_0_5_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_1203-3_0_5_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_1203-3_0_5_node_56 | 0.4 | n |  | TRUE
57 | bus_MV_11_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1203-3_0_5_load_0 | 0 | 0.07714 | 0.019333 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1203-3_0_5_load_5 | 3 | 0.013332 | 0.0033412 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1203-3_0_5_load_3 | 4 | 0.0033217 | 0.00083249 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1203-3_0_5_load_22 | 5 | 0.0054162 | 0.0013574 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1203-3_0_5_load_40 | 7 | 0.0047261 | 0.0011845 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1203-3_0_5_load_6 | 10 | 0.036994 | 0.0092716 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1203-3_0_5_load_8 | 13 | 0.057249 | 0.014348 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1203-3_0_5_load_9 | 14 | 0.0033694 | 0.00084444 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1203-3_0_5_load_10 | 15 | 0.007083 | 0.0017752 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1203-3_0_5_load_12 | 17 | 0.0036402 | 0.00091231 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1203-3_0_5_load_16 | 19 | 0.0019006 | 0.00047634 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1203-3_0_5_load_35 | 20 | 0.005196 | 0.0013022 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1203-3_0_5_load_27 | 21 | 0.019992 | 0.0050106 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1203-3_0_5_load_25 | 22 | 0.020692 | 0.0051858 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1203-3_0_5_load_15 | 23 | 0.0015372 | 0.00038525 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1203-3_0_5_load_33 | 24 | 0.013244 | 0.0033192 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1203-3_0_5_load_17 | 26 | 0.0025917 | 0.00064954 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1203-3_0_5_load_18 | 27 | 0.0084606 | 0.0021204 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1203-3_0_5_load_19 | 28 | 0.0053977 | 0.0013528 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1203-3_0_5_load_20 | 29 | 0.0052571 | 0.0013176 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1203-3_0_5_load_21 | 30 | 0.005625 | 0.0014097 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1203-3_0_5_load_29 | 32 | 0.0011504 | 0.00028831 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1203-3_0_5_load_48 | 36 | 0.011095 | 0.0027807 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1203-3_0_5_load_31 | 37 | 0.0039851 | 0.00099876 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1203-3_0_5_load_32 | 38 | 0.0032162 | 0.00080606 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1203-3_0_5_load_58 | 39 | 0.0039863 | 0.00099906 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1203-3_0_5_load_34 | 41 | 0.01511 | 0.003787 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1203-3_0_5_load_36 | 42 | 0.022022 | 0.0055193 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1203-3_0_5_load_51 | 43 | 0.020695 | 0.0051866 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1203-3_0_5_load_52 | 44 | 0.023979 | 0.0060098 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1203-3_0_5_load_37 | 45 | 0.0023676 | 0.00059338 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1203-3_0_5_load_41 | 47 | 0.0016979 | 0.00042552 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1203-3_0_5_load_53 | 48 | 0.01009 | 0.0025287 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1203-3_0_5_load_49 | 49 | 0.0043692 | 0.001095 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1203-3_0_5_load_43 | 50 | 0.023731 | 0.0059475 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1203-3_0_5_load_44 | 51 | 0.040924 | 0.010256 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1203-3_0_5_load_45 | 52 | 0.055163 | 0.013825 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1203-3_0_5_load_46 | 53 | 0.0093666 | 0.0023475 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1203-3_0_5_load_54 | 54 | 0.0039847 | 0.00099866 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1203-3_0_5_load_55 | 55 | 0.0039863 | 0.00099907 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1203-3_0_5_load_56 | 56 | 0.0032281 | 0.00080905 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1203-3_0_5_line_0 |  | 0 | 1 | 0.0086319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1203-3_0_5_line_1 |  | 1 | 2 | 0.021278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1203-3_0_5_line_2 |  | 1 | 3 | 0.048474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1203-3_0_5_line_3 |  | 2 | 6 | 0.096686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1203-3_0_5_line_4 |  | 2 | 7 | 0.065533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1203-3_0_5_line_5 |  | 3 | 8 | 0.027284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1203-3_0_5_line_6 |  | 4 | 5 | 0.020507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1203-3_0_5_line_7 |  | 5 | 9 | 0.016745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1203-3_0_5_line_8 |  | 6 | 10 | 0.021542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1203-3_0_5_line_9 |  | 7 | 11 | 0.0306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1203-3_0_5_line_10 |  | 8 | 12 | 0.017109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1203-3_0_5_line_11 |  | 8 | 9 | 0.0304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1203-3_0_5_line_12 |  | 9 | 30 | 0.0098896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1203-3_0_5_line_13 |  | 11 | 45 | 0.010353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1203-3_0_5_line_14 |  | 12 | 20 | 0.012067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_1203-3_0_5_line_15 |  | 12 | 16 | 0.014945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1203-3_0_5_line_16 |  | 13 | 14 | 0.0095006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1203-3_0_5_line_17 |  | 13 | 15 | 0.018155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1203-3_0_5_line_18 |  | 14 | 16 | 0.011651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1203-3_0_5_line_19 |  | 15 | 17 | 0.012092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1203-3_0_5_line_20 |  | 16 | 18 | 0.029103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_1203-3_0_5_line_21 |  | 17 | 19 | 0.017658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1203-3_0_5_line_22 |  | 18 | 21 | 0.0090266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1203-3_0_5_line_23 |  | 18 | 22 | 0.012123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1203-3_0_5_line_24 |  | 19 | 23 | 0.028317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1203-3_0_5_line_25 |  | 20 | 24 | 0.0097637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1203-3_0_5_line_26 |  | 22 | 25 | 0.020979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1203-3_0_5_line_27 |  | 23 | 26 | 0.0014383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1203-3_0_5_line_28 |  | 24 | 41 | 0.0077969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1203-3_0_5_line_29 |  | 25 | 31 | 0.004259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1203-3_0_5_line_30 |  | 25 | 32 | 0.028389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1203-3_0_5_line_31 |  | 27 | 28 | 0.059325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1203-3_0_5_line_32 |  | 28 | 29 | 0.0066835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1203-3_0_5_line_33 |  | 29 | 30 | 0.010931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1203-3_0_5_line_34 |  | 31 | 33 | 0.015746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1203-3_0_5_line_35 |  | 32 | 34 | 0.048042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1203-3_0_5_line_36 |  | 33 | 35 | 0.035652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1203-3_0_5_line_37 |  | 33 | 36 | 0.082112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1203-3_0_5_line_38 |  | 34 | 37 | 0.011281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1203-3_0_5_line_39 |  | 34 | 38 | 0.028773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1203-3_0_5_line_40 |  | 35 | 52 | 0.019834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1203-3_0_5_line_41 |  | 36 | 49 | 0.026099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1203-3_0_5_line_42 |  | 37 | 39 | 0.029086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1203-3_0_5_line_43 |  | 39 | 40 | 0.017276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1203-3_0_5_line_44 |  | 40 | 55 | 0.042426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1203-3_0_5_line_45 |  | 41 | 42 | 0.016151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1203-3_0_5_line_46 |  | 42 | 43 | 0.0015172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1203-3_0_5_line_47 |  | 43 | 44 | 0.014728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1203-3_0_5_line_48 |  | 45 | 46 | 0.0046676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1203-3_0_5_line_49 |  | 46 | 47 | 0.039882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1203-3_0_5_line_50 |  | 47 | 48 | 0.0091097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1203-3_0_5_line_51 |  | 50 | 51 | 0.028226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1203-3_0_5_line_52 |  | 50 | 52 | 0.02968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1203-3_0_5_line_53 |  | 51 | 53 | 0.019651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1203-3_0_5_line_54 |  | 54 | 55 | 5.4901e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1203-3_0_5_line_55 |  | 54 | 56 | 0.014632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1203-3_0_5_trafo_34 | 0.63 MVA 20/0.4 kV | 57 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2690894.4505 | 1190833.618 | 2690896.4316 | 1190825.2166
1 | 2690894.4505 | 1190833.618 | 2690887.3677 | 1190838.0133 | 2690877.8236 | 1190846.8073
2 | 2690894.4505 | 1190833.618 | 2690918.6803 | 1190852.5647 | 2690932.3647 | 1190863.8161
3 | 2690790.8216 | 1190849.6001 | 2690823.1677 | 1190859.8751 | 2690835.5956 | 1190845.4767 | 2690855.4776 | 1190840.8977 | 2690861.3725 | 1190843.9113 | 2690877.8236 | 1190846.8073
4 | 2690877.8236 | 1190846.8073 | 2690860.0149 | 1190885.0947 | 2690850.0187 | 1190906.1488
5 | 2690953.4399 | 1190881.1443 | 2690932.3647 | 1190863.8161
6 | 2690937.1569 | 1190815.6325 | 2690938.4633 | 1190819.8777 | 2690941.7117 | 1190835.611
7 | 2690945.0976 | 1190852.0101 | 2690941.7117 | 1190835.611
8 | 2690790.8216 | 1190849.6001 | 2690781.5129 | 1190869.0269
9 | 2690834.0279 | 1190932.1526 | 2690846.2206 | 1190914.1483 | 2690850.0187 | 1190906.1488
10 | 2690962.1073 | 1190895.9076 | 2690953.4399 | 1190881.1443
11 | 2690945.0976 | 1190852.0101 | 2690948.3653 | 1190867.8142 | 2690953.4399 | 1190881.1443
12 | 2690945.0976 | 1190852.0101 | 2690954.7985 | 1190850.0873
13 | 2690834.0279 | 1190932.1526 | 2690827.8571 | 1190940.4655
14 | 2690962.1073 | 1190895.9076 | 2690951.6847 | 1190901.989
15 | 2690962.1073 | 1190895.9076 | 2690970.1516 | 1190908.5156
16 | 2690987.0332 | 1190895.7717 | 2690979.4506 | 1190901.4959
17 | 2690987.0332 | 1190895.7717 | 2690995.4167 | 1190889.443 | 2690998.8735 | 1190882.6177
18 | 2690970.1516 | 1190908.5156 | 2690979.4506 | 1190901.4959
19 | 2691004.3368 | 1190871.8304 | 2690998.8735 | 1190882.6177
20 | 2690986.5244 | 1190932.5909 | 2690981.9126 | 1190926.4502 | 2690970.1516 | 1190908.5156
21 | 2691004.3368 | 1190871.8304 | 2691010.7164 | 1190859.2341 | 2691012.1843 | 1190856.0142
22 | 2690986.5244 | 1190932.5909 | 2690992.8923 | 1190938.9885
23 | 2690986.5244 | 1190932.5909 | 2690992.9867 | 1190932.8893 | 2690997.2218 | 1190936.6344
24 | 2691023.9303 | 1190830.2487 | 2691012.1843 | 1190856.0142
25 | 2690943.8588 | 1190907.7522 | 2690947.9192 | 1190904.1862 | 2690951.6847 | 1190901.989
26 | 2691013.1597 | 1190950.2738 | 2691003.1827 | 1190941.9056 | 2690997.2218 | 1190936.6344
27 | 2691024.5269 | 1190828.9399 | 2691023.9303 | 1190830.2487
28 | 2690943.8588 | 1190907.7522 | 2690938.0005 | 1190912.8974
29 | 2691013.1597 | 1190950.2738 | 2691010.5386 | 1190953.636
30 | 2691013.1597 | 1190950.2738 | 2691025.7229 | 1190936.5227 | 2691031.925 | 1190928.9824
31 | 2690991.7167 | 1190801.113 | 2690978.4408 | 1190798.2046 | 2690969.9788 | 1190843.1491
32 | 2690965.5206 | 1190847.9622 | 2690968.1345 | 1190846.0785 | 2690969.9788 | 1190843.1491 | 2690969.9788 | 1190843.1491
33 | 2690954.7985 | 1190850.0873 | 2690965.5206 | 1190847.9622 | 2690965.5206 | 1190847.9622
34 | 2691010.5386 | 1190953.636 | 2691006.2603 | 1190960.6644 | 2691003.0606 | 1190967.4756
35 | 2691063.1503 | 1190892.4749 | 2691037.5638 | 1190922.1269 | 2691031.925 | 1190928.9824
36 | 2690987.8748 | 1190999.7432 | 2691003.0606 | 1190967.4756
37 | 2691003.0606 | 1190967.4756 | 2690967.1494 | 1190964.0276 | 2690921.1474 | 1190962.2776
38 | 2691063.1503 | 1190892.4749 | 2691071.6141 | 1190885.0164
39 | 2691040.4978 | 1190874.6523 | 2691063.1503 | 1190892.4749
40 | 2690987.8748 | 1190999.7432 | 2690977.0708 | 1190994.1087 | 2690969.8207 | 1190991.6722
41 | 2690921.1474 | 1190962.2776 | 2690902.4126 | 1190961.5649 | 2690895.0646 | 1190961.7528
42 | 2691071.6141 | 1190885.0164 | 2691093.4364 | 1190865.7863
43 | 2691106.398 | 1190854.3642 | 2691093.4364 | 1190865.7863
44 | 2691106.398 | 1190854.3642 | 2691072.5888 | 1190828.7335
45 | 2690938.0005 | 1190912.8974 | 2690928.519 | 1190921.2246 | 2690926.5352 | 1190924.1471
46 | 2690925.683 | 1190925.4025 | 2690926.5352 | 1190924.1471
47 | 2690917.411 | 1190937.5885 | 2690925.683 | 1190925.4025
48 | 2690825.075 | 1190944.2133 | 2690827.8571 | 1190940.4655
49 | 2690825.075 | 1190944.2133 | 2690819.6862 | 1190945.0432 | 2690811.0414 | 1190947.3579 | 2690802.8658 | 1190947.4006 | 2690795.1965 | 1190946.7394 | 2690786.2402 | 1190943.2644
50 | 2690786.2402 | 1190943.2644 | 2690777.7474 | 1190939.9693
51 | 2690942.2252 | 1190995.4427 | 2690935.8125 | 1190997.7841 | 2690914.4425 | 1190996.6712
52 | 2690942.2252 | 1190995.4427 | 2690943.4425 | 1190994.9983 | 2690952.9849 | 1190989.3174 | 2690961.8587 | 1190988.9965 | 2690969.8207 | 1190991.6722
53 | 2690894.8179 | 1190995.6491 | 2690914.4425 | 1190996.6712
54 | 2691072.545 | 1190828.7004 | 2691072.5888 | 1190828.7335
55 | 2691060.8849 | 1190819.8608 | 2691072.545 | 1190828.7004

## bus_geodata
| x | y | coords
0 | 2690896.4316 | 1190825.2166
1 | 2690894.4505 | 1190833.618
2 | 2690877.8236 | 1190846.8073
3 | 2690932.3647 | 1190863.8161
4 | 2690937.1569 | 1190815.6325
5 | 2690941.7117 | 1190835.611
6 | 2690790.8216 | 1190849.6001
7 | 2690850.0187 | 1190906.1488
8 | 2690953.4399 | 1190881.1443
9 | 2690945.0976 | 1190852.0101
10 | 2690781.5129 | 1190869.0269
11 | 2690834.0279 | 1190932.1526
12 | 2690962.1073 | 1190895.9076
13 | 2690987.0332 | 1190895.7717
14 | 2690979.4506 | 1190901.4959
15 | 2690998.8735 | 1190882.6177
16 | 2690970.1516 | 1190908.5156
17 | 2691004.3368 | 1190871.8304
18 | 2690986.5244 | 1190932.5909
19 | 2691012.1843 | 1190856.0142
20 | 2690951.6847 | 1190901.989
21 | 2690992.8923 | 1190938.9885
22 | 2690997.2218 | 1190936.6344
23 | 2691023.9303 | 1190830.2487
24 | 2690943.8588 | 1190907.7522
25 | 2691013.1597 | 1190950.2738
26 | 2691024.5269 | 1190828.9399
27 | 2690991.7167 | 1190801.113
28 | 2690969.9788 | 1190843.1491
29 | 2690965.5206 | 1190847.9622
30 | 2690954.7985 | 1190850.0873
31 | 2691010.5386 | 1190953.636
32 | 2691031.925 | 1190928.9824
33 | 2691003.0606 | 1190967.4756
34 | 2691063.1503 | 1190892.4749
35 | 2690987.8748 | 1190999.7432
36 | 2690921.1474 | 1190962.2776
37 | 2691071.6141 | 1190885.0164
38 | 2691040.4978 | 1190874.6523
39 | 2691093.4364 | 1190865.7863
40 | 2691106.398 | 1190854.3642
41 | 2690938.0005 | 1190912.8974
42 | 2690926.5352 | 1190924.1471
43 | 2690925.683 | 1190925.4025
44 | 2690917.411 | 1190937.5885
45 | 2690827.8571 | 1190940.4655
46 | 2690825.075 | 1190944.2133
47 | 2690786.2402 | 1190943.2644
48 | 2690777.7474 | 1190939.9693
49 | 2690895.0646 | 1190961.7528
50 | 2690942.2252 | 1190995.4427
51 | 2690914.4425 | 1190996.6712
52 | 2690969.8207 | 1190991.6722
53 | 2690894.8179 | 1190995.6491
54 | 2691072.545 | 1190828.7004
55 | 2691072.5888 | 1190828.7335
56 | 2691060.8849 | 1190819.8608
57 | 2690962.1073 | 1190895.9076

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9877 | -0.23613 | 0.07714 | 0.019333
1 | 0.98831 | -0.22424 | 0 | 0
2 | 0.98722 | -0.24548 | 0 | 0
3 | 0.99425 | -0.10986 | 0.013332 | 0.0033412
4 | 0.99496 | -0.096396 | 0.0033217 | 0.00083249
5 | 0.99502 | -0.095196 | 0.0054162 | 0.0013574
6 | 0.98392 | -0.30967 | 0 | 0
7 | 0.98608 | -0.26764 | 0.0047261 | 0.0011845
8 | 0.99608 | -0.074723 | 0 | 0
9 | 0.99515 | -0.092621 | 0 | 0
10 | 0.98318 | -0.32403 | 0.036994 | 0.0092716
11 | 0.98568 | -0.27541 | 0 | 0
12 | 0.99679 | -0.061219 | 0 | 0
13 | 0.99434 | -0.10824 | 0.057249 | 0.014348
14 | 0.99498 | -0.095859 | 0.0033694 | 0.00084444
15 | 0.99407 | -0.11361 | 0.007083 | 0.0017752
16 | 0.99581 | -0.08 | 0 | 0
17 | 0.99396 | -0.11567 | 0.0036402 | 0.00091231
18 | 0.99441 | -0.10675 | 0 | 0
19 | 0.99386 | -0.11755 | 0.0019006 | 0.00047634
20 | 0.99808 | -0.036584 | 0.005196 | 0.0013022
21 | 0.99424 | -0.10993 | 0.019992 | 0.0050106
22 | 0.99388 | -0.11685 | 0.020692 | 0.0051858
23 | 0.99375 | -0.11961 | 0.0015372 | 0.00038525
24 | 0.99913 | -0.016477 | 0.013244 | 0.0033192
25 | 0.99307 | -0.13243 | 0 | 0
26 | 0.99375 | -0.11968 | 0.0025917 | 0.00064954
27 | 0.9942 | -0.11109 | 0.0084606 | 0.0021204
28 | 0.99466 | -0.10224 | 0.0053977 | 0.0013528
29 | 0.99474 | -0.10061 | 0.0052571 | 0.0013176
30 | 0.99493 | -0.096928 | 0.005625 | 0.0014097
31 | 0.99293 | -0.13515 | 0 | 0
32 | 0.99246 | -0.14425 | 0.0011504 | 0.00028831
33 | 0.99188 | -0.1553 | 0 | 0
34 | 0.99147 | -0.1633 | 0 | 0
35 | 0.98763 | -0.23725 | 0 | 0
36 | 0.99072 | -0.17783 | 0.011095 | 0.0027807
37 | 0.99128 | -0.16714 | 0.0039851 | 0.00099876
38 | 0.99139 | -0.16494 | 0.0032162 | 0.00080606
39 | 0.99087 | -0.17498 | 0.0039863 | 0.00099906
40 | 0.99069 | -0.17841 | 0 | 0
41 | 1 | 0 | -0.55783 | -0.14131
42 | 0.99902 | -0.018794 | 0.022022 | 0.0055193
43 | 0.99896 | -0.019978 | 0.020695 | 0.0051866
44 | 0.99864 | -0.026148 | 0.023979 | 0.0060098
45 | 0.98555 | -0.27804 | 0.0023676 | 0.00059338
46 | 0.9855 | -0.27903 | 0 | 0
47 | 0.98506 | -0.28747 | 0.0016979 | 0.00042552
48 | 0.98498 | -0.28912 | 0.01009 | 0.0025287
49 | 0.99061 | -0.17985 | 0.0043692 | 0.001095
50 | 0.98324 | -0.32267 | 0.023731 | 0.0059475
51 | 0.98193 | -0.3483 | 0.040924 | 0.010256
52 | 0.98527 | -0.28314 | 0.055163 | 0.013825
53 | 0.98176 | -0.35163 | 0.0093666 | 0.0023475
54 | 0.99026 | -0.18686 | 0.0039847 | 0.00099866
55 | 0.99026 | -0.18685 | 0.0039863 | 0.00099907
56 | 0.99022 | -0.1877 | 0.0032281 | 0.00080905
57 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.07714 | -0.019333 | 0.077184 | 0.019361 | 4.3718e-05 | 2.7869e-05 | 0.11622 | 0.11622 | 0.11622 | 0.9877 | -0.23613 | 0.98831 | -0.22424 | 31.9273
1 | 0.056104 | 0.014146 | -0.056047 | -0.01411 | 5.6976e-05 | 3.6192e-05 | 0.084501 | 0.084502 | 0.084502 | 0.98831 | -0.22424 | 0.98722 | -0.24548 | 23.2147
2 | -0.13329 | -0.033507 | 0.13402 | 0.033976 | 0.00073233 | 0.00046807 | 0.20072 | 0.20072 | 0.20072 | 0.98831 | -0.22424 | 0.99425 | -0.10986 | 55.142
3 | 0.037133 | 0.009359 | -0.037019 | -0.0092875 | 0.00011366 | 7.1508e-05 | 0.055989 | 0.055989 | 0.055989 | 0.98722 | -0.24548 | 0.98392 | -0.30967 | 15.3816
4 | 0.018914 | 0.0047512 | -0.018894 | -0.0047393 | 1.998e-05 | 1.195e-05 | 0.028513 | 0.028513 | 0.028513 | 0.98722 | -0.24548 | 0.98608 | -0.26764 | 7.8333
5 | -0.14735 | -0.037317 | 0.1476 | 0.037476 | 0.00024911 | 0.00015872 | 0.22067 | 0.22067 | 0.22067 | 0.99425 | -0.10986 | 0.99608 | -0.074723 | 30.3117
6 | -0.0033217 | -0.00083249 | 0.0033219 | 0.00083235 | 1.8978e-07 | -1.4489e-07 | 0.0049678 | 0.0049677 | 0.0049678 | 0.99496 | -0.096396 | 0.99502 | -0.095196 | 1.3648
7 | -0.0087381 | -0.0021898 | 0.0087392 | 0.0021903 | 1.0722e-06 | 4.6871e-07 | 0.013067 | 0.013067 | 0.013067 | 0.99502 | -0.095196 | 0.99515 | -0.092621 | 3.59
8 | 0.037019 | 0.0092875 | -0.036994 | -0.0092716 | 2.5323e-05 | 1.5934e-05 | 0.055989 | 0.055989 | 0.055989 | 0.98392 | -0.30967 | 0.98318 | -0.32403 | 15.3816
9 | 0.014168 | 0.0035548 | -0.014163 | -0.0035518 | 5.246e-06 | 2.9673e-06 | 0.021382 | 0.021382 | 0.021382 | 0.98608 | -0.26764 | 0.98568 | -0.27541 | 5.8741
10 | -0.18112 | -0.045891 | 0.18124 | 0.045966 | 0.00011758 | 7.436e-05 | 0.27075 | 0.27075 | 0.27075 | 0.99608 | -0.074723 | 0.99679 | -0.061219 | 18.5955
11 | 0.033521 | 0.0084159 | -0.033493 | -0.008398 | 2.8593e-05 | 1.7904e-05 | 0.050082 | 0.050082 | 0.050082 | 0.99608 | -0.074723 | 0.99515 | -0.092621 | 13.7587
12 | 0.024753 | 0.0062078 | -0.024748 | -0.0062046 | 5.081e-06 | 3.1234e-06 | 0.037014 | 0.037014 | 0.037014 | 0.99515 | -0.092621 | 0.99493 | -0.096928 | 10.1688
13 | 0.014163 | 0.0035518 | -0.014161 | -0.0035508 | 1.7749e-06 | 1.004e-06 | 0.021382 | 0.021382 | 0.021382 | 0.98568 | -0.27541 | 0.98555 | -0.27804 | 5.8741
14 | -0.46957 | -0.11903 | 0.47012 | 0.11938 | 0.00055663 | 0.00035561 | 0.70145 | 0.70145 | 0.70145 | 0.99679 | -0.061219 | 0.99808 | -0.036584 | 48.1765
15 | 0.28833 | 0.073062 | -0.28807 | -0.072896 | 0.00025991 | 0.00016556 | 0.4307 | 0.4307 | 0.4307 | 0.99679 | -0.061219 | 0.99581 | -0.08 | 29.5811
16 | -0.074008 | -0.018549 | 0.074051 | 0.018577 | 4.37e-05 | 2.7845e-05 | 0.11075 | 0.11075 | 0.11075 | 0.99434 | -0.10824 | 0.99498 | -0.095859 | 30.4263
17 | 0.016759 | 0.0042015 | -0.016754 | -0.004199 | 4.2822e-06 | 2.5052e-06 | 0.02508 | 0.02508 | 0.02508 | 0.99434 | -0.10824 | 0.99407 | -0.11361 | 6.8901
18 | -0.077421 | -0.019422 | 0.077479 | 0.019459 | 5.8579e-05 | 3.7339e-05 | 0.11579 | 0.11579 | 0.11579 | 0.99498 | -0.095859 | 0.99581 | -0.08 | 31.8106
19 | 0.0096715 | 0.0024239 | -0.0096706 | -0.0024234 | 9.5038e-07 | 4.515e-07 | 0.014477 | 0.014477 | 0.014477 | 0.99407 | -0.11361 | 0.99396 | -0.11567 | 3.9773
20 | 0.21059 | 0.053437 | -0.21032 | -0.053265 | 0.00027057 | 0.00017165 | 0.31491 | 0.31491 | 0.31491 | 0.99581 | -0.08 | 0.99441 | -0.10675 | 21.6285
21 | 0.0060304 | 0.0015111 | -0.0060299 | -0.001511 | 5.397e-07 | 1.1655e-07 | 0.0090278 | 0.0090279 | 0.0090279 | 0.99396 | -0.11567 | 0.99386 | -0.11755 | 2.4802
22 | 0.019995 | 0.0050124 | -0.019992 | -0.0050106 | 3.0305e-06 | 1.8224e-06 | 0.029921 | 0.029921 | 0.029921 | 0.99441 | -0.10675 | 0.99424 | -0.10993 | 8.2201
23 | 0.19032 | 0.048253 | -0.19023 | -0.048194 | 9.2305e-05 | 5.8446e-05 | 0.28499 | 0.28499 | 0.28499 | 0.99441 | -0.10675 | 0.99388 | -0.11685 | 19.5735
24 | 0.0041292 | 0.0010347 | -0.0041288 | -0.0010348 | 4.0586e-07 | -1.0716e-07 | 0.0061823 | 0.0061824 | 0.0061824 | 0.99386 | -0.11755 | 0.99375 | -0.11961 | 1.6985
25 | -0.47532 | -0.12069 | 0.47578 | 0.12098 | 0.00046038 | 0.00029413 | 0.7092 | 0.7092 | 0.7092 | 0.99808 | -0.036584 | 0.99913 | -0.016477 | 48.7085
26 | 0.16954 | 0.043009 | -0.16941 | -0.042928 | 0.0001269 | 8.0129e-05 | 0.25401 | 0.25401 | 0.25401 | 0.99388 | -0.11685 | 0.99307 | -0.13243 | 17.4458
27 | 0.0025917 | 0.00064952 | -0.0025917 | -0.00064954 | 8.1229e-09 | -1.3436e-08 | 0.0038807 | 0.0038807 | 0.0038807 | 0.99375 | -0.11961 | 0.99375 | -0.11968 | 1.0661
28 | -0.48902 | -0.1243 | 0.48941 | 0.12455 | 0.00038838 | 0.00024815 | 0.72892 | 0.72892 | 0.72892 | 0.99913 | -0.016477 | 1 | 0 | 50.0632
29 | 0.14582 | 0.037001 | -0.1458 | -0.036989 | 1.9091e-05 | 1.1998e-05 | 0.21866 | 0.21866 | 0.21866 | 0.99307 | -0.13243 | 0.99293 | -0.13515 | 15.0181
30 | 0.023587 | 0.0059279 | -0.023573 | -0.0059197 | 1.3302e-05 | 8.1463e-06 | 0.035348 | 0.035348 | 0.035348 | 0.99307 | -0.13243 | 0.99246 | -0.14425 | 9.7111
31 | -0.0084606 | -0.0021204 | 0.0084642 | 0.0021219 | 3.5673e-06 | 1.5134e-06 | 0.012663 | 0.012663 | 0.012663 | 0.9942 | -0.11109 | 0.99466 | -0.10224 | 3.4789
32 | -0.013862 | -0.0034747 | 0.013863 | 0.0034753 | 1.0778e-06 | 6.0307e-07 | 0.020738 | 0.020738 | 0.020738 | 0.99466 | -0.10224 | 0.99474 | -0.10061 | 5.6972
33 | -0.01912 | -0.0047929 | 0.019123 | 0.0047949 | 3.3532e-06 | 2.0041e-06 | 0.028602 | 0.028602 | 0.028602 | 0.99474 | -0.10061 | 0.99493 | -0.096928 | 7.8576
34 | 0.1458 | 0.036989 | -0.14566 | -0.036899 | 0.00014116 | 8.9938e-05 | 0.21866 | 0.21866 | 0.21866 | 0.99293 | -0.13515 | 0.99188 | -0.1553 | 30.0362
35 | 0.022423 | 0.0056314 | -0.022403 | -0.005619 | 2.0368e-05 | 1.2415e-05 | 0.033624 | 0.033624 | 0.033624 | 0.99246 | -0.14425 | 0.99147 | -0.1633 | 9.2373
36 | 0.13018 | 0.033013 | -0.12967 | -0.032687 | 0.00051065 | 0.00032636 | 0.19544 | 0.19544 | 0.19544 | 0.99188 | -0.1553 | 0.98763 | -0.23725 | 53.6913
37 | 0.015481 | 0.0038853 | -0.015465 | -0.0038757 | 1.6613e-05 | 9.5734e-06 | 0.023227 | 0.023228 | 0.023228 | 0.99188 | -0.1553 | 0.99072 | -0.17783 | 6.3812
38 | 0.019186 | 0.0048131 | -0.019183 | -0.004811 | 3.5081e-06 | 2.0997e-06 | 0.028797 | 0.028797 | 0.028797 | 0.99147 | -0.1633 | 0.99128 | -0.16714 | 7.9112
39 | 0.0032165 | 0.00080585 | -0.0032162 | -0.00080606 | 2.5144e-07 | -2.1012e-07 | 0.0048272 | 0.0048274 | 0.0048274 | 0.99147 | -0.1633 | 0.99139 | -0.16494 | 1.3262
40 | 0.12967 | 0.032687 | -0.12939 | -0.032505 | 0.00028408 | 0.00018156 | 0.19544 | 0.19544 | 0.19544 | 0.98763 | -0.23725 | 0.98527 | -0.28314 | 53.6913
41 | 0.0043697 | 0.001095 | -0.0043692 | -0.001095 | 4.2156e-07 | -6.6232e-08 | 0.006563 | 0.0065631 | 0.0065631 | 0.99072 | -0.17783 | 0.99061 | -0.17985 | 1.8031
42 | 0.015198 | 0.0038123 | -0.015192 | -0.003809 | 5.6773e-06 | 3.2587e-06 | 0.022815 | 0.022815 | 0.022815 | 0.99128 | -0.16714 | 0.99087 | -0.17498 | 6.2678
43 | 0.011206 | 0.00281 | -0.011204 | -0.002809 | 1.8347e-06 | 9.5171e-07 | 0.016828 | 0.016828 | 0.016828 | 0.99087 | -0.17498 | 0.99069 | -0.17841 | 4.6232
44 | 0.011204 | 0.002809 | -0.011199 | -0.0028067 | 4.5057e-06 | 2.3376e-06 | 0.016828 | 0.016829 | 0.016829 | 0.99069 | -0.17841 | 0.99026 | -0.18685 | 4.6232
45 | 0.066766 | 0.01676 | -0.066706 | -0.016722 | 5.9792e-05 | 3.8055e-05 | 0.099358 | 0.099358 | 0.099358 | 1 | 0 | 0.99902 | -0.018794 | 27.2961
46 | 0.044684 | 0.011202 | -0.044681 | -0.011201 | 2.5204e-06 | 1.5932e-06 | 0.066556 | 0.066556 | 0.066556 | 0.99902 | -0.018794 | 0.99896 | -0.019978 | 18.2847
47 | 0.023986 | 0.0060141 | -0.023979 | -0.0060098 | 7.0511e-06 | 4.3199e-06 | 0.03573 | 0.03573 | 0.03573 | 0.99896 | -0.019978 | 0.99864 | -0.026148 | 9.816
48 | 0.011794 | 0.0029575 | -0.011793 | -0.0029572 | 5.5502e-07 | 2.9574e-07 | 0.017807 | 0.017807 | 0.017807 | 0.98555 | -0.27804 | 0.9855 | -0.27903 | 4.8921
49 | 0.011793 | 0.0029572 | -0.011788 | -0.0029546 | 4.7424e-06 | 2.5272e-06 | 0.017807 | 0.017807 | 0.017807 | 0.9855 | -0.27903 | 0.98506 | -0.28747 | 4.8921
50 | 0.01009 | 0.0025291 | -0.01009 | -0.0025287 | 7.9369e-07 | 3.92e-07 | 0.015243 | 0.015243 | 0.015243 | 0.98506 | -0.28747 | 0.98498 | -0.28912 | 4.1875
51 | 0.050353 | 0.012644 | -0.050292 | -0.012605 | 6.1479e-05 | 3.8989e-05 | 0.076212 | 0.076213 | 0.076213 | 0.98324 | -0.32267 | 0.98193 | -0.3483 | 20.9375
52 | -0.074084 | -0.018591 | 0.074224 | 0.01868 | 0.00013993 | 8.9179e-05 | 0.11213 | 0.11213 | 0.11213 | 0.98324 | -0.32267 | 0.98527 | -0.28314 | 30.8039
53 | 0.0093681 | 0.0023482 | -0.0093666 | -0.0023475 | 1.4852e-06 | 7.0201e-07 | 0.014197 | 0.014197 | 0.014197 | 0.98193 | -0.3483 | 0.98176 | -0.35163 | 3.9002
54 | -0.007213 | -0.0018076 | 0.007213 | 0.0018076 | 2.4163e-09 | 8.4178e-10 | 0.010839 | 0.010839 | 0.010839 | 0.99026 | -0.18686 | 0.99026 | -0.18685 | 2.9776
55 | 0.0032283 | 0.00080894 | -0.0032281 | -0.00080905 | 1.2912e-07 | -1.056e-07 | 0.0048509 | 0.004851 | 0.004851 | 0.99026 | -0.18686 | 0.99022 | -0.1877 | 1.3327

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.57294 | 0.14509

## res_load
| p_mw | q_mvar
0 | 0.07714 | 0.019333
1 | 0.013332 | 0.0033412
2 | 0.0033217 | 0.00083249
3 | 0.0054162 | 0.0013574
4 | 0.0047261 | 0.0011845
5 | 0.036994 | 0.0092716
6 | 0.057249 | 0.014348
7 | 0.0033694 | 0.00084444
8 | 0.007083 | 0.0017752
9 | 0.0036402 | 0.00091231
10 | 0.0019006 | 0.00047634
11 | 0.005196 | 0.0013022
12 | 0.019992 | 0.0050106
13 | 0.020692 | 0.0051858
14 | 0.0015372 | 0.00038525
15 | 0.013244 | 0.0033192
16 | 0.0025917 | 0.00064954
17 | 0.0084606 | 0.0021204
18 | 0.0053977 | 0.0013528
19 | 0.0052571 | 0.0013176
20 | 0.005625 | 0.0014097
21 | 0.0011504 | 0.00028831
22 | 0.011095 | 0.0027807
23 | 0.0039851 | 0.00099876
24 | 0.0032162 | 0.00080606
25 | 0.0039863 | 0.00099906
26 | 0.01511 | 0.003787
27 | 0.022022 | 0.0055193
28 | 0.020695 | 0.0051866
29 | 0.023979 | 0.0060098
30 | 0.0023676 | 0.00059338
31 | 0.0016979 | 0.00042552
32 | 0.01009 | 0.0025287
33 | 0.0043692 | 0.001095
34 | 0.023731 | 0.0059475
35 | 0.040924 | 0.010256
36 | 0.055163 | 0.013825
37 | 0.0093666 | 0.0023475
38 | 0.0039847 | 0.00099866
39 | 0.0039863 | 0.00099907
40 | 0.0032281 | 0.00080905

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1