## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1203-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1203-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1203-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1203-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1203-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1203-6_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1203-6_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1203-6_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1203-6_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1203-6_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1203-6_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1203-6_0_4_node_89 | 0.4 | n |  | TRUE
12 | bus_LV_1203-6_0_4_node_83 | 0.4 | n |  | TRUE
13 | bus_LV_1203-6_0_4_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_1203-6_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1203-6_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1203-6_0_4_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_1203-6_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1203-6_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1203-6_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1203-6_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1203-6_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1203-6_0_4_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_1203-6_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1203-6_0_4_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_1203-6_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1203-6_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1203-6_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1203-6_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1203-6_0_4_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_1203-6_0_4_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_1203-6_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1203-6_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1203-6_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1203-6_0_4_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_1203-6_0_4_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_1203-6_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1203-6_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1203-6_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_1203-6_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1203-6_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1203-6_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1203-6_0_4_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_1203-6_0_4_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_1203-6_0_4_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_1203-6_0_4_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_1203-6_0_4_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_1203-6_0_4_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_1203-6_0_4_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_1203-6_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_1203-6_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_1203-6_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_1203-6_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_1203-6_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_1203-6_0_4_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_1203-6_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_1203-6_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_1203-6_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_1203-6_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_1203-6_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_1203-6_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_1203-6_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_1203-6_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_1203-6_0_4_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_1203-6_0_4_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_1203-6_0_4_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_1203-6_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_1203-6_0_4_node_85 | 0.4 | n |  | TRUE
68 | bus_LV_1203-6_0_4_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_1203-6_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_1203-6_0_4_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_1203-6_0_4_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_1203-6_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_1203-6_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_1203-6_0_4_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_1203-6_0_4_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_1203-6_0_4_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_1203-6_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_1203-6_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_1203-6_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_1203-6_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_1203-6_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_1203-6_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_1203-6_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_1203-6_0_4_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_1203-6_0_4_node_88 | 0.4 | n |  | TRUE
86 | bus_MV_11_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1203-6_0_4_load_0 | 0 | 0.0033401 | 0.0008371 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1203-6_0_4_load_1 | 1 | 0.027981 | 0.0070126 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1203-6_0_4_load_3 | 3 | 0.016816 | 0.0042145 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1203-6_0_4_load_4 | 4 | 0.032719 | 0.0082003 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1203-6_0_4_load_6 | 5 | 0.0059995 | 0.0015036 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1203-6_0_4_load_7 | 7 | 0.0017974 | 0.00045046 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1203-6_0_4_load_10 | 9 | 0.005955 | 0.0014925 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1203-6_0_4_load_11 | 10 | 0.023976 | 0.0060091 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1203-6_0_4_load_89 | 11 | 0.0039849 | 0.00099871 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1203-6_0_4_load_83 | 12 | 0.0040512 | 0.0010153 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1203-6_0_4_load_77 | 13 | 0.024358 | 0.0061048 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1203-6_0_4_load_12 | 14 | 0.0037826 | 0.00094802 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1203-6_0_4_load_22 | 15 | 0.011124 | 0.0027879 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1203-6_0_4_load_75 | 16 | 0.01821 | 0.0045637 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1203-6_0_4_load_13 | 17 | 0.0046649 | 0.0011691 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1203-6_0_4_load_15 | 19 | 0.0028266 | 0.00070842 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1203-6_0_4_load_16 | 20 | 0.0036909 | 0.00092501 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1203-6_0_4_load_18 | 21 | 0.0018766 | 0.00047032 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1203-6_0_4_load_65 | 22 | 0.00528 | 0.0013233 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1203-6_0_4_load_17 | 23 | 0.0063738 | 0.0015974 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1203-6_0_4_load_66 | 24 | 0.01192 | 0.0029874 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1203-6_0_4_load_24 | 28 | 0.0055162 | 0.0013825 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1203-6_0_4_load_51 | 29 | 0.002481 | 0.0006218 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1203-6_0_4_load_50 | 30 | 0.0041814 | 0.0010479 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1203-6_0_4_load_26 | 31 | 0.0042181 | 0.0010572 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1203-6_0_4_load_27 | 32 | 0.0046233 | 0.0011587 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1203-6_0_4_load_28 | 33 | 0.0046234 | 0.0011587 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1203-6_0_4_load_63 | 34 | 0.0012303 | 0.00030835 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1203-6_0_4_load_64 | 35 | 0.00049206 | 0.00012332 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1203-6_0_4_load_29 | 36 | 0.0069133 | 0.0017326 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1203-6_0_4_load_30 | 37 | 0.0071621 | 0.001795 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1203-6_0_4_load_32 | 39 | 0.0020543 | 0.00051486 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1203-6_0_4_load_62 | 42 | 0.005831 | 0.0014614 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1203-6_0_4_load_68 | 43 | 0.019364 | 0.0048531 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1203-6_0_4_load_86 | 44 | 0.005825 | 0.0014599 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1203-6_0_4_load_81 | 45 | 0.0026684 | 0.00066876 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1203-6_0_4_load_67 | 47 | 0.00075165 | 0.00018838 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1203-6_0_4_load_79 | 48 | 0.0045691 | 0.0011451 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1203-6_0_4_load_35 | 49 | 0.0038519 | 0.00096537 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1203-6_0_4_load_36 | 50 | 0.0051574 | 0.0012926 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1203-6_0_4_load_37 | 51 | 0.0028544 | 0.00071538 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1203-6_0_4_load_39 | 53 | 0.0086073 | 0.0021572 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1203-6_0_4_load_60 | 54 | 0.0012845 | 0.00032194 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1203-6_0_4_load_53 | 55 | 0.0084786 | 0.0021249 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1203-6_0_4_load_58 | 56 | 0.0037835 | 0.00094822 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1203-6_0_4_load_40 | 57 | 0.027958 | 0.0070069 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1203-6_0_4_load_41 | 58 | 0.0043125 | 0.0010808 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1203-6_0_4_load_42 | 59 | 0.0032809 | 0.00082228 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1203-6_0_4_load_43 | 60 | 0.027444 | 0.006878 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1203-6_0_4_load_48 | 61 | 0.0060939 | 0.0015273 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1203-6_0_4_load_44 | 63 | 0.00592 | 0.0014837 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1203-6_0_4_load_45 | 64 | 0.0062777 | 0.0015733 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1203-6_0_4_load_49 | 66 | 0.0034869 | 0.00087391 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1203-6_0_4_load_85 | 67 | 0.0069387 | 0.001739 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1203-6_0_4_load_73 | 68 | 0.005049 | 0.0012654 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1203-6_0_4_load_55 | 69 | 0.0085297 | 0.0021378 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1203-6_0_4_load_78 | 70 | 0.0053205 | 0.0013334 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1203-6_0_4_load_72 | 71 | 0.0060683 | 0.0015209 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1203-6_0_4_load_54 | 72 | 0.0040779 | 0.001022 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1203-6_0_4_load_52 | 73 | 0.0053735 | 0.0013467 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1203-6_0_4_load_56 | 74 | 0.0053652 | 0.0013447 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1203-6_0_4_load_57 | 75 | 0.0027617 | 0.00069214 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1203-6_0_4_load_61 | 76 | 0.010025 | 0.0025125 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1203-6_0_4_load_71 | 77 | 0.0072805 | 0.0018247 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1203-6_0_4_load_69 | 78 | 0.0005624 | 0.00014095 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1203-6_0_4_load_70 | 79 | 0.00085222 | 0.00021359 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1203-6_0_4_load_74 | 80 | 0.018335 | 0.0045952 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1203-6_0_4_load_76 | 81 | 0.022291 | 0.0055868 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1203-6_0_4_load_80 | 82 | 0.0022896 | 0.00057384 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1203-6_0_4_load_82 | 83 | 0.0041034 | 0.0010284 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1203-6_0_4_load_84 | 84 | 0.0037925 | 0.0009505 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_1203-6_0_4_load_88 | 85 | 0.0051785 | 0.0012979 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1203-6_0_4_line_0 |  | 0 | 1 | 0.011059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1203-6_0_4_line_1 |  | 0 | 2 | 0.062179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1203-6_0_4_line_2 |  | 1 | 3 | 0.0111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1203-6_0_4_line_3 |  | 2 | 4 | 0.062526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1203-6_0_4_line_4 |  | 3 | 5 | 0.0083291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1203-6_0_4_line_5 |  | 4 | 6 | 0.03035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1203-6_0_4_line_6 |  | 5 | 7 | 0.037154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1203-6_0_4_line_7 |  | 6 | 8 | 0.017289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1203-6_0_4_line_8 |  | 6 | 9 | 0.027106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1203-6_0_4_line_9 |  | 6 | 10 | 0.032653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1203-6_0_4_line_10 |  | 7 | 11 | 0.029316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1203-6_0_4_line_11 |  | 8 | 12 | 0.036536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1203-6_0_4_line_12 |  | 8 | 13 | 0.018053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1203-6_0_4_line_13 |  | 9 | 14 | 0.031008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1203-6_0_4_line_14 |  | 10 | 15 | 0.0094278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1203-6_0_4_line_15 |  | 13 | 16 | 0.00069807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1203-6_0_4_line_16 |  | 14 | 17 | 0.017526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1203-6_0_4_line_17 |  | 16 | 80 | 0.016128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1203-6_0_4_line_18 |  | 17 | 18 | 0.0082874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1203-6_0_4_line_19 |  | 18 | 19 | 0.014501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1203-6_0_4_line_20 |  | 18 | 20 | 0.02907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1203-6_0_4_line_21 |  | 19 | 21 | 0.014906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1203-6_0_4_line_22 |  | 20 | 22 | 0.0081571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1203-6_0_4_line_23 |  | 21 | 23 | 0.021183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1203-6_0_4_line_24 |  | 22 | 24 | 0.0089839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1203-6_0_4_line_25 |  | 23 | 25 | 0.020466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1203-6_0_4_line_26 |  | 25 | 26 | 0.00359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1203-6_0_4_line_27 |  | 25 | 27 | 0.0254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1203-6_0_4_line_28 |  | 26 | 28 | 0.038587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1203-6_0_4_line_29 |  | 27 | 29 | 0.019585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1203-6_0_4_line_30 |  | 29 | 30 | 0.015786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1203-6_0_4_line_31 |  | 30 | 73 | 0.019358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1203-6_0_4_line_32 |  | 31 | 32 | 0.068982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1203-6_0_4_line_33 |  | 32 | 33 | 0.019711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1203-6_0_4_line_34 |  | 33 | 34 | 0.027966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1203-6_0_4_line_35 |  | 34 | 35 | 0.010772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1203-6_0_4_line_36 |  | 35 | 52 | 0.0075262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1203-6_0_4_line_37 |  | 36 | 37 | 0.026201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1203-6_0_4_line_38 |  | 36 | 38 | 0.0073929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1203-6_0_4_line_39 |  | 37 | 39 | 0.0069383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1203-6_0_4_line_40 |  | 38 | 40 | 0.002624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1203-6_0_4_line_41 |  | 38 | 41 | 0.023346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1203-6_0_4_line_42 |  | 40 | 42 | 0.025223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1203-6_0_4_line_43 |  | 40 | 43 | 0.020952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1203-6_0_4_line_44 |  | 41 | 44 | 0.020947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1203-6_0_4_line_45 |  | 41 | 45 | 0.014559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1203-6_0_4_line_46 |  | 42 | 46 | 0.0090678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1203-6_0_4_line_47 |  | 43 | 47 | 0.0089887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1203-6_0_4_line_48 |  | 45 | 48 | 0.02914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1203-6_0_4_line_49 |  | 46 | 76 | 0.020133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1203-6_0_4_line_50 |  | 46 | 75 | 0.0069422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1203-6_0_4_line_51 |  | 47 | 78 | 0.038197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1203-6_0_4_line_52 |  | 48 | 82 | 0.015698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1203-6_0_4_line_53 |  | 49 | 50 | 0.0094132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1203-6_0_4_line_54 |  | 49 | 51 | 0.0010279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1203-6_0_4_line_55 |  | 50 | 52 | 0.021173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1203-6_0_4_line_56 |  | 51 | 53 | 0.016893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1203-6_0_4_line_57 |  | 52 | 54 | 0.01814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1203-6_0_4_line_58 |  | 53 | 55 | 0.063696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1203-6_0_4_line_59 |  | 54 | 56 | 0.0013482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1203-6_0_4_line_60 |  | 56 | 75 | 0.015017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1203-6_0_4_line_61 |  | 57 | 58 | 0.0033647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1203-6_0_4_line_62 |  | 57 | 59 | 0.015457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1203-6_0_4_line_63 |  | 59 | 60 | 0.0087216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1203-6_0_4_line_64 |  | 60 | 61 | 0.0096253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1203-6_0_4_line_65 |  | 61 | 62 | 0.0053392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1203-6_0_4_line_66 |  | 62 | 66 | 0.016415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1203-6_0_4_line_67 |  | 62 | 63 | 0.015251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1203-6_0_4_line_68 |  | 63 | 64 | 0.029327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1203-6_0_4_line_69 |  | 64 | 65 | 0.0077727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1203-6_0_4_line_70 |  | 65 | 67 | 0.0084104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_1203-6_0_4_line_71 |  | 65 | 68 | 0.022158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_1203-6_0_4_line_72 |  | 66 | 69 | 0.016099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1203-6_0_4_line_73 |  | 67 | 70 | 0.0025999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_1203-6_0_4_line_74 |  | 68 | 71 | 0.0086023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_1203-6_0_4_line_75 |  | 69 | 72 | 0.0031472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1203-6_0_4_line_76 |  | 70 | 81 | 0.0073655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_1203-6_0_4_line_77 |  | 71 | 77 | 0.022592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_1203-6_0_4_line_78 |  | 72 | 74 | 0.0067383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1203-6_0_4_line_79 |  | 76 | 77 | 0.0043571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1203-6_0_4_line_80 |  | 78 | 79 | 0.046131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1203-6_0_4_line_81 |  | 80 | 81 | 0.0022102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_1203-6_0_4_line_82 |  | 82 | 83 | 0.011283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1203-6_0_4_line_83 |  | 83 | 84 | 0.0021466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1203-6_0_4_line_84 |  | 84 | 85 | 0.025303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1203-6_0_4_trafo_78 | 0.63 MVA 20/0.4 kV | 86 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2690976.3947 | 1190809.0722 | 2690978.4408 | 1190798.2046
1 | 2690945.0976 | 1190852.0101 | 2690965.5206 | 1190847.9622 | 2690968.1345 | 1190846.0785 | 2690969.9788 | 1190843.1491 | 2690976.3947 | 1190809.0722
2 | 2690978.4408 | 1190798.2046 | 2690978.4408 | 1190798.2046 | 2690989.2838 | 1190800.58
3 | 2690945.0976 | 1190852.0101 | 2690938.4633 | 1190819.8777 | 2690931.5813 | 1190797.5145 | 2690930.1391 | 1190791.3631
4 | 2690997.4199 | 1190802.3624 | 2690989.2838 | 1190800.58
5 | 2690926.5845 | 1190761.5045 | 2690925.8126 | 1190770.643 | 2690926.9691 | 1190777.843 | 2690930.1391 | 1190791.3631
6 | 2690997.4199 | 1190802.3624 | 2691034.1792 | 1190807.7672
7 | 2690926.5845 | 1190761.5045 | 2690929.3389 | 1190754.3862 | 2690932.2521 | 1190746.859 | 2690932.8237 | 1190745.3779
8 | 2690926.5845 | 1190761.5045 | 2690923.4079 | 1190760.2666 | 2690901.8162 | 1190750.5029
9 | 2690926.5845 | 1190761.5045 | 2690910.9424 | 1190790.167
10 | 2691060.8849 | 1190819.8608 | 2691034.1792 | 1190807.7672
11 | 2690899.0571 | 1190731.1894 | 2690932.8237 | 1190745.3779
12 | 2690932.8237 | 1190745.3779 | 2690937.6022 | 1190733.0426 | 2690938.8872 | 1190728.3922
13 | 2690873.5626 | 1190737.7268 | 2690901.8162 | 1190750.5029
14 | 2690906.4262 | 1190798.4427 | 2690910.9424 | 1190790.167
15 | 2690939.0732 | 1190727.7194 | 2690938.8872 | 1190728.3922
16 | 2690873.5626 | 1190737.7268 | 2690868.7076 | 1190735.5314 | 2690857.2236 | 1190731.4201
17 | 2690943.3688 | 1190712.1744 | 2690939.0732 | 1190727.7194
18 | 2690849.2344 | 1190729.2429 | 2690855.5402 | 1190730.8174 | 2690857.2236 | 1190731.4201
19 | 2690849.2344 | 1190729.2429 | 2690845.6105 | 1190728.3318 | 2690834.9112 | 1190727.1543
20 | 2690849.2344 | 1190729.2429 | 2690850.8758 | 1190726.1103 | 2690855.2361 | 1190719.2054 | 2690856.5977 | 1190716.9246 | 2690862.9288 | 1190710.8057 | 2690865.4995 | 1190705.4882
21 | 2690820.095 | 1190725.5237 | 2690834.9112 | 1190727.1543
22 | 2690865.4995 | 1190705.4882 | 2690869.0497 | 1190698.1442
23 | 2690820.095 | 1190725.5237 | 2690799.0389 | 1190723.2064
24 | 2690872.9598 | 1190690.0559 | 2690869.0497 | 1190698.1442
25 | 2690778.6958 | 1190720.9676 | 2690799.0389 | 1190723.2064
26 | 2690775.0955 | 1190721.0131 | 2690778.6958 | 1190720.9676
27 | 2690774.5272 | 1190696.1442 | 2690777.7213 | 1190705.2762 | 2690778.3858 | 1190717.772 | 2690778.6958 | 1190720.9676
28 | 2690775.0955 | 1190721.0131 | 2690775.2734 | 1190724.8738 | 2690779.5696 | 1190759.3296
29 | 2690774.5272 | 1190696.1442 | 2690784.4006 | 1190679.2296
30 | 2690792.3585 | 1190665.5965 | 2690784.4006 | 1190679.2296
31 | 2690792.3585 | 1190665.5965 | 2690802.1175 | 1190648.8779
32 | 2691035.645 | 1190466.5859 | 2691033.7451 | 1190468.9244 | 2691025.1526 | 1190490.8077 | 2691021.0535 | 1190516.6174 | 2691014.0667 | 1190531.3727
33 | 2691004.9159 | 1190548.755 | 2691007.3903 | 1190545.4725 | 2691014.0667 | 1190531.3727
34 | 2691004.9159 | 1190548.755 | 2690991.7378 | 1190566.2367 | 2690989.0418 | 1190571.6788
35 | 2690984.2603 | 1190581.331 | 2690989.0418 | 1190571.6788
36 | 2690980.9194 | 1190588.0751 | 2690984.2603 | 1190581.331
37 | 2690911.1503 | 1190627.435 | 2690910.0793 | 1190630.159 | 2690907.7914 | 1190632.6704 | 2690900.0869 | 1190634.7992 | 2690896.9739 | 1190637.9094 | 2690893.5802 | 1190644.579
38 | 2690913.8553 | 1190620.5547 | 2690911.1503 | 1190627.435
39 | 2690890.4336 | 1190650.7628 | 2690893.5802 | 1190644.579
40 | 2690913.8553 | 1190620.5547 | 2690916.4848 | 1190620.6614
41 | 2690891.6131 | 1190613.279 | 2690910.5212 | 1190619.648 | 2690913.8553 | 1190620.5547
42 | 2690916.4848 | 1190620.6614 | 2690918.0321 | 1190620.7183 | 2690929.5031 | 1190620.1477 | 2690941.4155 | 1190617.5638
43 | 2690916.4848 | 1190620.6614 | 2690918.8429 | 1190599.8426
44 | 2690891.6131 | 1190613.279 | 2690872.5258 | 1190604.6504
45 | 2690891.6131 | 1190613.279 | 2690886.6813 | 1190622.1542 | 2690884.2035 | 1190625.797
46 | 2690950.0226 | 1190614.8226 | 2690945.5025 | 1190616.6774 | 2690941.4155 | 1190617.5638
47 | 2690919.8546 | 1190590.9109 | 2690918.8429 | 1190599.8426
48 | 2690869.6662 | 1190650.9599 | 2690875.9323 | 1190637.9567 | 2690884.2035 | 1190625.797
49 | 2690950.0226 | 1190614.8226 | 2690952.3962 | 1190634.8157
50 | 2690950.0226 | 1190614.8226 | 2690950.9327 | 1190611.6456 | 2690953.7694 | 1190609.3689
51 | 2690919.8546 | 1190590.9109 | 2690920.7831 | 1190582.7136 | 2690927.3885 | 1190576.6323 | 2690941.9693 | 1190565.6468 | 2690943.0422 | 1190563.1555
52 | 2690869.6662 | 1190650.9599 | 2690862.8516 | 1190665.1016
53 | 2691011.1703 | 1190592.5944 | 2691001.8605 | 1190591.2035
54 | 2691011.1703 | 1190592.5944 | 2691012.1869 | 1190592.7462
55 | 2690980.9194 | 1190588.0751 | 2691001.8605 | 1190591.2035
56 | 2691028.8946 | 1190595.2423 | 2691012.1869 | 1190592.7462
57 | 2690980.9194 | 1190588.0751 | 2690966.616 | 1190599.2317
58 | 2691032.6081 | 1190539.1408 | 2691015.9202 | 1190576.3218 | 2691028.8946 | 1190595.2423 | 2691028.8946 | 1190595.2423
59 | 2690965.5529 | 1190600.0609 | 2690966.616 | 1190599.2317
60 | 2690953.7694 | 1190609.3689 | 2690958.9543 | 1190605.2078 | 2690965.5529 | 1190600.0609
61 | 2690993.1576 | 1190740.0013 | 2690992.5361 | 1190743.3082
62 | 2690993.1576 | 1190740.0013 | 2690996.0125 | 1190724.8107
63 | 2690997.6234 | 1190716.2392 | 2690996.0125 | 1190724.8107
64 | 2690997.6234 | 1190716.2392 | 2690999.4012 | 1190706.7795
65 | 2691000.3873 | 1190701.5321 | 2690999.4012 | 1190706.7795
66 | 2691000.3873 | 1190701.5321 | 2691003.361 | 1190685.3885
67 | 2691000.3873 | 1190701.5321 | 2690985.3738 | 1190698.8519
68 | 2690985.3738 | 1190698.8519 | 2690956.5037 | 1190693.698
69 | 2690948.8519 | 1190692.332 | 2690956.5037 | 1190693.698
70 | 2690948.8519 | 1190692.332 | 2690946.6118 | 1190700.4386
71 | 2690948.8519 | 1190692.332 | 2690950.5742 | 1190670.2408
72 | 2691006.2775 | 1190669.5554 | 2691003.361 | 1190685.3885
73 | 2690945.9193 | 1190702.9447 | 2690946.6118 | 1190700.4386
74 | 2690950.5742 | 1190670.2408 | 2690951.2428 | 1190661.6645
75 | 2691006.8476 | 1190666.4602 | 2691006.2775 | 1190669.5554
76 | 2690943.9575 | 1190710.0441 | 2690945.9193 | 1190702.9447
77 | 2690952.9098 | 1190639.1424 | 2690952.9635 | 1190639.5942 | 2690951.2428 | 1190661.6645
78 | 2691008.0683 | 1190659.8334 | 2691006.8476 | 1190666.4602
79 | 2690952.9098 | 1190639.1424 | 2690952.3962 | 1190634.8157
80 | 2690943.0422 | 1190563.1555 | 2690945.2659 | 1190557.992 | 2690941.4338 | 1190539.6665 | 2690942.3044 | 1190528.5504 | 2690949.022 | 1190520.3027
81 | 2690943.3688 | 1190712.1744 | 2690943.9575 | 1190710.0441
82 | 2690862.8516 | 1190665.1016 | 2690857.9534 | 1190675.2661
83 | 2690857.0216 | 1190677.2 | 2690857.9534 | 1190675.2661
84 | 2690840.6791 | 1190694.5021 | 2690847.0368 | 1190692.6641 | 2690851.6947 | 1190688.2542 | 2690857.0216 | 1190677.2

## bus_geodata
| x | y | coords
0 | 2690976.3947 | 1190809.0722
1 | 2690978.4408 | 1190798.2046
2 | 2690945.0976 | 1190852.0101
3 | 2690989.2838 | 1190800.58
4 | 2690930.1391 | 1190791.3631
5 | 2690997.4199 | 1190802.3624
6 | 2690926.5845 | 1190761.5045
7 | 2691034.1792 | 1190807.7672
8 | 2690932.8237 | 1190745.3779
9 | 2690901.8162 | 1190750.5029
10 | 2690910.9424 | 1190790.167
11 | 2691060.8849 | 1190819.8608
12 | 2690899.0571 | 1190731.1894
13 | 2690938.8872 | 1190728.3922
14 | 2690873.5626 | 1190737.7268
15 | 2690906.4262 | 1190798.4427
16 | 2690939.0732 | 1190727.7194
17 | 2690857.2236 | 1190731.4201
18 | 2690849.2344 | 1190729.2429
19 | 2690834.9112 | 1190727.1543
20 | 2690865.4995 | 1190705.4881
21 | 2690820.095 | 1190725.5237
22 | 2690869.0497 | 1190698.1442
23 | 2690799.0389 | 1190723.2064
24 | 2690872.9598 | 1190690.0559
25 | 2690778.6958 | 1190720.9676
26 | 2690775.0955 | 1190721.0131
27 | 2690774.5272 | 1190696.1442
28 | 2690779.5696 | 1190759.3296
29 | 2690784.4006 | 1190679.2296
30 | 2690792.3585 | 1190665.5965
31 | 2691035.645 | 1190466.5859
32 | 2691014.0667 | 1190531.3727
33 | 2691004.9159 | 1190548.755
34 | 2690989.0418 | 1190571.6788
35 | 2690984.2603 | 1190581.331
36 | 2690911.1503 | 1190627.435
37 | 2690893.5802 | 1190644.579
38 | 2690913.8553 | 1190620.5547
39 | 2690890.4336 | 1190650.7628
40 | 2690916.4848 | 1190620.6614
41 | 2690891.6131 | 1190613.279
42 | 2690941.4155 | 1190617.5638
43 | 2690918.8429 | 1190599.8426
44 | 2690872.5258 | 1190604.6504
45 | 2690884.2035 | 1190625.797
46 | 2690950.0226 | 1190614.8226
47 | 2690919.8546 | 1190590.911
48 | 2690869.6662 | 1190650.9599
49 | 2691011.1703 | 1190592.5944
50 | 2691001.8605 | 1190591.2035
51 | 2691012.1869 | 1190592.7462
52 | 2690980.9194 | 1190588.0751
53 | 2691028.8946 | 1190595.2423
54 | 2690966.616 | 1190599.2317
55 | 2691032.6081 | 1190539.1408
56 | 2690965.5529 | 1190600.0609
57 | 2690993.1576 | 1190740.0013
58 | 2690992.5361 | 1190743.3082
59 | 2690996.0125 | 1190724.8107
60 | 2690997.6234 | 1190716.2392
61 | 2690999.4012 | 1190706.7795
62 | 2691000.3873 | 1190701.5321
63 | 2690985.3738 | 1190698.8519
64 | 2690956.5037 | 1190693.698
65 | 2690948.8519 | 1190692.332
66 | 2691003.361 | 1190685.3885
67 | 2690946.6118 | 1190700.4386
68 | 2690950.5742 | 1190670.2408
69 | 2691006.2775 | 1190669.5554
70 | 2690945.9193 | 1190702.9447
71 | 2690951.2428 | 1190661.6645
72 | 2691006.8476 | 1190666.4602
73 | 2690802.1175 | 1190648.8779
74 | 2691008.0683 | 1190659.8334
75 | 2690953.7694 | 1190609.3689
76 | 2690952.3962 | 1190634.8157
77 | 2690952.9098 | 1190639.1424
78 | 2690943.0422 | 1190563.1555
79 | 2690949.022 | 1190520.3027
80 | 2690943.3688 | 1190712.1744
81 | 2690943.9575 | 1190710.0441
82 | 2690862.8516 | 1190665.1016
83 | 2690857.9534 | 1190675.2661
84 | 2690857.0216 | 1190677.2
85 | 2690840.6791 | 1190694.5021
86 | 2690948.8519 | 1190692.332

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98435 | -0.30132 | 0.0033401 | 0.0008371
1 | 0.98377 | -0.31258 | 0.027981 | 0.0070126
2 | 0.98778 | -0.23453 | 0 | 0
3 | 0.98348 | -0.3183 | 0.016816 | 0.0042145
4 | 0.99124 | -0.16783 | 0.032719 | 0.0082003
5 | 0.98339 | -0.32007 | 0.0059995 | 0.0015036
6 | 0.99383 | -0.11808 | 0 | 0
7 | 0.98319 | -0.32394 | 0.0017974 | 0.00045046
8 | 0.99535 | -0.088887 | 0 | 0
9 | 0.99224 | -0.14871 | 0.005955 | 0.0014925
10 | 0.99278 | -0.13833 | 0.023976 | 0.0060091
11 | 0.98308 | -0.32605 | 0.0039849 | 0.00099871
12 | 0.99521 | -0.091492 | 0.0040512 | 0.0010153
13 | 0.99697 | -0.057854 | 0.024358 | 0.0061048
14 | 0.99059 | -0.18059 | 0.0037826 | 0.00094802
15 | 0.99268 | -0.14018 | 0.011124 | 0.0027879
16 | 0.99704 | -0.056507 | 0.01821 | 0.0045637
17 | 0.98972 | -0.19748 | 0.0046649 | 0.0011691
18 | 0.98934 | -0.20478 | 0 | 0
19 | 0.98896 | -0.21218 | 0.0028266 | 0.00070842
20 | 0.98878 | -0.2156 | 0.0036909 | 0.00092501
21 | 0.98861 | -0.21904 | 0.0018766 | 0.00047032
22 | 0.98865 | -0.2181 | 0.00528 | 0.0013233
23 | 0.98814 | -0.22808 | 0.0063738 | 0.0015974
24 | 0.98856 | -0.22001 | 0.01192 | 0.0029874
25 | 0.98781 | -0.2345 | 0 | 0
26 | 0.98779 | -0.23485 | 0 | 0
27 | 0.98753 | -0.23996 | 0 | 0
28 | 0.9876 | -0.23865 | 0.0055162 | 0.0013825
29 | 0.98731 | -0.24417 | 0.002481 | 0.0006218
30 | 0.98717 | -0.24687 | 0.0041814 | 0.0010479
31 | 0.98948 | -0.20229 | 0.0042181 | 0.0010572
32 | 0.98975 | -0.19711 | 0.0046233 | 0.0011587
33 | 0.98991 | -0.19401 | 0.0046234 | 0.0011587
34 | 0.99025 | -0.18732 | 0.0012303 | 0.00030835
35 | 0.9904 | -0.1845 | 0.00049206 | 0.00012332
36 | 0.98996 | -0.19302 | 0.0069133 | 0.0017326
37 | 0.98974 | -0.19732 | 0.0071621 | 0.001795
38 | 0.99007 | -0.1909 | 0 | 0
39 | 0.98972 | -0.19757 | 0.0020543 | 0.00051486
40 | 0.99018 | -0.18882 | 0 | 0
41 | 0.98946 | -0.20271 | 0 | 0
42 | 0.9917 | -0.15923 | 0.005831 | 0.0014614
43 | 0.98976 | -0.19685 | 0.019364 | 0.0048531
44 | 0.98935 | -0.20488 | 0.005825 | 0.0014599
45 | 0.98916 | -0.20857 | 0.0026684 | 0.00066876
46 | 0.9923 | -0.14768 | 0 | 0
47 | 0.98974 | -0.19719 | 0.00075165 | 0.00018838
48 | 0.98862 | -0.21893 | 0.0045691 | 0.0011451
49 | 0.98974 | -0.19735 | 0.0038519 | 0.00096537
50 | 0.98994 | -0.19337 | 0.0051574 | 0.0012926
51 | 0.98972 | -0.19772 | 0.0028544 | 0.00071538
52 | 0.9905 | -0.18247 | 0 | 0
53 | 0.98945 | -0.20285 | 0.0086073 | 0.0021572
54 | 0.99124 | -0.16825 | 0.0012845 | 0.00032194
55 | 0.98896 | -0.21247 | 0.0084786 | 0.0021249
56 | 0.99129 | -0.16717 | 0.0037835 | 0.00094822
57 | 0.9925 | -0.14411 | 0.027958 | 0.0070069
58 | 0.99249 | -0.14437 | 0.0043125 | 0.0010808
59 | 0.99296 | -0.13529 | 0.0032809 | 0.00082228
60 | 0.99324 | -0.12981 | 0.027444 | 0.006878
61 | 0.9938 | -0.1191 | 0.0060939 | 0.0015273
62 | 0.99413 | -0.11259 | 0 | 0
63 | 0.9954 | -0.088271 | 0.00592 | 0.0014837
64 | 0.99798 | -0.038631 | 0.0062777 | 0.0015733
65 | 0.99871 | -0.024665 | 0 | 0
66 | 0.99381 | -0.11881 | 0.0034869 | 0.00087391
67 | 0.99969 | -0.0059387 | 0.0069387 | 0.001739
68 | 0.99716 | -0.054202 | 0.005049 | 0.0012654
69 | 0.99355 | -0.12392 | 0.0085297 | 0.0021378
70 | 1 | 0 | -0.54672 | -0.13821
71 | 0.99658 | -0.065313 | 0.0060683 | 0.0015209
72 | 0.99352 | -0.12444 | 0.0040779 | 0.001022
73 | 0.98708 | -0.24873 | 0.0053735 | 0.0013467
74 | 0.99349 | -0.12508 | 0.0053652 | 0.0013447
75 | 0.99197 | -0.15407 | 0.0027617 | 0.00069214
76 | 0.99459 | -0.10362 | 0.010025 | 0.0025125
77 | 0.99512 | -0.093348 | 0.0072805 | 0.0018247
78 | 0.98969 | -0.19816 | 0.0005624 | 0.00014095
79 | 0.98966 | -0.19886 | 0.00085222 | 0.00021359
80 | 0.9988 | -0.022875 | 0.018335 | 0.0045952
81 | 0.99906 | -0.017921 | 0.022291 | 0.0055868
82 | 0.9884 | -0.22323 | 0.0022896 | 0.00057384
83 | 0.98827 | -0.22586 | 0.0041034 | 0.0010284
84 | 0.98825 | -0.2262 | 0.0037925 | 0.0009505
85 | 0.98813 | -0.22854 | 0.0051785 | 0.0012979
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.056619 | 0.014205 | -0.056589 | -0.014185 | 3.0382e-05 | 1.9304e-05 | 0.085595 | 0.085595 | 0.085595 | 0.98435 | -0.30132 | 0.98377 | -0.31258 | 23.515
1 | -0.059959 | -0.015042 | 0.060151 | 0.015164 | 0.00019158 | 0.00012182 | 0.090644 | 0.090643 | 0.090644 | 0.98435 | -0.30132 | 0.98778 | -0.23453 | 24.9021
2 | 0.028608 | 0.0071727 | -0.0286 | -0.0071679 | 7.7943e-06 | 4.8475e-06 | 0.043272 | 0.043272 | 0.043272 | 0.98377 | -0.31258 | 0.98348 | -0.3183 | 11.888
3 | -0.060151 | -0.015164 | 0.060343 | 0.015286 | 0.00019265 | 0.00012249 | 0.090643 | 0.090643 | 0.090643 | 0.98778 | -0.23453 | 0.99124 | -0.16783 | 24.902
4 | 0.011784 | 0.0029534 | -0.011783 | -0.0029529 | 9.9292e-07 | 5.2978e-07 | 0.01783 | 0.01783 | 0.01783 | 0.98348 | -0.3183 | 0.98339 | -0.32007 | 4.8982
5 | -0.093063 | -0.023486 | 0.093285 | 0.023628 | 0.00022231 | 0.00014189 | 0.13976 | 0.13976 | 0.13976 | 0.99124 | -0.16783 | 0.99383 | -0.11808 | 38.3957
6 | 0.0057837 | 0.0014493 | -0.0057826 | -0.0014491 | 1.0671e-06 | 2.1168e-07 | 0.0087515 | 0.0087517 | 0.0087517 | 0.98339 | -0.32007 | 0.98319 | -0.32394 | 2.4043
7 | -0.19264 | -0.048655 | 0.19291 | 0.048828 | 0.00026994 | 0.00017231 | 0.28857 | 0.28857 | 0.28857 | 0.99383 | -0.11808 | 0.99535 | -0.088887 | 39.6386
8 | 0.064222 | 0.016208 | -0.064128 | -0.016148 | 9.4064e-05 | 5.985e-05 | 0.096197 | 0.096198 | 0.096198 | 0.99383 | -0.11808 | 0.99224 | -0.14871 | 26.4279
9 | 0.035135 | 0.0088188 | -0.035101 | -0.0087975 | 3.3893e-05 | 2.1269e-05 | 0.052611 | 0.052611 | 0.052611 | 0.99383 | -0.11808 | 0.99278 | -0.13833 | 14.4537
10 | 0.0039853 | 0.00099859 | -0.0039849 | -0.00099871 | 3.9994e-07 | -1.1579e-07 | 0.0060315 | 0.0060316 | 0.0060316 | 0.98319 | -0.32394 | 0.98308 | -0.32605 | 1.657
11 | 0.0040517 | 0.0010152 | -0.0040512 | -0.0010153 | 5.0269e-07 | -1.5309e-07 | 0.0060571 | 0.0060573 | 0.0060573 | 0.99535 | -0.088887 | 0.99521 | -0.091492 | 1.6641
12 | -0.19696 | -0.049843 | 0.19726 | 0.05003 | 0.00029383 | 0.00018758 | 0.29463 | 0.29463 | 0.29463 | 0.99535 | -0.088887 | 0.99697 | -0.057854 | 40.4706
13 | 0.058173 | 0.014656 | -0.058085 | -0.0146 | 8.8553e-05 | 5.6274e-05 | 0.087267 | 0.087267 | 0.087267 | 0.99224 | -0.14871 | 0.99059 | -0.18059 | 23.9745
14 | 0.011125 | 0.0027884 | -0.011124 | -0.0027879 | 9.8299e-07 | 5.0722e-07 | 0.016675 | 0.016675 | 0.016675 | 0.99278 | -0.13833 | 0.99268 | -0.14018 | 4.5809
15 | -0.22162 | -0.056135 | 0.22163 | 0.056144 | 1.4339e-05 | 9.1585e-06 | 0.33098 | 0.33098 | 0.33098 | 0.99697 | -0.057854 | 0.99704 | -0.056507 | 45.4645
16 | 0.054302 | 0.013652 | -0.054258 | -0.013624 | 4.3746e-05 | 2.7772e-05 | 0.081585 | 0.081585 | 0.081585 | 0.99059 | -0.18059 | 0.98972 | -0.19748 | 22.4135
17 | -0.23984 | -0.060708 | 0.24023 | 0.060956 | 0.0003879 | 0.00024783 | 0.35816 | 0.35816 | 0.35816 | 0.99704 | -0.056507 | 0.9988 | -0.022875 | 49.1975
18 | 0.049593 | 0.012455 | -0.049576 | -0.012444 | 1.7282e-05 | 1.0954e-05 | 0.074572 | 0.074572 | 0.074572 | 0.98972 | -0.19748 | 0.98934 | -0.20478 | 20.4867
19 | 0.028672 | 0.0071999 | -0.028662 | -0.0071936 | 1.0115e-05 | 6.2872e-06 | 0.043129 | 0.043129 | 0.043129 | 0.98934 | -0.20478 | 0.98896 | -0.21218 | 11.8485
20 | 0.020905 | 0.005244 | -0.020894 | -0.0052375 | 1.0778e-05 | 6.5248e-06 | 0.031443 | 0.031443 | 0.031443 | 0.98934 | -0.20478 | 0.98878 | -0.2156 | 8.6383
21 | 0.025835 | 0.0064852 | -0.025826 | -0.00648 | 8.4477e-06 | 5.2153e-06 | 0.038876 | 0.038876 | 0.038876 | 0.98896 | -0.21218 | 0.98861 | -0.21904 | 10.6801
22 | 0.017203 | 0.0043125 | -0.017201 | -0.0043112 | 2.0502e-06 | 1.2075e-06 | 0.025889 | 0.025889 | 0.025889 | 0.98878 | -0.2156 | 0.98865 | -0.2181 | 7.1124
23 | 0.02395 | 0.0060097 | -0.02394 | -0.0060033 | 1.0324e-05 | 6.3361e-06 | 0.036051 | 0.036051 | 0.036051 | 0.98861 | -0.21904 | 0.98814 | -0.22808 | 9.9042
24 | 0.011921 | 0.002988 | -0.01192 | -0.0029874 | 1.0845e-06 | 5.7891e-07 | 0.017942 | 0.017942 | 0.017942 | 0.98865 | -0.2181 | 0.98856 | -0.22001 | 4.9292
25 | 0.017566 | 0.0044059 | -0.01756 | -0.0044027 | 5.3705e-06 | 3.175e-06 | 0.026453 | 0.026453 | 0.026453 | 0.98814 | -0.22808 | 0.98781 | -0.2345 | 7.2673
26 | 0.0055173 | 0.0013826 | -0.0055172 | -0.0013826 | 9.299e-08 | 1.3558e-08 | 0.0083111 | 0.0083111 | 0.0083111 | 0.98781 | -0.2345 | 0.98779 | -0.23485 | 2.2833
27 | 0.012043 | 0.0030201 | -0.01204 | -0.0030184 | 3.135e-06 | 1.6814e-06 | 0.018142 | 0.018142 | 0.018142 | 0.98781 | -0.2345 | 0.98753 | -0.23996 | 4.9841
28 | 0.0055172 | 0.0013826 | -0.0055162 | -0.0013825 | 9.9954e-07 | 1.4585e-07 | 0.0083111 | 0.0083112 | 0.0083112 | 0.98779 | -0.23485 | 0.9876 | -0.23865 | 2.2833
29 | 0.01204 | 0.0030184 | -0.012038 | -0.0030171 | 2.4174e-06 | 1.2966e-06 | 0.018142 | 0.018142 | 0.018142 | 0.98753 | -0.23996 | 0.98731 | -0.24417 | 4.9841
30 | 0.0095565 | 0.0023953 | -0.0095553 | -0.0023947 | 1.228e-06 | 5.8409e-07 | 0.014403 | 0.014403 | 0.014403 | 0.98731 | -0.24417 | 0.98717 | -0.24687 | 3.9569
31 | 0.0053739 | 0.0013468 | -0.0053735 | -0.0013467 | 4.7634e-07 | 5.7385e-08 | 0.0081004 | 0.0081005 | 0.0081005 | 0.98717 | -0.24687 | 0.98708 | -0.24873 | 2.2254
32 | -0.0042181 | -0.0010572 | 0.0042192 | 0.0010569 | 1.0408e-06 | -2.2015e-07 | 0.0063434 | 0.0063431 | 0.0063434 | 0.98948 | -0.20229 | 0.98975 | -0.19711 | 1.7427
33 | -0.0088425 | -0.0022157 | 0.0088438 | 0.0022162 | 1.3063e-06 | 5.8268e-07 | 0.013294 | 0.013294 | 0.013294 | 0.98975 | -0.19711 | 0.98991 | -0.19401 | 3.6522
34 | -0.013467 | -0.003375 | 0.013471 | 0.0033774 | 4.2976e-06 | 2.3908e-06 | 0.020244 | 0.020243 | 0.020244 | 0.98991 | -0.19401 | 0.99025 | -0.18732 | 5.5614
35 | -0.014702 | -0.0036857 | 0.014704 | 0.0036868 | 1.9715e-06 | 1.1231e-06 | 0.022092 | 0.022092 | 0.022092 | 0.99025 | -0.18732 | 0.9904 | -0.1845 | 6.0693
36 | -0.015196 | -0.0038102 | 0.015197 | 0.003811 | 1.4712e-06 | 8.4471e-07 | 0.022831 | 0.022831 | 0.022831 | 0.9904 | -0.1845 | 0.9905 | -0.18247 | 6.2724
37 | 0.0092184 | 0.0023107 | -0.0092165 | -0.0023098 | 1.8865e-06 | 8.7055e-07 | 0.013856 | 0.013856 | 0.013856 | 0.98996 | -0.19302 | 0.98974 | -0.19732 | 3.8067
38 | -0.016132 | -0.0040433 | 0.016133 | 0.0040442 | 1.63e-06 | 9.4814e-07 | 0.024248 | 0.024248 | 0.024248 | 0.98996 | -0.19302 | 0.99007 | -0.1909 | 6.6615
39 | 0.0020543 | 0.00051479 | -0.0020543 | -0.00051486 | 2.482e-08 | -7.3281e-08 | 0.0030886 | 0.0030886 | 0.0030886 | 0.98974 | -0.19732 | 0.98972 | -0.19757 | 0.84852
40 | -0.044598 | -0.011191 | 0.044603 | 0.011194 | 4.4216e-06 | 2.7961e-06 | 0.067034 | 0.067034 | 0.067034 | 0.99007 | -0.1909 | 0.99018 | -0.18882 | 18.4158
41 | 0.028465 | 0.0071471 | -0.028449 | -0.0071371 | 1.6027e-05 | 9.957e-06 | 0.042786 | 0.042786 | 0.042786 | 0.99007 | -0.1909 | 0.98946 | -0.20271 | 11.7544
42 | -0.066142 | -0.016594 | 0.066235 | 0.016654 | 9.3459e-05 | 5.9489e-05 | 0.099402 | 0.099402 | 0.099402 | 0.99018 | -0.18882 | 0.9917 | -0.15923 | 27.3084
43 | 0.021539 | 0.0053999 | -0.021531 | -0.0053949 | 8.2321e-06 | 4.9992e-06 | 0.032369 | 0.032369 | 0.032369 | 0.99018 | -0.18882 | 0.98976 | -0.19685 | 8.8926
44 | 0.0058256 | 0.00146 | -0.005825 | -0.0014599 | 6.0292e-07 | 1.1685e-07 | 0.0087609 | 0.008761 | 0.008761 | 0.98946 | -0.20271 | 0.98935 | -0.20488 | 2.4069
45 | 0.022623 | 0.0056771 | -0.022617 | -0.0056732 | 6.3206e-06 | 3.8583e-06 | 0.034025 | 0.034025 | 0.034025 | 0.98946 | -0.20271 | 0.98916 | -0.20857 | 9.3475
46 | -0.072066 | -0.018115 | 0.072106 | 0.01814 | 3.9774e-05 | 2.5338e-05 | 0.10815 | 0.10815 | 0.10815 | 0.9917 | -0.15923 | 0.9923 | -0.14768 | 29.712
47 | 0.0021664 | 0.0005418 | -0.0021664 | -0.0005419 | 3.5749e-08 | -9.2642e-08 | 0.0032566 | 0.0032566 | 0.0032566 | 0.98976 | -0.19685 | 0.98974 | -0.19719 | 0.89468
48 | 0.019949 | 0.0050045 | -0.019939 | -0.0049986 | 9.842e-06 | 5.925e-06 | 0.030011 | 0.030011 | 0.030011 | 0.98916 | -0.20857 | 0.98862 | -0.21893 | 8.2448
49 | -0.12419 | -0.031235 | 0.12445 | 0.031403 | 0.00026196 | 0.00016739 | 0.18627 | 0.18627 | 0.18627 | 0.9923 | -0.14768 | 0.99459 | -0.10362 | 51.1727
50 | 0.052083 | 0.013095 | -0.052068 | -0.013085 | 1.5886e-05 | 1.0077e-05 | 0.078117 | 0.078117 | 0.078117 | 0.9923 | -0.14768 | 0.99197 | -0.15407 | 21.4607
51 | 0.0014147 | 0.00035351 | -0.0014146 | -0.00035396 | 6.4781e-08 | -4.494e-07 | 0.0021266 | 0.0021267 | 0.0021267 | 0.98974 | -0.19719 | 0.98969 | -0.19816 | 0.58427
52 | 0.01537 | 0.0038534 | -0.015366 | -0.0038516 | 3.1505e-06 | 1.815e-06 | 0.023134 | 0.023134 | 0.023134 | 0.98862 | -0.21893 | 0.9884 | -0.22323 | 6.3555
53 | -0.0238 | -0.0059672 | 0.023805 | 0.00597 | 4.5199e-06 | 2.7718e-06 | 0.035784 | 0.035784 | 0.035784 | 0.98974 | -0.19735 | 0.98994 | -0.19337 | 9.8306
54 | 0.019949 | 0.0050018 | -0.019948 | -0.0050016 | 3.4673e-07 | 2.087e-07 | 0.029992 | 0.029992 | 0.029992 | 0.98974 | -0.19735 | 0.98972 | -0.19772 | 8.2397
55 | -0.028962 | -0.0072625 | 0.028977 | 0.0072719 | 1.5049e-05 | 9.3591e-06 | 0.043536 | 0.043536 | 0.043536 | 0.98994 | -0.19337 | 0.9905 | -0.18247 | 11.9604
56 | 0.017094 | 0.0042862 | -0.01709 | -0.0042838 | 4.1845e-06 | 2.461e-06 | 0.025701 | 0.025701 | 0.025701 | 0.98972 | -0.19772 | 0.98945 | -0.20285 | 7.0607
57 | -0.044175 | -0.011083 | 0.044205 | 0.011102 | 2.9962e-05 | 1.8942e-05 | 0.066367 | 0.066367 | 0.066367 | 0.9905 | -0.18247 | 0.99124 | -0.16825 | 18.2327
58 | 0.0084824 | 0.0021266 | -0.0084786 | -0.0021249 | 3.8872e-06 | 1.6701e-06 | 0.012757 | 0.012757 | 0.012757 | 0.98945 | -0.20285 | 0.98896 | -0.21247 | 3.5047
59 | -0.045489 | -0.011424 | 0.045492 | 0.011425 | 2.3581e-06 | 1.4918e-06 | 0.068295 | 0.068295 | 0.068295 | 0.99124 | -0.16825 | 0.99129 | -0.16717 | 18.7624
60 | -0.049275 | -0.012373 | 0.049306 | 0.012393 | 3.0816e-05 | 1.9528e-05 | 0.073975 | 0.073974 | 0.073975 | 0.99129 | -0.16717 | 0.99197 | -0.15407 | 20.3227
61 | 0.0043126 | 0.0010808 | -0.0043125 | -0.0010808 | 5.2748e-08 | -9.7242e-09 | 0.0064657 | 0.0064657 | 0.0064657 | 0.9925 | -0.14411 | 0.99249 | -0.14437 | 1.7763
62 | -0.032271 | -0.0080877 | 0.032284 | 0.0080962 | 1.3568e-05 | 8.4835e-06 | 0.048382 | 0.048382 | 0.048382 | 0.9925 | -0.14411 | 0.99296 | -0.13529 | 13.2917
63 | -0.035565 | -0.0089185 | 0.035574 | 0.0089243 | 9.2908e-06 | 5.8332e-06 | 0.053298 | 0.053298 | 0.053298 | 0.99296 | -0.13529 | 0.99324 | -0.12981 | 14.6424
64 | -0.063018 | -0.015802 | 0.06305 | 0.015823 | 3.2174e-05 | 2.0467e-05 | 0.094413 | 0.094412 | 0.094413 | 0.99324 | -0.12981 | 0.9938 | -0.1191 | 25.9375
65 | -0.069144 | -0.01735 | 0.069165 | 0.017364 | 2.1463e-05 | 1.3667e-05 | 0.10354 | 0.10354 | 0.10354 | 0.9938 | -0.1191 | 0.99413 | -0.11259 | 28.4442
66 | 0.021471 | 0.0053849 | -0.021465 | -0.005381 | 6.3583e-06 | 3.8566e-06 | 0.032139 | 0.032139 | 0.032139 | 0.99413 | -0.11259 | 0.99381 | -0.11881 | 8.8294
67 | -0.090636 | -0.022749 | 0.090742 | 0.022816 | 0.00010528 | 6.7179e-05 | 0.13568 | 0.13568 | 0.13568 | 0.99413 | -0.11259 | 0.9954 | -0.088271 | 37.2736
68 | -0.096662 | -0.0243 | 0.096891 | 0.024446 | 0.00022971 | 0.00014663 | 0.14453 | 0.14453 | 0.14453 | 0.9954 | -0.088271 | 0.99798 | -0.038631 | 39.7048
69 | -0.10317 | -0.026019 | 0.10324 | 0.026064 | 6.9024e-05 | 4.4074e-05 | 0.15389 | 0.15389 | 0.15389 | 0.99798 | -0.038631 | 0.99871 | -0.024665 | 42.2763
70 | -0.25667 | -0.064943 | 0.2569 | 0.06509 | 0.00023088 | 0.00014754 | 0.38263 | 0.38263 | 0.38263 | 0.99871 | -0.024665 | 0.99969 | -0.0059387 | 52.5596
71 | 0.15343 | 0.038879 | -0.15321 | -0.03874 | 0.0002174 | 0.00013855 | 0.22875 | 0.22875 | 0.22875 | 0.99871 | -0.024665 | 0.99716 | -0.054202 | 31.4215
72 | 0.017978 | 0.0045071 | -0.017973 | -0.0045045 | 4.3745e-06 | 2.5911e-06 | 0.026918 | 0.026918 | 0.026918 | 0.99381 | -0.11881 | 0.99355 | -0.12392 | 7.3951
73 | -0.26383 | -0.066829 | 0.26391 | 0.066877 | 7.5278e-05 | 4.811e-05 | 0.39296 | 0.39296 | 0.39296 | 0.99969 | -0.0059387 | 1 | 0 | 53.9783
74 | 0.14816 | 0.037475 | -0.14808 | -0.037425 | 7.893e-05 | 5.0291e-05 | 0.22121 | 0.22121 | 0.22121 | 0.99716 | -0.054202 | 0.99658 | -0.065313 | 30.3866
75 | 0.0094435 | 0.0023668 | -0.0094433 | -0.0023667 | 2.3608e-07 | 1.1034e-07 | 0.014143 | 0.014143 | 0.014143 | 0.99355 | -0.12392 | 0.99352 | -0.12444 | 3.8855
76 | 0.28116 | 0.071332 | -0.28092 | -0.071177 | 0.00024208 | 0.00015474 | 0.41867 | 0.41867 | 0.41867 | 1 | 0 | 0.99906 | -0.017921 | 57.5101
77 | 0.14201 | 0.035904 | -0.14182 | -0.035782 | 0.00019066 | 0.00012144 | 0.21215 | 0.21215 | 0.21215 | 0.99658 | -0.065313 | 0.99512 | -0.093348 | 29.142
78 | 0.0053654 | 0.0013447 | -0.0053652 | -0.0013447 | 1.6317e-07 | 1.7173e-08 | 0.0080358 | 0.0080359 | 0.0080359 | 0.99352 | -0.12444 | 0.99349 | -0.12508 | 2.2077
79 | -0.13448 | -0.033915 | 0.13454 | 0.033958 | 6.6187e-05 | 4.2303e-05 | 0.20127 | 0.20127 | 0.20127 | 0.99459 | -0.10362 | 0.99512 | -0.093348 | 55.2932
80 | 0.00085225 | 0.00021301 | -0.00085222 | -0.00021359 | 2.8399e-08 | -5.746e-07 | 0.0012812 | 0.0012814 | 0.0012814 | 0.98969 | -0.19816 | 0.98966 | -0.19886 | 0.35203
81 | -0.25856 | -0.065551 | 0.25862 | 0.06559 | 6.1576e-05 | 3.9351e-05 | 0.38547 | 0.38547 | 0.38547 | 0.9988 | -0.022875 | 0.99906 | -0.017921 | 52.9496
82 | 0.013077 | 0.0032778 | -0.013075 | -0.0032769 | 1.6399e-06 | 9.0495e-07 | 0.019687 | 0.019687 | 0.019687 | 0.9884 | -0.22323 | 0.98827 | -0.22586 | 5.4085
83 | 0.0089718 | 0.0022485 | -0.0089716 | -0.0022484 | 1.469e-07 | 6.6508e-08 | 0.013509 | 0.013509 | 0.013509 | 0.98827 | -0.22586 | 0.98825 | -0.2262 | 3.7112
84 | 0.0051791 | 0.0012979 | -0.0051785 | -0.0012979 | 5.7702e-07 | 4.5129e-08 | 0.0077981 | 0.0077982 | 0.0077982 | 0.98825 | -0.2262 | 0.98813 | -0.22854 | 2.1424

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55204 | 0.13954

## res_load
| p_mw | q_mvar
0 | 0.0033401 | 0.0008371
1 | 0.027981 | 0.0070126
2 | 0.016816 | 0.0042145
3 | 0.032719 | 0.0082003
4 | 0.0059995 | 0.0015036
5 | 0.0017974 | 0.00045046
6 | 0.005955 | 0.0014925
7 | 0.023976 | 0.0060091
8 | 0.0039849 | 0.00099871
9 | 0.0040512 | 0.0010153
10 | 0.024358 | 0.0061048
11 | 0.0037826 | 0.00094802
12 | 0.011124 | 0.0027879
13 | 0.01821 | 0.0045637
14 | 0.0046649 | 0.0011691
15 | 0.0028266 | 0.00070842
16 | 0.0036909 | 0.00092501
17 | 0.0018766 | 0.00047032
18 | 0.00528 | 0.0013233
19 | 0.0063738 | 0.0015974
20 | 0.01192 | 0.0029874
21 | 0.0055162 | 0.0013825
22 | 0.002481 | 0.0006218
23 | 0.0041814 | 0.0010479
24 | 0.0042181 | 0.0010572
25 | 0.0046233 | 0.0011587
26 | 0.0046234 | 0.0011587
27 | 0.0012303 | 0.00030835
28 | 0.00049206 | 0.00012332
29 | 0.0069133 | 0.0017326
30 | 0.0071621 | 0.001795
31 | 0.0020543 | 0.00051486
32 | 0.005831 | 0.0014614
33 | 0.019364 | 0.0048531
34 | 0.005825 | 0.0014599
35 | 0.0026684 | 0.00066876
36 | 0.00075165 | 0.00018838
37 | 0.0045691 | 0.0011451
38 | 0.0038519 | 0.00096537
39 | 0.0051574 | 0.0012926
40 | 0.0028544 | 0.00071538
41 | 0.0086073 | 0.0021572
42 | 0.0012845 | 0.00032194
43 | 0.0084786 | 0.0021249
44 | 0.0037835 | 0.00094822
45 | 0.027958 | 0.0070069
46 | 0.0043125 | 0.0010808
47 | 0.0032809 | 0.00082228
48 | 0.027444 | 0.006878
49 | 0.0060939 | 0.0015273
50 | 0.00592 | 0.0014837
51 | 0.0062777 | 0.0015733
52 | 0.0034869 | 0.00087391
53 | 0.0069387 | 0.001739
54 | 0.005049 | 0.0012654
55 | 0.0085297 | 0.0021378
56 | 0.0053205 | 0.0013334
57 | 0.0060683 | 0.0015209
58 | 0.0040779 | 0.001022
59 | 0.0053735 | 0.0013467
60 | 0.0053652 | 0.0013447
61 | 0.0027617 | 0.00069214
62 | 0.010025 | 0.0025125
63 | 0.0072805 | 0.0018247
64 | 0.0005624 | 0.00014095
65 | 0.00085222 | 0.00021359
66 | 0.018335 | 0.0045952
67 | 0.022291 | 0.0055868
68 | 0.0022896 | 0.00057384
69 | 0.0041034 | 0.0010284
70 | 0.0037925 | 0.0009505
71 | 0.0051785 | 0.0012979

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1