## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1205-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1205-12_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1205-12_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1205-12_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1205-12_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1205-12_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1205-12_0_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_1205-12_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_1205-12_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1205-12_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1205-12_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1205-12_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1205-12_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1205-12_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1205-12_0_4_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_1205-12_0_4_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_1205-12_0_4_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_1205-12_0_4_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_1205-12_0_4_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_1205-12_0_4_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_1205-12_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1205-12_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1205-12_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1205-12_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1205-12_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1205-12_0_4_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_1205-12_0_4_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_1205-12_0_4_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_1205-12_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1205-12_0_4_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_1205-12_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1205-12_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1205-12_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1205-12_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1205-12_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1205-12_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1205-12_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1205-12_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1205-12_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1205-12_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_1205-12_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1205-12_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_1205-12_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1205-12_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_1205-12_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1205-12_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_1205-12_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1205-12_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1205-12_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1205-12_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_1205-12_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_1205-12_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1205-12_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_1205-12_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_1205-12_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_1205-12_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_1205-12_0_4_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_1205-12_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_1205-12_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_1205-12_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_1205-12_0_4_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_1205-12_0_4_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_1205-12_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_MV_14_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1205-12_0_4_load_0 | 0 | 0.073853 | 0.018509 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1205-12_0_4_load_4 | 3 | 0.053739 | 0.013468 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1205-12_0_4_load_32 | 6 | 0.0059207 | 0.0014839 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1205-12_0_4_load_31 | 7 | 0.0068015 | 0.0017046 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1205-12_0_4_load_7 | 8 | 0.0076852 | 0.0019261 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1205-12_0_4_load_8 | 9 | 0.0043196 | 0.0010826 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1205-12_0_4_load_10 | 11 | 0.0068383 | 0.0017138 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1205-12_0_4_load_11 | 12 | 0.003584 | 0.00089823 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1205-12_0_4_load_12 | 13 | 0.0050975 | 0.0012776 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1205-12_0_4_load_24 | 15 | 0.00444 | 0.0011128 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1205-12_0_4_load_39 | 16 | 0.002514 | 0.00063007 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1205-12_0_4_load_53 | 17 | 0.0021831 | 0.00054713 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1205-12_0_4_load_23 | 18 | 0.0056175 | 0.0014079 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1205-12_0_4_load_38 | 19 | 0.0038439 | 0.00096337 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1205-12_0_4_load_13 | 20 | 0.0073757 | 0.0018485 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1205-12_0_4_load_14 | 21 | 0.011307 | 0.0028339 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1205-12_0_4_load_16 | 23 | 0.011221 | 0.0028122 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1205-12_0_4_load_40 | 25 | 0.0029066 | 0.00072846 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1205-12_0_4_load_64 | 26 | 0.0038679 | 0.0009694 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1205-12_0_4_load_18 | 30 | 0.0031509 | 0.00078969 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1205-12_0_4_load_19 | 31 | 0.007638 | 0.0019143 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1205-12_0_4_load_21 | 33 | 0.0056308 | 0.0014112 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1205-12_0_4_load_29 | 35 | 0.0043204 | 0.0010828 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1205-12_0_4_load_30 | 36 | 0.0088662 | 0.0022221 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1205-12_0_4_load_26 | 38 | 0.0077477 | 0.0019418 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1205-12_0_4_load_37 | 40 | 0.0061197 | 0.0015337 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1205-12_0_4_load_36 | 41 | 0.0090109 | 0.0022583 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1205-12_0_4_load_33 | 42 | 0.0042191 | 0.0010574 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1205-12_0_4_load_34 | 43 | 0.012314 | 0.0030861 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1205-12_0_4_load_35 | 44 | 0.0028306 | 0.00070942 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1205-12_0_4_load_49 | 45 | 0.0028214 | 0.00070711 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1205-12_0_4_load_41 | 46 | 0.019701 | 0.0049376 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1205-12_0_4_load_42 | 47 | 0.0027618 | 0.00069217 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1205-12_0_4_load_45 | 50 | 0.0029254 | 0.00073318 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1205-12_0_4_load_52 | 52 | 0.0022466 | 0.00056305 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1205-12_0_4_load_46 | 53 | 0.017465 | 0.004377 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1205-12_0_4_load_51 | 54 | 0.0050814 | 0.0012735 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1205-12_0_4_load_55 | 55 | 0.0024011 | 0.00060178 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1205-12_0_4_load_56 | 56 | 0.0021952 | 0.00055018 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1205-12_0_4_load_57 | 57 | 0.008542 | 0.0021408 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1205-12_0_4_load_58 | 58 | 0.0080735 | 0.0020234 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1205-12_0_4_load_59 | 59 | 0.035812 | 0.0089754 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1205-12_0_4_load_60 | 60 | 0.0079025 | 0.0019805 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1205-12_0_4_load_61 | 61 | 0.0081604 | 0.0020452 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1205-12_0_4_load_62 | 62 | 0.0041886 | 0.0010498 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1205-12_0_4_line_0 |  | 0 | 1 | 0.012118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1205-12_0_4_line_1 |  | 1 | 2 | 0.017685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1205-12_0_4_line_2 |  | 2 | 3 | 0.011647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1205-12_0_4_line_3 |  | 3 | 4 | 0.0070881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1205-12_0_4_line_4 |  | 4 | 5 | 0.021862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1205-12_0_4_line_5 |  | 5 | 6 | 0.076212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1205-12_0_4_line_6 |  | 6 | 7 | 0.020575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1205-12_0_4_line_7 |  | 7 | 39 | 0.033248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1205-12_0_4_line_8 |  | 8 | 9 | 0.035175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1205-12_0_4_line_9 |  | 8 | 10 | 0.023997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1205-12_0_4_line_10 |  | 9 | 11 | 0.0012063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1205-12_0_4_line_11 |  | 10 | 12 | 0.0094223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1205-12_0_4_line_12 |  | 10 | 13 | 0.0047924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1205-12_0_4_line_13 |  | 11 | 14 | 0.012307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1205-12_0_4_line_14 |  | 12 | 15 | 0.018269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1205-12_0_4_line_15 |  | 13 | 16 | 0.0084145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1205-12_0_4_line_16 |  | 14 | 17 | 0.0098087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1205-12_0_4_line_17 |  | 15 | 18 | 0.021778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1205-12_0_4_line_18 |  | 16 | 19 | 0.013356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1205-12_0_4_line_19 |  | 17 | 54 | 0.0050207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1205-12_0_4_line_20 |  | 18 | 37 | 0.014051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1205-12_0_4_line_21 |  | 19 | 44 | 0.0075754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1205-12_0_4_line_22 |  | 20 | 21 | 0.017646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1205-12_0_4_line_23 |  | 20 | 22 | 0.026577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1205-12_0_4_line_24 |  | 22 | 23 | 0.028348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1205-12_0_4_line_25 |  | 22 | 24 | 0.032476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1205-12_0_4_line_26 |  | 23 | 25 | 0.038864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1205-12_0_4_line_27 |  | 24 | 26 | 0.016453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1205-12_0_4_line_28 |  | 25 | 27 | 0.021039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1205-12_0_4_line_29 |  | 25 | 28 | 0.025755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1205-12_0_4_line_30 |  | 26 | 29 | 0.012237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1205-12_0_4_line_31 |  | 27 | 45 | 0.01129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1205-12_0_4_line_32 |  | 28 | 32 | 0.045316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1205-12_0_4_line_33 |  | 29 | 62 | 0.023487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1205-12_0_4_line_34 |  | 30 | 31 | 0.004093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1205-12_0_4_line_35 |  | 30 | 32 | 0.015483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1205-12_0_4_line_36 |  | 31 | 33 | 0.012262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1205-12_0_4_line_37 |  | 33 | 34 | 0.0022185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1205-12_0_4_line_38 |  | 34 | 35 | 0.010176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_1205-12_0_4_line_39 |  | 34 | 36 | 0.022729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1205-12_0_4_line_40 |  | 35 | 42 | 0.021366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1205-12_0_4_line_41 |  | 37 | 38 | 0.011152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1205-12_0_4_line_42 |  | 37 | 39 | 0.042993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1205-12_0_4_line_43 |  | 38 | 40 | 0.020175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1205-12_0_4_line_44 |  | 40 | 41 | 0.0026304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1205-12_0_4_line_45 |  | 42 | 43 | 0.018168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1205-12_0_4_line_46 |  | 43 | 44 | 0.0044805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_1205-12_0_4_line_47 |  | 46 | 47 | 0.027623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1205-12_0_4_line_48 |  | 46 | 48 | 0.02194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1205-12_0_4_line_49 |  | 47 | 49 | 0.013459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1205-12_0_4_line_50 |  | 48 | 50 | 0.014877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1205-12_0_4_line_51 |  | 49 | 51 | 0.076871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1205-12_0_4_line_52 |  | 49 | 52 | 0.0057442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1205-12_0_4_line_53 |  | 51 | 53 | 0.017481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1205-12_0_4_line_54 |  | 52 | 54 | 0.01894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1205-12_0_4_line_55 |  | 55 | 56 | 0.020394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1205-12_0_4_line_56 |  | 55 | 57 | 0.022704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1205-12_0_4_line_57 |  | 57 | 58 | 0.0033636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1205-12_0_4_line_58 |  | 58 | 59 | 0.0062682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1205-12_0_4_line_59 |  | 59 | 60 | 0.014478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1205-12_0_4_line_60 |  | 60 | 61 | 0.05995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1205-12_0_4_line_61 |  | 61 | 62 | 0.0099229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1205-12_0_4_trafo_7 | 0.63 MVA 20/0.4 kV | 63 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2692547.7814 | 1192194.1013 | 2692559.8323 | 1192192.8313
1 | 2692547.7814 | 1192194.1013 | 2692530.1607 | 1192196.119
2 | 2692530.1607 | 1192196.119 | 2692518.5852 | 1192197.4053
3 | 2692511.5405 | 1192198.1881 | 2692518.5852 | 1192197.4053
4 | 2692489.8665 | 1192201.0105 | 2692492.0829 | 1192200.6667 | 2692499.4657 | 1192199.5245 | 2692501.5735 | 1192199.3014 | 2692503.437 | 1192199.0967 | 2692511.5405 | 1192198.1881
5 | 2692489.8665 | 1192201.0105 | 2692485.8923 | 1192201.6272 | 2692483.365 | 1192172.7696 | 2692496.512 | 1192171.1273 | 2692493.7145 | 1192141.2853
6 | 2692493.7145 | 1192141.2853 | 2692491.7942 | 1192120.8004
7 | 2692488.6909 | 1192087.6972 | 2692491.7942 | 1192120.8004
8 | 2692617.1285 | 1192102.1846 | 2692638.129 | 1192109.5113 | 2692648.2023 | 1192110.9014 | 2692650.94 | 1192111.2817
9 | 2692593.9389 | 1192096.1188 | 2692611.1165 | 1192100.0872 | 2692617.1285 | 1192102.1846
10 | 2692650.94 | 1192111.2817 | 2692652.1349 | 1192111.4476
11 | 2692593.9389 | 1192096.1188 | 2692585.5466 | 1192097.9457 | 2692584.7323 | 1192098.1235
12 | 2692593.9389 | 1192096.1188 | 2692591.7091 | 1192091.8768
13 | 2692664.2089 | 1192113.6732 | 2692660.8166 | 1192112.6534 | 2692652.1349 | 1192111.4476
14 | 2692584.7323 | 1192098.1235 | 2692577.1771 | 1192099.773 | 2692566.828 | 1192097.8008
15 | 2692591.7091 | 1192091.8768 | 2692590.4802 | 1192089.5389 | 2692587.7957 | 1192084.4277
16 | 2692664.2089 | 1192113.6732 | 2692673.6239 | 1192116.4245
17 | 2692566.828 | 1192097.8008 | 2692557.5561 | 1192096.0338 | 2692545.3492 | 1192094.2334
18 | 2692583.776 | 1192071.7457 | 2692586.5474 | 1192082.051 | 2692587.7957 | 1192084.4277
19 | 2692678.443 | 1192117.8328 | 2692673.6239 | 1192116.4245
20 | 2692531.4484 | 1192092.1832 | 2692545.3492 | 1192094.2334
21 | 2692583.776 | 1192071.7457 | 2692582.7192 | 1192067.816 | 2692580.667 | 1192064.9732
22 | 2692626.2844 | 1192018.096 | 2692621.0412 | 1192034.9449
23 | 2692634.1813 | 1191992.7195 | 2692626.2844 | 1192018.096
24 | 2692634.1813 | 1191992.7195 | 2692619.0969 | 1191986.9935 | 2692607.0107 | 1191985.2381
25 | 2692664.8138 | 1192003.7563 | 2692634.1813 | 1191992.7195
26 | 2692578.5757 | 1191961.9937 | 2692586.7162 | 1191975.0959 | 2692592.6801 | 1191980.9142 | 2692600.2454 | 1191984.2556 | 2692607.0107 | 1191985.2381
27 | 2692664.8138 | 1192003.7563 | 2692679.7618 | 1192010.6317
28 | 2692578.5757 | 1191961.9937 | 2692594.8044 | 1191948.604
29 | 2692559.9351 | 1191944.7622 | 2692567.5842 | 1191950.0839 | 2692574.7612 | 1191955.8542 | 2692578.5757 | 1191961.9937
30 | 2692690.8796 | 1192015.7454 | 2692679.7618 | 1192010.6317
31 | 2692594.8044 | 1191948.604 | 2692591.7014 | 1191937.749
32 | 2692542.0788 | 1191986.1127 | 2692544.2856 | 1191975.5511 | 2692559.9351 | 1191944.7622
33 | 2692690.8796 | 1192015.7454 | 2692710.8246 | 1192028.149
34 | 2692550.7332 | 1192003.672 | 2692548.9237 | 1192000.0007
35 | 2692542.0788 | 1191986.1127 | 2692548.9237 | 1192000.0007
36 | 2692550.7332 | 1192003.672 | 2692556.1542 | 1192014.6709
37 | 2692556.7999 | 1192016.7934 | 2692556.1542 | 1192014.6709
38 | 2692556.7999 | 1192016.7934 | 2692560.0893 | 1192026.4231
39 | 2692556.7999 | 1192016.7934 | 2692555.9125 | 1192019.448 | 2692549.5588 | 1192038.3377
40 | 2692560.0893 | 1192026.4231 | 2692564.6995 | 1192039.9193 | 2692567.9854 | 1192045.8517 | 2692568.1474 | 1192046.1308
41 | 2692531.4484 | 1192092.1832 | 2692531.864 | 1192090.9444 | 2692535.0028 | 1192081.6129
42 | 2692488.6909 | 1192087.6972 | 2692499.0648 | 1192088.8805 | 2692500.473 | 1192089.0357 | 2692513.1935 | 1192090.3332 | 2692531.4484 | 1192092.1832
43 | 2692535.0028 | 1192081.6129 | 2692541.4347 | 1192062.4908
44 | 2692541.4347 | 1192062.4908 | 2692542.2733 | 1192059.9977
45 | 2692578.0444 | 1192061.3404 | 2692572.5973 | 1192053.7948 | 2692568.1474 | 1192046.1308
46 | 2692578.0444 | 1192061.3404 | 2692580.667 | 1192064.9732
47 | 2692741.578 | 1192136.22 | 2692715.6105 | 1192129.0903 | 2692714.9496 | 1192128.8777
48 | 2692762.735 | 1192142.0288 | 2692741.578 | 1192136.22
49 | 2692702.1367 | 1192124.7566 | 2692714.9496 | 1192128.8777
50 | 2692762.735 | 1192142.0288 | 2692777.0807 | 1192145.9706
51 | 2692711.1708 | 1192201.0568 | 2692705.7932 | 1192163.8273 | 2692702.5488 | 1192129.1547 | 2692702.1367 | 1192124.7566
52 | 2692702.1367 | 1192124.7566 | 2692696.6231 | 1192123.1454
53 | 2692711.1708 | 1192201.0568 | 2692722.5388 | 1192197.1192 | 2692727.6045 | 1192195.1082
54 | 2692678.443 | 1192117.8328 | 2692696.6231 | 1192123.1454
55 | 2692747.4483 | 1192110.5374 | 2692767.2002 | 1192115.6159
56 | 2692747.4483 | 1192110.5374 | 2692742.4361 | 1192109.2487 | 2692740.6293 | 1192106.2855 | 2692737.1515 | 1192104.3859 | 2692740.1141 | 1192094.7352
57 | 2692740.1141 | 1192094.7352 | 2692741.1013 | 1192091.5197
58 | 2692742.9408 | 1192085.5275 | 2692741.1013 | 1192091.5197
59 | 2692742.9408 | 1192085.5275 | 2692747.1897 | 1192071.6873
60 | 2692747.1897 | 1192071.6873 | 2692753.4607 | 1192051.26 | 2692719.4374 | 1192033.0665
61 | 2692719.4374 | 1192033.0665 | 2692714.4035 | 1192030.3748 | 2692710.8246 | 1192028.149

## bus_geodata
| x | y | coords
0 | 2692559.8323 | 1192192.8313
1 | 2692547.7814 | 1192194.1013
2 | 2692530.1607 | 1192196.119
3 | 2692518.5852 | 1192197.4053
4 | 2692511.5405 | 1192198.1881
5 | 2692489.8665 | 1192201.0105
6 | 2692493.7145 | 1192141.2853
7 | 2692491.7942 | 1192120.8004
8 | 2692617.1285 | 1192102.1846
9 | 2692650.94 | 1192111.2817
10 | 2692593.9389 | 1192096.1188
11 | 2692652.1349 | 1192111.4476
12 | 2692584.7323 | 1192098.1235
13 | 2692591.7091 | 1192091.8768
14 | 2692664.2089 | 1192113.6732
15 | 2692566.828 | 1192097.8008
16 | 2692587.7957 | 1192084.4277
17 | 2692673.6239 | 1192116.4245
18 | 2692545.3492 | 1192094.2334
19 | 2692583.776 | 1192071.7457
20 | 2692626.2844 | 1192018.096
21 | 2692621.0412 | 1192034.9449
22 | 2692634.1813 | 1191992.7195
23 | 2692607.0107 | 1191985.2381
24 | 2692664.8138 | 1192003.7563
25 | 2692578.5757 | 1191961.9937
26 | 2692679.7618 | 1192010.6317
27 | 2692594.8044 | 1191948.604
28 | 2692559.9351 | 1191944.7622
29 | 2692690.8796 | 1192015.7454
30 | 2692548.9237 | 1192000.0007
31 | 2692550.7332 | 1192003.672
32 | 2692542.0788 | 1191986.1127
33 | 2692556.1542 | 1192014.6709
34 | 2692556.7999 | 1192016.7934
35 | 2692560.0893 | 1192026.4231
36 | 2692549.5588 | 1192038.3377
37 | 2692531.4484 | 1192092.1832
38 | 2692535.0028 | 1192081.6129
39 | 2692488.6909 | 1192087.6972
40 | 2692541.4347 | 1192062.4908
41 | 2692542.2733 | 1192059.9977
42 | 2692568.1474 | 1192046.1308
43 | 2692578.0444 | 1192061.3404
44 | 2692580.667 | 1192064.9732
45 | 2692591.7014 | 1191937.749
46 | 2692741.578 | 1192136.22
47 | 2692714.9496 | 1192128.8777
48 | 2692762.735 | 1192142.0288
49 | 2692702.1367 | 1192124.7566
50 | 2692777.0807 | 1192145.9706
51 | 2692711.1708 | 1192201.0568
52 | 2692696.6231 | 1192123.1454
53 | 2692727.6045 | 1192195.1082
54 | 2692678.443 | 1192117.8328
55 | 2692747.4483 | 1192110.5374
56 | 2692767.2002 | 1192115.6159
57 | 2692740.1141 | 1192094.7352
58 | 2692741.1013 | 1192091.5197
59 | 2692742.9408 | 1192085.5275
60 | 2692747.1897 | 1192071.6873
61 | 2692719.4374 | 1192033.0665
62 | 2692710.8246 | 1192028.149
63 | 2692617.1285 | 1192102.1846

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97206 | -0.53795 | 0.073853 | 0.018509
1 | 0.97289 | -0.52146 | 0 | 0
2 | 0.97411 | -0.49744 | 0 | 0
3 | 0.97491 | -0.48165 | 0.053739 | 0.013468
4 | 0.97576 | -0.46508 | 0 | 0
5 | 0.97835 | -0.41415 | 0 | 0
6 | 0.98742 | -0.23871 | 0.0059207 | 0.0014839
7 | 0.98998 | -0.18973 | 0.0068015 | 0.0017046
8 | 1 | 0 | -0.42601 | -0.10898
9 | 0.99796 | -0.039028 | 0.0043196 | 0.0010826
10 | 0.99738 | -0.049496 | 0 | 0
11 | 0.9979 | -0.040278 | 0.0068383 | 0.0017138
12 | 0.99686 | -0.059234 | 0.003584 | 0.00089823
13 | 0.99711 | -0.054458 | 0.0050975 | 0.0012776
14 | 0.99731 | -0.051566 | 0 | 0
15 | 0.99588 | -0.077758 | 0.00444 | 0.0011128
16 | 0.99667 | -0.062926 | 0.002514 | 0.00063007
17 | 0.99684 | -0.060572 | 0.0021831 | 0.00054713
18 | 0.99474 | -0.09932 | 0.0056175 | 0.0014079
19 | 0.99597 | -0.076185 | 0.0038439 | 0.00096337
20 | 0.98165 | -0.35065 | 0.0073757 | 0.0018485
21 | 0.98146 | -0.35426 | 0.011307 | 0.0028339
22 | 0.98211 | -0.34167 | 0 | 0
23 | 0.98474 | -0.29067 | 0.011221 | 0.0028122
24 | 0.97965 | -0.38942 | 0 | 0
25 | 0.98876 | -0.21341 | 0.0029066 | 0.00072846
26 | 0.9784 | -0.4137 | 0.0038679 | 0.0009694
27 | 0.98871 | -0.21447 | 0 | 0
28 | 0.99016 | -0.18664 | 0 | 0
29 | 0.97752 | -0.43093 | 0 | 0
30 | 0.99237 | -0.14465 | 0.0031509 | 0.00078969
31 | 0.99252 | -0.14176 | 0.007638 | 0.0019143
32 | 0.99181 | -0.15533 | 0 | 0
33 | 0.993 | -0.13253 | 0.0056308 | 0.0014112
34 | 0.9931 | -0.13079 | 0 | 0
35 | 0.99354 | -0.12228 | 0.0043204 | 0.0010828
36 | 0.99291 | -0.13435 | 0.0088662 | 0.0022221
37 | 0.99403 | -0.11279 | 0 | 0
38 | 0.9938 | -0.1173 | 0.0077477 | 0.0019418
39 | 0.99216 | -0.14833 | 0 | 0
40 | 0.99352 | -0.12268 | 0.0061197 | 0.0015337
41 | 0.9935 | -0.1231 | 0.0090109 | 0.0022583
42 | 0.99451 | -0.10389 | 0.0042191 | 0.0010574
43 | 0.99536 | -0.087823 | 0.012314 | 0.0030861
44 | 0.99558 | -0.083543 | 0.0028306 | 0.00070942
45 | 0.98868 | -0.21504 | 0.0028214 | 0.00070711
46 | 0.99473 | -0.10134 | 0.019701 | 0.0049376
47 | 0.9953 | -0.090335 | 0.0027618 | 0.00069217
48 | 0.99467 | -0.10247 | 0 | 0
49 | 0.99561 | -0.084324 | 0 | 0
50 | 0.99463 | -0.10324 | 0.0029254 | 0.00073318
51 | 0.99439 | -0.10796 | 0 | 0
52 | 0.99584 | -0.079996 | 0.0022466 | 0.00056305
53 | 0.99411 | -0.11334 | 0.017465 | 0.004377
54 | 0.99661 | -0.064993 | 0.0050814 | 0.0012735
55 | 0.97047 | -0.56946 | 0.0024011 | 0.00060178
56 | 0.97043 | -0.57029 | 0.0021952 | 0.00055018
57 | 0.97057 | -0.56753 | 0.008542 | 0.0021408
58 | 0.97061 | -0.56671 | 0.0080735 | 0.0020234
59 | 0.97074 | -0.56425 | 0.035812 | 0.0089754
60 | 0.97151 | -0.549 | 0.0079025 | 0.0019805
61 | 0.97514 | -0.47738 | 0.0081604 | 0.0020452
62 | 0.97582 | -0.4641 | 0.0041886 | 0.0010498
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.073853 | -0.018509 | 0.073911 | 0.018546 | 5.8078e-05 | 3.702e-05 | 0.11305 | 0.11305 | 0.11305 | 0.97206 | -0.53795 | 0.97289 | -0.52146 | 31.0584
1 | -0.073911 | -0.018546 | 0.073995 | 0.0186 | 8.4761e-05 | 5.4027e-05 | 0.11305 | 0.11305 | 0.11305 | 0.97289 | -0.52146 | 0.97411 | -0.49744 | 31.0584
2 | -0.073995 | -0.0186 | 0.074051 | 0.018636 | 5.5821e-05 | 3.558e-05 | 0.11305 | 0.11305 | 0.11305 | 0.97411 | -0.49744 | 0.97491 | -0.48165 | 31.0584
3 | -0.12779 | -0.032104 | 0.12789 | 0.032169 | 0.00010115 | 6.4648e-05 | 0.19508 | 0.19508 | 0.19508 | 0.97491 | -0.48165 | 0.97576 | -0.46508 | 53.5921
4 | -0.12789 | -0.032169 | 0.1282 | 0.032368 | 0.00031198 | 0.00019939 | 0.19508 | 0.19508 | 0.19508 | 0.97576 | -0.46508 | 0.97835 | -0.41415 | 53.5921
5 | -0.1282 | -0.032368 | 0.12929 | 0.033063 | 0.0010876 | 0.00069508 | 0.19508 | 0.19507 | 0.19508 | 0.97835 | -0.41415 | 0.98742 | -0.23871 | 53.5921
6 | -0.13521 | -0.034547 | 0.13553 | 0.034752 | 0.00032108 | 0.00020523 | 0.204 | 0.204 | 0.204 | 0.98742 | -0.23871 | 0.98998 | -0.18973 | 56.0431
7 | -0.14233 | -0.036457 | 0.14262 | 0.036639 | 0.00028608 | 0.00018224 | 0.21422 | 0.21422 | 0.21422 | 0.98998 | -0.18973 | 0.99216 | -0.14833 | 29.4258
8 | 0.063791 | 0.016089 | -0.063672 | -0.016013 | 0.00011894 | 7.5659e-05 | 0.094957 | 0.094957 | 0.094957 | 1 | 0 | 0.99796 | -0.039028 | 26.0872
9 | 0.36057 | 0.092891 | -0.3597 | -0.092337 | 0.00086639 | 0.00055355 | 0.53743 | 0.53743 | 0.53743 | 1 | 0 | 0.99738 | -0.049496 | 49.2151
10 | 0.059352 | 0.01493 | -0.059349 | -0.014928 | 3.5444e-06 | 2.2527e-06 | 0.088516 | 0.088516 | 0.088516 | 0.99796 | -0.039028 | 0.9979 | -0.040278 | 24.3177
11 | 0.17993 | 0.046291 | -0.17984 | -0.046237 | 8.5142e-05 | 5.4122e-05 | 0.26887 | 0.26887 | 0.26887 | 0.99738 | -0.049496 | 0.99686 | -0.059234 | 24.6215
12 | 0.17977 | 0.046046 | -0.17973 | -0.046018 | 4.3207e-05 | 2.7465e-05 | 0.26856 | 0.26856 | 0.26856 | 0.99738 | -0.049496 | 0.99711 | -0.054458 | 24.5937
13 | 0.05251 | 0.013214 | -0.052482 | -0.013196 | 2.831e-05 | 1.7958e-05 | 0.07832 | 0.07832 | 0.07832 | 0.9979 | -0.040278 | 0.99731 | -0.051566 | 21.5164
14 | 0.17626 | 0.045339 | -0.1761 | -0.045238 | 0.00015857 | 0.00010077 | 0.26352 | 0.26352 | 0.26352 | 0.99686 | -0.059234 | 0.99588 | -0.077758 | 24.1316
15 | 0.17463 | 0.044741 | -0.17456 | -0.044695 | 7.1626e-05 | 4.5512e-05 | 0.26096 | 0.26096 | 0.26096 | 0.99711 | -0.054458 | 0.99667 | -0.062926 | 23.8971
16 | 0.052482 | 0.013196 | -0.052459 | -0.013182 | 2.2562e-05 | 1.4312e-05 | 0.07832 | 0.07832 | 0.07832 | 0.99731 | -0.051566 | 0.99684 | -0.060572 | 21.5164
17 | 0.17166 | 0.044125 | -0.17148 | -0.044011 | 0.00017964 | 0.00011412 | 0.25688 | 0.25688 | 0.25688 | 0.99588 | -0.077758 | 0.99474 | -0.09932 | 23.5241
18 | 0.17205 | 0.044065 | -0.17194 | -0.043995 | 0.00011044 | 7.0162e-05 | 0.2572 | 0.2572 | 0.2572 | 0.99667 | -0.062926 | 0.99597 | -0.076185 | 23.5534
19 | 0.050276 | 0.012635 | -0.050266 | -0.012628 | 1.0608e-05 | 6.7235e-06 | 0.075061 | 0.075061 | 0.075061 | 0.99684 | -0.060572 | 0.99661 | -0.064993 | 20.6211
20 | 0.16586 | 0.042603 | -0.16575 | -0.042535 | 0.00010844 | 6.8857e-05 | 0.24848 | 0.24848 | 0.24848 | 0.99474 | -0.09932 | 0.99403 | -0.11279 | 22.7546
21 | 0.16809 | 0.043032 | -0.16803 | -0.042994 | 5.9876e-05 | 3.8025e-05 | 0.25146 | 0.25146 | 0.25146 | 0.99597 | -0.076185 | 0.99558 | -0.083543 | 23.0275
22 | 0.011309 | 0.0028349 | -0.011307 | -0.0028339 | 1.9448e-06 | 1.0216e-06 | 0.017143 | 0.017143 | 0.017143 | 0.98165 | -0.35065 | 0.98146 | -0.35426 | 4.7097
23 | -0.018685 | -0.0046835 | 0.018693 | 0.0046882 | 7.9953e-06 | 4.7808e-06 | 0.028324 | 0.028324 | 0.028324 | 0.98165 | -0.35065 | 0.98211 | -0.34167 | 7.7812
24 | -0.10062 | -0.025525 | 0.10087 | 0.025683 | 0.00024743 | 0.000158 | 0.15256 | 0.15256 | 0.15256 | 0.98211 | -0.34167 | 0.98474 | -0.29067 | 41.9134
25 | 0.081929 | 0.020836 | -0.081741 | -0.020716 | 0.00018799 | 0.0001199 | 0.12424 | 0.12424 | 0.12424 | 0.98211 | -0.34167 | 0.97965 | -0.38942 | 34.1323
26 | -0.11209 | -0.028495 | 0.11251 | 0.028762 | 0.00041881 | 0.00026754 | 0.16952 | 0.16952 | 0.16952 | 0.98474 | -0.29067 | 0.98876 | -0.21341 | 46.5714
27 | 0.081741 | 0.020716 | -0.081646 | -0.020656 | 9.524e-05 | 6.0747e-05 | 0.12424 | 0.12424 | 0.12424 | 0.97965 | -0.38942 | 0.9784 | -0.4137 | 34.1323
28 | 0.0028216 | 0.00070683 | -0.0028215 | -0.00070701 | 1.4226e-07 | -1.7879e-07 | 0.0042462 | 0.0042463 | 0.0042463 | 0.98876 | -0.21341 | 0.98871 | -0.21447 | 1.1666
29 | -0.11824 | -0.030198 | 0.11839 | 0.030295 | 0.00015325 | 9.7416e-05 | 0.17814 | 0.17814 | 0.17814 | 0.98876 | -0.21341 | 0.99016 | -0.18664 | 24.4698
30 | 0.077778 | 0.019686 | -0.077713 | -0.019645 | 6.4287e-05 | 4.099e-05 | 0.11836 | 0.11836 | 0.11836 | 0.9784 | -0.4137 | 0.97752 | -0.43093 | 32.5162
31 | 0.0028215 | 0.00070701 | -0.0028214 | -0.00070711 | 7.6338e-08 | -9.5928e-08 | 0.0042463 | 0.0042463 | 0.0042463 | 0.98871 | -0.21447 | 0.98868 | -0.21504 | 1.1666
32 | -0.11839 | -0.030295 | 0.11857 | 0.030408 | 0.00017976 | 0.00011329 | 0.17814 | 0.17814 | 0.17814 | 0.99016 | -0.18664 | 0.99181 | -0.15533 | 16.3132
33 | 0.077713 | 0.019645 | -0.07759 | -0.019567 | 0.00012339 | 7.8673e-05 | 0.11836 | 0.11836 | 0.11836 | 0.97752 | -0.43093 | 0.97582 | -0.4641 | 32.5163
34 | -0.12178 | -0.031237 | 0.1218 | 0.031247 | 1.7108e-05 | 1.0791e-05 | 0.18286 | 0.18286 | 0.18286 | 0.99237 | -0.14465 | 0.99252 | -0.14176 | 16.7457
35 | 0.11863 | 0.030447 | -0.11857 | -0.030408 | 6.1417e-05 | 3.8707e-05 | 0.17814 | 0.17814 | 0.17814 | 0.99237 | -0.14465 | 0.99181 | -0.15533 | 16.3131
36 | -0.12944 | -0.033162 | 0.1295 | 0.033198 | 5.7875e-05 | 3.6564e-05 | 0.19431 | 0.19431 | 0.19431 | 0.99252 | -0.14176 | 0.993 | -0.13253 | 17.7944
37 | -0.13513 | -0.034609 | 0.13514 | 0.034617 | 1.14e-05 | 7.2099e-06 | 0.20275 | 0.20275 | 0.20275 | 0.993 | -0.13253 | 0.9931 | -0.13079 | 18.567
38 | -0.14401 | -0.036839 | 0.14406 | 0.036877 | 5.9368e-05 | 3.76e-05 | 0.21604 | 0.21604 | 0.21604 | 0.9931 | -0.13079 | 0.99354 | -0.12228 | 19.7838
39 | 0.0088677 | 0.0022227 | -0.0088662 | -0.0022221 | 1.5048e-06 | 6.6903e-07 | 0.013287 | 0.013287 | 0.013287 | 0.9931 | -0.13079 | 0.99291 | -0.13435 | 3.6503
40 | -0.14839 | -0.03796 | 0.14852 | 0.038044 | 0.00013223 | 8.3797e-05 | 0.22251 | 0.22251 | 0.22251 | 0.99354 | -0.12228 | 0.99451 | -0.10389 | 20.3763
41 | 0.022887 | 0.0057391 | -0.022882 | -0.0057362 | 4.9092e-06 | 2.9974e-06 | 0.034262 | 0.034262 | 0.034262 | 0.99403 | -0.11279 | 0.9938 | -0.1173 | 9.4127
42 | 0.14287 | 0.036795 | -0.14262 | -0.036639 | 0.00024662 | 0.00015617 | 0.21422 | 0.21422 | 0.21422 | 0.99403 | -0.11279 | 0.99216 | -0.14833 | 19.6172
43 | 0.015135 | 0.0037944 | -0.015131 | -0.0037922 | 3.8853e-06 | 2.2253e-06 | 0.022662 | 0.022662 | 0.022662 | 0.9938 | -0.1173 | 0.99352 | -0.12268 | 6.2257
44 | 0.0090111 | 0.0022584 | -0.0090109 | -0.0022583 | 1.7967e-07 | 8.0924e-08 | 0.013496 | 0.013496 | 0.013496 | 0.99352 | -0.12268 | 0.9935 | -0.1231 | 3.7077
45 | -0.15274 | -0.039101 | 0.15286 | 0.039176 | 0.00011891 | 7.5395e-05 | 0.22882 | 0.22882 | 0.22882 | 0.99451 | -0.10389 | 0.99536 | -0.087823 | 20.9544
46 | -0.16517 | -0.042263 | 0.1652 | 0.042284 | 3.4233e-05 | 2.1734e-05 | 0.24723 | 0.24723 | 0.24723 | 0.99536 | -0.087823 | 0.99558 | -0.083543 | 22.6401
47 | -0.022627 | -0.0056704 | 0.022639 | 0.0056777 | 1.1867e-05 | 7.2362e-06 | 0.033847 | 0.033847 | 0.033847 | 0.99473 | -0.10134 | 0.9953 | -0.090335 | 9.2987
48 | 0.0029257 | 0.00073287 | -0.0029255 | -0.00073305 | 1.5758e-07 | -1.8394e-07 | 0.0043764 | 0.0043765 | 0.0043765 | 0.99473 | -0.10134 | 0.99467 | -0.10247 | 1.2023
49 | -0.0254 | -0.0063698 | 0.025408 | 0.0063743 | 7.2791e-06 | 4.4836e-06 | 0.037976 | 0.037976 | 0.037976 | 0.9953 | -0.090335 | 0.99561 | -0.084324 | 10.433
50 | 0.0029255 | 0.00073305 | -0.0029254 | -0.00073318 | 1.0686e-07 | -1.2471e-07 | 0.0043765 | 0.0043766 | 0.0043766 | 0.99467 | -0.10247 | 0.99463 | -0.10324 | 1.2024
51 | 0.017489 | 0.0043913 | -0.017469 | -0.0043797 | 1.9699e-05 | 1.1609e-05 | 0.026141 | 0.026141 | 0.026141 | 0.99561 | -0.084324 | 0.99439 | -0.10796 | 7.1817
52 | -0.042896 | -0.010766 | 0.042905 | 0.010771 | 8.8554e-06 | 5.5927e-06 | 0.064117 | 0.064117 | 0.064117 | 0.99561 | -0.084324 | 0.99584 | -0.079996 | 17.6146
53 | 0.017469 | 0.0043797 | -0.017465 | -0.004377 | 4.4798e-06 | 2.6404e-06 | 0.026141 | 0.026142 | 0.026142 | 0.99439 | -0.10796 | 0.99411 | -0.11334 | 7.1817
54 | -0.045152 | -0.011334 | 0.045184 | 0.011355 | 3.2337e-05 | 2.0449e-05 | 0.067474 | 0.067474 | 0.067474 | 0.99584 | -0.079996 | 0.99661 | -0.064993 | 18.5369
55 | 0.0021953 | 0.00054998 | -0.0021952 | -0.00055018 | 8.665e-08 | -1.9653e-07 | 0.003366 | 0.0033661 | 0.0033661 | 0.97047 | -0.56946 | 0.97043 | -0.57029 | 0.92474
56 | -0.0045965 | -0.0011518 | 0.0045969 | 0.0011518 | 4.2287e-07 | -9.9202e-09 | 0.0070476 | 0.0070475 | 0.0070476 | 0.97047 | -0.56946 | 0.97057 | -0.56753 | 1.9362
57 | -0.013139 | -0.0032926 | 0.013139 | 0.0032929 | 5.1181e-07 | 2.8599e-07 | 0.020143 | 0.020143 | 0.020143 | 0.97057 | -0.56753 | 0.97061 | -0.56671 | 5.5339
58 | -0.021213 | -0.0053163 | 0.021215 | 0.0053178 | 2.486e-06 | 1.5135e-06 | 0.032521 | 0.032521 | 0.032521 | 0.97061 | -0.56671 | 0.97074 | -0.56425 | 8.9342
59 | -0.057028 | -0.014293 | 0.057069 | 0.01432 | 4.1487e-05 | 2.6373e-05 | 0.087416 | 0.087416 | 0.087416 | 0.97074 | -0.56425 | 0.97151 | -0.549 | 24.0155
60 | -0.064972 | -0.0163 | 0.065194 | 0.016442 | 0.00022266 | 0.00014176 | 0.09952 | 0.09952 | 0.09952 | 0.97151 | -0.549 | 0.97514 | -0.47738 | 27.3407
61 | -0.073355 | -0.018487 | 0.073401 | 0.018517 | 4.6654e-05 | 2.9735e-05 | 0.11197 | 0.11197 | 0.11197 | 0.97514 | -0.47738 | 0.97582 | -0.4641 | 30.7616

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43369 | 0.11091

## res_load
| p_mw | q_mvar
0 | 0.073853 | 0.018509
1 | 0.053739 | 0.013468
2 | 0.0059207 | 0.0014839
3 | 0.0068015 | 0.0017046
4 | 0.0076852 | 0.0019261
5 | 0.0043196 | 0.0010826
6 | 0.0068383 | 0.0017138
7 | 0.003584 | 0.00089823
8 | 0.0050975 | 0.0012776
9 | 0.00444 | 0.0011128
10 | 0.002514 | 0.00063007
11 | 0.0021831 | 0.00054713
12 | 0.0056175 | 0.0014079
13 | 0.0038439 | 0.00096337
14 | 0.0073757 | 0.0018485
15 | 0.011307 | 0.0028339
16 | 0.011221 | 0.0028122
17 | 0.0029066 | 0.00072846
18 | 0.0038679 | 0.0009694
19 | 0.0031509 | 0.00078969
20 | 0.007638 | 0.0019143
21 | 0.0056308 | 0.0014112
22 | 0.0043204 | 0.0010828
23 | 0.0088662 | 0.0022221
24 | 0.0077477 | 0.0019418
25 | 0.0061197 | 0.0015337
26 | 0.0090109 | 0.0022583
27 | 0.0042191 | 0.0010574
28 | 0.012314 | 0.0030861
29 | 0.0028306 | 0.00070942
30 | 0.0028214 | 0.00070711
31 | 0.019701 | 0.0049376
32 | 0.0027618 | 0.00069217
33 | 0.0029254 | 0.00073318
34 | 0.0022466 | 0.00056305
35 | 0.017465 | 0.004377
36 | 0.0050814 | 0.0012735
37 | 0.0024011 | 0.00060178
38 | 0.0021952 | 0.00055018
39 | 0.008542 | 0.0021408
40 | 0.0080735 | 0.0020234
41 | 0.035812 | 0.0089754
42 | 0.0079025 | 0.0019805
43 | 0.0081604 | 0.0020452
44 | 0.0041886 | 0.0010498

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1