## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1205-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1205-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1205-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1205-2_0_4_node_44 | 0.4 | n |  | TRUE
4 | bus_LV_1205-2_0_4_node_45 | 0.4 | n |  | TRUE
5 | bus_LV_1205-2_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1205-2_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1205-2_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1205-2_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1205-2_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1205-2_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1205-2_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1205-2_0_4_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_1205-2_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_1205-2_0_4_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_1205-2_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1205-2_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1205-2_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1205-2_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1205-2_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1205-2_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1205-2_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1205-2_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1205-2_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1205-2_0_4_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_1205-2_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1205-2_0_4_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_1205-2_0_4_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_1205-2_0_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_1205-2_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1205-2_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1205-2_0_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_1205-2_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1205-2_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1205-2_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1205-2_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1205-2_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_1205-2_0_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_1205-2_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1205-2_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1205-2_0_4_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_1205-2_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1205-2_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1205-2_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1205-2_0_4_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_1205-2_0_4_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_1205-2_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1205-2_0_4_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_1205-2_0_4_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_1205-2_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_1205-2_0_4_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_1205-2_0_4_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_1205-2_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_1205-2_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_1205-2_0_4_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_1205-2_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_MV_11_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1205-2_0_4_load_0 | 0 | 0.027213 | 0.0068203 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1205-2_0_4_load_1 | 1 | 0.0066678 | 0.0016711 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1205-2_0_4_load_2 | 2 | 0.0042229 | 0.0010584 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1205-2_0_4_load_44 | 3 | 0.0046222 | 0.0011584 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1205-2_0_4_load_3 | 5 | 0.048988 | 0.012278 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1205-2_0_4_load_9 | 10 | 0.004015 | 0.0010062 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1205-2_0_4_load_26 | 12 | 0.0027537 | 0.00069014 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1205-2_0_4_load_25 | 13 | 0.0040341 | 0.001011 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1205-2_0_4_load_19 | 14 | 0.070534 | 0.017677 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1205-2_0_4_load_12 | 15 | 0.0018715 | 0.00046903 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1205-2_0_4_load_13 | 19 | 0.0025284 | 0.00063367 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1205-2_0_4_load_23 | 20 | 0.0027611 | 0.000692 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1205-2_0_4_load_15 | 23 | 0.014853 | 0.0037226 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1205-2_0_4_load_59 | 24 | 0.0018833 | 0.000472 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1205-2_0_4_load_60 | 26 | 0.00046785 | 0.00011725 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1205-2_0_4_load_52 | 27 | 0.0062557 | 0.0015678 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1205-2_0_4_load_27 | 29 | 0.003626 | 0.00090875 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1205-2_0_4_load_29 | 30 | 0.010462 | 0.002622 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1205-2_0_4_load_34 | 31 | 0.0035006 | 0.00087733 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1205-2_0_4_load_30 | 33 | 0.0023269 | 0.00058319 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1205-2_0_4_load_31 | 34 | 0.0015579 | 0.00039046 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1205-2_0_4_load_33 | 35 | 0.00081463 | 0.00020417 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1205-2_0_4_load_38 | 38 | 0.0017721 | 0.00044412 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1205-2_0_4_load_36 | 39 | 0.003231 | 0.00080977 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1205-2_0_4_load_48 | 40 | 0.00042514 | 0.00010655 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1205-2_0_4_load_40 | 43 | 0.0044721 | 0.0011208 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1205-2_0_4_load_55 | 44 | 0.0029785 | 0.00074649 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1205-2_0_4_load_53 | 45 | 0.0058222 | 0.0014592 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1205-2_0_4_load_41 | 46 | 0.0046048 | 0.0011541 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1205-2_0_4_load_58 | 47 | 0.0034852 | 0.00087348 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1205-2_0_4_load_54 | 48 | 0.006271 | 0.0015717 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1205-2_0_4_load_42 | 49 | 0.0040319 | 0.0010105 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1205-2_0_4_load_49 | 50 | 0.0061142 | 0.0015324 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1205-2_0_4_load_50 | 51 | 0.0031408 | 0.00078717 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1205-2_0_4_load_46 | 52 | 0.0038526 | 0.00096555 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1205-2_0_4_load_51 | 53 | 0.0023557 | 0.0005904 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1205-2_0_4_load_56 | 54 | 0.0029268 | 0.00073353 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1205-2_0_4_load_57 | 55 | 0.0013147 | 0.0003295 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1205-2_0_4_line_0 |  | 0 | 1 | 0.036171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1205-2_0_4_line_1 |  | 1 | 2 | 0.026103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1205-2_0_4_line_2 |  | 2 | 3 | 0.019408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1205-2_0_4_line_3 |  | 3 | 4 | 0.014049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1205-2_0_4_line_4 |  | 4 | 52 | 0.0022346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1205-2_0_4_line_5 |  | 5 | 6 | 0.11766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1205-2_0_4_line_6 |  | 6 | 7 | 0.020524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1205-2_0_4_line_7 |  | 7 | 11 | 0.099981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1205-2_0_4_line_8 |  | 7 | 12 | 0.018676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1205-2_0_4_line_9 |  | 8 | 9 | 0.032403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1205-2_0_4_line_10 |  | 8 | 10 | 0.038617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1205-2_0_4_line_11 |  | 9 | 14 | 0.023733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1205-2_0_4_line_12 |  | 10 | 17 | 0.023182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1205-2_0_4_line_13 |  | 11 | 13 | 0.084077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1205-2_0_4_line_14 |  | 12 | 18 | 0.030628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1205-2_0_4_line_15 |  | 14 | 16 | 0.031367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1205-2_0_4_line_16 |  | 15 | 16 | 0.035205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1205-2_0_4_line_17 |  | 16 | 21 | 0.043146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1205-2_0_4_line_18 |  | 16 | 22 | 0.017795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1205-2_0_4_line_19 |  | 17 | 19 | 0.022508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1205-2_0_4_line_20 |  | 17 | 18 | 0.029991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1205-2_0_4_line_21 |  | 19 | 20 | 0.0091129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1205-2_0_4_line_22 |  | 21 | 26 | 0.051734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1205-2_0_4_line_23 |  | 22 | 25 | 0.059352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1205-2_0_4_line_24 |  | 22 | 27 | 0.050803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1205-2_0_4_line_25 |  | 23 | 24 | 0.096259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1205-2_0_4_line_26 |  | 24 | 25 | 0.096683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1205-2_0_4_line_27 |  | 27 | 28 | 0.08821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1205-2_0_4_line_28 |  | 28 | 50 | 0.02083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1205-2_0_4_line_29 |  | 28 | 49 | 0.013373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1205-2_0_4_line_30 |  | 29 | 30 | 0.011154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1205-2_0_4_line_31 |  | 30 | 31 | 0.1636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1205-2_0_4_line_32 |  | 31 | 32 | 0.020908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1205-2_0_4_line_33 |  | 32 | 36 | 0.014828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1205-2_0_4_line_34 |  | 32 | 33 | 0.010998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1205-2_0_4_line_35 |  | 33 | 34 | 0.16113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1205-2_0_4_line_36 |  | 34 | 35 | 0.0093949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1205-2_0_4_line_37 |  | 35 | 37 | 0.025467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1205-2_0_4_line_38 |  | 36 | 38 | 0.010087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1205-2_0_4_line_39 |  | 36 | 39 | 0.041524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1205-2_0_4_line_40 |  | 37 | 40 | 0.0092094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1205-2_0_4_line_41 |  | 39 | 41 | 0.0010362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1205-2_0_4_line_42 |  | 40 | 54 | 0.0079067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1205-2_0_4_line_43 |  | 41 | 42 | 0.015887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1205-2_0_4_line_44 |  | 41 | 43 | 0.021852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1205-2_0_4_line_45 |  | 42 | 44 | 0.02319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1205-2_0_4_line_46 |  | 42 | 45 | 0.0088958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1205-2_0_4_line_47 |  | 43 | 46 | 0.012489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1205-2_0_4_line_48 |  | 44 | 47 | 0.0074209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1205-2_0_4_line_49 |  | 45 | 48 | 0.017772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1205-2_0_4_line_50 |  | 46 | 49 | 0.0040591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1205-2_0_4_line_51 |  | 50 | 51 | 0.014824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1205-2_0_4_line_52 |  | 51 | 53 | 0.0024809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1205-2_0_4_line_53 |  | 52 | 53 | 0.015826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1205-2_0_4_line_54 |  | 54 | 55 | 0.059544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1205-2_0_4_trafo_18 | 0.63 MVA 20/0.4 kV | 56 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2691260.6666 | 1191288.7203 | 2691265.1023 | 1191290.8158 | 2691291.1939 | 1191308.0427
1 | 2691312.9772 | 1191322.4249 | 2691291.1939 | 1191308.0427
2 | 2691329.1734 | 1191333.1184 | 2691312.9772 | 1191322.4249
3 | 2691340.8979 | 1191340.8594 | 2691329.1734 | 1191333.1184
4 | 2691340.8979 | 1191340.8594 | 2691341.7521 | 1191338.7945
5 | 2691318.1037 | 1191098.2011 | 2691289.8798 | 1191098.771 | 2691253.9752 | 1191102.9484 | 2691247.3158 | 1191099.0889 | 2691245.0732 | 1191095.6303 | 2691254.7265 | 1191055.3052
6 | 2691318.1037 | 1191098.2011 | 2691336.0147 | 1191108.3141
7 | 2691394.7477 | 1191068.8965 | 2691356.1053 | 1191054.5864 | 2691357.2904 | 1191065.3669 | 2691336.0147 | 1191108.3141
8 | 2691336.0147 | 1191108.3141 | 2691352.2754 | 1191117.4992
9 | 2691309.1212 | 1191138.6343 | 2691298.4586 | 1191169.2357
10 | 2691309.1212 | 1191138.6343 | 2691345.3316 | 1191152.0541
11 | 2691298.4586 | 1191169.2357 | 2691290.6467 | 1191191.6458
12 | 2691367.0686 | 1191160.11 | 2691345.3316 | 1191152.0541
13 | 2691394.7477 | 1191068.8965 | 2691424.9472 | 1191087.7586 | 2691454.6197 | 1191126.0857
14 | 2691378.9431 | 1191132.5626 | 2691352.2754 | 1191117.4992
15 | 2691279.8389 | 1191221.0737 | 2691282.4135 | 1191215.2648 | 2691290.6467 | 1191191.6458
16 | 2691279.8389 | 1191221.0737 | 2691294.9048 | 1191217.2233 | 2691302.4794 | 1191203.5745 | 2691303.2035 | 1191199.5949
17 | 2691279.8389 | 1191221.0737 | 2691288.873 | 1191228.7164 | 2691318.7065 | 1191238.5555
18 | 2691263.4651 | 1191226.6832 | 2691267.2546 | 1191226.2074 | 2691273.4049 | 1191225.4451 | 2691279.8389 | 1191221.0737
19 | 2691367.0686 | 1191160.11 | 2691387.9344 | 1191168.5485
20 | 2691378.9431 | 1191132.5626 | 2691367.0686 | 1191160.11
21 | 2691387.9344 | 1191168.5485 | 2691396.3826 | 1191171.9651
22 | 2691318.7065 | 1191238.5555 | 2691367.0931 | 1191256.8611
23 | 2691229.6048 | 1191192.3674 | 2691236.3022 | 1191193.2256 | 2691236.168 | 1191202.0291 | 2691237.7354 | 1191205.7554 | 2691239.3353 | 1191209.8491 | 2691242.3535 | 1191212.9526 | 2691246.4447 | 1191215.6945 | 2691250.8778 | 1191217.0185 | 2691249.2866 | 1191223.8542 | 2691263.4651 | 1191226.6832
24 | 2691263.4651 | 1191226.6832 | 2691260.7707 | 1191240.3509 | 2691261.4933 | 1191247.4664 | 2691267.4922 | 1191257.1196 | 2691281.9317 | 1191268.4515
25 | 2691233.824 | 1191096.2147 | 2691157.1451 | 1191038.024
26 | 2691229.6048 | 1191192.3674 | 2691230.8443 | 1191184.0921 | 2691230.5005 | 1191153.6341 | 2691228.8489 | 1191128.4262 | 2691233.824 | 1191096.2147
27 | 2691362.3788 | 1191288.9319 | 2691343.7076 | 1191288.1909 | 2691323.7973 | 1191290.1995 | 2691315.3275 | 1191291.56 | 2691308.0771 | 1191288.97 | 2691281.9317 | 1191268.4515
28 | 2691362.3788 | 1191288.9319 | 2691354.4165 | 1191308.1797
29 | 2691362.3788 | 1191288.9319 | 2691370.3273 | 1191291.7439 | 2691374.2593 | 1191294.7373
30 | 2691511.223 | 1191507.6009 | 2691507.6757 | 1191518.1756
31 | 2691453.5609 | 1191354.4995 | 2691511.223 | 1191507.6009
32 | 2691458.5457 | 1191334.196 | 2691453.5609 | 1191354.4995
33 | 2691444.1281 | 1191330.5623 | 2691458.5457 | 1191334.196
34 | 2691458.5457 | 1191334.196 | 2691461.4577 | 1191334.752 | 2691469.456 | 1191335.5034
35 | 2691469.456 | 1191335.5034 | 2691474.0368 | 1191335.9338 | 2691509.7579 | 1191329.22 | 2691523.1832 | 1191328.925 | 2691543.8588 | 1191331.2204 | 2691593.7588 | 1191339.7448 | 2691616.4239 | 1191342.082 | 2691628.6306 | 1191344.9789
36 | 2691637.7716 | 1191347.1482 | 2691628.6306 | 1191344.9789
37 | 2691662.5501 | 1191353.0285 | 2691637.7716 | 1191347.1482
38 | 2691444.1281 | 1191330.5623 | 2691441.3112 | 1191340.2477
39 | 2691444.1281 | 1191330.5623 | 2691421.9615 | 1191328.5335 | 2691415.0415 | 1191325.7816 | 2691405.6374 | 1191318.6257
40 | 2691662.5501 | 1191353.0285 | 2691662.03 | 1191362.2233
41 | 2691404.8127 | 1191317.9982 | 2691405.6374 | 1191318.6257
42 | 2691661.5834 | 1191370.1173 | 2691662.03 | 1191362.2233
43 | 2691404.8127 | 1191317.9982 | 2691400.454 | 1191333.2748
44 | 2691404.8127 | 1191317.9982 | 2691387.426 | 1191304.7614
45 | 2691400.454 | 1191333.2748 | 2691419.0309 | 1191347.1562
46 | 2691400.454 | 1191333.2748 | 2691396.4231 | 1191341.2049
47 | 2691377.4889 | 1191297.1961 | 2691387.426 | 1191304.7614
48 | 2691415.8402 | 1191353.8562 | 2691419.0309 | 1191347.1562
49 | 2691396.4231 | 1191341.2049 | 2691388.3702 | 1191357.0479
50 | 2691377.4889 | 1191297.1961 | 2691374.2593 | 1191294.7373
51 | 2691354.4165 | 1191308.1797 | 2691348.7499 | 1191321.8782
52 | 2691348.7499 | 1191321.8782 | 2691347.8015 | 1191324.1707
53 | 2691341.7521 | 1191338.7945 | 2691347.8015 | 1191324.1707
54 | 2691658.2204 | 1191429.5667 | 2691661.5834 | 1191370.1173

## bus_geodata
| x | y | coords
0 | 2691260.6666 | 1191288.7203
1 | 2691291.1939 | 1191308.0427
2 | 2691312.9772 | 1191322.4249
3 | 2691329.1734 | 1191333.1184
4 | 2691340.8979 | 1191340.8594
5 | 2691254.7265 | 1191055.3052
6 | 2691318.1037 | 1191098.2011
7 | 2691336.0147 | 1191108.3141
8 | 2691309.1212 | 1191138.6343
9 | 2691298.4586 | 1191169.2357
10 | 2691345.3316 | 1191152.0541
11 | 2691394.7477 | 1191068.8965
12 | 2691352.2754 | 1191117.4992
13 | 2691454.6197 | 1191126.0857
14 | 2691290.6467 | 1191191.6458
15 | 2691303.2035 | 1191199.5949
16 | 2691279.8389 | 1191221.0737
17 | 2691367.0686 | 1191160.11
18 | 2691378.9431 | 1191132.5626
19 | 2691387.9344 | 1191168.5485
20 | 2691396.3826 | 1191171.9651
21 | 2691318.7065 | 1191238.5555
22 | 2691263.4651 | 1191226.6832
23 | 2691157.1451 | 1191038.024
24 | 2691233.824 | 1191096.2147
25 | 2691229.6048 | 1191192.3674
26 | 2691367.0931 | 1191256.8611
27 | 2691281.9317 | 1191268.4515
28 | 2691362.3788 | 1191288.9319
29 | 2691507.6757 | 1191518.1756
30 | 2691511.223 | 1191507.6009
31 | 2691453.5609 | 1191354.4995
32 | 2691458.5457 | 1191334.196
33 | 2691469.456 | 1191335.5034
34 | 2691628.6306 | 1191344.9789
35 | 2691637.7716 | 1191347.1482
36 | 2691444.1281 | 1191330.5623
37 | 2691662.5501 | 1191353.0285
38 | 2691441.3112 | 1191340.2477
39 | 2691405.6374 | 1191318.6257
40 | 2691662.03 | 1191362.2233
41 | 2691404.8127 | 1191317.9982
42 | 2691400.454 | 1191333.2748
43 | 2691387.426 | 1191304.7614
44 | 2691419.0309 | 1191347.1562
45 | 2691396.4231 | 1191341.2049
46 | 2691377.4889 | 1191297.1961
47 | 2691415.8402 | 1191353.8562
48 | 2691388.3702 | 1191357.0479
49 | 2691374.2593 | 1191294.7373
50 | 2691354.4165 | 1191308.1797
51 | 2691348.7499 | 1191321.8782
52 | 2691341.7521 | 1191338.7945
53 | 2691347.8015 | 1191324.1707
54 | 2691661.5834 | 1191370.1173
55 | 2691658.2204 | 1191429.5667
56 | 2691312.8872 | 1191252.609

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97326 | -0.51489 | 0.027213 | 0.0068203
1 | 0.97418 | -0.49679 | 0.0066678 | 0.0016711
2 | 0.975 | -0.48056 | 0.0042229 | 0.0010584
3 | 0.97569 | -0.46701 | 0.0046222 | 0.0011584
4 | 0.97625 | -0.45603 | 0 | 0
5 | 0.97492 | -0.48342 | 0.048988 | 0.012278
6 | 0.98028 | -0.37829 | 0 | 0
7 | 0.98121 | -0.36007 | 0 | 0
8 | 0.98893 | -0.21095 | 0 | 0
9 | 0.99089 | -0.17344 | 0 | 0
10 | 0.98659 | -0.25586 | 0.004015 | 0.0010062
11 | 0.98084 | -0.36738 | 0 | 0
12 | 0.98213 | -0.34216 | 0.0027537 | 0.00069014
13 | 0.98053 | -0.37353 | 0.0040341 | 0.001011
14 | 0.99232 | -0.14605 | 0.070534 | 0.017677
15 | 0.99618 | -0.072202 | 0.0018715 | 0.00046903
16 | 0.99624 | -0.071044 | 0 | 0
17 | 0.98528 | -0.28125 | 0 | 0
18 | 0.98372 | -0.31134 | 0 | 0
19 | 0.98517 | -0.28339 | 0.0025284 | 0.00063367
20 | 0.98515 | -0.28384 | 0.0027611 | 0.000692
21 | 1 | 0 | -0.28937 | -0.074016
22 | 0.99504 | -0.093704 | 0 | 0
23 | 0.99135 | -0.16513 | 0.014853 | 0.0037226
24 | 0.99266 | -0.1398 | 0.0018833 | 0.000472
25 | 0.99414 | -0.11121 | 0 | 0
26 | 0.99998 | -0.00042265 | 0.00046785 | 0.00011725
27 | 0.98899 | -0.20897 | 0.0062557 | 0.0015678
28 | 0.97899 | -0.40244 | 0 | 0
29 | 0.97226 | -0.53473 | 0.003626 | 0.00090875
30 | 0.9723 | -0.53399 | 0.010462 | 0.002622
31 | 0.97445 | -0.49158 | 0.0035006 | 0.00087733
32 | 0.97479 | -0.48483 | 0 | 0
33 | 0.97469 | -0.48672 | 0.0023269 | 0.00058319
34 | 0.97364 | -0.50757 | 0.0015579 | 0.00039046
35 | 0.97359 | -0.50852 | 0.00081463 | 0.00020417
36 | 0.97516 | -0.4775 | 0 | 0
37 | 0.97348 | -0.51071 | 0 | 0
38 | 0.97514 | -0.47783 | 0.0017721 | 0.00044412
39 | 0.97627 | -0.45565 | 0.003231 | 0.00080977
40 | 0.97344 | -0.5115 | 0.00042514 | 0.00010655
41 | 0.9763 | -0.45504 | 0 | 0
42 | 0.97603 | -0.46043 | 0 | 0
43 | 0.97733 | -0.43487 | 0.0044721 | 0.0011208
44 | 0.97589 | -0.46318 | 0.0029785 | 0.00074649
45 | 0.97593 | -0.4624 | 0.0058222 | 0.0014592
46 | 0.97797 | -0.42234 | 0.0046048 | 0.0011541
47 | 0.97587 | -0.46365 | 0.0034852 | 0.00087348
48 | 0.97583 | -0.46444 | 0.006271 | 0.0015717
49 | 0.97819 | -0.41793 | 0.0040319 | 0.0010105
50 | 0.97786 | -0.42451 | 0.0061142 | 0.0015324
51 | 0.97714 | -0.4386 | 0.0031408 | 0.00078717
52 | 0.97634 | -0.45428 | 0.0038526 | 0.00096555
53 | 0.97703 | -0.44081 | 0.0023557 | 0.0005904
54 | 0.97341 | -0.51211 | 0.0029268 | 0.00073353
55 | 0.97333 | -0.51356 | 0.0013147 | 0.0003295
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.027213 | -0.0068203 | 0.027237 | 0.0068349 | 2.3481e-05 | 1.4578e-05 | 0.041607 | 0.041606 | 0.041607 | 0.97326 | -0.51489 | 0.97418 | -0.49679 | 11.4304
1 | -0.033905 | -0.008506 | 0.033931 | 0.0085225 | 2.6256e-05 | 1.6479e-05 | 0.051791 | 0.051791 | 0.051791 | 0.97418 | -0.49679 | 0.975 | -0.48056 | 14.2283
2 | -0.038154 | -0.0095809 | 0.038179 | 0.0095964 | 2.4683e-05 | 1.5555e-05 | 0.058236 | 0.058236 | 0.058236 | 0.975 | -0.48056 | 0.97569 | -0.46701 | 15.9989
3 | -0.042801 | -0.010755 | 0.042823 | 0.010769 | 2.2455e-05 | 1.4196e-05 | 0.065285 | 0.065285 | 0.065285 | 0.97569 | -0.46701 | 0.97625 | -0.45603 | 17.9355
4 | -0.042823 | -0.010769 | 0.042827 | 0.010771 | 3.5716e-06 | 2.2579e-06 | 0.065285 | 0.065285 | 0.065285 | 0.97625 | -0.45603 | 0.97634 | -0.45428 | 17.9354
5 | -0.048988 | -0.012278 | 0.049235 | 0.012434 | 0.00024667 | 0.00015639 | 0.07477 | 0.07477 | 0.07477 | 0.97492 | -0.48342 | 0.98028 | -0.37829 | 20.5413
6 | -0.049235 | -0.012434 | 0.049278 | 0.012461 | 4.3027e-05 | 2.7278e-05 | 0.07477 | 0.07477 | 0.07477 | 0.98028 | -0.37829 | 0.98121 | -0.36007 | 20.5411
7 | 0.0040366 | 0.0010104 | -0.0040352 | -0.0010107 | 1.4049e-06 | -3.6324e-07 | 0.0061211 | 0.0061216 | 0.0061216 | 0.98121 | -0.36007 | 0.98084 | -0.36738 | 1.6818
8 | -0.053314 | -0.013472 | 0.05336 | 0.013501 | 4.5825e-05 | 2.9092e-05 | 0.080891 | 0.080891 | 0.080891 | 0.98121 | -0.36007 | 0.98213 | -0.34216 | 22.2227
9 | -0.065801 | -0.016766 | 0.06592 | 0.016842 | 0.00011935 | 7.5968e-05 | 0.099107 | 0.099107 | 0.099107 | 0.98893 | -0.21095 | 0.99089 | -0.17344 | 27.2272
10 | 0.065801 | 0.016766 | -0.065658 | -0.016675 | 0.00014224 | 9.0539e-05 | 0.099107 | 0.099107 | 0.099107 | 0.98893 | -0.21095 | 0.98659 | -0.25586 | 27.2272
11 | -0.06592 | -0.016842 | 0.066007 | 0.016897 | 8.7415e-05 | 5.5639e-05 | 0.099107 | 0.099107 | 0.099107 | 0.99089 | -0.17344 | 0.99232 | -0.14605 | 27.2271
12 | 0.061644 | 0.015669 | -0.061568 | -0.015621 | 7.5271e-05 | 4.7878e-05 | 0.093052 | 0.093052 | 0.093052 | 0.98659 | -0.25586 | 0.98528 | -0.28125 | 25.5636
13 | 0.0040352 | 0.0010107 | -0.0040341 | -0.001011 | 1.1816e-06 | -3.0462e-07 | 0.0061216 | 0.006122 | 0.006122 | 0.98084 | -0.36738 | 0.98053 | -0.37353 | 1.6819
14 | -0.056114 | -0.014191 | 0.056197 | 0.014244 | 8.3105e-05 | 5.2799e-05 | 0.085063 | 0.085063 | 0.085063 | 0.98213 | -0.34216 | 0.98372 | -0.31134 | 23.3689
15 | -0.13654 | -0.034575 | 0.13703 | 0.03489 | 0.00049371 | 0.00031557 | 0.20487 | 0.20487 | 0.20487 | 0.99232 | -0.14605 | 0.99624 | -0.071044 | 56.2839
16 | -0.0018715 | -0.00046903 | 0.0018716 | 0.00046864 | 1.0316e-07 | -3.9235e-07 | 0.0027954 | 0.0027953 | 0.0027954 | 0.99618 | -0.072202 | 0.99624 | -0.071044 | 0.76797
17 | -0.28626 | -0.073268 | 0.28725 | 0.073899 | 0.00098849 | 0.00063094 | 0.42812 | 0.42811 | 0.42812 | 0.99624 | -0.071044 | 1 | 0 | 39.2047
18 | 0.14736 | 0.03791 | -0.1472 | -0.037806 | 0.00016215 | 0.00010331 | 0.22045 | 0.22045 | 0.22045 | 0.99624 | -0.071044 | 0.99504 | -0.093704 | 30.2812
19 | 0.0052901 | 0.0013256 | -0.0052895 | -0.0013256 | 5.3874e-07 | 5.8174e-08 | 0.0079893 | 0.0079894 | 0.0079894 | 0.98528 | -0.28125 | 0.98517 | -0.28339 | 2.1949
20 | 0.056278 | 0.014295 | -0.056197 | -0.014244 | 8.1376e-05 | 5.17e-05 | 0.085062 | 0.085063 | 0.085063 | 0.98528 | -0.28125 | 0.98372 | -0.31134 | 23.3688
21 | 0.0027612 | 0.00069192 | -0.0027611 | -0.000692 | 5.9439e-08 | -7.7991e-08 | 0.0041705 | 0.0041705 | 0.0041705 | 0.98517 | -0.28339 | 0.98515 | -0.28384 | 1.1458
22 | 0.00046786 | 0.00011658 | -0.00046785 | -0.00011725 | 9.3995e-09 | -6.7268e-07 | 0.00069595 | 0.00069618 | 0.00069618 | 1 | 0 | 0.99998 | -0.00042265 | 0.19126
23 | 0.016791 | 0.0042264 | -0.016777 | -0.0042182 | 1.4041e-05 | 8.2158e-06 | 0.025117 | 0.025117 | 0.025117 | 0.99504 | -0.093704 | 0.99414 | -0.11121 | 6.9002
24 | 0.1304 | 0.03358 | -0.12968 | -0.033115 | 0.00072689 | 0.00046455 | 0.19533 | 0.19533 | 0.19533 | 0.99504 | -0.093704 | 0.98899 | -0.20897 | 53.6625
25 | -0.014853 | -0.0037226 | 0.014871 | 0.0037328 | 1.7942e-05 | 1.024e-05 | 0.022295 | 0.022294 | 0.022295 | 0.99135 | -0.16513 | 0.99266 | -0.1398 | 6.1249
26 | -0.016754 | -0.0042048 | 0.016777 | 0.0042182 | 2.2873e-05 | 1.3387e-05 | 0.025117 | 0.025117 | 0.025117 | 0.99266 | -0.1398 | 0.99414 | -0.11121 | 6.9004
27 | 0.12342 | 0.031547 | -0.12228 | -0.030817 | 0.0011434 | 0.00073066 | 0.18592 | 0.18592 | 0.18592 | 0.98899 | -0.20897 | 0.97899 | -0.40244 | 51.0768
28 | 0.058422 | 0.014731 | -0.058361 | -0.014691 | 6.1637e-05 | 3.9186e-05 | 0.088831 | 0.088831 | 0.088831 | 0.97899 | -0.40244 | 0.97786 | -0.42451 | 24.4042
29 | 0.063856 | 0.016086 | -0.063809 | -0.016056 | 4.7271e-05 | 3.0086e-05 | 0.097088 | 0.097089 | 0.097089 | 0.97899 | -0.40244 | 0.97819 | -0.41793 | 26.6727
30 | -0.003626 | -0.00090875 | 0.0036261 | 0.0009087 | 1.2881e-07 | -5.5892e-08 | 0.0055494 | 0.0055494 | 0.0055494 | 0.97226 | -0.53473 | 0.9723 | -0.53399 | 1.5246
31 | -0.014088 | -0.0035307 | 0.014117 | 0.0035469 | 2.8518e-05 | 1.6218e-05 | 0.02156 | 0.02156 | 0.02156 | 0.9723 | -0.53399 | 0.97445 | -0.49158 | 5.9232
32 | -0.017617 | -0.0044243 | 0.017623 | 0.0044276 | 5.6757e-06 | 3.3719e-06 | 0.026905 | 0.026905 | 0.026905 | 0.97445 | -0.49158 | 0.97479 | -0.48483 | 7.3916
33 | -0.026998 | -0.0067772 | 0.027007 | 0.0067831 | 9.4461e-06 | 5.8606e-06 | 0.041216 | 0.041216 | 0.041216 | 0.97479 | -0.48483 | 0.97516 | -0.4775 | 11.3232
34 | 0.0093752 | 0.0023496 | -0.0093743 | -0.0023492 | 8.447e-07 | 4.0352e-07 | 0.014311 | 0.014311 | 0.014311 | 0.97479 | -0.48483 | 0.97469 | -0.48672 | 3.9317
35 | 0.0070474 | 0.001766 | -0.0070404 | -0.0017635 | 6.9947e-06 | 2.4705e-06 | 0.010759 | 0.01076 | 0.01076 | 0.97469 | -0.48672 | 0.97364 | -0.50757 | 2.9559
36 | 0.0054824 | 0.0013731 | -0.0054822 | -0.001373 | 2.4732e-07 | 4.1449e-08 | 0.0083785 | 0.0083785 | 0.0083785 | 0.97364 | -0.50757 | 0.97359 | -0.50852 | 2.3018
37 | 0.0046676 | 0.0011689 | -0.0046671 | -0.0011689 | 4.8598e-07 | -5.63e-09 | 0.0071335 | 0.0071336 | 0.0071336 | 0.97359 | -0.50852 | 0.97348 | -0.51071 | 1.9598
38 | 0.0017721 | 0.00044401 | -0.0017721 | -0.00044412 | 2.7658e-08 | -1.0814e-07 | 0.002704 | 0.0027041 | 0.0027041 | 0.97516 | -0.4775 | 0.97514 | -0.47783 | 0.74288
39 | -0.02878 | -0.0072271 | 0.02881 | 0.0072458 | 3.0037e-05 | 1.8705e-05 | 0.04392 | 0.04392 | 0.04392 | 0.97516 | -0.4775 | 0.97627 | -0.45565 | 12.066
40 | 0.0046671 | 0.0011689 | -0.0046669 | -0.0011689 | 1.7575e-07 | -2.0158e-09 | 0.0071336 | 0.0071336 | 0.0071336 | 0.97348 | -0.51071 | 0.97344 | -0.5115 | 1.9598
41 | -0.032041 | -0.0080556 | 0.032042 | 0.0080562 | 9.2708e-07 | 5.8038e-07 | 0.048845 | 0.048845 | 0.048845 | 0.97627 | -0.45565 | 0.9763 | -0.45504 | 13.4189
42 | 0.0042418 | 0.0010623 | -0.0042416 | -0.0010623 | 1.2465e-07 | -1.8515e-08 | 0.0064838 | 0.0064838 | 0.0064838 | 0.97344 | -0.5115 | 0.97341 | -0.51211 | 1.7813
43 | 0.018564 | 0.0046547 | -0.01856 | -0.0046518 | 4.7698e-06 | 2.8541e-06 | 0.028295 | 0.028295 | 0.028295 | 0.9763 | -0.45504 | 0.97603 | -0.46043 | 7.7735
44 | -0.050606 | -0.012711 | 0.050655 | 0.012742 | 4.8762e-05 | 3.0934e-05 | 0.07714 | 0.07714 | 0.07714 | 0.9763 | -0.45504 | 0.97733 | -0.43487 | 21.1923
45 | 0.0064647 | 0.0016202 | -0.0064638 | -0.0016199 | 8.4475e-07 | 2.5085e-07 | 0.0098558 | 0.0098559 | 0.0098559 | 0.97603 | -0.46043 | 0.97589 | -0.46318 | 2.7077
46 | 0.012095 | 0.0030316 | -0.012094 | -0.003031 | 1.1343e-06 | 6.1477e-07 | 0.01844 | 0.01844 | 0.01844 | 0.97603 | -0.46043 | 0.97593 | -0.4624 | 5.0658
47 | -0.055127 | -0.013863 | 0.05516 | 0.013884 | 3.3006e-05 | 2.0967e-05 | 0.083949 | 0.083949 | 0.083949 | 0.97733 | -0.43487 | 0.97797 | -0.42234 | 23.0629
48 | 0.0034853 | 0.00087344 | -0.0034852 | -0.00087348 | 7.8593e-08 | -4.2418e-08 | 0.0053143 | 0.0053143 | 0.0053143 | 0.97589 | -0.46318 | 0.97587 | -0.46365 | 1.46
49 | 0.0062716 | 0.0015718 | -0.006271 | -0.0015717 | 6.0941e-07 | 1.6798e-07 | 0.0095624 | 0.0095625 | 0.0095625 | 0.97593 | -0.4624 | 0.97583 | -0.46444 | 2.6271
50 | -0.059765 | -0.015038 | 0.059777 | 0.015046 | 1.2593e-05 | 8.0084e-06 | 0.090955 | 0.090955 | 0.090955 | 0.97797 | -0.42234 | 0.97819 | -0.41793 | 24.9877
51 | 0.052246 | 0.013159 | -0.052211 | -0.013137 | 3.5159e-05 | 2.2316e-05 | 0.079527 | 0.079527 | 0.079527 | 0.97786 | -0.42451 | 0.97714 | -0.4386 | 21.8482
52 | 0.04907 | 0.01235 | -0.049065 | -0.012346 | 5.1976e-06 | 3.2954e-06 | 0.074744 | 0.074744 | 0.074744 | 0.97714 | -0.4386 | 0.97703 | -0.44081 | 20.5342
53 | -0.046679 | -0.011737 | 0.046709 | 0.011756 | 3.0048e-05 | 1.9033e-05 | 0.071157 | 0.071157 | 0.071157 | 0.97634 | -0.45428 | 0.97703 | -0.44081 | 19.5485
54 | 0.0013148 | 0.00032882 | -0.0013147 | -0.0003295 | 9.0194e-08 | -6.8241e-07 | 0.0020097 | 0.0020099 | 0.0020099 | 0.97341 | -0.51211 | 0.97333 | -0.51356 | 0.55218

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28937 | 0.074016

## res_load
| p_mw | q_mvar
0 | 0.027213 | 0.0068203
1 | 0.0066678 | 0.0016711
2 | 0.0042229 | 0.0010584
3 | 0.0046222 | 0.0011584
4 | 0.048988 | 0.012278
5 | 0.004015 | 0.0010062
6 | 0.0027537 | 0.00069014
7 | 0.0040341 | 0.001011
8 | 0.070534 | 0.017677
9 | 0.0018715 | 0.00046903
10 | 0.0025284 | 0.00063367
11 | 0.0027611 | 0.000692
12 | 0.014853 | 0.0037226
13 | 0.0018833 | 0.000472
14 | 0.00046785 | 0.00011725
15 | 0.0062557 | 0.0015678
16 | 0.003626 | 0.00090875
17 | 0.010462 | 0.002622
18 | 0.0035006 | 0.00087733
19 | 0.0023269 | 0.00058319
20 | 0.0015579 | 0.00039046
21 | 0.00081463 | 0.00020417
22 | 0.0017721 | 0.00044412
23 | 0.003231 | 0.00080977
24 | 0.00042514 | 0.00010655
25 | 0.0044721 | 0.0011208
26 | 0.0029785 | 0.00074649
27 | 0.0058222 | 0.0014592
28 | 0.0046048 | 0.0011541
29 | 0.0034852 | 0.00087348
30 | 0.006271 | 0.0015717
31 | 0.0040319 | 0.0010105
32 | 0.0061142 | 0.0015324
33 | 0.0031408 | 0.00078717
34 | 0.0038526 | 0.00096555
35 | 0.0023557 | 0.0005904
36 | 0.0029268 | 0.00073353
37 | 0.0013147 | 0.0003295

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1