## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1205-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1205-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1205-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1205-3_0_5_node_62 | 0.4 | n |  | TRUE
4 | bus_LV_1205-3_0_5_node_63 | 0.4 | n |  | TRUE
5 | bus_LV_1205-3_0_5_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_1205-3_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1205-3_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1205-3_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1205-3_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1205-3_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1205-3_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1205-3_0_5_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_1205-3_0_5_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_1205-3_0_5_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_1205-3_0_5_node_77 | 0.4 | n |  | TRUE
16 | bus_LV_1205-3_0_5_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_1205-3_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1205-3_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1205-3_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1205-3_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1205-3_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1205-3_0_5_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_1205-3_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1205-3_0_5_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_1205-3_0_5_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_1205-3_0_5_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1205-3_0_5_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_1205-3_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1205-3_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1205-3_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1205-3_0_5_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1205-3_0_5_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_1205-3_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1205-3_0_5_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_1205-3_0_5_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1205-3_0_5_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_1205-3_0_5_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_1205-3_0_5_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_1205-3_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_1205-3_0_5_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_1205-3_0_5_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_1205-3_0_5_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_1205-3_0_5_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_1205-3_0_5_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_1205-3_0_5_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_1205-3_0_5_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_1205-3_0_5_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_1205-3_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_1205-3_0_5_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_1205-3_0_5_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_1205-3_0_5_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_1205-3_0_5_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_1205-3_0_5_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_1205-3_0_5_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_1205-3_0_5_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_1205-3_0_5_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_1205-3_0_5_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_1205-3_0_5_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_1205-3_0_5_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_1205-3_0_5_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_1205-3_0_5_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_1205-3_0_5_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_1205-3_0_5_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_1205-3_0_5_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_1205-3_0_5_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_1205-3_0_5_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_1205-3_0_5_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_1205-3_0_5_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_1205-3_0_5_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_1205-3_0_5_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_1205-3_0_5_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_1205-3_0_5_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_1205-3_0_5_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_1205-3_0_5_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_1205-3_0_5_node_65 | 0.4 | n |  | TRUE
76 | bus_MV_14_0_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1205-3_0_5_load_0 | 0 | 0.090862 | 0.022772 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1205-3_0_5_load_1 | 1 | 0.017441 | 0.0043711 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1205-3_0_5_load_2 | 2 | 0.011362 | 0.0028475 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1205-3_0_5_load_62 | 3 | 0.03677 | 0.0092155 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1205-3_0_5_load_76 | 5 | 0.025075 | 0.0062844 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1205-3_0_5_load_3 | 6 | 0.026097 | 0.0065406 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1205-3_0_5_load_4 | 7 | 0.0035868 | 0.00089894 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1205-3_0_5_load_6 | 9 | 0.0062557 | 0.0015678 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1205-3_0_5_load_8 | 11 | 0.0036344 | 0.00091087 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1205-3_0_5_load_31 | 12 | 0.00090124 | 0.00022587 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1205-3_0_5_load_30 | 13 | 0.0021868 | 0.00054807 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1205-3_0_5_load_42 | 14 | 0.00058497 | 0.00014661 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1205-3_0_5_load_77 | 15 | 0.0015899 | 0.00039848 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1205-3_0_5_load_41 | 16 | 0.0017676 | 0.00044301 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1205-3_0_5_load_9 | 17 | 0.0021428 | 0.00053702 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1205-3_0_5_load_10 | 18 | 0.0096116 | 0.0024089 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1205-3_0_5_load_11 | 19 | 0.0027105 | 0.00067931 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1205-3_0_5_load_12 | 20 | 0.0014386 | 0.00036054 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1205-3_0_5_load_13 | 21 | 0.0026734 | 0.00067002 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1205-3_0_5_load_67 | 22 | 0.0014653 | 0.00036725 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1205-3_0_5_load_15 | 23 | 0.0013671 | 0.00034263 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1205-3_0_5_load_61 | 24 | 0.0052916 | 0.0013262 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1205-3_0_5_load_71 | 25 | 0.0066728 | 0.0016724 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1205-3_0_5_load_14 | 26 | 0.0013636 | 0.00034176 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1205-3_0_5_load_60 | 27 | 0.006336 | 0.001588 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1205-3_0_5_load_17 | 29 | 0.0033663 | 0.00084368 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1205-3_0_5_load_18 | 30 | 0.0017042 | 0.0004271 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1205-3_0_5_load_32 | 31 | 0.0027874 | 0.00069859 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1205-3_0_5_load_68 | 32 | 0.0017968 | 0.00045033 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1205-3_0_5_load_19 | 33 | 0.0042444 | 0.0010637 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1205-3_0_5_load_74 | 34 | 0.0017753 | 0.00044494 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1205-3_0_5_load_33 | 35 | 0.0038501 | 0.00096493 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1205-3_0_5_load_69 | 36 | 0.005906 | 0.0014802 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1205-3_0_5_load_75 | 37 | 0.0090978 | 0.0022801 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1205-3_0_5_load_20 | 38 | 0.0040665 | 0.0010192 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1205-3_0_5_load_21 | 39 | 0.004715 | 0.0011817 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1205-3_0_5_load_23 | 41 | 0.0073958 | 0.0018536 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1205-3_0_5_load_24 | 42 | 0.0048095 | 0.0012054 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1205-3_0_5_load_54 | 44 | 0.0021947 | 0.00055004 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1205-3_0_5_load_25 | 45 | 0.0040786 | 0.0010222 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1205-3_0_5_load_26 | 46 | 0.0061528 | 0.001542 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1205-3_0_5_load_27 | 47 | 0.0064202 | 0.0016091 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1205-3_0_5_load_29 | 48 | 0.0040442 | 0.0010136 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1205-3_0_5_load_35 | 50 | 0.0016952 | 0.00042485 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1205-3_0_5_load_36 | 51 | 0.0012954 | 0.00032466 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1205-3_0_5_load_37 | 52 | 0.0014104 | 0.00035349 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1205-3_0_5_load_38 | 53 | 0.0014255 | 0.00035726 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1205-3_0_5_load_40 | 55 | 0.0052399 | 0.0013132 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1205-3_0_5_load_43 | 57 | 0.010126 | 0.0025378 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1205-3_0_5_load_73 | 58 | 0.022568 | 0.005656 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1205-3_0_5_load_45 | 60 | 0.012628 | 0.0031649 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1205-3_0_5_load_72 | 61 | 0.010922 | 0.0027374 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1205-3_0_5_load_46 | 64 | 0.022346 | 0.0056003 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1205-3_0_5_load_51 | 65 | 0.0034511 | 0.00086493 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1205-3_0_5_load_49 | 66 | 0.0084254 | 0.0021116 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1205-3_0_5_load_47 | 67 | 0.008216 | 0.0020591 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1205-3_0_5_load_48 | 68 | 0.0058548 | 0.0014673 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1205-3_0_5_load_50 | 69 | 0.01782 | 0.0044661 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1205-3_0_5_load_58 | 70 | 0.0054382 | 0.0013629 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1205-3_0_5_load_56 | 71 | 0.0062993 | 0.0015788 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1205-3_0_5_load_64 | 72 | 0.019852 | 0.0049755 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1205-3_0_5_load_57 | 73 | 0.004973 | 0.0012464 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1205-3_0_5_load_59 | 74 | 0.013605 | 0.0034098 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1205-3_0_5_load_65 | 75 | 0.019702 | 0.0049379 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1205-3_0_5_line_0 |  | 0 | 1 | 0.029191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1205-3_0_5_line_1 |  | 1 | 2 | 0.010158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1205-3_0_5_line_2 |  | 2 | 3 | 0.020578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1205-3_0_5_line_3 |  | 3 | 4 | 0.021696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1205-3_0_5_line_4 |  | 3 | 5 | 0.043375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_1205-3_0_5_line_5 |  | 4 | 72 | 0.020609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1205-3_0_5_line_6 |  | 5 | 63 | 0.020725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_1205-3_0_5_line_7 |  | 6 | 7 | 0.018107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1205-3_0_5_line_8 |  | 6 | 8 | 0.041895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1205-3_0_5_line_9 |  | 7 | 9 | 0.011194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1205-3_0_5_line_10 |  | 8 | 10 | 0.018332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1205-3_0_5_line_11 |  | 8 | 11 | 0.026572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1205-3_0_5_line_12 |  | 10 | 12 | 0.0036348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1205-3_0_5_line_13 |  | 10 | 13 | 0.032783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1205-3_0_5_line_14 |  | 11 | 14 | 0.012299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1205-3_0_5_line_15 |  | 12 | 15 | 0.019097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1205-3_0_5_line_16 |  | 14 | 16 | 0.016289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1205-3_0_5_line_17 |  | 15 | 37 | 0.0096018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1205-3_0_5_line_18 |  | 16 | 41 | 0.01339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1205-3_0_5_line_19 |  | 17 | 18 | 0.0052636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1205-3_0_5_line_20 |  | 17 | 19 | 0.0064174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_1205-3_0_5_line_21 |  | 18 | 20 | 0.016629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_1205-3_0_5_line_22 |  | 19 | 21 | 0.0047248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_1205-3_0_5_line_23 |  | 20 | 22 | 0.0082769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_1205-3_0_5_line_24 |  | 20 | 23 | 0.0059017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1205-3_0_5_line_25 |  | 21 | 24 | 0.012548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_1205-3_0_5_line_26 |  | 22 | 25 | 0.02338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_1205-3_0_5_line_27 |  | 23 | 26 | 0.011987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1205-3_0_5_line_28 |  | 24 | 27 | 0.023637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1205-3_0_5_line_29 |  | 25 | 54 | 0.0054122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1205-3_0_5_line_30 |  | 26 | 28 | 0.02133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1205-3_0_5_line_31 |  | 27 | 74 | 0.019218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_1205-3_0_5_line_32 |  | 28 | 29 | 0.018603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1205-3_0_5_line_33 |  | 28 | 30 | 0.027567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1205-3_0_5_line_34 |  | 29 | 31 | 0.018131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1205-3_0_5_line_35 |  | 30 | 32 | 0.020236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1205-3_0_5_line_36 |  | 31 | 35 | 0.022974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1205-3_0_5_line_37 |  | 32 | 36 | 0.019145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1205-3_0_5_line_38 |  | 33 | 34 | 0.0045325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1205-3_0_5_line_39 |  | 34 | 37 | 0.0079211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1205-3_0_5_line_40 |  | 35 | 49 | 0.026503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1205-3_0_5_line_41 |  | 38 | 39 | 0.022388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1205-3_0_5_line_42 |  | 38 | 40 | 0.014865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1205-3_0_5_line_43 |  | 39 | 41 | 0.0040624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1205-3_0_5_line_44 |  | 40 | 42 | 0.028035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1205-3_0_5_line_45 |  | 42 | 43 | 0.017292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1205-3_0_5_line_46 |  | 43 | 44 | 0.022437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1205-3_0_5_line_47 |  | 44 | 55 | 0.014089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1205-3_0_5_line_48 |  | 45 | 46 | 0.020244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1205-3_0_5_line_49 |  | 45 | 47 | 0.0285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1205-3_0_5_line_50 |  | 47 | 48 | 0.024844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1205-3_0_5_line_51 |  | 48 | 49 | 0.025839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1205-3_0_5_line_52 |  | 50 | 51 | 0.024026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1205-3_0_5_line_53 |  | 50 | 52 | 0.024852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1205-3_0_5_line_54 |  | 51 | 53 | 0.025385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1205-3_0_5_line_55 |  | 52 | 54 | 0.014635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1205-3_0_5_line_56 |  | 53 | 55 | 0.023355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1205-3_0_5_line_57 |  | 54 | 56 | 0.042317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_1205-3_0_5_line_58 |  | 57 | 58 | 0.032054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1205-3_0_5_line_59 |  | 58 | 61 | 0.025846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_1205-3_0_5_line_60 |  | 58 | 59 | 0.018761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_1205-3_0_5_line_61 |  | 59 | 60 | 0.012164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_1205-3_0_5_line_62 |  | 60 | 62 | 0.013018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_1205-3_0_5_line_63 |  | 61 | 65 | 0.017028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_1205-3_0_5_line_64 |  | 62 | 63 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_1205-3_0_5_line_65 |  | 64 | 65 | 0.0052318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1205-3_0_5_line_66 |  | 65 | 66 | 0.0023859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_1205-3_0_5_line_67 |  | 66 | 67 | 0.0077607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_1205-3_0_5_line_68 |  | 67 | 68 | 0.020941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_1205-3_0_5_line_69 |  | 68 | 69 | 0.0017261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_1205-3_0_5_line_70 |  | 69 | 70 | 0.0051626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_1205-3_0_5_line_71 |  | 70 | 71 | 0.020707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_1205-3_0_5_line_72 |  | 71 | 73 | 0.007161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_1205-3_0_5_line_73 |  | 72 | 75 | 0.035205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1205-3_0_5_line_74 |  | 73 | 74 | 0.0049866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1205-3_0_5_trafo_70 | 0.63 MVA 20/0.4 kV | 76 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2692446.1199 | 1192032.37 | 2692426.5141 | 1192026.9421 | 2692422.1029 | 1192034.6123
1 | 2692422.6197 | 1192044.757 | 2692422.1029 | 1192034.6123 | 2692422.1029 | 1192034.6123
2 | 2692422.6197 | 1192044.757 | 2692423.6667 | 1192065.3085
3 | 2692424.7706 | 1192086.976 | 2692423.6667 | 1192065.3085
4 | 2692423.6667 | 1192065.3085 | 2692380.4767 | 1192061.3083
5 | 2692424.7706 | 1192086.976 | 2692445.3163 | 1192085.3645
6 | 2692381.1587 | 1192082.0217 | 2692381.0037 | 1192076.7493 | 2692380.4767 | 1192061.3083
7 | 2692554.25 | 1191883.7461 | 2692559.5679 | 1191886.697 | 2692569.8237 | 1191892.9754
8 | 2692515.3554 | 1191870.2028 | 2692534.6279 | 1191872.858 | 2692554.25 | 1191883.7461
9 | 2692569.8237 | 1191892.9754 | 2692579.3709 | 1191898.82
10 | 2692515.3554 | 1191870.2028 | 2692507.1043 | 1191868.7966 | 2692497.0905 | 1191868.9531
11 | 2692515.3554 | 1191870.2028 | 2692520.0965 | 1191874.2454 | 2692523.1579 | 1191879.9075 | 2692522.2121 | 1191887.8201 | 2692519.944 | 1191893.3059
12 | 2692497.0905 | 1191868.9531 | 2692493.4562 | 1191869.0115
13 | 2692497.0905 | 1191868.9531 | 2692500.9698 | 1191853.781 | 2692510.5593 | 1191842.1106 | 2692512.1234 | 1191840.836
14 | 2692519.944 | 1191893.3059 | 2692515.2449 | 1191904.6717
15 | 2692474.3615 | 1191869.3183 | 2692493.4562 | 1191869.0115
16 | 2692511.6926 | 1191919.7999 | 2692511.1208 | 1191919.1911 | 2692510.679 | 1191915.7154 | 2692515.2449 | 1191904.6717
17 | 2692474.3615 | 1191869.3183 | 2692464.761 | 1191869.4726
18 | 2692511.6926 | 1191919.7999 | 2692515.8466 | 1191924.2229 | 2692522.484 | 1191927.315
19 | 2692390.8733 | 1191893.3949 | 2692395.844 | 1191895.1264
20 | 2692390.8733 | 1191893.3949 | 2692390.8733 | 1191893.3949 | 2692384.4956 | 1191894.108
21 | 2692411.5471 | 1191900.5965 | 2692395.844 | 1191895.1264
22 | 2692380.822 | 1191897.0792 | 2692384.4956 | 1191894.108 | 2692384.4956 | 1191894.108
23 | 2692411.5471 | 1191900.5965 | 2692409.3875 | 1191908.5867
24 | 2692411.5471 | 1191900.5965 | 2692413.1247 | 1191894.9095
25 | 2692380.822 | 1191897.0792 | 2692374.3114 | 1191902.345 | 2692372.5184 | 1191906.1153
26 | 2692409.3875 | 1191908.5867 | 2692403.2872 | 1191931.1566
27 | 2692416.329 | 1191883.3583 | 2692413.1247 | 1191894.9095
28 | 2692372.5184 | 1191906.1153 | 2692363.4834 | 1191925.1148 | 2692362.5217 | 1191927.5295
29 | 2692401.8751 | 1191936.3813 | 2692403.2872 | 1191931.1566
30 | 2692421.9293 | 1191862.7769 | 2692418.7334 | 1191874.6908 | 2692416.329 | 1191883.3583
31 | 2692355.4113 | 1191945.3842 | 2692362.5217 | 1191927.5295
32 | 2692421.9293 | 1191862.7769 | 2692408.0691 | 1191858.2267 | 2692404.5733 | 1191856.2518
33 | 2692421.9293 | 1191862.7769 | 2692426.0581 | 1191846.7415 | 2692429.1251 | 1191836.1686
34 | 2692404.5733 | 1191856.2518 | 2692396.8593 | 1191851.894 | 2692389.4035 | 1191846.3837
35 | 2692429.1251 | 1191836.1686 | 2692434.7627 | 1191816.7338
36 | 2692370.9253 | 1191832.7321 | 2692380.3419 | 1191839.6867 | 2692389.4035 | 1191846.3837
37 | 2692434.7627 | 1191816.7338 | 2692440.0965 | 1191798.3466
38 | 2692452.3617 | 1191868.6639 | 2692456.8614 | 1191869.2086
39 | 2692456.8614 | 1191869.2086 | 2692459.7121 | 1191869.5537 | 2692464.761 | 1191869.4726
40 | 2692349.606 | 1191816.9867 | 2692370.9253 | 1191832.7321
41 | 2692526.1664 | 1191929.0306 | 2692546.4604 | 1191938.4848
42 | 2692559.9351 | 1191944.7622 | 2692546.4604 | 1191938.4848
43 | 2692526.1664 | 1191929.0306 | 2692522.484 | 1191927.315
44 | 2692559.9351 | 1191944.7622 | 2692547.2321 | 1191969.7542
45 | 2692542.0788 | 1191986.1127 | 2692544.2856 | 1191975.5511 | 2692547.2321 | 1191969.7542
46 | 2692542.0788 | 1191986.1127 | 2692521.0134 | 1191978.3879
47 | 2692507.7856 | 1191973.5373 | 2692521.0134 | 1191978.3879
48 | 2692325.3488 | 1191892.3623 | 2692322.4155 | 1191901.4771 | 2692311.9944 | 1191899.1913
49 | 2692334.0796 | 1191865.2326 | 2692325.3488 | 1191892.3623
50 | 2692341.6903 | 1191841.5834 | 2692334.0796 | 1191865.2326
51 | 2692349.606 | 1191816.9867 | 2692341.6903 | 1191841.5834
52 | 2692462.0251 | 1191956.7567 | 2692450.9775 | 1191952.7056 | 2692439.3449 | 1191948.8383
53 | 2692415.7625 | 1191940.9982 | 2692439.3449 | 1191948.8383
54 | 2692462.0251 | 1191956.7567 | 2692485.8586 | 1191965.4966
55 | 2692401.8751 | 1191936.3813 | 2692415.7625 | 1191940.9982
56 | 2692507.7856 | 1191973.5373 | 2692485.8586 | 1191965.4966
57 | 2692401.8751 | 1191936.3813 | 2692401.1777 | 1191939.5725 | 2692392.2871 | 1191977.5931
58 | 2692330.7878 | 1192055.0109 | 2692299.8961 | 1192063.5656
59 | 2692339.7408 | 1192031.7596 | 2692337.2009 | 1192047.6102 | 2692330.7878 | 1192055.0109
60 | 2692330.7878 | 1192055.0109 | 2692336.2606 | 1192072.9564
61 | 2692336.2606 | 1192072.9564 | 2692348.0322 | 1192076.0222
62 | 2692360.6297 | 1192079.3031 | 2692348.0322 | 1192076.0222
63 | 2692339.7408 | 1192031.7596 | 2692340.7783 | 1192025.2843 | 2692342.571 | 1192014.9685
64 | 2692360.6297 | 1192079.3031 | 2692381.1587 | 1192082.0217
65 | 2692342.571 | 1192014.9685 | 2692346.7267 | 1192018.1468
66 | 2692342.9795 | 1192012.6177 | 2692342.571 | 1192014.9685
67 | 2692344.3082 | 1192004.9716 | 2692342.9795 | 1192012.6177
68 | 2692344.3082 | 1192004.9716 | 2692347.8936 | 1191984.3393
69 | 2692348.1891 | 1191982.6387 | 2692347.8936 | 1191984.3393
70 | 2692348.1891 | 1191982.6387 | 2692349.073 | 1191977.5523
71 | 2692352.6183 | 1191957.1508 | 2692349.073 | 1191977.5523
72 | 2692352.6183 | 1191957.1508 | 2692353.8443 | 1191950.0955
73 | 2692445.3163 | 1192085.3645 | 2692458.7561 | 1192084.3103 | 2692480.342 | 1192086.7526
74 | 2692355.4113 | 1191945.3842 | 2692354.0836 | 1191948.7182 | 2692353.8443 | 1191950.0955

## bus_geodata
| x | y | coords
0 | 2692446.1199 | 1192032.37
1 | 2692422.1029 | 1192034.6122
2 | 2692422.6197 | 1192044.757
3 | 2692423.6667 | 1192065.3085
4 | 2692424.7706 | 1192086.976
5 | 2692380.4767 | 1192061.3083
6 | 2692554.25 | 1191883.7461
7 | 2692569.8237 | 1191892.9754
8 | 2692515.3554 | 1191870.2028
9 | 2692579.3709 | 1191898.82
10 | 2692497.0905 | 1191868.9531
11 | 2692519.944 | 1191893.3059
12 | 2692493.4562 | 1191869.0115
13 | 2692512.1234 | 1191840.836
14 | 2692515.2449 | 1191904.6717
15 | 2692474.3615 | 1191869.3183
16 | 2692511.6926 | 1191919.7999
17 | 2692390.8733 | 1191893.3949
18 | 2692395.844 | 1191895.1264
19 | 2692384.4956 | 1191894.108
20 | 2692411.5471 | 1191900.5965
21 | 2692380.822 | 1191897.0792
22 | 2692409.3875 | 1191908.5867
23 | 2692413.1247 | 1191894.9095
24 | 2692372.5184 | 1191906.1153
25 | 2692403.2872 | 1191931.1566
26 | 2692416.329 | 1191883.3583
27 | 2692362.5217 | 1191927.5295
28 | 2692421.9293 | 1191862.7769
29 | 2692404.5733 | 1191856.2518
30 | 2692429.1251 | 1191836.1686
31 | 2692389.4035 | 1191846.3837
32 | 2692434.7627 | 1191816.7338
33 | 2692452.3617 | 1191868.6639
34 | 2692456.8614 | 1191869.2086
35 | 2692370.9253 | 1191832.7321
36 | 2692440.0965 | 1191798.3466
37 | 2692464.761 | 1191869.4726
38 | 2692546.4604 | 1191938.4848
39 | 2692526.1664 | 1191929.0306
40 | 2692559.9351 | 1191944.7622
41 | 2692522.484 | 1191927.315
42 | 2692547.2321 | 1191969.7542
43 | 2692542.0788 | 1191986.1127
44 | 2692521.0134 | 1191978.3879
45 | 2692325.3488 | 1191892.3623
46 | 2692311.9944 | 1191899.1913
47 | 2692334.0796 | 1191865.2326
48 | 2692341.6903 | 1191841.5834
49 | 2692349.606 | 1191816.9867
50 | 2692439.3449 | 1191948.8383
51 | 2692462.0251 | 1191956.7567
52 | 2692415.7625 | 1191940.9982
53 | 2692485.8586 | 1191965.4966
54 | 2692401.8751 | 1191936.3813
55 | 2692507.7856 | 1191973.5373
56 | 2692392.2871 | 1191977.5931
57 | 2692299.8961 | 1192063.5656
58 | 2692330.7878 | 1192055.0109
59 | 2692336.2606 | 1192072.9564
60 | 2692348.0322 | 1192076.0222
61 | 2692339.7408 | 1192031.7596
62 | 2692360.6297 | 1192079.3031
63 | 2692381.1587 | 1192082.0217
64 | 2692346.7267 | 1192018.1468
65 | 2692342.571 | 1192014.9685
66 | 2692342.9795 | 1192012.6177
67 | 2692344.3082 | 1192004.9716
68 | 2692347.8936 | 1191984.3393
69 | 2692348.1891 | 1191982.6387
70 | 2692349.073 | 1191977.5523
71 | 2692352.6183 | 1191957.1508
72 | 2692445.3163 | 1192085.3645
73 | 2692353.8443 | 1191950.0955
74 | 2692355.4113 | 1191945.3842
75 | 2692480.342 | 1192086.7526
76 | 2692411.9431 | 1191984.5232

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97021 | -0.57497 | 0.090862 | 0.022772
1 | 0.97269 | -0.52598 | 0.017441 | 0.0043711
2 | 0.97372 | -0.50574 | 0.011362 | 0.0028475
3 | 0.97448 | -0.49066 | 0.03677 | 0.0092155
4 | 0.97368 | -0.50642 | 0 | 0
5 | 0.97607 | -0.4595 | 0.025075 | 0.0062844
6 | 0.97173 | -0.54454 | 0.026097 | 0.0065406
7 | 0.97156 | -0.54783 | 0.0035868 | 0.00089894
8 | 0.97313 | -0.51678 | 0 | 0
9 | 0.97149 | -0.54912 | 0.0062557 | 0.0015678
10 | 0.97279 | -0.52346 | 0 | 0
11 | 0.97451 | -0.48956 | 0.0036344 | 0.00091087
12 | 0.97273 | -0.52464 | 0.00090124 | 0.00022587
13 | 0.97273 | -0.52478 | 0.0021868 | 0.00054807
14 | 0.97519 | -0.47617 | 0.00058497 | 0.00014661
15 | 0.97243 | -0.53052 | 0.0015899 | 0.00039848
16 | 0.9761 | -0.45828 | 0.0017676 | 0.00044301
17 | 0.99095 | -0.17139 | 0.0021428 | 0.00053702
18 | 0.99134 | -0.16405 | 0.0096116 | 0.0024089
19 | 0.99049 | -0.18029 | 0.0027105 | 0.00067931
20 | 0.99258 | -0.14033 | 0.0014386 | 0.00036054
21 | 0.99015 | -0.18681 | 0.0026734 | 0.00067002
22 | 0.99327 | -0.12725 | 0.0014653 | 0.00036725
23 | 0.99235 | -0.14481 | 0.0013671 | 0.00034263
24 | 0.98925 | -0.20402 | 0.0052916 | 0.0013262
25 | 0.99521 | -0.090293 | 0.0066728 | 0.0016724
26 | 0.99189 | -0.15361 | 0.0013636 | 0.00034176
27 | 0.98758 | -0.23608 | 0.006336 | 0.001588
28 | 0.99111 | -0.16878 | 0 | 0
29 | 0.99059 | -0.17892 | 0.0033663 | 0.00084368
30 | 0.99087 | -0.17338 | 0.0017042 | 0.0004271
31 | 0.99013 | -0.18773 | 0.0027874 | 0.00069859
32 | 0.99073 | -0.17615 | 0.0017968 | 0.00045033
33 | 0.97224 | -0.53443 | 0.0042444 | 0.0010637
34 | 0.97226 | -0.53408 | 0.0017753 | 0.00044494
35 | 0.98961 | -0.19776 | 0.0038501 | 0.00096493
36 | 0.99063 | -0.17816 | 0.005906 | 0.0014802
37 | 0.9723 | -0.5332 | 0.0090978 | 0.0022801
38 | 0.97868 | -0.40791 | 0.0040665 | 0.0010192
39 | 0.97714 | -0.43805 | 0.004715 | 0.0011817
40 | 0.97976 | -0.38686 | 0 | 0
41 | 0.97688 | -0.44317 | 0.0073958 | 0.0018536
42 | 0.98179 | -0.34729 | 0.0048095 | 0.0012054
43 | 0.98313 | -0.32146 | 0 | 0
44 | 0.98486 | -0.28805 | 0.0021947 | 0.00055004
45 | 0.98797 | -0.22965 | 0.0040786 | 0.0010222
46 | 0.98786 | -0.23188 | 0.0061528 | 0.001542
47 | 0.98824 | -0.22445 | 0.0064202 | 0.0016091
48 | 0.98862 | -0.21706 | 0.0040442 | 0.0010136
49 | 0.98911 | -0.20753 | 0 | 0
50 | 0.99217 | -0.14788 | 0.0016952 | 0.00042485
51 | 0.9901 | -0.18747 | 0.0012954 | 0.00032466
52 | 0.99436 | -0.10636 | 0.0014104 | 0.00035349
53 | 0.98793 | -0.2289 | 0.0014255 | 0.00035726
54 | 0.99567 | -0.08163 | 0 | 0
55 | 0.98597 | -0.26657 | 0.0052399 | 0.0013132
56 | 1 | 0 | -0.56375 | -0.1452
57 | 0.97936 | -0.39521 | 0.010126 | 0.0025378
58 | 0.97966 | -0.38932 | 0.022568 | 0.005656
59 | 0.97884 | -0.40526 | 0 | 0
60 | 0.97831 | -0.41561 | 0.012628 | 0.0031649
61 | 0.98094 | -0.36434 | 0.010922 | 0.0027374
62 | 0.97778 | -0.42609 | 0 | 0
63 | 0.97693 | -0.44275 | 0 | 0
64 | 0.98172 | -0.34936 | 0.022346 | 0.0056003
65 | 0.98182 | -0.34725 | 0.0034511 | 0.00086493
66 | 0.98196 | -0.34463 | 0.0084254 | 0.0021116
67 | 0.98241 | -0.33589 | 0.008216 | 0.0020591
68 | 0.98366 | -0.31174 | 0.0058548 | 0.0014673
69 | 0.98376 | -0.30971 | 0.01782 | 0.0044661
70 | 0.98409 | -0.30333 | 0.0054382 | 0.0013629
71 | 0.98543 | -0.27736 | 0.0062993 | 0.0015788
72 | 0.97292 | -0.52142 | 0.019852 | 0.0049755
73 | 0.98591 | -0.26823 | 0.004973 | 0.0012464
74 | 0.98624 | -0.26179 | 0.013605 | 0.0034098
75 | 0.97228 | -0.5342 | 0.019702 | 0.0049379
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.090862 | -0.022772 | 0.091074 | 0.022908 | 0.00021258 | 0.00013569 | 0.13935 | 0.13935 | 0.13935 | 0.97021 | -0.57497 | 0.97269 | -0.52598 | 38.2843
1 | -0.10852 | -0.027279 | 0.10862 | 0.027346 | 0.00010501 | 6.7081e-05 | 0.16604 | 0.16604 | 0.16604 | 0.97269 | -0.52598 | 0.97372 | -0.50574 | 45.6143
2 | -0.11998 | -0.030194 | 0.12007 | 0.030248 | 8.6519e-05 | 5.4603e-05 | 0.1834 | 0.1834 | 0.1834 | 0.97372 | -0.50574 | 0.97448 | -0.49066 | 16.7948
3 | 0.039625 | 0.0099573 | -0.039595 | -0.0099385 | 2.9795e-05 | 1.8799e-05 | 0.060516 | 0.060516 | 0.060516 | 0.97448 | -0.49066 | 0.97368 | -0.50642 | 16.6253
4 | -0.19646 | -0.049421 | 0.19676 | 0.049606 | 0.0002929 | 0.00018475 | 0.30006 | 0.30006 | 0.30006 | 0.97448 | -0.49066 | 0.97607 | -0.4595 | 16.4869
5 | 0.039595 | 0.0099385 | -0.039567 | -0.0099206 | 2.8303e-05 | 1.7858e-05 | 0.060516 | 0.060516 | 0.060516 | 0.97368 | -0.50642 | 0.97292 | -0.52142 | 16.6253
6 | -0.22183 | -0.05589 | 0.22201 | 0.056003 | 0.00017788 | 0.00011255 | 0.33829 | 0.33829 | 0.33829 | 0.97607 | -0.4595 | 0.97693 | -0.44275 | 18.5872
7 | 0.0098445 | 0.0024677 | -0.009843 | -0.0024669 | 1.5431e-06 | 7.6332e-07 | 0.015075 | 0.015075 | 0.015075 | 0.97173 | -0.54454 | 0.97156 | -0.54783 | 4.1415
8 | -0.035942 | -0.0090082 | 0.035989 | 0.0090381 | 4.759e-05 | 2.9938e-05 | 0.055038 | 0.055038 | 0.055038 | 0.97173 | -0.54454 | 0.97313 | -0.51678 | 15.1203
9 | 0.0062561 | 0.0015679 | -0.0062557 | -0.0015678 | 3.854e-07 | 1.0804e-07 | 0.0095817 | 0.0095818 | 0.0095818 | 0.97156 | -0.54783 | 0.97149 | -0.54912 | 2.6324
10 | 0.01981 | 0.0049692 | -0.019804 | -0.0049654 | 6.3085e-06 | 3.8098e-06 | 0.030293 | 0.030293 | 0.030293 | 0.97313 | -0.51678 | 0.97279 | -0.52346 | 8.3223
11 | -0.055799 | -0.014007 | 0.055872 | 0.014053 | 7.2556e-05 | 4.6105e-05 | 0.085331 | 0.085331 | 0.085331 | 0.97313 | -0.51678 | 0.97451 | -0.48956 | 23.4425
12 | 0.017617 | 0.0044177 | -0.017616 | -0.0044171 | 9.8983e-07 | 5.8837e-07 | 0.026948 | 0.026948 | 0.026948 | 0.97279 | -0.52346 | 0.97273 | -0.52464 | 7.4033
13 | 0.002187 | 0.00054775 | -0.0021868 | -0.00054807 | 1.3757e-07 | -3.1893e-07 | 0.0033451 | 0.0033453 | 0.0033453 | 0.97279 | -0.52346 | 0.97273 | -0.52478 | 0.91903
14 | -0.059506 | -0.014964 | 0.059544 | 0.014989 | 3.8092e-05 | 2.4226e-05 | 0.09088 | 0.09088 | 0.09088 | 0.97451 | -0.48956 | 0.97519 | -0.47617 | 24.9671
15 | 0.016714 | 0.0041912 | -0.01671 | -0.0041885 | 4.6821e-06 | 2.7595e-06 | 0.025569 | 0.025569 | 0.025569 | 0.97273 | -0.52464 | 0.97243 | -0.53052 | 7.0246
16 | -0.060129 | -0.015135 | 0.060181 | 0.015168 | 5.1447e-05 | 3.2723e-05 | 0.091773 | 0.091773 | 0.091773 | 0.97519 | -0.47617 | 0.9761 | -0.45828 | 25.2123
17 | 0.01512 | 0.00379 | -0.015118 | -0.0037889 | 1.9274e-06 | 1.1145e-06 | 0.023137 | 0.023137 | 0.023137 | 0.97243 | -0.53052 | 0.9723 | -0.5332 | 6.3562
18 | -0.061948 | -0.015611 | 0.061993 | 0.015639 | 4.481e-05 | 2.8511e-05 | 0.094467 | 0.094467 | 0.094467 | 0.9761 | -0.45828 | 0.97688 | -0.44317 | 25.9526
19 | -0.39805 | -0.10175 | 0.39819 | 0.10184 | 0.00014137 | 9.0139e-05 | 0.59842 | 0.59842 | 0.59842 | 0.99095 | -0.17139 | 0.99134 | -0.16405 | 32.8805
20 | 0.39591 | 0.10121 | -0.39574 | -0.1011 | 0.00017051 | 0.00010872 | 0.59521 | 0.59521 | 0.59521 | 0.99095 | -0.17139 | 0.99049 | -0.18029 | 32.7037
21 | -0.4078 | -0.10425 | 0.40827 | 0.10455 | 0.00046841 | 0.00029871 | 0.61285 | 0.61285 | 0.61285 | 0.99134 | -0.16405 | 0.99258 | -0.14033 | 33.6731
22 | 0.39303 | 0.10042 | -0.3929 | -0.10034 | 0.00012383 | 7.8946e-05 | 0.59113 | 0.59114 | 0.59114 | 0.99049 | -0.18029 | 0.99015 | -0.18681 | 32.4799
23 | -0.45267 | -0.11572 | 0.45296 | 0.1159 | 0.00028656 | 0.00018286 | 0.67943 | 0.67943 | 0.67943 | 0.99258 | -0.14033 | 0.99327 | -0.12725 | 37.3314
24 | 0.042963 | 0.010813 | -0.042954 | -0.010807 | 9.1855e-06 | 5.8024e-06 | 0.064424 | 0.064424 | 0.064424 | 0.99258 | -0.14033 | 0.99235 | -0.14481 | 17.6988
25 | 0.39023 | 0.099674 | -0.38991 | -0.099467 | 0.00032442 | 0.00020682 | 0.58712 | 0.58712 | 0.58712 | 0.99015 | -0.18681 | 0.98925 | -0.20402 | 32.2592
26 | -0.45443 | -0.11627 | 0.45524 | 0.11679 | 0.00081469 | 0.00051989 | 0.68163 | 0.68163 | 0.68163 | 0.99327 | -0.12725 | 0.99521 | -0.090293 | 37.452
27 | 0.041587 | 0.010464 | -0.041569 | -0.010453 | 1.7489e-05 | 1.1038e-05 | 0.062374 | 0.062374 | 0.062374 | 0.99235 | -0.14481 | 0.99189 | -0.15361 | 17.1357
28 | 0.38461 | 0.098141 | -0.38402 | -0.097762 | 0.00059464 | 0.00037906 | 0.57916 | 0.57916 | 0.57916 | 0.98925 | -0.20402 | 0.98758 | -0.23608 | 31.8219
29 | -0.46191 | -0.11846 | 0.46211 | 0.11859 | 0.00019415 | 0.00012391 | 0.6916 | 0.6916 | 0.6916 | 0.99521 | -0.090293 | 0.99567 | -0.08163 | 38.0001
30 | 0.040206 | 0.010112 | -0.040177 | -0.010093 | 2.9111e-05 | 1.8356e-05 | 0.060328 | 0.060328 | 0.060328 | 0.99189 | -0.15361 | 0.99111 | -0.16878 | 16.5737
31 | 0.37768 | 0.096174 | -0.37722 | -0.095876 | 0.00046767 | 0.00029808 | 0.56961 | 0.56961 | 0.56961 | 0.98758 | -0.23608 | 0.98624 | -0.26179 | 31.2974
32 | 0.030766 | 0.0077341 | -0.030751 | -0.0077248 | 1.489e-05 | 9.2898e-06 | 0.046199 | 0.046199 | 0.046199 | 0.99111 | -0.16878 | 0.99059 | -0.17892 | 12.6921
33 | 0.0094107 | 0.0023591 | -0.0094086 | -0.0023581 | 2.0637e-06 | 9.6561e-07 | 0.014129 | 0.014129 | 0.014129 | 0.99111 | -0.16878 | 0.99087 | -0.17338 | 3.8816
34 | 0.027385 | 0.0068811 | -0.027373 | -0.006874 | 1.1509e-05 | 7.1324e-06 | 0.041142 | 0.041143 | 0.041143 | 0.99059 | -0.17892 | 0.99013 | -0.18773 | 11.3029
35 | 0.0077045 | 0.001931 | -0.0077034 | -0.0019306 | 1.0158e-06 | 3.8952e-07 | 0.01157 | 0.01157 | 0.01157 | 0.99087 | -0.17338 | 0.99073 | -0.17615 | 3.1786
36 | 0.024586 | 0.0061754 | -0.024574 | -0.0061682 | 1.1765e-05 | 7.2341e-06 | 0.036954 | 0.036954 | 0.036954 | 0.99013 | -0.18773 | 0.98961 | -0.19776 | 10.1521
37 | 0.0059066 | 0.0014803 | -0.005906 | -0.0014802 | 5.6503e-07 | 1.1511e-07 | 0.0088713 | 0.0088714 | 0.0088714 | 0.99073 | -0.17615 | 0.99063 | -0.17816 | 2.4372
38 | -0.0042444 | -0.0010637 | 0.0042445 | 0.0010637 | 7.1726e-08 | -1.0304e-08 | 0.0064961 | 0.0064961 | 0.0064961 | 0.97224 | -0.53443 | 0.97226 | -0.53408 | 1.7846
39 | -0.0060198 | -0.0015087 | 0.0060201 | 0.0015087 | 2.5214e-07 | 6.313e-08 | 0.0092132 | 0.0092132 | 0.0092132 | 0.97226 | -0.53408 | 0.9723 | -0.5332 | 2.5311
40 | 0.020724 | 0.0052032 | -0.020714 | -0.0051974 | 9.6528e-06 | 5.8375e-06 | 0.031164 | 0.031165 | 0.031165 | 0.98961 | -0.19776 | 0.98911 | -0.20753 | 8.5617
41 | 0.074228 | 0.018754 | -0.074121 | -0.018686 | 0.00010704 | 6.8223e-05 | 0.11291 | 0.11291 | 0.11291 | 0.97868 | -0.40791 | 0.97714 | -0.43805 | 31.02
42 | -0.078294 | -0.019773 | 0.078374 | 0.019823 | 7.9067e-05 | 5.0416e-05 | 0.1191 | 0.1191 | 0.1191 | 0.97868 | -0.40791 | 0.97976 | -0.38686 | 32.7186
43 | 0.069406 | 0.017504 | -0.069389 | -0.017493 | 1.7031e-05 | 1.0849e-05 | 0.10573 | 0.10573 | 0.10573 | 0.97714 | -0.43805 | 0.97688 | -0.44317 | 29.0475
44 | -0.078374 | -0.019823 | 0.078523 | 0.019918 | 0.00014912 | 9.5081e-05 | 0.1191 | 0.1191 | 0.1191 | 0.97976 | -0.38686 | 0.98179 | -0.34729 | 32.7186
45 | -0.083332 | -0.021124 | 0.083436 | 0.02119 | 0.00010358 | 6.6072e-05 | 0.12638 | 0.12638 | 0.12638 | 0.98179 | -0.34729 | 0.98313 | -0.32146 | 34.7211
46 | -0.083436 | -0.02119 | 0.08357 | 0.021276 | 0.0001344 | 8.5729e-05 | 0.12638 | 0.12638 | 0.12638 | 0.98313 | -0.32146 | 0.98486 | -0.28805 | 34.7211
47 | -0.085765 | -0.021826 | 0.085854 | 0.021882 | 8.8879e-05 | 5.6703e-05 | 0.1297 | 0.1297 | 0.1297 | 0.98486 | -0.28805 | 0.98597 | -0.26657 | 35.632
48 | 0.0061534 | 0.0015422 | -0.0061528 | -0.001542 | 6.5207e-07 | 1.5812e-07 | 0.0092679 | 0.009268 | 0.009268 | 0.98797 | -0.22965 | 0.98786 | -0.23188 | 2.5461
49 | -0.010232 | -0.0025644 | 0.010235 | 0.0025657 | 2.5382e-06 | 1.2594e-06 | 0.015411 | 0.015411 | 0.015411 | 0.98797 | -0.22965 | 0.98824 | -0.22445 | 4.2337
50 | -0.016655 | -0.0041747 | 0.016661 | 0.0041781 | 5.859e-06 | 3.4313e-06 | 0.025078 | 0.025078 | 0.025078 | 0.98824 | -0.22445 | 0.98862 | -0.21706 | 6.8895
51 | -0.020705 | -0.0051917 | 0.020714 | 0.0051974 | 9.4109e-06 | 5.6915e-06 | 0.031165 | 0.031165 | 0.031165 | 0.98862 | -0.21706 | 0.98911 | -0.20753 | 8.5617
52 | 0.094347 | 0.024217 | -0.094166 | -0.024102 | 0.00018091 | 0.00011547 | 0.1417 | 0.1417 | 0.1417 | 0.99217 | -0.14788 | 0.9901 | -0.18747 | 38.9292
53 | -0.096042 | -0.024642 | 0.096236 | 0.024766 | 0.0001939 | 0.00012378 | 0.14424 | 0.14424 | 0.14424 | 0.99217 | -0.14788 | 0.99436 | -0.10636 | 39.6276
54 | 0.092871 | 0.023777 | -0.092685 | -0.023659 | 0.00018593 | 0.00011867 | 0.13976 | 0.13976 | 0.13976 | 0.9901 | -0.18747 | 0.98793 | -0.2289 | 38.3943
55 | -0.097647 | -0.02512 | 0.097764 | 0.025195 | 0.00011755 | 7.5043e-05 | 0.14635 | 0.14635 | 0.14635 | 0.99436 | -0.10636 | 0.99567 | -0.08163 | 40.2074
56 | 0.091259 | 0.023301 | -0.091094 | -0.023196 | 0.00016584 | 0.00010584 | 0.13761 | 0.13761 | 0.13761 | 0.98793 | -0.2289 | 0.98597 | -0.26657 | 37.8045
57 | -0.55987 | -0.14378 | 0.5621 | 0.1452 | 0.0022285 | 0.0014235 | 0.83796 | 0.83796 | 0.83796 | 0.99567 | -0.08163 | 1 | 0 | 46.0416
58 | -0.010126 | -0.0025378 | 0.010129 | 0.0025392 | 2.8453e-06 | 1.4175e-06 | 0.015385 | 0.015385 | 0.015385 | 0.97936 | -0.39521 | 0.97966 | -0.38932 | 4.2267
59 | -0.26792 | -0.067733 | 0.26824 | 0.067937 | 0.00032134 | 0.00020403 | 0.40716 | 0.40716 | 0.40716 | 0.97966 | -0.38932 | 0.98094 | -0.36434 | 22.3712
60 | 0.23522 | 0.059538 | -0.23504 | -0.059424 | 0.00017983 | 0.00011391 | 0.35749 | 0.35749 | 0.35749 | 0.97966 | -0.38932 | 0.97884 | -0.40526 | 19.6425
61 | 0.23504 | 0.059424 | -0.23493 | -0.05935 | 0.0001166 | 7.3857e-05 | 0.35749 | 0.35749 | 0.35749 | 0.97884 | -0.40526 | 0.97831 | -0.41561 | 19.6425
62 | 0.2223 | 0.056185 | -0.22219 | -0.056115 | 0.00011173 | 7.069e-05 | 0.33829 | 0.33829 | 0.33829 | 0.97831 | -0.41561 | 0.97778 | -0.42609 | 18.5872
63 | -0.27916 | -0.070675 | 0.27939 | 0.07082 | 0.0002293 | 0.00014567 | 0.42372 | 0.42372 | 0.42372 | 0.98094 | -0.36434 | 0.98182 | -0.34725 | 23.2815
64 | 0.22219 | 0.056115 | -0.22201 | -0.056003 | 0.00017723 | 0.00011213 | 0.33829 | 0.33829 | 0.33829 | 0.97778 | -0.42609 | 0.97693 | -0.44275 | 18.5872
65 | -0.022346 | -0.0056003 | 0.022348 | 0.0056017 | 2.2507e-06 | 1.3743e-06 | 0.03387 | 0.03387 | 0.03387 | 0.98172 | -0.34936 | 0.98182 | -0.34725 | 9.3049
66 | -0.30519 | -0.077287 | 0.30523 | 0.077311 | 3.8331e-05 | 2.4381e-05 | 0.46282 | 0.46282 | 0.46282 | 0.98182 | -0.34725 | 0.98196 | -0.34463 | 25.4299
67 | -0.31366 | -0.079423 | 0.31379 | 0.079507 | 0.00013165 | 8.3767e-05 | 0.47559 | 0.47559 | 0.47559 | 0.98196 | -0.34463 | 0.98241 | -0.33589 | 26.1314
68 | -0.322 | -0.081566 | 0.32238 | 0.081804 | 0.00037409 | 0.00023809 | 0.48804 | 0.48804 | 0.48804 | 0.98241 | -0.33589 | 0.98366 | -0.31174 | 26.8151
69 | -0.32823 | -0.083271 | 0.32826 | 0.083292 | 3.1964e-05 | 2.0347e-05 | 0.49689 | 0.49689 | 0.49689 | 0.98366 | -0.31174 | 0.98376 | -0.30971 | 27.3017
70 | -0.34608 | -0.087758 | 0.34619 | 0.087826 | 0.00010625 | 6.7673e-05 | 0.52385 | 0.52385 | 0.52385 | 0.98376 | -0.30971 | 0.98409 | -0.30333 | 28.7827
71 | -0.35163 | -0.089189 | 0.35207 | 0.089469 | 0.00043966 | 0.00028007 | 0.53207 | 0.53207 | 0.53207 | 0.98409 | -0.30333 | 0.98543 | -0.27736 | 29.2345
72 | -0.35837 | -0.091047 | 0.35853 | 0.091148 | 0.00015753 | 0.00010036 | 0.54158 | 0.54158 | 0.54158 | 0.98543 | -0.27736 | 0.98591 | -0.26823 | 29.7572
73 | 0.019714 | 0.0049451 | -0.019702 | -0.0049379 | 1.2003e-05 | 7.2453e-06 | 0.030153 | 0.030153 | 0.030153 | 0.97292 | -0.52142 | 0.97228 | -0.5342 | 8.2839
74 | -0.3635 | -0.092394 | 0.36361 | 0.092466 | 0.00011276 | 7.1846e-05 | 0.54909 | 0.54909 | 0.54909 | 0.98591 | -0.26823 | 0.98624 | -0.26179 | 30.1695

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.56375 | 0.1452

## res_load
| p_mw | q_mvar
0 | 0.090862 | 0.022772
1 | 0.017441 | 0.0043711
2 | 0.011362 | 0.0028475
3 | 0.03677 | 0.0092155
4 | 0.025075 | 0.0062844
5 | 0.026097 | 0.0065406
6 | 0.0035868 | 0.00089894
7 | 0.0062557 | 0.0015678
8 | 0.0036344 | 0.00091087
9 | 0.00090124 | 0.00022587
10 | 0.0021868 | 0.00054807
11 | 0.00058497 | 0.00014661
12 | 0.0015899 | 0.00039848
13 | 0.0017676 | 0.00044301
14 | 0.0021428 | 0.00053702
15 | 0.0096116 | 0.0024089
16 | 0.0027105 | 0.00067931
17 | 0.0014386 | 0.00036054
18 | 0.0026734 | 0.00067002
19 | 0.0014653 | 0.00036725
20 | 0.0013671 | 0.00034263
21 | 0.0052916 | 0.0013262
22 | 0.0066728 | 0.0016724
23 | 0.0013636 | 0.00034176
24 | 0.006336 | 0.001588
25 | 0.0033663 | 0.00084368
26 | 0.0017042 | 0.0004271
27 | 0.0027874 | 0.00069859
28 | 0.0017968 | 0.00045033
29 | 0.0042444 | 0.0010637
30 | 0.0017753 | 0.00044494
31 | 0.0038501 | 0.00096493
32 | 0.005906 | 0.0014802
33 | 0.0090978 | 0.0022801
34 | 0.0040665 | 0.0010192
35 | 0.004715 | 0.0011817
36 | 0.0073958 | 0.0018536
37 | 0.0048095 | 0.0012054
38 | 0.0021947 | 0.00055004
39 | 0.0040786 | 0.0010222
40 | 0.0061528 | 0.001542
41 | 0.0064202 | 0.0016091
42 | 0.0040442 | 0.0010136
43 | 0.0016952 | 0.00042485
44 | 0.0012954 | 0.00032466
45 | 0.0014104 | 0.00035349
46 | 0.0014255 | 0.00035726
47 | 0.0052399 | 0.0013132
48 | 0.010126 | 0.0025378
49 | 0.022568 | 0.005656
50 | 0.012628 | 0.0031649
51 | 0.010922 | 0.0027374
52 | 0.022346 | 0.0056003
53 | 0.0034511 | 0.00086493
54 | 0.0084254 | 0.0021116
55 | 0.008216 | 0.0020591
56 | 0.0058548 | 0.0014673
57 | 0.01782 | 0.0044661
58 | 0.0054382 | 0.0013629
59 | 0.0062993 | 0.0015788
60 | 0.019852 | 0.0049755
61 | 0.004973 | 0.0012464
62 | 0.013605 | 0.0034098
63 | 0.019702 | 0.0049379

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1