## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1205-9_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1205-9_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1205-9_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1205-9_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1205-9_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1205-9_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1205-9_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1205-9_0_2_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1205-9_0_2_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_1205-9_0_2_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_1205-9_0_2_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_1205-9_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1205-9_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1205-9_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1205-9_0_2_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_1205-9_0_2_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_1205-9_0_2_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_1205-9_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1205-9_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1205-9_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1205-9_0_2_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_1205-9_0_2_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_1205-9_0_2_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_1205-9_0_2_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_1205-9_0_2_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_1205-9_0_2_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1205-9_0_2_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1205-9_0_2_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1205-9_0_2_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_1205-9_0_2_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_1205-9_0_2_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_1205-9_0_2_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_1205-9_0_2_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_1205-9_0_2_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_1205-9_0_2_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_1205-9_0_2_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_1205-9_0_2_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_1205-9_0_2_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_1205-9_0_2_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_1205-9_0_2_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_1205-9_0_2_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_1205-9_0_2_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_1205-9_0_2_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_1205-9_0_2_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_1205-9_0_2_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_1205-9_0_2_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_1205-9_0_2_node_75 | 0.4 | n |  | TRUE
47 | bus_MV_14_0_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1205-9_0_2_load_0 | 0 | 0.0021553 | 0.00054018 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1205-9_0_2_load_1 | 1 | 0.0027365 | 0.00068583 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1205-9_0_2_load_4 | 3 | 0.00086879 | 0.00021774 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1205-9_0_2_load_5 | 4 | 0.00074698 | 0.00018721 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1205-9_0_2_load_6 | 5 | 0.00054583 | 0.0001368 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1205-9_0_2_load_18 | 7 | 0.0014154 | 0.00035474 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1205-9_0_2_load_17 | 10 | 0.0011632 | 0.00029154 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1205-9_0_2_load_8 | 11 | 0.0048847 | 0.0012242 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1205-9_0_2_load_9 | 12 | 0.0030676 | 0.00076881 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1205-9_0_2_load_45 | 14 | 0.0023442 | 0.00058752 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1205-9_0_2_load_46 | 15 | 0.001852 | 0.00046416 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1205-9_0_2_load_47 | 16 | 0.0025222 | 0.00063213 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1205-9_0_2_load_12 | 18 | 0.0014299 | 0.00035836 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1205-9_0_2_load_13 | 19 | 0.0029464 | 0.00073843 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1205-9_0_2_load_49 | 20 | 0.0025792 | 0.00064641 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1205-9_0_2_load_57 | 22 | 0.017816 | 0.004465 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1205-9_0_2_load_53 | 23 | 0.0051209 | 0.0012834 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1205-9_0_2_load_43 | 24 | 0.00056692 | 0.00014208 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1205-9_0_2_load_44 | 26 | 0.0021457 | 0.00053777 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1205-9_0_2_load_39 | 27 | 0.0075742 | 0.0018983 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1205-9_0_2_load_73 | 29 | 0.00096369 | 0.00024152 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1205-9_0_2_load_62 | 31 | 0.0052384 | 0.0013129 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1205-9_0_2_load_63 | 32 | 0.0058745 | 0.0014723 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1205-9_0_2_load_61 | 33 | 0.0053485 | 0.0013405 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1205-9_0_2_load_74 | 34 | 0.0012278 | 0.0003077 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1205-9_0_2_load_48 | 35 | 0.0066884 | 0.0016763 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1205-9_0_2_load_51 | 36 | 0.003602 | 0.00090273 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1205-9_0_2_load_59 | 37 | 0.0054219 | 0.0013589 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1205-9_0_2_load_52 | 39 | 0.005221 | 0.0013085 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1205-9_0_2_load_54 | 40 | 0.0035418 | 0.00088767 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1205-9_0_2_load_58 | 41 | 0.0058722 | 0.0014717 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1205-9_0_2_load_60 | 42 | 0.0089726 | 0.0022488 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1205-9_0_2_load_83 | 43 | 0.0057388 | 0.0014383 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1205-9_0_2_load_81 | 44 | 0.0053232 | 0.0013341 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1205-9_0_2_load_82 | 45 | 0.0034156 | 0.00085604 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1205-9_0_2_load_75 | 46 | 0.0047587 | 0.0011927 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1205-9_0_2_line_0 |  | 0 | 1 | 0.044379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1205-9_0_2_line_1 |  | 0 | 2 | 0.031438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1205-9_0_2_line_2 |  | 2 | 3 | 0.06732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1205-9_0_2_line_3 |  | 3 | 4 | 0.050446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1205-9_0_2_line_4 |  | 4 | 5 | 0.029785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1205-9_0_2_line_5 |  | 5 | 6 | 0.26387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1205-9_0_2_line_6 |  | 6 | 7 | 0.044097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1205-9_0_2_line_7 |  | 7 | 10 | 0.0042889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1205-9_0_2_line_8 |  | 8 | 9 | 0.1229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1205-9_0_2_line_9 |  | 8 | 10 | 0.2088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1205-9_0_2_line_10 |  | 9 | 24 | 0.021387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1205-9_0_2_line_11 |  | 11 | 12 | 0.048006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1205-9_0_2_line_12 |  | 12 | 13 | 0.033204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1205-9_0_2_line_13 |  | 13 | 17 | 0.10296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1205-9_0_2_line_14 |  | 13 | 18 | 0.053437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1205-9_0_2_line_15 |  | 14 | 15 | 0.016784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1205-9_0_2_line_16 |  | 14 | 16 | 0.03821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1205-9_0_2_line_17 |  | 14 | 17 | 0.14339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1205-9_0_2_line_18 |  | 15 | 35 | 0.033921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1205-9_0_2_line_19 |  | 16 | 20 | 0.0078804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1205-9_0_2_line_20 |  | 17 | 19 | 0.085214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1205-9_0_2_line_21 |  | 20 | 36 | 0.025601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1205-9_0_2_line_22 |  | 21 | 22 | 0.033066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1205-9_0_2_line_23 |  | 21 | 23 | 0.0019189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1205-9_0_2_line_24 |  | 23 | 39 | 0.015281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1205-9_0_2_line_25 |  | 24 | 25 | 0.03064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1205-9_0_2_line_26 |  | 25 | 26 | 0.020815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1205-9_0_2_line_27 |  | 26 | 29 | 0.028416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1205-9_0_2_line_28 |  | 27 | 28 | 0.010589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1205-9_0_2_line_29 |  | 28 | 30 | 0.011109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1205-9_0_2_line_30 |  | 28 | 31 | 0.017947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1205-9_0_2_line_31 |  | 29 | 34 | 0.012885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1205-9_0_2_line_32 |  | 30 | 46 | 0.032785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1205-9_0_2_line_33 |  | 30 | 45 | 0.011341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1205-9_0_2_line_34 |  | 31 | 33 | 0.020035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1205-9_0_2_line_35 |  | 32 | 33 | 0.011366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1205-9_0_2_line_36 |  | 34 | 46 | 0.013938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1205-9_0_2_line_37 |  | 36 | 37 | 0.014283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1205-9_0_2_line_38 |  | 37 | 38 | 0.0044234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1205-9_0_2_line_39 |  | 38 | 41 | 0.026017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1205-9_0_2_line_40 |  | 38 | 42 | 0.017174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1205-9_0_2_line_41 |  | 38 | 40 | 0.026945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1205-9_0_2_line_42 |  | 39 | 40 | 0.00028661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1205-9_0_2_line_43 |  | 41 | 43 | 0.041148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1205-9_0_2_line_44 |  | 42 | 44 | 0.036383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1205-9_0_2_line_45 |  | 44 | 45 | 0.0060627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1205-9_0_2_trafo_47 | 0.63 MVA 20/0.4 kV | 47 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2693371.1652 | 1192998.9234 | 2693377.4677 | 1192998.8305 | 2693399.0234 | 1193000.9905 | 2693414.9027 | 1193005.1383
1 | 2693339.7309 | 1192999.3866 | 2693371.1652 | 1192998.9234
2 | 2693339.7309 | 1192999.3866 | 2693338.1335 | 1192994.2806 | 2693343.363 | 1192989.4035 | 2693340.5986 | 1192985.3133 | 2693345.0774 | 1192981.1582 | 2693344.5334 | 1192970.5873 | 2693344.0054 | 1192959.483 | 2693347.8222 | 1192952.3157 | 2693350.5135 | 1192938.6266 | 2693350.5135 | 1192938.6266
3 | 2693317.2 | 1192901.2351 | 2693326.7437 | 1192910.7712 | 2693337.6156 | 1192927.3292 | 2693350.5135 | 1192938.6266
4 | 2693317.2 | 1192901.2351 | 2693312.3088 | 1192896.3479 | 2693298.1041 | 1192886.7091 | 2693293.3674 | 1192883.5301
5 | 2693249.3657 | 1192726.4126 | 2693234.284 | 1192741.6986 | 2693222.5677 | 1192745.0404 | 2693227.9875 | 1192748.9941 | 2693208.2639 | 1192755.9135 | 2693208.9013 | 1192760.5042 | 2693200.5793 | 1192761.7754 | 2693203.8423 | 1192767.6411 | 2693194.1238 | 1192768.0233 | 2693198.6217 | 1192773.8972 | 2693186.1878 | 1192778.2842 | 2693187.6578 | 1192785.7119 | 2693193.5569 | 1192792.6638 | 2693229.709 | 1192820.0001 | 2693244.1275 | 1192835.5014 | 2693257.3154 | 1192851.2059 | 2693269.7923 | 1192866.5436 | 2693283.0603 | 1192876.6125 | 2693293.3674 | 1192883.5301
6 | 2693249.3657 | 1192726.4126 | 2693265.6554 | 1192727.0446 | 2693277.2536 | 1192730.3052 | 2693285.8822 | 1192730.3953 | 2693290.4426 | 1192724.9296 | 2693290.4426 | 1192724.9296
7 | 2693288.5409 | 1192721.0853 | 2693290.4426 | 1192724.9296
8 | 2693355.648 | 1192477.3309 | 2693354.9819 | 1192489.7174 | 2693351.1625 | 1192517.5425 | 2693350.4771 | 1192523.3577 | 2693370.7426 | 1192535.504 | 2693390.6541 | 1192541.0293 | 2693404.1223 | 1192557.3501 | 2693410.7317 | 1192556.4082 | 2693414.8806 | 1192554.8497
9 | 2693414.8806 | 1192554.8497 | 2693288.5409 | 1192721.0853
10 | 2693355.648 | 1192477.3309 | 2693365.3518 | 1192471.5674 | 2693370.6247 | 1192465.9016 | 2693371.5728 | 1192463.7399
11 | 2693161.0079 | 1192612.9461 | 2693158.9725 | 1192605.4378 | 2693156.6721 | 1192601.8885 | 2693148.7448 | 1192598.8521 | 2693121.2805 | 1192597.2931
12 | 2693092.4283 | 1192586.5345 | 2693094.8536 | 1192592.3538 | 2693105.4611 | 1192594.1422 | 2693120.1347 | 1192597.228 | 2693121.2805 | 1192597.2931
13 | 2693176.2036 | 1192557.8975 | 2693180.1251 | 1192566.5308 | 2693178.0604 | 1192569.8675 | 2693174.7761 | 1192572.2068 | 2693165.4661 | 1192572.7733 | 2693152.6697 | 1192570.5505 | 2693143.7061 | 1192570.4109 | 2693108.5595 | 1192577.7798 | 2693098.1044 | 1192581.8754 | 2693092.4283 | 1192586.5345
14 | 2693092.4283 | 1192586.5345 | 2693087.1693 | 1192590.8444 | 2693064.6548 | 1192611.0072 | 2693051.4745 | 1192620.7911
15 | 2693272.2755 | 1192451.4455 | 2693274.7518 | 1192453.2095 | 2693286.673 | 1192460.0479
16 | 2693272.2755 | 1192451.4455 | 2693260.199 | 1192442.8427 | 2693247.5642 | 1192428.7701 | 2693245.2615 | 1192424.9386
17 | 2693272.2755 | 1192451.4455 | 2693176.2036 | 1192557.8975
18 | 2693286.673 | 1192460.0479 | 2693291.3685 | 1192462.7414 | 2693317.505 | 1192474.1237
19 | 2693245.2615 | 1192424.9386 | 2693241.2023 | 1192418.1841
20 | 2693176.2036 | 1192557.8975 | 2693170.9898 | 1192557.8386 | 2693155.7607 | 1192555.1664 | 2693138.0931 | 1192551.4335 | 2693094.1321 | 1192536.3397
21 | 2693228.3 | 1192396.0738 | 2693234.8566 | 1192407.6251 | 2693241.2023 | 1192418.1841
22 | 2693188.1174 | 1192348.6258 | 2693196.8874 | 1192328.4271 | 2693199.1611 | 1192317.6179
23 | 2693188.1174 | 1192348.6258 | 2693189.6842 | 1192349.7336
24 | 2693201.8911 | 1192358.8687 | 2693200.4019 | 1192357.3116 | 2693189.6842 | 1192349.7336
25 | 2693373.9928 | 1192433.7779 | 2693375.5601 | 1192446.1992 | 2693373.6762 | 1192458.9447 | 2693371.5728 | 1192463.7399
26 | 2693373.9928 | 1192433.7779 | 2693353.2393 | 1192432.1807
27 | 2693353.2393 | 1192432.1807 | 2693349.526 | 1192431.895 | 2693325.4098 | 1192426.5932
28 | 2693294.38 | 1192384.0486 | 2693303.0952 | 1192390.0636
29 | 2693294.38 | 1192384.0486 | 2693288.3242 | 1192389.5689 | 2693285.5713 | 1192390.5822
30 | 2693294.38 | 1192384.0486 | 2693296.7386 | 1192374.1012 | 2693296.7212 | 1192366.3778
31 | 2693325.4098 | 1192426.5932 | 2693325.4098 | 1192426.5932 | 2693313.6772 | 1192421.2665
32 | 2693285.5713 | 1192390.5822 | 2693287.3966 | 1192407.4882 | 2693300.4802 | 1192415.275 | 2693300.9855 | 1192415.5044
33 | 2693285.5713 | 1192390.5822 | 2693274.9352 | 1192394.519
34 | 2693292.4823 | 1192346.8894 | 2693296.7136 | 1192362.9936 | 2693296.7212 | 1192366.3778
35 | 2693292.4823 | 1192346.8894 | 2693289.6678 | 1192336.1776 | 2693289.6918 | 1192335.8883
36 | 2693300.9855 | 1192415.5044 | 2693313.6772 | 1192421.2665
37 | 2693228.3 | 1192396.0738 | 2693221.2496 | 1192383.6526
38 | 2693219.066 | 1192379.8057 | 2693221.2496 | 1192383.6526
39 | 2693219.066 | 1192379.8057 | 2693225.7541 | 1192371.3822 | 2693225.4203 | 1192366.3849 | 2693223.9179 | 1192358.1006 | 2693224.209 | 1192356.2903
40 | 2693219.066 | 1192379.8057 | 2693232.4985 | 1192378.9143 | 2693235.7807 | 1192380.6476
41 | 2693219.066 | 1192379.8057 | 2693214.2505 | 1192371.7921 | 2693202.0892 | 1192359.0758
42 | 2693201.8911 | 1192358.8687 | 2693202.0892 | 1192359.0758
43 | 2693229.1637 | 1192316.4999 | 2693230.6526 | 1192339.3489 | 2693224.9309 | 1192351.8012 | 2693224.209 | 1192356.2903
44 | 2693268.879 | 1192394.2386 | 2693260.8102 | 1192393.8651 | 2693235.7807 | 1192380.6476
45 | 2693268.879 | 1192394.2386 | 2693274.9352 | 1192394.519

## bus_geodata
| x | y | coords
0 | 2693371.1652 | 1192998.9234
1 | 2693414.9027 | 1193005.1383
2 | 2693339.7309 | 1192999.3866
3 | 2693350.5135 | 1192938.6266
4 | 2693317.2 | 1192901.2351
5 | 2693293.3674 | 1192883.5301
6 | 2693249.3657 | 1192726.4126
7 | 2693290.4426 | 1192724.9296
8 | 2693414.8806 | 1192554.8497
9 | 2693355.648 | 1192477.3309
10 | 2693288.5409 | 1192721.0853
11 | 2693161.0079 | 1192612.9461
12 | 2693121.2805 | 1192597.2931
13 | 2693092.4283 | 1192586.5345
14 | 2693272.2755 | 1192451.4455
15 | 2693286.673 | 1192460.0479
16 | 2693245.2615 | 1192424.9386
17 | 2693176.2036 | 1192557.8975
18 | 2693051.4745 | 1192620.7911
19 | 2693094.1321 | 1192536.3397
20 | 2693241.2023 | 1192418.1841
21 | 2693188.1174 | 1192348.6258
22 | 2693199.1611 | 1192317.6179
23 | 2693189.6842 | 1192349.7336
24 | 2693371.5728 | 1192463.7399
25 | 2693373.9928 | 1192433.7779
26 | 2693353.2393 | 1192432.1807
27 | 2693303.0952 | 1192390.0636
28 | 2693294.38 | 1192384.0486
29 | 2693325.4098 | 1192426.5932
30 | 2693285.5713 | 1192390.5822
31 | 2693296.7212 | 1192366.3778
32 | 2693289.6918 | 1192335.8883
33 | 2693292.4823 | 1192346.8894
34 | 2693313.6772 | 1192421.2665
35 | 2693317.505 | 1192474.1237
36 | 2693228.3 | 1192396.0738
37 | 2693221.2496 | 1192383.6526
38 | 2693219.066 | 1192379.8057
39 | 2693201.8911 | 1192358.8687
40 | 2693202.0892 | 1192359.0758
41 | 2693224.209 | 1192356.2903
42 | 2693235.7807 | 1192380.6476
43 | 2693229.1637 | 1192316.4999
44 | 2693268.879 | 1192394.2386
45 | 2693274.9352 | 1192394.519
46 | 2693300.9855 | 1192415.5044
47 | 2693219.066 | 1192379.8057

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98346 | -0.31979 | 0.0021553 | 0.00054018
1 | 0.98335 | -0.32198 | 0.0027365 | 0.00068583
2 | 0.9836 | -0.31702 | 0 | 0
3 | 0.9839 | -0.31109 | 0.00086879 | 0.00021774
4 | 0.98417 | -0.30585 | 0.00074698 | 0.00018721
5 | 0.98435 | -0.30236 | 0.00054583 | 0.0001368
6 | 0.98607 | -0.26888 | 0 | 0
7 | 0.98635 | -0.2633 | 0.0014154 | 0.00035474
8 | 0.98824 | -0.22661 | 0 | 0
9 | 0.98933 | -0.20545 | 0 | 0
10 | 0.98639 | -0.26265 | 0.0011632 | 0.00029154
11 | 0.99625 | -0.072126 | 0.0048847 | 0.0012242
12 | 0.99647 | -0.068008 | 0.0030676 | 0.00076881
13 | 0.99671 | -0.063373 | 0 | 0
14 | 0.99919 | -0.015484 | 0.0023442 | 0.00058752
15 | 0.99906 | -0.017987 | 0.001852 | 0.00046416
16 | 1 | 0 | -0.14171 | -0.035426
17 | 0.99759 | -0.046429 | 0 | 0
18 | 0.99664 | -0.064715 | 0.0014299 | 0.00035836
19 | 0.99736 | -0.050829 | 0.0029464 | 0.00073843
20 | 0.99916 | -0.015946 | 0.0025792 | 0.00064641
21 | 0.99352 | -0.12447 | 0 | 0
22 | 0.99298 | -0.13488 | 0.017816 | 0.004465
23 | 0.99355 | -0.12387 | 0.0051209 | 0.0012834
24 | 0.98952 | -0.20177 | 0.00056692 | 0.00014208
25 | 0.98981 | -0.19619 | 0 | 0
26 | 0.99 | -0.1924 | 0.0021457 | 0.00053777
27 | 0.99093 | -0.1744 | 0.0075742 | 0.0018983
28 | 0.991 | -0.17298 | 0 | 0
29 | 0.99032 | -0.18615 | 0.00096369 | 0.00024152
30 | 0.99125 | -0.16824 | 0 | 0
31 | 0.99073 | -0.17823 | 0.0052384 | 0.0013129
32 | 0.99047 | -0.18341 | 0.0058745 | 0.0014723
33 | 0.99053 | -0.18222 | 0.0053485 | 0.0013405
34 | 0.99048 | -0.1831 | 0.0012278 | 0.0003077
35 | 0.99886 | -0.02195 | 0.0066884 | 0.0016763
36 | 0.99651 | -0.066776 | 0.003602 | 0.00090273
37 | 0.99508 | -0.094345 | 0.0054219 | 0.0013589
38 | 0.99465 | -0.10248 | 0 | 0
39 | 0.99387 | -0.11768 | 0.005221 | 0.0013085
40 | 0.99387 | -0.11754 | 0.0035418 | 0.00088767
41 | 0.99438 | -0.1078 | 0.0058722 | 0.0014717
42 | 0.99369 | -0.12098 | 0.0089726 | 0.0022488
43 | 0.99416 | -0.11197 | 0.0057388 | 0.0014383
44 | 0.99196 | -0.1545 | 0.0053232 | 0.0013341
45 | 0.9917 | -0.15952 | 0.0034156 | 0.00085604
46 | 0.99067 | -0.17949 | 0.0047587 | 0.0011927
47 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0027368 | 0.00068545 | -0.0027365 | -0.00068583 | 2.8535e-07 | -3.8043e-07 | 0.0041407 | 0.0041409 | 0.0041409 | 0.98346 | -0.31979 | 0.98335 | -0.32198 | 1.1376
1 | -0.0048921 | -0.0012256 | 0.0048928 | 0.0012256 | 6.4588e-07 | 1.4396e-08 | 0.0074018 | 0.0074017 | 0.0074018 | 0.98346 | -0.31979 | 0.9836 | -0.31702 | 2.0335
2 | -0.0048928 | -0.0012256 | 0.0048941 | 0.0012257 | 1.383e-06 | 3.0387e-08 | 0.0074017 | 0.0074014 | 0.0074017 | 0.9836 | -0.31702 | 0.9839 | -0.31109 | 2.0334
3 | -0.0057629 | -0.0014434 | 0.0057644 | 0.0014437 | 1.4368e-06 | 2.7872e-07 | 0.0087153 | 0.0087151 | 0.0087153 | 0.9839 | -0.31109 | 0.98417 | -0.30585 | 2.3943
4 | -0.0065113 | -0.0016309 | 0.0065124 | 0.0016312 | 1.0825e-06 | 3.1421e-07 | 0.0098445 | 0.0098443 | 0.0098445 | 0.98417 | -0.30585 | 0.98435 | -0.30236 | 2.7045
5 | -0.0070583 | -0.001768 | 0.0070695 | 0.0017719 | 1.1263e-05 | 3.8483e-06 | 0.010669 | 0.010668 | 0.010669 | 0.98435 | -0.30236 | 0.98607 | -0.26888 | 2.9312
6 | -0.0070695 | -0.0017719 | 0.0070714 | 0.0017725 | 1.882e-06 | 6.418e-07 | 0.010668 | 0.010668 | 0.010668 | 0.98607 | -0.26888 | 0.98635 | -0.2633 | 2.9308
7 | -0.0084868 | -0.0021272 | 0.0084871 | 0.0021274 | 2.6365e-07 | 1.1399e-07 | 0.012803 | 0.012803 | 0.012803 | 0.98635 | -0.2633 | 0.98639 | -0.26265 | 3.5174
8 | -0.0096669 | -0.0024268 | 0.0096767 | 0.0024315 | 9.7665e-06 | 4.6741e-06 | 0.014557 | 0.014557 | 0.014557 | 0.98824 | -0.22661 | 0.98933 | -0.20545 | 3.9992
9 | 0.0096669 | 0.0024268 | -0.0096503 | -0.0024189 | 1.6594e-05 | 7.9497e-06 | 0.014557 | 0.014558 | 0.014558 | 0.98824 | -0.22661 | 0.98639 | -0.26265 | 3.9995
10 | -0.0096767 | -0.0024315 | 0.0096784 | 0.0024323 | 1.6994e-06 | 8.1294e-07 | 0.014557 | 0.014557 | 0.014557 | 0.98933 | -0.20545 | 0.98952 | -0.20177 | 3.9991
11 | -0.0048847 | -0.0012242 | 0.0048856 | 0.0012242 | 9.5822e-07 | -1.1971e-08 | 0.0072958 | 0.0072956 | 0.0072958 | 0.99625 | -0.072126 | 0.99647 | -0.068008 | 2.0043
12 | -0.0079532 | -0.001993 | 0.007955 | 0.0019937 | 1.7562e-06 | 6.9136e-07 | 0.011876 | 0.011876 | 0.011876 | 0.99647 | -0.068008 | 0.99671 | -0.063373 | 3.2628
13 | -0.009385 | -0.0023514 | 0.0093926 | 0.0023549 | 7.5791e-06 | 3.5076e-06 | 0.014011 | 0.01401 | 0.014011 | 0.99671 | -0.063373 | 0.99759 | -0.046429 | 3.8491
14 | 0.00143 | 0.00035772 | -0.0014299 | -0.00035836 | 9.132e-08 | -6.3796e-07 | 0.0021346 | 0.0021349 | 0.0021349 | 0.99671 | -0.063373 | 0.99664 | -0.064715 | 0.5865
15 | 0.0085427 | 0.0021412 | -0.0085416 | -0.0021408 | 1.0187e-06 | 4.3214e-07 | 0.012722 | 0.012722 | 0.012722 | 0.99919 | -0.015484 | 0.99906 | -0.017987 | 3.4951
16 | -0.023245 | -0.0058312 | 0.023262 | 0.0058417 | 1.7172e-05 | 1.0489e-05 | 0.034618 | 0.034618 | 0.034618 | 0.99919 | -0.015484 | 1 | 0 | 9.5105
17 | 0.012358 | 0.0031024 | -0.01234 | -0.0030927 | 1.8216e-05 | 9.7833e-06 | 0.018405 | 0.018406 | 0.018406 | 0.99919 | -0.015484 | 0.99759 | -0.046429 | 5.0566
18 | 0.0066896 | 0.0016766 | -0.0066884 | -0.0016763 | 1.2628e-06 | 3.641e-07 | 0.0099636 | 0.0099638 | 0.0099638 | 0.99906 | -0.017987 | 0.99886 | -0.02195 | 2.7373
19 | 0.1168 | 0.029585 | -0.11671 | -0.029528 | 8.9379e-05 | 5.7099e-05 | 0.17391 | 0.17391 | 0.17391 | 1 | 0 | 0.99916 | -0.015946 | 47.7779
20 | 0.002947 | 0.00073771 | -0.0029464 | -0.00073843 | 6.1743e-07 | -7.1714e-07 | 0.0043955 | 0.0043958 | 0.0043958 | 0.99759 | -0.046429 | 0.99736 | -0.050829 | 1.2077
21 | 0.11413 | 0.028881 | -0.11385 | -0.028704 | 0.00027768 | 0.00017738 | 0.17007 | 0.17007 | 0.17007 | 0.99916 | -0.015946 | 0.99651 | -0.066776 | 46.7226
22 | 0.017825 | 0.0044703 | -0.017816 | -0.004465 | 8.838e-06 | 5.2284e-06 | 0.026697 | 0.026698 | 0.026698 | 0.99352 | -0.12447 | 0.99298 | -0.13488 | 7.3345
23 | -0.017825 | -0.0044703 | 0.017825 | 0.0044706 | 5.1288e-07 | 3.0339e-07 | 0.026697 | 0.026697 | 0.026697 | 0.99352 | -0.12447 | 0.99355 | -0.12387 | 7.3344
24 | -0.022946 | -0.005754 | 0.022953 | 0.0057581 | 6.7679e-06 | 4.1335e-06 | 0.034367 | 0.034367 | 0.034367 | 0.99355 | -0.12387 | 0.99387 | -0.11768 | 9.4414
25 | -0.010245 | -0.0025744 | 0.010248 | 0.0025758 | 2.7282e-06 | 1.3523e-06 | 0.015409 | 0.015409 | 0.015409 | 0.98952 | -0.20177 | 0.98981 | -0.19619 | 4.2333
26 | -0.010248 | -0.0025758 | 0.01025 | 0.0025767 | 1.8533e-06 | 9.1853e-07 | 0.015409 | 0.015409 | 0.015409 | 0.98981 | -0.19619 | 0.99 | -0.1924 | 4.2332
27 | -0.012396 | -0.0031145 | 0.012399 | 0.0031165 | 3.7e-06 | 2.0025e-06 | 0.018634 | 0.018634 | 0.018634 | 0.99 | -0.1924 | 0.99032 | -0.18615 | 5.1192
28 | -0.0075742 | -0.0018983 | 0.0075747 | 0.0018985 | 5.1369e-07 | 1.9234e-07 | 0.011374 | 0.011374 | 0.011374 | 0.99093 | -0.1744 | 0.991 | -0.17298 | 3.1247
29 | -0.024043 | -0.0060276 | 0.024048 | 0.006031 | 5.4294e-06 | 3.3316e-06 | 0.036101 | 0.036101 | 0.036101 | 0.991 | -0.17298 | 0.99125 | -0.16824 | 9.9179
30 | 0.016468 | 0.0041292 | -0.016464 | -0.0041268 | 4.1151e-06 | 2.4025e-06 | 0.024728 | 0.024728 | 0.024728 | 0.991 | -0.17298 | 0.99073 | -0.17823 | 6.7933
31 | -0.013363 | -0.003358 | 0.013365 | 0.0033591 | 1.9486e-06 | 1.0813e-06 | 0.020082 | 0.020082 | 0.020082 | 0.99032 | -0.18615 | 0.99048 | -0.1831 | 5.517
32 | 0.019364 | 0.0048671 | -0.019354 | -0.0048608 | 1.0392e-05 | 6.2287e-06 | 0.029074 | 0.029074 | 0.029074 | 0.99125 | -0.16824 | 0.99067 | -0.17949 | 7.9874
33 | -0.043412 | -0.010898 | 0.043431 | 0.010909 | 1.8066e-05 | 1.1416e-05 | 0.065175 | 0.065175 | 0.065175 | 0.99125 | -0.16824 | 0.9917 | -0.15952 | 17.9052
34 | 0.011225 | 0.0028139 | -0.011223 | -0.0028128 | 2.1357e-06 | 1.1089e-06 | 0.01686 | 0.01686 | 0.01686 | 0.99073 | -0.17823 | 0.99053 | -0.18222 | 4.6319
35 | -0.0058745 | -0.0014723 | 0.0058748 | 0.0014723 | 3.3197e-07 | 6.6171e-08 | 0.0088254 | 0.0088254 | 0.0088254 | 0.99047 | -0.18341 | 0.99053 | -0.18222 | 2.4246
36 | -0.014593 | -0.0036668 | 0.014595 | 0.0036682 | 2.5129e-06 | 1.4288e-06 | 0.021926 | 0.021926 | 0.021926 | 0.99048 | -0.1831 | 0.99067 | -0.17949 | 6.0237
37 | 0.11025 | 0.027801 | -0.11011 | -0.027708 | 0.00014527 | 9.2789e-05 | 0.16469 | 0.16469 | 0.16469 | 0.99651 | -0.066776 | 0.99508 | -0.094345 | 45.245
38 | 0.10469 | 0.026349 | -0.10464 | -0.026323 | 4.0671e-05 | 2.5972e-05 | 0.15658 | 0.15658 | 0.15658 | 0.99508 | -0.094345 | 0.99465 | -0.10248 | 43.0176
39 | 0.011615 | 0.0029117 | -0.011612 | -0.0029102 | 2.9459e-06 | 1.5478e-06 | 0.017377 | 0.017377 | 0.017377 | 0.99465 | -0.10248 | 0.99438 | -0.1078 | 4.7738
40 | 0.061291 | 0.015443 | -0.061237 | -0.015409 | 5.418e-05 | 3.4452e-05 | 0.091721 | 0.091721 | 0.091721 | 0.99465 | -0.10248 | 0.99369 | -0.12098 | 25.1981
41 | 0.031739 | 0.0079687 | -0.031716 | -0.0079544 | 2.2785e-05 | 1.4233e-05 | 0.047486 | 0.047487 | 0.047487 | 0.99465 | -0.10248 | 0.99387 | -0.11754 | 13.0457
42 | -0.028174 | -0.0070666 | 0.028174 | 0.0070668 | 1.9126e-07 | 1.1869e-07 | 0.042184 | 0.042184 | 0.042184 | 0.99387 | -0.11768 | 0.99387 | -0.11754 | 11.5889
43 | 0.00574 | 0.0014385 | -0.0057388 | -0.0014383 | 1.1385e-06 | 1.9495e-07 | 0.0085894 | 0.0085896 | 0.0085896 | 0.99438 | -0.1078 | 0.99416 | -0.11197 | 2.3598
44 | 0.052264 | 0.01316 | -0.052181 | -0.013107 | 8.3615e-05 | 5.3043e-05 | 0.078285 | 0.078285 | 0.078285 | 0.99369 | -0.12098 | 0.99196 | -0.1545 | 21.5069
45 | 0.046857 | 0.011773 | -0.046846 | -0.011766 | 1.1236e-05 | 7.1127e-06 | 0.0703 | 0.0703 | 0.0703 | 0.99196 | -0.1545 | 0.9917 | -0.15952 | 19.3132

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.14423 | 0.036059

## res_load
| p_mw | q_mvar
0 | 0.0021553 | 0.00054018
1 | 0.0027365 | 0.00068583
2 | 0.00086879 | 0.00021774
3 | 0.00074698 | 0.00018721
4 | 0.00054583 | 0.0001368
5 | 0.0014154 | 0.00035474
6 | 0.0011632 | 0.00029154
7 | 0.0048847 | 0.0012242
8 | 0.0030676 | 0.00076881
9 | 0.0023442 | 0.00058752
10 | 0.001852 | 0.00046416
11 | 0.0025222 | 0.00063213
12 | 0.0014299 | 0.00035836
13 | 0.0029464 | 0.00073843
14 | 0.0025792 | 0.00064641
15 | 0.017816 | 0.004465
16 | 0.0051209 | 0.0012834
17 | 0.00056692 | 0.00014208
18 | 0.0021457 | 0.00053777
19 | 0.0075742 | 0.0018983
20 | 0.00096369 | 0.00024152
21 | 0.0052384 | 0.0013129
22 | 0.0058745 | 0.0014723
23 | 0.0053485 | 0.0013405
24 | 0.0012278 | 0.0003077
25 | 0.0066884 | 0.0016763
26 | 0.003602 | 0.00090273
27 | 0.0054219 | 0.0013589
28 | 0.005221 | 0.0013085
29 | 0.0035418 | 0.00088767
30 | 0.0058722 | 0.0014717
31 | 0.0089726 | 0.0022488
32 | 0.0057388 | 0.0014383
33 | 0.0053232 | 0.0013341
34 | 0.0034156 | 0.00085604
35 | 0.0047587 | 0.0011927

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1