## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1207-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1207-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1207-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1207-3_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1207-3_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1207-3_0_5_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_1207-3_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1207-3_0_5_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_1207-3_0_5_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1207-3_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1207-3_0_5_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_1207-3_0_5_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1207-3_0_5_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_1207-3_0_5_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1207-3_0_5_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_1207-3_0_5_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_1207-3_0_5_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_1207-3_0_5_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1207-3_0_5_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1207-3_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1207-3_0_5_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_1207-3_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1207-3_0_5_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_1207-3_0_5_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1207-3_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1207-3_0_5_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1207-3_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1207-3_0_5_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1207-3_0_5_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_1207-3_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1207-3_0_5_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1207-3_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1207-3_0_5_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_1207-3_0_5_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_1207-3_0_5_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1207-3_0_5_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1207-3_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1207-3_0_5_node_42 | 0.4 | n |  | TRUE
38 | bus_MV_12_0_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1207-3_0_5_load_0 | 0 | 0.0014269 | 0.00035761 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1207-3_0_5_load_1 | 1 | 0.0018268 | 0.00045783 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1207-3_0_5_load_2 | 2 | 0.0011015 | 0.00027607 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1207-3_0_5_load_3 | 3 | 0.0010117 | 0.00025355 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1207-3_0_5_load_4 | 4 | 0.0028622 | 0.00071733 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1207-3_0_5_load_5 | 6 | 0.015255 | 0.0038233 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1207-3_0_5_load_29 | 7 | 0.0037449 | 0.00093857 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1207-3_0_5_load_27 | 11 | 0.00089646 | 0.00022467 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1207-3_0_5_load_16 | 12 | 0.0010355 | 0.00025952 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1207-3_0_5_load_19 | 14 | 0.089541 | 0.022441 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1207-3_0_5_load_40 | 15 | 0.011902 | 0.0029829 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1207-3_0_5_load_25 | 16 | 0.00065685 | 0.00016462 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1207-3_0_5_load_7 | 17 | 0.059298 | 0.014861 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1207-3_0_5_load_22 | 20 | 0.00050863 | 0.00012747 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1207-3_0_5_load_34 | 23 | 0.0015957 | 0.00039991 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1207-3_0_5_load_12 | 24 | 0.040107 | 0.010052 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1207-3_0_5_load_13 | 25 | 0.017376 | 0.0043548 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1207-3_0_5_load_15 | 26 | 0.0014188 | 0.00035558 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1207-3_0_5_load_41 | 28 | 0.0020204 | 0.00050636 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1207-3_0_5_load_24 | 29 | 0.001184 | 0.00029675 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1207-3_0_5_load_26 | 30 | 0.0011269 | 0.00028243 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1207-3_0_5_load_28 | 31 | 0.00063728 | 0.00015972 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1207-3_0_5_load_36 | 33 | 0.0078421 | 0.0019654 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1207-3_0_5_load_31 | 34 | 0.001393 | 0.00034913 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1207-3_0_5_load_42 | 37 | 0.0019263 | 0.00048277 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1207-3_0_5_line_0 |  | 0 | 1 | 0.021374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1207-3_0_5_line_1 |  | 0 | 2 | 0.020684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1207-3_0_5_line_2 |  | 1 | 3 | 0.021262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1207-3_0_5_line_3 |  | 2 | 4 | 0.022572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1207-3_0_5_line_4 |  | 3 | 5 | 0.021182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1207-3_0_5_line_5 |  | 4 | 6 | 0.079713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1207-3_0_5_line_6 |  | 5 | 7 | 0.017308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1207-3_0_5_line_7 |  | 5 | 8 | 0.064728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1207-3_0_5_line_8 |  | 6 | 9 | 0.0050804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1207-3_0_5_line_9 |  | 7 | 27 | 0.041757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1207-3_0_5_line_10 |  | 8 | 12 | 0.022088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1207-3_0_5_line_11 |  | 9 | 10 | 0.069411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1207-3_0_5_line_12 |  | 9 | 11 | 0.021805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1207-3_0_5_line_13 |  | 10 | 13 | 0.017366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1207-3_0_5_line_14 |  | 10 | 14 | 0.045789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1207-3_0_5_line_15 |  | 11 | 16 | 0.014588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1207-3_0_5_line_16 |  | 12 | 26 | 0.027958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1207-3_0_5_line_17 |  | 13 | 15 | 0.019142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1207-3_0_5_line_18 |  | 14 | 19 | 0.024241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1207-3_0_5_line_19 |  | 15 | 28 | 0.019182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1207-3_0_5_line_20 |  | 16 | 29 | 0.012739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1207-3_0_5_line_21 |  | 17 | 18 | 0.049966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1207-3_0_5_line_22 |  | 18 | 19 | 0.020525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1207-3_0_5_line_23 |  | 19 | 20 | 0.015151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1207-3_0_5_line_24 |  | 20 | 22 | 0.015414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1207-3_0_5_line_25 |  | 21 | 22 | 0.053998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1207-3_0_5_line_26 |  | 21 | 23 | 0.0094636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1207-3_0_5_line_27 |  | 24 | 25 | 0.095145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1207-3_0_5_line_28 |  | 25 | 26 | 0.039088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1207-3_0_5_line_29 |  | 27 | 34 | 0.073577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1207-3_0_5_line_30 |  | 29 | 30 | 0.0062423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1207-3_0_5_line_31 |  | 30 | 31 | 0.023262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1207-3_0_5_line_32 |  | 31 | 32 | 0.024259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1207-3_0_5_line_33 |  | 32 | 33 | 0.039816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1207-3_0_5_line_34 |  | 34 | 35 | 0.059068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1207-3_0_5_line_35 |  | 35 | 36 | 0.059078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1207-3_0_5_line_36 |  | 36 | 37 | 0.018204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1207-3_0_5_trafo_20 | 0.63 MVA 20/0.4 kV | 38 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2690278.3869 | 1194649.377 | 2690292.5094 | 1194665.4209
1 | 2690278.3869 | 1194649.377 | 2690264.7204 | 1194633.8512
2 | 2690306.5576 | 1194681.3804 | 2690292.5094 | 1194665.4209
3 | 2690249.8064 | 1194616.9082 | 2690264.7204 | 1194633.8512
4 | 2690320.0691 | 1194697.6582 | 2690317.0784 | 1194693.3325 | 2690306.5576 | 1194681.3804
5 | 2690249.8064 | 1194616.9082 | 2690235.7758 | 1194600.9687 | 2690226.1952 | 1194588.3939 | 2690219.4232 | 1194575.5503 | 2690217.1197 | 1194565.0644 | 2690217.1545 | 1194555.6922 | 2690218.6911 | 1194547.7992 | 2690218.6911 | 1194547.7992
6 | 2690320.0691 | 1194697.6582 | 2690337.3137 | 1194699.1321
7 | 2690332.4421 | 1194756.9164 | 2690331.9498 | 1194742.5887 | 2690330.0781 | 1194731.2865 | 2690323.4145 | 1194713.8191 | 2690315.9797 | 1194700.4761 | 2690320.0691 | 1194697.6582
8 | 2690214.0977 | 1194545.6286 | 2690218.6911 | 1194547.7992
9 | 2690378.9102 | 1194702.7946 | 2690376.6648 | 1194702.605 | 2690347.8807 | 1194700.0353 | 2690337.3137 | 1194699.1321
10 | 2690332.4421 | 1194756.9164 | 2690315.2857 | 1194746.4173 | 2690313.5951 | 1194745.3981
11 | 2690214.0977 | 1194545.6286 | 2690208.5131 | 1194542.9871 | 2690203.7678 | 1194547.852 | 2690197.8079 | 1194551.8981 | 2690184.9433 | 1194556.4404 | 2690160.6056 | 1194550.0695 | 2690150.3498 | 1194547.3799
12 | 2690214.0977 | 1194545.6286 | 2690221.8669 | 1194525.2545
13 | 2690135.2382 | 1194546.2737 | 2690149.4426 | 1194549.9234 | 2690150.3498 | 1194547.3799
14 | 2690150.3498 | 1194547.3799 | 2690152.4501 | 1194542.0303 | 2690167.0786 | 1194504.7558
15 | 2690227.0645 | 1194511.6242 | 2690221.8669 | 1194525.2545
16 | 2690289.6512 | 1194730.9639 | 2690313.5951 | 1194745.3981
17 | 2690135.2382 | 1194546.2737 | 2690136.1109 | 1194565.3955
18 | 2690175.9345 | 1194482.1903 | 2690167.0786 | 1194504.7558
19 | 2690136.9855 | 1194584.5579 | 2690136.1109 | 1194565.3955
20 | 2690227.0645 | 1194511.6242 | 2690231.6035 | 1194499.7212
21 | 2690157.0736 | 1194473.9675 | 2690143.4674 | 1194468.0365 | 2690129.6581 | 1194500.3307
22 | 2690175.9345 | 1194482.1903 | 2690157.0736 | 1194473.9675
23 | 2690175.9345 | 1194482.1903 | 2690184.9216 | 1194469.9928
24 | 2690199.6761 | 1194470.4963 | 2690185.7459 | 1194468.8742 | 2690184.9216 | 1194469.9928
25 | 2690220.3285 | 1194420.598 | 2690210.0694 | 1194444.3807 | 2690199.6761 | 1194470.4963
26 | 2690220.3285 | 1194420.598 | 2690229.0665 | 1194424.2322
27 | 2690251.1873 | 1194729.1817 | 2690207.5929 | 1194729.7485 | 2690163.8319 | 1194732.8463 | 2690156.1906 | 1194733.576
28 | 2690251.1873 | 1194729.1817 | 2690285.9451 | 1194728.7298 | 2690289.6512 | 1194730.9639
29 | 2690378.9102 | 1194702.7946 | 2690380.8839 | 1194702.8022 | 2690389.9992 | 1194702.7732 | 2690401.1999 | 1194698.8955 | 2690408.7804 | 1194692.506 | 2690418.877 | 1194677.9826 | 2690423.849 | 1194672.7433 | 2690436.3676 | 1194663.0878
30 | 2690233.8276 | 1194493.8886 | 2690231.6035 | 1194499.7212
31 | 2690233.8276 | 1194493.8886 | 2690242.1157 | 1194472.1537
32 | 2690250.7593 | 1194449.4865 | 2690242.1157 | 1194472.1537
33 | 2690250.7593 | 1194449.4865 | 2690271.248 | 1194461.4478 | 2690284.5407 | 1194470.5157
34 | 2690484.125 | 1194628.9043 | 2690478.3359 | 1194630.7179 | 2690436.3676 | 1194663.0878
35 | 2690469.5497 | 1194680.0055 | 2690484.3378 | 1194646.0629 | 2690486.1348 | 1194642.1431 | 2690480.3265 | 1194639.6871 | 2690480.6503 | 1194638.9359 | 2690482.3837 | 1194634.1813 | 2690484.125 | 1194628.9043
36 | 2690469.5497 | 1194680.0055 | 2690486.1832 | 1194687.4031

## bus_geodata
| x | y | coords
0 | 2690278.3869 | 1194649.377
1 | 2690292.5094 | 1194665.4209
2 | 2690264.7204 | 1194633.8512
3 | 2690306.5576 | 1194681.3804
4 | 2690249.8064 | 1194616.9082
5 | 2690320.0691 | 1194697.6582
6 | 2690218.6911 | 1194547.7992
7 | 2690337.3137 | 1194699.1321
8 | 2690332.4421 | 1194756.9164
9 | 2690214.0977 | 1194545.6286
10 | 2690150.3498 | 1194547.3799
11 | 2690221.8669 | 1194525.2545
12 | 2690313.5951 | 1194745.3981
13 | 2690135.2382 | 1194546.2737
14 | 2690167.0786 | 1194504.7558
15 | 2690136.1109 | 1194565.3955
16 | 2690227.0645 | 1194511.6242
17 | 2690129.6581 | 1194500.3307
18 | 2690157.0736 | 1194473.9675
19 | 2690175.9345 | 1194482.1903
20 | 2690184.9216 | 1194469.9928
21 | 2690220.3285 | 1194420.598
22 | 2690199.6761 | 1194470.4963
23 | 2690229.0665 | 1194424.2322
24 | 2690156.1906 | 1194733.576
25 | 2690251.1873 | 1194729.1817
26 | 2690289.6512 | 1194730.9639
27 | 2690378.9102 | 1194702.7946
28 | 2690136.9855 | 1194584.5579
29 | 2690231.6035 | 1194499.7212
30 | 2690233.8276 | 1194493.8886
31 | 2690242.1157 | 1194472.1537
32 | 2690250.7593 | 1194449.4865
33 | 2690284.5407 | 1194470.5157
34 | 2690436.3676 | 1194663.0878
35 | 2690484.125 | 1194628.9043
36 | 2690469.5497 | 1194680.0055
37 | 2690486.1832 | 1194687.4031
38 | 2690149.4426 | 1194549.9234

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98779 | -0.23179 | 0.0014269 | 0.00035761
1 | 0.9864 | -0.2585 | 0.0018268 | 0.00045783
2 | 0.98916 | -0.20549 | 0.0011015 | 0.00027607
3 | 0.98505 | -0.28444 | 0.0010117 | 0.00025355
4 | 0.99069 | -0.17643 | 0.0028622 | 0.00071733
5 | 0.98373 | -0.30998 | 0 | 0
6 | 0.99627 | -0.070496 | 0.015255 | 0.0038233
7 | 0.98362 | -0.31218 | 0.0037449 | 0.00093857
8 | 0.98011 | -0.38012 | 0 | 0
9 | 0.9967 | -0.062425 | 0 | 0
10 | 1 | 0 | -0.2719 | -0.068707
11 | 0.99645 | -0.067151 | 0.00089646 | 0.00022467
12 | 0.97888 | -0.40417 | 0.0010355 | 0.00025952
13 | 0.99978 | -0.0042155 | 0 | 0
14 | 0.99685 | -0.060426 | 0.089541 | 0.022441
15 | 0.99954 | -0.0088639 | 0.011902 | 0.0029829
16 | 0.9963 | -0.070083 | 0.00065685 | 0.00016462
17 | 0.99167 | -0.16037 | 0.059298 | 0.014861
18 | 0.99438 | -0.108 | 0 | 0
19 | 0.99549 | -0.086571 | 0 | 0
20 | 0.99546 | -0.087133 | 0.00050863 | 0.00012747
21 | 0.99536 | -0.089083 | 0 | 0
22 | 0.99544 | -0.087566 | 0 | 0
23 | 0.99534 | -0.089349 | 0.0015957 | 0.00039991
24 | 0.97169 | -0.54545 | 0.040107 | 0.010052
25 | 0.97525 | -0.47526 | 0.017376 | 0.0043548
26 | 0.97734 | -0.43417 | 0.0014188 | 0.00035558
27 | 0.98349 | -0.31468 | 0 | 0
28 | 0.9995 | -0.0095402 | 0.0020204 | 0.00050636
29 | 0.99617 | -0.072498 | 0.001184 | 0.00029675
30 | 0.99612 | -0.073552 | 0.0011269 | 0.00028243
31 | 0.99594 | -0.077018 | 0.00063728 | 0.00015972
32 | 0.99577 | -0.080362 | 0 | 0
33 | 0.99548 | -0.085853 | 0.0078421 | 0.0019654
34 | 0.98327 | -0.31909 | 0.001393 | 0.00034913
35 | 0.98316 | -0.32115 | 0 | 0
36 | 0.98306 | -0.3232 | 0 | 0
37 | 0.98302 | -0.32384 | 0.0019263 | 0.00048277
38 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.070709 | 0.018052 | -0.070618 | -0.017994 | 9.1142e-05 | 5.8058e-05 | 0.10663 | 0.10664 | 0.10664 | 0.98779 | -0.23179 | 0.9864 | -0.2585 | 29.2953
1 | -0.072136 | -0.01841 | 0.072228 | 0.018469 | 9.179e-05 | 5.8481e-05 | 0.10878 | 0.10878 | 0.10878 | 0.98779 | -0.23179 | 0.98916 | -0.20549 | 29.8858
2 | 0.068791 | 0.017537 | -0.068705 | -0.017482 | 8.6037e-05 | 5.4793e-05 | 0.10388 | 0.10388 | 0.10388 | 0.9864 | -0.2585 | 0.98505 | -0.28444 | 28.5383
3 | -0.073329 | -0.018745 | 0.073432 | 0.01881 | 0.00010324 | 6.5785e-05 | 0.11044 | 0.11044 | 0.11044 | 0.98916 | -0.20549 | 0.99069 | -0.17643 | 30.341
4 | 0.067693 | 0.017228 | -0.06761 | -0.017175 | 8.3211e-05 | 5.2986e-05 | 0.10235 | 0.10235 | 0.10235 | 0.98505 | -0.28444 | 0.98373 | -0.30998 | 28.1185
5 | -0.076294 | -0.019528 | 0.076688 | 0.019779 | 0.00039354 | 0.00025083 | 0.11474 | 0.11474 | 0.11474 | 0.99069 | -0.17643 | 0.99627 | -0.070496 | 31.522
6 | 0.0070665 | 0.0017685 | -0.0070658 | -0.0017683 | 7.4143e-07 | 2.548e-07 | 0.010688 | 0.010688 | 0.010688 | 0.98373 | -0.30998 | 0.98362 | -0.31218 | 2.9363
7 | 0.060543 | 0.015407 | -0.06034 | -0.015277 | 0.00020395 | 0.00012971 | 0.091663 | 0.091664 | 0.091664 | 0.98373 | -0.30998 | 0.98011 | -0.38012 | 25.1823
8 | -0.091943 | -0.023602 | 0.091979 | 0.023625 | 3.6032e-05 | 2.2994e-05 | 0.13752 | 0.13752 | 0.13752 | 0.99627 | -0.070496 | 0.9967 | -0.062425 | 37.7814
9 | 0.0033208 | 0.00082968 | -0.0033204 | -0.00082996 | 3.9507e-07 | -2.7711e-07 | 0.0050228 | 0.005023 | 0.005023 | 0.98362 | -0.31218 | 0.98349 | -0.31468 | 1.3799
10 | 0.06034 | 0.015277 | -0.06027 | -0.015233 | 6.9596e-05 | 4.4263e-05 | 0.091664 | 0.091664 | 0.091664 | 0.98011 | -0.38012 | 0.97888 | -0.40417 | 25.1823
11 | -0.10433 | -0.026723 | 0.10465 | 0.026924 | 0.0003166 | 0.00020081 | 0.15597 | 0.15597 | 0.15597 | 0.9967 | -0.062425 | 1 | 0 | 21.4243
12 | 0.012354 | 0.0030987 | -0.012352 | -0.0030972 | 2.7821e-06 | 1.4964e-06 | 0.018445 | 0.018446 | 0.018446 | 0.9967 | -0.062425 | 0.99645 | -0.067151 | 5.0674
13 | 0.013928 | 0.0034924 | -0.013926 | -0.0034908 | 2.7976e-06 | 1.5627e-06 | 0.020726 | 0.020726 | 0.020726 | 1 | 0 | 0.99978 | -0.0042155 | 5.694
14 | 0.15167 | 0.03829 | -0.15123 | -0.038011 | 0.00043767 | 0.00027891 | 0.22578 | 0.22578 | 0.22578 | 1 | 0 | 0.99685 | -0.060426 | 31.0141
15 | 0.011455 | 0.0028725 | -0.011454 | -0.0028717 | 1.6009e-06 | 8.3457e-07 | 0.017107 | 0.017107 | 0.017107 | 0.99645 | -0.067151 | 0.9963 | -0.070083 | 4.6997
16 | 0.059234 | 0.014973 | -0.059149 | -0.014919 | 8.5092e-05 | 5.4108e-05 | 0.09009 | 0.09009 | 0.09009 | 0.97888 | -0.40417 | 0.97734 | -0.43417 | 24.7499
17 | 0.013926 | 0.0034908 | -0.013923 | -0.0034891 | 3.0836e-06 | 1.7226e-06 | 0.020726 | 0.020726 | 0.020726 | 0.99978 | -0.0042155 | 0.99954 | -0.0088639 | 5.6941
18 | 0.061689 | 0.01557 | -0.061612 | -0.015521 | 7.7147e-05 | 4.9058e-05 | 0.092123 | 0.092123 | 0.092123 | 0.99685 | -0.060426 | 0.99549 | -0.086571 | 25.3085
19 | 0.0020205 | 0.00050615 | -0.0020204 | -0.00050636 | 6.5079e-08 | -2.0977e-07 | 0.0030078 | 0.0030079 | 0.0030079 | 0.99954 | -0.0088639 | 0.9995 | -0.0095402 | 0.82634
20 | 0.010797 | 0.002707 | -0.010796 | -0.0027064 | 1.2423e-06 | 6.2918e-07 | 0.016126 | 0.016126 | 0.016126 | 0.9963 | -0.070083 | 0.99617 | -0.072498 | 4.4302
21 | -0.059298 | -0.014861 | 0.059446 | 0.014956 | 0.00014834 | 9.4293e-05 | 0.088978 | 0.088978 | 0.088978 | 0.99167 | -0.16037 | 0.99438 | -0.108 | 24.4445
22 | -0.059446 | -0.014956 | 0.059507 | 0.014995 | 6.0936e-05 | 3.8733e-05 | 0.088978 | 0.088978 | 0.088978 | 0.99438 | -0.108 | 0.99549 | -0.086571 | 24.4444
23 | 0.0021045 | 0.00052631 | -0.0021045 | -0.00052647 | 5.6211e-08 | -1.61e-07 | 0.0031454 | 0.0031454 | 0.0031454 | 0.99549 | -0.086571 | 0.99546 | -0.087133 | 0.86413
24 | 0.0015958 | 0.00039899 | -0.0015958 | -0.00039917 | 3.2884e-08 | -1.7934e-07 | 0.0023851 | 0.0023852 | 0.0023852 | 0.99546 | -0.087133 | 0.99544 | -0.087566 | 0.65527
25 | -0.0015957 | -0.0003998 | 0.0015958 | 0.00039917 | 1.1521e-07 | -6.2817e-07 | 0.0023854 | 0.0023852 | 0.0023854 | 0.99536 | -0.089083 | 0.99544 | -0.087566 | 0.65534
26 | 0.0015957 | 0.0003998 | -0.0015957 | -0.00039991 | 2.0195e-08 | -1.1008e-07 | 0.0023854 | 0.0023855 | 0.0023855 | 0.99536 | -0.089083 | 0.99534 | -0.089349 | 0.65535
27 | -0.040107 | -0.010052 | 0.040242 | 0.010137 | 0.00013459 | 8.4955e-05 | 0.061419 | 0.061418 | 0.061419 | 0.97169 | -0.54545 | 0.97525 | -0.47526 | 16.8733
28 | -0.057617 | -0.014491 | 0.057731 | 0.014564 | 0.00011333 | 7.2043e-05 | 0.08793 | 0.08793 | 0.08793 | 0.97525 | -0.47526 | 0.97734 | -0.43417 | 24.1565
29 | 0.0033204 | 0.00082996 | -0.0033197 | -0.00083045 | 6.9619e-07 | -4.8789e-07 | 0.005023 | 0.0050233 | 0.0050233 | 0.98349 | -0.31468 | 0.98327 | -0.31909 | 1.38
30 | 0.0096115 | 0.0024097 | -0.009611 | -0.0024094 | 4.8252e-07 | 2.2755e-07 | 0.014357 | 0.014357 | 0.014357 | 0.99617 | -0.072498 | 0.99612 | -0.073552 | 3.9443
31 | 0.0084841 | 0.002127 | -0.0084827 | -0.0021264 | 1.4012e-06 | 5.94e-07 | 0.012674 | 0.012674 | 0.012674 | 0.99612 | -0.073552 | 0.99594 | -0.077018 | 3.4819
32 | 0.0078454 | 0.0019667 | -0.0078442 | -0.0019662 | 1.25e-06 | 4.8436e-07 | 0.011722 | 0.011722 | 0.011722 | 0.99594 | -0.077018 | 0.99577 | -0.080362 | 3.2203
33 | 0.0078442 | 0.0019662 | -0.0078421 | -0.0019654 | 2.0516e-06 | 7.9523e-07 | 0.011722 | 0.011722 | 0.011722 | 0.99577 | -0.080362 | 0.99548 | -0.085853 | 3.2204
34 | 0.0019267 | 0.00048132 | -0.0019265 | -0.00048195 | 1.8826e-07 | -6.2864e-07 | 0.0029152 | 0.0029155 | 0.0029155 | 0.98327 | -0.31909 | 0.98316 | -0.32115 | 0.80095
35 | 0.0019265 | 0.00048195 | -0.0019263 | -0.00048257 | 1.8833e-07 | -6.2857e-07 | 0.0029155 | 0.0029157 | 0.0029157 | 0.98316 | -0.32115 | 0.98306 | -0.3232 | 0.80103
36 | 0.0019263 | 0.00048257 | -0.0019263 | -0.00048277 | 5.8038e-08 | -1.9365e-07 | 0.0029157 | 0.0029158 | 0.0029158 | 0.98306 | -0.3232 | 0.98302 | -0.32384 | 0.80105

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2719 | 0.068707

## res_load
| p_mw | q_mvar
0 | 0.0014269 | 0.00035761
1 | 0.0018268 | 0.00045783
2 | 0.0011015 | 0.00027607
3 | 0.0010117 | 0.00025355
4 | 0.0028622 | 0.00071733
5 | 0.015255 | 0.0038233
6 | 0.0037449 | 0.00093857
7 | 0.00089646 | 0.00022467
8 | 0.0010355 | 0.00025952
9 | 0.089541 | 0.022441
10 | 0.011902 | 0.0029829
11 | 0.00065685 | 0.00016462
12 | 0.059298 | 0.014861
13 | 0.00050863 | 0.00012747
14 | 0.0015957 | 0.00039991
15 | 0.040107 | 0.010052
16 | 0.017376 | 0.0043548
17 | 0.0014188 | 0.00035558
18 | 0.0020204 | 0.00050636
19 | 0.001184 | 0.00029675
20 | 0.0011269 | 0.00028243
21 | 0.00063728 | 0.00015972
22 | 0.0078421 | 0.0019654
23 | 0.001393 | 0.00034913
24 | 0.0019263 | 0.00048277

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1