## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1213-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1213-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1213-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1213-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1213-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1213-11_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1213-11_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1213-11_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1213-11_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1213-11_0_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1213-11_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1213-11_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1213-11_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1213-11_0_3_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_1213-11_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1213-11_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1213-11_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1213-11_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_1213-11_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1213-11_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1213-11_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1213-11_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1213-11_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1213-11_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1213-11_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1213-11_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1213-11_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1213-11_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_1213-11_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1213-11_0_3_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_1213-11_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1213-11_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1213-11_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1213-11_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1213-11_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1213-11_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1213-11_0_3_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_1213-11_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1213-11_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1213-11_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1213-11_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1213-11_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1213-11_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_MV_11_0_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1213-11_0_3_load_0 | 0 | 0.047308 | 0.011856 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1213-11_0_3_load_1 | 1 | 0.0061023 | 0.0015294 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1213-11_0_3_load_4 | 4 | 0.010822 | 0.0027122 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1213-11_0_3_load_13 | 5 | 0.0032331 | 0.00081029 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1213-11_0_3_load_8 | 6 | 0.0070418 | 0.0017648 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1213-11_0_3_load_12 | 7 | 0.010764 | 0.0026978 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1213-11_0_3_load_5 | 8 | 0.010534 | 0.0026402 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1213-11_0_3_load_24 | 9 | 0.030911 | 0.007747 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1213-11_0_3_load_7 | 10 | 0.0054347 | 0.0013621 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1213-11_0_3_load_9 | 11 | 0.0060576 | 0.0015182 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1213-11_0_3_load_6 | 12 | 0.002862 | 0.00071728 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1213-11_0_3_load_43 | 13 | 0.010604 | 0.0026577 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1213-11_0_3_load_11 | 14 | 0.011105 | 0.0027831 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1213-11_0_3_load_14 | 15 | 0.0096054 | 0.0024073 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1213-11_0_3_load_15 | 16 | 0.0075047 | 0.0018808 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1213-11_0_3_load_17 | 19 | 0.0030454 | 0.00076325 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1213-11_0_3_load_18 | 20 | 0.024119 | 0.0060447 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1213-11_0_3_load_19 | 21 | 0.0067378 | 0.0016887 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1213-11_0_3_load_26 | 22 | 0.0093798 | 0.0023508 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1213-11_0_3_load_27 | 24 | 0.01543 | 0.003867 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1213-11_0_3_load_23 | 25 | 0.013381 | 0.0033535 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1213-11_0_3_load_21 | 26 | 0.0037988 | 0.00095207 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1213-11_0_3_load_28 | 27 | 0.0070688 | 0.0017716 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1213-11_0_3_load_25 | 28 | 0.0046601 | 0.0011679 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1213-11_0_3_load_34 | 29 | 0.010294 | 0.00258 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1213-11_0_3_load_29 | 30 | 0.008692 | 0.0021784 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1213-11_0_3_load_30 | 32 | 0.0081632 | 0.0020459 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1213-11_0_3_load_33 | 34 | 0.0034861 | 0.00087371 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1213-11_0_3_load_35 | 35 | 0.0039331 | 0.00098573 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1213-11_0_3_load_41 | 36 | 0.014149 | 0.0035462 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1213-11_0_3_load_36 | 37 | 0.0060681 | 0.0015208 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1213-11_0_3_load_39 | 38 | 0.0048758 | 0.001222 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1213-11_0_3_load_37 | 39 | 0.015927 | 0.0039917 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1213-11_0_3_load_38 | 40 | 0.008582 | 0.0021509 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1213-11_0_3_load_40 | 41 | 0.0065755 | 0.001648 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1213-11_0_3_load_42 | 42 | 0.0047464 | 0.0011896 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1213-11_0_3_line_0 |  | 0 | 1 | 0.0037458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1213-11_0_3_line_1 |  | 0 | 2 | 0.034448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1213-11_0_3_line_2 |  | 1 | 3 | 0.039716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1213-11_0_3_line_3 |  | 2 | 4 | 0.037755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1213-11_0_3_line_4 |  | 3 | 5 | 0.025515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1213-11_0_3_line_5 |  | 3 | 6 | 0.012322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1213-11_0_3_line_6 |  | 4 | 7 | 0.027923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1213-11_0_3_line_7 |  | 5 | 9 | 0.011336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1213-11_0_3_line_8 |  | 6 | 10 | 0.044322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1213-11_0_3_line_9 |  | 7 | 11 | 0.038808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1213-11_0_3_line_10 |  | 7 | 8 | 0.013678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1213-11_0_3_line_11 |  | 9 | 17 | 0.036079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1213-11_0_3_line_12 |  | 10 | 12 | 0.018419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1213-11_0_3_line_13 |  | 12 | 13 | 0.096609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1213-11_0_3_line_14 |  | 14 | 15 | 0.027511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1213-11_0_3_line_15 |  | 15 | 16 | 0.0052992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1213-11_0_3_line_16 |  | 16 | 18 | 0.021432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1213-11_0_3_line_17 |  | 17 | 28 | 0.014599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1213-11_0_3_line_18 |  | 17 | 26 | 0.0039171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1213-11_0_3_line_19 |  | 18 | 19 | 0.012633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1213-11_0_3_line_20 |  | 18 | 20 | 0.019854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1213-11_0_3_line_21 |  | 19 | 21 | 0.007472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1213-11_0_3_line_22 |  | 20 | 22 | 0.014422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1213-11_0_3_line_23 |  | 21 | 23 | 0.026226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1213-11_0_3_line_24 |  | 22 | 24 | 0.047454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1213-11_0_3_line_25 |  | 23 | 25 | 0.022911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1213-11_0_3_line_26 |  | 23 | 26 | 0.011496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1213-11_0_3_line_27 |  | 25 | 27 | 0.036373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1213-11_0_3_line_28 |  | 27 | 30 | 0.020455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1213-11_0_3_line_29 |  | 28 | 29 | 0.0078543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1213-11_0_3_line_30 |  | 29 | 31 | 0.0044301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1213-11_0_3_line_31 |  | 31 | 35 | 0.044964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1213-11_0_3_line_32 |  | 31 | 33 | 0.033315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1213-11_0_3_line_33 |  | 32 | 33 | 0.01996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1213-11_0_3_line_34 |  | 33 | 34 | 0.018044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1213-11_0_3_line_35 |  | 34 | 36 | 0.0040234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1213-11_0_3_line_36 |  | 35 | 37 | 0.023281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1213-11_0_3_line_37 |  | 36 | 38 | 0.02107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1213-11_0_3_line_38 |  | 37 | 39 | 0.012541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1213-11_0_3_line_39 |  | 38 | 40 | 0.010359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1213-11_0_3_line_40 |  | 40 | 41 | 0.014394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1213-11_0_3_line_41 |  | 41 | 42 | 0.23035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1213-11_0_3_trafo_24 | 0.63 MVA 20/0.4 kV | 43 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2692166.123 | 1190968.22 | 2692169.8687 | 1190968.219
1 | 2692131.6749 | 1190968.2285 | 2692166.123 | 1190968.22
2 | 2692209.1486 | 1190966.6204 | 2692184.5042 | 1190964.962 | 2692170.7426 | 1190968.2188 | 2692169.8687 | 1190968.219
3 | 2692131.6749 | 1190968.2285 | 2692132.7332 | 1191005.969
4 | 2692209.1486 | 1190966.6204 | 2692206.9996 | 1190992.0444
5 | 2692209.1486 | 1190966.6204 | 2692210.1862 | 1190954.3423
6 | 2692104.883 | 1191007.9862 | 2692132.7332 | 1191005.969
7 | 2692207.3542 | 1191003.3228 | 2692206.6117 | 1190996.6339 | 2692206.9996 | 1190992.0444
8 | 2692213.9188 | 1190910.1776 | 2692210.1862 | 1190954.3423
9 | 2692104.883 | 1191007.9862 | 2692066.2112 | 1191011.2354
10 | 2692104.883 | 1191007.9862 | 2692104.883 | 1191007.9862 | 2692103.8403 | 1190994.3477
11 | 2692216.3288 | 1191038.0768 | 2692211.9628 | 1191026.4687 | 2692208.5737 | 1191014.3087 | 2692207.3542 | 1191003.3228
12 | 2692215.4688 | 1190891.8243 | 2692214.9593 | 1190897.8658 | 2692213.9188 | 1190910.1776
13 | 2692215.4688 | 1190891.8243 | 2692123.1953 | 1190863.2086
14 | 2692131.4265 | 1191082.9934 | 2692140.2876 | 1191083.3904 | 2692158.923 | 1191082.9283
15 | 2692164.2206 | 1191082.797 | 2692158.923 | 1191082.9283
16 | 2692185.2546 | 1191079.5803 | 2692174.304 | 1191082.5469 | 2692164.2206 | 1191082.797
17 | 2692216.3288 | 1191038.0768 | 2692230.6622 | 1191035.3032
18 | 2692216.3288 | 1191038.0768 | 2692217.8703 | 1191041.6778
19 | 2692185.2546 | 1191079.5803 | 2692187.8199 | 1191078.886 | 2692196.0622 | 1191073.2663
20 | 2692185.2546 | 1191079.5803 | 2692196.7008 | 1191095.8023
21 | 2692196.0622 | 1191073.2663 | 2692197.2761 | 1191072.4386 | 2692201.9675 | 1191068.6936
22 | 2692196.7008 | 1191095.8023 | 2692205.0154 | 1191107.5861
23 | 2692222.3941 | 1191052.246 | 2692209.3823 | 1191062.7745 | 2692201.9675 | 1191068.6936
24 | 2692232.3742 | 1191146.36 | 2692205.0154 | 1191107.5861
25 | 2692222.3941 | 1191052.246 | 2692232.1186 | 1191072.9907
26 | 2692222.3941 | 1191052.246 | 2692217.8703 | 1191041.6778
27 | 2692247.5598 | 1191105.9234 | 2692239.6555 | 1191089.0688 | 2692232.1186 | 1191072.9907
28 | 2692247.5598 | 1191105.9234 | 2692247.9171 | 1191106.6852 | 2692257.6499 | 1191123.7131
29 | 2692238.4064 | 1191034.0894 | 2692236.4983 | 1191034.1739 | 2692230.6622 | 1191035.3032
30 | 2692242.8321 | 1191033.8935 | 2692238.4064 | 1191034.0894
31 | 2692242.8321 | 1191033.8935 | 2692243.1763 | 1191028.3842 | 2692252.2249 | 1190989.9917
32 | 2692274.4067 | 1191043.0527 | 2692265.5274 | 1191038.2906 | 2692258.1057 | 1191035.441 | 2692247.5514 | 1191033.9663 | 2692242.8321 | 1191033.8935
33 | 2692274.4067 | 1191043.0527 | 2692291.7343 | 1191052.9598
34 | 2692274.4067 | 1191043.0527 | 2692282.6125 | 1191026.9825
35 | 2692284.4422 | 1191023.3993 | 2692282.6125 | 1191026.9825
36 | 2692252.2249 | 1190989.9917 | 2692257.5656 | 1190967.3319
37 | 2692284.4422 | 1191023.3993 | 2692294.0243 | 1191004.6339
38 | 2692260.4424 | 1190955.1256 | 2692257.5656 | 1190967.3319
39 | 2692298.7353 | 1190995.4078 | 2692294.0243 | 1191004.6339
40 | 2692298.7353 | 1190995.4078 | 2692305.2814 | 1190982.5881
41 | 2692305.2814 | 1190982.5881 | 2692421.9274 | 1190783.9602

## bus_geodata
| x | y | coords
0 | 2692166.123 | 1190968.22
1 | 2692169.8687 | 1190968.219
2 | 2692131.6749 | 1190968.2285
3 | 2692209.1486 | 1190966.6204
4 | 2692132.7332 | 1191005.969
5 | 2692206.9996 | 1190992.0444
6 | 2692210.1862 | 1190954.3423
7 | 2692104.883 | 1191007.9862
8 | 2692103.8403 | 1190994.3477
9 | 2692207.3542 | 1191003.3228
10 | 2692213.9188 | 1190910.1776
11 | 2692066.2112 | 1191011.2354
12 | 2692215.4688 | 1190891.8243
13 | 2692123.1953 | 1190863.2086
14 | 2692131.4265 | 1191082.9934
15 | 2692158.923 | 1191082.9283
16 | 2692164.2206 | 1191082.797
17 | 2692216.3288 | 1191038.0768
18 | 2692185.2546 | 1191079.5803
19 | 2692196.0622 | 1191073.2663
20 | 2692196.7008 | 1191095.8023
21 | 2692201.9675 | 1191068.6936
22 | 2692205.0154 | 1191107.5861
23 | 2692222.3941 | 1191052.246
24 | 2692232.3742 | 1191146.36
25 | 2692232.1186 | 1191072.9907
26 | 2692217.8703 | 1191041.6778
27 | 2692247.5598 | 1191105.9234
28 | 2692230.6622 | 1191035.3032
29 | 2692238.4064 | 1191034.0894
30 | 2692257.6499 | 1191123.7131
31 | 2692242.8321 | 1191033.8935
32 | 2692291.7343 | 1191052.9598
33 | 2692274.4067 | 1191043.0527
34 | 2692282.6125 | 1191026.9825
35 | 2692252.2249 | 1190989.9917
36 | 2692284.4422 | 1191023.3993
37 | 2692257.5656 | 1190967.3319
38 | 2692294.0243 | 1191004.6339
39 | 2692260.4424 | 1190955.1256
40 | 2692298.7353 | 1190995.4078
41 | 2692305.2814 | 1190982.5881
42 | 2692421.9274 | 1190783.9602
43 | 2692216.3288 | 1191038.0768

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99238 | -0.14623 | 0.047308 | 0.011856
1 | 0.99268 | -0.14057 | 0.0061023 | 0.0015294
2 | 0.99118 | -0.16954 | 0 | 0
3 | 0.99601 | -0.07644 | 0 | 0
4 | 0.98986 | -0.19515 | 0.010822 | 0.0027122
5 | 0.99875 | -0.023893 | 0.0032331 | 0.00081029
6 | 0.99571 | -0.082059 | 0.0070418 | 0.0017648
7 | 0.98916 | -0.20875 | 0.010764 | 0.0026978
8 | 0.98903 | -0.21131 | 0.010534 | 0.0026402
9 | 1 | 0 | -0.3362 | -0.084785
10 | 0.99495 | -0.096801 | 0.0054347 | 0.0013621
11 | 0.98894 | -0.21294 | 0.0060576 | 0.0015182
12 | 0.99472 | -0.10117 | 0.002862 | 0.00071728
13 | 0.99379 | -0.11924 | 0.010604 | 0.0026577
14 | 0.9904 | -0.18461 | 0.011105 | 0.0027831
15 | 0.99068 | -0.17918 | 0.0096054 | 0.0024073
16 | 0.99078 | -0.17723 | 0.0075047 | 0.0018808
17 | 0.99651 | -0.066685 | 0 | 0
18 | 0.99134 | -0.1665 | 0 | 0
19 | 0.99223 | -0.14923 | 0.0030454 | 0.00076325
20 | 0.99045 | -0.18375 | 0.024119 | 0.0060447
21 | 0.99278 | -0.13863 | 0.0067378 | 0.0016887
22 | 0.99012 | -0.19011 | 0.0093798 | 0.0023508
23 | 0.99486 | -0.0984 | 0 | 0
24 | 0.98945 | -0.20314 | 0.01543 | 0.003867
25 | 0.99425 | -0.11017 | 0.013381 | 0.0033535
26 | 0.99608 | -0.074931 | 0.0037988 | 0.00095207
27 | 0.99373 | -0.12028 | 0.0070688 | 0.0017716
28 | 0.99529 | -0.090154 | 0.0046601 | 0.0011679
29 | 0.99467 | -0.10216 | 0.010294 | 0.00258
30 | 0.99357 | -0.12342 | 0.008692 | 0.0021784
31 | 0.99436 | -0.10813 | 0 | 0
32 | 0.99267 | -0.14077 | 0.0081632 | 0.0020459
33 | 0.99282 | -0.13789 | 0 | 0
34 | 0.99212 | -0.15143 | 0.0034861 | 0.00087371
35 | 0.9933 | -0.12871 | 0.0039331 | 0.00098573
36 | 0.99198 | -0.15421 | 0.014149 | 0.0035462
37 | 0.99283 | -0.13776 | 0.0060681 | 0.0015208
38 | 0.9915 | -0.16346 | 0.0048758 | 0.001222
39 | 0.99265 | -0.14129 | 0.015927 | 0.0039917
40 | 0.99131 | -0.16712 | 0.008582 | 0.0021509
41 | 0.99116 | -0.17001 | 0.0065755 | 0.001648
42 | 0.99016 | -0.18945 | 0.0047464 | 0.0011896
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.085595 | -0.021493 | 0.085619 | 0.021508 | 2.3143e-05 | 1.4763e-05 | 0.12836 | 0.12836 | 0.12836 | 0.99238 | -0.14623 | 0.99268 | -0.14057 | 35.2635
1 | 0.038288 | 0.0096365 | -0.038245 | -0.0096097 | 4.2598e-05 | 2.6818e-05 | 0.057424 | 0.057425 | 0.057425 | 0.99238 | -0.14623 | 0.99118 | -0.16954 | 15.776
2 | -0.091721 | -0.023037 | 0.092002 | 0.023217 | 0.0002816 | 0.00017971 | 0.13751 | 0.13751 | 0.13751 | 0.99268 | -0.14057 | 0.99601 | -0.07644 | 37.7765
3 | 0.038245 | 0.0096097 | -0.038199 | -0.0095803 | 4.6688e-05 | 2.9394e-05 | 0.057425 | 0.057425 | 0.057425 | 0.99118 | -0.16954 | 0.98986 | -0.19515 | 15.776
4 | -0.11798 | -0.029737 | 0.11827 | 0.029927 | 0.00029744 | 0.00019003 | 0.17632 | 0.17632 | 0.17632 | 0.99601 | -0.07644 | 0.99875 | -0.023893 | 48.4385
5 | 0.025975 | 0.0065202 | -0.025968 | -0.0065159 | 6.9596e-06 | 4.2939e-06 | 0.03881 | 0.03881 | 0.03881 | 0.99601 | -0.07644 | 0.99571 | -0.082059 | 10.662
6 | 0.027377 | 0.0068681 | -0.027359 | -0.0068571 | 1.7737e-05 | 1.0993e-05 | 0.041157 | 0.041157 | 0.041157 | 0.98986 | -0.19515 | 0.98916 | -0.20875 | 11.3068
7 | -0.12151 | -0.030737 | 0.12165 | 0.030826 | 0.00013947 | 8.9112e-05 | 0.18113 | 0.18113 | 0.18113 | 0.99875 | -0.023893 | 1 | 0 | 49.7618
8 | 0.018926 | 0.0047511 | -0.018913 | -0.0047432 | 1.3299e-05 | 7.9352e-06 | 0.028286 | 0.028287 | 0.028287 | 0.99571 | -0.082059 | 0.99495 | -0.096801 | 7.771
9 | 0.0060588 | 0.0015185 | -0.0060576 | -0.0015182 | 1.209e-06 | 2.7571e-07 | 0.0091145 | 0.0091146 | 0.0091146 | 0.98916 | -0.20875 | 0.98894 | -0.21294 | 2.504
10 | 0.010536 | 0.0026408 | -0.010534 | -0.0026402 | 1.2885e-06 | 6.4909e-07 | 0.015849 | 0.015849 | 0.015849 | 0.98916 | -0.20875 | 0.98903 | -0.21131 | 4.3542
11 | 0.2129 | 0.053958 | -0.21222 | -0.053524 | 0.00067982 | 0.00043414 | 0.31701 | 0.31701 | 0.31701 | 1 | 0 | 0.99651 | -0.066685 | 43.5451
12 | 0.013478 | 0.0033811 | -0.013475 | -0.0033795 | 2.8068e-06 | 1.5572e-06 | 0.020159 | 0.020159 | 0.020159 | 0.99495 | -0.096801 | 0.99472 | -0.10117 | 5.5381
13 | 0.010613 | 0.0026623 | -0.010604 | -0.0026577 | 9.1332e-06 | 4.5923e-06 | 0.015877 | 0.015878 | 0.015878 | 0.99472 | -0.10117 | 0.99379 | -0.11924 | 4.3621
14 | -0.011105 | -0.0027831 | 0.011107 | 0.0027845 | 2.8716e-06 | 1.4837e-06 | 0.016684 | 0.016684 | 0.016684 | 0.9904 | -0.18461 | 0.99068 | -0.17918 | 4.5835
15 | -0.020713 | -0.0051919 | 0.020715 | 0.005193 | 1.9234e-06 | 1.1627e-06 | 0.031111 | 0.031111 | 0.031111 | 0.99068 | -0.17918 | 0.99078 | -0.17723 | 8.547
16 | -0.028219 | -0.0070739 | 0.028234 | 0.0070828 | 1.4436e-05 | 8.963e-06 | 0.042382 | 0.042382 | 0.042382 | 0.99078 | -0.17723 | 0.99134 | -0.1665 | 11.6434
17 | 0.0918 | 0.023133 | -0.091697 | -0.023067 | 0.00010294 | 6.569e-05 | 0.13712 | 0.13712 | 0.13712 | 0.99651 | -0.066685 | 0.99529 | -0.090154 | 37.6708
18 | 0.12042 | 0.030391 | -0.12037 | -0.030361 | 4.7532e-05 | 3.037e-05 | 0.17989 | 0.17989 | 0.17989 | 0.99651 | -0.066685 | 0.99608 | -0.074931 | 49.4193
19 | -0.077219 | -0.019381 | 0.077283 | 0.019422 | 6.3658e-05 | 4.0578e-05 | 0.11592 | 0.11592 | 0.11592 | 0.99134 | -0.1665 | 0.99223 | -0.14923 | 31.8455
20 | 0.048985 | 0.012298 | -0.048945 | -0.012273 | 4.026e-05 | 2.551e-05 | 0.073536 | 0.073536 | 0.073536 | 0.99134 | -0.1665 | 0.99045 | -0.18375 | 20.2022
21 | -0.080328 | -0.020185 | 0.080369 | 0.020211 | 4.0676e-05 | 2.5936e-05 | 0.12048 | 0.12048 | 0.12048 | 0.99223 | -0.14923 | 0.99278 | -0.13863 | 33.1002
22 | 0.024826 | 0.006228 | -0.024819 | -0.0062233 | 7.5247e-06 | 4.6302e-06 | 0.037301 | 0.037301 | 0.037301 | 0.99045 | -0.18375 | 0.99012 | -0.19011 | 10.2474
23 | -0.087107 | -0.021899 | 0.087275 | 0.022006 | 0.0001677 | 0.00010699 | 0.13058 | 0.13058 | 0.13058 | 0.99278 | -0.13863 | 0.99486 | -0.0984 | 35.8746
24 | 0.015439 | 0.0038725 | -0.01543 | -0.003867 | 9.5817e-06 | 5.5224e-06 | 0.023204 | 0.023204 | 0.023204 | 0.99012 | -0.19011 | 0.98945 | -0.20314 | 6.3748
25 | 0.029167 | 0.0073187 | -0.029151 | -0.0073085 | 1.6353e-05 | 1.0169e-05 | 0.043628 | 0.043628 | 0.043628 | 0.99486 | -0.0984 | 0.99425 | -0.11017 | 11.9858
26 | -0.11644 | -0.029325 | 0.11657 | 0.029409 | 0.00013083 | 8.3584e-05 | 0.17421 | 0.17421 | 0.17421 | 0.99486 | -0.0984 | 0.99608 | -0.074931 | 47.8603
27 | 0.01577 | 0.003955 | -0.015762 | -0.0039506 | 7.5983e-06 | 4.3915e-06 | 0.023602 | 0.023602 | 0.023602 | 0.99425 | -0.11017 | 0.99373 | -0.12028 | 6.4842
28 | 0.0086933 | 0.002179 | -0.008692 | -0.0021784 | 1.2998e-06 | 5.6692e-07 | 0.013017 | 0.013018 | 0.013018 | 0.99373 | -0.12028 | 0.99357 | -0.12342 | 3.5763
29 | 0.087037 | 0.021899 | -0.086987 | -0.021868 | 4.9895e-05 | 3.1831e-05 | 0.13015 | 0.13015 | 0.13015 | 0.99529 | -0.090154 | 0.99467 | -0.10216 | 35.7568
30 | 0.076693 | 0.019288 | -0.076671 | -0.019274 | 2.1877e-05 | 1.3944e-05 | 0.11475 | 0.11475 | 0.11475 | 0.99467 | -0.10216 | 0.99436 | -0.10813 | 31.526
31 | 0.025966 | 0.0065213 | -0.025941 | -0.0065056 | 2.5465e-05 | 1.5715e-05 | 0.038862 | 0.038862 | 0.038862 | 0.99436 | -0.10813 | 0.9933 | -0.12871 | 10.6764
32 | 0.050705 | 0.012752 | -0.050633 | -0.012707 | 7.1957e-05 | 4.5621e-05 | 0.075893 | 0.075893 | 0.075893 | 0.99436 | -0.10813 | 0.99282 | -0.13789 | 20.8497
33 | -0.0081632 | -0.0020459 | 0.0081643 | 0.0020464 | 1.1208e-06 | 4.5921e-07 | 0.012237 | 0.012237 | 0.012237 | 0.99267 | -0.14077 | 0.99282 | -0.13789 | 3.3617
34 | 0.042468 | 0.01066 | -0.042441 | -0.010643 | 2.7419e-05 | 1.7315e-05 | 0.063656 | 0.063656 | 0.063656 | 0.99282 | -0.13789 | 0.99212 | -0.15143 | 17.488
35 | 0.038955 | 0.0097693 | -0.03895 | -0.009766 | 5.1506e-06 | 3.2445e-06 | 0.058428 | 0.058428 | 0.058428 | 0.99212 | -0.15143 | 0.99198 | -0.15421 | 16.0516
36 | 0.022008 | 0.0055199 | -0.021998 | -0.0055141 | 9.4901e-06 | 5.7725e-06 | 0.03297 | 0.03297 | 0.03297 | 0.9933 | -0.12871 | 0.99283 | -0.13776 | 9.0578
37 | 0.0248 | 0.0062198 | -0.024789 | -0.0062131 | 1.0936e-05 | 6.7271e-06 | 0.037203 | 0.037203 | 0.037203 | 0.99198 | -0.15421 | 0.9915 | -0.16346 | 10.2206
38 | 0.01593 | 0.0039933 | -0.015927 | -0.0039917 | 2.6808e-06 | 1.5536e-06 | 0.023876 | 0.023876 | 0.023876 | 0.99283 | -0.13776 | 0.99265 | -0.14129 | 6.5592
39 | 0.019913 | 0.0049911 | -0.01991 | -0.004989 | 3.4696e-06 | 2.087e-06 | 0.029886 | 0.029886 | 0.029886 | 0.9915 | -0.16346 | 0.99131 | -0.16712 | 8.2103
40 | 0.011328 | 0.0028382 | -0.011326 | -0.0028374 | 1.5606e-06 | 8.1325e-07 | 0.017003 | 0.017004 | 0.017004 | 0.99131 | -0.16712 | 0.99116 | -0.17001 | 4.6713
41 | 0.0047508 | 0.0011894 | -0.0047464 | -0.0011896 | 4.3942e-06 | -1.5354e-07 | 0.0071318 | 0.0071329 | 0.0071329 | 0.99116 | -0.17001 | 0.99016 | -0.18945 | 1.9596

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36711 | 0.092532

## res_load
| p_mw | q_mvar
0 | 0.047308 | 0.011856
1 | 0.0061023 | 0.0015294
2 | 0.010822 | 0.0027122
3 | 0.0032331 | 0.00081029
4 | 0.0070418 | 0.0017648
5 | 0.010764 | 0.0026978
6 | 0.010534 | 0.0026402
7 | 0.030911 | 0.007747
8 | 0.0054347 | 0.0013621
9 | 0.0060576 | 0.0015182
10 | 0.002862 | 0.00071728
11 | 0.010604 | 0.0026577
12 | 0.011105 | 0.0027831
13 | 0.0096054 | 0.0024073
14 | 0.0075047 | 0.0018808
15 | 0.0030454 | 0.00076325
16 | 0.024119 | 0.0060447
17 | 0.0067378 | 0.0016887
18 | 0.0093798 | 0.0023508
19 | 0.01543 | 0.003867
20 | 0.013381 | 0.0033535
21 | 0.0037988 | 0.00095207
22 | 0.0070688 | 0.0017716
23 | 0.0046601 | 0.0011679
24 | 0.010294 | 0.00258
25 | 0.008692 | 0.0021784
26 | 0.0081632 | 0.0020459
27 | 0.0034861 | 0.00087371
28 | 0.0039331 | 0.00098573
29 | 0.014149 | 0.0035462
30 | 0.0060681 | 0.0015208
31 | 0.0048758 | 0.001222
32 | 0.015927 | 0.0039917
33 | 0.008582 | 0.0021509
34 | 0.0065755 | 0.001648
35 | 0.0047464 | 0.0011896

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1