## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1213-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1213-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1213-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1213-17_0_4_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_1213-17_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1213-17_0_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_1213-17_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1213-17_0_4_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_1213-17_0_4_node_67 | 0.4 | n |  | TRUE
9 | bus_LV_1213-17_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1213-17_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1213-17_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1213-17_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1213-17_0_4_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_1213-17_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1213-17_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1213-17_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1213-17_0_4_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_1213-17_0_4_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_1213-17_0_4_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_1213-17_0_4_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1213-17_0_4_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_1213-17_0_4_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_1213-17_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1213-17_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1213-17_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1213-17_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1213-17_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1213-17_0_4_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_1213-17_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1213-17_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1213-17_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1213-17_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1213-17_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1213-17_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1213-17_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1213-17_0_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_1213-17_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_1213-17_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1213-17_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1213-17_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1213-17_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1213-17_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1213-17_0_4_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_1213-17_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1213-17_0_4_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1213-17_0_4_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_1213-17_0_4_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_1213-17_0_4_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_1213-17_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_1213-17_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_1213-17_0_4_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_1213-17_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_1213-17_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_1213-17_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_1213-17_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_1213-17_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_1213-17_0_4_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_1213-17_0_4_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_1213-17_0_4_node_64 | 0.4 | n |  | TRUE
60 | bus_MV_11_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1213-17_0_4_load_0 | 0 | 0.0022528 | 0.0005646 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1213-17_0_4_load_1 | 1 | 0.0036967 | 0.00092648 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1213-17_0_4_load_22 | 3 | 0.011869 | 0.0029746 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1213-17_0_4_load_23 | 5 | 0.0085298 | 0.0021378 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1213-17_0_4_load_5 | 6 | 0.0078761 | 0.0019739 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1213-17_0_4_load_20 | 7 | 0.0088547 | 0.0022192 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1213-17_0_4_load_67 | 8 | 0.0016272 | 0.00040781 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1213-17_0_4_load_6 | 9 | 0.014751 | 0.003697 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1213-17_0_4_load_15 | 10 | 0.0068331 | 0.0017125 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1213-17_0_4_load_13 | 11 | 0.0050516 | 0.0012661 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1213-17_0_4_load_18 | 12 | 0.0057655 | 0.001445 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1213-17_0_4_load_17 | 13 | 0.0068541 | 0.0017178 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1213-17_0_4_load_8 | 14 | 0.0048058 | 0.0012044 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1213-17_0_4_load_9 | 15 | 0.0033418 | 0.00083754 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1213-17_0_4_load_10 | 16 | 0.0072387 | 0.0018142 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1213-17_0_4_load_55 | 17 | 0.007244 | 0.0018155 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1213-17_0_4_load_54 | 18 | 0.0028013 | 0.00070208 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1213-17_0_4_load_69 | 19 | 0.0091288 | 0.0022879 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1213-17_0_4_load_28 | 20 | 0.006939 | 0.0017391 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1213-17_0_4_load_30 | 21 | 0.010672 | 0.0026746 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1213-17_0_4_load_56 | 22 | 0.0028377 | 0.0007112 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1213-17_0_4_load_14 | 23 | 0.019596 | 0.0049113 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1213-17_0_4_load_16 | 24 | 0.0087908 | 0.0022032 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1213-17_0_4_load_19 | 25 | 0.0058497 | 0.0014661 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1213-17_0_4_load_21 | 26 | 0.004998 | 0.0012526 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1213-17_0_4_load_29 | 29 | 0.0051675 | 0.0012951 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1213-17_0_4_load_24 | 30 | 0.0062464 | 0.0015655 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1213-17_0_4_load_25 | 31 | 0.0073734 | 0.0018479 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1213-17_0_4_load_32 | 32 | 0.0055872 | 0.0014003 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1213-17_0_4_load_33 | 33 | 0.0053651 | 0.0013446 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1213-17_0_4_load_26 | 34 | 0.0097332 | 0.0024394 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1213-17_0_4_load_27 | 35 | 0.0049761 | 0.0012471 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1213-17_0_4_load_44 | 36 | 0.0048674 | 0.0012199 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1213-17_0_4_load_42 | 37 | 0.0038443 | 0.00096348 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1213-17_0_4_load_34 | 38 | 0.0047853 | 0.0011993 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1213-17_0_4_load_35 | 39 | 0.007107 | 0.0017812 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1213-17_0_4_load_37 | 40 | 0.0047694 | 0.0011953 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1213-17_0_4_load_39 | 41 | 0.005197 | 0.0013025 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1213-17_0_4_load_43 | 43 | 0.0049121 | 0.0012311 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1213-17_0_4_load_45 | 44 | 0.005415 | 0.0013571 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1213-17_0_4_load_47 | 45 | 0.0072985 | 0.0018292 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1213-17_0_4_load_61 | 46 | 0.0010098 | 0.00025309 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1213-17_0_4_load_62 | 47 | 0.010204 | 0.0025575 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1213-17_0_4_load_48 | 48 | 0.0051517 | 0.0012911 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1213-17_0_4_load_46 | 49 | 0.011329 | 0.0028393 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1213-17_0_4_load_50 | 50 | 0.007337 | 0.0018388 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1213-17_0_4_load_57 | 51 | 0.004545 | 0.0011391 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1213-17_0_4_load_49 | 52 | 0.0057912 | 0.0014514 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1213-17_0_4_load_52 | 54 | 0.0057117 | 0.0014315 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1213-17_0_4_load_53 | 55 | 0.0043039 | 0.0010787 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1213-17_0_4_load_58 | 56 | 0.019286 | 0.0048334 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1213-17_0_4_load_59 | 57 | 0.0067273 | 0.001686 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1213-17_0_4_load_65 | 58 | 0.0016684 | 0.00041813 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1213-17_0_4_line_0 |  | 0 | 1 | 0.021171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1213-17_0_4_line_1 |  | 0 | 2 | 0.061371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1213-17_0_4_line_2 |  | 1 | 3 | 0.10419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1213-17_0_4_line_3 |  | 2 | 4 | 0.029644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1213-17_0_4_line_4 |  | 3 | 5 | 0.015199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1213-17_0_4_line_5 |  | 3 | 6 | 0.080439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1213-17_0_4_line_6 |  | 3 | 7 | 0.019801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1213-17_0_4_line_7 |  | 4 | 8 | 0.046684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1213-17_0_4_line_8 |  | 5 | 30 | 0.020803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1213-17_0_4_line_9 |  | 6 | 9 | 0.0074343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1213-17_0_4_line_10 |  | 7 | 12 | 0.0067185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1213-17_0_4_line_11 |  | 10 | 11 | 0.0086181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1213-17_0_4_line_12 |  | 11 | 23 | 0.022486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1213-17_0_4_line_13 |  | 12 | 13 | 0.018599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1213-17_0_4_line_14 |  | 13 | 25 | 0.026767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1213-17_0_4_line_15 |  | 13 | 24 | 0.045956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1213-17_0_4_line_16 |  | 14 | 15 | 0.026403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1213-17_0_4_line_17 |  | 15 | 16 | 0.0041766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1213-17_0_4_line_18 |  | 15 | 17 | 0.027239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1213-17_0_4_line_19 |  | 16 | 20 | 0.05703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1213-17_0_4_line_20 |  | 17 | 22 | 0.0031775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1213-17_0_4_line_21 |  | 17 | 18 | 0.018564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1213-17_0_4_line_22 |  | 18 | 19 | 0.058488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1213-17_0_4_line_23 |  | 20 | 21 | 0.021209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1213-17_0_4_line_24 |  | 21 | 27 | 0.033025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1213-17_0_4_line_25 |  | 23 | 24 | 0.0054542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1213-17_0_4_line_26 |  | 25 | 26 | 0.024015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1213-17_0_4_line_27 |  | 26 | 27 | 0.018907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1213-17_0_4_line_28 |  | 27 | 28 | 0.004435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1213-17_0_4_line_29 |  | 27 | 29 | 0.037725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1213-17_0_4_line_30 |  | 28 | 36 | 0.017892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1213-17_0_4_line_31 |  | 28 | 37 | 0.010226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1213-17_0_4_line_32 |  | 29 | 35 | 0.041041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1213-17_0_4_line_33 |  | 30 | 31 | 0.015843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1213-17_0_4_line_34 |  | 31 | 32 | 0.039424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1213-17_0_4_line_35 |  | 32 | 33 | 0.0021205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1213-17_0_4_line_36 |  | 34 | 35 | 0.060106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1213-17_0_4_line_37 |  | 36 | 44 | 0.020254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1213-17_0_4_line_38 |  | 37 | 42 | 0.017573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1213-17_0_4_line_39 |  | 38 | 39 | 0.022984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1213-17_0_4_line_40 |  | 39 | 40 | 0.0049552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1213-17_0_4_line_41 |  | 40 | 41 | 0.025702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1213-17_0_4_line_42 |  | 41 | 42 | 0.014278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1213-17_0_4_line_43 |  | 42 | 43 | 0.0058752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1213-17_0_4_line_44 |  | 43 | 45 | 0.019694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1213-17_0_4_line_45 |  | 44 | 49 | 0.0054546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1213-17_0_4_line_46 |  | 45 | 48 | 0.026277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1213-17_0_4_line_47 |  | 46 | 47 | 0.018655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1213-17_0_4_line_48 |  | 47 | 59 | 0.0059054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1213-17_0_4_line_49 |  | 48 | 52 | 0.021928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1213-17_0_4_line_50 |  | 49 | 50 | 0.021717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1213-17_0_4_line_51 |  | 50 | 51 | 0.0019014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1213-17_0_4_line_52 |  | 51 | 56 | 0.011548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1213-17_0_4_line_53 |  | 52 | 53 | 0.043079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1213-17_0_4_line_54 |  | 53 | 54 | 0.021462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1213-17_0_4_line_55 |  | 53 | 55 | 0.042775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1213-17_0_4_line_56 |  | 54 | 57 | 0.0037639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1213-17_0_4_line_57 |  | 57 | 58 | 0.21243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1213-17_0_4_line_58 |  | 58 | 59 | 0.044346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1213-17_0_4_trafo_30 | 0.63 MVA 20/0.4 kV | 60 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2691982.6382 | 1190662.2322 | 2691966.2967 | 1190675.6917
1 | 2692024.2417 | 1190617.1625 | 2691985.3444 | 1190660.0032 | 2691982.6382 | 1190662.2322
2 | 2691940.987 | 1190776.7655 | 2691966.2967 | 1190675.6917
3 | 2691998.549 | 1190602.247 | 2692024.2417 | 1190617.1625
4 | 2691940.987 | 1190776.7655 | 2691935.1738 | 1190773.961 | 2691926.5197 | 1190775.2187
5 | 2691940.987 | 1190776.7655 | 2691985.7695 | 1190709.9452
6 | 2691953.27 | 1190792.2562 | 2691941.2677 | 1190776.9009 | 2691940.987 | 1190776.7655
7 | 2691998.549 | 1190602.247 | 2691989.3614 | 1190601.1162 | 2691984.4332 | 1190603.6976 | 2691979.8824 | 1190610.4987 | 2691971.9147 | 1190622.7842 | 2691965.3655 | 1190629.1098
8 | 2691926.5197 | 1190775.2187 | 2691905.9334 | 1190778.2104
9 | 2691985.7695 | 1190709.9452 | 2691993.196 | 1190709.6055
10 | 2691953.27 | 1190792.2562 | 2691957.4075 | 1190797.5496
11 | 2692028.682 | 1190769.9743 | 2692033.5197 | 1190765.1109 | 2692034.7295 | 1190763.8347
12 | 2692028.682 | 1190769.9743 | 2692012.8241 | 1190785.9168
13 | 2691968.8613 | 1190812.203 | 2691957.4075 | 1190797.5496
14 | 2691968.8613 | 1190812.203 | 2691978.3787 | 1190824.3791 | 2691971.158 | 1190833.0881
15 | 2691968.8613 | 1190812.203 | 2692008.9776 | 1190789.7838
16 | 2692037.3173 | 1190833.2476 | 2692056.989 | 1190815.6362
17 | 2692034.2055 | 1190836.0335 | 2692037.3173 | 1190833.2476
18 | 2692055.0968 | 1190853.8838 | 2692037.3173 | 1190833.2476
19 | 2691978.3787 | 1190824.3791 | 2692034.2055 | 1190836.0335
20 | 2692052.7346 | 1190856.009 | 2692055.0968 | 1190853.8838
21 | 2692068.8978 | 1190841.4683 | 2692055.0968 | 1190853.8838
22 | 2692068.8978 | 1190841.4683 | 2692123.1953 | 1190863.2086
23 | 2691978.3787 | 1190824.3791 | 2691978.3787 | 1190824.3791 | 2691964.8418 | 1190840.7061
24 | 2691943.7628 | 1190866.1296 | 2691964.8418 | 1190840.7061
25 | 2692012.8241 | 1190785.9168 | 2692008.9776 | 1190789.7838
26 | 2691971.158 | 1190833.0881 | 2691955.8303 | 1190851.5749
27 | 2691943.7628 | 1190866.1296 | 2691955.8303 | 1190851.5749
28 | 2691943.7628 | 1190866.1296 | 2691941.1604 | 1190869.7253
29 | 2691943.7628 | 1190866.1296 | 2691919.7632 | 1190837.0226
30 | 2691941.1604 | 1190869.7253 | 2691955.0786 | 1190880.9685
31 | 2691941.1604 | 1190869.7253 | 2691935.1588 | 1190878.0053
32 | 2691893.6544 | 1190805.3576 | 2691919.7632 | 1190837.0226
33 | 2691905.9334 | 1190778.2104 | 2691902.1703 | 1190778.7573 | 2691899.0508 | 1190781.7669 | 2691894.4365 | 1190787.9388
34 | 2691894.4365 | 1190787.9388 | 2691889.8631 | 1190794.0559 | 2691890.1996 | 1190798.9642 | 2691892.7792 | 1190804.2961 | 2691906.1028 | 1190820.4552
35 | 2691907.4518 | 1190822.0912 | 2691906.1028 | 1190820.4552
36 | 2691930.0864 | 1190774.7003 | 2691902.1703 | 1190778.7573 | 2691899.0508 | 1190781.7669 | 2691889.8631 | 1190794.0559 | 2691890.1996 | 1190798.9642 | 2691892.7792 | 1190804.2961 | 2691893.6544 | 1190805.3576
37 | 2691955.0786 | 1190880.9685 | 2691969.1512 | 1190892.3364 | 2691970.9212 | 1190893.5801
38 | 2691924.8456 | 1190892.2336 | 2691935.1588 | 1190878.0053
39 | 2691880.7492 | 1190840.7805 | 2691895.0328 | 1190858.7873
40 | 2691895.0328 | 1190858.7873 | 2691898.1123 | 1190862.6695
41 | 2691898.1123 | 1190862.6695 | 2691901.9883 | 1190867.5558 | 2691911.4107 | 1190879.686 | 2691914.4112 | 1190882.4883
42 | 2691924.8456 | 1190892.2336 | 2691914.4112 | 1190882.4883
43 | 2691924.8456 | 1190892.2336 | 2691929.6207 | 1190895.6566
44 | 2691929.6207 | 1190895.6566 | 2691945.6268 | 1190907.1305
45 | 2691970.9212 | 1190893.5801 | 2691975.3842 | 1190896.7162
46 | 2691945.6268 | 1190907.1305 | 2691966.9834 | 1190922.44
47 | 2691785.9033 | 1191085.6129 | 2691796.5307 | 1191092.0035 | 2691801.898 | 1191095.2139
48 | 2691806.966 | 1191098.2453 | 2691801.898 | 1191095.2139
49 | 2691966.9834 | 1190922.44 | 2691984.805 | 1190935.2154
50 | 2691975.3842 | 1190896.7162 | 2691993.1534 | 1190909.2022
51 | 2691993.1534 | 1190909.2022 | 2691994.7092 | 1190910.2953
52 | 2692004.1576 | 1190916.9345 | 2691994.7092 | 1190910.2953
53 | 2692019.8176 | 1190960.3141 | 2691984.805 | 1190935.2154
54 | 2692019.8176 | 1190960.3141 | 2692005.865 | 1190976.6215
55 | 2692019.8176 | 1190960.3141 | 2692040.8486 | 1190976.7591 | 2692051.12 | 1190989.1287
56 | 2692005.865 | 1190976.6215 | 2692003.4181 | 1190979.4815
57 | 2692003.4181 | 1190979.4815 | 2691845.0163 | 1191121.0209
58 | 2691806.966 | 1191098.2453 | 2691845.0163 | 1191121.0209

## bus_geodata
| x | y | coords
0 | 2691982.6382 | 1190662.2322
1 | 2691966.2967 | 1190675.6917
2 | 2692024.2417 | 1190617.1625
3 | 2691940.987 | 1190776.7655
4 | 2691998.549 | 1190602.247
5 | 2691926.5197 | 1190775.2187
6 | 2691985.7695 | 1190709.9452
7 | 2691953.27 | 1190792.2562
8 | 2691965.3655 | 1190629.1098
9 | 2691993.196 | 1190709.6055
10 | 2692034.7295 | 1190763.8347
11 | 2692028.682 | 1190769.9743
12 | 2691957.4075 | 1190797.5496
13 | 2691968.8613 | 1190812.203
14 | 2692056.989 | 1190815.6362
15 | 2692037.3173 | 1190833.2476
16 | 2692034.2055 | 1190836.0335
17 | 2692055.0968 | 1190853.8838
18 | 2692068.8978 | 1190841.4683
19 | 2692123.1953 | 1190863.2086
20 | 2691978.3787 | 1190824.3791
21 | 2691964.8418 | 1190840.7061
22 | 2692052.7346 | 1190856.009
23 | 2692012.8241 | 1190785.9168
24 | 2692008.9776 | 1190789.7838
25 | 2691971.158 | 1190833.0881
26 | 2691955.8303 | 1190851.5749
27 | 2691943.7628 | 1190866.1296
28 | 2691941.1604 | 1190869.7253
29 | 2691919.7632 | 1190837.0226
30 | 2691905.9334 | 1190778.2104
31 | 2691894.4365 | 1190787.9388
32 | 2691906.1028 | 1190820.4552
33 | 2691907.4518 | 1190822.0912
34 | 2691930.0864 | 1190774.7003
35 | 2691893.6544 | 1190805.3576
36 | 2691955.0786 | 1190880.9685
37 | 2691935.1588 | 1190878.0053
38 | 2691880.7492 | 1190840.7805
39 | 2691895.0328 | 1190858.7873
40 | 2691898.1123 | 1190862.6695
41 | 2691914.4112 | 1190882.4883
42 | 2691924.8456 | 1190892.2336
43 | 2691929.6207 | 1190895.6566
44 | 2691970.9212 | 1190893.5801
45 | 2691945.6268 | 1190907.1305
46 | 2691785.9033 | 1191085.6129
47 | 2691801.898 | 1191095.2139
48 | 2691966.9834 | 1190922.44
49 | 2691975.3842 | 1190896.7162
50 | 2691993.1534 | 1190909.2022
51 | 2691994.7092 | 1190910.2953
52 | 2691984.805 | 1190935.2154
53 | 2692019.8176 | 1190960.3141
54 | 2692005.865 | 1190976.6215
55 | 2692051.12 | 1190989.1287
56 | 2692004.1576 | 1190916.9345
57 | 2692003.4181 | 1190979.4815
58 | 2691845.0163 | 1191121.0209
59 | 2691806.966 | 1191098.2453
60 | 2691943.7628 | 1190866.1296

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98697 | -0.25074 | 0.0022528 | 0.0005646
1 | 0.98705 | -0.24927 | 0.0036967 | 0.00092648
2 | 0.98688 | -0.25253 | 0 | 0
3 | 0.98777 | -0.23514 | 0.011869 | 0.0029746
4 | 0.98684 | -0.2534 | 0 | 0
5 | 0.98731 | -0.24414 | 0.0085298 | 0.0021378
6 | 0.9861 | -0.26772 | 0.0078761 | 0.0019739
7 | 0.98914 | -0.20859 | 0.0088547 | 0.0022192
8 | 0.98677 | -0.25476 | 0.0016272 | 0.00040781
9 | 0.986 | -0.26968 | 0.014751 | 0.003697
10 | 0.98904 | -0.21061 | 0.0068331 | 0.0017125
11 | 0.98909 | -0.20956 | 0.0050516 | 0.0012661
12 | 0.98966 | -0.19853 | 0.0057655 | 0.001445
13 | 0.99119 | -0.16885 | 0.0068541 | 0.0017178
14 | 0.99697 | -0.058155 | 0.0048058 | 0.0012044
15 | 0.99709 | -0.05593 | 0.0033418 | 0.00083754
16 | 0.9972 | -0.053722 | 0.0072387 | 0.0018142
17 | 0.99654 | -0.066449 | 0.007244 | 0.0018155
18 | 0.99634 | -0.070337 | 0.0028013 | 0.00070208
19 | 0.99586 | -0.079717 | 0.0091288 | 0.0022879
20 | 0.99914 | -0.016406 | 0.006939 | 0.0017391
21 | 1 | 0 | -0.34755 | -0.087704
22 | 0.99654 | -0.066607 | 0.0028377 | 0.0007112
23 | 0.98934 | -0.2048 | 0.019596 | 0.0049113
24 | 0.9895 | -0.20174 | 0.0087908 | 0.0022032
25 | 0.99456 | -0.10404 | 0.0058497 | 0.0014661
26 | 0.99613 | -0.073881 | 0.004998 | 0.0012526
27 | 0.99699 | -0.057535 | 0 | 0
28 | 0.99645 | -0.06775 | 0 | 0
29 | 0.9963 | -0.070695 | 0.0051675 | 0.0012951
30 | 0.98684 | -0.25328 | 0.0062464 | 0.0015655
31 | 0.98657 | -0.25848 | 0.0073734 | 0.0018479
32 | 0.98618 | -0.26622 | 0.0055872 | 0.0014003
33 | 0.98617 | -0.26642 | 0.0053651 | 0.0013446
34 | 0.99522 | -0.091593 | 0.0097332 | 0.0024394
35 | 0.99575 | -0.081303 | 0.0049761 | 0.0012471
36 | 0.99559 | -0.084341 | 0.0048674 | 0.0012199
37 | 0.99572 | -0.081851 | 0.0038443 | 0.00096348
38 | 0.99369 | -0.12098 | 0.0047853 | 0.0011993
39 | 0.99379 | -0.11904 | 0.007107 | 0.0017812
40 | 0.99385 | -0.118 | 0.0047694 | 0.0011953
41 | 0.99424 | -0.11044 | 0.005197 | 0.0013025
42 | 0.99452 | -0.10494 | 0 | 0
43 | 0.99424 | -0.11041 | 0.0049121 | 0.0012311
44 | 0.99471 | -0.10142 | 0.005415 | 0.0013571
45 | 0.99337 | -0.12705 | 0.0072985 | 0.0018292
46 | 0.9869 | -0.25253 | 0.0010098 | 0.00025309
47 | 0.98692 | -0.25219 | 0.010204 | 0.0025575
48 | 0.9924 | -0.1459 | 0.0051517 | 0.0012911
49 | 0.9945 | -0.1055 | 0.011329 | 0.0028393
50 | 0.99388 | -0.11744 | 0.007337 | 0.0018388
51 | 0.99384 | -0.11824 | 0.004545 | 0.0011391
52 | 0.99169 | -0.15966 | 0.0057912 | 0.0014514
53 | 0.99051 | -0.18232 | 0 | 0
54 | 0.99002 | -0.19198 | 0.0057117 | 0.0014315
55 | 0.99035 | -0.18559 | 0.0043039 | 0.0010787
56 | 0.99364 | -0.12217 | 0.019286 | 0.0048334
57 | 0.98995 | -0.19329 | 0.0067273 | 0.001686
58 | 0.98743 | -0.24211 | 0.0016684 | 0.00041813
59 | 0.98698 | -0.25101 | 0 | 0
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0038803 | -0.00097085 | 0.0038806 | 0.00097076 | 2.7165e-07 | -9.6721e-08 | 0.0058496 | 0.0058495 | 0.0058496 | 0.98697 | -0.25074 | 0.98705 | -0.24927 | 1.607
1 | 0.0016275 | 0.00040625 | -0.0016274 | -0.00040695 | 1.3851e-07 | -6.9558e-07 | 0.0024531 | 0.0024534 | 0.0024534 | 0.98697 | -0.25074 | 0.98688 | -0.25253 | 0.67401
2 | -0.0075773 | -0.0018972 | 0.0075824 | 0.0018992 | 5.0977e-06 | 1.9298e-06 | 0.011422 | 0.011422 | 0.011422 | 0.98705 | -0.24927 | 0.98777 | -0.23514 | 3.138
3 | 0.0016274 | 0.00040695 | -0.0016273 | -0.00040728 | 6.6916e-08 | -3.3593e-07 | 0.0024534 | 0.0024535 | 0.0024535 | 0.98688 | -0.25253 | 0.98684 | -0.2534 | 0.67405
4 | 0.033135 | 0.0083164 | -0.033121 | -0.0083075 | 1.4204e-05 | 8.8963e-06 | 0.049921 | 0.049921 | 0.049921 | 0.98777 | -0.23514 | 0.98731 | -0.24414 | 13.7145
5 | 0.022664 | 0.0056932 | -0.022629 | -0.0056717 | 3.5171e-05 | 2.1482e-05 | 0.034146 | 0.034147 | 0.034147 | 0.98777 | -0.23514 | 0.9861 | -0.26772 | 9.3809
6 | -0.07525 | -0.018883 | 0.075346 | 0.018944 | 9.5434e-05 | 6.0824e-05 | 0.11337 | 0.11337 | 0.11337 | 0.98777 | -0.23514 | 0.98914 | -0.20859 | 31.1451
7 | 0.0016273 | 0.00040728 | -0.0016272 | -0.00040781 | 1.054e-07 | -5.2895e-07 | 0.0024535 | 0.0024538 | 0.0024538 | 0.98684 | -0.2534 | 0.98677 | -0.25476 | 0.67411
8 | 0.024591 | 0.0061697 | -0.024581 | -0.0061631 | 1.0717e-05 | 6.593e-06 | 0.037065 | 0.037065 | 0.037065 | 0.98731 | -0.24414 | 0.98684 | -0.25328 | 10.1827
9 | 0.014753 | 0.0036978 | -0.014751 | -0.003697 | 1.3816e-06 | 7.894e-07 | 0.022262 | 0.022262 | 0.022262 | 0.9861 | -0.26772 | 0.986 | -0.26968 | 6.1159
10 | -0.0842 | -0.021163 | 0.084241 | 0.021189 | 4.0437e-05 | 2.5793e-05 | 0.12669 | 0.12669 | 0.12669 | 0.98914 | -0.20859 | 0.98966 | -0.19853 | 34.8046
11 | -0.0068331 | -0.0017125 | 0.0068335 | 0.0017126 | 3.4156e-07 | 1.0799e-07 | 0.01028 | 0.01028 | 0.01028 | 0.98904 | -0.21061 | 0.98909 | -0.20956 | 2.8243
12 | -0.011885 | -0.0029787 | 0.011888 | 0.0029801 | 2.6958e-06 | 1.4367e-06 | 0.01788 | 0.01788 | 0.01788 | 0.98909 | -0.20956 | 0.98934 | -0.2048 | 4.9121
13 | -0.090006 | -0.022634 | 0.090134 | 0.022716 | 0.00012778 | 8.1543e-05 | 0.13536 | 0.13536 | 0.13536 | 0.98966 | -0.19853 | 0.99119 | -0.16885 | 37.1861
14 | -0.13733 | -0.034571 | 0.13776 | 0.034844 | 0.00042688 | 0.00027286 | 0.20622 | 0.20622 | 0.20622 | 0.99119 | -0.16885 | 0.99456 | -0.10404 | 56.654
15 | 0.040343 | 0.010137 | -0.04028 | -0.010098 | 6.3232e-05 | 3.9877e-05 | 0.060574 | 0.060574 | 0.060574 | 0.99119 | -0.16885 | 0.9895 | -0.20174 | 16.6411
16 | -0.0048058 | -0.0012044 | 0.0048063 | 0.0012044 | 5.0939e-07 | -1.8328e-08 | 0.0071727 | 0.0071726 | 0.0071727 | 0.99697 | -0.058155 | 0.99709 | -0.05593 | 1.9705
17 | -0.030177 | -0.0075684 | 0.03018 | 0.0075703 | 3.1769e-06 | 1.9787e-06 | 0.045037 | 0.045037 | 0.045037 | 0.99709 | -0.05593 | 0.9972 | -0.053722 | 12.3729
18 | 0.022029 | 0.0055264 | -0.022018 | -0.0055197 | 1.1041e-05 | 6.7113e-06 | 0.032877 | 0.032878 | 0.032878 | 0.99709 | -0.05593 | 0.99654 | -0.066449 | 9.0323
19 | -0.037419 | -0.0093845 | 0.037486 | 0.0094264 | 6.6681e-05 | 4.1931e-05 | 0.055839 | 0.055838 | 0.055839 | 0.9972 | -0.053722 | 0.99914 | -0.016406 | 15.3403
20 | 0.0028378 | 0.00071118 | -0.0028377 | -0.0007112 | 2.1394e-08 | -2.7706e-08 | 0.0042373 | 0.0042373 | 0.0042373 | 0.99654 | -0.066449 | 0.99654 | -0.066607 | 1.1641
21 | 0.011936 | 0.002993 | -0.011934 | -0.0029918 | 2.2115e-06 | 1.1736e-06 | 0.017824 | 0.017824 | 0.017824 | 0.99654 | -0.066449 | 0.99634 | -0.070337 | 4.8966
22 | 0.0091329 | 0.0022897 | -0.0091288 | -0.0022879 | 4.0807e-06 | 1.8503e-06 | 0.01364 | 0.01364 | 0.01364 | 0.99634 | -0.070337 | 0.99586 | -0.079717 | 3.7473
23 | -0.044425 | -0.011166 | 0.04446 | 0.011188 | 3.4826e-05 | 2.2011e-05 | 0.066173 | 0.066173 | 0.066173 | 0.99914 | -0.016406 | 1 | 0 | 18.1793
24 | 0.30144 | 0.076516 | -0.30061 | -0.075985 | 0.00083185 | 0.00053109 | 0.44889 | 0.44889 | 0.44889 | 1 | 0 | 0.99699 | -0.057535 | 41.1075
25 | -0.031484 | -0.0078915 | 0.031489 | 0.0078943 | 4.5865e-06 | 2.8653e-06 | 0.047354 | 0.047354 | 0.047354 | 0.98934 | -0.2048 | 0.9895 | -0.20174 | 13.0094
26 | -0.14361 | -0.03631 | 0.14382 | 0.036442 | 0.00020809 | 0.00013255 | 0.21497 | 0.21497 | 0.21497 | 0.99456 | -0.10404 | 0.99613 | -0.073881 | 29.5292
27 | -0.14881 | -0.037695 | 0.14893 | 0.037769 | 0.00011694 | 7.4099e-05 | 0.22244 | 0.22244 | 0.22244 | 0.99613 | -0.073881 | 0.99699 | -0.057535 | 20.3698
28 | 0.13178 | 0.03322 | -0.13171 | -0.033179 | 6.438e-05 | 4.1146e-05 | 0.19675 | 0.19675 | 0.19675 | 0.99699 | -0.057535 | 0.99645 | -0.06775 | 54.0521
29 | 0.019901 | 0.0049956 | -0.019889 | -0.0049881 | 1.2484e-05 | 7.4981e-06 | 0.029706 | 0.029706 | 0.029706 | 0.99699 | -0.057535 | 0.9963 | -0.070695 | 8.161
30 | 0.05289 | 0.013298 | -0.052849 | -0.013271 | 4.1871e-05 | 2.6564e-05 | 0.078997 | 0.078997 | 0.078997 | 0.99645 | -0.06775 | 0.99559 | -0.084341 | 21.7024
31 | 0.078824 | 0.019881 | -0.078771 | -0.019847 | 5.3173e-05 | 3.3898e-05 | 0.11775 | 0.11775 | 0.11775 | 0.99645 | -0.06775 | 0.99572 | -0.081851 | 32.3497
32 | 0.014721 | 0.003693 | -0.014714 | -0.0036888 | 7.441e-06 | 4.2281e-06 | 0.021988 | 0.021988 | 0.021988 | 0.9963 | -0.070695 | 0.99575 | -0.081303 | 6.0408
33 | 0.018334 | 0.0045976 | -0.01833 | -0.0045949 | 4.5411e-06 | 2.7039e-06 | 0.027647 | 0.027647 | 0.027647 | 0.98684 | -0.25328 | 0.98657 | -0.25848 | 7.5952
34 | 0.010956 | 0.002747 | -0.010952 | -0.0027449 | 4.0375e-06 | 2.0808e-06 | 0.016526 | 0.016526 | 0.016526 | 0.98657 | -0.25848 | 0.98618 | -0.26622 | 4.54
35 | 0.0053651 | 0.0013446 | -0.0053651 | -0.0013446 | 5.2111e-08 | 6.2962e-09 | 0.0080953 | 0.0080953 | 0.0080953 | 0.98618 | -0.26622 | 0.98617 | -0.26642 | 2.224
36 | -0.0097332 | -0.0024394 | 0.0097379 | 0.0024416 | 4.7734e-06 | 2.2735e-06 | 0.014553 | 0.014552 | 0.014553 | 0.99522 | -0.091593 | 0.99575 | -0.081303 | 3.998
37 | 0.047981 | 0.012052 | -0.047942 | -0.012027 | 3.907e-05 | 2.4742e-05 | 0.071722 | 0.071722 | 0.071722 | 0.99559 | -0.084341 | 0.99471 | -0.10142 | 19.7039
38 | 0.074926 | 0.018884 | -0.074844 | -0.018831 | 8.2675e-05 | 5.2684e-05 | 0.11201 | 0.11201 | 0.11201 | 0.99572 | -0.081851 | 0.99452 | -0.10494 | 30.7715
39 | -0.0047853 | -0.0011993 | 0.0047857 | 0.0011993 | 4.4257e-07 | -1.4528e-08 | 0.0071658 | 0.0071657 | 0.0071658 | 0.99369 | -0.12098 | 0.99379 | -0.11904 | 1.9686
40 | -0.011893 | -0.0029805 | 0.011893 | 0.0029808 | 5.8922e-07 | 3.1289e-07 | 0.017807 | 0.017807 | 0.017807 | 0.99379 | -0.11904 | 0.99385 | -0.118 | 4.8921
41 | -0.016663 | -0.0041761 | 0.016669 | 0.0041796 | 5.9989e-06 | 3.5061e-06 | 0.024948 | 0.024948 | 0.024948 | 0.99385 | -0.118 | 0.99424 | -0.11044 | 6.8538
42 | -0.021866 | -0.0054821 | 0.021871 | 0.0054856 | 5.7341e-06 | 3.4846e-06 | 0.032726 | 0.032726 | 0.032726 | 0.99424 | -0.11044 | 0.99452 | -0.10494 | 8.9906
43 | 0.052972 | 0.013345 | -0.052959 | -0.013337 | 1.3849e-05 | 8.7869e-06 | 0.079282 | 0.079282 | 0.079282 | 0.99452 | -0.10494 | 0.99424 | -0.11041 | 21.7809
44 | 0.048046 | 0.012105 | -0.048008 | -0.012081 | 3.8211e-05 | 2.42e-05 | 0.071931 | 0.071931 | 0.071931 | 0.99424 | -0.11041 | 0.99337 | -0.12705 | 19.7612
45 | 0.042527 | 0.01067 | -0.042519 | -0.010664 | 8.2796e-06 | 5.2281e-06 | 0.063622 | 0.063622 | 0.063622 | 0.99471 | -0.10142 | 0.9945 | -0.1055 | 17.4785
46 | 0.04071 | 0.010252 | -0.040673 | -0.010229 | 3.6664e-05 | 2.3125e-05 | 0.060998 | 0.060998 | 0.060998 | 0.99337 | -0.12705 | 0.9924 | -0.1459 | 16.7578
47 | -0.0010098 | -0.00025309 | 0.0010099 | 0.00025286 | 1.6217e-08 | -2.28e-07 | 0.0015226 | 0.0015225 | 0.0015226 | 0.9869 | -0.25253 | 0.98692 | -0.25219 | 0.4183
48 | -0.011214 | -0.0028103 | 0.011215 | 0.0028107 | 6.3311e-07 | 3.2972e-07 | 0.016908 | 0.016908 | 0.016908 | 0.98692 | -0.25219 | 0.98698 | -0.25101 | 4.6451
49 | 0.035521 | 0.0089379 | -0.035498 | -0.0089232 | 2.3337e-05 | 1.4653e-05 | 0.053274 | 0.053274 | 0.053274 | 0.9924 | -0.1459 | 0.99169 | -0.15966 | 14.6357
50 | 0.03119 | 0.0078251 | -0.031172 | -0.007814 | 1.7739e-05 | 1.1071e-05 | 0.046671 | 0.046671 | 0.046671 | 0.9945 | -0.1055 | 0.99388 | -0.11744 | 12.8216
51 | 0.023835 | 0.0059752 | -0.023834 | -0.0059747 | 9.0802e-07 | 5.565e-07 | 0.035686 | 0.035686 | 0.035686 | 0.99388 | -0.11744 | 0.99384 | -0.11824 | 9.8038
52 | 0.019289 | 0.0048356 | -0.019286 | -0.0048334 | 3.6121e-06 | 2.1621e-06 | 0.028881 | 0.028881 | 0.028881 | 0.99384 | -0.11824 | 0.99364 | -0.12217 | 7.9344
53 | 0.029707 | 0.0074718 | -0.029675 | -0.0074518 | 3.2112e-05 | 1.9996e-05 | 0.044584 | 0.044584 | 0.044584 | 0.99169 | -0.15966 | 0.99051 | -0.18232 | 12.2485
54 | 0.02537 | 0.0063733 | -0.025358 | -0.006366 | 1.1694e-05 | 7.2079e-06 | 0.038118 | 0.038118 | 0.038118 | 0.99051 | -0.18232 | 0.99002 | -0.19198 | 10.472
55 | 0.0043045 | 0.0010785 | -0.0043039 | -0.0010787 | 6.7077e-07 | -1.212e-07 | 0.0064665 | 0.0064667 | 0.0064667 | 0.99051 | -0.18232 | 0.99035 | -0.18559 | 1.7766
56 | 0.019647 | 0.0049346 | -0.019645 | -0.0049338 | 1.2311e-06 | 7.395e-07 | 0.029533 | 0.029533 | 0.029533 | 0.99002 | -0.19198 | 0.98995 | -0.19329 | 8.1135
57 | 0.012918 | 0.0032478 | -0.012888 | -0.0032313 | 3.0048e-05 | 1.6506e-05 | 0.019421 | 0.019422 | 0.019422 | 0.98995 | -0.19329 | 0.98743 | -0.24211 | 5.3358
58 | 0.01122 | 0.0028132 | -0.011215 | -0.0028107 | 4.7542e-06 | 2.4757e-06 | 0.016908 | 0.016908 | 0.016908 | 0.98743 | -0.24211 | 0.98698 | -0.25101 | 4.6451

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35822 | 0.090378

## res_load
| p_mw | q_mvar
0 | 0.0022528 | 0.0005646
1 | 0.0036967 | 0.00092648
2 | 0.011869 | 0.0029746
3 | 0.0085298 | 0.0021378
4 | 0.0078761 | 0.0019739
5 | 0.0088547 | 0.0022192
6 | 0.0016272 | 0.00040781
7 | 0.014751 | 0.003697
8 | 0.0068331 | 0.0017125
9 | 0.0050516 | 0.0012661
10 | 0.0057655 | 0.001445
11 | 0.0068541 | 0.0017178
12 | 0.0048058 | 0.0012044
13 | 0.0033418 | 0.00083754
14 | 0.0072387 | 0.0018142
15 | 0.007244 | 0.0018155
16 | 0.0028013 | 0.00070208
17 | 0.0091288 | 0.0022879
18 | 0.006939 | 0.0017391
19 | 0.010672 | 0.0026746
20 | 0.0028377 | 0.0007112
21 | 0.019596 | 0.0049113
22 | 0.0087908 | 0.0022032
23 | 0.0058497 | 0.0014661
24 | 0.004998 | 0.0012526
25 | 0.0051675 | 0.0012951
26 | 0.0062464 | 0.0015655
27 | 0.0073734 | 0.0018479
28 | 0.0055872 | 0.0014003
29 | 0.0053651 | 0.0013446
30 | 0.0097332 | 0.0024394
31 | 0.0049761 | 0.0012471
32 | 0.0048674 | 0.0012199
33 | 0.0038443 | 0.00096348
34 | 0.0047853 | 0.0011993
35 | 0.007107 | 0.0017812
36 | 0.0047694 | 0.0011953
37 | 0.005197 | 0.0013025
38 | 0.0049121 | 0.0012311
39 | 0.005415 | 0.0013571
40 | 0.0072985 | 0.0018292
41 | 0.0010098 | 0.00025309
42 | 0.010204 | 0.0025575
43 | 0.0051517 | 0.0012911
44 | 0.011329 | 0.0028393
45 | 0.007337 | 0.0018388
46 | 0.004545 | 0.0011391
47 | 0.0057912 | 0.0014514
48 | 0.0057117 | 0.0014315
49 | 0.0043039 | 0.0010787
50 | 0.019286 | 0.0048334
51 | 0.0067273 | 0.001686
52 | 0.0016684 | 0.00041813

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1