## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1213-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1213-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1213-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1213-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1213-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1213-2_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1213-2_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1213-2_0_2_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_1213-2_0_2_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_1213-2_0_2_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_1213-2_0_2_node_80 | 0.4 | n |  | TRUE
11 | bus_LV_1213-2_0_2_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1213-2_0_2_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_1213-2_0_2_node_83 | 0.4 | n |  | TRUE
14 | bus_LV_1213-2_0_2_node_72 | 0.4 | n |  | TRUE
15 | bus_LV_1213-2_0_2_node_82 | 0.4 | n |  | TRUE
16 | bus_LV_1213-2_0_2_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_1213-2_0_2_node_81 | 0.4 | n |  | TRUE
18 | bus_LV_1213-2_0_2_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_1213-2_0_2_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_1213-2_0_2_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_1213-2_0_2_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_1213-2_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1213-2_0_2_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1213-2_0_2_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1213-2_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1213-2_0_2_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_1213-2_0_2_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1213-2_0_2_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_1213-2_0_2_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_1213-2_0_2_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_1213-2_0_2_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_1213-2_0_2_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_1213-2_0_2_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_1213-2_0_2_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_1213-2_0_2_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_1213-2_0_2_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_1213-2_0_2_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_1213-2_0_2_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_1213-2_0_2_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_1213-2_0_2_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_1213-2_0_2_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_1213-2_0_2_node_86 | 0.4 | n |  | TRUE
43 | bus_LV_1213-2_0_2_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_1213-2_0_2_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_1213-2_0_2_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_1213-2_0_2_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_1213-2_0_2_node_89 | 0.4 | n |  | TRUE
48 | bus_LV_1213-2_0_2_node_93 | 0.4 | n |  | TRUE
49 | bus_LV_1213-2_0_2_node_91 | 0.4 | n |  | TRUE
50 | bus_MV_11_0_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1213-2_0_2_load_0 | 0 | 0.0015521 | 0.000389 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1213-2_0_2_load_1 | 1 | 0.0027534 | 0.00069007 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1213-2_0_2_load_2 | 2 | 0.00013385 | 3.3547e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1213-2_0_2_load_3 | 3 | 0.0018442 | 0.00046221 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1213-2_0_2_load_4 | 4 | 0.0025575 | 0.00064096 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1213-2_0_2_load_6 | 6 | 0.00019085 | 4.7831e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1213-2_0_2_load_69 | 9 | 0.0030155 | 0.00075576 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1213-2_0_2_load_80 | 10 | 0.00051414 | 0.00012886 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1213-2_0_2_load_13 | 11 | 0.0047964 | 0.0012021 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1213-2_0_2_load_42 | 12 | 0.00046599 | 0.00011679 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1213-2_0_2_load_83 | 13 | 0.019481 | 0.0048823 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1213-2_0_2_load_82 | 15 | 0.00096819 | 0.00024265 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1213-2_0_2_load_81 | 17 | 0.0013158 | 0.00032976 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1213-2_0_2_load_7 | 18 | 0.0012162 | 0.0003048 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1213-2_0_2_load_8 | 19 | 0.0006404 | 0.0001605 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1213-2_0_2_load_10 | 21 | 0.00069753 | 0.00017482 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1213-2_0_2_load_11 | 22 | 0.00014909 | 3.7366e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1213-2_0_2_load_12 | 23 | 0.00015115 | 3.7881e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1213-2_0_2_load_14 | 24 | 0.0022312 | 0.00055919 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1213-2_0_2_load_16 | 25 | 0.00062942 | 0.00015775 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1213-2_0_2_load_38 | 26 | 0.0023092 | 0.00057875 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1213-2_0_2_load_41 | 28 | 0.0018815 | 0.00047154 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1213-2_0_2_load_44 | 29 | 0.0040606 | 0.0010177 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1213-2_0_2_load_57 | 31 | 0.024293 | 0.0060883 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1213-2_0_2_load_58 | 32 | 0.034604 | 0.0086725 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1213-2_0_2_load_60 | 33 | 0.0030731 | 0.00077019 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1213-2_0_2_load_90 | 36 | 0.0023709 | 0.00059422 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1213-2_0_2_load_74 | 38 | 0.0023964 | 0.00060059 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1213-2_0_2_load_75 | 39 | 0.0018409 | 0.00046137 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1213-2_0_2_load_76 | 40 | 0.00021695 | 5.4373e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1213-2_0_2_load_77 | 41 | 0.00016769 | 4.2026e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1213-2_0_2_load_84 | 44 | 0.0021817 | 0.00054679 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1213-2_0_2_load_85 | 45 | 0.0013927 | 0.00034906 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1213-2_0_2_load_87 | 46 | 0.00059167 | 0.00014829 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1213-2_0_2_load_89 | 47 | 0.0012627 | 0.00031645 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1213-2_0_2_load_93 | 48 | 0.027267 | 0.0068338 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1213-2_0_2_load_91 | 49 | 0.0029044 | 0.00072792 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1213-2_0_2_line_0 |  | 0 | 1 | 0.041116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1213-2_0_2_line_1 |  | 0 | 2 | 0.057382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1213-2_0_2_line_2 |  | 1 | 3 | 0.071925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1213-2_0_2_line_3 |  | 2 | 4 | 0.024802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1213-2_0_2_line_4 |  | 3 | 5 | 0.027582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1213-2_0_2_line_5 |  | 4 | 6 | 0.1789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1213-2_0_2_line_6 |  | 5 | 7 | 0.029752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1213-2_0_2_line_7 |  | 5 | 8 | 0.030411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1213-2_0_2_line_8 |  | 5 | 9 | 0.047739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1213-2_0_2_line_9 |  | 6 | 10 | 0.060178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1213-2_0_2_line_10 |  | 7 | 11 | 0.033037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1213-2_0_2_line_11 |  | 7 | 12 | 0.043922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1213-2_0_2_line_12 |  | 8 | 13 | 0.014687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1213-2_0_2_line_13 |  | 9 | 16 | 0.11597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1213-2_0_2_line_14 |  | 10 | 17 | 0.14505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1213-2_0_2_line_15 |  | 11 | 21 | 0.048963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1213-2_0_2_line_16 |  | 12 | 27 | 0.067378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1213-2_0_2_line_17 |  | 13 | 14 | 0.018362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1213-2_0_2_line_18 |  | 14 | 15 | 0.075909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1213-2_0_2_line_19 |  | 16 | 30 | 0.01651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1213-2_0_2_line_20 |  | 17 | 40 | 0.049662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1213-2_0_2_line_21 |  | 18 | 19 | 0.041215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1213-2_0_2_line_22 |  | 18 | 20 | 0.097043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1213-2_0_2_line_23 |  | 19 | 21 | 0.021271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1213-2_0_2_line_24 |  | 20 | 22 | 0.0095537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1213-2_0_2_line_25 |  | 20 | 23 | 0.039007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1213-2_0_2_line_26 |  | 22 | 24 | 0.02509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1213-2_0_2_line_27 |  | 24 | 25 | 0.018501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1213-2_0_2_line_28 |  | 26 | 27 | 0.0042278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1213-2_0_2_line_29 |  | 27 | 28 | 0.040405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1213-2_0_2_line_30 |  | 28 | 29 | 0.041167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1213-2_0_2_line_31 |  | 30 | 36 | 0.068386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1213-2_0_2_line_32 |  | 30 | 35 | 0.076669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1213-2_0_2_line_33 |  | 31 | 32 | 0.0037067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1213-2_0_2_line_34 |  | 32 | 33 | 0.020252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1213-2_0_2_line_35 |  | 33 | 34 | 0.03184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1213-2_0_2_line_36 |  | 34 | 35 | 0.084197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1213-2_0_2_line_37 |  | 36 | 37 | 0.033296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1213-2_0_2_line_38 |  | 37 | 42 | 0.10365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1213-2_0_2_line_39 |  | 38 | 39 | 0.21718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1213-2_0_2_line_40 |  | 38 | 40 | 0.12147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1213-2_0_2_line_41 |  | 39 | 41 | 0.081294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1213-2_0_2_line_42 |  | 42 | 43 | 0.19729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1213-2_0_2_line_43 |  | 42 | 44 | 0.04353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1213-2_0_2_line_44 |  | 43 | 48 | 0.046855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1213-2_0_2_line_45 |  | 44 | 45 | 0.0237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1213-2_0_2_line_46 |  | 45 | 46 | 0.020474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1213-2_0_2_line_47 |  | 46 | 47 | 0.0097745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1213-2_0_2_line_48 |  | 47 | 49 | 0.020557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1213-2_0_2_trafo_61 | 0.63 MVA 20/0.4 kV | 50 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2692071.216 | 1189667.8938 | 2692071.2855 | 1189709.0099
1 | 2692071.216 | 1189667.8938 | 2692071.1501 | 1189628.941 | 2692070.9375 | 1189610.5126
2 | 2692066.092 | 1189780.2774 | 2692068.7389 | 1189774.7415 | 2692071.3004 | 1189717.8223 | 2692071.2855 | 1189709.0099
3 | 2692070.6514 | 1189585.7127 | 2692070.9375 | 1189610.5126
4 | 2692050.2995 | 1189799.2847 | 2692049.6345 | 1189794.9162 | 2692057.4457 | 1189792.3902 | 2692064.5383 | 1189783.5269 | 2692066.092 | 1189780.2774
5 | 2692070.6514 | 1189585.7127 | 2692070.0682 | 1189535.1645 | 2692067.9231 | 1189406.8339
6 | 2692021.5443 | 1189807.2145 | 2692041.3484 | 1189801.5375 | 2692050.2995 | 1189799.2847
7 | 2692050.2995 | 1189799.2847 | 2692063.6459 | 1189795.9211 | 2692064.6574 | 1189799.0831 | 2692066.5758 | 1189801.8033 | 2692069.222 | 1189803.823 | 2692072.3624 | 1189804.9498 | 2692075.6934 | 1189805.09
8 | 2692050.2995 | 1189799.2847 | 2692053.5632 | 1189805.7835 | 2692064.7795 | 1189808.0018 | 2692071.5836 | 1189817.8905 | 2692072.9714 | 1189834.8641
9 | 2692067.9231 | 1189406.8339 | 2692074.6861 | 1189466.6307
10 | 2692021.5443 | 1189807.2145 | 2692021.0465 | 1189774.1815
11 | 2692021.5443 | 1189807.2145 | 2691979.1854 | 1189818.8272
12 | 2692075.6934 | 1189805.09 | 2692079.2254 | 1189804.0659 | 2692082.2251 | 1189801.944 | 2692084.346 | 1189798.9414 | 2692085.3459 | 1189795.4212
13 | 2692080.8915 | 1189950.5518 | 2692076.1337 | 1189894.4428 | 2692073.3039 | 1189838.9304 | 2692072.9714 | 1189834.8641
14 | 2692074.6861 | 1189466.6307 | 2692072.6177 | 1189321.5939
15 | 2692021.0465 | 1189774.1815 | 2692020.6609 | 1189748.5968 | 2692020.674 | 1189725.2215
16 | 2691916.0381 | 1189841.7381 | 2691928.5912 | 1189835.3823 | 2691941.9165 | 1189829.9057 | 2691953.1894 | 1189825.954 | 2691979.1854 | 1189818.8272
17 | 2692074.3654 | 1189783.3335 | 2692077.9948 | 1189783.9119 | 2692081.2247 | 1189785.6627 | 2692083.7 | 1189788.3803 | 2692085.1277 | 1189791.7599 | 2692085.3459 | 1189795.4212
18 | 2692074.3654 | 1189783.3335 | 2692075.9697 | 1189775.7311 | 2692077.0181 | 1189707.6001
19 | 2692080.8915 | 1189950.5518 | 2692086.915 | 1189953.6575 | 2692087.4977 | 1189963.3727
20 | 2692103.6821 | 1189282.8468 | 2692072.6177 | 1189321.5939
21 | 2692027.3233 | 1189663.2397 | 2692026.8018 | 1189670.6859 | 2692021.4755 | 1189704.0131
22 | 2691963.4857 | 1189606.6388 | 2691982.3069 | 1189615.3224 | 2691993.6706 | 1189620.378 | 2692020.6288 | 1189632.6445 | 2692026.8766 | 1189637.0544 | 2692029.1022 | 1189644.1043 | 2692027.7205 | 1189657.5694 | 2692027.3233 | 1189663.2397
23 | 2692021.4755 | 1189704.0131 | 2692020.683 | 1189708.9718 | 2692020.674 | 1189725.2215
24 | 2691963.4857 | 1189606.6388 | 2691964.449 | 1189597.1338
25 | 2691963.4857 | 1189606.6388 | 2691941.0164 | 1189598.5775 | 2691929.7637 | 1189595.2248 | 2691926.4257 | 1189594.6103
26 | 2691966.9789 | 1189572.1717 | 2691964.449 | 1189597.1338
27 | 2691968.8444 | 1189553.7652 | 2691966.9789 | 1189572.1717
28 | 2691916.0381 | 1189841.7381 | 2691912.4212 | 1189843.9272
29 | 2691916.0381 | 1189841.7381 | 2691921.024 | 1189848.8414 | 2691927.9238 | 1189852.016 | 2691937.2696 | 1189856.329 | 2691949.839 | 1189862.119
30 | 2691984.2961 | 1189884.4023 | 2691958.8926 | 1189866.2896 | 2691949.839 | 1189862.119
31 | 2692087.4977 | 1189963.3727 | 2692088.1959 | 1189983.9188 | 2692089.6571 | 1190014.3607 | 2692090.4773 | 1190029.9499 | 2692090.6446 | 1190031.6821
32 | 2692019.1261 | 1189933.7025 | 2692045.0832 | 1189951.9465 | 2692060.4408 | 1189960.1101 | 2692073.8324 | 1189961.717 | 2692080.059 | 1189961.0346 | 2692087.4977 | 1189963.3727
33 | 2692028.9381 | 1190073.3469 | 2692028.6498 | 1190069.6514
34 | 2692028.6498 | 1190069.6514 | 2692027.8739 | 1190059.7064 | 2692027.1639 | 1190049.454
35 | 2692025.4163 | 1190017.6639 | 2692025.8913 | 1190025.9543 | 2692026.4572 | 1190039.2493 | 2692027.1639 | 1190049.454
36 | 2692019.1261 | 1189933.7025 | 2692021.2049 | 1189961.2076 | 2692025.4163 | 1190017.6639
37 | 2692093.8456 | 1190064.824 | 2692090.6446 | 1190031.6821
38 | 2692105.5472 | 1190167.7699 | 2692101.323 | 1190132.0265 | 2692099.3014 | 1190106.29 | 2692093.8456 | 1190064.824
39 | 2692102.7312 | 1189404.3052 | 2692102.6466 | 1189412.2426 | 2692107.2913 | 1189506.9412 | 2692137.9209 | 1189617.1909
40 | 2692102.7312 | 1189404.3052 | 2692103.0581 | 1189373.6132 | 2692103.8865 | 1189295.5094 | 2692103.6821 | 1189282.8468
41 | 2692137.9209 | 1189617.1909 | 2692138.325 | 1189618.6455 | 2692158.0944 | 1189695.9422
42 | 2692105.5472 | 1190167.7699 | 2692114.4149 | 1190242.732 | 2692099.1549 | 1190248.1007 | 2692059.7431 | 1190266.6953 | 2692025.2791 | 1190282.9536 | 2692013.0727 | 1190262.3528
43 | 2692105.5472 | 1190167.7699 | 2692126.3136 | 1190163.9202 | 2692135.607 | 1190184.3117
44 | 2691991.388 | 1190220.793 | 2692013.0727 | 1190262.3528
45 | 2692135.607 | 1190184.3117 | 2692145.4355 | 1190205.8776
46 | 2692145.4355 | 1190205.8776 | 2692153.9261 | 1190224.5077
47 | 2692157.9796 | 1190233.4021 | 2692153.9261 | 1190224.5077
48 | 2692157.9796 | 1190233.4021 | 2692166.5048 | 1190252.1081

## bus_geodata
| x | y | coords
0 | 2692071.216 | 1189667.8938
1 | 2692071.2855 | 1189709.0099
2 | 2692070.9375 | 1189610.5126
3 | 2692066.092 | 1189780.2774
4 | 2692070.6514 | 1189585.7127
5 | 2692050.2995 | 1189799.2847
6 | 2692067.9231 | 1189406.8339
7 | 2692021.5443 | 1189807.2145
8 | 2692075.6934 | 1189805.09
9 | 2692072.9714 | 1189834.8641
10 | 2692074.6861 | 1189466.6307
11 | 2692021.0465 | 1189774.1815
12 | 2691979.1854 | 1189818.8272
13 | 2692085.3459 | 1189795.4212
14 | 2692074.3654 | 1189783.3335
15 | 2692077.0181 | 1189707.6001
16 | 2692080.8915 | 1189950.5518
17 | 2692072.6177 | 1189321.5939
18 | 2692027.3233 | 1189663.2397
19 | 2692021.4755 | 1189704.0131
20 | 2691963.4857 | 1189606.6388
21 | 2692020.674 | 1189725.2215
22 | 2691964.449 | 1189597.1338
23 | 2691926.4257 | 1189594.6103
24 | 2691966.9789 | 1189572.1717
25 | 2691968.8444 | 1189553.7652
26 | 2691912.4212 | 1189843.9272
27 | 2691916.0381 | 1189841.7381
28 | 2691949.839 | 1189862.119
29 | 2691984.2961 | 1189884.4023
30 | 2692087.4977 | 1189963.3727
31 | 2692028.9381 | 1190073.3469
32 | 2692028.6498 | 1190069.6514
33 | 2692027.1639 | 1190049.454
34 | 2692025.4163 | 1190017.6639
35 | 2692019.1261 | 1189933.7025
36 | 2692090.6446 | 1190031.6821
37 | 2692093.8456 | 1190064.824
38 | 2692102.7312 | 1189404.3053
39 | 2692137.9209 | 1189617.1909
40 | 2692103.6821 | 1189282.8468
41 | 2692158.0944 | 1189695.9422
42 | 2692105.5472 | 1190167.7699
43 | 2692013.0727 | 1190262.3528
44 | 2692135.607 | 1190184.3117
45 | 2692145.4355 | 1190205.8776
46 | 2692153.9261 | 1190224.5077
47 | 2692157.9796 | 1190233.4021
48 | 2691991.388 | 1190220.793
49 | 2692166.5048 | 1190252.1081
50 | 2692036.9682 | 1190017.3747

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97423 | -0.49543 | 0.0015521 | 0.000389
1 | 0.97465 | -0.48719 | 0.0027534 | 0.00069007
2 | 0.97373 | -0.5053 | 0.00013385 | 3.3547e-05
3 | 0.97556 | -0.46917 | 0.0018442 | 0.00046221
4 | 0.97352 | -0.50951 | 0.0025575 | 0.00064096
5 | 0.97596 | -0.46133 | 0 | 0
6 | 0.97241 | -0.53147 | 0.00019085 | 4.7831e-05
7 | 0.97543 | -0.47182 | 0 | 0
8 | 0.97538 | -0.47272 | 0 | 0
9 | 0.97841 | -0.41322 | 0.0030155 | 0.00075576
10 | 0.97204 | -0.53865 | 0.00051414 | 0.00012886
11 | 0.9751 | -0.47819 | 0.0047964 | 0.0012021
12 | 0.97507 | -0.47884 | 0.00046599 | 0.00011679
13 | 0.9751 | -0.47823 | 0.019481 | 0.0048823
14 | 0.97508 | -0.47855 | 0 | 0
15 | 0.97502 | -0.4799 | 0.00096819 | 0.00024265
16 | 0.98469 | -0.29103 | 0 | 0
17 | 0.97124 | -0.5546 | 0.0013158 | 0.00032976
18 | 0.97458 | -0.4886 | 0.0012162 | 0.0003048
19 | 0.97474 | -0.48529 | 0.0006404 | 0.0001605
20 | 0.97429 | -0.49424 | 0 | 0
21 | 0.97484 | -0.48333 | 0.00069753 | 0.00017482
22 | 0.97426 | -0.49477 | 0.00014909 | 3.7366e-05
23 | 0.97428 | -0.49435 | 0.00015115 | 3.7881e-05
24 | 0.9742 | -0.49609 | 0.0022312 | 0.00055919
25 | 0.97419 | -0.4963 | 0.00062942 | 0.00015775
26 | 0.97454 | -0.48922 | 0.0023092 | 0.00057875
27 | 0.97455 | -0.48904 | 0 | 0
28 | 0.97433 | -0.49345 | 0.0018815 | 0.00047154
29 | 0.97417 | -0.49652 | 0.0040606 | 0.0010177
30 | 0.98558 | -0.27376 | 0 | 0
31 | 0.99704 | -0.056918 | 0.024293 | 0.0060883
32 | 0.99712 | -0.05534 | 0.034604 | 0.0086725
33 | 0.99821 | -0.034453 | 0.0030731 | 0.00077019
34 | 1 | 0 | -0.16224 | -0.041175
35 | 0.99245 | -0.1423 | 0 | 0
36 | 0.98316 | -0.32049 | 0.0023709 | 0.00059422
37 | 0.98206 | -0.3419 | 0 | 0
38 | 0.97053 | -0.56878 | 0.0023964 | 0.00060059
39 | 0.97012 | -0.57688 | 0.0018409 | 0.00046137
40 | 0.97103 | -0.55886 | 0.00021695 | 5.4373e-05
41 | 0.97011 | -0.57713 | 0.00016769 | 4.2026e-05
42 | 0.97862 | -0.40884 | 0 | 0
43 | 0.9736 | -0.50727 | 0 | 0
44 | 0.97829 | -0.41545 | 0.0021817 | 0.00054679
45 | 0.97815 | -0.4181 | 0.0013927 | 0.00034906
46 | 0.97806 | -0.41988 | 0.00059167 | 0.00014829
47 | 0.97802 | -0.42062 | 0.0012627 | 0.00031645
48 | 0.97241 | -0.53079 | 0.027267 | 0.0068338
49 | 0.97797 | -0.42171 | 0.0029044 | 0.00072792
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.01091 | -0.0027319 | 0.010914 | 0.0027341 | 4.2808e-06 | 2.2275e-06 | 0.016663 | 0.016662 | 0.016663 | 0.97423 | -0.49543 | 0.97465 | -0.48719 | 4.5776
1 | 0.0093577 | 0.0023429 | -0.0093533 | -0.0023408 | 4.3954e-06 | 2.0989e-06 | 0.014292 | 0.014292 | 0.014292 | 0.97423 | -0.49543 | 0.97373 | -0.5053 | 3.9264
2 | -0.013667 | -0.0034242 | 0.013679 | 0.0034308 | 1.1743e-05 | 6.6185e-06 | 0.020866 | 0.020866 | 0.020866 | 0.97465 | -0.48719 | 0.97556 | -0.46917 | 5.7324
3 | 0.0092194 | 0.0023072 | -0.0092176 | -0.0023064 | 1.8458e-06 | 8.7288e-07 | 0.014088 | 0.014088 | 0.014088 | 0.97373 | -0.5053 | 0.97352 | -0.50951 | 3.8702
4 | -0.015523 | -0.003893 | 0.015529 | 0.0038964 | 5.7992e-06 | 3.367e-06 | 0.023679 | 0.023679 | 0.023679 | 0.97556 | -0.46917 | 0.97596 | -0.46133 | 6.5052
5 | 0.0066601 | 0.0016654 | -0.0066532 | -0.0016632 | 6.9511e-06 | 2.2269e-06 | 0.010179 | 0.010179 | 0.010179 | 0.97352 | -0.50951 | 0.97241 | -0.53147 | 2.7965
6 | 0.019254 | 0.0048283 | -0.019244 | -0.0048226 | 9.6155e-06 | 5.7823e-06 | 0.029357 | 0.029357 | 0.029357 | 0.97596 | -0.46133 | 0.97543 | -0.47182 | 8.0651
7 | 0.020465 | 0.0051338 | -0.020454 | -0.0051271 | 1.1105e-05 | 6.7273e-06 | 0.031205 | 0.031205 | 0.031205 | 0.97596 | -0.46133 | 0.97538 | -0.47272 | 8.5728
8 | -0.055249 | -0.013859 | 0.055376 | 0.013939 | 0.00012704 | 8.0709e-05 | 0.08424 | 0.08424 | 0.08424 | 0.97596 | -0.46133 | 0.97841 | -0.41322 | 23.143
9 | 0.0064623 | 0.0016154 | -0.0064601 | -0.0016147 | 2.2062e-06 | 6.6572e-07 | 0.0098874 | 0.0098877 | 0.0098877 | 0.97241 | -0.53147 | 0.97204 | -0.53865 | 2.7164
10 | 0.010518 | 0.0026346 | -0.010515 | -0.002633 | 3.1894e-06 | 1.629e-06 | 0.016045 | 0.016045 | 0.016045 | 0.97543 | -0.47182 | 0.9751 | -0.47819 | 4.408
11 | 0.0087261 | 0.0021879 | -0.0087232 | -0.0021866 | 2.9188e-06 | 1.32e-06 | 0.013312 | 0.013312 | 0.013312 | 0.97543 | -0.47182 | 0.97507 | -0.47884 | 3.6572
12 | 0.020454 | 0.0051271 | -0.020449 | -0.0051239 | 5.3632e-06 | 3.2492e-06 | 0.031205 | 0.031205 | 0.031205 | 0.97538 | -0.47272 | 0.9751 | -0.47823 | 8.5728
13 | -0.058391 | -0.014695 | 0.058734 | 0.014913 | 0.00034314 | 0.00021815 | 0.088826 | 0.088826 | 0.088826 | 0.97841 | -0.41322 | 0.98469 | -0.29103 | 24.4029
14 | 0.005946 | 0.0014858 | -0.0059415 | -0.0014847 | 4.5053e-06 | 1.0868e-06 | 0.0091006 | 0.0091013 | 0.0091013 | 0.97204 | -0.53865 | 0.97124 | -0.5546 | 2.5003
15 | 0.0057186 | 0.0014309 | -0.0057172 | -0.0014306 | 1.3981e-06 | 2.8414e-07 | 0.0087258 | 0.008726 | 0.008726 | 0.9751 | -0.47819 | 0.97484 | -0.48333 | 2.3973
16 | 0.0082572 | 0.0020698 | -0.0082532 | -0.0020681 | 4.0122e-06 | 1.7278e-06 | 0.012601 | 0.012601 | 0.012601 | 0.97507 | -0.47884 | 0.97455 | -0.48904 | 3.4619
17 | 0.00096827 | 0.00024152 | -0.00096825 | -0.00024174 | 1.5026e-08 | -2.1942e-07 | 0.0014772 | 0.0014773 | 0.0014773 | 0.9751 | -0.47823 | 0.97508 | -0.47855 | 0.40584
18 | 0.00096825 | 0.00024174 | -0.00096819 | -0.00024265 | 6.2135e-08 | -9.0703e-07 | 0.0014773 | 0.0014776 | 0.0014776 | 0.97508 | -0.47855 | 0.97502 | -0.4799 | 0.40593
19 | -0.058734 | -0.014913 | 0.058783 | 0.014944 | 4.8848e-05 | 3.1053e-05 | 0.088826 | 0.088826 | 0.088826 | 0.98469 | -0.29103 | 0.98558 | -0.27376 | 24.4027
20 | 0.0046257 | 0.001155 | -0.0046248 | -0.001155 | 9.3498e-07 | -1.6075e-08 | 0.0070854 | 0.0070856 | 0.0070856 | 0.97124 | -0.5546 | 0.97103 | -0.55886 | 1.9466
21 | -0.0043781 | -0.0010953 | 0.0043788 | 0.0010953 | 6.9047e-07 | -7.1751e-08 | 0.006684 | 0.0066838 | 0.006684 | 0.97458 | -0.4886 | 0.97474 | -0.48529 | 1.8363
22 | 0.003162 | 0.00079054 | -0.0031611 | -0.0007912 | 8.4802e-07 | -6.6614e-07 | 0.0048271 | 0.0048275 | 0.0048275 | 0.97458 | -0.4886 | 0.97429 | -0.49424 | 1.3262
23 | -0.0050192 | -0.0012558 | 0.0050197 | 0.0012558 | 4.6821e-07 | 3.4481e-08 | 0.0076614 | 0.0076613 | 0.0076614 | 0.97474 | -0.48529 | 0.97484 | -0.48333 | 2.1048
24 | 0.00301 | 0.00075381 | -0.0030099 | -0.00075388 | 7.5706e-08 | -7.0521e-08 | 0.0045968 | 0.0045969 | 0.0045969 | 0.97429 | -0.49424 | 0.97426 | -0.49477 | 1.2629
25 | 0.00015115 | 3.7396e-05 | -0.00015115 | -3.7881e-05 | 7.7893e-10 | -4.8527e-07 | 0.00023067 | 0.00023085 | 0.00023085 | 0.97429 | -0.49424 | 0.97428 | -0.49435 | 0.06342
26 | 0.0028608 | 0.00071651 | -0.0028606 | -0.00071671 | 1.7961e-07 | -1.9746e-07 | 0.0043692 | 0.0043693 | 0.0043693 | 0.97426 | -0.49477 | 0.9742 | -0.49609 | 1.2004
27 | 0.00062943 | 0.00015752 | -0.00062942 | -0.00015775 | 6.4121e-09 | -2.2625e-07 | 0.00096132 | 0.00096141 | 0.00096141 | 0.9742 | -0.49609 | 0.97419 | -0.4963 | 0.26412
28 | -0.0023092 | -0.00057875 | 0.0023093 | 0.00057871 | 1.971e-08 | -4.0063e-08 | 0.0035259 | 0.0035259 | 0.0035259 | 0.97454 | -0.48922 | 0.97455 | -0.48904 | 0.96867
29 | 0.0059439 | 0.0014894 | -0.0059427 | -0.0014891 | 1.248e-06 | 2.9539e-07 | 0.0090755 | 0.0090757 | 0.0090757 | 0.97455 | -0.48904 | 0.97433 | -0.49345 | 2.4933
30 | 0.0040612 | 0.0010176 | -0.0040606 | -0.0010177 | 5.9389e-07 | -1.3255e-07 | 0.0062023 | 0.0062025 | 0.0062025 | 0.97433 | -0.49345 | 0.97417 | -0.49652 | 1.704
31 | 0.038373 | 0.0097665 | -0.038287 | -0.0097122 | 8.6236e-05 | 5.4321e-05 | 0.057989 | 0.057989 | 0.057989 | 0.98558 | -0.27376 | 0.98316 | -0.32049 | 15.931
32 | -0.097156 | -0.024711 | 0.097776 | 0.025106 | 0.00061971 | 0.00039563 | 0.14681 | 0.14681 | 0.14681 | 0.98558 | -0.27376 | 0.99245 | -0.1423 | 40.3337
33 | -0.024293 | -0.0060883 | 0.024294 | 0.0060894 | 1.8271e-06 | 1.121e-06 | 0.036255 | 0.036255 | 0.036255 | 0.99704 | -0.056918 | 0.99712 | -0.05534 | 9.9602
34 | -0.058898 | -0.014762 | 0.058957 | 0.014799 | 5.8672e-05 | 3.7285e-05 | 0.087895 | 0.087895 | 0.087895 | 0.99712 | -0.05534 | 0.99821 | -0.034453 | 24.1469
35 | -0.06203 | -0.015569 | 0.062132 | 0.015634 | 0.00010211 | 6.4932e-05 | 0.092476 | 0.092475 | 0.092476 | 0.99821 | -0.034453 | 1 | 0 | 25.4054
36 | 0.098457 | 0.025541 | -0.097776 | -0.025106 | 0.00068055 | 0.00043446 | 0.14681 | 0.14681 | 0.14681 | 1 | 0 | 0.99245 | -0.1423 | 40.3336
37 | 0.035916 | 0.009118 | -0.035879 | -0.0090948 | 3.6952e-05 | 2.3227e-05 | 0.054401 | 0.054401 | 0.054401 | 0.98316 | -0.32049 | 0.98206 | -0.3419 | 14.9453
38 | 0.035879 | 0.0090948 | -0.035764 | -0.0090224 | 0.00011503 | 7.2313e-05 | 0.054401 | 0.054401 | 0.054401 | 0.98206 | -0.3419 | 0.97862 | -0.40884 | 14.9454
39 | 0.0020094 | 0.00050021 | -0.0020086 | -0.0005024 | 7.7259e-07 | -2.1881e-06 | 0.0030795 | 0.0030805 | 0.0030805 | 0.97053 | -0.56878 | 0.97012 | -0.57688 | 0.84629
40 | -0.0044058 | -0.0011008 | 0.0044078 | 0.0011006 | 2.0775e-06 | -1.7218e-07 | 0.0067537 | 0.0067532 | 0.0067537 | 0.97053 | -0.56878 | 0.97103 | -0.55886 | 1.8554
41 | 0.00016769 | 4.1024e-05 | -0.00016769 | -4.2026e-05 | 2.014e-09 | -1.0024e-06 | 0.00025685 | 0.00025721 | 0.00025721 | 0.97012 | -0.57688 | 0.97011 | -0.57713 | 0.070662
42 | 0.027427 | 0.0069328 | -0.027298 | -0.0068528 | 0.0001288 | 7.9967e-05 | 0.041724 | 0.041725 | 0.041725 | 0.97862 | -0.40884 | 0.9736 | -0.50727 | 11.4629
43 | 0.0083373 | 0.0020897 | -0.0083347 | -0.0020885 | 2.6234e-06 | 1.1322e-06 | 0.012677 | 0.012677 | 0.012677 | 0.97862 | -0.40884 | 0.97829 | -0.41545 | 3.4828
44 | 0.027298 | 0.0068528 | -0.027267 | -0.0068338 | 3.059e-05 | 1.8996e-05 | 0.041725 | 0.041725 | 0.041725 | 0.9736 | -0.50727 | 0.97241 | -0.53079 | 11.463
45 | 0.006153 | 0.0015417 | -0.0061522 | -0.0015415 | 7.7845e-07 | 2.0068e-07 | 0.0093588 | 0.0093589 | 0.0093589 | 0.97829 | -0.41545 | 0.97815 | -0.4181 | 2.5711
46 | 0.0047595 | 0.0011925 | -0.0047591 | -0.0011925 | 4.0247e-07 | 6.1552e-10 | 0.0072402 | 0.0072403 | 0.0072403 | 0.97815 | -0.4181 | 0.97806 | -0.41988 | 1.9891
47 | 0.0041674 | 0.0010442 | -0.0041672 | -0.0010442 | 1.4734e-07 | -2.8366e-08 | 0.0063401 | 0.0063402 | 0.0063402 | 0.97806 | -0.41988 | 0.97802 | -0.42062 | 1.7418
48 | 0.0029046 | 0.00072776 | -0.0029044 | -0.00072792 | 1.5055e-07 | -1.6161e-07 | 0.0044191 | 0.0044192 | 0.0044192 | 0.97802 | -0.42062 | 0.97797 | -0.42171 | 1.2141

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.16224 | 0.041175

## res_load
| p_mw | q_mvar
0 | 0.0015521 | 0.000389
1 | 0.0027534 | 0.00069007
2 | 0.00013385 | 3.3547e-05
3 | 0.0018442 | 0.00046221
4 | 0.0025575 | 0.00064096
5 | 0.00019085 | 4.7831e-05
6 | 0.0030155 | 0.00075576
7 | 0.00051414 | 0.00012886
8 | 0.0047964 | 0.0012021
9 | 0.00046599 | 0.00011679
10 | 0.019481 | 0.0048823
11 | 0.00096819 | 0.00024265
12 | 0.0013158 | 0.00032976
13 | 0.0012162 | 0.0003048
14 | 0.0006404 | 0.0001605
15 | 0.00069753 | 0.00017482
16 | 0.00014909 | 3.7366e-05
17 | 0.00015115 | 3.7881e-05
18 | 0.0022312 | 0.00055919
19 | 0.00062942 | 0.00015775
20 | 0.0023092 | 0.00057875
21 | 0.0018815 | 0.00047154
22 | 0.0040606 | 0.0010177
23 | 0.024293 | 0.0060883
24 | 0.034604 | 0.0086725
25 | 0.0030731 | 0.00077019
26 | 0.0023709 | 0.00059422
27 | 0.0023964 | 0.00060059
28 | 0.0018409 | 0.00046137
29 | 0.00021695 | 5.4373e-05
30 | 0.00016769 | 4.2026e-05
31 | 0.0021817 | 0.00054679
32 | 0.0013927 | 0.00034906
33 | 0.00059167 | 0.00014829
34 | 0.0012627 | 0.00031645
35 | 0.027267 | 0.0068338
36 | 0.0029044 | 0.00072792

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1