## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1301-18_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1301-18_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1301-18_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1301-18_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1301-18_0_2_node_107 | 0.4 | n |  | TRUE
5 | bus_LV_1301-18_0_2_node_85 | 0.4 | n |  | TRUE
6 | bus_LV_1301-18_0_2_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_1301-18_0_2_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_1301-18_0_2_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_1301-18_0_2_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_1301-18_0_2_node_91 | 0.4 | n |  | TRUE
11 | bus_LV_1301-18_0_2_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_1301-18_0_2_node_112 | 0.4 | n |  | TRUE
13 | bus_LV_1301-18_0_2_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_1301-18_0_2_node_92 | 0.4 | n |  | TRUE
15 | bus_LV_1301-18_0_2_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_1301-18_0_2_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_1301-18_0_2_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_1301-18_0_2_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_1301-18_0_2_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_1301-18_0_2_node_114 | 0.4 | n |  | TRUE
21 | bus_LV_1301-18_0_2_node_95 | 0.4 | n |  | TRUE
22 | bus_LV_1301-18_0_2_node_86 | 0.4 | n |  | TRUE
23 | bus_LV_1301-18_0_2_node_84 | 0.4 | n |  | TRUE
24 | bus_LV_1301-18_0_2_node_109 | 0.4 | n |  | TRUE
25 | bus_LV_1301-18_0_2_node_108 | 0.4 | n |  | TRUE
26 | bus_LV_1301-18_0_2_node_93 | 0.4 | n |  | TRUE
27 | bus_LV_1301-18_0_2_node_97 | 0.4 | n |  | TRUE
28 | bus_LV_1301-18_0_2_node_94 | 0.4 | n |  | TRUE
29 | bus_LV_1301-18_0_2_node_96 | 0.4 | n |  | TRUE
30 | bus_LV_1301-18_0_2_node_98 | 0.4 | n |  | TRUE
31 | bus_LV_1301-18_0_2_node_110 | 0.4 | n |  | TRUE
32 | bus_MV_0_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1301-18_0_2_load_0 | 0 | 0.0039915 | 0.0010004 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1301-18_0_2_load_2 | 2 | 0.0024103 | 0.00060409 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1301-18_0_2_load_107 | 4 | 0.0013196 | 0.00033073 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1301-18_0_2_load_85 | 5 | 0.0071201 | 0.0017845 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1301-18_0_2_load_43 | 6 | 0.0019285 | 0.00048333 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1301-18_0_2_load_44 | 7 | 0.0011052 | 0.00027698 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1301-18_0_2_load_46 | 9 | 0.00023457 | 5.8788e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1301-18_0_2_load_91 | 10 | 0.00045036 | 0.00011287 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1301-18_0_2_load_47 | 11 | 0.0022264 | 0.00055798 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1301-18_0_2_load_112 | 12 | 0.00017174 | 4.3041e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1301-18_0_2_load_78 | 15 | 0.002345 | 0.00058771 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1301-18_0_2_load_114 | 20 | 0.001156 | 0.00028971 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1301-18_0_2_load_84 | 23 | 0.0061338 | 0.0015373 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1301-18_0_2_load_109 | 24 | 0.0049792 | 0.0012479 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1301-18_0_2_load_108 | 25 | 0.0015502 | 0.00038851 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1301-18_0_2_load_93 | 26 | 0.00035962 | 9.0128e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1301-18_0_2_load_94 | 28 | 0.012535 | 0.0031415 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1301-18_0_2_load_96 | 29 | 0.00072164 | 0.00018086 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1301-18_0_2_load_110 | 31 | 0.00094705 | 0.00023735 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1301-18_0_2_line_0 |  | 0 | 1 | 0.021893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1301-18_0_2_line_1 |  | 1 | 2 | 0.047828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1301-18_0_2_line_2 |  | 1 | 3 | 0.017271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1301-18_0_2_line_3 |  | 3 | 4 | 0.025099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1301-18_0_2_line_4 |  | 3 | 5 | 0.00853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1301-18_0_2_line_5 |  | 4 | 13 | 0.018789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1301-18_0_2_line_6 |  | 5 | 23 | 0.017882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1301-18_0_2_line_7 |  | 6 | 7 | 0.046654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1301-18_0_2_line_8 |  | 6 | 8 | 0.051756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1301-18_0_2_line_9 |  | 7 | 9 | 0.08026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1301-18_0_2_line_10 |  | 7 | 10 | 0.1277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1301-18_0_2_line_11 |  | 8 | 11 | 0.031365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1301-18_0_2_line_12 |  | 8 | 12 | 0.24972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1301-18_0_2_line_13 |  | 10 | 14 | 0.15899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1301-18_0_2_line_14 |  | 13 | 14 | 0.034046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1301-18_0_2_line_15 |  | 14 | 26 | 0.059042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1301-18_0_2_line_16 |  | 15 | 16 | 0.015523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1301-18_0_2_line_17 |  | 15 | 17 | 0.037963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1301-18_0_2_line_18 |  | 16 | 18 | 0.002496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1301-18_0_2_line_19 |  | 17 | 19 | 0.022016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1301-18_0_2_line_20 |  | 18 | 20 | 0.045085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1301-18_0_2_line_21 |  | 18 | 21 | 0.020097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1301-18_0_2_line_22 |  | 19 | 22 | 0.051624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1301-18_0_2_line_23 |  | 19 | 23 | 0.0046909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1301-18_0_2_line_24 |  | 21 | 28 | 0.047231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1301-18_0_2_line_25 |  | 22 | 24 | 0.0030536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1301-18_0_2_line_26 |  | 22 | 25 | 0.024396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1301-18_0_2_line_27 |  | 26 | 27 | 0.032291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1301-18_0_2_line_28 |  | 27 | 30 | 0.082526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1301-18_0_2_line_29 |  | 27 | 29 | 0.027065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1301-18_0_2_line_30 |  | 30 | 31 | 0.050873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1301-18_0_2_trafo_107 | 0.63 MVA 20/0.4 kV | 32 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2698876.1447 | 1221447.8604 | 2698871.3239 | 1221443.4661 | 2698860.5772 | 1221432.4779
1 | 2698876.1447 | 1221447.8604 | 2698893.0168 | 1221430.1835 | 2698901.7867 | 1221423.8579 | 2698912.8204 | 1221417.8194
2 | 2698864.2069 | 1221460.3711 | 2698876.1447 | 1221447.8604
3 | 2698864.2069 | 1221460.3711 | 2698844.9175 | 1221444.3128
4 | 2698864.2069 | 1221460.3711 | 2698870.7625 | 1221465.8287
5 | 2698830.4771 | 1221432.2913 | 2698844.9175 | 1221444.3128
6 | 2698884.5051 | 1221477.2697 | 2698870.7625 | 1221465.8287
7 | 2698522.0208 | 1221402.2881 | 2698529.8455 | 1221402.8449 | 2698532.5873 | 1221402.2232 | 2698531.5285 | 1221394.6781 | 2698535.6469 | 1221392.0221 | 2698541.5427 | 1221388.7951 | 2698544.0426 | 1221389.9484 | 2698546.2733 | 1221389.0291 | 2698549.7426 | 1221389.3756 | 2698554.3059 | 1221386.4268 | 2698556.7933 | 1221385.4514
8 | 2698493.8428 | 1221436.351 | 2698499.4657 | 1221428.9721 | 2698499.2231 | 1221426.6665 | 2698497.9834 | 1221414.9265 | 2698502.719 | 1221410.2793 | 2698507.9678 | 1221405.7962 | 2698512.8978 | 1221403.1537 | 2698519.0538 | 1221402.077 | 2698522.0208 | 1221402.2881
9 | 2698622.4902 | 1221352.2077 | 2698619.6347 | 1221352.9288 | 2698617.4391 | 1221348.9785 | 2698610.1009 | 1221354.5388 | 2698607.1049 | 1221356.7685 | 2698603.4498 | 1221363.0569 | 2698599.3924 | 1221366.6034 | 2698591.058 | 1221369.5564 | 2698579.0257 | 1221372.6817 | 2698573.5712 | 1221375.8381 | 2698568.6082 | 1221380.4704 | 2698563.6918 | 1221382.7462 | 2698556.7933 | 1221385.4514
10 | 2698656.464 | 1221465.276 | 2698556.7933 | 1221385.4514
11 | 2698493.8428 | 1221436.351 | 2698499.2566 | 1221440.6881 | 2698505.2652 | 1221441.6437 | 2698514.1182 | 1221439.433 | 2698520.2204 | 1221441.1463 | 2698522.0555 | 1221443.3669
12 | 2698493.8428 | 1221436.351 | 2698282.3164 | 1221569.0844
13 | 2698810.9917 | 1221460.2324 | 2698804.0245 | 1221458.0708 | 2698794.6363 | 1221460.0609 | 2698778.6336 | 1221465.1547 | 2698754.8413 | 1221466.8947 | 2698744.2614 | 1221462.972 | 2698729.3153 | 1221456.5085 | 2698721.3234 | 1221458.9445 | 2698702.8924 | 1221461.3185 | 2698696.3602 | 1221459.9203 | 2698682.68 | 1221461.3057 | 2698669.3154 | 1221463.3413 | 2698656.464 | 1221465.276
14 | 2698830.4771 | 1221432.2913 | 2698819.6175 | 1221447.9556 | 2698815.7171 | 1221453.9285 | 2698810.9917 | 1221460.2324
15 | 2698810.9917 | 1221460.2324 | 2698809.6418 | 1221462.0223 | 2698779.9482 | 1221503.8929 | 2698776.6828 | 1221508.2807
16 | 2698945.3864 | 1221474.3514 | 2698939.1827 | 1221467.7992 | 2698935.4223 | 1221467.6255 | 2698933.0624 | 1221469.0095
17 | 2698904.9448 | 1221494.5163 | 2698933.0624 | 1221469.0095
18 | 2698947.0263 | 1221472.4662 | 2698945.3864 | 1221474.3514
19 | 2698888.1102 | 1221480.271 | 2698904.9448 | 1221494.5163
20 | 2698947.0263 | 1221472.4662 | 2698951.2787 | 1221474.9942 | 2698970.2232 | 1221473.6858 | 2698968.1007 | 1221452.5799
21 | 2698958.4168 | 1221455.9214 | 2698956.2534 | 1221459.6326 | 2698948.7675 | 1221470.4159 | 2698947.0263 | 1221472.4662
22 | 2698888.1102 | 1221480.271 | 2698885.3076 | 1221489.1197 | 2698875.7251 | 1221502.3478 | 2698859.4016 | 1221522.6468
23 | 2698888.1102 | 1221480.271 | 2698884.5051 | 1221477.2697
24 | 2698958.4168 | 1221455.9214 | 2698954.1913 | 1221449.0352 | 2698950.3119 | 1221437.3068 | 2698945.7796 | 1221432.9062 | 2698942.0206 | 1221412.7727
25 | 2698859.4016 | 1221522.6468 | 2698857.487 | 1221525.0257
26 | 2698859.4016 | 1221522.6468 | 2698877.6152 | 1221538.8769
27 | 2698757.4045 | 1221534.1851 | 2698776.6828 | 1221508.2807
28 | 2698728.4405 | 1221596.6049 | 2698738.7294 | 1221601.1343 | 2698738.0778 | 1221591.0162 | 2698738.6819 | 1221578.3839 | 2698740.7705 | 1221565.9097 | 2698747.1043 | 1221552.2828 | 2698757.4045 | 1221534.1851
29 | 2698757.4045 | 1221534.1851 | 2698777.5294 | 1221552.2819
30 | 2698711.7264 | 1221558.156 | 2698717.6721 | 1221556.4867 | 2698731.2699 | 1221575.1476 | 2698728.4405 | 1221596.6049

## bus_geodata
| x | y | coords
0 | 2698860.5772 | 1221432.4779
1 | 2698876.1447 | 1221447.8604
2 | 2698912.8204 | 1221417.8194
3 | 2698864.2069 | 1221460.3711
4 | 2698844.9175 | 1221444.3128
5 | 2698870.7625 | 1221465.8287
6 | 2698522.0208 | 1221402.2881
7 | 2698556.7933 | 1221385.4514
8 | 2698493.8428 | 1221436.351
9 | 2698622.4902 | 1221352.2077
10 | 2698656.464 | 1221465.276
11 | 2698522.0555 | 1221443.3669
12 | 2698282.3164 | 1221569.0844
13 | 2698830.4771 | 1221432.2913
14 | 2698810.9917 | 1221460.2324
15 | 2698933.0624 | 1221469.0095
16 | 2698945.3864 | 1221474.3514
17 | 2698904.9448 | 1221494.5163
18 | 2698947.0263 | 1221472.4662
19 | 2698888.1102 | 1221480.271
20 | 2698968.1007 | 1221452.5799
21 | 2698958.4168 | 1221455.9214
22 | 2698859.4016 | 1221522.6468
23 | 2698884.5051 | 1221477.2697
24 | 2698857.487 | 1221525.0257
25 | 2698877.6152 | 1221538.8769
26 | 2698776.6828 | 1221508.2807
27 | 2698757.4045 | 1221534.1851
28 | 2698942.0206 | 1221412.7727
29 | 2698777.5294 | 1221552.2819
30 | 2698728.4405 | 1221596.6049
31 | 2698711.7264 | 1221558.156
32 | 2698844.9175 | 1221444.3128

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99886 | -0.021952 | 0.0039915 | 0.0010004
1 | 0.99894 | -0.020425 | 0 | 0
2 | 0.99883 | -0.02244 | 0.0024103 | 0.00060409
3 | 0.99904 | -0.018493 | 0 | 0
4 | 1 | 0 | -0.052117 | -0.012669
5 | 0.99876 | -0.023832 | 0.0071201 | 0.0017845
6 | 0.99789 | -0.040809 | 0.0019285 | 0.00048333
7 | 0.99807 | -0.037267 | 0.0011052 | 0.00027698
8 | 0.99777 | -0.042991 | 0 | 0
9 | 0.99805 | -0.037598 | 0.00023457 | 5.8788e-05
10 | 0.99873 | -0.024576 | 0.00045036 | 0.00011287
11 | 0.99771 | -0.044214 | 0.0022264 | 0.00055798
12 | 0.99773 | -0.04376 | 0.00017174 | 4.3041e-05
13 | 0.99986 | -0.0026792 | 0 | 0
14 | 0.99961 | -0.0075353 | 0 | 0
15 | 0.99732 | -0.051503 | 0.002345 | 0.00058771
16 | 0.99713 | -0.055229 | 0 | 0
17 | 0.99788 | -0.040838 | 0 | 0
18 | 0.9971 | -0.055828 | 0 | 0
19 | 0.9982 | -0.034658 | 0 | 0
20 | 0.99705 | -0.056742 | 0.001156 | 0.00028971
21 | 0.99687 | -0.060246 | 0 | 0
22 | 0.99789 | -0.040558 | 0 | 0
23 | 0.99829 | -0.032806 | 0.0061338 | 0.0015373
24 | 0.99788 | -0.040824 | 0.0049792 | 0.0012479
25 | 0.99786 | -0.04122 | 0.0015502 | 0.00038851
26 | 0.9995 | -0.0096321 | 0.00035962 | 9.0128e-05
27 | 0.99945 | -0.010576 | 0 | 0
28 | 0.99633 | -0.070636 | 0.012535 | 0.0031415
29 | 0.99943 | -0.010917 | 0.00072164 | 0.00018086
30 | 0.99938 | -0.011944 | 0 | 0
31 | 0.99934 | -0.012785 | 0.00094705 | 0.00023735
32 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0039915 | -0.0010004 | 0.0039917 | 0.0010003 | 2.9027e-07 | -1.0081e-07 | 0.0059461 | 0.005946 | 0.0059461 | 0.99886 | -0.021952 | 0.99894 | -0.020425 | 1.6336
1 | 0.0024106 | 0.00060361 | -0.0024103 | -0.00060409 | 2.3124e-07 | -4.7807e-07 | 0.0035906 | 0.0035908 | 0.0035908 | 0.99894 | -0.020425 | 0.99883 | -0.02244 | 0.98649
2 | -0.0064023 | -0.0016039 | 0.0064029 | 0.001604 | 5.8903e-07 | 1.5085e-07 | 0.0095366 | 0.0095366 | 0.0095366 | 0.99894 | -0.020425 | 0.99904 | -0.018493 | 2.62
3 | -0.042272 | -0.010609 | 0.042309 | 0.010633 | 3.7317e-05 | 2.3554e-05 | 0.062967 | 0.062967 | 0.062967 | 0.99904 | -0.018493 | 1 | 0 | 17.2986
4 | 0.035869 | 0.0090051 | -0.03586 | -0.0089994 | 9.1318e-06 | 5.7327e-06 | 0.05343 | 0.05343 | 0.05343 | 0.99904 | -0.018493 | 0.99876 | -0.023832 | 14.6787
5 | 0.0081578 | 0.0020358 | -0.0081568 | -0.0020353 | 1.0377e-06 | 4.1768e-07 | 0.012136 | 0.012136 | 0.012136 | 1 | 0 | 0.99986 | -0.0026792 | 3.334
6 | 0.02874 | 0.0072149 | -0.028727 | -0.0072073 | 1.2297e-05 | 7.6359e-06 | 0.042822 | 0.042823 | 0.042823 | 0.99876 | -0.023832 | 0.99829 | -0.032806 | 11.7644
7 | -0.004327 | -0.0010802 | 0.0043277 | 0.0010801 | 7.28e-07 | -1.4367e-07 | 0.0064508 | 0.0064506 | 0.0064508 | 0.99789 | -0.040809 | 0.99807 | -0.037267 | 1.7722
8 | 0.0023985 | 0.00059692 | -0.0023982 | -0.00059743 | 2.4808e-07 | -5.1729e-07 | 0.0035751 | 0.0035753 | 0.0035753 | 0.99789 | -0.040809 | 0.99777 | -0.042991 | 0.98222
9 | 0.00023457 | 5.7741e-05 | -0.00023457 | -5.8788e-05 | 3.6772e-09 | -1.0465e-06 | 0.00034935 | 0.00034972 | 0.00034972 | 0.99807 | -0.037267 | 0.99805 | -0.037598 | 0.096077
10 | -0.0056674 | -0.0014148 | 0.0056709 | 0.0014153 | 3.417e-06 | 5.1697e-07 | 0.0084476 | 0.008447 | 0.0084476 | 0.99807 | -0.037267 | 0.99873 | -0.024576 | 2.3208
11 | 0.0022265 | 0.00055765 | -0.0022264 | -0.00055798 | 1.2967e-07 | -3.2664e-07 | 0.0033203 | 0.0033204 | 0.0033204 | 0.99777 | -0.042991 | 0.99771 | -0.044214 | 0.91221
12 | 0.00017174 | 3.9784e-05 | -0.00017174 | -4.3041e-05 | 6.1163e-09 | -3.2576e-06 | 0.00025502 | 0.00025613 | 0.00025613 | 0.99777 | -0.042991 | 0.99773 | -0.04376 | 0.070365
13 | -0.0061212 | -0.0015282 | 0.0061262 | 0.0015293 | 4.9565e-06 | 1.0898e-06 | 0.009118 | 0.0091173 | 0.009118 | 0.99873 | -0.024576 | 0.99961 | -0.0075353 | 2.505
14 | 0.0081568 | 0.0020353 | -0.0081549 | -0.0020346 | 1.8804e-06 | 7.5703e-07 | 0.012136 | 0.012136 | 0.012136 | 0.99986 | -0.0026792 | 0.99961 | -0.0075353 | 3.3341
15 | 0.0020287 | 0.00050529 | -0.0020285 | -0.00050593 | 2.0179e-07 | -6.4476e-07 | 0.0030188 | 0.0030191 | 0.0030191 | 0.99961 | -0.0075353 | 0.9995 | -0.0096321 | 0.82942
16 | 0.013702 | 0.003437 | -0.0137 | -0.0034357 | 2.4333e-06 | 1.3548e-06 | 0.020445 | 0.020445 | 0.020445 | 0.99732 | -0.051503 | 0.99713 | -0.055229 | 5.6168
17 | -0.016047 | -0.0040247 | 0.016056 | 0.0040295 | 8.1617e-06 | 4.7278e-06 | 0.023944 | 0.023944 | 0.023944 | 0.99732 | -0.051503 | 0.99788 | -0.040838 | 6.578
18 | 0.0137 | 0.0034357 | -0.0137 | -0.0034355 | 3.9126e-07 | 2.1785e-07 | 0.020445 | 0.020445 | 0.020445 | 0.99713 | -0.055229 | 0.9971 | -0.055828 | 5.6168
19 | -0.016056 | -0.0040295 | 0.01606 | 0.0040322 | 4.7332e-06 | 2.7415e-06 | 0.023944 | 0.023944 | 0.023944 | 0.99788 | -0.040838 | 0.9982 | -0.034658 | 6.578
20 | 0.001156 | 0.00028915 | -0.001156 | -0.00028971 | 5.0312e-08 | -5.5583e-07 | 0.001725 | 0.0017252 | 0.0017252 | 0.9971 | -0.055828 | 0.99705 | -0.056742 | 0.47395
21 | 0.012544 | 0.0031463 | -0.012541 | -0.0031449 | 2.6412e-06 | 1.4283e-06 | 0.01872 | 0.01872 | 0.01872 | 0.9971 | -0.055828 | 0.99687 | -0.060246 | 5.143
22 | 0.0065313 | 0.0016366 | -0.0065295 | -0.0016361 | 1.8351e-06 | 4.9986e-07 | 0.0097361 | 0.0097364 | 0.0097364 | 0.9982 | -0.034658 | 0.99789 | -0.040558 | 2.6748
23 | -0.022592 | -0.0056688 | 0.022594 | 0.00567 | 1.9954e-06 | 1.2157e-06 | 0.03368 | 0.03368 | 0.03368 | 0.9982 | -0.034658 | 0.99829 | -0.032806 | 9.2527
24 | 0.012541 | 0.0031449 | -0.012535 | -0.0031415 | 6.2072e-06 | 3.3572e-06 | 0.01872 | 0.018721 | 0.018721 | 0.99687 | -0.060246 | 0.99633 | -0.070636 | 5.143
25 | 0.0049792 | 0.0012479 | -0.0049792 | -0.0012479 | 6.3128e-08 | 5.099e-10 | 0.0074248 | 0.0074249 | 0.0074249 | 0.99789 | -0.040558 | 0.99788 | -0.040824 | 2.0398
26 | 0.0015502 | 0.00038822 | -0.0015502 | -0.00038851 | 4.8884e-08 | -2.8741e-07 | 0.0023115 | 0.0023117 | 0.0023117 | 0.99789 | -0.040558 | 0.99786 | -0.04122 | 0.63507
27 | 0.0016689 | 0.00041581 | -0.0016688 | -0.00041618 | 7.4702e-08 | -3.7538e-07 | 0.0024837 | 0.0024838 | 0.0024838 | 0.9995 | -0.0096321 | 0.99945 | -0.010576 | 0.68237
28 | 0.00094715 | 0.00023567 | -0.00094709 | -0.00023671 | 6.1503e-08 | -1.0421e-06 | 0.0014095 | 0.0014099 | 0.0014099 | 0.99945 | -0.010576 | 0.99938 | -0.011944 | 0.38734
29 | 0.00072165 | 0.00018051 | -0.00072164 | -0.00018086 | 1.1715e-08 | -3.4718e-07 | 0.0010743 | 0.0010744 | 0.0010744 | 0.99945 | -0.010576 | 0.99943 | -0.010917 | 0.29517
30 | 0.00094709 | 0.00023671 | -0.00094705 | -0.00023735 | 3.793e-08 | -6.4229e-07 | 0.0014099 | 0.0014102 | 0.0014102 | 0.99938 | -0.011944 | 0.99934 | -0.012785 | 0.38741

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.053436 | 0.012999

## res_load
| p_mw | q_mvar
0 | 0.0039915 | 0.0010004
1 | 0.0024103 | 0.00060409
2 | 0.0013196 | 0.00033073
3 | 0.0071201 | 0.0017845
4 | 0.0019285 | 0.00048333
5 | 0.0011052 | 0.00027698
6 | 0.00023457 | 5.8788e-05
7 | 0.00045036 | 0.00011287
8 | 0.0022264 | 0.00055798
9 | 0.00017174 | 4.3041e-05
10 | 0.002345 | 0.00058771
11 | 0.001156 | 0.00028971
12 | 0.0061338 | 0.0015373
13 | 0.0049792 | 0.0012479
14 | 0.0015502 | 0.00038851
15 | 0.00035962 | 9.0128e-05
16 | 0.012535 | 0.0031415
17 | 0.00072164 | 0.00018086
18 | 0.00094705 | 0.00023735

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1