## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1301-31_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1301-31_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1301-31_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1301-31_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1301-31_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1301-31_0_5_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1301-31_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1301-31_0_5_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_1301-31_0_5_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_1301-31_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1301-31_0_5_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1301-31_0_5_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_1301-31_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1301-31_0_5_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_1301-31_0_5_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1301-31_0_5_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1301-31_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1301-31_0_5_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_1301-31_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1301-31_0_5_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_1301-31_0_5_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_1301-31_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1301-31_0_5_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_1301-31_0_5_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_1301-31_0_5_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_1301-31_0_5_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_1301-31_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1301-31_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1301-31_0_5_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_1301-31_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1301-31_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1301-31_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1301-31_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1301-31_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1301-31_0_5_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_1301-31_0_5_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1301-31_0_5_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_1301-31_0_5_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1301-31_0_5_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1301-31_0_5_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1301-31_0_5_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_1301-31_0_5_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_1301-31_0_5_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_1301-31_0_5_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_1301-31_0_5_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_1301-31_0_5_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1301-31_0_5_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_1301-31_0_5_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_1301-31_0_5_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_1301-31_0_5_node_45 | 0.4 | n |  | TRUE
50 | bus_MV_17_0_node_143 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1301-31_0_5_load_0 | 0 | 0.016114 | 0.0040385 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1301-31_0_5_load_1 | 1 | 0.0084042 | 0.0021063 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1301-31_0_5_load_3 | 3 | 0.013171 | 0.0033009 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1301-31_0_5_load_22 | 7 | 0.023363 | 0.0058554 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1301-31_0_5_load_26 | 8 | 0.023356 | 0.0058535 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1301-31_0_5_load_20 | 11 | 0.039522 | 0.0099053 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1301-31_0_5_load_57 | 13 | 0.033002 | 0.008271 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1301-31_0_5_load_55 | 17 | 0.0018294 | 0.00045849 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1301-31_0_5_load_34 | 20 | 0.025232 | 0.0063237 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1301-31_0_5_load_56 | 22 | 0.003787 | 0.00094911 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1301-31_0_5_load_54 | 23 | 0.031495 | 0.0078935 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1301-31_0_5_load_53 | 24 | 0.023946 | 0.0060016 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1301-31_0_5_load_41 | 25 | 0.0083888 | 0.0021024 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1301-31_0_5_load_21 | 26 | 0.0090121 | 0.0022587 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1301-31_0_5_load_24 | 29 | 0.032162 | 0.0080606 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1301-31_0_5_load_30 | 32 | 0.0054255 | 0.0013597 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1301-31_0_5_load_27 | 33 | 0.0277 | 0.0069423 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1301-31_0_5_load_48 | 34 | 0.021363 | 0.005354 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1301-31_0_5_load_32 | 35 | 0.008569 | 0.0021476 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1301-31_0_5_load_39 | 36 | 0.0092634 | 0.0023216 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1301-31_0_5_load_33 | 37 | 0.01508 | 0.0037794 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1301-31_0_5_load_35 | 38 | 0.0070985 | 0.0017791 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1301-31_0_5_load_37 | 39 | 0.01726 | 0.0043257 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1301-31_0_5_load_52 | 43 | 0.039224 | 0.0098304 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1301-31_0_5_load_51 | 44 | 0.035975 | 0.0090163 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1301-31_0_5_load_40 | 45 | 0.0090315 | 0.0022635 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1301-31_0_5_load_42 | 46 | 0.0080603 | 0.0020201 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1301-31_0_5_load_46 | 47 | 0.020479 | 0.0051326 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1301-31_0_5_load_44 | 48 | 0.0088333 | 0.0022138 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1301-31_0_5_load_45 | 49 | 0.0096191 | 0.0024108 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1301-31_0_5_line_0 |  | 0 | 1 | 0.016912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1301-31_0_5_line_1 |  | 0 | 2 | 0.024762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1301-31_0_5_line_2 |  | 1 | 3 | 0.015629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1301-31_0_5_line_3 |  | 2 | 4 | 0.021877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1301-31_0_5_line_4 |  | 2 | 5 | 0.075491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1301-31_0_5_line_5 |  | 4 | 6 | 0.009691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1301-31_0_5_line_6 |  | 4 | 7 | 0.027795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1301-31_0_5_line_7 |  | 5 | 23 | 0.020246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1301-31_0_5_line_8 |  | 5 | 16 | 0.047745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1301-31_0_5_line_9 |  | 6 | 8 | 0.013331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1301-31_0_5_line_10 |  | 7 | 26 | 0.037003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1301-31_0_5_line_11 |  | 8 | 10 | 0.038203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1301-31_0_5_line_12 |  | 9 | 10 | 0.014326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1301-31_0_5_line_13 |  | 9 | 11 | 0.02247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1301-31_0_5_line_14 |  | 12 | 13 | 0.087346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1301-31_0_5_line_15 |  | 12 | 14 | 0.057682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1301-31_0_5_line_16 |  | 12 | 15 | 0.027526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1301-31_0_5_line_17 |  | 14 | 25 | 0.009184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1301-31_0_5_line_18 |  | 15 | 24 | 0.17075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1301-31_0_5_line_19 |  | 15 | 21 | 0.19184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1301-31_0_5_line_20 |  | 16 | 17 | 0.015704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1301-31_0_5_line_21 |  | 18 | 19 | 0.044204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1301-31_0_5_line_22 |  | 18 | 20 | 0.034032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1301-31_0_5_line_23 |  | 19 | 34 | 0.015995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1301-31_0_5_line_24 |  | 19 | 25 | 0.01171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1301-31_0_5_line_25 |  | 20 | 35 | 0.013717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1301-31_0_5_line_26 |  | 21 | 22 | 0.04883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1301-31_0_5_line_27 |  | 25 | 36 | 0.037077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1301-31_0_5_line_28 |  | 26 | 30 | 0.020202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1301-31_0_5_line_29 |  | 27 | 28 | 0.036784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1301-31_0_5_line_30 |  | 27 | 29 | 0.020048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1301-31_0_5_line_31 |  | 28 | 35 | 0.038987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1301-31_0_5_line_32 |  | 28 | 37 | 0.026159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1301-31_0_5_line_33 |  | 28 | 33 | 0.028835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1301-31_0_5_line_34 |  | 29 | 30 | 0.016976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1301-31_0_5_line_35 |  | 31 | 32 | 0.015314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1301-31_0_5_line_36 |  | 31 | 33 | 0.029478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1301-31_0_5_line_37 |  | 34 | 47 | 0.027134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1301-31_0_5_line_38 |  | 36 | 45 | 0.016454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1301-31_0_5_line_39 |  | 37 | 38 | 0.023586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1301-31_0_5_line_40 |  | 39 | 40 | 0.023647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1301-31_0_5_line_41 |  | 40 | 41 | 0.005069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1301-31_0_5_line_42 |  | 41 | 42 | 0.007715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1301-31_0_5_line_43 |  | 41 | 49 | 0.0078662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1301-31_0_5_line_44 |  | 42 | 43 | 0.01592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1301-31_0_5_line_45 |  | 43 | 44 | 0.0058781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1301-31_0_5_line_46 |  | 45 | 46 | 0.0056099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1301-31_0_5_line_47 |  | 47 | 48 | 0.028054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1301-31_0_5_line_48 |  | 48 | 49 | 0.020671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1301-31_0_5_trafo_14 | 0.63 MVA 20/0.4 kV | 50 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2699492.7739 | 1220486.1844 | 2699485.7852 | 1220485.1595 | 2699476.0565 | 1220486.6887
1 | 2699516.8928 | 1220481.8656 | 2699512.2777 | 1220483.3007 | 2699504.0172 | 1220485.82 | 2699497.9958 | 1220486.4866 | 2699493.6581 | 1220486.314 | 2699492.7739 | 1220486.1844
2 | 2699476.0565 | 1220486.6887 | 2699460.6175 | 1220489.1156
3 | 2699516.8928 | 1220481.8656 | 2699527.7913 | 1220500.8501
4 | 2699577.1082 | 1220443.767 | 2699572.0621 | 1220448.2859 | 2699566.1785 | 1220453.8693 | 2699567.9446 | 1220457.1678 | 2699554.46 | 1220464.859 | 2699537.7067 | 1220473.7965 | 2699522.6276 | 1220480.1825 | 2699516.8928 | 1220481.8656
5 | 2699532.5063 | 1220509.3238 | 2699527.7913 | 1220500.8501
6 | 2699527.7913 | 1220500.8501 | 2699519.0202 | 1220506.6744 | 2699506.3194 | 1220511.5212 | 2699502.9724 | 1220513.0308
7 | 2699577.1082 | 1220443.767 | 2699589.6311 | 1220459.6753
8 | 2699593.7784 | 1220400.3481 | 2699589.4502 | 1220420.012 | 2699582.9399 | 1220439.0167 | 2699577.1082 | 1220443.767
9 | 2699532.5063 | 1220509.3238 | 2699536.9523 | 1220517.0926 | 2699539.1679 | 1220520.8704
10 | 2699476.2448 | 1220530.5707 | 2699477.3988 | 1220530.1737 | 2699489.4104 | 1220527.5169 | 2699493.7893 | 1220521.141 | 2699491.9369 | 1220518.0078 | 2699502.9724 | 1220513.0308
11 | 2699556.9729 | 1220554.6316 | 2699548.2925 | 1220536.4292 | 2699539.1679 | 1220520.8704
12 | 2699563.8224 | 1220543.9163 | 2699562.4174 | 1220552.1542 | 2699556.9729 | 1220554.6316
13 | 2699563.8224 | 1220543.9163 | 2699583.4518 | 1220532.9797
14 | 2699615.4256 | 1220561.9808 | 2699620.2419 | 1220649.179
15 | 2699615.4256 | 1220561.9808 | 2699609.0921 | 1220562.2639 | 2699593.1722 | 1220570.3813 | 2699591.7617 | 1220573.9492 | 2699577.9522 | 1220600.1703
16 | 2699615.4256 | 1220561.9808 | 2699618.3982 | 1220561.6525 | 2699622.0854 | 1220561.2472 | 2699627.4285 | 1220562.5597 | 2699633.9088 | 1220565.7481 | 2699640.9186 | 1220569.9462
17 | 2699573.6578 | 1220608.2932 | 2699577.9522 | 1220600.1703
18 | 2699640.9186 | 1220569.9462 | 2699650.1522 | 1220641.6628 | 2699658.1959 | 1220709.6459 | 2699660.8475 | 1220739.5109
19 | 2699640.9186 | 1220569.9462 | 2699637.6543 | 1220545.9967 | 2699636.4883 | 1220539.0389 | 2699634.1372 | 1220529.8931 | 2699639.1458 | 1220526.7079 | 2699644.7001 | 1220525.3777 | 2699650.46 | 1220525.8188 | 2699655.8013 | 1220527.2425 | 2699680.149 | 1220537.446 | 2699775.3331 | 1220573.5987
20 | 2699593.7784 | 1220400.3481 | 2699596.9571 | 1220384.9687
21 | 2699531.0472 | 1220594.7714 | 2699536.4991 | 1220598.6542 | 2699540.9759 | 1220601.8535 | 2699557.3686 | 1220613.5469 | 2699568.1878 | 1220618.6536
22 | 2699531.0472 | 1220594.7714 | 2699511.4804 | 1220599.0809 | 2699498.472 | 1220600.0977 | 2699497.5242 | 1220600.1003
23 | 2699568.1878 | 1220618.6536 | 2699560.2293 | 1220632.5277
24 | 2699573.6578 | 1220608.2932 | 2699568.1878 | 1220618.6536
25 | 2699497.5242 | 1220600.1003 | 2699483.8072 | 1220600.1377
26 | 2699775.3331 | 1220573.5987 | 2699790.7971 | 1220579.1061 | 2699821.3364 | 1220589.9716
27 | 2699573.6578 | 1220608.2932 | 2699574.6658 | 1220618.8064 | 2699576.2442 | 1220645.2754
28 | 2699457.7704 | 1220538.6186 | 2699467.8125 | 1220533.4715 | 2699476.2448 | 1220530.5707
29 | 2699444.82 | 1220600.2018 | 2699445.0144 | 1220591.7435 | 2699445.6619 | 1220563.4341
30 | 2699445.6619 | 1220563.4341 | 2699457.5555 | 1220563.744 | 2699457.6252 | 1220555.594
31 | 2699444.82 | 1220600.2018 | 2699449.8506 | 1220600.2303 | 2699483.8072 | 1220600.1377
32 | 2699444.82 | 1220600.2018 | 2699444.8304 | 1220602.3035 | 2699444.0801 | 1220626.3496
33 | 2699444.82 | 1220600.2018 | 2699415.9848 | 1220600.0875
34 | 2699457.7704 | 1220538.6186 | 2699457.6252 | 1220555.594
35 | 2699386.509 | 1220599.8283 | 2699387.8521 | 1220604.3762 | 2699387.7078 | 1220614.9467
36 | 2699386.509 | 1220599.8283 | 2699392.448 | 1220599.9942 | 2699415.9848 | 1220600.0875
37 | 2699546.7284 | 1220656.0641 | 2699560.2293 | 1220632.5277
38 | 2699576.2442 | 1220645.2754 | 2699577.2237 | 1220661.7005
39 | 2699443.3446 | 1220649.9238 | 2699444.0801 | 1220626.3496
40 | 2699513.4883 | 1220705.0233 | 2699489.8493 | 1220704.4058
41 | 2699513.4883 | 1220705.0233 | 2699518.5703 | 1220705.1527
42 | 2699518.5703 | 1220705.1527 | 2699514.77 | 1220711.8718
43 | 2699518.5703 | 1220705.1527 | 2699522.4843 | 1220698.3294
44 | 2699514.77 | 1220711.8718 | 2699518.674 | 1220713.9274 | 2699519.7345 | 1220714.4899 | 2699520.8777 | 1220724.734
45 | 2699521.5296 | 1220730.5758 | 2699520.8777 | 1220724.734
46 | 2699577.5576 | 1220667.3004 | 2699577.2237 | 1220661.7005
47 | 2699532.7696 | 1220680.3988 | 2699546.7284 | 1220656.0641
48 | 2699532.7696 | 1220680.3988 | 2699522.4843 | 1220698.3294

## bus_geodata
| x | y | coords
0 | 2699492.7739 | 1220486.1844
1 | 2699476.0565 | 1220486.6887
2 | 2699516.8928 | 1220481.8656
3 | 2699460.6175 | 1220489.1156
4 | 2699527.7913 | 1220500.8501
5 | 2699577.1082 | 1220443.767
6 | 2699532.5063 | 1220509.3238
7 | 2699502.9724 | 1220513.0308
8 | 2699539.1679 | 1220520.8704
9 | 2699563.8224 | 1220543.9163
10 | 2699556.9729 | 1220554.6316
11 | 2699583.4518 | 1220532.9797
12 | 2699615.4256 | 1220561.9808
13 | 2699620.2419 | 1220649.179
14 | 2699577.9522 | 1220600.1703
15 | 2699640.9186 | 1220569.9462
16 | 2699593.7784 | 1220400.3481
17 | 2699596.9571 | 1220384.9687
18 | 2699531.0472 | 1220594.7714
19 | 2699568.1878 | 1220618.6536
20 | 2699497.5242 | 1220600.1003
21 | 2699775.3331 | 1220573.5987
22 | 2699821.3364 | 1220589.9716
23 | 2699589.6311 | 1220459.6753
24 | 2699660.8475 | 1220739.5109
25 | 2699573.6578 | 1220608.2932
26 | 2699476.2448 | 1220530.5707
27 | 2699445.6619 | 1220563.4341
28 | 2699444.82 | 1220600.2018
29 | 2699457.6252 | 1220555.594
30 | 2699457.7704 | 1220538.6186
31 | 2699386.509 | 1220599.8283
32 | 2699387.7078 | 1220614.9467
33 | 2699415.9848 | 1220600.0875
34 | 2699560.2293 | 1220632.5277
35 | 2699483.8072 | 1220600.1377
36 | 2699576.2442 | 1220645.2754
37 | 2699444.0801 | 1220626.3496
38 | 2699443.3446 | 1220649.9238
39 | 2699489.8493 | 1220704.4058
40 | 2699513.4883 | 1220705.0233
41 | 2699518.5703 | 1220705.1527
42 | 2699514.77 | 1220711.8718
43 | 2699520.8777 | 1220724.734
44 | 2699521.5296 | 1220730.5758
45 | 2699577.2237 | 1220661.7005
46 | 2699577.5576 | 1220667.3004
47 | 2699546.7284 | 1220656.0641
48 | 2699532.7696 | 1220680.3988
49 | 2699522.4843 | 1220698.3294
50 | 2699566.6366 | 1220580.734

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.979 | -0.40409 | 0.016114 | 0.0040385
1 | 0.97867 | -0.41072 | 0.0084042 | 0.0021063
2 | 0.97987 | -0.38713 | 0 | 0
3 | 0.97848 | -0.41447 | 0.013171 | 0.0033009
4 | 0.98131 | -0.35897 | 0 | 0
5 | 0.97753 | -0.43291 | 0 | 0
6 | 0.98075 | -0.37 | 0 | 0
7 | 0.98476 | -0.29184 | 0.023363 | 0.0058554
8 | 0.97997 | -0.3852 | 0.023356 | 0.0058535
9 | 0.97804 | -0.42296 | 0 | 0
10 | 0.97857 | -0.41265 | 0 | 0
11 | 0.97722 | -0.43915 | 0.039522 | 0.0099053
12 | 0.9902 | -0.18777 | 0 | 0
13 | 0.98755 | -0.23915 | 0.033002 | 0.008271
14 | 0.99342 | -0.12568 | 0 | 0
15 | 0.9895 | -0.20136 | 0 | 0
16 | 0.97745 | -0.43451 | 0 | 0
17 | 0.97743 | -0.43503 | 0.0018294 | 0.00045849
18 | 1 | 0 | -0.54432 | -0.13867
19 | 0.99496 | -0.096121 | 0 | 0
20 | 0.99699 | -0.057029 | 0.025232 | 0.0063237
21 | 0.98883 | -0.21432 | 0 | 0
22 | 0.98866 | -0.21761 | 0.003787 | 0.00094911
23 | 0.97694 | -0.44455 | 0.031495 | 0.0078935
24 | 0.98574 | -0.27443 | 0.023946 | 0.0060016
25 | 0.99393 | -0.11583 | 0.0083888 | 0.0021024
26 | 0.98746 | -0.23969 | 0.0090121 | 0.0022587
27 | 0.99059 | -0.17934 | 0 | 0
28 | 0.99284 | -0.13622 | 0 | 0
29 | 0.98937 | -0.20292 | 0.032162 | 0.0080606
30 | 0.98849 | -0.21969 | 0 | 0
31 | 0.99182 | -0.15596 | 0 | 0
32 | 0.99175 | -0.15743 | 0.0054255 | 0.0013597
33 | 0.99197 | -0.15312 | 0.0277 | 0.0069423
34 | 0.99383 | -0.11765 | 0.021363 | 0.005354
35 | 0.99589 | -0.078085 | 0.008569 | 0.0021476
36 | 0.99304 | -0.13309 | 0.0092634 | 0.0023216
37 | 0.99231 | -0.14648 | 0.01508 | 0.0037794
38 | 0.99216 | -0.14945 | 0.0070985 | 0.0017791
39 | 0.98461 | -0.29595 | 0.01726 | 0.0043257
40 | 0.98499 | -0.28861 | 0 | 0
41 | 0.98507 | -0.28704 | 0 | 0
42 | 0.98453 | -0.29747 | 0 | 0
43 | 0.98343 | -0.31902 | 0.039224 | 0.0098304
44 | 0.98323 | -0.32283 | 0.035975 | 0.0090163
45 | 0.99278 | -0.13806 | 0.0090315 | 0.0022635
46 | 0.99274 | -0.13886 | 0.0080603 | 0.0020201
47 | 0.99055 | -0.18078 | 0.020479 | 0.0051326
48 | 0.98768 | -0.23621 | 0.0088333 | 0.0022138
49 | 0.98574 | -0.27399 | 0.0096191 | 0.0024108
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.021584 | 0.0054126 | -0.021577 | -0.0054085 | 6.8259e-06 | 4.156e-06 | 0.032807 | 0.032807 | 0.032807 | 0.979 | -0.40409 | 0.97867 | -0.41072 | 9.013
1 | -0.037698 | -0.0094511 | 0.037728 | 0.0094703 | 3.0487e-05 | 1.92e-05 | 0.057299 | 0.057299 | 0.057299 | 0.979 | -0.40409 | 0.97987 | -0.38713 | 15.7414
2 | 0.013173 | 0.0033022 | -0.013171 | -0.0033009 | 2.3511e-06 | 1.3084e-06 | 0.020029 | 0.020029 | 0.020029 | 0.97867 | -0.41072 | 0.97848 | -0.41447 | 5.5025
3 | -0.071143 | -0.017878 | 0.071239 | 0.017939 | 9.5787e-05 | 6.1028e-05 | 0.10805 | 0.10805 | 0.10805 | 0.97987 | -0.38713 | 0.98131 | -0.35897 | 29.6854
4 | 0.033415 | 0.008408 | -0.033342 | -0.0083622 | 7.293e-05 | 4.5726e-05 | 0.050756 | 0.050756 | 0.050756 | 0.97987 | -0.38713 | 0.97753 | -0.43291 | 13.9441
5 | 0.063059 | 0.015873 | -0.063026 | -0.015852 | 3.3245e-05 | 2.1154e-05 | 0.095645 | 0.095645 | 0.095645 | 0.98131 | -0.35897 | 0.98075 | -0.37 | 26.2761
6 | -0.1343 | -0.033813 | 0.13473 | 0.034089 | 0.00043249 | 0.00027644 | 0.2037 | 0.2037 | 0.2037 | 0.98131 | -0.35897 | 0.98476 | -0.29184 | 55.9614
7 | 0.031513 | 0.0079044 | -0.031495 | -0.0078935 | 1.7472e-05 | 1.0928e-05 | 0.047972 | 0.047972 | 0.047972 | 0.97753 | -0.43291 | 0.97694 | -0.44455 | 13.1791
8 | 0.0018296 | 0.00045782 | -0.0018295 | -0.00045833 | 1.3886e-07 | -5.0963e-07 | 0.0027848 | 0.002785 | 0.002785 | 0.97753 | -0.43291 | 0.97745 | -0.43451 | 0.76511
9 | 0.063026 | 0.015852 | -0.06298 | -0.015823 | 4.573e-05 | 2.9099e-05 | 0.095645 | 0.095645 | 0.095645 | 0.98075 | -0.37 | 0.97997 | -0.3852 | 26.2761
10 | -0.15809 | -0.039944 | 0.15849 | 0.040197 | 0.00039631 | 0.0002527 | 0.239 | 0.239 | 0.239 | 0.98476 | -0.29184 | 0.98746 | -0.23969 | 32.83
11 | 0.039624 | 0.0099695 | -0.039572 | -0.0099368 | 5.1886e-05 | 3.2726e-05 | 0.060181 | 0.060181 | 0.060181 | 0.97997 | -0.3852 | 0.97857 | -0.41265 | 16.5332
12 | -0.039553 | -0.0099245 | 0.039572 | 0.0099368 | 1.9457e-05 | 1.2273e-05 | 0.060181 | 0.060181 | 0.060181 | 0.97804 | -0.42296 | 0.97857 | -0.41265 | 16.5333
13 | 0.039553 | 0.0099245 | -0.039522 | -0.0099053 | 3.0519e-05 | 1.925e-05 | 0.060181 | 0.060181 | 0.060181 | 0.97804 | -0.42296 | 0.97722 | -0.43915 | 16.5333
14 | 0.033083 | 0.0083217 | -0.033002 | -0.008271 | 8.0991e-05 | 5.0714e-05 | 0.049726 | 0.049726 | 0.049726 | 0.9902 | -0.18777 | 0.98755 | -0.23915 | 13.661
15 | -0.060921 | -0.015334 | 0.061102 | 0.015449 | 0.00018138 | 0.00011534 | 0.091572 | 0.091571 | 0.091572 | 0.9902 | -0.18777 | 0.99342 | -0.12568 | 25.1571
16 | 0.027838 | 0.007012 | -0.02782 | -0.0070008 | 1.8075e-05 | 1.1214e-05 | 0.041846 | 0.041846 | 0.041846 | 0.9902 | -0.18777 | 0.9895 | -0.20136 | 11.4962
17 | -0.061102 | -0.015449 | 0.061131 | 0.015467 | 2.8879e-05 | 1.8364e-05 | 0.091571 | 0.091571 | 0.091571 | 0.99342 | -0.12568 | 0.99393 | -0.11583 | 25.157
18 | 0.02403 | 0.0060529 | -0.023946 | -0.0060016 | 8.3667e-05 | 5.1362e-05 | 0.036148 | 0.036148 | 0.036148 | 0.9895 | -0.20136 | 0.98574 | -0.27443 | 9.9309
19 | 0.0037899 | 0.0009479 | -0.0037876 | -0.00094886 | 2.3365e-06 | -9.6715e-07 | 0.0056986 | 0.0056995 | 0.0056995 | 0.9895 | -0.20136 | 0.98883 | -0.21432 | 1.5658
20 | 0.0018295 | 0.00045833 | -0.0018294 | -0.00045849 | 4.5678e-08 | -1.6761e-07 | 0.002785 | 0.0027851 | 0.0027851 | 0.97745 | -0.43451 | 0.97743 | -0.43503 | 0.76512
21 | 0.25113 | 0.064057 | -0.24997 | -0.063316 | 0.0011599 | 0.00074115 | 0.37408 | 0.37408 | 0.37408 | 1 | 0 | 0.99496 | -0.096121 | 51.3852
22 | 0.29154 | 0.074613 | -0.29074 | -0.0741 | 0.00080261 | 0.00051233 | 0.43436 | 0.43436 | 0.43436 | 1 | 0 | 0.99699 | -0.057029 | 39.777
23 | 0.15398 | 0.039067 | -0.15382 | -0.038965 | 0.00015928 | 0.00010152 | 0.23046 | 0.23046 | 0.23046 | 0.99496 | -0.096121 | 0.99383 | -0.11765 | 31.656
24 | 0.095992 | 0.024249 | -0.095901 | -0.024191 | 9.0588e-05 | 5.7825e-05 | 0.14363 | 0.14363 | 0.14363 | 0.99496 | -0.096121 | 0.99393 | -0.11583 | 39.4585
25 | 0.26551 | 0.067777 | -0.26524 | -0.067604 | 0.00026984 | 0.00017216 | 0.39671 | 0.39671 | 0.39671 | 0.99699 | -0.057029 | 0.99589 | -0.078085 | 36.3284
26 | 0.0037876 | 0.00094886 | -0.003787 | -0.00094911 | 5.9485e-07 | -2.4557e-07 | 0.0056995 | 0.0056997 | 0.0056997 | 0.98883 | -0.21432 | 0.98866 | -0.21761 | 1.5659
27 | 0.026381 | 0.0066212 | -0.02636 | -0.0066078 | 2.1693e-05 | 1.3403e-05 | 0.039499 | 0.039499 | 0.039499 | 0.99393 | -0.11583 | 0.99304 | -0.13309 | 10.8514
28 | -0.1675 | -0.042456 | 0.16766 | 0.042558 | 0.0001611 | 0.00010233 | 0.25258 | 0.25258 | 0.25258 | 0.98746 | -0.23969 | 0.98849 | -0.21969 | 23.1302
29 | -0.20019 | -0.050849 | 0.2006 | 0.051114 | 0.00041645 | 0.00026511 | 0.30095 | 0.30095 | 0.30095 | 0.99059 | -0.17934 | 0.99284 | -0.13622 | 27.5598
30 | 0.20019 | 0.050849 | -0.19996 | -0.050705 | 0.00022698 | 0.00014449 | 0.30095 | 0.30095 | 0.30095 | 0.99059 | -0.17934 | 0.98937 | -0.20292 | 27.5599
31 | -0.25595 | -0.064999 | 0.25667 | 0.065457 | 0.00071826 | 0.00045817 | 0.3839 | 0.3839 | 0.3839 | 0.99284 | -0.13622 | 0.99589 | -0.078085 | 35.156
32 | 0.02219 | 0.0055654 | -0.02218 | -0.0055588 | 1.0851e-05 | 6.6068e-06 | 0.033259 | 0.033259 | 0.033259 | 0.99284 | -0.13622 | 0.99231 | -0.14648 | 9.1372
33 | 0.033154 | 0.0083189 | -0.033127 | -0.0083022 | 2.6701e-05 | 1.6716e-05 | 0.049692 | 0.049692 | 0.049692 | 0.99284 | -0.13622 | 0.99197 | -0.15312 | 13.6517
34 | 0.1678 | 0.042644 | -0.16766 | -0.042558 | 0.00013538 | 8.5989e-05 | 0.25258 | 0.25258 | 0.25258 | 0.98937 | -0.20292 | 0.98849 | -0.21969 | 23.1302
35 | 0.0054258 | 0.0013598 | -0.0054255 | -0.0013597 | 3.8053e-07 | 4.5923e-08 | 0.0081403 | 0.0081403 | 0.0081403 | 0.99182 | -0.15596 | 0.99175 | -0.15743 | 2.2364
36 | -0.0054258 | -0.0013598 | 0.0054266 | 0.0013599 | 7.3249e-07 | 8.8304e-08 | 0.0081403 | 0.0081401 | 0.0081403 | 0.99182 | -0.15596 | 0.99197 | -0.15312 | 2.2363
37 | 0.13246 | 0.033611 | -0.13206 | -0.033355 | 0.0004008 | 0.00025616 | 0.19847 | 0.19847 | 0.19847 | 0.99383 | -0.11765 | 0.99055 | -0.18078 | 54.5249
38 | 0.017096 | 0.0042861 | -0.017092 | -0.0042838 | 4.0496e-06 | 2.3789e-06 | 0.025618 | 0.025618 | 0.025618 | 0.99304 | -0.13309 | 0.99278 | -0.13806 | 7.038
39 | 0.0070995 | 0.0017794 | -0.0070985 | -0.0017791 | 1.0025e-06 | 3.3693e-07 | 0.010646 | 0.010646 | 0.010646 | 0.99231 | -0.14648 | 0.99216 | -0.14945 | 2.9248
40 | -0.01726 | -0.0043257 | 0.017266 | 0.0043293 | 6.0334e-06 | 3.5605e-06 | 0.026084 | 0.026084 | 0.026084 | 0.98461 | -0.29595 | 0.98499 | -0.28861 | 7.166
41 | -0.017266 | -0.0043293 | 0.017267 | 0.00433 | 1.2933e-06 | 7.6321e-07 | 0.026084 | 0.026084 | 0.026084 | 0.98499 | -0.28861 | 0.98507 | -0.28704 | 7.166
42 | 0.075321 | 0.018924 | -0.075283 | -0.0189 | 3.7463e-05 | 2.3878e-05 | 0.11379 | 0.11379 | 0.11379 | 0.98507 | -0.28704 | 0.98453 | -0.29747 | 31.2621
43 | -0.092588 | -0.023254 | 0.092645 | 0.023291 | 5.7716e-05 | 3.6838e-05 | 0.13988 | 0.13988 | 0.13988 | 0.98507 | -0.28704 | 0.98574 | -0.27399 | 38.4281
44 | 0.075283 | 0.0189 | -0.075206 | -0.018851 | 7.7307e-05 | 4.9274e-05 | 0.11379 | 0.11379 | 0.11379 | 0.98453 | -0.29747 | 0.98343 | -0.31902 | 31.2621
45 | 0.035982 | 0.0090204 | -0.035975 | -0.0090163 | 6.534e-06 | 4.1072e-06 | 0.054445 | 0.054445 | 0.054445 | 0.98343 | -0.31902 | 0.98323 | -0.32283 | 14.9574
46 | 0.0080607 | 0.0020202 | -0.0080603 | -0.0020201 | 3.0707e-07 | 1.2399e-07 | 0.012082 | 0.012082 | 0.012082 | 0.99278 | -0.13806 | 0.99274 | -0.13886 | 3.3191
47 | 0.11158 | 0.028222 | -0.11128 | -0.028033 | 0.00029589 | 0.00018901 | 0.16771 | 0.16771 | 0.16771 | 0.99055 | -0.18078 | 0.98768 | -0.23621 | 46.0732
48 | 0.10245 | 0.02582 | -0.10226 | -0.025702 | 0.00018479 | 0.000118 | 0.1544 | 0.1544 | 0.1544 | 0.98768 | -0.23621 | 0.98574 | -0.27399 | 42.4172

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54432 | 0.13867

## res_load
| p_mw | q_mvar
0 | 0.016114 | 0.0040385
1 | 0.0084042 | 0.0021063
2 | 0.013171 | 0.0033009
3 | 0.023363 | 0.0058554
4 | 0.023356 | 0.0058535
5 | 0.039522 | 0.0099053
6 | 0.033002 | 0.008271
7 | 0.0018294 | 0.00045849
8 | 0.025232 | 0.0063237
9 | 0.003787 | 0.00094911
10 | 0.031495 | 0.0078935
11 | 0.023946 | 0.0060016
12 | 0.0083888 | 0.0021024
13 | 0.0090121 | 0.0022587
14 | 0.032162 | 0.0080606
15 | 0.0054255 | 0.0013597
16 | 0.0277 | 0.0069423
17 | 0.021363 | 0.005354
18 | 0.008569 | 0.0021476
19 | 0.0092634 | 0.0023216
20 | 0.01508 | 0.0037794
21 | 0.0070985 | 0.0017791
22 | 0.01726 | 0.0043257
23 | 0.039224 | 0.0098304
24 | 0.035975 | 0.0090163
25 | 0.0090315 | 0.0022635
26 | 0.0080603 | 0.0020201
27 | 0.020479 | 0.0051326
28 | 0.0088333 | 0.0022138
29 | 0.0096191 | 0.0024108

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1