## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1301-33_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1301-33_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1301-33_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1301-33_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1301-33_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1301-33_0_4_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_1301-33_0_4_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_1301-33_0_4_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_1301-33_0_4_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_1301-33_0_4_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_1301-33_0_4_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_1301-33_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1301-33_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1301-33_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1301-33_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1301-33_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_1301-33_0_4_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_1301-33_0_4_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_1301-33_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1301-33_0_4_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_1301-33_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1301-33_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1301-33_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1301-33_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1301-33_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1301-33_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1301-33_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1301-33_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1301-33_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1301-33_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1301-33_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1301-33_0_4_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1301-33_0_4_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_1301-33_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1301-33_0_4_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_1301-33_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1301-33_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1301-33_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1301-33_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1301-33_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1301-33_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1301-33_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1301-33_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_1301-33_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1301-33_0_4_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_1301-33_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1301-33_0_4_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_1301-33_0_4_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_1301-33_0_4_node_89 | 0.4 | n |  | TRUE
49 | bus_LV_1301-33_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_1301-33_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_1301-33_0_4_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_1301-33_0_4_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_1301-33_0_4_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_1301-33_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_1301-33_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_1301-33_0_4_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_1301-33_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_1301-33_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_1301-33_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_1301-33_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_1301-33_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_1301-33_0_4_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_1301-33_0_4_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_1301-33_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_1301-33_0_4_node_91 | 0.4 | n |  | TRUE
66 | bus_LV_1301-33_0_4_node_92 | 0.4 | n |  | TRUE
67 | bus_LV_1301-33_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_1301-33_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_1301-33_0_4_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_1301-33_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_1301-33_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_1301-33_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_1301-33_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_1301-33_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_1301-33_0_4_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_1301-33_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_1301-33_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_1301-33_0_4_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_1301-33_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_1301-33_0_4_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_1301-33_0_4_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_1301-33_0_4_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_1301-33_0_4_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_1301-33_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_1301-33_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_1301-33_0_4_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_1301-33_0_4_node_90 | 0.4 | n |  | TRUE
88 | bus_MV_17_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1301-33_0_4_load_0 | 0 | 0.037653 | 0.0094366 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1301-33_0_4_load_1 | 1 | 0.0047693 | 0.0011953 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1301-33_0_4_load_58 | 5 | 0.0074232 | 0.0018604 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1301-33_0_4_load_26 | 6 | 0.002805 | 0.00070301 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1301-33_0_4_load_41 | 7 | 0.0036339 | 0.00091075 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1301-33_0_4_load_64 | 8 | 0.040391 | 0.010123 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1301-33_0_4_load_56 | 9 | 0.0096281 | 0.002413 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1301-33_0_4_load_25 | 10 | 0.0035353 | 0.00088603 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1301-33_0_4_load_5 | 11 | 0.012969 | 0.0032503 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1301-33_0_4_load_16 | 15 | 0.011497 | 0.0028814 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1301-33_0_4_load_20 | 16 | 0.012818 | 0.0032124 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1301-33_0_4_load_48 | 17 | 0.016456 | 0.0041242 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1301-33_0_4_load_15 | 18 | 0.011499 | 0.0028819 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1301-33_0_4_load_21 | 19 | 0.016203 | 0.0040609 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1301-33_0_4_load_10 | 20 | 0.011499 | 0.0028819 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1301-33_0_4_load_11 | 21 | 0.007291 | 0.0018273 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1301-33_0_4_load_12 | 22 | 0.013754 | 0.003447 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1301-33_0_4_load_13 | 23 | 0.006687 | 0.0016759 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1301-33_0_4_load_18 | 28 | 0.006687 | 0.0016759 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1301-33_0_4_load_19 | 29 | 0.006788 | 0.0017012 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1301-33_0_4_load_24 | 30 | 0.023382 | 0.0058601 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1301-33_0_4_load_46 | 32 | 0.0055221 | 0.001384 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1301-33_0_4_load_39 | 34 | 0.0058788 | 0.0014734 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1301-33_0_4_load_27 | 35 | 0.00093015 | 0.00023312 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1301-33_0_4_load_28 | 36 | 0.0027926 | 0.00069988 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1301-33_0_4_load_29 | 37 | 0.0011906 | 0.0002984 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1301-33_0_4_load_31 | 39 | 0.002825 | 0.00070801 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1301-33_0_4_load_38 | 41 | 0.0022152 | 0.00055519 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1301-33_0_4_load_32 | 42 | 0.0033402 | 0.00083713 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1301-33_0_4_load_84 | 46 | 0.007106 | 0.0017809 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1301-33_0_4_load_89 | 48 | 0.006429 | 0.0016113 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1301-33_0_4_load_44 | 49 | 0.0011138 | 0.00027915 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1301-33_0_4_load_47 | 50 | 0.0055779 | 0.0013979 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1301-33_0_4_load_87 | 51 | 0.0036917 | 0.00092522 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1301-33_0_4_load_43 | 54 | 0.0031413 | 0.00078727 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1301-33_0_4_load_42 | 55 | 0.0025462 | 0.00063813 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1301-33_0_4_load_45 | 56 | 0.0041188 | 0.0010323 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1301-33_0_4_load_49 | 57 | 0.0040696 | 0.0010199 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1301-33_0_4_load_54 | 60 | 0.0034766 | 0.00087132 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1301-33_0_4_load_52 | 61 | 0.0033408 | 0.00083729 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1301-33_0_4_load_77 | 63 | 0.0024302 | 0.00060906 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1301-33_0_4_load_51 | 64 | 0.00020807 | 5.2148e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1301-33_0_4_load_91 | 65 | 0.0035793 | 0.00089706 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1301-33_0_4_load_92 | 66 | 0.0046712 | 0.0011707 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1301-33_0_4_load_55 | 68 | 0.046209 | 0.011581 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1301-33_0_4_load_57 | 69 | 0.0023079 | 0.00057842 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1301-33_0_4_load_59 | 70 | 0.0023426 | 0.00058711 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1301-33_0_4_load_60 | 71 | 0.0033312 | 0.00083487 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1301-33_0_4_load_62 | 73 | 0.0027335 | 0.00068507 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1301-33_0_4_load_65 | 74 | 0.002758 | 0.00069122 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1301-33_0_4_load_66 | 76 | 0.0051863 | 0.0012998 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1301-33_0_4_load_68 | 77 | 0.0025505 | 0.00063921 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1301-33_0_4_load_67 | 78 | 0.0034694 | 0.00086953 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1301-33_0_4_load_70 | 79 | 0.0011528 | 0.00028892 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1301-33_0_4_load_71 | 80 | 0.0010273 | 0.00025746 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1301-33_0_4_load_72 | 81 | 0.00073521 | 0.00018426 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1301-33_0_4_load_73 | 82 | 0.0030714 | 0.00076976 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1301-33_0_4_load_74 | 83 | 0.0060682 | 0.0015208 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1301-33_0_4_load_82 | 84 | 0.0028378 | 0.00071122 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1301-33_0_4_load_79 | 86 | 0.0025619 | 0.00064206 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1301-33_0_4_load_90 | 87 | 0.0019517 | 0.00048913 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1301-33_0_4_line_0 |  | 0 | 1 | 0.039308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1301-33_0_4_line_1 |  | 0 | 2 | 0.065349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1301-33_0_4_line_2 |  | 2 | 3 | 0.010273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1301-33_0_4_line_3 |  | 2 | 4 | 0.050966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1301-33_0_4_line_4 |  | 3 | 5 | 0.035987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1301-33_0_4_line_5 |  | 4 | 6 | 0.02205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_1301-33_0_4_line_6 |  | 4 | 7 | 0.014184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1301-33_0_4_line_7 |  | 5 | 8 | 0.005261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1301-33_0_4_line_8 |  | 5 | 9 | 0.047013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1301-33_0_4_line_9 |  | 6 | 10 | 0.012586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1301-33_0_4_line_10 |  | 9 | 68 | 0.025242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1301-33_0_4_line_11 |  | 10 | 35 | 0.0032797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1301-33_0_4_line_12 |  | 11 | 12 | 0.0060974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1301-33_0_4_line_13 |  | 12 | 13 | 0.009047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1301-33_0_4_line_14 |  | 12 | 14 | 0.02577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1301-33_0_4_line_15 |  | 13 | 15 | 0.026814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1301-33_0_4_line_16 |  | 13 | 16 | 0.036435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1301-33_0_4_line_17 |  | 14 | 17 | 0.01387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1301-33_0_4_line_18 |  | 15 | 18 | 0.035709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1301-33_0_4_line_19 |  | 16 | 19 | 0.025505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1301-33_0_4_line_20 |  | 19 | 24 | 0.012779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1301-33_0_4_line_21 |  | 20 | 21 | 0.014516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1301-33_0_4_line_22 |  | 20 | 22 | 0.038991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1301-33_0_4_line_23 |  | 21 | 23 | 0.01497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1301-33_0_4_line_24 |  | 22 | 24 | 0.018464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1301-33_0_4_line_25 |  | 23 | 25 | 0.015546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1301-33_0_4_line_26 |  | 25 | 26 | 0.001986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1301-33_0_4_line_27 |  | 26 | 34 | 0.010673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1301-33_0_4_line_28 |  | 26 | 30 | 0.035259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1301-33_0_4_line_29 |  | 27 | 28 | 0.02236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1301-33_0_4_line_30 |  | 27 | 29 | 0.0087456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1301-33_0_4_line_31 |  | 28 | 30 | 0.0041619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1301-33_0_4_line_32 |  | 29 | 31 | 0.017337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1301-33_0_4_line_33 |  | 31 | 32 | 0.028436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1301-33_0_4_line_34 |  | 31 | 33 | 0.008902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1301-33_0_4_line_35 |  | 32 | 50 | 0.028995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1301-33_0_4_line_36 |  | 33 | 43 | 0.048274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1301-33_0_4_line_37 |  | 33 | 42 | 0.039981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_1301-33_0_4_line_38 |  | 35 | 36 | 0.0036875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_1301-33_0_4_line_39 |  | 36 | 37 | 0.019784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_1301-33_0_4_line_40 |  | 37 | 38 | 0.011024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1301-33_0_4_line_41 |  | 38 | 39 | 0.021055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1301-33_0_4_line_42 |  | 39 | 40 | 0.036924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_1301-33_0_4_line_43 |  | 40 | 41 | 0.013879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1301-33_0_4_line_44 |  | 40 | 42 | 0.02031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_1301-33_0_4_line_45 |  | 41 | 49 | 0.021832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1301-33_0_4_line_46 |  | 43 | 44 | 0.046001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1301-33_0_4_line_47 |  | 43 | 45 | 0.06697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1301-33_0_4_line_48 |  | 43 | 46 | 0.030986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1301-33_0_4_line_49 |  | 44 | 51 | 0.029866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1301-33_0_4_line_50 |  | 45 | 47 | 0.025996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1301-33_0_4_line_51 |  | 45 | 48 | 0.027702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1301-33_0_4_line_52 |  | 47 | 52 | 0.022095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1301-33_0_4_line_53 |  | 48 | 53 | 0.019222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1301-33_0_4_line_54 |  | 49 | 54 | 0.0079504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1301-33_0_4_line_55 |  | 52 | 83 | 0.014866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1301-33_0_4_line_56 |  | 53 | 87 | 0.010573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1301-33_0_4_line_57 |  | 53 | 85 | 0.028003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1301-33_0_4_line_58 |  | 54 | 56 | 0.01336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1301-33_0_4_line_59 |  | 55 | 56 | 0.010054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1301-33_0_4_line_60 |  | 57 | 58 | 0.016987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1301-33_0_4_line_61 |  | 58 | 59 | 0.029631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1301-33_0_4_line_62 |  | 58 | 60 | 0.034555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1301-33_0_4_line_63 |  | 58 | 61 | 0.011943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1301-33_0_4_line_64 |  | 59 | 62 | 0.021448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1301-33_0_4_line_65 |  | 59 | 63 | 0.0037252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1301-33_0_4_line_66 |  | 61 | 64 | 0.048497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1301-33_0_4_line_67 |  | 62 | 65 | 0.005289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1301-33_0_4_line_68 |  | 62 | 66 | 0.004825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1301-33_0_4_line_69 |  | 63 | 67 | 0.027605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1301-33_0_4_line_70 |  | 67 | 75 | 0.008545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1301-33_0_4_line_71 |  | 67 | 72 | 0.056835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1301-33_0_4_line_72 |  | 68 | 69 | 0.025311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1301-33_0_4_line_73 |  | 69 | 70 | 0.025706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1301-33_0_4_line_74 |  | 70 | 71 | 0.031159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1301-33_0_4_line_75 |  | 71 | 72 | 0.014222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1301-33_0_4_line_76 |  | 72 | 73 | 0.017046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1301-33_0_4_line_77 |  | 73 | 74 | 0.005049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1301-33_0_4_line_78 |  | 74 | 76 | 0.015306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1301-33_0_4_line_79 |  | 75 | 77 | 0.011281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1301-33_0_4_line_80 |  | 77 | 78 | 0.03112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1301-33_0_4_line_81 |  | 79 | 80 | 0.017892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1301-33_0_4_line_82 |  | 79 | 81 | 0.00088135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1301-33_0_4_line_83 |  | 81 | 82 | 0.019896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1301-33_0_4_line_84 |  | 82 | 83 | 0.00348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1301-33_0_4_line_85 |  | 84 | 85 | 0.018375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1301-33_0_4_line_86 |  | 85 | 86 | 0.012807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1301-33_0_4_trafo_41 | 0.63 MVA 20/0.4 kV | 88 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2698759.348 | 1220003.961 | 2698768.8113 | 1219993.335 | 2698785.0681 | 1219974.2392
1 | 2698716.0353 | 1220052.8802 | 2698716.9371 | 1220051.5831 | 2698722.0797 | 1220045.8087 | 2698759.348 | 1220003.961
2 | 2698716.0353 | 1220052.8802 | 2698713.904 | 1220051.4327 | 2698711.3773 | 1220050.9461 | 2698708.8564 | 1220051.4825 | 2698706.7525 | 1220052.9598
3 | 2698749.9595 | 1220086.2216 | 2698732.4489 | 1220072.6551 | 2698722.5948 | 1220065.0864 | 2698716.4642 | 1220061.3377 | 2698717.5527 | 1220059.3099 | 2698717.8487 | 1220057.0243 | 2698717.3167 | 1220054.7806 | 2698716.0353 | 1220052.8802
4 | 2698706.7525 | 1220052.9598 | 2698700.5014 | 1220047.7859 | 2698677.5349 | 1220031.8719
5 | 2698749.9595 | 1220086.2216 | 2698730.9423 | 1220097.3824
6 | 2698749.9595 | 1220086.2216 | 2698761.173 | 1220094.908
7 | 2698680.626 | 1220027.609 | 2698677.5349 | 1220031.8719
8 | 2698677.5349 | 1220031.8719 | 2698648.9919 | 1220008.0712 | 2698641.2386 | 1220001.9975
9 | 2698720.0874 | 1220103.7529 | 2698730.9423 | 1220097.3824
10 | 2698621.3591 | 1219986.4428 | 2698622.4705 | 1219987.2951 | 2698641.2386 | 1220001.9975
11 | 2698720.0874 | 1220103.7529 | 2698717.2588 | 1220105.413
12 | 2698884.579 | 1220285.5962 | 2698888.622 | 1220290.1604
13 | 2698884.579 | 1220285.5962 | 2698878.5751 | 1220278.8139
14 | 2698884.579 | 1220285.5962 | 2698865.918 | 1220303.4213
15 | 2698878.5751 | 1220278.8139 | 2698859.8044 | 1220259.6662
16 | 2698878.5751 | 1220278.8139 | 2698904.8918 | 1220255.1451 | 2698905.6473 | 1220254.4299
17 | 2698865.918 | 1220303.4213 | 2698856.2108 | 1220293.5149
18 | 2698834.8071 | 1220234.1663 | 2698838.3973 | 1220237.8292 | 2698859.8044 | 1220259.6662
19 | 2698905.6473 | 1220254.4299 | 2698924.1699 | 1220236.8961
20 | 2698933.4502 | 1220228.1112 | 2698924.1699 | 1220236.8961
21 | 2698887.6747 | 1220193.388 | 2698882.9074 | 1220189.7782 | 2698876.2162 | 1220184.4783
22 | 2698887.6747 | 1220193.388 | 2698915.5016 | 1220214.4591 | 2698918.7544 | 1220216.9332
23 | 2698876.2162 | 1220184.4783 | 2698864.4809 | 1220175.1834
24 | 2698933.4502 | 1220228.1112 | 2698918.7544 | 1220216.9332
25 | 2698852.2941 | 1220165.5307 | 2698864.4809 | 1220175.1834
26 | 2698852.2941 | 1220165.5307 | 2698850.7361 | 1220164.2928
27 | 2698850.7361 | 1220164.2928 | 2698842.2992 | 1220157.7564
28 | 2698850.7361 | 1220164.2928 | 2698847.2166 | 1220166.4693 | 2698820.767 | 1220182.869
29 | 2698798.2266 | 1220196.8448 | 2698817.2299 | 1220185.0622
30 | 2698798.2266 | 1220196.8448 | 2698792.1378 | 1220199.2789 | 2698790.5086 | 1220200.7399
31 | 2698820.767 | 1220182.869 | 2698817.2299 | 1220185.0622
32 | 2698777.6012 | 1220212.3138 | 2698790.5086 | 1220200.7399
33 | 2698777.6012 | 1220212.3138 | 2698797.3285 | 1220232.7946
34 | 2698777.6012 | 1220212.3138 | 2698770.3955 | 1220207.0572
35 | 2698817.4432 | 1220253.6777 | 2698797.3285 | 1220232.7946
36 | 2698731.9463 | 1220202.2498 | 2698747.9133 | 1220218.7261 | 2698770.3955 | 1220207.0572
37 | 2698770.3955 | 1220207.0572 | 2698742.3544 | 1220178.5587
38 | 2698714.0786 | 1220107.2794 | 2698717.2588 | 1220105.413
39 | 2698714.0786 | 1220107.2794 | 2698697.0159 | 1220117.2931
40 | 2698687.4423 | 1220122.756 | 2698692.0302 | 1220120.2191 | 2698697.0159 | 1220117.2931
41 | 2698687.4423 | 1220122.756 | 2698702.2104 | 1220137.7631
42 | 2698728.1095 | 1220164.0814 | 2698702.2104 | 1220137.7631
43 | 2698728.1095 | 1220164.0814 | 2698731.5625 | 1220161.7925 | 2698739.9454 | 1220156.8396
44 | 2698728.1095 | 1220164.0814 | 2698742.3544 | 1220178.5587
45 | 2698758.7416 | 1220145.7341 | 2698739.9454 | 1220156.8396
46 | 2698731.9463 | 1220202.2498 | 2698699.3066 | 1220169.7414
47 | 2698731.9463 | 1220202.2498 | 2698747.9133 | 1220218.7261 | 2698758.6198 | 1220229.7892 | 2698778.379 | 1220250.5093
48 | 2698731.9463 | 1220202.2498 | 2698719.0194 | 1220209.752 | 2698703.1162 | 1220211.8393
49 | 2698699.3066 | 1220169.7414 | 2698686.463 | 1220180.9143 | 2698673.8342 | 1220183.2512
50 | 2698778.379 | 1220250.5093 | 2698797.5984 | 1220268.0739
51 | 2698778.379 | 1220250.5093 | 2698776.4927 | 1220252.1348 | 2698772.1249 | 1220255.1311 | 2698762.9099 | 1220256.635 | 2698756.2422 | 1220258.7482 | 2698753.1419 | 1220260.5451
52 | 2698812.6666 | 1220284.2686 | 2698803.1204 | 1220273.725 | 2698797.5984 | 1220268.0739
53 | 2698736.5112 | 1220270.1848 | 2698753.1419 | 1220260.5451
54 | 2698765.5865 | 1220141.6899 | 2698758.7416 | 1220145.7341
55 | 2698812.6666 | 1220284.2686 | 2698802.5099 | 1220295.1246
56 | 2698729.7326 | 1220262.0555 | 2698736.5112 | 1220270.1848
57 | 2698736.5112 | 1220270.1848 | 2698752.3417 | 1220285.269 | 2698755.9237 | 1220290.2986
58 | 2698765.5865 | 1220141.6899 | 2698777.0891 | 1220134.8937
59 | 2698785.7448 | 1220129.7796 | 2698777.0891 | 1220134.8937
60 | 2698564.887 | 1219830.331 | 2698555.388 | 1219816.2487
61 | 2698564.887 | 1219830.331 | 2698563.1604 | 1219832.3928 | 2698543.5165 | 1219850.892
62 | 2698564.887 | 1219830.331 | 2698572.5671 | 1219821.1849 | 2698577.5153 | 1219810.6482 | 2698580.3666 | 1219802.0782 | 2698580.7621 | 1219800.1797
63 | 2698564.887 | 1219830.331 | 2698572.5671 | 1219821.1849
64 | 2698543.5165 | 1219850.892 | 2698558.586 | 1219866.1966
65 | 2698543.5165 | 1219850.892 | 2698540.8049 | 1219853.4463
66 | 2698584.5444 | 1219774.6072 | 2698583.7435 | 1219784.2326 | 2698582.2547 | 1219793.0141 | 2698580.3666 | 1219802.0782 | 2698577.5153 | 1219810.6482 | 2698572.5671 | 1219821.1849
67 | 2698558.586 | 1219866.1966 | 2698554.7163 | 1219869.8129
68 | 2698562.3251 | 1219863.134 | 2698558.586 | 1219866.1966
69 | 2698520.7116 | 1219872.3745 | 2698540.8049 | 1219853.4463
70 | 2698520.7116 | 1219872.3745 | 2698515.6267 | 1219865.4966
71 | 2698553.2027 | 1219919.0672 | 2698520.7116 | 1219872.3745
72 | 2698621.3591 | 1219986.4428 | 2698601.2747 | 1219971.0389
73 | 2698582.1608 | 1219953.8595 | 2698599.6663 | 1219969.8053 | 2698601.2747 | 1219971.0389
74 | 2698561.331 | 1219930.7375 | 2698561.4682 | 1219930.9345 | 2698577.6481 | 1219949.7489 | 2698582.1608 | 1219953.8595
75 | 2698553.2027 | 1219919.0672 | 2698561.331 | 1219930.7375
76 | 2698553.2027 | 1219919.0672 | 2698564.8509 | 1219906.6213
77 | 2698568.301 | 1219902.935 | 2698564.8509 | 1219906.6213
78 | 2698578.7602 | 1219891.7596 | 2698568.301 | 1219902.935
79 | 2698515.6267 | 1219865.4966 | 2698509.1067 | 1219856.2911
80 | 2698492.3557 | 1219830.0866 | 2698502.6857 | 1219847.2253 | 2698509.1067 | 1219856.2911
81 | 2698785.8283 | 1220312.7326 | 2698773.2018 | 1220325.4085
82 | 2698785.8283 | 1220312.7326 | 2698786.4503 | 1220312.1082
83 | 2698786.4503 | 1220312.1082 | 2698789.2495 | 1220309.298 | 2698800.1324 | 1220297.6658
84 | 2698802.5099 | 1220295.1246 | 2698800.1324 | 1220297.6658
85 | 2698755.9237 | 1220290.2986 | 2698773.2743 | 1220284.2485
86 | 2698755.9237 | 1220290.2986 | 2698749.1822 | 1220296.4023 | 2698748.2278 | 1220299.9903

## bus_geodata
| x | y | coords
0 | 2698759.348 | 1220003.961
1 | 2698785.0681 | 1219974.2392
2 | 2698716.0353 | 1220052.8802
3 | 2698706.7525 | 1220052.9598
4 | 2698749.9595 | 1220086.2216
5 | 2698677.5349 | 1220031.8719
6 | 2698730.9423 | 1220097.3824
7 | 2698761.173 | 1220094.908
8 | 2698680.626 | 1220027.609
9 | 2698641.2386 | 1220001.9975
10 | 2698720.0874 | 1220103.7529
11 | 2698888.622 | 1220290.1604
12 | 2698884.579 | 1220285.5962
13 | 2698878.5751 | 1220278.8139
14 | 2698865.918 | 1220303.4213
15 | 2698859.8044 | 1220259.6662
16 | 2698905.6473 | 1220254.4299
17 | 2698856.2108 | 1220293.5149
18 | 2698834.8071 | 1220234.1663
19 | 2698924.1699 | 1220236.8961
20 | 2698887.6747 | 1220193.388
21 | 2698876.2162 | 1220184.4783
22 | 2698918.7544 | 1220216.9332
23 | 2698864.4809 | 1220175.1834
24 | 2698933.4502 | 1220228.1112
25 | 2698852.2941 | 1220165.5307
26 | 2698850.7361 | 1220164.2928
27 | 2698798.2266 | 1220196.8448
28 | 2698817.2299 | 1220185.0622
29 | 2698790.5086 | 1220200.7399
30 | 2698820.767 | 1220182.869
31 | 2698777.6012 | 1220212.3138
32 | 2698797.3285 | 1220232.7946
33 | 2698770.3955 | 1220207.0572
34 | 2698842.2992 | 1220157.7564
35 | 2698717.2588 | 1220105.413
36 | 2698714.0786 | 1220107.2794
37 | 2698697.0159 | 1220117.2931
38 | 2698687.4423 | 1220122.756
39 | 2698702.2104 | 1220137.7631
40 | 2698728.1095 | 1220164.0814
41 | 2698739.9454 | 1220156.8396
42 | 2698742.3544 | 1220178.5587
43 | 2698731.9463 | 1220202.2498
44 | 2698699.3066 | 1220169.7414
45 | 2698778.379 | 1220250.5093
46 | 2698703.1162 | 1220211.8393
47 | 2698797.5984 | 1220268.0739
48 | 2698753.1419 | 1220260.5451
49 | 2698758.7416 | 1220145.7341
50 | 2698817.4432 | 1220253.6777
51 | 2698673.8342 | 1220183.2512
52 | 2698812.6666 | 1220284.2686
53 | 2698736.5112 | 1220270.1848
54 | 2698765.5865 | 1220141.6899
55 | 2698785.7448 | 1220129.7796
56 | 2698777.0891 | 1220134.8937
57 | 2698555.388 | 1219816.2487
58 | 2698564.887 | 1219830.331
59 | 2698543.5165 | 1219850.892
60 | 2698580.7621 | 1219800.1797
61 | 2698572.5671 | 1219821.1849
62 | 2698558.586 | 1219866.1966
63 | 2698540.8049 | 1219853.4463
64 | 2698584.5444 | 1219774.6071
65 | 2698554.7163 | 1219869.8129
66 | 2698562.3251 | 1219863.134
67 | 2698520.7116 | 1219872.3745
68 | 2698621.3591 | 1219986.4428
69 | 2698601.2747 | 1219971.0389
70 | 2698582.1608 | 1219953.8595
71 | 2698561.331 | 1219930.7375
72 | 2698553.2027 | 1219919.0672
73 | 2698564.8509 | 1219906.6213
74 | 2698568.301 | 1219902.935
75 | 2698515.6267 | 1219865.4966
76 | 2698578.7602 | 1219891.7596
77 | 2698509.1067 | 1219856.2911
78 | 2698492.3557 | 1219830.0866
79 | 2698785.8283 | 1220312.7326
80 | 2698773.2018 | 1220325.4085
81 | 2698786.4503 | 1220312.1082
82 | 2698800.1324 | 1220297.6658
83 | 2698802.5099 | 1220295.1246
84 | 2698773.2743 | 1220284.2485
85 | 2698755.9237 | 1220290.2986
86 | 2698748.2278 | 1220299.9903
87 | 2698729.7326 | 1220262.0555
88 | 2698749.9595 | 1220086.2216

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9938 | -0.11867 | 0.037653 | 0.0094366
1 | 0.99363 | -0.12197 | 0.0047693 | 0.0011953
2 | 0.99633 | -0.069863 | 0 | 0
3 | 0.99597 | -0.076635 | 0 | 0
4 | 0.99858 | -0.026882 | 0 | 0
5 | 0.99349 | -0.12422 | 0.0074232 | 0.0018604
6 | 0.99735 | -0.050205 | 0.002805 | 0.00070301
7 | 1 | 0 | -0.44204 | -0.11274
8 | 0.9933 | -0.12797 | 0.040391 | 0.010123
9 | 0.98906 | -0.20953 | 0.0096281 | 0.002413
10 | 0.99665 | -0.063389 | 0.0035353 | 0.00088603
11 | 0.97144 | -0.55146 | 0.012969 | 0.0032503
12 | 0.97152 | -0.55 | 0 | 0
13 | 0.97176 | -0.54508 | 0 | 0
14 | 0.97112 | -0.55783 | 0 | 0
15 | 0.97119 | -0.55647 | 0.011497 | 0.0028814
16 | 0.97355 | -0.50989 | 0.012818 | 0.0032124
17 | 0.97091 | -0.56205 | 0.016456 | 0.0041242
18 | 0.97081 | -0.56406 | 0.011499 | 0.0028819
19 | 0.9751 | -0.47934 | 0.016203 | 0.0040609
20 | 0.98094 | -0.36533 | 0.011499 | 0.0028819
21 | 0.98238 | -0.33732 | 0.007291 | 0.0018273
22 | 0.97747 | -0.43281 | 0.013754 | 0.003447
23 | 0.98397 | -0.30655 | 0.006687 | 0.0016759
24 | 0.97607 | -0.46028 | 0 | 0
25 | 0.98484 | -0.28967 | 0 | 0
26 | 0.98491 | -0.28824 | 0 | 0
27 | 0.98726 | -0.24308 | 0 | 0
28 | 0.98644 | -0.25876 | 0.006687 | 0.0016759
29 | 0.98757 | -0.23696 | 0.006788 | 0.0017012
30 | 0.9863 | -0.26155 | 0.023382 | 0.0058601
31 | 0.98823 | -0.22431 | 0 | 0
32 | 0.98794 | -0.22995 | 0.0055221 | 0.001384
33 | 0.98859 | -0.21738 | 0 | 0
34 | 0.98486 | -0.28937 | 0.0058788 | 0.0014734
35 | 0.99647 | -0.066776 | 0.00093015 | 0.00023312
36 | 0.99627 | -0.070572 | 0.0027926 | 0.00069988
37 | 0.99521 | -0.090716 | 0.0011906 | 0.0002984
38 | 0.99462 | -0.1019 | 0 | 0
39 | 0.9935 | -0.1233 | 0.002825 | 0.00070801
40 | 0.99156 | -0.16048 | 0 | 0
41 | 0.99139 | -0.16372 | 0.0022152 | 0.00055519
42 | 0.99055 | -0.17981 | 0.0033402 | 0.00083713
43 | 0.98696 | -0.24899 | 0 | 0
44 | 0.98681 | -0.25203 | 0 | 0
45 | 0.98537 | -0.28 | 0 | 0
46 | 0.98676 | -0.25293 | 0.007106 | 0.0017809
47 | 0.98508 | -0.28563 | 0 | 0
48 | 0.98502 | -0.28686 | 0.006429 | 0.0016113
49 | 0.99117 | -0.16795 | 0.0011138 | 0.00027915
50 | 0.98779 | -0.23284 | 0.0055779 | 0.0013979
51 | 0.98671 | -0.254 | 0.0036917 | 0.00092522
52 | 0.98484 | -0.29042 | 0 | 0
53 | 0.98489 | -0.2894 | 0 | 0
54 | 0.9911 | -0.16933 | 0.0031413 | 0.00078727
55 | 0.99099 | -0.17136 | 0.0025462 | 0.00063813
56 | 0.99102 | -0.17091 | 0.0041188 | 0.0010323
57 | 0.98062 | -0.37401 | 0.0040696 | 0.0010199
58 | 0.98068 | -0.37276 | 0 | 0
59 | 0.98098 | -0.3668 | 0 | 0
60 | 0.98057 | -0.37494 | 0.0034766 | 0.00087132
61 | 0.98064 | -0.37353 | 0.0033408 | 0.00083729
62 | 0.98082 | -0.37001 | 0 | 0
63 | 0.98105 | -0.36549 | 0.0024302 | 0.00060906
64 | 0.98063 | -0.37371 | 0.00020807 | 5.2148e-05
65 | 0.9808 | -0.37035 | 0.0035793 | 0.00089706
66 | 0.9808 | -0.37041 | 0.0046712 | 0.0011707
67 | 0.98161 | -0.35461 | 0 | 0
68 | 0.98691 | -0.2513 | 0.046209 | 0.011581
69 | 0.98582 | -0.27237 | 0.0023079 | 0.00057842
70 | 0.98477 | -0.29276 | 0.0023426 | 0.00058711
71 | 0.98357 | -0.3162 | 0.0033312 | 0.00083487
72 | 0.98307 | -0.32607 | 0 | 0
73 | 0.9829 | -0.32935 | 0.0027335 | 0.00068507
74 | 0.98286 | -0.33008 | 0.002758 | 0.00069122
75 | 0.98156 | -0.35554 | 0 | 0
76 | 0.98279 | -0.33151 | 0.0051863 | 0.0012998
77 | 0.9815 | -0.35677 | 0.0025505 | 0.00063921
78 | 0.9814 | -0.35872 | 0.0034694 | 0.00086953
79 | 0.9846 | -0.29509 | 0.0011528 | 0.00028892
80 | 0.98458 | -0.29542 | 0.0010273 | 0.00025746
81 | 0.9846 | -0.29506 | 0.00073521 | 0.00018426
82 | 0.98465 | -0.29401 | 0.0030714 | 0.00076976
83 | 0.98467 | -0.29364 | 0.0060682 | 0.0015208
84 | 0.9847 | -0.29305 | 0.0028378 | 0.00071122
85 | 0.98475 | -0.29212 | 0 | 0
86 | 0.98472 | -0.29271 | 0.0025619 | 0.00064206
87 | 0.98487 | -0.28977 | 0.0019517 | 0.00048913
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00477 | 0.0011953 | -0.0047693 | -0.0011953 | 7.5192e-07 | -2.7997e-08 | 0.0071421 | 0.0071423 | 0.0071423 | 0.9938 | -0.11867 | 0.99363 | -0.12197 | 1.9622
1 | -0.042423 | -0.010632 | 0.042522 | 0.010694 | 9.8874e-05 | 6.243e-05 | 0.063519 | 0.063519 | 0.063519 | 0.9938 | -0.11867 | 0.99633 | -0.069863 | 17.4504
2 | 0.15133 | 0.038395 | -0.15128 | -0.038364 | 4.9268e-05 | 3.0997e-05 | 0.22618 | 0.22618 | 0.22618 | 0.99633 | -0.069863 | 0.99597 | -0.076635 | 15.5341
3 | -0.19385 | -0.049089 | 0.19425 | 0.049343 | 0.00040099 | 0.00025398 | 0.2897 | 0.28969 | 0.2897 | 0.99633 | -0.069863 | 0.99858 | -0.026882 | 19.8967
4 | 0.15128 | 0.038364 | -0.15094 | -0.038144 | 0.00034518 | 0.00021998 | 0.22618 | 0.22618 | 0.22618 | 0.99597 | -0.076635 | 0.99349 | -0.12422 | 31.0683
5 | 0.24557 | 0.063028 | -0.24529 | -0.062851 | 0.00027761 | 0.00017652 | 0.36646 | 0.36646 | 0.36646 | 0.99858 | -0.026882 | 0.99735 | -0.050205 | 25.1686
6 | -0.43982 | -0.11237 | 0.44039 | 0.11274 | 0.00057251 | 0.00036567 | 0.65615 | 0.65615 | 0.65615 | 0.99858 | -0.026882 | 1 | 0 | 45.0652
7 | 0.040399 | 0.010128 | -0.040391 | -0.010123 | 7.2233e-06 | 4.5548e-06 | 0.060509 | 0.060509 | 0.060509 | 0.99349 | -0.12422 | 0.9933 | -0.12797 | 16.6232
8 | 0.10311 | 0.026156 | -0.10269 | -0.025887 | 0.00042111 | 0.0002689 | 0.15455 | 0.15455 | 0.15455 | 0.99349 | -0.12422 | 0.98906 | -0.20953 | 42.459
9 | 0.24249 | 0.062148 | -0.24233 | -0.06205 | 0.00015486 | 9.8452e-05 | 0.36227 | 0.36227 | 0.36227 | 0.99735 | -0.050205 | 0.99665 | -0.063389 | 24.8812
10 | 0.093064 | 0.023474 | -0.092879 | -0.023355 | 0.0001857 | 0.00011853 | 0.14007 | 0.14007 | 0.14007 | 0.98906 | -0.20953 | 0.98691 | -0.2513 | 38.4797
11 | 0.23879 | 0.061164 | -0.23876 | -0.061139 | 3.9185e-05 | 2.4908e-05 | 0.35699 | 0.35699 | 0.35699 | 0.99665 | -0.063389 | 0.99647 | -0.066776 | 24.5187
12 | -0.012969 | -0.0032503 | 0.01297 | 0.0032508 | 9.0233e-07 | 5.02e-07 | 0.019865 | 0.019865 | 0.019865 | 0.97144 | -0.55146 | 0.97152 | -0.55 | 5.4575
13 | -0.029435 | -0.0073806 | 0.029442 | 0.0073849 | 6.8961e-06 | 4.3014e-06 | 0.045085 | 0.045085 | 0.045085 | 0.97152 | -0.55 | 0.97176 | -0.54508 | 12.386
14 | 0.016465 | 0.0041297 | -0.016459 | -0.0041261 | 6.1465e-06 | 3.6148e-06 | 0.02522 | 0.02522 | 0.02522 | 0.97152 | -0.55 | 0.97112 | -0.55783 | 6.9285
15 | 0.023012 | 0.0057731 | -0.023 | -0.0057655 | 1.2487e-05 | 7.6596e-06 | 0.03524 | 0.03524 | 0.03524 | 0.97176 | -0.54508 | 0.97119 | -0.55647 | 9.6813
16 | -0.052454 | -0.013158 | 0.052542 | 0.013214 | 8.8155e-05 | 5.5967e-05 | 0.080325 | 0.080325 | 0.080325 | 0.97176 | -0.54508 | 0.97355 | -0.50989 | 22.0672
17 | 0.016459 | 0.0041261 | -0.016456 | -0.0041242 | 3.3081e-06 | 1.9456e-06 | 0.02522 | 0.02522 | 0.02522 | 0.97112 | -0.55783 | 0.97091 | -0.56205 | 6.9286
18 | 0.011503 | 0.0028841 | -0.011499 | -0.0028819 | 4.1596e-06 | 2.2205e-06 | 0.017625 | 0.017625 | 0.017625 | 0.97119 | -0.55647 | 0.97081 | -0.56406 | 4.842
19 | -0.06536 | -0.016426 | 0.065455 | 0.016487 | 9.5483e-05 | 6.0792e-05 | 0.099915 | 0.099915 | 0.099915 | 0.97355 | -0.50989 | 0.9751 | -0.47934 | 27.4493
20 | -0.081658 | -0.020548 | 0.081733 | 0.020595 | 7.4447e-05 | 4.7486e-05 | 0.12464 | 0.12464 | 0.12464 | 0.9751 | -0.47934 | 0.97607 | -0.46028 | 34.2421
21 | -0.1074 | -0.027191 | 0.10755 | 0.027283 | 0.00014466 | 9.2401e-05 | 0.16302 | 0.16302 | 0.16302 | 0.98094 | -0.36533 | 0.98238 | -0.33732 | 44.7861
22 | 0.095904 | 0.024309 | -0.095594 | -0.024111 | 0.00030988 | 0.00019783 | 0.14558 | 0.14558 | 0.14558 | 0.98094 | -0.36533 | 0.97747 | -0.43281 | 39.9941
23 | -0.11484 | -0.029111 | 0.11501 | 0.029219 | 0.00017009 | 0.00010867 | 0.17407 | 0.17406 | 0.17407 | 0.98238 | -0.33732 | 0.98397 | -0.30655 | 47.8201
24 | 0.08184 | 0.020664 | -0.081733 | -0.020595 | 0.00010757 | 6.8612e-05 | 0.12464 | 0.12464 | 0.12464 | 0.97747 | -0.43281 | 0.97607 | -0.46028 | 34.2421
25 | -0.1217 | -0.030895 | 0.12179 | 0.030958 | 9.8879e-05 | 6.2887e-05 | 0.18418 | 0.18418 | 0.18418 | 0.98397 | -0.30655 | 0.98484 | -0.28967 | 25.2991
26 | -0.12179 | -0.030958 | 0.1218 | 0.030963 | 8.421e-06 | 5.3136e-06 | 0.18418 | 0.18418 | 0.18418 | 0.98484 | -0.28967 | 0.98491 | -0.28824 | 16.866
27 | 0.0058791 | 0.0014734 | -0.0058788 | -0.0014734 | 3.1575e-07 | 6.6265e-08 | 0.0088822 | 0.0088823 | 0.0088823 | 0.98491 | -0.28824 | 0.98486 | -0.28937 | 2.4402
28 | -0.12768 | -0.032437 | 0.12785 | 0.032541 | 0.00016427 | 0.00010379 | 0.19306 | 0.19306 | 0.19306 | 0.98491 | -0.28824 | 0.9863 | -0.26155 | 17.6794
29 | 0.15805 | 0.040164 | -0.15794 | -0.040089 | 0.00011916 | 7.5119e-05 | 0.23842 | 0.23842 | 0.23842 | 0.98726 | -0.24308 | 0.98644 | -0.25876 | 16.3751
30 | -0.15805 | -0.040164 | 0.1581 | 0.040194 | 4.6607e-05 | 2.9381e-05 | 0.23842 | 0.23842 | 0.23842 | 0.98726 | -0.24308 | 0.98757 | -0.23696 | 16.3751
31 | 0.15125 | 0.038413 | -0.15123 | -0.038401 | 2.0343e-05 | 1.2807e-05 | 0.22833 | 0.22833 | 0.22833 | 0.98644 | -0.25876 | 0.9863 | -0.26155 | 15.6823
32 | -0.16489 | -0.041895 | 0.16499 | 0.041958 | 0.00010049 | 6.3423e-05 | 0.24865 | 0.24865 | 0.24865 | 0.98757 | -0.23696 | 0.98823 | -0.22431 | 17.0775
33 | 0.011104 | 0.0027836 | -0.011101 | -0.002782 | 2.981e-06 | 1.5436e-06 | 0.01672 | 0.01672 | 0.01672 | 0.98823 | -0.22431 | 0.98794 | -0.22995 | 4.5933
34 | -0.17609 | -0.044742 | 0.17615 | 0.044779 | 5.877e-05 | 3.7156e-05 | 0.26537 | 0.26537 | 0.26537 | 0.98823 | -0.22431 | 0.98859 | -0.21738 | 18.2258
35 | 0.0055786 | 0.0013981 | -0.0055779 | -0.0013979 | 7.6765e-07 | 1.2008e-07 | 0.0084024 | 0.0084025 | 0.0084025 | 0.98794 | -0.22995 | 0.98779 | -0.23284 | 2.3084
36 | 0.036743 | 0.009246 | -0.036688 | -0.0092112 | 5.5397e-05 | 3.4836e-05 | 0.055319 | 0.055319 | 0.055319 | 0.98859 | -0.21738 | 0.98696 | -0.24899 | 15.1975
37 | -0.2129 | -0.054025 | 0.21328 | 0.05427 | 0.00038546 | 0.00024464 | 0.32069 | 0.32069 | 0.32069 | 0.98859 | -0.21738 | 0.99055 | -0.17981 | 22.0252
38 | 0.23783 | 0.060906 | -0.23778 | -0.060878 | 4.3715e-05 | 2.7786e-05 | 0.3556 | 0.3556 | 0.3556 | 0.99647 | -0.066776 | 0.99627 | -0.070572 | 24.4233
39 | 0.23499 | 0.060178 | -0.23476 | -0.060032 | 0.00022907 | 0.00014558 | 0.35143 | 0.35143 | 0.35143 | 0.99627 | -0.070572 | 0.99521 | -0.090716 | 24.1369
40 | 0.23357 | 0.059734 | -0.23344 | -0.059654 | 0.00012635 | 8.029e-05 | 0.34965 | 0.34965 | 0.34965 | 0.99521 | -0.090716 | 0.99462 | -0.1019 | 24.0146
41 | 0.23344 | 0.059654 | -0.2332 | -0.0595 | 0.00024132 | 0.00015336 | 0.34965 | 0.34965 | 0.34965 | 0.99462 | -0.1019 | 0.9935 | -0.1233 | 24.0147
42 | 0.23038 | 0.058792 | -0.22996 | -0.05853 | 0.00041304 | 0.00026243 | 0.34542 | 0.34542 | 0.34542 | 0.9935 | -0.1233 | 0.99156 | -0.16048 | 23.7241
43 | 0.013141 | 0.0032946 | -0.013139 | -0.0032935 | 2.0241e-06 | 1.1165e-06 | 0.019721 | 0.019721 | 0.019721 | 0.99156 | -0.16048 | 0.99139 | -0.16372 | 5.4177
44 | 0.21682 | 0.055235 | -0.21662 | -0.055107 | 0.00020199 | 0.00012823 | 0.3257 | 0.3257 | 0.3257 | 0.99156 | -0.16048 | 0.99055 | -0.17981 | 22.3697
45 | 0.010923 | 0.0027383 | -0.010921 | -0.0027372 | 2.2008e-06 | 1.1271e-06 | 0.016396 | 0.016396 | 0.016396 | 0.99139 | -0.16372 | 0.99117 | -0.16795 | 4.5043
46 | 0.0036925 | 0.00092481 | -0.003692 | -0.00092506 | 5.3462e-07 | -2.4562e-07 | 0.0055669 | 0.0055671 | 0.0055671 | 0.98696 | -0.24899 | 0.98681 | -0.25203 | 1.5294
47 | 0.025888 | 0.006505 | -0.02585 | -0.0064813 | 3.827e-05 | 2.3638e-05 | 0.039036 | 0.039037 | 0.039037 | 0.98696 | -0.24899 | 0.98537 | -0.28 | 10.7243
48 | 0.0071074 | 0.0017814 | -0.007106 | -0.0017809 | 1.3342e-06 | 4.5801e-07 | 0.010716 | 0.010716 | 0.010716 | 0.98696 | -0.24899 | 0.98676 | -0.25293 | 2.9439
49 | 0.003692 | 0.00092506 | -0.0036917 | -0.00092522 | 3.4713e-07 | -1.5936e-07 | 0.0055671 | 0.0055673 | 0.0055673 | 0.98681 | -0.25203 | 0.98671 | -0.254 | 1.5295
50 | 0.012063 | 0.0030251 | -0.01206 | -0.0030233 | 3.2351e-06 | 1.7394e-06 | 0.018217 | 0.018217 | 0.018217 | 0.98537 | -0.28 | 0.98508 | -0.28563 | 5.0047
51 | 0.013787 | 0.0034562 | -0.013782 | -0.0034537 | 4.5028e-06 | 2.5291e-06 | 0.02082 | 0.02082 | 0.02082 | 0.98537 | -0.28 | 0.98502 | -0.28686 | 5.7197
52 | 0.01206 | 0.0030233 | -0.012057 | -0.0030219 | 2.7497e-06 | 1.4786e-06 | 0.018217 | 0.018217 | 0.018217 | 0.98508 | -0.28563 | 0.98484 | -0.29042 | 5.0047
53 | 0.0073532 | 0.0018425 | -0.0073523 | -0.0018421 | 8.8942e-07 | 3.2457e-07 | 0.011108 | 0.011108 | 0.011108 | 0.98502 | -0.28686 | 0.98489 | -0.2894 | 3.0516
54 | 0.0098074 | 0.002458 | -0.0098068 | -0.0024577 | 6.4632e-07 | 3.1118e-07 | 0.014724 | 0.014724 | 0.014724 | 0.99117 | -0.16795 | 0.9911 | -0.16933 | 4.045
55 | 0.012057 | 0.0030219 | -0.012055 | -0.0030209 | 1.8501e-06 | 9.9495e-07 | 0.018217 | 0.018217 | 0.018217 | 0.98484 | -0.29042 | 0.98467 | -0.29364 | 5.0047
56 | 0.0019517 | 0.00048902 | -0.0019517 | -0.00048913 | 3.4474e-08 | -1.1248e-07 | 0.0029487 | 0.0029487 | 0.0029487 | 0.98489 | -0.2894 | 0.98487 | -0.28977 | 0.81009
57 | 0.0054006 | 0.0013531 | -0.0053999 | -0.001353 | 6.9911e-07 | 9.1122e-08 | 0.0081593 | 0.0081594 | 0.0081594 | 0.98489 | -0.2894 | 0.98475 | -0.29212 | 2.2416
58 | 0.0066655 | 0.0016704 | -0.006665 | -0.0016703 | 5.0175e-07 | 1.4897e-07 | 0.010007 | 0.010007 | 0.010007 | 0.9911 | -0.16933 | 0.99102 | -0.17091 | 2.7493
59 | -0.0025462 | -0.00063813 | 0.0025462 | 0.00063803 | 5.5106e-08 | -9.4268e-08 | 0.0038232 | 0.0038231 | 0.0038232 | 0.99099 | -0.17136 | 0.99102 | -0.17091 | 1.0503
60 | -0.0040696 | -0.0010199 | 0.0040698 | 0.0010199 | 2.4291e-07 | -5.8845e-08 | 0.0061753 | 0.0061753 | 0.0061753 | 0.98062 | -0.37401 | 0.98068 | -0.37276 | 1.6965
61 | -0.011096 | -0.0027798 | 0.011099 | 0.0027814 | 3.1495e-06 | 1.6417e-06 | 0.016836 | 0.016836 | 0.016836 | 0.98068 | -0.37276 | 0.98098 | -0.3668 | 4.6252
62 | 0.003477 | 0.00087112 | -0.0034766 | -0.00087132 | 3.6066e-07 | -2.0511e-07 | 0.0052756 | 0.0052758 | 0.0052758 | 0.98068 | -0.37276 | 0.98057 | -0.37494 | 1.4494
63 | 0.003549 | 0.00088876 | -0.0035489 | -0.00088883 | 1.2986e-07 | -6.7568e-08 | 0.0053848 | 0.0053849 | 0.0053849 | 0.98068 | -0.37276 | 0.98064 | -0.37353 | 1.4794
64 | 0.0082519 | 0.0020683 | -0.0082506 | -0.0020677 | 1.2602e-06 | 5.3576e-07 | 0.012517 | 0.012517 | 0.012517 | 0.98098 | -0.3668 | 0.98082 | -0.37001 | 3.4388
65 | -0.019351 | -0.0048497 | 0.019352 | 0.0048504 | 1.2036e-06 | 7.2325e-07 | 0.029353 | 0.029353 | 0.029353 | 0.98098 | -0.3668 | 0.98105 | -0.36549 | 8.0639
66 | 0.00020808 | 5.1538e-05 | -0.00020807 | -5.2148e-05 | 1.8117e-09 | -6.1068e-07 | 0.00031552 | 0.00031573 | 0.00031573 | 0.98064 | -0.37353 | 0.98063 | -0.37371 | 0.08674
67 | 0.0035794 | 0.00089703 | -0.0035793 | -0.00089706 | 5.8486e-08 | -2.932e-08 | 0.0054303 | 0.0054303 | 0.0054303 | 0.98082 | -0.37001 | 0.9808 | -0.37035 | 1.4918
68 | 0.0046713 | 0.0011707 | -0.0046712 | -0.0011707 | 9.0873e-08 | -2.7355e-09 | 0.0070868 | 0.0070869 | 0.0070869 | 0.98082 | -0.37001 | 0.9808 | -0.37041 | 1.9469
69 | -0.021782 | -0.0054595 | 0.021794 | 0.0054663 | 1.1299e-05 | 6.8828e-06 | 0.033039 | 0.033038 | 0.033039 | 0.98105 | -0.36549 | 0.98161 | -0.35461 | 9.0765
70 | 0.0060209 | 0.0015087 | -0.0060206 | -0.0015086 | 2.6693e-07 | 6.2821e-08 | 0.0091269 | 0.009127 | 0.009127 | 0.98161 | -0.35461 | 0.98156 | -0.35554 | 2.5074
71 | -0.027814 | -0.006975 | 0.027852 | 0.0069986 | 3.7893e-05 | 2.3532e-05 | 0.042165 | 0.042165 | 0.042165 | 0.98161 | -0.35461 | 0.98307 | -0.32607 | 11.5839
72 | 0.046669 | 0.011774 | -0.046622 | -0.011744 | 4.7034e-05 | 2.9779e-05 | 0.070394 | 0.070394 | 0.070394 | 0.98691 | -0.2513 | 0.98582 | -0.27237 | 19.3389
73 | 0.044314 | 0.011166 | -0.044271 | -0.011139 | 4.3157e-05 | 2.7293e-05 | 0.06691 | 0.06691 | 0.06691 | 0.98582 | -0.27237 | 0.98477 | -0.29276 | 18.3819
74 | 0.041929 | 0.010552 | -0.041882 | -0.010522 | 4.6923e-05 | 2.9635e-05 | 0.06337 | 0.063371 | 0.063371 | 0.98477 | -0.29276 | 0.98357 | -0.3162 | 17.4095
75 | 0.03855 | 0.0096871 | -0.038532 | -0.0096756 | 1.8146e-05 | 1.1433e-05 | 0.058331 | 0.058331 | 0.058331 | 0.98357 | -0.3162 | 0.98307 | -0.32607 | 16.025
76 | 0.01068 | 0.0026771 | -0.010678 | -0.0026762 | 1.6706e-06 | 8.5308e-07 | 0.016166 | 0.016166 | 0.016166 | 0.98307 | -0.32607 | 0.9829 | -0.32935 | 4.4412
77 | 0.0079449 | 0.0019912 | -0.0079446 | -0.001991 | 2.7391e-07 | 1.1131e-07 | 0.012028 | 0.012028 | 0.012028 | 0.9829 | -0.32935 | 0.98286 | -0.33008 | 3.3043
78 | 0.0051866 | 0.0012998 | -0.0051863 | -0.0012998 | 3.5392e-07 | 3.2538e-08 | 0.0078523 | 0.0078524 | 0.0078524 | 0.98286 | -0.33008 | 0.98279 | -0.33151 | 2.1573
79 | 0.0060206 | 0.0015086 | -0.0060202 | -0.0015085 | 3.5239e-07 | 8.2952e-08 | 0.009127 | 0.009127 | 0.009127 | 0.98156 | -0.35554 | 0.9815 | -0.35677 | 2.5074
80 | 0.0034698 | 0.00086934 | -0.0034694 | -0.00086953 | 3.2293e-07 | -1.8659e-07 | 0.0052603 | 0.0052605 | 0.0052605 | 0.9815 | -0.35677 | 0.9814 | -0.35872 | 1.4452
81 | 0.0010273 | 0.00025724 | -0.0010273 | -0.00025746 | 1.6171e-08 | -2.172e-07 | 0.0015525 | 0.0015525 | 0.0015525 | 0.9846 | -0.29509 | 0.98458 | -0.29542 | 0.42652
82 | -0.0021801 | -0.00054616 | 0.0021801 | 0.00054615 | 3.5876e-09 | -8.9131e-09 | 0.0032947 | 0.0032947 | 0.0032947 | 0.9846 | -0.29509 | 0.9846 | -0.29506 | 0.90513
83 | -0.0029153 | -0.00073041 | 0.0029155 | 0.00073025 | 1.4482e-07 | -1.6037e-07 | 0.0044058 | 0.0044057 | 0.0044058 | 0.9846 | -0.29506 | 0.98465 | -0.29401 | 1.2104
84 | -0.0059868 | -0.0015 | 0.0059869 | 0.0015 | 1.0682e-07 | 2.4097e-08 | 0.0090472 | 0.0090472 | 0.0090472 | 0.98465 | -0.29401 | 0.98467 | -0.29364 | 2.4855
85 | -0.0028378 | -0.00071122 | 0.0028379 | 0.00071107 | 1.2671e-07 | -1.5266e-07 | 0.0042883 | 0.0042882 | 0.0042883 | 0.9847 | -0.29305 | 0.98475 | -0.29212 | 1.1781
86 | 0.0025619 | 0.00064195 | -0.0025619 | -0.00064206 | 7.1973e-08 | -1.1686e-07 | 0.0038712 | 0.0038713 | 0.0038713 | 0.98475 | -0.29212 | 0.98472 | -0.29271 | 1.0635

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44568 | 0.11365

## res_load
| p_mw | q_mvar
0 | 0.037653 | 0.0094366
1 | 0.0047693 | 0.0011953
2 | 0.0074232 | 0.0018604
3 | 0.002805 | 0.00070301
4 | 0.0036339 | 0.00091075
5 | 0.040391 | 0.010123
6 | 0.0096281 | 0.002413
7 | 0.0035353 | 0.00088603
8 | 0.012969 | 0.0032503
9 | 0.011497 | 0.0028814
10 | 0.012818 | 0.0032124
11 | 0.016456 | 0.0041242
12 | 0.011499 | 0.0028819
13 | 0.016203 | 0.0040609
14 | 0.011499 | 0.0028819
15 | 0.007291 | 0.0018273
16 | 0.013754 | 0.003447
17 | 0.006687 | 0.0016759
18 | 0.006687 | 0.0016759
19 | 0.006788 | 0.0017012
20 | 0.023382 | 0.0058601
21 | 0.0055221 | 0.001384
22 | 0.0058788 | 0.0014734
23 | 0.00093015 | 0.00023312
24 | 0.0027926 | 0.00069988
25 | 0.0011906 | 0.0002984
26 | 0.002825 | 0.00070801
27 | 0.0022152 | 0.00055519
28 | 0.0033402 | 0.00083713
29 | 0.007106 | 0.0017809
30 | 0.006429 | 0.0016113
31 | 0.0011138 | 0.00027915
32 | 0.0055779 | 0.0013979
33 | 0.0036917 | 0.00092522
34 | 0.0031413 | 0.00078727
35 | 0.0025462 | 0.00063813
36 | 0.0041188 | 0.0010323
37 | 0.0040696 | 0.0010199
38 | 0.0034766 | 0.00087132
39 | 0.0033408 | 0.00083729
40 | 0.0024302 | 0.00060906
41 | 0.00020807 | 5.2148e-05
42 | 0.0035793 | 0.00089706
43 | 0.0046712 | 0.0011707
44 | 0.046209 | 0.011581
45 | 0.0023079 | 0.00057842
46 | 0.0023426 | 0.00058711
47 | 0.0033312 | 0.00083487
48 | 0.0027335 | 0.00068507
49 | 0.002758 | 0.00069122
50 | 0.0051863 | 0.0012998
51 | 0.0025505 | 0.00063921
52 | 0.0034694 | 0.00086953
53 | 0.0011528 | 0.00028892
54 | 0.0010273 | 0.00025746
55 | 0.00073521 | 0.00018426
56 | 0.0030714 | 0.00076976
57 | 0.0060682 | 0.0015208
58 | 0.0028378 | 0.00071122
59 | 0.0025619 | 0.00064206
60 | 0.0019517 | 0.00048913

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1