## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1301-38_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1301-38_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1301-38_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1301-38_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1301-38_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1301-38_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1301-38_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1301-38_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1301-38_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_1301-38_0_4_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1301-38_0_4_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_1301-38_0_4_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_1301-38_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1301-38_0_4_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_1301-38_0_4_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_1301-38_0_4_node_81 | 0.4 | n |  | TRUE
16 | bus_LV_1301-38_0_4_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_1301-38_0_4_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_1301-38_0_4_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_1301-38_0_4_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_1301-38_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_1301-38_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1301-38_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1301-38_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1301-38_0_4_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1301-38_0_4_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_1301-38_0_4_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1301-38_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1301-38_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1301-38_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1301-38_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1301-38_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1301-38_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1301-38_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1301-38_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1301-38_0_4_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_1301-38_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1301-38_0_4_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_1301-38_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_1301-38_0_4_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_1301-38_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_1301-38_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1301-38_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_1301-38_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1301-38_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_1301-38_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_1301-38_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1301-38_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1301-38_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_1301-38_0_4_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_1301-38_0_4_node_87 | 0.4 | n |  | TRUE
51 | bus_LV_1301-38_0_4_node_83 | 0.4 | n |  | TRUE
52 | bus_LV_1301-38_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_1301-38_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_1301-38_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_1301-38_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_1301-38_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_1301-38_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_1301-38_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_1301-38_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_1301-38_0_4_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_1301-38_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_1301-38_0_4_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_1301-38_0_4_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_1301-38_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_1301-38_0_4_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_1301-38_0_4_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_1301-38_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_1301-38_0_4_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_1301-38_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_1301-38_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_1301-38_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_1301-38_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_1301-38_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_1301-38_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_1301-38_0_4_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_1301-38_0_4_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_1301-38_0_4_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_1301-38_0_4_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_1301-38_0_4_node_88 | 0.4 | n |  | TRUE
80 | bus_MV_17_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1301-38_0_4_load_0 | 0 | 0.01017 | 0.0025488 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1301-38_0_4_load_1 | 1 | 0.0054471 | 0.0013652 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1301-38_0_4_load_2 | 2 | 0.0022785 | 0.00057105 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1301-38_0_4_load_3 | 3 | 0.023176 | 0.0058085 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1301-38_0_4_load_6 | 6 | 0.012651 | 0.0031706 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1301-38_0_4_load_7 | 7 | 0.0042878 | 0.0010746 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1301-38_0_4_load_15 | 8 | 0.0034109 | 0.00085486 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1301-38_0_4_load_16 | 9 | 0.0056033 | 0.0014043 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1301-38_0_4_load_39 | 10 | 0.0074106 | 0.0018573 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1301-38_0_4_load_40 | 11 | 0.0053166 | 0.0013325 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1301-38_0_4_load_17 | 12 | 0.0058406 | 0.0014638 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1301-38_0_4_load_18 | 13 | 0.00387 | 0.00096991 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1301-38_0_4_load_47 | 14 | 0.003024 | 0.00075788 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1301-38_0_4_load_81 | 15 | 0.005398 | 0.0013529 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1301-38_0_4_load_82 | 16 | 0.0024167 | 0.00060568 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1301-38_0_4_load_80 | 17 | 0.0015685 | 0.0003931 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1301-38_0_4_load_41 | 18 | 0.0089052 | 0.0022319 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1301-38_0_4_load_8 | 19 | 0.014147 | 0.0035457 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1301-38_0_4_load_9 | 20 | 0.010618 | 0.0026612 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1301-38_0_4_load_13 | 22 | 0.0043136 | 0.0010811 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1301-38_0_4_load_14 | 23 | 0.01693 | 0.0042431 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1301-38_0_4_load_27 | 24 | 0.011715 | 0.002936 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1301-38_0_4_load_37 | 25 | 0.0034333 | 0.00086046 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1301-38_0_4_load_24 | 28 | 0.0044785 | 0.0011224 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1301-38_0_4_load_25 | 29 | 0.0059353 | 0.0014875 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1301-38_0_4_load_20 | 30 | 0.0033775 | 0.00084649 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1301-38_0_4_load_19 | 31 | 0.045145 | 0.011314 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1301-38_0_4_load_21 | 32 | 0.0042425 | 0.0010633 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1301-38_0_4_load_23 | 33 | 0.0067422 | 0.0016897 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1301-38_0_4_load_26 | 34 | 0.0042824 | 0.0010733 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1301-38_0_4_load_58 | 35 | 0.0082527 | 0.0020683 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1301-38_0_4_load_33 | 36 | 0.0036453 | 0.0009136 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1301-38_0_4_load_54 | 37 | 0.011374 | 0.0028507 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1301-38_0_4_load_31 | 38 | 0.0024929 | 0.00062477 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1301-38_0_4_load_45 | 39 | 0.014511 | 0.0036367 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1301-38_0_4_load_43 | 40 | 0.0066327 | 0.0016623 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1301-38_0_4_load_29 | 41 | 0.0096394 | 0.0024159 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1301-38_0_4_load_30 | 42 | 0.0057822 | 0.0014491 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1301-38_0_4_load_32 | 43 | 0.0026406 | 0.00066179 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1301-38_0_4_load_34 | 44 | 0.0043144 | 0.0010813 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1301-38_0_4_load_35 | 45 | 0.010629 | 0.0026639 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1301-38_0_4_load_48 | 46 | 0.007601 | 0.001905 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1301-38_0_4_load_42 | 47 | 0.006719 | 0.0016839 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1301-38_0_4_load_46 | 48 | 0.0074495 | 0.001867 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1301-38_0_4_load_86 | 49 | 0.0020171 | 0.00050554 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1301-38_0_4_load_87 | 50 | 0.0039772 | 0.00099678 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1301-38_0_4_load_83 | 51 | 0.0011606 | 0.00029088 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1301-38_0_4_load_50 | 52 | 0.0075614 | 0.0018951 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1301-38_0_4_load_51 | 53 | 0.0019452 | 0.00048752 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1301-38_0_4_load_53 | 55 | 0.0025279 | 0.00063355 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1301-38_0_4_load_55 | 56 | 0.0061044 | 0.0015299 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1301-38_0_4_load_56 | 57 | 0.0076743 | 0.0019234 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1301-38_0_4_load_57 | 58 | 0.0045494 | 0.0011402 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1301-38_0_4_load_59 | 59 | 0.0056984 | 0.0014282 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1301-38_0_4_load_72 | 63 | 0.0084583 | 0.0021199 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1301-38_0_4_load_61 | 64 | 0.0054386 | 0.0013631 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1301-38_0_4_load_76 | 65 | 0.030933 | 0.0077526 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1301-38_0_4_load_71 | 66 | 0.0052681 | 0.0013203 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1301-38_0_4_load_62 | 67 | 0.0031475 | 0.00078884 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1301-38_0_4_load_64 | 68 | 0.00099074 | 0.0002483 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1301-38_0_4_load_67 | 71 | 0.010681 | 0.0026768 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1301-38_0_4_load_69 | 73 | 0.0017735 | 0.00044447 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1301-38_0_4_load_74 | 74 | 0.0037914 | 0.00095022 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1301-38_0_4_load_77 | 75 | 0.0014892 | 0.00037323 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1301-38_0_4_load_79 | 78 | 0.011986 | 0.003004 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1301-38_0_4_load_88 | 79 | 0.0024908 | 0.00062426 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1301-38_0_4_line_0 |  | 0 | 1 | 0.019712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_1301-38_0_4_line_1 |  | 0 | 2 | 0.035184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1301-38_0_4_line_2 |  | 1 | 3 | 0.031923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1301-38_0_4_line_3 |  | 2 | 4 | 0.047155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1301-38_0_4_line_4 |  | 3 | 5 | 0.0087273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1301-38_0_4_line_5 |  | 4 | 6 | 0.018286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1301-38_0_4_line_6 |  | 4 | 7 | 0.0022447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1301-38_0_4_line_7 |  | 5 | 8 | 0.033188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1301-38_0_4_line_8 |  | 5 | 9 | 0.01565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1301-38_0_4_line_9 |  | 6 | 10 | 0.0047923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1301-38_0_4_line_10 |  | 7 | 11 | 0.0037847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1301-38_0_4_line_11 |  | 8 | 12 | 0.0083605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1301-38_0_4_line_12 |  | 9 | 13 | 0.029248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1301-38_0_4_line_13 |  | 10 | 14 | 0.029798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1301-38_0_4_line_14 |  | 11 | 18 | 0.008377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1301-38_0_4_line_15 |  | 12 | 25 | 0.010884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1301-38_0_4_line_16 |  | 13 | 27 | 0.016977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1301-38_0_4_line_17 |  | 14 | 46 | 0.018421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1301-38_0_4_line_18 |  | 15 | 16 | 0.031902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1301-38_0_4_line_19 |  | 15 | 17 | 0.030465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1301-38_0_4_line_20 |  | 16 | 51 | 0.017379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1301-38_0_4_line_21 |  | 17 | 49 | 0.087226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1301-38_0_4_line_22 |  | 18 | 47 | 0.030237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1301-38_0_4_line_23 |  | 19 | 20 | 0.030719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1301-38_0_4_line_24 |  | 20 | 21 | 0.015905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1301-38_0_4_line_25 |  | 21 | 22 | 0.03077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1301-38_0_4_line_26 |  | 21 | 23 | 0.023682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1301-38_0_4_line_27 |  | 22 | 24 | 0.024286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1301-38_0_4_line_28 |  | 24 | 26 | 0.013911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1301-38_0_4_line_29 |  | 26 | 39 | 0.014682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1301-38_0_4_line_30 |  | 26 | 40 | 0.011329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1301-38_0_4_line_31 |  | 27 | 28 | 0.013769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1301-38_0_4_line_32 |  | 27 | 29 | 0.032978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1301-38_0_4_line_33 |  | 27 | 30 | 0.029749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1301-38_0_4_line_34 |  | 28 | 35 | 0.0019771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1301-38_0_4_line_35 |  | 30 | 31 | 0.00552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1301-38_0_4_line_36 |  | 31 | 32 | 0.019489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1301-38_0_4_line_37 |  | 32 | 33 | 0.022329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1301-38_0_4_line_38 |  | 33 | 34 | 0.005259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1301-38_0_4_line_39 |  | 34 | 36 | 0.024281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1301-38_0_4_line_40 |  | 35 | 37 | 0.023738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1301-38_0_4_line_41 |  | 36 | 38 | 0.00045079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1301-38_0_4_line_42 |  | 37 | 54 | 0.015961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1301-38_0_4_line_43 |  | 38 | 41 | 0.010497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1301-38_0_4_line_44 |  | 39 | 48 | 0.016522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1301-38_0_4_line_45 |  | 40 | 47 | 0.0061058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1301-38_0_4_line_46 |  | 41 | 42 | 0.011015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1301-38_0_4_line_47 |  | 42 | 43 | 0.011137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1301-38_0_4_line_48 |  | 43 | 44 | 0.0081443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1301-38_0_4_line_49 |  | 44 | 45 | 2.7155e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1301-38_0_4_line_50 |  | 48 | 49 | 0.0065416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1301-38_0_4_line_51 |  | 49 | 50 | 0.0019418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1301-38_0_4_line_52 |  | 50 | 79 | 0.0091331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1301-38_0_4_line_53 |  | 52 | 53 | 0.026474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1301-38_0_4_line_54 |  | 52 | 54 | 0.020914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1301-38_0_4_line_55 |  | 53 | 55 | 0.0022555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1301-38_0_4_line_56 |  | 54 | 56 | 0.030315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1301-38_0_4_line_57 |  | 54 | 57 | 0.016026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1301-38_0_4_line_58 |  | 55 | 58 | 0.0022049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1301-38_0_4_line_59 |  | 56 | 59 | 0.007641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1301-38_0_4_line_60 |  | 58 | 60 | 0.014793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1301-38_0_4_line_61 |  | 60 | 64 | 0.001128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1301-38_0_4_line_62 |  | 61 | 62 | 0.012803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1301-38_0_4_line_63 |  | 61 | 63 | 0.028571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1301-38_0_4_line_64 |  | 62 | 65 | 0.021798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1301-38_0_4_line_65 |  | 63 | 66 | 0.027546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1301-38_0_4_line_66 |  | 64 | 67 | 0.02417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1301-38_0_4_line_67 |  | 65 | 76 | 0.018806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1301-38_0_4_line_68 |  | 67 | 68 | 0.019842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1301-38_0_4_line_69 |  | 68 | 69 | 0.029361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1301-38_0_4_line_70 |  | 69 | 73 | 0.0074602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1301-38_0_4_line_71 |  | 69 | 70 | 0.03759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1301-38_0_4_line_72 |  | 70 | 71 | 0.03603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1301-38_0_4_line_73 |  | 70 | 72 | 0.032636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1301-38_0_4_line_74 |  | 71 | 74 | 0.00071474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1301-38_0_4_line_75 |  | 72 | 75 | 0.011081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1301-38_0_4_line_76 |  | 74 | 76 | 0.052615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1301-38_0_4_line_77 |  | 75 | 77 | 0.020492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1301-38_0_4_line_78 |  | 77 | 78 | 0.011315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1301-38_0_4_trafo_19 | 0.63 MVA 20/0.4 kV | 80 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2699323.1268 | 1220765.5373 | 2699323.6144 | 1220745.8315
1 | 2699323.1268 | 1220765.5373 | 2699322.9426 | 1220772.9802 | 2699322.4759 | 1220777.2978 | 2699299.1947 | 1220779.6113
2 | 2699323.6144 | 1220745.8315 | 2699324.4042 | 1220713.9179
3 | 2699265.6609 | 1220798.3545 | 2699291.1041 | 1220798.3564 | 2699295.1369 | 1220781.7674 | 2699296.7891 | 1220780.5274 | 2699299.1947 | 1220779.6113 | 2699299.1947 | 1220779.6113
4 | 2699324.6201 | 1220705.1933 | 2699324.4042 | 1220713.9179
5 | 2699265.6609 | 1220798.3545 | 2699266.6983 | 1220816.6112
6 | 2699265.6609 | 1220798.3545 | 2699265.5954 | 1220796.1108
7 | 2699324.6201 | 1220705.1933 | 2699324.7025 | 1220702.0702 | 2699325.3944 | 1220672.0146
8 | 2699324.6201 | 1220705.1933 | 2699340.2687 | 1220704.9567
9 | 2699266.9702 | 1220821.3958 | 2699266.6983 | 1220816.6112
10 | 2699265.485 | 1220792.3277 | 2699265.5954 | 1220796.1108
11 | 2699325.3944 | 1220672.0146 | 2699325.5868 | 1220663.6563
12 | 2699369.5129 | 1220704.5146 | 2699340.2687 | 1220704.9567
13 | 2699266.9702 | 1220821.3958 | 2699268.6606 | 1220851.1456
14 | 2699265.2407 | 1220783.9542 | 2699265.485 | 1220792.3277
15 | 2699325.8372 | 1220652.7753 | 2699325.5868 | 1220663.6563
16 | 2699386.488 | 1220704.2579 | 2699369.5129 | 1220704.5146
17 | 2699269.7057 | 1220869.5369 | 2699268.6606 | 1220851.1456
18 | 2699164.9331 | 1220817.3657 | 2699167.4752 | 1220826.7282 | 2699171.0134 | 1220848.6454
19 | 2699157.5525 | 1220787.8172 | 2699158.7506 | 1220793.3703 | 2699160.3543 | 1220800.5021 | 2699164.9331 | 1220817.3657
20 | 2699173.6936 | 1220865.8121 | 2699173.645 | 1220864.947 | 2699171.0134 | 1220848.6454
21 | 2699228.1725 | 1220736.6193 | 2699157.5525 | 1220787.8172
22 | 2699265.2407 | 1220783.9542 | 2699264.3587 | 1220753.73
23 | 2699267.2343 | 1220636.7503 | 2699266.895 | 1220652.4602 | 2699267.7318 | 1220657.3442 | 2699267.4656 | 1220667.3914
24 | 2699252.001 | 1220669.6353 | 2699258.9177 | 1220667.1377 | 2699267.4656 | 1220667.3914 | 2699267.4656 | 1220667.3914
25 | 2699252.001 | 1220669.6353 | 2699255.8064 | 1220675.3361 | 2699259.6384 | 1220686.2633 | 2699263.0528 | 1220698.1175
26 | 2699252.001 | 1220669.6353 | 2699247.9367 | 1220663.541 | 2699239.2525 | 1220653.2557 | 2699236.9721 | 1220651.4717
27 | 2699263.7603 | 1220722.3915 | 2699263.7336 | 1220718.2654 | 2699263.0528 | 1220698.1175
28 | 2699263.8502 | 1220736.3024 | 2699263.7603 | 1220722.3915
29 | 2699263.8502 | 1220736.3024 | 2699249.5776 | 1220739.7469
30 | 2699263.8502 | 1220736.3024 | 2699264.1806 | 1220747.6268
31 | 2699386.488 | 1220704.2579 | 2699400.2559 | 1220704.3839
32 | 2699386.488 | 1220704.2579 | 2699386.9383 | 1220671.2833
33 | 2699386.488 | 1220704.2579 | 2699386.2109 | 1220734.0058
34 | 2699402.2329 | 1220704.4019 | 2699400.2559 | 1220704.3839
35 | 2699386.1594 | 1220739.5256 | 2699386.2109 | 1220734.0058
36 | 2699386.1594 | 1220739.5256 | 2699385.9779 | 1220759.014
37 | 2699385.9779 | 1220759.014 | 2699385.7699 | 1220781.3417
38 | 2699385.721 | 1220786.6005 | 2699385.7699 | 1220781.3417
39 | 2699385.4948 | 1220810.8807 | 2699385.721 | 1220786.6005
40 | 2699402.2329 | 1220704.4019 | 2699425.97 | 1220704.6191
41 | 2699385.4906 | 1220811.3315 | 2699385.4948 | 1220810.8807
42 | 2699441.6778 | 1220703.345 | 2699438.0123 | 1220704.7293 | 2699425.97 | 1220704.6191
43 | 2699385.4906 | 1220811.3315 | 2699385.3928 | 1220821.8279
44 | 2699233.3989 | 1220740.5533 | 2699233.928 | 1220740.9516 | 2699240.5354 | 1220741.5288 | 2699244.4143 | 1220740.993 | 2699249.5776 | 1220739.7469
45 | 2699264.1806 | 1220747.6268 | 2699264.3587 | 1220753.73
46 | 2699385.2902 | 1220832.8427 | 2699385.3928 | 1220821.8279
47 | 2699385.2902 | 1220832.8427 | 2699385.1865 | 1220843.9791
48 | 2699385.1865 | 1220843.9791 | 2699385.1106 | 1220852.1231
49 | 2699385.1104 | 1220852.1502 | 2699385.1106 | 1220852.1231
50 | 2699233.3989 | 1220740.5533 | 2699228.1725 | 1220736.6193 | 2699228.1725 | 1220736.6193
51 | 2699227.2663 | 1220734.9019 | 2699228.1725 | 1220736.6193
52 | 2699223.0041 | 1220726.8244 | 2699227.2663 | 1220734.9019
53 | 2699441.5149 | 1220724.2585 | 2699441.512 | 1220724.6241 | 2699441.3728 | 1220750.7324
54 | 2699441.6778 | 1220703.345 | 2699441.5149 | 1220724.2585
55 | 2699441.3608 | 1220752.9879 | 2699441.3728 | 1220750.7324
56 | 2699441.6778 | 1220703.345 | 2699442.6232 | 1220673.0443
57 | 2699441.6778 | 1220703.345 | 2699446.1259 | 1220703.2637 | 2699457.6986 | 1220703.566
58 | 2699441.3608 | 1220752.9879 | 2699441.349 | 1220755.1927
59 | 2699442.8615 | 1220665.407 | 2699442.6232 | 1220673.0443
60 | 2699441.2702 | 1220769.9857 | 2699441.349 | 1220755.1927
61 | 2699441.2702 | 1220769.9857 | 2699441.2863 | 1220771.1135
62 | 2699513.4883 | 1220705.0233 | 2699518.5703 | 1220705.1527 | 2699514.77 | 1220711.8718
63 | 2699513.4883 | 1220705.0233 | 2699500.0611 | 1220730.243
64 | 2699514.77 | 1220711.8718 | 2699518.674 | 1220713.9274 | 2699519.7345 | 1220714.4899 | 2699521.5296 | 1220730.5758
65 | 2699482.2561 | 1220732.8824 | 2699482.341 | 1220734.8242 | 2699484.0041 | 1220737.4761 | 2699487.1554 | 1220739.1633 | 2699491.0884 | 1220740.3854 | 2699493.9636 | 1220740.4334 | 2699496.4252 | 1220737.0722 | 2699500.0611 | 1220730.243
66 | 2699441.2863 | 1220771.1135 | 2699441.6309 | 1220795.2812
67 | 2699502.8689 | 1220732.9102 | 2699508.5264 | 1220732.2042 | 2699521.5296 | 1220730.5758
68 | 2699441.6309 | 1220795.2812 | 2699441.9138 | 1220815.121
69 | 2699442.3325 | 1220844.4787 | 2699441.9138 | 1220815.121
70 | 2699442.3325 | 1220844.4787 | 2699439.6362 | 1220851.4347
71 | 2699442.3325 | 1220844.4787 | 2699459.833 | 1220811.1916
72 | 2699459.833 | 1220811.1916 | 2699464.8114 | 1220802.98 | 2699477.6772 | 1220779.8959
73 | 2699468.6489 | 1220842.6168 | 2699459.833 | 1220811.1916
74 | 2699478.0251 | 1220779.2716 | 2699477.6772 | 1220779.8959
75 | 2699468.6489 | 1220842.6168 | 2699474.3305 | 1220841.3664 | 2699479.4718 | 1220840.2383
76 | 2699502.8689 | 1220732.9102 | 2699497.0593 | 1220743.176 | 2699488.757 | 1220760.016 | 2699478.0251 | 1220779.2716
77 | 2699498.9133 | 1220834.2719 | 2699493.3554 | 1220837.1922 | 2699479.4718 | 1220840.2383
78 | 2699498.9133 | 1220834.2719 | 2699496.5037 | 1220823.2166

## bus_geodata
| x | y | coords
0 | 2699323.1268 | 1220765.5373
1 | 2699323.6144 | 1220745.8315
2 | 2699299.1947 | 1220779.6113
3 | 2699324.4042 | 1220713.9179
4 | 2699265.6609 | 1220798.3545
5 | 2699324.6201 | 1220705.1933
6 | 2699266.6983 | 1220816.6112
7 | 2699265.5954 | 1220796.1108
8 | 2699325.3944 | 1220672.0146
9 | 2699340.2687 | 1220704.9567
10 | 2699266.9702 | 1220821.3958
11 | 2699265.485 | 1220792.3277
12 | 2699325.5868 | 1220663.6563
13 | 2699369.5129 | 1220704.5146
14 | 2699268.6606 | 1220851.1456
15 | 2699164.9331 | 1220817.3657
16 | 2699171.0134 | 1220848.6454
17 | 2699157.5525 | 1220787.8172
18 | 2699265.2407 | 1220783.9542
19 | 2699267.2343 | 1220636.7503
20 | 2699267.4656 | 1220667.3914
21 | 2699252.001 | 1220669.6353
22 | 2699263.0528 | 1220698.1175
23 | 2699236.9721 | 1220651.4717
24 | 2699263.7603 | 1220722.3915
25 | 2699325.8372 | 1220652.7753
26 | 2699263.8502 | 1220736.3024
27 | 2699386.488 | 1220704.2579
28 | 2699400.2559 | 1220704.3839
29 | 2699386.9383 | 1220671.2833
30 | 2699386.2109 | 1220734.0058
31 | 2699386.1594 | 1220739.5256
32 | 2699385.9779 | 1220759.014
33 | 2699385.7699 | 1220781.3417
34 | 2699385.721 | 1220786.6005
35 | 2699402.2329 | 1220704.4019
36 | 2699385.4948 | 1220810.8807
37 | 2699425.97 | 1220704.6191
38 | 2699385.4906 | 1220811.3315
39 | 2699249.5776 | 1220739.7469
40 | 2699264.1806 | 1220747.6268
41 | 2699385.3928 | 1220821.8279
42 | 2699385.2902 | 1220832.8427
43 | 2699385.1865 | 1220843.9791
44 | 2699385.1106 | 1220852.1231
45 | 2699385.1104 | 1220852.1502
46 | 2699269.7057 | 1220869.5369
47 | 2699264.3587 | 1220753.73
48 | 2699233.3989 | 1220740.5533
49 | 2699228.1725 | 1220736.6193
50 | 2699227.2663 | 1220734.9019
51 | 2699173.6936 | 1220865.8121
52 | 2699441.5149 | 1220724.2585
53 | 2699441.3728 | 1220750.7324
54 | 2699441.6778 | 1220703.345
55 | 2699441.3608 | 1220752.9879
56 | 2699442.6232 | 1220673.0443
57 | 2699457.6986 | 1220703.566
58 | 2699441.349 | 1220755.1927
59 | 2699442.8615 | 1220665.407
60 | 2699441.2702 | 1220769.9857
61 | 2699513.4883 | 1220705.0233
62 | 2699514.77 | 1220711.8718
63 | 2699500.0611 | 1220730.243
64 | 2699441.2863 | 1220771.1135
65 | 2699521.5296 | 1220730.5758
66 | 2699482.2561 | 1220732.8824
67 | 2699441.6309 | 1220795.2812
68 | 2699441.9138 | 1220815.121
69 | 2699442.3325 | 1220844.4787
70 | 2699459.833 | 1220811.1916
71 | 2699477.6772 | 1220779.8959
72 | 2699468.6489 | 1220842.6168
73 | 2699439.6362 | 1220851.4347
74 | 2699478.0251 | 1220779.2716
75 | 2699479.4718 | 1220840.2383
76 | 2699502.8689 | 1220732.9102
77 | 2699498.9133 | 1220834.2719
78 | 2699496.5037 | 1220823.2166
79 | 2699223.0041 | 1220726.8244
80 | 2699386.488 | 1220704.2579

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98834 | -0.22204 | 0.01017 | 0.0025488
1 | 0.9894 | -0.20169 | 0.0054471 | 0.0013652
2 | 0.98656 | -0.25633 | 0.0022785 | 0.00057105
3 | 0.99117 | -0.1678 | 0.023176 | 0.0058085
4 | 0.98303 | -0.32467 | 0 | 0
5 | 0.99171 | -0.15737 | 0 | 0
6 | 0.98251 | -0.33479 | 0.012651 | 0.0031706
7 | 0.98275 | -0.32995 | 0.0042878 | 0.0010746
8 | 0.99133 | -0.16483 | 0.0034109 | 0.00085486
9 | 0.99275 | -0.1375 | 0.0056033 | 0.0014043
10 | 0.98243 | -0.33635 | 0.0074106 | 0.0018573
11 | 0.98231 | -0.33858 | 0.0053166 | 0.0013325
12 | 0.99126 | -0.1662 | 0.0058406 | 0.0014638
13 | 0.99474 | -0.099537 | 0.00387 | 0.00096991
14 | 0.98214 | -0.34207 | 0.003024 | 0.00075788
15 | 0.97438 | -0.49376 | 0.005398 | 0.0013529
16 | 0.97428 | -0.49586 | 0.0024167 | 0.00060568
17 | 0.97464 | -0.48874 | 0.0015685 | 0.0003931
18 | 0.98137 | -0.35691 | 0.0089052 | 0.0022319
19 | 0.97282 | -0.52455 | 0.014147 | 0.0035457
20 | 0.97322 | -0.51655 | 0.010618 | 0.0026612
21 | 0.97359 | -0.50931 | 0 | 0
22 | 0.97479 | -0.48574 | 0.0043136 | 0.0010811
23 | 0.97322 | -0.51668 | 0.01693 | 0.0042431
24 | 0.97583 | -0.46527 | 0.011715 | 0.002936
25 | 0.99122 | -0.16687 | 0.0034333 | 0.00086046
26 | 0.97657 | -0.45058 | 0 | 0
27 | 0.99592 | -0.077183 | 0 | 0
28 | 0.995 | -0.094637 | 0.0044785 | 0.0011224
29 | 0.99574 | -0.080624 | 0.0059353 | 0.0014875
30 | 0.99936 | -0.01213 | 0.0033775 | 0.00084649
31 | 1 | 0 | -0.44073 | -0.11265
32 | 0.99904 | -0.018502 | 0.0042425 | 0.0010633
33 | 0.99802 | -0.038085 | 0.0067422 | 0.0016897
34 | 0.99781 | -0.042082 | 0.0042824 | 0.0010733
35 | 0.99487 | -0.097068 | 0.0082527 | 0.0020683
36 | 0.99694 | -0.058736 | 0.0036453 | 0.0009136
37 | 0.99198 | -0.15216 | 0.011374 | 0.0028507
38 | 0.99693 | -0.059017 | 0.0024929 | 0.00062477
39 | 0.97602 | -0.46159 | 0.014511 | 0.0036367
40 | 0.97762 | -0.43016 | 0.0066327 | 0.0016623
41 | 0.99661 | -0.065094 | 0.0096394 | 0.0024159
42 | 0.99638 | -0.069612 | 0.0057822 | 0.0014491
43 | 0.9962 | -0.073051 | 0.0026406 | 0.00066179
44 | 0.99609 | -0.075189 | 0.0043144 | 0.0010813
45 | 0.99609 | -0.075194 | 0.010629 | 0.0026639
46 | 0.98201 | -0.3446 | 0.007601 | 0.001905
47 | 0.97821 | -0.41844 | 0.006719 | 0.0016839
48 | 0.97561 | -0.4696 | 0.0074495 | 0.001867
49 | 0.97549 | -0.47188 | 0.0020171 | 0.00050554
50 | 0.97548 | -0.47211 | 0.0039772 | 0.00099678
51 | 0.97426 | -0.49623 | 0.0011606 | 0.00029088
52 | 0.98825 | -0.22361 | 0.0075614 | 0.0018951
53 | 0.98596 | -0.26765 | 0.0019452 | 0.00048752
54 | 0.9902 | -0.18616 | 0 | 0
55 | 0.98577 | -0.27133 | 0.0025279 | 0.00063355
56 | 0.98988 | -0.19252 | 0.0061044 | 0.0015299
57 | 0.99009 | -0.18834 | 0.0076743 | 0.0019234
58 | 0.98558 | -0.27484 | 0.0045494 | 0.0011402
59 | 0.98984 | -0.19329 | 0.0056984 | 0.0014282
60 | 0.98443 | -0.29715 | 0 | 0
61 | 0.97115 | -0.55663 | 0 | 0
62 | 0.97132 | -0.55338 | 0 | 0
63 | 0.97079 | -0.56388 | 0.0084583 | 0.0021199
64 | 0.98434 | -0.29885 | 0.0054386 | 0.0013631
65 | 0.9716 | -0.54785 | 0.030933 | 0.0077526
66 | 0.97065 | -0.56656 | 0.0052681 | 0.0013203
67 | 0.98257 | -0.33306 | 0.0031475 | 0.00078884
68 | 0.98117 | -0.3601 | 0.00099074 | 0.0002483
69 | 0.97914 | -0.39973 | 0 | 0
70 | 0.97659 | -0.44948 | 0 | 0
71 | 0.97461 | -0.4885 | 0.010681 | 0.0026768
72 | 0.97618 | -0.45752 | 0 | 0
73 | 0.97913 | -0.39997 | 0.0017735 | 0.00044447
74 | 0.97457 | -0.48914 | 0.0037914 | 0.00095022
75 | 0.97605 | -0.46026 | 0.0014892 | 0.00037323
76 | 0.97238 | -0.53236 | 0 | 0
77 | 0.97582 | -0.46475 | 0 | 0
78 | 0.97569 | -0.46723 | 0.011986 | 0.003004
79 | 0.97546 | -0.47252 | 0.0024908 | 0.00062426
80 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.17541 | -0.044617 | 0.17559 | 0.044727 | 0.00017216 | 0.00010942 | 0.26433 | 0.26433 | 0.26433 | 0.98834 | -0.22204 | 0.9894 | -0.20169 | 24.2062
1 | 0.16524 | 0.042069 | -0.16497 | -0.041895 | 0.00027272 | 0.00017319 | 0.24902 | 0.24902 | 0.24902 | 0.98834 | -0.22204 | 0.98656 | -0.25633 | 22.804
2 | -0.18103 | -0.046092 | 0.18133 | 0.04628 | 0.00029636 | 0.00018844 | 0.27252 | 0.27252 | 0.27252 | 0.9894 | -0.20169 | 0.99117 | -0.1678 | 24.9563
3 | 0.16269 | 0.041324 | -0.16216 | -0.040984 | 0.00053325 | 0.00034008 | 0.24558 | 0.24558 | 0.24558 | 0.98656 | -0.25633 | 0.98303 | -0.32467 | 33.734
4 | -0.2045 | -0.052089 | 0.20461 | 0.052155 | 0.00010303 | 6.5601e-05 | 0.30732 | 0.30732 | 0.30732 | 0.99117 | -0.1678 | 0.99171 | -0.15737 | 28.1425
5 | 0.030706 | 0.0077026 | -0.030692 | -0.0076934 | 1.4816e-05 | 9.2507e-06 | 0.046483 | 0.046483 | 0.046483 | 0.98303 | -0.32467 | 0.98251 | -0.33479 | 12.7701
6 | 0.13145 | 0.033282 | -0.13142 | -0.03326 | 3.3369e-05 | 2.1328e-05 | 0.1991 | 0.1991 | 0.1991 | 0.98303 | -0.32467 | 0.98275 | -0.32995 | 54.6981
7 | 0.01269 | 0.0031818 | -0.012686 | -0.0031793 | 4.5123e-06 | 2.4599e-06 | 0.019041 | 0.019041 | 0.019041 | 0.99171 | -0.15737 | 0.99133 | -0.16483 | 5.2312
8 | -0.2173 | -0.055336 | 0.21751 | 0.055469 | 0.00020836 | 0.00013275 | 0.32636 | 0.32636 | 0.32636 | 0.99171 | -0.15737 | 0.99275 | -0.1375 | 29.8862
9 | 0.018041 | 0.0045228 | -0.018039 | -0.004522 | 1.3417e-06 | 7.9798e-07 | 0.027323 | 0.027323 | 0.027323 | 0.98251 | -0.33479 | 0.98243 | -0.33635 | 7.5064
10 | 0.12713 | 0.032186 | -0.12708 | -0.032152 | 5.2652e-05 | 3.3649e-05 | 0.19261 | 0.19261 | 0.19261 | 0.98275 | -0.32995 | 0.98231 | -0.33858 | 52.9145
11 | 0.0092746 | 0.0023245 | -0.009274 | -0.0023242 | 6.0762e-07 | 2.811e-07 | 0.013921 | 0.013921 | 0.013921 | 0.99133 | -0.16483 | 0.99126 | -0.1662 | 3.8246
12 | -0.22311 | -0.056873 | 0.22352 | 0.057134 | 0.00040969 | 0.00026107 | 0.33476 | 0.33476 | 0.33476 | 0.99275 | -0.1375 | 0.99474 | -0.099537 | 30.6553
13 | 0.010629 | 0.0026647 | -0.010626 | -0.0026632 | 2.8961e-06 | 1.4763e-06 | 0.016099 | 0.016099 | 0.016099 | 0.98243 | -0.33635 | 0.98214 | -0.34207 | 4.4228
14 | 0.12176 | 0.03082 | -0.12165 | -0.030751 | 0.000107 | 6.8372e-05 | 0.18456 | 0.18456 | 0.18456 | 0.98231 | -0.33858 | 0.98137 | -0.35691 | 50.702
15 | 0.0034334 | 0.00086038 | -0.0034333 | -0.00086046 | 1.0842e-07 | -7.0911e-08 | 0.0051539 | 0.005154 | 0.005154 | 0.99126 | -0.1662 | 0.99122 | -0.16687 | 1.4159
16 | -0.22739 | -0.058104 | 0.22764 | 0.058261 | 0.0002461 | 0.00015684 | 0.34054 | 0.34054 | 0.34054 | 0.99474 | -0.099537 | 0.99592 | -0.077183 | 31.1854
17 | 0.0076019 | 0.0019053 | -0.007601 | -0.001905 | 9.1637e-07 | 3.5339e-07 | 0.011518 | 0.011518 | 0.011518 | 0.98214 | -0.34207 | 0.98201 | -0.3446 | 3.1642
18 | 0.0035777 | 0.00089619 | -0.0035773 | -0.00089636 | 3.5711e-07 | -1.6877e-07 | 0.0054635 | 0.0054636 | 0.0054636 | 0.97438 | -0.49376 | 0.97428 | -0.49586 | 1.501
19 | -0.0089757 | -0.0022491 | 0.0089778 | 0.00225 | 2.1464e-06 | 9.9412e-07 | 0.013707 | 0.013707 | 0.013707 | 0.97438 | -0.49376 | 0.97464 | -0.48874 | 3.7656
20 | 0.0011606 | 0.00029068 | -0.0011606 | -0.00029088 | 2.0478e-08 | -2.0331e-07 | 0.0017726 | 0.0017727 | 0.0017727 | 0.97428 | -0.49586 | 0.97426 | -0.49623 | 0.48699
21 | -0.010546 | -0.0026431 | 0.010555 | 0.0026475 | 8.48e-06 | 4.3392e-06 | 0.016101 | 0.016101 | 0.016101 | 0.97464 | -0.48874 | 0.97549 | -0.47188 | 4.4235
22 | 0.11275 | 0.028519 | -0.11242 | -0.028307 | 0.00033177 | 0.00021195 | 0.17105 | 0.17105 | 0.17105 | 0.98137 | -0.35691 | 0.97821 | -0.41844 | 46.9925
23 | -0.014147 | -0.0035457 | 0.014153 | 0.0035488 | 5.3945e-06 | 3.0709e-06 | 0.02164 | 0.02164 | 0.02164 | 0.97282 | -0.52455 | 0.97322 | -0.51655 | 5.945
24 | -0.024771 | -0.00621 | 0.02478 | 0.0062152 | 8.556e-06 | 5.2782e-06 | 0.037875 | 0.037875 | 0.037875 | 0.97322 | -0.51655 | 0.97359 | -0.50931 | 10.4051
25 | -0.041716 | -0.010462 | 0.041763 | 0.010491 | 4.6909e-05 | 2.9638e-05 | 0.06376 | 0.06376 | 0.06376 | 0.97359 | -0.50931 | 0.97479 | -0.48574 | 17.5164
26 | 0.016936 | 0.0042466 | -0.01693 | -0.0042431 | 5.9505e-06 | 3.5139e-06 | 0.025885 | 0.025885 | 0.025885 | 0.97359 | -0.50931 | 0.97322 | -0.51668 | 7.1114
27 | -0.046076 | -0.011573 | 0.046121 | 0.011601 | 4.5065e-05 | 2.8538e-05 | 0.070344 | 0.070344 | 0.070344 | 0.97479 | -0.48574 | 0.97583 | -0.46527 | 19.3254
28 | -0.057836 | -0.014537 | 0.057877 | 0.014563 | 4.0589e-05 | 2.5803e-05 | 0.088208 | 0.088208 | 0.088208 | 0.97583 | -0.46527 | 0.97657 | -0.45058 | 24.2329
29 | 0.041034 | 0.010299 | -0.041012 | -0.010285 | 2.1527e-05 | 1.3594e-05 | 0.062529 | 0.062529 | 0.062529 | 0.97657 | -0.45058 | 0.97602 | -0.46159 | 17.1783
30 | -0.09891 | -0.024862 | 0.099007 | 0.024923 | 9.6531e-05 | 6.1638e-05 | 0.15074 | 0.15074 | 0.15074 | 0.97657 | -0.45058 | 0.97762 | -0.43016 | 41.4111
31 | 0.14614 | 0.037405 | -0.14602 | -0.037326 | 0.0001234 | 7.8617e-05 | 0.21863 | 0.21863 | 0.21863 | 0.99592 | -0.077183 | 0.995 | -0.094637 | 30.0316
32 | 0.0059363 | 0.0014877 | -0.0059353 | -0.0014875 | 9.7286e-07 | 1.9359e-07 | 0.0088694 | 0.0088696 | 0.0088696 | 0.99592 | -0.077183 | 0.99574 | -0.080624 | 2.4367
33 | -0.37971 | -0.097154 | 0.38091 | 0.097921 | 0.0011999 | 0.00076677 | 0.56804 | 0.56804 | 0.56804 | 0.99592 | -0.077183 | 0.99936 | -0.01213 | 52.0186
34 | 0.14154 | 0.036204 | -0.14152 | -0.036193 | 1.665e-05 | 1.0605e-05 | 0.21193 | 0.21193 | 0.21193 | 0.995 | -0.094637 | 0.99487 | -0.097068 | 29.1116
35 | -0.38429 | -0.098767 | 0.38452 | 0.098912 | 0.00022661 | 0.00014481 | 0.57307 | 0.57307 | 0.57307 | 0.99936 | -0.01213 | 1 | 0 | 52.4791
36 | 0.054565 | 0.013734 | -0.054517 | -0.013703 | 4.8205e-05 | 3.0595e-05 | 0.081214 | 0.081214 | 0.081214 | 1 | 0 | 0.99904 | -0.018502 | 22.3115
37 | 0.050274 | 0.01264 | -0.050227 | -0.01261 | 4.6968e-05 | 2.9767e-05 | 0.074895 | 0.074895 | 0.074895 | 0.99904 | -0.018502 | 0.99802 | -0.038085 | 20.5756
38 | 0.043485 | 0.01092 | -0.043477 | -0.010915 | 8.292e-06 | 5.2382e-06 | 0.064843 | 0.064843 | 0.064843 | 0.99802 | -0.038085 | 0.99781 | -0.042082 | 17.8139
39 | 0.039194 | 0.0098419 | -0.039163 | -0.0098223 | 3.1115e-05 | 1.9597e-05 | 0.058456 | 0.058457 | 0.058457 | 0.99781 | -0.042082 | 0.99694 | -0.058736 | 16.0595
40 | 0.13327 | 0.034125 | -0.13292 | -0.033898 | 0.00035461 | 0.00022664 | 0.19959 | 0.19959 | 0.19959 | 0.99487 | -0.097068 | 0.99198 | -0.15216 | 54.8322
41 | 0.035518 | 0.0089087 | -0.035517 | -0.0089084 | 4.7513e-07 | 2.9821e-07 | 0.053016 | 0.053016 | 0.053016 | 0.99694 | -0.058736 | 0.99693 | -0.059017 | 14.5647
42 | 0.12154 | 0.031048 | -0.12134 | -0.03092 | 0.00019941 | 0.00012742 | 0.18253 | 0.18253 | 0.18253 | 0.99198 | -0.15216 | 0.9902 | -0.18616 | 50.1449
43 | 0.033025 | 0.0082836 | -0.033015 | -0.0082776 | 9.5652e-06 | 5.9849e-06 | 0.049295 | 0.049295 | 0.049295 | 0.99693 | -0.059017 | 0.99661 | -0.065094 | 13.5425
44 | 0.026502 | 0.0066485 | -0.026492 | -0.0066422 | 1.0116e-05 | 6.2676e-06 | 0.040406 | 0.040406 | 0.040406 | 0.97602 | -0.46159 | 0.97561 | -0.4696 | 11.1007
45 | -0.10564 | -0.026586 | 0.1057 | 0.026623 | 5.9227e-05 | 3.7828e-05 | 0.16083 | 0.16083 | 0.16083 | 0.97762 | -0.43016 | 0.97821 | -0.41844 | 44.1846
46 | 0.023376 | 0.0058617 | -0.023371 | -0.0058587 | 5.032e-06 | 3.077e-06 | 0.034903 | 0.034903 | 0.034903 | 0.99661 | -0.065094 | 0.99638 | -0.069612 | 9.5886
47 | 0.017588 | 0.0044095 | -0.017585 | -0.0044078 | 2.8816e-06 | 1.6992e-06 | 0.026267 | 0.026267 | 0.026267 | 0.99638 | -0.069612 | 0.9962 | -0.073051 | 7.2163
48 | 0.014945 | 0.003746 | -0.014943 | -0.0037452 | 1.5219e-06 | 8.6802e-07 | 0.022323 | 0.022323 | 0.022323 | 0.9962 | -0.073051 | 0.99609 | -0.075189 | 6.1328
49 | 0.010629 | 0.0026639 | -0.010629 | -0.0026639 | 2.5669e-09 | 1.288e-09 | 0.015878 | 0.015878 | 0.015878 | 0.99609 | -0.075189 | 0.99609 | -0.075194 | 4.3621
50 | 0.019042 | 0.0047752 | -0.01904 | -0.004774 | 2.0694e-06 | 1.2427e-06 | 0.029044 | 0.029044 | 0.029044 | 0.97561 | -0.4696 | 0.97549 | -0.47188 | 7.9792
51 | 0.0064681 | 0.001621 | -0.0064681 | -0.001621 | 7.0885e-08 | 2.1125e-08 | 0.0098665 | 0.0098665 | 0.0098665 | 0.97549 | -0.47188 | 0.97548 | -0.47211 | 2.7106
52 | 0.0024909 | 0.00062417 | -0.0024908 | -0.00062426 | 4.9445e-08 | -8.2369e-08 | 0.0037996 | 0.0037996 | 0.0037996 | 0.97548 | -0.47211 | 0.97546 | -0.47252 | 1.0438
53 | 0.094115 | 0.024024 | -0.093915 | -0.023896 | 0.00019981 | 0.00012754 | 0.14187 | 0.14187 | 0.14187 | 0.98825 | -0.22361 | 0.98596 | -0.26765 | 38.9743
54 | -0.10168 | -0.025919 | 0.10186 | 0.026036 | 0.0001842 | 0.00011762 | 0.15325 | 0.15325 | 0.15325 | 0.98825 | -0.22361 | 0.9902 | -0.18616 | 42.102
55 | 0.09197 | 0.023409 | -0.091954 | -0.023398 | 1.6326e-05 | 1.042e-05 | 0.13893 | 0.13893 | 0.13893 | 0.98596 | -0.26765 | 0.98577 | -0.27133 | 38.1678
56 | 0.011807 | 0.00296 | -0.011803 | -0.0029581 | 3.5788e-06 | 1.9006e-06 | 0.017743 | 0.017743 | 0.017743 | 0.9902 | -0.18616 | 0.98988 | -0.19252 | 4.8744
57 | 0.0076751 | 0.0019237 | -0.0076743 | -0.0019234 | 7.9943e-07 | 3.0551e-07 | 0.011534 | 0.011534 | 0.011534 | 0.9902 | -0.18616 | 0.99009 | -0.18834 | 3.1686
58 | 0.089426 | 0.022765 | -0.089411 | -0.022755 | 1.5094e-05 | 9.6323e-06 | 0.13511 | 0.13511 | 0.13511 | 0.98577 | -0.27133 | 0.98558 | -0.27484 | 37.1195
59 | 0.0056986 | 0.0014282 | -0.0056984 | -0.0014282 | 2.1027e-07 | 3.6351e-08 | 0.0085664 | 0.0085664 | 0.0085664 | 0.98988 | -0.19252 | 0.98984 | -0.19329 | 2.3534
60 | 0.084861 | 0.021615 | -0.08477 | -0.021557 | 9.1239e-05 | 5.8205e-05 | 0.12825 | 0.12825 | 0.12825 | 0.98558 | -0.27484 | 0.98443 | -0.29715 | 35.2325
61 | 0.08477 | 0.021557 | -0.084763 | -0.021552 | 6.9569e-06 | 4.4381e-06 | 0.12825 | 0.12825 | 0.12825 | 0.98443 | -0.29715 | 0.98434 | -0.29885 | 35.2325
62 | -0.013732 | -0.0034429 | 0.013734 | 0.0034441 | 2.1255e-06 | 1.2019e-06 | 0.021041 | 0.021041 | 0.021041 | 0.97115 | -0.55663 | 0.97132 | -0.55338 | 5.7804
63 | 0.013732 | 0.0034429 | -0.013727 | -0.0034402 | 4.7433e-06 | 2.6823e-06 | 0.021041 | 0.021041 | 0.021041 | 0.97115 | -0.55663 | 0.97079 | -0.56388 | 5.7804
64 | -0.013734 | -0.0034441 | 0.013738 | 0.0034462 | 3.6188e-06 | 2.0462e-06 | 0.021041 | 0.02104 | 0.021041 | 0.97132 | -0.55338 | 0.9716 | -0.54785 | 5.7804
65 | 0.0052687 | 0.0013204 | -0.0052681 | -0.0013203 | 6.737e-07 | 9.0645e-08 | 0.0080759 | 0.008076 | 0.008076 | 0.97079 | -0.56388 | 0.97065 | -0.56656 | 2.2187
66 | 0.079324 | 0.020189 | -0.079194 | -0.020106 | 0.00013057 | 8.326e-05 | 0.12002 | 0.12002 | 0.12002 | 0.98434 | -0.29885 | 0.98257 | -0.33306 | 32.9739
67 | -0.044671 | -0.011199 | 0.044704 | 0.01122 | 3.3009e-05 | 2.0893e-05 | 0.068415 | 0.068415 | 0.068415 | 0.9716 | -0.54785 | 0.97238 | -0.53236 | 18.7955
68 | 0.076046 | 0.019317 | -0.075947 | -0.019254 | 9.8845e-05 | 6.301e-05 | 0.11526 | 0.11526 | 0.11526 | 0.98257 | -0.33306 | 0.98117 | -0.3601 | 31.6644
69 | 0.074957 | 0.019006 | -0.074814 | -0.018915 | 0.00014248 | 9.0816e-05 | 0.11376 | 0.11376 | 0.11376 | 0.98117 | -0.3601 | 0.97914 | -0.39973 | 31.2516
70 | 0.0017735 | 0.00044439 | -0.0017735 | -0.00044447 | 2.0322e-08 | -8.0825e-08 | 0.0026952 | 0.0026952 | 0.0026952 | 0.97914 | -0.39973 | 0.97913 | -0.39997 | 0.74044
71 | 0.073041 | 0.018471 | -0.072867 | -0.01836 | 0.00017387 | 0.00011081 | 0.11106 | 0.11106 | 0.11106 | 0.97914 | -0.39973 | 0.97659 | -0.44948 | 30.5113
72 | 0.05938 | 0.014977 | -0.05927 | -0.014906 | 0.00011069 | 7.0391e-05 | 0.090511 | 0.090511 | 0.090511 | 0.97659 | -0.44948 | 0.97461 | -0.4885 | 24.8657
73 | 0.013486 | 0.0033833 | -0.013481 | -0.0033804 | 5.1684e-06 | 2.8996e-06 | 0.02055 | 0.02055 | 0.02055 | 0.97659 | -0.44948 | 0.97618 | -0.45752 | 5.6457
74 | 0.048589 | 0.012229 | -0.048588 | -0.012228 | 1.4758e-06 | 9.3562e-07 | 0.074204 | 0.074204 | 0.074204 | 0.97461 | -0.4885 | 0.97457 | -0.48914 | 20.3857
75 | 0.013481 | 0.0033804 | -0.013479 | -0.0033794 | 1.7549e-06 | 9.8462e-07 | 0.02055 | 0.02055 | 0.02055 | 0.97618 | -0.45752 | 0.97605 | -0.46026 | 5.6457
76 | 0.044796 | 0.011278 | -0.044704 | -0.01122 | 9.2353e-05 | 5.8452e-05 | 0.068415 | 0.068415 | 0.068415 | 0.97457 | -0.48914 | 0.97238 | -0.53236 | 18.7954
77 | 0.01199 | 0.0030062 | -0.011988 | -0.0030048 | 2.5679e-06 | 1.3874e-06 | 0.01828 | 0.01828 | 0.01828 | 0.97605 | -0.46026 | 0.97582 | -0.46475 | 5.022
78 | 0.011988 | 0.0030048 | -0.011986 | -0.003004 | 1.4179e-06 | 7.661e-07 | 0.01828 | 0.01828 | 0.01828 | 0.97582 | -0.46475 | 0.97569 | -0.46723 | 5.022

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48588 | 0.12396

## res_load
| p_mw | q_mvar
0 | 0.01017 | 0.0025488
1 | 0.0054471 | 0.0013652
2 | 0.0022785 | 0.00057105
3 | 0.023176 | 0.0058085
4 | 0.012651 | 0.0031706
5 | 0.0042878 | 0.0010746
6 | 0.0034109 | 0.00085486
7 | 0.0056033 | 0.0014043
8 | 0.0074106 | 0.0018573
9 | 0.0053166 | 0.0013325
10 | 0.0058406 | 0.0014638
11 | 0.00387 | 0.00096991
12 | 0.003024 | 0.00075788
13 | 0.005398 | 0.0013529
14 | 0.0024167 | 0.00060568
15 | 0.0015685 | 0.0003931
16 | 0.0089052 | 0.0022319
17 | 0.014147 | 0.0035457
18 | 0.010618 | 0.0026612
19 | 0.0043136 | 0.0010811
20 | 0.01693 | 0.0042431
21 | 0.011715 | 0.002936
22 | 0.0034333 | 0.00086046
23 | 0.0044785 | 0.0011224
24 | 0.0059353 | 0.0014875
25 | 0.0033775 | 0.00084649
26 | 0.045145 | 0.011314
27 | 0.0042425 | 0.0010633
28 | 0.0067422 | 0.0016897
29 | 0.0042824 | 0.0010733
30 | 0.0082527 | 0.0020683
31 | 0.0036453 | 0.0009136
32 | 0.011374 | 0.0028507
33 | 0.0024929 | 0.00062477
34 | 0.014511 | 0.0036367
35 | 0.0066327 | 0.0016623
36 | 0.0096394 | 0.0024159
37 | 0.0057822 | 0.0014491
38 | 0.0026406 | 0.00066179
39 | 0.0043144 | 0.0010813
40 | 0.010629 | 0.0026639
41 | 0.007601 | 0.001905
42 | 0.006719 | 0.0016839
43 | 0.0074495 | 0.001867
44 | 0.0020171 | 0.00050554
45 | 0.0039772 | 0.00099678
46 | 0.0011606 | 0.00029088
47 | 0.0075614 | 0.0018951
48 | 0.0019452 | 0.00048752
49 | 0.0025279 | 0.00063355
50 | 0.0061044 | 0.0015299
51 | 0.0076743 | 0.0019234
52 | 0.0045494 | 0.0011402
53 | 0.0056984 | 0.0014282
54 | 0.0084583 | 0.0021199
55 | 0.0054386 | 0.0013631
56 | 0.030933 | 0.0077526
57 | 0.0052681 | 0.0013203
58 | 0.0031475 | 0.00078884
59 | 0.00099074 | 0.0002483
60 | 0.010681 | 0.0026768
61 | 0.0017735 | 0.00044447
62 | 0.0037914 | 0.00095022
63 | 0.0014892 | 0.00037323
64 | 0.011986 | 0.003004
65 | 0.0024908 | 0.00062426

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1