## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1301-39_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1301-39_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1301-39_0_3_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1301-39_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1301-39_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1301-39_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1301-39_0_3_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_1301-39_0_3_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_1301-39_0_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_1301-39_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1301-39_0_3_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_1301-39_0_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_1301-39_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1301-39_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1301-39_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1301-39_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1301-39_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1301-39_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1301-39_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1301-39_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1301-39_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1301-39_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1301-39_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1301-39_0_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1301-39_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1301-39_0_3_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_1301-39_0_3_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_1301-39_0_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1301-39_0_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_1301-39_0_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_1301-39_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1301-39_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1301-39_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1301-39_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1301-39_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1301-39_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1301-39_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1301-39_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1301-39_0_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_1301-39_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1301-39_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1301-39_0_3_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_1301-39_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_1301-39_0_3_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_1301-39_0_3_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_1301-39_0_3_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1301-39_0_3_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_1301-39_0_3_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_1301-39_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_1301-39_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_1301-39_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_1301-39_0_3_node_53 | 0.4 | n |  | TRUE
52 | bus_MV_17_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1301-39_0_3_load_0 | 0 | 0.002704 | 0.00067768 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1301-39_0_3_load_1 | 2 | 0.00044731 | 0.00011211 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1301-39_0_3_load_3 | 3 | 0.0018713 | 0.00046899 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1301-39_0_3_load_5 | 5 | 0.0037679 | 0.00094432 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1301-39_0_3_load_57 | 7 | 0.00302 | 0.00075687 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1301-39_0_3_load_18 | 8 | 0.0099682 | 0.0024983 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1301-39_0_3_load_14 | 9 | 0.0049722 | 0.0012461 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1301-39_0_3_load_34 | 10 | 0.00334 | 0.00083708 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1301-39_0_3_load_35 | 11 | 0.0033567 | 0.00084126 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1301-39_0_3_load_19 | 12 | 0.0058289 | 0.0014609 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1301-39_0_3_load_13 | 13 | 0.0056535 | 0.0014169 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1301-39_0_3_load_6 | 14 | 0.02034 | 0.0050977 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1301-39_0_3_load_7 | 15 | 0.029954 | 0.0075073 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1301-39_0_3_load_10 | 17 | 0.0093696 | 0.0023482 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1301-39_0_3_load_12 | 19 | 0.011235 | 0.0028159 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1301-39_0_3_load_17 | 20 | 0.069196 | 0.017342 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1301-39_0_3_load_15 | 21 | 0.006565 | 0.0016453 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1301-39_0_3_load_26 | 23 | 0.012078 | 0.0030271 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1301-39_0_3_load_22 | 24 | 0.0030994 | 0.00077679 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1301-39_0_3_load_31 | 27 | 0.012606 | 0.0031593 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1301-39_0_3_load_42 | 28 | 0.023875 | 0.0059837 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1301-39_0_3_load_20 | 30 | 0.010474 | 0.0026251 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1301-39_0_3_load_21 | 31 | 0.0055074 | 0.0013803 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1301-39_0_3_load_25 | 32 | 0.0010889 | 0.00027291 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1301-39_0_3_load_23 | 33 | 0.0052545 | 0.0013169 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1301-39_0_3_load_27 | 34 | 0.011774 | 0.0029507 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1301-39_0_3_load_29 | 36 | 0.033822 | 0.0084765 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1301-39_0_3_load_45 | 38 | 0.0029355 | 0.00073571 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1301-39_0_3_load_38 | 40 | 0.0020806 | 0.00052145 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1301-39_0_3_load_55 | 41 | 0.0039013 | 0.00097775 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1301-39_0_3_load_43 | 42 | 0.0025138 | 0.00063001 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1301-39_0_3_load_54 | 43 | 0.0023865 | 0.00059811 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1301-39_0_3_load_49 | 44 | 0.0062066 | 0.0015555 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1301-39_0_3_load_47 | 45 | 0.0087323 | 0.0021885 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1301-39_0_3_load_44 | 46 | 0.0021416 | 0.00053673 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1301-39_0_3_load_46 | 47 | 0.0027383 | 0.00068628 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1301-39_0_3_load_48 | 48 | 0.0066685 | 0.0016713 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1301-39_0_3_load_50 | 49 | 0.0031411 | 0.00078724 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1301-39_0_3_load_51 | 50 | 0.004589 | 0.0011501 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1301-39_0_3_load_53 | 51 | 0.0033249 | 0.00083331 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1301-39_0_3_line_0 |  | 0 | 1 | 0.085213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1301-39_0_3_line_1 |  | 1 | 4 | 0.00864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1301-39_0_3_line_2 |  | 1 | 5 | 0.041368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1301-39_0_3_line_3 |  | 2 | 3 | 0.020491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1301-39_0_3_line_4 |  | 3 | 6 | 0.018339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1301-39_0_3_line_5 |  | 3 | 7 | 0.051934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1301-39_0_3_line_6 |  | 4 | 8 | 0.027421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1301-39_0_3_line_7 |  | 4 | 9 | 0.014708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1301-39_0_3_line_8 |  | 6 | 10 | 0.0076568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1301-39_0_3_line_9 |  | 6 | 11 | 0.052052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1301-39_0_3_line_10 |  | 8 | 12 | 0.016792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1301-39_0_3_line_11 |  | 9 | 13 | 0.049689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1301-39_0_3_line_12 |  | 10 | 38 | 0.0199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1301-39_0_3_line_13 |  | 11 | 39 | 0.021318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1301-39_0_3_line_14 |  | 12 | 30 | 0.016877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1301-39_0_3_line_15 |  | 13 | 19 | 0.010725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1301-39_0_3_line_16 |  | 14 | 15 | 0.049296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1301-39_0_3_line_17 |  | 14 | 16 | 0.029786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1301-39_0_3_line_18 |  | 16 | 17 | 0.043766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1301-39_0_3_line_19 |  | 16 | 18 | 0.016396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1301-39_0_3_line_20 |  | 17 | 19 | 0.0097214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1301-39_0_3_line_21 |  | 18 | 20 | 0.060741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1301-39_0_3_line_22 |  | 18 | 21 | 0.0050408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1301-39_0_3_line_23 |  | 20 | 28 | 0.0048203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1301-39_0_3_line_24 |  | 22 | 23 | 0.010085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1301-39_0_3_line_25 |  | 22 | 24 | 0.013496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1301-39_0_3_line_26 |  | 23 | 27 | 0.0085979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1301-39_0_3_line_27 |  | 24 | 33 | 0.020225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1301-39_0_3_line_28 |  | 25 | 26 | 0.036758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1301-39_0_3_line_29 |  | 25 | 27 | 0.024221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1301-39_0_3_line_30 |  | 26 | 39 | 0.067142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1301-39_0_3_line_31 |  | 26 | 40 | 0.012207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1301-39_0_3_line_32 |  | 28 | 29 | 0.031482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1301-39_0_3_line_33 |  | 29 | 37 | 0.015276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1301-39_0_3_line_34 |  | 30 | 31 | 0.034353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1301-39_0_3_line_35 |  | 31 | 32 | 0.041149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1301-39_0_3_line_36 |  | 32 | 33 | 0.0032092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1301-39_0_3_line_37 |  | 34 | 35 | 0.045366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1301-39_0_3_line_38 |  | 35 | 36 | 0.090992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1301-39_0_3_line_39 |  | 36 | 37 | 0.047912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1301-39_0_3_line_40 |  | 38 | 42 | 0.017207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1301-39_0_3_line_41 |  | 39 | 41 | 0.02944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1301-39_0_3_line_42 |  | 41 | 43 | 0.0010359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1301-39_0_3_line_43 |  | 42 | 46 | 0.0057604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1301-39_0_3_line_44 |  | 43 | 51 | 0.019776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1301-39_0_3_line_45 |  | 44 | 45 | 0.0040129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1301-39_0_3_line_46 |  | 45 | 48 | 0.016278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1301-39_0_3_line_47 |  | 46 | 47 | 0.019893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1301-39_0_3_line_48 |  | 48 | 49 | 0.0058182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1301-39_0_3_line_49 |  | 49 | 50 | 0.015909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1301-39_0_3_line_50 |  | 50 | 51 | 0.0028906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1301-39_0_3_trafo_7 | 0.63 MVA 20/0.4 kV | 52 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2699394.9497 | 1220925.9682 | 2699396.1284 | 1220933.9935 | 2699386.9077 | 1221010.5415
1 | 2699394.9497 | 1220925.9682 | 2699390.4556 | 1220933.354
2 | 2699394.9497 | 1220925.9682 | 2699384.6593 | 1220900.5784 | 2699384.7894 | 1220886.6068
3 | 2699403.3549 | 1221087.9021 | 2699406.5701 | 1221108.1395
4 | 2699399.2282 | 1221118.2322 | 2699408.0574 | 1221117.5012 | 2699406.5701 | 1221108.1395
5 | 2699406.5701 | 1221108.1395 | 2699457.5842 | 1221117.8727
6 | 2699390.4556 | 1220933.354 | 2699377.0226 | 1220957.2593
7 | 2699390.4556 | 1220933.354 | 2699375.7508 | 1220933.6379
8 | 2699399.2282 | 1221118.2322 | 2699400.2109 | 1221125.8257
9 | 2699399.2282 | 1221118.2322 | 2699398.0684 | 1221110.4406 | 2699354.3596 | 1221116.8403
10 | 2699377.0226 | 1220957.2593 | 2699372.4922 | 1220965.3215 | 2699368.6671 | 1220971.8243
11 | 2699336.6541 | 1220916.9778 | 2699347.1064 | 1220917.375 | 2699354.9399 | 1220934.0397 | 2699375.7508 | 1220933.6379
12 | 2699400.2109 | 1221125.8257 | 2699402.765 | 1221145.561
13 | 2699336.9441 | 1221125.2647 | 2699337.4592 | 1221122.1378 | 2699342.5798 | 1221118.5651 | 2699354.3596 | 1221116.8403
14 | 2699360.1101 | 1220986.3715 | 2699368.6671 | 1220971.8243
15 | 2699325.9367 | 1220916.5707 | 2699336.6541 | 1220916.9778
16 | 2699274.7349 | 1220944.2415 | 2699278.2387 | 1220990.5455 | 2699278.2954 | 1220993.4045
17 | 2699272.4875 | 1220914.5399 | 2699274.7349 | 1220944.2415
18 | 2699272.4875 | 1220914.5399 | 2699316.2222 | 1220916.2016
19 | 2699271.3337 | 1220898.1868 | 2699272.4875 | 1220914.5399
20 | 2699325.9367 | 1220916.5707 | 2699316.2222 | 1220916.2016
21 | 2699271.3337 | 1220898.1868 | 2699264.6082 | 1220898.7863 | 2699260.0475 | 1220901.0786 | 2699245.2735 | 1220907.0033 | 2699241.2322 | 1220908.1812 | 2699220.573 | 1220909.816 | 2699212.5505 | 1220910.2323
22 | 2699271.3337 | 1220898.1868 | 2699271.0477 | 1220893.1541
23 | 2699207.7367 | 1220910.4821 | 2699212.5505 | 1220910.2323
24 | 2699303.1051 | 1221083.2817 | 2699297.9447 | 1221091.9462
25 | 2699303.1051 | 1221083.2817 | 2699309.9476 | 1221071.6491
26 | 2699293.5451 | 1221099.3332 | 2699297.9447 | 1221091.9462
27 | 2699320.2022 | 1221054.216 | 2699309.9476 | 1221071.6491
28 | 2699276.8486 | 1221153.0381 | 2699276.7129 | 1221149.3443 | 2699276.8394 | 1221147.2227 | 2699278.4013 | 1221121.8195 | 2699278.1891 | 1221116.3454
29 | 2699278.1891 | 1221116.3454 | 2699282.9313 | 1221115.4461 | 2699285.2829 | 1221113.2059 | 2699293.5451 | 1221099.3332
30 | 2699336.9441 | 1221125.2647 | 2699315.2469 | 1221130.0397 | 2699307.3701 | 1221132.3544 | 2699299.6039 | 1221137.5953 | 2699276.8486 | 1221153.0381
31 | 2699276.8486 | 1221153.0381 | 2699277.2957 | 1221165.2368
32 | 2699176.2965 | 1220912.1136 | 2699207.7367 | 1220910.4821
33 | 2699176.2965 | 1220912.1136 | 2699176.558 | 1220927.3844
34 | 2699342.6927 | 1221015.9816 | 2699360.1101 | 1220986.3715
35 | 2699342.6927 | 1221015.9816 | 2699321.8293 | 1221051.4499
36 | 2699320.2022 | 1221054.216 | 2699321.8293 | 1221051.4499
37 | 2699185.9265 | 1221065.9724 | 2699231.1758 | 1221062.7143
38 | 2699185.9265 | 1221065.9724 | 2699179.7895 | 1220975.1872
39 | 2699176.558 | 1220927.3844 | 2699179.7895 | 1220975.1872
40 | 2699404.9734 | 1221162.6257 | 2699402.765 | 1221145.561
41 | 2699336.9441 | 1221125.2647 | 2699336.5216 | 1221127.8484 | 2699339.4761 | 1221154.5068
42 | 2699339.4761 | 1221154.5068 | 2699339.5902 | 1221155.5364
43 | 2699404.9734 | 1221162.6257 | 2699405.7127 | 1221168.3385
44 | 2699341.7687 | 1221175.1921 | 2699339.5902 | 1221155.5364
45 | 2699346.2735 | 1221215.8391 | 2699346.7155 | 1221219.8276
46 | 2699346.2735 | 1221215.8391 | 2699344.4804 | 1221199.6597
47 | 2699408.266 | 1221188.0674 | 2699405.7127 | 1221168.3385
48 | 2699344.4804 | 1221199.6597 | 2699343.8395 | 1221193.8769
49 | 2699342.0871 | 1221178.0651 | 2699343.8395 | 1221193.8769
50 | 2699342.0871 | 1221178.0651 | 2699341.7687 | 1221175.1921

## bus_geodata
| x | y | coords
0 | 2699386.9077 | 1221010.5415
1 | 2699394.9497 | 1220925.9681
2 | 2699403.3549 | 1221087.9021
3 | 2699406.5701 | 1221108.1395
4 | 2699390.4556 | 1220933.354
5 | 2699384.7894 | 1220886.6068
6 | 2699399.2282 | 1221118.2322
7 | 2699457.5842 | 1221117.8727
8 | 2699377.0226 | 1220957.2593
9 | 2699375.7508 | 1220933.6379
10 | 2699400.2109 | 1221125.8257
11 | 2699354.3596 | 1221116.8403
12 | 2699368.6671 | 1220971.8243
13 | 2699336.6541 | 1220916.9778
14 | 2699274.7349 | 1220944.2415
15 | 2699278.2954 | 1220993.4045
16 | 2699272.4875 | 1220914.5399
17 | 2699316.2222 | 1220916.2016
18 | 2699271.3337 | 1220898.1868
19 | 2699325.9367 | 1220916.5707
20 | 2699212.5505 | 1220910.2323
21 | 2699271.0477 | 1220893.1541
22 | 2699303.1051 | 1221083.2817
23 | 2699297.9447 | 1221091.9462
24 | 2699309.9476 | 1221071.6491
25 | 2699278.1891 | 1221116.3454
26 | 2699276.8486 | 1221153.0381
27 | 2699293.5451 | 1221099.3332
28 | 2699207.7367 | 1220910.4821
29 | 2699176.2965 | 1220912.1136
30 | 2699360.1101 | 1220986.3715
31 | 2699342.6927 | 1221015.9816
32 | 2699321.8293 | 1221051.4499
33 | 2699320.2022 | 1221054.216
34 | 2699231.1758 | 1221062.7143
35 | 2699185.9265 | 1221065.9724
36 | 2699179.7895 | 1220975.1872
37 | 2699176.558 | 1220927.3844
38 | 2699402.765 | 1221145.561
39 | 2699336.9441 | 1221125.2647
40 | 2699277.2957 | 1221165.2368
41 | 2699339.4761 | 1221154.5068
42 | 2699404.9734 | 1221162.6258
43 | 2699339.5902 | 1221155.5364
44 | 2699346.7155 | 1221219.8276
45 | 2699346.2735 | 1221215.8391
46 | 2699405.7127 | 1221168.3386
47 | 2699408.266 | 1221188.0674
48 | 2699344.4804 | 1221199.6597
49 | 2699343.8395 | 1221193.8769
50 | 2699342.0871 | 1221178.0651
51 | 2699341.7687 | 1221175.1921
52 | 2699272.4875 | 1220914.5399

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98582 | -0.2709 | 0.002704 | 0.00067768
1 | 0.98603 | -0.26677 | 0 | 0
2 | 0.9728 | -0.52487 | 0.00044731 | 0.00011211
3 | 0.97281 | -0.5247 | 0.0018713 | 0.00046899
4 | 0.98608 | -0.26577 | 0 | 0
5 | 0.98589 | -0.26957 | 0.0037679 | 0.00094432
6 | 0.9729 | -0.52289 | 0 | 0
7 | 0.97267 | -0.52759 | 0.00302 | 0.00075687
8 | 0.98498 | -0.28698 | 0.0099682 | 0.0024983
9 | 0.9867 | -0.25384 | 0.0049722 | 0.0012461
10 | 0.97281 | -0.52482 | 0.00334 | 0.00083708
11 | 0.97383 | -0.50469 | 0.0033567 | 0.00084126
12 | 0.98436 | -0.29899 | 0.0058289 | 0.0014609
13 | 0.98886 | -0.21218 | 0.0056535 | 0.0014169
14 | 0.99494 | -0.095753 | 0.02034 | 0.0050977
15 | 1 | 0 | -0.33989 | -0.086947
16 | 0.99208 | -0.15051 | 0 | 0
17 | 0.98982 | -0.19376 | 0.0093696 | 0.0023482
18 | 0.99098 | -0.17162 | 0 | 0
19 | 0.98935 | -0.20286 | 0.011235 | 0.0028159
20 | 0.98319 | -0.3223 | 0.069196 | 0.017342
21 | 0.99095 | -0.1722 | 0.006565 | 0.0016453
22 | 0.98039 | -0.37613 | 0 | 0
23 | 0.98012 | -0.3815 | 0.012078 | 0.0030271
24 | 0.98076 | -0.36895 | 0.0030994 | 0.00077679
25 | 0.9792 | -0.39941 | 0 | 0
26 | 0.97811 | -0.42061 | 0 | 0
27 | 0.97991 | -0.38546 | 0.012606 | 0.0031593
28 | 0.98288 | -0.32834 | 0.023875 | 0.0059837
29 | 0.98155 | -0.35427 | 0 | 0
30 | 0.98377 | -0.31049 | 0.010474 | 0.0026251
31 | 0.98267 | -0.33176 | 0.0055074 | 0.0013803
32 | 0.98143 | -0.35594 | 0.0010889 | 0.00027291
33 | 0.98133 | -0.35781 | 0.0052545 | 0.0013169
34 | 0.97739 | -0.4358 | 0.011774 | 0.0029507
35 | 0.97789 | -0.42605 | 0 | 0
36 | 0.97888 | -0.40654 | 0.033822 | 0.0084765
37 | 0.98091 | -0.36688 | 0 | 0
38 | 0.97261 | -0.52861 | 0.0029355 | 0.00073571
39 | 0.97427 | -0.49592 | 0 | 0
40 | 0.97809 | -0.42108 | 0.0020806 | 0.00052145
41 | 0.9732 | -0.517 | 0.0039013 | 0.00097775
42 | 0.9725 | -0.53095 | 0.0025138 | 0.00063001
43 | 0.97317 | -0.51767 | 0.0023865 | 0.00059811
44 | 0.97175 | -0.54566 | 0.0062066 | 0.0015555
45 | 0.97177 | -0.5452 | 0.0087323 | 0.0021885
46 | 0.97247 | -0.53147 | 0.0021416 | 0.00053673
47 | 0.97242 | -0.53247 | 0.0027383 | 0.00068628
48 | 0.972 | -0.54071 | 0.0066685 | 0.0016713
49 | 0.97212 | -0.53839 | 0.0031411 | 0.00078724
50 | 0.97249 | -0.53113 | 0.004589 | 0.0011501
51 | 0.97256 | -0.52957 | 0.0033249 | 0.00083331
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.002704 | -0.00067768 | 0.0027045 | 0.00067694 | 5.3227e-07 | -7.4603e-07 | 0.0040815 | 0.0040811 | 0.0040815 | 0.98582 | -0.2709 | 0.98603 | -0.26677 | 1.1213
1 | -0.0064729 | -0.001621 | 0.0064732 | 0.0016211 | 3.0913e-07 | 8.7631e-08 | 0.0097678 | 0.0097678 | 0.0097678 | 0.98603 | -0.26677 | 0.98608 | -0.26577 | 2.6835
2 | 0.0037684 | 0.00094411 | -0.0037679 | -0.00094432 | 5.0169e-07 | -2.065e-07 | 0.0056867 | 0.0056869 | 0.0056869 | 0.98603 | -0.26677 | 0.98589 | -0.26957 | 1.5623
3 | -0.00044731 | -0.00011211 | 0.00044731 | 0.00011185 | 3.5968e-09 | -2.5211e-07 | 0.00068421 | 0.00068412 | 0.00068421 | 0.9728 | -0.52487 | 0.97281 | -0.5247 | 0.18797
4 | -0.005339 | -0.0013373 | 0.0053394 | 0.0013374 | 4.586e-07 | 6.5799e-08 | 0.0081662 | 0.0081661 | 0.0081662 | 0.97281 | -0.5247 | 0.9729 | -0.52289 | 2.2435
5 | 0.0030204 | 0.0007565 | -0.00302 | -0.00075687 | 4.1568e-07 | -3.7867e-07 | 0.0046198 | 0.00462 | 0.00462 | 0.97281 | -0.5247 | 0.97267 | -0.52759 | 1.2692
6 | 0.13035 | 0.033061 | -0.13021 | -0.032977 | 0.0001328 | 8.3945e-05 | 0.19684 | 0.19684 | 0.19684 | 0.98608 | -0.26577 | 0.98498 | -0.28698 | 18.0254
7 | -0.13682 | -0.034682 | 0.1369 | 0.034732 | 7.8475e-05 | 4.9661e-05 | 0.2066 | 0.2066 | 0.2066 | 0.98608 | -0.26577 | 0.9867 | -0.25384 | 18.9198
8 | 0.013673 | 0.0034276 | -0.013672 | -0.0034269 | 1.2558e-06 | 7.0863e-07 | 0.020913 | 0.020913 | 0.020913 | 0.9729 | -0.52289 | 0.97281 | -0.52482 | 5.7454
9 | -0.019013 | -0.004765 | 0.019029 | 0.0047749 | 1.6506e-05 | 9.9166e-06 | 0.029079 | 0.029079 | 0.029079 | 0.9729 | -0.52289 | 0.97383 | -0.50469 | 7.9888
10 | 0.12025 | 0.030479 | -0.12018 | -0.030435 | 6.9359e-05 | 4.3749e-05 | 0.18178 | 0.18178 | 0.18178 | 0.98498 | -0.28698 | 0.98436 | -0.29899 | 16.6464
11 | -0.14187 | -0.035978 | 0.14216 | 0.036159 | 0.00028471 | 0.00018031 | 0.2141 | 0.2141 | 0.2141 | 0.9867 | -0.25384 | 0.98886 | -0.21218 | 19.6065
12 | 0.010332 | 0.0025898 | -0.01033 | -0.0025889 | 1.8639e-06 | 9.459e-07 | 0.015804 | 0.015804 | 0.015804 | 0.97281 | -0.52482 | 0.97261 | -0.52861 | 4.3418
13 | -0.022386 | -0.0056162 | 0.022395 | 0.0056219 | 9.3549e-06 | 5.7218e-06 | 0.034208 | 0.034208 | 0.034208 | 0.97383 | -0.50469 | 0.97427 | -0.49592 | 9.3978
14 | 0.11435 | 0.028975 | -0.11428 | -0.028935 | 6.3117e-05 | 3.9751e-05 | 0.17297 | 0.17297 | 0.17297 | 0.98436 | -0.29899 | 0.98377 | -0.31049 | 15.8395
15 | -0.14781 | -0.037576 | 0.14788 | 0.037618 | 6.6436e-05 | 4.2106e-05 | 0.22261 | 0.22261 | 0.22261 | 0.98886 | -0.21218 | 0.98935 | -0.20286 | 20.3855
16 | -0.33667 | -0.085947 | 0.33824 | 0.086947 | 0.0015657 | 0.0010001 | 0.50408 | 0.50407 | 0.50408 | 0.99494 | -0.095753 | 1 | 0 | 46.1607
17 | 0.31633 | 0.080849 | -0.3155 | -0.080316 | 0.00083532 | 0.00053345 | 0.47366 | 0.47366 | 0.47366 | 0.99494 | -0.095753 | 0.99208 | -0.15051 | 43.3751
18 | 0.1689 | 0.043049 | -0.16855 | -0.042826 | 0.00035182 | 0.00022347 | 0.25359 | 0.25359 | 0.25359 | 0.99208 | -0.15051 | 0.98982 | -0.19376 | 23.2228
19 | 0.14659 | 0.037266 | -0.14645 | -0.037171 | 0.00014888 | 9.486e-05 | 0.22006 | 0.22006 | 0.22006 | 0.99208 | -0.15051 | 0.99098 | -0.17162 | 30.2286
20 | 0.15918 | 0.040478 | -0.15911 | -0.040433 | 6.9707e-05 | 4.4238e-05 | 0.23951 | 0.23951 | 0.23951 | 0.98982 | -0.19376 | 0.98935 | -0.20286 | 21.9329
21 | 0.13988 | 0.035526 | -0.13887 | -0.034883 | 0.0010065 | 0.00064337 | 0.21021 | 0.21021 | 0.21021 | 0.99098 | -0.17162 | 0.98319 | -0.3223 | 57.749
22 | 0.0065652 | 0.0016454 | -0.006565 | -0.0016453 | 1.837e-07 | 5.2629e-08 | 0.0098581 | 0.0098581 | 0.0098581 | 0.99098 | -0.17162 | 0.99095 | -0.1722 | 2.7083
23 | 0.069678 | 0.017541 | -0.069658 | -0.017528 | 2.0112e-05 | 1.2811e-05 | 0.10548 | 0.10548 | 0.10548 | 0.98319 | -0.3223 | 0.98288 | -0.32834 | 28.9786
24 | 0.088552 | 0.02237 | -0.088529 | -0.022356 | 2.2793e-05 | 1.4206e-05 | 0.13447 | 0.13447 | 0.13447 | 0.98039 | -0.37613 | 0.98012 | -0.3815 | 12.3137
25 | -0.088552 | -0.02237 | 0.088582 | 0.022389 | 3.0502e-05 | 1.9011e-05 | 0.13447 | 0.13447 | 0.13447 | 0.98039 | -0.37613 | 0.98076 | -0.36895 | 12.3137
26 | 0.076451 | 0.019329 | -0.076436 | -0.01932 | 1.4494e-05 | 8.951e-06 | 0.11613 | 0.11613 | 0.11613 | 0.98012 | -0.3815 | 0.97991 | -0.38546 | 10.6345
27 | -0.091682 | -0.023166 | 0.091731 | 0.023196 | 4.8965e-05 | 3.0571e-05 | 0.13917 | 0.13917 | 0.13917 | 0.98076 | -0.36895 | 0.98133 | -0.35781 | 12.7443
28 | 0.063788 | 0.016134 | -0.063723 | -0.016093 | 6.4831e-05 | 4.0568e-05 | 0.096987 | 0.096988 | 0.096988 | 0.9792 | -0.39941 | 0.97811 | -0.42061 | 13.3225
29 | -0.063788 | -0.016134 | 0.063831 | 0.01616 | 4.2719e-05 | 2.6731e-05 | 0.096987 | 0.096987 | 0.096987 | 0.9792 | -0.39941 | 0.97991 | -0.38546 | 13.3224
30 | 0.061643 | 0.015572 | -0.061421 | -0.015431 | 0.00022164 | 0.00014101 | 0.093822 | 0.093823 | 0.093823 | 0.97811 | -0.42061 | 0.97427 | -0.49592 | 25.7754
31 | 0.0020807 | 0.00052133 | -0.0020806 | -0.00052145 | 4.5864e-08 | -1.2385e-07 | 0.0031653 | 0.0031653 | 0.0031653 | 0.97811 | -0.42061 | 0.97809 | -0.42108 | 0.8696
32 | 0.045782 | 0.011544 | -0.045726 | -0.011508 | 5.6758e-05 | 3.5927e-05 | 0.069337 | 0.069337 | 0.069337 | 0.98288 | -0.32834 | 0.98155 | -0.35427 | 19.0485
33 | 0.045726 | 0.011508 | -0.045698 | -0.011491 | 2.754e-05 | 1.7433e-05 | 0.069337 | 0.069337 | 0.069337 | 0.98155 | -0.35427 | 0.98091 | -0.36688 | 19.0486
34 | 0.10381 | 0.02631 | -0.1037 | -0.026243 | 0.00010601 | 6.6542e-05 | 0.15712 | 0.15713 | 0.15713 | 0.98377 | -0.31049 | 0.98267 | -0.33176 | 14.3887
35 | 0.098197 | 0.024863 | -0.098083 | -0.024792 | 0.00011387 | 7.1313e-05 | 0.14879 | 0.14879 | 0.14879 | 0.98267 | -0.33176 | 0.98143 | -0.35594 | 13.6251
36 | 0.096994 | 0.024519 | -0.096985 | -0.024513 | 8.6843e-06 | 5.4363e-06 | 0.14714 | 0.14714 | 0.14714 | 0.98143 | -0.35594 | 0.98133 | -0.35781 | 13.4739
37 | -0.011774 | -0.0029507 | 0.011779 | 0.0029537 | 5.4658e-06 | 2.9293e-06 | 0.017925 | 0.017924 | 0.017925 | 0.97739 | -0.4358 | 0.97789 | -0.42605 | 4.9243
38 | -0.011779 | -0.0029537 | 0.01179 | 0.0029595 | 1.0963e-05 | 5.8733e-06 | 0.017924 | 0.017924 | 0.017924 | 0.97789 | -0.42605 | 0.97888 | -0.40654 | 4.9243
39 | -0.045612 | -0.011436 | 0.045698 | 0.011491 | 8.6378e-05 | 5.4678e-05 | 0.069337 | 0.069337 | 0.069337 | 0.97888 | -0.40654 | 0.98091 | -0.36688 | 19.0486
40 | 0.0073947 | 0.0018532 | -0.0073939 | -0.0018529 | 8.2587e-07 | 3.1504e-07 | 0.011313 | 0.011313 | 0.011313 | 0.97261 | -0.52861 | 0.9725 | -0.53095 | 3.108
41 | 0.039026 | 0.0098089 | -0.038986 | -0.0097842 | 3.9235e-05 | 2.4744e-05 | 0.059615 | 0.059615 | 0.059615 | 0.97427 | -0.49592 | 0.9732 | -0.517 | 16.3777
42 | 0.035085 | 0.0088064 | -0.035084 | -0.0088057 | 1.1181e-06 | 7.027e-07 | 0.05365 | 0.05365 | 0.05365 | 0.9732 | -0.517 | 0.97317 | -0.51767 | 14.7389
43 | 0.0048801 | 0.0012228 | -0.00488 | -0.0012228 | 1.2044e-07 | 5.6118e-09 | 0.007467 | 0.007467 | 0.007467 | 0.9725 | -0.53095 | 0.97247 | -0.53147 | 2.0514
44 | 0.032698 | 0.0082076 | -0.032679 | -0.008196 | 1.8541e-05 | 1.162e-05 | 0.050001 | 0.050001 | 0.050001 | 0.97317 | -0.51767 | 0.97256 | -0.52957 | 13.7365
45 | -0.0062066 | -0.0015555 | 0.0062068 | 0.0015556 | 1.3593e-07 | 3.7278e-08 | 0.0095041 | 0.0095041 | 0.0095041 | 0.97175 | -0.54566 | 0.97177 | -0.5452 | 2.611
46 | -0.014939 | -0.0037441 | 0.014942 | 0.0037459 | 3.1943e-06 | 1.8426e-06 | 0.022875 | 0.022875 | 0.022875 | 0.97177 | -0.5452 | 0.972 | -0.54071 | 6.2844
47 | 0.0027384 | 0.00068612 | -0.0027383 | -0.00068628 | 1.3098e-07 | -1.6298e-07 | 0.0041901 | 0.0041902 | 0.0041902 | 0.97247 | -0.53147 | 0.97242 | -0.53247 | 1.1512
48 | -0.021611 | -0.0054172 | 0.021613 | 0.0054187 | 2.3881e-06 | 1.4563e-06 | 0.033084 | 0.033084 | 0.033084 | 0.972 | -0.54071 | 0.97212 | -0.53839 | 9.089
49 | -0.024754 | -0.0062059 | 0.024763 | 0.0062112 | 8.5656e-06 | 5.2847e-06 | 0.037892 | 0.037892 | 0.037892 | 0.97212 | -0.53839 | 0.97249 | -0.53113 | 10.4099
50 | -0.029352 | -0.0073613 | 0.029354 | 0.0073627 | 2.1866e-06 | 1.3636e-06 | 0.044914 | 0.044914 | 0.044914 | 0.97249 | -0.53113 | 0.97256 | -0.52957 | 12.3389

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36984 | 0.094454

## res_load
| p_mw | q_mvar
0 | 0.002704 | 0.00067768
1 | 0.00044731 | 0.00011211
2 | 0.0018713 | 0.00046899
3 | 0.0037679 | 0.00094432
4 | 0.00302 | 0.00075687
5 | 0.0099682 | 0.0024983
6 | 0.0049722 | 0.0012461
7 | 0.00334 | 0.00083708
8 | 0.0033567 | 0.00084126
9 | 0.0058289 | 0.0014609
10 | 0.0056535 | 0.0014169
11 | 0.02034 | 0.0050977
12 | 0.029954 | 0.0075073
13 | 0.0093696 | 0.0023482
14 | 0.011235 | 0.0028159
15 | 0.069196 | 0.017342
16 | 0.006565 | 0.0016453
17 | 0.012078 | 0.0030271
18 | 0.0030994 | 0.00077679
19 | 0.012606 | 0.0031593
20 | 0.023875 | 0.0059837
21 | 0.010474 | 0.0026251
22 | 0.0055074 | 0.0013803
23 | 0.0010889 | 0.00027291
24 | 0.0052545 | 0.0013169
25 | 0.011774 | 0.0029507
26 | 0.033822 | 0.0084765
27 | 0.0029355 | 0.00073571
28 | 0.0020806 | 0.00052145
29 | 0.0039013 | 0.00097775
30 | 0.0025138 | 0.00063001
31 | 0.0023865 | 0.00059811
32 | 0.0062066 | 0.0015555
33 | 0.0087323 | 0.0021885
34 | 0.0021416 | 0.00053673
35 | 0.0027383 | 0.00068628
36 | 0.0066685 | 0.0016713
37 | 0.0031411 | 0.00078724
38 | 0.004589 | 0.0011501
39 | 0.0033249 | 0.00083331

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1