## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1301-41_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1301-41_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1301-41_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1301-41_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1301-41_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1301-41_0_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1301-41_0_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1301-41_0_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1301-41_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1301-41_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1301-41_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1301-41_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1301-41_0_2_node_85 | 0.4 | n |  | TRUE
13 | bus_LV_1301-41_0_2_node_119 | 0.4 | n |  | TRUE
14 | bus_LV_1301-41_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1301-41_0_2_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_1301-41_0_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_1301-41_0_2_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_1301-41_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1301-41_0_2_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_1301-41_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1301-41_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1301-41_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1301-41_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1301-41_0_2_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1301-41_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1301-41_0_2_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_1301-41_0_2_node_116 | 0.4 | n |  | TRUE
28 | bus_LV_1301-41_0_2_node_118 | 0.4 | n |  | TRUE
29 | bus_LV_1301-41_0_2_node_105 | 0.4 | n |  | TRUE
30 | bus_LV_1301-41_0_2_node_103 | 0.4 | n |  | TRUE
31 | bus_LV_1301-41_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1301-41_0_2_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1301-41_0_2_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1301-41_0_2_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1301-41_0_2_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1301-41_0_2_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1301-41_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1301-41_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1301-41_0_2_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_1301-41_0_2_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1301-41_0_2_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1301-41_0_2_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1301-41_0_2_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1301-41_0_2_node_111 | 0.4 | n |  | TRUE
45 | bus_LV_1301-41_0_2_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_1301-41_0_2_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_1301-41_0_2_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_1301-41_0_2_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_1301-41_0_2_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_1301-41_0_2_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_1301-41_0_2_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_1301-41_0_2_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_1301-41_0_2_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_1301-41_0_2_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_1301-41_0_2_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_1301-41_0_2_node_104 | 0.4 | n |  | TRUE
57 | bus_LV_1301-41_0_2_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_1301-41_0_2_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_1301-41_0_2_node_82 | 0.4 | n |  | TRUE
60 | bus_LV_1301-41_0_2_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_1301-41_0_2_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_1301-41_0_2_node_106 | 0.4 | n |  | TRUE
63 | bus_LV_1301-41_0_2_node_108 | 0.4 | n |  | TRUE
64 | bus_LV_1301-41_0_2_node_107 | 0.4 | n |  | TRUE
65 | bus_LV_1301-41_0_2_node_109 | 0.4 | n |  | TRUE
66 | bus_LV_1301-41_0_2_node_110 | 0.4 | n |  | TRUE
67 | bus_LV_1301-41_0_2_node_114 | 0.4 | n |  | TRUE
68 | bus_LV_1301-41_0_2_node_112 | 0.4 | n |  | TRUE
69 | bus_LV_1301-41_0_2_node_113 | 0.4 | n |  | TRUE
70 | bus_LV_1301-41_0_2_node_117 | 0.4 | n |  | TRUE
71 | bus_LV_1301-41_0_2_node_115 | 0.4 | n |  | TRUE
72 | bus_MV_16_0_node_187 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1301-41_0_2_load_0 | 0 | 0.00074122 | 0.00018577 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1301-41_0_2_load_1 | 1 | 0.0015153 | 0.00037977 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1301-41_0_2_load_2 | 2 | 0.0084857 | 0.0021267 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1301-41_0_2_load_3 | 3 | 0.0021997 | 0.0005513 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1301-41_0_2_load_9 | 5 | 0.0020234 | 0.00050712 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1301-41_0_2_load_12 | 7 | 0.004309 | 0.0010799 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1301-41_0_2_load_5 | 8 | 0.011482 | 0.0028777 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1301-41_0_2_load_7 | 10 | 0.0052827 | 0.001324 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1301-41_0_2_load_119 | 13 | 0.00078566 | 0.0001969 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1301-41_0_2_load_37 | 15 | 0.0007373 | 0.00018479 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1301-41_0_2_load_14 | 18 | 0.0058083 | 0.0014557 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1301-41_0_2_load_21 | 19 | 0.0030794 | 0.00077177 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1301-41_0_2_load_13 | 20 | 0.0013673 | 0.00034268 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1301-41_0_2_load_15 | 21 | 0.0027324 | 0.0006848 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1301-41_0_2_load_16 | 22 | 0.00084134 | 0.00021086 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1301-41_0_2_load_17 | 23 | 0.0023103 | 0.00057903 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1301-41_0_2_load_18 | 25 | 0.0014474 | 0.00036275 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1301-41_0_2_load_31 | 26 | 0.0015049 | 0.00037717 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1301-41_0_2_load_116 | 27 | 0.003556 | 0.00089121 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1301-41_0_2_load_118 | 28 | 0.003199 | 0.00080174 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1301-41_0_2_load_105 | 29 | 0.002744 | 0.00068771 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1301-41_0_2_load_103 | 30 | 0.0033814 | 0.00084745 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1301-41_0_2_load_22 | 31 | 0.003796 | 0.00095136 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1301-41_0_2_load_28 | 32 | 0.0080735 | 0.0020234 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1301-41_0_2_load_23 | 33 | 0.0078135 | 0.0019583 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1301-41_0_2_load_24 | 34 | 0.013891 | 0.0034814 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1301-41_0_2_load_25 | 35 | 0.0037126 | 0.00093047 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1301-41_0_2_load_27 | 36 | 0.018173 | 0.0045546 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1301-41_0_2_load_34 | 37 | 0.0083032 | 0.002081 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1301-41_0_2_load_30 | 38 | 0.0004069 | 0.00010198 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1301-41_0_2_load_80 | 39 | 0.0010045 | 0.00025176 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1301-41_0_2_load_32 | 40 | 0.0073172 | 0.0018339 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1301-41_0_2_load_33 | 41 | 0.0059363 | 0.0014878 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1301-41_0_2_load_35 | 42 | 0.0039692 | 0.00099478 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1301-41_0_2_load_36 | 43 | 0.00089982 | 0.00022552 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1301-41_0_2_load_111 | 44 | 0.0036555 | 0.00091616 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1301-41_0_2_load_54 | 45 | 0.0065813 | 0.0016494 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1301-41_0_2_load_55 | 46 | 0.00044593 | 0.00011176 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1301-41_0_2_load_56 | 47 | 0.001269 | 0.00031805 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1301-41_0_2_load_57 | 48 | 0.00075823 | 0.00019003 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1301-41_0_2_load_58 | 49 | 0.0010964 | 0.0002748 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1301-41_0_2_load_79 | 50 | 0.0023437 | 0.0005874 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1301-41_0_2_load_65 | 52 | 0.0030611 | 0.00076719 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1301-41_0_2_load_66 | 53 | 0.0014027 | 0.00035154 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1301-41_0_2_load_67 | 54 | 0.001427 | 0.00035764 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1301-41_0_2_load_69 | 55 | 0.0056046 | 0.0014046 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1301-41_0_2_load_104 | 56 | 0.0029652 | 0.00074316 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1301-41_0_2_load_81 | 58 | 0.001122 | 0.0002812 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1301-41_0_2_load_82 | 59 | 0.00061248 | 0.0001535 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1301-41_0_2_load_84 | 60 | 0.0011579 | 0.00029019 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1301-41_0_2_load_86 | 61 | 0.0012763 | 0.00031988 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1301-41_0_2_load_106 | 62 | 0.0013373 | 0.00033517 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1301-41_0_2_load_108 | 63 | 0.00092151 | 0.00023095 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1301-41_0_2_load_107 | 64 | 0.0052567 | 0.0013175 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1301-41_0_2_load_109 | 65 | 0.0023133 | 0.00057976 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1301-41_0_2_load_110 | 66 | 0.00094909 | 0.00023786 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1301-41_0_2_load_114 | 67 | 0.0026171 | 0.00065591 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1301-41_0_2_load_112 | 68 | 0.0055874 | 0.0014003 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1301-41_0_2_load_117 | 70 | 0.00089946 | 0.00022543 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1301-41_0_2_load_115 | 71 | 0.004882 | 0.0012236 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1301-41_0_2_line_0 |  | 0 | 1 | 0.015875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1301-41_0_2_line_1 |  | 0 | 2 | 0.015981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1301-41_0_2_line_2 |  | 1 | 3 | 0.0050812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1301-41_0_2_line_3 |  | 2 | 4 | 0.00041885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1301-41_0_2_line_4 |  | 3 | 5 | 0.020169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1301-41_0_2_line_5 |  | 4 | 6 | 0.019941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1301-41_0_2_line_6 |  | 4 | 7 | 0.012827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1301-41_0_2_line_7 |  | 5 | 14 | 0.0040533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1301-41_0_2_line_8 |  | 6 | 16 | 0.057768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1301-41_0_2_line_9 |  | 6 | 17 | 0.013758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1301-41_0_2_line_10 |  | 6 | 18 | 0.032598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1301-41_0_2_line_11 |  | 7 | 19 | 0.02176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1301-41_0_2_line_12 |  | 8 | 9 | 0.016221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1301-41_0_2_line_13 |  | 8 | 10 | 0.01079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1301-41_0_2_line_14 |  | 9 | 11 | 0.12589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1301-41_0_2_line_15 |  | 11 | 12 | 0.092349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1301-41_0_2_line_16 |  | 11 | 13 | 0.025381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1301-41_0_2_line_17 |  | 12 | 61 | 0.012197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1301-41_0_2_line_18 |  | 12 | 60 | 0.0055501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1301-41_0_2_line_19 |  | 13 | 70 | 0.022107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1301-41_0_2_line_20 |  | 14 | 15 | 0.017709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1301-41_0_2_line_21 |  | 15 | 44 | 0.038868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1301-41_0_2_line_22 |  | 16 | 27 | 0.01632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1301-41_0_2_line_23 |  | 16 | 28 | 0.037572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1301-41_0_2_line_24 |  | 17 | 29 | 0.006426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1301-41_0_2_line_25 |  | 17 | 30 | 0.0011301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1301-41_0_2_line_26 |  | 18 | 20 | 0.0047594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1301-41_0_2_line_27 |  | 19 | 31 | 0.008571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_1301-41_0_2_line_28 |  | 21 | 22 | 0.032909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1301-41_0_2_line_29 |  | 21 | 23 | 0.043851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1301-41_0_2_line_30 |  | 22 | 24 | 0.20282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1301-41_0_2_line_31 |  | 23 | 25 | 0.019751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1301-41_0_2_line_32 |  | 24 | 38 | 0.016383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1301-41_0_2_line_33 |  | 25 | 26 | 0.020753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1301-41_0_2_line_34 |  | 26 | 39 | 0.015558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1301-41_0_2_line_35 |  | 27 | 71 | 0.0032778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1301-41_0_2_line_36 |  | 28 | 69 | 0.0070919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1301-41_0_2_line_37 |  | 30 | 56 | 0.03199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1301-41_0_2_line_38 |  | 31 | 32 | 0.017963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1301-41_0_2_line_39 |  | 33 | 34 | 0.035396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1301-41_0_2_line_40 |  | 33 | 35 | 0.030141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1301-41_0_2_line_41 |  | 35 | 36 | 0.0079461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1301-41_0_2_line_42 |  | 36 | 37 | 0.026109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1301-41_0_2_line_43 |  | 37 | 40 | 0.0036398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1301-41_0_2_line_44 |  | 39 | 51 | 0.03476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1301-41_0_2_line_45 |  | 40 | 41 | 0.029251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1301-41_0_2_line_46 |  | 41 | 42 | 0.0037888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1301-41_0_2_line_47 |  | 42 | 43 | 0.020962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1301-41_0_2_line_48 |  | 43 | 44 | 0.013905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1301-41_0_2_line_49 |  | 45 | 46 | 0.023108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1301-41_0_2_line_50 |  | 45 | 47 | 0.069113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1301-41_0_2_line_51 |  | 46 | 48 | 0.017803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1301-41_0_2_line_52 |  | 47 | 49 | 0.11262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1301-41_0_2_line_53 |  | 48 | 50 | 0.11529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1301-41_0_2_line_54 |  | 49 | 51 | 0.014272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1301-41_0_2_line_55 |  | 50 | 57 | 0.003861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1301-41_0_2_line_56 |  | 51 | 53 | 0.012823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1301-41_0_2_line_57 |  | 52 | 53 | 0.039968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1301-41_0_2_line_58 |  | 52 | 54 | 0.0005598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1301-41_0_2_line_59 |  | 54 | 55 | 0.025584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1301-41_0_2_line_60 |  | 55 | 56 | 0.026413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1301-41_0_2_line_61 |  | 57 | 58 | 0.012412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1301-41_0_2_line_62 |  | 58 | 59 | 3.013e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1301-41_0_2_line_63 |  | 62 | 63 | 0.01656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1301-41_0_2_line_64 |  | 63 | 66 | 0.0096816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1301-41_0_2_line_65 |  | 64 | 65 | 0.010268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1301-41_0_2_line_66 |  | 65 | 67 | 0.013835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1301-41_0_2_line_67 |  | 66 | 68 | 0.023235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1301-41_0_2_line_68 |  | 67 | 71 | 0.022321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1301-41_0_2_line_69 |  | 68 | 69 | 0.016162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1301-41_0_2_line_70 |  | 69 | 70 | 0.024022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1301-41_0_2_trafo_28 | 0.63 MVA 20/0.4 kV | 72 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2702887.427 | 1220506.4717 | 2702885.3338 | 1220512.2815 | 2702881.9666 | 1220521.3777
1 | 2702887.427 | 1220506.4717 | 2702892.8441 | 1220491.4369
2 | 2702881.9666 | 1220521.3777 | 2702881.9188 | 1220521.507 | 2702880.2537 | 1220526.1614
3 | 2702892.986 | 1220491.0428 | 2702892.8441 | 1220491.4369
4 | 2702873.4602 | 1220545.1518 | 2702880.2537 | 1220526.1614
5 | 2702899.7457 | 1220472.2794 | 2702892.986 | 1220491.0428
6 | 2702892.986 | 1220491.0428 | 2702897.0081 | 1220492.3577 | 2702905.0083 | 1220495.4997
7 | 2702872.0949 | 1220548.9682 | 2702873.4602 | 1220545.1518
8 | 2702899.7457 | 1220472.2794 | 2702900.5845 | 1220469.8477 | 2702953.7935 | 1220484.5221
9 | 2702899.7457 | 1220472.2794 | 2702900.5845 | 1220469.8477 | 2702904.2882 | 1220459.2929
10 | 2702899.7457 | 1220472.2794 | 2702875.3136 | 1220457.1353 | 2702872.0899 | 1220455.024
11 | 2702925.2185 | 1220503.5586 | 2702922.892 | 1220502.5233 | 2702905.0083 | 1220495.4997
12 | 2703105.4267 | 1220638.5894 | 2703100.7279 | 1220646.1246 | 2703098.0886 | 1220652.9741
13 | 2703097.5773 | 1220663.7273 | 2703097.9231 | 1220653.4036 | 2703098.0886 | 1220652.9741
14 | 2703062.0431 | 1220522.8773 | 2703065.566 | 1220526.7188 | 2703073.8569 | 1220545.3312 | 2703088.2251 | 1220609.1371 | 2703090.7265 | 1220620.2551 | 2703105.4267 | 1220638.5894
15 | 2703122.4451 | 1220456.9639 | 2703118.673 | 1220456.5539 | 2703114.6073 | 1220459.0742 | 2703111.1446 | 1220467.9652 | 2703106.352 | 1220478.7122 | 2703102.6163 | 1220482.7727 | 2703081.2129 | 1220504.429 | 2703062.0431 | 1220522.8773
16 | 2703062.0431 | 1220522.8773 | 2703057.1722 | 1220517.5558 | 2703048.4384 | 1220512.6901 | 2703041.3056 | 1220508.7083
17 | 2703129.2379 | 1220446.8409 | 2703126.6999 | 1220450.0993 | 2703122.4451 | 1220456.9639
18 | 2703122.4451 | 1220456.9639 | 2703127.3575 | 1220459.547
19 | 2703019.997 | 1220502.821 | 2703041.3056 | 1220508.7083
20 | 2702872.0949 | 1220548.9682 | 2702875.1821 | 1220550.367 | 2702880.3322 | 1220553.1469 | 2702885.6032 | 1220559.7731
21 | 2702909.7997 | 1220590.1911 | 2702885.6032 | 1220559.7731
22 | 2702953.7935 | 1220484.5221 | 2702959.2292 | 1220469.1337
23 | 2702953.7935 | 1220484.5221 | 2702990.0078 | 1220494.5303
24 | 2702909.6526 | 1220462.8548 | 2702904.2882 | 1220459.2929
25 | 2702904.2882 | 1220459.2929 | 2702904.6762 | 1220458.2316
26 | 2702868.1085 | 1220452.4164 | 2702872.0899 | 1220455.024
27 | 2702925.2185 | 1220503.5586 | 2702933.0491 | 1220507.0433
28 | 2702987.1235 | 1220166.6591 | 2702977.9362 | 1220179.4749 | 2702973.6168 | 1220196.0622
29 | 2702964.6062 | 1220238.9058 | 2702967.1326 | 1220220.9625 | 2702973.6168 | 1220196.0622
30 | 2702987.1235 | 1220166.6591 | 2703091.6583 | 1219992.8517
31 | 2702964.6062 | 1220238.9058 | 2702961.8523 | 1220258.4643
32 | 2703091.6583 | 1219992.8517 | 2703092.2055 | 1219976.4779
33 | 2702961.8523 | 1220258.4643 | 2702958.9588 | 1220279.0144
34 | 2702956.1306 | 1220294.2951 | 2702957.7713 | 1220287.4487 | 2702958.9588 | 1220279.0144
35 | 2702960.3209 | 1220466.043 | 2702959.2292 | 1220469.1337
36 | 2702996.8435 | 1220496.4194 | 2702990.0078 | 1220494.5303
37 | 2702904.6762 | 1220458.2316 | 2702908.239 | 1220448.4867 | 2702915.6664 | 1220428.1886
38 | 2702949.4605 | 1220514.3465 | 2702933.0491 | 1220507.0433
39 | 2702969.0957 | 1220711.8894 | 2702983.8055 | 1220744.0843
40 | 2702969.0957 | 1220711.8894 | 2702964.6741 | 1220702.2118 | 2702956.5685 | 1220684.4745
41 | 2702953.2658 | 1220677.2472 | 2702956.5685 | 1220684.4745
42 | 2702953.2658 | 1220677.2472 | 2702942.414 | 1220653.5002
43 | 2702940.9011 | 1220650.1897 | 2702942.414 | 1220653.5002
44 | 2702948.0298 | 1220328.0985 | 2702956.1306 | 1220294.2951
45 | 2702940.9011 | 1220650.1897 | 2702928.7434 | 1220623.5849
46 | 2702928.7434 | 1220623.5849 | 2702927.1686 | 1220620.1389
47 | 2702918.4561 | 1220601.0734 | 2702927.1686 | 1220620.1389
48 | 2702918.4561 | 1220601.0734 | 2702918.4561 | 1220601.0734 | 2702909.7997 | 1220590.1911
49 | 2703091.3028 | 1220292.0841 | 2703092.1901 | 1220291.6876 | 2703099.3223 | 1220289.5762 | 2703105.5365 | 1220292.2746 | 2703111.1079 | 1220297.9084
50 | 2703091.3028 | 1220292.0841 | 2703088.3813 | 1220293.3896 | 2703085.0971 | 1220298.9812 | 2703082.7096 | 1220314.1397 | 2703081.0612 | 1220340.9639 | 2703079.0397 | 1220348.5789 | 2703075.304 | 1220352.6394 | 2703071.523 | 1220353.1247
51 | 2703111.1079 | 1220297.9084 | 2703111.1079 | 1220297.9084 | 2703117.6542 | 1220302.0247 | 2703126.0009 | 1220304.2819 | 2703127.4074 | 1220304.0652
52 | 2702962.188 | 1220329.8942 | 2702981.0224 | 1220332.2829 | 2703010.4743 | 1220337.1512 | 2703032.4592 | 1220343.3025 | 2703049.7231 | 1220349.4945 | 2703058.639 | 1220353.0625 | 2703064.7699 | 1220353.9914 | 2703071.523 | 1220353.1247
53 | 2703178.5054 | 1220214.2181 | 2703182.4274 | 1220222.7113 | 2703184.5182 | 1220228.6184 | 2703184.0397 | 1220236.0822 | 2703181.53 | 1220241.2091 | 2703176.5759 | 1220247.6835 | 2703169.6251 | 1220255.958 | 2703162.197 | 1220267.6934 | 2703156.1751 | 1220281.4879 | 2703149.7351 | 1220291.3836 | 2703143.2295 | 1220298.9319 | 2703134.8886 | 1220302.9126 | 2703127.4074 | 1220304.0652
54 | 2702948.0298 | 1220328.0985 | 2702962.188 | 1220329.8942
55 | 2703177.5163 | 1220210.5063 | 2703178.0898 | 1220213.3183 | 2703178.5054 | 1220214.2181
56 | 2702948.0298 | 1220328.0985 | 2702945.0403 | 1220340.5678
57 | 2702933.7267 | 1220378.8319 | 2702939.9327 | 1220361.8718 | 2702945.0403 | 1220340.5678
58 | 2702933.7267 | 1220378.8319 | 2702933.5343 | 1220379.3576
59 | 2702933.5343 | 1220379.3576 | 2702924.7428 | 1220403.3839
60 | 2702924.7428 | 1220403.3839 | 2702915.6664 | 1220428.1886
61 | 2703177.5163 | 1220210.5063 | 2703175.0091 | 1220198.3501
62 | 2703175.003 | 1220198.3206 | 2703175.0091 | 1220198.3501
63 | 2703020.1192 | 1220435.0511 | 2703019.9951 | 1220435.5647 | 2703014.2946 | 1220450.5484
64 | 2703010.8521 | 1220459.5973 | 2703014.2946 | 1220450.5484
65 | 2702972.3632 | 1220431.9512 | 2702975.7832 | 1220422.2692
66 | 2702972.3632 | 1220431.9512 | 2702967.7553 | 1220444.9963
67 | 2703010.8521 | 1220459.5973 | 2703002.5903 | 1220481.3137
68 | 2702960.3209 | 1220466.043 | 2702967.7553 | 1220444.9963
69 | 2702996.8435 | 1220496.4194 | 2703002.5903 | 1220481.3137
70 | 2702996.8435 | 1220496.4194 | 2703009.5771 | 1220499.9421 | 2703019.997 | 1220502.821

## bus_geodata
| x | y | coords
0 | 2702887.427 | 1220506.4717
1 | 2702881.9666 | 1220521.3777
2 | 2702892.8441 | 1220491.4369
3 | 2702880.2537 | 1220526.1614
4 | 2702892.986 | 1220491.0428
5 | 2702873.4602 | 1220545.1518
6 | 2702899.7457 | 1220472.2794
7 | 2702905.0083 | 1220495.4997
8 | 2703098.0886 | 1220652.9741
9 | 2703105.4267 | 1220638.5894
10 | 2703097.5773 | 1220663.7273
11 | 2703062.0431 | 1220522.8773
12 | 2703122.4451 | 1220456.9639
13 | 2703041.3056 | 1220508.7083
14 | 2702872.0949 | 1220548.9682
15 | 2702885.6032 | 1220559.7731
16 | 2702953.7935 | 1220484.5221
17 | 2702904.2882 | 1220459.2929
18 | 2702872.0899 | 1220455.024
19 | 2702925.2185 | 1220503.5586
20 | 2702868.1085 | 1220452.4164
21 | 2702973.6168 | 1220196.0622
22 | 2702987.1235 | 1220166.6591
23 | 2702964.6062 | 1220238.9058
24 | 2703091.6583 | 1219992.8517
25 | 2702961.8523 | 1220258.4643
26 | 2702958.9588 | 1220279.0144
27 | 2702959.2292 | 1220469.1337
28 | 2702990.0078 | 1220494.5303
29 | 2702909.6526 | 1220462.8548
30 | 2702904.6762 | 1220458.2316
31 | 2702933.0491 | 1220507.0433
32 | 2702949.4605 | 1220514.3465
33 | 2702969.0957 | 1220711.8894
34 | 2702983.8055 | 1220744.0843
35 | 2702956.5685 | 1220684.4745
36 | 2702953.2658 | 1220677.2472
37 | 2702942.414 | 1220653.5002
38 | 2703092.2055 | 1219976.4779
39 | 2702956.1306 | 1220294.2951
40 | 2702940.9011 | 1220650.1897
41 | 2702928.7434 | 1220623.5849
42 | 2702927.1686 | 1220620.1389
43 | 2702918.4561 | 1220601.0734
44 | 2702909.7997 | 1220590.1911
45 | 2703091.3028 | 1220292.0841
46 | 2703111.1079 | 1220297.9084
47 | 2703071.523 | 1220353.1247
48 | 2703127.4074 | 1220304.0652
49 | 2702962.188 | 1220329.8942
50 | 2703178.5054 | 1220214.2181
51 | 2702948.0298 | 1220328.0985
52 | 2702933.7267 | 1220378.8319
53 | 2702945.0403 | 1220340.5678
54 | 2702933.5344 | 1220379.3576
55 | 2702924.7428 | 1220403.3839
56 | 2702915.6664 | 1220428.1886
57 | 2703177.5163 | 1220210.5063
58 | 2703175.0091 | 1220198.3501
59 | 2703175.003 | 1220198.3206
60 | 2703127.3575 | 1220459.547
61 | 2703129.2379 | 1220446.8409
62 | 2703020.1192 | 1220435.0511
63 | 2703014.2946 | 1220450.5484
64 | 2702975.7832 | 1220422.2692
65 | 2702972.3632 | 1220431.9512
66 | 2703010.8521 | 1220459.5973
67 | 2702967.7553 | 1220444.9963
68 | 2703002.5903 | 1220481.3137
69 | 2702996.8435 | 1220496.4194
70 | 2703019.997 | 1220502.821
71 | 2702960.3209 | 1220466.043
72 | 2702892.986 | 1220491.0428

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99317 | -0.13009 | 0.00074122 | 0.00018577
1 | 0.992 | -0.1526 | 0.0015153 | 0.00037977
2 | 0.99437 | -0.10727 | 0.0084857 | 0.0021267
3 | 0.99163 | -0.15968 | 0.0021997 | 0.0005513
4 | 0.9944 | -0.10661 | 0 | 0
5 | 0.9902 | -0.18705 | 0.0020234 | 0.00050712
6 | 0.9925 | -0.14316 | 0 | 0
7 | 0.99554 | -0.0848 | 0.004309 | 0.0010799
8 | 0.98493 | -0.29002 | 0.011482 | 0.0028777
9 | 0.98518 | -0.28514 | 0 | 0
10 | 0.98488 | -0.29105 | 0.0052827 | 0.001324
11 | 0.98713 | -0.24731 | 0 | 0
12 | 0.98692 | -0.25133 | 0 | 0
13 | 0.98758 | -0.23859 | 0.00078566 | 0.0001969
14 | 0.98993 | -0.19241 | 0 | 0
15 | 0.98871 | -0.21588 | 0.0007373 | 0.00018479
16 | 0.98977 | -0.19597 | 0 | 0
17 | 0.99194 | -0.15415 | 0 | 0
18 | 0.99229 | -0.1473 | 0.0058083 | 0.0014557
19 | 0.99752 | -0.04709 | 0.0030794 | 0.00077177
20 | 0.99229 | -0.14742 | 0.0013673 | 0.00034268
21 | 0.98703 | -0.24938 | 0.0027324 | 0.0006848
22 | 0.98699 | -0.25012 | 0.00084134 | 0.00021086
23 | 0.98719 | -0.24625 | 0.0023103 | 0.00057903
24 | 0.98691 | -0.25161 | 0 | 0
25 | 0.9873 | -0.24402 | 0.0014474 | 0.00036275
26 | 0.98745 | -0.24115 | 0.0015049 | 0.00037717
27 | 0.98949 | -0.20138 | 0.003556 | 0.00089121
28 | 0.98864 | -0.21798 | 0.003199 | 0.00080174
29 | 0.99192 | -0.15446 | 0.002744 | 0.00068771
30 | 0.99189 | -0.15499 | 0.0033814 | 0.00084745
31 | 0.99831 | -0.032046 | 0.003796 | 0.00095136
32 | 1 | 0 | -0.20851 | -0.052813
33 | 0.97997 | -0.38584 | 0.0078135 | 0.0019583
34 | 0.97952 | -0.39477 | 0.013891 | 0.0034814
35 | 0.98058 | -0.37398 | 0.0037126 | 0.00093047
36 | 0.98076 | -0.37032 | 0.018173 | 0.0045546
37 | 0.98182 | -0.34971 | 0.0083032 | 0.002081
38 | 0.98691 | -0.25173 | 0.0004069 | 0.00010198
39 | 0.98758 | -0.23858 | 0.0010045 | 0.00025176
40 | 0.98199 | -0.3463 | 0.0073172 | 0.0018339
41 | 0.98359 | -0.31504 | 0.0059363 | 0.0014878
42 | 0.98382 | -0.3106 | 0.0039692 | 0.00099478
43 | 0.98516 | -0.28454 | 0.00089982 | 0.00022552
44 | 0.98606 | -0.26707 | 0.0036555 | 0.00091616
45 | 0.98561 | -0.27702 | 0.0065813 | 0.0016494
46 | 0.98549 | -0.27921 | 0.00044593 | 0.00011176
47 | 0.98636 | -0.26231 | 0.001269 | 0.00031805
48 | 0.98541 | -0.28076 | 0.00075823 | 0.00019003
49 | 0.98772 | -0.23583 | 0.0010964 | 0.0002748
50 | 0.98498 | -0.28921 | 0.0023437 | 0.0005874
51 | 0.98791 | -0.2322 | 0 | 0
52 | 0.98915 | -0.20813 | 0.0030611 | 0.00076719
53 | 0.9882 | -0.2266 | 0.0014027 | 0.00035154
54 | 0.98916 | -0.20784 | 0.001427 | 0.00035764
55 | 0.98988 | -0.194 | 0.0056046 | 0.0014046
56 | 0.99075 | -0.1771 | 0.0029652 | 0.00074316
57 | 0.98498 | -0.28933 | 0 | 0
58 | 0.98496 | -0.28972 | 0.001122 | 0.0002812
59 | 0.98496 | -0.28972 | 0.00061248 | 0.0001535
60 | 0.98691 | -0.25145 | 0.0011579 | 0.00029019
61 | 0.98691 | -0.25161 | 0.0012763 | 0.00031988
62 | 0.9882 | -0.22639 | 0.0013373 | 0.00033517
63 | 0.98822 | -0.226 | 0.00092151 | 0.00023095
64 | 0.98909 | -0.20914 | 0.0052567 | 0.0013175
65 | 0.98914 | -0.20817 | 0.0023133 | 0.00057976
66 | 0.98824 | -0.22561 | 0.00094909 | 0.00023786
67 | 0.98924 | -0.20631 | 0.0026171 | 0.00065591
68 | 0.98831 | -0.22427 | 0.0055874 | 0.0014003
69 | 0.98844 | -0.22174 | 0 | 0
70 | 0.98798 | -0.2307 | 0.00089946 | 0.00022543
71 | 0.98945 | -0.20226 | 0.004882 | 0.0012236
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.080971 | 0.02061 | -0.080883 | -0.020554 | 8.7775e-05 | 5.5971e-05 | 0.12143 | 0.12143 | 0.12143 | 0.99317 | -0.13009 | 0.992 | -0.1526 | 33.3591
1 | -0.081712 | -0.020796 | 0.081802 | 0.020854 | 8.9985e-05 | 5.7383e-05 | 0.12254 | 0.12254 | 0.12254 | 0.99317 | -0.13009 | 0.99437 | -0.10727 | 33.6641
2 | 0.079368 | 0.020175 | -0.079341 | -0.020157 | 2.7053e-05 | 1.7248e-05 | 0.11915 | 0.11915 | 0.11915 | 0.992 | -0.1526 | 0.99163 | -0.15968 | 32.7346
3 | -0.090288 | -0.02298 | 0.090291 | 0.022982 | 2.8726e-06 | 1.833e-06 | 0.13524 | 0.13524 | 0.13524 | 0.99437 | -0.10727 | 0.9944 | -0.10661 | 37.1527
4 | 0.077141 | 0.019606 | -0.07704 | -0.019541 | 0.00010152 | 6.471e-05 | 0.11585 | 0.11585 | 0.11585 | 0.99163 | -0.15968 | 0.9902 | -0.18705 | 31.8278
5 | 0.10435 | 0.026368 | -0.10417 | -0.026252 | 0.0001825 | 0.00011654 | 0.15622 | 0.15622 | 0.15622 | 0.9944 | -0.10661 | 0.9925 | -0.14316 | 42.9181
6 | -0.19464 | -0.04935 | 0.19484 | 0.049481 | 0.0002043 | 0.00013042 | 0.29146 | 0.29146 | 0.29146 | 0.9944 | -0.10661 | 0.99554 | -0.0848 | 40.0354
7 | 0.075016 | 0.019034 | -0.074997 | -0.019022 | 1.9344e-05 | 1.2328e-05 | 0.11281 | 0.11281 | 0.11281 | 0.9902 | -0.18705 | 0.98993 | -0.19241 | 30.9925
8 | 0.051743 | 0.013054 | -0.051613 | -0.012971 | 0.00013047 | 8.2757e-05 | 0.077606 | 0.077607 | 0.077607 | 0.9925 | -0.14316 | 0.98977 | -0.19597 | 21.3205
9 | 0.045245 | 0.011399 | -0.045222 | -0.011384 | 2.3755e-05 | 1.5026e-05 | 0.067855 | 0.067855 | 0.067855 | 0.9925 | -0.14316 | 0.99194 | -0.15415 | 18.6416
10 | 0.007177 | 0.0017988 | -0.0071756 | -0.0017983 | 1.4154e-06 | 4.8465e-07 | 0.01076 | 0.01076 | 0.01076 | 0.9925 | -0.14316 | 0.99229 | -0.1473 | 2.9561
11 | -0.19915 | -0.050561 | 0.19951 | 0.050792 | 0.00036207 | 0.00023116 | 0.2979 | 0.2979 | 0.2979 | 0.99554 | -0.0848 | 0.99752 | -0.04709 | 40.92
12 | -0.016765 | -0.0042017 | 0.016769 | 0.004204 | 3.9022e-06 | 2.2909e-06 | 0.025328 | 0.025328 | 0.025328 | 0.98493 | -0.29002 | 0.98518 | -0.28514 | 6.9583
13 | 0.0052829 | 0.001324 | -0.0052827 | -0.001324 | 2.5775e-07 | 2.7644e-08 | 0.0079813 | 0.0079813 | 0.0079813 | 0.98493 | -0.29002 | 0.98488 | -0.29105 | 2.1927
14 | -0.016769 | -0.004204 | 0.016799 | 0.0042217 | 3.0284e-05 | 1.7775e-05 | 0.025328 | 0.025328 | 0.025328 | 0.98518 | -0.28514 | 0.98713 | -0.24731 | 6.9583
15 | 0.0024347 | 0.00060897 | -0.0024342 | -0.00060986 | 4.6641e-07 | -8.8181e-07 | 0.0036697 | 0.0036701 | 0.0036701 | 0.98713 | -0.24731 | 0.98692 | -0.25133 | 1.0083
16 | -0.019234 | -0.0048307 | 0.019242 | 0.0048355 | 8.0029e-06 | 4.7972e-06 | 0.028997 | 0.028997 | 0.028997 | 0.98713 | -0.24731 | 0.98758 | -0.23859 | 7.9663
17 | 0.0012764 | 0.00031974 | -0.0012763 | -0.00031988 | 1.6938e-08 | -1.4501e-07 | 0.0019244 | 0.0019244 | 0.0019244 | 0.98692 | -0.25133 | 0.98691 | -0.25161 | 0.52868
18 | 0.0011579 | 0.00029012 | -0.0011579 | -0.00029019 | 6.343e-09 | -6.6861e-08 | 0.0017457 | 0.0017458 | 0.0017458 | 0.98692 | -0.25133 | 0.98691 | -0.25145 | 0.4796
19 | -0.020028 | -0.0050324 | 0.020035 | 0.005037 | 7.5513e-06 | 4.5499e-06 | 0.030181 | 0.030181 | 0.030181 | 0.98758 | -0.23859 | 0.98798 | -0.2307 | 8.2915
20 | 0.074997 | 0.019022 | -0.074912 | -0.018968 | 8.4515e-05 | 5.3862e-05 | 0.11281 | 0.11281 | 0.11281 | 0.98993 | -0.19241 | 0.98871 | -0.21588 | 30.9925
21 | 0.074175 | 0.018783 | -0.073993 | -0.018667 | 0.00018187 | 0.0001159 | 0.1117 | 0.1117 | 0.1117 | 0.98871 | -0.21588 | 0.98606 | -0.26707 | 30.6877
22 | 0.018633 | 0.0046724 | -0.018629 | -0.0046695 | 4.803e-06 | 2.8642e-06 | 0.028014 | 0.028014 | 0.028014 | 0.98977 | -0.19597 | 0.98949 | -0.20138 | 7.6962
23 | 0.032979 | 0.0082989 | -0.032945 | -0.0082772 | 3.4652e-05 | 2.1695e-05 | 0.049593 | 0.049593 | 0.049593 | 0.98977 | -0.19597 | 0.98864 | -0.21798 | 13.6244
24 | 0.002744 | 0.00068765 | -0.002744 | -0.00068771 | 4.0832e-08 | -5.6817e-08 | 0.0041163 | 0.0041164 | 0.0041164 | 0.99194 | -0.15415 | 0.99192 | -0.15446 | 1.1309
25 | 0.042478 | 0.010696 | -0.042476 | -0.010695 | 1.7217e-06 | 1.0873e-06 | 0.063739 | 0.063739 | 0.063739 | 0.99194 | -0.15415 | 0.99189 | -0.15499 | 17.5108
26 | 0.0013673 | 0.00034263 | -0.0013673 | -0.00034268 | 7.5033e-09 | -5.6678e-08 | 0.0020504 | 0.0020504 | 0.0020504 | 0.99229 | -0.1473 | 0.99229 | -0.14742 | 0.5633
27 | -0.20259 | -0.051564 | 0.20274 | 0.051658 | 0.00014705 | 9.3886e-05 | 0.30249 | 0.30249 | 0.30249 | 0.99752 | -0.04709 | 0.99831 | -0.032046 | 41.551
28 | 0.0012483 | 0.00030966 | -0.0012483 | -0.00031006 | 4.3658e-08 | -3.9266e-07 | 0.0018808 | 0.0018809 | 0.0018809 | 0.98703 | -0.24938 | 0.98699 | -0.25012 | 0.51674
29 | -0.0039807 | -0.00099447 | 0.0039813 | 0.00099428 | 5.9198e-07 | -1.8169e-07 | 0.0060001 | 0.0059999 | 0.0060001 | 0.98703 | -0.24938 | 0.98719 | -0.24625 | 1.6484
30 | 0.00040693 | 9.9197e-05 | -0.0004069 | -0.00010177 | 2.8578e-08 | -2.5736e-06 | 0.00061252 | 0.00061343 | 0.00061343 | 0.98699 | -0.25012 | 0.98691 | -0.25161 | 0.16852
31 | -0.0062916 | -0.0015733 | 0.0062923 | 0.0015735 | 6.6597e-07 | 1.7367e-07 | 0.0094823 | 0.0094822 | 0.0094823 | 0.98719 | -0.24625 | 0.9873 | -0.24402 | 2.605
32 | 0.0004069 | 0.00010177 | -0.0004069 | -0.00010198 | 2.3121e-09 | -2.0786e-07 | 0.00061343 | 0.0006135 | 0.0006135 | 0.98691 | -0.25161 | 0.98691 | -0.25173 | 0.16855
33 | -0.0077397 | -0.0019362 | 0.0077408 | 0.0019366 | 1.0587e-06 | 4.1214e-07 | 0.011664 | 0.011664 | 0.011664 | 0.9873 | -0.24402 | 0.98745 | -0.24115 | 3.2043
34 | -0.0092457 | -0.0023138 | 0.0092468 | 0.0023143 | 1.1323e-06 | 5.2564e-07 | 0.013931 | 0.013931 | 0.013931 | 0.98745 | -0.24115 | 0.98758 | -0.23858 | 3.8273
35 | 0.015073 | 0.0037783 | -0.015072 | -0.0037779 | 6.3153e-07 | 3.6208e-07 | 0.022667 | 0.022667 | 0.022667 | 0.98949 | -0.20138 | 0.98945 | -0.20226 | 6.2271
36 | 0.029746 | 0.0074755 | -0.02974 | -0.0074722 | 5.3324e-06 | 3.3218e-06 | 0.044778 | 0.044778 | 0.044778 | 0.98864 | -0.21798 | 0.98844 | -0.22174 | 12.3016
37 | 0.039095 | 0.0098477 | -0.039053 | -0.0098217 | 4.1288e-05 | 2.6012e-05 | 0.058666 | 0.058667 | 0.058667 | 0.99189 | -0.15499 | 0.99075 | -0.1771 | 16.1172
38 | -0.20654 | -0.052609 | 0.20686 | 0.052813 | 0.00031982 | 0.00020421 | 0.30815 | 0.30815 | 0.30815 | 0.99831 | -0.032046 | 1 | 0 | 42.3282
39 | 0.013897 | 0.0034847 | -0.013891 | -0.0034814 | 5.9106e-06 | 3.337e-06 | 0.021102 | 0.021102 | 0.021102 | 0.97997 | -0.38584 | 0.97952 | -0.39477 | 5.7973
40 | -0.02171 | -0.005443 | 0.021723 | 0.0054505 | 1.2284e-05 | 7.4816e-06 | 0.032966 | 0.032966 | 0.032966 | 0.97997 | -0.38584 | 0.98058 | -0.37398 | 9.0566
41 | -0.025435 | -0.0063809 | 0.02544 | 0.0063837 | 4.4398e-06 | 2.7412e-06 | 0.0386 | 0.0386 | 0.0386 | 0.98058 | -0.37398 | 0.98076 | -0.37032 | 10.6044
42 | -0.043613 | -0.010938 | 0.043656 | 0.010965 | 4.2872e-05 | 2.7108e-05 | 0.066172 | 0.066172 | 0.066172 | 0.98076 | -0.37032 | 0.98182 | -0.34971 | 18.1792
43 | -0.051959 | -0.013046 | 0.051967 | 0.013052 | 8.466e-06 | 5.3722e-06 | 0.078756 | 0.078756 | 0.078756 | 0.98182 | -0.34971 | 0.98199 | -0.3463 | 21.6363
44 | -0.010251 | -0.0025661 | 0.010254 | 0.0025677 | 3.1095e-06 | 1.5451e-06 | 0.015445 | 0.015445 | 0.015445 | 0.98758 | -0.23858 | 0.98791 | -0.2322 | 4.2431
45 | -0.059285 | -0.014886 | 0.059373 | 0.014942 | 8.8542e-05 | 5.6296e-05 | 0.089844 | 0.089844 | 0.089844 | 0.98199 | -0.3463 | 0.98359 | -0.31504 | 24.6824
46 | -0.065309 | -0.01643 | 0.065323 | 0.016439 | 1.3876e-05 | 8.8326e-06 | 0.098825 | 0.098825 | 0.098825 | 0.98359 | -0.31504 | 0.98382 | -0.3106 | 27.1496
47 | -0.069293 | -0.017433 | 0.069379 | 0.017488 | 8.638e-05 | 5.5017e-05 | 0.10483 | 0.10483 | 0.10483 | 0.98382 | -0.3106 | 0.98516 | -0.28454 | 28.7989
48 | -0.070279 | -0.017714 | 0.070338 | 0.017751 | 5.8797e-05 | 3.7453e-05 | 0.10619 | 0.10619 | 0.10619 | 0.98516 | -0.28454 | 0.98606 | -0.26707 | 29.1722
49 | 0.005285 | 0.0013234 | -0.0052844 | -0.0013233 | 5.5164e-07 | 5.8581e-08 | 0.0079786 | 0.0079787 | 0.0079787 | 0.98561 | -0.27702 | 0.98549 | -0.27921 | 2.1919
50 | -0.011866 | -0.0029728 | 0.011875 | 0.0029772 | 8.3177e-06 | 4.4418e-06 | 0.017915 | 0.017914 | 0.017915 | 0.98561 | -0.27702 | 0.98636 | -0.26231 | 4.9216
51 | 0.0048385 | 0.0012115 | -0.0048381 | -0.0012115 | 3.5629e-07 | 1.2119e-09 | 0.0073053 | 0.0073054 | 0.0073054 | 0.98549 | -0.27921 | 0.98541 | -0.28076 | 2.007
52 | -0.013144 | -0.0032953 | 0.01316 | 0.0033045 | 1.6605e-05 | 9.1875e-06 | 0.019829 | 0.019828 | 0.019829 | 0.98636 | -0.26231 | 0.98772 | -0.23583 | 5.4475
53 | 0.0040799 | 0.0010215 | -0.0040783 | -0.0010219 | 1.6409e-06 | -4.1789e-07 | 0.0061605 | 0.006161 | 0.006161 | 0.98541 | -0.28076 | 0.98498 | -0.28921 | 1.6926
54 | -0.014257 | -0.0035793 | 0.014259 | 0.0035807 | 2.4693e-06 | 1.3977e-06 | 0.02148 | 0.02148 | 0.02148 | 0.98772 | -0.23583 | 0.98791 | -0.2322 | 5.9011
55 | 0.0017345 | 0.00043452 | -0.0017345 | -0.00043457 | 9.9412e-09 | -4.2781e-08 | 0.0026203 | 0.0026203 | 0.0026203 | 0.98498 | -0.28921 | 0.98498 | -0.28933 | 0.71987
56 | -0.024514 | -0.0061483 | 0.02452 | 0.0061523 | 6.5561e-06 | 4.0317e-06 | 0.036925 | 0.036925 | 0.036925 | 0.98791 | -0.2322 | 0.9882 | -0.2266 | 10.1442
57 | 0.025946 | 0.006518 | -0.025923 | -0.0065039 | 2.284e-05 | 1.4105e-05 | 0.039037 | 0.039037 | 0.039037 | 0.98915 | -0.20813 | 0.9882 | -0.2266 | 10.7244
58 | -0.029007 | -0.0072852 | 0.029007 | 0.0072854 | 3.9982e-07 | 2.487e-07 | 0.043642 | 0.043642 | 0.043642 | 0.98915 | -0.20813 | 0.98916 | -0.20784 | 11.9895
59 | -0.030434 | -0.0076431 | 0.030454 | 0.0076556 | 2.0115e-05 | 1.2545e-05 | 0.045788 | 0.045788 | 0.045788 | 0.98916 | -0.20784 | 0.98988 | -0.194 | 12.5792
60 | -0.036059 | -0.0090603 | 0.036088 | 0.0090785 | 2.9111e-05 | 1.8291e-05 | 0.054213 | 0.054213 | 0.054213 | 0.98988 | -0.194 | 0.99075 | -0.1771 | 14.8937
61 | 0.0017345 | 0.00043457 | -0.0017345 | -0.00043471 | 3.1959e-08 | -1.3752e-07 | 0.0026203 | 0.0026204 | 0.0026204 | 0.98498 | -0.28933 | 0.98496 | -0.28972 | 0.71988
62 | 0.00061248 | 0.0001535 | -0.00061248 | -0.0001535 | 1.4902e-11 | -3.7725e-10 | 0.0009253 | 0.0009253 | 0.0009253 | 0.98496 | -0.28972 | 0.98496 | -0.28972 | 0.2542
63 | -0.0013373 | -0.00033517 | 0.0013374 | 0.00033497 | 2.5181e-08 | -1.9605e-07 | 0.0020137 | 0.0020137 | 0.0020137 | 0.9882 | -0.22639 | 0.98822 | -0.226 | 0.55323
64 | -0.0022589 | -0.00056593 | 0.0022589 | 0.00056583 | 4.1999e-08 | -9.7165e-08 | 0.0034012 | 0.0034012 | 0.0034012 | 0.98822 | -0.226 | 0.98824 | -0.22561 | 0.9344
65 | -0.0052567 | -0.0013175 | 0.0052569 | 0.0013175 | 2.4082e-07 | 2.2328e-08 | 0.0079083 | 0.0079083 | 0.0079083 | 0.98909 | -0.20914 | 0.98914 | -0.20817 | 2.1726
66 | -0.0075702 | -0.0018972 | 0.0075709 | 0.0018975 | 6.7285e-07 | 2.5302e-07 | 0.011388 | 0.011388 | 0.011388 | 0.98914 | -0.20817 | 0.98924 | -0.20631 | 3.1286
67 | -0.003208 | -0.00080369 | 0.0032082 | 0.00080352 | 2.0328e-07 | -1.6762e-07 | 0.0048302 | 0.0048301 | 0.0048302 | 0.98824 | -0.22561 | 0.98831 | -0.22427 | 1.327
68 | -0.010188 | -0.0025534 | 0.01019 | 0.0025544 | 1.9658e-06 | 9.7148e-07 | 0.015325 | 0.015325 | 0.015325 | 0.98924 | -0.20631 | 0.98945 | -0.20226 | 4.2101
69 | -0.0087956 | -0.0022039 | 0.0087967 | 0.0022043 | 1.0628e-06 | 4.7309e-07 | 0.013243 | 0.013243 | 0.013243 | 0.98831 | -0.22427 | 0.98844 | -0.22174 | 3.6381
70 | 0.020944 | 0.0052678 | -0.020935 | -0.0052624 | 8.9586e-06 | 5.4258e-06 | 0.031535 | 0.031535 | 0.031535 | 0.98844 | -0.22174 | 0.98798 | -0.2307 | 8.6636

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.21658 | 0.054837

## res_load
| p_mw | q_mvar
0 | 0.00074122 | 0.00018577
1 | 0.0015153 | 0.00037977
2 | 0.0084857 | 0.0021267
3 | 0.0021997 | 0.0005513
4 | 0.0020234 | 0.00050712
5 | 0.004309 | 0.0010799
6 | 0.011482 | 0.0028777
7 | 0.0052827 | 0.001324
8 | 0.00078566 | 0.0001969
9 | 0.0007373 | 0.00018479
10 | 0.0058083 | 0.0014557
11 | 0.0030794 | 0.00077177
12 | 0.0013673 | 0.00034268
13 | 0.0027324 | 0.0006848
14 | 0.00084134 | 0.00021086
15 | 0.0023103 | 0.00057903
16 | 0.0014474 | 0.00036275
17 | 0.0015049 | 0.00037717
18 | 0.003556 | 0.00089121
19 | 0.003199 | 0.00080174
20 | 0.002744 | 0.00068771
21 | 0.0033814 | 0.00084745
22 | 0.003796 | 0.00095136
23 | 0.0080735 | 0.0020234
24 | 0.0078135 | 0.0019583
25 | 0.013891 | 0.0034814
26 | 0.0037126 | 0.00093047
27 | 0.018173 | 0.0045546
28 | 0.0083032 | 0.002081
29 | 0.0004069 | 0.00010198
30 | 0.0010045 | 0.00025176
31 | 0.0073172 | 0.0018339
32 | 0.0059363 | 0.0014878
33 | 0.0039692 | 0.00099478
34 | 0.00089982 | 0.00022552
35 | 0.0036555 | 0.00091616
36 | 0.0065813 | 0.0016494
37 | 0.00044593 | 0.00011176
38 | 0.001269 | 0.00031805
39 | 0.00075823 | 0.00019003
40 | 0.0010964 | 0.0002748
41 | 0.0023437 | 0.0005874
42 | 0.0030611 | 0.00076719
43 | 0.0014027 | 0.00035154
44 | 0.001427 | 0.00035764
45 | 0.0056046 | 0.0014046
46 | 0.0029652 | 0.00074316
47 | 0.001122 | 0.0002812
48 | 0.00061248 | 0.0001535
49 | 0.0011579 | 0.00029019
50 | 0.0012763 | 0.00031988
51 | 0.0013373 | 0.00033517
52 | 0.00092151 | 0.00023095
53 | 0.0052567 | 0.0013175
54 | 0.0023133 | 0.00057976
55 | 0.00094909 | 0.00023786
56 | 0.0026171 | 0.00065591
57 | 0.0055874 | 0.0014003
58 | 0.00089946 | 0.00022543
59 | 0.004882 | 0.0012236

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1