## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1301-41_1_4_node_53 | 0.4 | n |  | TRUE
1 | bus_LV_1301-41_1_4_node_90 | 0.4 | n |  | TRUE
2 | bus_LV_1301-41_1_4_node_38 | 0.4 | n |  | TRUE
3 | bus_LV_1301-41_1_4_node_39 | 0.4 | n |  | TRUE
4 | bus_LV_1301-41_1_4_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_1301-41_1_4_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_1301-41_1_4_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_1301-41_1_4_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_1301-41_1_4_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_1301-41_1_4_node_101 | 0.4 | n |  | TRUE
10 | bus_LV_1301-41_1_4_node_92 | 0.4 | n |  | TRUE
11 | bus_LV_1301-41_1_4_node_158 | 0.4 | n |  | TRUE
12 | bus_LV_1301-41_1_4_node_96 | 0.4 | n |  | TRUE
13 | bus_LV_1301-41_1_4_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_1301-41_1_4_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_1301-41_1_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_1301-41_1_4_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_1301-41_1_4_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_1301-41_1_4_node_159 | 0.4 | n |  | TRUE
19 | bus_LV_1301-41_1_4_node_120 | 0.4 | n |  | TRUE
20 | bus_LV_1301-41_1_4_node_93 | 0.4 | n |  | TRUE
21 | bus_LV_1301-41_1_4_node_94 | 0.4 | n |  | TRUE
22 | bus_LV_1301-41_1_4_node_95 | 0.4 | n |  | TRUE
23 | bus_LV_1301-41_1_4_node_97 | 0.4 | n |  | TRUE
24 | bus_LV_1301-41_1_4_node_98 | 0.4 | n |  | TRUE
25 | bus_LV_1301-41_1_4_node_100 | 0.4 | n |  | TRUE
26 | bus_LV_1301-41_1_4_node_99 | 0.4 | n |  | TRUE
27 | bus_LV_1301-41_1_4_node_121 | 0.4 | n |  | TRUE
28 | bus_LV_1301-41_1_4_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_1301-41_1_4_node_157 | 0.4 | n |  | TRUE
30 | bus_LV_1301-41_1_4_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_1301-41_1_4_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_1301-41_1_4_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_1301-41_1_4_node_89 | 0.4 | n |  | TRUE
34 | bus_LV_1301-41_1_4_node_87 | 0.4 | n |  | TRUE
35 | bus_LV_1301-41_1_4_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_1301-41_1_4_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_1301-41_1_4_node_88 | 0.4 | n |  | TRUE
38 | bus_LV_1301-41_1_4_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_1301-41_1_4_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_1301-41_1_4_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_1301-41_1_4_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_1301-41_1_4_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_1301-41_1_4_node_71 | 0.4 | n |  | TRUE
44 | bus_LV_1301-41_1_4_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_1301-41_1_4_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_1301-41_1_4_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_1301-41_1_4_node_150 | 0.4 | n |  | TRUE
48 | bus_LV_1301-41_1_4_node_151 | 0.4 | n |  | TRUE
49 | bus_LV_1301-41_1_4_node_149 | 0.4 | n |  | TRUE
50 | bus_LV_1301-41_1_4_node_152 | 0.4 | n |  | TRUE
51 | bus_LV_1301-41_1_4_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_1301-41_1_4_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_1301-41_1_4_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_1301-41_1_4_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_1301-41_1_4_node_125 | 0.4 | n |  | TRUE
56 | bus_LV_1301-41_1_4_node_122 | 0.4 | n |  | TRUE
57 | bus_LV_1301-41_1_4_node_141 | 0.4 | n |  | TRUE
58 | bus_LV_1301-41_1_4_node_123 | 0.4 | n |  | TRUE
59 | bus_LV_1301-41_1_4_node_135 | 0.4 | n |  | TRUE
60 | bus_LV_1301-41_1_4_node_136 | 0.4 | n |  | TRUE
61 | bus_LV_1301-41_1_4_node_137 | 0.4 | n |  | TRUE
62 | bus_LV_1301-41_1_4_node_138 | 0.4 | n |  | TRUE
63 | bus_LV_1301-41_1_4_node_139 | 0.4 | n |  | TRUE
64 | bus_LV_1301-41_1_4_node_140 | 0.4 | n |  | TRUE
65 | bus_LV_1301-41_1_4_node_142 | 0.4 | n |  | TRUE
66 | bus_LV_1301-41_1_4_node_143 | 0.4 | n |  | TRUE
67 | bus_LV_1301-41_1_4_node_147 | 0.4 | n |  | TRUE
68 | bus_LV_1301-41_1_4_node_148 | 0.4 | n |  | TRUE
69 | bus_LV_1301-41_1_4_node_144 | 0.4 | n |  | TRUE
70 | bus_LV_1301-41_1_4_node_145 | 0.4 | n |  | TRUE
71 | bus_LV_1301-41_1_4_node_146 | 0.4 | n |  | TRUE
72 | bus_LV_1301-41_1_4_node_153 | 0.4 | n |  | TRUE
73 | bus_LV_1301-41_1_4_node_154 | 0.4 | n |  | TRUE
74 | bus_LV_1301-41_1_4_node_155 | 0.4 | n |  | TRUE
75 | bus_LV_1301-41_1_4_node_130 | 0.4 | n |  | TRUE
76 | bus_LV_1301-41_1_4_node_131 | 0.4 | n |  | TRUE
77 | bus_LV_1301-41_1_4_node_132 | 0.4 | n |  | TRUE
78 | bus_LV_1301-41_1_4_node_124 | 0.4 | n |  | TRUE
79 | bus_LV_1301-41_1_4_node_133 | 0.4 | n |  | TRUE
80 | bus_LV_1301-41_1_4_node_128 | 0.4 | n |  | TRUE
81 | bus_LV_1301-41_1_4_node_134 | 0.4 | n |  | TRUE
82 | bus_LV_1301-41_1_4_node_126 | 0.4 | n |  | TRUE
83 | bus_LV_1301-41_1_4_node_127 | 0.4 | n |  | TRUE
84 | bus_LV_1301-41_1_4_node_129 | 0.4 | n |  | TRUE
85 | bus_LV_1301-41_1_4_node_156 | 0.4 | n |  | TRUE
86 | bus_MV_16_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1301-41_1_4_load_53 | 0 | 0.011647 | 0.0029191 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1301-41_1_4_load_90 | 1 | 0.0073778 | 0.0018491 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1301-41_1_4_load_38 | 2 | 0.00032095 | 8.0439e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1301-41_1_4_load_39 | 3 | 0.00055735 | 0.00013969 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1301-41_1_4_load_40 | 4 | 0.00087577 | 0.00021949 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1301-41_1_4_load_42 | 6 | 0.0016316 | 0.00040891 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1301-41_1_4_load_48 | 7 | 0.0062618 | 0.0015694 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1301-41_1_4_load_49 | 8 | 0.00049341 | 0.00012366 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1301-41_1_4_load_101 | 9 | 0.0004888 | 0.0001225 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1301-41_1_4_load_92 | 10 | 0.010609 | 0.0026589 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1301-41_1_4_load_158 | 11 | 0.00015544 | 3.8956e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1301-41_1_4_load_43 | 13 | 0.0043523 | 0.0010908 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1301-41_1_4_load_44 | 14 | 0.00030006 | 7.5203e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1301-41_1_4_load_45 | 15 | 0.00024659 | 6.18e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1301-41_1_4_load_46 | 16 | 0.0006962 | 0.00017448 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1301-41_1_4_load_47 | 17 | 0.00053528 | 0.00013415 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1301-41_1_4_load_159 | 18 | 0.00051846 | 0.00012994 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1301-41_1_4_load_120 | 19 | 0.00053427 | 0.0001339 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1301-41_1_4_load_93 | 20 | 0.00058183 | 0.00014582 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1301-41_1_4_load_95 | 22 | 0.00048581 | 0.00012175 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1301-41_1_4_load_97 | 23 | 0.00028838 | 7.2275e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1301-41_1_4_load_99 | 26 | 0.00044722 | 0.00011209 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1301-41_1_4_load_121 | 27 | 0.00036993 | 9.2712e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1301-41_1_4_load_91 | 28 | 0.0039383 | 0.00098704 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1301-41_1_4_load_157 | 29 | 0.00062679 | 0.00015709 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1301-41_1_4_load_50 | 30 | 0.025588 | 0.0064129 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1301-41_1_4_load_52 | 32 | 0.010954 | 0.0027453 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1301-41_1_4_load_89 | 33 | 0.01391 | 0.0034863 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1301-41_1_4_load_87 | 34 | 0.0062347 | 0.0015626 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1301-41_1_4_load_64 | 35 | 0.0089201 | 0.0022356 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1301-41_1_4_load_88 | 37 | 0.0069428 | 0.00174 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1301-41_1_4_load_59 | 38 | 0.0022982 | 0.00057598 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1301-41_1_4_load_60 | 39 | 0.0005752 | 0.00014416 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1301-41_1_4_load_62 | 40 | 0.00070294 | 0.00017617 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1301-41_1_4_load_63 | 41 | 0.00045989 | 0.00011526 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1301-41_1_4_load_70 | 42 | 0.0016398 | 0.00041096 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1301-41_1_4_load_71 | 43 | 0.00014261 | 3.5741e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1301-41_1_4_load_72 | 44 | 0.00021678 | 5.4331e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1301-41_1_4_load_73 | 45 | 0.00020514 | 5.1413e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1301-41_1_4_load_74 | 46 | 0.00029381 | 7.3637e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1301-41_1_4_load_150 | 47 | 0.00019172 | 4.8049e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1301-41_1_4_load_151 | 48 | 0.00016548 | 4.1473e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1301-41_1_4_load_149 | 49 | 0.00023705 | 5.9411e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1301-41_1_4_load_152 | 50 | 0.00036872 | 9.241e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1301-41_1_4_load_75 | 51 | 0.00097303 | 0.00024386 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1301-41_1_4_load_77 | 53 | 0.00052894 | 0.00013256 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1301-41_1_4_load_78 | 54 | 0.00066947 | 0.00016778 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1301-41_1_4_load_125 | 55 | 0.0002531 | 6.3432e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1301-41_1_4_load_122 | 56 | 0.00098828 | 0.00024769 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1301-41_1_4_load_123 | 58 | 0.00054441 | 0.00013644 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1301-41_1_4_load_135 | 59 | 0.00018382 | 4.6071e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1301-41_1_4_load_136 | 60 | 0.00013875 | 3.4773e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1301-41_1_4_load_137 | 61 | 0.00014207 | 3.5607e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1301-41_1_4_load_139 | 63 | 0.00024192 | 6.063e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1301-41_1_4_load_140 | 64 | 0.00016364 | 4.1012e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1301-41_1_4_load_142 | 65 | 0.00031511 | 7.8975e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1301-41_1_4_load_147 | 67 | 0.00017497 | 4.3852e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1301-41_1_4_load_148 | 68 | 0.00030622 | 7.6745e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1301-41_1_4_load_144 | 69 | 0.00015366 | 3.8512e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1301-41_1_4_load_145 | 70 | 0.00021598 | 5.4129e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1301-41_1_4_load_146 | 71 | 0.00022306 | 5.5904e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1301-41_1_4_load_153 | 72 | 0.00022622 | 5.6696e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1301-41_1_4_load_154 | 73 | 0.00013696 | 3.4326e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1301-41_1_4_load_155 | 74 | 0.0005445 | 0.00013646 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1301-41_1_4_load_130 | 75 | 0.0010178 | 0.0002551 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1301-41_1_4_load_131 | 76 | 0.00041916 | 0.00010505 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1301-41_1_4_load_133 | 79 | 0.00034038 | 8.5307e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1301-41_1_4_load_128 | 80 | 0.0035424 | 0.0008878 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1301-41_1_4_load_134 | 81 | 0.0012725 | 0.00031893 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1301-41_1_4_load_126 | 82 | 0.0061716 | 0.0015468 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1301-41_1_4_load_127 | 83 | 0.005845 | 0.0014649 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_1301-41_1_4_load_156 | 85 | 0.011466 | 0.0028738 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1301-41_1_4_line_0 |  | 0 | 1 | 0.048978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1301-41_1_4_line_1 |  | 1 | 37 | 0.033619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1301-41_1_4_line_2 |  | 2 | 3 | 0.0039765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1301-41_1_4_line_3 |  | 2 | 4 | 0.001373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1301-41_1_4_line_4 |  | 3 | 5 | 0.076118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1301-41_1_4_line_5 |  | 4 | 6 | 0.010301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1301-41_1_4_line_6 |  | 5 | 7 | 0.060851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1301-41_1_4_line_7 |  | 5 | 8 | 0.12234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1301-41_1_4_line_8 |  | 6 | 9 | 0.22431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1301-41_1_4_line_9 |  | 7 | 10 | 0.028792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1301-41_1_4_line_10 |  | 8 | 11 | 0.017356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1301-41_1_4_line_11 |  | 9 | 12 | 0.098996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1301-41_1_4_line_12 |  | 10 | 28 | 0.12037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1301-41_1_4_line_13 |  | 11 | 29 | 0.002194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1301-41_1_4_line_14 |  | 12 | 24 | 0.041945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1301-41_1_4_line_15 |  | 12 | 22 | 0.050195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1301-41_1_4_line_16 |  | 13 | 14 | 0.043286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1301-41_1_4_line_17 |  | 13 | 15 | 0.045176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1301-41_1_4_line_18 |  | 14 | 16 | 0.026605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1301-41_1_4_line_19 |  | 15 | 17 | 0.043424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1301-41_1_4_line_20 |  | 16 | 18 | 0.10676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1301-41_1_4_line_21 |  | 17 | 19 | 0.027418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1301-41_1_4_line_22 |  | 18 | 24 | 0.13274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1301-41_1_4_line_23 |  | 19 | 27 | 0.018576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1301-41_1_4_line_24 |  | 20 | 21 | 0.026915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1301-41_1_4_line_25 |  | 20 | 22 | 0.15659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1301-41_1_4_line_26 |  | 21 | 23 | 0.12211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1301-41_1_4_line_27 |  | 24 | 25 | 0.13425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1301-41_1_4_line_28 |  | 25 | 26 | 0.14316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1301-41_1_4_line_29 |  | 27 | 75 | 0.18751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1301-41_1_4_line_30 |  | 28 | 32 | 0.10183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1301-41_1_4_line_31 |  | 29 | 85 | 0.00069437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1301-41_1_4_line_32 |  | 30 | 31 | 0.052809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1301-41_1_4_line_33 |  | 31 | 32 | 0.089621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1301-41_1_4_line_34 |  | 31 | 33 | 0.077195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1301-41_1_4_line_35 |  | 32 | 35 | 0.029241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1301-41_1_4_line_36 |  | 33 | 34 | 0.048281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1301-41_1_4_line_37 |  | 34 | 37 | 0.051768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1301-41_1_4_line_38 |  | 35 | 36 | 0.079488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1301-41_1_4_line_39 |  | 36 | 41 | 0.035996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1301-41_1_4_line_40 |  | 36 | 38 | 0.0061956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1301-41_1_4_line_41 |  | 38 | 39 | 0.0087747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1301-41_1_4_line_42 |  | 39 | 40 | 0.0055881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1301-41_1_4_line_43 |  | 42 | 43 | 0.027508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1301-41_1_4_line_44 |  | 42 | 44 | 0.007653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1301-41_1_4_line_45 |  | 43 | 45 | 0.017684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1301-41_1_4_line_46 |  | 44 | 46 | 0.0020589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1301-41_1_4_line_47 |  | 45 | 47 | 0.06141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1301-41_1_4_line_48 |  | 46 | 48 | 0.031325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1301-41_1_4_line_49 |  | 47 | 49 | 0.0035619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1301-41_1_4_line_50 |  | 48 | 50 | 0.0031889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1301-41_1_4_line_51 |  | 49 | 68 | 0.0026002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1301-41_1_4_line_52 |  | 50 | 72 | 0.026136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1301-41_1_4_line_53 |  | 51 | 52 | 0.12228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1301-41_1_4_line_54 |  | 51 | 53 | 0.055331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1301-41_1_4_line_55 |  | 52 | 54 | 0.059496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1301-41_1_4_line_56 |  | 53 | 55 | 0.23241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1301-41_1_4_line_57 |  | 54 | 56 | 0.024692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1301-41_1_4_line_58 |  | 54 | 57 | 0.23419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1301-41_1_4_line_59 |  | 56 | 58 | 0.080988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1301-41_1_4_line_60 |  | 57 | 65 | 0.084035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1301-41_1_4_line_61 |  | 57 | 66 | 0.07669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1301-41_1_4_line_62 |  | 58 | 78 | 0.0079398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1301-41_1_4_line_63 |  | 59 | 60 | 0.026528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1301-41_1_4_line_64 |  | 60 | 61 | 0.0091388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1301-41_1_4_line_65 |  | 61 | 62 | 0.0081357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1301-41_1_4_line_66 |  | 62 | 63 | 0.011356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1301-41_1_4_line_67 |  | 63 | 64 | 0.023633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1301-41_1_4_line_68 |  | 64 | 65 | 0.092924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1301-41_1_4_line_69 |  | 65 | 67 | 0.034029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1301-41_1_4_line_70 |  | 66 | 68 | 0.017597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1301-41_1_4_line_71 |  | 67 | 71 | 0.022883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1301-41_1_4_line_72 |  | 69 | 70 | 0.029172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1301-41_1_4_line_73 |  | 70 | 71 | 0.028524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1301-41_1_4_line_74 |  | 72 | 73 | 0.0055716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1301-41_1_4_line_75 |  | 73 | 74 | 0.003555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1301-41_1_4_line_76 |  | 75 | 76 | 0.030755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_1301-41_1_4_line_77 |  | 76 | 77 | 0.10213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_1301-41_1_4_line_78 |  | 77 | 84 | 0.010082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1301-41_1_4_line_79 |  | 78 | 79 | 0.12466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1301-41_1_4_line_80 |  | 78 | 80 | 0.16018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1301-41_1_4_line_81 |  | 79 | 81 | 0.013979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1301-41_1_4_line_82 |  | 80 | 82 | 0.022393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1301-41_1_4_line_83 |  | 82 | 83 | 0.061891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1301-41_1_4_line_84 |  | 83 | 84 | 0.11097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1301-41_1_4_trafo_91 | 0.63 MVA 20/0.4 kV | 86 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2703102.2345 | 1220826.5658 | 2703130.5677 | 1220831.2862 | 2703150.8132 | 1220831.8962
1 | 2703184.4166 | 1220832.9088 | 2703150.8132 | 1220831.8962
2 | 2703438.5221 | 1220934.2104 | 2703439.2116 | 1220930.2941
3 | 2703438.5221 | 1220934.2104 | 2703438.284 | 1220935.5626
4 | 2703452.4104 | 1220855.3292 | 2703439.2116 | 1220930.2941
5 | 2703436.4979 | 1220945.7071 | 2703438.284 | 1220935.5626
6 | 2703452.4104 | 1220855.3292 | 2703407.1536 | 1220814.6518
7 | 2703452.4104 | 1220855.3292 | 2703456.46 | 1220858.9688 | 2703472.5666 | 1220866.1427 | 2703493.6313 | 1220866.1642 | 2703510.3563 | 1220857.8488 | 2703555.5558 | 1220819.1267
8 | 2703436.4979 | 1220945.7071 | 2703484.7807 | 1221164.762
9 | 2703385.7401 | 1220795.4051 | 2703407.1536 | 1220814.6518
10 | 2703555.5558 | 1220819.1267 | 2703568.7362 | 1220807.8351
11 | 2703575.923 | 1221203.4057 | 2703484.7807 | 1221164.762
12 | 2703385.7401 | 1220795.4051 | 2703377.5669 | 1220788.0588 | 2703366.0807 | 1220773.0486 | 2703365.0168 | 1220754.7836 | 2703380.111 | 1220700.9956 | 2703378.3211 | 1220684.775
13 | 2703568.7362 | 1220807.8351 | 2703570.4023 | 1220806.4077
14 | 2703610.6325 | 1221179.7144 | 2703575.923 | 1221203.4057
15 | 2703575.923 | 1221203.4057 | 2703617.2116 | 1221215.4326 | 2703624.3616 | 1221216.192
16 | 2703762.6878 | 1220967.8331 | 2703792.3815 | 1220952.7921 | 2703801.816 | 1220949.4761
17 | 2703844.4366 | 1220934.4962 | 2703801.816 | 1220949.4761
18 | 2703762.6878 | 1220967.8331 | 2703745.3138 | 1220976.6338 | 2703739.547 | 1220980.8247
19 | 2703844.4366 | 1220934.4962 | 2703885.4043 | 1220920.0973
20 | 2703739.547 | 1220980.8247 | 2703696.6353 | 1221078.5823
21 | 2703885.4043 | 1220920.0973 | 2703889.583 | 1220918.6286 | 2703911.2714 | 1220911.0075
22 | 2703696.6353 | 1221078.5823 | 2703636.2264 | 1221153.5741 | 2703610.6325 | 1221179.7144
23 | 2703929.2268 | 1220906.401 | 2703917.5885 | 1220908.7877 | 2703911.2714 | 1220911.0075
24 | 2703669.5911 | 1221393.9958 | 2703661.7478 | 1221368.2493
25 | 2703624.3616 | 1221216.192 | 2703661.7478 | 1221368.2493
26 | 2703669.5911 | 1221393.9958 | 2703682.8973 | 1221437.6925 | 2703743.5115 | 1221463.0998 | 2703747.6987 | 1221472.9507
27 | 2703733.2064 | 1221130.5679 | 2703729.059 | 1221130.3844 | 2703725.3507 | 1221131.1315 | 2703703.0294 | 1221144.0522 | 2703680.8796 | 1221159.3332 | 2703660.8382 | 1221170.3257 | 2703636.5377 | 1221174.9172 | 2703610.6325 | 1221179.7144
28 | 2703733.2064 | 1221130.5679 | 2703837.9421 | 1221228.1618
29 | 2703929.2268 | 1220906.401 | 2703893.7503 | 1220722.2765
30 | 2703378.3211 | 1220684.775 | 2703294.0161 | 1220627.6677
31 | 2703570.9297 | 1220805.956 | 2703570.4023 | 1220806.4077
32 | 2703255.9038 | 1220707.0566 | 2703252.0538 | 1220701.964 | 2703249.034 | 1220692.7494 | 2703247.4465 | 1220678.4004 | 2703247.5433 | 1220672.8203 | 2703243.8133 | 1220661.6809 | 2703242.0357 | 1220657.0473
33 | 2703255.9038 | 1220707.0566 | 2703263.6373 | 1220696.95 | 2703277.353 | 1220677.5182 | 2703286.9622 | 1220659.4607 | 2703291.995 | 1220642.3133 | 2703294.0161 | 1220627.6677
34 | 2703270.53 | 1220782.8529 | 2703255.9038 | 1220707.0566
35 | 2703294.0161 | 1220627.6677 | 2703294.2345 | 1220626.0849 | 2703298.2267 | 1220598.7312
36 | 2703230.8013 | 1220809.9938 | 2703268.4757 | 1220785.4757 | 2703270.53 | 1220782.8529
37 | 2703230.8013 | 1220809.9938 | 2703227.2533 | 1220812.3028 | 2703184.4166 | 1220832.9088 | 2703184.4166 | 1220832.9088
38 | 2703337.6209 | 1220532.8367 | 2703326.1961 | 1220542.2341 | 2703315.9199 | 1220551.4848 | 2703309.0358 | 1220562.9181 | 2703304.0762 | 1220575.8414 | 2703299.2299 | 1220591.8579 | 2703298.2267 | 1220598.7312
39 | 2703337.6209 | 1220532.8367 | 2703363.665 | 1220557.7621
40 | 2703337.6209 | 1220532.8367 | 2703343.5493 | 1220531.0369
41 | 2703343.5493 | 1220531.0369 | 2703351.9456 | 1220528.4879
42 | 2703351.9456 | 1220528.4879 | 2703354.8394 | 1220527.6094 | 2703357.3618 | 1220527.1494
43 | 2703519.1213 | 1220115.24 | 2703509.2755 | 1220100.8825 | 2703505.627 | 1220091.4663
44 | 2703502.8621 | 1220084.3302 | 2703505.627 | 1220091.4663
45 | 2703519.1213 | 1220115.24 | 2703526.8319 | 1220126.4839 | 2703529.0768 | 1220129.8555
46 | 2703502.8621 | 1220084.3302 | 2703502.1182 | 1220082.4104
47 | 2703575.3229 | 1220157.6938 | 2703575.3229 | 1220157.6938 | 2703566.0455 | 1220160.0675 | 2703558.7669 | 1220160.975 | 2703553.021 | 1220159.7186 | 2703547.3249 | 1220155.5944 | 2703541.5574 | 1220148.6002 | 2703529.0768 | 1220129.8555
48 | 2703495.0414 | 1220051.9109 | 2703501.5981 | 1220081.0681 | 2703502.1182 | 1220082.4104
49 | 2703578.845 | 1220158.2242 | 2703575.3229 | 1220157.6938
50 | 2703495.0414 | 1220051.9109 | 2703494.3418 | 1220048.7997
51 | 2703581.4162 | 1220158.6115 | 2703578.845 | 1220158.2242
52 | 2703488.6078 | 1220023.3007 | 2703488.6078 | 1220023.3007 | 2703494.3418 | 1220048.7997
53 | 2703889.6288 | 1220324.6989 | 2703893.9354 | 1220325.797 | 2703901.4049 | 1220329.1631 | 2703965.6723 | 1220366.745 | 2703972.1013 | 1220368.8476 | 2703979.1909 | 1220369.1938 | 2703986.4482 | 1220368.6312 | 2703991.2603 | 1220371.1948 | 2703996.0777 | 1220373.4584 | 2703999.2897 | 1220374.0859
54 | 2704054.1952 | 1220371.205 | 2704038.3176 | 1220374.3299 | 2704020.5713 | 1220373.2192 | 2704001.5156 | 1220374.5207 | 2703999.2897 | 1220374.0859
55 | 2703889.6288 | 1220324.6989 | 2703884.0312 | 1220324.0898 | 2703875.3235 | 1220325.1387 | 2703835.3465 | 1220333.7368 | 2703831.5875 | 1220335.6171
56 | 2704054.1952 | 1220371.205 | 2704202.8037 | 1220192.5131
57 | 2703825.2004 | 1220358.9124 | 2703827.003 | 1220344.7994 | 2703828.5776 | 1220339.3673 | 2703831.5875 | 1220335.6171
58 | 2703831.5875 | 1220335.6171 | 2703658.6528 | 1220177.7021
59 | 2703825.2004 | 1220358.9124 | 2703814.9396 | 1220439.2476
60 | 2703658.6528 | 1220177.7021 | 2703661.9617 | 1220171.1661 | 2703664.1491 | 1220164.5327 | 2703665.4248 | 1220150.9784 | 2703665.6706 | 1220143.3994 | 2703662.7424 | 1220132.8742 | 2703656.8315 | 1220121.0406 | 2703645.8363 | 1220099.2864
61 | 2703586.5059 | 1220175.3343 | 2703594.775 | 1220168.9735 | 2703605.6201 | 1220164.6034 | 2703615.7193 | 1220165.5909 | 2703629.0355 | 1220169.2363 | 2703653.552 | 1220176.0122 | 2703658.6528 | 1220177.7021
62 | 2703813.9336 | 1220447.1235 | 2703814.9396 | 1220439.2476
63 | 2703711.2068 | 1219980.6211 | 2703712.3968 | 1219985.7432 | 2703718.8363 | 1220006.0141
64 | 2703718.8363 | 1220006.0141 | 2703719.9801 | 1220009.6147 | 2703722.2142 | 1220014.4878
65 | 2703727.441 | 1220020.4747 | 2703723.4385 | 1220017.1582 | 2703722.2142 | 1220014.4878
66 | 2703727.441 | 1220020.4747 | 2703726.0107 | 1220025.0309 | 2703725.9671 | 1220031.6116
67 | 2703725.9671 | 1220031.6116 | 2703725.9084 | 1220040.4847 | 2703727.1773 | 1220051.726 | 2703727.6068 | 1220055.1458
68 | 2703645.8363 | 1220099.2864 | 2703727.6068 | 1220055.1458
69 | 2703629.3597 | 1220069.5151 | 2703644.2274 | 1220096.1032 | 2703645.8363 | 1220099.2864
70 | 2703586.5059 | 1220175.3343 | 2703585.0728 | 1220167.4148 | 2703583.2055 | 1220162.2008 | 2703581.4162 | 1220158.6115 | 2703581.4162 | 1220158.6115
71 | 2703618.9974 | 1220049.1155 | 2703628.116 | 1220067.291 | 2703629.3597 | 1220069.5151
72 | 2703604.6523 | 1219993.2904 | 2703606.7688 | 1220001.361 | 2703611.1271 | 1220021.7281
73 | 2703611.1271 | 1220021.7281 | 2703612.8468 | 1220029.765 | 2703618.9769 | 1220049.0744 | 2703618.9974 | 1220049.1155
74 | 2703488.6078 | 1220023.3007 | 2703483.9347 | 1220020.2667
75 | 2703480.953 | 1220018.3308 | 2703483.9347 | 1220020.2667
76 | 2703893.7503 | 1220722.2765 | 2703884.0745 | 1220722.5125 | 2703864.97 | 1220713.6111
77 | 2703776.5314 | 1220665.8857 | 2703817.8793 | 1220679.9275 | 2703845.6703 | 1220704.6188 | 2703864.97 | 1220713.6111
78 | 2703780.5552 | 1220656.638 | 2703776.5314 | 1220665.8857
79 | 2703813.9336 | 1220447.1235 | 2703922.4825 | 1220508.4111
80 | 2703813.9336 | 1220447.1235 | 2703663.977 | 1220503.4193
81 | 2703932.2123 | 1220518.4488 | 2703922.4825 | 1220508.4111
82 | 2703663.977 | 1220503.4193 | 2703669.1477 | 1220525.2071
83 | 2703707.6393 | 1220572.9814 | 2703670.3258 | 1220530.1714 | 2703669.1477 | 1220525.2071
84 | 2703780.5552 | 1220656.638 | 2703707.6393 | 1220572.9814

## bus_geodata
| x | y | coords
0 | 2703102.2345 | 1220826.5658
1 | 2703150.8132 | 1220831.8962
2 | 2703438.5221 | 1220934.2104
3 | 2703439.2116 | 1220930.2941
4 | 2703438.284 | 1220935.5626
5 | 2703452.4104 | 1220855.3292
6 | 2703436.4979 | 1220945.7071
7 | 2703407.1536 | 1220814.6518
8 | 2703555.5558 | 1220819.1267
9 | 2703484.7807 | 1221164.762
10 | 2703385.7401 | 1220795.4051
11 | 2703568.7362 | 1220807.8351
12 | 2703575.923 | 1221203.4057
13 | 2703801.816 | 1220949.4761
14 | 2703762.6878 | 1220967.8331
15 | 2703844.4366 | 1220934.4962
16 | 2703739.547 | 1220980.8247
17 | 2703885.4043 | 1220920.0973
18 | 2703696.6353 | 1221078.5823
19 | 2703911.2714 | 1220911.0075
20 | 2703661.7478 | 1221368.2493
21 | 2703669.5911 | 1221393.9958
22 | 2703624.3616 | 1221216.192
23 | 2703747.6987 | 1221472.9507
24 | 2703610.6325 | 1221179.7144
25 | 2703733.2064 | 1221130.5679
26 | 2703837.9421 | 1221228.1618
27 | 2703929.2268 | 1220906.401
28 | 2703378.3211 | 1220684.775
29 | 2703570.4023 | 1220806.4077
30 | 2703242.0357 | 1220657.0473
31 | 2703255.9038 | 1220707.0566
32 | 2703294.0161 | 1220627.6677
33 | 2703270.53 | 1220782.8529
34 | 2703230.8013 | 1220809.9938
35 | 2703298.2267 | 1220598.7312
36 | 2703337.6209 | 1220532.8367
37 | 2703184.4166 | 1220832.9088
38 | 2703343.5493 | 1220531.0369
39 | 2703351.9456 | 1220528.4879
40 | 2703357.3618 | 1220527.1494
41 | 2703363.665 | 1220557.7621
42 | 2703505.627 | 1220091.4663
43 | 2703519.1213 | 1220115.24
44 | 2703502.8621 | 1220084.3302
45 | 2703529.0768 | 1220129.8555
46 | 2703502.1182 | 1220082.4104
47 | 2703575.3229 | 1220157.6938
48 | 2703495.0414 | 1220051.9109
49 | 2703578.845 | 1220158.2243
50 | 2703494.3418 | 1220048.7997
51 | 2703999.2897 | 1220374.0859
52 | 2703889.6288 | 1220324.6989
53 | 2704054.1952 | 1220371.205
54 | 2703831.5875 | 1220335.6171
55 | 2704202.8037 | 1220192.5131
56 | 2703825.2004 | 1220358.9124
57 | 2703658.6528 | 1220177.7021
58 | 2703814.9396 | 1220439.2476
59 | 2703711.2068 | 1219980.6211
60 | 2703718.8363 | 1220006.0141
61 | 2703722.2142 | 1220014.4878
62 | 2703727.441 | 1220020.4747
63 | 2703725.9671 | 1220031.6116
64 | 2703727.6068 | 1220055.1458
65 | 2703645.8363 | 1220099.2864
66 | 2703586.5059 | 1220175.3343
67 | 2703629.3597 | 1220069.5151
68 | 2703581.4162 | 1220158.6115
69 | 2703604.6523 | 1219993.2904
70 | 2703611.1271 | 1220021.7281
71 | 2703618.9974 | 1220049.1155
72 | 2703488.6078 | 1220023.3007
73 | 2703483.9347 | 1220020.2667
74 | 2703480.953 | 1220018.3308
75 | 2703893.7503 | 1220722.2765
76 | 2703864.97 | 1220713.6111
77 | 2703776.5314 | 1220665.8857
78 | 2703813.9336 | 1220447.1235
79 | 2703922.4825 | 1220508.4111
80 | 2703663.977 | 1220503.4193
81 | 2703932.2123 | 1220518.4488
82 | 2703669.1477 | 1220525.2071
83 | 2703707.6393 | 1220572.9814
84 | 2703780.5552 | 1220656.638
85 | 2703570.9297 | 1220805.956
86 | 2703452.4104 | 1220855.3292

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97797 | -0.42477 | 0.011647 | 0.0029191
1 | 0.9785 | -0.41438 | 0.0073778 | 0.0018491
2 | 0.99472 | -0.10077 | 0.00032095 | 8.0439e-05
3 | 0.99477 | -0.099792 | 0.00055735 | 0.00013969
4 | 0.9947 | -0.10111 | 0.00087577 | 0.00021949
5 | 0.99577 | -0.080764 | 0 | 0
6 | 0.99457 | -0.10358 | 0.0016316 | 0.00040891
7 | 0.9968 | -0.06104 | 0.0062618 | 0.0015694
8 | 0.99435 | -0.10821 | 0.00049341 | 0.00012366
9 | 0.99187 | -0.1554 | 0.0004888 | 0.0001225
10 | 0.99734 | -0.050668 | 0.010609 | 0.0026589
11 | 0.99415 | -0.11196 | 0.00015544 | 3.8956e-05
12 | 0.99069 | -0.17806 | 0 | 0
13 | 0.98674 | -0.25424 | 0.0043523 | 0.0010908
14 | 0.98722 | -0.24512 | 0.00030006 | 7.5203e-05
15 | 0.98631 | -0.2626 | 0.00024659 | 6.18e-05
16 | 0.98751 | -0.23947 | 0.0006962 | 0.00017448
17 | 0.9859 | -0.27057 | 0.00053528 | 0.00013415
18 | 0.9887 | -0.21638 | 0.00051846 | 0.00012994
19 | 0.98565 | -0.27552 | 0.00053427 | 0.0001339
20 | 0.99051 | -0.18172 | 0.00058183 | 0.00014582
21 | 0.9905 | -0.18186 | 0 | 0
22 | 0.99063 | -0.17927 | 0.00048581 | 0.00012175
23 | 0.99047 | -0.18249 | 0.00028838 | 7.2275e-05
24 | 0.99021 | -0.18733 | 0 | 0
25 | 0.99016 | -0.18842 | 0 | 0
26 | 0.9901 | -0.18956 | 0.00044722 | 0.00011209
27 | 0.98548 | -0.27882 | 0.00036993 | 9.2712e-05
28 | 1 | 0 | -0.17165 | -0.043422
29 | 0.99413 | -0.11243 | 0.00062679 | 0.00015709
30 | 0.98383 | -0.31031 | 0.025588 | 0.0064129
31 | 0.98507 | -0.28601 | 0 | 0
32 | 0.99101 | -0.17126 | 0.010954 | 0.0027453
33 | 0.98178 | -0.35017 | 0.01391 | 0.0034863
34 | 0.98034 | -0.37833 | 0.0062347 | 0.0015626
35 | 0.99067 | -0.17799 | 0.0089201 | 0.0022356
36 | 0.99037 | -0.18369 | 0 | 0
37 | 0.97909 | -0.40275 | 0.0069428 | 0.00174
38 | 0.99035 | -0.18409 | 0.0022982 | 0.00057598
39 | 0.99034 | -0.18429 | 0.0005752 | 0.00014416
40 | 0.99034 | -0.18436 | 0.00070294 | 0.00017617
41 | 0.99036 | -0.18399 | 0.00045989 | 0.00011526
42 | 0.97237 | -0.53605 | 0.0016398 | 0.00041096
43 | 0.97246 | -0.53423 | 0.00014261 | 3.5741e-05
44 | 0.97235 | -0.53633 | 0.00021678 | 5.4331e-05
45 | 0.97252 | -0.53301 | 0.00020514 | 5.1413e-05
46 | 0.97235 | -0.5364 | 0.00029381 | 7.3637e-05
47 | 0.97275 | -0.52855 | 0.00019172 | 4.8049e-05
48 | 0.97231 | -0.53723 | 0.00016548 | 4.1473e-05
49 | 0.97276 | -0.52828 | 0.00023705 | 5.9411e-05
50 | 0.9723 | -0.53731 | 0.00036872 | 9.241e-05
51 | 0.97433 | -0.49721 | 0.00097303 | 0.00024386
52 | 0.97453 | -0.49324 | 0 | 0
53 | 0.97429 | -0.49801 | 0.00052894 | 0.00013256
54 | 0.97463 | -0.49131 | 0.00066947 | 0.00016778
55 | 0.97424 | -0.49911 | 0.0002531 | 6.3432e-05
56 | 0.97483 | -0.48719 | 0.00098828 | 0.00024769
57 | 0.97318 | -0.51994 | 0 | 0
58 | 0.97559 | -0.47222 | 0.00054441 | 0.00013644
59 | 0.97292 | -0.52509 | 0.00018382 | 4.6071e-05
60 | 0.97293 | -0.525 | 0.00013875 | 3.4773e-05
61 | 0.97293 | -0.52495 | 0.00014207 | 3.5607e-05
62 | 0.97293 | -0.52488 | 0 | 0
63 | 0.97294 | -0.52478 | 0.00024192 | 6.063e-05
64 | 0.97295 | -0.52447 | 0.00016364 | 4.1012e-05
65 | 0.97303 | -0.52298 | 0.00031511 | 7.8975e-05
66 | 0.97285 | -0.52655 | 0 | 0
67 | 0.973 | -0.52346 | 0.00017497 | 4.3852e-05
68 | 0.97277 | -0.52807 | 0.00030622 | 7.6745e-05
69 | 0.97298 | -0.52399 | 0.00015366 | 3.8512e-05
70 | 0.97298 | -0.52391 | 0.00021598 | 5.4129e-05
71 | 0.97299 | -0.52371 | 0.00022306 | 5.5904e-05
72 | 0.97228 | -0.53774 | 0.00022622 | 5.6696e-05
73 | 0.97228 | -0.53781 | 0.00013696 | 3.4326e-05
74 | 0.97228 | -0.53785 | 0.0005445 | 0.00013646
75 | 0.98378 | -0.31171 | 0.0010178 | 0.0002551
76 | 0.98351 | -0.31693 | 0.00041916 | 0.00010505
77 | 0.9822 | -0.34257 | 0 | 0
78 | 0.97567 | -0.47067 | 0 | 0
79 | 0.97548 | -0.47436 | 0.00034038 | 8.5307e-05
80 | 0.97749 | -0.43481 | 0.0035424 | 0.0008878
81 | 0.97547 | -0.47469 | 0.0012725 | 0.00031893
82 | 0.97782 | -0.42836 | 0.0061716 | 0.0015468
83 | 0.97908 | -0.4036 | 0.005845 | 0.0014649
84 | 0.98194 | -0.34764 | 0 | 0
85 | 0.99412 | -0.11257 | 0.011466 | 0.0028738
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011647 | -0.0029191 | 0.011653 | 0.0029222 | 5.7684e-06 | 3.0769e-06 | 0.017722 | 0.017722 | 0.017722 | 0.97797 | -0.42477 | 0.9785 | -0.41438 | 4.8687
1 | -0.019031 | -0.0047713 | 0.019042 | 0.0047776 | 1.056e-05 | 6.3356e-06 | 0.028941 | 0.028941 | 0.028941 | 0.9785 | -0.41438 | 0.97909 | -0.40275 | 7.9509
2 | -0.042429 | -0.010777 | 0.042431 | 0.010778 | 2.0056e-06 | 1.1287e-06 | 0.063521 | 0.06352 | 0.063521 | 0.99472 | -0.10077 | 0.99477 | -0.099792 | 5.8169
3 | 0.042108 | 0.010696 | -0.042107 | -0.010696 | 6.8204e-07 | 3.8304e-07 | 0.06304 | 0.06304 | 0.06304 | 0.99472 | -0.10077 | 0.9947 | -0.10111 | 5.7729
4 | -0.042988 | -0.010918 | 0.043027 | 0.01094 | 3.9404e-05 | 2.2251e-05 | 0.064354 | 0.064353 | 0.064354 | 0.99477 | -0.099792 | 0.99577 | -0.080764 | 5.8932
5 | 0.041231 | 0.010476 | -0.041226 | -0.010474 | 4.9065e-06 | 2.7391e-06 | 0.06173 | 0.06173 | 0.06173 | 0.9947 | -0.10111 | 0.99457 | -0.10358 | 5.653
6 | -0.055789 | -0.014144 | 0.055842 | 0.014175 | 5.2937e-05 | 3.1503e-05 | 0.083425 | 0.083424 | 0.083425 | 0.99577 | -0.080764 | 0.9968 | -0.06104 | 7.6396
7 | 0.012761 | 0.0032039 | -0.012745 | -0.0031948 | 1.6687e-05 | 9.0906e-06 | 0.019072 | 0.019072 | 0.019072 | 0.99577 | -0.080764 | 0.99435 | -0.10821 | 5.2396
8 | 0.039595 | 0.010065 | -0.039496 | -0.01001 | 9.8569e-05 | 5.4375e-05 | 0.059289 | 0.059293 | 0.059293 | 0.99457 | -0.10358 | 0.99187 | -0.1554 | 5.4297
9 | -0.062104 | -0.015745 | 0.062135 | 0.015763 | 3.0975e-05 | 1.8697e-05 | 0.092771 | 0.092771 | 0.092771 | 0.9968 | -0.06104 | 0.99734 | -0.050668 | 8.4956
10 | 0.012251 | 0.0030712 | -0.012249 | -0.00307 | 2.1877e-06 | 1.175e-06 | 0.018334 | 0.018334 | 0.018334 | 0.99435 | -0.10821 | 0.99415 | -0.11196 | 5.0368
11 | 0.039007 | 0.0098879 | -0.038965 | -0.0098646 | 4.2436e-05 | 2.333e-05 | 0.058559 | 0.058561 | 0.058561 | 0.99187 | -0.1554 | 0.99069 | -0.17806 | 5.3627
12 | -0.072744 | -0.018422 | 0.072921 | 0.018531 | 0.00017745 | 0.00010885 | 0.1086 | 0.1086 | 0.1086 | 0.99734 | -0.050668 | 1 | 0 | 9.945
13 | 0.012094 | 0.003031 | -0.012093 | -0.0030309 | 2.6958e-07 | 1.4408e-07 | 0.018101 | 0.018101 | 0.018101 | 0.99415 | -0.11196 | 0.99413 | -0.11243 | 4.9729
14 | 0.037609 | 0.0095292 | -0.037592 | -0.0095201 | 1.6752e-05 | 9.1021e-06 | 0.056525 | 0.056526 | 0.056526 | 0.99069 | -0.17806 | 0.99021 | -0.18733 | 5.1764
15 | 0.0013562 | 0.00033539 | -0.0013561 | -0.00033599 | 7.7992e-08 | -5.9636e-07 | 0.0020354 | 0.0020357 | 0.0020357 | 0.99069 | -0.17806 | 0.99063 | -0.17927 | 0.55925
16 | -0.035513 | -0.0089686 | 0.035528 | 0.0089769 | 1.5532e-05 | 8.2807e-06 | 0.053578 | 0.053577 | 0.053578 | 0.98674 | -0.25424 | 0.98722 | -0.24512 | 4.9064
17 | 0.03116 | 0.0078779 | -0.031148 | -0.0078716 | 1.2482e-05 | 6.2581e-06 | 0.047014 | 0.047015 | 0.047015 | 0.98674 | -0.25424 | 0.98631 | -0.2626 | 4.3054
18 | -0.035828 | -0.0090521 | 0.035838 | 0.0090573 | 9.7078e-06 | 5.1922e-06 | 0.054029 | 0.054029 | 0.054029 | 0.98722 | -0.24512 | 0.98751 | -0.23947 | 4.9477
19 | 0.030901 | 0.0078098 | -0.030889 | -0.0078039 | 1.1809e-05 | 5.896e-06 | 0.046643 | 0.046644 | 0.046644 | 0.98631 | -0.2626 | 0.9859 | -0.27057 | 4.2714
20 | -0.036534 | -0.0092318 | 0.036575 | 0.0092536 | 4.0483e-05 | 2.1806e-05 | 0.055078 | 0.055076 | 0.055078 | 0.98751 | -0.23947 | 0.9887 | -0.21638 | 5.0438
21 | 0.030354 | 0.0076697 | -0.030347 | -0.0076662 | 7.2003e-06 | 3.5596e-06 | 0.045836 | 0.045836 | 0.045836 | 0.9859 | -0.27057 | 0.98565 | -0.27552 | 4.1974
22 | -0.037093 | -0.0093835 | 0.037145 | 0.0094116 | 5.1766e-05 | 2.8015e-05 | 0.055857 | 0.055855 | 0.055857 | 0.9887 | -0.21638 | 0.99021 | -0.18733 | 5.1151
23 | 0.029813 | 0.0075323 | -0.029808 | -0.00753 | 4.7083e-06 | 2.3031e-06 | 0.045029 | 0.04503 | 0.04503 | 0.98565 | -0.27552 | 0.98548 | -0.27882 | 4.1236
24 | 0.00028839 | 7.0363e-05 | -0.00028839 | -7.0709e-05 | 1.8891e-09 | -3.4522e-07 | 0.00043257 | 0.00043269 | 0.00043269 | 0.99051 | -0.18172 | 0.9905 | -0.18186 | 0.11887
25 | -0.00087022 | -0.00021618 | 0.00087032 | 0.00021423 | 1.002e-07 | -1.9516e-06 | 0.0013066 | 0.0013059 | 0.0013066 | 0.99051 | -0.18172 | 0.99063 | -0.17927 | 0.35897
26 | 0.00028839 | 7.0709e-05 | -0.00028838 | -7.2275e-05 | 8.5837e-09 | -1.5661e-06 | 0.00043269 | 0.00043324 | 0.00043324 | 0.9905 | -0.18186 | 0.99047 | -0.18249 | 0.11902
27 | 0.00044727 | 0.00010855 | -0.00044725 | -0.00011026 | 2.2679e-08 | -1.7123e-06 | 0.00067089 | 0.00067149 | 0.00067149 | 0.99021 | -0.18733 | 0.99016 | -0.18842 | 0.18447
28 | 0.00044725 | 0.00011026 | -0.00044722 | -0.00011209 | 2.4229e-08 | -1.8257e-06 | 0.00067149 | 0.00067213 | 0.00067213 | 0.99016 | -0.18842 | 0.9901 | -0.18956 | 0.18465
29 | 0.029438 | 0.0074373 | -0.029392 | -0.0074148 | 4.6357e-05 | 2.2514e-05 | 0.044471 | 0.044474 | 0.044474 | 0.98548 | -0.27882 | 0.98378 | -0.31171 | 4.0727
30 | 0.097074 | 0.02489 | -0.096275 | -0.02438 | 0.00079894 | 0.00051 | 0.14465 | 0.14465 | 0.14465 | 1 | 0 | 0.99101 | -0.17126 | 39.7384
31 | 0.011466 | 0.0028738 | -0.011466 | -0.0028738 | 7.6704e-08 | 4.0088e-08 | 0.017163 | 0.017163 | 0.017163 | 0.99413 | -0.11243 | 0.99412 | -0.11257 | 4.7151
32 | -0.025588 | -0.0064129 | 0.025617 | 0.0064312 | 2.966e-05 | 1.8311e-05 | 0.038701 | 0.038701 | 0.038701 | 0.98383 | -0.31031 | 0.98507 | -0.28601 | 10.6321
33 | -0.071963 | -0.018133 | 0.07236 | 0.018387 | 0.00039738 | 0.00025318 | 0.10874 | 0.10874 | 0.10874 | 0.98507 | -0.28601 | 0.99101 | -0.17126 | 29.8734
34 | 0.046345 | 0.011702 | -0.046203 | -0.011612 | 0.000142 | 8.9902e-05 | 0.070039 | 0.070039 | 0.070039 | 0.98507 | -0.28601 | 0.98178 | -0.35017 | 19.2415
35 | 0.012962 | 0.0032484 | -0.012957 | -0.0032462 | 4.1534e-06 | 2.2815e-06 | 0.019462 | 0.019462 | 0.019462 | 0.99101 | -0.17126 | 0.99067 | -0.17799 | 5.3467
36 | 0.032293 | 0.0081261 | -0.032249 | -0.0080989 | 4.3393e-05 | 2.7162e-05 | 0.048956 | 0.048956 | 0.048956 | 0.98178 | -0.35017 | 0.98034 | -0.37833 | 13.4494
37 | 0.026015 | 0.0065364 | -0.025984 | -0.0065176 | 3.0278e-05 | 1.8726e-05 | 0.039493 | 0.039493 | 0.039493 | 0.98034 | -0.37833 | 0.97909 | -0.40275 | 10.8497
38 | 0.0040374 | 0.0010106 | -0.0040363 | -0.0010109 | 1.0961e-06 | -3.2163e-07 | 0.0060639 | 0.0060642 | 0.0060642 | 0.99067 | -0.17799 | 0.99037 | -0.18369 | 1.666
39 | 0.0004599 | 0.0001148 | -0.00045989 | -0.00011526 | 6.4435e-09 | -4.5906e-07 | 0.00069082 | 0.00069098 | 0.00069098 | 0.99037 | -0.18369 | 0.99036 | -0.18399 | 0.18983
40 | 0.0035764 | 0.0008961 | -0.0035764 | -0.00089614 | 6.7084e-08 | -3.6789e-08 | 0.0053734 | 0.0053734 | 0.0053734 | 0.99037 | -0.18369 | 0.99035 | -0.18409 | 1.4762
41 | 0.0012782 | 0.00032016 | -0.0012781 | -0.00032026 | 1.2135e-08 | -1.0514e-07 | 0.0019204 | 0.0019204 | 0.0019204 | 0.99035 | -0.18409 | 0.99034 | -0.18429 | 0.52759
42 | 0.00070295 | 0.0001761 | -0.00070294 | -0.00017617 | 2.3376e-09 | -7.0407e-08 | 0.0010562 | 0.0010562 | 0.0010562 | 0.99034 | -0.18429 | 0.99034 | -0.18436 | 0.29016
43 | -0.0035923 | -0.00089939 | 0.0035927 | 0.00089924 | 3.117e-07 | -1.4176e-07 | 0.005497 | 0.0054969 | 0.005497 | 0.97237 | -0.53605 | 0.97246 | -0.53423 | 1.5102
44 | 0.0019526 | 0.00048842 | -0.0019526 | -0.0004885 | 2.5618e-08 | -7.8533e-08 | 0.0029877 | 0.0029877 | 0.0029877 | 0.97237 | -0.53605 | 0.97235 | -0.53633 | 0.82081
45 | -0.0037353 | -0.00093498 | 0.0037355 | 0.0009349 | 2.166e-07 | -8.079e-08 | 0.0057151 | 0.005715 | 0.0057151 | 0.97246 | -0.53423 | 0.97252 | -0.53301 | 1.5701
46 | 0.0017358 | 0.00043417 | -0.0017358 | -0.00043419 | 5.4465e-09 | -2.2052e-08 | 0.002656 | 0.002656 | 0.002656 | 0.97235 | -0.53633 | 0.97235 | -0.5364 | 0.72967
47 | -0.0039406 | -0.00098632 | 0.0039415 | 0.00098609 | 8.3701e-07 | -2.2648e-07 | 0.0060289 | 0.0060287 | 0.0060289 | 0.97252 | -0.53301 | 0.97275 | -0.52855 | 1.6563
48 | 0.001442 | 0.00036056 | -0.0014419 | -0.00036091 | 5.7188e-08 | -3.5193e-07 | 0.0022064 | 0.0022065 | 0.0022065 | 0.97235 | -0.5364 | 0.97231 | -0.53723 | 0.60619
49 | -0.0041332 | -0.0010341 | 0.0041332 | 0.0010341 | 5.3383e-08 | -1.0052e-08 | 0.0063219 | 0.0063219 | 0.0063219 | 0.97275 | -0.52855 | 0.97276 | -0.52828 | 1.7368
50 | 0.0012764 | 0.00031944 | -0.0012764 | -0.00031947 | 4.5625e-09 | -3.6631e-08 | 0.0019533 | 0.0019533 | 0.0019533 | 0.97231 | -0.53723 | 0.9723 | -0.53731 | 0.53662
51 | -0.0043703 | -0.0010935 | 0.0043703 | 0.0010935 | 4.3569e-08 | -4.3957e-09 | 0.0066845 | 0.0066845 | 0.0066845 | 0.97276 | -0.52828 | 0.97277 | -0.52807 | 1.8364
52 | 0.0009077 | 0.00022706 | -0.00090768 | -0.00022737 | 1.891e-08 | -3.1204e-07 | 0.001389 | 0.0013891 | 0.0013891 | 0.9723 | -0.53731 | 0.97228 | -0.53774 | 0.38162
53 | -0.0017551 | -0.0004363 | 0.0017554 | 0.00043499 | 3.2906e-07 | -1.3126e-06 | 0.0026792 | 0.0026786 | 0.0026792 | 0.97433 | -0.49721 | 0.97453 | -0.49324 | 0.73603
54 | 0.00078208 | 0.00019244 | -0.00078205 | -0.00019311 | 2.9544e-08 | -6.7018e-07 | 0.0011931 | 0.0011934 | 0.0011934 | 0.97433 | -0.49721 | 0.97429 | -0.49801 | 0.32785
55 | -0.0017554 | -0.00043499 | 0.0017556 | 0.00043435 | 1.6006e-07 | -6.3892e-07 | 0.0026786 | 0.0026783 | 0.0026786 | 0.97453 | -0.49324 | 0.97463 | -0.49131 | 0.73588
56 | 0.00025311 | 6.0546e-05 | -0.0002531 | -6.3432e-05 | 1.2989e-08 | -2.8858e-06 | 0.00038555 | 0.00038657 | 0.00038657 | 0.97429 | -0.49801 | 0.97424 | -0.49911 | 0.1062
57 | -0.0090658 | -0.0022604 | 0.0090676 | 0.0022612 | 1.7729e-06 | 8.2685e-07 | 0.013837 | 0.013837 | 0.013837 | 0.97463 | -0.49131 | 0.97483 | -0.48719 | 3.8014
58 | 0.0066407 | 0.0016582 | -0.0066317 | -0.0016554 | 9.0245e-06 | 2.8616e-06 | 0.010137 | 0.010138 | 0.010138 | 0.97463 | -0.49131 | 0.97318 | -0.51994 | 2.7851
59 | -0.010056 | -0.0025089 | 0.010063 | 0.0025125 | 7.1516e-06 | 3.5665e-06 | 0.015345 | 0.015345 | 0.015345 | 0.97483 | -0.48719 | 0.97559 | -0.47222 | 4.2158
60 | 0.0019534 | 0.00048511 | -0.0019531 | -0.00048598 | 2.8086e-07 | -8.6423e-07 | 0.0029852 | 0.0029855 | 0.0029855 | 0.97318 | -0.51994 | 0.97303 | -0.52298 | 0.8202
61 | 0.0046783 | 0.0011703 | -0.0046769 | -0.0011703 | 1.4713e-06 | -1.0905e-08 | 0.0071525 | 0.0071528 | 0.0071528 | 0.97318 | -0.51994 | 0.97285 | -0.52655 | 1.9651
62 | -0.010607 | -0.0026489 | 0.010608 | 0.0026493 | 7.7903e-07 | 3.9943e-07 | 0.016175 | 0.016175 | 0.016175 | 0.97559 | -0.47222 | 0.97567 | -0.47067 | 4.4438
63 | -0.00018382 | -4.6071e-05 | 0.00018383 | 4.5742e-05 | 7.8599e-10 | -3.2893e-07 | 0.00028115 | 0.00028103 | 0.00028115 | 0.97292 | -0.52509 | 0.97293 | -0.525 | 0.077238
64 | -0.00032257 | -8.0515e-05 | 0.00032257 | 8.0402e-05 | 8.3363e-10 | -1.1296e-07 | 0.00049323 | 0.00049319 | 0.00049323 | 0.97293 | -0.525 | 0.97293 | -0.52495 | 0.1355
65 | -0.00046465 | -0.00011601 | 0.00046465 | 0.00011591 | 1.5399e-09 | -1.0005e-07 | 0.00071048 | 0.00071044 | 0.00071048 | 0.97293 | -0.52495 | 0.97293 | -0.52488 | 0.19519
66 | -0.00046465 | -0.00011591 | 0.00046465 | 0.00011577 | 2.1493e-09 | -1.3966e-07 | 0.00071044 | 0.00071039 | 0.00071044 | 0.97293 | -0.52488 | 0.97294 | -0.52478 | 0.19518
67 | -0.00070657 | -0.0001764 | 0.00070658 | 0.00017611 | 1.0343e-08 | -2.8687e-07 | 0.0010804 | 0.0010803 | 0.0010804 | 0.97294 | -0.52478 | 0.97295 | -0.52447 | 0.29681
68 | -0.00087022 | -0.00021713 | 0.00087028 | 0.00021601 | 6.1671e-08 | -1.1147e-06 | 0.0013305 | 0.0013301 | 0.0013305 | 0.97295 | -0.52447 | 0.97303 | -0.52298 | 0.36553
69 | 0.0007677 | 0.00019099 | -0.00076768 | -0.0001914 | 1.7576e-08 | -4.1142e-07 | 0.0011735 | 0.0011737 | 0.0011737 | 0.97303 | -0.52298 | 0.973 | -0.52346 | 0.32243
70 | 0.0046769 | 0.0011703 | -0.0046765 | -0.0011703 | 3.3762e-07 | -2.3973e-09 | 0.0071528 | 0.0071529 | 0.0071529 | 0.97285 | -0.52655 | 0.97277 | -0.52807 | 1.9651
71 | 0.00059271 | 0.00014755 | -0.0005927 | -0.00014783 | 7.0456e-09 | -2.797e-07 | 0.00090607 | 0.00090617 | 0.00090617 | 0.973 | -0.52346 | 0.97299 | -0.52371 | 0.24895
72 | -0.00015366 | -3.8512e-05 | 0.00015366 | 3.815e-05 | 6.0381e-10 | -3.6192e-07 | 0.000235 | 0.00023487 | 0.000235 | 0.97298 | -0.52399 | 0.97298 | -0.52391 | 0.064561
73 | -0.00036964 | -9.2279e-05 | 0.00036964 | 9.1927e-05 | 3.4159e-09 | -3.5208e-07 | 0.00056518 | 0.00056505 | 0.00056518 | 0.97298 | -0.52391 | 0.97299 | -0.52371 | 0.15527
74 | 0.00068146 | 0.00017068 | -0.00068146 | -0.00017075 | 2.2725e-09 | -6.7644e-08 | 0.0010429 | 0.0010429 | 0.0010429 | 0.97228 | -0.53774 | 0.97228 | -0.53781 | 0.28652
75 | 0.0005445 | 0.00013642 | -0.0005445 | -0.00013646 | 9.2573e-10 | -4.3497e-08 | 0.00083331 | 0.00083332 | 0.00083332 | 0.97228 | -0.53781 | 0.97228 | -0.53785 | 0.22893
76 | 0.028374 | 0.0071597 | -0.028367 | -0.0071563 | 7.0866e-06 | 3.3642e-06 | 0.042934 | 0.042935 | 0.042935 | 0.98378 | -0.31171 | 0.98351 | -0.31693 | 3.9317
77 | 0.027948 | 0.0070512 | -0.027913 | -0.0070319 | 3.4267e-05 | 1.9342e-05 | 0.0423 | 0.042301 | 0.042301 | 0.98351 | -0.31693 | 0.9822 | -0.34257 | 5.8106
78 | 0.027913 | 0.0070319 | -0.027907 | -0.0070277 | 6.7653e-06 | 4.2022e-06 | 0.042301 | 0.042301 | 0.042301 | 0.9822 | -0.34257 | 0.98194 | -0.34764 | 11.6213
79 | 0.0016132 | 0.0004027 | -0.0016129 | -0.00040407 | 2.829e-07 | -1.3754e-06 | 0.0024598 | 0.0024603 | 0.0024603 | 0.97567 | -0.47067 | 0.97548 | -0.47436 | 0.67592
80 | -0.012221 | -0.003052 | 0.012242 | 0.0030633 | 2.0858e-05 | 1.1345e-05 | 0.018635 | 0.018635 | 0.018635 | 0.97567 | -0.47067 | 0.97749 | -0.43481 | 5.1196
81 | 0.0012726 | 0.00031877 | -0.0012725 | -0.00031893 | 1.9753e-08 | -1.6187e-07 | 0.0019411 | 0.0019412 | 0.0019412 | 0.97548 | -0.47436 | 0.97547 | -0.47469 | 0.53329
82 | -0.015785 | -0.0039511 | 0.015789 | 0.003954 | 4.8477e-06 | 2.8218e-06 | 0.024027 | 0.024027 | 0.024027 | 0.97749 | -0.43481 | 0.97782 | -0.42836 | 6.6008
83 | -0.021961 | -0.0055007 | 0.021987 | 0.0055165 | 2.592e-05 | 1.5812e-05 | 0.033419 | 0.033418 | 0.033419 | 0.97782 | -0.42836 | 0.97908 | -0.4036 | 9.181
84 | -0.027832 | -0.0069814 | 0.027907 | 0.0070277 | 7.4467e-05 | 4.6259e-05 | 0.042302 | 0.042301 | 0.042302 | 0.97908 | -0.4036 | 0.98194 | -0.34764 | 11.6214

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.17558 | 0.044409

## res_load
| p_mw | q_mvar
0 | 0.011647 | 0.0029191
1 | 0.0073778 | 0.0018491
2 | 0.00032095 | 8.0439e-05
3 | 0.00055735 | 0.00013969
4 | 0.00087577 | 0.00021949
5 | 0.0016316 | 0.00040891
6 | 0.0062618 | 0.0015694
7 | 0.00049341 | 0.00012366
8 | 0.0004888 | 0.0001225
9 | 0.010609 | 0.0026589
10 | 0.00015544 | 3.8956e-05
11 | 0.0043523 | 0.0010908
12 | 0.00030006 | 7.5203e-05
13 | 0.00024659 | 6.18e-05
14 | 0.0006962 | 0.00017448
15 | 0.00053528 | 0.00013415
16 | 0.00051846 | 0.00012994
17 | 0.00053427 | 0.0001339
18 | 0.00058183 | 0.00014582
19 | 0.00048581 | 0.00012175
20 | 0.00028838 | 7.2275e-05
21 | 0.00044722 | 0.00011209
22 | 0.00036993 | 9.2712e-05
23 | 0.0039383 | 0.00098704
24 | 0.00062679 | 0.00015709
25 | 0.025588 | 0.0064129
26 | 0.010954 | 0.0027453
27 | 0.01391 | 0.0034863
28 | 0.0062347 | 0.0015626
29 | 0.0089201 | 0.0022356
30 | 0.0069428 | 0.00174
31 | 0.0022982 | 0.00057598
32 | 0.0005752 | 0.00014416
33 | 0.00070294 | 0.00017617
34 | 0.00045989 | 0.00011526
35 | 0.0016398 | 0.00041096
36 | 0.00014261 | 3.5741e-05
37 | 0.00021678 | 5.4331e-05
38 | 0.00020514 | 5.1413e-05
39 | 0.00029381 | 7.3637e-05
40 | 0.00019172 | 4.8049e-05
41 | 0.00016548 | 4.1473e-05
42 | 0.00023705 | 5.9411e-05
43 | 0.00036872 | 9.241e-05
44 | 0.00097303 | 0.00024386
45 | 0.00052894 | 0.00013256
46 | 0.00066947 | 0.00016778
47 | 0.0002531 | 6.3432e-05
48 | 0.00098828 | 0.00024769
49 | 0.00054441 | 0.00013644
50 | 0.00018382 | 4.6071e-05
51 | 0.00013875 | 3.4773e-05
52 | 0.00014207 | 3.5607e-05
53 | 0.00024192 | 6.063e-05
54 | 0.00016364 | 4.1012e-05
55 | 0.00031511 | 7.8975e-05
56 | 0.00017497 | 4.3852e-05
57 | 0.00030622 | 7.6745e-05
58 | 0.00015366 | 3.8512e-05
59 | 0.00021598 | 5.4129e-05
60 | 0.00022306 | 5.5904e-05
61 | 0.00022622 | 5.6696e-05
62 | 0.00013696 | 3.4326e-05
63 | 0.0005445 | 0.00013646
64 | 0.0010178 | 0.0002551
65 | 0.00041916 | 0.00010505
66 | 0.00034038 | 8.5307e-05
67 | 0.0035424 | 0.0008878
68 | 0.0012725 | 0.00031893
69 | 0.0061716 | 0.0015468
70 | 0.005845 | 0.0014649
71 | 0.011466 | 0.0028738

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1