## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1301-43_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1301-43_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1301-43_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1301-43_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1301-43_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1301-43_0_6_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_1301-43_0_6_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_1301-43_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1301-43_0_6_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_1301-43_0_6_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_1301-43_0_6_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_1301-43_0_6_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_1301-43_0_6_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_1301-43_0_6_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_1301-43_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1301-43_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1301-43_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1301-43_0_6_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_1301-43_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1301-43_0_6_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_1301-43_0_6_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_1301-43_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1301-43_0_6_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_1301-43_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1301-43_0_6_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_1301-43_0_6_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_1301-43_0_6_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_1301-43_0_6_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_1301-43_0_6_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_1301-43_0_6_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1301-43_0_6_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_1301-43_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1301-43_0_6_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_1301-43_0_6_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_1301-43_0_6_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_1301-43_0_6_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_1301-43_0_6_node_15 | 0.4 | n |  | TRUE
37 | bus_LV_1301-43_0_6_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_1301-43_0_6_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_1301-43_0_6_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_1301-43_0_6_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_1301-43_0_6_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1301-43_0_6_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_1301-43_0_6_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_1301-43_0_6_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_1301-43_0_6_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_1301-43_0_6_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_1301-43_0_6_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_1301-43_0_6_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_1301-43_0_6_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_1301-43_0_6_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_1301-43_0_6_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_1301-43_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_1301-43_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_1301-43_0_6_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_1301-43_0_6_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_1301-43_0_6_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_1301-43_0_6_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_1301-43_0_6_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_1301-43_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_1301-43_0_6_node_41 | 0.4 | n |  | TRUE
61 | bus_MV_17_0_node_87 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1301-43_0_6_load_0 | 0 | 0.0084688 | 0.0021225 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1301-43_0_6_load_5 | 4 | 0.011774 | 0.0029507 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1301-43_0_6_load_61 | 6 | 0.021642 | 0.0054241 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1301-43_0_6_load_64 | 9 | 0.003042 | 0.0007624 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1301-43_0_6_load_27 | 10 | 0.042742 | 0.010712 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1301-43_0_6_load_62 | 11 | 0.0030446 | 0.00076306 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1301-43_0_6_load_36 | 12 | 0.00225 | 0.00056391 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1301-43_0_6_load_63 | 13 | 0.0038936 | 0.00097583 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1301-43_0_6_load_7 | 14 | 0.0032928 | 0.00082526 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1301-43_0_6_load_8 | 15 | 0.0028787 | 0.00072147 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1301-43_0_6_load_10 | 16 | 0.0025974 | 0.00065098 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1301-43_0_6_load_58 | 17 | 0.0025242 | 0.00063261 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1301-43_0_6_load_45 | 19 | 0.0036343 | 0.00091084 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1301-43_0_6_load_43 | 20 | 0.0020455 | 0.00051265 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1301-43_0_6_load_44 | 22 | 0.0021115 | 0.00052918 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1301-43_0_6_load_59 | 24 | 0.0023263 | 0.00058303 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1301-43_0_6_load_48 | 25 | 0.0030439 | 0.00076287 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1301-43_0_6_load_57 | 26 | 0.0027075 | 0.00067856 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1301-43_0_6_load_53 | 28 | 0.005217 | 0.0013075 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1301-43_0_6_load_66 | 30 | 0.010255 | 0.0025702 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1301-43_0_6_load_18 | 33 | 0.011438 | 0.0028667 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1301-43_0_6_load_56 | 34 | 0.0046865 | 0.0011745 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1301-43_0_6_load_55 | 35 | 0.0072881 | 0.0018266 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1301-43_0_6_load_15 | 36 | 0.0098999 | 0.0024812 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1301-43_0_6_load_16 | 37 | 0.005894 | 0.0014772 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1301-43_0_6_load_19 | 39 | 0.0094222 | 0.0023614 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1301-43_0_6_load_52 | 42 | 0.0069317 | 0.0017372 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1301-43_0_6_load_20 | 43 | 0.026712 | 0.0066947 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1301-43_0_6_load_21 | 44 | 0.029527 | 0.0074002 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1301-43_0_6_load_22 | 45 | 0.03141 | 0.0078721 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1301-43_0_6_load_24 | 46 | 0.0059628 | 0.0014944 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1301-43_0_6_load_30 | 48 | 0.042641 | 0.010687 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1301-43_0_6_load_25 | 50 | 0.009346 | 0.0023423 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1301-43_0_6_load_39 | 52 | 0.055713 | 0.013963 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1301-43_0_6_load_40 | 53 | 0.050926 | 0.012763 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1301-43_0_6_load_33 | 54 | 0.0037538 | 0.00094078 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1301-43_0_6_load_34 | 55 | 0.0052096 | 0.0013056 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1301-43_0_6_load_37 | 57 | 0.0034715 | 0.00087003 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1301-43_0_6_load_50 | 58 | 0.013612 | 0.0034115 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1301-43_0_6_load_49 | 59 | 0.011415 | 0.0028608 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1301-43_0_6_load_41 | 60 | 0.027328 | 0.0068492 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1301-43_0_6_line_0 |  | 0 | 1 | 0.076204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1301-43_0_6_line_1 |  | 0 | 2 | 0.062701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1301-43_0_6_line_2 |  | 1 | 3 | 0.041837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1301-43_0_6_line_3 |  | 2 | 4 | 0.023843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1301-43_0_6_line_4 |  | 3 | 5 | 0.014654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1301-43_0_6_line_5 |  | 3 | 6 | 0.027835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1301-43_0_6_line_6 |  | 5 | 10 | 0.042608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1301-43_0_6_line_7 |  | 6 | 11 | 0.057941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1301-43_0_6_line_8 |  | 7 | 8 | 0.025674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1301-43_0_6_line_9 |  | 7 | 9 | 0.031506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1301-43_0_6_line_10 |  | 8 | 12 | 0.015327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1301-43_0_6_line_11 |  | 9 | 13 | 0.034159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1301-43_0_6_line_12 |  | 10 | 51 | 0.034784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1301-43_0_6_line_13 |  | 11 | 13 | 0.022793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1301-43_0_6_line_14 |  | 12 | 55 | 0.053173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1301-43_0_6_line_15 |  | 14 | 15 | 0.0013708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1301-43_0_6_line_16 |  | 15 | 16 | 0.0269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1301-43_0_6_line_17 |  | 16 | 17 | 0.0024917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1301-43_0_6_line_18 |  | 17 | 21 | 0.012258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1301-43_0_6_line_19 |  | 18 | 19 | 0.0073858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1301-43_0_6_line_20 |  | 18 | 20 | 0.036121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1301-43_0_6_line_21 |  | 19 | 26 | 0.021302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1301-43_0_6_line_22 |  | 20 | 22 | 0.0077483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1301-43_0_6_line_23 |  | 21 | 22 | 0.015956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1301-43_0_6_line_24 |  | 23 | 24 | 0.007103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1301-43_0_6_line_25 |  | 23 | 25 | 0.018735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1301-43_0_6_line_26 |  | 25 | 32 | 0.012437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1301-43_0_6_line_27 |  | 26 | 27 | 0.011781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1301-43_0_6_line_28 |  | 27 | 28 | 0.020626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1301-43_0_6_line_29 |  | 28 | 42 | 0.018944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1301-43_0_6_line_30 |  | 29 | 30 | 0.037317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1301-43_0_6_line_31 |  | 29 | 31 | 0.039807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1301-43_0_6_line_32 |  | 31 | 44 | 0.033285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1301-43_0_6_line_33 |  | 32 | 33 | 0.010204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1301-43_0_6_line_34 |  | 33 | 38 | 0.0072084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1301-43_0_6_line_35 |  | 34 | 35 | 0.033636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1301-43_0_6_line_36 |  | 35 | 57 | 0.00086768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1301-43_0_6_line_37 |  | 36 | 37 | 0.014647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1301-43_0_6_line_38 |  | 36 | 38 | 0.014687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1301-43_0_6_line_39 |  | 38 | 39 | 0.016957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1301-43_0_6_line_40 |  | 39 | 40 | 0.017507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1301-43_0_6_line_41 |  | 40 | 41 | 0.014674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1301-43_0_6_line_42 |  | 40 | 42 | 0.019463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1301-43_0_6_line_43 |  | 41 | 58 | 0.015402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1301-43_0_6_line_44 |  | 41 | 56 | 0.045494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_1301-43_0_6_line_45 |  | 43 | 44 | 0.0053677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1301-43_0_6_line_46 |  | 43 | 45 | 0.0042648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1301-43_0_6_line_47 |  | 45 | 46 | 0.021475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1301-43_0_6_line_48 |  | 46 | 47 | 0.011786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1301-43_0_6_line_49 |  | 47 | 48 | 0.012105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1301-43_0_6_line_50 |  | 47 | 49 | 0.072138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_1301-43_0_6_line_51 |  | 49 | 52 | 0.031654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_1301-43_0_6_line_52 |  | 50 | 51 | 0.093348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1301-43_0_6_line_53 |  | 52 | 53 | 0.025278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_1301-43_0_6_line_54 |  | 53 | 60 | 0.010235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_1301-43_0_6_line_55 |  | 54 | 55 | 0.0066889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_1301-43_0_6_line_56 |  | 54 | 56 | 0.027207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_1301-43_0_6_line_57 |  | 56 | 57 | 0.014599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1301-43_0_6_line_58 |  | 58 | 59 | 0.011624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_1301-43_0_6_line_59 |  | 59 | 60 | 0.018568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1301-43_0_6_trafo_39 | 0.63 MVA 20/0.4 kV | 61 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2699176.558 | 1220927.3844 | 2699181.6976 | 1221003.4144
1 | 2699185.9265 | 1221065.9724 | 2699181.6976 | 1221003.4144
2 | 2699154.4972 | 1220935.7342 | 2699156.5226 | 1220933.9444 | 2699155.6669 | 1220921.0876 | 2699173.4675 | 1220919.7719 | 2699173.9339 | 1220923.2044 | 2699176.558 | 1220927.3844
3 | 2699185.9265 | 1221065.9724 | 2699209.7076 | 1221064.2601
4 | 2699152.2238 | 1220950.1288 | 2699152.6287 | 1220942.6747 | 2699154.4972 | 1220935.7342
5 | 2699154.4972 | 1220935.7342 | 2699126.9228 | 1220939.5313
6 | 2699152.2238 | 1220950.1288 | 2699151.8511 | 1220957.0164 | 2699154.6559 | 1220989.9754 | 2699154.8882 | 1220992.5971
7 | 2699126.9228 | 1220939.5313 | 2699099.3197 | 1220943.3324 | 2699100.2398 | 1220955.9789 | 2699097.0565 | 1220959.4062 | 2699092.7982 | 1220962.6821 | 2699085.5046 | 1220963.5717
8 | 2699050.6507 | 1220901.8155 | 2699040.7631 | 1220910.0459 | 2699039.3522 | 1220912.3018 | 2699033.8976 | 1220920.895
9 | 2699050.6507 | 1220901.8155 | 2699056.5178 | 1220932.7705
10 | 2699033.8976 | 1220920.895 | 2699026.7752 | 1220931.6731 | 2699025.4941 | 1220933.7128
11 | 2699062.8788 | 1220966.3315 | 2699056.5178 | 1220932.7705
12 | 2699157.9579 | 1221027.2458 | 2699154.8882 | 1220992.5971
13 | 2699062.8788 | 1220966.3315 | 2699085.5046 | 1220963.5717
14 | 2698996.605 | 1220978.2397 | 2698997.2217 | 1220977.192 | 2699006.9016 | 1220959.9963 | 2699014.2257 | 1220950.3111 | 2699020.0133 | 1220941.312 | 2699023.5405 | 1220936.823 | 2699025.4941 | 1220933.7128
15 | 2698846.6088 | 1221035.5149 | 2698847.3946 | 1221036.6381
16 | 2698863.3655 | 1221057.0177 | 2698854.4718 | 1221042.8568 | 2698851.5402 | 1221042.5635 | 2698847.3946 | 1221036.6381
17 | 2698863.3655 | 1221057.0177 | 2698863.801 | 1221057.7111 | 2698864.887 | 1221058.9835
18 | 2698873.6598 | 1221067.1703 | 2698870.9537 | 1221066.0913 | 2698864.887 | 1221058.9835
19 | 2698905.8692 | 1221117.452 | 2698913.2549 | 1221117.4164
20 | 2698905.8692 | 1221117.452 | 2698892.1899 | 1221094.5308 | 2698888.0734 | 1221086.5456 | 2698887.8082 | 1221086.189
21 | 2698934.3552 | 1221119.359 | 2698924.5442 | 1221117.3621 | 2698913.2549 | 1221117.4164
22 | 2698887.8082 | 1221086.189 | 2698883.1834 | 1221079.9723
23 | 2698873.6598 | 1221067.1703 | 2698883.1834 | 1221079.9723
24 | 2698908.318 | 1221025.7941 | 2698903.4956 | 1221020.5659
25 | 2698908.318 | 1221025.7941 | 2698908.8505 | 1221044.5214
26 | 2698909.204 | 1221056.9532 | 2698908.8505 | 1221044.5214
27 | 2698945.8998 | 1221121.7088 | 2698934.3552 | 1221119.359
28 | 2698945.8998 | 1221121.7088 | 2698950.888 | 1221101.6947
29 | 2698955.4693 | 1221083.3131 | 2698950.888 | 1221101.6947
30 | 2699009.1191 | 1221113.6091 | 2699015.9524 | 1221150.2933
31 | 2699024.166 | 1221119.9749 | 2699027.6228 | 1221147.5298 | 2699023.3941 | 1221149.0383 | 2699015.9524 | 1221150.2933
32 | 2699024.166 | 1221119.9749 | 2699029.0282 | 1221117.3316 | 2699028.7636 | 1221113.1687 | 2699032.4041 | 1221112.3509 | 2699040.5663 | 1221109.7514 | 2699043.5811 | 1221106.4103 | 2699044.9575 | 1221103.0419 | 2699047.0715 | 1221100.7161
33 | 2698909.204 | 1221056.9532 | 2698917.9263 | 1221056.7201 | 2698919.4047 | 1221056.739
34 | 2698926.6125 | 1221056.8311 | 2698919.4047 | 1221056.739
35 | 2698965.7433 | 1221000.2099 | 2698961.4487 | 1220997.9346 | 2698944.0638 | 1220986.5821 | 2698936.4661 | 1220984.0358
36 | 2698966.51 | 1221000.6161 | 2698965.7433 | 1221000.2099
37 | 2698934.7366 | 1221028.6794 | 2698930.9138 | 1221042.8189
38 | 2698926.6125 | 1221056.8311 | 2698927.9372 | 1221053.8288 | 2698930.9138 | 1221042.8189
39 | 2698926.6125 | 1221056.8311 | 2698939.8721 | 1221058.8973 | 2698943.2847 | 1221059.8268
40 | 2698960.1762 | 1221064.4274 | 2698943.2847 | 1221059.8268
41 | 2698960.1762 | 1221064.4274 | 2698964.0386 | 1221050.2704
42 | 2698960.1762 | 1221064.4274 | 2698955.4693 | 1221083.3131
43 | 2698964.0386 | 1221050.2704 | 2698975.3491 | 1221049.9915 | 2698979.3832 | 1221049.3273
44 | 2698979.4104 | 1221007.4509 | 2698967.1086 | 1221040.8703 | 2698964.0386 | 1221050.2704
45 | 2699047.0715 | 1221100.7161 | 2699047.3072 | 1221100.4569 | 2699052.2667 | 1221099.6972
46 | 2699056.0958 | 1221101.2081 | 2699053.1343 | 1221099.5643 | 2699052.2667 | 1221099.6972
47 | 2699056.0958 | 1221101.2081 | 2699056.3972 | 1221101.3754 | 2699062.2216 | 1221107.4877 | 2699065.389 | 1221108.1965 | 2699072.117 | 1221107.43 | 2699074.7526 | 1221107.0001
48 | 2699086.3344 | 1221104.8202 | 2699077.3744 | 1221106.5724 | 2699074.7526 | 1221107.0001
49 | 2699086.3344 | 1221104.8202 | 2699088.2626 | 1221116.7705
50 | 2699075.4492 | 1221033.5106 | 2699077.28 | 1221046.6059 | 2699081.8902 | 1221077.3378 | 2699082.337 | 1221080.125 | 2699086.3344 | 1221104.8202
51 | 2699075.4492 | 1221033.5106 | 2699044.2154 | 1221038.6531
52 | 2699157.9579 | 1221027.2458 | 2699161.2854 | 1221032.4716 | 2699164.2862 | 1221080.0777 | 2699167.3859 | 1221119.4082
53 | 2699019.2734 | 1221042.7596 | 2699044.2154 | 1221038.6531
54 | 2699009.1741 | 1221044.4224 | 2699019.2734 | 1221042.7596
55 | 2698996.605 | 1220978.2397 | 2698993.2119 | 1220984.0041
56 | 2698979.4104 | 1221007.4509 | 2698993.2119 | 1220984.0041
57 | 2698979.4104 | 1221007.4509 | 2698966.51 | 1221000.6161
58 | 2698990.8532 | 1221047.4388 | 2698979.3832 | 1221049.3273
59 | 2699009.1741 | 1221044.4224 | 2698990.8532 | 1221047.4388

## bus_geodata
| x | y | coords
0 | 2699181.6976 | 1221003.4144
1 | 2699176.558 | 1220927.3844
2 | 2699185.9265 | 1221065.9724
3 | 2699154.4972 | 1220935.7342
4 | 2699209.7076 | 1221064.2601
5 | 2699152.2238 | 1220950.1288
6 | 2699126.9228 | 1220939.5313
7 | 2699050.6507 | 1220901.8155
8 | 2699033.8976 | 1220920.895
9 | 2699056.5178 | 1220932.7705
10 | 2699154.8882 | 1220992.5971
11 | 2699085.5046 | 1220963.5717
12 | 2699025.4941 | 1220933.7128
13 | 2699062.8788 | 1220966.3315
14 | 2698846.6088 | 1221035.5149
15 | 2698847.3946 | 1221036.6381
16 | 2698863.3655 | 1221057.0177
17 | 2698864.887 | 1221058.9835
18 | 2698905.8692 | 1221117.452
19 | 2698913.2549 | 1221117.4164
20 | 2698887.8082 | 1221086.189
21 | 2698873.6598 | 1221067.1703
22 | 2698883.1834 | 1221079.9723
23 | 2698908.318 | 1221025.7941
24 | 2698903.4956 | 1221020.5659
25 | 2698908.8505 | 1221044.5214
26 | 2698934.3552 | 1221119.359
27 | 2698945.8998 | 1221121.7088
28 | 2698950.888 | 1221101.6947
29 | 2699015.9524 | 1221150.2933
30 | 2699009.1191 | 1221113.6091
31 | 2699024.166 | 1221119.9749
32 | 2698909.204 | 1221056.9532
33 | 2698919.4047 | 1221056.739
34 | 2698936.4661 | 1220984.0358
35 | 2698965.7433 | 1221000.2099
36 | 2698930.9138 | 1221042.8189
37 | 2698934.7366 | 1221028.6794
38 | 2698926.6125 | 1221056.8311
39 | 2698943.2847 | 1221059.8268
40 | 2698960.1762 | 1221064.4274
41 | 2698964.0386 | 1221050.2704
42 | 2698955.4693 | 1221083.3131
43 | 2699052.2667 | 1221099.6972
44 | 2699047.0715 | 1221100.7161
45 | 2699056.0958 | 1221101.2081
46 | 2699074.7526 | 1221107.0001
47 | 2699086.3344 | 1221104.8202
48 | 2699088.2626 | 1221116.7705
49 | 2699075.4492 | 1221033.5106
50 | 2699167.3859 | 1221119.4082
51 | 2699157.9579 | 1221027.2458
52 | 2699044.2154 | 1221038.6531
53 | 2699019.2734 | 1221042.7596
54 | 2698993.2119 | 1220984.0041
55 | 2698996.605 | 1220978.2397
56 | 2698979.4104 | 1221007.4509
57 | 2698966.51 | 1221000.6161
58 | 2698979.3832 | 1221049.3273
59 | 2698990.8532 | 1221047.4388
60 | 2699009.1741 | 1221044.4224
61 | 2699075.4492 | 1221033.5106

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97321 | -0.51654 | 0.0084688 | 0.0021225
1 | 0.97465 | -0.48819 | 0 | 0
2 | 0.97252 | -0.53014 | 0 | 0
3 | 0.97544 | -0.47266 | 0 | 0
4 | 0.97226 | -0.53531 | 0.011774 | 0.0029507
5 | 0.97472 | -0.48665 | 0 | 0
6 | 0.97731 | -0.43585 | 0.021642 | 0.0054241
7 | 0.98758 | -0.23686 | 0 | 0
8 | 0.98841 | -0.22097 | 0 | 0
9 | 0.98605 | -0.26617 | 0.003042 | 0.0007624
10 | 0.97265 | -0.52746 | 0.042742 | 0.010712
11 | 0.98239 | -0.33698 | 0.0030446 | 0.00076306
12 | 0.9889 | -0.2115 | 0.00225 | 0.00056391
13 | 0.98445 | -0.29712 | 0.0038936 | 0.00097583
14 | 0.98941 | -0.20312 | 0.0032928 | 0.00082526
15 | 0.98941 | -0.20304 | 0.0028787 | 0.00072147
16 | 0.98956 | -0.20009 | 0.0025974 | 0.00065098
17 | 0.98958 | -0.1997 | 0.0025242 | 0.00063261
18 | 0.99048 | -0.18226 | 0 | 0
19 | 0.99058 | -0.18023 | 0.0036343 | 0.00091084
20 | 0.98997 | -0.19218 | 0.0020455 | 0.00051265
21 | 0.98971 | -0.19724 | 0 | 0
22 | 0.98987 | -0.19403 | 0.0021115 | 0.00052918
23 | 0.99124 | -0.16762 | 0 | 0
24 | 0.99122 | -0.16792 | 0.0023263 | 0.00058303
25 | 0.99128 | -0.16685 | 0.0030439 | 0.00076287
26 | 0.99096 | -0.17301 | 0.0027075 | 0.00067856
27 | 0.99119 | -0.16846 | 0 | 0
28 | 0.9916 | -0.16048 | 0.005217 | 0.0013075
29 | 0.98956 | -0.20087 | 0 | 0
30 | 0.98921 | -0.20768 | 0.010255 | 0.0025702
31 | 0.98994 | -0.1936 | 0 | 0
32 | 0.99134 | -0.16566 | 0 | 0
33 | 0.99139 | -0.16469 | 0.011438 | 0.0028667
34 | 0.9915 | -0.16204 | 0.0046865 | 0.0011745
35 | 0.99164 | -0.15924 | 0.0072881 | 0.0018266
36 | 0.99129 | -0.16666 | 0.0098999 | 0.0024812
37 | 0.99121 | -0.16819 | 0.005894 | 0.0014772
38 | 0.9915 | -0.16254 | 0 | 0
39 | 0.992 | -0.15275 | 0.0094222 | 0.0023614
40 | 0.99268 | -0.13972 | 0 | 0
41 | 0.9937 | -0.12002 | 0 | 0
42 | 0.99207 | -0.15142 | 0.0069317 | 0.0017372
43 | 0.99044 | -0.18374 | 0.026712 | 0.0066947
44 | 0.99025 | -0.18753 | 0.029527 | 0.0074002
45 | 0.9907 | -0.1787 | 0.03141 | 0.0078721
46 | 0.99263 | -0.14144 | 0.0059628 | 0.0014944
47 | 0.99375 | -0.1198 | 0 | 0
48 | 0.99328 | -0.12892 | 0.042641 | 0.010687
49 | 0.99859 | -0.026984 | 0 | 0
50 | 0.97154 | -0.54955 | 0.009346 | 0.0023423
51 | 0.97235 | -0.53345 | 0 | 0
52 | 1 | 0 | -0.46282 | -0.11742
53 | 0.9976 | -0.045623 | 0.050926 | 0.012763
54 | 0.99089 | -0.17359 | 0.0037538 | 0.00094078
55 | 0.99065 | -0.178 | 0.0052096 | 0.0013056
56 | 0.99186 | -0.15506 | 0 | 0
57 | 0.99165 | -0.15906 | 0.0034715 | 0.00087003
58 | 0.99468 | -0.10132 | 0.013612 | 0.0034115
59 | 0.99546 | -0.086295 | 0.011415 | 0.0028608
60 | 0.99679 | -0.061111 | 0.027328 | 0.0068492
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.020253 | -0.0050789 | 0.02028 | 0.0050955 | 2.7404e-05 | 1.659e-05 | 0.030967 | 0.030967 | 0.030967 | 0.97321 | -0.51654 | 0.97465 | -0.48819 | 8.5075
1 | 0.011784 | 0.0029564 | -0.011776 | -0.0029523 | 7.6342e-06 | 4.1073e-06 | 0.018019 | 0.018019 | 0.018019 | 0.97321 | -0.51654 | 0.97252 | -0.53014 | 4.9503
2 | -0.02028 | -0.0050955 | 0.020295 | 0.0051046 | 1.5045e-05 | 9.1069e-06 | 0.030967 | 0.030967 | 0.030967 | 0.97465 | -0.48819 | 0.97544 | -0.47266 | 8.5074
3 | 0.011776 | 0.0029523 | -0.011774 | -0.0029507 | 2.903e-06 | 1.5622e-06 | 0.018019 | 0.018019 | 0.018019 | 0.97252 | -0.53014 | 0.97226 | -0.53531 | 4.9503
4 | 0.052234 | 0.013146 | -0.052199 | -0.013124 | 3.4908e-05 | 2.2159e-05 | 0.079702 | 0.079702 | 0.079702 | 0.97544 | -0.47266 | 0.97472 | -0.48665 | 21.8963
5 | -0.07253 | -0.01825 | 0.072657 | 0.018332 | 0.00012784 | 8.147e-05 | 0.11067 | 0.11067 | 0.11067 | 0.97544 | -0.47266 | 0.97731 | -0.43585 | 30.4036
6 | 0.052199 | 0.013124 | -0.052098 | -0.013059 | 0.0001015 | 6.443e-05 | 0.079702 | 0.079703 | 0.079703 | 0.97472 | -0.48665 | 0.97265 | -0.52746 | 21.8963
7 | -0.0943 | -0.023756 | 0.094748 | 0.024042 | 0.00044818 | 0.00028611 | 0.14362 | 0.14362 | 0.14362 | 0.97731 | -0.43585 | 0.98239 | -0.33698 | 39.4563
8 | -0.10522 | -0.026854 | 0.1053 | 0.026905 | 8.0834e-05 | 5.0748e-05 | 0.15871 | 0.15871 | 0.15871 | 0.98758 | -0.23686 | 0.98841 | -0.22097 | 14.5336
9 | 0.10522 | 0.026854 | -0.10507 | -0.02676 | 0.0001488 | 9.4424e-05 | 0.15871 | 0.15871 | 0.15871 | 0.98758 | -0.23686 | 0.98605 | -0.26617 | 21.8005
10 | -0.1053 | -0.026905 | 0.10535 | 0.026935 | 4.8258e-05 | 3.0296e-05 | 0.15871 | 0.15871 | 0.15871 | 0.98841 | -0.22097 | 0.9889 | -0.2115 | 14.5336
11 | 0.10203 | 0.025997 | -0.10187 | -0.025901 | 0.00015213 | 9.649e-05 | 0.15412 | 0.15412 | 0.15412 | 0.98605 | -0.26617 | 0.98445 | -0.29712 | 21.17
12 | 0.0093558 | 0.002347 | -0.0093532 | -0.0023458 | 2.6726e-06 | 1.2789e-06 | 0.014314 | 0.014314 | 0.014314 | 0.97265 | -0.52746 | 0.97235 | -0.53345 | 3.9324
13 | -0.097793 | -0.024805 | 0.09798 | 0.024925 | 0.00018781 | 0.00011991 | 0.14823 | 0.14823 | 0.14823 | 0.98239 | -0.33698 | 0.98445 | -0.29712 | 40.7231
14 | -0.1076 | -0.027499 | 0.10777 | 0.027609 | 0.00017463 | 0.00010971 | 0.16209 | 0.16209 | 0.16209 | 0.9889 | -0.2115 | 0.99065 | -0.178 | 14.8436
15 | -0.0032928 | -0.00082526 | 0.0032928 | 0.00082525 | 1.2607e-08 | -9.5366e-09 | 0.0049522 | 0.0049522 | 0.0049522 | 0.98941 | -0.20312 | 0.98941 | -0.20304 | 1.3605
16 | -0.0061715 | -0.0015467 | 0.0061724 | 0.0015469 | 8.6901e-07 | 2.1064e-07 | 0.0092816 | 0.0092815 | 0.0092816 | 0.98941 | -0.20304 | 0.98956 | -0.20009 | 2.5499
17 | -0.0087698 | -0.0021979 | 0.00877 | 0.002198 | 1.6249e-07 | 7.1984e-08 | 0.013187 | 0.013187 | 0.013187 | 0.98956 | -0.20009 | 0.98958 | -0.1997 | 3.6229
18 | -0.011294 | -0.0028306 | 0.011295 | 0.0028313 | 1.3258e-06 | 6.91e-07 | 0.016983 | 0.016983 | 0.016983 | 0.98958 | -0.1997 | 0.98971 | -0.19724 | 4.6656
19 | -0.015463 | -0.0038789 | 0.015464 | 0.0038798 | 1.4947e-06 | 8.6156e-07 | 0.023231 | 0.023231 | 0.023231 | 0.99048 | -0.18226 | 0.99058 | -0.18023 | 6.3822
20 | 0.015463 | 0.0038789 | -0.015455 | -0.0038747 | 7.3103e-06 | 4.2139e-06 | 0.023231 | 0.023231 | 0.023231 | 0.99048 | -0.18226 | 0.98997 | -0.19218 | 6.3822
21 | -0.019098 | -0.0047906 | 0.019105 | 0.0047945 | 6.5753e-06 | 3.9339e-06 | 0.02869 | 0.02869 | 0.02869 | 0.99058 | -0.18023 | 0.99096 | -0.17301 | 7.882
22 | 0.01341 | 0.003362 | -0.013409 | -0.0033614 | 1.1805e-06 | 6.5593e-07 | 0.020157 | 0.020157 | 0.020157 | 0.98997 | -0.19218 | 0.98987 | -0.19403 | 5.5376
23 | -0.011295 | -0.0028313 | 0.011297 | 0.0028322 | 1.7257e-06 | 8.9937e-07 | 0.016983 | 0.016983 | 0.016983 | 0.98971 | -0.19724 | 0.98987 | -0.19403 | 4.6656
24 | 0.0023263 | 0.00058296 | -0.0023263 | -0.00058303 | 3.2484e-08 | -7.0769e-08 | 0.0034922 | 0.0034922 | 0.0034922 | 0.99124 | -0.16762 | 0.99122 | -0.16792 | 0.95941
25 | -0.0023263 | -0.00058296 | 0.0023264 | 0.00058277 | 8.5678e-08 | -1.8668e-07 | 0.0034922 | 0.0034921 | 0.0034922 | 0.99124 | -0.16762 | 0.99128 | -0.16685 | 0.9594
26 | -0.0053703 | -0.0013456 | 0.0053706 | 0.0013457 | 3.0308e-07 | 3.3631e-08 | 0.0080613 | 0.0080613 | 0.0080613 | 0.99128 | -0.16685 | 0.99134 | -0.16566 | 2.2147
27 | -0.021813 | -0.0054731 | 0.021817 | 0.005476 | 4.7402e-06 | 2.8819e-06 | 0.032756 | 0.032756 | 0.032756 | 0.99096 | -0.17301 | 0.99119 | -0.16846 | 8.9989
28 | -0.021817 | -0.005476 | 0.021826 | 0.005481 | 8.2991e-06 | 5.0454e-06 | 0.032756 | 0.032756 | 0.032756 | 0.99119 | -0.16846 | 0.9916 | -0.16048 | 8.9988
29 | -0.027043 | -0.0067885 | 0.027054 | 0.0067958 | 1.1701e-05 | 7.244e-06 | 0.040584 | 0.040584 | 0.040584 | 0.9916 | -0.16048 | 0.99207 | -0.15142 | 11.1495
30 | 0.010258 | 0.0025718 | -0.010255 | -0.0025702 | 3.33e-06 | 1.652e-06 | 0.015426 | 0.015426 | 0.015426 | 0.98956 | -0.20087 | 0.98921 | -0.20768 | 4.2379
31 | -0.010258 | -0.0025718 | 0.010262 | 0.0025736 | 3.5522e-06 | 1.7618e-06 | 0.015426 | 0.015426 | 0.015426 | 0.98956 | -0.20087 | 0.98994 | -0.1936 | 4.2379
32 | -0.010262 | -0.0025736 | 0.010265 | 0.002575 | 2.9701e-06 | 1.4728e-06 | 0.015426 | 0.015426 | 0.015426 | 0.98994 | -0.1936 | 0.99025 | -0.18753 | 4.2378
33 | -0.0053706 | -0.0013457 | 0.0053709 | 0.0013457 | 2.4866e-07 | 2.7576e-08 | 0.0080613 | 0.0080612 | 0.0080613 | 0.99134 | -0.16566 | 0.99139 | -0.16469 | 2.2146
34 | -0.016809 | -0.0042124 | 0.016811 | 0.0042134 | 1.7206e-06 | 1.0082e-06 | 0.025229 | 0.025229 | 0.025229 | 0.99139 | -0.16469 | 0.9915 | -0.16254 | 6.9311
35 | -0.0046865 | -0.0011745 | 0.0046871 | 0.0011745 | 6.2397e-07 | -3.4538e-08 | 0.0070334 | 0.0070332 | 0.0070334 | 0.9915 | -0.16204 | 0.99164 | -0.15924 | 1.9323
36 | -0.011975 | -0.0030011 | 0.011975 | 0.0030011 | 1.0507e-07 | 5.6048e-08 | 0.017969 | 0.017969 | 0.017969 | 0.99164 | -0.15924 | 0.99165 | -0.15906 | 4.9367
37 | 0.0058944 | 0.0014773 | -0.005894 | -0.0014772 | 4.3002e-07 | 8.6401e-08 | 0.0088481 | 0.0088482 | 0.0088482 | 0.99129 | -0.16666 | 0.99121 | -0.16819 | 2.4308
38 | -0.015794 | -0.0039584 | 0.015797 | 0.0039602 | 3.0958e-06 | 1.792e-06 | 0.023709 | 0.023709 | 0.023709 | 0.99129 | -0.16666 | 0.9915 | -0.16254 | 6.5134
39 | -0.032608 | -0.0081736 | 0.032623 | 0.0081831 | 1.5229e-05 | 9.5275e-06 | 0.048938 | 0.048938 | 0.048938 | 0.9915 | -0.16254 | 0.992 | -0.15275 | 13.4445
40 | -0.042046 | -0.010545 | 0.042072 | 0.010561 | 2.6116e-05 | 1.6488e-05 | 0.063071 | 0.063071 | 0.063071 | 0.992 | -0.15275 | 0.99268 | -0.13972 | 17.3273
41 | -0.076077 | -0.019106 | 0.076148 | 0.019152 | 7.1579e-05 | 4.5621e-05 | 0.11405 | 0.11405 | 0.11405 | 0.99268 | -0.13972 | 0.9937 | -0.12002 | 31.3331
42 | 0.034005 | 0.0085449 | -0.033986 | -0.008533 | 1.897e-05 | 1.1889e-05 | 0.050981 | 0.050981 | 0.050981 | 0.99268 | -0.13972 | 0.99207 | -0.15142 | 14.0058
43 | -0.20869 | -0.053103 | 0.20887 | 0.053223 | 0.00018836 | 0.00011995 | 0.31278 | 0.31278 | 0.31278 | 0.9937 | -0.12002 | 0.99468 | -0.10132 | 28.6431
44 | 0.13254 | 0.033951 | -0.13231 | -0.033809 | 0.00022459 | 0.00014197 | 0.19873 | 0.19873 | 0.19873 | 0.9937 | -0.12002 | 0.99186 | -0.15506 | 18.1988
45 | 0.039799 | 0.0099798 | -0.039792 | -0.0099752 | 7.1971e-06 | 4.537e-06 | 0.059795 | 0.059795 | 0.059795 | 0.99044 | -0.18374 | 0.99025 | -0.18753 | 16.4272
46 | -0.066511 | -0.016674 | 0.066527 | 0.016685 | 1.597e-05 | 1.0166e-05 | 0.099927 | 0.099927 | 0.099927 | 0.99044 | -0.18374 | 0.9907 | -0.1787 | 27.4524
47 | -0.097938 | -0.024557 | 0.098112 | 0.024668 | 0.00017427 | 0.00011126 | 0.1471 | 0.1471 | 0.1471 | 0.9907 | -0.1787 | 0.99263 | -0.14144 | 40.4132
48 | -0.10407 | -0.026162 | 0.10418 | 0.026231 | 0.00010762 | 6.8724e-05 | 0.15604 | 0.15604 | 0.15604 | 0.99263 | -0.14144 | 0.99375 | -0.1198 | 42.8688
49 | 0.042659 | 0.010699 | -0.042641 | -0.010687 | 1.8523e-05 | 1.1698e-05 | 0.06388 | 0.06388 | 0.06388 | 0.99375 | -0.1198 | 0.99328 | -0.12892 | 17.5494
50 | -0.14684 | -0.03693 | 0.1475 | 0.037346 | 0.00065419 | 0.0004168 | 0.21992 | 0.21992 | 0.21992 | 0.99375 | -0.1198 | 0.99859 | -0.026984 | 30.2091
51 | -0.1475 | -0.037346 | 0.14769 | 0.037468 | 0.00019137 | 0.00012123 | 0.21992 | 0.21992 | 0.21992 | 0.99859 | -0.026984 | 1 | 0 | 20.1393
52 | -0.009346 | -0.0023423 | 0.0093532 | 0.0023458 | 7.1725e-06 | 3.4335e-06 | 0.014314 | 0.014314 | 0.014314 | 0.97154 | -0.54955 | 0.97235 | -0.53345 | 3.9325
53 | 0.31349 | 0.079956 | -0.3128 | -0.079516 | 0.00068899 | 0.00043996 | 0.46696 | 0.46696 | 0.46696 | 1 | 0 | 0.9976 | -0.045623 | 42.7622
54 | 0.26187 | 0.066753 | -0.26168 | -0.066628 | 0.0001956 | 0.00012478 | 0.391 | 0.391 | 0.391 | 0.9976 | -0.045623 | 0.99679 | -0.061111 | 35.8062
55 | 0.113 | 0.02893 | -0.11298 | -0.028914 | 2.414e-05 | 1.5191e-05 | 0.16992 | 0.16992 | 0.16992 | 0.99089 | -0.17359 | 0.99065 | -0.178 | 15.5601
56 | -0.11676 | -0.02987 | 0.11686 | 0.029936 | 0.00010481 | 6.6028e-05 | 0.17555 | 0.17555 | 0.17555 | 0.99089 | -0.17359 | 0.99186 | -0.15506 | 16.0763
57 | 0.01545 | 0.0038729 | -0.015447 | -0.0038712 | 2.9412e-06 | 1.694e-06 | 0.023178 | 0.023179 | 0.023179 | 0.99186 | -0.15506 | 0.99165 | -0.15906 | 6.3677
58 | -0.22249 | -0.056634 | 0.22265 | 0.056737 | 0.00016127 | 0.00010276 | 0.33315 | 0.33314 | 0.33315 | 0.99468 | -0.10132 | 0.99546 | -0.086295 | 30.5078
59 | -0.23406 | -0.059598 | 0.23435 | 0.059779 | 0.00028465 | 0.00018145 | 0.35021 | 0.35021 | 0.35021 | 0.99546 | -0.086295 | 0.99679 | -0.061111 | 32.0703

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51854 | 0.13139

## res_load
| p_mw | q_mvar
0 | 0.0084688 | 0.0021225
1 | 0.011774 | 0.0029507
2 | 0.021642 | 0.0054241
3 | 0.003042 | 0.0007624
4 | 0.042742 | 0.010712
5 | 0.0030446 | 0.00076306
6 | 0.00225 | 0.00056391
7 | 0.0038936 | 0.00097583
8 | 0.0032928 | 0.00082526
9 | 0.0028787 | 0.00072147
10 | 0.0025974 | 0.00065098
11 | 0.0025242 | 0.00063261
12 | 0.0036343 | 0.00091084
13 | 0.0020455 | 0.00051265
14 | 0.0021115 | 0.00052918
15 | 0.0023263 | 0.00058303
16 | 0.0030439 | 0.00076287
17 | 0.0027075 | 0.00067856
18 | 0.005217 | 0.0013075
19 | 0.010255 | 0.0025702
20 | 0.011438 | 0.0028667
21 | 0.0046865 | 0.0011745
22 | 0.0072881 | 0.0018266
23 | 0.0098999 | 0.0024812
24 | 0.005894 | 0.0014772
25 | 0.0094222 | 0.0023614
26 | 0.0069317 | 0.0017372
27 | 0.026712 | 0.0066947
28 | 0.029527 | 0.0074002
29 | 0.03141 | 0.0078721
30 | 0.0059628 | 0.0014944
31 | 0.042641 | 0.010687
32 | 0.009346 | 0.0023423
33 | 0.055713 | 0.013963
34 | 0.050926 | 0.012763
35 | 0.0037538 | 0.00094078
36 | 0.0052096 | 0.0013056
37 | 0.0034715 | 0.00087003
38 | 0.013612 | 0.0034115
39 | 0.011415 | 0.0028608
40 | 0.027328 | 0.0068492

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1