## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1301-44_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1301-44_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1301-44_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1301-44_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1301-44_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1301-44_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1301-44_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1301-44_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1301-44_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1301-44_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1301-44_0_4_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_1301-44_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1301-44_0_4_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_1301-44_0_4_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_1301-44_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1301-44_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1301-44_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1301-44_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1301-44_0_4_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_1301-44_0_4_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_1301-44_0_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_1301-44_0_4_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_1301-44_0_4_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_1301-44_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1301-44_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1301-44_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1301-44_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1301-44_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1301-44_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1301-44_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1301-44_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1301-44_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1301-44_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1301-44_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1301-44_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1301-44_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1301-44_0_4_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_1301-44_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1301-44_0_4_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_1301-44_0_4_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_1301-44_0_4_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_1301-44_0_4_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_1301-44_0_4_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_1301-44_0_4_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_1301-44_0_4_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_1301-44_0_4_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_1301-44_0_4_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_1301-44_0_4_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_1301-44_0_4_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_1301-44_0_4_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_1301-44_0_4_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_1301-44_0_4_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_1301-44_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_1301-44_0_4_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_1301-44_0_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_1301-44_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_1301-44_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_1301-44_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_1301-44_0_4_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_1301-44_0_4_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_1301-44_0_4_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_1301-44_0_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_1301-44_0_4_node_28 | 0.4 | n |  | TRUE
63 | bus_LV_1301-44_0_4_node_29 | 0.4 | n |  | TRUE
64 | bus_LV_1301-44_0_4_node_30 | 0.4 | n |  | TRUE
65 | bus_LV_1301-44_0_4_node_31 | 0.4 | n |  | TRUE
66 | bus_LV_1301-44_0_4_node_34 | 0.4 | n |  | TRUE
67 | bus_LV_1301-44_0_4_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_1301-44_0_4_node_37 | 0.4 | n |  | TRUE
69 | bus_LV_1301-44_0_4_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_1301-44_0_4_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_1301-44_0_4_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_1301-44_0_4_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_1301-44_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_1301-44_0_4_node_77 | 0.4 | n |  | TRUE
75 | bus_MV_17_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1301-44_0_4_load_0 | 0 | 0.01541 | 0.0038621 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1301-44_0_4_load_1 | 1 | 0.0046327 | 0.0011611 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1301-44_0_4_load_4 | 4 | 0.020824 | 0.005219 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1301-44_0_4_load_5 | 5 | 0.0075594 | 0.0018946 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1301-44_0_4_load_6 | 6 | 0.0078134 | 0.0019582 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1301-44_0_4_load_7 | 7 | 0.013672 | 0.0034264 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1301-44_0_4_load_8 | 8 | 0.0053604 | 0.0013434 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1301-44_0_4_load_9 | 9 | 0.0053213 | 0.0013336 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1301-44_0_4_load_33 | 10 | 0.0061624 | 0.0015445 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1301-44_0_4_load_49 | 12 | 0.0032341 | 0.00081054 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1301-44_0_4_load_35 | 13 | 0.0052916 | 0.0013262 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1301-44_0_4_load_12 | 15 | 0.0080122 | 0.002008 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1301-44_0_4_load_10 | 16 | 0.022533 | 0.0056474 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1301-44_0_4_load_38 | 19 | 0.0060667 | 0.0015205 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1301-44_0_4_load_42 | 20 | 0.00076035 | 0.00019056 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1301-44_0_4_load_32 | 21 | 0.0036911 | 0.00092508 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1301-44_0_4_load_39 | 22 | 0.0093682 | 0.0023479 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1301-44_0_4_load_15 | 23 | 0.0034133 | 0.00085544 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1301-44_0_4_load_16 | 24 | 0.0041167 | 0.0010317 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1301-44_0_4_load_18 | 25 | 0.0031987 | 0.00080166 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1301-44_0_4_load_19 | 27 | 0.0022224 | 0.00055699 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1301-44_0_4_load_20 | 28 | 0.0037168 | 0.00093151 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1301-44_0_4_load_22 | 29 | 0.0060076 | 0.0015057 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1301-44_0_4_load_23 | 30 | 0.0045401 | 0.0011379 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1301-44_0_4_load_25 | 32 | 0.0046183 | 0.0011575 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1301-44_0_4_load_21 | 33 | 0.0026143 | 0.00065521 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1301-44_0_4_load_26 | 34 | 0.0055308 | 0.0013861 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1301-44_0_4_load_27 | 35 | 0.0042539 | 0.0010661 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1301-44_0_4_load_71 | 36 | 0.0018978 | 0.00047563 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1301-44_0_4_load_41 | 37 | 0.0019873 | 0.00049808 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1301-44_0_4_load_76 | 38 | 0.0032071 | 0.00080378 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1301-44_0_4_load_67 | 39 | 0.002132 | 0.00053432 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1301-44_0_4_load_68 | 40 | 0.0050376 | 0.0012626 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1301-44_0_4_load_64 | 41 | 0.0033441 | 0.0008381 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1301-44_0_4_load_51 | 42 | 0.00669 | 0.0016767 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1301-44_0_4_load_52 | 43 | 0.0046312 | 0.0011607 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1301-44_0_4_load_53 | 44 | 0.0041614 | 0.0010429 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1301-44_0_4_load_69 | 45 | 0.006867 | 0.001721 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1301-44_0_4_load_74 | 46 | 0.0046091 | 0.0011551 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1301-44_0_4_load_72 | 47 | 0.003035 | 0.00076064 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1301-44_0_4_load_55 | 48 | 0.003902 | 0.00097792 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1301-44_0_4_load_57 | 49 | 0.0033128 | 0.00083027 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1301-44_0_4_load_70 | 50 | 0.0032753 | 0.00082087 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1301-44_0_4_load_63 | 51 | 0.0093266 | 0.0023375 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1301-44_0_4_load_62 | 53 | 0.0039808 | 0.00099769 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1301-44_0_4_load_59 | 54 | 0.0055042 | 0.0013795 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1301-44_0_4_load_54 | 55 | 0.0043502 | 0.0010903 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1301-44_0_4_load_58 | 56 | 0.0029292 | 0.00073413 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1301-44_0_4_load_60 | 57 | 0.0061864 | 0.0015505 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1301-44_0_4_load_61 | 58 | 0.0029297 | 0.00073424 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1301-44_0_4_load_66 | 61 | 0.0023466 | 0.00058812 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1301-44_0_4_load_28 | 62 | 0.0002914 | 7.3033e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1301-44_0_4_load_29 | 63 | 0.002813 | 0.000705 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1301-44_0_4_load_30 | 64 | 0.0017366 | 0.00043524 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1301-44_0_4_load_31 | 65 | 0.00091287 | 0.00022879 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1301-44_0_4_load_34 | 66 | 0.0073256 | 0.001836 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1301-44_0_4_load_36 | 67 | 0.0015775 | 0.00039535 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1301-44_0_4_load_37 | 68 | 0.0016782 | 0.0004206 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1301-44_0_4_load_43 | 69 | 0.00038231 | 9.5817e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1301-44_0_4_load_47 | 70 | 0.0052679 | 0.0013203 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1301-44_0_4_load_44 | 71 | 0.0010931 | 0.00027395 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1301-44_0_4_load_48 | 72 | 0.0029288 | 0.00073403 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1301-44_0_4_load_65 | 73 | 0.0036011 | 0.00090253 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1301-44_0_4_load_77 | 74 | 0.0012729 | 0.00031901 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1301-44_0_4_line_0 |  | 0 | 1 | 0.00013232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1301-44_0_4_line_1 |  | 0 | 2 | 0.021849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1301-44_0_4_line_2 |  | 1 | 3 | 0.017886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1301-44_0_4_line_3 |  | 2 | 4 | 0.013631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1301-44_0_4_line_4 |  | 2 | 5 | 0.0325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1301-44_0_4_line_5 |  | 3 | 6 | 0.020091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1301-44_0_4_line_6 |  | 3 | 7 | 0.010838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1301-44_0_4_line_7 |  | 4 | 8 | 0.0057469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1301-44_0_4_line_8 |  | 5 | 9 | 0.0022546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1301-44_0_4_line_9 |  | 6 | 10 | 0.020125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1301-44_0_4_line_10 |  | 8 | 11 | 0.02147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1301-44_0_4_line_11 |  | 9 | 12 | 0.021833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1301-44_0_4_line_12 |  | 10 | 13 | 0.029044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1301-44_0_4_line_13 |  | 11 | 14 | 0.039108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1301-44_0_4_line_14 |  | 11 | 15 | 0.0035409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1301-44_0_4_line_15 |  | 13 | 66 | 0.0032621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1301-44_0_4_line_16 |  | 14 | 18 | 0.034781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1301-44_0_4_line_17 |  | 14 | 19 | 0.026713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1301-44_0_4_line_18 |  | 15 | 17 | 0.019091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1301-44_0_4_line_19 |  | 16 | 17 | 0.0061965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1301-44_0_4_line_20 |  | 18 | 20 | 0.016775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1301-44_0_4_line_21 |  | 18 | 21 | 0.0023813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1301-44_0_4_line_22 |  | 19 | 22 | 0.025184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1301-44_0_4_line_23 |  | 20 | 69 | 0.018624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1301-44_0_4_line_24 |  | 21 | 65 | 0.012954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1301-44_0_4_line_25 |  | 22 | 31 | 0.072335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1301-44_0_4_line_26 |  | 23 | 24 | 0.01876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1301-44_0_4_line_27 |  | 24 | 25 | 0.014638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1301-44_0_4_line_28 |  | 25 | 30 | 0.0062097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1301-44_0_4_line_29 |  | 26 | 27 | 0.01243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1301-44_0_4_line_30 |  | 26 | 28 | 0.0083197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1301-44_0_4_line_31 |  | 26 | 29 | 0.01504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1301-44_0_4_line_32 |  | 27 | 31 | 0.017014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1301-44_0_4_line_33 |  | 28 | 32 | 0.020311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1301-44_0_4_line_34 |  | 29 | 35 | 0.00080567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1301-44_0_4_line_35 |  | 30 | 36 | 0.023738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1301-44_0_4_line_36 |  | 31 | 37 | 0.046981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1301-44_0_4_line_37 |  | 32 | 38 | 0.0060643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1301-44_0_4_line_38 |  | 33 | 34 | 0.039378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1301-44_0_4_line_39 |  | 34 | 39 | 0.00859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1301-44_0_4_line_40 |  | 34 | 40 | 0.059575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1301-44_0_4_line_41 |  | 34 | 41 | 0.015263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1301-44_0_4_line_42 |  | 35 | 45 | 0.026276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_1301-44_0_4_line_43 |  | 36 | 40 | 0.011445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1301-44_0_4_line_44 |  | 37 | 46 | 0.042107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1301-44_0_4_line_45 |  | 38 | 47 | 0.0090672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1301-44_0_4_line_46 |  | 39 | 50 | 0.0020904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1301-44_0_4_line_47 |  | 41 | 51 | 0.0092735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1301-44_0_4_line_48 |  | 42 | 43 | 0.010934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1301-44_0_4_line_49 |  | 42 | 44 | 0.012191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1301-44_0_4_line_50 |  | 43 | 55 | 0.017279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1301-44_0_4_line_51 |  | 44 | 48 | 0.017991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1301-44_0_4_line_52 |  | 45 | 61 | 0.029434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1301-44_0_4_line_53 |  | 46 | 49 | 0.012279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1301-44_0_4_line_54 |  | 46 | 70 | 0.014644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1301-44_0_4_line_55 |  | 47 | 50 | 0.036413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1301-44_0_4_line_56 |  | 48 | 49 | 0.0067547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1301-44_0_4_line_57 |  | 51 | 73 | 0.021089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1301-44_0_4_line_58 |  | 52 | 53 | 0.03121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1301-44_0_4_line_59 |  | 52 | 54 | 0.016342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1301-44_0_4_line_60 |  | 52 | 55 | 0.0079964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1301-44_0_4_line_61 |  | 53 | 59 | 0.013123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1301-44_0_4_line_62 |  | 54 | 56 | 0.016606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1301-44_0_4_line_63 |  | 56 | 57 | 0.0085455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1301-44_0_4_line_64 |  | 57 | 58 | 0.0046208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1301-44_0_4_line_65 |  | 59 | 60 | 0.016271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1301-44_0_4_line_66 |  | 60 | 72 | 0.010626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1301-44_0_4_line_67 |  | 62 | 63 | 0.076479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1301-44_0_4_line_68 |  | 62 | 64 | 0.0079755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1301-44_0_4_line_69 |  | 63 | 65 | 0.008376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1301-44_0_4_line_70 |  | 66 | 67 | 0.030466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1301-44_0_4_line_71 |  | 67 | 68 | 2.7972e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1301-44_0_4_line_72 |  | 69 | 71 | 0.019277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1301-44_0_4_line_73 |  | 73 | 74 | 0.1267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1301-44_0_4_trafo_69 | 0.63 MVA 20/0.4 kV | 75 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2699434.1046 | 1221239.8101 | 2699433.974 | 1221239.8312
1 | 2699412.8045 | 1221240.3236 | 2699417.5639 | 1221242.4824 | 2699433.974 | 1221239.8312
2 | 2699451.8091 | 1221237.8063 | 2699447.753 | 1221237.6051 | 2699434.1046 | 1221239.8101
3 | 2699412.8045 | 1221240.3236 | 2699399.3234 | 1221242.3396
4 | 2699412.8045 | 1221240.3236 | 2699414.712 | 1221237.8759 | 2699410.939 | 1221208.722
5 | 2699451.8091 | 1221237.8063 | 2699448.2705 | 1221222.9811 | 2699452.9892 | 1221221.8644
6 | 2699451.8091 | 1221237.8063 | 2699454.3668 | 1221248.3384
7 | 2699399.3234 | 1221242.3396 | 2699393.6396 | 1221243.1895
8 | 2699410.939 | 1221208.722 | 2699410.6496 | 1221206.486
9 | 2699472.5733 | 1221217.2297 | 2699452.9892 | 1221221.8644
10 | 2699372.4058 | 1221246.3649 | 2699393.6396 | 1221243.1895
11 | 2699407.8474 | 1221184.8332 | 2699410.6496 | 1221206.486
12 | 2699500.837 | 1221210.5409 | 2699472.5733 | 1221217.2297
13 | 2699379.3367 | 1221284.7857 | 2699377.823 | 1221280.4685 | 2699372.4058 | 1221246.3649
14 | 2699372.4058 | 1221246.3649 | 2699368.9066 | 1221246.9066
15 | 2699500.837 | 1221210.5409 | 2699504.0115 | 1221209.7897
16 | 2699390.4178 | 1221317.7608 | 2699379.3367 | 1221284.7857
17 | 2699379.3367 | 1221284.7857 | 2699397.0723 | 1221281.4014 | 2699405.6185 | 1221280.0207
18 | 2699350.0404 | 1221249.8275 | 2699368.9066 | 1221246.9066
19 | 2699350.0404 | 1221249.8275 | 2699343.9393 | 1221250.911
20 | 2699390.4178 | 1221317.7608 | 2699373.751 | 1221319.6636
21 | 2699390.4178 | 1221317.7608 | 2699390.8649 | 1221320.0997
22 | 2699430.4799 | 1221276.004 | 2699405.6185 | 1221280.0207
23 | 2699355.2476 | 1221321.7762 | 2699373.751 | 1221319.6636
24 | 2699393.2971 | 1221332.8228 | 2699390.8649 | 1221320.0997
25 | 2699501.3012 | 1221261.5276 | 2699461.939 | 1221270.9213 | 2699430.4799 | 1221276.004
26 | 2699455.4938 | 1221309.5597 | 2699460.2174 | 1221327.7153
27 | 2699463.903 | 1221341.8813 | 2699460.2174 | 1221327.7153
28 | 2699463.903 | 1221341.8813 | 2699465.4666 | 1221347.891
29 | 2699508.9369 | 1221289.9643 | 2699505.7135 | 1221277.9598
30 | 2699508.9369 | 1221289.9643 | 2699511.2028 | 1221297.9695
31 | 2699508.9369 | 1221289.9643 | 2699494.4236 | 1221293.91
32 | 2699501.3012 | 1221261.5276 | 2699505.7135 | 1221277.9598
33 | 2699511.2028 | 1221297.9695 | 2699516.7347 | 1221317.5124
34 | 2699494.4236 | 1221293.91 | 2699493.6462 | 1221294.1214
35 | 2699471.4436 | 1221370.8643 | 2699465.4666 | 1221347.891
36 | 2699501.3012 | 1221261.5276 | 2699509.7104 | 1221258.2213 | 2699545.6218 | 1221245.9665
37 | 2699516.7347 | 1221317.5124 | 2699518.3864 | 1221323.3474
38 | 2699522.9573 | 1221339.4957 | 2699533.6823 | 1221377.3847
39 | 2699533.6823 | 1221377.3847 | 2699533.6823 | 1221377.3847 | 2699531.3427 | 1221369.1194
40 | 2699533.6823 | 1221377.3847 | 2699533.6823 | 1221377.3847 | 2699501.5043 | 1221380.994 | 2699474.3254 | 1221381.9407
41 | 2699533.6823 | 1221377.3847 | 2699518.5148 | 1221379.086
42 | 2699493.6462 | 1221294.1214 | 2699468.2908 | 1221301.0147
43 | 2699471.4436 | 1221370.8643 | 2699474.3254 | 1221381.9407
44 | 2699545.6218 | 1221245.9665 | 2699568.6609 | 1221281.2118
45 | 2699520.8559 | 1221332.0718 | 2699518.3864 | 1221323.3474
46 | 2699530.7734 | 1221367.1081 | 2699531.3427 | 1221369.1194
47 | 2699509.2991 | 1221380.1197 | 2699518.5148 | 1221379.086
48 | 2699579.9953 | 1221328.9009 | 2699582.8175 | 1221339.4643
49 | 2699579.9953 | 1221328.9009 | 2699576.8487 | 1221317.1229
50 | 2699582.8175 | 1221339.4643 | 2699585.9934 | 1221351.3516 | 2699589.1768 | 1221355.1743 | 2699589.1768 | 1221355.1743
51 | 2699572.2051 | 1221299.7419 | 2699576.8487 | 1221317.1229
52 | 2699458.0137 | 1221319.2452 | 2699454.2629 | 1221304.8284 | 2699468.2908 | 1221301.0147
53 | 2699570.4616 | 1221293.216 | 2699568.4209 | 1221285.5776 | 2699568.6609 | 1221281.2118
54 | 2699580.6799 | 1221273.7483 | 2699572.0937 | 1221276.9328 | 2699568.6609 | 1221281.2118 | 2699568.6609 | 1221281.2118
55 | 2699520.8559 | 1221332.0718 | 2699530.7734 | 1221367.1081
56 | 2699570.4616 | 1221293.216 | 2699572.2051 | 1221299.7419
57 | 2699509.2991 | 1221380.1197 | 2699501.5043 | 1221380.994 | 2699488.2674 | 1221381.4551
58 | 2699596.7867 | 1221356.1022 | 2699627.7928 | 1221352.5372
59 | 2699596.7867 | 1221356.1022 | 2699596.3702 | 1221372.4387
60 | 2699596.7867 | 1221356.1022 | 2699592.043 | 1221356.6455 | 2699589.1768 | 1221355.1743
61 | 2699640.2006 | 1221348.9565 | 2699634.7745 | 1221351.7344 | 2699627.7928 | 1221352.5372
62 | 2699595.947 | 1221389.0392 | 2699596.3702 | 1221372.4387
63 | 2699595.947 | 1221389.0392 | 2699595.7292 | 1221397.582
64 | 2699595.6115 | 1221402.2013 | 2699595.7292 | 1221397.582
65 | 2699642.8204 | 1221332.9667 | 2699642.4749 | 1221339.5545 | 2699640.2006 | 1221348.9565
66 | 2699642.8204 | 1221332.9667 | 2699644.0261 | 1221322.4093
67 | 2699394.8698 | 1221341.0498 | 2699395.9513 | 1221346.7071 | 2699397.7555 | 1221359.0683 | 2699396.9663 | 1221365.8933 | 2699395.3712 | 1221370.0808 | 2699390.1315 | 1221374.8856 | 2699378.3521 | 1221381.0157 | 2699355.3661 | 1221394.1771
68 | 2699348.4449 | 1221398.1401 | 2699355.3661 | 1221394.1771
69 | 2699393.2971 | 1221332.8228 | 2699394.8698 | 1221341.0498
70 | 2699533.6582 | 1221202.7736 | 2699504.0115 | 1221209.7897
71 | 2699533.6854 | 1221202.7672 | 2699533.6582 | 1221202.7736
72 | 2699355.2476 | 1221321.7762 | 2699336.0949 | 1221323.9628
73 | 2699488.2674 | 1221381.4551 | 2699496.9944 | 1221507.8577

## bus_geodata
| x | y | coords
0 | 2699433.974 | 1221239.8312
1 | 2699434.1046 | 1221239.8101
2 | 2699412.8045 | 1221240.3236
3 | 2699451.8091 | 1221237.8063
4 | 2699399.3234 | 1221242.3396
5 | 2699410.939 | 1221208.722
6 | 2699452.9892 | 1221221.8644
7 | 2699454.3667 | 1221248.3384
8 | 2699393.6396 | 1221243.1895
9 | 2699410.6496 | 1221206.486
10 | 2699472.5733 | 1221217.2297
11 | 2699372.4058 | 1221246.3649
12 | 2699407.8474 | 1221184.8332
13 | 2699500.837 | 1221210.5409
14 | 2699379.3367 | 1221284.7857
15 | 2699368.9066 | 1221246.9066
16 | 2699343.9393 | 1221250.911
17 | 2699350.0404 | 1221249.8275
18 | 2699390.4178 | 1221317.7608
19 | 2699405.6185 | 1221280.0207
20 | 2699373.751 | 1221319.6636
21 | 2699390.8649 | 1221320.0997
22 | 2699430.4799 | 1221276.004
23 | 2699455.4938 | 1221309.5597
24 | 2699460.2174 | 1221327.7153
25 | 2699463.903 | 1221341.8813
26 | 2699508.9369 | 1221289.9643
27 | 2699505.7135 | 1221277.9598
28 | 2699511.2028 | 1221297.9695
29 | 2699494.4236 | 1221293.91
30 | 2699465.4666 | 1221347.891
31 | 2699501.3012 | 1221261.5276
32 | 2699516.7347 | 1221317.5124
33 | 2699522.9573 | 1221339.4957
34 | 2699533.6823 | 1221377.3847
35 | 2699493.6462 | 1221294.1214
36 | 2699471.4436 | 1221370.8643
37 | 2699545.6218 | 1221245.9665
38 | 2699518.3864 | 1221323.3474
39 | 2699531.3427 | 1221369.1194
40 | 2699474.3254 | 1221381.9407
41 | 2699518.5148 | 1221379.086
42 | 2699579.9953 | 1221328.9009
43 | 2699582.8175 | 1221339.4643
44 | 2699576.8487 | 1221317.1229
45 | 2699468.2908 | 1221301.0147
46 | 2699568.6609 | 1221281.2118
47 | 2699520.8559 | 1221332.0718
48 | 2699572.2051 | 1221299.7419
49 | 2699570.4616 | 1221293.216
50 | 2699530.7734 | 1221367.1081
51 | 2699509.2991 | 1221380.1197
52 | 2699596.7867 | 1221356.1022
53 | 2699627.7928 | 1221352.5372
54 | 2699596.3702 | 1221372.4387
55 | 2699589.1768 | 1221355.1743
56 | 2699595.947 | 1221389.0392
57 | 2699595.7292 | 1221397.582
58 | 2699595.6115 | 1221402.2013
59 | 2699640.2006 | 1221348.9565
60 | 2699642.8204 | 1221332.9667
61 | 2699458.0137 | 1221319.2452
62 | 2699355.3661 | 1221394.1771
63 | 2699394.8698 | 1221341.0498
64 | 2699348.4449 | 1221398.1401
65 | 2699393.2971 | 1221332.8228
66 | 2699504.0115 | 1221209.7897
67 | 2699533.6582 | 1221202.7736
68 | 2699533.6854 | 1221202.7672
69 | 2699355.2476 | 1221321.7762
70 | 2699580.6799 | 1221273.7483
71 | 2699336.0949 | 1221323.9628
72 | 2699644.0261 | 1221322.4093
73 | 2699488.2674 | 1221381.4551
74 | 2699496.9944 | 1221507.8577
75 | 2699508.9369 | 1221289.9643

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97743 | -0.43464 | 0.01541 | 0.0038621
1 | 0.97742 | -0.43476 | 0.0046327 | 0.0011611
2 | 0.97872 | -0.40934 | 0 | 0
3 | 0.9767 | -0.44897 | 0 | 0
4 | 0.97973 | -0.3896 | 0.020824 | 0.005219
5 | 0.97823 | -0.41887 | 0.0075594 | 0.0018946
6 | 0.97614 | -0.45994 | 0.0078134 | 0.0019582
7 | 0.97656 | -0.45168 | 0.013672 | 0.0034264
8 | 0.98026 | -0.37911 | 0.0053604 | 0.0013434
9 | 0.97822 | -0.41923 | 0.0053213 | 0.0013336
10 | 0.97573 | -0.46805 | 0.0061624 | 0.0015445
11 | 0.98237 | -0.33797 | 0 | 0
12 | 0.97815 | -0.42051 | 0.0032341 | 0.00081054
13 | 0.9753 | -0.4765 | 0.0052916 | 0.0013262
14 | 0.98732 | -0.2421 | 0 | 0
15 | 0.98227 | -0.33993 | 0.0080122 | 0.002008
16 | 0.98175 | -0.35023 | 0.022533 | 0.0056474
17 | 0.98188 | -0.3477 | 0 | 0
18 | 0.98695 | -0.24937 | 0 | 0
19 | 0.98915 | -0.2068 | 0.0060667 | 0.0015205
20 | 0.98691 | -0.25004 | 0.00076035 | 0.00019056
21 | 0.98693 | -0.24978 | 0.0036911 | 0.00092508
22 | 0.99035 | -0.18377 | 0.0093682 | 0.0023479
23 | 0.98937 | -0.20406 | 0.0034133 | 0.00085544
24 | 0.98943 | -0.20292 | 0.0041167 | 0.0010317
25 | 0.98953 | -0.20095 | 0.0031987 | 0.00080166
26 | 0.99607 | -0.074582 | 0 | 0
27 | 0.99519 | -0.091276 | 0.0022224 | 0.00055699
28 | 0.99555 | -0.084509 | 0.0037168 | 0.00093151
29 | 0.99744 | -0.048456 | 0.0060076 | 0.0015057
30 | 0.98959 | -0.19977 | 0.0045401 | 0.0011379
31 | 0.994 | -0.11395 | 0 | 0
32 | 0.99436 | -0.10746 | 0.0046183 | 0.0011575
33 | 0.99122 | -0.16816 | 0.0026143 | 0.00065521
34 | 0.99131 | -0.16633 | 0.0055308 | 0.0013861
35 | 0.99752 | -0.04703 | 0.0042539 | 0.0010661
36 | 0.98992 | -0.19332 | 0.0018978 | 0.00047563
37 | 0.99127 | -0.16662 | 0.0019873 | 0.00049808
38 | 0.99403 | -0.11383 | 0.0032071 | 0.00080378
39 | 0.99169 | -0.15903 | 0.002132 | 0.00053432
40 | 0.9901 | -0.18982 | 0.0050376 | 0.0012626
41 | 0.99107 | -0.17108 | 0.0033441 | 0.0008381
42 | 0.98683 | -0.25267 | 0.00669 | 0.0016767
43 | 0.98649 | -0.25922 | 0.0046312 | 0.0011607
44 | 0.98728 | -0.24392 | 0.0041614 | 0.0010429
45 | 1 | 0 | -0.31563 | -0.080372
46 | 0.98889 | -0.21259 | 0.0046091 | 0.0011551
47 | 0.99356 | -0.12284 | 0.003035 | 0.00076064
48 | 0.98801 | -0.22968 | 0.003902 | 0.00097792
49 | 0.98831 | -0.22387 | 0.0033128 | 0.00083027
50 | 0.99179 | -0.15718 | 0.0032753 | 0.00082087
51 | 0.99095 | -0.17342 | 0.0093266 | 0.0023375
52 | 0.98585 | -0.27165 | 0 | 0
53 | 0.98565 | -0.27552 | 0.0039808 | 0.00099769
54 | 0.98559 | -0.27679 | 0.0055042 | 0.0013795
55 | 0.98603 | -0.26814 | 0.0043502 | 0.0010903
56 | 0.98541 | -0.28038 | 0.0029292 | 0.00073413
57 | 0.98533 | -0.28178 | 0.0061864 | 0.0015505
58 | 0.98532 | -0.28202 | 0.0029297 | 0.00073424
59 | 0.98562 | -0.27621 | 0 | 0
60 | 0.98558 | -0.27706 | 0 | 0
61 | 0.99994 | -0.0012042 | 0.0023466 | 0.00058812
62 | 0.98668 | -0.25461 | 0.0002914 | 7.3033e-05
63 | 0.98682 | -0.25184 | 0.002813 | 0.000705
64 | 0.98666 | -0.25486 | 0.0017366 | 0.00043524
65 | 0.98686 | -0.25111 | 0.00091287 | 0.00022879
66 | 0.97527 | -0.47713 | 0.0073256 | 0.001836
67 | 0.97518 | -0.47895 | 0.0015775 | 0.00039535
68 | 0.97518 | -0.47895 | 0.0016782 | 0.0004206
69 | 0.98689 | -0.25054 | 0.00038231 | 9.5817e-05
70 | 0.98882 | -0.21396 | 0.0052679 | 0.0013203
71 | 0.98687 | -0.25091 | 0.0010931 | 0.00027395
72 | 0.98555 | -0.27762 | 0.0029288 | 0.00073403
73 | 0.99085 | -0.17525 | 0.0036011 | 0.00090253
74 | 0.99071 | -0.17811 | 0.0012729 | 0.00031901
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.048216 | 0.012107 | -0.048216 | -0.012107 | 2.674e-07 | 1.6948e-07 | 0.073411 | 0.073411 | 0.073411 | 0.97743 | -0.43464 | 0.97742 | -0.43476 | 20.1678
1 | -0.063626 | -0.015969 | 0.063703 | 0.016018 | 7.6886e-05 | 4.8933e-05 | 0.096871 | 0.096871 | 0.096871 | 0.97743 | -0.43464 | 0.97872 | -0.40934 | 26.6128
2 | 0.043583 | 0.010946 | -0.043553 | -0.010927 | 2.9535e-05 | 1.8679e-05 | 0.066358 | 0.066358 | 0.066358 | 0.97742 | -0.43476 | 0.9767 | -0.44897 | 18.2302
3 | -0.079825 | -0.020061 | 0.079901 | 0.020109 | 7.5315e-05 | 4.803e-05 | 0.12138 | 0.12138 | 0.12138 | 0.97872 | -0.40934 | 0.97973 | -0.3896 | 33.3471
4 | 0.016122 | 0.0040429 | -0.016115 | -0.0040387 | 7.3234e-06 | 4.2787e-06 | 0.024513 | 0.024513 | 0.024513 | 0.97872 | -0.40934 | 0.97823 | -0.41887 | 6.7344
5 | 0.02988 | 0.0074994 | -0.029864 | -0.0074897 | 1.5615e-05 | 9.7425e-06 | 0.045526 | 0.045526 | 0.045526 | 0.9767 | -0.44897 | 0.97614 | -0.45994 | 12.5072
6 | 0.013673 | 0.0034274 | -0.013672 | -0.0034264 | 1.7638e-06 | 9.9321e-07 | 0.020832 | 0.020832 | 0.020832 | 0.9767 | -0.44897 | 0.97656 | -0.45168 | 5.7231
7 | -0.10072 | -0.025328 | 0.10078 | 0.02536 | 5.0456e-05 | 3.2219e-05 | 0.15301 | 0.15301 | 0.15301 | 0.97973 | -0.3896 | 0.98026 | -0.37911 | 42.036
8 | 0.0085557 | 0.0021441 | -0.0085556 | -0.002144 | 1.432e-07 | 6.3342e-08 | 0.013014 | 0.013014 | 0.013014 | 0.97823 | -0.41887 | 0.97822 | -0.41923 | 3.5753
9 | 0.022051 | 0.0055315 | -0.022042 | -0.0055263 | 8.5281e-06 | 5.2065e-06 | 0.033616 | 0.033616 | 0.033616 | 0.97614 | -0.45994 | 0.97573 | -0.46805 | 9.2351
10 | -0.10614 | -0.026703 | 0.10634 | 0.026837 | 0.00020908 | 0.00013354 | 0.16115 | 0.16115 | 0.16115 | 0.98026 | -0.37911 | 0.98237 | -0.33797 | 44.2714
11 | 0.0032343 | 0.00081039 | -0.0032341 | -0.00081054 | 1.9818e-07 | -1.4724e-07 | 0.0049198 | 0.0049199 | 0.0049199 | 0.97822 | -0.41923 | 0.97815 | -0.42051 | 1.3516
12 | 0.01588 | 0.0039818 | -0.015873 | -0.0039781 | 6.388e-06 | 3.7257e-06 | 0.024218 | 0.024218 | 0.024218 | 0.97573 | -0.46805 | 0.9753 | -0.4765 | 6.6533
13 | -0.1369 | -0.034501 | 0.13753 | 0.034904 | 0.00063107 | 0.00040338 | 0.20744 | 0.20744 | 0.20744 | 0.98237 | -0.33797 | 0.98732 | -0.2421 | 56.9886
14 | 0.030559 | 0.0076639 | -0.030556 | -0.0076622 | 2.8453e-06 | 1.7762e-06 | 0.04629 | 0.046291 | 0.046291 | 0.98237 | -0.33797 | 0.98227 | -0.33993 | 12.7172
15 | 0.010582 | 0.0026519 | -0.010582 | -0.0026517 | 3.1885e-07 | 1.6336e-07 | 0.016145 | 0.016145 | 0.016145 | 0.9753 | -0.4765 | 0.97527 | -0.47713 | 4.4353
16 | 0.011686 | 0.0029282 | -0.011682 | -0.0029261 | 4.0457e-06 | 2.1446e-06 | 0.017612 | 0.017612 | 0.017612 | 0.98732 | -0.2421 | 0.98695 | -0.24937 | 4.8385
17 | -0.14922 | -0.037833 | 0.14947 | 0.037994 | 0.00025367 | 0.00016167 | 0.22505 | 0.22505 | 0.22505 | 0.98732 | -0.2421 | 0.98915 | -0.2068 | 30.9135
18 | 0.022544 | 0.0056541 | -0.022536 | -0.005649 | 8.3507e-06 | 5.1029e-06 | 0.034153 | 0.034153 | 0.034153 | 0.98227 | -0.33993 | 0.98188 | -0.3477 | 9.3828
19 | -0.022533 | -0.0056474 | 0.022536 | 0.005649 | 2.7105e-06 | 1.6563e-06 | 0.034153 | 0.034153 | 0.034153 | 0.98175 | -0.35023 | 0.98188 | -0.3477 | 9.3828
20 | 0.0022359 | 0.00055971 | -0.0022358 | -0.00055988 | 7.1477e-08 | -1.6862e-07 | 0.0033708 | 0.0033709 | 0.0033709 | 0.98695 | -0.24937 | 0.98691 | -0.25004 | 0.92606
21 | 0.009446 | 0.0023664 | -0.0094458 | -0.0023663 | 1.8111e-07 | 8.548e-08 | 0.014241 | 0.014241 | 0.014241 | 0.98695 | -0.24937 | 0.98693 | -0.24978 | 3.9125
22 | -0.15554 | -0.039515 | 0.15571 | 0.039624 | 0.00017263 | 0.00010951 | 0.23418 | 0.23418 | 0.23418 | 0.98915 | -0.2068 | 0.99035 | -0.18377 | 21.4447
23 | 0.0014754 | 0.00036932 | -0.0014754 | -0.00036953 | 3.4558e-08 | -2.1585e-07 | 0.0022244 | 0.0022245 | 0.0022245 | 0.98691 | -0.25004 | 0.98689 | -0.25054 | 0.61113
24 | 0.0057547 | 0.0014412 | -0.0057543 | -0.0014412 | 3.6566e-07 | 6.8507e-08 | 0.0086761 | 0.0086762 | 0.0086762 | 0.98693 | -0.24978 | 0.98686 | -0.25111 | 2.3836
25 | -0.16508 | -0.041972 | 0.16564 | 0.042326 | 0.00055723 | 0.00035383 | 0.24825 | 0.24825 | 0.24825 | 0.99035 | -0.18377 | 0.994 | -0.11395 | 22.7336
26 | -0.0034133 | -0.00085544 | 0.0034134 | 0.00085532 | 1.8539e-07 | -1.2228e-07 | 0.0051336 | 0.0051335 | 0.0051336 | 0.98937 | -0.20406 | 0.98943 | -0.20292 | 1.4103
27 | -0.0075301 | -0.0018871 | 0.0075309 | 0.0018873 | 7.0396e-07 | 2.6252e-07 | 0.011325 | 0.011325 | 0.011325 | 0.98943 | -0.20292 | 0.98953 | -0.20095 | 3.1112
28 | -0.01073 | -0.002689 | 0.01073 | 0.0026893 | 6.0621e-07 | 3.082e-07 | 0.016135 | 0.016135 | 0.016135 | 0.98953 | -0.20095 | 0.98959 | -0.19977 | 4.4326
29 | 0.23209 | 0.05931 | -0.2319 | -0.05919 | 0.00018722 | 0.00011933 | 0.34712 | 0.34712 | 0.34712 | 0.99607 | -0.074582 | 0.99519 | -0.091276 | 31.7879
30 | 0.068173 | 0.017195 | -0.068141 | -0.017174 | 3.2384e-05 | 2.0617e-05 | 0.10188 | 0.10188 | 0.10188 | 0.99607 | -0.074582 | 0.99555 | -0.084509 | 27.9894
31 | -0.30026 | -0.076504 | 0.30064 | 0.076746 | 0.00037902 | 0.00024198 | 0.449 | 0.449 | 0.449 | 0.99607 | -0.074582 | 0.99744 | -0.048456 | 41.1177
32 | 0.22968 | 0.058633 | -0.22943 | -0.058473 | 0.00025139 | 0.00016022 | 0.3438 | 0.3438 | 0.3438 | 0.99519 | -0.091276 | 0.994 | -0.11395 | 31.4837
33 | 0.064424 | 0.016243 | -0.064353 | -0.016198 | 7.0672e-05 | 4.4966e-05 | 0.096326 | 0.096326 | 0.096326 | 0.99555 | -0.084509 | 0.99436 | -0.10746 | 26.4632
34 | -0.30665 | -0.078252 | 0.30667 | 0.078266 | 2.1122e-05 | 1.3487e-05 | 0.45797 | 0.45797 | 0.45797 | 0.99744 | -0.048456 | 0.99752 | -0.04703 | 41.9384
35 | -0.01527 | -0.0038272 | 0.015275 | 0.0038299 | 4.6933e-06 | 2.6986e-06 | 0.022961 | 0.022961 | 0.022961 | 0.98959 | -0.19977 | 0.98992 | -0.19332 | 6.3081
36 | 0.063791 | 0.016147 | -0.06363 | -0.016045 | 0.00016085 | 0.00010234 | 0.095551 | 0.095551 | 0.095551 | 0.994 | -0.11395 | 0.99127 | -0.16662 | 26.2504
37 | 0.059735 | 0.01504 | -0.059717 | -0.015029 | 1.8182e-05 | 1.1558e-05 | 0.089415 | 0.089415 | 0.089415 | 0.99436 | -0.10746 | 0.99403 | -0.11383 | 24.5646
38 | -0.0026143 | -0.00065521 | 0.0026145 | 0.00065485 | 2.2743e-07 | -3.6207e-07 | 0.0039246 | 0.0039244 | 0.0039246 | 0.99122 | -0.16816 | 0.99131 | -0.16633 | 1.0782
39 | -0.047934 | -0.012025 | 0.047951 | 0.012035 | 1.6678e-05 | 1.0563e-05 | 0.071956 | 0.071956 | 0.071956 | 0.99131 | -0.16633 | 0.99169 | -0.15903 | 19.7681
40 | 0.022238 | 0.0055849 | -0.022213 | -0.0055697 | 2.49e-05 | 1.5169e-05 | 0.033385 | 0.033385 | 0.033385 | 0.99131 | -0.16633 | 0.9901 | -0.18982 | 9.1717
41 | 0.017551 | 0.0043988 | -0.017547 | -0.0043965 | 3.9724e-06 | 2.3456e-06 | 0.026345 | 0.026345 | 0.026345 | 0.99131 | -0.16633 | 0.99107 | -0.17108 | 7.2376
42 | -0.31093 | -0.079332 | 0.31163 | 0.079784 | 0.00070808 | 0.00045214 | 0.46431 | 0.46431 | 0.46431 | 0.99752 | -0.04703 | 1 | 0 | 42.5195
43 | -0.017173 | -0.0043055 | 0.017176 | 0.0043072 | 2.86e-06 | 1.6832e-06 | 0.025814 | 0.025814 | 0.025814 | 0.98992 | -0.19332 | 0.9901 | -0.18982 | 7.0918
44 | 0.061643 | 0.015547 | -0.061507 | -0.015461 | 0.00013531 | 8.6054e-05 | 0.092568 | 0.092568 | 0.092568 | 0.99127 | -0.16662 | 0.98889 | -0.21259 | 25.4309
45 | 0.05651 | 0.014225 | -0.056485 | -0.014209 | 2.4344e-05 | 1.5463e-05 | 0.084614 | 0.084614 | 0.084614 | 0.99403 | -0.11383 | 0.99356 | -0.12284 | 23.2456
46 | -0.050083 | -0.01257 | 0.050087 | 0.012572 | 4.4277e-06 | 2.8067e-06 | 0.075155 | 0.075155 | 0.075155 | 0.99169 | -0.15903 | 0.99179 | -0.15718 | 20.6469
47 | 0.014203 | 0.0035584 | -0.014201 | -0.0035575 | 1.5813e-06 | 8.9255e-07 | 0.021324 | 0.021324 | 0.021324 | 0.99107 | -0.17108 | 0.99095 | -0.17342 | 5.8583
48 | 0.033476 | 0.0084017 | -0.033465 | -0.0083951 | 1.0449e-05 | 6.5477e-06 | 0.050482 | 0.050482 | 0.050482 | 0.98683 | -0.25267 | 0.98649 | -0.25922 | 13.8686
49 | -0.040166 | -0.010078 | 0.040183 | 0.010089 | 1.6772e-05 | 1.0578e-05 | 0.06057 | 0.060569 | 0.06057 | 0.98683 | -0.25267 | 0.98728 | -0.24392 | 16.64
50 | 0.028834 | 0.0072344 | -0.028822 | -0.0072268 | 1.2259e-05 | 7.6251e-06 | 0.043496 | 0.043496 | 0.043496 | 0.98649 | -0.25922 | 0.98603 | -0.26814 | 11.9495
51 | -0.044344 | -0.011132 | 0.044374 | 0.011151 | 3.0142e-05 | 1.9061e-05 | 0.066841 | 0.066841 | 0.066841 | 0.98728 | -0.24392 | 0.98801 | -0.22968 | 18.363
52 | 0.0023467 | 0.00058782 | -0.0023466 | -0.00058812 | 1.3459e-07 | -2.9999e-07 | 0.0034919 | 0.003492 | 0.003492 | 1 | 0 | 0.99994 | -0.0012042 | 0.95934
53 | 0.05163 | 0.012985 | -0.051602 | -0.012968 | 2.7803e-05 | 1.7636e-05 | 0.077706 | 0.077706 | 0.077706 | 0.98889 | -0.21259 | 0.98831 | -0.22387 | 21.3478
54 | 0.0052682 | 0.0013203 | -0.0052679 | -0.0013203 | 3.4508e-07 | 3.2999e-08 | 0.0079272 | 0.0079273 | 0.0079273 | 0.98889 | -0.21259 | 0.98882 | -0.21396 | 2.1778
55 | 0.05345 | 0.013449 | -0.053363 | -0.013393 | 8.7541e-05 | 5.5556e-05 | 0.080069 | 0.080069 | 0.080069 | 0.99356 | -0.12284 | 0.99179 | -0.15718 | 21.997
56 | -0.048276 | -0.012129 | 0.04829 | 0.012137 | 1.3394e-05 | 8.4859e-06 | 0.072718 | 0.072718 | 0.072718 | 0.98801 | -0.22968 | 0.98831 | -0.22387 | 19.9775
57 | 0.0048746 | 0.00122 | -0.0048742 | -0.00122 | 4.2365e-07 | -5.2094e-10 | 0.0073191 | 0.0073192 | 0.0073192 | 0.99095 | -0.17342 | 0.99085 | -0.17525 | 2.0108
58 | 0.0069112 | 0.0017318 | -0.0069099 | -0.0017314 | 1.2736e-06 | 4.1722e-07 | 0.010431 | 0.010432 | 0.010432 | 0.98585 | -0.27165 | 0.98565 | -0.27552 | 2.8658
59 | 0.017556 | 0.0044022 | -0.017552 | -0.0043997 | 4.3035e-06 | 2.5459e-06 | 0.0265 | 0.0265 | 0.0265 | 0.98585 | -0.27165 | 0.98559 | -0.27679 | 7.2802
60 | -0.024468 | -0.006134 | 0.024472 | 0.0061365 | 4.0899e-06 | 2.5156e-06 | 0.036931 | 0.036931 | 0.036931 | 0.98585 | -0.27165 | 0.98603 | -0.26814 | 10.146
61 | 0.0029291 | 0.00073371 | -0.002929 | -0.00073382 | 9.6227e-08 | -1.0567e-07 | 0.0044219 | 0.0044219 | 0.0044219 | 0.98565 | -0.27552 | 0.98562 | -0.27621 | 1.2148
62 | 0.012048 | 0.0030202 | -0.012046 | -0.0030191 | 2.0604e-06 | 1.1071e-06 | 0.01819 | 0.01819 | 0.01819 | 0.98559 | -0.27679 | 0.98541 | -0.28038 | 4.9973
63 | 0.0091167 | 0.0022849 | -0.0091161 | -0.0022847 | 6.0734e-07 | 2.7985e-07 | 0.013767 | 0.013767 | 0.013767 | 0.98541 | -0.28038 | 0.98533 | -0.28178 | 3.7821
64 | 0.0029297 | 0.0007342 | -0.0029297 | -0.00073424 | 3.3919e-08 | -3.7148e-08 | 0.0044243 | 0.0044243 | 0.0044243 | 0.98533 | -0.28178 | 0.98532 | -0.28202 | 1.2155
65 | 0.002929 | 0.00073382 | -0.0029289 | -0.00073395 | 1.1931e-07 | -1.31e-07 | 0.0044219 | 0.004422 | 0.004422 | 0.98562 | -0.27621 | 0.98558 | -0.27706 | 1.2148
66 | 0.0029289 | 0.00073395 | -0.0029288 | -0.00073403 | 7.792e-08 | -8.5541e-08 | 0.004422 | 0.0044221 | 0.0044221 | 0.98558 | -0.27706 | 0.98555 | -0.27762 | 1.2149
67 | -0.002028 | -0.00050818 | 0.0020283 | 0.00050738 | 2.6825e-07 | -8.0526e-07 | 0.0030585 | 0.0030581 | 0.0030585 | 0.98668 | -0.25461 | 0.98682 | -0.25184 | 0.84024
68 | 0.0017366 | 0.00043515 | -0.0017366 | -0.00043524 | 2.0515e-08 | -8.8733e-08 | 0.002619 | 0.0026191 | 0.0026191 | 0.98668 | -0.25461 | 0.98666 | -0.25486 | 0.71952
69 | -0.0048413 | -0.0012124 | 0.0048415 | 0.0012124 | 1.6737e-07 | 1.0509e-10 | 0.0072998 | 0.0072997 | 0.0072998 | 0.98682 | -0.25184 | 0.98686 | -0.25111 | 2.0054
70 | 0.003256 | 0.00081576 | -0.0032557 | -0.00081596 | 2.8195e-07 | -1.9968e-07 | 0.0049677 | 0.0049678 | 0.0049678 | 0.97527 | -0.47713 | 0.97518 | -0.47895 | 1.3648
71 | 0.0016782 | 0.0004206 | -0.0016782 | -0.0004206 | 6.588e-11 | -3.0364e-10 | 0.0025608 | 0.0025608 | 0.0025608 | 0.97518 | -0.47895 | 0.97518 | -0.47895 | 0.70352
72 | 0.0010931 | 0.00027372 | -0.0010931 | -0.00027395 | 1.9636e-08 | -2.3374e-07 | 0.0016481 | 0.0016482 | 0.0016482 | 0.98689 | -0.25054 | 0.98687 | -0.25091 | 0.45279
73 | 0.001273 | 0.00031749 | -0.0012729 | -0.00031901 | 1.7361e-07 | -1.5206e-06 | 0.0019112 | 0.0019118 | 0.0019118 | 0.99085 | -0.17525 | 0.99071 | -0.17811 | 0.52522

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3225 | 0.082093

## res_load
| p_mw | q_mvar
0 | 0.01541 | 0.0038621
1 | 0.0046327 | 0.0011611
2 | 0.020824 | 0.005219
3 | 0.0075594 | 0.0018946
4 | 0.0078134 | 0.0019582
5 | 0.013672 | 0.0034264
6 | 0.0053604 | 0.0013434
7 | 0.0053213 | 0.0013336
8 | 0.0061624 | 0.0015445
9 | 0.0032341 | 0.00081054
10 | 0.0052916 | 0.0013262
11 | 0.0080122 | 0.002008
12 | 0.022533 | 0.0056474
13 | 0.0060667 | 0.0015205
14 | 0.00076035 | 0.00019056
15 | 0.0036911 | 0.00092508
16 | 0.0093682 | 0.0023479
17 | 0.0034133 | 0.00085544
18 | 0.0041167 | 0.0010317
19 | 0.0031987 | 0.00080166
20 | 0.0022224 | 0.00055699
21 | 0.0037168 | 0.00093151
22 | 0.0060076 | 0.0015057
23 | 0.0045401 | 0.0011379
24 | 0.0046183 | 0.0011575
25 | 0.0026143 | 0.00065521
26 | 0.0055308 | 0.0013861
27 | 0.0042539 | 0.0010661
28 | 0.0018978 | 0.00047563
29 | 0.0019873 | 0.00049808
30 | 0.0032071 | 0.00080378
31 | 0.002132 | 0.00053432
32 | 0.0050376 | 0.0012626
33 | 0.0033441 | 0.0008381
34 | 0.00669 | 0.0016767
35 | 0.0046312 | 0.0011607
36 | 0.0041614 | 0.0010429
37 | 0.006867 | 0.001721
38 | 0.0046091 | 0.0011551
39 | 0.003035 | 0.00076064
40 | 0.003902 | 0.00097792
41 | 0.0033128 | 0.00083027
42 | 0.0032753 | 0.00082087
43 | 0.0093266 | 0.0023375
44 | 0.0039808 | 0.00099769
45 | 0.0055042 | 0.0013795
46 | 0.0043502 | 0.0010903
47 | 0.0029292 | 0.00073413
48 | 0.0061864 | 0.0015505
49 | 0.0029297 | 0.00073424
50 | 0.0023466 | 0.00058812
51 | 0.0002914 | 7.3033e-05
52 | 0.002813 | 0.000705
53 | 0.0017366 | 0.00043524
54 | 0.00091287 | 0.00022879
55 | 0.0073256 | 0.001836
56 | 0.0015775 | 0.00039535
57 | 0.0016782 | 0.0004206
58 | 0.00038231 | 9.5817e-05
59 | 0.0052679 | 0.0013203
60 | 0.0010931 | 0.00027395
61 | 0.0029288 | 0.00073403
62 | 0.0036011 | 0.00090253
63 | 0.0012729 | 0.00031901

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1