## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1322-16_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1322-16_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1322-16_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1322-16_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1322-16_0_3_node_45 | 0.4 | n |  | TRUE
5 | bus_LV_1322-16_0_3_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_1322-16_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1322-16_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1322-16_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1322-16_0_3_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_1322-16_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1322-16_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_1322-16_0_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_1322-16_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1322-16_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_1322-16_0_3_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_1322-16_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1322-16_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1322-16_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1322-16_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_1322-16_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1322-16_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1322-16_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1322-16_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1322-16_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1322-16_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1322-16_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1322-16_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1322-16_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1322-16_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1322-16_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1322-16_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1322-16_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1322-16_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1322-16_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1322-16_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1322-16_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1322-16_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1322-16_0_3_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_1322-16_0_3_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_1322-16_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_1322-16_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1322-16_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1322-16_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1322-16_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1322-16_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_1322-16_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1322-16_0_3_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_1322-16_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_1322-16_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1322-16_0_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_1322-16_0_3_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_1322-16_0_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1322-16_0_3_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_1322-16_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_1322-16_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_1322-16_0_3_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_1322-16_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_MV_16_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1322-16_0_3_load_0 | 0 | 0.003009 | 0.00075412 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1322-16_0_3_load_1 | 1 | 0.0021503 | 0.00053891 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1322-16_0_3_load_2 | 2 | 0.0026593 | 0.00066648 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1322-16_0_3_load_3 | 3 | 0.0041129 | 0.0010308 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1322-16_0_3_load_45 | 4 | 0.0011046 | 0.00027684 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1322-16_0_3_load_44 | 5 | 0.0019836 | 0.00049714 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1322-16_0_3_load_4 | 6 | 0.013827 | 0.0034654 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1322-16_0_3_load_5 | 7 | 0.0069508 | 0.001742 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1322-16_0_3_load_7 | 8 | 0.010996 | 0.0027559 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1322-16_0_3_load_6 | 10 | 0.014711 | 0.003687 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1322-16_0_3_load_20 | 11 | 0.0026494 | 0.000664 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1322-16_0_3_load_21 | 12 | 0.008828 | 0.0022125 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1322-16_0_3_load_19 | 14 | 0.0040893 | 0.0010249 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1322-16_0_3_load_56 | 15 | 0.023123 | 0.0057952 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1322-16_0_3_load_9 | 16 | 0.0029327 | 0.000735 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1322-16_0_3_load_14 | 17 | 0.0012702 | 0.00031833 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1322-16_0_3_load_18 | 19 | 0.0017682 | 0.00044316 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1322-16_0_3_load_12 | 20 | 0.0016062 | 0.00040254 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1322-16_0_3_load_13 | 21 | 0.0028902 | 0.00072435 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1322-16_0_3_load_15 | 22 | 0.0070638 | 0.0017704 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1322-16_0_3_load_16 | 23 | 0.0028148 | 0.00070545 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1322-16_0_3_load_17 | 24 | 0.00088993 | 0.00022304 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1322-16_0_3_load_22 | 25 | 0.0036753 | 0.00092112 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1322-16_0_3_load_23 | 26 | 0.0013342 | 0.00033438 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1322-16_0_3_load_24 | 27 | 0.0054731 | 0.0013717 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1322-16_0_3_load_25 | 28 | 0.0022483 | 0.00056347 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1322-16_0_3_load_26 | 29 | 0.0051617 | 0.0012936 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1322-16_0_3_load_27 | 30 | 0.0025993 | 0.00065145 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1322-16_0_3_load_28 | 31 | 0.0012926 | 0.00032395 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1322-16_0_3_load_29 | 32 | 0.0034658 | 0.00086861 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1322-16_0_3_load_30 | 33 | 0.0025124 | 0.00062967 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1322-16_0_3_load_31 | 34 | 0.0020638 | 0.00051723 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1322-16_0_3_load_32 | 35 | 0.0033359 | 0.00083605 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1322-16_0_3_load_33 | 36 | 0.0048261 | 0.0012095 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1322-16_0_3_load_34 | 37 | 0.0065637 | 0.001645 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1322-16_0_3_load_42 | 39 | 0.0040807 | 0.0010227 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1322-16_0_3_load_40 | 40 | 0.0023375 | 0.00058583 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1322-16_0_3_load_35 | 41 | 0.0025596 | 0.00064148 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1322-16_0_3_load_36 | 42 | 0.0027456 | 0.00068812 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1322-16_0_3_load_37 | 43 | 0.0079737 | 0.0019984 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1322-16_0_3_load_38 | 44 | 0.003404 | 0.00085312 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1322-16_0_3_load_46 | 45 | 0.0023432 | 0.00058726 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1322-16_0_3_load_39 | 46 | 0.0021824 | 0.00054695 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1322-16_0_3_load_47 | 47 | 0.0027325 | 0.00068482 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1322-16_0_3_load_48 | 48 | 0.0031398 | 0.00078692 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1322-16_0_3_load_49 | 49 | 0.0035014 | 0.00087753 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1322-16_0_3_load_59 | 50 | 0.0030942 | 0.00077549 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1322-16_0_3_load_50 | 51 | 0.0022273 | 0.00055821 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1322-16_0_3_load_51 | 52 | 0.0039399 | 0.00098742 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1322-16_0_3_load_52 | 53 | 0.0030019 | 0.00075233 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1322-16_0_3_load_43 | 54 | 0.0028516 | 0.00071469 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1322-16_0_3_load_53 | 55 | 0.0014482 | 0.00036294 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1322-16_0_3_load_54 | 56 | 0.0029538 | 0.00074029 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1322-16_0_3_load_55 | 57 | 0.0043572 | 0.001092 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1322-16_0_3_line_0 |  | 0 | 1 | 0.030158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1322-16_0_3_line_1 |  | 0 | 2 | 0.025665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1322-16_0_3_line_2 |  | 2 | 3 | 0.030321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1322-16_0_3_line_3 |  | 3 | 6 | 0.028485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1322-16_0_3_line_4 |  | 4 | 5 | 0.017125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1322-16_0_3_line_5 |  | 5 | 54 | 0.0034968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1322-16_0_3_line_6 |  | 6 | 7 | 0.032352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1322-16_0_3_line_7 |  | 7 | 8 | 0.027328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1322-16_0_3_line_8 |  | 8 | 9 | 0.039494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1322-16_0_3_line_9 |  | 8 | 10 | 0.030778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1322-16_0_3_line_10 |  | 9 | 15 | 0.032893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1322-16_0_3_line_11 |  | 10 | 13 | 0.021907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1322-16_0_3_line_12 |  | 11 | 12 | 0.02017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1322-16_0_3_line_13 |  | 11 | 13 | 0.05709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1322-16_0_3_line_14 |  | 12 | 25 | 0.0016588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1322-16_0_3_line_15 |  | 13 | 14 | 0.061426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1322-16_0_3_line_16 |  | 14 | 18 | 0.012255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1322-16_0_3_line_17 |  | 16 | 17 | 0.044713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1322-16_0_3_line_18 |  | 17 | 20 | 0.012326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1322-16_0_3_line_19 |  | 18 | 19 | 0.047214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1322-16_0_3_line_20 |  | 19 | 24 | 0.021583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1322-16_0_3_line_21 |  | 20 | 21 | 0.013153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1322-16_0_3_line_22 |  | 21 | 22 | 0.029652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1322-16_0_3_line_23 |  | 22 | 23 | 0.00066837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1322-16_0_3_line_24 |  | 23 | 24 | 0.027709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1322-16_0_3_line_25 |  | 25 | 26 | 0.023467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1322-16_0_3_line_26 |  | 26 | 27 | 0.0021736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1322-16_0_3_line_27 |  | 27 | 28 | 0.011092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1322-16_0_3_line_28 |  | 28 | 29 | 0.00077821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1322-16_0_3_line_29 |  | 29 | 30 | 0.019081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1322-16_0_3_line_30 |  | 30 | 31 | 0.01797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1322-16_0_3_line_31 |  | 31 | 32 | 0.0092726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1322-16_0_3_line_32 |  | 32 | 33 | 0.0041652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1322-16_0_3_line_33 |  | 33 | 34 | 0.027495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1322-16_0_3_line_34 |  | 34 | 35 | 0.0010066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1322-16_0_3_line_35 |  | 35 | 36 | 0.02135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1322-16_0_3_line_36 |  | 36 | 37 | 0.00041802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1322-16_0_3_line_37 |  | 37 | 38 | 0.03723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1322-16_0_3_line_38 |  | 38 | 39 | 0.023089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1322-16_0_3_line_39 |  | 38 | 40 | 0.013461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1322-16_0_3_line_40 |  | 39 | 54 | 0.029649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1322-16_0_3_line_41 |  | 40 | 46 | 0.01093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1322-16_0_3_line_42 |  | 41 | 42 | 0.016127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1322-16_0_3_line_43 |  | 41 | 43 | 0.004883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1322-16_0_3_line_44 |  | 42 | 44 | 0.0053288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1322-16_0_3_line_45 |  | 43 | 45 | 0.10519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1322-16_0_3_line_46 |  | 44 | 46 | 0.024475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1322-16_0_3_line_47 |  | 45 | 47 | 0.018518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1322-16_0_3_line_48 |  | 45 | 48 | 0.025752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1322-16_0_3_line_49 |  | 47 | 49 | 0.0024115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1322-16_0_3_line_50 |  | 48 | 50 | 0.11597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1322-16_0_3_line_51 |  | 49 | 51 | 0.029763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1322-16_0_3_line_52 |  | 51 | 52 | 0.0046877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1322-16_0_3_line_53 |  | 52 | 53 | 0.029874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1322-16_0_3_line_54 |  | 53 | 55 | 0.0045813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1322-16_0_3_line_55 |  | 55 | 56 | 0.026616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1322-16_0_3_line_56 |  | 56 | 57 | 0.0063985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1322-16_0_3_trafo_28 | 0.63 MVA 20/0.4 kV | 58 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2702739.4592 | 1229443.4515 | 2702722.9023 | 1229418.2453
1 | 2702739.4592 | 1229443.4515 | 2702753.5494 | 1229464.9024
2 | 2702770.1961 | 1229490.2453 | 2702753.5494 | 1229464.9024
3 | 2702770.1961 | 1229490.2453 | 2702785.835 | 1229514.0539
4 | 2702828.6631 | 1229407.9854 | 2702844.5735 | 1229401.6523
5 | 2702847.8224 | 1229400.3591 | 2702844.5735 | 1229401.6523
6 | 2702785.835 | 1229514.0539 | 2702803.5969 | 1229541.0946
7 | 2702818.6003 | 1229563.9357 | 2702803.5969 | 1229541.0946
8 | 2702818.6003 | 1229563.9357 | 2702780.3686 | 1229573.8403
9 | 2702835.4981 | 1229589.6609 | 2702818.6003 | 1229563.9357
10 | 2702780.3686 | 1229573.8403 | 2702781.3304 | 1229581.3181 | 2702780.6792 | 1229586.9888 | 2702783.3869 | 1229597.788 | 2702786.7693 | 1229605.5989
11 | 2702847.5253 | 1229607.971 | 2702835.4981 | 1229589.6609
12 | 2702894.6665 | 1229575.7682 | 2702897.4436 | 1229572.0633 | 2702900.8845 | 1229564.5728 | 2702901.4283 | 1229559.4229 | 2702901.4115 | 1229557.3046
13 | 2702894.6665 | 1229575.7682 | 2702847.5253 | 1229607.971
14 | 2702901.3984 | 1229555.6458 | 2702901.4115 | 1229557.3046
15 | 2702847.5253 | 1229607.971 | 2702881.3101 | 1229659.2711
16 | 2702880.0741 | 1229670.7027 | 2702882.1933 | 1229668.2153 | 2702881.3101 | 1229659.2711
17 | 2702961.7243 | 1229798.8441 | 2702974.2722 | 1229841.7604
18 | 2702961.7243 | 1229798.8441 | 2702956.146 | 1229787.852
19 | 2702880.0741 | 1229670.7027 | 2702884.7056 | 1229676.7206 | 2702893.3523 | 1229690.6472 | 2702901.159 | 1229701.8906 | 2702907.1275 | 1229709.3325
20 | 2702920.2991 | 1229726.4253 | 2702913.5303 | 1229717.3161 | 2702907.1275 | 1229709.3325
21 | 2702950.1935 | 1229776.1226 | 2702956.146 | 1229787.852
22 | 2702950.1935 | 1229776.1226 | 2702946.1768 | 1229768.2077 | 2702935.3946 | 1229750.4487
23 | 2702935.3946 | 1229750.4487 | 2702935.0478 | 1229749.8773
24 | 2702920.2991 | 1229726.4253 | 2702921.2309 | 1229727.6793 | 2702933.8891 | 1229747.9689 | 2702935.0478 | 1229749.8773
25 | 2702901.3984 | 1229555.6458 | 2702901.2124 | 1229532.1795
26 | 2702901.1952 | 1229530.0059 | 2702901.2124 | 1229532.1795
27 | 2702901.1952 | 1229530.0059 | 2702901.1073 | 1229518.9139
28 | 2702901.1012 | 1229518.1357 | 2702901.1073 | 1229518.9139
29 | 2702901.1012 | 1229518.1357 | 2702900.95 | 1229499.055
30 | 2702900.95 | 1229499.055 | 2702900.8076 | 1229481.085
31 | 2702900.8076 | 1229481.085 | 2702900.7341 | 1229471.8127
32 | 2702900.7011 | 1229467.6476 | 2702900.7341 | 1229471.8127
33 | 2702900.7011 | 1229467.6476 | 2702900.4832 | 1229440.1531
34 | 2702900.4753 | 1229439.1465 | 2702900.4832 | 1229440.1531
35 | 2702900.4753 | 1229439.1465 | 2702900.3061 | 1229417.7974
36 | 2702900.3028 | 1229417.3794 | 2702900.3061 | 1229417.7974
37 | 2702896.8213 | 1229380.8552 | 2702900.0699 | 1229387.9833 | 2702900.3028 | 1229417.3794
38 | 2702896.8213 | 1229380.8552 | 2702875.3693 | 1229389.3941
39 | 2702896.8213 | 1229380.8552 | 2702899.9107 | 1229377.9175 | 2702906.8278 | 1229371.8549
40 | 2702875.3693 | 1229389.3941 | 2702847.8224 | 1229400.3591
41 | 2702917.076 | 1229368.0547 | 2702906.8278 | 1229371.8549 | 2702906.8278 | 1229371.8549
42 | 2702933.4889 | 1229327.6747 | 2702930.1508 | 1229343.4521
43 | 2702934.4997 | 1229322.8975 | 2702933.4889 | 1229327.6747
44 | 2702929.0478 | 1229348.6654 | 2702930.1508 | 1229343.4521
45 | 2702934.4997 | 1229322.8975 | 2702881.9206 | 1229231.7869
46 | 2702929.0478 | 1229348.6654 | 2702927.1958 | 1229357.4189 | 2702924.5494 | 1229363.6555 | 2702920.1206 | 1229366.9257 | 2702917.076 | 1229368.0547
47 | 2702881.9206 | 1229231.7869 | 2702868.2774 | 1229240.7465 | 2702866.2178 | 1229241.5083
48 | 2702900.0084 | 1229216.8999 | 2702893.5149 | 1229216.4316 | 2702890.8023 | 1229219.9206 | 2702881.9206 | 1229231.7869
49 | 2702866.2178 | 1229241.5083 | 2702863.9561 | 1229242.3449
50 | 2702900.0084 | 1229216.8999 | 2702983.6327 | 1229136.5542
51 | 2702863.9561 | 1229242.3449 | 2702836.0411 | 1229252.6701
52 | 2702831.6445 | 1229254.2963 | 2702836.0411 | 1229252.6701
53 | 2702831.6445 | 1229254.2963 | 2702803.626 | 1229264.6598
54 | 2702799.3292 | 1229266.2491 | 2702803.626 | 1229264.6598
55 | 2702799.3292 | 1229266.2491 | 2702774.3658 | 1229275.4826
56 | 2702768.3647 | 1229277.7023 | 2702768.3647 | 1229277.7023 | 2702774.3658 | 1229275.4826

## bus_geodata
| x | y | coords
0 | 2702739.4592 | 1229443.4515
1 | 2702722.9023 | 1229418.2453
2 | 2702753.5494 | 1229464.9024
3 | 2702770.1961 | 1229490.2453
4 | 2702828.6631 | 1229407.9854
5 | 2702844.5735 | 1229401.6523
6 | 2702785.835 | 1229514.0539
7 | 2702803.5969 | 1229541.0946
8 | 2702818.6003 | 1229563.9357
9 | 2702780.3686 | 1229573.8403
10 | 2702835.4981 | 1229589.6609
11 | 2702894.6665 | 1229575.7682
12 | 2702901.4115 | 1229557.3046
13 | 2702847.5253 | 1229607.971
14 | 2702881.3101 | 1229659.2711
15 | 2702786.7693 | 1229605.5989
16 | 2702974.2722 | 1229841.7604
17 | 2702961.7243 | 1229798.8441
18 | 2702880.0741 | 1229670.7027
19 | 2702907.1275 | 1229709.3326
20 | 2702956.146 | 1229787.852
21 | 2702950.1935 | 1229776.1226
22 | 2702935.3946 | 1229750.4487
23 | 2702935.0478 | 1229749.8773
24 | 2702920.2991 | 1229726.4253
25 | 2702901.3984 | 1229555.6458
26 | 2702901.2124 | 1229532.1795
27 | 2702901.1952 | 1229530.0059
28 | 2702901.1073 | 1229518.9139
29 | 2702901.1012 | 1229518.1357
30 | 2702900.95 | 1229499.055
31 | 2702900.8076 | 1229481.085
32 | 2702900.7341 | 1229471.8127
33 | 2702900.7011 | 1229467.6476
34 | 2702900.4832 | 1229440.1531
35 | 2702900.4753 | 1229439.1465
36 | 2702900.3061 | 1229417.7974
37 | 2702900.3028 | 1229417.3794
38 | 2702896.8213 | 1229380.8552
39 | 2702875.3693 | 1229389.3941
40 | 2702906.8278 | 1229371.8549
41 | 2702933.4889 | 1229327.6747
42 | 2702930.1508 | 1229343.4521
43 | 2702934.4997 | 1229322.8975
44 | 2702929.0478 | 1229348.6654
45 | 2702881.9206 | 1229231.7869
46 | 2702917.076 | 1229368.0547
47 | 2702866.2178 | 1229241.5083
48 | 2702900.0084 | 1229216.8999
49 | 2702863.9561 | 1229242.3449
50 | 2702983.6327 | 1229136.5542
51 | 2702836.0411 | 1229252.6701
52 | 2702831.6445 | 1229254.2963
53 | 2702803.626 | 1229264.6598
54 | 2702847.8224 | 1229400.3591
55 | 2702799.3292 | 1229266.2491
56 | 2702774.3658 | 1229275.4826
57 | 2702768.3647 | 1229277.7023
58 | 2702631.6133 | 1229133.0623

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97845 | -0.41504 | 0.003009 | 0.00075412
1 | 0.97839 | -0.41622 | 0.0021503 | 0.00053891
2 | 0.97857 | -0.41262 | 0.0026593 | 0.00066648
3 | 0.97879 | -0.40831 | 0.0041129 | 0.0010308
4 | 0.99275 | -0.13886 | 0.0011046 | 0.00027684
5 | 0.99277 | -0.13853 | 0.0019836 | 0.00049714
6 | 0.97911 | -0.40213 | 0.013827 | 0.0034654
7 | 0.97988 | -0.38698 | 0.0069508 | 0.001742
8 | 0.98071 | -0.37077 | 0.010996 | 0.0027559
9 | 0.97986 | -0.38733 | 0 | 0
10 | 0.98261 | -0.33356 | 0.014711 | 0.003687
11 | 0.98991 | -0.19221 | 0.0026494 | 0.000664
12 | 0.99195 | -0.15299 | 0.008828 | 0.0022125
13 | 0.98426 | -0.30137 | 0 | 0
14 | 0.98283 | -0.3294 | 0.0040893 | 0.0010249
15 | 0.97916 | -0.40115 | 0.023123 | 0.0057952
16 | 0.98031 | -0.37872 | 0.0029327 | 0.000735
17 | 0.98043 | -0.37635 | 0.0012702 | 0.00031833
18 | 0.98258 | -0.3341 | 0 | 0
19 | 0.98166 | -0.35222 | 0.0017682 | 0.00044316
20 | 0.98047 | -0.37541 | 0.0016062 | 0.00040254
21 | 0.98055 | -0.37402 | 0.0028902 | 0.00072435
22 | 0.98078 | -0.36934 | 0.0070638 | 0.0017704
23 | 0.98079 | -0.36915 | 0.0028148 | 0.00070545
24 | 0.98127 | -0.35983 | 0.00088993 | 0.00022304
25 | 0.99214 | -0.14952 | 0.0036753 | 0.00092112
26 | 0.99478 | -0.098941 | 0.0013342 | 0.00033438
27 | 0.99503 | -0.094219 | 0.0054731 | 0.0013717
28 | 0.99635 | -0.069092 | 0.0022483 | 0.00056347
29 | 0.99645 | -0.067301 | 0.0051617 | 0.0012936
30 | 0.99885 | -0.021771 | 0.0025993 | 0.00065145
31 | 1 | 0 | -0.23011 | -0.058371
32 | 0.99926 | -0.014031 | 0.0034658 | 0.00086861
33 | 0.99895 | -0.020088 | 0.0025124 | 0.00062967
34 | 0.99691 | -0.058957 | 0.0020638 | 0.00051723
35 | 0.99684 | -0.060346 | 0.0033359 | 0.00083605
36 | 0.99536 | -0.088613 | 0.0048261 | 0.0012095
37 | 0.99534 | -0.089132 | 0.0065637 | 0.001645
38 | 0.99315 | -0.13113 | 0 | 0
39 | 0.99294 | -0.13522 | 0.0040807 | 0.0010227
40 | 0.99248 | -0.14397 | 0.0023375 | 0.00058583
41 | 0.98999 | -0.19218 | 0.0025596 | 0.00064148
42 | 0.99063 | -0.17977 | 0.0027456 | 0.00068812
43 | 0.98981 | -0.19572 | 0.0079737 | 0.0019984
44 | 0.99085 | -0.17542 | 0.003404 | 0.00085312
45 | 0.98664 | -0.2572 | 0.0023432 | 0.00058726
46 | 0.99197 | -0.15396 | 0.0021824 | 0.00054695
47 | 0.98623 | -0.26522 | 0.0027325 | 0.00068482
48 | 0.98649 | -0.26008 | 0.0031398 | 0.00078692
49 | 0.98618 | -0.26614 | 0.0035014 | 0.00087753
50 | 0.98616 | -0.26651 | 0.0030942 | 0.00077549
51 | 0.98569 | -0.27571 | 0.0022273 | 0.00055821
52 | 0.98562 | -0.27703 | 0.0039399 | 0.00098742
53 | 0.9853 | -0.28334 | 0.0030019 | 0.00075233
54 | 0.99278 | -0.13834 | 0.0028516 | 0.00071469
55 | 0.98526 | -0.28406 | 0.0014482 | 0.00036294
56 | 0.98508 | -0.28755 | 0.0029538 | 0.00074029
57 | 0.98505 | -0.28806 | 0.0043572 | 0.001092
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0021504 | 0.00053861 | -0.0021503 | -0.00053891 | 1.2095e-07 | -3.0135e-07 | 0.0032702 | 0.0032704 | 0.0032704 | 0.97845 | -0.41504 | 0.97839 | -0.41622 | 0.89845
1 | -0.0051594 | -0.0012927 | 0.00516 | 0.0012928 | 5.9249e-07 | 5.681e-08 | 0.0078462 | 0.0078461 | 0.0078462 | 0.97845 | -0.41504 | 0.97857 | -0.41262 | 2.1556
2 | -0.0078193 | -0.0019593 | 0.0078209 | 0.0019599 | 1.6074e-06 | 6.4773e-07 | 0.01189 | 0.01189 | 0.01189 | 0.97857 | -0.41262 | 0.97879 | -0.40831 | 3.2664
3 | -0.011934 | -0.0029907 | 0.011937 | 0.0029926 | 3.516e-06 | 1.8921e-06 | 0.018142 | 0.018142 | 0.018142 | 0.97879 | -0.40831 | 0.97911 | -0.40213 | 4.9842
4 | -0.0011046 | -0.00027684 | 0.0011046 | 0.00027663 | 1.7602e-08 | -2.1016e-07 | 0.0016557 | 0.0016556 | 0.0016557 | 0.99275 | -0.13886 | 0.99277 | -0.13853 | 0.45485
5 | -0.0030882 | -0.00077377 | 0.0030883 | 0.00077374 | 2.8095e-08 | -2.7234e-08 | 0.0046287 | 0.0046287 | 0.0046287 | 0.99277 | -0.13853 | 0.99278 | -0.13834 | 1.2716
6 | -0.025765 | -0.006458 | 0.025783 | 0.0064695 | 1.8601e-05 | 1.1498e-05 | 0.039157 | 0.039156 | 0.039157 | 0.97911 | -0.40213 | 0.97988 | -0.38698 | 10.7573
7 | -0.032734 | -0.0082116 | 0.032759 | 0.0082274 | 2.5325e-05 | 1.5864e-05 | 0.049712 | 0.049711 | 0.049712 | 0.97988 | -0.38698 | 0.98071 | -0.37077 | 13.657
8 | 0.023157 | 0.0058157 | -0.023138 | -0.0058045 | 1.8288e-05 | 1.1206e-05 | 0.03514 | 0.03514 | 0.03514 | 0.98071 | -0.37077 | 0.97986 | -0.38733 | 9.6538
9 | -0.066912 | -0.016799 | 0.067031 | 0.016875 | 0.00011899 | 7.5765e-05 | 0.10154 | 0.10154 | 0.10154 | 0.98071 | -0.37077 | 0.98261 | -0.33356 | 27.8944
10 | 0.023138 | 0.0058045 | -0.023123 | -0.0057952 | 1.5231e-05 | 9.3338e-06 | 0.03514 | 0.03514 | 0.03514 | 0.97986 | -0.38733 | 0.97916 | -0.40115 | 9.6538
11 | -0.081742 | -0.020562 | 0.081868 | 0.020642 | 0.00012594 | 8.0321e-05 | 0.12381 | 0.12381 | 0.12381 | 0.98261 | -0.33356 | 0.98426 | -0.30137 | 34.0147
12 | -0.11048 | -0.028058 | 0.11069 | 0.028191 | 0.00020894 | 0.00013346 | 0.16621 | 0.16621 | 0.16621 | 0.98991 | -0.19221 | 0.99195 | -0.15299 | 45.6609
13 | 0.10783 | 0.027394 | -0.10727 | -0.027034 | 0.00056341 | 0.00035985 | 0.16222 | 0.16222 | 0.16222 | 0.98991 | -0.19221 | 0.98426 | -0.30137 | 44.5669
14 | -0.11952 | -0.030404 | 0.11954 | 0.030417 | 2.0031e-05 | 1.2798e-05 | 0.17945 | 0.17945 | 0.17945 | 0.99195 | -0.15299 | 0.99214 | -0.14952 | 49.299
15 | 0.025401 | 0.006392 | -0.025367 | -0.006371 | 3.3984e-05 | 2.097e-05 | 0.03841 | 0.03841 | 0.03841 | 0.98426 | -0.30137 | 0.98283 | -0.3294 | 10.5523
16 | 0.021277 | 0.0053461 | -0.021273 | -0.0053432 | 4.7708e-06 | 2.898e-06 | 0.032219 | 0.032219 | 0.032219 | 0.98283 | -0.3294 | 0.98258 | -0.3341 | 8.8514
17 | -0.0029327 | -0.000735 | 0.002933 | 0.00073465 | 3.3226e-07 | -3.5115e-07 | 0.0044516 | 0.0044514 | 0.0044516 | 0.98031 | -0.37872 | 0.98043 | -0.37635 | 1.223
18 | -0.0042032 | -0.001053 | 0.0042034 | 0.0010529 | 1.881e-07 | -3.507e-08 | 0.0063791 | 0.0063791 | 0.0063791 | 0.98043 | -0.37635 | 0.98047 | -0.37541 | 1.7525
19 | 0.021273 | 0.0053432 | -0.021254 | -0.005332 | 1.838e-05 | 1.1165e-05 | 0.032219 | 0.032219 | 0.032219 | 0.98258 | -0.3341 | 0.98166 | -0.35222 | 8.8515
20 | 0.019486 | 0.0048889 | -0.019479 | -0.0048846 | 7.0621e-06 | 4.247e-06 | 0.029539 | 0.029539 | 0.029539 | 0.98166 | -0.35222 | 0.98127 | -0.35983 | 8.1152
21 | -0.0058095 | -0.0014555 | 0.0058099 | 0.0014556 | 3.8342e-07 | 7.9487e-08 | 0.0088167 | 0.0088166 | 0.0088167 | 0.98047 | -0.37541 | 0.98055 | -0.37402 | 2.4222
22 | -0.0087001 | -0.0021799 | 0.0087021 | 0.0021808 | 1.9382e-06 | 8.6632e-07 | 0.013203 | 0.013202 | 0.013203 | 0.98055 | -0.37402 | 0.98078 | -0.36934 | 3.6271
23 | -0.015766 | -0.0039511 | 0.015766 | 0.0039512 | 1.434e-07 | 8.3341e-08 | 0.023919 | 0.023919 | 0.023919 | 0.98078 | -0.36934 | 0.98079 | -0.36915 | 6.5713
24 | -0.018581 | -0.0046567 | 0.018589 | 0.0046616 | 8.2574e-06 | 4.9348e-06 | 0.02819 | 0.02819 | 0.02819 | 0.98079 | -0.36915 | 0.98127 | -0.35983 | 7.7445
25 | -0.12321 | -0.031338 | 0.12351 | 0.03153 | 0.00030106 | 0.00019237 | 0.18496 | 0.18496 | 0.18496 | 0.99214 | -0.14952 | 0.99478 | -0.098941 | 50.8133
26 | -0.12485 | -0.031865 | 0.12488 | 0.031883 | 2.849e-05 | 1.8206e-05 | 0.18696 | 0.18696 | 0.18696 | 0.99478 | -0.098941 | 0.99503 | -0.094219 | 51.3615
27 | -0.13035 | -0.033254 | 0.13051 | 0.033356 | 0.0001584 | 0.00010123 | 0.19514 | 0.19514 | 0.19514 | 0.99503 | -0.094219 | 0.99635 | -0.069092 | 53.6101
28 | -0.13276 | -0.033919 | 0.13277 | 0.033927 | 1.1498e-05 | 7.3489e-06 | 0.1985 | 0.1985 | 0.1985 | 0.99635 | -0.069092 | 0.99645 | -0.067301 | 54.5325
29 | -0.13793 | -0.03522 | 0.13823 | 0.035415 | 0.00030426 | 0.00019448 | 0.20621 | 0.20621 | 0.20621 | 0.99645 | -0.067301 | 0.99885 | -0.021771 | 56.6501
30 | -0.14083 | -0.036066 | 0.14098 | 0.036161 | 0.0001487 | 9.47e-05 | 0.21008 | 0.21008 | 0.21008 | 0.99885 | -0.021771 | 1 | 0 | 28.8569
31 | 0.087482 | 0.02221 | -0.087423 | -0.022172 | 5.9014e-05 | 3.7647e-05 | 0.13027 | 0.13027 | 0.13027 | 1 | 0 | 0.99926 | -0.014031 | 35.7897
32 | 0.083957 | 0.021303 | -0.083932 | -0.021288 | 2.445e-05 | 1.5593e-05 | 0.12511 | 0.12511 | 0.12511 | 0.99926 | -0.014031 | 0.99895 | -0.020088 | 34.3719
33 | 0.08142 | 0.020658 | -0.081268 | -0.020561 | 0.00015189 | 9.6849e-05 | 0.12137 | 0.12137 | 0.12137 | 0.99895 | -0.020088 | 0.99691 | -0.058957 | 33.3438
34 | 0.079204 | 0.020044 | -0.079199 | -0.020041 | 5.2819e-06 | 3.3673e-06 | 0.11829 | 0.11829 | 0.11829 | 0.99691 | -0.058957 | 0.99684 | -0.060346 | 32.4975
35 | 0.075863 | 0.019205 | -0.07576 | -0.019139 | 0.0001028 | 6.5511e-05 | 0.11331 | 0.11331 | 0.11331 | 0.99684 | -0.060346 | 0.99536 | -0.088613 | 31.1295
36 | 0.070934 | 0.01793 | -0.070933 | -0.017928 | 1.7646e-06 | 1.1239e-06 | 0.1061 | 0.1061 | 0.1061 | 0.99536 | -0.088613 | 0.99534 | -0.089132 | 29.1475
37 | 0.064369 | 0.016283 | -0.064239 | -0.016201 | 0.00012943 | 8.2353e-05 | 0.096284 | 0.096284 | 0.096284 | 0.99534 | -0.089132 | 0.99315 | -0.13113 | 26.4517
38 | 0.010023 | 0.0025123 | -0.010021 | -0.0025113 | 1.9528e-06 | 9.5109e-07 | 0.015018 | 0.015018 | 0.015018 | 0.99315 | -0.13113 | 0.99294 | -0.13522 | 4.1258
39 | 0.054216 | 0.013689 | -0.054183 | -0.013668 | 3.3337e-05 | 2.1162e-05 | 0.081266 | 0.081266 | 0.081266 | 0.99315 | -0.13113 | 0.99248 | -0.14397 | 22.326
40 | 0.0059408 | 0.0014886 | -0.0059399 | -0.0014884 | 8.8124e-07 | 1.8055e-07 | 0.0089027 | 0.0089029 | 0.0089029 | 0.99294 | -0.13522 | 0.99278 | -0.13834 | 2.4458
41 | 0.051845 | 0.013082 | -0.05182 | -0.013066 | 2.4785e-05 | 1.5721e-05 | 0.077762 | 0.077762 | 0.077762 | 0.99248 | -0.14397 | 0.99197 | -0.15396 | 21.3632
42 | -0.043402 | -0.010923 | 0.043428 | 0.01094 | 2.5749e-05 | 1.6272e-05 | 0.065252 | 0.065252 | 0.065252 | 0.98999 | -0.19218 | 0.99063 | -0.17977 | 17.9265
43 | 0.040843 | 0.010282 | -0.040836 | -0.010277 | 6.9045e-06 | 4.3561e-06 | 0.061405 | 0.061405 | 0.061405 | 0.98999 | -0.19218 | 0.98981 | -0.19572 | 16.8696
44 | -0.046173 | -0.011628 | 0.046183 | 0.011634 | 9.618e-06 | 6.0869e-06 | 0.069376 | 0.069376 | 0.069376 | 0.99063 | -0.17977 | 0.99085 | -0.17542 | 19.0595
45 | 0.032862 | 0.008279 | -0.032766 | -0.0082187 | 9.6337e-05 | 6.0308e-05 | 0.049418 | 0.049418 | 0.049418 | 0.98981 | -0.19572 | 0.98664 | -0.2572 | 13.5765
46 | -0.049587 | -0.012487 | 0.049638 | 0.012519 | 5.0924e-05 | 3.2276e-05 | 0.074488 | 0.074488 | 0.074488 | 0.99085 | -0.17542 | 0.99197 | -0.15396 | 20.4638
47 | 0.024187 | 0.0060697 | -0.024177 | -0.006064 | 9.2415e-06 | 5.6781e-06 | 0.03648 | 0.03648 | 0.03648 | 0.98664 | -0.2572 | 0.98623 | -0.26522 | 10.0221
48 | 0.0062359 | 0.0015618 | -0.006235 | -0.0015615 | 8.5409e-07 | 2.1779e-07 | 0.0094044 | 0.0094045 | 0.0094045 | 0.98664 | -0.2572 | 0.98649 | -0.26008 | 2.5836
49 | 0.021445 | 0.0053792 | -0.021444 | -0.0053786 | 9.4683e-07 | 5.752e-07 | 0.032358 | 0.032358 | 0.032358 | 0.98623 | -0.26522 | 0.98618 | -0.26614 | 8.8894
50 | 0.0030952 | 0.00077461 | -0.0030942 | -0.00077549 | 9.4786e-07 | -8.7345e-07 | 0.0046684 | 0.0046689 | 0.0046689 | 0.98649 | -0.26008 | 0.98616 | -0.26651 | 1.2827
51 | 0.017942 | 0.0045011 | -0.017934 | -0.0044962 | 8.1815e-06 | 4.8566e-06 | 0.027074 | 0.027075 | 0.027075 | 0.98618 | -0.26614 | 0.98569 | -0.27571 | 7.4381
52 | 0.015707 | 0.003938 | -0.015706 | -0.0039374 | 9.884e-07 | 5.7283e-07 | 0.023712 | 0.023712 | 0.023712 | 0.98569 | -0.27571 | 0.98562 | -0.27703 | 6.5143
53 | 0.011766 | 0.00295 | -0.011763 | -0.0029481 | 3.5352e-06 | 1.8819e-06 | 0.017764 | 0.017764 | 0.017764 | 0.98562 | -0.27703 | 0.9853 | -0.28334 | 4.8803
54 | 0.0087608 | 0.0021958 | -0.0087605 | -0.0021957 | 3.0074e-07 | 1.3413e-07 | 0.013231 | 0.013231 | 0.013231 | 0.9853 | -0.28334 | 0.98526 | -0.28406 | 3.6348
55 | 0.0073123 | 0.0018327 | -0.0073111 | -0.0018323 | 1.2173e-06 | 4.4019e-07 | 0.011044 | 0.011044 | 0.011044 | 0.98526 | -0.28406 | 0.98508 | -0.28755 | 3.034
56 | 0.0043573 | 0.001092 | -0.0043572 | -0.001092 | 1.0395e-07 | -1.4928e-08 | 0.0065819 | 0.006582 | 0.006582 | 0.98508 | -0.28755 | 0.98505 | -0.28806 | 1.8082

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23141 | 0.058694

## res_load
| p_mw | q_mvar
0 | 0.003009 | 0.00075412
1 | 0.0021503 | 0.00053891
2 | 0.0026593 | 0.00066648
3 | 0.0041129 | 0.0010308
4 | 0.0011046 | 0.00027684
5 | 0.0019836 | 0.00049714
6 | 0.013827 | 0.0034654
7 | 0.0069508 | 0.001742
8 | 0.010996 | 0.0027559
9 | 0.014711 | 0.003687
10 | 0.0026494 | 0.000664
11 | 0.008828 | 0.0022125
12 | 0.0040893 | 0.0010249
13 | 0.023123 | 0.0057952
14 | 0.0029327 | 0.000735
15 | 0.0012702 | 0.00031833
16 | 0.0017682 | 0.00044316
17 | 0.0016062 | 0.00040254
18 | 0.0028902 | 0.00072435
19 | 0.0070638 | 0.0017704
20 | 0.0028148 | 0.00070545
21 | 0.00088993 | 0.00022304
22 | 0.0036753 | 0.00092112
23 | 0.0013342 | 0.00033438
24 | 0.0054731 | 0.0013717
25 | 0.0022483 | 0.00056347
26 | 0.0051617 | 0.0012936
27 | 0.0025993 | 0.00065145
28 | 0.0012926 | 0.00032395
29 | 0.0034658 | 0.00086861
30 | 0.0025124 | 0.00062967
31 | 0.0020638 | 0.00051723
32 | 0.0033359 | 0.00083605
33 | 0.0048261 | 0.0012095
34 | 0.0065637 | 0.001645
35 | 0.0040807 | 0.0010227
36 | 0.0023375 | 0.00058583
37 | 0.0025596 | 0.00064148
38 | 0.0027456 | 0.00068812
39 | 0.0079737 | 0.0019984
40 | 0.003404 | 0.00085312
41 | 0.0023432 | 0.00058726
42 | 0.0021824 | 0.00054695
43 | 0.0027325 | 0.00068482
44 | 0.0031398 | 0.00078692
45 | 0.0035014 | 0.00087753
46 | 0.0030942 | 0.00077549
47 | 0.0022273 | 0.00055821
48 | 0.0039399 | 0.00098742
49 | 0.0030019 | 0.00075233
50 | 0.0028516 | 0.00071469
51 | 0.0014482 | 0.00036294
52 | 0.0029538 | 0.00074029
53 | 0.0043572 | 0.001092

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1