## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1322-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1322-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1322-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1322-17_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1322-17_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1322-17_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1322-17_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1322-17_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1322-17_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1322-17_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1322-17_0_3_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_1322-17_0_3_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_1322-17_0_3_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_1322-17_0_3_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_1322-17_0_3_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_1322-17_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1322-17_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1322-17_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_1322-17_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1322-17_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1322-17_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1322-17_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1322-17_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1322-17_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1322-17_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1322-17_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1322-17_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1322-17_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1322-17_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1322-17_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1322-17_0_3_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_1322-17_0_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_1322-17_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1322-17_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1322-17_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1322-17_0_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1322-17_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_1322-17_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1322-17_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_1322-17_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1322-17_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1322-17_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1322-17_0_3_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_1322-17_0_3_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_1322-17_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1322-17_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1322-17_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1322-17_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1322-17_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1322-17_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_1322-17_0_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_1322-17_0_3_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_1322-17_0_3_node_84 | 0.4 | n |  | TRUE
53 | bus_LV_1322-17_0_3_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_1322-17_0_3_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_1322-17_0_3_node_83 | 0.4 | n |  | TRUE
56 | bus_LV_1322-17_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_1322-17_0_3_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_1322-17_0_3_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_1322-17_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_1322-17_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_1322-17_0_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_1322-17_0_3_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_1322-17_0_3_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_1322-17_0_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_1322-17_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_1322-17_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_1322-17_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_1322-17_0_3_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_1322-17_0_3_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_1322-17_0_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_1322-17_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_1322-17_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_1322-17_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_1322-17_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_1322-17_0_3_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_1322-17_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_1322-17_0_3_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_1322-17_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_1322-17_0_3_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_1322-17_0_3_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_1322-17_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_1322-17_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_1322-17_0_3_node_79 | 0.4 | n |  | TRUE
84 | bus_MV_16_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1322-17_0_3_load_0 | 0 | 0.0035338 | 0.00088564 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1322-17_0_3_load_1 | 1 | 0.0019746 | 0.00049488 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1322-17_0_3_load_3 | 3 | 0.0030377 | 0.00076132 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1322-17_0_3_load_6 | 5 | 0.0035636 | 0.00089313 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1322-17_0_3_load_8 | 8 | 0.0099203 | 0.0024863 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1322-17_0_3_load_9 | 9 | 0.0018045 | 0.00045225 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1322-17_0_3_load_29 | 10 | 0.0054889 | 0.0013756 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1322-17_0_3_load_28 | 12 | 0.00164 | 0.00041101 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1322-17_0_3_load_49 | 14 | 0.0065267 | 0.0016357 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1322-17_0_3_load_10 | 15 | 0.0012837 | 0.00032173 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1322-17_0_3_load_11 | 16 | 0.0055161 | 0.0013825 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1322-17_0_3_load_20 | 17 | 0.0032489 | 0.00081424 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1322-17_0_3_load_21 | 18 | 0.0016553 | 0.00041485 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1322-17_0_3_load_12 | 19 | 0.0031254 | 0.00078329 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1322-17_0_3_load_13 | 20 | 0.0041939 | 0.0010511 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1322-17_0_3_load_19 | 21 | 0.0058855 | 0.0014751 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1322-17_0_3_load_17 | 22 | 0.0062086 | 0.001556 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1322-17_0_3_load_15 | 24 | 0.0017298 | 0.00043353 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1322-17_0_3_load_16 | 25 | 0.00628 | 0.0015739 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1322-17_0_3_load_18 | 26 | 0.0043026 | 0.0010783 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1322-17_0_3_load_23 | 27 | 0.00088592 | 0.00022203 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1322-17_0_3_load_26 | 28 | 0.015335 | 0.0038433 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1322-17_0_3_load_27 | 29 | 0.0039054 | 0.00097879 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1322-17_0_3_load_37 | 30 | 0.0041654 | 0.001044 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1322-17_0_3_load_36 | 31 | 0.0038252 | 0.00095869 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1322-17_0_3_load_22 | 32 | 0.0078535 | 0.0019683 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1322-17_0_3_load_24 | 33 | 0.0070788 | 0.0017741 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1322-17_0_3_load_25 | 34 | 0.0024832 | 0.00062235 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1322-17_0_3_load_38 | 35 | 0.0061964 | 0.001553 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1322-17_0_3_load_30 | 37 | 0.002656 | 0.00066566 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1322-17_0_3_load_31 | 38 | 0.0039586 | 0.00099212 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1322-17_0_3_load_32 | 39 | 0.0046857 | 0.0011743 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1322-17_0_3_load_35 | 41 | 0.0039458 | 0.0009889 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1322-17_0_3_load_44 | 43 | 0.0040142 | 0.0010061 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1322-17_0_3_load_39 | 44 | 0.0039364 | 0.00098654 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1322-17_0_3_load_47 | 49 | 0.0012758 | 0.00031974 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1322-17_0_3_load_48 | 50 | 0.0045826 | 0.0011485 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1322-17_0_3_load_85 | 51 | 0.0022839 | 0.0005724 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1322-17_0_3_load_84 | 52 | 0.001741 | 0.00043634 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1322-17_0_3_load_82 | 53 | 0.0022768 | 0.00057063 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1322-17_0_3_load_81 | 54 | 0.0027491 | 0.00068898 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1322-17_0_3_load_83 | 55 | 0.0027763 | 0.00069582 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1322-17_0_3_load_53 | 57 | 0.010352 | 0.0025943 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1322-17_0_3_load_54 | 58 | 0.016894 | 0.0042341 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1322-17_0_3_load_55 | 59 | 0.006835 | 0.001713 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1322-17_0_3_load_56 | 60 | 0.0037343 | 0.00093591 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1322-17_0_3_load_62 | 62 | 0.0048387 | 0.0012127 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1322-17_0_3_load_58 | 64 | 0.0092916 | 0.0023287 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1322-17_0_3_load_61 | 66 | 0.010179 | 0.0025512 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1322-17_0_3_load_65 | 69 | 0.0090146 | 0.0022593 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1322-17_0_3_load_68 | 71 | 0.0064853 | 0.0016254 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1322-17_0_3_load_67 | 72 | 0.0092512 | 0.0023186 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1322-17_0_3_load_69 | 74 | 0.014671 | 0.0036769 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1322-17_0_3_load_78 | 75 | 0.0050466 | 0.0012648 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1322-17_0_3_load_70 | 76 | 0.0087246 | 0.0021866 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1322-17_0_3_load_76 | 77 | 0.0055126 | 0.0013816 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1322-17_0_3_load_72 | 78 | 0.0028687 | 0.00071898 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1322-17_0_3_load_73 | 79 | 0.0016299 | 0.0004085 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1322-17_0_3_load_75 | 81 | 0.0098819 | 0.0024766 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1322-17_0_3_load_77 | 82 | 0.004835 | 0.0012118 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1322-17_0_3_load_79 | 83 | 0.0037258 | 0.00093376 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1322-17_0_3_line_0 |  | 0 | 1 | 0.0010206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1322-17_0_3_line_1 |  | 0 | 2 | 0.023339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1322-17_0_3_line_2 |  | 1 | 3 | 0.018506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1322-17_0_3_line_3 |  | 2 | 4 | 0.037568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1322-17_0_3_line_4 |  | 3 | 5 | 0.014893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1322-17_0_3_line_5 |  | 4 | 9 | 0.029679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1322-17_0_3_line_6 |  | 5 | 7 | 0.0308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1322-17_0_3_line_7 |  | 6 | 7 | 0.016775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1322-17_0_3_line_8 |  | 6 | 8 | 0.010593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1322-17_0_3_line_9 |  | 7 | 10 | 0.0088681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1322-17_0_3_line_10 |  | 8 | 11 | 0.015671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1322-17_0_3_line_11 |  | 10 | 12 | 0.0092105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1322-17_0_3_line_12 |  | 11 | 13 | 0.016471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1322-17_0_3_line_13 |  | 11 | 14 | 0.041931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1322-17_0_3_line_14 |  | 12 | 37 | 0.0018767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1322-17_0_3_line_15 |  | 13 | 59 | 0.005157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1322-17_0_3_line_16 |  | 13 | 60 | 0.023187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1322-17_0_3_line_17 |  | 14 | 56 | 0.02987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1322-17_0_3_line_18 |  | 15 | 16 | 0.025346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1322-17_0_3_line_19 |  | 16 | 17 | 0.010656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1322-17_0_3_line_20 |  | 17 | 18 | 0.032647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1322-17_0_3_line_21 |  | 18 | 27 | 0.0026378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1322-17_0_3_line_22 |  | 19 | 20 | 0.041867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1322-17_0_3_line_23 |  | 20 | 21 | 0.018069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1322-17_0_3_line_24 |  | 21 | 22 | 0.011222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1322-17_0_3_line_25 |  | 22 | 23 | 0.035088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1322-17_0_3_line_26 |  | 23 | 24 | 0.03782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1322-17_0_3_line_27 |  | 23 | 25 | 0.021272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1322-17_0_3_line_28 |  | 23 | 26 | 0.023708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1322-17_0_3_line_29 |  | 24 | 27 | 0.014963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1322-17_0_3_line_30 |  | 25 | 28 | 0.042381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1322-17_0_3_line_31 |  | 26 | 29 | 0.005046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1322-17_0_3_line_32 |  | 28 | 30 | 0.0021578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1322-17_0_3_line_33 |  | 29 | 31 | 0.004191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1322-17_0_3_line_34 |  | 30 | 35 | 0.016021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1322-17_0_3_line_35 |  | 31 | 36 | 0.019927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1322-17_0_3_line_36 |  | 32 | 33 | 0.043139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1322-17_0_3_line_37 |  | 33 | 34 | 0.023883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1322-17_0_3_line_38 |  | 34 | 35 | 0.010713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1322-17_0_3_line_39 |  | 36 | 41 | 0.02199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1322-17_0_3_line_40 |  | 36 | 40 | 0.026218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1322-17_0_3_line_41 |  | 37 | 38 | 0.0056563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_1322-17_0_3_line_42 |  | 38 | 39 | 0.037374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1322-17_0_3_line_43 |  | 39 | 40 | 0.075306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1322-17_0_3_line_44 |  | 41 | 42 | 0.0041201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1322-17_0_3_line_45 |  | 42 | 43 | 0.0041476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1322-17_0_3_line_46 |  | 43 | 46 | 0.027998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1322-17_0_3_line_47 |  | 44 | 45 | 0.022554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1322-17_0_3_line_48 |  | 44 | 46 | 0.036757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1322-17_0_3_line_49 |  | 45 | 47 | 0.004918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1322-17_0_3_line_50 |  | 46 | 48 | 0.020495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1322-17_0_3_line_51 |  | 47 | 49 | 0.02962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1322-17_0_3_line_52 |  | 47 | 50 | 0.018672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1322-17_0_3_line_53 |  | 48 | 51 | 0.064409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1322-17_0_3_line_54 |  | 49 | 52 | 0.08897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1322-17_0_3_line_55 |  | 50 | 53 | 0.021088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1322-17_0_3_line_56 |  | 51 | 54 | 0.032453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1322-17_0_3_line_57 |  | 53 | 55 | 0.04129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1322-17_0_3_line_58 |  | 56 | 57 | 0.020273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1322-17_0_3_line_59 |  | 56 | 58 | 0.058148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1322-17_0_3_line_60 |  | 57 | 61 | 0.015837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1322-17_0_3_line_61 |  | 61 | 62 | 0.011591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1322-17_0_3_line_62 |  | 61 | 63 | 0.020962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1322-17_0_3_line_63 |  | 63 | 64 | 0.013773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1322-17_0_3_line_64 |  | 64 | 65 | 0.016366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1322-17_0_3_line_65 |  | 65 | 66 | 0.0032972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1322-17_0_3_line_66 |  | 66 | 67 | 0.014824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1322-17_0_3_line_67 |  | 67 | 68 | 0.019058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1322-17_0_3_line_68 |  | 67 | 69 | 0.00083675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1322-17_0_3_line_69 |  | 68 | 70 | 0.005058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1322-17_0_3_line_70 |  | 70 | 71 | 0.011517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1322-17_0_3_line_71 |  | 71 | 74 | 0.013474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1322-17_0_3_line_72 |  | 72 | 73 | 0.01095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1322-17_0_3_line_73 |  | 73 | 75 | 0.017009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1322-17_0_3_line_74 |  | 73 | 76 | 0.015585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1322-17_0_3_line_75 |  | 74 | 76 | 0.017196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1322-17_0_3_line_76 |  | 75 | 77 | 0.013226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1322-17_0_3_line_77 |  | 77 | 80 | 0.0010872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1322-17_0_3_line_78 |  | 78 | 79 | 0.002475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1322-17_0_3_line_79 |  | 79 | 80 | 0.0086445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1322-17_0_3_line_80 |  | 80 | 81 | 0.019574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1322-17_0_3_line_81 |  | 81 | 82 | 0.029618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1322-17_0_3_line_82 |  | 82 | 83 | 0.005082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1322-17_0_3_trafo_56 | 0.63 MVA 20/0.4 kV | 84 | 60 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2703299.2337 | 1230188.4174 | 2703299.3301 | 1230187.4014
1 | 2703302.0283 | 1230209.2171 | 2703297.5325 | 1230206.3369 | 2703299.2337 | 1230188.4174
2 | 2703299.3301 | 1230187.4014 | 2703301.0791 | 1230168.9781
3 | 2703305.595 | 1230246.3623 | 2703301.7605 | 1230228.9827 | 2703302.0283 | 1230209.2171
4 | 2703301.0791 | 1230168.9781 | 2703302.4867 | 1230154.1514
5 | 2703305.595 | 1230246.3623 | 2703293.1826 | 1230240.3978 | 2703281.5088 | 1230234.6574 | 2703278.6105 | 1230234.6124
6 | 2703305.3975 | 1230123.4896 | 2703302.4867 | 1230154.1514
7 | 2703305.3975 | 1230123.4896 | 2703322.2207 | 1230123.7264
8 | 2703322.2207 | 1230123.7264 | 2703332.7522 | 1230122.5911
9 | 2703305.3975 | 1230123.4896 | 2703296.5789 | 1230122.5535
10 | 2703348.3327 | 1230120.9114 | 2703332.7522 | 1230122.5911
11 | 2703287.4198 | 1230121.5813 | 2703296.5789 | 1230122.5535
12 | 2703350.7375 | 1230104.6188 | 2703348.3327 | 1230120.9114
13 | 2703348.3327 | 1230120.9114 | 2703389.9241 | 1230115.586
14 | 2703285.5536 | 1230121.3832 | 2703287.4198 | 1230121.5813
15 | 2703351.3946 | 1230099.5042 | 2703350.7375 | 1230104.6188
16 | 2703337.2938 | 1230089.5407 | 2703336.7682 | 1230096.6702 | 2703350.7375 | 1230104.6188
17 | 2703419.6813 | 1230113.0236 | 2703392.754 | 1230115.2237 | 2703389.9241 | 1230115.586
18 | 2703228.9508 | 1229967.7796 | 2703228.9508 | 1229967.7796 | 2703230.7026 | 1229971.6129 | 2703231.6118 | 1229976.41 | 2703239.1411 | 1229981.3221 | 2703237.2139 | 1229988.3202
19 | 2703234.3848 | 1229998.594 | 2703237.2139 | 1229988.3202
20 | 2703234.3848 | 1229998.594 | 2703225.7171 | 1230030.0698 | 2703225.7171 | 1230030.0698
21 | 2703224.6589 | 1230032.4861 | 2703225.7171 | 1230030.0698
22 | 2703129.2529 | 1230016.2462 | 2703135.854 | 1229974.9031 | 2703135.854 | 1229974.9031
23 | 2703146.0998 | 1230020.5844 | 2703129.1386 | 1230016.9624 | 2703129.2529 | 1230016.2462
24 | 2703157.0743 | 1230022.9281 | 2703146.0998 | 1230020.5844
25 | 2703181.709 | 1230038.1121 | 2703181.6769 | 1230028.182 | 2703157.0743 | 1230022.9281
26 | 2703181.709 | 1230038.1121 | 2703218.656 | 1230046.1926
27 | 2703181.709 | 1230038.1121 | 2703181.6769 | 1230028.182 | 2703170.5852 | 1230025.8133
28 | 2703181.709 | 1230038.1121 | 2703166.6568 | 1230056.4285
29 | 2703218.656 | 1230046.1926 | 2703218.656 | 1230046.1926 | 2703224.6589 | 1230032.4861
30 | 2703170.5852 | 1230025.8133 | 2703129.1386 | 1230016.9624 | 2703129.1386 | 1230016.9624
31 | 2703163.4531 | 1230060.327 | 2703166.6568 | 1230056.4285
32 | 2703129.4788 | 1230014.8316 | 2703129.1386 | 1230016.9624
33 | 2703163.4531 | 1230060.327 | 2703160.7922 | 1230063.5649
34 | 2703132.0048 | 1229999.0108 | 2703129.4788 | 1230014.8316
35 | 2703148.1405 | 1230078.9602 | 2703160.7922 | 1230063.5649
36 | 2703188.481 | 1229976.7417 | 2703184.2976 | 1229976.7336 | 2703161.0884 | 1229979.4664 | 2703149.1928 | 1229978.6038 | 2703145.6665 | 1229977.6255
37 | 2703145.6665 | 1229977.6255 | 2703135.854 | 1229974.9031 | 2703133.694 | 1229988.4313
38 | 2703132.0048 | 1229999.0108 | 2703133.694 | 1229988.4313
39 | 2703148.1405 | 1230078.9602 | 2703143.2163 | 1230076.3062 | 2703129.1578 | 1230067.869
40 | 2703171.9733 | 1230090.0374 | 2703148.1405 | 1230078.9602
41 | 2703285.5536 | 1230121.3832 | 2703279.9289 | 1230120.7862
42 | 2703279.9289 | 1230120.7862 | 2703267.1916 | 1230119.4341 | 2703243.2855 | 1230113.7832
43 | 2703171.9733 | 1230090.0374 | 2703179.3465 | 1230093.4568 | 2703198.7964 | 1230100.3772 | 2703223.0203 | 1230108.9929 | 2703243.2855 | 1230113.7832
44 | 2703125.625 | 1230065.7488 | 2703129.1578 | 1230067.869
45 | 2703125.625 | 1230065.7488 | 2703122.3854 | 1230063.1589
46 | 2703097.8442 | 1230052.5129 | 2703106.2685 | 1230052.1253 | 2703116.5828 | 1230058.52 | 2703122.3854 | 1230063.1589
47 | 2703067.6962 | 1230001.4524 | 2703078.7848 | 1230021.092
48 | 2703097.8442 | 1230052.5129 | 2703083.8826 | 1230030.1209 | 2703078.7848 | 1230021.092
49 | 2703071.4563 | 1229998.2707 | 2703067.6962 | 1230001.4524
50 | 2703083.6889 | 1230050.8996 | 2703087.911 | 1230058.6453 | 2703092.9588 | 1230055.486 | 2703097.8442 | 1230052.5129
51 | 2703071.4563 | 1229998.2707 | 2703062.6922 | 1229978.493 | 2703060.1411 | 1229970.9237
52 | 2703071.4563 | 1229998.2707 | 2703085.2836 | 1229985.7229
53 | 2703083.6889 | 1230050.8996 | 2703081.1858 | 1230050.6227 | 2703064.4107 | 1230020.9544 | 2703061.0072 | 1230015.8027 | 2703049.0964 | 1229997.743
54 | 2703022.7106 | 1229890.6239 | 2703048.5974 | 1229936.6733 | 2703060.1411 | 1229970.9237
55 | 2703085.2836 | 1229985.7229 | 2703100.8999 | 1229971.5514
56 | 2703049.0964 | 1229997.743 | 2703030.3631 | 1230024.2431
57 | 2703131.4764 | 1229943.8041 | 2703100.8999 | 1229971.5514
58 | 2703419.6813 | 1230113.0236 | 2703429.9489 | 1230112.9354 | 2703439.9366 | 1230113.5187
59 | 2703419.6813 | 1230113.0236 | 2703421.5368 | 1230142.6668 | 2703427.5383 | 1230170.4728
60 | 2703455.5869 | 1230115.5944 | 2703448.3941 | 1230114.0126 | 2703439.9366 | 1230113.5187
61 | 2703455.5869 | 1230115.5944 | 2703466.8444 | 1230118.3535
62 | 2703462.1463 | 1230095.6826 | 2703455.5869 | 1230115.5944
63 | 2703462.1463 | 1230095.6826 | 2703475.408 | 1230099.3993
64 | 2703491.1667 | 1230103.8158 | 2703475.408 | 1230099.3993
65 | 2703491.1667 | 1230103.8158 | 2703494.3279 | 1230104.753
66 | 2703508.5408 | 1230108.9665 | 2703494.3279 | 1230104.753
67 | 2703508.5408 | 1230108.9665 | 2703506.5225 | 1230115.6586 | 2703503.297 | 1230127.2889
68 | 2703508.5408 | 1230108.9665 | 2703508.9241 | 1230108.2227
69 | 2703503.297 | 1230127.2889 | 2703498.3706 | 1230126.08
70 | 2703498.3706 | 1230126.08 | 2703500.4883 | 1230137.4002
71 | 2703500.4883 | 1230137.4002 | 2703502.9659 | 1230150.6449 | 2703502.9659 | 1230150.6449
72 | 2703533.7476 | 1230142.8972 | 2703531.8167 | 1230141.0956 | 2703525.2102 | 1230136.057
73 | 2703533.7476 | 1230142.8972 | 2703540.1364 | 1230148.8795 | 2703544.2215 | 1230156.0548
74 | 2703533.7476 | 1230142.8972 | 2703523.4106 | 1230149.5778 | 2703520.1383 | 1230149.7486
75 | 2703520.1383 | 1230149.7486 | 2703502.9659 | 1230150.6449
76 | 2703544.2215 | 1230156.0548 | 2703547.3041 | 1230161.4693 | 2703550.3087 | 1230167.7867
77 | 2703550.7757 | 1230168.7685 | 2703550.3087 | 1230167.7867
78 | 2703561.6246 | 1230166.3305 | 2703559.2099 | 1230166.8731
79 | 2703550.7757 | 1230168.7685 | 2703559.2099 | 1230166.8731
80 | 2703550.7757 | 1230168.7685 | 2703555.4128 | 1230181.7923 | 2703556.3877 | 1230185.4119 | 2703556.5668 | 1230187.4047
81 | 2703544.6915 | 1230213.1401 | 2703554.4317 | 1230200.2667 | 2703556.3238 | 1230196.9083 | 2703557.1175 | 1230193.5307 | 2703556.5668 | 1230187.4047
82 | 2703544.6915 | 1230213.1401 | 2703544.6915 | 1230213.1401 | 2703541.8301 | 1230217.3399

## bus_geodata
| x | y | coords
0 | 2703299.2337 | 1230188.4174
1 | 2703299.3301 | 1230187.4014
2 | 2703302.0283 | 1230209.2171
3 | 2703301.0791 | 1230168.9781
4 | 2703305.595 | 1230246.3623
5 | 2703302.4867 | 1230154.1514
6 | 2703322.2207 | 1230123.7264
7 | 2703305.3975 | 1230123.4896
8 | 2703332.7522 | 1230122.5911
9 | 2703278.6105 | 1230234.6124
10 | 2703296.5789 | 1230122.5535
11 | 2703348.3327 | 1230120.9114
12 | 2703287.4198 | 1230121.5813
13 | 2703350.7375 | 1230104.6188
14 | 2703389.9241 | 1230115.586
15 | 2703228.9508 | 1229967.7796
16 | 2703237.2139 | 1229988.3202
17 | 2703234.3848 | 1229998.594
18 | 2703225.7171 | 1230030.0698
19 | 2703135.854 | 1229974.9031
20 | 2703129.2529 | 1230016.2462
21 | 2703146.0998 | 1230020.5844
22 | 2703157.0743 | 1230022.9281
23 | 2703181.709 | 1230038.1121
24 | 2703218.656 | 1230046.1926
25 | 2703170.5852 | 1230025.8133
26 | 2703166.6568 | 1230056.4285
27 | 2703224.6589 | 1230032.4861
28 | 2703129.1386 | 1230016.9624
29 | 2703163.4531 | 1230060.327
30 | 2703129.4788 | 1230014.8316
31 | 2703160.7922 | 1230063.5649
32 | 2703188.481 | 1229976.7417
33 | 2703145.6665 | 1229977.6255
34 | 2703133.694 | 1229988.4313
35 | 2703132.0048 | 1229999.0108
36 | 2703148.1405 | 1230078.9602
37 | 2703285.5536 | 1230121.3832
38 | 2703279.9289 | 1230120.7862
39 | 2703243.2855 | 1230113.7832
40 | 2703171.9733 | 1230090.0374
41 | 2703129.1578 | 1230067.869
42 | 2703125.625 | 1230065.7488
43 | 2703122.3854 | 1230063.1589
44 | 2703078.7848 | 1230021.092
45 | 2703067.6962 | 1230001.4524
46 | 2703097.8442 | 1230052.5129
47 | 2703071.4563 | 1229998.2707
48 | 2703083.6889 | 1230050.8996
49 | 2703060.1411 | 1229970.9237
50 | 2703085.2836 | 1229985.7229
51 | 2703049.0964 | 1229997.743
52 | 2703022.7106 | 1229890.6239
53 | 2703100.8999 | 1229971.5514
54 | 2703030.3631 | 1230024.2431
55 | 2703131.4764 | 1229943.8041
56 | 2703419.6813 | 1230113.0236
57 | 2703439.9366 | 1230113.5187
58 | 2703427.5383 | 1230170.4728
59 | 2703351.3946 | 1230099.5042
60 | 2703337.2938 | 1230089.5407
61 | 2703455.5869 | 1230115.5944
62 | 2703466.8444 | 1230118.3535
63 | 2703462.1463 | 1230095.6826
64 | 2703475.408 | 1230099.3993
65 | 2703491.1667 | 1230103.8158
66 | 2703494.3279 | 1230104.753
67 | 2703508.5408 | 1230108.9665
68 | 2703503.297 | 1230127.2889
69 | 2703508.9241 | 1230108.2227
70 | 2703498.3706 | 1230126.08
71 | 2703500.4883 | 1230137.4002
72 | 2703525.2102 | 1230136.057
73 | 2703533.7476 | 1230142.8972
74 | 2703502.9659 | 1230150.6449
75 | 2703544.2215 | 1230156.0548
76 | 2703520.1383 | 1230149.7486
77 | 2703550.3087 | 1230167.7867
78 | 2703561.6246 | 1230166.3305
79 | 2703559.2099 | 1230166.8731
80 | 2703550.7757 | 1230168.7685
81 | 2703556.5668 | 1230187.4047
82 | 2703544.6915 | 1230213.1401
83 | 2703541.8301 | 1230217.3399
84 | 2702631.5276 | 1229133.3992

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99339 | -0.12524 | 0.0035338 | 0.00088564
1 | 0.9934 | -0.12515 | 0.0019746 | 0.00049488
2 | 0.99335 | -0.12599 | 0 | 0
3 | 0.99352 | -0.12276 | 0.0030377 | 0.00076132
4 | 0.99329 | -0.12719 | 0 | 0
5 | 0.99366 | -0.12003 | 0.0035636 | 0.00089313
6 | 0.99487 | -0.096985 | 0 | 0
7 | 0.99405 | -0.11247 | 0 | 0
8 | 0.99538 | -0.08722 | 0.0099203 | 0.0024863
9 | 0.99324 | -0.12813 | 0.0018045 | 0.00045225
10 | 0.99366 | -0.11994 | 0.0054889 | 0.0013756
11 | 0.99619 | -0.071882 | 0 | 0
12 | 0.99326 | -0.12741 | 0.00164 | 0.00041101
13 | 0.99775 | -0.042345 | 0 | 0
14 | 0.99348 | -0.12348 | 0.0065267 | 0.0016357
15 | 0.97341 | -0.51154 | 0.0012837 | 0.00032173
16 | 0.97344 | -0.51094 | 0.0055161 | 0.0013825
17 | 0.97351 | -0.50961 | 0.0032489 | 0.00081424
18 | 0.97381 | -0.50357 | 0.0016553 | 0.00041485
19 | 0.9735 | -0.50967 | 0.0031254 | 0.00078329
20 | 0.97363 | -0.50726 | 0.0041939 | 0.0010511
21 | 0.97375 | -0.50483 | 0.0058855 | 0.0014751
22 | 0.97389 | -0.50211 | 0.0062086 | 0.001556
23 | 0.97452 | -0.4896 | 0 | 0
24 | 0.97402 | -0.49954 | 0.0017298 | 0.00043353
25 | 0.97354 | -0.5089 | 0.00628 | 0.0015739
26 | 0.97636 | -0.45349 | 0.0043026 | 0.0010783
27 | 0.97384 | -0.50301 | 0.00088592 | 0.00022203
28 | 0.97183 | -0.54256 | 0.015335 | 0.0038433
29 | 0.97677 | -0.44543 | 0.0039054 | 0.00097879
30 | 0.97178 | -0.54367 | 0.0041654 | 0.001044
31 | 0.97713 | -0.43844 | 0.0038252 | 0.00095869
32 | 0.9706 | -0.56696 | 0.0078535 | 0.0019683
33 | 0.97092 | -0.5607 | 0.0070788 | 0.0017741
34 | 0.97125 | -0.5541 | 0.0024832 | 0.00062235
35 | 0.97143 | -0.55066 | 0.0061964 | 0.001553
36 | 0.97889 | -0.40388 | 0 | 0
37 | 0.99318 | -0.12891 | 0.002656 | 0.00066566
38 | 0.99295 | -0.13336 | 0.0039586 | 0.00099212
39 | 0.9907 | -0.17622 | 0.0046857 | 0.0011743
40 | 0.98194 | -0.34456 | 0 | 0
41 | 0.97829 | -0.41572 | 0.0039458 | 0.0009889
42 | 0.97819 | -0.41765 | 0 | 0
43 | 0.97809 | -0.41959 | 0.0040142 | 0.0010061
44 | 0.97697 | -0.44176 | 0.0039364 | 0.00098654
45 | 0.9767 | -0.44698 | 0 | 0
46 | 0.97753 | -0.43063 | 0 | 0
47 | 0.97664 | -0.44812 | 0 | 0
48 | 0.97744 | -0.43251 | 0 | 0
49 | 0.97656 | -0.44975 | 0.0012758 | 0.00031974
50 | 0.97648 | -0.4514 | 0.0045826 | 0.0011485
51 | 0.97714 | -0.43843 | 0.0022839 | 0.0005724
52 | 0.97642 | -0.45258 | 0.001741 | 0.00043634
53 | 0.97638 | -0.45335 | 0.0022768 | 0.00057063
54 | 0.97705 | -0.44006 | 0.0027491 | 0.00068898
55 | 0.97627 | -0.45545 | 0.0027763 | 0.00069582
56 | 0.98979 | -0.19401 | 0 | 0
57 | 0.9876 | -0.23605 | 0.010352 | 0.0025943
58 | 0.98889 | -0.2115 | 0.016894 | 0.0042341
59 | 0.99772 | -0.042962 | 0.006835 | 0.001713
60 | 1 | 0 | -0.3211 | -0.082329
61 | 0.98605 | -0.26609 | 0 | 0
62 | 0.98599 | -0.26709 | 0.0048387 | 0.0012127
63 | 0.98408 | -0.30416 | 0 | 0
64 | 0.98278 | -0.32926 | 0.0092916 | 0.0023287
65 | 0.98139 | -0.35642 | 0 | 0
66 | 0.98111 | -0.36191 | 0.010179 | 0.0025512
67 | 0.97998 | -0.38385 | 0 | 0
68 | 0.97869 | -0.40901 | 0 | 0
69 | 0.97997 | -0.38399 | 0.0090146 | 0.0022593
70 | 0.97835 | -0.41569 | 0 | 0
71 | 0.97758 | -0.43094 | 0.0064853 | 0.0016254
72 | 0.97521 | -0.47745 | 0.0092512 | 0.0023186
73 | 0.9753 | -0.4756 | 0 | 0
74 | 0.97675 | -0.44721 | 0.014671 | 0.0036769
75 | 0.97477 | -0.48604 | 0.0050466 | 0.0012648
76 | 0.97592 | -0.4634 | 0.0087246 | 0.0021866
77 | 0.97442 | -0.49295 | 0.0055126 | 0.0013816
78 | 0.97436 | -0.49425 | 0.0028687 | 0.00071898
79 | 0.97436 | -0.49412 | 0.0016299 | 0.0004085
80 | 0.9744 | -0.49341 | 0 | 0
81 | 0.97406 | -0.50004 | 0.0098819 | 0.0024766
82 | 0.97383 | -0.5047 | 0.004835 | 0.0012118
83 | 0.97381 | -0.50505 | 0.0037258 | 0.00093376
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0053385 | -0.0013369 | 0.0053385 | 0.0013369 | 2.447e-08 | 2.4486e-09 | 0.0079963 | 0.0079963 | 0.0079963 | 0.99339 | -0.12524 | 0.9934 | -0.12515 | 2.1968
1 | 0.0018048 | 0.00045124 | -0.0018047 | -0.0004515 | 6.3948e-08 | -2.6122e-07 | 0.002703 | 0.0027031 | 0.0027031 | 0.99339 | -0.12524 | 0.99335 | -0.12599 | 0.74261
2 | -0.0073131 | -0.0018318 | 0.007314 | 0.0018321 | 8.327e-07 | 2.9331e-07 | 0.010954 | 0.010954 | 0.010954 | 0.9934 | -0.12515 | 0.99352 | -0.12276 | 3.0093
3 | 0.0018047 | 0.0004515 | -0.0018046 | -0.00045192 | 1.0294e-07 | -4.2042e-07 | 0.0027031 | 0.0027033 | 0.0027033 | 0.99335 | -0.12599 | 0.99329 | -0.12719 | 0.74266
4 | -0.010352 | -0.0025934 | 0.010353 | 0.002594 | 1.3424e-06 | 6.6625e-07 | 0.015504 | 0.015503 | 0.015504 | 0.99352 | -0.12276 | 0.99366 | -0.12003 | 4.2592
5 | 0.0018046 | 0.00045192 | -0.0018045 | -0.00045225 | 8.1335e-08 | -3.3208e-07 | 0.0027033 | 0.0027034 | 0.0027034 | 0.99329 | -0.12719 | 0.99324 | -0.12813 | 0.74269
6 | -0.013917 | -0.0034872 | 0.013922 | 0.00349 | 5.0162e-06 | 2.8112e-06 | 0.02084 | 0.02084 | 0.02084 | 0.99366 | -0.12003 | 0.99405 | -0.11247 | 5.7253
7 | 0.15959 | 0.040955 | -0.15947 | -0.040879 | 0.00011981 | 7.6028e-05 | 0.23904 | 0.23904 | 0.23904 | 0.99487 | -0.096985 | 0.99405 | -0.11247 | 21.8899
8 | -0.15959 | -0.040955 | 0.15966 | 0.041003 | 7.5656e-05 | 4.8007e-05 | 0.23904 | 0.23904 | 0.23904 | 0.99487 | -0.096985 | 0.99538 | -0.08722 | 21.8899
9 | 0.14555 | 0.037389 | -0.14549 | -0.037356 | 5.2777e-05 | 3.3433e-05 | 0.2182 | 0.2182 | 0.2182 | 0.99405 | -0.11247 | 0.99366 | -0.11994 | 19.9815
10 | -0.16958 | -0.043489 | 0.16971 | 0.043569 | 0.00012624 | 8.0185e-05 | 0.25387 | 0.25387 | 0.25387 | 0.99538 | -0.08722 | 0.99619 | -0.071882 | 23.2479
11 | 0.14001 | 0.03598 | -0.13995 | -0.035948 | 5.0763e-05 | 3.213e-05 | 0.20998 | 0.20998 | 0.20998 | 0.99366 | -0.11994 | 0.99326 | -0.12741 | 19.2288
12 | -0.31151 | -0.07991 | 0.31196 | 0.080196 | 0.00044703 | 0.00028546 | 0.46597 | 0.46597 | 0.46597 | 0.99619 | -0.071882 | 0.99775 | -0.042345 | 42.6708
13 | 0.1418 | 0.036341 | -0.14145 | -0.036116 | 0.00035368 | 0.00022527 | 0.2121 | 0.2121 | 0.2121 | 0.99619 | -0.071882 | 0.99348 | -0.12348 | 29.1344
14 | 0.13831 | 0.035537 | -0.1383 | -0.03553 | 1.0103e-05 | 6.3928e-06 | 0.20752 | 0.20752 | 0.20752 | 0.99326 | -0.12741 | 0.99318 | -0.12891 | 19.0039
15 | 0.0068352 | 0.0017131 | -0.006835 | -0.001713 | 2.0096e-07 | 6.1261e-08 | 0.010194 | 0.010194 | 0.010194 | 0.99775 | -0.042345 | 0.99772 | -0.042962 | 2.8005
16 | -0.3188 | -0.081909 | 0.31945 | 0.082329 | 0.00065714 | 0.00041966 | 0.47616 | 0.47616 | 0.47616 | 0.99775 | -0.042345 | 1 | 0 | 43.6043
17 | 0.13492 | 0.03448 | -0.13446 | -0.034187 | 0.00045852 | 0.00029307 | 0.20232 | 0.20232 | 0.20232 | 0.99348 | -0.12348 | 0.98979 | -0.19401 | 55.5833
18 | -0.0012837 | -0.00032173 | 0.0012838 | 0.00032144 | 3.66e-08 | -2.9165e-07 | 0.0019624 | 0.0019623 | 0.0019624 | 0.97341 | -0.51154 | 0.97344 | -0.51094 | 0.53912
19 | -0.0067998 | -0.0017039 | 0.0068003 | 0.001704 | 4.3173e-07 | 1.4383e-07 | 0.010394 | 0.010394 | 0.010394 | 0.97344 | -0.51094 | 0.97351 | -0.50961 | 2.8556
20 | -0.010049 | -0.0025183 | 0.010052 | 0.0025197 | 2.8884e-06 | 1.4426e-06 | 0.01536 | 0.01536 | 0.01536 | 0.97351 | -0.50961 | 0.97381 | -0.50357 | 4.2198
21 | -0.011707 | -0.0029346 | 0.011708 | 0.0029347 | 3.1656e-07 | 1.6978e-07 | 0.017889 | 0.017889 | 0.017889 | 0.97381 | -0.50357 | 0.97384 | -0.50301 | 4.9146
22 | -0.0031254 | -0.00078329 | 0.0031257 | 0.000783 | 3.5828e-07 | -2.9131e-07 | 0.0047772 | 0.004777 | 0.0047772 | 0.9735 | -0.50967 | 0.97363 | -0.50726 | 1.3124
23 | -0.0073196 | -0.0018341 | 0.0073204 | 0.0018344 | 8.4792e-07 | 3.1793e-07 | 0.011187 | 0.011186 | 0.011187 | 0.97363 | -0.50726 | 0.97375 | -0.50483 | 3.0732
24 | -0.013206 | -0.0033095 | 0.013208 | 0.0033104 | 1.7138e-06 | 9.572e-07 | 0.02018 | 0.02018 | 0.02018 | 0.97375 | -0.50483 | 0.97389 | -0.50211 | 5.5441
25 | -0.019416 | -0.0048664 | 0.019428 | 0.0048734 | 1.158e-05 | 6.9744e-06 | 0.029666 | 0.029666 | 0.029666 | 0.97389 | -0.50211 | 0.97452 | -0.4896 | 8.1501
26 | 0.014332 | 0.0035953 | -0.014325 | -0.0035914 | 6.793e-06 | 3.8766e-06 | 0.021885 | 0.021885 | 0.021885 | 0.97452 | -0.4896 | 0.97402 | -0.49954 | 6.0125
27 | 0.049527 | 0.012463 | -0.049481 | -0.012434 | 4.5642e-05 | 2.8946e-05 | 0.075642 | 0.075642 | 0.075642 | 0.97452 | -0.4896 | 0.97354 | -0.5089 | 20.7807
28 | -0.083287 | -0.020932 | 0.083431 | 0.021023 | 0.00014383 | 9.1755e-05 | 0.12719 | 0.12719 | 0.12719 | 0.97452 | -0.4896 | 0.97636 | -0.45349 | 34.9432
29 | 0.012596 | 0.0031579 | -0.012594 | -0.0031568 | 2.0778e-06 | 1.1436e-06 | 0.019243 | 0.019243 | 0.019243 | 0.97402 | -0.49954 | 0.97384 | -0.50301 | 5.2865
30 | 0.043201 | 0.01086 | -0.043132 | -0.010816 | 6.932e-05 | 4.3839e-05 | 0.066043 | 0.066043 | 0.066043 | 0.97354 | -0.5089 | 0.97183 | -0.54256 | 18.1437
31 | -0.087733 | -0.022102 | 0.087767 | 0.022123 | 3.3851e-05 | 2.1601e-05 | 0.13375 | 0.13375 | 0.13375 | 0.97636 | -0.45349 | 0.97677 | -0.44543 | 36.7446
32 | 0.027797 | 0.0069728 | -0.027795 | -0.0069719 | 1.4659e-06 | 9.1144e-07 | 0.042563 | 0.042563 | 0.042563 | 0.97183 | -0.54256 | 0.97178 | -0.54367 | 11.6931
33 | -0.091672 | -0.023102 | 0.091703 | 0.023122 | 3.0672e-05 | 1.9577e-05 | 0.1397 | 0.1397 | 0.1397 | 0.97677 | -0.44543 | 0.97713 | -0.43844 | 38.3791
34 | 0.02363 | 0.0059279 | -0.023622 | -0.0059231 | 7.8664e-06 | 4.8361e-06 | 0.036185 | 0.036185 | 0.036185 | 0.97178 | -0.54367 | 0.97143 | -0.55066 | 9.9408
35 | -0.095528 | -0.02408 | 0.095687 | 0.024181 | 0.00015825 | 0.00010103 | 0.14553 | 0.14552 | 0.14553 | 0.97713 | -0.43844 | 0.97889 | -0.40388 | 39.9794
36 | -0.0078535 | -0.0019683 | 0.0078559 | 0.0019692 | 2.3451e-06 | 9.6752e-07 | 0.01204 | 0.01204 | 0.01204 | 0.9706 | -0.56696 | 0.97092 | -0.5607 | 3.3077
37 | -0.014935 | -0.0037434 | 0.014939 | 0.0037461 | 4.6921e-06 | 2.7074e-06 | 0.022889 | 0.022889 | 0.022889 | 0.97092 | -0.5607 | 0.97125 | -0.5541 | 6.2882
38 | -0.017423 | -0.0043684 | 0.017425 | 0.0043701 | 2.8626e-06 | 1.6995e-06 | 0.026693 | 0.026693 | 0.026693 | 0.97125 | -0.5541 | 0.97143 | -0.55066 | 7.3333
39 | 0.029632 | 0.0074406 | -0.029615 | -0.0074302 | 1.6735e-05 | 1.0434e-05 | 0.045049 | 0.045049 | 0.045049 | 0.97889 | -0.40388 | 0.97829 | -0.41572 | 12.3761
40 | -0.12532 | -0.031622 | 0.12568 | 0.03185 | 0.00035707 | 0.0002282 | 0.19057 | 0.19057 | 0.19057 | 0.97889 | -0.40388 | 0.98194 | -0.34456 | 52.3555
41 | 0.13565 | 0.034865 | -0.13562 | -0.034846 | 2.9292e-05 | 1.8528e-05 | 0.20354 | 0.20354 | 0.20354 | 0.99318 | -0.12891 | 0.99295 | -0.13336 | 18.6395
42 | 0.13166 | 0.033854 | -0.13139 | -0.03368 | 0.00027365 | 0.00017417 | 0.19761 | 0.19761 | 0.19761 | 0.99295 | -0.13336 | 0.9907 | -0.17622 | 27.1444
43 | 0.1267 | 0.032506 | -0.12568 | -0.03185 | 0.0010256 | 0.00065544 | 0.19057 | 0.19057 | 0.19057 | 0.9907 | -0.17622 | 0.98194 | -0.34456 | 52.3554
44 | 0.02567 | 0.0064413 | -0.025667 | -0.0064398 | 2.3557e-06 | 1.4559e-06 | 0.039047 | 0.039047 | 0.039047 | 0.97829 | -0.41572 | 0.97819 | -0.41765 | 10.7273
45 | 0.025667 | 0.0064398 | -0.025665 | -0.0064384 | 2.3714e-06 | 1.4657e-06 | 0.039047 | 0.039047 | 0.039047 | 0.97819 | -0.41765 | 0.97809 | -0.41959 | 10.7273
46 | 0.021651 | 0.0054323 | -0.021639 | -0.0054254 | 1.1392e-05 | 6.94e-06 | 0.03294 | 0.032941 | 0.032941 | 0.97809 | -0.41959 | 0.97753 | -0.43063 | 9.0496
47 | 0.012659 | 0.0031724 | -0.012656 | -0.0031707 | 3.1442e-06 | 1.73e-06 | 0.019281 | 0.019281 | 0.019281 | 0.97697 | -0.44176 | 0.9767 | -0.44698 | 5.297
48 | -0.016595 | -0.0041589 | 0.016604 | 0.0041641 | 8.8064e-06 | 5.1755e-06 | 0.025276 | 0.025276 | 0.025276 | 0.97697 | -0.44176 | 0.97753 | -0.43063 | 6.9441
49 | 0.012656 | 0.0031707 | -0.012655 | -0.0031703 | 6.8562e-07 | 3.7725e-07 | 0.019281 | 0.019281 | 0.019281 | 0.9767 | -0.44698 | 0.97664 | -0.44812 | 5.297
50 | 0.0050351 | 0.0012613 | -0.0050346 | -0.0012612 | 4.5147e-07 | 3.2029e-08 | 0.0076642 | 0.0076643 | 0.0076643 | 0.97753 | -0.43063 | 0.97744 | -0.43251 | 2.1056
51 | 0.0030173 | 0.0007549 | -0.0030171 | -0.00075512 | 2.347e-07 | -2.2041e-07 | 0.0045967 | 0.0045968 | 0.0045968 | 0.97664 | -0.44812 | 0.97656 | -0.44975 | 1.2629
52 | 0.009638 | 0.0024154 | -0.0096365 | -0.0024146 | 1.5099e-06 | 7.327e-07 | 0.014684 | 0.014685 | 0.014685 | 0.97664 | -0.44812 | 0.97648 | -0.4514 | 4.0342
53 | 0.0050346 | 0.0012612 | -0.0050332 | -0.0012611 | 1.4189e-06 | 1.0103e-07 | 0.0076643 | 0.0076646 | 0.0076646 | 0.97744 | -0.43251 | 0.97714 | -0.43843 | 2.1057
54 | 0.0017413 | 0.00043538 | -0.001741 | -0.00043634 | 2.3484e-07 | -9.6269e-07 | 0.0026528 | 0.0026532 | 0.0026532 | 0.97656 | -0.44975 | 0.97642 | -0.45258 | 0.72891
55 | 0.0050539 | 0.0012661 | -0.0050535 | -0.0012661 | 4.6903e-07 | 3.6411e-08 | 0.0077013 | 0.0077014 | 0.0077014 | 0.97648 | -0.4514 | 0.97638 | -0.45335 | 2.1158
56 | 0.0027493 | 0.00068871 | -0.0027491 | -0.00068898 | 2.1331e-07 | -2.6996e-07 | 0.0041866 | 0.0041867 | 0.0041867 | 0.97714 | -0.43843 | 0.97705 | -0.44006 | 1.1502
57 | 0.0027766 | 0.00069548 | -0.0027763 | -0.00069582 | 2.7725e-07 | -3.389e-07 | 0.0042315 | 0.0042317 | 0.0042317 | 0.97638 | -0.45335 | 0.97627 | -0.45545 | 1.1625
58 | 0.11756 | 0.029944 | -0.11732 | -0.029792 | 0.00023791 | 0.000152 | 0.1769 | 0.1769 | 0.1769 | 0.98979 | -0.19401 | 0.9876 | -0.23605 | 48.5996
59 | 0.016908 | 0.0042424 | -0.016894 | -0.0042341 | 1.4091e-05 | 8.2718e-06 | 0.025421 | 0.025421 | 0.025421 | 0.98979 | -0.19401 | 0.98889 | -0.2115 | 6.9839
60 | 0.10697 | 0.027198 | -0.10681 | -0.027099 | 0.00015452 | 9.8693e-05 | 0.16131 | 0.16131 | 0.16131 | 0.9876 | -0.23605 | 0.98605 | -0.26609 | 44.3148
61 | 0.004839 | 0.0012127 | -0.0048387 | -0.0012127 | 2.3178e-07 | 4.9668e-10 | 0.0073023 | 0.0073024 | 0.0073024 | 0.98605 | -0.26609 | 0.98599 | -0.26709 | 2.0062
62 | 0.10197 | 0.025887 | -0.10179 | -0.025768 | 0.00018643 | 0.00011905 | 0.154 | 0.154 | 0.154 | 0.98605 | -0.26609 | 0.98408 | -0.30416 | 42.3087
63 | 0.10179 | 0.025768 | -0.10166 | -0.025689 | 0.00012249 | 7.8221e-05 | 0.154 | 0.154 | 0.154 | 0.98408 | -0.30416 | 0.98278 | -0.32926 | 42.3088
64 | 0.092373 | 0.023361 | -0.092253 | -0.023284 | 0.00012018 | 7.6707e-05 | 0.13994 | 0.13994 | 0.13994 | 0.98278 | -0.32926 | 0.98139 | -0.35642 | 38.4439
65 | 0.092253 | 0.023284 | -0.092229 | -0.023269 | 2.4212e-05 | 1.5454e-05 | 0.13994 | 0.13994 | 0.13994 | 0.98139 | -0.35642 | 0.98111 | -0.36191 | 38.4439
66 | 0.082049 | 0.020717 | -0.081963 | -0.020662 | 8.6163e-05 | 5.4958e-05 | 0.1245 | 0.1245 | 0.1245 | 0.98111 | -0.36191 | 0.97998 | -0.38385 | 34.2025
67 | 0.072948 | 0.018403 | -0.072861 | -0.018347 | 8.7753e-05 | 5.5922e-05 | 0.11081 | 0.11081 | 0.11081 | 0.97998 | -0.38385 | 0.97869 | -0.40901 | 30.4421
68 | 0.0090147 | 0.0022593 | -0.0090146 | -0.0022593 | 5.8791e-08 | 2.7084e-08 | 0.013688 | 0.013688 | 0.013688 | 0.97998 | -0.38385 | 0.97997 | -0.38399 | 3.7604
69 | 0.072861 | 0.018347 | -0.072837 | -0.018332 | 2.329e-05 | 1.4842e-05 | 0.11081 | 0.11081 | 0.11081 | 0.97869 | -0.40901 | 0.97835 | -0.41569 | 30.4421
70 | 0.072837 | 0.018332 | -0.072784 | -0.018299 | 5.3028e-05 | 3.3794e-05 | 0.11081 | 0.11081 | 0.11081 | 0.97835 | -0.41569 | 0.97758 | -0.43094 | 30.4421
71 | 0.066299 | 0.016673 | -0.066248 | -0.01664 | 5.1481e-05 | 3.2779e-05 | 0.10094 | 0.10094 | 0.10094 | 0.97758 | -0.43094 | 0.97675 | -0.44721 | 27.7301
72 | -0.0092512 | -0.0023186 | 0.0092521 | 0.002319 | 8.1817e-07 | 3.87e-07 | 0.014116 | 0.014116 | 0.014116 | 0.97521 | -0.47745 | 0.9753 | -0.4756 | 3.878
73 | 0.033535 | 0.0084169 | -0.033518 | -0.0084064 | 1.67e-05 | 1.0476e-05 | 0.051169 | 0.051169 | 0.051169 | 0.9753 | -0.4756 | 0.97477 | -0.48604 | 14.0573
74 | -0.042787 | -0.010736 | 0.042812 | 0.010752 | 2.4909e-05 | 1.5747e-05 | 0.065285 | 0.065284 | 0.065285 | 0.9753 | -0.4756 | 0.97592 | -0.4634 | 17.9353
75 | 0.051576 | 0.012963 | -0.051537 | -0.012938 | 3.9825e-05 | 2.5273e-05 | 0.078587 | 0.078587 | 0.078587 | 0.97675 | -0.44721 | 0.97592 | -0.4634 | 21.5899
76 | 0.028472 | 0.0071416 | -0.028462 | -0.0071358 | 9.37e-06 | 5.832e-06 | 0.043465 | 0.043465 | 0.043465 | 0.97477 | -0.48604 | 0.97442 | -0.49295 | 11.9409
77 | 0.02295 | 0.0057542 | -0.022949 | -0.0057539 | 5.0077e-07 | 3.0695e-07 | 0.035047 | 0.035047 | 0.035047 | 0.97442 | -0.49295 | 0.9744 | -0.49341 | 9.6283
78 | -0.0028687 | -0.00071898 | 0.0028688 | 0.00071896 | 1.7814e-08 | -1.9425e-08 | 0.0043811 | 0.0043811 | 0.0043811 | 0.97436 | -0.49425 | 0.97436 | -0.49412 | 1.2036
79 | -0.0044987 | -0.0011275 | 0.0044989 | 0.0011274 | 1.5301e-07 | -9.7474e-09 | 0.0068703 | 0.0068702 | 0.0068703 | 0.97436 | -0.49412 | 0.9744 | -0.49341 | 1.8874
80 | 0.01845 | 0.0046265 | -0.018445 | -0.004623 | 5.8277e-06 | 3.486e-06 | 0.028177 | 0.028177 | 0.028177 | 0.9744 | -0.49341 | 0.97406 | -0.50004 | 7.7409
81 | 0.0085627 | 0.0021463 | -0.0085608 | -0.0021455 | 1.9005e-06 | 8.4771e-07 | 0.013081 | 0.013081 | 0.013081 | 0.97406 | -0.50004 | 0.97383 | -0.5047 | 3.5937
82 | 0.0037258 | 0.00093374 | -0.0037258 | -0.00093376 | 6.1767e-08 | -2.3695e-08 | 0.0056931 | 0.0056931 | 0.0056931 | 0.97383 | -0.5047 | 0.97381 | -0.50505 | 1.564

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32484 | 0.083265

## res_load
| p_mw | q_mvar
0 | 0.0035338 | 0.00088564
1 | 0.0019746 | 0.00049488
2 | 0.0030377 | 0.00076132
3 | 0.0035636 | 0.00089313
4 | 0.0099203 | 0.0024863
5 | 0.0018045 | 0.00045225
6 | 0.0054889 | 0.0013756
7 | 0.00164 | 0.00041101
8 | 0.0065267 | 0.0016357
9 | 0.0012837 | 0.00032173
10 | 0.0055161 | 0.0013825
11 | 0.0032489 | 0.00081424
12 | 0.0016553 | 0.00041485
13 | 0.0031254 | 0.00078329
14 | 0.0041939 | 0.0010511
15 | 0.0058855 | 0.0014751
16 | 0.0062086 | 0.001556
17 | 0.0017298 | 0.00043353
18 | 0.00628 | 0.0015739
19 | 0.0043026 | 0.0010783
20 | 0.00088592 | 0.00022203
21 | 0.015335 | 0.0038433
22 | 0.0039054 | 0.00097879
23 | 0.0041654 | 0.001044
24 | 0.0038252 | 0.00095869
25 | 0.0078535 | 0.0019683
26 | 0.0070788 | 0.0017741
27 | 0.0024832 | 0.00062235
28 | 0.0061964 | 0.001553
29 | 0.002656 | 0.00066566
30 | 0.0039586 | 0.00099212
31 | 0.0046857 | 0.0011743
32 | 0.0039458 | 0.0009889
33 | 0.0040142 | 0.0010061
34 | 0.0039364 | 0.00098654
35 | 0.0012758 | 0.00031974
36 | 0.0045826 | 0.0011485
37 | 0.0022839 | 0.0005724
38 | 0.001741 | 0.00043634
39 | 0.0022768 | 0.00057063
40 | 0.0027491 | 0.00068898
41 | 0.0027763 | 0.00069582
42 | 0.010352 | 0.0025943
43 | 0.016894 | 0.0042341
44 | 0.006835 | 0.001713
45 | 0.0037343 | 0.00093591
46 | 0.0048387 | 0.0012127
47 | 0.0092916 | 0.0023287
48 | 0.010179 | 0.0025512
49 | 0.0090146 | 0.0022593
50 | 0.0064853 | 0.0016254
51 | 0.0092512 | 0.0023186
52 | 0.014671 | 0.0036769
53 | 0.0050466 | 0.0012648
54 | 0.0087246 | 0.0021866
55 | 0.0055126 | 0.0013816
56 | 0.0028687 | 0.00071898
57 | 0.0016299 | 0.0004085
58 | 0.0098819 | 0.0024766
59 | 0.004835 | 0.0012118
60 | 0.0037258 | 0.00093376

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1