## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1322-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1322-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1322-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1322-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1322-1_0_5_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1322-1_0_5_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_1322-1_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1322-1_0_5_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_1322-1_0_5_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_1322-1_0_5_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_1322-1_0_5_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_1322-1_0_5_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_1322-1_0_5_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_1322-1_0_5_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_1322-1_0_5_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_1322-1_0_5_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_1322-1_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1322-1_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1322-1_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1322-1_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1322-1_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1322-1_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1322-1_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1322-1_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1322-1_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1322-1_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1322-1_0_5_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_1322-1_0_5_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_1322-1_0_5_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_1322-1_0_5_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_1322-1_0_5_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1322-1_0_5_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1322-1_0_5_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1322-1_0_5_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1322-1_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1322-1_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1322-1_0_5_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1322-1_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1322-1_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1322-1_0_5_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1322-1_0_5_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1322-1_0_5_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1322-1_0_5_node_44 | 0.4 | n |  | TRUE
43 | bus_MV_16_0_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1322-1_0_5_load_0 | 0 | 0.0019716 | 0.00049414 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1322-1_0_5_load_43 | 5 | 0.061854 | 0.015502 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1322-1_0_5_load_26 | 7 | 0.027132 | 0.0067999 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1322-1_0_5_load_42 | 8 | 0.020496 | 0.0051367 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1322-1_0_5_load_46 | 9 | 0.031851 | 0.0079826 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1322-1_0_5_load_45 | 10 | 0.012886 | 0.0032296 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1322-1_0_5_load_18 | 11 | 0.03881 | 0.0097267 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1322-1_0_5_load_37 | 12 | 0.0036681 | 0.00091932 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1322-1_0_5_load_38 | 13 | 0.074786 | 0.018743 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1322-1_0_5_load_36 | 14 | 0.0026588 | 0.00066636 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1322-1_0_5_load_8 | 16 | 0.001206 | 0.00030225 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1322-1_0_5_load_9 | 17 | 0.0023623 | 0.00059204 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1322-1_0_5_load_10 | 18 | 0.00046044 | 0.0001154 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1322-1_0_5_load_11 | 19 | 0.00043172 | 0.0001082 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1322-1_0_5_load_15 | 20 | 0.003584 | 0.00089824 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1322-1_0_5_load_13 | 21 | 0.0048114 | 0.0012059 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1322-1_0_5_load_12 | 22 | 0.0043141 | 0.0010812 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1322-1_0_5_load_16 | 24 | 0.043752 | 0.010965 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1322-1_0_5_load_17 | 25 | 0.04245 | 0.010639 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1322-1_0_5_load_35 | 26 | 0.00085295 | 0.00021377 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1322-1_0_5_load_40 | 27 | 0.0012984 | 0.0003254 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1322-1_0_5_load_41 | 29 | 0.0031904 | 0.00079959 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1322-1_0_5_load_31 | 30 | 0.0020109 | 0.00050399 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1322-1_0_5_load_32 | 31 | 0.0010268 | 0.00025734 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1322-1_0_5_load_34 | 32 | 0.0007402 | 0.00018551 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1322-1_0_5_load_21 | 33 | 0.029909 | 0.007496 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1322-1_0_5_load_23 | 35 | 0.037388 | 0.0093704 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1322-1_0_5_load_25 | 36 | 0.0077084 | 0.0019319 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1322-1_0_5_load_28 | 38 | 0.0028668 | 0.0007185 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1322-1_0_5_load_30 | 40 | 0.0021147 | 0.00052998 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1322-1_0_5_load_39 | 41 | 0.051806 | 0.012984 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1322-1_0_5_load_44 | 42 | 0.0058699 | 0.0014711 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1322-1_0_5_line_0 |  | 0 | 1 | 0.025567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1322-1_0_5_line_1 |  | 0 | 2 | 0.017295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1322-1_0_5_line_2 |  | 1 | 3 | 0.11983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1322-1_0_5_line_3 |  | 1 | 4 | 0.24882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1322-1_0_5_line_4 |  | 2 | 5 | 0.20044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1322-1_0_5_line_5 |  | 3 | 9 | 0.05691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1322-1_0_5_line_6 |  | 4 | 11 | 0.049747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1322-1_0_5_line_7 |  | 5 | 6 | 0.17924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1322-1_0_5_line_8 |  | 5 | 7 | 0.080128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1322-1_0_5_line_9 |  | 5 | 8 | 0.016176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1322-1_0_5_line_10 |  | 6 | 10 | 0.020574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1322-1_0_5_line_11 |  | 8 | 41 | 0.013888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1322-1_0_5_line_12 |  | 12 | 13 | 0.078129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_1322-1_0_5_line_13 |  | 12 | 14 | 0.057113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1322-1_0_5_line_14 |  | 12 | 15 | 0.072344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1322-1_0_5_line_15 |  | 13 | 41 | 0.02512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_1322-1_0_5_line_16 |  | 13 | 37 | 0.070046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1322-1_0_5_line_17 |  | 14 | 28 | 0.014052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1322-1_0_5_line_18 |  | 15 | 36 | 0.032039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1322-1_0_5_line_19 |  | 15 | 34 | 0.007299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1322-1_0_5_line_20 |  | 16 | 17 | 0.017851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1322-1_0_5_line_21 |  | 17 | 18 | 0.01212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1322-1_0_5_line_22 |  | 18 | 19 | 0.010698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1322-1_0_5_line_23 |  | 19 | 20 | 0.0043481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1322-1_0_5_line_24 |  | 20 | 21 | 0.018729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1322-1_0_5_line_25 |  | 21 | 22 | 0.019128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1322-1_0_5_line_26 |  | 22 | 23 | 0.074065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1322-1_0_5_line_27 |  | 23 | 24 | 0.038051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1322-1_0_5_line_28 |  | 23 | 25 | 0.11908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1322-1_0_5_line_29 |  | 24 | 26 | 0.022705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1322-1_0_5_line_30 |  | 25 | 27 | 0.013594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1322-1_0_5_line_31 |  | 26 | 28 | 0.014932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1322-1_0_5_line_32 |  | 27 | 29 | 0.020327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1322-1_0_5_line_33 |  | 28 | 30 | 0.037391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1322-1_0_5_line_34 |  | 29 | 42 | 0.024765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1322-1_0_5_line_35 |  | 30 | 31 | 0.0010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1322-1_0_5_line_36 |  | 31 | 32 | 0.020988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1322-1_0_5_line_37 |  | 33 | 34 | 0.033735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1322-1_0_5_line_38 |  | 35 | 36 | 0.016746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1322-1_0_5_line_39 |  | 37 | 38 | 0.13267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1322-1_0_5_line_40 |  | 38 | 39 | 0.0066975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1322-1_0_5_line_41 |  | 39 | 40 | 0.044727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1322-1_0_5_trafo_27 | 0.63 MVA 20/0.4 kV | 43 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2702660.525 | 1228614.0936 | 2702659.3291 | 1228624.1026 | 2702657.7249 | 1228639.5058
1 | 2702657.6605 | 1228656.6534 | 2702657.2638 | 1228655.0454 | 2702656.6218 | 1228650.0973 | 2702657.7249 | 1228639.5058
2 | 2702629.1646 | 1228544.3676 | 2702660.5449 | 1228548.4343 | 2702663.6489 | 1228549.055 | 2702666.3816 | 1228550.1141 | 2702668.7243 | 1228551.3776 | 2702670.9143 | 1228553.139 | 2702672.592 | 1228555.1694 | 2702673.7852 | 1228557.1693 | 2702675.2728 | 1228560.1082 | 2702675.5564 | 1228562.5594 | 2702675.3611 | 1228564.2128 | 2702674.7811 | 1228565.7595 | 2702673.1534 | 1228568.2999 | 2702665.427 | 1228573.7929 | 2702662.1971 | 1228574.7601 | 2702657.9702 | 1228575.0873 | 2702655.6942 | 1228574.7923 | 2702659.6337 | 1228584.523 | 2702660.27 | 1228587.1693 | 2702660.6578 | 1228590.1671 | 2702660.8118 | 1228594.851 | 2702660.525 | 1228614.0936
3 | 2702660.525 | 1228614.0936 | 2702663.3931 | 1228603.8022 | 2702667.0388 | 1228590.1661 | 2702668.9164 | 1228585.4506 | 2702671.4197 | 1228579.1669 | 2702680.3421 | 1228562.3418 | 2702690.3786 | 1228549.0275 | 2702694.3121 | 1228543.747 | 2702705.0979 | 1228529.178 | 2702731.0874 | 1228494.3677 | 2702740.5052 | 1228493.185 | 2702759.9222 | 1228498.8357 | 2702783.9641 | 1228507.4352 | 2702801.9477 | 1228511.827 | 2702816.9979 | 1228512.7433 | 2702836.4694 | 1228513.0468
4 | 2702714.5549 | 1228848.8472 | 2702657.6605 | 1228656.6534
5 | 2702625.5747 | 1228600.8585 | 2702623.99 | 1228583.7852 | 2702628.1032 | 1228551.8548 | 2702629.1646 | 1228544.3676
6 | 2702836.4694 | 1228513.0468 | 2702837.1519 | 1228539.745 | 2702837.2001 | 1228541.7806 | 2702857.1043 | 1228548.4861
7 | 2702714.5549 | 1228848.8472 | 2702590.5934 | 1228719.3872
8 | 2702714.5549 | 1228848.8472 | 2702665.5429 | 1228785.4574
9 | 2702714.5549 | 1228848.8472 | 2702730.6793 | 1228847.5599
10 | 2702590.5934 | 1228719.3872 | 2702592.7218 | 1228698.9234
11 | 2702744.5236 | 1228846.4546 | 2702730.6793 | 1228847.5599
12 | 2702847.4597 | 1228838.7017 | 2702842.4616 | 1228838.6356 | 2702769.5635 | 1228844.4555
13 | 2702904.5681 | 1228839.4567 | 2702847.4597 | 1228838.7017
14 | 2702847.4597 | 1228838.7017 | 2702853.9301 | 1228766.6473
15 | 2702744.5236 | 1228846.4546 | 2702769.5635 | 1228844.4555
16 | 2702769.5635 | 1228844.4555 | 2702756.8889 | 1228775.5657
17 | 2702918.6191 | 1228839.6424 | 2702904.5681 | 1228839.4567
18 | 2702853.9301 | 1228766.6473 | 2702853.4972 | 1228757.9445 | 2702852.8446 | 1228755.3646 | 2702848.897 | 1228754.0176 | 2702832.4352 | 1228755.038
19 | 2702853.9301 | 1228766.6473 | 2702861.2236 | 1228766.0174
20 | 2702930.7575 | 1229060.1925 | 2702935.8966 | 1229043.0976
21 | 2702939.386 | 1229031.4906 | 2702935.8966 | 1229043.0976
22 | 2702939.386 | 1229031.4906 | 2702942.4658 | 1229021.246
23 | 2702943.7176 | 1229017.082 | 2702942.4658 | 1229021.246
24 | 2702943.7176 | 1229017.082 | 2702949.1094 | 1228999.1463
25 | 2702953.9433 | 1228980.711 | 2702953.7891 | 1228983.5798 | 2702949.1094 | 1228999.1463
26 | 2702925.6956 | 1228914.9984 | 2702937.5887 | 1228929.6929 | 2702950.2289 | 1228951.9948 | 2702954.7953 | 1228964.8612 | 2702953.9433 | 1228980.711
27 | 2702925.6956 | 1228914.9984 | 2702922.138 | 1228877.1145
28 | 2702925.6956 | 1228914.9984 | 2702809.0234 | 1228929.1023 | 2702807.4787 | 1228929.273
29 | 2702920.0152 | 1228854.509 | 2702922.138 | 1228877.1145
30 | 2702807.4787 | 1228929.273 | 2702793.9669 | 1228930.7659
31 | 2702918.6191 | 1228839.6424 | 2702920.0152 | 1228854.509
32 | 2702773.7629 | 1228932.9982 | 2702793.9669 | 1228930.7659
33 | 2702918.6191 | 1228839.6424 | 2702955.9504 | 1228837.5291
34 | 2702773.7629 | 1228932.9982 | 2702749.1479 | 1228935.7179
35 | 2702955.9504 | 1228837.5291 | 2702956.9766 | 1228837.471
36 | 2702956.9766 | 1228837.471 | 2702977.9314 | 1228836.2848
37 | 2702861.2236 | 1228766.0174 | 2702883.1495 | 1228764.1396 | 2702894.8265 | 1228763.0374
38 | 2702815.7139 | 1228755.8777 | 2702819.4468 | 1228755.8432 | 2702832.4352 | 1228755.038
39 | 2702756.8889 | 1228775.5657 | 2702754.0003 | 1228745.3935 | 2702752.4748 | 1228736.7607 | 2702750.735 | 1228729.125 | 2702749.1311 | 1228723.7044 | 2702747.1678 | 1228719.3562 | 2702744.5643 | 1228715.2082 | 2702741.6259 | 1228711.5881 | 2702738.2565 | 1228707.916 | 2702734.4667 | 1228704.8817 | 2702730.2528 | 1228702.2736 | 2702726.062 | 1228700.5222 | 2702721.1201 | 1228699.2581 | 2702715.6045 | 1228698.7403 | 2702710.3497 | 1228698.9164 | 2702704.3847 | 1228699.8474 | 2702698.3322 | 1228701.4552 | 2702692.0792 | 1228703.7045 | 2702685.6959 | 1228706.4741 | 2702681.2844 | 1228707.9182
40 | 2702674.9193 | 1228710.0018 | 2702681.2844 | 1228707.9182
41 | 2702674.9193 | 1228710.0018 | 2702665.6409 | 1228715.8571 | 2702656.7035 | 1228722.5967 | 2702649.1269 | 1228729.0819 | 2702639.7818 | 1228737.516

## bus_geodata
| x | y | coords
0 | 2702657.7249 | 1228639.5058
1 | 2702660.525 | 1228614.0936
2 | 2702657.6605 | 1228656.6534
3 | 2702629.1646 | 1228544.3676
4 | 2702836.4694 | 1228513.0468
5 | 2702714.5549 | 1228848.8472
6 | 2702590.5934 | 1228719.3872
7 | 2702665.5429 | 1228785.4573
8 | 2702730.6793 | 1228847.5599
9 | 2702625.5747 | 1228600.8585
10 | 2702592.7218 | 1228698.9234
11 | 2702857.1043 | 1228548.4861
12 | 2702847.4597 | 1228838.7017
13 | 2702769.5635 | 1228844.4555
14 | 2702904.5681 | 1228839.4567
15 | 2702853.9301 | 1228766.6473
16 | 2702930.7575 | 1229060.1925
17 | 2702935.8966 | 1229043.0976
18 | 2702939.386 | 1229031.4906
19 | 2702942.4658 | 1229021.246
20 | 2702943.7176 | 1229017.082
21 | 2702949.1094 | 1228999.1463
22 | 2702953.9433 | 1228980.711
23 | 2702925.6956 | 1228914.9984
24 | 2702922.138 | 1228877.1145
25 | 2702807.4787 | 1228929.273
26 | 2702920.0152 | 1228854.509
27 | 2702793.9669 | 1228930.7659
28 | 2702918.6191 | 1228839.6424
29 | 2702773.7629 | 1228932.9982
30 | 2702955.9504 | 1228837.5291
31 | 2702956.9766 | 1228837.471
32 | 2702977.9314 | 1228836.2848
33 | 2702894.8265 | 1228763.0374
34 | 2702861.2236 | 1228766.0174
35 | 2702815.7139 | 1228755.8777
36 | 2702832.4352 | 1228755.038
37 | 2702756.8889 | 1228775.5657
38 | 2702681.2844 | 1228707.9182
39 | 2702674.9193 | 1228710.0018
40 | 2702639.7818 | 1228737.516
41 | 2702744.5236 | 1228846.4546
42 | 2702749.1479 | 1228935.7179
43 | 2702804.8797 | 1228770.847

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98521 | -0.28341 | 0.0019716 | 0.00049414
1 | 0.98479 | -0.29152 | 0 | 0
2 | 0.9855 | -0.27777 | 0 | 0
3 | 0.98126 | -0.36037 | 0 | 0
4 | 0.98032 | -0.37872 | 0 | 0
5 | 0.98887 | -0.21264 | 0.061854 | 0.015502
6 | 0.98675 | -0.25391 | 0 | 0
7 | 0.98688 | -0.25147 | 0.027132 | 0.0067999
8 | 0.98952 | -0.20006 | 0.020496 | 0.0051367
9 | 0.97958 | -0.39324 | 0.031851 | 0.0079826
10 | 0.98651 | -0.25865 | 0.012886 | 0.0032296
11 | 0.97853 | -0.4138 | 0.03881 | 0.0097267
12 | 0.98674 | -0.25315 | 0.0036681 | 0.00091932
13 | 0.99157 | -0.16049 | 0.074786 | 0.018743
14 | 0.9846 | -0.29449 | 0.0026588 | 0.00066636
15 | 0.98172 | -0.35078 | 0 | 0
16 | 0.9749 | -0.48362 | 0.001206 | 0.00030225
17 | 0.97492 | -0.48323 | 0.0023623 | 0.00059204
18 | 0.97496 | -0.48243 | 0.00046044 | 0.0001154
19 | 0.975 | -0.48164 | 0.00043172 | 0.0001082
20 | 0.97502 | -0.48129 | 0.003584 | 0.00089824
21 | 0.97516 | -0.47853 | 0.0048114 | 0.0012059
22 | 0.97538 | -0.47402 | 0.0043141 | 0.0010812
23 | 0.97657 | -0.45074 | 0 | 0
24 | 0.97905 | -0.4022 | 0.043752 | 0.010965
25 | 0.97069 | -0.56637 | 0.04245 | 0.010639
26 | 0.98146 | -0.35535 | 0.00085295 | 0.00021377
27 | 0.97056 | -0.56898 | 0.0012984 | 0.0003254
28 | 0.98305 | -0.32444 | 0 | 0
29 | 0.97039 | -0.57239 | 0.0031904 | 0.00079959
30 | 0.98292 | -0.32699 | 0.0020109 | 0.00050399
31 | 0.98292 | -0.32702 | 0.0010268 | 0.00025734
32 | 0.9829 | -0.3273 | 0.0007402 | 0.00018551
33 | 0.98059 | -0.37301 | 0.029909 | 0.007496
34 | 0.98152 | -0.35473 | 0 | 0
35 | 0.9798 | -0.38831 | 0.037388 | 0.0093704
36 | 0.98038 | -0.37695 | 0.0077084 | 0.0019319
37 | 1 | 0 | -0.53598 | -0.13701
38 | 0.9994 | -0.011535 | 0.0028668 | 0.0007185
39 | 0.99939 | -0.011783 | 0 | 0
40 | 0.9993 | -0.013434 | 0.0021147 | 0.00052998
41 | 0.99015 | -0.18801 | 0.051806 | 0.012984
42 | 0.97025 | -0.57508 | 0.0058699 | 0.0014711
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.071071 | 0.017961 | -0.071043 | -0.017945 | 2.7645e-05 | 1.6391e-05 | 0.1074 | 0.1074 | 0.1074 | 0.98521 | -0.28341 | 0.98479 | -0.29152 | 7.3761
1 | -0.073043 | -0.018455 | 0.073062 | 0.018467 | 1.9752e-05 | 1.176e-05 | 0.11037 | 0.11037 | 0.11037 | 0.98521 | -0.28341 | 0.9855 | -0.27777 | 7.5806
2 | 0.032006 | 0.0080796 | -0.031901 | -0.0080138 | 0.00010519 | 6.58e-05 | 0.048382 | 0.048382 | 0.048382 | 0.98479 | -0.29152 | 0.98126 | -0.36037 | 13.2918
3 | 0.039037 | 0.0098653 | -0.038875 | -0.0097676 | 0.00016249 | 9.7689e-05 | 0.059014 | 0.059017 | 0.059017 | 0.98479 | -0.29152 | 0.98032 | -0.37872 | 8.1067
4 | -0.073062 | -0.018467 | 0.073291 | 0.018603 | 0.00022891 | 0.00013625 | 0.11037 | 0.11037 | 0.11037 | 0.9855 | -0.27777 | 0.98887 | -0.21264 | 7.5806
5 | 0.031901 | 0.0080138 | -0.031851 | -0.0079826 | 4.9957e-05 | 3.1255e-05 | 0.048382 | 0.048383 | 0.048383 | 0.98126 | -0.36037 | 0.97958 | -0.39324 | 13.2919
6 | 0.038875 | 0.0097676 | -0.03881 | -0.0097267 | 6.4975e-05 | 4.0958e-05 | 0.059017 | 0.059017 | 0.059017 | 0.98032 | -0.37872 | 0.97853 | -0.4138 | 16.2134
7 | 0.012915 | 0.0032452 | -0.012889 | -0.0032312 | 2.5393e-05 | 1.3957e-05 | 0.019437 | 0.019437 | 0.019437 | 0.98887 | -0.21264 | 0.98675 | -0.25391 | 5.3399
8 | 0.027182 | 0.0068311 | -0.027132 | -0.0067999 | 5.0288e-05 | 3.1159e-05 | 0.040909 | 0.04091 | 0.04091 | 0.98887 | -0.21264 | 0.98688 | -0.25147 | 11.239
9 | -0.17524 | -0.044182 | 0.17535 | 0.044249 | 0.00010552 | 6.6705e-05 | 0.26379 | 0.26379 | 0.26379 | 0.98887 | -0.21264 | 0.98952 | -0.20006 | 18.1175
10 | 0.012889 | 0.0032312 | -0.012886 | -0.0032296 | 2.9149e-06 | 1.6028e-06 | 0.019437 | 0.019437 | 0.019437 | 0.98675 | -0.25391 | 0.98651 | -0.25865 | 5.34
11 | -0.19584 | -0.049385 | 0.19596 | 0.049457 | 0.00011301 | 7.1613e-05 | 0.29461 | 0.29461 | 0.29461 | 0.98952 | -0.20006 | 0.99015 | -0.18801 | 20.2343
12 | -0.20148 | -0.051182 | 0.20238 | 0.051757 | 0.00090303 | 0.00057493 | 0.30408 | 0.30408 | 0.30408 | 0.98674 | -0.25315 | 0.99157 | -0.16049 | 27.8463
13 | 0.12235 | 0.031172 | -0.1221 | -0.031018 | 0.0002435 | 0.00015366 | 0.18468 | 0.18468 | 0.18468 | 0.98674 | -0.25315 | 0.9846 | -0.29449 | 16.9125
14 | 0.075466 | 0.019091 | -0.075114 | -0.018866 | 0.00035175 | 0.0002242 | 0.11387 | 0.11387 | 0.11387 | 0.98674 | -0.25315 | 0.98172 | -0.35078 | 31.2822
15 | 0.24809 | 0.062648 | -0.24776 | -0.062441 | 0.00032671 | 0.0002078 | 0.37247 | 0.37247 | 0.37247 | 0.99157 | -0.16049 | 0.99015 | -0.18801 | 25.5815
16 | -0.52526 | -0.13315 | 0.52935 | 0.13576 | 0.0040856 | 0.0026112 | 0.78877 | 0.78877 | 0.78877 | 0.99157 | -0.16049 | 1 | 0 | 54.174
17 | 0.11945 | 0.030352 | -0.11927 | -0.030242 | 0.000172 | 0.0001099 | 0.18067 | 0.18067 | 0.18067 | 0.9846 | -0.29449 | 0.98305 | -0.32444 | 49.6336
18 | 0.045173 | 0.011351 | -0.045117 | -0.011315 | 5.6344e-05 | 3.5655e-05 | 0.06848 | 0.068481 | 0.068481 | 0.98172 | -0.35078 | 0.98038 | -0.37695 | 18.8133
19 | 0.029941 | 0.0075158 | -0.029935 | -0.0075123 | 5.6383e-06 | 3.5163e-06 | 0.045387 | 0.045387 | 0.045387 | 0.98172 | -0.35078 | 0.98152 | -0.35473 | 12.4689
20 | -0.001206 | -0.00030225 | 0.001206 | 0.00030204 | 2.2681e-08 | -2.0807e-07 | 0.0018408 | 0.0018407 | 0.0018408 | 0.9749 | -0.48362 | 0.97492 | -0.48323 | 0.5057
21 | -0.0035683 | -0.00089408 | 0.0035684 | 0.00089402 | 1.3481e-07 | -6.4859e-08 | 0.0054462 | 0.0054462 | 0.0054462 | 0.97492 | -0.48323 | 0.97496 | -0.48243 | 1.4962
22 | -0.0040289 | -0.0010094 | 0.004029 | 0.0010094 | 1.5167e-07 | -3.6339e-08 | 0.0061489 | 0.0061488 | 0.0061489 | 0.97496 | -0.48243 | 0.975 | -0.48164 | 1.6893
23 | -0.0044607 | -0.0011176 | 0.0044608 | 0.0011176 | 7.5566e-08 | -5.8653e-09 | 0.0068077 | 0.0068077 | 0.0068077 | 0.975 | -0.48164 | 0.97502 | -0.48129 | 1.8703
24 | -0.0080448 | -0.0020158 | 0.0080459 | 0.0020163 | 1.0586e-06 | 4.4392e-07 | 0.012277 | 0.012277 | 0.012277 | 0.97502 | -0.48129 | 0.97516 | -0.47853 | 3.3729
25 | -0.012857 | -0.0032221 | 0.01286 | 0.0032236 | 2.7609e-06 | 1.5283e-06 | 0.019619 | 0.019619 | 0.019619 | 0.97516 | -0.47853 | 0.97538 | -0.47402 | 5.3899
26 | -0.017174 | -0.0043049 | 0.017193 | 0.0043161 | 1.9066e-05 | 1.1277e-05 | 0.026201 | 0.0262 | 0.026201 | 0.97538 | -0.47402 | 0.97657 | -0.45074 | 7.198
27 | -0.070298 | -0.017739 | 0.070462 | 0.017843 | 0.00016385 | 0.00010439 | 0.10716 | 0.10716 | 0.10716 | 0.97657 | -0.45074 | 0.97905 | -0.4022 | 29.4392
28 | 0.053105 | 0.013423 | -0.052813 | -0.013237 | 0.00029267 | 0.00018583 | 0.080958 | 0.080959 | 0.080959 | 0.97657 | -0.45074 | 0.97069 | -0.56637 | 22.2414
29 | -0.11421 | -0.028808 | 0.11447 | 0.028972 | 0.00025676 | 0.00016404 | 0.17365 | 0.17365 | 0.17365 | 0.97905 | -0.4022 | 0.98146 | -0.35535 | 47.7072
30 | 0.010362 | 0.0025977 | -0.010361 | -0.002597 | 1.2863e-06 | 6.5523e-07 | 0.015885 | 0.015885 | 0.015885 | 0.97069 | -0.56637 | 0.97056 | -0.56898 | 4.364
31 | -0.11532 | -0.029186 | 0.1155 | 0.029296 | 0.00017138 | 0.00010949 | 0.17495 | 0.17495 | 0.17495 | 0.98146 | -0.35535 | 0.98305 | -0.32444 | 48.0625
32 | 0.0090626 | 0.0022716 | -0.0090611 | -0.0022709 | 1.4716e-06 | 6.9065e-07 | 0.013894 | 0.013894 | 0.013894 | 0.97056 | -0.56898 | 0.97039 | -0.57239 | 3.8172
33 | 0.0037784 | 0.00094639 | -0.003778 | -0.00094658 | 4.5864e-07 | -1.8046e-07 | 0.0057191 | 0.0057193 | 0.0057193 | 0.98305 | -0.32444 | 0.98292 | -0.32699 | 1.5712
34 | 0.0058707 | 0.0014713 | -0.0058699 | -0.0014711 | 7.5262e-07 | 1.7578e-07 | 0.0090023 | 0.0090024 | 0.0090024 | 0.97039 | -0.57239 | 0.97025 | -0.57508 | 2.4732
35 | 0.001767 | 0.00044258 | -0.001767 | -0.0004426 | 2.758e-09 | -1.1262e-08 | 0.002675 | 0.002675 | 0.002675 | 0.98292 | -0.32699 | 0.98292 | -0.32702 | 0.73488
36 | 0.0007402 | 0.00018525 | -0.0007402 | -0.00018551 | 9.8823e-09 | -2.597e-07 | 0.0011205 | 0.0011206 | 0.0011206 | 0.98292 | -0.32702 | 0.9829 | -0.3273 | 0.30785
37 | -0.029909 | -0.007496 | 0.029935 | 0.0075123 | 2.606e-05 | 1.6252e-05 | 0.045387 | 0.045387 | 0.045387 | 0.98059 | -0.37301 | 0.98152 | -0.35473 | 12.4689
38 | -0.037388 | -0.0093704 | 0.037408 | 0.0093831 | 2.0247e-05 | 1.2747e-05 | 0.056781 | 0.056781 | 0.056781 | 0.9798 | -0.38831 | 0.98038 | -0.37695 | 15.5992
39 | 0.0049844 | 0.0012479 | -0.0049817 | -0.0012479 | 2.7368e-06 | 1.2008e-08 | 0.0074164 | 0.007417 | 0.007417 | 1 | 0 | 0.9994 | -0.011535 | 2.0377
40 | 0.0021148 | 0.00052943 | -0.0021148 | -0.0005295 | 2.4899e-08 | -7.1824e-08 | 0.0031486 | 0.0031486 | 0.0031486 | 0.9994 | -0.011535 | 0.99939 | -0.011783 | 0.86501
41 | 0.0021148 | 0.0005295 | -0.0021147 | -0.00052998 | 1.6629e-07 | -4.7959e-07 | 0.0031486 | 0.0031488 | 0.0031488 | 0.99939 | -0.011783 | 0.9993 | -0.013434 | 0.86506

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53598 | 0.13701

## res_load
| p_mw | q_mvar
0 | 0.0019716 | 0.00049414
1 | 0.061854 | 0.015502
2 | 0.027132 | 0.0067999
3 | 0.020496 | 0.0051367
4 | 0.031851 | 0.0079826
5 | 0.012886 | 0.0032296
6 | 0.03881 | 0.0097267
7 | 0.0036681 | 0.00091932
8 | 0.074786 | 0.018743
9 | 0.0026588 | 0.00066636
10 | 0.001206 | 0.00030225
11 | 0.0023623 | 0.00059204
12 | 0.00046044 | 0.0001154
13 | 0.00043172 | 0.0001082
14 | 0.003584 | 0.00089824
15 | 0.0048114 | 0.0012059
16 | 0.0043141 | 0.0010812
17 | 0.043752 | 0.010965
18 | 0.04245 | 0.010639
19 | 0.00085295 | 0.00021377
20 | 0.0012984 | 0.0003254
21 | 0.0031904 | 0.00079959
22 | 0.0020109 | 0.00050399
23 | 0.0010268 | 0.00025734
24 | 0.0007402 | 0.00018551
25 | 0.029909 | 0.007496
26 | 0.037388 | 0.0093704
27 | 0.0077084 | 0.0019319
28 | 0.0028668 | 0.0007185
29 | 0.0021147 | 0.00052998
30 | 0.051806 | 0.012984
31 | 0.0058699 | 0.0014711

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1