## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1322-23_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1322-23_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1322-23_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1322-23_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1322-23_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1322-23_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1322-23_0_4_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_1322-23_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_1322-23_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1322-23_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1322-23_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1322-23_0_4_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1322-23_0_4_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_1322-23_0_4_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_1322-23_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1322-23_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1322-23_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1322-23_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1322-23_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1322-23_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1322-23_0_4_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_1322-23_0_4_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_1322-23_0_4_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_1322-23_0_4_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_1322-23_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1322-23_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1322-23_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1322-23_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1322-23_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1322-23_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1322-23_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1322-23_0_4_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1322-23_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1322-23_0_4_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_1322-23_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1322-23_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1322-23_0_4_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_1322-23_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1322-23_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1322-23_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1322-23_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_1322-23_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_1322-23_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_1322-23_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1322-23_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1322-23_0_4_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_1322-23_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_1322-23_0_4_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_1322-23_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_MV_16_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1322-23_0_4_load_0 | 0 | 0.0081736 | 0.0020485 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1322-23_0_4_load_1 | 1 | 0.0061281 | 0.0015359 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1322-23_0_4_load_3 | 3 | 0.013554 | 0.0033969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1322-23_0_4_load_4 | 4 | 0.031847 | 0.0079817 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1322-23_0_4_load_5 | 5 | 0.0055656 | 0.0013949 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1322-23_0_4_load_18 | 6 | 0.012536 | 0.0031418 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1322-23_0_4_load_17 | 7 | 0.009321 | 0.0023361 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1322-23_0_4_load_7 | 9 | 0.0027342 | 0.00068525 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1322-23_0_4_load_8 | 10 | 0.0027342 | 0.00068525 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1322-23_0_4_load_27 | 11 | 0.00067227 | 0.00016849 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1322-23_0_4_load_16 | 12 | 0.0027342 | 0.00068525 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1322-23_0_4_load_28 | 13 | 0.00067334 | 0.00016875 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1322-23_0_4_load_14 | 14 | 0.0034492 | 0.00086444 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1322-23_0_4_load_10 | 15 | 0.0028143 | 0.00070534 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1322-23_0_4_load_11 | 16 | 0.002528 | 0.00063357 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1322-23_0_4_load_12 | 17 | 0.0028143 | 0.00070534 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1322-23_0_4_load_13 | 18 | 0.0025273 | 0.0006334 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1322-23_0_4_load_36 | 20 | 0.0044777 | 0.0011222 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1322-23_0_4_load_33 | 21 | 0.0039131 | 0.00098073 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1322-23_0_4_load_38 | 22 | 0.0018759 | 0.00047016 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1322-23_0_4_load_31 | 23 | 0.0053621 | 0.0013439 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1322-23_0_4_load_23 | 28 | 0.014982 | 0.0037548 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1322-23_0_4_load_24 | 29 | 0.0040696 | 0.0010199 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1322-23_0_4_load_26 | 30 | 0.050747 | 0.012718 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1322-23_0_4_load_50 | 31 | 0.016307 | 0.004087 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1322-23_0_4_load_25 | 32 | 0.016379 | 0.0041049 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1322-23_0_4_load_40 | 33 | 0.013095 | 0.0032818 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1322-23_0_4_load_29 | 34 | 0.00063499 | 0.00015914 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1322-23_0_4_load_30 | 35 | 0.00067227 | 0.00016849 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1322-23_0_4_load_52 | 36 | 0.00063526 | 0.00015921 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1322-23_0_4_load_32 | 37 | 0.0040319 | 0.0010105 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1322-23_0_4_load_34 | 38 | 0.0036742 | 0.00092085 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1322-23_0_4_load_35 | 39 | 0.0097059 | 0.0024325 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1322-23_0_4_load_39 | 40 | 0.0098274 | 0.002463 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1322-23_0_4_load_46 | 41 | 0.0041037 | 0.0010285 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1322-23_0_4_load_44 | 42 | 0.017097 | 0.0042849 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1322-23_0_4_load_37 | 43 | 0.0025262 | 0.00063312 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1322-23_0_4_load_45 | 44 | 0.015248 | 0.0038216 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1322-23_0_4_load_51 | 45 | 0.00056149 | 0.00014072 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1322-23_0_4_load_47 | 46 | 0.042119 | 0.010556 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1322-23_0_4_load_48 | 47 | 0.039696 | 0.0099488 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1322-23_0_4_load_49 | 48 | 0.0034207 | 0.00085731 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1322-23_0_4_line_0 |  | 0 | 1 | 0.020407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1322-23_0_4_line_1 |  | 0 | 2 | 0.032617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1322-23_0_4_line_2 |  | 1 | 3 | 0.02574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1322-23_0_4_line_3 |  | 2 | 4 | 0.03673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1322-23_0_4_line_4 |  | 3 | 5 | 0.007268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1322-23_0_4_line_5 |  | 5 | 6 | 0.017378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1322-23_0_4_line_6 |  | 6 | 7 | 0.008431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1322-23_0_4_line_7 |  | 7 | 24 | 0.029787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1322-23_0_4_line_8 |  | 8 | 9 | 0.028015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1322-23_0_4_line_9 |  | 8 | 10 | 0.024518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1322-23_0_4_line_10 |  | 9 | 11 | 0.026637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1322-23_0_4_line_11 |  | 10 | 12 | 0.0021132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1322-23_0_4_line_12 |  | 11 | 13 | 0.0002255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1322-23_0_4_line_13 |  | 12 | 14 | 0.0081762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1322-23_0_4_line_14 |  | 13 | 34 | 7.2015e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1322-23_0_4_line_15 |  | 14 | 17 | 0.0057092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1322-23_0_4_line_16 |  | 15 | 16 | 0.0015866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1322-23_0_4_line_17 |  | 15 | 17 | 0.004758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1322-23_0_4_line_18 |  | 16 | 18 | 0.003735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1322-23_0_4_line_19 |  | 18 | 19 | 0.045601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1322-23_0_4_line_20 |  | 19 | 20 | 0.0069542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1322-23_0_4_line_21 |  | 19 | 21 | 0.0040882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1322-23_0_4_line_22 |  | 20 | 22 | 0.012538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1322-23_0_4_line_23 |  | 21 | 23 | 0.012518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1322-23_0_4_line_24 |  | 22 | 43 | 0.027803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1322-23_0_4_line_25 |  | 23 | 37 | 0.0022773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1322-23_0_4_line_26 |  | 24 | 25 | 0.029127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1322-23_0_4_line_27 |  | 24 | 26 | 0.039894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_1322-23_0_4_line_28 |  | 25 | 27 | 0.016603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1322-23_0_4_line_29 |  | 25 | 28 | 0.033203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1322-23_0_4_line_30 |  | 26 | 29 | 0.015218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1322-23_0_4_line_31 |  | 27 | 30 | 0.041852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1322-23_0_4_line_32 |  | 29 | 31 | 0.0077075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1322-23_0_4_line_33 |  | 30 | 32 | 0.00039127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1322-23_0_4_line_34 |  | 31 | 33 | 0.057681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1322-23_0_4_line_35 |  | 33 | 47 | 0.032048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1322-23_0_4_line_36 |  | 34 | 35 | 0.0002183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1322-23_0_4_line_37 |  | 35 | 36 | 3.2218e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1322-23_0_4_line_38 |  | 37 | 38 | 0.031715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1322-23_0_4_line_39 |  | 38 | 39 | 0.033557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1322-23_0_4_line_40 |  | 39 | 40 | 0.020149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1322-23_0_4_line_41 |  | 39 | 41 | 0.036465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1322-23_0_4_line_42 |  | 41 | 42 | 0.056794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1322-23_0_4_line_43 |  | 42 | 44 | 0.020198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1322-23_0_4_line_44 |  | 42 | 45 | 0.29752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1322-23_0_4_line_45 |  | 44 | 46 | 0.0092304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_1322-23_0_4_line_46 |  | 46 | 47 | 0.044784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_1322-23_0_4_line_47 |  | 47 | 48 | 0.024382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1322-23_0_4_trafo_3 | 0.63 MVA 20/0.4 kV | 49 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2702148.6043 | 1228405.8686 | 2702138.3243 | 1228407.1853 | 2702128.7794 | 1228410.3101
1 | 2702180.9569 | 1228401.7246 | 2702148.6043 | 1228405.8686
2 | 2702128.7794 | 1228410.3101 | 2702104.317 | 1228418.3184
3 | 2702180.9569 | 1228401.7246 | 2702180.3896 | 1228405.184 | 2702179.932 | 1228407.5557 | 2702179.6907 | 1228408.808 | 2702176.9448 | 1228423.0603 | 2702174.0971 | 1228437.8067
4 | 2702097.4097 | 1228420.5796 | 2702104.317 | 1228418.3184
5 | 2702097.4097 | 1228420.5796 | 2702080.8938 | 1228425.9864
6 | 2702072.8813 | 1228428.6095 | 2702080.8938 | 1228425.9864
7 | 2702044.573 | 1228437.8768 | 2702072.8813 | 1228428.6095
8 | 2702256.3132 | 1228400.7186 | 2702283.812 | 1228406.0713
9 | 2702256.3132 | 1228400.7186 | 2702263.6579 | 1228395.3743 | 2702267.9673 | 1228389.8109 | 2702271.0874 | 1228382.0144
10 | 2702283.812 | 1228406.0713 | 2702309.9585 | 1228411.1607
11 | 2702270.94 | 1228379.9063 | 2702271.0874 | 1228382.0144 | 2702271.0874 | 1228382.0144
12 | 2702309.9585 | 1228411.1607 | 2702310.1799 | 1228411.2038
13 | 2702270.94 | 1228379.9063 | 2702270.3697 | 1228371.75 | 2702270.3697 | 1228371.75
14 | 2702310.1799 | 1228411.2038 | 2702310.1869 | 1228411.2052
15 | 2702270.3697 | 1228371.75 | 2702268.0037 | 1228366.5542
16 | 2702266.0319 | 1228362.224 | 2702264.8727 | 1228361.1406
17 | 2702266.0319 | 1228362.224 | 2702266.0319 | 1228362.224 | 2702268.0037 | 1228366.5542
18 | 2702264.8727 | 1228361.1406 | 2702262.1441 | 1228358.5901
19 | 2702223.3319 | 1228335.0034 | 2702239.2288 | 1228343.5606 | 2702256.8576 | 1228353.6488 | 2702262.1441 | 1228358.5901
20 | 2702223.3319 | 1228335.0034 | 2702228.7776 | 1228330.6784
21 | 2702223.3319 | 1228335.0034 | 2702220.235 | 1228337.6723
22 | 2702228.7776 | 1228330.6784 | 2702237.4467 | 1228323.7932 | 2702238.6606 | 1228322.9688
23 | 2702220.235 | 1228337.6723 | 2702210.7528 | 1228345.8444
24 | 2702264.2706 | 1228324.9551 | 2702255.7971 | 1228320.5729 | 2702248.5861 | 1228319.0256 | 2702242.6842 | 1228320.2362 | 2702238.6606 | 1228322.9688
25 | 2702209.0277 | 1228347.3311 | 2702210.7528 | 1228345.8444
26 | 2702044.573 | 1228437.8768 | 2702042.4952 | 1228440.5988 | 2702041.0173 | 1228443.6979 | 2702040.2522 | 1228446.7648 | 2702040.0842 | 1228449.9309 | 2702043.3632 | 1228465.532
27 | 2702018.3495 | 1228413.687 | 2702029.8655 | 1228434.6444 | 2702031.8207 | 1228436.4126 | 2702034.1018 | 1228437.7416 | 2702036.6034 | 1228438.5851 | 2702039.2958 | 1228438.9093 | 2702041.9903 | 1228438.6664 | 2702044.573 | 1228437.8768
28 | 2702043.3632 | 1228465.532 | 2702058.9346 | 1228471.4146
29 | 2702043.3632 | 1228465.532 | 2702044.2389 | 1228476.3217 | 2702043.5996 | 1228498.6901
30 | 2702018.3495 | 1228413.687 | 2702011.0185 | 1228400.3512
31 | 2702058.9346 | 1228471.4146 | 2702098.087 | 1228486.2011
32 | 2702007.1856 | 1228393.6823 | 2702007.6124 | 1228394.1552 | 2702011.0185 | 1228400.3512
33 | 2702098.4531 | 1228486.3393 | 2702098.087 | 1228486.2011
34 | 2702007.1856 | 1228393.6823 | 2702015.2379 | 1228336.5657
35 | 2702012.4976 | 1228304.6353 | 2702015.2379 | 1228336.5657
36 | 2702310.1869 | 1228411.2052 | 2702310.4012 | 1228411.2469
37 | 2702310.4012 | 1228411.2469 | 2702310.4044 | 1228411.2475
38 | 2702209.0277 | 1228347.3311 | 2702204.8002 | 1228350.9745 | 2702199.1312 | 1228352.7451 | 2702178.9794 | 1228351.4259
39 | 2702178.9794 | 1228351.4259 | 2702174.9445 | 1228351.1618 | 2702145.6786 | 1228347.3455
40 | 2702125.6984 | 1228344.7401 | 2702145.6786 | 1228347.3455
41 | 2702145.6786 | 1228347.3455 | 2702141.3083 | 1228311.1436
42 | 2702141.3083 | 1228311.1436 | 2702106.4637 | 1228299.0921 | 2702086.5888 | 1228300.4872
43 | 2702086.5888 | 1228300.4872 | 2702066.44 | 1228301.9016
44 | 2702086.5888 | 1228300.4872 | 2702093.5481 | 1228003.0533
45 | 2702057.2322 | 1228302.5479 | 2702066.44 | 1228301.9016
46 | 2702012.4976 | 1228304.6353 | 2702054.9192 | 1228302.7103 | 2702057.2322 | 1228302.5479
47 | 2701988.1408 | 1228305.7406 | 2702012.4976 | 1228304.6353

## bus_geodata
| x | y | coords
0 | 2702148.6043 | 1228405.8686
1 | 2702128.7794 | 1228410.3101
2 | 2702180.9569 | 1228401.7246
3 | 2702104.317 | 1228418.3184
4 | 2702174.0971 | 1228437.8067
5 | 2702097.4097 | 1228420.5796
6 | 2702080.8938 | 1228425.9864
7 | 2702072.8813 | 1228428.6095
8 | 2702256.3132 | 1228400.7186
9 | 2702283.812 | 1228406.0713
10 | 2702271.0874 | 1228382.0144
11 | 2702309.9585 | 1228411.1607
12 | 2702270.94 | 1228379.9063
13 | 2702310.1799 | 1228411.2038
14 | 2702270.3697 | 1228371.75
15 | 2702266.0319 | 1228362.224
16 | 2702264.8727 | 1228361.1406
17 | 2702268.0037 | 1228366.5542
18 | 2702262.1441 | 1228358.5901
19 | 2702223.3319 | 1228335.0034
20 | 2702228.7776 | 1228330.6784
21 | 2702220.235 | 1228337.6723
22 | 2702238.6606 | 1228322.9688
23 | 2702210.7528 | 1228345.8444
24 | 2702044.573 | 1228437.8768
25 | 2702043.3632 | 1228465.532
26 | 2702018.3495 | 1228413.687
27 | 2702058.9346 | 1228471.4146
28 | 2702043.5996 | 1228498.6901
29 | 2702011.0185 | 1228400.3512
30 | 2702098.087 | 1228486.2011
31 | 2702007.1856 | 1228393.6823
32 | 2702098.4531 | 1228486.3393
33 | 2702015.2379 | 1228336.5657
34 | 2702310.1869 | 1228411.2052
35 | 2702310.4012 | 1228411.2469
36 | 2702310.4044 | 1228411.2475
37 | 2702209.0277 | 1228347.3311
38 | 2702178.9794 | 1228351.4259
39 | 2702145.6786 | 1228347.3455
40 | 2702125.6984 | 1228344.7401
41 | 2702141.3083 | 1228311.1436
42 | 2702086.5888 | 1228300.4872
43 | 2702264.2706 | 1228324.9551
44 | 2702066.44 | 1228301.9016
45 | 2702093.5481 | 1228003.0533
46 | 2702057.2322 | 1228302.5479
47 | 2702012.4976 | 1228304.6353
48 | 2701988.1408 | 1228305.7406
49 | 2702044.573 | 1228437.8768

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99818 | -0.035005 | 0.0081736 | 0.0020485
1 | 0.99892 | -0.020728 | 0.0061281 | 0.0015359
2 | 0.99723 | -0.053195 | 0 | 0
3 | 1 | 0 | -0.38929 | -0.099164
4 | 0.99617 | -0.073718 | 0.031847 | 0.0079817
5 | 0.99925 | -0.014212 | 0.0055656 | 0.0013949
6 | 0.99748 | -0.047717 | 0.012536 | 0.0031418
7 | 0.99665 | -0.063396 | 0.009321 | 0.0023361
8 | 0.97117 | -0.55758 | 0 | 0
9 | 0.97101 | -0.5607 | 0.0027342 | 0.00068525
10 | 0.97131 | -0.55485 | 0.0027342 | 0.00068525
11 | 0.97093 | -0.56232 | 0.00067227 | 0.00016849
12 | 0.97133 | -0.55451 | 0.0027342 | 0.00068525
13 | 0.97093 | -0.56233 | 0.00067334 | 0.00016875
14 | 0.97142 | -0.55277 | 0.0034492 | 0.00086444
15 | 0.97157 | -0.54964 | 0.0028143 | 0.00070534
16 | 0.9716 | -0.54903 | 0.002528 | 0.00063357
17 | 0.97149 | -0.5512 | 0.0028143 | 0.00070534
18 | 0.97168 | -0.54744 | 0.0025273 | 0.0006334
19 | 0.97278 | -0.52589 | 0 | 0
20 | 0.97272 | -0.52703 | 0.0044777 | 0.0011222
21 | 0.97291 | -0.52329 | 0.0039131 | 0.00098073
22 | 0.97267 | -0.52805 | 0.0018759 | 0.00047016
23 | 0.97336 | -0.51444 | 0.0053621 | 0.0013439
24 | 0.99382 | -0.11736 | 0 | 0
25 | 0.99163 | -0.15966 | 0 | 0
26 | 0.99103 | -0.17073 | 0 | 0
27 | 0.9906 | -0.17944 | 0 | 0
28 | 0.99117 | -0.16848 | 0.014982 | 0.0037548
29 | 0.98996 | -0.19117 | 0.0040696 | 0.0010199
30 | 0.98802 | -0.22947 | 0.050747 | 0.012718
31 | 0.98943 | -0.20135 | 0.016307 | 0.004087
32 | 0.98802 | -0.22958 | 0.016379 | 0.0041049
33 | 0.98576 | -0.27227 | 0.013095 | 0.0032818
34 | 0.97093 | -0.56233 | 0.00063499 | 0.00015914
35 | 0.97093 | -0.56233 | 0.00067227 | 0.00016849
36 | 0.97093 | -0.56233 | 0.00063526 | 0.00015921
37 | 0.97345 | -0.51261 | 0.0040319 | 0.0010105
38 | 0.97486 | -0.48475 | 0.0036742 | 0.00092085
39 | 0.97647 | -0.45311 | 0.0097059 | 0.0024325
40 | 0.97629 | -0.45674 | 0.0098274 | 0.002463
41 | 0.97889 | -0.40589 | 0.0041037 | 0.0010285
42 | 0.98087 | -0.36716 | 0.017097 | 0.0042849
43 | 0.9726 | -0.52934 | 0.0025262 | 0.00063312
44 | 0.98146 | -0.35584 | 0.015248 | 0.0038216
45 | 0.98072 | -0.37021 | 0.00056149 | 0.00014072
46 | 0.98176 | -0.34983 | 0.042119 | 0.010556
47 | 0.98384 | -0.30938 | 0.039696 | 0.0099488
48 | 0.98377 | -0.31088 | 0.0034207 | 0.00085731
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.04008 | -0.010067 | 0.040107 | 0.010084 | 2.7326e-05 | 1.7222e-05 | 0.059756 | 0.059756 | 0.059756 | 0.99818 | -0.035005 | 0.99892 | -0.020728 | 16.4165
1 | 0.031906 | 0.0080184 | -0.031878 | -0.0080012 | 2.768e-05 | 1.7289e-05 | 0.047571 | 0.047571 | 0.047571 | 0.99818 | -0.035005 | 0.99723 | -0.053195 | 13.0691
2 | -0.046235 | -0.01162 | 0.046281 | 0.011649 | 4.5802e-05 | 2.8976e-05 | 0.068885 | 0.068884 | 0.068885 | 0.99892 | -0.020728 | 1 | 0 | 18.9243
3 | 0.031878 | 0.0080012 | -0.031847 | -0.0079817 | 3.117e-05 | 1.947e-05 | 0.047571 | 0.047572 | 0.047572 | 0.99723 | -0.053195 | 0.99617 | -0.073718 | 13.0691
4 | 0.34136 | 0.087515 | -0.34113 | -0.087364 | 0.00023505 | 0.00015015 | 0.50865 | 0.50865 | 0.50865 | 1 | 0 | 0.99925 | -0.014212 | 46.5794
5 | 0.33556 | 0.08597 | -0.33502 | -0.085622 | 0.00054386 | 0.00034739 | 0.50036 | 0.50036 | 0.50036 | 0.99925 | -0.014212 | 0.99748 | -0.047717 | 45.8205
6 | 0.32248 | 0.08248 | -0.32224 | -0.082324 | 0.00024449 | 0.00015615 | 0.48166 | 0.48166 | 0.48166 | 0.99748 | -0.047717 | 0.99665 | -0.063396 | 44.108
7 | 0.31292 | 0.079988 | -0.3121 | -0.079468 | 0.0008146 | 0.00052019 | 0.46774 | 0.46774 | 0.46774 | 0.99665 | -0.063396 | 0.99382 | -0.11736 | 42.8337
8 | 0.0060235 | 0.0015094 | -0.0060226 | -0.0015092 | 8.9481e-07 | 2.2609e-07 | 0.009229 | 0.0092291 | 0.0092291 | 0.97117 | -0.55758 | 0.97101 | -0.5607 | 2.5355
9 | -0.0060235 | -0.0015094 | 0.0060242 | 0.0015096 | 7.8311e-07 | 1.9776e-07 | 0.009229 | 0.0092289 | 0.009229 | 0.97117 | -0.55758 | 0.97131 | -0.55485 | 2.5354
10 | 0.0032884 | 0.00082391 | -0.0032881 | -0.00082408 | 2.5366e-07 | -1.6713e-07 | 0.0050391 | 0.0050393 | 0.0050393 | 0.97101 | -0.5607 | 0.97093 | -0.56232 | 1.3844
11 | -0.0087584 | -0.0021948 | 0.0087586 | 0.0021949 | 1.4266e-07 | 6.5149e-08 | 0.013418 | 0.013418 | 0.013418 | 0.97131 | -0.55485 | 0.97133 | -0.55451 | 3.6861
12 | 0.0026159 | 0.00065559 | -0.0026159 | -0.00065559 | 1.3591e-09 | -1.919e-09 | 0.004009 | 0.004009 | 0.004009 | 0.97093 | -0.56232 | 0.97093 | -0.56233 | 1.1014
13 | -0.011493 | -0.0028802 | 0.011494 | 0.0028807 | 9.5041e-07 | 5.0705e-07 | 0.017606 | 0.017606 | 0.017606 | 0.97133 | -0.55451 | 0.97142 | -0.55277 | 4.8369
14 | 0.0019425 | 0.00048684 | -0.0019425 | -0.00048684 | 2.3102e-11 | -6.9452e-11 | 0.002977 | 0.002977 | 0.002977 | 0.97093 | -0.56233 | 0.97093 | -0.56233 | 0.81787
15 | -0.014943 | -0.0037451 | 0.014944 | 0.0037458 | 1.1217e-06 | 6.4721e-07 | 0.02289 | 0.02289 | 0.02289 | 0.97142 | -0.55277 | 0.97149 | -0.5512 | 6.2883
16 | -0.020574 | -0.0051572 | 0.020575 | 0.0051576 | 5.9077e-07 | 3.5844e-07 | 0.03151 | 0.03151 | 0.03151 | 0.97157 | -0.54964 | 0.9716 | -0.54903 | 8.6567
17 | 0.01776 | 0.0044519 | -0.017758 | -0.0044511 | 1.3201e-06 | 7.8593e-07 | 0.0272 | 0.0272 | 0.0272 | 0.97157 | -0.54964 | 0.97149 | -0.5512 | 7.4726
18 | -0.023103 | -0.0057911 | 0.023104 | 0.0057922 | 1.7534e-06 | 1.0759e-06 | 0.035382 | 0.035382 | 0.035382 | 0.9716 | -0.54903 | 0.97168 | -0.54744 | 9.7204
19 | -0.025632 | -0.0064256 | 0.025658 | 0.0064419 | 2.6347e-05 | 1.6297e-05 | 0.039252 | 0.039252 | 0.039252 | 0.97168 | -0.54744 | 0.97278 | -0.52589 | 10.7836
20 | 0.0088807 | 0.0022255 | -0.0088802 | -0.0022252 | 4.8124e-07 | 2.2166e-07 | 0.013584 | 0.013584 | 0.013584 | 0.97278 | -0.52589 | 0.97272 | -0.52703 | 3.732
21 | -0.034539 | -0.0086674 | 0.034543 | 0.0086701 | 4.2799e-06 | 2.6884e-06 | 0.052836 | 0.052836 | 0.052836 | 0.97278 | -0.52589 | 0.97291 | -0.52329 | 14.5155
22 | 0.0044025 | 0.001103 | -0.0044023 | -0.001103 | 2.1325e-07 | -1.9149e-08 | 0.0067346 | 0.0067347 | 0.0067347 | 0.97272 | -0.52703 | 0.97267 | -0.52805 | 1.8502
23 | -0.038456 | -0.0096508 | 0.038472 | 0.009661 | 1.6242e-05 | 1.0239e-05 | 0.058821 | 0.058821 | 0.058821 | 0.97291 | -0.52329 | 0.97336 | -0.51444 | 16.1597
24 | 0.0025263 | 0.00063288 | -0.0025262 | -0.00063312 | 1.5574e-07 | -2.454e-07 | 0.0038648 | 0.0038649 | 0.0038649 | 0.97267 | -0.52805 | 0.9726 | -0.52934 | 1.0618
25 | -0.043834 | -0.011005 | 0.043838 | 0.011007 | 3.8357e-06 | 2.4266e-06 | 0.067019 | 0.067019 | 0.067019 | 0.97336 | -0.51444 | 0.97345 | -0.51261 | 18.4117
26 | 0.082505 | 0.020831 | -0.082338 | -0.020724 | 0.00016683 | 0.00010639 | 0.12359 | 0.12359 | 0.12359 | 0.99382 | -0.11736 | 0.99163 | -0.15966 | 33.9525
27 | 0.2296 | 0.058637 | -0.22901 | -0.058261 | 0.00059065 | 0.00037647 | 0.34416 | 0.34416 | 0.34416 | 0.99382 | -0.11736 | 0.99103 | -0.17073 | 31.5163
28 | 0.06735 | 0.016966 | -0.067287 | -0.016926 | 6.3633e-05 | 4.0511e-05 | 0.1011 | 0.1011 | 0.1011 | 0.99163 | -0.15966 | 0.9906 | -0.17944 | 27.7734
29 | 0.014988 | 0.0037584 | -0.014982 | -0.0037548 | 6.2988e-06 | 3.6031e-06 | 0.022492 | 0.022492 | 0.022492 | 0.99163 | -0.15966 | 0.99117 | -0.16848 | 6.1791
30 | 0.22901 | 0.058261 | -0.22878 | -0.058117 | 0.00022531 | 0.00014361 | 0.34416 | 0.34416 | 0.34416 | 0.99103 | -0.17073 | 0.98996 | -0.19117 | 31.5163
31 | 0.067287 | 0.016926 | -0.067126 | -0.016823 | 0.0001604 | 0.00010212 | 0.1011 | 0.1011 | 0.1011 | 0.9906 | -0.17944 | 0.98802 | -0.22947 | 27.7735
32 | 0.22471 | 0.057097 | -0.2246 | -0.057027 | 0.00011009 | 7.0163e-05 | 0.33804 | 0.33804 | 0.33804 | 0.98996 | -0.19117 | 0.98943 | -0.20135 | 30.9561
33 | 0.016379 | 0.004105 | -0.016379 | -0.0041049 | 8.928e-08 | 5.2128e-08 | 0.024667 | 0.024667 | 0.024667 | 0.98802 | -0.22947 | 0.98802 | -0.22958 | 6.7768
34 | 0.20829 | 0.05294 | -0.20758 | -0.052489 | 0.00070871 | 0.00045136 | 0.31352 | 0.31352 | 0.31352 | 0.98943 | -0.20135 | 0.98576 | -0.27227 | 28.7104
35 | 0.19449 | 0.049207 | -0.19414 | -0.048987 | 0.00034567 | 0.00022001 | 0.29375 | 0.29375 | 0.29375 | 0.98576 | -0.27227 | 0.98384 | -0.30938 | 26.9003
36 | 0.0013075 | 0.00032769 | -0.0013075 | -0.0003277 | 3.2871e-10 | -2.4893e-09 | 0.0020039 | 0.0020039 | 0.0020039 | 0.97093 | -0.56233 | 0.97093 | -0.56233 | 0.55051
37 | 0.00063526 | 0.00015921 | -0.00063526 | -0.00015921 | 5.9051e-13 | -5.578e-11 | 0.00097357 | 0.00097357 | 0.00097357 | 0.97093 | -0.56233 | 0.97093 | -0.56233 | 0.26747
38 | -0.04787 | -0.012018 | 0.047934 | 0.012058 | 6.3694e-05 | 4.0369e-05 | 0.073182 | 0.073182 | 0.073182 | 0.97345 | -0.51261 | 0.97486 | -0.48475 | 20.1049
39 | -0.051608 | -0.012979 | 0.051686 | 0.013029 | 7.8119e-05 | 4.9577e-05 | 0.07879 | 0.07879 | 0.07879 | 0.97486 | -0.48475 | 0.97647 | -0.45311 | 21.6456
40 | 0.009829 | 0.0024638 | -0.0098274 | -0.002463 | 1.6952e-06 | 8.3292e-07 | 0.014978 | 0.014978 | 0.014978 | 0.97647 | -0.45311 | 0.97629 | -0.45674 | 4.1149
41 | -0.071221 | -0.017925 | 0.071382 | 0.018028 | 0.00016115 | 0.00010268 | 0.10856 | 0.10856 | 0.10856 | 0.97647 | -0.45311 | 0.97889 | -0.40589 | 29.8238
42 | -0.075486 | -0.019056 | 0.075626 | 0.019144 | 0.00014033 | 8.8381e-05 | 0.1148 | 0.1148 | 0.1148 | 0.97889 | -0.40589 | 0.98087 | -0.36716 | 15.7687
43 | -0.093285 | -0.023566 | 0.093336 | 0.023598 | 5.0612e-05 | 3.1626e-05 | 0.14158 | 0.14158 | 0.14158 | 0.98087 | -0.36716 | 0.98146 | -0.35584 | 12.9655
44 | 0.00056157 | 0.00013702 | -0.00056149 | -0.00014072 | 8.0848e-08 | -3.703e-06 | 0.0008506 | 0.00085193 | 0.00085193 | 0.98087 | -0.36716 | 0.98072 | -0.37021 | 0.23405
45 | -0.10858 | -0.02742 | 0.10862 | 0.027439 | 3.1299e-05 | 1.9681e-05 | 0.1647 | 0.1647 | 0.1647 | 0.98146 | -0.35584 | 0.98176 | -0.34983 | 15.0825
46 | -0.15073 | -0.037995 | 0.15103 | 0.038181 | 0.00029238 | 0.00018542 | 0.22854 | 0.22854 | 0.22854 | 0.98176 | -0.34983 | 0.98384 | -0.30938 | 20.9285
47 | 0.0034209 | 0.00085715 | -0.0034207 | -0.00085731 | 2.4476e-07 | -1.5295e-07 | 0.0051739 | 0.005174 | 0.005174 | 0.98384 | -0.30938 | 0.98377 | -0.31088 | 1.4214

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40285 | 0.10256

## res_load
| p_mw | q_mvar
0 | 0.0081736 | 0.0020485
1 | 0.0061281 | 0.0015359
2 | 0.013554 | 0.0033969
3 | 0.031847 | 0.0079817
4 | 0.0055656 | 0.0013949
5 | 0.012536 | 0.0031418
6 | 0.009321 | 0.0023361
7 | 0.0027342 | 0.00068525
8 | 0.0027342 | 0.00068525
9 | 0.00067227 | 0.00016849
10 | 0.0027342 | 0.00068525
11 | 0.00067334 | 0.00016875
12 | 0.0034492 | 0.00086444
13 | 0.0028143 | 0.00070534
14 | 0.002528 | 0.00063357
15 | 0.0028143 | 0.00070534
16 | 0.0025273 | 0.0006334
17 | 0.0044777 | 0.0011222
18 | 0.0039131 | 0.00098073
19 | 0.0018759 | 0.00047016
20 | 0.0053621 | 0.0013439
21 | 0.014982 | 0.0037548
22 | 0.0040696 | 0.0010199
23 | 0.050747 | 0.012718
24 | 0.016307 | 0.004087
25 | 0.016379 | 0.0041049
26 | 0.013095 | 0.0032818
27 | 0.00063499 | 0.00015914
28 | 0.00067227 | 0.00016849
29 | 0.00063526 | 0.00015921
30 | 0.0040319 | 0.0010105
31 | 0.0036742 | 0.00092085
32 | 0.0097059 | 0.0024325
33 | 0.0098274 | 0.002463
34 | 0.0041037 | 0.0010285
35 | 0.017097 | 0.0042849
36 | 0.0025262 | 0.00063312
37 | 0.015248 | 0.0038216
38 | 0.00056149 | 0.00014072
39 | 0.042119 | 0.010556
40 | 0.039696 | 0.0099488
41 | 0.0034207 | 0.00085731

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1