## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1322-29_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1322-29_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1322-29_0_4_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_1322-29_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1322-29_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1322-29_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1322-29_0_4_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_1322-29_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1322-29_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1322-29_0_4_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1322-29_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1322-29_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1322-29_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1322-29_0_4_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_1322-29_0_4_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_1322-29_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1322-29_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1322-29_0_4_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_1322-29_0_4_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_1322-29_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1322-29_0_4_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1322-29_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1322-29_0_4_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_1322-29_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_1322-29_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1322-29_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1322-29_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1322-29_0_4_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1322-29_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1322-29_0_4_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_1322-29_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1322-29_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1322-29_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1322-29_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1322-29_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1322-29_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1322-29_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_MV_16_0_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1322-29_0_4_load_0 | 0 | 0.0090635 | 0.0022715 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1322-29_0_4_load_16 | 2 | 0.051339 | 0.012867 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1322-29_0_4_load_4 | 4 | 0.020208 | 0.0050645 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1322-29_0_4_load_5 | 5 | 0.0023981 | 0.00060102 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1322-29_0_4_load_6 | 7 | 0.03788 | 0.0094936 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1322-29_0_4_load_18 | 9 | 0.058314 | 0.014615 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1322-29_0_4_load_10 | 11 | 0.023239 | 0.0058243 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1322-29_0_4_load_8 | 12 | 0.01385 | 0.003471 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1322-29_0_4_load_40 | 13 | 0.020026 | 0.0050189 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1322-29_0_4_load_9 | 16 | 0.0044315 | 0.0011106 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1322-29_0_4_load_32 | 17 | 0.0094203 | 0.0023609 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1322-29_0_4_load_37 | 18 | 0.0037039 | 0.00092828 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1322-29_0_4_load_24 | 20 | 0.023955 | 0.0060038 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1322-29_0_4_load_20 | 21 | 0.063589 | 0.015937 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1322-29_0_4_load_36 | 22 | 0.0096519 | 0.002419 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1322-29_0_4_load_33 | 23 | 0.0049634 | 0.0012439 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1322-29_0_4_load_22 | 25 | 0.027647 | 0.006929 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1322-29_0_4_load_39 | 27 | 0.0034495 | 0.00086453 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1322-29_0_4_load_38 | 29 | 0.0066005 | 0.0016542 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1322-29_0_4_load_25 | 31 | 0.0077837 | 0.0019508 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1322-29_0_4_load_29 | 32 | 0.0080702 | 0.0020226 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1322-29_0_4_load_30 | 34 | 0.0098917 | 0.0024791 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1322-29_0_4_load_31 | 35 | 0.0029115 | 0.00072968 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1322-29_0_4_load_34 | 36 | 0.0096154 | 0.0024098 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1322-29_0_4_line_0 |  | 0 | 1 | 0.020707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_1322-29_0_4_line_1 |  | 0 | 2 | 0.022879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1322-29_0_4_line_2 |  | 1 | 3 | 0.015349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1322-29_0_4_line_3 |  | 1 | 4 | 0.020198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1322-29_0_4_line_4 |  | 1 | 5 | 0.052642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1322-29_0_4_line_5 |  | 2 | 8 | 0.033873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1322-29_0_4_line_6 |  | 3 | 10 | 0.044449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1322-29_0_4_line_7 |  | 3 | 11 | 0.047896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1322-29_0_4_line_8 |  | 4 | 12 | 0.011847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1322-29_0_4_line_9 |  | 6 | 7 | 0.0338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1322-29_0_4_line_10 |  | 6 | 8 | 0.025925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1322-29_0_4_line_11 |  | 8 | 9 | 0.048281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1322-29_0_4_line_12 |  | 10 | 13 | 0.007872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1322-29_0_4_line_13 |  | 10 | 14 | 0.019213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1322-29_0_4_line_14 |  | 11 | 15 | 0.052941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1322-29_0_4_line_15 |  | 12 | 16 | 0.0060156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1322-29_0_4_line_16 |  | 14 | 22 | 0.007731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1322-29_0_4_line_17 |  | 14 | 23 | 0.0053034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1322-29_0_4_line_18 |  | 15 | 19 | 0.026454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_1322-29_0_4_line_19 |  | 16 | 17 | 0.01492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1322-29_0_4_line_20 |  | 17 | 18 | 0.022442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1322-29_0_4_line_21 |  | 19 | 20 | 0.011109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1322-29_0_4_line_22 |  | 19 | 21 | 0.0092381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1322-29_0_4_line_23 |  | 21 | 24 | 0.013036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1322-29_0_4_line_24 |  | 23 | 36 | 0.011126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1322-29_0_4_line_25 |  | 24 | 25 | 0.009845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1322-29_0_4_line_26 |  | 24 | 26 | 0.012527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1322-29_0_4_line_27 |  | 26 | 27 | 0.046899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1322-29_0_4_line_28 |  | 26 | 28 | 0.020616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1322-29_0_4_line_29 |  | 28 | 29 | 0.006915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1322-29_0_4_line_30 |  | 28 | 30 | 0.021049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1322-29_0_4_line_31 |  | 30 | 32 | 0.005868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1322-29_0_4_line_32 |  | 30 | 31 | 0.04238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1322-29_0_4_line_33 |  | 33 | 34 | 0.009566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1322-29_0_4_line_34 |  | 33 | 35 | 0.0029362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1322-29_0_4_line_35 |  | 35 | 36 | 0.0006022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1322-29_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 37 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2702150.8035 | 1228752.2096 | 2702143.5573 | 1228732.8118
1 | 2702143.5573 | 1228732.8118 | 2702142.7734 | 1228709.9466
2 | 2702150.8035 | 1228752.2096 | 2702135.4743 | 1228750.8009
3 | 2702150.8035 | 1228752.2096 | 2702157.5648 | 1228771.2421
4 | 2702150.8035 | 1228752.2096 | 2702189.2771 | 1228756.2178 | 2702203.2068 | 1228757.1325
5 | 2702143.5101 | 1228676.5397 | 2702140.5059 | 1228700.9839 | 2702142.7734 | 1228709.9466
6 | 2702130.8895 | 1228794.4655 | 2702133.9119 | 1228769.8437 | 2702134.3874 | 1228765.9823 | 2702133.1228 | 1228761.9577 | 2702134.8612 | 1228757.8178 | 2702135.4743 | 1228750.8009
7 | 2702135.4743 | 1228750.8009 | 2702106.1402 | 1228748.0953 | 2702087.7926 | 1228746.2792
8 | 2702157.5648 | 1228771.2421 | 2702159.1379 | 1228775.67 | 2702161.5392 | 1228782.4021
9 | 2702119.1864 | 1228667.571 | 2702111.4769 | 1228668.595 | 2702088.5608 | 1228671.6483 | 2702085.6822 | 1228672.0327
10 | 2702119.1864 | 1228667.571 | 2702143.5101 | 1228676.5397
11 | 2702143.5101 | 1228676.5397 | 2702191.5036 | 1228681.8021
12 | 2702130.8895 | 1228794.4655 | 2702123.0641 | 1228793.4193
13 | 2702130.8895 | 1228794.4655 | 2702126.8837 | 1228813.2551
14 | 2702035.1096 | 1228741.0602 | 2702039.5428 | 1228741.5033 | 2702087.7926 | 1228746.2792
15 | 2702161.5392 | 1228782.4021 | 2702163.5603 | 1228788.0681
16 | 2702126.8837 | 1228813.2551 | 2702119.1762 | 1228812.411
17 | 2702126.8837 | 1228813.2551 | 2702126.497 | 1228815.917 | 2702127.6311 | 1228818.2716
18 | 2702036.5045 | 1228764.4236 | 2702037.3679 | 1228753.4192 | 2702037.7613 | 1228749.9234 | 2702034.2547 | 1228749.3628 | 2702035.1096 | 1228741.0602
19 | 2702171.6627 | 1228799.7209 | 2702166.4689 | 1228796.2222 | 2702163.5603 | 1228788.0681
20 | 2702190.1181 | 1228812.4867 | 2702180.5451 | 1228805.7043 | 2702171.6627 | 1228799.7209
21 | 2702036.5045 | 1228764.4236 | 2702025.4313 | 1228763.1883
22 | 2702036.5045 | 1228764.4236 | 2702042.4072 | 1228771.5301
23 | 2702041.517 | 1228784.5355 | 2702042.4072 | 1228771.5301
24 | 2702127.6311 | 1228818.2716 | 2702125.1621 | 1228829.1206
25 | 2702041.517 | 1228784.5355 | 2702031.6986 | 1228783.4886
26 | 2702040.6357 | 1228797.0296 | 2702041.517 | 1228784.5355
27 | 2702040.6357 | 1228797.0296 | 2702031.6034 | 1228796.541 | 2702027.7835 | 1228794.8075 | 2702016.6027 | 1228792.7809 | 2702009.7096 | 1228784.6567 | 2701998.0144 | 1228783.4553
28 | 2702041.6483 | 1228815.7386 | 2702043.7785 | 1228798.9183 | 2702040.6357 | 1228797.0296
29 | 2702041.6483 | 1228815.7386 | 2702034.7302 | 1228815.2529
30 | 2702046.3417 | 1228835.0111 | 2702047.6447 | 1228827.5279 | 2702044.2843 | 1228818.4525 | 2702041.6483 | 1228815.7386
31 | 2702040.6195 | 1228836.3806 | 2702046.3417 | 1228835.0111
32 | 2702046.3417 | 1228835.0111 | 2702055.4911 | 1228837.0584 | 2702054.5375 | 1228844.0472 | 2702057.547 | 1228844.4325 | 2702057.3355 | 1228846.5971 | 2702059.773 | 1228846.7502 | 2702064.4031 | 1228844.5502 | 2702068.7535 | 1228844.9585 | 2702073.9611 | 1228843.5468 | 2702077.3494 | 1228843.9125
33 | 2702124.377 | 1228832.5707 | 2702114.8205 | 1228831.7171
34 | 2702124.377 | 1228832.5707 | 2702125.0285 | 1228829.7077
35 | 2702125.1621 | 1228829.1206 | 2702125.0285 | 1228829.7077

## bus_geodata
| x | y | coords
0 | 2702143.5573 | 1228732.8118
1 | 2702150.8035 | 1228752.2096
2 | 2702142.7734 | 1228709.9466
3 | 2702135.4743 | 1228750.8009
4 | 2702157.5648 | 1228771.2421
5 | 2702203.2068 | 1228757.1325
6 | 2702119.1864 | 1228667.571
7 | 2702085.6822 | 1228672.0327
8 | 2702143.5101 | 1228676.5397
9 | 2702191.5036 | 1228681.8021
10 | 2702130.8895 | 1228794.4655
11 | 2702087.7926 | 1228746.2792
12 | 2702161.5392 | 1228782.4021
13 | 2702123.0641 | 1228793.4193
14 | 2702126.8837 | 1228813.255
15 | 2702035.1096 | 1228741.0602
16 | 2702163.5603 | 1228788.0681
17 | 2702171.6627 | 1228799.7209
18 | 2702190.1181 | 1228812.4867
19 | 2702036.5045 | 1228764.4236
20 | 2702025.4313 | 1228763.1883
21 | 2702042.4072 | 1228771.5301
22 | 2702119.1762 | 1228812.411
23 | 2702127.6311 | 1228818.2716
24 | 2702041.517 | 1228784.5355
25 | 2702031.6986 | 1228783.4886
26 | 2702040.6357 | 1228797.0296
27 | 2701998.0144 | 1228783.4553
28 | 2702041.6483 | 1228815.7386
29 | 2702034.7302 | 1228815.2529
30 | 2702046.3417 | 1228835.0111
31 | 2702077.3494 | 1228843.9125
32 | 2702040.6194 | 1228836.3806
33 | 2702124.377 | 1228832.5707
34 | 2702114.8205 | 1228831.7171
35 | 2702125.0285 | 1228829.7077
36 | 2702125.1621 | 1228829.1206
37 | 2702135.4743 | 1228750.8009

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99114 | -0.16967 | 0.0090635 | 0.0022715
1 | 0.99263 | -0.14094 | 0 | 0
2 | 0.98959 | -0.19966 | 0.051339 | 0.012867
3 | 0.99411 | -0.11239 | 0 | 0
4 | 0.99168 | -0.1594 | 0.020208 | 0.0050645
5 | 0.99252 | -0.14318 | 0.0023981 | 0.00060102
6 | 0.98568 | -0.27543 | 0 | 0
7 | 0.9845 | -0.29843 | 0.03788 | 0.0094936
8 | 0.98658 | -0.25783 | 0 | 0
9 | 0.98399 | -0.30838 | 0.058314 | 0.014615
10 | 0.99179 | -0.15723 | 0 | 0
11 | 1 | 0 | -0.41413 | -0.10481
12 | 0.99134 | -0.166 | 0.01385 | 0.003471
13 | 0.99165 | -0.16002 | 0.020026 | 0.0050189
14 | 0.99114 | -0.16985 | 0 | 0
15 | 0.99659 | -0.065324 | 0 | 0
16 | 0.99124 | -0.16787 | 0.0044315 | 0.0011106
17 | 0.99106 | -0.17135 | 0.0094203 | 0.0023609
18 | 0.99099 | -0.17282 | 0.0037039 | 0.00092828
19 | 0.99489 | -0.098132 | 0 | 0
20 | 0.99464 | -0.10282 | 0.023955 | 0.0060038
21 | 0.9939 | -0.11721 | 0.063589 | 0.015937
22 | 0.99108 | -0.17117 | 0.0096519 | 0.002419
23 | 0.99101 | -0.17242 | 0.0049634 | 0.0012439
24 | 0.99326 | -0.12953 | 0 | 0
25 | 0.99301 | -0.13434 | 0.027647 | 0.006929
26 | 0.99297 | -0.13527 | 0 | 0
27 | 0.99282 | -0.13813 | 0.0034495 | 0.00086453
28 | 0.99254 | -0.14346 | 0 | 0
29 | 0.9925 | -0.14427 | 0.0066005 | 0.0016542
30 | 0.99224 | -0.14936 | 0 | 0
31 | 0.99194 | -0.15521 | 0.0077837 | 0.0019508
32 | 0.99219 | -0.1502 | 0.0080702 | 0.0020226
33 | 0.99075 | -0.1775 | 0 | 0
34 | 0.99066 | -0.17918 | 0.0098917 | 0.0024791
35 | 0.99078 | -0.17699 | 0.0029115 | 0.00072968
36 | 0.99078 | -0.17685 | 0.0096154 | 0.0024098
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.15729 | -0.03969 | 0.15751 | 0.039828 | 0.00021669 | 0.00013814 | 0.23624 | 0.23624 | 0.23624 | 0.99114 | -0.16967 | 0.99263 | -0.14094 | 32.4508
1 | 0.14823 | 0.037418 | -0.14802 | -0.037283 | 0.00021263 | 0.00013549 | 0.22263 | 0.22263 | 0.22263 | 0.99114 | -0.16967 | 0.98959 | -0.19966 | 30.5817
2 | -0.21158 | -0.053401 | 0.21187 | 0.053586 | 0.00028976 | 0.00018505 | 0.3173 | 0.3173 | 0.3173 | 0.99263 | -0.14094 | 0.99411 | -0.11239 | 43.5857
3 | 0.051672 | 0.012972 | -0.051627 | -0.012944 | 4.5455e-05 | 2.883e-05 | 0.077468 | 0.077468 | 0.077468 | 0.99263 | -0.14094 | 0.99168 | -0.1594 | 21.2824
4 | 0.0023984 | 0.0006005 | -0.0023981 | -0.00060102 | 2.5516e-07 | -5.171e-07 | 0.0035951 | 0.0035953 | 0.0035953 | 0.99263 | -0.14094 | 0.99252 | -0.14318 | 0.98772
5 | 0.096677 | 0.024416 | -0.096408 | -0.024244 | 0.00026868 | 0.00017152 | 0.14544 | 0.14544 | 0.14544 | 0.98959 | -0.19966 | 0.98658 | -0.25783 | 39.9553
6 | 0.057216 | 0.0144 | -0.057094 | -0.014322 | 0.00012232 | 7.771e-05 | 0.085664 | 0.085664 | 0.085664 | 0.99411 | -0.11239 | 0.99179 | -0.15723 | 23.5342
7 | -0.26909 | -0.067985 | 0.27054 | 0.068917 | 0.0014583 | 0.00093205 | 0.40297 | 0.40297 | 0.40297 | 0.99411 | -0.11239 | 1 | 0 | 55.3528
8 | 0.031419 | 0.0078791 | -0.031409 | -0.0078729 | 9.8746e-06 | 6.167e-06 | 0.047146 | 0.047146 | 0.047146 | 0.99168 | -0.1594 | 0.99134 | -0.166 | 12.9523
9 | 0.037921 | 0.0095198 | -0.03788 | -0.0094936 | 4.1548e-05 | 2.616e-05 | 0.057253 | 0.057253 | 0.057253 | 0.98568 | -0.27543 | 0.9845 | -0.29843 | 15.7289
10 | -0.037921 | -0.0095198 | 0.037953 | 0.0095398 | 3.1867e-05 | 2.0064e-05 | 0.057253 | 0.057253 | 0.057253 | 0.98568 | -0.27543 | 0.98658 | -0.25783 | 15.7289
11 | 0.058455 | 0.014704 | -0.058314 | -0.014615 | 0.0001408 | 8.9495e-05 | 0.088184 | 0.088185 | 0.088185 | 0.98658 | -0.25783 | 0.98399 | -0.30838 | 24.2265
12 | 0.020028 | 0.0050205 | -0.020026 | -0.0050189 | 2.6655e-06 | 1.6044e-06 | 0.030049 | 0.030049 | 0.030049 | 0.99179 | -0.15723 | 0.99165 | -0.16002 | 8.2553
13 | 0.037066 | 0.0093014 | -0.037044 | -0.0092873 | 2.2285e-05 | 1.4015e-05 | 0.055615 | 0.055615 | 0.055615 | 0.99179 | -0.15723 | 0.99114 | -0.16985 | 15.2789
14 | 0.14193 | 0.035894 | -0.14149 | -0.035611 | 0.00044325 | 0.00028229 | 0.21131 | 0.21131 | 0.21131 | 1 | 0 | 0.99659 | -0.065324 | 29.0266
15 | 0.01756 | 0.0044019 | -0.017558 | -0.0044009 | 1.5672e-06 | 9.2547e-07 | 0.026358 | 0.026358 | 0.026358 | 0.99134 | -0.166 | 0.99124 | -0.16787 | 7.2411
16 | 0.0096525 | 0.0024193 | -0.0096519 | -0.002419 | 6.0883e-07 | 2.9002e-07 | 0.014491 | 0.014492 | 0.014492 | 0.99114 | -0.16985 | 0.99108 | -0.17117 | 3.9812
17 | 0.027391 | 0.0068681 | -0.027388 | -0.006866 | 3.3633e-06 | 2.0842e-06 | 0.041124 | 0.041124 | 0.041124 | 0.99114 | -0.16985 | 0.99101 | -0.17242 | 11.2977
18 | 0.14149 | 0.035611 | -0.14127 | -0.03547 | 0.00022148 | 0.00014106 | 0.21131 | 0.21131 | 0.21131 | 0.99659 | -0.065324 | 0.99489 | -0.098132 | 29.0266
19 | 0.013127 | 0.0032903 | -0.013124 | -0.0032891 | 2.1725e-06 | 1.1981e-06 | 0.019705 | 0.019705 | 0.019705 | 0.99124 | -0.16787 | 0.99106 | -0.17135 | 5.4136
20 | 0.0037042 | 0.00092816 | -0.0037039 | -0.00092828 | 2.603e-07 | -1.2256e-07 | 0.0055615 | 0.0055616 | 0.0055616 | 0.99106 | -0.17135 | 0.99099 | -0.17282 | 1.5279
21 | 0.023961 | 0.0060071 | -0.023955 | -0.0060038 | 5.3505e-06 | 3.2801e-06 | 0.035838 | 0.035838 | 0.035838 | 0.99489 | -0.098132 | 0.99464 | -0.10282 | 9.8456
22 | 0.11731 | 0.029463 | -0.1172 | -0.029395 | 0.00010667 | 6.815e-05 | 0.17548 | 0.17548 | 0.17548 | 0.99489 | -0.098132 | 0.9939 | -0.11721 | 48.2076
23 | 0.053612 | 0.013458 | -0.053581 | -0.013438 | 3.15e-05 | 1.9991e-05 | 0.080273 | 0.080273 | 0.080273 | 0.9939 | -0.11721 | 0.99326 | -0.12953 | 22.0532
24 | 0.022424 | 0.005622 | -0.02242 | -0.0056192 | 4.7304e-06 | 2.8842e-06 | 0.033671 | 0.033671 | 0.033671 | 0.99101 | -0.17242 | 0.99078 | -0.17685 | 9.2503
25 | 0.027653 | 0.0069329 | -0.027647 | -0.006929 | 6.3365e-06 | 3.928e-06 | 0.041429 | 0.041429 | 0.041429 | 0.99326 | -0.12953 | 0.99301 | -0.13434 | 11.3815
26 | 0.025928 | 0.0065052 | -0.02592 | -0.0065008 | 7.0884e-06 | 4.3745e-06 | 0.038845 | 0.038845 | 0.038845 | 0.99326 | -0.12953 | 0.99297 | -0.13527 | 10.6717
27 | 0.00345 | 0.00086423 | -0.0034495 | -0.00086453 | 4.7008e-07 | -3.0571e-07 | 0.0051699 | 0.0051701 | 0.0051701 | 0.99297 | -0.13527 | 0.99282 | -0.13813 | 1.4204
28 | 0.02247 | 0.0056366 | -0.022462 | -0.0056313 | 8.767e-06 | 5.3443e-06 | 0.033675 | 0.033675 | 0.033675 | 0.99297 | -0.13527 | 0.99254 | -0.14346 | 9.2514
29 | 0.0066008 | 0.0016543 | -0.0066005 | -0.0016542 | 2.5394e-07 | 7.3154e-08 | 0.0098959 | 0.0098959 | 0.0098959 | 0.99254 | -0.14346 | 0.9925 | -0.14427 | 2.7187
30 | 0.015861 | 0.0039769 | -0.015856 | -0.0039743 | 4.4634e-06 | 2.5846e-06 | 0.023779 | 0.023779 | 0.023779 | 0.99254 | -0.14346 | 0.99224 | -0.14936 | 6.5328
31 | 0.0080705 | 0.0020227 | -0.0080702 | -0.0020226 | 3.2234e-07 | 1.3051e-07 | 0.012103 | 0.012103 | 0.012103 | 0.99224 | -0.14936 | 0.99219 | -0.1502 | 3.325
32 | 0.0077859 | 0.0019516 | -0.0077837 | -0.0019508 | 2.1667e-06 | 8.3949e-07 | 0.011676 | 0.011676 | 0.011676 | 0.99224 | -0.14936 | 0.99194 | -0.15521 | 3.2078
33 | 0.0098925 | 0.0024795 | -0.0098917 | -0.0024791 | 7.9189e-07 | 3.8363e-07 | 0.014858 | 0.014858 | 0.014858 | 0.99075 | -0.1775 | 0.99066 | -0.17918 | 4.0818
34 | -0.0098925 | -0.0024795 | 0.0098927 | 0.0024796 | 2.4306e-07 | 1.1775e-07 | 0.014858 | 0.014858 | 0.014858 | 0.99075 | -0.1775 | 0.99078 | -0.17699 | 4.0818
35 | -0.012804 | -0.0032093 | 0.012804 | 0.0032093 | 8.3511e-08 | 4.5691e-08 | 0.01923 | 0.01923 | 0.01923 | 0.99078 | -0.17699 | 0.99078 | -0.17685 | 5.283

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.43737 | 0.11064

## res_load
| p_mw | q_mvar
0 | 0.0090635 | 0.0022715
1 | 0.051339 | 0.012867
2 | 0.020208 | 0.0050645
3 | 0.0023981 | 0.00060102
4 | 0.03788 | 0.0094936
5 | 0.058314 | 0.014615
6 | 0.023239 | 0.0058243
7 | 0.01385 | 0.003471
8 | 0.020026 | 0.0050189
9 | 0.0044315 | 0.0011106
10 | 0.0094203 | 0.0023609
11 | 0.0037039 | 0.00092828
12 | 0.023955 | 0.0060038
13 | 0.063589 | 0.015937
14 | 0.0096519 | 0.002419
15 | 0.0049634 | 0.0012439
16 | 0.027647 | 0.006929
17 | 0.0034495 | 0.00086453
18 | 0.0066005 | 0.0016542
19 | 0.0077837 | 0.0019508
20 | 0.0080702 | 0.0020226
21 | 0.0098917 | 0.0024791
22 | 0.0029115 | 0.00072968
23 | 0.0096154 | 0.0024098

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1