## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1322-31_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1322-31_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1322-31_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1322-31_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1322-31_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1322-31_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1322-31_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1322-31_0_4_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_1322-31_0_4_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_1322-31_0_4_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1322-31_0_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_1322-31_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1322-31_0_4_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_1322-31_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1322-31_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1322-31_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1322-31_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1322-31_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1322-31_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1322-31_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_1322-31_0_4_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_1322-31_0_4_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_1322-31_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1322-31_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1322-31_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1322-31_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1322-31_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_1322-31_0_4_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_1322-31_0_4_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_1322-31_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1322-31_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1322-31_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1322-31_0_4_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_1322-31_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1322-31_0_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_1322-31_0_4_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1322-31_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_MV_16_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1322-31_0_4_load_0 | 0 | 0.015718 | 0.0039393 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1322-31_0_4_load_3 | 3 | 0.023625 | 0.0059209 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1322-31_0_4_load_22 | 8 | 0.071395 | 0.017893 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1322-31_0_4_load_24 | 9 | 0.044889 | 0.01125 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1322-31_0_4_load_21 | 10 | 0.02874 | 0.0072028 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1322-31_0_4_load_41 | 12 | 0.011524 | 0.0028881 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1322-31_0_4_load_8 | 14 | 0.019231 | 0.0048198 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1322-31_0_4_load_9 | 15 | 0.049538 | 0.012415 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1322-31_0_4_load_40 | 20 | 0.01486 | 0.0037243 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1322-31_0_4_load_43 | 21 | 0.00065228 | 0.00016348 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1322-31_0_4_load_19 | 25 | 0.051787 | 0.012979 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1322-31_0_4_load_33 | 27 | 0.034281 | 0.0085917 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1322-31_0_4_load_37 | 28 | 0.02274 | 0.0056992 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1322-31_0_4_load_27 | 31 | 0.0099607 | 0.0024964 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1322-31_0_4_load_36 | 32 | 0.036832 | 0.0092309 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1322-31_0_4_load_38 | 34 | 0.0035963 | 0.00090131 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1322-31_0_4_load_39 | 35 | 0.0032668 | 0.00081874 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1322-31_0_4_load_30 | 36 | 0.006443 | 0.0016148 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1322-31_0_4_line_0 |  | 0 | 1 | 0.019796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1322-31_0_4_line_1 |  | 1 | 4 | 0.043678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1322-31_0_4_line_2 |  | 2 | 3 | 0.012955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1322-31_0_4_line_3 |  | 2 | 4 | 0.032342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1322-31_0_4_line_4 |  | 4 | 5 | 0.035756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1322-31_0_4_line_5 |  | 5 | 9 | 0.020439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1322-31_0_4_line_6 |  | 5 | 8 | 0.040102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1322-31_0_4_line_7 |  | 6 | 7 | 0.056927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1322-31_0_4_line_8 |  | 6 | 8 | 0.030404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1322-31_0_4_line_9 |  | 7 | 10 | 0.053963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1322-31_0_4_line_10 |  | 9 | 11 | 0.022666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1322-31_0_4_line_11 |  | 10 | 23 | 0.030592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_1322-31_0_4_line_12 |  | 11 | 22 | 0.004185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1322-31_0_4_line_13 |  | 12 | 13 | 0.050825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1322-31_0_4_line_14 |  | 13 | 20 | 0.015088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1322-31_0_4_line_15 |  | 14 | 15 | 0.042093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1322-31_0_4_line_16 |  | 14 | 16 | 0.065266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1322-31_0_4_line_17 |  | 15 | 17 | 0.020032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1322-31_0_4_line_18 |  | 16 | 18 | 0.032937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1322-31_0_4_line_19 |  | 17 | 19 | 0.021309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1322-31_0_4_line_20 |  | 18 | 21 | 0.021824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1322-31_0_4_line_21 |  | 19 | 26 | 0.021639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1322-31_0_4_line_22 |  | 19 | 24 | 0.029425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1322-31_0_4_line_23 |  | 19 | 27 | 0.010802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1322-31_0_4_line_24 |  | 20 | 22 | 0.055056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1322-31_0_4_line_25 |  | 23 | 24 | 0.003651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1322-31_0_4_line_26 |  | 23 | 25 | 0.016047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1322-31_0_4_line_27 |  | 24 | 32 | 0.0087782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1322-31_0_4_line_28 |  | 26 | 28 | 0.015766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1322-31_0_4_line_29 |  | 27 | 33 | 0.026694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1322-31_0_4_line_30 |  | 28 | 34 | 0.024044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1322-31_0_4_line_31 |  | 29 | 30 | 0.007452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1322-31_0_4_line_32 |  | 29 | 31 | 0.032704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1322-31_0_4_line_33 |  | 30 | 35 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1322-31_0_4_line_34 |  | 30 | 34 | 0.019091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1322-31_0_4_line_35 |  | 33 | 36 | 0.012933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1322-31_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 37 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2701412.238 | 1228785.4637 | 2701413.2972 | 1228805.2314
1 | 2701381.2212 | 1228798.7781 | 2701380.5611 | 1228786.8247 | 2701412.238 | 1228785.4637
2 | 2701383.0045 | 1228831.0656 | 2701371.9584 | 1228831.8001 | 2701371.851 | 1228829.9184
3 | 2701383.0045 | 1228831.0656 | 2701381.2212 | 1228798.7781
4 | 2701381.2212 | 1228798.7781 | 2701380.5611 | 1228786.8247 | 2701380.4807 | 1228784.8775 | 2701388.8151 | 1228784.5193 | 2701388.6076 | 1228781.5803 | 2701384.4285 | 1228781.787 | 2701382.8133 | 1228775.6327
5 | 2701382.8133 | 1228775.6327 | 2701374.2139 | 1228774.6409 | 2701362.4667 | 1228775.5526
6 | 2701382.8133 | 1228775.6327 | 2701390.3589 | 1228762.8741 | 2701405.6465 | 1228755.6183 | 2701413.9721 | 1228754.8925
7 | 2701444.2615 | 1228752.252 | 2701445.0301 | 1228735.1858 | 2701461.6793 | 1228722.7606 | 2701460.2841 | 1228703.7117
8 | 2701444.2615 | 1228752.252 | 2701413.9721 | 1228754.8925
9 | 2701460.2841 | 1228703.7117 | 2701406.9705 | 1228712.0557
10 | 2701340.494 | 1228780.7042 | 2701356.359 | 1228776.0266 | 2701362.4667 | 1228775.5526
11 | 2701376.7465 | 1228716.786 | 2701406.9705 | 1228712.0557
12 | 2701340.6046 | 1228784.8869 | 2701340.494 | 1228780.7042
13 | 2701342.9862 | 1228854.9902 | 2701393.7278 | 1228852.0718
14 | 2701342.9862 | 1228854.9902 | 2701342.474 | 1228839.9112
15 | 2701322.435 | 1228788.9599 | 2701325.0576 | 1228780.6968 | 2701334.1729 | 1228748.5406
16 | 2701302.691 | 1228851.1677 | 2701322.435 | 1228788.9599
17 | 2701334.5747 | 1228730.0772 | 2701336.9965 | 1228732.4869 | 2701337.7084 | 1228736.0683 | 2701334.1729 | 1228748.5406
18 | 2701294.4709 | 1228883.0623 | 2701297.7492 | 1228870.3421 | 2701302.691 | 1228851.1677
19 | 2701334.5747 | 1228730.0772 | 2701343.4092 | 1228728.8379 | 2701346.9536 | 1228716.9674
20 | 2701294.4709 | 1228883.0623 | 2701274.3758 | 1228887.857 | 2701273.2227 | 1228888.0233
21 | 2701325.477 | 1228720.0816 | 2701346.9536 | 1228716.9674
22 | 2701346.9536 | 1228716.9674 | 2701361.3209 | 1228715.2442 | 2701376.217 | 1228713.1743
23 | 2701346.9536 | 1228716.9674 | 2701351.8291 | 1228707.3286
24 | 2701340.6046 | 1228784.8869 | 2701342.474 | 1228839.9112
25 | 2701376.217 | 1228713.1743 | 2701376.7465 | 1228716.786
26 | 2701376.7465 | 1228716.786 | 2701379.0815 | 1228732.6625
27 | 2701376.217 | 1228713.1743 | 2701384.912 | 1228711.9686
28 | 2701325.477 | 1228720.0816 | 2701309.9476 | 1228722.8021
29 | 2701363.8778 | 1228683.5089 | 2701351.8291 | 1228707.3286
30 | 2701309.9476 | 1228722.8021 | 2701286.2643 | 1228726.9512
31 | 2701267.9317 | 1228737.6813 | 2701267.4597 | 1228730.2455
32 | 2701267.9317 | 1228737.6813 | 2701262.2276 | 1228741.9984 | 2701252.6917 | 1228743.0369 | 2701242.5362 | 1228740.8624 | 2701237.0467 | 1228741.8193
33 | 2701267.4597 | 1228730.2455 | 2701265.4515 | 1228711.6208
34 | 2701267.4597 | 1228730.2455 | 2701286.2643 | 1228726.9512
35 | 2701363.8778 | 1228683.5089 | 2701375.7554 | 1228678.3907

## bus_geodata
| x | y | coords
0 | 2701413.2972 | 1228805.2314
1 | 2701412.238 | 1228785.4637
2 | 2701383.0045 | 1228831.0656
3 | 2701371.851 | 1228829.9184
4 | 2701381.2212 | 1228798.7781
5 | 2701382.8133 | 1228775.6327
6 | 2701444.2615 | 1228752.252
7 | 2701460.2841 | 1228703.7117
8 | 2701413.9721 | 1228754.8925
9 | 2701362.4667 | 1228775.5526
10 | 2701406.9705 | 1228712.0557
11 | 2701340.494 | 1228780.7042
12 | 2701393.7278 | 1228852.0718
13 | 2701342.9862 | 1228854.9902
14 | 2701322.435 | 1228788.9599
15 | 2701334.1729 | 1228748.5406
16 | 2701302.691 | 1228851.1677
17 | 2701334.5747 | 1228730.0772
18 | 2701294.4709 | 1228883.0623
19 | 2701346.9536 | 1228716.9674
20 | 2701342.474 | 1228839.9112
21 | 2701273.2227 | 1228888.0233
22 | 2701340.6046 | 1228784.8869
23 | 2701376.7465 | 1228716.786
24 | 2701376.217 | 1228713.1743
25 | 2701379.0815 | 1228732.6625
26 | 2701325.477 | 1228720.0816
27 | 2701351.8291 | 1228707.3286
28 | 2701309.9476 | 1228722.8021
29 | 2701267.9317 | 1228737.6813
30 | 2701267.4597 | 1228730.2455
31 | 2701237.0467 | 1228741.8193
32 | 2701384.912 | 1228711.9686
33 | 2701363.8778 | 1228683.5089
34 | 2701286.2643 | 1228726.9512
35 | 2701265.4515 | 1228711.6208
36 | 2701375.7554 | 1228678.3907
37 | 2701382.8133 | 1228775.6327

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99543 | -0.087179 | 0.015718 | 0.0039393
1 | 0.99571 | -0.081708 | 0 | 0
2 | 0.99564 | -0.08307 | 0 | 0
3 | 0.99536 | -0.088453 | 0.023625 | 0.0059209
4 | 0.99634 | -0.069645 | 0 | 0
5 | 0.99762 | -0.044975 | 0 | 0
6 | 0.99091 | -0.17248 | 0 | 0
7 | 0.98621 | -0.26287 | 0 | 0
8 | 0.99343 | -0.12455 | 0.071395 | 0.017893
9 | 1 | 0 | -0.4122 | -0.10535
10 | 0.98175 | -0.34936 | 0.02874 | 0.0072028
11 | 0.99946 | -0.010431 | 0 | 0
12 | 0.99735 | -0.051046 | 0.011524 | 0.0028881
13 | 0.99788 | -0.040788 | 0 | 0
14 | 0.97378 | -0.50556 | 0.019231 | 0.0048198
15 | 0.97456 | -0.49018 | 0.049538 | 0.012415
16 | 0.97374 | -0.50635 | 0 | 0
17 | 0.97585 | -0.4647 | 0 | 0
18 | 0.97372 | -0.50674 | 0 | 0
19 | 0.97723 | -0.43766 | 0 | 0
20 | 0.99804 | -0.037745 | 0.01486 | 0.0037243
21 | 0.97371 | -0.507 | 0.00065228 | 0.00016348
22 | 0.99936 | -0.012358 | 0 | 0
23 | 0.97949 | -0.39341 | 0 | 0
24 | 0.97928 | -0.39754 | 0 | 0
25 | 0.97872 | -0.40852 | 0.051787 | 0.012979
26 | 0.97644 | -0.4533 | 0 | 0
27 | 0.97682 | -0.44569 | 0.034281 | 0.0085917
28 | 0.97586 | -0.46471 | 0.02274 | 0.0056992
29 | 0.97518 | -0.4781 | 0 | 0
30 | 0.97524 | -0.47674 | 0 | 0
31 | 0.97487 | -0.48408 | 0.0099607 | 0.0024964
32 | 0.97898 | -0.40342 | 0.036832 | 0.0092309
33 | 0.97666 | -0.44883 | 0 | 0
34 | 0.97548 | -0.47211 | 0.0035963 | 0.00090131
35 | 0.97519 | -0.47786 | 0.0032668 | 0.00081874
36 | 0.97659 | -0.45035 | 0.006443 | 0.0016148
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015718 | -0.0039393 | 0.015722 | 0.0039417 | 4.0983e-06 | 2.3655e-06 | 0.023496 | 0.023496 | 0.023496 | 0.99543 | -0.087179 | 0.99571 | -0.081708 | 6.455
1 | -0.015722 | -0.0039417 | 0.015731 | 0.0039469 | 9.0423e-06 | 5.2186e-06 | 0.023496 | 0.023496 | 0.023496 | 0.99571 | -0.081708 | 0.99634 | -0.069645 | 6.455
2 | 0.023631 | 0.0059246 | -0.023625 | -0.0059209 | 6.0598e-06 | 3.7098e-06 | 0.035317 | 0.035318 | 0.035318 | 0.99564 | -0.08307 | 0.99536 | -0.088453 | 9.7026
3 | -0.023631 | -0.0059246 | 0.023646 | 0.0059339 | 1.5128e-05 | 9.2609e-06 | 0.035317 | 0.035317 | 0.035317 | 0.99564 | -0.08307 | 0.99634 | -0.069645 | 9.7026
4 | -0.039377 | -0.0098808 | 0.039423 | 0.00991 | 4.638e-05 | 2.9217e-05 | 0.058813 | 0.058813 | 0.058813 | 0.99634 | -0.069645 | 0.99762 | -0.044975 | 16.1575
5 | -0.38328 | -0.098172 | 0.38411 | 0.098707 | 0.00083718 | 0.00053499 | 0.57243 | 0.57243 | 0.57243 | 0.99762 | -0.044975 | 1 | 0 | 52.4206
6 | 0.34385 | 0.088262 | -0.34253 | -0.087417 | 0.0013224 | 0.00084477 | 0.51362 | 0.51362 | 0.51362 | 0.99762 | -0.044975 | 0.99343 | -0.12455 | 47.0349
7 | 0.27051 | 0.069123 | -0.26933 | -0.068372 | 0.0011769 | 0.00075103 | 0.40668 | 0.40668 | 0.40668 | 0.99091 | -0.17248 | 0.98621 | -0.26287 | 37.2421
8 | -0.27051 | -0.069123 | 0.27114 | 0.069524 | 0.00062857 | 0.00040111 | 0.40668 | 0.40668 | 0.40668 | 0.99091 | -0.17248 | 0.99343 | -0.12455 | 37.242
9 | 0.26933 | 0.068372 | -0.26821 | -0.06766 | 0.0011156 | 0.00071194 | 0.40668 | 0.40668 | 0.40668 | 0.98621 | -0.26287 | 0.98175 | -0.34936 | 37.2422
10 | 0.026439 | 0.0066456 | -0.026426 | -0.0066375 | 1.316e-05 | 8.1252e-06 | 0.039348 | 0.039348 | 0.039348 | 1 | 0 | 0.99946 | -0.010431 | 10.8099
11 | 0.23947 | 0.060457 | -0.23897 | -0.060135 | 0.00050423 | 0.00032155 | 0.36312 | 0.36312 | 0.36312 | 0.98175 | -0.34936 | 0.97949 | -0.39341 | 33.2532
12 | 0.026426 | 0.0066375 | -0.026423 | -0.006636 | 2.4298e-06 | 1.5002e-06 | 0.039348 | 0.039348 | 0.039348 | 0.99946 | -0.010431 | 0.99936 | -0.012358 | 10.8099
13 | -0.011524 | -0.0028881 | 0.011529 | 0.002891 | 5.6338e-06 | 2.942e-06 | 0.017193 | 0.017193 | 0.017193 | 0.99735 | -0.051046 | 0.99788 | -0.040788 | 4.7233
14 | -0.011529 | -0.002891 | 0.011531 | 0.0028919 | 1.6724e-06 | 8.732e-07 | 0.017193 | 0.017193 | 0.017193 | 0.99788 | -0.040788 | 0.99804 | -0.037745 | 4.7232
15 | -0.019884 | -0.0049818 | 0.019898 | 0.0049906 | 1.4571e-05 | 8.8016e-06 | 0.030383 | 0.030383 | 0.030383 | 0.97378 | -0.50556 | 0.97456 | -0.49018 | 8.347
16 | 0.00065232 | 0.00016201 | -0.0006523 | -0.00016281 | 2.43e-08 | -7.9635e-07 | 0.00099627 | 0.00099656 | 0.00099656 | 0.97378 | -0.50556 | 0.97374 | -0.50635 | 0.27378
17 | -0.069436 | -0.017406 | 0.06952 | 0.01746 | 8.4436e-05 | 5.3789e-05 | 0.10602 | 0.10602 | 0.10602 | 0.97456 | -0.49018 | 0.97585 | -0.4647 | 29.1265
18 | 0.0006523 | 0.00016281 | -0.00065229 | -0.00016321 | 1.2268e-08 | -4.0185e-07 | 0.00099656 | 0.00099671 | 0.00099671 | 0.97374 | -0.50635 | 0.97372 | -0.50674 | 0.27382
19 | -0.06952 | -0.01746 | 0.06961 | 0.017517 | 8.9822e-05 | 5.7219e-05 | 0.10602 | 0.10602 | 0.10602 | 0.97585 | -0.4647 | 0.97723 | -0.43766 | 29.1265
20 | 0.00065229 | 0.00016321 | -0.00065228 | -0.00016348 | 8.1311e-09 | -2.6626e-07 | 0.00099671 | 0.00099681 | 0.00099681 | 0.97372 | -0.50674 | 0.97371 | -0.507 | 0.27385
21 | 0.039628 | 0.0099546 | -0.039598 | -0.009936 | 2.9553e-05 | 1.8643e-05 | 0.060349 | 0.060349 | 0.060349 | 0.97723 | -0.43766 | 0.97644 | -0.4533 | 16.5793
22 | -0.14998 | -0.037688 | 0.15027 | 0.037872 | 0.00028783 | 0.00018347 | 0.22841 | 0.22841 | 0.22841 | 0.97723 | -0.43766 | 0.97928 | -0.39754 | 31.3746
23 | 0.040741 | 0.010217 | -0.040726 | -0.010207 | 1.559e-05 | 9.8422e-06 | 0.062038 | 0.062038 | 0.062038 | 0.97723 | -0.43766 | 0.97682 | -0.44569 | 17.0435
24 | -0.026391 | -0.0066162 | 0.026423 | 0.006636 | 3.1966e-05 | 1.9738e-05 | 0.039348 | 0.039348 | 0.039348 | 0.99804 | -0.037745 | 0.99936 | -0.012358 | 10.81
25 | 0.18715 | 0.047133 | -0.18711 | -0.047109 | 3.6911e-05 | 2.3485e-05 | 0.28439 | 0.28439 | 0.28439 | 0.97949 | -0.39341 | 0.97928 | -0.39754 | 26.043
26 | 0.051824 | 0.013003 | -0.051787 | -0.012979 | 3.7305e-05 | 2.3673e-05 | 0.078735 | 0.078735 | 0.078735 | 0.97949 | -0.39341 | 0.97872 | -0.40852 | 21.6305
27 | 0.036842 | 0.0092374 | -0.036832 | -0.0092309 | 1.0317e-05 | 6.4924e-06 | 0.055983 | 0.055983 | 0.055983 | 0.97928 | -0.39754 | 0.97898 | -0.40342 | 15.38
28 | 0.039598 | 0.009936 | -0.039576 | -0.0099224 | 2.1532e-05 | 1.3583e-05 | 0.060349 | 0.060349 | 0.060349 | 0.97644 | -0.4533 | 0.97586 | -0.46471 | 16.5793
29 | 0.0064444 | 0.0016152 | -0.0064434 | -0.0016149 | 9.647e-07 | 2.8331e-07 | 0.0098169 | 0.009817 | 0.009817 | 0.97682 | -0.44569 | 0.97666 | -0.44883 | 2.697
30 | 0.016836 | 0.0042232 | -0.01683 | -0.0042197 | 5.9433e-06 | 3.5034e-06 | 0.025674 | 0.025674 | 0.025674 | 0.97586 | -0.46471 | 0.97548 | -0.47211 | 7.0533
31 | -0.0099636 | -0.0024978 | 0.0099642 | 0.0024981 | 6.4595e-07 | 3.2043e-07 | 0.015204 | 0.015204 | 0.015204 | 0.97518 | -0.4781 | 0.97524 | -0.47674 | 4.1768
32 | 0.0099636 | 0.0024978 | -0.0099607 | -0.0024964 | 2.8348e-06 | 1.4064e-06 | 0.015204 | 0.015204 | 0.015204 | 0.97518 | -0.4781 | 0.97487 | -0.48408 | 4.1769
33 | 0.003267 | 0.00081862 | -0.0032668 | -0.00081874 | 1.7455e-07 | -1.2202e-07 | 0.0049847 | 0.0049848 | 0.0049848 | 0.97524 | -0.47674 | 0.97519 | -0.47786 | 1.3694
34 | -0.013231 | -0.0033167 | 0.013234 | 0.0033184 | 2.9178e-06 | 1.6291e-06 | 0.020188 | 0.020188 | 0.020188 | 0.97524 | -0.47674 | 0.97548 | -0.47211 | 5.5462
35 | 0.0064434 | 0.0016149 | -0.006443 | -0.0016148 | 4.6742e-07 | 1.3731e-07 | 0.009817 | 0.0098171 | 0.0098171 | 0.97666 | -0.44883 | 0.97659 | -0.45035 | 2.697

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45709 | 0.1166

## res_load
| p_mw | q_mvar
0 | 0.015718 | 0.0039393
1 | 0.023625 | 0.0059209
2 | 0.071395 | 0.017893
3 | 0.044889 | 0.01125
4 | 0.02874 | 0.0072028
5 | 0.011524 | 0.0028881
6 | 0.019231 | 0.0048198
7 | 0.049538 | 0.012415
8 | 0.01486 | 0.0037243
9 | 0.00065228 | 0.00016348
10 | 0.051787 | 0.012979
11 | 0.034281 | 0.0085917
12 | 0.02274 | 0.0056992
13 | 0.0099607 | 0.0024964
14 | 0.036832 | 0.0092309
15 | 0.0035963 | 0.00090131
16 | 0.0032668 | 0.00081874
17 | 0.006443 | 0.0016148

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1