## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1322-33_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1322-33_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1322-33_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1322-33_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1322-33_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1322-33_0_6_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_1322-33_0_6_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1322-33_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1322-33_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1322-33_0_6_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_1322-33_0_6_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_1322-33_0_6_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1322-33_0_6_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1322-33_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1322-33_0_6_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_1322-33_0_6_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_1322-33_0_6_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1322-33_0_6_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_1322-33_0_6_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_1322-33_0_6_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_1322-33_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1322-33_0_6_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_1322-33_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1322-33_0_6_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1322-33_0_6_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1322-33_0_6_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_1322-33_0_6_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_1322-33_0_6_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_1322-33_0_6_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_1322-33_0_6_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1322-33_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1322-33_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1322-33_0_6_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_1322-33_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1322-33_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1322-33_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1322-33_0_6_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1322-33_0_6_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1322-33_0_6_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1322-33_0_6_node_35 | 0.4 | n |  | TRUE
40 | bus_MV_16_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1322-33_0_6_load_0 | 0 | 0.013284 | 0.0033294 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1322-33_0_6_load_1 | 1 | 0.0053607 | 0.0013435 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1322-33_0_6_load_3 | 3 | 0.0095502 | 0.0023935 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1322-33_0_6_load_9 | 6 | 0.01245 | 0.0031202 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1322-33_0_6_load_6 | 7 | 0.013288 | 0.0033303 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1322-33_0_6_load_27 | 10 | 0.0059707 | 0.0014964 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1322-33_0_6_load_17 | 12 | 0.012445 | 0.0031191 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1322-33_0_6_load_7 | 13 | 0.013282 | 0.0033287 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1322-33_0_6_load_31 | 15 | 0.019652 | 0.0049252 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1322-33_0_6_load_24 | 16 | 0.022367 | 0.0056058 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1322-33_0_6_load_20 | 17 | 0.014282 | 0.0035795 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1322-33_0_6_load_8 | 19 | 0.020702 | 0.0051883 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1322-33_0_6_load_10 | 20 | 0.015144 | 0.0037954 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1322-33_0_6_load_30 | 21 | 0.018841 | 0.0047219 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1322-33_0_6_load_16 | 22 | 0.019011 | 0.0047646 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1322-33_0_6_load_34 | 23 | 0.020392 | 0.0051106 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1322-33_0_6_load_11 | 24 | 0.057125 | 0.014317 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1322-33_0_6_load_13 | 26 | 0.030257 | 0.0075832 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1322-33_0_6_load_39 | 28 | 0.030232 | 0.007577 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1322-33_0_6_load_36 | 29 | 0.019989 | 0.0050098 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1322-33_0_6_load_18 | 30 | 0.019012 | 0.004765 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1322-33_0_6_load_19 | 31 | 0.014282 | 0.0035795 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1322-33_0_6_load_38 | 32 | 0.019648 | 0.0049244 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1322-33_0_6_load_23 | 33 | 0.01429 | 0.0035813 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1322-33_0_6_load_25 | 34 | 0.019987 | 0.0050093 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1322-33_0_6_load_26 | 35 | 0.018818 | 0.0047163 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1322-33_0_6_load_33 | 36 | 0.020135 | 0.0050462 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1322-33_0_6_load_32 | 37 | 0.018423 | 0.0046172 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1322-33_0_6_load_29 | 38 | 0.0063605 | 0.0015941 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1322-33_0_6_load_35 | 39 | 0.02014 | 0.0050475 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1322-33_0_6_line_0 |  | 0 | 1 | 0.032988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_1322-33_0_6_line_1 |  | 0 | 2 | 0.077156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1322-33_0_6_line_2 |  | 1 | 3 | 0.041753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_1322-33_0_6_line_3 |  | 2 | 4 | 0.044852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_1322-33_0_6_line_4 |  | 3 | 5 | 0.081173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1322-33_0_6_line_5 |  | 4 | 6 | 0.036201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1322-33_0_6_line_6 |  | 4 | 7 | 0.024701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_1322-33_0_6_line_7 |  | 5 | 11 | 0.13508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1322-33_0_6_line_8 |  | 6 | 12 | 0.018898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1322-33_0_6_line_9 |  | 7 | 13 | 0.011538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1322-33_0_6_line_10 |  | 8 | 9 | 0.22794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1322-33_0_6_line_11 |  | 8 | 10 | 0.049905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1322-33_0_6_line_12 |  | 9 | 17 | 0.036009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1322-33_0_6_line_13 |  | 10 | 18 | 0.013071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1322-33_0_6_line_14 |  | 11 | 27 | 0.082001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1322-33_0_6_line_15 |  | 11 | 28 | 0.030181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1322-33_0_6_line_16 |  | 11 | 25 | 0.016795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_1322-33_0_6_line_17 |  | 12 | 22 | 0.0019999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1322-33_0_6_line_18 |  | 13 | 19 | 0.010795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_1322-33_0_6_line_19 |  | 14 | 15 | 0.017519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1322-33_0_6_line_20 |  | 14 | 16 | 0.010772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1322-33_0_6_line_21 |  | 15 | 32 | 0.023891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1322-33_0_6_line_22 |  | 16 | 33 | 0.021714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1322-33_0_6_line_23 |  | 17 | 31 | 0.0046956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1322-33_0_6_line_24 |  | 18 | 38 | 0.013042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1322-33_0_6_line_25 |  | 19 | 20 | 0.034901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1322-33_0_6_line_26 |  | 20 | 21 | 0.014582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1322-33_0_6_line_27 |  | 21 | 23 | 0.00096698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1322-33_0_6_line_28 |  | 22 | 30 | 0.0059592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1322-33_0_6_line_29 |  | 23 | 37 | 0.023567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_1322-33_0_6_line_30 |  | 24 | 25 | 0.12145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1322-33_0_6_line_31 |  | 25 | 26 | 0.036849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1322-33_0_6_line_32 |  | 27 | 29 | 0.0060124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1322-33_0_6_line_33 |  | 29 | 39 | 0.024816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1322-33_0_6_line_34 |  | 30 | 31 | 0.033032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1322-33_0_6_line_35 |  | 33 | 34 | 0.0060145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1322-33_0_6_line_36 |  | 34 | 35 | 0.0010858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1322-33_0_6_line_37 |  | 35 | 36 | 0.023757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1322-33_0_6_line_38 |  | 36 | 37 | 0.00096489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1322-33_0_6_trafo_34 | 0.63 MVA 20/0.4 kV | 40 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2700631.6459 | 1228225.1911 | 2700600.7743 | 1228213.5654
1 | 2700703.852 | 1228252.3827 | 2700631.6459 | 1228225.1911
2 | 2700561.6998 | 1228198.8505 | 2700600.7743 | 1228213.5654
3 | 2700691.0249 | 1228295.1192 | 2700690.7734 | 1228292.0682 | 2700698.8593 | 1228266.1528 | 2700703.852 | 1228252.3827
4 | 2700485.4823 | 1228170.9974 | 2700508.3892 | 1228180.1911 | 2700543.5821 | 1228192.0277 | 2700561.6998 | 1228198.8505
5 | 2700691.0249 | 1228295.1192 | 2700696.1233 | 1228330.587 | 2700696.1062 | 1228330.955
6 | 2700691.0249 | 1228295.1192 | 2700680.2773 | 1228295.6265 | 2700667.0485 | 1228291.2259
7 | 2700485.4823 | 1228170.9974 | 2700481.5651 | 1228183.4848 | 2700474.8736 | 1228211.7035 | 2700465.8515 | 1228249.5678 | 2700513.4512 | 1228265.3945 | 2700517.1592 | 1228266.6247
8 | 2700695.2314 | 1228349.8332 | 2700696.1062 | 1228330.955
9 | 2700667.0485 | 1228291.2259 | 2700662.4918 | 1228289.7101 | 2700655.7641 | 1228290.0298
10 | 2700693.7813 | 1228431.2656 | 2700702.2023 | 1228441.4823 | 2700766.2896 | 1228464.0729 | 2700781.2945 | 1228475.7246 | 2700794.2562 | 1228475.5774 | 2700813.9247 | 1228484.3727 | 2700816.3877 | 1228474.9853 | 2700818.5936 | 1228441.4425 | 2700819.0572 | 1228423.9376 | 2700819.7109 | 1228399.2416 | 2700819.9174 | 1228391.5395
11 | 2700819.9174 | 1228391.5395 | 2700776.9301 | 1228375.5438 | 2700773.2821 | 1228373.813
12 | 2700693.7813 | 1228431.2656 | 2700691.8948 | 1228421.8378 | 2700693.1166 | 1228395.4713
13 | 2700761.4728 | 1228368.21 | 2700773.2821 | 1228373.813
14 | 2700517.1592 | 1228266.6247 | 2700498.9996 | 1228328.0963 | 2700515.7158 | 1228334.5056
15 | 2700545.158 | 1228278.0951 | 2700517.1592 | 1228266.6247
16 | 2700518.1333 | 1228253.387 | 2700513.4512 | 1228265.3945 | 2700517.1592 | 1228266.6247
17 | 2700695.2314 | 1228349.8332 | 2700695.1389 | 1228351.8309
18 | 2700650.4458 | 1228299.0239 | 2700650.8522 | 1228298.5863 | 2700652.459 | 1228293.2096 | 2700655.7641 | 1228290.0298 | 2700655.7641 | 1228290.0298
19 | 2700577.3988 | 1228394.0473 | 2700561.1723 | 1228387.4435
20 | 2700577.3988 | 1228394.0473 | 2700581.1345 | 1228383.944
21 | 2700561.1723 | 1228387.4435 | 2700539.0435 | 1228378.4376
22 | 2700581.1345 | 1228383.944 | 2700583.4744 | 1228377.6158 | 2700591.9483 | 1228366.8067 | 2700592.3803 | 1228365.6525
23 | 2700693.1166 | 1228395.4713 | 2700693.334 | 1228390.7807
24 | 2700761.4728 | 1228368.21 | 2700749.6917 | 1228362.6149
25 | 2700650.4458 | 1228299.0239 | 2700647.1006 | 1228302.6258 | 2700641.8588 | 1228304.7053 | 2700623.7458 | 1228298.8836 | 2700619.5072 | 1228299.4567 | 2700618.7565 | 1228300.1813
26 | 2700618.7565 | 1228300.1813 | 2700615.9863 | 1228302.8552 | 2700612.1745 | 1228312.8868
27 | 2700612.1745 | 1228312.8868 | 2700611.831 | 1228313.7907
28 | 2700694.863 | 1228357.7838 | 2700695.1389 | 1228351.8309
29 | 2700603.5349 | 1228335.8495 | 2700609.1727 | 1228320.7865 | 2700611.831 | 1228313.7907
30 | 2700518.1333 | 1228253.387 | 2700536.9317 | 1228205.2472 | 2700544.227 | 1228201.401 | 2700579.7967 | 1228213.8003 | 2700582.7738 | 1228219.2546 | 2700576.5939 | 1228235.7794
31 | 2700518.1333 | 1228253.387 | 2700552.1338 | 1228266.6936 | 2700552.2539 | 1228266.3785
32 | 2700515.7158 | 1228334.5056 | 2700518.803 | 1228335.692 | 2700519.7669 | 1228333.1644
33 | 2700528.6095 | 1228309.9776 | 2700519.7669 | 1228333.1644
34 | 2700694.863 | 1228357.7838 | 2700693.334 | 1228390.7807
35 | 2700594.4886 | 1228360.0196 | 2700592.3803 | 1228365.6525
36 | 2700594.8692 | 1228359.0027 | 2700594.4886 | 1228360.0196
37 | 2700603.1967 | 1228336.7532 | 2700594.8692 | 1228359.0027
38 | 2700603.5349 | 1228335.8495 | 2700603.1967 | 1228336.7532

## bus_geodata
| x | y | coords
0 | 2700631.6459 | 1228225.1911
1 | 2700600.7743 | 1228213.5654
2 | 2700703.852 | 1228252.3827
3 | 2700561.6998 | 1228198.8505
4 | 2700691.0249 | 1228295.1192
5 | 2700485.4823 | 1228170.9974
6 | 2700696.1062 | 1228330.955
7 | 2700667.0485 | 1228291.2259
8 | 2700819.9174 | 1228391.5395
9 | 2700693.7813 | 1228431.2656
10 | 2700773.2821 | 1228373.813
11 | 2700517.1592 | 1228266.6247
12 | 2700695.2314 | 1228349.8332
13 | 2700655.7641 | 1228290.0298
14 | 2700577.3988 | 1228394.0473
15 | 2700561.1723 | 1228387.4435
16 | 2700581.1345 | 1228383.944
17 | 2700693.1166 | 1228395.4713
18 | 2700761.4728 | 1228368.21
19 | 2700650.4458 | 1228299.0239
20 | 2700618.7565 | 1228300.1813
21 | 2700612.1745 | 1228312.8868
22 | 2700695.1389 | 1228351.8309
23 | 2700611.831 | 1228313.7907
24 | 2700576.5939 | 1228235.7794
25 | 2700518.1333 | 1228253.387
26 | 2700552.2539 | 1228266.3785
27 | 2700515.7158 | 1228334.5056
28 | 2700545.158 | 1228278.0952
29 | 2700519.7669 | 1228333.1644
30 | 2700694.863 | 1228357.7838
31 | 2700693.334 | 1228390.7807
32 | 2700539.0435 | 1228378.4376
33 | 2700592.3803 | 1228365.6525
34 | 2700594.4886 | 1228360.0196
35 | 2700594.8692 | 1228359.0027
36 | 2700603.1967 | 1228336.7532
37 | 2700603.5349 | 1228335.8495
38 | 2700749.6917 | 1228362.6149
39 | 2700528.6095 | 1228309.9776
40 | 2700577.3988 | 1228394.0473

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98748 | -0.2384 | 0.013284 | 0.0033294
1 | 0.98615 | -0.26389 | 0.0053607 | 0.0013435
2 | 0.99081 | -0.17449 | 0 | 0
3 | 0.98452 | -0.29525 | 0.0095502 | 0.0023935
4 | 0.99275 | -0.13753 | 0 | 0
5 | 0.98154 | -0.353 | 0 | 0
6 | 0.9893 | -0.20423 | 0.01245 | 0.0031202
7 | 0.99441 | -0.10593 | 0.013288 | 0.0033303
8 | 0.98287 | -0.32925 | 0 | 0
9 | 0.98547 | -0.27865 | 0 | 0
10 | 0.98231 | -0.34036 | 0.0059707 | 0.0014964
11 | 0.97658 | -0.44988 | 0 | 0
12 | 0.98771 | -0.23503 | 0.012445 | 0.0031191
13 | 0.99522 | -0.090529 | 0.013282 | 0.0033287
14 | 0.99363 | -0.12256 | 0 | 0
15 | 0.993 | -0.13472 | 0.019652 | 0.0049252
16 | 0.99401 | -0.11509 | 0.022367 | 0.0056058
17 | 0.98588 | -0.27068 | 0.014282 | 0.0035795
18 | 0.98223 | -0.34186 | 0 | 0
19 | 0.99601 | -0.075514 | 0.020702 | 0.0051883
20 | 0.99873 | -0.023976 | 0.015144 | 0.0037954
21 | 0.99992 | -0.0015638 | 0.018841 | 0.0047219
22 | 0.98757 | -0.23786 | 0.019011 | 0.0047646
23 | 1 | 0 | -0.53237 | -0.13546
24 | 0.97301 | -0.52024 | 0.057125 | 0.014317
25 | 0.97624 | -0.45659 | 0 | 0
26 | 0.9752 | -0.477 | 0.030257 | 0.0075832
27 | 0.97351 | -0.51021 | 0 | 0
28 | 0.97573 | -0.46657 | 0.030232 | 0.007577
29 | 0.97329 | -0.51465 | 0.019989 | 0.0050098
30 | 0.98724 | -0.24424 | 0.019012 | 0.004765
31 | 0.98599 | -0.26843 | 0.014282 | 0.0035795
32 | 0.99257 | -0.14302 | 0.019648 | 0.0049244
33 | 0.99524 | -0.091494 | 0.01429 | 0.0035813
34 | 0.99565 | -0.083458 | 0.019987 | 0.0050093
35 | 0.99575 | -0.081627 | 0.018818 | 0.0047163
36 | 0.99824 | -0.033819 | 0.020135 | 0.0050462
37 | 0.99835 | -0.031542 | 0.018423 | 0.0046172
38 | 0.98215 | -0.34336 | 0.0063605 | 0.0015941
39 | 0.97282 | -0.52385 | 0.02014 | 0.0050475
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.17469 | 0.044554 | -0.17448 | -0.044418 | 0.00021476 | 0.00013576 | 0.26352 | 0.26352 | 0.26352 | 0.98748 | -0.2384 | 0.98615 | -0.26389 | 18.0988
1 | -0.18798 | -0.047883 | 0.18856 | 0.048251 | 0.00058151 | 0.0003682 | 0.28354 | 0.28353 | 0.28354 | 0.98748 | -0.2384 | 0.99081 | -0.17449 | 19.4736
2 | 0.16912 | 0.043075 | -0.16886 | -0.042913 | 0.00025539 | 0.00016132 | 0.25543 | 0.25543 | 0.25543 | 0.98615 | -0.26389 | 0.98452 | -0.29525 | 17.5433
3 | -0.18856 | -0.048251 | 0.1889 | 0.048465 | 0.00033804 | 0.00021403 | 0.28353 | 0.28353 | 0.28353 | 0.99081 | -0.17449 | 0.99275 | -0.13753 | 19.4735
4 | 0.15931 | 0.04052 | -0.15887 | -0.040241 | 0.00044198 | 0.00027875 | 0.241 | 0.241 | 0.241 | 0.98452 | -0.29525 | 0.98154 | -0.353 | 16.552
5 | 0.1044 | 0.026389 | -0.10407 | -0.026177 | 0.00033277 | 0.00021251 | 0.15657 | 0.15657 | 0.15657 | 0.99275 | -0.13753 | 0.9893 | -0.20423 | 43.0129
6 | -0.2933 | -0.074855 | 0.29375 | 0.075141 | 0.00044853 | 0.00028578 | 0.4401 | 0.4401 | 0.4401 | 0.99275 | -0.13753 | 0.99441 | -0.10593 | 30.2266
7 | 0.15887 | 0.040241 | -0.15813 | -0.039777 | 0.00073552 | 0.00046394 | 0.241 | 0.241 | 0.241 | 0.98154 | -0.353 | 0.97658 | -0.44988 | 16.5522
8 | 0.091621 | 0.023057 | -0.091486 | -0.022971 | 0.00013465 | 8.5936e-05 | 0.13784 | 0.13784 | 0.13784 | 0.9893 | -0.20423 | 0.98771 | -0.23503 | 37.8685
9 | -0.30704 | -0.078471 | 0.30726 | 0.078617 | 0.00022886 | 0.00014587 | 0.45998 | 0.45998 | 0.45998 | 0.99441 | -0.10593 | 0.99522 | -0.090529 | 31.5922
10 | -0.012339 | -0.0030943 | 0.012368 | 0.0031105 | 2.9827e-05 | 1.6193e-05 | 0.018681 | 0.01868 | 0.018681 | 0.98287 | -0.32925 | 0.98547 | -0.27865 | 5.1321
11 | 0.012339 | 0.0030943 | -0.012332 | -0.0030907 | 6.5308e-06 | 3.5476e-06 | 0.018681 | 0.018681 | 0.018681 | 0.98287 | -0.32925 | 0.98231 | -0.34036 | 5.1321
12 | -0.012368 | -0.0031105 | 0.012373 | 0.003113 | 4.7118e-06 | 2.5565e-06 | 0.01868 | 0.018679 | 0.01868 | 0.98547 | -0.27865 | 0.98588 | -0.27068 | 5.1318
13 | 0.0063614 | 0.0015943 | -0.0063609 | -0.0015942 | 4.5517e-07 | 1.2585e-07 | 0.0096364 | 0.0096364 | 0.0096364 | 0.98231 | -0.34036 | 0.98223 | -0.34186 | 2.6474
14 | 0.040262 | 0.010141 | -0.040147 | -0.010068 | 0.0001158 | 7.3089e-05 | 0.061366 | 0.061366 | 0.061366 | 0.97658 | -0.44988 | 0.97351 | -0.51021 | 16.8589
15 | 0.030256 | 0.007592 | -0.030232 | -0.007577 | 2.4058e-05 | 1.502e-05 | 0.046105 | 0.046105 | 0.046105 | 0.97658 | -0.44988 | 0.97573 | -0.46657 | 12.6663
16 | 0.087614 | 0.022044 | -0.087586 | -0.022027 | 2.8073e-05 | 1.7127e-05 | 0.13353 | 0.13353 | 0.13353 | 0.97658 | -0.44988 | 0.97624 | -0.45659 | 9.1709
17 | 0.079041 | 0.019852 | -0.07903 | -0.019845 | 1.0636e-05 | 6.7817e-06 | 0.11909 | 0.11909 | 0.11909 | 0.98771 | -0.23503 | 0.98757 | -0.23786 | 32.7176
18 | -0.32055 | -0.081945 | 0.32078 | 0.082094 | 0.00023302 | 0.00014857 | 0.47984 | 0.47984 | 0.47984 | 0.99522 | -0.090529 | 0.99601 | -0.075514 | 32.9561
19 | 0.039331 | 0.0098686 | -0.039308 | -0.0098542 | 2.2794e-05 | 1.4362e-05 | 0.058904 | 0.058904 | 0.058904 | 0.99363 | -0.12256 | 0.993 | -0.13472 | 16.1825
20 | -0.039331 | -0.0098686 | 0.039345 | 0.0098774 | 1.4016e-05 | 8.8304e-06 | 0.058904 | 0.058904 | 0.058904 | 0.99363 | -0.12256 | 0.99401 | -0.11509 | 16.1825
21 | 0.019656 | 0.004929 | -0.019648 | -0.0049244 | 7.7735e-06 | 4.6661e-06 | 0.029456 | 0.029456 | 0.029456 | 0.993 | -0.13472 | 0.99257 | -0.14302 | 8.0923
22 | -0.061712 | -0.015483 | 0.061782 | 0.015527 | 6.9502e-05 | 4.42e-05 | 0.092388 | 0.092388 | 0.092388 | 0.99401 | -0.11509 | 0.99524 | -0.091494 | 25.3812
23 | -0.026656 | -0.0066926 | 0.026658 | 0.0066943 | 2.8508e-06 | 1.7646e-06 | 0.040236 | 0.040236 | 0.040236 | 0.98588 | -0.27068 | 0.98599 | -0.26843 | 11.054
24 | 0.0063609 | 0.0015942 | -0.0063605 | -0.0015941 | 4.5417e-07 | 1.256e-07 | 0.0096364 | 0.0096365 | 0.0096365 | 0.98223 | -0.34186 | 0.98215 | -0.34336 | 2.6474
25 | -0.34148 | -0.087282 | 0.34233 | 0.087827 | 0.0008536 | 0.00054448 | 0.51077 | 0.51077 | 0.51077 | 0.99601 | -0.075514 | 0.99873 | -0.023976 | 35.0802
26 | -0.35748 | -0.091622 | 0.35787 | 0.09187 | 0.00038884 | 0.00024809 | 0.53333 | 0.53333 | 0.53333 | 0.99873 | -0.023976 | 0.99992 | -0.0015638 | 36.6298
27 | -0.37671 | -0.096592 | 0.37674 | 0.096611 | 2.8568e-05 | 1.8233e-05 | 0.56137 | 0.56137 | 0.56137 | 0.99992 | -0.0015638 | 1 | 0 | 38.5554
28 | 0.060019 | 0.01508 | -0.060001 | -0.015069 | 1.8282e-05 | 1.1624e-05 | 0.090447 | 0.090447 | 0.090447 | 0.98757 | -0.23786 | 0.98724 | -0.24424 | 24.8482
29 | 0.15398 | 0.038847 | -0.15375 | -0.038699 | 0.00023217 | 0.00014797 | 0.22922 | 0.22922 | 0.22922 | 1 | 0 | 0.99835 | -0.031542 | 31.4859
30 | -0.057125 | -0.014317 | 0.057299 | 0.014425 | 0.0001738 | 0.0001082 | 0.087362 | 0.087361 | 0.087362 | 0.97301 | -0.52024 | 0.97624 | -0.45659 | 12.0002
31 | 0.030287 | 0.0076016 | -0.030257 | -0.0075832 | 2.9454e-05 | 1.839e-05 | 0.046168 | 0.046168 | 0.046168 | 0.97624 | -0.45659 | 0.9752 | -0.477 | 12.6836
32 | 0.040147 | 0.010068 | -0.040138 | -0.010063 | 8.4906e-06 | 5.3593e-06 | 0.061366 | 0.061366 | 0.061366 | 0.97351 | -0.51021 | 0.97329 | -0.51465 | 16.8589
33 | 0.020149 | 0.0050529 | -0.02014 | -0.0050475 | 8.8312e-06 | 5.3437e-06 | 0.030806 | 0.030806 | 0.030806 | 0.97329 | -0.51465 | 0.97282 | -0.52385 | 8.4631
34 | 0.040988 | 0.010304 | -0.040941 | -0.010274 | 4.7295e-05 | 2.9847e-05 | 0.061791 | 0.061791 | 0.061791 | 0.98724 | -0.24424 | 0.98599 | -0.26843 | 16.9755
35 | -0.076071 | -0.019109 | 0.076101 | 0.019127 | 2.9185e-05 | 1.86e-05 | 0.11375 | 0.11375 | 0.11375 | 0.99524 | -0.091494 | 0.99565 | -0.083458 | 31.2507
36 | -0.096088 | -0.024137 | 0.096096 | 0.024142 | 8.3989e-06 | 5.3612e-06 | 0.14362 | 0.14362 | 0.14362 | 0.99565 | -0.083458 | 0.99575 | -0.081627 | 39.4571
37 | -0.11491 | -0.028858 | 0.11518 | 0.029026 | 0.00026278 | 0.00016787 | 0.17175 | 0.17175 | 0.17175 | 0.99575 | -0.081627 | 0.99824 | -0.033819 | 47.1828
38 | -0.13531 | -0.034072 | 0.13533 | 0.034082 | 1.4729e-05 | 9.4139e-06 | 0.20176 | 0.20176 | 0.20176 | 0.99824 | -0.033819 | 0.99835 | -0.031542 | 55.4282

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55276 | 0.14057

## res_load
| p_mw | q_mvar
0 | 0.013284 | 0.0033294
1 | 0.0053607 | 0.0013435
2 | 0.0095502 | 0.0023935
3 | 0.01245 | 0.0031202
4 | 0.013288 | 0.0033303
5 | 0.0059707 | 0.0014964
6 | 0.012445 | 0.0031191
7 | 0.013282 | 0.0033287
8 | 0.019652 | 0.0049252
9 | 0.022367 | 0.0056058
10 | 0.014282 | 0.0035795
11 | 0.020702 | 0.0051883
12 | 0.015144 | 0.0037954
13 | 0.018841 | 0.0047219
14 | 0.019011 | 0.0047646
15 | 0.020392 | 0.0051106
16 | 0.057125 | 0.014317
17 | 0.030257 | 0.0075832
18 | 0.030232 | 0.007577
19 | 0.019989 | 0.0050098
20 | 0.019012 | 0.004765
21 | 0.014282 | 0.0035795
22 | 0.019648 | 0.0049244
23 | 0.01429 | 0.0035813
24 | 0.019987 | 0.0050093
25 | 0.018818 | 0.0047163
26 | 0.020135 | 0.0050462
27 | 0.018423 | 0.0046172
28 | 0.0063605 | 0.0015941
29 | 0.02014 | 0.0050475

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1