## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1322-34_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1322-34_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1322-34_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1322-34_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1322-34_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1322-34_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1322-34_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1322-34_0_6_node_69 | 0.4 | n |  | TRUE
8 | bus_LV_1322-34_0_6_node_70 | 0.4 | n |  | TRUE
9 | bus_LV_1322-34_0_6_node_68 | 0.4 | n |  | TRUE
10 | bus_LV_1322-34_0_6_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_1322-34_0_6_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_1322-34_0_6_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_1322-34_0_6_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_1322-34_0_6_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_1322-34_0_6_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_1322-34_0_6_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_1322-34_0_6_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1322-34_0_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1322-34_0_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1322-34_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1322-34_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1322-34_0_6_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_1322-34_0_6_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_1322-34_0_6_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1322-34_0_6_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1322-34_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1322-34_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1322-34_0_6_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_1322-34_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1322-34_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_1322-34_0_6_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1322-34_0_6_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1322-34_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1322-34_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1322-34_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1322-34_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_1322-34_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_1322-34_0_6_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1322-34_0_6_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1322-34_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1322-34_0_6_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1322-34_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1322-34_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1322-34_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_1322-34_0_6_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_1322-34_0_6_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1322-34_0_6_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1322-34_0_6_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1322-34_0_6_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_1322-34_0_6_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1322-34_0_6_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_1322-34_0_6_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1322-34_0_6_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_1322-34_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1322-34_0_6_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_1322-34_0_6_node_78 | 0.4 | n |  | TRUE
57 | bus_LV_1322-34_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_1322-34_0_6_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_1322-34_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_1322-34_0_6_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_1322-34_0_6_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_1322-34_0_6_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_1322-34_0_6_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_1322-34_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_1322-34_0_6_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_1322-34_0_6_node_83 | 0.4 | n |  | TRUE
67 | bus_LV_1322-34_0_6_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_1322-34_0_6_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_1322-34_0_6_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_1322-34_0_6_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_1322-34_0_6_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_1322-34_0_6_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_1322-34_0_6_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_1322-34_0_6_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_1322-34_0_6_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_1322-34_0_6_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_1322-34_0_6_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_1322-34_0_6_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_1322-34_0_6_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_1322-34_0_6_node_76 | 0.4 | n |  | TRUE
81 | bus_MV_15_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1322-34_0_6_load_0 | 0 | 0.0058138 | 0.0014571 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1322-34_0_6_load_1 | 1 | 0.0074925 | 0.0018778 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1322-34_0_6_load_2 | 2 | 0.0061431 | 0.0015396 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1322-34_0_6_load_3 | 3 | 0.01134 | 0.0028421 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1322-34_0_6_load_4 | 4 | 0.0079893 | 0.0020023 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1322-34_0_6_load_5 | 5 | 0.0034359 | 0.00086111 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1322-34_0_6_load_70 | 8 | 0.050935 | 0.012765 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1322-34_0_6_load_68 | 9 | 0.057086 | 0.014307 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1322-34_0_6_load_56 | 10 | 0.0024146 | 0.00060516 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1322-34_0_6_load_40 | 12 | 0.0054693 | 0.0013707 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1322-34_0_6_load_31 | 14 | 0.0034171 | 0.0008564 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1322-34_0_6_load_27 | 15 | 0.0070205 | 0.0017595 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1322-34_0_6_load_39 | 16 | 0.0082959 | 0.0020792 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1322-34_0_6_load_7 | 17 | 0.0045797 | 0.0011478 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1322-34_0_6_load_8 | 18 | 0.0039933 | 0.0010008 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1322-34_0_6_load_14 | 20 | 0.021208 | 0.0053152 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1322-34_0_6_load_10 | 23 | 0.0046047 | 0.001154 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1322-34_0_6_load_11 | 24 | 0.010305 | 0.0025826 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1322-34_0_6_load_13 | 25 | 0.020387 | 0.0051096 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1322-34_0_6_load_15 | 26 | 0.016718 | 0.00419 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1322-34_0_6_load_16 | 27 | 0.010301 | 0.0025817 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1322-34_0_6_load_17 | 31 | 0.018121 | 0.0045416 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1322-34_0_6_load_18 | 32 | 0.037495 | 0.0093972 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1322-34_0_6_load_21 | 33 | 0.013511 | 0.0033862 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1322-34_0_6_load_22 | 36 | 0.0023625 | 0.00059211 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1322-34_0_6_load_26 | 38 | 0.034939 | 0.0087566 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1322-34_0_6_load_28 | 39 | 0.0078526 | 0.001968 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1322-34_0_6_load_30 | 40 | 0.0066355 | 0.001663 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1322-34_0_6_load_34 | 41 | 0.0034177 | 0.00085655 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1322-34_0_6_load_35 | 42 | 0.002972 | 0.00074486 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1322-34_0_6_load_36 | 43 | 0.0033458 | 0.00083854 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1322-34_0_6_load_37 | 44 | 0.0017378 | 0.00043553 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1322-34_0_6_load_41 | 46 | 0.0022621 | 0.00056693 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1322-34_0_6_load_42 | 47 | 0.002262 | 0.00056691 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1322-34_0_6_load_43 | 48 | 0.0035763 | 0.0008963 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1322-34_0_6_load_53 | 49 | 0.004249 | 0.0010649 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1322-34_0_6_load_44 | 50 | 0.0014763 | 0.00036999 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1322-34_0_6_load_52 | 51 | 0.0025063 | 0.00062815 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1322-34_0_6_load_45 | 52 | 0.0032451 | 0.00081331 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1322-34_0_6_load_47 | 54 | 0.0050229 | 0.0012588 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1322-34_0_6_load_48 | 57 | 0.0024028 | 0.00060219 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1322-34_0_6_load_62 | 58 | 0.0059037 | 0.0014796 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1322-34_0_6_load_49 | 59 | 0.001524 | 0.00038194 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1322-34_0_6_load_51 | 61 | 0.0010143 | 0.0002542 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1322-34_0_6_load_72 | 63 | 0.0013431 | 0.00033661 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1322-34_0_6_load_54 | 64 | 0.0036146 | 0.0009059 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1322-34_0_6_load_55 | 65 | 0.0029915 | 0.00074975 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1322-34_0_6_load_83 | 66 | 0.00036103 | 9.0482e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1322-34_0_6_load_66 | 67 | 0.0023321 | 0.00058449 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1322-34_0_6_load_59 | 68 | 0.0023311 | 0.00058423 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1322-34_0_6_load_60 | 69 | 0.0039836 | 0.00099839 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1322-34_0_6_load_61 | 70 | 0.075046 | 0.018808 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1322-34_0_6_load_63 | 71 | 0.011718 | 0.0029367 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1322-34_0_6_load_77 | 72 | 0.0089966 | 0.0022547 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1322-34_0_6_load_67 | 73 | 0.0034493 | 0.00086447 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1322-34_0_6_load_81 | 74 | 0.0042309 | 0.0010604 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1322-34_0_6_load_82 | 75 | 0.0032283 | 0.00080909 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1322-34_0_6_load_73 | 76 | 0.010174 | 0.0025499 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1322-34_0_6_load_74 | 77 | 0.0033018 | 0.00082751 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1322-34_0_6_load_80 | 78 | 0.02896 | 0.007258 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1322-34_0_6_load_76 | 80 | 0.007188 | 0.0018015 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1322-34_0_6_line_0 |  | 0 | 1 | 0.0062128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1322-34_0_6_line_1 |  | 0 | 2 | 0.027242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1322-34_0_6_line_2 |  | 1 | 3 | 0.017876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1322-34_0_6_line_3 |  | 2 | 4 | 0.0047702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1322-34_0_6_line_4 |  | 3 | 5 | 0.015282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1322-34_0_6_line_5 |  | 5 | 6 | 0.012069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1322-34_0_6_line_6 |  | 6 | 10 | 0.038913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1322-34_0_6_line_7 |  | 6 | 11 | 0.037004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1322-34_0_6_line_8 |  | 6 | 12 | 0.020356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1322-34_0_6_line_9 |  | 7 | 8 | 0.021032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_1322-34_0_6_line_10 |  | 7 | 9 | 0.043397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_1322-34_0_6_line_11 |  | 8 | 71 | 0.0094482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1322-34_0_6_line_12 |  | 9 | 29 | 0.018333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_1322-34_0_6_line_13 |  | 10 | 13 | 0.011762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1322-34_0_6_line_14 |  | 11 | 14 | 0.019103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1322-34_0_6_line_15 |  | 11 | 15 | 0.032607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1322-34_0_6_line_16 |  | 12 | 16 | 0.010743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1322-34_0_6_line_17 |  | 13 | 67 | 0.015276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1322-34_0_6_line_18 |  | 13 | 68 | 0.021032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1322-34_0_6_line_19 |  | 14 | 41 | 0.0077692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1322-34_0_6_line_20 |  | 15 | 39 | 0.013924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1322-34_0_6_line_21 |  | 16 | 44 | 0.0062693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1322-34_0_6_line_22 |  | 17 | 18 | 0.020814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1322-34_0_6_line_23 |  | 18 | 19 | 0.016238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1322-34_0_6_line_24 |  | 19 | 20 | 0.026898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1322-34_0_6_line_25 |  | 19 | 21 | 0.010637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1322-34_0_6_line_26 |  | 20 | 22 | 0.030579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1322-34_0_6_line_27 |  | 21 | 23 | 0.028348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1322-34_0_6_line_28 |  | 22 | 28 | 0.002692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1322-34_0_6_line_29 |  | 23 | 24 | 0.010433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1322-34_0_6_line_30 |  | 24 | 25 | 0.012409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1322-34_0_6_line_31 |  | 25 | 26 | 0.0060561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1322-34_0_6_line_32 |  | 26 | 27 | 0.044163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1322-34_0_6_line_33 |  | 27 | 29 | 0.029877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1322-34_0_6_line_34 |  | 28 | 41 | 0.031066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_1322-34_0_6_line_35 |  | 29 | 30 | 0.081279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1322-34_0_6_line_36 |  | 30 | 33 | 0.024632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1322-34_0_6_line_37 |  | 30 | 31 | 0.035412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1322-34_0_6_line_38 |  | 31 | 32 | 0.079002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1322-34_0_6_line_39 |  | 33 | 34 | 0.073109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1322-34_0_6_line_40 |  | 34 | 35 | 0.053968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1322-34_0_6_line_41 |  | 35 | 36 | 0.041375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1322-34_0_6_line_42 |  | 36 | 37 | 0.018518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1322-34_0_6_line_43 |  | 37 | 38 | 0.056819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1322-34_0_6_line_44 |  | 39 | 40 | 0.014103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1322-34_0_6_line_45 |  | 42 | 43 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1322-34_0_6_line_46 |  | 42 | 44 | 0.0021798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1322-34_0_6_line_47 |  | 43 | 45 | 0.012944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1322-34_0_6_line_48 |  | 45 | 46 | 0.012761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1322-34_0_6_line_49 |  | 45 | 47 | 0.009337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1322-34_0_6_line_50 |  | 46 | 48 | 0.0017122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1322-34_0_6_line_51 |  | 47 | 49 | 0.026837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1322-34_0_6_line_52 |  | 48 | 50 | 0.0017835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1322-34_0_6_line_53 |  | 49 | 51 | 0.0047303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1322-34_0_6_line_54 |  | 50 | 52 | 0.028347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1322-34_0_6_line_55 |  | 51 | 64 | 0.018198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1322-34_0_6_line_56 |  | 52 | 53 | 0.011747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1322-34_0_6_line_57 |  | 53 | 54 | 0.027394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1322-34_0_6_line_58 |  | 55 | 56 | 0.084959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1322-34_0_6_line_59 |  | 55 | 57 | 0.073184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1322-34_0_6_line_60 |  | 55 | 58 | 0.042449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1322-34_0_6_line_61 |  | 56 | 72 | 0.038475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1322-34_0_6_line_62 |  | 57 | 59 | 0.052452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1322-34_0_6_line_63 |  | 58 | 69 | 0.03689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1322-34_0_6_line_64 |  | 59 | 60 | 0.020745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1322-34_0_6_line_65 |  | 60 | 61 | 0.077549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1322-34_0_6_line_66 |  | 61 | 62 | 0.031348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1322-34_0_6_line_67 |  | 62 | 63 | 0.077832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1322-34_0_6_line_68 |  | 63 | 74 | 0.0041291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1322-34_0_6_line_69 |  | 64 | 65 | 0.0037655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1322-34_0_6_line_70 |  | 65 | 66 | 0.13347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1322-34_0_6_line_71 |  | 67 | 73 | 0.010225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1322-34_0_6_line_72 |  | 69 | 70 | 0.055094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1322-34_0_6_line_73 |  | 70 | 71 | 0.0037416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_1322-34_0_6_line_74 |  | 72 | 79 | 0.050142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1322-34_0_6_line_75 |  | 74 | 75 | 0.087897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1322-34_0_6_line_76 |  | 76 | 77 | 0.017195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1322-34_0_6_line_77 |  | 76 | 78 | 0.13796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1322-34_0_6_line_78 |  | 77 | 79 | 0.010311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1322-34_0_6_line_79 |  | 79 | 80 | 0.013071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1322-34_0_6_trafo_63 | 0.63 MVA 20/0.4 kV | 81 | 71 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2697636.8722 | 1227734.6309 | 2697642.8276 | 1227736.4009
1 | 2697636.8722 | 1227734.6309 | 2697629.1749 | 1227732.3433 | 2697610.3404 | 1227728.5516
2 | 2697659.7386 | 1227742.1419 | 2697652.4207 | 1227739.252 | 2697642.8276 | 1227736.4009
3 | 2697610.3404 | 1227728.5516 | 2697605.664 | 1227727.6102
4 | 2697659.7386 | 1227742.1419 | 2697673.9529 | 1227747.7551
5 | 2697685.178 | 1227752.188 | 2697673.9529 | 1227747.7551
6 | 2697685.178 | 1227752.188 | 2697721.7543 | 1227765.4686
7 | 2697659.5527 | 1227778.9422 | 2697677.4495 | 1227759.8889 | 2697685.178 | 1227752.188
8 | 2697685.178 | 1227752.188 | 2697698.9319 | 1227737.1812
9 | 2697560.6195 | 1227718.5421 | 2697563.5513 | 1227709.8506 | 2697571.141 | 1227700.7385
10 | 2697560.6195 | 1227718.5421 | 2697518.5966 | 1227707.7064
11 | 2697571.141 | 1227700.7385 | 2697572.6514 | 1227698.9252 | 2697579.3207 | 1227696.5245
12 | 2697500.8443 | 1227703.1289 | 2697518.5966 | 1227707.7064
13 | 2697732.8097 | 1227769.4827 | 2697721.7543 | 1227765.4686
14 | 2697659.5527 | 1227778.9422 | 2697645.2242 | 1227791.5761
15 | 2697659.5527 | 1227778.9422 | 2697689.1982 | 1227792.5204
16 | 2697706.1905 | 1227729.2614 | 2697698.9319 | 1227737.1812
17 | 2697732.8097 | 1227769.4827 | 2697742.5612 | 1227757.7243
18 | 2697732.8097 | 1227769.4827 | 2697752.6267 | 1227776.528
19 | 2697640.0988 | 1227797.3096 | 2697641.7874 | 1227794.6064 | 2697645.2242 | 1227791.5761
20 | 2697701.8573 | 1227798.3186 | 2697689.1982 | 1227792.5204
21 | 2697706.1905 | 1227729.2614 | 2697710.4265 | 1227724.6396
22 | 2697586.8817 | 1227762.9243 | 2697576.5875 | 1227781.0143
23 | 2697568.5563 | 1227795.1276 | 2697576.5875 | 1227781.0143
24 | 2697568.5563 | 1227795.1276 | 2697592.0411 | 1227808.2408
25 | 2697558.5914 | 1227791.3281 | 2697568.5563 | 1227795.1276
26 | 2697618.7404 | 1227823.1488 | 2697592.0411 | 1227808.2408
27 | 2697558.5914 | 1227791.3281 | 2697560.2523 | 1227783.8722 | 2697551.4637 | 1227774.4324 | 2697552.9463 | 1227766.7622
28 | 2697620.7555 | 1227821.3584 | 2697618.7404 | 1227823.1488
29 | 2697552.9463 | 1227766.7622 | 2697542.7897 | 1227764.3772
30 | 2697542.7897 | 1227764.3772 | 2697530.7092 | 1227761.5403
31 | 2697524.8135 | 1227760.1558 | 2697530.7092 | 1227761.5403
32 | 2697502.8969 | 1227732.152 | 2697503.422 | 1227734.049 | 2697502.918 | 1227749.5297 | 2697504.9424 | 1227755.4894 | 2697524.8135 | 1227760.1558
33 | 2697500.8443 | 1227703.1289 | 2697498.3703 | 1227715.7975 | 2697502.8969 | 1227732.152
34 | 2697620.7555 | 1227821.3584 | 2697632.19 | 1227809.9711 | 2697640.0988 | 1227797.3096
35 | 2697422.8104 | 1227679.8449 | 2697497.8761 | 1227701.568 | 2697500.8443 | 1227703.1289
36 | 2697422.8104 | 1227679.8449 | 2697399.1478 | 1227673.0019
37 | 2697422.8104 | 1227679.8449 | 2697432.623 | 1227645.8191
38 | 2697493.5998 | 1227615.3649 | 2697484.2263 | 1227612.7802 | 2697443.9938 | 1227621.1605 | 2697438.5127 | 1227625.3961 | 2697432.623 | 1227645.8191
39 | 2697328.6532 | 1227666.8278 | 2697348.1285 | 1227661.4981 | 2697368.9 | 1227662.1719 | 2697396.1136 | 1227672.1245 | 2697399.1478 | 1227673.0019
40 | 2697328.6532 | 1227666.8278 | 2697327.1424 | 1227659.5757 | 2697305.8709 | 1227618.1311
41 | 2697305.8709 | 1227618.1311 | 2697345.8939 | 1227607.6408
42 | 2697363.8064 | 1227602.9458 | 2697345.8939 | 1227607.6408
43 | 2697327.295 | 1227578.4863 | 2697355.9868 | 1227575.9539 | 2697363.8064 | 1227602.9458
44 | 2697701.8573 | 1227798.3186 | 2697714.6798 | 1227804.1915
45 | 2697711.8993 | 1227723.0326 | 2697722.1841 | 1227711.8109 | 2697725.2042 | 1227707.3022
46 | 2697711.8993 | 1227723.0326 | 2697710.4265 | 1227724.6396
47 | 2697729.8586 | 1227695.414 | 2697727.864 | 1227703.3314 | 2697725.2042 | 1227707.3022
48 | 2697729.8586 | 1227695.414 | 2697729.3937 | 1227685.8884 | 2697728.7026 | 1227682.7392
49 | 2697729.8586 | 1227695.414 | 2697739.1927 | 1227695.1783 | 2697739.1927 | 1227695.1783
50 | 2697728.3356 | 1227681.0668 | 2697728.7026 | 1227682.7392
51 | 2697761.0459 | 1227710.4774 | 2697745.8124 | 1227698.2226 | 2697739.1927 | 1227695.1783
52 | 2697728.3356 | 1227681.0668 | 2697727.9533 | 1227679.3247
53 | 2697764.7316 | 1227713.4424 | 2697761.0459 | 1227710.4774
54 | 2697727.9533 | 1227679.3247 | 2697726.2418 | 1227671.5262 | 2697721.7353 | 1227656.5747 | 2697719.505 | 1227652.3843
55 | 2697764.7316 | 1227713.4424 | 2697778.9105 | 1227724.8489
56 | 2697713.986 | 1227642.0147 | 2697719.505 | 1227652.3843
57 | 2697713.986 | 1227642.0147 | 2697704.5326 | 1227630.1398 | 2697695.4635 | 1227621.9555
58 | 2697622.3611 | 1227504.3112 | 2697620.7169 | 1227535.2065 | 2697624.0905 | 1227555.9324 | 2697627.7335 | 1227565.3323 | 2697635.4972 | 1227576.2676 | 2697642.4692 | 1227582.7978
59 | 2697642.4692 | 1227582.7978 | 2697696.9994 | 1227533.9891
60 | 2697642.4692 | 1227582.7978 | 2697634.443 | 1227624.481
61 | 2697622.3611 | 1227504.3112 | 2697598.4307 | 1227497.9473 | 2697584.8515 | 1227499.8595
62 | 2697734.7182 | 1227497.5397 | 2697696.9994 | 1227533.9891
63 | 2697623.2885 | 1227659.617 | 2697633.8019 | 1227627.8103 | 2697634.443 | 1227624.481
64 | 2697724.3949 | 1227479.546 | 2697734.7182 | 1227497.5397
65 | 2697724.3949 | 1227479.546 | 2697730.6942 | 1227451.8406 | 2697743.4419 | 1227423.3294 | 2697756.8355 | 1227411.4458
66 | 2697782.7037 | 1227393.8866 | 2697762.4639 | 1227406.4519 | 2697756.8355 | 1227411.4458
67 | 2697782.7037 | 1227393.8866 | 2697806.4801 | 1227405.0187 | 2697844.335 | 1227413.1915 | 2697854.2358 | 1227421.3858
68 | 2697854.2358 | 1227421.3858 | 2697857.4168 | 1227424.0185
69 | 2697778.9105 | 1227724.8489 | 2697781.8445 | 1227727.2092
70 | 2697781.8445 | 1227727.2092 | 2697877.6835 | 1227634.3221
71 | 2697749.0881 | 1227749.8541 | 2697742.5612 | 1227757.7243
72 | 2697623.2885 | 1227659.617 | 2697622.0459 | 1227663.3765 | 2697601.2033 | 1227685.0391 | 2697586.3295 | 1227694.0016 | 2697582.8412 | 1227695.2573
73 | 2697582.8412 | 1227695.2573 | 2697579.3207 | 1227696.5245
74 | 2697545.2325 | 1227528.7305 | 2697563.2808 | 1227515.25 | 2697577.569 | 1227500.885 | 2697584.8515 | 1227499.8595
75 | 2697935.8905 | 1227453.6603 | 2697900.4903 | 1227452.4769 | 2697887.1155 | 1227448.5985 | 2697857.4168 | 1227424.0185
76 | 2697521.8887 | 1227514.1826 | 2697536.4815 | 1227523.2768
77 | 2697521.8887 | 1227514.1826 | 2697458.1291 | 1227391.835
78 | 2697545.2325 | 1227528.7305 | 2697536.4815 | 1227523.2768
79 | 2697545.2325 | 1227528.7305 | 2697535.0517 | 1227536.9275

## bus_geodata
| x | y | coords
0 | 2697636.8722 | 1227734.6309
1 | 2697642.8276 | 1227736.4009
2 | 2697610.3404 | 1227728.5516
3 | 2697659.7386 | 1227742.1419
4 | 2697605.664 | 1227727.6102
5 | 2697673.9529 | 1227747.7551
6 | 2697685.178 | 1227752.188
7 | 2697560.6195 | 1227718.5421
8 | 2697571.141 | 1227700.7386
9 | 2697518.5966 | 1227707.7064
10 | 2697721.7543 | 1227765.4686
11 | 2697659.5527 | 1227778.9422
12 | 2697698.9319 | 1227737.1812
13 | 2697732.8097 | 1227769.4827
14 | 2697645.2242 | 1227791.5761
15 | 2697689.1982 | 1227792.5204
16 | 2697706.1905 | 1227729.2614
17 | 2697586.8817 | 1227762.9243
18 | 2697576.5875 | 1227781.0143
19 | 2697568.5563 | 1227795.1276
20 | 2697592.0411 | 1227808.2408
21 | 2697558.5914 | 1227791.3281
22 | 2697618.7404 | 1227823.1488
23 | 2697552.9463 | 1227766.7622
24 | 2697542.7897 | 1227764.3772
25 | 2697530.7092 | 1227761.5403
26 | 2697524.8135 | 1227760.1558
27 | 2697502.8969 | 1227732.152
28 | 2697620.7555 | 1227821.3584
29 | 2697500.8443 | 1227703.1289
30 | 2697422.8104 | 1227679.8449
31 | 2697432.623 | 1227645.8191
32 | 2697493.5998 | 1227615.3649
33 | 2697399.1478 | 1227673.0019
34 | 2697328.6532 | 1227666.8278
35 | 2697305.8709 | 1227618.1311
36 | 2697345.8939 | 1227607.6408
37 | 2697363.8064 | 1227602.9458
38 | 2697327.295 | 1227578.4863
39 | 2697701.8573 | 1227798.3186
40 | 2697714.6798 | 1227804.1915
41 | 2697640.0988 | 1227797.3096
42 | 2697711.8993 | 1227723.0326
43 | 2697725.2042 | 1227707.3022
44 | 2697710.4265 | 1227724.6396
45 | 2697729.8586 | 1227695.414
46 | 2697728.7026 | 1227682.7392
47 | 2697739.1927 | 1227695.1783
48 | 2697728.3356 | 1227681.0668
49 | 2697761.0459 | 1227710.4774
50 | 2697727.9533 | 1227679.3247
51 | 2697764.7316 | 1227713.4424
52 | 2697719.505 | 1227652.3843
53 | 2697713.986 | 1227642.0147
54 | 2697695.4635 | 1227621.9555
55 | 2697642.4692 | 1227582.7978
56 | 2697622.3611 | 1227504.3112
57 | 2697696.9994 | 1227533.9891
58 | 2697634.443 | 1227624.481
59 | 2697734.7182 | 1227497.5397
60 | 2697724.3949 | 1227479.546
61 | 2697756.8355 | 1227411.4458
62 | 2697782.7037 | 1227393.8866
63 | 2697854.2358 | 1227421.3858
64 | 2697778.9105 | 1227724.8489
65 | 2697781.8445 | 1227727.2092
66 | 2697877.6835 | 1227634.3221
67 | 2697742.5612 | 1227757.7243
68 | 2697752.6267 | 1227776.528
69 | 2697623.2885 | 1227659.617
70 | 2697582.8412 | 1227695.2573
71 | 2697579.3207 | 1227696.5245
72 | 2697584.8515 | 1227499.8595
73 | 2697749.0881 | 1227749.8541
74 | 2697857.4168 | 1227424.0185
75 | 2697935.8905 | 1227453.6603
76 | 2697521.8887 | 1227514.1826
77 | 2697536.4815 | 1227523.2768
78 | 2697458.1291 | 1227391.835
79 | 2697545.2325 | 1227528.7305
80 | 2697535.0517 | 1227536.9275
81 | 2697579.3207 | 1227696.5245

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97288 | -0.52292 | 0.0058138 | 0.0014571
1 | 0.97299 | -0.52064 | 0.0074925 | 0.0018778
2 | 0.97252 | -0.53001 | 0.0061431 | 0.0015396
3 | 0.97345 | -0.51161 | 0.01134 | 0.0028421
4 | 0.97248 | -0.53072 | 0.0079893 | 0.0020023
5 | 0.974 | -0.50072 | 0.0034359 | 0.00086111
6 | 0.97448 | -0.49136 | 0 | 0
7 | 0.99714 | -0.054069 | 0 | 0
8 | 0.99904 | -0.018177 | 0.050935 | 0.012765
9 | 0.99322 | -0.12856 | 0.057086 | 0.014307
10 | 0.9741 | -0.49889 | 0.0024146 | 0.00060516
11 | 0.97814 | -0.41954 | 0 | 0
12 | 0.97347 | -0.51134 | 0.0054693 | 0.0013707
13 | 0.97401 | -0.50064 | 0 | 0
14 | 0.98041 | -0.37522 | 0.0034171 | 0.0008564
15 | 0.97749 | -0.43233 | 0.0070205 | 0.0017595
16 | 0.97298 | -0.52081 | 0.0082959 | 0.0020792
17 | 0.98511 | -0.28429 | 0.0045797 | 0.0011478
18 | 0.9852 | -0.28258 | 0.0039933 | 0.0010008
19 | 0.98533 | -0.28008 | 0 | 0
20 | 0.98435 | -0.29889 | 0.021208 | 0.0053152
21 | 0.98573 | -0.27224 | 0 | 0
22 | 0.98339 | -0.31741 | 0 | 0
23 | 0.98682 | -0.25137 | 0.0046047 | 0.001154
24 | 0.98722 | -0.24349 | 0.010305 | 0.0025826
25 | 0.98774 | -0.23356 | 0.020387 | 0.0051096
26 | 0.98802 | -0.22816 | 0.016718 | 0.00419
27 | 0.99024 | -0.18561 | 0.010301 | 0.0025817
28 | 0.98331 | -0.31904 | 0 | 0
29 | 0.99181 | -0.15557 | 0 | 0
30 | 0.98378 | -0.31012 | 0 | 0
31 | 0.98196 | -0.34565 | 0.018121 | 0.0045416
32 | 0.97922 | -0.39935 | 0.037495 | 0.0093972
33 | 0.98262 | -0.33269 | 0.013511 | 0.0033862
34 | 0.98008 | -0.38205 | 0 | 0
35 | 0.97821 | -0.41866 | 0 | 0
36 | 0.97677 | -0.44681 | 0.0023625 | 0.00059211
37 | 0.97617 | -0.45864 | 0 | 0
38 | 0.97432 | -0.49502 | 0.034939 | 0.0087566
39 | 0.9773 | -0.43601 | 0.0078526 | 0.001968
40 | 0.97722 | -0.43771 | 0.0066355 | 0.001663
41 | 0.98136 | -0.35677 | 0.0034177 | 0.00085655
42 | 0.97268 | -0.52691 | 0.002972 | 0.00074486
43 | 0.972 | -0.5402 | 0.0033458 | 0.00083854
44 | 0.97275 | -0.52539 | 0.0017378 | 0.00043553
45 | 0.97162 | -0.54774 | 0 | 0
46 | 0.97144 | -0.55142 | 0.0022621 | 0.00056693
47 | 0.97148 | -0.5505 | 0.002262 | 0.00056691
48 | 0.97141 | -0.55184 | 0.0035763 | 0.0008963
49 | 0.97114 | -0.55731 | 0.004249 | 0.0010649
50 | 0.9714 | -0.55216 | 0.0014763 | 0.00036999
51 | 0.9711 | -0.55814 | 0.0025063 | 0.00062815
52 | 0.97118 | -0.55649 | 0.0032451 | 0.00081331
53 | 0.97112 | -0.55758 | 0 | 0
54 | 0.971 | -0.56012 | 0.0050229 | 0.0012588
55 | 0.99003 | -0.18993 | 0 | 0
56 | 0.98541 | -0.27892 | 0 | 0
57 | 0.9891 | -0.20785 | 0.0024028 | 0.00060219
58 | 0.99287 | -0.13545 | 0.0059037 | 0.0014796
59 | 0.98856 | -0.21846 | 0.001524 | 0.00038194
60 | 0.98837 | -0.2221 | 0 | 0
61 | 0.98767 | -0.2357 | 0.0010143 | 0.0002542
62 | 0.98742 | -0.24064 | 0 | 0
63 | 0.98679 | -0.2529 | 0.0013431 | 0.00033661
64 | 0.97098 | -0.56048 | 0.0036146 | 0.0009059
65 | 0.97097 | -0.56071 | 0.0029915 | 0.00074975
66 | 0.97092 | -0.56161 | 0.00036103 | 9.0482e-05
67 | 0.97393 | -0.50226 | 0.0023321 | 0.00058449
68 | 0.97396 | -0.50154 | 0.0023311 | 0.00058423
69 | 0.99554 | -0.084516 | 0.0039836 | 0.00099839
70 | 0.99973 | -0.0051313 | 0.075046 | 0.018808
71 | 1 | 0 | -0.60834 | -0.15527
72 | 0.98332 | -0.3195 | 0.0089966 | 0.0022547
73 | 0.97389 | -0.50291 | 0.0034493 | 0.00086447
74 | 0.98676 | -0.25345 | 0.0042309 | 0.0010604
75 | 0.9865 | -0.25853 | 0.0032283 | 0.00080909
76 | 0.97998 | -0.3846 | 0.010174 | 0.0025499
77 | 0.9806 | -0.37239 | 0.0033018 | 0.00082751
78 | 0.97627 | -0.45739 | 0.02896 | 0.007258
79 | 0.98101 | -0.36446 | 0 | 0
80 | 0.98092 | -0.36617 | 0.007188 | 0.0018015
81 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.019951 | -0.0050018 | 0.019953 | 0.0050031 | 2.1696e-06 | 1.3114e-06 | 0.030516 | 0.030516 | 0.030516 | 0.97288 | -0.52292 | 0.97299 | -0.52064 | 8.3835
1 | 0.014137 | 0.0035448 | -0.014133 | -0.003542 | 4.7769e-06 | 2.719e-06 | 0.021624 | 0.021624 | 0.021624 | 0.97288 | -0.52292 | 0.97252 | -0.53001 | 5.9406
2 | -0.027446 | -0.0068809 | 0.027458 | 0.0068883 | 1.181e-05 | 7.3365e-06 | 0.041974 | 0.041974 | 0.041974 | 0.97299 | -0.52064 | 0.97345 | -0.51161 | 11.5314
3 | 0.0079895 | 0.0020024 | -0.0079893 | -0.0020023 | 2.6732e-07 | 1.119e-07 | 0.012225 | 0.012225 | 0.012225 | 0.97252 | -0.53001 | 0.97248 | -0.53072 | 3.3584
4 | -0.038798 | -0.0097303 | 0.038818 | 0.009743 | 2.0158e-05 | 1.2711e-05 | 0.059308 | 0.059308 | 0.059308 | 0.97345 | -0.51161 | 0.974 | -0.50072 | 16.2935
5 | -0.042254 | -0.010604 | 0.042273 | 0.010616 | 1.8862e-05 | 1.1921e-05 | 0.064557 | 0.064557 | 0.064557 | 0.974 | -0.50072 | 0.97448 | -0.49136 | 17.7356
6 | 0.010532 | 0.0026404 | -0.010528 | -0.0026385 | 3.7744e-06 | 1.931e-06 | 0.016083 | 0.016083 | 0.016083 | 0.97448 | -0.49136 | 0.9741 | -0.49889 | 4.4184
7 | -0.10632 | -0.026716 | 0.10669 | 0.02695 | 0.00036588 | 0.0002337 | 0.16238 | 0.16238 | 0.16238 | 0.97448 | -0.49136 | 0.97814 | -0.41954 | 44.6099
8 | 0.053519 | 0.01346 | -0.053468 | -0.013427 | 5.1003e-05 | 3.2388e-05 | 0.08174 | 0.08174 | 0.08174 | 0.97448 | -0.49136 | 0.97347 | -0.51134 | 22.456
9 | -0.39598 | -0.10151 | 0.39667 | 0.10195 | 0.00069037 | 0.00044074 | 0.59172 | 0.59172 | 0.59172 | 0.99714 | -0.054069 | 0.99904 | -0.018177 | 40.6403
10 | 0.39598 | 0.10151 | -0.39456 | -0.1006 | 0.0014245 | 0.00090944 | 0.59172 | 0.59172 | 0.59172 | 0.99714 | -0.054069 | 0.99322 | -0.12856 | 40.6404
11 | -0.44761 | -0.11472 | 0.448 | 0.11497 | 0.00039476 | 0.00025215 | 0.66759 | 0.66759 | 0.66759 | 0.99904 | -0.018177 | 1 | 0 | 45.8507
12 | 0.33747 | 0.086292 | -0.33703 | -0.086011 | 0.0004404 | 0.00028091 | 0.5062 | 0.5062 | 0.5062 | 0.99322 | -0.12856 | 0.99181 | -0.15557 | 34.7665
13 | 0.0081138 | 0.0020333 | -0.0081131 | -0.002033 | 6.7757e-07 | 2.8724e-07 | 0.012394 | 0.012395 | 0.012395 | 0.9741 | -0.49889 | 0.97401 | -0.50064 | 3.4051
14 | -0.12821 | -0.03235 | 0.12849 | 0.032524 | 0.00027275 | 0.00017432 | 0.19513 | 0.19513 | 0.19513 | 0.97814 | -0.41954 | 0.98041 | -0.37522 | 53.6062
15 | 0.021525 | 0.0054002 | -0.021512 | -0.0053922 | 1.3113e-05 | 7.9831e-06 | 0.032747 | 0.032747 | 0.032747 | 0.97814 | -0.41954 | 0.97749 | -0.43233 | 8.9965
16 | 0.047999 | 0.012057 | -0.047977 | -0.012043 | 2.1692e-05 | 1.375e-05 | 0.07338 | 0.07338 | 0.07338 | 0.97347 | -0.51134 | 0.97298 | -0.52081 | 20.1592
17 | 0.005782 | 0.001449 | -0.0057815 | -0.0014489 | 4.4697e-07 | 9.5949e-08 | 0.0088332 | 0.0088333 | 0.0088333 | 0.97401 | -0.50064 | 0.97393 | -0.50226 | 2.4267
18 | 0.0023312 | 0.00058403 | -0.0023311 | -0.00058423 | 1.0003e-07 | -1.9774e-07 | 0.0035613 | 0.0035614 | 0.0035614 | 0.97401 | -0.50064 | 0.97396 | -0.50154 | 0.97841
19 | -0.1319 | -0.033381 | 0.13202 | 0.033456 | 0.0001169 | 7.472e-05 | 0.20031 | 0.20031 | 0.20031 | 0.98041 | -0.37522 | 0.98136 | -0.35677 | 55.031
20 | 0.014491 | 0.0036327 | -0.014489 | -0.0036312 | 2.541e-06 | 1.4517e-06 | 0.02206 | 0.02206 | 0.02206 | 0.97749 | -0.43233 | 0.9773 | -0.43601 | 6.0605
21 | 0.039681 | 0.0099638 | -0.039672 | -0.0099583 | 8.6601e-06 | 5.4646e-06 | 0.060692 | 0.060692 | 0.060692 | 0.97298 | -0.52081 | 0.97275 | -0.52539 | 16.6737
22 | -0.0045797 | -0.0011478 | 0.0045801 | 0.0011478 | 3.7351e-07 | -2.5967e-08 | 0.0069177 | 0.0069176 | 0.0069177 | 0.98511 | -0.28429 | 0.9852 | -0.28258 | 1.9005
23 | -0.0085734 | -0.0021486 | 0.0085744 | 0.002149 | 1.021e-06 | 4.4666e-07 | 0.012949 | 0.012949 | 0.012949 | 0.9852 | -0.28258 | 0.98533 | -0.28008 | 3.5574
24 | 0.15717 | 0.039956 | -0.15702 | -0.039867 | 0.0001423 | 8.9704e-05 | 0.23755 | 0.23755 | 0.23755 | 0.98533 | -0.28008 | 0.98435 | -0.29889 | 16.3155
25 | -0.16574 | -0.042105 | 0.1658 | 0.042145 | 6.2577e-05 | 3.9507e-05 | 0.2505 | 0.2505 | 0.2505 | 0.98533 | -0.28008 | 0.98573 | -0.27224 | 17.2048
26 | 0.13582 | 0.034551 | -0.1357 | -0.034475 | 0.00012106 | 7.5925e-05 | 0.20549 | 0.20549 | 0.20549 | 0.98435 | -0.29889 | 0.98339 | -0.31741 | 14.1136
27 | -0.1658 | -0.042145 | 0.16597 | 0.04225 | 0.00016677 | 0.00010529 | 0.2505 | 0.2505 | 0.2505 | 0.98573 | -0.27224 | 0.98682 | -0.25137 | 17.2048
28 | 0.1357 | 0.034475 | -0.13568 | -0.034469 | 1.0657e-05 | 6.6841e-06 | 0.20549 | 0.20549 | 0.20549 | 0.98339 | -0.31741 | 0.98331 | -0.31904 | 14.1136
29 | -0.17058 | -0.043404 | 0.17064 | 0.043445 | 6.4825e-05 | 4.0954e-05 | 0.25744 | 0.25744 | 0.25744 | 0.98682 | -0.25137 | 0.98722 | -0.24349 | 17.6816
30 | -0.18094 | -0.046028 | 0.18103 | 0.046083 | 8.6689e-05 | 5.4846e-05 | 0.27298 | 0.27298 | 0.27298 | 0.98722 | -0.24349 | 0.98774 | -0.23356 | 18.7483
31 | -0.20142 | -0.051192 | 0.20147 | 0.051225 | 5.2362e-05 | 3.3202e-05 | 0.30369 | 0.30369 | 0.30369 | 0.98774 | -0.23356 | 0.98802 | -0.22816 | 20.8577
32 | -0.21819 | -0.055415 | 0.21864 | 0.0557 | 0.00044778 | 0.00028431 | 0.32887 | 0.32887 | 0.32887 | 0.98802 | -0.22816 | 0.99024 | -0.18561 | 22.587
33 | -0.22894 | -0.058281 | 0.22927 | 0.058492 | 0.00033212 | 0.00021102 | 0.34435 | 0.34434 | 0.34435 | 0.99024 | -0.18561 | 0.99181 | -0.15557 | 23.6501
34 | 0.13568 | 0.034469 | -0.13544 | -0.034312 | 0.00024597 | 0.00015664 | 0.20549 | 0.20549 | 0.20549 | 0.98331 | -0.31904 | 0.98136 | -0.35677 | 28.2273
35 | 0.10776 | 0.027519 | -0.10696 | -0.027009 | 0.00079848 | 0.00050999 | 0.16186 | 0.16186 | 0.16186 | 0.99181 | -0.15557 | 0.98378 | -0.31012 | 44.4659
36 | 0.051154 | 0.01295 | -0.051098 | -0.012914 | 5.5364e-05 | 3.512e-05 | 0.077419 | 0.077419 | 0.077419 | 0.98378 | -0.31012 | 0.98262 | -0.33269 | 21.2689
37 | 0.055807 | 0.01406 | -0.055713 | -0.013999 | 9.468e-05 | 6.0146e-05 | 0.084437 | 0.084438 | 0.084438 | 0.98378 | -0.31012 | 0.98196 | -0.34565 | 23.1971
38 | 0.037592 | 0.0094578 | -0.037495 | -0.0093972 | 9.6178e-05 | 6.0557e-05 | 0.056978 | 0.056978 | 0.056978 | 0.98196 | -0.34565 | 0.97922 | -0.39935 | 15.6533
39 | 0.037587 | 0.0095283 | -0.037498 | -0.0094723 | 8.8945e-05 | 5.6001e-05 | 0.056959 | 0.056959 | 0.056959 | 0.98262 | -0.33269 | 0.98008 | -0.38205 | 15.6481
40 | 0.037498 | 0.0094723 | -0.037433 | -0.009431 | 6.5659e-05 | 4.1343e-05 | 0.056959 | 0.056959 | 0.056959 | 0.98008 | -0.38205 | 0.97821 | -0.41866 | 15.6481
41 | 0.037433 | 0.009431 | -0.037382 | -0.0093993 | 5.0338e-05 | 3.1698e-05 | 0.056959 | 0.056959 | 0.056959 | 0.97821 | -0.41866 | 0.97677 | -0.44681 | 15.6482
42 | 0.03502 | 0.0088072 | -0.035 | -0.0087948 | 1.9772e-05 | 1.2422e-05 | 0.05336 | 0.05336 | 0.05336 | 0.97677 | -0.44681 | 0.97617 | -0.45864 | 14.6594
43 | 0.035 | 0.0087948 | -0.034939 | -0.0087566 | 6.0669e-05 | 3.8119e-05 | 0.05336 | 0.053361 | 0.053361 | 0.97617 | -0.45864 | 0.97432 | -0.49502 | 14.6595
44 | 0.0066361 | 0.0016632 | -0.0066355 | -0.001663 | 5.3993e-07 | 1.6885e-07 | 0.010104 | 0.010104 | 0.010104 | 0.9773 | -0.43601 | 0.97722 | -0.43771 | 2.7758
45 | 0.03496 | 0.0087762 | -0.034938 | -0.0087623 | 2.2153e-05 | 1.3922e-05 | 0.053487 | 0.053488 | 0.053488 | 0.97268 | -0.52691 | 0.972 | -0.5402 | 14.6944
46 | -0.037932 | -0.0095211 | 0.037935 | 0.0095228 | 2.7531e-06 | 1.7349e-06 | 0.058034 | 0.058034 | 0.058034 | 0.97268 | -0.52691 | 0.97275 | -0.52539 | 15.9434
47 | 0.031592 | 0.0079237 | -0.031581 | -0.0079166 | 1.1355e-05 | 7.1066e-06 | 0.048366 | 0.048366 | 0.048366 | 0.972 | -0.5402 | 0.97162 | -0.54774 | 13.2873
48 | 0.015588 | 0.003908 | -0.015586 | -0.0039064 | 2.7274e-06 | 1.5875e-06 | 0.023874 | 0.023874 | 0.023874 | 0.97162 | -0.54774 | 0.97144 | -0.55142 | 6.5587
49 | 0.015992 | 0.0040086 | -0.01599 | -0.0040074 | 2.1003e-06 | 1.2286e-06 | 0.024492 | 0.024492 | 0.024492 | 0.97162 | -0.54774 | 0.97148 | -0.5505 | 6.7286
50 | 0.013324 | 0.0033395 | -0.013323 | -0.0033393 | 2.6743e-07 | 1.4996e-07 | 0.020409 | 0.020409 | 0.020409 | 0.97144 | -0.55142 | 0.97141 | -0.55184 | 5.6068
51 | 0.013728 | 0.0034405 | -0.013724 | -0.003438 | 4.4498e-06 | 2.5157e-06 | 0.021027 | 0.021027 | 0.021027 | 0.97148 | -0.5505 | 0.97114 | -0.55731 | 5.7768
52 | 0.009747 | 0.002443 | -0.0097468 | -0.002443 | 1.4909e-07 | 7.334e-08 | 0.014931 | 0.014931 | 0.014931 | 0.97141 | -0.55184 | 0.9714 | -0.55216 | 4.1018
53 | 0.0094747 | 0.0023731 | -0.0094743 | -0.0023729 | 3.7382e-07 | 1.8072e-07 | 0.014517 | 0.014517 | 0.014517 | 0.97114 | -0.55731 | 0.9711 | -0.55814 | 3.9882
54 | 0.0082706 | 0.002073 | -0.0082689 | -0.0020722 | 1.7062e-06 | 7.4114e-07 | 0.012669 | 0.012669 | 0.012669 | 0.9714 | -0.55216 | 0.97118 | -0.55649 | 3.4806
55 | 0.006968 | 0.0017447 | -0.0069672 | -0.0017445 | 7.7786e-07 | 2.7272e-07 | 0.010676 | 0.010677 | 0.010677 | 0.9711 | -0.55814 | 0.97098 | -0.56048 | 2.9331
56 | 0.0050237 | 0.0012589 | -0.0050235 | -0.0012589 | 2.6099e-07 | 2.1684e-08 | 0.0076972 | 0.0076972 | 0.0076972 | 0.97118 | -0.55649 | 0.97112 | -0.55758 | 2.1146
57 | 0.0050235 | 0.0012589 | -0.0050229 | -0.0012588 | 6.0865e-07 | 5.0641e-08 | 0.0076972 | 0.0076973 | 0.0076973 | 0.97112 | -0.55758 | 0.971 | -0.56012 | 2.1147
58 | 0.059236 | 0.015081 | -0.058983 | -0.01492 | 0.00025302 | 0.00016084 | 0.089116 | 0.089116 | 0.089116 | 0.99003 | -0.18993 | 0.98541 | -0.27892 | 24.4824
59 | 0.013777 | 0.0034606 | -0.013765 | -0.003454 | 1.1771e-05 | 6.5931e-06 | 0.02071 | 0.02071 | 0.02071 | 0.99003 | -0.18993 | 0.9891 | -0.20785 | 5.6896
60 | -0.073013 | -0.018542 | 0.073205 | 0.018664 | 0.000192 | 0.00012233 | 0.10983 | 0.10983 | 0.10983 | 0.99003 | -0.18993 | 0.99287 | -0.13545 | 30.1718
61 | 0.058983 | 0.01492 | -0.058868 | -0.014847 | 0.00011458 | 7.2845e-05 | 0.089116 | 0.089116 | 0.089116 | 0.98541 | -0.27892 | 0.98332 | -0.3195 | 24.4825
62 | 0.011363 | 0.0028518 | -0.011357 | -0.0028488 | 5.7486e-06 | 3.0062e-06 | 0.017095 | 0.017096 | 0.017096 | 0.9891 | -0.20785 | 0.98856 | -0.21846 | 4.6966
63 | -0.079108 | -0.020143 | 0.079303 | 0.020268 | 0.00019482 | 0.00012421 | 0.11867 | 0.11867 | 0.11867 | 0.99287 | -0.13545 | 0.99554 | -0.084516 | 32.6025
64 | 0.0098328 | 0.0024668 | -0.0098311 | -0.002466 | 1.7044e-06 | 8.2488e-07 | 0.014802 | 0.014802 | 0.014802 | 0.98856 | -0.21846 | 0.98837 | -0.2221 | 4.0664
65 | 0.0098311 | 0.002466 | -0.0098247 | -0.0024629 | 6.3716e-06 | 3.0846e-06 | 0.014802 | 0.014802 | 0.014802 | 0.98837 | -0.2221 | 0.98767 | -0.2357 | 4.0665
66 | 0.0088105 | 0.0022087 | -0.0088084 | -0.0022078 | 2.0713e-06 | 9.2456e-07 | 0.013274 | 0.013274 | 0.013274 | 0.98767 | -0.2357 | 0.98742 | -0.24064 | 3.6467
67 | 0.0088084 | 0.0022078 | -0.0088032 | -0.0022055 | 5.143e-06 | 2.2966e-06 | 0.013274 | 0.013274 | 0.013274 | 0.98742 | -0.24064 | 0.98679 | -0.2529 | 3.6468
68 | 0.0074601 | 0.0018689 | -0.0074599 | -0.0018688 | 1.9594e-07 | 7.2655e-08 | 0.011249 | 0.011249 | 0.011249 | 0.98679 | -0.2529 | 0.98676 | -0.25345 | 3.0904
69 | 0.0033526 | 0.00083857 | -0.0033526 | -0.00083859 | 3.7267e-08 | -2.2724e-08 | 0.0051373 | 0.0051373 | 0.0051373 | 0.97098 | -0.56048 | 0.97097 | -0.56071 | 1.4113
70 | 0.00036104 | 8.8841e-05 | -0.00036103 | -9.0482e-05 | 1.5306e-08 | -1.6409e-06 | 0.00055271 | 0.0005533 | 0.0005533 | 0.97097 | -0.56071 | 0.97092 | -0.56161 | 0.15201
71 | 0.0034494 | 0.00086441 | -0.0034493 | -0.00086447 | 1.0649e-07 | -5.9076e-08 | 0.0052701 | 0.0052701 | 0.0052701 | 0.97393 | -0.50226 | 0.97389 | -0.50291 | 1.4478
72 | -0.083287 | -0.021266 | 0.083608 | 0.021471 | 0.00032089 | 0.00020465 | 0.12463 | 0.12463 | 0.12463 | 0.99554 | -0.084516 | 0.99973 | -0.0051313 | 34.2382
73 | -0.15865 | -0.040279 | 0.15869 | 0.040304 | 3.9181e-05 | 2.4978e-05 | 0.23633 | 0.23633 | 0.23633 | 0.99973 | -0.0051313 | 1 | 0 | 32.4623
74 | 0.049872 | 0.012593 | -0.049764 | -0.012525 | 0.00010719 | 6.7967e-05 | 0.075502 | 0.075502 | 0.075502 | 0.98332 | -0.3195 | 0.98101 | -0.36446 | 20.7424
75 | 0.0032291 | 0.00080846 | -0.0032283 | -0.00080909 | 7.8152e-07 | -6.2234e-07 | 0.0048691 | 0.0048695 | 0.0048695 | 0.98676 | -0.25345 | 0.9865 | -0.25853 | 1.3378
76 | -0.039235 | -0.0098707 | 0.039258 | 0.0098852 | 2.2895e-05 | 1.4436e-05 | 0.059588 | 0.059588 | 0.059588 | 0.97998 | -0.3846 | 0.9806 | -0.37239 | 16.3704
77 | 0.029061 | 0.0073208 | -0.02896 | -0.007258 | 0.0001008 | 6.2781e-05 | 0.04414 | 0.04414 | 0.04414 | 0.97998 | -0.3846 | 0.97627 | -0.45739 | 12.1265
78 | -0.04256 | -0.010713 | 0.042576 | 0.010723 | 1.6136e-05 | 1.0197e-05 | 0.064599 | 0.064599 | 0.064599 | 0.9806 | -0.37239 | 0.98101 | -0.36446 | 17.7469
79 | 0.0071886 | 0.0018017 | -0.007188 | -0.0018015 | 5.8275e-07 | 2.0795e-07 | 0.010904 | 0.010904 | 0.010904 | 0.98101 | -0.36446 | 0.98092 | -0.36617 | 2.9956

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.62006 | 0.15821

## res_load
| p_mw | q_mvar
0 | 0.0058138 | 0.0014571
1 | 0.0074925 | 0.0018778
2 | 0.0061431 | 0.0015396
3 | 0.01134 | 0.0028421
4 | 0.0079893 | 0.0020023
5 | 0.0034359 | 0.00086111
6 | 0.050935 | 0.012765
7 | 0.057086 | 0.014307
8 | 0.0024146 | 0.00060516
9 | 0.0054693 | 0.0013707
10 | 0.0034171 | 0.0008564
11 | 0.0070205 | 0.0017595
12 | 0.0082959 | 0.0020792
13 | 0.0045797 | 0.0011478
14 | 0.0039933 | 0.0010008
15 | 0.021208 | 0.0053152
16 | 0.0046047 | 0.001154
17 | 0.010305 | 0.0025826
18 | 0.020387 | 0.0051096
19 | 0.016718 | 0.00419
20 | 0.010301 | 0.0025817
21 | 0.018121 | 0.0045416
22 | 0.037495 | 0.0093972
23 | 0.013511 | 0.0033862
24 | 0.0023625 | 0.00059211
25 | 0.034939 | 0.0087566
26 | 0.0078526 | 0.001968
27 | 0.0066355 | 0.001663
28 | 0.0034177 | 0.00085655
29 | 0.002972 | 0.00074486
30 | 0.0033458 | 0.00083854
31 | 0.0017378 | 0.00043553
32 | 0.0022621 | 0.00056693
33 | 0.002262 | 0.00056691
34 | 0.0035763 | 0.0008963
35 | 0.004249 | 0.0010649
36 | 0.0014763 | 0.00036999
37 | 0.0025063 | 0.00062815
38 | 0.0032451 | 0.00081331
39 | 0.0050229 | 0.0012588
40 | 0.0024028 | 0.00060219
41 | 0.0059037 | 0.0014796
42 | 0.001524 | 0.00038194
43 | 0.0010143 | 0.0002542
44 | 0.0013431 | 0.00033661
45 | 0.0036146 | 0.0009059
46 | 0.0029915 | 0.00074975
47 | 0.00036103 | 9.0482e-05
48 | 0.0023321 | 0.00058449
49 | 0.0023311 | 0.00058423
50 | 0.0039836 | 0.00099839
51 | 0.075046 | 0.018808
52 | 0.011718 | 0.0029367
53 | 0.0089966 | 0.0022547
54 | 0.0034493 | 0.00086447
55 | 0.0042309 | 0.0010604
56 | 0.0032283 | 0.00080909
57 | 0.010174 | 0.0025499
58 | 0.0033018 | 0.00082751
59 | 0.02896 | 0.007258
60 | 0.007188 | 0.0018015

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1