## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1322-41_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1322-41_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1322-41_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1322-41_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1322-41_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1322-41_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1322-41_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1322-41_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1322-41_0_4_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_1322-41_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1322-41_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1322-41_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1322-41_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1322-41_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1322-41_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1322-41_0_4_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_1322-41_0_4_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_1322-41_0_4_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_1322-41_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1322-41_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1322-41_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1322-41_0_4_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_1322-41_0_4_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_1322-41_0_4_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_1322-41_0_4_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_1322-41_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1322-41_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1322-41_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1322-41_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1322-41_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1322-41_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1322-41_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1322-41_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1322-41_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1322-41_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1322-41_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1322-41_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1322-41_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1322-41_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_1322-41_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1322-41_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1322-41_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1322-41_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1322-41_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1322-41_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_1322-41_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1322-41_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_1322-41_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1322-41_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_1322-41_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1322-41_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_MV_15_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1322-41_0_4_load_0 | 0 | 0.0089389 | 0.0022403 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1322-41_0_4_load_4 | 3 | 0.0083747 | 0.0020989 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1322-41_0_4_load_5 | 4 | 0.009022 | 0.0022611 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1322-41_0_4_load_6 | 5 | 0.012475 | 0.0031265 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1322-41_0_4_load_7 | 6 | 0.0059817 | 0.0014992 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1322-41_0_4_load_8 | 7 | 0.037063 | 0.0092888 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1322-41_0_4_load_3 | 8 | 0.0079901 | 0.0020025 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1322-41_0_4_load_9 | 9 | 0.016112 | 0.004038 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1322-41_0_4_load_11 | 11 | 0.0094869 | 0.0023776 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1322-41_0_4_load_12 | 12 | 0.0079884 | 0.0020021 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1322-41_0_4_load_14 | 13 | 0.0035034 | 0.00087804 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1322-41_0_4_load_47 | 15 | 0.013397 | 0.0033577 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1322-41_0_4_load_13 | 18 | 0.0028967 | 0.00072599 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1322-41_0_4_load_16 | 20 | 0.0029157 | 0.00073076 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1322-41_0_4_load_48 | 21 | 0.0087903 | 0.0022031 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1322-41_0_4_load_45 | 22 | 0.0084142 | 0.0021088 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1322-41_0_4_load_38 | 23 | 0.0085112 | 0.0021331 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1322-41_0_4_load_36 | 24 | 0.012637 | 0.0031671 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1322-41_0_4_load_15 | 25 | 0.0057002 | 0.0014286 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1322-41_0_4_load_17 | 26 | 0.017714 | 0.0044396 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1322-41_0_4_load_19 | 27 | 0.0054073 | 0.0013552 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1322-41_0_4_load_21 | 28 | 0.0034429 | 0.00086287 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1322-41_0_4_load_22 | 29 | 0.013005 | 0.0032594 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1322-41_0_4_load_27 | 31 | 0.006132 | 0.0015368 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1322-41_0_4_load_23 | 32 | 0.013011 | 0.003261 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1322-41_0_4_load_24 | 33 | 0.0049498 | 0.0012405 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1322-41_0_4_load_26 | 34 | 0.0054597 | 0.0013683 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1322-41_0_4_load_28 | 35 | 0.0022257 | 0.0005578 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1322-41_0_4_load_29 | 36 | 0.026754 | 0.0067053 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1322-41_0_4_load_30 | 37 | 0.0013127 | 0.000329 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1322-41_0_4_load_31 | 38 | 0.0018054 | 0.00045247 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1322-41_0_4_load_32 | 39 | 0.0014514 | 0.00036377 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1322-41_0_4_load_34 | 40 | 0.0014155 | 0.00035476 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1322-41_0_4_load_33 | 41 | 0.0013643 | 0.00034193 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1322-41_0_4_load_35 | 42 | 0.0035286 | 0.00088435 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1322-41_0_4_load_39 | 43 | 0.0073263 | 0.0018361 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1322-41_0_4_load_40 | 44 | 0.0016217 | 0.00040644 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1322-41_0_4_load_41 | 45 | 0.011546 | 0.0028937 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1322-41_0_4_load_42 | 46 | 0.0014841 | 0.00037195 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1322-41_0_4_load_44 | 48 | 0.032813 | 0.0082238 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1322-41_0_4_load_49 | 49 | 0.0031893 | 0.00079932 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1322-41_0_4_load_50 | 50 | 0.013931 | 0.0034914 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1322-41_0_4_line_0 |  | 0 | 1 | 0.048628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1322-41_0_4_line_1 |  | 0 | 2 | 0.038294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1322-41_0_4_line_2 |  | 1 | 3 | 0.018395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1322-41_0_4_line_3 |  | 1 | 4 | 0.011685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1322-41_0_4_line_4 |  | 2 | 5 | 0.018585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1322-41_0_4_line_5 |  | 2 | 6 | 0.003401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1322-41_0_4_line_6 |  | 2 | 7 | 0.033211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1322-41_0_4_line_7 |  | 3 | 10 | 0.0048512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1322-41_0_4_line_8 |  | 4 | 11 | 0.0085553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1322-41_0_4_line_9 |  | 6 | 12 | 0.017419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1322-41_0_4_line_10 |  | 7 | 13 | 0.011975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1322-41_0_4_line_11 |  | 8 | 9 | 0.029959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1322-41_0_4_line_12 |  | 9 | 14 | 0.01617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1322-41_0_4_line_13 |  | 10 | 15 | 0.038458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1322-41_0_4_line_14 |  | 10 | 16 | 0.010585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1322-41_0_4_line_15 |  | 11 | 17 | 0.013976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1322-41_0_4_line_16 |  | 13 | 18 | 0.016643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1322-41_0_4_line_17 |  | 14 | 19 | 0.017052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1322-41_0_4_line_18 |  | 14 | 20 | 0.02448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1322-41_0_4_line_19 |  | 15 | 21 | 0.019987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1322-41_0_4_line_20 |  | 16 | 22 | 0.019805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1322-41_0_4_line_21 |  | 17 | 23 | 0.027647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1322-41_0_4_line_22 |  | 17 | 24 | 0.011059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1322-41_0_4_line_23 |  | 19 | 29 | 0.030154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1322-41_0_4_line_24 |  | 20 | 25 | 6.3802e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1322-41_0_4_line_25 |  | 21 | 49 | 0.022781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1322-41_0_4_line_26 |  | 22 | 48 | 0.017812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1322-41_0_4_line_27 |  | 23 | 36 | 0.030615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1322-41_0_4_line_28 |  | 24 | 42 | 0.012997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1322-41_0_4_line_29 |  | 25 | 26 | 0.010615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1322-41_0_4_line_30 |  | 26 | 27 | 0.011897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1322-41_0_4_line_31 |  | 27 | 28 | 0.022226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1322-41_0_4_line_32 |  | 29 | 30 | 0.0055641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1322-41_0_4_line_33 |  | 30 | 31 | 0.015725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1322-41_0_4_line_34 |  | 30 | 32 | 0.018742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1322-41_0_4_line_35 |  | 31 | 36 | 0.0050567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1322-41_0_4_line_36 |  | 33 | 34 | 0.008018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1322-41_0_4_line_37 |  | 34 | 35 | 0.0071797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1322-41_0_4_line_38 |  | 35 | 37 | 0.008019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1322-41_0_4_line_39 |  | 37 | 38 | 0.0020568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1322-41_0_4_line_40 |  | 38 | 39 | 0.01525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1322-41_0_4_line_41 |  | 39 | 40 | 0.0032255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1322-41_0_4_line_42 |  | 40 | 41 | 0.020213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1322-41_0_4_line_43 |  | 41 | 42 | 0.037305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1322-41_0_4_line_44 |  | 43 | 44 | 0.053642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1322-41_0_4_line_45 |  | 43 | 45 | 0.011082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1322-41_0_4_line_46 |  | 44 | 46 | 0.029004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1322-41_0_4_line_47 |  | 45 | 47 | 0.017853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1322-41_0_4_line_48 |  | 47 | 48 | 0.0047171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1322-41_0_4_line_49 |  | 49 | 50 | 0.0034609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1322-41_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 51 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2698073.4015 | 1228907.5907 | 2698043.3542 | 1228945.8243
1 | 2698019.6922 | 1228975.9329 | 2698043.3542 | 1228945.8243
2 | 2698073.4015 | 1228907.5907 | 2698061.5021 | 1228893.5627
3 | 2698073.4015 | 1228907.5907 | 2698082.1493 | 1228899.8445
4 | 2698019.6922 | 1228975.9329 | 2698003.4068 | 1228967.7141 | 2698003.0681 | 1228967.6576
5 | 2698019.6922 | 1228975.9329 | 2698016.6559 | 1228974.4006
6 | 2698019.6922 | 1228975.9329 | 2698045.1984 | 1228997.2022
7 | 2698058.364 | 1228889.8632 | 2698061.5021 | 1228893.5627
8 | 2698082.1493 | 1228899.8445 | 2698088.5543 | 1228894.1728
9 | 2698000.8638 | 1228967.2899 | 2698003.4068 | 1228967.7141 | 2698016.6559 | 1228974.4006
10 | 2698045.1984 | 1228997.2022 | 2698047.1026 | 1228998.7901 | 2698047.4234 | 1229008.2801 | 2698047.4234 | 1229008.2801
11 | 2698118.0924 | 1228953.7259 | 2698112.1433 | 1228949.1153 | 2698102.5881 | 1228940.3736 | 2698096.3056 | 1228933.2718
12 | 2698131.2661 | 1228963.0965 | 2698120.7776 | 1228955.807 | 2698118.0924 | 1228953.7259
13 | 2698058.364 | 1228889.8632 | 2698076.8397 | 1228868.2188 | 2698082.3656 | 1228859.8834
14 | 2698058.364 | 1228889.8632 | 2698051.2261 | 1228882.0288
15 | 2698099.0174 | 1228884.9077 | 2698088.5543 | 1228894.1728
16 | 2698047.4234 | 1229008.2801 | 2698034.2256 | 1229018.42
17 | 2698146.3338 | 1228971.162 | 2698131.2661 | 1228963.0965
18 | 2698131.2661 | 1228963.0965 | 2698128.6413 | 1228973.8276 | 2698130.0047 | 1228982.1228 | 2698132.1642 | 1228986.6612
19 | 2698082.3656 | 1228859.8834 | 2698093.4094 | 1228843.2247
20 | 2698051.2261 | 1228882.0288 | 2698039.5702 | 1228869.2385 | 2698037.9169 | 1228867.363
21 | 2698099.0174 | 1228884.9077 | 2698119.5337 | 1228903.4398
22 | 2698099.0174 | 1228884.9077 | 2698106.4751 | 1228876.7412
23 | 2698146.3338 | 1228971.162 | 2698156.2528 | 1228942.6859
24 | 2698132.1916 | 1228986.7188 | 2698132.1642 | 1228986.6612
25 | 2698093.4094 | 1228843.2247 | 2698105.9971 | 1228824.2372
26 | 2698026.1384 | 1228854.0017 | 2698037.9169 | 1228867.363
27 | 2698119.5337 | 1228903.4398 | 2698129.9884 | 1228912.8833 | 2698142.4335 | 1228923.7573
28 | 2698106.4751 | 1228876.7412 | 2698115.2396 | 1228867.1437
29 | 2698136.7525 | 1228996.3042 | 2698132.1916 | 1228986.7188
30 | 2698136.7525 | 1228996.3042 | 2698141.8641 | 1229007.0469
31 | 2698151.4137 | 1229027.1166 | 2698141.8641 | 1229007.0469
32 | 2698158.0831 | 1228937.4314 | 2698156.2528 | 1228942.6859
33 | 2698158.0831 | 1228937.4314 | 2698146.2413 | 1228927.0845
34 | 2698158.0831 | 1228937.4314 | 2698166.1165 | 1228920.4981
35 | 2698146.2413 | 1228927.0845 | 2698142.4335 | 1228923.7573
36 | 2698183.9154 | 1228882.9803 | 2698187.3521 | 1228875.7362
37 | 2698184.8757 | 1228868.9971 | 2698187.3521 | 1228875.7362 | 2698187.3521 | 1228875.7362
38 | 2698184.8757 | 1228868.9971 | 2698183.3563 | 1228864.8624 | 2698180.1118 | 1228863.2707
39 | 2698180.1118 | 1228863.2707 | 2698178.2653 | 1228862.3648
40 | 2698164.5743 | 1228855.648 | 2698178.2653 | 1228862.3648
41 | 2698164.5743 | 1228855.648 | 2698161.6786 | 1228854.2273
42 | 2698143.5314 | 1228845.3243 | 2698161.6786 | 1228854.2273
43 | 2698143.5314 | 1228845.3243 | 2698143.5314 | 1228845.3243 | 2698133.5988 | 1228847.0395 | 2698115.2396 | 1228867.1437
44 | 2698040.2856 | 1228827.244 | 2698050.0891 | 1228814.0607 | 2698067.2703 | 1228781.0511
45 | 2698040.2856 | 1228827.244 | 2698033.6726 | 1228836.1369
46 | 2698067.2703 | 1228781.0511 | 2698071.2114 | 1228773.4794 | 2698074.6985 | 1228764.6749 | 2698076.5889 | 1228760.7921 | 2698078.5261 | 1228754.3992
47 | 2698023.0191 | 1228850.4632 | 2698033.6726 | 1228836.1369
48 | 2698023.0191 | 1228850.4632 | 2698026.1384 | 1228854.0017
49 | 2698107.9094 | 1228821.3526 | 2698105.9971 | 1228824.2372

## bus_geodata
| x | y | coords
0 | 2698043.3542 | 1228945.8243
1 | 2698073.4015 | 1228907.5907
2 | 2698019.6922 | 1228975.9329
3 | 2698061.5021 | 1228893.5627
4 | 2698082.1493 | 1228899.8445
5 | 2698003.0681 | 1228967.6576
6 | 2698016.6559 | 1228974.4006
7 | 2698045.1984 | 1228997.2022
8 | 2698096.3056 | 1228933.2718
9 | 2698118.0924 | 1228953.7259
10 | 2698058.364 | 1228889.8632
11 | 2698088.5543 | 1228894.1728
12 | 2698000.8638 | 1228967.2899
13 | 2698047.4234 | 1229008.2801
14 | 2698131.2661 | 1228963.0965
15 | 2698082.3656 | 1228859.8834
16 | 2698051.2261 | 1228882.0288
17 | 2698099.0174 | 1228884.9077
18 | 2698034.2256 | 1229018.42
19 | 2698146.3338 | 1228971.162
20 | 2698132.1642 | 1228986.6612
21 | 2698093.4094 | 1228843.2247
22 | 2698037.9169 | 1228867.363
23 | 2698119.5337 | 1228903.4398
24 | 2698106.4751 | 1228876.7412
25 | 2698132.1916 | 1228986.7188
26 | 2698136.7525 | 1228996.3042
27 | 2698141.8641 | 1229007.0469
28 | 2698151.4137 | 1229027.1166
29 | 2698156.2528 | 1228942.6859
30 | 2698158.0831 | 1228937.4314
31 | 2698146.2413 | 1228927.0845
32 | 2698166.1165 | 1228920.4981
33 | 2698183.9154 | 1228882.9803
34 | 2698187.3521 | 1228875.7362
35 | 2698184.8757 | 1228868.9971
36 | 2698142.4335 | 1228923.7573
37 | 2698180.1118 | 1228863.2707
38 | 2698178.2653 | 1228862.3648
39 | 2698164.5743 | 1228855.648
40 | 2698161.6786 | 1228854.2273
41 | 2698143.5314 | 1228845.3243
42 | 2698115.2396 | 1228867.1437
43 | 2698040.2856 | 1228827.244
44 | 2698067.2703 | 1228781.0511
45 | 2698033.6726 | 1228836.1369
46 | 2698078.5261 | 1228754.3992
47 | 2698023.0191 | 1228850.4632
48 | 2698026.1384 | 1228854.0017
49 | 2698105.9971 | 1228824.2372
50 | 2698107.9094 | 1228821.3526
51 | 2698073.4015 | 1228907.5907

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99548 | -0.086544 | 0.0089389 | 0.0022403
1 | 0.99899 | -0.019341 | 0 | 0
2 | 0.99304 | -0.13375 | 0 | 0
3 | 0.99713 | -0.055035 | 0.0083747 | 0.0020989
4 | 1 | 0 | -0.36622 | -0.092329
5 | 0.99283 | -0.13784 | 0.012475 | 0.0031265
6 | 0.99299 | -0.13459 | 0.0059817 | 0.0014992
7 | 0.99172 | -0.15929 | 0.037063 | 0.0092888
8 | 0.98657 | -0.25847 | 0.0079901 | 0.0020025
9 | 0.98679 | -0.25419 | 0.016112 | 0.004038
10 | 0.99667 | -0.063757 | 0 | 0
11 | 0.99933 | -0.012858 | 0.0094869 | 0.0023776
12 | 0.99287 | -0.13705 | 0.0079884 | 0.0020021
13 | 0.99165 | -0.16065 | 0.0035034 | 0.00087804
14 | 0.98715 | -0.24721 | 0 | 0
15 | 0.9953 | -0.09032 | 0.013397 | 0.0033577
16 | 0.99606 | -0.075504 | 0 | 0
17 | 0.99828 | -0.032741 | 0 | 0
18 | 0.9916 | -0.16151 | 0.0028967 | 0.00072599
19 | 0.98808 | -0.22915 | 0 | 0
20 | 0.98636 | -0.26263 | 0.0029157 | 0.00073076
21 | 0.99482 | -0.099436 | 0.0087903 | 0.0022031
22 | 0.99492 | -0.097522 | 0.0084142 | 0.0021088
23 | 0.99507 | -0.094205 | 0.0085112 | 0.0021331
24 | 0.99792 | -0.039737 | 0.012637 | 0.0031671
25 | 0.98636 | -0.26267 | 0.0057002 | 0.0014286
26 | 0.9861 | -0.26772 | 0.017714 | 0.0044396
27 | 0.986 | -0.26961 | 0.0054073 | 0.0013552
28 | 0.98593 | -0.27098 | 0.0034429 | 0.00086287
29 | 0.98972 | -0.19728 | 0.013005 | 0.0032594
30 | 0.99009 | -0.19013 | 0 | 0
31 | 0.99133 | -0.16631 | 0.006132 | 0.0015368
32 | 0.98987 | -0.19447 | 0.013011 | 0.003261
33 | 0.99613 | -0.074241 | 0.0049498 | 0.0012405
34 | 0.99617 | -0.073544 | 0.0054597 | 0.0013683
35 | 0.99623 | -0.072231 | 0.0022257 | 0.0005578
36 | 0.99175 | -0.15811 | 0.026754 | 0.0067053
37 | 0.99633 | -0.070452 | 0.0013127 | 0.000329
38 | 0.99635 | -0.069948 | 0.0018054 | 0.00045247
39 | 0.99657 | -0.065731 | 0.0014514 | 0.00036377
40 | 0.99662 | -0.064757 | 0.0014155 | 0.00035476
41 | 0.99696 | -0.058154 | 0.0013643 | 0.00034193
42 | 0.99764 | -0.045088 | 0.0035286 | 0.00088435
43 | 0.99347 | -0.12552 | 0.0073263 | 0.0018361
44 | 0.99332 | -0.12846 | 0.0016217 | 0.00040644
45 | 0.99358 | -0.12348 | 0.011546 | 0.0028937
46 | 0.99328 | -0.12922 | 0.0014841 | 0.00037195
47 | 0.99394 | -0.11655 | 0 | 0
48 | 0.99403 | -0.11472 | 0.032813 | 0.0082238
49 | 0.99447 | -0.10631 | 0.0031893 | 0.00079932
50 | 0.99443 | -0.10716 | 0.013931 | 0.0034914
51 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.079062 | -0.019897 | 0.079317 | 0.020059 | 0.00025481 | 0.00016244 | 0.11821 | 0.11821 | 0.11821 | 0.99548 | -0.086544 | 0.99899 | -0.019341 | 32.4748
1 | 0.070123 | 0.017657 | -0.069965 | -0.017556 | 0.00015786 | 0.00010053 | 0.10485 | 0.10485 | 0.10485 | 0.99548 | -0.086544 | 0.99304 | -0.13375 | 28.8041
2 | 0.11135 | 0.028081 | -0.11116 | -0.027959 | 0.00018989 | 0.00012129 | 0.16591 | 0.16591 | 0.16591 | 0.99899 | -0.019341 | 0.99713 | -0.055035 | 45.5806
3 | -0.19066 | -0.04814 | 0.19084 | 0.048253 | 0.00017686 | 0.00011288 | 0.28412 | 0.28412 | 0.28412 | 0.99899 | -0.019341 | 1 | 0 | 39.0277
4 | 0.012477 | 0.0031278 | -0.012475 | -0.0031265 | 2.4363e-06 | 1.3189e-06 | 0.018697 | 0.018697 | 0.018697 | 0.99304 | -0.13375 | 0.99283 | -0.13784 | 5.1365
5 | 0.013972 | 0.0035019 | -0.013971 | -0.0035016 | 5.5901e-07 | 3.1377e-07 | 0.020936 | 0.020936 | 0.020936 | 0.99304 | -0.13375 | 0.99299 | -0.13459 | 5.7516
6 | 0.043516 | 0.010926 | -0.043463 | -0.010893 | 5.2965e-05 | 3.3469e-05 | 0.065214 | 0.065214 | 0.065214 | 0.99304 | -0.13375 | 0.99172 | -0.15929 | 17.916
7 | 0.10278 | 0.02586 | -0.10274 | -0.025833 | 4.2817e-05 | 2.734e-05 | 0.15342 | 0.15342 | 0.15342 | 0.99713 | -0.055035 | 0.99667 | -0.063757 | 42.1473
8 | 0.17373 | 0.044076 | -0.17362 | -0.044008 | 0.00010735 | 6.8482e-05 | 0.2587 | 0.2587 | 0.2587 | 1 | 0 | 0.99933 | -0.012858 | 35.5352
9 | 0.0079893 | 0.0020025 | -0.0079884 | -0.0020021 | 9.3626e-07 | 3.7391e-07 | 0.011972 | 0.011972 | 0.011972 | 0.99299 | -0.13459 | 0.99287 | -0.13705 | 3.2891
10 | 0.0064007 | 0.001604 | -0.0064003 | -0.0016039 | 4.1418e-07 | 1.1058e-07 | 0.0096038 | 0.0096039 | 0.0096039 | 0.99172 | -0.15929 | 0.99165 | -0.16065 | 2.6384
11 | -0.0079901 | -0.0020025 | 0.0079917 | 0.0020032 | 1.6316e-06 | 6.6158e-07 | 0.012051 | 0.012051 | 0.012051 | 0.98657 | -0.25847 | 0.98679 | -0.25419 | 3.3108
12 | -0.024104 | -0.0060412 | 0.024112 | 0.0060461 | 8.0107e-06 | 4.9202e-06 | 0.036347 | 0.036347 | 0.036347 | 0.98679 | -0.25419 | 0.98715 | -0.24721 | 9.9853
13 | 0.039375 | 0.0098934 | -0.039325 | -0.009862 | 4.9855e-05 | 3.1406e-05 | 0.058795 | 0.058795 | 0.058795 | 0.99667 | -0.063757 | 0.9953 | -0.09032 | 16.1526
14 | 0.063363 | 0.01594 | -0.063328 | -0.015917 | 3.5538e-05 | 2.2607e-05 | 0.094621 | 0.094621 | 0.094621 | 0.99667 | -0.063757 | 0.99606 | -0.075504 | 25.9947
15 | 0.16413 | 0.04163 | -0.16397 | -0.04153 | 0.00015674 | 9.9948e-05 | 0.24457 | 0.24457 | 0.24457 | 0.99933 | -0.012858 | 0.99828 | -0.032741 | 33.5948
16 | 0.0028969 | 0.00072585 | -0.0028967 | -0.00072599 | 1.1793e-07 | -1.3923e-07 | 0.0043468 | 0.0043469 | 0.0043469 | 0.99165 | -0.16065 | 0.9916 | -0.16151 | 1.1942
17 | -0.059325 | -0.014884 | 0.059377 | 0.014916 | 5.1143e-05 | 3.2513e-05 | 0.089432 | 0.089432 | 0.089432 | 0.98715 | -0.24721 | 0.98808 | -0.22915 | 24.5691
18 | 0.035214 | 0.0088375 | -0.035188 | -0.0088213 | 2.5869e-05 | 1.6244e-05 | 0.053085 | 0.053085 | 0.053085 | 0.98715 | -0.24721 | 0.98636 | -0.26263 | 14.5838
19 | 0.025928 | 0.0065043 | -0.025917 | -0.0064974 | 1.1264e-05 | 6.949e-06 | 0.038766 | 0.038766 | 0.038766 | 0.9953 | -0.09032 | 0.99482 | -0.099436 | 10.6499
20 | 0.063328 | 0.015917 | -0.063261 | -0.015875 | 6.6493e-05 | 4.2298e-05 | 0.094621 | 0.094621 | 0.094621 | 0.99606 | -0.075504 | 0.99492 | -0.097522 | 25.9948
21 | 0.12778 | 0.032444 | -0.12741 | -0.032204 | 0.00037671 | 0.00024073 | 0.19062 | 0.19062 | 0.19062 | 0.99828 | -0.032741 | 0.99507 | -0.094205 | 52.3674
22 | 0.036193 | 0.0090857 | -0.036181 | -0.0090781 | 1.2072e-05 | 7.5818e-06 | 0.053953 | 0.053953 | 0.053953 | 0.99828 | -0.032741 | 0.99792 | -0.039737 | 14.8223
23 | -0.059377 | -0.014916 | 0.059467 | 0.014974 | 9.044e-05 | 5.7495e-05 | 0.089432 | 0.089431 | 0.089432 | 0.98808 | -0.22915 | 0.98972 | -0.19728 | 24.5691
24 | 0.032272 | 0.0080905 | -0.032272 | -0.0080905 | 5.6713e-08 | 3.5482e-08 | 0.048686 | 0.048686 | 0.048686 | 0.98636 | -0.26263 | 0.98636 | -0.26267 | 13.3754
25 | 0.017126 | 0.0042943 | -0.017121 | -0.004291 | 5.6064e-06 | 3.2924e-06 | 0.025618 | 0.025618 | 0.025618 | 0.99482 | -0.099436 | 0.99447 | -0.10631 | 7.0378
26 | 0.054847 | 0.013766 | -0.054802 | -0.013737 | 4.4952e-05 | 2.8538e-05 | 0.082037 | 0.082037 | 0.082037 | 0.99492 | -0.097522 | 0.99403 | -0.11472 | 22.5375
27 | 0.11889 | 0.030071 | -0.11853 | -0.029839 | 0.0003633 | 0.00023212 | 0.17789 | 0.17789 | 0.17789 | 0.99507 | -0.094205 | 0.99175 | -0.15811 | 48.8709
28 | 0.023544 | 0.005911 | -0.023538 | -0.0059073 | 6.0082e-06 | 3.6755e-06 | 0.03511 | 0.03511 | 0.03511 | 0.99792 | -0.039737 | 0.99764 | -0.045088 | 9.6456
29 | 0.026572 | 0.0066619 | -0.026566 | -0.0066579 | 6.3969e-06 | 3.9585e-06 | 0.040087 | 0.040087 | 0.040087 | 0.98636 | -0.26267 | 0.9861 | -0.26772 | 11.013
30 | 0.0088512 | 0.0022183 | -0.0088504 | -0.0022179 | 7.9588e-07 | 3.5761e-07 | 0.013356 | 0.013356 | 0.013356 | 0.9861 | -0.26772 | 0.986 | -0.26961 | 3.6694
31 | 0.0034431 | 0.00086273 | -0.0034429 | -0.00086287 | 2.2504e-07 | -1.3944e-07 | 0.0051961 | 0.0051962 | 0.0051962 | 0.986 | -0.26961 | 0.98593 | -0.27098 | 1.4275
32 | -0.072472 | -0.018233 | 0.072497 | 0.018249 | 2.4783e-05 | 1.579e-05 | 0.10898 | 0.10898 | 0.10898 | 0.98972 | -0.19728 | 0.99009 | -0.19013 | 29.9408
33 | -0.085511 | -0.021511 | 0.085609 | 0.021573 | 9.7439e-05 | 6.2158e-05 | 0.12854 | 0.12854 | 0.12854 | 0.99009 | -0.19013 | 0.99133 | -0.16631 | 35.3142
34 | 0.013014 | 0.0032624 | -0.013011 | -0.003261 | 2.6888e-06 | 1.4798e-06 | 0.019559 | 0.019559 | 0.019559 | 0.99009 | -0.19013 | 0.98987 | -0.19447 | 5.3734
35 | -0.091741 | -0.02311 | 0.091777 | 0.023133 | 3.598e-05 | 2.2962e-05 | 0.13775 | 0.13775 | 0.13775 | 0.99133 | -0.16631 | 0.99175 | -0.15811 | 37.8428
36 | -0.0049498 | -0.0012405 | 0.0049499 | 0.0012405 | 1.6438e-07 | 8.2201e-10 | 0.007394 | 0.0073939 | 0.007394 | 0.99613 | -0.074241 | 0.99617 | -0.073544 | 2.0313
37 | -0.01041 | -0.0026089 | 0.01041 | 0.0026092 | 6.5097e-07 | 3.2314e-07 | 0.015549 | 0.015549 | 0.015549 | 0.99617 | -0.073544 | 0.99623 | -0.072231 | 4.2718
38 | -0.012636 | -0.003167 | 0.012637 | 0.0031676 | 1.0712e-06 | 5.8113e-07 | 0.018874 | 0.018874 | 0.018874 | 0.99623 | -0.072231 | 0.99633 | -0.070452 | 5.1851
39 | -0.01395 | -0.0034966 | 0.01395 | 0.0034968 | 3.3479e-07 | 1.8748e-07 | 0.020834 | 0.020834 | 0.020834 | 0.99633 | -0.070452 | 0.99635 | -0.069948 | 5.7237
40 | -0.015756 | -0.0039492 | 0.015759 | 0.0039511 | 3.1664e-06 | 1.8278e-06 | 0.023531 | 0.02353 | 0.023531 | 0.99635 | -0.069948 | 0.99657 | -0.065731 | 6.4644
41 | -0.01721 | -0.0043148 | 0.017211 | 0.0043153 | 7.9875e-07 | 4.6917e-07 | 0.025698 | 0.025698 | 0.025698 | 0.99657 | -0.065731 | 0.99662 | -0.064757 | 7.0598
42 | -0.018626 | -0.0046701 | 0.018632 | 0.0046735 | 5.8628e-06 | 3.4887e-06 | 0.027811 | 0.027811 | 0.027811 | 0.99662 | -0.064757 | 0.99696 | -0.058154 | 7.6404
43 | -0.019997 | -0.0050155 | 0.020009 | 0.005023 | 1.2463e-05 | 7.4893e-06 | 0.029847 | 0.029847 | 0.029847 | 0.99696 | -0.058154 | 0.99764 | -0.045088 | 8.1998
44 | 0.0031063 | 0.00077764 | -0.0031059 | -0.00077806 | 4.3541e-07 | -4.1582e-07 | 0.0046523 | 0.0046526 | 0.0046526 | 0.99347 | -0.12552 | 0.99332 | -0.12846 | 1.2782
45 | -0.010433 | -0.0026138 | 0.010434 | 0.0026143 | 1.0147e-06 | 5.0588e-07 | 0.015626 | 0.015625 | 0.015626 | 0.99347 | -0.12552 | 0.99358 | -0.12348 | 4.2927
46 | 0.0014842 | 0.00037161 | -0.0014841 | -0.00037195 | 5.3762e-08 | -3.4103e-07 | 0.0022232 | 0.0022233 | 0.0022233 | 0.99332 | -0.12846 | 0.99328 | -0.12922 | 0.6108
47 | -0.021979 | -0.0055079 | 0.021987 | 0.0055123 | 7.2541e-06 | 4.4113e-06 | 0.032917 | 0.032917 | 0.032917 | 0.99358 | -0.12348 | 0.99394 | -0.11655 | 9.0431
48 | -0.021987 | -0.0055123 | 0.021989 | 0.0055135 | 1.9166e-06 | 1.1655e-06 | 0.032917 | 0.032917 | 0.032917 | 0.99394 | -0.11655 | 0.99403 | -0.11472 | 9.0431
49 | 0.013931 | 0.0034917 | -0.013931 | -0.0034914 | 5.6395e-07 | 3.1603e-07 | 0.020845 | 0.020845 | 0.020845 | 0.99447 | -0.10631 | 0.99443 | -0.10716 | 5.7268

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37524 | 0.09459

## res_load
| p_mw | q_mvar
0 | 0.0089389 | 0.0022403
1 | 0.0083747 | 0.0020989
2 | 0.009022 | 0.0022611
3 | 0.012475 | 0.0031265
4 | 0.0059817 | 0.0014992
5 | 0.037063 | 0.0092888
6 | 0.0079901 | 0.0020025
7 | 0.016112 | 0.004038
8 | 0.0094869 | 0.0023776
9 | 0.0079884 | 0.0020021
10 | 0.0035034 | 0.00087804
11 | 0.013397 | 0.0033577
12 | 0.0028967 | 0.00072599
13 | 0.0029157 | 0.00073076
14 | 0.0087903 | 0.0022031
15 | 0.0084142 | 0.0021088
16 | 0.0085112 | 0.0021331
17 | 0.012637 | 0.0031671
18 | 0.0057002 | 0.0014286
19 | 0.017714 | 0.0044396
20 | 0.0054073 | 0.0013552
21 | 0.0034429 | 0.00086287
22 | 0.013005 | 0.0032594
23 | 0.006132 | 0.0015368
24 | 0.013011 | 0.003261
25 | 0.0049498 | 0.0012405
26 | 0.0054597 | 0.0013683
27 | 0.0022257 | 0.0005578
28 | 0.026754 | 0.0067053
29 | 0.0013127 | 0.000329
30 | 0.0018054 | 0.00045247
31 | 0.0014514 | 0.00036377
32 | 0.0014155 | 0.00035476
33 | 0.0013643 | 0.00034193
34 | 0.0035286 | 0.00088435
35 | 0.0073263 | 0.0018361
36 | 0.0016217 | 0.00040644
37 | 0.011546 | 0.0028937
38 | 0.0014841 | 0.00037195
39 | 0.032813 | 0.0082238
40 | 0.0031893 | 0.00079932
41 | 0.013931 | 0.0034914

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1