## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1322-48_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1322-48_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1322-48_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1322-48_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1322-48_0_4_node_80 | 0.4 | n |  | TRUE
5 | bus_LV_1322-48_0_4_node_79 | 0.4 | n |  | TRUE
6 | bus_LV_1322-48_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1322-48_0_4_node_84 | 0.4 | n |  | TRUE
8 | bus_LV_1322-48_0_4_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_1322-48_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1322-48_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1322-48_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1322-48_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1322-48_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1322-48_0_4_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_1322-48_0_4_node_76 | 0.4 | n |  | TRUE
16 | bus_LV_1322-48_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1322-48_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1322-48_0_4_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_1322-48_0_4_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_1322-48_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_1322-48_0_4_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_1322-48_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1322-48_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1322-48_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1322-48_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1322-48_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1322-48_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_1322-48_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1322-48_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1322-48_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1322-48_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1322-48_0_4_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_1322-48_0_4_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_1322-48_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1322-48_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_1322-48_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_1322-48_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_1322-48_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_1322-48_0_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_1322-48_0_4_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_1322-48_0_4_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_1322-48_0_4_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_1322-48_0_4_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_1322-48_0_4_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_1322-48_0_4_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_1322-48_0_4_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_1322-48_0_4_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_1322-48_0_4_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_1322-48_0_4_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_1322-48_0_4_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_1322-48_0_4_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_1322-48_0_4_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_1322-48_0_4_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_1322-48_0_4_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_1322-48_0_4_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_1322-48_0_4_node_88 | 0.4 | n |  | TRUE
57 | bus_LV_1322-48_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_1322-48_0_4_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_1322-48_0_4_node_24 | 0.4 | n |  | TRUE
60 | bus_LV_1322-48_0_4_node_25 | 0.4 | n |  | TRUE
61 | bus_LV_1322-48_0_4_node_26 | 0.4 | n |  | TRUE
62 | bus_LV_1322-48_0_4_node_27 | 0.4 | n |  | TRUE
63 | bus_LV_1322-48_0_4_node_28 | 0.4 | n |  | TRUE
64 | bus_LV_1322-48_0_4_node_29 | 0.4 | n |  | TRUE
65 | bus_LV_1322-48_0_4_node_33 | 0.4 | n |  | TRUE
66 | bus_LV_1322-48_0_4_node_30 | 0.4 | n |  | TRUE
67 | bus_LV_1322-48_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_1322-48_0_4_node_34 | 0.4 | n |  | TRUE
69 | bus_LV_1322-48_0_4_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_1322-48_0_4_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_1322-48_0_4_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_1322-48_0_4_node_39 | 0.4 | n |  | TRUE
73 | bus_LV_1322-48_0_4_node_38 | 0.4 | n |  | TRUE
74 | bus_LV_1322-48_0_4_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_1322-48_0_4_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_1322-48_0_4_node_45 | 0.4 | n |  | TRUE
77 | bus_LV_1322-48_0_4_node_46 | 0.4 | n |  | TRUE
78 | bus_LV_1322-48_0_4_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_1322-48_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_1322-48_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_1322-48_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_1322-48_0_4_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_1322-48_0_4_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_1322-48_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_1322-48_0_4_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_1322-48_0_4_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_1322-48_0_4_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_1322-48_0_4_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_1322-48_0_4_node_81 | 0.4 | n |  | TRUE
90 | bus_MV_15_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1322-48_0_4_load_0 | 0 | 0.0020451 | 0.00051256 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1322-48_0_4_load_1 | 1 | 0.0020451 | 0.00051256 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1322-48_0_4_load_2 | 2 | 0.0041854 | 0.001049 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1322-48_0_4_load_3 | 3 | 0.0020446 | 0.00051242 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1322-48_0_4_load_80 | 4 | 0.0018004 | 0.00045123 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1322-48_0_4_load_79 | 5 | 0.0017994 | 0.00045097 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1322-48_0_4_load_4 | 6 | 0.0040253 | 0.0010088 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1322-48_0_4_load_84 | 7 | 0.0022039 | 0.00055236 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1322-48_0_4_load_83 | 8 | 0.0022047 | 0.00055254 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1322-48_0_4_load_6 | 10 | 0.0041338 | 0.001036 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1322-48_0_4_load_8 | 12 | 0.0065882 | 0.0016512 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1322-48_0_4_load_9 | 13 | 0.0040048 | 0.0010037 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1322-48_0_4_load_77 | 14 | 0.0022363 | 0.00056048 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1322-48_0_4_load_76 | 15 | 0.0022375 | 0.00056077 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1322-48_0_4_load_10 | 16 | 0.0043403 | 0.0010878 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1322-48_0_4_load_11 | 17 | 0.0039469 | 0.00098918 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1322-48_0_4_load_72 | 18 | 0.0029056 | 0.00072822 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1322-48_0_4_load_32 | 19 | 0.0075477 | 0.0018916 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1322-48_0_4_load_31 | 20 | 0.0067273 | 0.001686 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1322-48_0_4_load_71 | 21 | 0.0026975 | 0.00067605 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1322-48_0_4_load_12 | 22 | 0.013079 | 0.0032779 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1322-48_0_4_load_13 | 23 | 0.012627 | 0.0031647 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1322-48_0_4_load_15 | 25 | 0.0077038 | 0.0019308 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1322-48_0_4_load_16 | 26 | 0.0066873 | 0.001676 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1322-48_0_4_load_37 | 27 | 0.015549 | 0.0038969 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1322-48_0_4_load_36 | 29 | 0.0065108 | 0.0016318 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1322-48_0_4_load_17 | 30 | 0.016444 | 0.0041211 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1322-48_0_4_load_19 | 31 | 0.016274 | 0.0040786 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1322-48_0_4_load_42 | 32 | 0.016173 | 0.0040534 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1322-48_0_4_load_35 | 34 | 0.0082839 | 0.0020761 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1322-48_0_4_load_20 | 35 | 0.0019999 | 0.00050123 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1322-48_0_4_load_21 | 36 | 0.012853 | 0.0032213 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1322-48_0_4_load_23 | 38 | 0.0076184 | 0.0019094 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1322-48_0_4_load_52 | 39 | 0.0031474 | 0.00078881 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1322-48_0_4_load_53 | 40 | 0.0031151 | 0.00078071 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1322-48_0_4_load_51 | 41 | 0.0036247 | 0.00090842 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1322-48_0_4_load_54 | 43 | 0.0098946 | 0.0024798 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1322-48_0_4_load_55 | 44 | 0.0094511 | 0.0023687 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1322-48_0_4_load_57 | 45 | 0.0096119 | 0.002409 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1322-48_0_4_load_58 | 46 | 0.013111 | 0.0032859 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1322-48_0_4_load_59 | 47 | 0.0080244 | 0.0020111 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1322-48_0_4_load_60 | 48 | 0.0095368 | 0.0023902 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1322-48_0_4_load_62 | 50 | 0.0042745 | 0.0010713 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1322-48_0_4_load_63 | 51 | 0.0063771 | 0.0015982 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1322-48_0_4_load_64 | 52 | 0.0080663 | 0.0020216 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1322-48_0_4_load_85 | 53 | 0.01023 | 0.0025639 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1322-48_0_4_load_87 | 55 | 0.0030919 | 0.0007749 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1322-48_0_4_load_47 | 57 | 0.015482 | 0.0038801 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1322-48_0_4_load_89 | 58 | 0.0017289 | 0.00043331 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1322-48_0_4_load_24 | 59 | 0.011709 | 0.0029346 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1322-48_0_4_load_25 | 60 | 0.0017587 | 0.00044076 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1322-48_0_4_load_26 | 61 | 0.0042071 | 0.0010544 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1322-48_0_4_load_27 | 62 | 0.0073238 | 0.0018355 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1322-48_0_4_load_28 | 63 | 0.0093731 | 0.0023491 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1322-48_0_4_load_33 | 65 | 0.011605 | 0.0029086 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1322-48_0_4_load_30 | 66 | 0.0066139 | 0.0016576 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1322-48_0_4_load_50 | 67 | 0.015077 | 0.0037786 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1322-48_0_4_load_34 | 68 | 0.0067495 | 0.0016916 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1322-48_0_4_load_48 | 69 | 0.0036457 | 0.0009137 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1322-48_0_4_load_49 | 70 | 0.0036359 | 0.00091124 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1322-48_0_4_load_41 | 71 | 0.0037292 | 0.00093463 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1322-48_0_4_load_39 | 72 | 0.0071225 | 0.0017851 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1322-48_0_4_load_38 | 73 | 0.015628 | 0.0039169 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1322-48_0_4_load_43 | 74 | 0.016004 | 0.0040109 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1322-48_0_4_load_44 | 75 | 0.015276 | 0.0038286 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1322-48_0_4_load_45 | 76 | 0.014694 | 0.0036826 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1322-48_0_4_load_46 | 77 | 0.025036 | 0.0062746 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1322-48_0_4_load_65 | 78 | 0.0026977 | 0.0006761 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1322-48_0_4_load_68 | 81 | 0.0026977 | 0.0006761 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1322-48_0_4_load_69 | 82 | 0.0020808 | 0.0005215 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1322-48_0_4_load_70 | 83 | 0.0018678 | 0.00046812 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_1322-48_0_4_load_73 | 84 | 0.0020782 | 0.00052086 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_1322-48_0_4_load_74 | 85 | 0.0018004 | 0.00045123 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_1322-48_0_4_load_78 | 87 | 0.0017997 | 0.00045105 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_1322-48_0_4_load_82 | 88 | 0.0022059 | 0.00055285 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_1322-48_0_4_load_81 | 89 | 0.0039193 | 0.00098228 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1322-48_0_4_line_0 |  | 0 | 1 | 0.0078797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1322-48_0_4_line_1 |  | 0 | 2 | 0.013456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1322-48_0_4_line_2 |  | 1 | 3 | 0.0078801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1322-48_0_4_line_3 |  | 3 | 6 | 0.011055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1322-48_0_4_line_4 |  | 4 | 5 | 0.0070121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1322-48_0_4_line_5 |  | 5 | 87 | 0.0070101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1322-48_0_4_line_6 |  | 6 | 9 | 0.022934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1322-48_0_4_line_7 |  | 7 | 8 | 0.009059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1322-48_0_4_line_8 |  | 8 | 88 | 0.0044721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1322-48_0_4_line_9 |  | 9 | 10 | 0.022686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1322-48_0_4_line_10 |  | 10 | 11 | 0.011642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1322-48_0_4_line_11 |  | 11 | 12 | 0.03316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1322-48_0_4_line_12 |  | 11 | 13 | 0.012003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1322-48_0_4_line_13 |  | 12 | 16 | 0.0074292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1322-48_0_4_line_14 |  | 13 | 17 | 0.018517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1322-48_0_4_line_15 |  | 13 | 18 | 0.022816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1322-48_0_4_line_16 |  | 14 | 15 | 0.0088001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1322-48_0_4_line_17 |  | 15 | 83 | 0.0055923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1322-48_0_4_line_18 |  | 16 | 19 | 0.046166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1322-48_0_4_line_19 |  | 18 | 21 | 0.007984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1322-48_0_4_line_20 |  | 19 | 20 | 0.0086412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1322-48_0_4_line_21 |  | 20 | 66 | 0.027639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1322-48_0_4_line_22 |  | 21 | 81 | 0.007984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1322-48_0_4_line_23 |  | 22 | 23 | 0.034158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1322-48_0_4_line_24 |  | 22 | 24 | 0.020263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1322-48_0_4_line_25 |  | 23 | 25 | 0.001998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1322-48_0_4_line_26 |  | 24 | 26 | 0.048874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1322-48_0_4_line_27 |  | 26 | 30 | 0.034776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1322-48_0_4_line_28 |  | 27 | 28 | 0.048077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1322-48_0_4_line_29 |  | 27 | 29 | 0.014914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_1322-48_0_4_line_30 |  | 28 | 31 | 0.04857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_1322-48_0_4_line_31 |  | 28 | 30 | 0.020544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1322-48_0_4_line_32 |  | 29 | 34 | 0.031459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_1322-48_0_4_line_33 |  | 31 | 32 | 0.00447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1322-48_0_4_line_34 |  | 32 | 33 | 0.020625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1322-48_0_4_line_35 |  | 33 | 74 | 0.024015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1322-48_0_4_line_36 |  | 33 | 73 | 0.0054414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1322-48_0_4_line_37 |  | 34 | 68 | 0.01238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1322-48_0_4_line_38 |  | 35 | 36 | 0.0059426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1322-48_0_4_line_39 |  | 35 | 37 | 0.03145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1322-48_0_4_line_40 |  | 37 | 38 | 0.01501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1322-48_0_4_line_41 |  | 38 | 59 | 0.025955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1322-48_0_4_line_42 |  | 39 | 40 | 0.0072095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1322-48_0_4_line_43 |  | 39 | 41 | 0.0072334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1322-48_0_4_line_44 |  | 40 | 42 | 0.0081414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1322-48_0_4_line_45 |  | 41 | 67 | 0.010076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1322-48_0_4_line_46 |  | 42 | 46 | 0.029618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1322-48_0_4_line_47 |  | 42 | 47 | 0.020911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1322-48_0_4_line_48 |  | 42 | 43 | 0.014474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1322-48_0_4_line_49 |  | 43 | 44 | 0.032327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1322-48_0_4_line_50 |  | 44 | 45 | 0.014691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1322-48_0_4_line_51 |  | 45 | 48 | 0.0012496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1322-48_0_4_line_52 |  | 47 | 49 | 0.023935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1322-48_0_4_line_53 |  | 49 | 50 | 0.039359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1322-48_0_4_line_54 |  | 49 | 51 | 0.00034192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1322-48_0_4_line_55 |  | 51 | 52 | 0.018695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1322-48_0_4_line_56 |  | 53 | 54 | 0.01782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1322-48_0_4_line_57 |  | 54 | 55 | 0.025648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1322-48_0_4_line_58 |  | 54 | 56 | 0.021869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1322-48_0_4_line_59 |  | 55 | 57 | 0.39897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1322-48_0_4_line_60 |  | 56 | 58 | 0.0051002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1322-48_0_4_line_61 |  | 57 | 77 | 0.015656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1322-48_0_4_line_62 |  | 59 | 60 | 0.005325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1322-48_0_4_line_63 |  | 60 | 61 | 0.021833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1322-48_0_4_line_64 |  | 61 | 62 | 0.00084544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1322-48_0_4_line_65 |  | 62 | 63 | 0.016508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1322-48_0_4_line_66 |  | 63 | 64 | 0.014188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1322-48_0_4_line_67 |  | 64 | 65 | 0.0051702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_1322-48_0_4_line_68 |  | 64 | 66 | 0.010331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_1322-48_0_4_line_69 |  | 65 | 68 | 0.030484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_1322-48_0_4_line_70 |  | 67 | 70 | 0.0066388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1322-48_0_4_line_71 |  | 69 | 70 | 0.0066066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1322-48_0_4_line_72 |  | 69 | 71 | 0.0066608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1322-48_0_4_line_73 |  | 71 | 72 | 0.029258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1322-48_0_4_line_74 |  | 72 | 73 | 0.018622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_1322-48_0_4_line_75 |  | 74 | 75 | 0.037171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1322-48_0_4_line_76 |  | 75 | 76 | 0.031864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1322-48_0_4_line_77 |  | 76 | 77 | 0.0027445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1322-48_0_4_line_78 |  | 78 | 79 | 0.0076371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1322-48_0_4_line_79 |  | 78 | 80 | 0.014607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1322-48_0_4_line_80 |  | 79 | 81 | 0.01556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1322-48_0_4_line_81 |  | 80 | 82 | 0.0081686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1322-48_0_4_line_82 |  | 80 | 83 | 0.017048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1322-48_0_4_line_83 |  | 82 | 84 | 0.020786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1322-48_0_4_line_84 |  | 84 | 85 | 0.017386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1322-48_0_4_line_85 |  | 84 | 86 | 0.028294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1322-48_0_4_line_86 |  | 85 | 87 | 0.003119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1322-48_0_4_line_87 |  | 86 | 88 | 0.016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_1322-48_0_4_line_88 |  | 86 | 89 | 0.005927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1322-48_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 90 | 72 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2698572.1887 | 1228325.393 | 2698579.4666 | 1228328.4133
1 | 2698559.7604 | 1228320.2353 | 2698572.1887 | 1228325.393
2 | 2698579.4666 | 1228328.4133 | 2698586.7448 | 1228331.4338
3 | 2698586.7448 | 1228331.4338 | 2698589.7621 | 1228332.6859 | 2698591.6375 | 1228340.2447
4 | 2698565.7365 | 1228386.0389 | 2698569.3047 | 1228380.0026
5 | 2698562.1694 | 1228392.0735 | 2698565.7365 | 1228386.0389
6 | 2698583.3632 | 1228361.6343 | 2698591.6375 | 1228340.2447
7 | 2698534.6052 | 1228383.0957 | 2698539.1744 | 1228375.2734
8 | 2698533.2135 | 1228387.2572 | 2698533.5427 | 1228384.9147 | 2698534.6052 | 1228383.0957
9 | 2698583.3632 | 1228361.6343 | 2698604.5436 | 1228369.7599
10 | 2698615.4134 | 1228373.93 | 2698604.5436 | 1228369.7599
11 | 2698615.4134 | 1228373.93 | 2698626.8089 | 1228342.7893
12 | 2698615.4134 | 1228373.93 | 2698626.6199 | 1228378.2294
13 | 2698626.8089 | 1228342.7893 | 2698629.3619 | 1228335.8126
14 | 2698626.6199 | 1228378.2294 | 2698643.9083 | 1228384.8622
15 | 2698623.3739 | 1228400.8132 | 2698626.6199 | 1228378.2294
16 | 2698591.4838 | 1228399.2665 | 2698596.126 | 1228391.7905
17 | 2698588.5336 | 1228404.0174 | 2698588.5336 | 1228404.0174 | 2698591.4838 | 1228399.2665
18 | 2698657.0267 | 1228298.8543 | 2698629.3619 | 1228335.8126
19 | 2698619.1597 | 1228407.5945 | 2698623.3739 | 1228400.8132
20 | 2698657.0267 | 1228298.8543 | 2698664.9846 | 1228302.222 | 2698664.9846 | 1228302.222
21 | 2698653.034 | 1228286.1899 | 2698653.034 | 1228286.1899 | 2698667.9695 | 1228292.242 | 2698669.1131 | 1228296.8532 | 2698664.9846 | 1228302.222
22 | 2698614.9456 | 1228414.3757 | 2698619.1597 | 1228407.5945
23 | 2698846.2839 | 1228208.8 | 2698816.1499 | 1228192.7161
24 | 2698858.8254 | 1228223.1936 | 2698854.6855 | 1228213.2843 | 2698846.2839 | 1228208.8
25 | 2698814.3872 | 1228191.7753 | 2698816.1499 | 1228192.7161
26 | 2698858.8254 | 1228223.1936 | 2698838.2651 | 1228236.8285 | 2698828.769 | 1228251.4147 | 2698823.7142 | 1228255.9613
27 | 2698797.8583 | 1228279.2173 | 2698823.7142 | 1228255.9613
28 | 2698739.8506 | 1228314.9831 | 2698782.584 | 1228292.9557
29 | 2698726.2988 | 1228308.7569 | 2698739.8506 | 1228314.9831
30 | 2698782.584 | 1228292.9557 | 2698744.8919 | 1228262.3226
31 | 2698782.584 | 1228292.9557 | 2698797.8583 | 1228279.2173
32 | 2698697.7125 | 1228295.6235 | 2698726.2988 | 1228308.7569
33 | 2698741.4231 | 1228259.5034 | 2698744.8919 | 1228262.3226
34 | 2698725.4172 | 1228246.4951 | 2698741.4231 | 1228259.5034
35 | 2698725.4172 | 1228246.4951 | 2698736.2024 | 1228226.8265 | 2698736.1141 | 1228225.2458
36 | 2698725.4172 | 1228246.4951 | 2698721.6672 | 1228242.5521
37 | 2698697.7125 | 1228295.6235 | 2698686.4626 | 1228290.455
38 | 2698576.815 | 1228203.0962 | 2698579.0985 | 1228197.6098
39 | 2698564.7301 | 1228232.1314 | 2698576.815 | 1228203.0962
40 | 2698564.7301 | 1228232.1314 | 2698577.5225 | 1228239.9842
41 | 2698577.5225 | 1228239.9842 | 2698595.7821 | 1228251.1931 | 2698599.7795 | 1228253.3223
42 | 2698667.2275 | 1228178.3241 | 2698661.3651 | 1228174.1277
43 | 2698673.1093 | 1228182.5344 | 2698667.2275 | 1228178.3241
44 | 2698654.7449 | 1228169.3889 | 2698661.3651 | 1228174.1277
45 | 2698681.0089 | 1228188.6783 | 2698680.4273 | 1228187.7727 | 2698673.1093 | 1228182.5344
46 | 2698654.7449 | 1228169.3889 | 2698644.8672 | 1228164.9775 | 2698626.1604 | 1228163.1048
47 | 2698654.7449 | 1228169.3889 | 2698639.8134 | 1228154.7494
48 | 2698654.7449 | 1228169.3889 | 2698661.0505 | 1228156.3608
49 | 2698661.0505 | 1228156.3608 | 2698675.1338 | 1228127.2631
50 | 2698688.9698 | 1228132.2028 | 2698675.1338 | 1228127.2631 | 2698675.1338 | 1228127.2631
51 | 2698688.9698 | 1228132.2028 | 2698690.1466 | 1228132.623
52 | 2698626.4911 | 1228135.14 | 2698634.222 | 1228149.2674 | 2698639.8134 | 1228154.7494
53 | 2698626.4911 | 1228135.14 | 2698649.0416 | 1228111.1743 | 2698651.5319 | 1228105.2224
54 | 2698626.4911 | 1228135.14 | 2698626.3271 | 1228134.84
55 | 2698626.3271 | 1228134.84 | 2698622.5412 | 1228127.9138 | 2698614.8554 | 1228120.3242
56 | 2698936.6874 | 1227783.3571 | 2698927.8223 | 1227778.1837 | 2698921.2052 | 1227774.5371
57 | 2698936.6874 | 1227783.3571 | 2698936.4564 | 1227789.491 | 2698954.99 | 1227795.5838
58 | 2698936.6874 | 1227783.3571 | 2698941.6655 | 1227775.2451 | 2698940.1217 | 1227770.5493 | 2698933.4849 | 1227767.2032
59 | 2698763.172 | 1228145.4171 | 2698954.99 | 1227795.5838
60 | 2698933.4849 | 1227767.2032 | 2698928.3854 | 1227767.1183
61 | 2698757.7072 | 1228160.0882 | 2698763.172 | 1228145.4171
62 | 2698599.7795 | 1228253.3223 | 2698604.4795 | 1228255.8255
63 | 2698604.4795 | 1228255.8255 | 2698604.6165 | 1228255.8985 | 2698614.4686 | 1228260.4763 | 2698624.5406 | 1228264.4135
64 | 2698624.5406 | 1228264.4135 | 2698625.328 | 1228264.7213
65 | 2698625.328 | 1228264.7213 | 2698640.703 | 1228270.7315
66 | 2698653.9172 | 1228275.8971 | 2698640.703 | 1228270.7315
67 | 2698653.9172 | 1228275.8971 | 2698658.6511 | 1228277.9757
68 | 2698653.9172 | 1228275.8971 | 2698653.034 | 1228286.1899
69 | 2698658.6511 | 1228277.9757 | 2698673.3135 | 1228284.4138 | 2698686.4626 | 1228290.455
70 | 2698681.0089 | 1228188.6783 | 2698684.5963 | 1228194.2644
71 | 2698688.1663 | 1228199.8234 | 2698684.5963 | 1228194.2644
72 | 2698691.7655 | 1228205.4279 | 2698688.1663 | 1228199.8234
73 | 2698708.8338 | 1228229.058 | 2698703.0043 | 1228222.9283 | 2698691.7655 | 1228205.4279
74 | 2698721.6672 | 1228242.5521 | 2698708.8338 | 1228229.058
75 | 2698736.1141 | 1228225.2458 | 2698734.9465 | 1228204.3337 | 2698741.3003 | 1228189.4025
76 | 2698741.3003 | 1228189.4025 | 2698747.5335 | 1228174.7545 | 2698753.8659 | 1228170.4009 | 2698756.7492 | 1228162.6601
77 | 2698757.7072 | 1228160.0882 | 2698756.7492 | 1228162.6601
78 | 2698606.7326 | 1228427.5917 | 2698599.4598 | 1228425.2607
79 | 2698585.5498 | 1228420.8024 | 2698599.4598 | 1228425.2607
80 | 2698606.7326 | 1228427.5917 | 2698614.9456 | 1228414.3757
81 | 2698585.5498 | 1228420.8024 | 2698577.7703 | 1228418.3113
82 | 2698585.5498 | 1228420.8024 | 2698588.5336 | 1228404.0174
83 | 2698557.9743 | 1228411.9724 | 2698577.7703 | 1228418.3113
84 | 2698557.9743 | 1228411.9724 | 2698560.7037 | 1228394.8023
85 | 2698530.9565 | 1228403.3186 | 2698557.9743 | 1228411.9724
86 | 2698560.7037 | 1228394.8023 | 2698560.7579 | 1228394.4613 | 2698562.1694 | 1228392.0735
87 | 2698530.9565 | 1228403.3186 | 2698533.2135 | 1228387.2572
88 | 2698530.9565 | 1228403.3186 | 2698525.3123 | 1228401.5099

## bus_geodata
| x | y | coords
0 | 2698572.1887 | 1228325.393
1 | 2698579.4666 | 1228328.4133
2 | 2698559.7604 | 1228320.2353
3 | 2698586.7448 | 1228331.4338
4 | 2698569.3047 | 1228380.0026
5 | 2698565.7365 | 1228386.0389
6 | 2698591.6375 | 1228340.2447
7 | 2698539.1744 | 1228375.2734
8 | 2698534.6052 | 1228383.0957
9 | 2698583.3632 | 1228361.6343
10 | 2698604.5436 | 1228369.7599
11 | 2698615.4134 | 1228373.93
12 | 2698626.8089 | 1228342.7893
13 | 2698626.6199 | 1228378.2294
14 | 2698596.126 | 1228391.7905
15 | 2698591.4837 | 1228399.2665
16 | 2698629.3619 | 1228335.8126
17 | 2698643.9083 | 1228384.8622
18 | 2698623.3739 | 1228400.8132
19 | 2698657.0267 | 1228298.8543
20 | 2698664.9846 | 1228302.222
21 | 2698619.1597 | 1228407.5945
22 | 2698846.2839 | 1228208.8
23 | 2698816.1499 | 1228192.7161
24 | 2698858.8254 | 1228223.1936
25 | 2698814.3872 | 1228191.7753
26 | 2698823.7142 | 1228255.9613
27 | 2698739.8506 | 1228314.9831
28 | 2698782.584 | 1228292.9557
29 | 2698726.2988 | 1228308.7569
30 | 2698797.8583 | 1228279.2173
31 | 2698744.8919 | 1228262.3226
32 | 2698741.4231 | 1228259.5034
33 | 2698725.4172 | 1228246.4951
34 | 2698697.7125 | 1228295.6235
35 | 2698576.815 | 1228203.0961
36 | 2698579.0985 | 1228197.6098
37 | 2698564.7301 | 1228232.1314
38 | 2698577.5225 | 1228239.9842
39 | 2698667.2275 | 1228178.3241
40 | 2698661.3651 | 1228174.1277
41 | 2698673.1093 | 1228182.5344
42 | 2698654.7449 | 1228169.3889
43 | 2698661.0505 | 1228156.3608
44 | 2698675.1338 | 1228127.2631
45 | 2698688.9698 | 1228132.2028
46 | 2698626.1604 | 1228163.1048
47 | 2698639.8134 | 1228154.7494
48 | 2698690.1466 | 1228132.623
49 | 2698626.4911 | 1228135.14
50 | 2698651.5319 | 1228105.2224
51 | 2698626.3271 | 1228134.84
52 | 2698614.8554 | 1228120.3242
53 | 2698921.2052 | 1227774.5371
54 | 2698936.6874 | 1227783.3571
55 | 2698954.99 | 1227795.5838
56 | 2698933.4849 | 1227767.2032
57 | 2698763.172 | 1228145.4171
58 | 2698928.3854 | 1227767.1183
59 | 2698599.7795 | 1228253.3223
60 | 2698604.4795 | 1228255.8255
61 | 2698624.5406 | 1228264.4135
62 | 2698625.328 | 1228264.7213
63 | 2698640.703 | 1228270.7315
64 | 2698653.9172 | 1228275.8971
65 | 2698658.6511 | 1228277.9757
66 | 2698653.034 | 1228286.1899
67 | 2698681.0089 | 1228188.6783
68 | 2698686.4626 | 1228290.455
69 | 2698688.1663 | 1228199.8234
70 | 2698684.5963 | 1228194.2644
71 | 2698691.7655 | 1228205.4279
72 | 2698708.8338 | 1228229.058
73 | 2698721.6672 | 1228242.5521
74 | 2698736.1141 | 1228225.2458
75 | 2698741.3003 | 1228189.4025
76 | 2698756.7492 | 1228162.6601
77 | 2698757.7072 | 1228160.0882
78 | 2698599.4598 | 1228425.2607
79 | 2698606.7326 | 1228427.5917
80 | 2698585.5498 | 1228420.8024
81 | 2698614.9456 | 1228414.3757
82 | 2698577.7703 | 1228418.3113
83 | 2698588.5336 | 1228404.0174
84 | 2698557.9743 | 1228411.9724
85 | 2698560.7037 | 1228394.8023
86 | 2698530.9565 | 1228403.3186
87 | 2698562.1694 | 1228392.0735
88 | 2698533.2135 | 1228387.2572
89 | 2698525.3123 | 1228401.5099
90 | 2698725.4172 | 1228246.4951

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97375 | -0.50641 | 0.0020451 | 0.00051256
1 | 0.9738 | -0.50551 | 0.0020451 | 0.00051256
2 | 0.9737 | -0.50744 | 0.0041854 | 0.001049
3 | 0.97386 | -0.50431 | 0.0020446 | 0.00051242
4 | 0.97112 | -0.55844 | 0.0018004 | 0.00045123
5 | 0.97113 | -0.55821 | 0.0017994 | 0.00045097
6 | 0.97397 | -0.50221 | 0.0040253 | 0.0010088
7 | 0.97087 | -0.56335 | 0.0022039 | 0.00055236
8 | 0.97089 | -0.56298 | 0.0022047 | 0.00055254
9 | 0.97427 | -0.49617 | 0 | 0
10 | 0.97458 | -0.49019 | 0.0041338 | 0.001036
11 | 0.97478 | -0.48625 | 0 | 0
12 | 0.97681 | -0.44638 | 0.0065882 | 0.0016512
13 | 0.97425 | -0.49664 | 0.0040048 | 0.0010037
14 | 0.97169 | -0.54703 | 0.0022363 | 0.00056048
15 | 0.97171 | -0.54667 | 0.0022375 | 0.00056077
16 | 0.97731 | -0.43658 | 0.0043403 | 0.0010878
17 | 0.97418 | -0.49798 | 0.0039469 | 0.00098918
18 | 0.97341 | -0.5131 | 0.0029056 | 0.00072822
19 | 0.9806 | -0.37226 | 0.0075477 | 0.0018916
20 | 0.98128 | -0.35909 | 0.0067273 | 0.001686
21 | 0.97314 | -0.51843 | 0.0026975 | 0.00067605
22 | 0.9864 | -0.2605 | 0.013079 | 0.0032779
23 | 0.98576 | -0.27295 | 0.012627 | 0.0031647
24 | 0.98703 | -0.24838 | 0 | 0
25 | 0.98575 | -0.27323 | 0.0077038 | 0.0019308
26 | 0.98853 | -0.21921 | 0.0066873 | 0.001676
27 | 0.98786 | -0.23167 | 0.015549 | 0.0038969
28 | 0.99088 | -0.17372 | 0 | 0
29 | 0.98699 | -0.24833 | 0.0065108 | 0.0016318
30 | 0.98981 | -0.19437 | 0.016444 | 0.0041211
31 | 0.99476 | -0.099403 | 0.016274 | 0.0040786
32 | 0.99514 | -0.092166 | 0.016173 | 0.0040534
33 | 0.997 | -0.056892 | 0 | 0
34 | 0.98523 | -0.28235 | 0.0082839 | 0.0020761
35 | 0.97919 | -0.40031 | 0.0019999 | 0.00050123
36 | 0.97911 | -0.4017 | 0.012853 | 0.0032213
37 | 0.97962 | -0.39182 | 0 | 0
38 | 0.97982 | -0.38777 | 0.0076184 | 0.0019094
39 | 0.99362 | -0.12236 | 0.0031474 | 0.00078881
40 | 0.99309 | -0.13273 | 0.0031151 | 0.00078071
41 | 0.99418 | -0.11156 | 0.0036247 | 0.00090842
42 | 0.9925 | -0.14401 | 0 | 0
43 | 0.992 | -0.15388 | 0.0098946 | 0.0024798
44 | 0.99115 | -0.17027 | 0.0094511 | 0.0023687
45 | 0.99089 | -0.17526 | 0.0096119 | 0.002409
46 | 0.99215 | -0.15089 | 0.013111 | 0.0032859
47 | 0.99199 | -0.15391 | 0.0080244 | 0.0020111
48 | 0.99088 | -0.17547 | 0.0095368 | 0.0023902
49 | 0.99158 | -0.16185 | 0 | 0
50 | 0.99143 | -0.16484 | 0.0042745 | 0.0010713
51 | 0.99158 | -0.16194 | 0.0063771 | 0.0015982
52 | 0.99144 | -0.16461 | 0.0080663 | 0.0020216
53 | 0.98323 | -0.32335 | 0.01023 | 0.0025639
54 | 0.98339 | -0.32007 | 0 | 0
55 | 0.98368 | -0.31454 | 0.0030919 | 0.0007749
56 | 0.98336 | -0.32075 | 0 | 0
57 | 0.98921 | -0.20692 | 0.015482 | 0.0038801
58 | 0.98335 | -0.32091 | 0.0017289 | 0.00043331
59 | 0.98036 | -0.37719 | 0.011709 | 0.0029346
60 | 0.98053 | -0.37389 | 0.0017587 | 0.00044076
61 | 0.98126 | -0.35968 | 0.0042071 | 0.0010544
62 | 0.98129 | -0.35906 | 0.0073238 | 0.0018355
63 | 0.98202 | -0.34489 | 0.0093731 | 0.0023491
64 | 0.98276 | -0.33032 | 0 | 0
65 | 0.98301 | -0.32552 | 0.011605 | 0.0029086
66 | 0.98245 | -0.33638 | 0.0066139 | 0.0016576
67 | 0.995 | -0.095893 | 0.015077 | 0.0037786
68 | 0.98457 | -0.29515 | 0.0067495 | 0.0016916
69 | 0.99627 | -0.071409 | 0.0036457 | 0.0009137
70 | 0.99562 | -0.083825 | 0.0036359 | 0.00091124
71 | 0.99694 | -0.058481 | 0.0037292 | 0.00093463
72 | 1 | 0 | -0.53171 | -0.13536
73 | 0.99766 | -0.044381 | 0.015628 | 0.0039169
74 | 0.99477 | -0.099754 | 0.016004 | 0.0040109
75 | 0.99185 | -0.15593 | 0.015276 | 0.0038286
76 | 0.98979 | -0.19569 | 0.014694 | 0.0036826
77 | 0.98965 | -0.19841 | 0.025036 | 0.0062746
78 | 0.97222 | -0.5366 | 0.0026977 | 0.0006761
79 | 0.97244 | -0.53225 | 0 | 0
80 | 0.97184 | -0.54421 | 0 | 0
81 | 0.97289 | -0.52338 | 0.0026977 | 0.0006761
82 | 0.97167 | -0.54751 | 0.0020808 | 0.0005215
83 | 0.97174 | -0.54621 | 0.0018678 | 0.00046812
84 | 0.97129 | -0.55512 | 0.0020782 | 0.00052086
85 | 0.97117 | -0.55743 | 0.0018004 | 0.00045123
86 | 0.97101 | -0.56063 | 0 | 0
87 | 0.97115 | -0.55774 | 0.0017997 | 0.00045105
88 | 0.97091 | -0.56261 | 0.0022059 | 0.00055285
89 | 0.97099 | -0.56106 | 0.0039193 | 0.00098228
90 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0062307 | -0.0015615 | 0.006231 | 0.0015615 | 2.6787e-07 | 7.3413e-08 | 0.0095213 | 0.0095212 | 0.0095213 | 0.97375 | -0.50641 | 0.9738 | -0.50551 | 2.6157
1 | 0.0041856 | 0.0010489 | -0.0041854 | -0.001049 | 2.0643e-07 | -3.5263e-08 | 0.0063961 | 0.0063961 | 0.0063961 | 0.97375 | -0.50641 | 0.9737 | -0.50744 | 1.7572
2 | -0.0082761 | -0.0020741 | 0.0082766 | 0.0020743 | 4.7259e-07 | 2.0442e-07 | 0.012646 | 0.012646 | 0.012646 | 0.9738 | -0.50551 | 0.97386 | -0.50431 | 3.4743
3 | -0.010321 | -0.0025867 | 0.010322 | 0.0025872 | 1.031e-06 | 5.2227e-07 | 0.01577 | 0.01577 | 0.01577 | 0.97386 | -0.50431 | 0.97397 | -0.50221 | 4.3325
4 | -0.0018004 | -0.00045123 | 0.0018004 | 0.00045115 | 2.0012e-08 | -7.395e-08 | 0.0027587 | 0.0027587 | 0.0027587 | 0.97112 | -0.55844 | 0.97113 | -0.55821 | 0.75789
5 | -0.0035998 | -0.00090213 | 0.0035999 | 0.00090209 | 7.9978e-08 | -3.5549e-08 | 0.0055158 | 0.0055158 | 0.0055158 | 0.97113 | -0.55821 | 0.97115 | -0.55774 | 1.5153
6 | -0.014347 | -0.0035961 | 0.014352 | 0.0035984 | 4.1323e-06 | 2.3592e-06 | 0.02192 | 0.02192 | 0.02192 | 0.97397 | -0.50221 | 0.97427 | -0.49617 | 6.022
7 | -0.0022039 | -0.00055236 | 0.002204 | 0.00055227 | 3.8761e-08 | -8.7219e-08 | 0.0033779 | 0.0033778 | 0.0033779 | 0.97087 | -0.56335 | 0.97089 | -0.56298 | 0.92799
8 | -0.0044086 | -0.0011048 | 0.0044087 | 0.0011048 | 7.6563e-08 | -6.305e-09 | 0.0067568 | 0.0067568 | 0.0067568 | 0.97089 | -0.56298 | 0.97091 | -0.56261 | 1.8563
9 | -0.014352 | -0.0035984 | 0.014356 | 0.0036008 | 4.0875e-06 | 2.3334e-06 | 0.02192 | 0.02192 | 0.02192 | 0.97427 | -0.49617 | 0.97458 | -0.49019 | 6.0219
10 | -0.018489 | -0.0046368 | 0.018493 | 0.0046389 | 3.4796e-06 | 2.0819e-06 | 0.028231 | 0.028231 | 0.028231 | 0.97458 | -0.49019 | 0.97478 | -0.48625 | 7.7559
11 | -0.065795 | -0.016536 | 0.065921 | 0.016616 | 0.00012548 | 7.9895e-05 | 0.10045 | 0.10045 | 0.10045 | 0.97478 | -0.48625 | 0.97681 | -0.44638 | 27.5974
12 | 0.047302 | 0.011898 | -0.047279 | -0.011883 | 2.3479e-05 | 1.4877e-05 | 0.072223 | 0.072223 | 0.072223 | 0.97478 | -0.48625 | 0.97425 | -0.49664 | 19.8415
13 | -0.072509 | -0.018267 | 0.072543 | 0.018289 | 3.4011e-05 | 2.1674e-05 | 0.11049 | 0.11049 | 0.11049 | 0.97681 | -0.44638 | 0.97731 | -0.43658 | 30.3545
14 | 0.0039471 | 0.00098911 | -0.0039469 | -0.00098918 | 2.5237e-07 | -6.9047e-08 | 0.0060286 | 0.0060287 | 0.0060287 | 0.97425 | -0.49664 | 0.97418 | -0.49798 | 1.6562
15 | 0.039327 | 0.0098898 | -0.039296 | -0.0098703 | 3.0881e-05 | 1.948e-05 | 0.060078 | 0.060078 | 0.060078 | 0.97425 | -0.49664 | 0.97341 | -0.5131 | 16.5049
16 | -0.0022363 | -0.00056048 | 0.0022364 | 0.00056039 | 3.8703e-08 | -8.424e-08 | 0.0034246 | 0.0034246 | 0.0034246 | 0.97169 | -0.54703 | 0.97171 | -0.54667 | 0.94083
17 | -0.0044739 | -0.0011212 | 0.004474 | 0.0011212 | 9.843e-08 | -6.2819e-09 | 0.006851 | 0.0068509 | 0.006851 | 0.97171 | -0.54667 | 0.97174 | -0.54621 | 1.8821
18 | -0.076883 | -0.019377 | 0.077121 | 0.019528 | 0.00023738 | 0.00015135 | 0.1171 | 0.1171 | 0.1171 | 0.97731 | -0.43658 | 0.9806 | -0.37226 | 32.17
19 | 0.03639 | 0.0091421 | -0.036381 | -0.0091363 | 9.2676e-06 | 5.832e-06 | 0.055636 | 0.055636 | 0.055636 | 0.97341 | -0.5131 | 0.97314 | -0.51843 | 15.2847
20 | -0.084668 | -0.02142 | 0.084722 | 0.021454 | 5.355e-05 | 3.4163e-05 | 0.12855 | 0.12855 | 0.12855 | 0.9806 | -0.37226 | 0.98128 | -0.35909 | 35.3164
21 | -0.091449 | -0.02314 | 0.091549 | 0.023203 | 9.9771e-05 | 6.3154e-05 | 0.13875 | 0.13875 | 0.13875 | 0.98128 | -0.35909 | 0.98245 | -0.33638 | 19.0595
22 | 0.033684 | 0.0084602 | -0.033676 | -0.0084553 | 7.9444e-06 | 4.9853e-06 | 0.051512 | 0.051512 | 0.051512 | 0.97314 | -0.51843 | 0.97289 | -0.52338 | 14.1515
23 | 0.020343 | 0.0051028 | -0.020331 | -0.0050955 | 1.2065e-05 | 7.2858e-06 | 0.03069 | 0.03069 | 0.03069 | 0.9864 | -0.2605 | 0.98576 | -0.27295 | 8.4314
24 | -0.033422 | -0.0083807 | 0.033442 | 0.0083928 | 1.9317e-05 | 1.2104e-05 | 0.05042 | 0.05042 | 0.05042 | 0.9864 | -0.2605 | 0.98703 | -0.24838 | 13.8516
25 | 0.0077039 | 0.0019308 | -0.0077038 | -0.0019308 | 1.0133e-07 | 3.9378e-08 | 0.011629 | 0.011629 | 0.011629 | 0.98576 | -0.27295 | 0.98575 | -0.27323 | 3.1948
26 | -0.033442 | -0.0083928 | 0.033488 | 0.008422 | 4.6592e-05 | 2.9193e-05 | 0.05042 | 0.05042 | 0.05042 | 0.98703 | -0.24838 | 0.98853 | -0.21921 | 13.8516
27 | -0.040176 | -0.010098 | 0.040223 | 0.010128 | 4.7711e-05 | 3.0089e-05 | 0.060486 | 0.060486 | 0.060486 | 0.98853 | -0.21921 | 0.98981 | -0.19437 | 16.617
28 | -0.20469 | -0.051938 | 0.20526 | 0.052303 | 0.00057215 | 0.00036432 | 0.30856 | 0.30856 | 0.30856 | 0.98786 | -0.23167 | 0.99088 | -0.17372 | 28.2561
29 | 0.18914 | 0.048042 | -0.18899 | -0.047945 | 0.00015156 | 9.6429e-05 | 0.28514 | 0.28514 | 0.28514 | 0.98786 | -0.23167 | 0.98699 | -0.24833 | 26.1113
30 | -0.26199 | -0.066588 | 0.26293 | 0.067188 | 0.00094134 | 0.00060057 | 0.39376 | 0.39376 | 0.39376 | 0.99088 | -0.17372 | 0.99476 | -0.099403 | 36.0587
31 | 0.056723 | 0.014285 | -0.056667 | -0.014249 | 5.5931e-05 | 3.5531e-05 | 0.085206 | 0.085206 | 0.085206 | 0.99088 | -0.17372 | 0.98981 | -0.19437 | 23.4082
32 | 0.18248 | 0.046313 | -0.18218 | -0.046124 | 0.00029808 | 0.00018957 | 0.27532 | 0.27532 | 0.27532 | 0.98699 | -0.24833 | 0.98523 | -0.28235 | 25.2125
33 | -0.2792 | -0.071267 | 0.2793 | 0.071329 | 9.7674e-05 | 6.2337e-05 | 0.4181 | 0.4181 | 0.4181 | 0.99476 | -0.099403 | 0.99514 | -0.092166 | 38.2879
34 | -0.29547 | -0.075382 | 0.29598 | 0.075704 | 0.00050433 | 0.00032197 | 0.44229 | 0.44229 | 0.44229 | 0.99514 | -0.092166 | 0.997 | -0.056892 | 40.5024
35 | 0.10222 | 0.025875 | -0.10201 | -0.025741 | 0.00020985 | 0.00013399 | 0.15265 | 0.15265 | 0.15265 | 0.997 | -0.056892 | 0.99477 | -0.099754 | 41.9373
36 | -0.3982 | -0.10158 | 0.39844 | 0.10173 | 0.00024075 | 0.00015387 | 0.59494 | 0.59494 | 0.59494 | 0.997 | -0.056892 | 0.99766 | -0.044381 | 54.4815
37 | 0.1739 | 0.044048 | -0.17379 | -0.04398 | 0.00010689 | 6.7935e-05 | 0.26281 | 0.26281 | 0.26281 | 0.98523 | -0.28235 | 0.98457 | -0.29515 | 24.0668
38 | 0.012854 | 0.0032218 | -0.012853 | -0.0032213 | 8.5033e-07 | 4.6947e-07 | 0.019534 | 0.019534 | 0.019534 | 0.97919 | -0.40031 | 0.97911 | -0.4017 | 5.3665
39 | -0.014854 | -0.003723 | 0.01486 | 0.0037265 | 6.0094e-06 | 3.4502e-06 | 0.022573 | 0.022573 | 0.022573 | 0.97919 | -0.40031 | 0.97962 | -0.39182 | 6.2014
40 | -0.01486 | -0.0037265 | 0.014863 | 0.0037281 | 2.8681e-06 | 1.6466e-06 | 0.022573 | 0.022573 | 0.022573 | 0.97962 | -0.39182 | 0.97982 | -0.38777 | 6.2014
41 | -0.022481 | -0.0056375 | 0.022493 | 0.0056444 | 1.1346e-05 | 6.9343e-06 | 0.034143 | 0.034142 | 0.034143 | 0.97982 | -0.38777 | 0.98036 | -0.37719 | 9.3798
42 | 0.081616 | 0.020512 | -0.081576 | -0.020486 | 4.0402e-05 | 2.5764e-05 | 0.12225 | 0.12225 | 0.12225 | 0.99362 | -0.12236 | 0.99309 | -0.13273 | 33.5839
43 | -0.084764 | -0.021301 | 0.084807 | 0.021329 | 4.3722e-05 | 2.7888e-05 | 0.12696 | 0.12696 | 0.12696 | 0.99362 | -0.12236 | 0.99418 | -0.11156 | 34.8788
44 | 0.078461 | 0.019705 | -0.078418 | -0.019679 | 4.2207e-05 | 2.6907e-05 | 0.11758 | 0.11758 | 0.11758 | 0.99309 | -0.13273 | 0.9925 | -0.14401 | 32.3017
45 | -0.088432 | -0.022237 | 0.088498 | 0.022279 | 6.6219e-05 | 4.225e-05 | 0.13238 | 0.13238 | 0.13238 | 0.99418 | -0.11156 | 0.995 | -0.095893 | 36.3692
46 | 0.013115 | 0.0032883 | -0.013111 | -0.0032859 | 4.2946e-06 | 2.3659e-06 | 0.019664 | 0.019664 | 0.019664 | 0.9925 | -0.14401 | 0.99215 | -0.15089 | 5.4021
47 | 0.026764 | 0.0067146 | -0.026751 | -0.0067068 | 1.2627e-05 | 7.8112e-06 | 0.040128 | 0.040128 | 0.040128 | 0.9925 | -0.14401 | 0.99199 | -0.15391 | 11.0242
48 | 0.038539 | 0.0096757 | -0.038521 | -0.0096643 | 1.8125e-05 | 1.1413e-05 | 0.057786 | 0.057786 | 0.057786 | 0.9925 | -0.14401 | 0.992 | -0.15388 | 15.8754
49 | 0.028627 | 0.0071844 | -0.028604 | -0.0071706 | 2.2357e-05 | 1.3891e-05 | 0.042944 | 0.042945 | 0.042945 | 0.992 | -0.15388 | 0.99115 | -0.17027 | 11.7979
50 | 0.019153 | 0.0048019 | -0.019149 | -0.0047992 | 4.5556e-06 | 2.7263e-06 | 0.028756 | 0.028756 | 0.028756 | 0.99115 | -0.17027 | 0.99089 | -0.17526 | 7.8999
51 | 0.0095369 | 0.0023902 | -0.0095368 | -0.0023902 | 9.6109e-08 | 4.5414e-08 | 0.014322 | 0.014322 | 0.014322 | 0.99089 | -0.17526 | 0.99088 | -0.17547 | 3.9345
52 | 0.018727 | 0.0046957 | -0.01872 | -0.0046915 | 7.0828e-06 | 4.2241e-06 | 0.028091 | 0.028091 | 0.028091 | 0.99199 | -0.15391 | 0.99158 | -0.16185 | 7.7174
53 | 0.0042751 | 0.0010712 | -0.0042745 | -0.0010713 | 6.0748e-07 | -1.1885e-07 | 0.0064153 | 0.0064155 | 0.0064155 | 0.99158 | -0.16185 | 0.99143 | -0.16484 | 1.7625
54 | 0.014444 | 0.0036203 | -0.014444 | -0.0036203 | 6.0245e-08 | 3.4146e-08 | 0.021676 | 0.021676 | 0.021676 | 0.99158 | -0.16185 | 0.99158 | -0.16194 | 5.955
55 | 0.0080673 | 0.002022 | -0.0080663 | -0.0020216 | 1.0275e-06 | 4.1648e-07 | 0.012106 | 0.012106 | 0.012106 | 0.99158 | -0.16194 | 0.99144 | -0.16461 | 3.3259
56 | -0.01023 | -0.0025639 | 0.010232 | 0.0025647 | 1.6017e-06 | 7.9907e-07 | 0.015482 | 0.015482 | 0.015482 | 0.98323 | -0.32335 | 0.98339 | -0.32007 | 4.2534
57 | -0.011961 | -0.0029977 | 0.011964 | 0.0029994 | 3.1503e-06 | 1.6907e-06 | 0.018098 | 0.018098 | 0.018098 | 0.98339 | -0.32007 | 0.98368 | -0.31454 | 4.972
58 | 0.001729 | 0.00043301 | -0.0017289 | -0.00043325 | 5.6129e-08 | -2.4152e-07 | 0.0026161 | 0.0026162 | 0.0026162 | 0.98339 | -0.32007 | 0.98336 | -0.32075 | 0.71874
59 | -0.015056 | -0.0037743 | 0.015133 | 0.0038189 | 7.76e-05 | 4.4571e-05 | 0.022775 | 0.022773 | 0.022775 | 0.98368 | -0.31454 | 0.98921 | -0.20692 | 6.2569
60 | 0.0017289 | 0.00043325 | -0.0017289 | -0.00043331 | 1.3091e-08 | -5.6323e-08 | 0.0026162 | 0.0026162 | 0.0026162 | 0.98336 | -0.32075 | 0.98335 | -0.32091 | 0.71875
61 | -0.030615 | -0.007699 | 0.030628 | 0.0077068 | 1.2456e-05 | 7.7709e-06 | 0.046062 | 0.046062 | 0.046062 | 0.98921 | -0.20692 | 0.98965 | -0.19841 | 12.6543
62 | -0.034202 | -0.008579 | 0.034207 | 0.0085824 | 5.3819e-06 | 3.3772e-06 | 0.051915 | 0.051915 | 0.051915 | 0.98036 | -0.37719 | 0.98053 | -0.37389 | 14.2623
63 | -0.035966 | -0.0090231 | 0.03599 | 0.0090385 | 2.4393e-05 | 1.5336e-05 | 0.054583 | 0.054583 | 0.054583 | 0.98053 | -0.37389 | 0.98126 | -0.35968 | 14.9955
64 | -0.040197 | -0.010093 | 0.040198 | 0.010094 | 1.1783e-06 | 7.4342e-07 | 0.060963 | 0.060963 | 0.060963 | 0.98126 | -0.35968 | 0.98129 | -0.35906 | 16.7481
65 | -0.047522 | -0.011929 | 0.047554 | 0.011949 | 3.2153e-05 | 2.0369e-05 | 0.072069 | 0.072069 | 0.072069 | 0.98129 | -0.35906 | 0.98202 | -0.34489 | 19.7992
66 | -0.056928 | -0.014299 | 0.056967 | 0.014324 | 3.9599e-05 | 2.5164e-05 | 0.086272 | 0.086272 | 0.086272 | 0.98202 | -0.34489 | 0.98276 | -0.33032 | 23.701
67 | -0.15516 | -0.039203 | 0.15519 | 0.039225 | 3.5703e-05 | 2.2654e-05 | 0.23504 | 0.23504 | 0.23504 | 0.98276 | -0.33032 | 0.98301 | -0.32552 | 21.524
68 | 0.098191 | 0.024879 | -0.098163 | -0.024861 | 2.8581e-05 | 1.7899e-05 | 0.14877 | 0.14877 | 0.14877 | 0.98276 | -0.33032 | 0.98245 | -0.33638 | 13.6237
69 | -0.1668 | -0.042134 | 0.16704 | 0.042288 | 0.00024315 | 0.00015446 | 0.25261 | 0.25261 | 0.25261 | 0.98301 | -0.32552 | 0.98457 | -0.29515 | 23.1327
70 | -0.10358 | -0.026058 | 0.10363 | 0.026096 | 5.9758e-05 | 3.8159e-05 | 0.15493 | 0.15493 | 0.15493 | 0.995 | -0.095893 | 0.99562 | -0.083825 | 42.5636
71 | 0.10733 | 0.027048 | -0.10727 | -0.027007 | 6.3714e-05 | 4.0691e-05 | 0.16037 | 0.16037 | 0.16037 | 0.99627 | -0.071409 | 0.99562 | -0.083825 | 44.0565
72 | -0.11098 | -0.027962 | 0.11105 | 0.028006 | 6.8672e-05 | 4.3863e-05 | 0.16581 | 0.16581 | 0.16581 | 0.99627 | -0.071409 | 0.99694 | -0.058481 | 45.5524
73 | -0.11478 | -0.02894 | 0.1151 | 0.029146 | 0.00032223 | 0.00020585 | 0.17138 | 0.17138 | 0.17138 | 0.99694 | -0.058481 | 1 | 0 | 47.0815
74 | 0.41496 | 0.10622 | -0.41407 | -0.10565 | 0.00088975 | 0.00056871 | 0.61825 | 0.61825 | 0.61825 | 1 | 0 | 0.99766 | -0.044381 | 56.6161
75 | 0.086006 | 0.02173 | -0.085775 | -0.021582 | 0.00023093 | 0.00014732 | 0.12871 | 0.12871 | 0.12871 | 0.99477 | -0.099754 | 0.99185 | -0.15593 | 35.3608
76 | 0.070498 | 0.017754 | -0.070365 | -0.017669 | 0.00013374 | 8.5184e-05 | 0.1058 | 0.1058 | 0.1058 | 0.99185 | -0.15593 | 0.98979 | -0.19569 | 29.0646
77 | 0.055671 | 0.013986 | -0.055664 | -0.013981 | 7.2112e-06 | 4.5799e-06 | 0.083705 | 0.083705 | 0.083705 | 0.98979 | -0.19569 | 0.98965 | -0.19841 | 22.996
78 | -0.030958 | -0.0077669 | 0.030965 | 0.007771 | 6.4306e-06 | 4.0209e-06 | 0.047386 | 0.047386 | 0.047386 | 0.97222 | -0.5366 | 0.97244 | -0.53225 | 13.018
79 | 0.028261 | 0.0070908 | -0.02825 | -0.0070845 | 1.025e-05 | 6.3786e-06 | 0.043257 | 0.043257 | 0.043257 | 0.97222 | -0.5366 | 0.97184 | -0.54421 | 11.8837
80 | -0.030965 | -0.007771 | 0.030978 | 0.0077792 | 1.3102e-05 | 8.1921e-06 | 0.047386 | 0.047386 | 0.047386 | 0.97244 | -0.53225 | 0.97289 | -0.52338 | 13.018
81 | 0.021908 | 0.005495 | -0.021905 | -0.0054929 | 3.4471e-06 | 2.1049e-06 | 0.033546 | 0.033546 | 0.033546 | 0.97184 | -0.54421 | 0.97167 | -0.54751 | 9.2159
82 | 0.0063424 | 0.0015895 | -0.0063418 | -0.0015893 | 6.029e-07 | 1.7464e-07 | 0.0097111 | 0.0097111 | 0.0097111 | 0.97184 | -0.54421 | 0.97174 | -0.54621 | 2.6679
83 | 0.019824 | 0.0049714 | -0.019817 | -0.0049671 | 7.1844e-06 | 4.3406e-06 | 0.030359 | 0.030359 | 0.030359 | 0.97167 | -0.54751 | 0.97129 | -0.55512 | 8.3405
84 | 0.0072009 | 0.0018047 | -0.0072001 | -0.0018044 | 7.9346e-07 | 2.9266e-07 | 0.011032 | 0.011032 | 0.011032 | 0.97129 | -0.55512 | 0.97117 | -0.55743 | 3.0308
85 | 0.010537 | 0.0026415 | -0.010535 | -0.0026401 | 2.7652e-06 | 1.4196e-06 | 0.016144 | 0.016144 | 0.016144 | 0.97129 | -0.55512 | 0.97101 | -0.56063 | 4.4351
86 | 0.0053997 | 0.0013532 | -0.0053996 | -0.0013531 | 8.0059e-08 | 1.2645e-08 | 0.0082733 | 0.0082734 | 0.0082734 | 0.97117 | -0.55743 | 0.97115 | -0.55774 | 2.2729
87 | 0.0066152 | 0.0016578 | -0.0066146 | -0.0016577 | 6.2506e-07 | 1.9943e-07 | 0.010137 | 0.010138 | 0.010138 | 0.97101 | -0.56063 | 0.97091 | -0.56261 | 2.785
88 | 0.0039194 | 0.00098225 | -0.0039193 | -0.00098228 | 8.0182e-08 | -2.1996e-08 | 0.0060063 | 0.0060063 | 0.0060063 | 0.97101 | -0.56063 | 0.97099 | -0.56106 | 1.6501

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53883 | 0.13715

## res_load
| p_mw | q_mvar
0 | 0.0020451 | 0.00051256
1 | 0.0020451 | 0.00051256
2 | 0.0041854 | 0.001049
3 | 0.0020446 | 0.00051242
4 | 0.0018004 | 0.00045123
5 | 0.0017994 | 0.00045097
6 | 0.0040253 | 0.0010088
7 | 0.0022039 | 0.00055236
8 | 0.0022047 | 0.00055254
9 | 0.0041338 | 0.001036
10 | 0.0065882 | 0.0016512
11 | 0.0040048 | 0.0010037
12 | 0.0022363 | 0.00056048
13 | 0.0022375 | 0.00056077
14 | 0.0043403 | 0.0010878
15 | 0.0039469 | 0.00098918
16 | 0.0029056 | 0.00072822
17 | 0.0075477 | 0.0018916
18 | 0.0067273 | 0.001686
19 | 0.0026975 | 0.00067605
20 | 0.013079 | 0.0032779
21 | 0.012627 | 0.0031647
22 | 0.0077038 | 0.0019308
23 | 0.0066873 | 0.001676
24 | 0.015549 | 0.0038969
25 | 0.0065108 | 0.0016318
26 | 0.016444 | 0.0041211
27 | 0.016274 | 0.0040786
28 | 0.016173 | 0.0040534
29 | 0.0082839 | 0.0020761
30 | 0.0019999 | 0.00050123
31 | 0.012853 | 0.0032213
32 | 0.0076184 | 0.0019094
33 | 0.0031474 | 0.00078881
34 | 0.0031151 | 0.00078071
35 | 0.0036247 | 0.00090842
36 | 0.0098946 | 0.0024798
37 | 0.0094511 | 0.0023687
38 | 0.0096119 | 0.002409
39 | 0.013111 | 0.0032859
40 | 0.0080244 | 0.0020111
41 | 0.0095368 | 0.0023902
42 | 0.0042745 | 0.0010713
43 | 0.0063771 | 0.0015982
44 | 0.0080663 | 0.0020216
45 | 0.01023 | 0.0025639
46 | 0.0030919 | 0.0007749
47 | 0.015482 | 0.0038801
48 | 0.0017289 | 0.00043331
49 | 0.011709 | 0.0029346
50 | 0.0017587 | 0.00044076
51 | 0.0042071 | 0.0010544
52 | 0.0073238 | 0.0018355
53 | 0.0093731 | 0.0023491
54 | 0.011605 | 0.0029086
55 | 0.0066139 | 0.0016576
56 | 0.015077 | 0.0037786
57 | 0.0067495 | 0.0016916
58 | 0.0036457 | 0.0009137
59 | 0.0036359 | 0.00091124
60 | 0.0037292 | 0.00093463
61 | 0.0071225 | 0.0017851
62 | 0.015628 | 0.0039169
63 | 0.016004 | 0.0040109
64 | 0.015276 | 0.0038286
65 | 0.014694 | 0.0036826
66 | 0.025036 | 0.0062746
67 | 0.0026977 | 0.0006761
68 | 0.0026977 | 0.0006761
69 | 0.0020808 | 0.0005215
70 | 0.0018678 | 0.00046812
71 | 0.0020782 | 0.00052086
72 | 0.0018004 | 0.00045123
73 | 0.0017997 | 0.00045105
74 | 0.0022059 | 0.00055285
75 | 0.0039193 | 0.00098228

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1