## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1322-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1322-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1322-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1322-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1322-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1322-4_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1322-4_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1322-4_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1322-4_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1322-4_0_4_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_1322-4_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1322-4_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1322-4_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1322-4_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1322-4_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1322-4_0_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_1322-4_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1322-4_0_4_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_1322-4_0_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_1322-4_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1322-4_0_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_1322-4_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1322-4_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1322-4_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1322-4_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1322-4_0_4_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_1322-4_0_4_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_1322-4_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_1322-4_0_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_1322-4_0_4_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_1322-4_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1322-4_0_4_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_1322-4_0_4_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_1322-4_0_4_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_1322-4_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1322-4_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1322-4_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1322-4_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1322-4_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1322-4_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1322-4_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1322-4_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_1322-4_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1322-4_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1322-4_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1322-4_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_1322-4_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_1322-4_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1322-4_0_4_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_1322-4_0_4_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_1322-4_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_1322-4_0_4_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_1322-4_0_4_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_1322-4_0_4_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_1322-4_0_4_node_61 | 0.4 | n |  | TRUE
55 | bus_MV_16_0_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1322-4_0_4_load_0 | 0 | 0.018179 | 0.004556 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1322-4_0_4_load_3 | 3 | 0.011103 | 0.0027826 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1322-4_0_4_load_50 | 9 | 0.0010997 | 0.00027561 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1322-4_0_4_load_11 | 10 | 0.012049 | 0.0030199 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1322-4_0_4_load_12 | 12 | 0.0013114 | 0.00032867 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1322-4_0_4_load_9 | 13 | 0.00031257 | 7.8337e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1322-4_0_4_load_10 | 14 | 0.0016855 | 0.00042241 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1322-4_0_4_load_14 | 16 | 0.0036987 | 0.00092697 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1322-4_0_4_load_21 | 17 | 0.00097639 | 0.00024471 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1322-4_0_4_load_22 | 19 | 0.00037572 | 9.4163e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1322-4_0_4_load_25 | 20 | 0.0050871 | 0.001275 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1322-4_0_4_load_15 | 21 | 0.0031742 | 0.00079553 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1322-4_0_4_load_19 | 23 | 0.0022693 | 0.00056873 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1322-4_0_4_load_49 | 25 | 0.019816 | 0.0049663 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1322-4_0_4_load_39 | 26 | 0.00058521 | 0.00014667 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1322-4_0_4_load_37 | 27 | 0.0032424 | 0.00081261 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1322-4_0_4_load_46 | 28 | 0.0029036 | 0.0007277 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1322-4_0_4_load_23 | 30 | 0.00034686 | 8.6931e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1322-4_0_4_load_60 | 32 | 0.0028202 | 0.0007068 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1322-4_0_4_load_26 | 34 | 0.0023021 | 0.00057696 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1322-4_0_4_load_27 | 35 | 0.0035249 | 0.00088343 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1322-4_0_4_load_29 | 37 | 0.002617 | 0.00065588 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1322-4_0_4_load_33 | 40 | 0.0011804 | 0.00029584 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1322-4_0_4_load_36 | 41 | 0.00029163 | 7.3089e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1322-4_0_4_load_40 | 42 | 0.0034899 | 0.00087466 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1322-4_0_4_load_41 | 43 | 0.0029835 | 0.00074773 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1322-4_0_4_load_45 | 44 | 0.0025211 | 0.00063185 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1322-4_0_4_load_44 | 45 | 0.027811 | 0.0069701 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1322-4_0_4_load_42 | 46 | 0.0027918 | 0.00069969 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1322-4_0_4_load_43 | 47 | 0.0047523 | 0.001191 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1322-4_0_4_load_51 | 48 | 0.0051115 | 0.0012811 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1322-4_0_4_load_52 | 49 | 0.0011979 | 0.00030022 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1322-4_0_4_load_56 | 51 | 0.0011638 | 0.00029168 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1322-4_0_4_load_57 | 52 | 0.00060121 | 0.00015068 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1322-4_0_4_load_61 | 54 | 0.0017821 | 0.00044665 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1322-4_0_4_line_0 |  | 0 | 1 | 0.096944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1322-4_0_4_line_1 |  | 0 | 2 | 0.021719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1322-4_0_4_line_2 |  | 1 | 3 | 0.07261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1322-4_0_4_line_3 |  | 2 | 4 | 0.031427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1322-4_0_4_line_4 |  | 2 | 5 | 0.035951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1322-4_0_4_line_5 |  | 3 | 6 | 0.098779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1322-4_0_4_line_6 |  | 4 | 7 | 0.074024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1322-4_0_4_line_7 |  | 5 | 10 | 0.0555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1322-4_0_4_line_8 |  | 6 | 13 | 0.1898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1322-4_0_4_line_9 |  | 6 | 14 | 0.012121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1322-4_0_4_line_10 |  | 7 | 8 | 0.28268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1322-4_0_4_line_11 |  | 7 | 9 | 0.012924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1322-4_0_4_line_12 |  | 8 | 15 | 0.01669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1322-4_0_4_line_13 |  | 8 | 16 | 0.025411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1322-4_0_4_line_14 |  | 10 | 11 | 0.035942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1322-4_0_4_line_15 |  | 11 | 12 | 0.033582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1322-4_0_4_line_16 |  | 13 | 17 | 0.0074786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1322-4_0_4_line_17 |  | 14 | 18 | 0.22345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1322-4_0_4_line_18 |  | 15 | 25 | 0.13897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1322-4_0_4_line_19 |  | 16 | 21 | 0.21697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_1322-4_0_4_line_20 |  | 17 | 19 | 0.077239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1322-4_0_4_line_21 |  | 18 | 20 | 0.006746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1322-4_0_4_line_22 |  | 19 | 30 | 0.030734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1322-4_0_4_line_23 |  | 21 | 22 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1322-4_0_4_line_24 |  | 22 | 23 | 0.019713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1322-4_0_4_line_25 |  | 22 | 24 | 0.17467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1322-4_0_4_line_26 |  | 24 | 26 | 0.061039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1322-4_0_4_line_27 |  | 24 | 27 | 0.074977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1322-4_0_4_line_28 |  | 26 | 28 | 0.086556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1322-4_0_4_line_29 |  | 27 | 29 | 0.021014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1322-4_0_4_line_30 |  | 29 | 42 | 0.015709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1322-4_0_4_line_31 |  | 29 | 39 | 0.031135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1322-4_0_4_line_32 |  | 30 | 31 | 0.029319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1322-4_0_4_line_33 |  | 31 | 32 | 0.025158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1322-4_0_4_line_34 |  | 31 | 33 | 0.27641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1322-4_0_4_line_35 |  | 32 | 50 | 0.01788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1322-4_0_4_line_36 |  | 33 | 49 | 0.10883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1322-4_0_4_line_37 |  | 34 | 35 | 0.0049107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1322-4_0_4_line_38 |  | 34 | 36 | 0.046251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1322-4_0_4_line_39 |  | 35 | 37 | 0.023632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1322-4_0_4_line_40 |  | 36 | 38 | 0.010587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1322-4_0_4_line_41 |  | 37 | 39 | 0.058164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1322-4_0_4_line_42 |  | 38 | 40 | 0.060948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1322-4_0_4_line_43 |  | 39 | 41 | 0.046566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1322-4_0_4_line_44 |  | 42 | 43 | 0.02721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1322-4_0_4_line_45 |  | 43 | 46 | 0.028008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1322-4_0_4_line_46 |  | 44 | 45 | 0.0057851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1322-4_0_4_line_47 |  | 45 | 47 | 0.030711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1322-4_0_4_line_48 |  | 46 | 47 | 0.03579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1322-4_0_4_line_49 |  | 48 | 49 | 0.0041881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1322-4_0_4_line_50 |  | 50 | 51 | 0.017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1322-4_0_4_line_51 |  | 51 | 52 | 0.0022502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1322-4_0_4_line_52 |  | 52 | 53 | 0.081045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1322-4_0_4_line_53 |  | 53 | 54 | 0.047071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1322-4_0_4_trafo_14 | 0.63 MVA 20/0.4 kV | 55 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2699466.4581 | 1228021.953 | 2699466.3135 | 1228025.164 | 2699480.8577 | 1228027.4199 | 2699495.9159 | 1228070.0584 | 2699508.0886 | 1228072.2636 | 2699516.454 | 1228075.0833 | 2699516.169 | 1228082.6062 | 2699518.7869 | 1228086.9421
1 | 2699540.273 | 1228090.115 | 2699518.7869 | 1228086.9421
2 | 2699466.4581 | 1228021.953 | 2699468.9383 | 1227991.0386 | 2699492.2172 | 1227993.0849 | 2699501.63 | 1227993.5537 | 2699509.1595 | 1227994.7027 | 2699510.3426 | 1227994.6123
3 | 2699540.273 | 1228090.115 | 2699546.5391 | 1228095.6461 | 2699549.9241 | 1228096.7146 | 2699569.3196 | 1228098.9074
4 | 2699514.2091 | 1228068.3853 | 2699537.4713 | 1228086.799 | 2699540.8209 | 1228087.2665 | 2699540.273 | 1228090.115
5 | 2699603.9331 | 1227994.8221 | 2699604.1756 | 1227997.9951 | 2699597.0871 | 1227999.4775 | 2699578.7395 | 1227999.8596 | 2699571.7443 | 1227998.9418 | 2699567.8131 | 1227997.4416 | 2699564.5922 | 1227994.719 | 2699556.48 | 1227993.5158 | 2699543.6719 | 1227994.8469 | 2699526.9475 | 1227993.3437 | 2699510.3426 | 1227994.6123
6 | 2699569.3196 | 1228098.9074 | 2699572.6065 | 1228091.357 | 2699580.4187 | 1228092.811 | 2699638.2457 | 1228094.1691
7 | 2699514.2091 | 1228068.3853 | 2699459.3475 | 1228059.9898
8 | 2699603.9331 | 1227994.8221 | 2699657.8176 | 1227990.4435 | 2699751.0606 | 1228013.5897 | 2699771.7201 | 1228010.4783 | 2699788.4478 | 1228001.9519
9 | 2699603.9331 | 1227994.8221 | 2699597.3153 | 1227995.3561 | 2699591.908 | 1227994.4537
10 | 2699638.2457 | 1228094.1691 | 2699651.1766 | 1228086.4022 | 2699666.1344 | 1228086.1304 | 2699732.7026 | 1228090.9383 | 2699759.1393 | 1228093.5613 | 2699765.3854 | 1228094.3999 | 2699772.7688 | 1228092.5002 | 2699779.0963 | 1228091.6501 | 2699785.2728 | 1228093.0214 | 2699789.6869 | 1228096.8982 | 2699782.2635 | 1228100.2762 | 2699763.8885 | 1228123.0847 | 2699692.8965 | 1228156.1187 | 2699682.9474 | 1228160.9778
11 | 2699638.2457 | 1228094.1691 | 2699637.6579 | 1228107.0798
12 | 2699677.4692 | 1228175.819 | 2699677.2854 | 1228168.6996 | 2699682.9474 | 1228160.9778
13 | 2699682.9474 | 1228160.9778 | 2699678.5708 | 1228154.8666 | 2699670.3321 | 1228149.925 | 2699662.0527 | 1228149.5677
14 | 2699423.8193 | 1228054.5529 | 2699459.3475 | 1228059.9898
15 | 2699423.8193 | 1228054.5529 | 2699401.5864 | 1228051.1567 | 2699391.364 | 1228046.8547
16 | 2699795.1108 | 1227998.5557 | 2699788.4478 | 1228001.9519
17 | 2699372.34 | 1227968.141 | 2699377.6132 | 1227965.0712 | 2699395.1407 | 1227961.6171 | 2699591.908 | 1227994.4537
18 | 2699677.4692 | 1228175.819 | 2699758.93 | 1228172.4264 | 2699769.7762 | 1228172.8197 | 2699779.0549 | 1228177.2007 | 2699796.5573 | 1228191.4714 | 2699810.3006 | 1228191.6488
19 | 2699662.0527 | 1228149.5677 | 2699494.2971 | 1228142.3284 | 2699445.6917 | 1228135.7042
20 | 2699864.9056 | 1227966.891 | 2699855.6257 | 1227967.7103 | 2699795.1108 | 1227998.5557
21 | 2699366.4929 | 1227971.5347 | 2699372.34 | 1227968.141
22 | 2699886.8159 | 1227953.5438 | 2699883.3455 | 1227965.2628 | 2699864.9056 | 1227966.891
23 | 2699434.122 | 1228134.1275 | 2699445.6917 | 1228135.7042
24 | 2699434.122 | 1228134.1275 | 2699424.1117 | 1228142.6553 | 2699417.6054 | 1228143.7807
25 | 2699434.122 | 1228134.1275 | 2699433.2388 | 1228145.243 | 2699430.9788 | 1228155.3015 | 2699432.2196 | 1228169.9329 | 2699453.4757 | 1228206.7706 | 2699470.4467 | 1228229.7377 | 2699458.7659 | 1228257.9408 | 2699453.3999 | 1228284.2369 | 2699453.2986 | 1228294.3648
26 | 2699453.2986 | 1228294.3648 | 2699434.3619 | 1228295.1377 | 2699398.7695 | 1228289.8836 | 2699394.3227 | 1228285.6951 | 2699394.3227 | 1228285.6951
27 | 2699453.2986 | 1228294.3648 | 2699459.1536 | 1228316.7568 | 2699484.7531 | 1228353.5006 | 2699486.2064 | 1228360.3989
28 | 2699394.3227 | 1228285.6951 | 2699393.849 | 1228274.5902 | 2699379.4055 | 1228258.6373 | 2699372.0433 | 1228238.4329 | 2699364.6594 | 1228223.154 | 2699352.0083 | 1228214.2897
29 | 2699490.5383 | 1228380.9618 | 2699486.2064 | 1228360.3989
30 | 2699490.5383 | 1228380.9618 | 2699505.855 | 1228377.4732
31 | 2699490.5383 | 1228380.9618 | 2699481.6828 | 1228393.4117 | 2699478.1651 | 1228408.8863
32 | 2699895.1409 | 1227925.4317 | 2699886.8159 | 1227953.5438
33 | 2699895.1409 | 1227925.4317 | 2699917.7816 | 1227936.4002
34 | 2699635.3035 | 1227836.0428 | 2699653.3864 | 1227841.9833 | 2699715.1052 | 1227850.5014 | 2699764.8553 | 1227863.5894 | 2699805.4586 | 1227879.7488 | 2699847.5005 | 1227900.9475 | 2699882.4152 | 1227919.1357 | 2699895.1409 | 1227925.4317
35 | 2699933.8731 | 1227944.1959 | 2699917.7816 | 1227936.4002
36 | 2699635.3035 | 1227836.0428 | 2699620.8896 | 1227855.838 | 2699603.0808 | 1227887.3628 | 2699592.3998 | 1227894.2668 | 2699584.6474 | 1227895.5602 | 2699577.6004 | 1227891.3948 | 2699566.4166 | 1227879.4434 | 2699563.5466 | 1227878.5497
37 | 2699523.7397 | 1228482.3806 | 2699521.0461 | 1228478.2745
38 | 2699539.5605 | 1228524.1752 | 2699538.5707 | 1228504.9891 | 2699523.7397 | 1228482.3806
39 | 2699521.0461 | 1228478.2745 | 2699508.8563 | 1228459.6923 | 2699508.0627 | 1228458.5291
40 | 2699536.0587 | 1228534.1684 | 2699539.5605 | 1228524.1752
41 | 2699478.1651 | 1228408.8863 | 2699485.2674 | 1228425.1169 | 2699508.0627 | 1228458.5291
42 | 2699536.0587 | 1228534.1684 | 2699475.8711 | 1228524.5695
43 | 2699478.1651 | 1228408.8863 | 2699433.7215 | 1228394.9874
44 | 2699505.855 | 1228377.4732 | 2699532.3856 | 1228371.4306
45 | 2699532.3856 | 1228371.4306 | 2699559.6944 | 1228365.2107
46 | 2699630.4253 | 1228350.296 | 2699624.7645 | 1228351.4888
47 | 2699594.7131 | 1228357.8208 | 2699624.7645 | 1228351.4888
48 | 2699559.6944 | 1228365.2107 | 2699560.3451 | 1228365.0625 | 2699594.7131 | 1228357.8208
49 | 2699559.5478 | 1227877.3046 | 2699563.5466 | 1227878.5497
50 | 2699933.8731 | 1227944.1959 | 2699938.2559 | 1227927.3014
51 | 2699938.2559 | 1227927.3014 | 2699938.821 | 1227925.1234
52 | 2699951.4665 | 1227848.4883 | 2699948.2848 | 1227851.5482 | 2699945.8597 | 1227855.1434 | 2699945.4458 | 1227864.4321 | 2699949.3204 | 1227884.623 | 2699947.7719 | 1227904.6005 | 2699939.0112 | 1227924.39 | 2699938.821 | 1227925.1234
53 | 2699948.8611 | 1227801.9439 | 2699953.6183 | 1227830.5002 | 2699951.4665 | 1227848.4883

## bus_geodata
| x | y | coords
0 | 2699518.7869 | 1228086.9421
1 | 2699466.4581 | 1228021.953
2 | 2699540.273 | 1228090.115
3 | 2699510.3426 | 1227994.6123
4 | 2699569.3196 | 1228098.9074
5 | 2699514.2091 | 1228068.3853
6 | 2699603.9331 | 1227994.8221
7 | 2699638.2457 | 1228094.1691
8 | 2699682.9474 | 1228160.9778
9 | 2699637.6579 | 1228107.0798
10 | 2699459.3475 | 1228059.9898
11 | 2699423.8193 | 1228054.5529
12 | 2699391.364 | 1228046.8547
13 | 2699788.4478 | 1228001.9519
14 | 2699591.908 | 1227994.4537
15 | 2699677.4692 | 1228175.819
16 | 2699662.0527 | 1228149.5677
17 | 2699795.1108 | 1227998.5557
18 | 2699372.34 | 1227968.141
19 | 2699864.9056 | 1227966.891
20 | 2699366.4929 | 1227971.5347
21 | 2699445.6917 | 1228135.7042
22 | 2699434.122 | 1228134.1275
23 | 2699417.6054 | 1228143.7807
24 | 2699453.2986 | 1228294.3648
25 | 2699810.3006 | 1228191.6488
26 | 2699394.3227 | 1228285.6951
27 | 2699486.2064 | 1228360.3989
28 | 2699352.0083 | 1228214.2897
29 | 2699490.5383 | 1228380.9618
30 | 2699886.8159 | 1227953.5438
31 | 2699895.1409 | 1227925.4317
32 | 2699917.7816 | 1227936.4002
33 | 2699635.3035 | 1227836.0428
34 | 2699523.7397 | 1228482.3806
35 | 2699521.0461 | 1228478.2745
36 | 2699539.5605 | 1228524.1752
37 | 2699508.0627 | 1228458.529
38 | 2699536.0587 | 1228534.1684
39 | 2699478.1651 | 1228408.8863
40 | 2699475.8711 | 1228524.5695
41 | 2699433.7215 | 1228394.9874
42 | 2699505.855 | 1228377.4732
43 | 2699532.3856 | 1228371.4306
44 | 2699630.4253 | 1228350.296
45 | 2699624.7645 | 1228351.4888
46 | 2699559.6944 | 1228365.2107
47 | 2699594.7131 | 1228357.8208
48 | 2699559.5478 | 1227877.3046
49 | 2699563.5466 | 1227878.5497
50 | 2699933.8731 | 1227944.1959
51 | 2699938.2559 | 1227927.3014
52 | 2699938.821 | 1227925.1234
53 | 2699951.4665 | 1227848.4883
54 | 2699948.8611 | 1227801.9439
55 | 2699682.9474 | 1228160.9778

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9854 | -0.27947 | 0.018179 | 0.004556
1 | 0.98246 | -0.33639 | 0 | 0
2 | 0.98642 | -0.2597 | 0 | 0
3 | 0.98027 | -0.37923 | 0.011103 | 0.0027826
4 | 0.98828 | -0.22365 | 0 | 0
5 | 0.98598 | -0.26831 | 0 | 0
6 | 0.9783 | -0.41783 | 0 | 0
7 | 0.99048 | -0.18137 | 0 | 0
8 | 0.999 | -0.018864 | 0 | 0
9 | 0.99046 | -0.18162 | 0.0010997 | 0.00027561
10 | 0.98529 | -0.28161 | 0.012049 | 0.0030199
11 | 0.98525 | -0.28246 | 0 | 0
12 | 0.98521 | -0.28325 | 0.0013114 | 0.00032867
13 | 0.9757 | -0.46882 | 0.00031257 | 7.8337e-05
14 | 0.97822 | -0.41932 | 0.0016855 | 0.00042241
15 | 0.9987 | -0.024643 | 0 | 0
16 | 1 | 0 | -0.15581 | -0.039638
17 | 0.9756 | -0.4708 | 0.00097639 | 0.00024471
18 | 0.97716 | -0.44007 | 0 | 0
19 | 0.97463 | -0.4898 | 0.00037572 | 9.4163e-05
20 | 0.97713 | -0.44069 | 0.0050871 | 0.001275
21 | 0.99329 | -0.12654 | 0.0031742 | 0.00079553
22 | 0.99261 | -0.13961 | 0 | 0
23 | 0.99256 | -0.1404 | 0.0022693 | 0.00056873
24 | 0.98268 | -0.33006 | 0 | 0
25 | 0.9962 | -0.072893 | 0.019816 | 0.0049663
26 | 0.98249 | -0.33391 | 0.00058521 | 0.00014667
27 | 0.97867 | -0.40822 | 0.0032424 | 0.00081261
28 | 0.98226 | -0.33845 | 0.0029036 | 0.0007277
29 | 0.97761 | -0.429 | 0 | 0
30 | 0.97426 | -0.49716 | 0.00034686 | 8.6931e-05
31 | 0.97391 | -0.50399 | 0 | 0
32 | 0.97376 | -0.50694 | 0.0028202 | 0.0007068
33 | 0.97229 | -0.53613 | 0 | 0
34 | 0.97663 | -0.44821 | 0.0023021 | 0.00057696
35 | 0.97665 | -0.44789 | 0.0035249 | 0.00088343
36 | 0.97658 | -0.44921 | 0 | 0
37 | 0.9768 | -0.44487 | 0.002617 | 0.00065588
38 | 0.97657 | -0.44944 | 0 | 0
39 | 0.97732 | -0.43464 | 0 | 0
40 | 0.9765 | -0.45075 | 0.0011804 | 0.00029584
41 | 0.97731 | -0.43489 | 0.00029163 | 7.3089e-05
42 | 0.97696 | -0.44172 | 0.0034899 | 0.00087466
43 | 0.97592 | -0.46204 | 0.0029835 | 0.00074773
44 | 0.97288 | -0.52194 | 0.0025211 | 0.00063185
45 | 0.9729 | -0.52167 | 0.027811 | 0.0069701
46 | 0.97494 | -0.48148 | 0.0027918 | 0.00069969
47 | 0.97377 | -0.50453 | 0.0047523 | 0.001191
48 | 0.97163 | -0.5492 | 0.0051115 | 0.0012811
49 | 0.97165 | -0.54881 | 0.0011979 | 0.00030022
50 | 0.97371 | -0.50811 | 0 | 0
51 | 0.97365 | -0.50925 | 0.0011638 | 0.00029168
52 | 0.97364 | -0.50935 | 0.00060121 | 0.00015068
53 | 0.97351 | -0.51201 | 0 | 0
54 | 0.97343 | -0.51355 | 0.0017821 | 0.00044665
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.032839 | 0.0083196 | -0.032749 | -0.0082635 | 8.9512e-05 | 5.6057e-05 | 0.049621 | 0.049621 | 0.049621 | 0.9854 | -0.27947 | 0.98246 | -0.33639 | 13.6322
1 | -0.051018 | -0.012876 | 0.051066 | 0.012906 | 4.838e-05 | 3.0686e-05 | 0.077072 | 0.077072 | 0.077072 | 0.9854 | -0.27947 | 0.98642 | -0.2597 | 21.1736
2 | 0.032749 | 0.0082635 | -0.032682 | -0.0082215 | 6.7045e-05 | 4.1991e-05 | 0.049621 | 0.049622 | 0.049622 | 0.98246 | -0.33639 | 0.98027 | -0.37923 | 13.6323
3 | -0.064441 | -0.016262 | 0.064552 | 0.016333 | 0.00011146 | 7.093e-05 | 0.097249 | 0.097249 | 0.097249 | 0.98642 | -0.2597 | 0.98828 | -0.22365 | 26.7168
4 | 0.013375 | 0.0033555 | -0.013369 | -0.0033524 | 5.4887e-06 | 3.054e-06 | 0.020177 | 0.020177 | 0.020177 | 0.98642 | -0.2597 | 0.98598 | -0.26831 | 5.5433
5 | 0.02158 | 0.005439 | -0.02154 | -0.0054147 | 3.9775e-05 | 2.4213e-05 | 0.032768 | 0.032769 | 0.032769 | 0.98027 | -0.37923 | 0.9783 | -0.41783 | 9.0024
6 | -0.064552 | -0.016333 | 0.064684 | 0.016415 | 0.00013126 | 8.2107e-05 | 0.097249 | 0.097248 | 0.097249 | 0.98828 | -0.22365 | 0.99048 | -0.18137 | 13.3584
7 | 0.013369 | 0.0033524 | -0.013361 | -0.0033477 | 8.4735e-06 | 4.7157e-06 | 0.020177 | 0.020178 | 0.020178 | 0.98598 | -0.26831 | 0.98529 | -0.28161 | 5.5433
8 | 0.014762 | 0.0037168 | -0.014726 | -0.0036962 | 3.5903e-05 | 2.0601e-05 | 0.022459 | 0.02246 | 0.02246 | 0.9783 | -0.41783 | 0.9757 | -0.46882 | 6.1703
9 | 0.0067782 | 0.001698 | -0.0067778 | -0.0016978 | 4.8314e-07 | 1.5702e-07 | 0.01031 | 0.01031 | 0.01031 | 0.9783 | -0.41783 | 0.97822 | -0.41932 | 2.8323
10 | -0.065783 | -0.01669 | 0.066302 | 0.017015 | 0.00051842 | 0.00032445 | 0.0989 | 0.098898 | 0.0989 | 0.99048 | -0.18137 | 0.999 | -0.018864 | 13.5852
11 | 0.0010997 | 0.00027545 | -0.0010997 | -0.00027561 | 1.3228e-08 | -1.5787e-07 | 0.0016521 | 0.0016521 | 0.0016521 | 0.99048 | -0.18137 | 0.99046 | -0.18162 | 0.45388
12 | 0.019867 | 0.004997 | -0.019861 | -0.0049937 | 5.4829e-06 | 3.2906e-06 | 0.029598 | 0.029598 | 0.029598 | 0.999 | -0.018864 | 0.9987 | -0.024643 | 8.1313
13 | -0.086168 | -0.022012 | 0.086247 | 0.022061 | 7.8667e-05 | 4.9681e-05 | 0.1285 | 0.1285 | 0.1285 | 0.999 | -0.018864 | 1 | 0 | 17.6505
14 | 0.0013115 | 0.00032785 | -0.0013114 | -0.00032827 | 5.2864e-08 | -4.2391e-07 | 0.0019804 | 0.0019805 | 0.0019805 | 0.98529 | -0.28161 | 0.98525 | -0.28246 | 0.5441
15 | 0.0013114 | 0.00032827 | -0.0013114 | -0.00032867 | 4.94e-08 | -3.9603e-07 | 0.0019805 | 0.0019807 | 0.0019807 | 0.98525 | -0.28246 | 0.98521 | -0.28325 | 0.54414
16 | 0.014413 | 0.0036179 | -0.014412 | -0.0036171 | 1.3553e-06 | 7.7399e-07 | 0.021983 | 0.021983 | 0.021983 | 0.9757 | -0.46882 | 0.9756 | -0.4708 | 6.0394
17 | 0.0050923 | 0.0012754 | -0.0050873 | -0.001275 | 5.0282e-06 | 4.1582e-07 | 0.0077458 | 0.0077468 | 0.0077468 | 0.97822 | -0.41932 | 0.97716 | -0.44007 | 2.1283
18 | 0.019861 | 0.0049937 | -0.019816 | -0.0049663 | 4.5656e-05 | 2.7406e-05 | 0.029598 | 0.029599 | 0.029599 | 0.9987 | -0.024643 | 0.9962 | -0.072893 | 8.1315
19 | 0.067912 | 0.017577 | -0.067495 | -0.017316 | 0.00041708 | 0.00026128 | 0.10125 | 0.10126 | 0.10126 | 1 | 0 | 0.99329 | -0.12654 | 13.9087
20 | 0.013435 | 0.0033724 | -0.013423 | -0.0033655 | 1.2165e-05 | 6.8224e-06 | 0.020494 | 0.020494 | 0.020494 | 0.9756 | -0.4708 | 0.97463 | -0.4898 | 5.6303
21 | 0.0050873 | 0.001275 | -0.0050871 | -0.001275 | 1.5182e-07 | 1.266e-08 | 0.0077468 | 0.0077469 | 0.0077469 | 0.97716 | -0.44007 | 0.97713 | -0.44069 | 2.1283
22 | 0.013048 | 0.0032714 | -0.013043 | -0.0032688 | 4.5736e-06 | 2.5443e-06 | 0.019921 | 0.019921 | 0.019921 | 0.97463 | -0.4898 | 0.97426 | -0.49716 | 5.4728
23 | 0.064321 | 0.01652 | -0.06428 | -0.016494 | 4.0776e-05 | 2.5946e-05 | 0.0965 | 0.0965 | 0.0965 | 0.99329 | -0.12654 | 0.99261 | -0.13961 | 26.511
24 | 0.0022694 | 0.00056853 | -0.0022693 | -0.00056873 | 8.5555e-08 | -2.0004e-07 | 0.0034019 | 0.003402 | 0.003402 | 0.99261 | -0.13961 | 0.99256 | -0.1404 | 0.93462
25 | 0.062011 | 0.015926 | -0.061443 | -0.015565 | 0.00056772 | 0.00036111 | 0.093098 | 0.093099 | 0.093099 | 0.99261 | -0.13961 | 0.98268 | -0.33006 | 25.5767
26 | 0.00349 | 0.00087331 | -0.0034894 | -0.00087367 | 6.3919e-07 | -3.6407e-07 | 0.0052842 | 0.0052845 | 0.0052845 | 0.98268 | -0.33006 | 0.98249 | -0.33391 | 1.4518
27 | 0.057953 | 0.014691 | -0.057736 | -0.014553 | 0.00021682 | 0.00013782 | 0.087815 | 0.087815 | 0.087815 | 0.98268 | -0.33006 | 0.97867 | -0.40822 | 24.125
28 | 0.0029042 | 0.00072701 | -0.0029036 | -0.0007277 | 6.2794e-07 | -6.9399e-07 | 0.0043982 | 0.0043986 | 0.0043986 | 0.98249 | -0.33391 | 0.98226 | -0.33845 | 1.2084
29 | 0.054494 | 0.013741 | -0.05444 | -0.013706 | 5.4138e-05 | 3.4384e-05 | 0.082885 | 0.082885 | 0.082885 | 0.97867 | -0.40822 | 0.97761 | -0.429 | 22.7707
30 | 0.044515 | 0.011219 | -0.044488 | -0.011202 | 2.7063e-05 | 1.7123e-05 | 0.067779 | 0.067779 | 0.067779 | 0.97761 | -0.429 | 0.97696 | -0.44172 | 18.6207
31 | 0.0099246 | 0.0024871 | -0.0099219 | -0.0024858 | 2.6643e-06 | 1.3149e-06 | 0.015106 | 0.015106 | 0.015106 | 0.97761 | -0.429 | 0.97732 | -0.43464 | 4.1501
32 | 0.012696 | 0.0031819 | -0.012692 | -0.0031796 | 4.1341e-06 | 2.2809e-06 | 0.019391 | 0.019391 | 0.019391 | 0.97426 | -0.49716 | 0.97391 | -0.50399 | 5.3273
33 | 0.006369 | 0.0015945 | -0.0063681 | -0.0015942 | 8.9323e-07 | 2.5866e-07 | 0.0097303 | 0.0097305 | 0.0097305 | 0.97391 | -0.50399 | 0.97376 | -0.50694 | 2.6732
34 | 0.006323 | 0.0015851 | -0.0063133 | -0.0015824 | 9.6756e-06 | 2.7585e-06 | 0.0096609 | 0.0096621 | 0.0096621 | 0.97391 | -0.50399 | 0.97229 | -0.53613 | 2.6544
35 | 0.0035479 | 0.00088743 | -0.0035477 | -0.00088752 | 1.9705e-07 | -9.6308e-08 | 0.005421 | 0.005421 | 0.005421 | 0.97376 | -0.50694 | 0.97371 | -0.50811 | 1.4893
36 | 0.0063133 | 0.0015824 | -0.0063095 | -0.0015813 | 3.8103e-06 | 1.0897e-06 | 0.0096621 | 0.0096626 | 0.0096626 | 0.97229 | -0.53613 | 0.97165 | -0.54881 | 2.6546
37 | -0.0034826 | -0.00087141 | 0.0034827 | 0.00087138 | 5.1839e-08 | -2.8273e-08 | 0.0053057 | 0.0053057 | 0.0053057 | 0.97663 | -0.44821 | 0.97665 | -0.44789 | 1.4576
38 | 0.0011805 | 0.00029445 | -0.0011805 | -0.000295 | 5.6088e-08 | -5.4282e-07 | 0.0017982 | 0.0017984 | 0.0017984 | 0.97663 | -0.44821 | 0.97658 | -0.44921 | 0.49406
39 | -0.0070076 | -0.0017548 | 0.0070086 | 0.0017552 | 1.0101e-06 | 3.5069e-07 | 0.010676 | 0.010676 | 0.010676 | 0.97665 | -0.44789 | 0.9768 | -0.44487 | 2.933
40 | 0.0011805 | 0.000295 | -0.0011805 | -0.00029512 | 1.2841e-08 | -1.2425e-07 | 0.0017984 | 0.0017984 | 0.0017984 | 0.97658 | -0.44921 | 0.97657 | -0.44944 | 0.49408
41 | -0.0096256 | -0.002411 | 0.0096303 | 0.0024133 | 4.6893e-06 | 2.2727e-06 | 0.014663 | 0.014662 | 0.014663 | 0.9768 | -0.44487 | 0.97732 | -0.43464 | 4.0282
42 | 0.0011805 | 0.00029512 | -0.0011804 | -0.00029584 | 7.3935e-08 | -7.152e-07 | 0.0017984 | 0.0017987 | 0.0017987 | 0.97657 | -0.44944 | 0.9765 | -0.45075 | 0.49415
43 | 0.00029163 | 7.2507e-05 | -0.00029163 | -7.3089e-05 | 3.4412e-09 | -5.8131e-07 | 0.00044381 | 0.00044402 | 0.00044402 | 0.97732 | -0.43464 | 0.97731 | -0.43489 | 0.12198
44 | 0.040998 | 0.010327 | -0.040959 | -0.010302 | 3.9812e-05 | 2.514e-05 | 0.062464 | 0.062464 | 0.062464 | 0.97696 | -0.44172 | 0.97592 | -0.46204 | 17.1604
45 | 0.037975 | 0.0095546 | -0.03794 | -0.0095324 | 3.5229e-05 | 2.2197e-05 | 0.057915 | 0.057915 | 0.057915 | 0.97592 | -0.46204 | 0.97494 | -0.48148 | 15.9107
46 | -0.0025211 | -0.00063185 | 0.0025211 | 0.0006318 | 3.2256e-08 | -5.1193e-08 | 0.003856 | 0.003856 | 0.003856 | 0.97288 | -0.52194 | 0.9729 | -0.52167 | 1.0593
47 | -0.030332 | -0.0076019 | 0.030357 | 0.0076174 | 2.4787e-05 | 1.5482e-05 | 0.046392 | 0.046392 | 0.046392 | 0.9729 | -0.52167 | 0.97377 | -0.50453 | 12.7452
48 | 0.035148 | 0.0088327 | -0.035109 | -0.0088085 | 3.8637e-05 | 2.4282e-05 | 0.053654 | 0.053654 | 0.053654 | 0.97494 | -0.48148 | 0.97377 | -0.50453 | 14.7402
49 | -0.0051115 | -0.0012811 | 0.0051116 | 0.0012811 | 9.6242e-08 | 9.7227e-09 | 0.0078281 | 0.0078281 | 0.0078281 | 0.97163 | -0.5492 | 0.97165 | -0.54881 | 2.1506
50 | 0.0035477 | 0.00088752 | -0.0035475 | -0.00088762 | 1.9235e-07 | -9.398e-08 | 0.005421 | 0.0054211 | 0.0054211 | 0.97371 | -0.50811 | 0.97365 | -0.50925 | 1.4893
51 | 0.0023837 | 0.00059594 | -0.0023837 | -0.00059596 | 1.1195e-08 | -2.082e-08 | 0.0036425 | 0.0036425 | 0.0036425 | 0.97365 | -0.50925 | 0.97364 | -0.50935 | 1.0007
52 | 0.0017825 | 0.00044528 | -0.0017823 | -0.00044614 | 2.2549e-07 | -8.6349e-07 | 0.0027237 | 0.002724 | 0.002724 | 0.97364 | -0.50935 | 0.97351 | -0.51201 | 0.74836
53 | 0.0017823 | 0.00044614 | -0.0017821 | -0.00044665 | 1.3099e-07 | -5.0137e-07 | 0.002724 | 0.0027242 | 0.0027242 | 0.97351 | -0.51201 | 0.97343 | -0.51355 | 0.74841

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.15951 | 0.040565

## res_load
| p_mw | q_mvar
0 | 0.018179 | 0.004556
1 | 0.011103 | 0.0027826
2 | 0.0010997 | 0.00027561
3 | 0.012049 | 0.0030199
4 | 0.0013114 | 0.00032867
5 | 0.00031257 | 7.8337e-05
6 | 0.0016855 | 0.00042241
7 | 0.0036987 | 0.00092697
8 | 0.00097639 | 0.00024471
9 | 0.00037572 | 9.4163e-05
10 | 0.0050871 | 0.001275
11 | 0.0031742 | 0.00079553
12 | 0.0022693 | 0.00056873
13 | 0.019816 | 0.0049663
14 | 0.00058521 | 0.00014667
15 | 0.0032424 | 0.00081261
16 | 0.0029036 | 0.0007277
17 | 0.00034686 | 8.6931e-05
18 | 0.0028202 | 0.0007068
19 | 0.0023021 | 0.00057696
20 | 0.0035249 | 0.00088343
21 | 0.002617 | 0.00065588
22 | 0.0011804 | 0.00029584
23 | 0.00029163 | 7.3089e-05
24 | 0.0034899 | 0.00087466
25 | 0.0029835 | 0.00074773
26 | 0.0025211 | 0.00063185
27 | 0.027811 | 0.0069701
28 | 0.0027918 | 0.00069969
29 | 0.0047523 | 0.001191
30 | 0.0051115 | 0.0012811
31 | 0.0011979 | 0.00030022
32 | 0.0011638 | 0.00029168
33 | 0.00060121 | 0.00015068
34 | 0.0017821 | 0.00044665

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1