## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1322-56_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1322-56_0_2_node_12 | 0.4 | n |  | TRUE
2 | bus_LV_1322-56_0_2_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1322-56_0_2_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_1322-56_0_2_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_1322-56_0_2_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_1322-56_0_2_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_1322-56_0_2_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_1322-56_0_2_node_2 | 0.4 | n |  | TRUE
9 | bus_LV_1322-56_0_2_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_1322-56_0_2_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_1322-56_0_2_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_1322-56_0_2_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_1322-56_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1322-56_0_2_node_3 | 0.4 | n |  | TRUE
15 | bus_LV_1322-56_0_2_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_1322-56_0_2_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_1322-56_0_2_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1322-56_0_2_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_1322-56_0_2_node_4 | 0.4 | n |  | TRUE
20 | bus_LV_1322-56_0_2_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_1322-56_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1322-56_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1322-56_0_2_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_1322-56_0_2_node_5 | 0.4 | n |  | TRUE
25 | bus_LV_1322-56_0_2_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1322-56_0_2_node_6 | 0.4 | n |  | TRUE
27 | bus_LV_1322-56_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1322-56_0_2_node_8 | 0.4 | n |  | TRUE
29 | bus_LV_1322-56_0_2_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1322-56_0_2_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_1322-56_0_2_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_1322-56_0_2_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_1322-56_0_2_node_9 | 0.4 | n |  | TRUE
34 | bus_LV_1322-56_0_2_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1322-56_0_2_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1322-56_0_2_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_1322-56_0_2_node_10 | 0.4 | n |  | TRUE
38 | bus_LV_1322-56_0_2_node_21 | 0.4 | n |  | TRUE
39 | bus_MV_15_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1322-56_0_2_load_12 | 1 | 0.0087491 | 0.0021927 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1322-56_0_2_load_28 | 3 | 0.0050995 | 0.0012781 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1322-56_0_2_load_18 | 4 | 0.0011949 | 0.00029946 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1322-56_0_2_load_20 | 5 | 0.0011413 | 0.00028605 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1322-56_0_2_load_30 | 6 | 0.0044556 | 0.0011167 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1322-56_0_2_load_36 | 7 | 0.0013066 | 0.00032748 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1322-56_0_2_load_23 | 10 | 0.0062589 | 0.0015686 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1322-56_0_2_load_15 | 11 | 0.03126 | 0.0078345 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1322-56_0_2_load_22 | 12 | 0.0051688 | 0.0012954 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1322-56_0_2_load_7 | 13 | 0.012457 | 0.003122 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1322-56_0_2_load_3 | 14 | 0.002999 | 0.00075163 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1322-56_0_2_load_24 | 15 | 0.0017457 | 0.00043751 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1322-56_0_2_load_29 | 16 | 0.014456 | 0.0036231 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1322-56_0_2_load_25 | 17 | 0.0058942 | 0.0014772 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1322-56_0_2_load_39 | 18 | 0.0037928 | 0.00095056 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1322-56_0_2_load_4 | 19 | 0.0011791 | 0.00029551 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1322-56_0_2_load_37 | 20 | 0.0012246 | 0.00030692 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1322-56_0_2_load_16 | 21 | 0.0010438 | 0.00026161 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1322-56_0_2_load_14 | 22 | 0.0052478 | 0.0013152 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1322-56_0_2_load_11 | 23 | 0.003616 | 0.00090626 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1322-56_0_2_load_5 | 24 | 0.00069787 | 0.0001749 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1322-56_0_2_load_17 | 25 | 0.0014755 | 0.00036978 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1322-56_0_2_load_19 | 27 | 0.009577 | 0.0024002 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1322-56_0_2_load_8 | 28 | 0.0032061 | 0.00080352 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1322-56_0_2_load_26 | 29 | 0.0053366 | 0.0013375 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1322-56_0_2_load_13 | 30 | 0.037611 | 0.0094261 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1322-56_0_2_load_31 | 31 | 0.0034326 | 0.00086029 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1322-56_0_2_load_35 | 32 | 0.0050089 | 0.0012553 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1322-56_0_2_load_9 | 33 | 0.010237 | 0.0025657 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1322-56_0_2_load_32 | 34 | 0.0097576 | 0.0024455 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1322-56_0_2_load_34 | 36 | 0.0038628 | 0.00096812 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1322-56_0_2_load_10 | 37 | 0.04494 | 0.011263 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1322-56_0_2_load_21 | 38 | 0.012156 | 0.0030465 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1322-56_0_2_line_0 |  | 0 | 1 | 0.015059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1322-56_0_2_line_1 |  | 0 | 2 | 0.04228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1322-56_0_2_line_2 |  | 0 | 3 | 0.023763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1322-56_0_2_line_3 |  | 1 | 4 | 0.065847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1322-56_0_2_line_4 |  | 2 | 5 | 0.085396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1322-56_0_2_line_5 |  | 3 | 6 | 6.3298e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1322-56_0_2_line_6 |  | 4 | 24 | 0.039945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1322-56_0_2_line_7 |  | 5 | 7 | 0.0011441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1322-56_0_2_line_8 |  | 6 | 34 | 0.015007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1322-56_0_2_line_9 |  | 7 | 37 | 0.00044546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1322-56_0_2_line_10 |  | 8 | 9 | 0.037762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1322-56_0_2_line_11 |  | 8 | 10 | 0.012668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1322-56_0_2_line_12 |  | 9 | 11 | 0.006519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1322-56_0_2_line_13 |  | 9 | 12 | 0.03894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1322-56_0_2_line_14 |  | 10 | 13 | 0.021506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1322-56_0_2_line_15 |  | 13 | 31 | 0.024273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1322-56_0_2_line_16 |  | 14 | 15 | 0.023264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1322-56_0_2_line_17 |  | 14 | 16 | 0.0085322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1322-56_0_2_line_18 |  | 15 | 17 | 0.0014019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1322-56_0_2_line_19 |  | 16 | 18 | 0.0019546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1322-56_0_2_line_20 |  | 17 | 32 | 0.0016238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1322-56_0_2_line_21 |  | 18 | 36 | 0.00278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1322-56_0_2_line_22 |  | 19 | 20 | 0.0014721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1322-56_0_2_line_23 |  | 19 | 21 | 0.00769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1322-56_0_2_line_24 |  | 20 | 22 | 0.017858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1322-56_0_2_line_25 |  | 21 | 23 | 0.0060873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1322-56_0_2_line_26 |  | 22 | 35 | 0.013092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1322-56_0_2_line_27 |  | 24 | 25 | 0.031408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1322-56_0_2_line_28 |  | 26 | 27 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1322-56_0_2_line_29 |  | 26 | 28 | 0.0078816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1322-56_0_2_line_30 |  | 26 | 29 | 0.012334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1322-56_0_2_line_31 |  | 27 | 30 | 0.011191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1322-56_0_2_line_32 |  | 28 | 31 | 0.0115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1322-56_0_2_line_33 |  | 29 | 32 | 0.0012794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1322-56_0_2_line_34 |  | 30 | 38 | 0.045128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1322-56_0_2_line_35 |  | 33 | 34 | 0.0071937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1322-56_0_2_line_36 |  | 33 | 35 | 0.0046444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1322-56_0_2_line_37 |  | 35 | 36 | 0.028197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1322-56_0_2_trafo_3 | 0.63 MVA 20/0.4 kV | 39 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2698023.0191 | 1228850.4632 | 2698032.0054 | 1228838.3789
1 | 2698051.2261 | 1228882.0288 | 2698039.5702 | 1228869.2385 | 2698023.0191 | 1228850.4632
2 | 2698023.0191 | 1228850.4632 | 2698010.1285 | 1228835.7957 | 2698007.2816 | 1228832.6591
3 | 2698032.0054 | 1228838.3789 | 2698050.0891 | 1228814.0607 | 2698066.4988 | 1228782.5334
4 | 2698051.2261 | 1228882.0288 | 2698015.2447 | 1228897.7695 | 2697975.2222 | 1228920.6924
5 | 2698007.2816 | 1228832.6591 | 2698007.239 | 1228832.6122
6 | 2698066.4988 | 1228782.5334 | 2698071.2114 | 1228773.4794 | 2698074.6985 | 1228764.6749 | 2698076.5889 | 1228760.7921 | 2698081.2144 | 1228745.5281
7 | 2697974.2294 | 1228921.261 | 2697975.2222 | 1228920.6924
8 | 2697997.1557 | 1228821.4969 | 2697997.5057 | 1228821.8887 | 2698007.239 | 1228832.6122
9 | 2697973.8428 | 1228921.4824 | 2697974.2294 | 1228921.261
10 | 2697870.4616 | 1228707.3251 | 2697852.2298 | 1228740.4159
11 | 2697870.4616 | 1228707.3251 | 2697880.5678 | 1228714.9637
12 | 2697852.2298 | 1228740.4159 | 2697851.6909 | 1228746.9117
13 | 2697852.2298 | 1228740.4159 | 2697837.6392 | 1228732.3033 | 2697830.5354 | 1228732.0418 | 2697826.7697 | 1228746.7031
14 | 2697880.5678 | 1228714.9637 | 2697897.7245 | 1228727.9312
15 | 2697917.0882 | 1228742.5669 | 2697897.7245 | 1228727.9312
16 | 2697944.134 | 1228766.3135 | 2697960.3968 | 1228781.8818 | 2697960.9185 | 1228782.4214
17 | 2697966.8489 | 1228788.5556 | 2697960.9185 | 1228782.4214
18 | 2697943.1213 | 1228765.344 | 2697944.134 | 1228766.3135
19 | 2697966.8489 | 1228788.5556 | 2697968.2074 | 1228789.9609
20 | 2697943.1213 | 1228765.344 | 2697941.9483 | 1228764.2211
21 | 2697970.1397 | 1228791.9595 | 2697968.2074 | 1228789.9609
22 | 2698011.624 | 1228791.2637 | 2698012.6873 | 1228790.2456
23 | 2698012.6873 | 1228790.2456 | 2698018.2418 | 1228784.9273
24 | 2698011.624 | 1228791.2637 | 2697998.7255 | 1228803.614
25 | 2698022.6385 | 1228780.7174 | 2698018.2418 | 1228784.9273
26 | 2697989.269 | 1228812.6686 | 2697998.7255 | 1228803.614
27 | 2698090.323 | 1228715.47 | 2698081.2144 | 1228745.5281
28 | 2697932.1148 | 1228754.8076 | 2697943.2579 | 1228740.1876
29 | 2697932.1148 | 1228754.8076 | 2697926.0109 | 1228749.8213
30 | 2697932.1148 | 1228754.8076 | 2697941.0241 | 1228763.3364
31 | 2697943.2579 | 1228740.1876 | 2697950.0416 | 1228731.2873
32 | 2697917.0882 | 1228742.5669 | 2697917.6536 | 1228742.9943 | 2697926.0109 | 1228749.8213
33 | 2697941.0241 | 1228763.3364 | 2697941.9483 | 1228764.2211
34 | 2697950.0416 | 1228731.2873 | 2697976.6239 | 1228694.8192
35 | 2697992.3631 | 1228816.1322 | 2697997.1557 | 1228821.4969
36 | 2697989.269 | 1228812.6686 | 2697992.3631 | 1228816.1322
37 | 2697989.269 | 1228812.6686 | 2697986.7987 | 1228809.9036 | 2697978.4429 | 1228800.5481 | 2697970.1397 | 1228791.9595

## bus_geodata
| x | y | coords
0 | 2698023.0191 | 1228850.4632
1 | 2698032.0054 | 1228838.3789
2 | 2698051.2261 | 1228882.0288
3 | 2698007.2816 | 1228832.6591
4 | 2698066.4988 | 1228782.5334
5 | 2697975.2222 | 1228920.6924
6 | 2698007.239 | 1228832.6122
7 | 2697974.2294 | 1228921.261
8 | 2697870.4616 | 1228707.3251
9 | 2697852.2298 | 1228740.4159
10 | 2697880.5678 | 1228714.9637
11 | 2697851.6909 | 1228746.9117
12 | 2697826.7697 | 1228746.7031
13 | 2697897.7245 | 1228727.9312
14 | 2697960.9185 | 1228782.4214
15 | 2697944.134 | 1228766.3135
16 | 2697966.8489 | 1228788.5556
17 | 2697943.1213 | 1228765.344
18 | 2697968.2074 | 1228789.9609
19 | 2698012.6873 | 1228790.2456
20 | 2698011.624 | 1228791.2637
21 | 2698018.2418 | 1228784.9273
22 | 2697998.7255 | 1228803.614
23 | 2698022.6385 | 1228780.7174
24 | 2698081.2144 | 1228745.5281
25 | 2698090.323 | 1228715.47
26 | 2697932.1148 | 1228754.8076
27 | 2697943.2579 | 1228740.1876
28 | 2697926.0109 | 1228749.8213
29 | 2697941.0241 | 1228763.3364
30 | 2697950.0416 | 1228731.2873
31 | 2697917.0882 | 1228742.5669
32 | 2697941.9483 | 1228764.2211
33 | 2697992.3631 | 1228816.1322
34 | 2697997.1557 | 1228821.4969
35 | 2697989.269 | 1228812.6686
36 | 2697970.1397 | 1228791.9595
37 | 2697973.8428 | 1228921.4824
38 | 2697976.6239 | 1228694.8192
39 | 2697932.1148 | 1228754.8076

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99281 | -0.13788 | 0 | 0
1 | 0.99264 | -0.1411 | 0.0087491 | 0.0021927
2 | 0.99097 | -0.17337 | 0 | 0
3 | 0.99411 | -0.1129 | 0.0050995 | 0.0012781
4 | 0.99244 | -0.14503 | 0.0011949 | 0.00029946
5 | 0.98725 | -0.24547 | 0.0011413 | 0.00028605
6 | 0.99411 | -0.11283 | 0.0044556 | 0.0011167
7 | 0.9872 | -0.24642 | 0.0013066 | 0.00032748
8 | 0.99161 | -0.16131 | 0 | 0
9 | 0.99035 | -0.18572 | 0 | 0
10 | 0.99203 | -0.15313 | 0.0062589 | 0.0015686
11 | 0.99016 | -0.18935 | 0.03126 | 0.0078345
12 | 0.99017 | -0.1893 | 0.0051688 | 0.0012954
13 | 0.99287 | -0.13688 | 0.012457 | 0.003122
14 | 1 | 0 | -0.26599 | -0.066922
15 | 0.99704 | -0.056577 | 0.0017457 | 0.00043751
16 | 0.99904 | -0.018382 | 0.014456 | 0.0036231
17 | 0.99687 | -0.059955 | 0.0058942 | 0.0014772
18 | 0.99884 | -0.022105 | 0.0037928 | 0.00095056
19 | 0.99569 | -0.082517 | 0.0011791 | 0.00029551
20 | 0.9957 | -0.082366 | 0.0012246 | 0.00030692
21 | 0.99566 | -0.083147 | 0.0010438 | 0.00026161
22 | 0.99581 | -0.080148 | 0.0052478 | 0.0013152
23 | 0.99564 | -0.083534 | 0.003616 | 0.00090626
24 | 0.99236 | -0.14657 | 0.00069787 | 0.0001749
25 | 0.99232 | -0.14739 | 0.0014755 | 0.00036978
26 | 0.99516 | -0.092797 | 0 | 0
27 | 0.99416 | -0.11202 | 0.009577 | 0.0024002
28 | 0.99471 | -0.10137 | 0.0032061 | 0.00080352
29 | 0.99652 | -0.066539 | 0.0053366 | 0.0013375
30 | 0.99366 | -0.12184 | 0.037611 | 0.0094261
31 | 0.9941 | -0.11325 | 0.0034326 | 0.00086029
32 | 0.99667 | -0.0637 | 0.0050089 | 0.0012553
33 | 0.99558 | -0.084587 | 0.010237 | 0.0025657
34 | 0.99506 | -0.094564 | 0.0097576 | 0.0024455
35 | 0.99596 | -0.077316 | 0 | 0
36 | 0.99857 | -0.027217 | 0.0038628 | 0.00096812
37 | 0.98718 | -0.24677 | 0.04494 | 0.011263
38 | 0.99316 | -0.13153 | 0.012156 | 0.0030465
39 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.01212 | 0.0030366 | -0.012118 | -0.0030356 | 1.8634e-06 | 9.9789e-07 | 0.018165 | 0.018165 | 0.018165 | 0.99281 | -0.13788 | 0.99264 | -0.1411 | 4.9904
1 | 0.047635 | 0.012033 | -0.047554 | -0.011982 | 8.0894e-05 | 5.1227e-05 | 0.071429 | 0.071429 | 0.071429 | 0.99281 | -0.13788 | 0.99097 | -0.17337 | 19.6234
2 | -0.059755 | -0.01507 | 0.059827 | 0.015115 | 7.1531e-05 | 4.5472e-05 | 0.089594 | 0.089594 | 0.089594 | 0.99281 | -0.13788 | 0.99411 | -0.1129 | 24.6138
3 | 0.003369 | 0.00084291 | -0.0033684 | -0.00084336 | 6.2972e-07 | -4.4801e-07 | 0.0050498 | 0.0050501 | 0.0050501 | 0.99264 | -0.1411 | 0.99244 | -0.14503 | 1.3874
4 | 0.047554 | 0.011982 | -0.047391 | -0.011878 | 0.00016339 | 0.00010347 | 0.071429 | 0.07143 | 0.07143 | 0.99097 | -0.17337 | 0.98725 | -0.24547 | 19.6236
5 | -0.064926 | -0.016393 | 0.064927 | 0.016393 | 2.2439e-07 | 1.4279e-07 | 0.097227 | 0.097227 | 0.097227 | 0.99411 | -0.1129 | 0.99411 | -0.11283 | 26.7108
6 | 0.0021735 | 0.0005439 | -0.0021734 | -0.00054432 | 1.5907e-07 | -4.1431e-07 | 0.0032586 | 0.0032588 | 0.0032588 | 0.99244 | -0.14503 | 0.99236 | -0.14657 | 0.89527
7 | 0.04625 | 0.011592 | -0.046248 | -0.011591 | 2.0849e-06 | 1.3197e-06 | 0.069709 | 0.069709 | 0.069709 | 0.98725 | -0.24547 | 0.9872 | -0.24642 | 19.151
8 | -0.069382 | -0.01751 | 0.069443 | 0.017549 | 6.0749e-05 | 3.8685e-05 | 0.1039 | 0.1039 | 0.1039 | 0.99411 | -0.11283 | 0.99506 | -0.094564 | 28.543
9 | 0.044941 | 0.011264 | -0.04494 | -0.011263 | 7.6653e-07 | 4.8489e-07 | 0.06774 | 0.06774 | 0.06774 | 0.9872 | -0.24642 | 0.98718 | -0.24677 | 18.6099
10 | 0.036478 | 0.00916 | -0.036435 | -0.0091334 | 4.244e-05 | 2.6675e-05 | 0.054745 | 0.054745 | 0.054745 | 0.99161 | -0.16131 | 0.99035 | -0.18572 | 15.0398
11 | -0.036478 | -0.00916 | 0.036492 | 0.009169 | 1.4237e-05 | 8.9485e-06 | 0.054745 | 0.054745 | 0.054745 | 0.99161 | -0.16131 | 0.99203 | -0.15313 | 15.0398
12 | 0.031265 | 0.0078379 | -0.03126 | -0.0078345 | 5.395e-06 | 3.3689e-06 | 0.046978 | 0.046978 | 0.046978 | 0.99035 | -0.18572 | 0.99016 | -0.18935 | 12.9059
13 | 0.0051697 | 0.0012955 | -0.0051688 | -0.0012954 | 8.8104e-07 | 6.2905e-08 | 0.0077675 | 0.0077676 | 0.0077676 | 0.99035 | -0.18572 | 0.99017 | -0.1893 | 2.134
14 | -0.042751 | -0.010738 | 0.042784 | 0.010759 | 3.3171e-05 | 2.0951e-05 | 0.064133 | 0.064133 | 0.064133 | 0.99203 | -0.15313 | 0.99287 | -0.13688 | 17.619
15 | -0.055241 | -0.013881 | 0.055303 | 0.01392 | 6.2406e-05 | 3.9626e-05 | 0.082802 | 0.082802 | 0.082802 | 0.99287 | -0.13688 | 0.9941 | -0.11325 | 22.7478
16 | 0.14001 | 0.035434 | -0.13963 | -0.035192 | 0.00037909 | 0.00024231 | 0.20845 | 0.20846 | 0.20846 | 1 | 0 | 0.99704 | -0.056577 | 57.2679
17 | 0.12433 | 0.031488 | -0.12422 | -0.031418 | 0.00010965 | 7.0066e-05 | 0.18512 | 0.18512 | 0.18512 | 1 | 0 | 0.99904 | -0.018382 | 50.8585
18 | 0.13788 | 0.034754 | -0.13786 | -0.03474 | 2.2277e-05 | 1.4239e-05 | 0.20585 | 0.20585 | 0.20585 | 0.99704 | -0.056577 | 0.99687 | -0.059955 | 56.5521
19 | 0.10977 | 0.027795 | -0.10975 | -0.027782 | 1.9616e-05 | 1.2529e-05 | 0.16359 | 0.16359 | 0.16359 | 0.99904 | -0.018382 | 0.99884 | -0.022105 | 44.9431
20 | 0.13197 | 0.033263 | -0.13194 | -0.033248 | 2.3645e-05 | 1.5111e-05 | 0.19705 | 0.19705 | 0.19705 | 0.99687 | -0.059955 | 0.99667 | -0.0637 | 54.135
21 | 0.10595 | 0.026832 | -0.10593 | -0.026815 | 2.6006e-05 | 1.6607e-05 | 0.15794 | 0.15794 | 0.15794 | 0.99884 | -0.022105 | 0.99857 | -0.027217 | 43.3909
22 | -0.0058391 | -0.0014633 | 0.0058392 | 0.0014633 | 4.2038e-08 | 7.7568e-09 | 0.0087263 | 0.0087263 | 0.0087263 | 0.99569 | -0.082517 | 0.9957 | -0.082366 | 2.3973
23 | 0.00466 | 0.0011678 | -0.0046599 | -0.0011678 | 1.3986e-07 | -1.0504e-08 | 0.0069642 | 0.0069642 | 0.0069642 | 0.99569 | -0.082517 | 0.99566 | -0.083147 | 1.9133
24 | -0.0070638 | -0.0017703 | 0.0070645 | 0.0017705 | 7.4626e-07 | 2.4531e-07 | 0.010556 | 0.010556 | 0.010556 | 0.9957 | -0.082366 | 0.99581 | -0.080148 | 2.9001
25 | 0.0036161 | 0.00090622 | -0.003616 | -0.00090626 | 6.6669e-08 | -3.6498e-08 | 0.0054042 | 0.0054043 | 0.0054043 | 0.99566 | -0.083147 | 0.99564 | -0.083534 | 1.4847
26 | -0.012312 | -0.0030857 | 0.012314 | 0.0030866 | 1.6618e-06 | 8.9323e-07 | 0.018398 | 0.018398 | 0.018398 | 0.99581 | -0.080148 | 0.99596 | -0.077316 | 5.0544
27 | 0.0014755 | 0.00036941 | -0.0014755 | -0.00036978 | 5.7651e-08 | -3.6886e-07 | 0.0022124 | 0.0022125 | 0.0022125 | 0.99236 | -0.14657 | 0.99232 | -0.14739 | 0.60783
28 | 0.059427 | 0.014925 | -0.059372 | -0.014891 | 5.4442e-05 | 3.4604e-05 | 0.088869 | 0.088869 | 0.088869 | 0.99516 | -0.092797 | 0.99416 | -0.11202 | 24.4146
29 | 0.062001 | 0.015621 | -0.061975 | -0.015605 | 2.5418e-05 | 1.6165e-05 | 0.092736 | 0.092736 | 0.092736 | 0.99516 | -0.092797 | 0.99471 | -0.10137 | 25.4769
30 | -0.12143 | -0.030547 | 0.12158 | 0.030644 | 0.00015254 | 9.7463e-05 | 0.1816 | 0.1816 | 0.1816 | 0.99516 | -0.092797 | 0.99652 | -0.066539 | 49.8915
31 | 0.049795 | 0.01249 | -0.049772 | -0.012476 | 2.3314e-05 | 1.4776e-05 | 0.074535 | 0.074535 | 0.074535 | 0.99416 | -0.11202 | 0.99366 | -0.12184 | 20.4766
32 | 0.058769 | 0.014802 | -0.058736 | -0.01478 | 3.3351e-05 | 2.1195e-05 | 0.08794 | 0.08794 | 0.08794 | 0.99471 | -0.10137 | 0.9941 | -0.11325 | 24.1593
33 | -0.12692 | -0.031982 | 0.12693 | 0.031993 | 1.7242e-05 | 1.1018e-05 | 0.18957 | 0.18957 | 0.18957 | 0.99652 | -0.066539 | 0.99667 | -0.0637 | 52.0806
34 | 0.012161 | 0.0030495 | -0.012156 | -0.0030465 | 5.6134e-06 | 3.0083e-06 | 0.018213 | 0.018213 | 0.018213 | 0.99366 | -0.12184 | 0.99316 | -0.13153 | 5.0035
35 | 0.079238 | 0.020018 | -0.079201 | -0.019994 | 3.7873e-05 | 2.4145e-05 | 0.11849 | 0.11849 | 0.11849 | 0.99558 | -0.084587 | 0.99506 | -0.094564 | 32.5517
36 | -0.089476 | -0.022584 | 0.089507 | 0.022604 | 3.1174e-05 | 1.9891e-05 | 0.13379 | 0.13379 | 0.13379 | 0.99558 | -0.084587 | 0.99596 | -0.077316 | 36.7552
37 | -0.10182 | -0.025691 | 0.10207 | 0.025847 | 0.0002449 | 0.00015637 | 0.15219 | 0.15219 | 0.15219 | 0.99596 | -0.077316 | 0.99857 | -0.027217 | 41.8095

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.26899 | 0.067674

## res_load
| p_mw | q_mvar
0 | 0.0087491 | 0.0021927
1 | 0.0050995 | 0.0012781
2 | 0.0011949 | 0.00029946
3 | 0.0011413 | 0.00028605
4 | 0.0044556 | 0.0011167
5 | 0.0013066 | 0.00032748
6 | 0.0062589 | 0.0015686
7 | 0.03126 | 0.0078345
8 | 0.0051688 | 0.0012954
9 | 0.012457 | 0.003122
10 | 0.002999 | 0.00075163
11 | 0.0017457 | 0.00043751
12 | 0.014456 | 0.0036231
13 | 0.0058942 | 0.0014772
14 | 0.0037928 | 0.00095056
15 | 0.0011791 | 0.00029551
16 | 0.0012246 | 0.00030692
17 | 0.0010438 | 0.00026161
18 | 0.0052478 | 0.0013152
19 | 0.003616 | 0.00090626
20 | 0.00069787 | 0.0001749
21 | 0.0014755 | 0.00036978
22 | 0.009577 | 0.0024002
23 | 0.0032061 | 0.00080352
24 | 0.0053366 | 0.0013375
25 | 0.037611 | 0.0094261
26 | 0.0034326 | 0.00086029
27 | 0.0050089 | 0.0012553
28 | 0.010237 | 0.0025657
29 | 0.0097576 | 0.0024455
30 | 0.0038628 | 0.00096812
31 | 0.04494 | 0.011263
32 | 0.012156 | 0.0030465

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1