## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1322-57_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1322-57_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1322-57_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1322-57_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1322-57_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1322-57_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1322-57_0_5_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1322-57_0_5_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1322-57_0_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1322-57_0_5_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_1322-57_0_5_node_82 | 0.4 | n |  | TRUE
11 | bus_LV_1322-57_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1322-57_0_5_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1322-57_0_5_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_1322-57_0_5_node_83 | 0.4 | n |  | TRUE
15 | bus_LV_1322-57_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1322-57_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1322-57_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1322-57_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1322-57_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1322-57_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1322-57_0_5_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1322-57_0_5_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1322-57_0_5_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1322-57_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1322-57_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1322-57_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1322-57_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1322-57_0_5_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1322-57_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1322-57_0_5_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1322-57_0_5_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_1322-57_0_5_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_1322-57_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1322-57_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1322-57_0_5_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1322-57_0_5_node_89 | 0.4 | n |  | TRUE
37 | bus_LV_1322-57_0_5_node_90 | 0.4 | n |  | TRUE
38 | bus_LV_1322-57_0_5_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1322-57_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1322-57_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1322-57_0_5_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_1322-57_0_5_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1322-57_0_5_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_1322-57_0_5_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_1322-57_0_5_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_1322-57_0_5_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_1322-57_0_5_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_1322-57_0_5_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1322-57_0_5_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_1322-57_0_5_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_1322-57_0_5_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_1322-57_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_1322-57_0_5_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_1322-57_0_5_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_1322-57_0_5_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_1322-57_0_5_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_1322-57_0_5_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_1322-57_0_5_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_1322-57_0_5_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_1322-57_0_5_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_1322-57_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_1322-57_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_1322-57_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_1322-57_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_1322-57_0_5_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_1322-57_0_5_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_1322-57_0_5_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_1322-57_0_5_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_1322-57_0_5_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_1322-57_0_5_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_1322-57_0_5_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_1322-57_0_5_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_1322-57_0_5_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_1322-57_0_5_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_1322-57_0_5_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_1322-57_0_5_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_1322-57_0_5_node_93 | 0.4 | n |  | TRUE
78 | bus_LV_1322-57_0_5_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_1322-57_0_5_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_1322-57_0_5_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_1322-57_0_5_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_1322-57_0_5_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_1322-57_0_5_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_1322-57_0_5_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_1322-57_0_5_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_1322-57_0_5_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_1322-57_0_5_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_1322-57_0_5_node_91 | 0.4 | n |  | TRUE
89 | bus_MV_15_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1322-57_0_5_load_0 | 0 | 0.0026574 | 0.000666 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1322-57_0_5_load_1 | 1 | 0.0023685 | 0.00059361 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1322-57_0_5_load_4 | 4 | 0.0023336 | 0.00058486 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1322-57_0_5_load_11 | 7 | 0.0025004 | 0.00062666 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1322-57_0_5_load_10 | 8 | 0.0019091 | 0.00047846 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1322-57_0_5_load_32 | 9 | 0.0032343 | 0.00081059 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1322-57_0_5_load_82 | 10 | 0.0062416 | 0.0015643 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1322-57_0_5_load_6 | 11 | 0.0048498 | 0.0012155 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1322-57_0_5_load_30 | 13 | 0.0082316 | 0.002063 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1322-57_0_5_load_83 | 14 | 0.0020642 | 0.00051735 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1322-57_0_5_load_7 | 15 | 0.0018007 | 0.00045129 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1322-57_0_5_load_13 | 16 | 0.012195 | 0.0030564 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1322-57_0_5_load_14 | 17 | 0.0077792 | 0.0019497 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1322-57_0_5_load_15 | 18 | 0.0027035 | 0.00067756 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1322-57_0_5_load_17 | 20 | 0.0042664 | 0.0010693 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1322-57_0_5_load_18 | 21 | 0.0018482 | 0.0004632 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1322-57_0_5_load_27 | 22 | 0.0031467 | 0.00078863 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1322-57_0_5_load_26 | 23 | 0.0088112 | 0.0022083 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1322-57_0_5_load_19 | 24 | 0.0061287 | 0.001536 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1322-57_0_5_load_20 | 25 | 0.0037218 | 0.00093278 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1322-57_0_5_load_21 | 26 | 0.0023906 | 0.00059913 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1322-57_0_5_load_22 | 27 | 0.0037219 | 0.00093278 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1322-57_0_5_load_23 | 28 | 0.0064284 | 0.0016111 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1322-57_0_5_load_24 | 29 | 0.0023537 | 0.00058988 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1322-57_0_5_load_25 | 30 | 0.0026782 | 0.00067123 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1322-57_0_5_load_51 | 31 | 0.0087247 | 0.0021866 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1322-57_0_5_load_28 | 33 | 0.0088213 | 0.0022108 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1322-57_0_5_load_29 | 34 | 0.0040792 | 0.0010224 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1322-57_0_5_load_31 | 35 | 0.0055582 | 0.001393 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1322-57_0_5_load_90 | 37 | 0.0069665 | 0.001746 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1322-57_0_5_load_33 | 38 | 0.0028092 | 0.00070404 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1322-57_0_5_load_34 | 39 | 0.0043454 | 0.0010891 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1322-57_0_5_load_35 | 40 | 0.0089732 | 0.0022489 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1322-57_0_5_load_40 | 42 | 0.0040223 | 0.0010081 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1322-57_0_5_load_43 | 43 | 0.004364 | 0.0010937 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1322-57_0_5_load_78 | 44 | 0.011906 | 0.002984 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1322-57_0_5_load_76 | 46 | 0.0081313 | 0.0020379 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1322-57_0_5_load_38 | 48 | 0.0037444 | 0.00093844 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1322-57_0_5_load_42 | 49 | 0.0054336 | 0.0013618 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1322-57_0_5_load_66 | 50 | 0.011909 | 0.0029847 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1322-57_0_5_load_62 | 51 | 0.005101 | 0.0012784 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1322-57_0_5_load_39 | 52 | 0.0038016 | 0.00095276 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1322-57_0_5_load_41 | 53 | 0.0033008 | 0.00082726 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1322-57_0_5_load_45 | 54 | 0.0053489 | 0.0013406 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1322-57_0_5_load_46 | 55 | 0.0042822 | 0.0010732 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1322-57_0_5_load_44 | 56 | 0.012864 | 0.0032241 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1322-57_0_5_load_80 | 57 | 0.0050842 | 0.0012742 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1322-57_0_5_load_72 | 58 | 0.00421 | 0.0010551 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1322-57_0_5_load_73 | 59 | 0.0056685 | 0.0014206 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1322-57_0_5_load_74 | 60 | 0.0049496 | 0.0012405 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1322-57_0_5_load_47 | 61 | 0.0038425 | 0.00096302 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1322-57_0_5_load_48 | 62 | 0.0058362 | 0.0014627 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1322-57_0_5_load_49 | 63 | 0.004096 | 0.0010266 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1322-57_0_5_load_50 | 64 | 0.0068173 | 0.0017086 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1322-57_0_5_load_53 | 65 | 0.0036216 | 0.00090766 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1322-57_0_5_load_54 | 66 | 0.0092002 | 0.0023058 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1322-57_0_5_load_67 | 67 | 0.0039315 | 0.00098532 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1322-57_0_5_load_55 | 69 | 0.0032173 | 0.00080632 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1322-57_0_5_load_56 | 70 | 0.0039046 | 0.00097858 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1322-57_0_5_load_60 | 71 | 0.0039336 | 0.00098584 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1322-57_0_5_load_58 | 72 | 0.0037509 | 0.00094007 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1322-57_0_5_load_57 | 73 | 0.011363 | 0.0028478 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1322-57_0_5_load_59 | 74 | 0.0036439 | 0.00091324 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1322-57_0_5_load_94 | 75 | 0.013241 | 0.0033186 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1322-57_0_5_load_61 | 76 | 0.0059712 | 0.0014965 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1322-57_0_5_load_93 | 77 | 0.014587 | 0.0036558 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1322-57_0_5_load_88 | 78 | 0.009332 | 0.0023388 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1322-57_0_5_load_64 | 79 | 0.011067 | 0.0027737 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_1322-57_0_5_load_65 | 80 | 0.015723 | 0.0039405 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_1322-57_0_5_load_85 | 81 | 0.011283 | 0.0028279 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_1322-57_0_5_load_84 | 82 | 0.006505 | 0.0016303 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_1322-57_0_5_load_68 | 83 | 0.0034977 | 0.00087659 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_1322-57_0_5_load_69 | 84 | 0.0034977 | 0.00087659 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_1322-57_0_5_load_77 | 85 | 0.0077152 | 0.0019336 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_1322-57_0_5_load_86 | 86 | 0.0032933 | 0.00082538 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_1322-57_0_5_load_92 | 87 | 0.015835 | 0.0039686 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_1322-57_0_5_load_91 | 88 | 0.015854 | 0.0039734 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1322-57_0_5_line_0 |  | 0 | 1 | 0.0045006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1322-57_0_5_line_1 |  | 0 | 2 | 0.04523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1322-57_0_5_line_2 |  | 1 | 3 | 0.0096116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1322-57_0_5_line_3 |  | 2 | 4 | 0.018779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1322-57_0_5_line_4 |  | 2 | 5 | 0.016504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1322-57_0_5_line_5 |  | 3 | 6 | 0.037287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1322-57_0_5_line_6 |  | 3 | 7 | 0.0097429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1322-57_0_5_line_7 |  | 4 | 8 | 0.0076191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1322-57_0_5_line_8 |  | 5 | 9 | 0.017582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1322-57_0_5_line_9 |  | 5 | 10 | 0.023755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1322-57_0_5_line_10 |  | 6 | 11 | 0.039129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1322-57_0_5_line_11 |  | 7 | 12 | 0.011307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1322-57_0_5_line_12 |  | 9 | 13 | 0.012938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1322-57_0_5_line_13 |  | 10 | 14 | 0.013515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1322-57_0_5_line_14 |  | 11 | 15 | 0.018773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1322-57_0_5_line_15 |  | 12 | 16 | 0.045908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1322-57_0_5_line_16 |  | 13 | 33 | 0.064524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1322-57_0_5_line_17 |  | 14 | 82 | 0.010104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1322-57_0_5_line_18 |  | 17 | 18 | 0.0075159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1322-57_0_5_line_19 |  | 17 | 19 | 0.00703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1322-57_0_5_line_20 |  | 19 | 20 | 0.014956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1322-57_0_5_line_21 |  | 19 | 21 | 0.023387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1322-57_0_5_line_22 |  | 21 | 22 | 0.0025236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1322-57_0_5_line_23 |  | 22 | 23 | 0.0019378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1322-57_0_5_line_24 |  | 23 | 27 | 0.021489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1322-57_0_5_line_25 |  | 24 | 25 | 9.772e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1322-57_0_5_line_26 |  | 24 | 26 | 0.019403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1322-57_0_5_line_27 |  | 25 | 27 | 0.00012812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1322-57_0_5_line_28 |  | 26 | 28 | 0.0025706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_1322-57_0_5_line_29 |  | 28 | 29 | 0.0040604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_1322-57_0_5_line_30 |  | 29 | 30 | 0.015381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_1322-57_0_5_line_31 |  | 30 | 31 | 0.002569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1322-57_0_5_line_32 |  | 31 | 32 | 0.014427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_1322-57_0_5_line_33 |  | 32 | 47 | 0.029991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_1322-57_0_5_line_34 |  | 32 | 40 | 0.0070072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_1322-57_0_5_line_35 |  | 33 | 34 | 0.028171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1322-57_0_5_line_36 |  | 34 | 35 | 0.0082208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1322-57_0_5_line_37 |  | 35 | 36 | 0.045608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1322-57_0_5_line_38 |  | 36 | 37 | 0.021036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1322-57_0_5_line_39 |  | 37 | 88 | 0.032232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1322-57_0_5_line_40 |  | 38 | 39 | 0.024357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_1322-57_0_5_line_41 |  | 38 | 40 | 0.011141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_1322-57_0_5_line_42 |  | 39 | 41 | 0.011772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1322-57_0_5_line_43 |  | 41 | 42 | 0.0060891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1322-57_0_5_line_44 |  | 41 | 43 | 0.02881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1322-57_0_5_line_45 |  | 42 | 48 | 0.0071232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1322-57_0_5_line_46 |  | 43 | 49 | 0.0052284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1322-57_0_5_line_47 |  | 44 | 45 | 0.052288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1322-57_0_5_line_48 |  | 44 | 46 | 0.016435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1322-57_0_5_line_49 |  | 45 | 57 | 0.006442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1322-57_0_5_line_50 |  | 45 | 60 | 0.0022253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1322-57_0_5_line_51 |  | 46 | 85 | 0.002461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1322-57_0_5_line_52 |  | 47 | 50 | 0.023405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1322-57_0_5_line_53 |  | 47 | 51 | 0.026639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1322-57_0_5_line_54 |  | 48 | 52 | 0.019029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1322-57_0_5_line_55 |  | 49 | 56 | 0.0065258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1322-57_0_5_line_56 |  | 50 | 67 | 0.0052453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1322-57_0_5_line_57 |  | 51 | 68 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_1322-57_0_5_line_58 |  | 52 | 53 | 0.0067958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1322-57_0_5_line_59 |  | 53 | 54 | 0.0092607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1322-57_0_5_line_60 |  | 54 | 55 | 0.011081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1322-57_0_5_line_61 |  | 55 | 61 | 0.010505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1322-57_0_5_line_62 |  | 56 | 57 | 0.050624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1322-57_0_5_line_63 |  | 58 | 59 | 0.01235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1322-57_0_5_line_64 |  | 58 | 60 | 0.022221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1322-57_0_5_line_65 |  | 61 | 62 | 0.00069776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1322-57_0_5_line_66 |  | 62 | 63 | 0.010314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1322-57_0_5_line_67 |  | 63 | 64 | 0.0030228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1322-57_0_5_line_68 |  | 64 | 65 | 0.0039185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1322-57_0_5_line_69 |  | 65 | 66 | 0.020806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1322-57_0_5_line_70 |  | 66 | 69 | 0.00042472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1322-57_0_5_line_71 |  | 67 | 83 | 0.01786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1322-57_0_5_line_72 |  | 68 | 79 | 0.023325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1322-57_0_5_line_73 |  | 68 | 80 | 0.032893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_1322-57_0_5_line_74 |  | 69 | 70 | 0.0046948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1322-57_0_5_line_75 |  | 70 | 71 | 0.0021799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1322-57_0_5_line_76 |  | 71 | 72 | 0.0032991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1322-57_0_5_line_77 |  | 72 | 73 | 0.016931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1322-57_0_5_line_78 |  | 73 | 74 | 0.003983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1322-57_0_5_line_79 |  | 73 | 75 | 0.053792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1322-57_0_5_line_80 |  | 74 | 76 | 0.0054904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1322-57_0_5_line_81 |  | 75 | 77 | 0.0086686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1322-57_0_5_line_82 |  | 77 | 78 | 0.022661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1322-57_0_5_line_83 |  | 80 | 81 | 0.026024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1322-57_0_5_line_84 |  | 81 | 82 | 0.00045258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1322-57_0_5_line_85 |  | 83 | 84 | 0.01041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1322-57_0_5_line_86 |  | 86 | 87 | 0.073408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_1322-57_0_5_line_87 |  | 87 | 88 | 0.0076791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1322-57_0_5_trafo_22 | 0.63 MVA 20/0.4 kV | 89 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2697828.3911 | 1228160.2884 | 2697826.2847 | 1228160.502 | 2697823.9295 | 1228160.8676
1 | 2697873.4681 | 1228161.5344 | 2697850.8595 | 1228159.3053 | 2697836.6622 | 1228159.4497 | 2697828.3911 | 1228160.2884
2 | 2697814.4316 | 1228162.3418 | 2697823.9295 | 1228160.8676
3 | 2697873.4681 | 1228161.5344 | 2697892.1794 | 1228163.1321
4 | 2697870.973 | 1228177.7495 | 2697872.1033 | 1228174.9216 | 2697873.4681 | 1228161.5344
5 | 2697814.4316 | 1228162.3418 | 2697815.6761 | 1228151.6545 | 2697815.5668 | 1228125.1335
6 | 2697814.4316 | 1228162.3418 | 2697804.856 | 1228164.1394
7 | 2697892.1794 | 1228163.1321 | 2697899.7708 | 1228163.7804
8 | 2697870.973 | 1228177.7495 | 2697868.7659 | 1228180.6153 | 2697866.0884 | 1228183.0508 | 2697863.0178 | 1228184.9683 | 2697857.1679 | 1228188.2849
9 | 2697870.973 | 1228177.7495 | 2697877.5152 | 1228184.0839 | 2697888.3651 | 1228193.9251
10 | 2697815.5668 | 1228125.1335 | 2697823.6905 | 1228126.557 | 2697852.125 | 1228138.6041
11 | 2697793.8089 | 1228166.5502 | 2697804.085 | 1228164.2842 | 2697804.856 | 1228164.1394
12 | 2697845.9128 | 1228194.6661 | 2697857.1679 | 1228188.2849
13 | 2697888.3651 | 1228193.9251 | 2697900.8393 | 1228199.1251
14 | 2697852.125 | 1228138.6041 | 2697858.477 | 1228141.2953 | 2697869.8435 | 1228144.7307
15 | 2697793.8089 | 1228166.5502 | 2697792.6171 | 1228173.5802 | 2697783.67 | 1228177.9807 | 2697769.9082 | 1228182.0575 | 2697766.9215 | 1228185.7889 | 2697769.0312 | 1228195.2971
16 | 2697791.7166 | 1228229.5481 | 2697822.4418 | 1228207.9732 | 2697845.9128 | 1228194.6661
17 | 2697910.165 | 1228203.0127 | 2697900.8393 | 1228199.1251
18 | 2697841.184 | 1228235.1344 | 2697835.2192 | 1228239.7072
19 | 2697829.6401 | 1228243.9843 | 2697835.2192 | 1228239.7072
20 | 2697829.6401 | 1228243.9843 | 2697818.1203 | 1228253.5225
21 | 2697829.6401 | 1228243.9843 | 2697837.1084 | 1228252.0686 | 2697848.1461 | 1228257.678
22 | 2697850.3959 | 1228258.8213 | 2697848.1461 | 1228257.678
23 | 2697852.1233 | 1228259.6992 | 2697850.3959 | 1228258.8213
24 | 2697852.1233 | 1228259.6992 | 2697871.2801 | 1228269.4347
25 | 2697871.3943 | 1228269.4927 | 2697871.4814 | 1228269.537
26 | 2697871.4814 | 1228269.537 | 2697888.7792 | 1228278.3278
27 | 2697871.2801 | 1228269.4347 | 2697871.3943 | 1228269.4927
28 | 2697891.0709 | 1228279.4924 | 2697888.7792 | 1228278.3278
29 | 2697891.0709 | 1228279.4924 | 2697894.6907 | 1228281.332
30 | 2697908.4027 | 1228288.3005 | 2697894.6907 | 1228281.332
31 | 2697910.693 | 1228289.4644 | 2697908.4027 | 1228288.3005
32 | 2697923.554 | 1228296.0005 | 2697910.693 | 1228289.4644
33 | 2697923.554 | 1228296.0005 | 2697934.2624 | 1228283.5899 | 2697945.3593 | 1228275.6558
34 | 2697923.554 | 1228296.0005 | 2697920.5798 | 1228302.3451
35 | 2697791.7166 | 1228229.5481 | 2697768.6615 | 1228245.7372
36 | 2697761.9336 | 1228250.4614 | 2697768.6615 | 1228245.7372
37 | 2697724.6087 | 1228276.6707 | 2697761.9336 | 1228250.4614
38 | 2697724.6087 | 1228276.6707 | 2697727.103 | 1228285.8294 | 2697723.486 | 1228296.7921
39 | 2697722.4946 | 1228327.3581 | 2697722.4905 | 1228317.4654 | 2697718.8639 | 1228310.801 | 2697723.486 | 1228296.7921
40 | 2697915.8509 | 1228312.4326 | 2697905.5122 | 1228334.487 | 2697905.5122 | 1228334.487
41 | 2697915.8509 | 1228312.4326 | 2697920.5798 | 1228302.3451
42 | 2697897.3618 | 1228342.9812 | 2697905.5122 | 1228334.487
43 | 2697897.3618 | 1228342.9812 | 2697892.2768 | 1228346.3308
44 | 2697897.3618 | 1228342.9812 | 2697899.153 | 1228349.7267 | 2697892.6227 | 1228370.5575
45 | 2697886.3282 | 1228350.2492 | 2697892.2768 | 1228346.3308
46 | 2697891.0587 | 1228375.5465 | 2697892.6227 | 1228370.5575
47 | 2697941.574 | 1228404.2089 | 2697959.5031 | 1228355.0907
48 | 2697959.5031 | 1228355.0907 | 2697975.209 | 1228359.9322
49 | 2697941.574 | 1228404.2089 | 2697935.4624 | 1228402.1179
50 | 2697941.574 | 1228404.2089 | 2697943.6745 | 1228404.9438
51 | 2697975.209 | 1228359.9322 | 2697977.5607 | 1228360.6572
52 | 2697945.3593 | 1228275.6558 | 2697956.9055 | 1228284.152 | 2697964.9701 | 1228288.3029
53 | 2697945.3593 | 1228275.6558 | 2697941.6382 | 1228258.6377 | 2697945.2018 | 1228250.1355
54 | 2697886.3282 | 1228350.2492 | 2697878.1925 | 1228355.6083 | 2697869.0332 | 1228357.1411
55 | 2697889.1067 | 1228381.7735 | 2697891.0587 | 1228375.5465
56 | 2697969.6338 | 1228290.7034 | 2697964.9701 | 1228288.3029
57 | 2697954.6351 | 1228238.8818 | 2697946.7343 | 1228246.4795 | 2697945.2018 | 1228250.1355
58 | 2697869.0332 | 1228357.1411 | 2697862.3305 | 1228358.2628
59 | 2697862.3305 | 1228358.2628 | 2697858.472 | 1228358.9085 | 2697853.1598 | 1228358.2862
60 | 2697853.1598 | 1228358.2862 | 2697842.1546 | 1228356.9971
61 | 2697842.1546 | 1228356.9971 | 2697838.8134 | 1228356.6057 | 2697832.0097 | 1228354.4378
62 | 2697889.1067 | 1228381.7735 | 2697935.4624 | 1228402.1179
63 | 2697964.649 | 1228412.2818 | 2697976.3066 | 1228416.3603
64 | 2697964.649 | 1228412.2818 | 2697943.6745 | 1228404.9438
65 | 2697832.0097 | 1228354.4378 | 2697831.3448 | 1228354.226
66 | 2697831.3448 | 1228354.226 | 2697821.5175 | 1228351.0948
67 | 2697818.6373 | 1228350.1771 | 2697821.5175 | 1228351.0948
68 | 2697818.6373 | 1228350.1771 | 2697814.9037 | 1228348.9875
69 | 2697795.0801 | 1228342.6711 | 2697814.9037 | 1228348.9875
70 | 2697795.0801 | 1228342.6711 | 2697794.6754 | 1228342.5422
71 | 2697969.6338 | 1228290.7034 | 2697974.648 | 1228293.2842 | 2697985.9866 | 1228297.8416
72 | 2697954.6351 | 1228238.8818 | 2697970.8614 | 1228234.2568 | 2697977.2891 | 1228233.6935
73 | 2697954.6351 | 1228238.8818 | 2697948.9193 | 1228227.9353 | 2697934.6035 | 1228213.2001
74 | 2697794.6754 | 1228342.5422 | 2697790.2022 | 1228341.1169
75 | 2697790.2022 | 1228341.1169 | 2697788.1252 | 1228340.4552
76 | 2697784.9818 | 1228339.4536 | 2697788.1252 | 1228340.4552
77 | 2697768.8502 | 1228334.3136 | 2697784.9818 | 1228339.4536
78 | 2697768.8502 | 1228334.3136 | 2697765.0551 | 1228333.1044
79 | 2697768.8502 | 1228334.3136 | 2697753.6596 | 1228385.9161
80 | 2697759.8239 | 1228331.4376 | 2697765.0551 | 1228333.1044
81 | 2697747.6927 | 1228392.2043 | 2697753.6596 | 1228385.9161
82 | 2697747.6927 | 1228392.2043 | 2697732.0949 | 1228408.6423
83 | 2697910.5827 | 1228203.1868 | 2697934.6035 | 1228213.2001 | 2697934.6035 | 1228213.2001
84 | 2697910.165 | 1228203.0127 | 2697910.5827 | 1228203.1868
85 | 2697985.9866 | 1228297.8416 | 2697995.6458 | 1228301.7241
86 | 2697722.4978 | 1228335.0372 | 2697667.9566 | 1228384.1691
87 | 2697722.4946 | 1228327.3581 | 2697722.4978 | 1228335.0372

## bus_geodata
| x | y | coords
0 | 2697828.3911 | 1228160.2884
1 | 2697823.9295 | 1228160.8676
2 | 2697873.4681 | 1228161.5344
3 | 2697814.4316 | 1228162.3418
4 | 2697892.1794 | 1228163.1321
5 | 2697870.973 | 1228177.7495
6 | 2697815.5668 | 1228125.1335
7 | 2697804.856 | 1228164.1394
8 | 2697899.7708 | 1228163.7804
9 | 2697857.1679 | 1228188.2849
10 | 2697888.3651 | 1228193.9251
11 | 2697852.125 | 1228138.6041
12 | 2697793.8089 | 1228166.5502
13 | 2697845.9128 | 1228194.6661
14 | 2697900.8393 | 1228199.1251
15 | 2697869.8435 | 1228144.7307
16 | 2697769.0312 | 1228195.2971
17 | 2697835.2192 | 1228239.7072
18 | 2697841.184 | 1228235.1344
19 | 2697829.6401 | 1228243.9843
20 | 2697818.1203 | 1228253.5225
21 | 2697848.1461 | 1228257.678
22 | 2697850.3959 | 1228258.8213
23 | 2697852.1233 | 1228259.6992
24 | 2697871.4814 | 1228269.537
25 | 2697871.3943 | 1228269.4927
26 | 2697888.7792 | 1228278.3278
27 | 2697871.2801 | 1228269.4347
28 | 2697891.0709 | 1228279.4924
29 | 2697894.6907 | 1228281.332
30 | 2697908.4027 | 1228288.3005
31 | 2697910.693 | 1228289.4644
32 | 2697923.554 | 1228296.0005
33 | 2697791.7166 | 1228229.5481
34 | 2697768.6615 | 1228245.7372
35 | 2697761.9336 | 1228250.4614
36 | 2697724.6087 | 1228276.6707
37 | 2697723.486 | 1228296.7921
38 | 2697915.8509 | 1228312.4326
39 | 2697905.5122 | 1228334.487
40 | 2697920.5798 | 1228302.3451
41 | 2697897.3618 | 1228342.9812
42 | 2697892.2768 | 1228346.3308
43 | 2697892.6227 | 1228370.5575
44 | 2697959.5031 | 1228355.0907
45 | 2697941.574 | 1228404.2089
46 | 2697975.209 | 1228359.9322
47 | 2697945.3593 | 1228275.6558
48 | 2697886.3282 | 1228350.2492
49 | 2697891.0587 | 1228375.5465
50 | 2697964.9701 | 1228288.3029
51 | 2697945.2018 | 1228250.1355
52 | 2697869.0332 | 1228357.1411
53 | 2697862.3305 | 1228358.2628
54 | 2697853.1598 | 1228358.2862
55 | 2697842.1546 | 1228356.9971
56 | 2697889.1067 | 1228381.7735
57 | 2697935.4624 | 1228402.1179
58 | 2697964.649 | 1228412.2818
59 | 2697976.3066 | 1228416.3603
60 | 2697943.6745 | 1228404.9438
61 | 2697832.0097 | 1228354.4378
62 | 2697831.3448 | 1228354.226
63 | 2697821.5175 | 1228351.0948
64 | 2697818.6373 | 1228350.1771
65 | 2697814.9037 | 1228348.9875
66 | 2697795.0801 | 1228342.6711
67 | 2697969.6338 | 1228290.7034
68 | 2697954.6351 | 1228238.8818
69 | 2697794.6754 | 1228342.5422
70 | 2697790.2022 | 1228341.1169
71 | 2697788.1252 | 1228340.4552
72 | 2697784.9818 | 1228339.4536
73 | 2697768.8502 | 1228334.3136
74 | 2697765.0551 | 1228333.1044
75 | 2697753.6596 | 1228385.9161
76 | 2697759.8239 | 1228331.4376
77 | 2697747.6927 | 1228392.2043
78 | 2697732.0949 | 1228408.6423
79 | 2697977.2891 | 1228233.6935
80 | 2697934.6035 | 1228213.2001
81 | 2697910.5827 | 1228203.1868
82 | 2697910.165 | 1228203.0127
83 | 2697985.9866 | 1228297.8416
84 | 2697995.6458 | 1228301.7241
85 | 2697977.5607 | 1228360.6572
86 | 2697667.9566 | 1228384.1691
87 | 2697722.4978 | 1228335.0372
88 | 2697722.4946 | 1228327.3581
89 | 2697829.6401 | 1228243.9843

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98 | -0.38381 | 0.0026574 | 0.000666
1 | 0.9799 | -0.38575 | 0.0023685 | 0.00059361
2 | 0.9811 | -0.36219 | 0 | 0
3 | 0.97971 | -0.38948 | 0 | 0
4 | 0.98103 | -0.36363 | 0.0023336 | 0.00058486
5 | 0.98157 | -0.35304 | 0 | 0
6 | 0.97948 | -0.39398 | 0 | 0
7 | 0.97958 | -0.39208 | 0.0025004 | 0.00062666
8 | 0.98102 | -0.36389 | 0.0019091 | 0.00047846
9 | 0.98039 | -0.37593 | 0.0032343 | 0.00081059
10 | 0.98384 | -0.30909 | 0.0062416 | 0.0015643
11 | 0.97924 | -0.39871 | 0.0048498 | 0.0012155
12 | 0.97945 | -0.39458 | 0 | 0
13 | 0.97956 | -0.39205 | 0.0082316 | 0.002063
14 | 0.9852 | -0.28266 | 0.0020642 | 0.00051735
15 | 0.97921 | -0.39933 | 0.0018007 | 0.00045129
16 | 0.97893 | -0.40476 | 0.012195 | 0.0030564
17 | 0.99899 | -0.01941 | 0.0077792 | 0.0019497
18 | 0.99897 | -0.019764 | 0.0027035 | 0.00067756
19 | 0.99906 | -0.018123 | 0 | 0
20 | 0.999 | -0.019237 | 0.0042664 | 0.0010693
21 | 0.99937 | -0.0121 | 0.0018482 | 0.0004632
22 | 0.99941 | -0.011369 | 0.0031467 | 0.00078863
23 | 0.99944 | -0.010702 | 0.0088112 | 0.0022083
24 | 0.99998 | -0.00042463 | 0.0061287 | 0.001536
25 | 0.99999 | -0.00024179 | 0.0037218 | 0.00093278
26 | 0.99808 | -0.03628 | 0.0023906 | 0.00059913
27 | 1 | 0 | -0.46983 | -0.11987
28 | 0.99783 | -0.041013 | 0.0064284 | 0.0016111
29 | 0.99744 | -0.048381 | 0.0023537 | 0.00058988
30 | 0.99598 | -0.076181 | 0.0026782 | 0.00067123
31 | 0.99574 | -0.080803 | 0.0087247 | 0.0021866
32 | 0.9944 | -0.10624 | 0 | 0
33 | 0.97593 | -0.46312 | 0.0088213 | 0.0022108
34 | 0.97457 | -0.48976 | 0.0040792 | 0.0010224
35 | 0.97421 | -0.49693 | 0.0055582 | 0.001393
36 | 0.97242 | -0.53213 | 0 | 0
37 | 0.97159 | -0.54841 | 0.0069665 | 0.001746
38 | 0.99352 | -0.12319 | 0.0028092 | 0.00070404
39 | 0.99236 | -0.14532 | 0.0043454 | 0.0010891
40 | 0.99405 | -0.11295 | 0.0089732 | 0.0022489
41 | 0.99127 | -0.16631 | 0 | 0
42 | 0.99053 | -0.18045 | 0.0040223 | 0.0010081
43 | 0.9894 | -0.20231 | 0.004364 | 0.0010937
44 | 0.98491 | -0.28957 | 0.011906 | 0.002984
45 | 0.98625 | -0.26354 | 0 | 0
46 | 0.98467 | -0.29426 | 0.0081313 | 0.0020379
47 | 0.99313 | -0.1305 | 0 | 0
48 | 0.98969 | -0.19651 | 0.0037444 | 0.00093844
49 | 0.98909 | -0.20846 | 0.0054336 | 0.0013618
50 | 0.99264 | -0.13995 | 0.011909 | 0.0029847
51 | 0.99214 | -0.14941 | 0.005101 | 0.0012784
52 | 0.98752 | -0.23829 | 0.0038016 | 0.00095276
53 | 0.98677 | -0.25279 | 0.0033008 | 0.00082726
54 | 0.98578 | -0.27204 | 0.0053489 | 0.0013406
55 | 0.98464 | -0.29405 | 0.0042822 | 0.0010732
56 | 0.98872 | -0.2155 | 0.012864 | 0.0032241
57 | 0.9865 | -0.25862 | 0.0050842 | 0.0012742
58 | 0.98602 | -0.26806 | 0.00421 | 0.0010551
59 | 0.98595 | -0.26932 | 0.0056685 | 0.0014206
60 | 0.98622 | -0.26413 | 0.0049496 | 0.0012405
61 | 0.98361 | -0.31416 | 0.0038425 | 0.00096302
62 | 0.98354 | -0.31545 | 0.0058362 | 0.0014627
63 | 0.98262 | -0.33343 | 0.004096 | 0.0010266
64 | 0.98236 | -0.33848 | 0.0068173 | 0.0017086
65 | 0.98205 | -0.34456 | 0.0036216 | 0.00090766
66 | 0.98046 | -0.3755 | 0.0092002 | 0.0023058
67 | 0.99259 | -0.14097 | 0.0039315 | 0.00098532
68 | 0.9916 | -0.15968 | 0 | 0
69 | 0.98044 | -0.37606 | 0.0032173 | 0.00080632
70 | 0.98013 | -0.38199 | 0.0039046 | 0.00097858
71 | 0.98 | -0.3846 | 0.0039336 | 0.00098584
72 | 0.97981 | -0.38831 | 0.0037509 | 0.00094007
73 | 0.9789 | -0.40619 | 0.011363 | 0.0028478
74 | 0.97886 | -0.40689 | 0.0036439 | 0.00091324
75 | 0.97704 | -0.44262 | 0.013241 | 0.0033186
76 | 0.97883 | -0.40749 | 0.0059712 | 0.0014965
77 | 0.97685 | -0.44641 | 0.014587 | 0.0036558
78 | 0.97665 | -0.45027 | 0.009332 | 0.0023388
79 | 0.99137 | -0.16426 | 0.011067 | 0.0027737
80 | 0.9894 | -0.20185 | 0.015723 | 0.0039405
81 | 0.98629 | -0.26163 | 0.011283 | 0.0028279
82 | 0.98624 | -0.26258 | 0.006505 | 0.0016303
83 | 0.99248 | -0.14318 | 0.0034977 | 0.00087659
84 | 0.99244 | -0.14382 | 0.0034977 | 0.00087659
85 | 0.98466 | -0.2946 | 0.0077152 | 0.0019336
86 | 0.97018 | -0.57645 | 0.0032933 | 0.00082538
87 | 0.9704 | -0.57197 | 0.015835 | 0.0039686
88 | 0.97054 | -0.56925 | 0.015854 | 0.0039734
89 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.023733 | 0.0059529 | -0.023731 | -0.0059515 | 2.1918e-06 | 1.3461e-06 | 0.036037 | 0.036037 | 0.036037 | 0.98 | -0.38381 | 0.9799 | -0.38575 | 9.9004
1 | -0.02639 | -0.0066189 | 0.026417 | 0.0066357 | 2.7236e-05 | 1.686e-05 | 0.040072 | 0.040072 | 0.040072 | 0.98 | -0.38381 | 0.9811 | -0.36219 | 11.0088
2 | 0.021362 | 0.0053579 | -0.021358 | -0.0053556 | 3.7932e-06 | 2.3066e-06 | 0.032441 | 0.032441 | 0.032441 | 0.9799 | -0.38575 | 0.97971 | -0.38948 | 8.9123
3 | 0.004243 | 0.0010632 | -0.0042427 | -0.0010632 | 2.9164e-07 | -5.0481e-08 | 0.0064352 | 0.0064353 | 0.0064353 | 0.9811 | -0.36219 | 0.98103 | -0.36363 | 1.7679
4 | -0.03066 | -0.0076989 | 0.030674 | 0.0077073 | 1.3386e-05 | 8.3587e-06 | 0.046507 | 0.046507 | 0.046507 | 0.9811 | -0.36219 | 0.98157 | -0.35304 | 12.7767
5 | 0.0066535 | 0.0016675 | -0.0066521 | -0.001667 | 1.4279e-06 | 4.4447e-07 | 0.010106 | 0.010106 | 0.010106 | 0.97971 | -0.38948 | 0.97948 | -0.39398 | 2.7763
6 | 0.014705 | 0.0036881 | -0.014703 | -0.0036871 | 1.8226e-06 | 1.0438e-06 | 0.022335 | 0.022335 | 0.022335 | 0.97971 | -0.38948 | 0.97958 | -0.39208 | 6.136
7 | 0.0019091 | 0.00047838 | -0.0019091 | -0.00047846 | 2.3958e-08 | -8.0866e-08 | 0.0028957 | 0.0028957 | 0.0028957 | 0.98103 | -0.36363 | 0.98102 | -0.36389 | 0.79553
8 | 0.072437 | 0.01837 | -0.072357 | -0.018319 | 7.9615e-05 | 5.0732e-05 | 0.10989 | 0.10989 | 0.10989 | 0.98157 | -0.35304 | 0.98039 | -0.37593 | 30.1892
9 | -0.10311 | -0.026077 | 0.10333 | 0.026216 | 0.00021788 | 0.00013915 | 0.1564 | 0.1564 | 0.1564 | 0.98157 | -0.35304 | 0.98384 | -0.30909 | 42.9659
10 | 0.0066521 | 0.001667 | -0.0066506 | -0.0016666 | 1.4985e-06 | 4.6669e-07 | 0.010106 | 0.010106 | 0.010106 | 0.97948 | -0.39398 | 0.97924 | -0.39871 | 2.7763
11 | 0.012203 | 0.0030604 | -0.012201 | -0.0030596 | 1.457e-06 | 7.9018e-07 | 0.018537 | 0.018537 | 0.018537 | 0.97958 | -0.39208 | 0.97945 | -0.39458 | 5.0926
12 | 0.069123 | 0.017509 | -0.06907 | -0.017475 | 5.3471e-05 | 3.4058e-05 | 0.10498 | 0.10498 | 0.10498 | 0.98039 | -0.37593 | 0.97956 | -0.39205 | 28.8407
13 | -0.10957 | -0.027781 | 0.10971 | 0.02787 | 0.00013938 | 8.903e-05 | 0.16584 | 0.16584 | 0.16584 | 0.98384 | -0.30909 | 0.9852 | -0.28266 | 45.5593
14 | 0.0018007 | 0.00045109 | -0.0018007 | -0.00045129 | 5.2708e-08 | -2.0243e-07 | 0.0027362 | 0.0027363 | 0.0027363 | 0.97924 | -0.39871 | 0.97921 | -0.39933 | 0.75174
15 | 0.012201 | 0.0030596 | -0.012195 | -0.0030564 | 5.9156e-06 | 3.2085e-06 | 0.018537 | 0.018537 | 0.018537 | 0.97945 | -0.39458 | 0.97893 | -0.40476 | 5.0926
16 | 0.060838 | 0.015412 | -0.060631 | -0.01528 | 0.00020692 | 0.00013162 | 0.092476 | 0.092476 | 0.092476 | 0.97956 | -0.39205 | 0.97593 | -0.46312 | 25.4055
17 | -0.11177 | -0.028387 | 0.11188 | 0.028456 | 0.00010815 | 6.9089e-05 | 0.16895 | 0.16895 | 0.16895 | 0.9852 | -0.28266 | 0.98624 | -0.26258 | 46.4158
18 | 0.0027035 | 0.00067749 | -0.0027035 | -0.00067756 | 4.5706e-08 | -6.9151e-08 | 0.004027 | 0.004027 | 0.004027 | 0.99899 | -0.01941 | 0.99897 | -0.019764 | 1.1063
19 | -0.010483 | -0.0026272 | 0.010483 | 0.0026275 | 6.4273e-07 | 3.193e-07 | 0.015614 | 0.015614 | 0.015614 | 0.99899 | -0.01941 | 0.99906 | -0.018123 | 4.2896
20 | 0.0042667 | 0.0010692 | -0.0042664 | -0.0010693 | 2.2649e-07 | -5.0875e-08 | 0.0063548 | 0.0063549 | 0.0063549 | 0.99906 | -0.018123 | 0.999 | -0.019237 | 1.7458
21 | -0.01475 | -0.0036967 | 0.014754 | 0.0036991 | 4.2328e-06 | 2.4027e-06 | 0.021969 | 0.021969 | 0.021969 | 0.99906 | -0.018123 | 0.99937 | -0.0121 | 6.0355
22 | -0.016602 | -0.0041623 | 0.016603 | 0.0041626 | 5.7833e-07 | 3.3706e-07 | 0.024721 | 0.024721 | 0.024721 | 0.99937 | -0.0121 | 0.99941 | -0.011369 | 6.7914
23 | -0.01975 | -0.0049513 | 0.01975 | 0.0049516 | 6.2835e-07 | 3.7675e-07 | 0.029406 | 0.029406 | 0.029406 | 0.99941 | -0.011369 | 0.99944 | -0.010702 | 8.0785
24 | -0.028562 | -0.0071599 | 0.028576 | 0.007169 | 1.4572e-05 | 9.0442e-06 | 0.042524 | 0.042524 | 0.042524 | 0.99944 | -0.010702 | 1 | 0 | 11.6825
25 | -0.43588 | -0.11177 | 0.43588 | 0.11177 | 3.8647e-06 | 2.4683e-06 | 0.6495 | 0.6495 | 0.6495 | 0.99998 | -0.00042463 | 0.99999 | -0.00024179 | 44.6085
26 | 0.42975 | 0.11023 | -0.429 | -0.10975 | 0.00074598 | 0.00047641 | 0.64038 | 0.64038 | 0.64038 | 0.99998 | -0.00042463 | 0.99808 | -0.03628 | 43.9821
27 | -0.4396 | -0.1127 | 0.43961 | 0.1127 | 5.1536e-06 | 3.2916e-06 | 0.65504 | 0.65504 | 0.65504 | 0.99999 | -0.00024179 | 1 | 0 | 44.9888
28 | 0.42661 | 0.10915 | -0.42651 | -0.10909 | 9.7732e-05 | 6.2414e-05 | 0.63682 | 0.63682 | 0.63682 | 0.99808 | -0.03628 | 0.99783 | -0.041013 | 43.7374
29 | 0.42008 | 0.10748 | -0.41993 | -0.10738 | 0.00014976 | 9.5635e-05 | 0.62723 | 0.62723 | 0.62723 | 0.99783 | -0.041013 | 0.99744 | -0.048381 | 43.079
30 | 0.41758 | 0.1068 | -0.41702 | -0.10644 | 0.00056097 | 0.00035822 | 0.62372 | 0.62372 | 0.62372 | 0.99744 | -0.048381 | 0.99598 | -0.076181 | 42.8378
31 | 0.41434 | 0.10577 | -0.41425 | -0.10571 | 9.2497e-05 | 5.9064e-05 | 0.61972 | 0.61972 | 0.61972 | 0.99598 | -0.076181 | 0.99574 | -0.080803 | 42.563
32 | 0.40552 | 0.10352 | -0.40503 | -0.1032 | 0.0004978 | 0.00031784 | 0.60668 | 0.60668 | 0.60668 | 0.99574 | -0.080803 | 0.9944 | -0.10624 | 41.6676
33 | 0.18553 | 0.04735 | -0.18531 | -0.047213 | 0.00021719 | 0.00013745 | 0.27793 | 0.27793 | 0.27793 | 0.9944 | -0.10624 | 0.99313 | -0.1305 | 19.0887
34 | 0.21949 | 0.055852 | -0.21942 | -0.055807 | 7.0998e-05 | 4.5075e-05 | 0.32875 | 0.32875 | 0.32875 | 0.9944 | -0.10624 | 0.99405 | -0.11295 | 22.579
35 | 0.05181 | 0.013069 | -0.051744 | -0.013027 | 6.5975e-05 | 4.1872e-05 | 0.079026 | 0.079026 | 0.079026 | 0.97593 | -0.46312 | 0.97457 | -0.48976 | 21.7105
36 | 0.047665 | 0.012005 | -0.047648 | -0.011995 | 1.6337e-05 | 1.0354e-05 | 0.072798 | 0.072798 | 0.072798 | 0.97457 | -0.48976 | 0.97421 | -0.49693 | 19.9994
37 | 0.04209 | 0.010602 | -0.042019 | -0.010557 | 7.073e-05 | 4.47e-05 | 0.064308 | 0.064308 | 0.064308 | 0.97421 | -0.49693 | 0.97242 | -0.53213 | 17.6671
38 | 0.042019 | 0.010557 | -0.041987 | -0.010536 | 3.2624e-05 | 2.0619e-05 | 0.064308 | 0.064308 | 0.064308 | 0.97242 | -0.53213 | 0.97159 | -0.54841 | 17.6671
39 | 0.03502 | 0.0087903 | -0.034985 | -0.0087684 | 3.4776e-05 | 2.1858e-05 | 0.053639 | 0.053639 | 0.053639 | 0.97159 | -0.54841 | 0.97054 | -0.56925 | 14.736
40 | 0.20754 | 0.052788 | -0.20732 | -0.052648 | 0.00022102 | 0.00014019 | 0.31111 | 0.31111 | 0.31111 | 0.99352 | -0.12319 | 0.99236 | -0.14532 | 21.3675
41 | -0.21035 | -0.053492 | 0.21045 | 0.053558 | 0.00010385 | 6.5884e-05 | 0.31532 | 0.31532 | 0.31532 | 0.99352 | -0.12319 | 0.99405 | -0.11295 | 21.6564
42 | 0.20297 | 0.051559 | -0.20277 | -0.051428 | 0.00020479 | 0.00013076 | 0.3046 | 0.3046 | 0.3046 | 0.99236 | -0.14532 | 0.99127 | -0.16631 | 41.84
43 | 0.13213 | 0.033606 | -0.13204 | -0.033549 | 8.9987e-05 | 5.7514e-05 | 0.19852 | 0.19852 | 0.19852 | 0.99127 | -0.16631 | 0.99053 | -0.18045 | 54.5378
44 | 0.070637 | 0.017822 | -0.070516 | -0.017744 | 0.00012157 | 7.7432e-05 | 0.10608 | 0.10608 | 0.10608 | 0.99127 | -0.16631 | 0.9894 | -0.20231 | 29.1422
45 | 0.12802 | 0.032541 | -0.12792 | -0.032478 | 9.896e-05 | 6.3243e-05 | 0.19248 | 0.19248 | 0.19248 | 0.99053 | -0.18045 | 0.98969 | -0.19651 | 52.8778
46 | 0.066152 | 0.016651 | -0.066132 | -0.016638 | 1.9417e-05 | 1.236e-05 | 0.099515 | 0.099515 | 0.099515 | 0.9894 | -0.20231 | 0.98909 | -0.20846 | 27.3392
47 | -0.027756 | -0.0069576 | 0.027791 | 0.006979 | 3.4482e-05 | 2.1402e-05 | 0.041935 | 0.041935 | 0.041935 | 0.98491 | -0.28957 | 0.98625 | -0.26354 | 11.5206
48 | 0.01585 | 0.0039736 | -0.015847 | -0.0039715 | 3.5343e-06 | 2.0529e-06 | 0.023947 | 0.023947 | 0.023947 | 0.98491 | -0.28957 | 0.98467 | -0.29426 | 6.5788
49 | -0.042622 | -0.010696 | 0.042632 | 0.010703 | 9.9913e-06 | 6.3122e-06 | 0.064311 | 0.064311 | 0.064311 | 0.98625 | -0.26354 | 0.9865 | -0.25862 | 17.6678
50 | 0.014831 | 0.0037175 | -0.01483 | -0.0037172 | 4.1783e-07 | 2.3901e-07 | 0.022376 | 0.022376 | 0.022376 | 0.98625 | -0.26354 | 0.98622 | -0.26413 | 6.1473
51 | 0.0077153 | 0.0019337 | -0.0077152 | -0.0019336 | 1.2545e-07 | 4.8985e-08 | 0.011659 | 0.011659 | 0.011659 | 0.98467 | -0.29426 | 0.98466 | -0.2946 | 3.2031
52 | 0.022848 | 0.00573 | -0.022837 | -0.0057237 | 1.0287e-05 | 6.2807e-06 | 0.034234 | 0.034234 | 0.034234 | 0.99313 | -0.1305 | 0.99264 | -0.13995 | 9.405
53 | 0.16247 | 0.041483 | -0.16232 | -0.041389 | 0.00014832 | 9.3545e-05 | 0.2437 | 0.2437 | 0.2437 | 0.99313 | -0.1305 | 0.99214 | -0.14941 | 16.7375
54 | 0.12417 | 0.031539 | -0.12392 | -0.03138 | 0.00024912 | 0.00015919 | 0.18685 | 0.18685 | 0.18685 | 0.98969 | -0.19651 | 0.98752 | -0.23829 | 51.3312
55 | 0.060699 | 0.015276 | -0.060678 | -0.015263 | 2.0417e-05 | 1.2983e-05 | 0.09134 | 0.09134 | 0.09134 | 0.98909 | -0.20846 | 0.98872 | -0.2155 | 25.0934
56 | 0.010928 | 0.002739 | -0.010928 | -0.0027387 | 5.2787e-07 | 2.7003e-07 | 0.016382 | 0.016382 | 0.016382 | 0.99264 | -0.13995 | 0.99259 | -0.14097 | 4.5005
57 | 0.15722 | 0.040111 | -0.15714 | -0.040062 | 7.7964e-05 | 4.9127e-05 | 0.23605 | 0.23605 | 0.23605 | 0.99214 | -0.14941 | 0.9916 | -0.15968 | 16.2121
58 | 0.12012 | 0.030427 | -0.12004 | -0.030374 | 8.3598e-05 | 5.3416e-05 | 0.18112 | 0.18112 | 0.18112 | 0.98752 | -0.23829 | 0.98677 | -0.25279 | 49.7575
59 | 0.11674 | 0.029547 | -0.11663 | -0.029478 | 0.00010774 | 6.8837e-05 | 0.17614 | 0.17614 | 0.17614 | 0.98677 | -0.25279 | 0.98578 | -0.27204 | 48.3901
60 | 0.11128 | 0.028137 | -0.11116 | -0.028062 | 0.00011737 | 7.4975e-05 | 0.16807 | 0.16807 | 0.16807 | 0.98578 | -0.27204 | 0.98464 | -0.29405 | 46.172
61 | 0.10688 | 0.026989 | -0.10678 | -0.026923 | 0.00010287 | 6.5701e-05 | 0.16159 | 0.16159 | 0.16159 | 0.98464 | -0.29405 | 0.98361 | -0.31416 | 44.3942
62 | 0.047814 | 0.012039 | -0.047716 | -0.011977 | 9.8357e-05 | 6.2301e-05 | 0.07198 | 0.07198 | 0.07198 | 0.98872 | -0.2155 | 0.9865 | -0.25862 | 19.7747
63 | 0.0056688 | 0.0014207 | -0.0056685 | -0.0014206 | 3.3896e-07 | 5.9412e-08 | 0.0085549 | 0.0085549 | 0.0085549 | 0.98602 | -0.26806 | 0.98595 | -0.26932 | 2.3503
64 | -0.0098788 | -0.0024758 | 0.0098807 | 0.0024767 | 1.852e-06 | 9.0181e-07 | 0.014908 | 0.014908 | 0.014908 | 0.98602 | -0.26806 | 0.98622 | -0.26413 | 4.0957
65 | 0.10294 | 0.02596 | -0.10293 | -0.025956 | 6.3499e-06 | 4.0551e-06 | 0.15578 | 0.15578 | 0.15578 | 0.98361 | -0.31416 | 0.98354 | -0.31545 | 42.7972
66 | 0.097094 | 0.024494 | -0.097011 | -0.02444 | 8.3525e-05 | 5.3325e-05 | 0.14695 | 0.14695 | 0.14695 | 0.98354 | -0.31545 | 0.98262 | -0.33343 | 40.3715
67 | 0.092915 | 0.023414 | -0.092892 | -0.023399 | 2.2456e-05 | 1.4334e-05 | 0.14075 | 0.14075 | 0.14075 | 0.98262 | -0.33343 | 0.98236 | -0.33848 | 38.6674
68 | 0.086075 | 0.021691 | -0.08605 | -0.021675 | 2.4996e-05 | 1.5948e-05 | 0.13042 | 0.13042 | 0.13042 | 0.98236 | -0.33848 | 0.98205 | -0.34456 | 35.8305
69 | 0.082428 | 0.020767 | -0.082307 | -0.020689 | 0.00012178 | 7.7678e-05 | 0.12494 | 0.12494 | 0.12494 | 0.98205 | -0.34456 | 0.98046 | -0.3755 | 34.323
70 | 0.073106 | 0.018384 | -0.073104 | -0.018382 | 1.9614e-06 | 1.25e-06 | 0.11097 | 0.11097 | 0.11097 | 0.98046 | -0.3755 | 0.98044 | -0.37606 | 30.4871
71 | 0.0069962 | 0.0017534 | -0.0069954 | -0.0017531 | 7.3672e-07 | 2.4068e-07 | 0.010488 | 0.010488 | 0.010488 | 0.99259 | -0.14097 | 0.99248 | -0.14318 | 2.8814
72 | 0.011069 | 0.0027749 | -0.011067 | -0.0027737 | 2.4136e-06 | 1.2439e-06 | 0.016611 | 0.016611 | 0.016611 | 0.9916 | -0.15968 | 0.99137 | -0.16426 | 4.5636
73 | 0.14607 | 0.037287 | -0.14577 | -0.037097 | 0.00029698 | 0.00018922 | 0.21944 | 0.21944 | 0.21944 | 0.9916 | -0.15968 | 0.9894 | -0.20185 | 30.1424
74 | 0.069887 | 0.017576 | -0.069867 | -0.017563 | 1.9815e-05 | 1.2622e-05 | 0.10609 | 0.10609 | 0.10609 | 0.98044 | -0.37606 | 0.98013 | -0.38199 | 29.1456
75 | 0.065963 | 0.016585 | -0.065955 | -0.01658 | 8.201e-06 | 5.2212e-06 | 0.10016 | 0.10016 | 0.10016 | 0.98013 | -0.38199 | 0.98 | -0.3846 | 27.5171
76 | 0.062021 | 0.015594 | -0.06201 | -0.015587 | 1.0976e-05 | 6.9829e-06 | 0.09419 | 0.09419 | 0.09419 | 0.98 | -0.3846 | 0.97981 | -0.38831 | 25.8763
77 | 0.058259 | 0.014647 | -0.058209 | -0.014615 | 4.9719e-05 | 3.1607e-05 | 0.088493 | 0.088493 | 0.088493 | 0.97981 | -0.38831 | 0.9789 | -0.40619 | 24.3113
78 | 0.0096156 | 0.00241 | -0.0096152 | -0.0024098 | 3.1911e-07 | 1.5416e-07 | 0.014617 | 0.014617 | 0.014617 | 0.9789 | -0.40619 | 0.97886 | -0.40689 | 4.0156
79 | 0.037231 | 0.0093574 | -0.037166 | -0.0093167 | 6.4632e-05 | 4.0689e-05 | 0.056604 | 0.056604 | 0.056604 | 0.9789 | -0.40619 | 0.97704 | -0.44262 | 15.5506
80 | 0.0059714 | 0.0014966 | -0.0059712 | -0.0014965 | 1.6965e-07 | 3.9562e-08 | 0.0090774 | 0.0090774 | 0.0090774 | 0.97886 | -0.40689 | 0.97883 | -0.40749 | 2.4938
81 | 0.023925 | 0.0059981 | -0.023921 | -0.0059955 | 4.3161e-06 | 2.6537e-06 | 0.036438 | 0.036438 | 0.036438 | 0.97704 | -0.44262 | 0.97685 | -0.44641 | 10.0104
82 | 0.0093337 | 0.0023396 | -0.009332 | -0.0023388 | 1.7178e-06 | 8.1578e-07 | 0.014218 | 0.014218 | 0.014218 | 0.97685 | -0.44641 | 0.97665 | -0.45027 | 3.9061
83 | 0.13005 | 0.033157 | -0.12968 | -0.032918 | 0.00037411 | 0.00023909 | 0.19579 | 0.19579 | 0.19579 | 0.9894 | -0.20185 | 0.98629 | -0.26163 | 53.7887
84 | 0.11839 | 0.03009 | -0.11839 | -0.030087 | 5.4238e-06 | 3.4655e-06 | 0.17877 | 0.17877 | 0.17877 | 0.98629 | -0.26163 | 0.98624 | -0.26258 | 49.1121
85 | 0.0034978 | 0.00087653 | -0.0034977 | -0.00087659 | 1.0736e-07 | -6.5812e-08 | 0.0052441 | 0.0052442 | 0.0052442 | 0.99248 | -0.14318 | 0.99244 | -0.14382 | 1.4407
86 | -0.0032933 | -0.00082538 | 0.003294 | 0.00082492 | 7.023e-07 | -4.5721e-07 | 0.0050511 | 0.0050508 | 0.0050511 | 0.97018 | -0.57645 | 0.9704 | -0.57197 | 1.3877
87 | -0.019129 | -0.0047935 | 0.019131 | 0.004795 | 2.4775e-06 | 1.4907e-06 | 0.029332 | 0.029332 | 0.029332 | 0.9704 | -0.57197 | 0.97054 | -0.56925 | 8.0582

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47355 | 0.12081

## res_load
| p_mw | q_mvar
0 | 0.0026574 | 0.000666
1 | 0.0023685 | 0.00059361
2 | 0.0023336 | 0.00058486
3 | 0.0025004 | 0.00062666
4 | 0.0019091 | 0.00047846
5 | 0.0032343 | 0.00081059
6 | 0.0062416 | 0.0015643
7 | 0.0048498 | 0.0012155
8 | 0.0082316 | 0.002063
9 | 0.0020642 | 0.00051735
10 | 0.0018007 | 0.00045129
11 | 0.012195 | 0.0030564
12 | 0.0077792 | 0.0019497
13 | 0.0027035 | 0.00067756
14 | 0.0042664 | 0.0010693
15 | 0.0018482 | 0.0004632
16 | 0.0031467 | 0.00078863
17 | 0.0088112 | 0.0022083
18 | 0.0061287 | 0.001536
19 | 0.0037218 | 0.00093278
20 | 0.0023906 | 0.00059913
21 | 0.0037219 | 0.00093278
22 | 0.0064284 | 0.0016111
23 | 0.0023537 | 0.00058988
24 | 0.0026782 | 0.00067123
25 | 0.0087247 | 0.0021866
26 | 0.0088213 | 0.0022108
27 | 0.0040792 | 0.0010224
28 | 0.0055582 | 0.001393
29 | 0.0069665 | 0.001746
30 | 0.0028092 | 0.00070404
31 | 0.0043454 | 0.0010891
32 | 0.0089732 | 0.0022489
33 | 0.0040223 | 0.0010081
34 | 0.004364 | 0.0010937
35 | 0.011906 | 0.002984
36 | 0.0081313 | 0.0020379
37 | 0.0037444 | 0.00093844
38 | 0.0054336 | 0.0013618
39 | 0.011909 | 0.0029847
40 | 0.005101 | 0.0012784
41 | 0.0038016 | 0.00095276
42 | 0.0033008 | 0.00082726
43 | 0.0053489 | 0.0013406
44 | 0.0042822 | 0.0010732
45 | 0.012864 | 0.0032241
46 | 0.0050842 | 0.0012742
47 | 0.00421 | 0.0010551
48 | 0.0056685 | 0.0014206
49 | 0.0049496 | 0.0012405
50 | 0.0038425 | 0.00096302
51 | 0.0058362 | 0.0014627
52 | 0.004096 | 0.0010266
53 | 0.0068173 | 0.0017086
54 | 0.0036216 | 0.00090766
55 | 0.0092002 | 0.0023058
56 | 0.0039315 | 0.00098532
57 | 0.0032173 | 0.00080632
58 | 0.0039046 | 0.00097858
59 | 0.0039336 | 0.00098584
60 | 0.0037509 | 0.00094007
61 | 0.011363 | 0.0028478
62 | 0.0036439 | 0.00091324
63 | 0.013241 | 0.0033186
64 | 0.0059712 | 0.0014965
65 | 0.014587 | 0.0036558
66 | 0.009332 | 0.0023388
67 | 0.011067 | 0.0027737
68 | 0.015723 | 0.0039405
69 | 0.011283 | 0.0028279
70 | 0.006505 | 0.0016303
71 | 0.0034977 | 0.00087659
72 | 0.0034977 | 0.00087659
73 | 0.0077152 | 0.0019336
74 | 0.0032933 | 0.00082538
75 | 0.015835 | 0.0039686
76 | 0.015854 | 0.0039734

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1