## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1322-58_1_3_node_30 | 0.4 | n |  | TRUE
1 | bus_LV_1322-58_1_3_node_33 | 0.4 | n |  | TRUE
2 | bus_LV_1322-58_1_3_node_34 | 0.4 | n |  | TRUE
3 | bus_LV_1322-58_1_3_node_36 | 0.4 | n |  | TRUE
4 | bus_LV_1322-58_1_3_node_35 | 0.4 | n |  | TRUE
5 | bus_LV_1322-58_1_3_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_1322-58_1_3_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_1322-58_1_3_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_1322-58_1_3_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_1322-58_1_3_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_1322-58_1_3_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_1322-58_1_3_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_1322-58_1_3_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_1322-58_1_3_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_1322-58_1_3_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_1322-58_1_3_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_1322-58_1_3_node_101 | 0.4 | n |  | TRUE
17 | bus_LV_1322-58_1_3_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_1322-58_1_3_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_1322-58_1_3_node_71 | 0.4 | n |  | TRUE
20 | bus_LV_1322-58_1_3_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_1322-58_1_3_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_1322-58_1_3_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_1322-58_1_3_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_1322-58_1_3_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_1322-58_1_3_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_1322-58_1_3_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_1322-58_1_3_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_1322-58_1_3_node_96 | 0.4 | n |  | TRUE
29 | bus_LV_1322-58_1_3_node_97 | 0.4 | n |  | TRUE
30 | bus_LV_1322-58_1_3_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_1322-58_1_3_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_1322-58_1_3_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_1322-58_1_3_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_1322-58_1_3_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_1322-58_1_3_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_1322-58_1_3_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_1322-58_1_3_node_106 | 0.4 | n |  | TRUE
38 | bus_LV_1322-58_1_3_node_95 | 0.4 | n |  | TRUE
39 | bus_LV_1322-58_1_3_node_104 | 0.4 | n |  | TRUE
40 | bus_LV_1322-58_1_3_node_107 | 0.4 | n |  | TRUE
41 | bus_LV_1322-58_1_3_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_1322-58_1_3_node_103 | 0.4 | n |  | TRUE
43 | bus_LV_1322-58_1_3_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_1322-58_1_3_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_1322-58_1_3_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_1322-58_1_3_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_1322-58_1_3_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_1322-58_1_3_node_86 | 0.4 | n |  | TRUE
49 | bus_LV_1322-58_1_3_node_92 | 0.4 | n |  | TRUE
50 | bus_LV_1322-58_1_3_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_1322-58_1_3_node_93 | 0.4 | n |  | TRUE
52 | bus_LV_1322-58_1_3_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_1322-58_1_3_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_1322-58_1_3_node_85 | 0.4 | n |  | TRUE
55 | bus_LV_1322-58_1_3_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_1322-58_1_3_node_88 | 0.4 | n |  | TRUE
57 | bus_LV_1322-58_1_3_node_89 | 0.4 | n |  | TRUE
58 | bus_LV_1322-58_1_3_node_90 | 0.4 | n |  | TRUE
59 | bus_LV_1322-58_1_3_node_91 | 0.4 | n |  | TRUE
60 | bus_LV_1322-58_1_3_node_94 | 0.4 | n |  | TRUE
61 | bus_LV_1322-58_1_3_node_98 | 0.4 | n |  | TRUE
62 | bus_LV_1322-58_1_3_node_100 | 0.4 | n |  | TRUE
63 | bus_LV_1322-58_1_3_node_102 | 0.4 | n |  | TRUE
64 | bus_LV_1322-58_1_3_node_105 | 0.4 | n |  | TRUE
65 | bus_LV_1322-58_1_3_node_109 | 0.4 | n |  | TRUE
66 | bus_LV_1322-58_1_3_node_110 | 0.4 | n |  | TRUE
67 | bus_LV_1322-58_1_3_node_108 | 0.4 | n |  | TRUE
68 | bus_LV_1322-58_1_3_node_112 | 0.4 | n |  | TRUE
69 | bus_LV_1322-58_1_3_node_113 | 0.4 | n |  | TRUE
70 | bus_LV_1322-58_1_3_node_111 | 0.4 | n |  | TRUE
71 | bus_LV_1322-58_1_3_node_119 | 0.4 | n |  | TRUE
72 | bus_LV_1322-58_1_3_node_114 | 0.4 | n |  | TRUE
73 | bus_LV_1322-58_1_3_node_117 | 0.4 | n |  | TRUE
74 | bus_MV_15_0_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1322-58_1_3_load_30 | 0 | 0.0031871 | 0.00079875 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1322-58_1_3_load_33 | 1 | 0.0021979 | 0.00055084 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1322-58_1_3_load_36 | 3 | 0.0044329 | 0.001111 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1322-58_1_3_load_66 | 6 | 0.0026143 | 0.00065521 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1322-58_1_3_load_37 | 7 | 0.0025125 | 0.00062969 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1322-58_1_3_load_55 | 8 | 0.0040898 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1322-58_1_3_load_51 | 9 | 0.0035488 | 0.00088941 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1322-58_1_3_load_67 | 10 | 0.0042934 | 0.001076 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1322-58_1_3_load_38 | 11 | 0.0080787 | 0.0020247 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1322-58_1_3_load_39 | 12 | 0.0045095 | 0.0011302 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1322-58_1_3_load_40 | 13 | 0.0030347 | 0.00076057 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1322-58_1_3_load_41 | 14 | 0.0066614 | 0.0016695 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1322-58_1_3_load_42 | 15 | 0.003197 | 0.00080123 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1322-58_1_3_load_101 | 16 | 0.004691 | 0.0011757 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1322-58_1_3_load_43 | 17 | 0.0086221 | 0.0021609 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1322-58_1_3_load_44 | 18 | 0.0064292 | 0.0016113 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1322-58_1_3_load_71 | 19 | 0.0064914 | 0.0016269 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1322-58_1_3_load_45 | 20 | 0.0068494 | 0.0017166 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1322-58_1_3_load_46 | 21 | 0.0045427 | 0.0011385 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1322-58_1_3_load_47 | 22 | 0.0044611 | 0.0011181 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1322-58_1_3_load_48 | 23 | 0.0046239 | 0.0011588 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1322-58_1_3_load_49 | 24 | 0.0020494 | 0.00051363 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1322-58_1_3_load_50 | 25 | 0.002049 | 0.00051352 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1322-58_1_3_load_54 | 26 | 0.0065905 | 0.0016517 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1322-58_1_3_load_53 | 27 | 0.0030641 | 0.00076794 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1322-58_1_3_load_96 | 28 | 0.013993 | 0.003507 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1322-58_1_3_load_97 | 29 | 0.0045509 | 0.0011406 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1322-58_1_3_load_68 | 30 | 0.0023509 | 0.00058918 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1322-58_1_3_load_69 | 31 | 0.002832 | 0.00070978 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1322-58_1_3_load_70 | 32 | 0.00078886 | 0.00019771 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1322-58_1_3_load_72 | 33 | 0.0018951 | 0.00047495 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1322-58_1_3_load_73 | 34 | 0.008011 | 0.0020078 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1322-58_1_3_load_75 | 36 | 0.0063638 | 0.0015949 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1322-58_1_3_load_106 | 37 | 0.0016348 | 0.00040971 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1322-58_1_3_load_95 | 38 | 0.0042958 | 0.0010766 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1322-58_1_3_load_104 | 39 | 0.00091617 | 0.00022961 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1322-58_1_3_load_107 | 40 | 0.0026401 | 0.00066168 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1322-58_1_3_load_81 | 41 | 0.0022749 | 0.00057015 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1322-58_1_3_load_103 | 42 | 0.0022837 | 0.00057234 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1322-58_1_3_load_76 | 43 | 0.0066631 | 0.0016699 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1322-58_1_3_load_77 | 44 | 0.0048573 | 0.0012174 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1322-58_1_3_load_79 | 46 | 0.0046085 | 0.001155 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1322-58_1_3_load_80 | 47 | 0.0030445 | 0.00076302 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1322-58_1_3_load_86 | 48 | 0.0036238 | 0.0009082 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1322-58_1_3_load_92 | 49 | 0.0035786 | 0.00089687 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1322-58_1_3_load_93 | 51 | 0.0039811 | 0.00099777 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1322-58_1_3_load_82 | 52 | 0.0020996 | 0.0005262 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1322-58_1_3_load_83 | 53 | 0.0031356 | 0.00078587 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1322-58_1_3_load_85 | 54 | 0.0030898 | 0.00077438 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1322-58_1_3_load_87 | 55 | 0.0064946 | 0.0016277 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1322-58_1_3_load_88 | 56 | 0.0064926 | 0.0016272 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1322-58_1_3_load_89 | 57 | 0.0064979 | 0.0016285 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1322-58_1_3_load_90 | 58 | 0.0064926 | 0.0016272 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1322-58_1_3_load_91 | 59 | 0.0024157 | 0.00060544 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1322-58_1_3_load_94 | 60 | 0.0099979 | 0.0025057 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1322-58_1_3_load_98 | 61 | 0.0033364 | 0.00083618 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1322-58_1_3_load_100 | 62 | 0.0022009 | 0.00055159 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1322-58_1_3_load_105 | 64 | 0.002018 | 0.00050577 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1322-58_1_3_load_109 | 65 | 0.002713 | 0.00067994 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1322-58_1_3_load_110 | 66 | 0.0014325 | 0.00035902 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1322-58_1_3_load_108 | 67 | 0.0029427 | 0.00073751 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1322-58_1_3_load_112 | 68 | 0.0020999 | 0.00052629 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1322-58_1_3_load_113 | 69 | 0.0071097 | 0.0017819 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1322-58_1_3_load_111 | 70 | 0.0032825 | 0.00082266 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1322-58_1_3_load_119 | 71 | 0.0023635 | 0.00059236 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1322-58_1_3_load_117 | 73 | 0.0028728 | 0.00071999 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1322-58_1_3_line_0 |  | 0 | 1 | 0.0062289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1322-58_1_3_line_1 |  | 1 | 2 | 0.016395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1322-58_1_3_line_2 |  | 2 | 3 | 0.013897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1322-58_1_3_line_3 |  | 3 | 7 | 0.0088828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1322-58_1_3_line_4 |  | 4 | 5 | 0.012617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1322-58_1_3_line_5 |  | 4 | 6 | 0.017516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1322-58_1_3_line_6 |  | 5 | 8 | 0.056771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1322-58_1_3_line_7 |  | 5 | 9 | 0.019079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1322-58_1_3_line_8 |  | 6 | 10 | 0.0056692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1322-58_1_3_line_9 |  | 7 | 11 | 0.024441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1322-58_1_3_line_10 |  | 8 | 26 | 0.008085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1322-58_1_3_line_11 |  | 9 | 25 | 0.0081985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1322-58_1_3_line_12 |  | 10 | 30 | 0.024854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1322-58_1_3_line_13 |  | 11 | 12 | 0.0058052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1322-58_1_3_line_14 |  | 12 | 13 | 0.035563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1322-58_1_3_line_15 |  | 13 | 14 | 0.027919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1322-58_1_3_line_16 |  | 14 | 15 | 0.028248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1322-58_1_3_line_17 |  | 15 | 16 | 0.028919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1322-58_1_3_line_18 |  | 16 | 63 | 0.020107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1322-58_1_3_line_19 |  | 16 | 62 | 0.0074811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1322-58_1_3_line_20 |  | 17 | 18 | 0.020429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1322-58_1_3_line_21 |  | 17 | 19 | 0.03484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1322-58_1_3_line_22 |  | 18 | 20 | 0.015839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1322-58_1_3_line_23 |  | 19 | 33 | 0.016418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_1322-58_1_3_line_24 |  | 19 | 34 | 0.039301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1322-58_1_3_line_25 |  | 20 | 21 | 0.012753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1322-58_1_3_line_26 |  | 21 | 22 | 0.012673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1322-58_1_3_line_27 |  | 22 | 23 | 0.0012259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1322-58_1_3_line_28 |  | 23 | 24 | 0.028515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1322-58_1_3_line_29 |  | 24 | 25 | 1.2808e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1322-58_1_3_line_30 |  | 26 | 27 | 0.01239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1322-58_1_3_line_31 |  | 28 | 29 | 0.0048417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1322-58_1_3_line_32 |  | 29 | 61 | 0.015175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1322-58_1_3_line_33 |  | 30 | 31 | 0.0021085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1322-58_1_3_line_34 |  | 31 | 32 | 0.013214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1322-58_1_3_line_35 |  | 33 | 35 | 0.01577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_1322-58_1_3_line_36 |  | 34 | 36 | 0.016184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1322-58_1_3_line_37 |  | 35 | 37 | 0.013636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1322-58_1_3_line_38 |  | 35 | 38 | 0.017467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1322-58_1_3_line_39 |  | 35 | 39 | 0.025196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1322-58_1_3_line_40 |  | 37 | 40 | 0.00091974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1322-58_1_3_line_41 |  | 38 | 41 | 0.036987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1322-58_1_3_line_42 |  | 39 | 42 | 0.014541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1322-58_1_3_line_43 |  | 40 | 67 | 0.027925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1322-58_1_3_line_44 |  | 41 | 45 | 0.0096556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1322-58_1_3_line_45 |  | 42 | 63 | 0.01661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1322-58_1_3_line_46 |  | 43 | 44 | 0.018214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1322-58_1_3_line_47 |  | 43 | 45 | 0.01573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1322-58_1_3_line_48 |  | 44 | 46 | 0.029153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1322-58_1_3_line_49 |  | 45 | 47 | 0.016335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1322-58_1_3_line_50 |  | 46 | 48 | 0.0013899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1322-58_1_3_line_51 |  | 47 | 49 | 0.0099035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1322-58_1_3_line_52 |  | 48 | 50 | 0.019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1322-58_1_3_line_53 |  | 49 | 51 | 0.0086747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1322-58_1_3_line_54 |  | 50 | 55 | 0.0049619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1322-58_1_3_line_55 |  | 50 | 52 | 0.013226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1322-58_1_3_line_56 |  | 52 | 53 | 0.00042219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1322-58_1_3_line_57 |  | 53 | 54 | 0.025782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1322-58_1_3_line_58 |  | 55 | 56 | 0.0089318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1322-58_1_3_line_59 |  | 56 | 57 | 0.0089312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1322-58_1_3_line_60 |  | 57 | 58 | 0.0089338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1322-58_1_3_line_61 |  | 58 | 59 | 0.0086973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1322-58_1_3_line_62 |  | 59 | 60 | 0.018143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1322-58_1_3_line_63 |  | 61 | 62 | 0.018429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1322-58_1_3_line_64 |  | 63 | 64 | 0.015532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1322-58_1_3_line_65 |  | 64 | 65 | 0.0052334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1322-58_1_3_line_66 |  | 65 | 66 | 0.020171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1322-58_1_3_line_67 |  | 66 | 70 | 0.034953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1322-58_1_3_line_68 |  | 67 | 68 | 0.0069534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1322-58_1_3_line_69 |  | 68 | 69 | 0.059843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1322-58_1_3_line_70 |  | 69 | 72 | 0.035065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1322-58_1_3_line_71 |  | 70 | 71 | 0.0099389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1322-58_1_3_line_72 |  | 72 | 73 | 0.013667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1322-58_1_3_trafo_44 | 0.63 MVA 20/0.4 kV | 74 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2698062.8181 | 1228331.1142 | 2698057.3072 | 1228328.2108
1 | 2698074.3472 | 1228342.2513 | 2698068.0363 | 1228333.8634 | 2698062.8181 | 1228331.1142
2 | 2698074.3472 | 1228342.2513 | 2698088.1654 | 1228340.7765
3 | 2698088.1654 | 1228340.7765 | 2698090.8595 | 1228340.489 | 2698097.0186 | 1228340.9082
4 | 2698057.6767 | 1228392.6575 | 2698061.5428 | 1228380.6459
5 | 2698061.5428 | 1228380.6459 | 2698044.6103 | 1228376.1621
6 | 2698057.6767 | 1228392.6575 | 2698043.3006 | 1228412.4016 | 2698016.4188 | 1228430.3939
7 | 2698057.6767 | 1228392.6575 | 2698075.9991 | 1228397.9775
8 | 2698044.6103 | 1228376.1621 | 2698039.1299 | 1228374.7109
9 | 2698120.8189 | 1228345.3306 | 2698111.344 | 1228341.8833 | 2698097.0186 | 1228340.9082
10 | 2698008.7874 | 1228427.724 | 2698016.4188 | 1228430.3939
11 | 2698083.8724 | 1228400.2635 | 2698075.9991 | 1228397.9775
12 | 2698014.8446 | 1228369.5927 | 2698026.6599 | 1228371.4087 | 2698039.1299 | 1228374.7109
13 | 2698120.8189 | 1228345.3306 | 2698126.2743 | 1228347.3154
14 | 2698126.2743 | 1228347.3154 | 2698159.6939 | 1228359.4745
15 | 2698159.6939 | 1228359.4745 | 2698185.9307 | 1228369.0203
16 | 2698203.5098 | 1228385.4654 | 2698202.7448 | 1228375.1378 | 2698185.9307 | 1228369.0203
17 | 2698231.8547 | 1228391.1988 | 2698203.5098 | 1228385.4654
18 | 2698224.647 | 1228409.9691 | 2698231.8547 | 1228391.1988
19 | 2698234.5364 | 1228384.2149 | 2698231.8547 | 1228391.1988
20 | 2698172.2409 | 1228422.8947 | 2698156.7899 | 1228421.4352 | 2698152.0751 | 1228420.0662
21 | 2698183.8313 | 1228455.7508 | 2698172.2409 | 1228422.8947
22 | 2698136.8638 | 1228415.6496 | 2698152.0751 | 1228420.0662
23 | 2698183.8313 | 1228455.7508 | 2698199.6083 | 1228460.2933
24 | 2698183.8313 | 1228455.7508 | 2698183.8313 | 1228455.7508 | 2698178.0398 | 1228456.767 | 2698174.9833 | 1228460.586 | 2698170.7216 | 1228476.3494 | 2698158.7292 | 1228474.1058
25 | 2698136.8638 | 1228415.6496 | 2698124.6162 | 1228412.0935
26 | 2698124.6162 | 1228412.0935 | 2698112.4463 | 1228408.56
27 | 2698111.269 | 1228408.2181 | 2698112.4463 | 1228408.56
28 | 2698111.269 | 1228408.2181 | 2698083.8847 | 1228400.2671
29 | 2698083.8847 | 1228400.2671 | 2698083.8724 | 1228400.2635
30 | 2697997.0923 | 1228423.6324 | 2698008.7874 | 1228427.724
31 | 2698236.3242 | 1228348.1222 | 2698238.6174 | 1228352.3864
32 | 2698238.6174 | 1228352.3864 | 2698240.78 | 1228356.4077 | 2698241.1428 | 1228367.0103
33 | 2698012.7605 | 1228369.2724 | 2698014.8446 | 1228369.5927
34 | 2698012.7605 | 1228369.2724 | 2697999.6998 | 1228367.265
35 | 2698214.7631 | 1228464.6567 | 2698199.6083 | 1228460.2933
36 | 2698142.8209 | 1228471.1297 | 2698158.7292 | 1228474.1058
37 | 2698214.7631 | 1228464.6567 | 2698225.8156 | 1228472.6424
38 | 2698214.7631 | 1228464.6567 | 2698205.4251 | 1228479.4179
39 | 2698214.7631 | 1228464.6567 | 2698214.3988 | 1228440.8334 | 2698214.8306 | 1228439.533
40 | 2698226.5611 | 1228473.1811 | 2698225.8156 | 1228472.6424
41 | 2698185.6512 | 1228510.6757 | 2698205.4251 | 1228479.4179
42 | 2698219.413 | 1228425.7325 | 2698214.8306 | 1228439.533
43 | 2698226.5611 | 1228473.1811 | 2698229.2841 | 1228475.1485 | 2698252.5946 | 1228482.9014
44 | 2698178.7025 | 1228517.1329 | 2698183.8548 | 1228513.5153 | 2698185.6512 | 1228510.6757
45 | 2698224.647 | 1228409.9691 | 2698219.413 | 1228425.7325
46 | 2698163.7495 | 1228515.8059 | 2698146.6779 | 1228509.4559
47 | 2698178.7025 | 1228517.1329 | 2698172.0123 | 1228518.8793 | 2698163.7495 | 1228515.8059
48 | 2698146.6779 | 1228509.4559 | 2698119.3537 | 1228499.2924
49 | 2698178.7025 | 1228517.1329 | 2698183.2517 | 1228523.8796 | 2698190.674 | 1228527.3602
50 | 2698118.051 | 1228498.8078 | 2698119.3537 | 1228499.2924
51 | 2698200.5761 | 1228527.5237 | 2698190.674 | 1228527.3602
52 | 2698099.5012 | 1228491.908 | 2698118.051 | 1228498.8078
53 | 2698205.5392 | 1228533.0652 | 2698205.487 | 1228529.8064 | 2698200.5761 | 1228527.5237
54 | 2698099.5012 | 1228491.908 | 2698094.7921 | 1228490.3443
55 | 2698099.5012 | 1228491.908 | 2698104.1221 | 1228479.5151
56 | 2698104.1221 | 1228479.5151 | 2698104.2696 | 1228479.1195
57 | 2698113.2771 | 1228454.962 | 2698104.2696 | 1228479.1195
58 | 2698094.7921 | 1228490.3443 | 2698086.3155 | 1228487.5295
59 | 2698086.3155 | 1228487.5295 | 2698077.8393 | 1228484.7148
60 | 2698077.8393 | 1228484.7148 | 2698069.3608 | 1228481.8994
61 | 2698069.3608 | 1228481.8994 | 2698068.4938 | 1228481.6115 | 2698070.3663 | 1228474.0563
62 | 2698071.8305 | 1228456.2148 | 2698072.5776 | 1228465.1336 | 2698070.3663 | 1228474.0563
63 | 2698241.1428 | 1228367.0103 | 2698241.1428 | 1228367.0103 | 2698234.5364 | 1228384.2149
64 | 2698224.647 | 1228409.9691 | 2698239.2309 | 1228415.3121
65 | 2698244.1448 | 1228417.1124 | 2698239.2309 | 1228415.3121
66 | 2698244.1448 | 1228417.1124 | 2698263.0844 | 1228424.0512
67 | 2698295.9045 | 1228436.0754 | 2698263.0844 | 1228424.0512
68 | 2698259.1926 | 1228485.0958 | 2698252.5946 | 1228482.9014
69 | 2698259.1926 | 1228485.0958 | 2698283.2861 | 1228493.1091 | 2698314.5255 | 1228507.6353
70 | 2698344.1628 | 1228526.0947 | 2698326.1303 | 1228513.0315 | 2698314.5255 | 1228507.6353
71 | 2698295.9045 | 1228436.0754 | 2698305.2368 | 1228439.4944
72 | 2698344.1628 | 1228526.0947 | 2698357.8228 | 1228525.6625

## bus_geodata
| x | y | coords
0 | 2698057.3072 | 1228328.2108
1 | 2698062.8181 | 1228331.1142
2 | 2698074.3472 | 1228342.2513
3 | 2698088.1654 | 1228340.7765
4 | 2698061.5428 | 1228380.6459
5 | 2698057.6767 | 1228392.6575
6 | 2698044.6103 | 1228376.1621
7 | 2698097.0186 | 1228340.9082
8 | 2698016.4188 | 1228430.3939
9 | 2698075.9991 | 1228397.9775
10 | 2698039.1299 | 1228374.7109
11 | 2698120.8189 | 1228345.3306
12 | 2698126.2743 | 1228347.3154
13 | 2698159.6939 | 1228359.4745
14 | 2698185.9307 | 1228369.0203
15 | 2698203.5098 | 1228385.4654
16 | 2698231.8547 | 1228391.1988
17 | 2698172.2409 | 1228422.8947
18 | 2698152.0751 | 1228420.0662
19 | 2698183.8313 | 1228455.7508
20 | 2698136.8638 | 1228415.6496
21 | 2698124.6162 | 1228412.0935
22 | 2698112.4463 | 1228408.56
23 | 2698111.269 | 1228408.2181
24 | 2698083.8847 | 1228400.2671
25 | 2698083.8724 | 1228400.2635
26 | 2698008.7874 | 1228427.724
27 | 2697997.0923 | 1228423.6324
28 | 2698236.3242 | 1228348.1222
29 | 2698238.6174 | 1228352.3864
30 | 2698014.8446 | 1228369.5927
31 | 2698012.7605 | 1228369.2724
32 | 2697999.6998 | 1228367.265
33 | 2698199.6083 | 1228460.2933
34 | 2698158.7292 | 1228474.1058
35 | 2698214.7631 | 1228464.6567
36 | 2698142.8209 | 1228471.1297
37 | 2698225.8156 | 1228472.6424
38 | 2698205.4251 | 1228479.4179
39 | 2698214.8306 | 1228439.533
40 | 2698226.5611 | 1228473.1811
41 | 2698185.6512 | 1228510.6757
42 | 2698219.413 | 1228425.7325
43 | 2698163.7495 | 1228515.8059
44 | 2698146.6779 | 1228509.4559
45 | 2698178.7025 | 1228517.1329
46 | 2698119.3537 | 1228499.2924
47 | 2698190.674 | 1228527.3601
48 | 2698118.051 | 1228498.8078
49 | 2698200.5761 | 1228527.5237
50 | 2698099.5012 | 1228491.908
51 | 2698205.5393 | 1228533.0652
52 | 2698104.1221 | 1228479.5151
53 | 2698104.2696 | 1228479.1195
54 | 2698113.2771 | 1228454.962
55 | 2698094.7921 | 1228490.3443
56 | 2698086.3155 | 1228487.5295
57 | 2698077.8393 | 1228484.7148
58 | 2698069.3608 | 1228481.8994
59 | 2698070.3663 | 1228474.0563
60 | 2698071.8305 | 1228456.2148
61 | 2698241.1428 | 1228367.0103
62 | 2698234.5364 | 1228384.2149
63 | 2698224.647 | 1228409.9691
64 | 2698239.2309 | 1228415.3121
65 | 2698244.1448 | 1228417.1124
66 | 2698263.0844 | 1228424.0512
67 | 2698252.5946 | 1228482.9014
68 | 2698259.1926 | 1228485.0958
69 | 2698314.5255 | 1228507.6353
70 | 2698295.9045 | 1228436.0754
71 | 2698305.2368 | 1228439.4944
72 | 2698344.1628 | 1228526.0947
73 | 2698357.8228 | 1228525.6625
74 | 2698057.6767 | 1228392.6575

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98241 | -0.33891 | 0.0031871 | 0.00079875
1 | 0.98243 | -0.33855 | 0.0021979 | 0.00055084
2 | 0.98251 | -0.33696 | 0 | 0
3 | 0.98258 | -0.33561 | 0.0044329 | 0.001111
4 | 0.99639 | -0.069469 | 0 | 0
5 | 0.99653 | -0.066616 | 0 | 0
6 | 0.99618 | -0.073431 | 0.0026143 | 0.00065521
7 | 0.98266 | -0.33403 | 0.0025125 | 0.00062969
8 | 0.99582 | -0.080322 | 0.0040898 | 0.001025
9 | 0.997 | -0.057703 | 0.0035488 | 0.00088941
10 | 0.99613 | -0.074453 | 0.0042934 | 0.001076
11 | 0.98294 | -0.32859 | 0.0080787 | 0.0020247
12 | 0.98304 | -0.32646 | 0.0045095 | 0.0011302
13 | 0.98386 | -0.31049 | 0.0030347 | 0.00076057
14 | 0.98458 | -0.29644 | 0.0066614 | 0.0016695
15 | 0.98548 | -0.27887 | 0.003197 | 0.00080123
16 | 0.98649 | -0.25927 | 0.004691 | 0.0011757
17 | 0.99797 | -0.038526 | 0.0086221 | 0.0021609
18 | 1 | 0 | -0.27514 | -0.069624
19 | 0.99465 | -0.10194 | 0.0064914 | 0.0016269
20 | 0.99921 | -0.015129 | 0.0068494 | 0.0017166
21 | 0.99866 | -0.0258 | 0.0045427 | 0.0011385
22 | 0.99816 | -0.035409 | 0.0044611 | 0.0011181
23 | 0.99811 | -0.036243 | 0.0046239 | 0.0011588
24 | 0.99722 | -0.053359 | 0.0020494 | 0.00051363
25 | 0.99722 | -0.053366 | 0.002049 | 0.00051352
26 | 0.99575 | -0.081694 | 0.0065905 | 0.0016517
27 | 0.99572 | -0.082362 | 0.0030641 | 0.00076794
28 | 0.98563 | -0.27598 | 0.013993 | 0.003507
29 | 0.9857 | -0.27477 | 0.0045509 | 0.0011406
30 | 0.99599 | -0.077061 | 0.0023509 | 0.00058918
31 | 0.99599 | -0.077195 | 0.002832 | 0.00070978
32 | 0.99598 | -0.077379 | 0.00078886 | 0.00019771
33 | 0.99324 | -0.12895 | 0.0018951 | 0.00047495
34 | 0.99413 | -0.1119 | 0.008011 | 0.0020078
35 | 0.9919 | -0.1547 | 0 | 0
36 | 0.99404 | -0.11372 | 0.0063638 | 0.0015949
37 | 0.99166 | -0.15936 | 0.0016348 | 0.00040971
38 | 0.99055 | -0.18062 | 0.0042958 | 0.0010766
39 | 0.99 | -0.19119 | 0.00091617 | 0.00022961
40 | 0.99164 | -0.15965 | 0.0026401 | 0.00066168
41 | 0.98784 | -0.2329 | 0.0022749 | 0.00057015
42 | 0.98892 | -0.21208 | 0.0022837 | 0.00057234
43 | 0.98619 | -0.26492 | 0.0066631 | 0.0016699
44 | 0.98519 | -0.28446 | 0.0048573 | 0.0012174
45 | 0.98716 | -0.2462 | 0 | 0
46 | 0.98371 | -0.31328 | 0.0046085 | 0.001155
47 | 0.987 | -0.2493 | 0.0030445 | 0.00076302
48 | 0.98365 | -0.31454 | 0.0036238 | 0.0009082
49 | 0.98693 | -0.25064 | 0.0035786 | 0.00089687
50 | 0.98279 | -0.33121 | 0 | 0
51 | 0.9869 | -0.25126 | 0.0039811 | 0.00099777
52 | 0.98269 | -0.33319 | 0.0020996 | 0.0005262
53 | 0.98269 | -0.33324 | 0.0031356 | 0.00078587
54 | 0.98261 | -0.33468 | 0.0030898 | 0.00077438
55 | 0.98262 | -0.33465 | 0.0064946 | 0.0016277
56 | 0.98235 | -0.33979 | 0.0064926 | 0.0016272
57 | 0.98214 | -0.34389 | 0.0064979 | 0.0016285
58 | 0.98199 | -0.34694 | 0.0064926 | 0.0016272
59 | 0.98189 | -0.34889 | 0.0024157 | 0.00060544
60 | 0.98172 | -0.35217 | 0.0099979 | 0.0025057
61 | 0.98596 | -0.26972 | 0.0033364 | 0.00083618
62 | 0.98633 | -0.26249 | 0.0022009 | 0.00055159
63 | 0.98773 | -0.23532 | 0 | 0
64 | 0.98756 | -0.23859 | 0.002018 | 0.00050577
65 | 0.98751 | -0.23951 | 0.002713 | 0.00067994
66 | 0.98738 | -0.24206 | 0.0014325 | 0.00035902
67 | 0.99126 | -0.16709 | 0.0029427 | 0.00073751
68 | 0.99118 | -0.16858 | 0.0020999 | 0.00052629
69 | 0.99063 | -0.17919 | 0.0071097 | 0.0017819
70 | 0.9872 | -0.24559 | 0.0032825 | 0.00082266
71 | 0.98718 | -0.24601 | 0.0023635 | 0.00059236
72 | 0.99054 | -0.18098 | 0 | 0
73 | 0.99051 | -0.18167 | 0.0028728 | 0.00071999
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0031871 | -0.00079875 | 0.0031871 | 0.00079871 | 5.4431e-08 | -4.4034e-08 | 0.0048273 | 0.0048273 | 0.0048273 | 0.98241 | -0.33891 | 0.98243 | -0.33855 | 1.3262
1 | -0.005385 | -0.0013495 | 0.0053854 | 0.0013496 | 4.09e-07 | 5.4145e-08 | 0.0081563 | 0.0081562 | 0.0081563 | 0.98243 | -0.33855 | 0.98251 | -0.33696 | 2.2407
2 | -0.0053854 | -0.0013496 | 0.0053858 | 0.0013496 | 3.4667e-07 | 4.5864e-08 | 0.0081562 | 0.0081561 | 0.0081562 | 0.98251 | -0.33696 | 0.98258 | -0.33561 | 2.2407
3 | -0.0098187 | -0.0024606 | 0.0098194 | 0.002461 | 7.3648e-07 | 3.5883e-07 | 0.014869 | 0.014869 | 0.014869 | 0.98258 | -0.33561 | 0.98266 | -0.33403 | 4.085
4 | -0.012883 | -0.0032294 | 0.012885 | 0.0032304 | 1.7514e-06 | 9.5657e-07 | 0.01924 | 0.01924 | 0.01924 | 0.99639 | -0.069469 | 0.99653 | -0.066616 | 5.2857
5 | 0.012883 | 0.0032294 | -0.012881 | -0.0032281 | 2.4315e-06 | 1.3281e-06 | 0.01924 | 0.01924 | 0.01924 | 0.99639 | -0.069469 | 0.99618 | -0.073431 | 5.2857
6 | 0.013754 | 0.0034499 | -0.013745 | -0.0034449 | 8.9805e-06 | 5.0084e-06 | 0.020539 | 0.020539 | 0.020539 | 0.99653 | -0.066616 | 0.99582 | -0.080322 | 5.6425
7 | -0.026639 | -0.0066803 | 0.02665 | 0.0066873 | 1.1321e-05 | 6.9968e-06 | 0.039779 | 0.039778 | 0.039779 | 0.99653 | -0.066616 | 0.997 | -0.057703 | 10.9282
8 | 0.010266 | 0.0025729 | -0.010266 | -0.0025726 | 4.9995e-07 | 2.4616e-07 | 0.015335 | 0.015335 | 0.015335 | 0.99618 | -0.073431 | 0.99613 | -0.074453 | 4.2129
9 | -0.012332 | -0.0030907 | 0.012335 | 0.0030924 | 3.1961e-06 | 1.7358e-06 | 0.018674 | 0.018674 | 0.018674 | 0.98266 | -0.33403 | 0.98294 | -0.32859 | 5.1302
10 | 0.0096554 | 0.0024199 | -0.0096547 | -0.0024196 | 6.311e-07 | 2.9873e-07 | 0.014428 | 0.014428 | 0.014428 | 0.99582 | -0.080322 | 0.99575 | -0.081694 | 3.9636
11 | -0.030199 | -0.0075767 | 0.030205 | 0.0075806 | 6.2465e-06 | 3.8908e-06 | 0.045075 | 0.045075 | 0.045075 | 0.997 | -0.057703 | 0.99722 | -0.053366 | 12.3832
12 | 0.0059725 | 0.0014966 | -0.0059718 | -0.0014965 | 7.4186e-07 | 1.5129e-07 | 0.0089217 | 0.0089218 | 0.0089218 | 0.99613 | -0.074453 | 0.99599 | -0.077061 | 2.451
13 | -0.020414 | -0.0051171 | 0.020416 | 0.0051184 | 2.0791e-06 | 1.257e-06 | 0.030904 | 0.030904 | 0.030904 | 0.98294 | -0.32859 | 0.98304 | -0.32646 | 8.49
14 | -0.024925 | -0.0062486 | 0.024944 | 0.0062603 | 1.8984e-05 | 1.1699e-05 | 0.03773 | 0.037729 | 0.03773 | 0.98304 | -0.32646 | 0.98386 | -0.31049 | 10.3653
15 | -0.027979 | -0.0070208 | 0.027998 | 0.0070325 | 1.875e-05 | 1.1645e-05 | 0.042319 | 0.042319 | 0.042319 | 0.98386 | -0.31049 | 0.98458 | -0.29644 | 11.6262
16 | -0.034659 | -0.008702 | 0.034688 | 0.0087202 | 2.9071e-05 | 1.8246e-05 | 0.052387 | 0.052386 | 0.052387 | 0.98458 | -0.29644 | 0.98548 | -0.27887 | 14.3919
17 | -0.037885 | -0.0095215 | 0.037921 | 0.0095438 | 3.5499e-05 | 2.235e-05 | 0.057214 | 0.057213 | 0.057214 | 0.98548 | -0.27887 | 0.98649 | -0.25927 | 15.718
18 | -0.066709 | -0.016765 | 0.066786 | 0.016813 | 7.6368e-05 | 4.8618e-05 | 0.10064 | 0.10064 | 0.10064 | 0.98649 | -0.25927 | 0.98773 | -0.23532 | 27.6484
19 | 0.024098 | 0.0060453 | -0.024094 | -0.006043 | 3.707e-06 | 2.277e-06 | 0.036351 | 0.036351 | 0.036351 | 0.98649 | -0.25927 | 0.98633 | -0.26249 | 9.9865
20 | -0.21819 | -0.055553 | 0.21859 | 0.055812 | 0.00040618 | 0.00025942 | 0.32564 | 0.32564 | 0.32564 | 0.99797 | -0.038526 | 1 | 0 | 44.7302
21 | 0.20957 | 0.053392 | -0.20893 | -0.052984 | 0.00063909 | 0.00040811 | 0.31278 | 0.31278 | 0.31278 | 0.99797 | -0.038526 | 0.99465 | -0.10194 | 42.9643
22 | 0.054894 | 0.013812 | -0.054855 | -0.013786 | 3.965e-05 | 2.5169e-05 | 0.081703 | 0.081703 | 0.081703 | 1 | 0 | 0.99921 | -0.015129 | 22.4458
23 | 0.18805 | 0.04775 | -0.18781 | -0.047595 | 0.00024403 | 0.00015575 | 0.28155 | 0.28155 | 0.28155 | 0.99465 | -0.10194 | 0.99324 | -0.12895 | 38.6748
24 | 0.014382 | 0.0036067 | -0.014375 | -0.0036028 | 6.8234e-06 | 3.8571e-06 | 0.021517 | 0.021517 | 0.021517 | 0.99465 | -0.10194 | 0.99413 | -0.1119 | 5.9113
25 | 0.048005 | 0.01207 | -0.047981 | -0.012054 | 2.4451e-05 | 1.5482e-05 | 0.071503 | 0.071503 | 0.071503 | 0.99921 | -0.015129 | 0.99866 | -0.0258 | 19.6436
26 | 0.043438 | 0.010916 | -0.043418 | -0.010903 | 1.9914e-05 | 1.2579e-05 | 0.064734 | 0.064734 | 0.064734 | 0.99866 | -0.0258 | 0.99816 | -0.035409 | 17.7841
27 | 0.038957 | 0.0097851 | -0.038956 | -0.0097841 | 1.5509e-06 | 9.7655e-07 | 0.058084 | 0.058084 | 0.058084 | 0.99816 | -0.035409 | 0.99811 | -0.036243 | 15.957
28 | 0.034332 | 0.0086253 | -0.034304 | -0.0086077 | 2.8021e-05 | 1.7561e-05 | 0.05119 | 0.05119 | 0.05119 | 0.99811 | -0.036243 | 0.99722 | -0.053359 | 14.0633
29 | 0.032254 | 0.0080941 | -0.032254 | -0.0080941 | 1.1127e-08 | 6.9546e-09 | 0.048132 | 0.048132 | 0.048132 | 0.99722 | -0.053359 | 0.99722 | -0.053366 | 13.2232
30 | 0.0030642 | 0.00076784 | -0.0030641 | -0.00076794 | 9.7421e-08 | -9.8818e-08 | 0.004579 | 0.004579 | 0.004579 | 0.99575 | -0.081694 | 0.99572 | -0.082362 | 1.258
31 | -0.013993 | -0.003507 | 0.013994 | 0.0035075 | 8.103e-07 | 4.5688e-07 | 0.021125 | 0.021125 | 0.021125 | 0.98563 | -0.27598 | 0.9857 | -0.27477 | 5.8037
32 | -0.018545 | -0.004648 | 0.018549 | 0.0046507 | 4.4599e-06 | 2.6609e-06 | 0.027996 | 0.027995 | 0.027996 | 0.9857 | -0.27477 | 0.98596 | -0.26972 | 7.6911
33 | 0.0036209 | 0.0009073 | -0.0036209 | -0.00090731 | 2.3139e-08 | -1.2632e-08 | 0.0054096 | 0.0054096 | 0.0054096 | 0.99599 | -0.077061 | 0.99599 | -0.077195 | 1.4862
34 | 0.00078886 | 0.00019754 | -0.00078886 | -0.00019771 | 6.8827e-09 | -1.6756e-07 | 0.0011785 | 0.0011786 | 0.0011786 | 0.99599 | -0.077195 | 0.99598 | -0.077379 | 0.32378
35 | 0.18591 | 0.04712 | -0.18568 | -0.046973 | 0.0002297 | 0.0001466 | 0.27871 | 0.27871 | 0.27871 | 0.99324 | -0.12895 | 0.9919 | -0.1547 | 38.2848
36 | 0.0063643 | 0.0015951 | -0.0063638 | -0.0015949 | 5.5076e-07 | 1.4266e-07 | 0.0095261 | 0.0095262 | 0.0095262 | 0.99413 | -0.1119 | 0.99404 | -0.11372 | 2.6171
37 | 0.019316 | 0.0048453 | -0.019312 | -0.0048428 | 4.2941e-06 | 2.5723e-06 | 0.028979 | 0.028979 | 0.028979 | 0.9919 | -0.1547 | 0.99166 | -0.15936 | 7.9613
38 | 0.084257 | 0.021352 | -0.084152 | -0.021285 | 0.00010479 | 6.684e-05 | 0.12648 | 0.12648 | 0.12648 | 0.9919 | -0.1547 | 0.99055 | -0.18062 | 34.7484
39 | 0.082111 | 0.020776 | -0.081968 | -0.020684 | 0.00014353 | 9.1536e-05 | 0.12325 | 0.12325 | 0.12325 | 0.9919 | -0.1547 | 0.99 | -0.19119 | 33.8601
40 | 0.017677 | 0.004433 | -0.017677 | -0.0044329 | 2.4269e-07 | 1.4345e-07 | 0.026526 | 0.026526 | 0.026526 | 0.99166 | -0.15936 | 0.99164 | -0.15965 | 7.2874
41 | 0.079857 | 0.020209 | -0.079657 | -0.020081 | 0.00019983 | 0.00012742 | 0.12003 | 0.12003 | 0.12003 | 0.99055 | -0.18062 | 0.98784 | -0.2329 | 32.9755
42 | 0.081052 | 0.020454 | -0.080971 | -0.020403 | 8.0995e-05 | 5.165e-05 | 0.12187 | 0.12187 | 0.12187 | 0.99 | -0.19119 | 0.98892 | -0.21208 | 33.4818
43 | 0.015037 | 0.0037712 | -0.015031 | -0.0037682 | 5.3319e-06 | 3.0523e-06 | 0.022564 | 0.022565 | 0.022565 | 0.99164 | -0.15965 | 0.99126 | -0.16709 | 6.1991
44 | 0.077382 | 0.019511 | -0.077333 | -0.01948 | 4.9231e-05 | 3.1384e-05 | 0.1166 | 0.1166 | 0.1166 | 0.98784 | -0.2329 | 0.98716 | -0.2462 | 32.0341
45 | 0.078687 | 0.01983 | -0.078599 | -0.019775 | 8.7372e-05 | 5.5705e-05 | 0.11844 | 0.11844 | 0.11844 | 0.98892 | -0.21208 | 0.98773 | -0.23532 | 32.5378
46 | 0.060003 | 0.015113 | -0.059947 | -0.015077 | 5.602e-05 | 3.5621e-05 | 0.090563 | 0.090563 | 0.090563 | 0.98619 | -0.26492 | 0.98519 | -0.28446 | 24.8799
47 | -0.066667 | -0.016783 | 0.066726 | 0.016821 | 5.9718e-05 | 3.8019e-05 | 0.10062 | 0.10062 | 0.10062 | 0.98619 | -0.26492 | 0.98716 | -0.2462 | 27.6419
48 | 0.05509 | 0.01386 | -0.055014 | -0.013812 | 7.5725e-05 | 4.8094e-05 | 0.083226 | 0.083227 | 0.083227 | 0.98519 | -0.28446 | 0.98371 | -0.31328 | 22.8644
49 | 0.010606 | 0.0026586 | -0.010605 | -0.0026578 | 1.5658e-06 | 7.933e-07 | 0.015988 | 0.015988 | 0.015988 | 0.98716 | -0.2462 | 0.987 | -0.2493 | 4.3923
50 | 0.050406 | 0.012657 | -0.050403 | -0.012655 | 3.0308e-06 | 1.922e-06 | 0.076255 | 0.076255 | 0.076255 | 0.98371 | -0.31328 | 0.98365 | -0.31454 | 20.9493
51 | 0.0075603 | 0.0018948 | -0.0075598 | -0.0018946 | 4.8248e-07 | 1.8223e-07 | 0.011398 | 0.011398 | 0.011398 | 0.987 | -0.2493 | 0.98693 | -0.25064 | 3.1313
52 | 0.046779 | 0.011747 | -0.046742 | -0.011723 | 3.7175e-05 | 2.3541e-05 | 0.070774 | 0.070774 | 0.070774 | 0.98365 | -0.31454 | 0.98279 | -0.33121 | 19.4433
53 | 0.0039813 | 0.00099773 | -0.0039811 | -0.00099777 | 1.1721e-07 | -3.5832e-08 | 0.0060026 | 0.0060027 | 0.0060027 | 0.98693 | -0.25064 | 0.9869 | -0.25126 | 1.6491
54 | 0.038416 | 0.0096367 | -0.03841 | -0.0096328 | 6.2956e-06 | 3.9663e-06 | 0.058168 | 0.058168 | 0.058168 | 0.98279 | -0.33121 | 0.98262 | -0.33465 | 15.9801
55 | 0.008326 | 0.0020866 | -0.0083253 | -0.0020863 | 7.8821e-07 | 3.3687e-07 | 0.012606 | 0.012606 | 0.012606 | 0.98279 | -0.33121 | 0.98269 | -0.33319 | 3.4633
56 | 0.0062257 | 0.0015601 | -0.0062257 | -0.0015601 | 1.407e-08 | 3.6562e-09 | 0.009427 | 0.009427 | 0.009427 | 0.98269 | -0.33319 | 0.98269 | -0.33324 | 2.5898
57 | 0.00309 | 0.00077419 | -0.0030898 | -0.00077438 | 2.1167e-07 | -1.9114e-07 | 0.0046789 | 0.0046791 | 0.0046791 | 0.98269 | -0.33324 | 0.98261 | -0.33468 | 1.2855
58 | 0.031915 | 0.0080051 | -0.031907 | -0.0080002 | 7.8244e-06 | 4.8945e-06 | 0.048332 | 0.048333 | 0.048333 | 0.98262 | -0.33465 | 0.98235 | -0.33979 | 13.2782
59 | 0.025415 | 0.006373 | -0.02541 | -0.0063699 | 4.9638e-06 | 3.0638e-06 | 0.038498 | 0.038498 | 0.038498 | 0.98235 | -0.33979 | 0.98214 | -0.34389 | 10.5763
60 | 0.018912 | 0.0047414 | -0.018909 | -0.0047398 | 2.7505e-06 | 1.6473e-06 | 0.028653 | 0.028653 | 0.028653 | 0.98214 | -0.34389 | 0.98199 | -0.34694 | 7.8718
61 | 0.012416 | 0.0031126 | -0.012415 | -0.0031119 | 1.1546e-06 | 6.2891e-07 | 0.018815 | 0.018815 | 0.018815 | 0.98199 | -0.34694 | 0.98189 | -0.34889 | 5.1689
62 | 0.0099995 | 0.0025065 | -0.0099979 | -0.0025057 | 1.5624e-06 | 7.7049e-07 | 0.015154 | 0.015154 | 0.015154 | 0.98189 | -0.34889 | 0.98172 | -0.35217 | 4.1632
63 | -0.021886 | -0.0054869 | 0.021893 | 0.0054915 | 7.5402e-06 | 4.5906e-06 | 0.033031 | 0.033031 | 0.033031 | 0.98596 | -0.26972 | 0.98633 | -0.26249 | 9.0744
64 | 0.011814 | 0.0029613 | -0.011812 | -0.0029603 | 1.8449e-06 | 9.8198e-07 | 0.017798 | 0.017798 | 0.017798 | 0.98773 | -0.23532 | 0.98756 | -0.23859 | 4.8895
65 | 0.0097938 | 0.0024545 | -0.0097934 | -0.0024543 | 4.2737e-07 | 2.0656e-07 | 0.014757 | 0.014757 | 0.014757 | 0.98756 | -0.23859 | 0.98751 | -0.23951 | 4.0541
66 | 0.0070804 | 0.0017744 | -0.0070795 | -0.0017741 | 8.6099e-07 | 2.9301e-07 | 0.010669 | 0.010669 | 0.010669 | 0.98751 | -0.23951 | 0.98738 | -0.24206 | 2.931
67 | 0.005647 | 0.0014151 | -0.0056461 | -0.0014149 | 9.4931e-07 | 1.6058e-07 | 0.0085102 | 0.0085103 | 0.0085103 | 0.98738 | -0.24206 | 0.9872 | -0.24559 | 2.338
68 | 0.012089 | 0.0030307 | -0.012088 | -0.0030302 | 8.5871e-07 | 4.5995e-07 | 0.018147 | 0.018147 | 0.018147 | 0.99126 | -0.16709 | 0.99118 | -0.16858 | 4.9855
69 | 0.0099879 | 0.0025039 | -0.0099829 | -0.0025015 | 5.0457e-06 | 2.4584e-06 | 0.014995 | 0.014995 | 0.014995 | 0.99118 | -0.16858 | 0.99063 | -0.17919 | 4.1195
70 | 0.0028731 | 0.00071958 | -0.0028729 | -0.00071988 | 2.449e-07 | -2.9467e-07 | 0.0043155 | 0.0043157 | 0.0043157 | 0.99063 | -0.17919 | 0.99054 | -0.18098 | 1.1856
71 | 0.0023636 | 0.00059226 | -0.0023635 | -0.00059236 | 4.7306e-08 | -9.6795e-08 | 0.0035626 | 0.0035627 | 0.0035627 | 0.9872 | -0.24559 | 0.98718 | -0.24601 | 0.97876
72 | 0.0028729 | 0.00071988 | -0.0028728 | -0.00071999 | 9.5457e-08 | -1.1483e-07 | 0.0043157 | 0.0043158 | 0.0043158 | 0.99054 | -0.18098 | 0.99051 | -0.18167 | 1.1856

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28157 | 0.071235

## res_load
| p_mw | q_mvar
0 | 0.0031871 | 0.00079875
1 | 0.0021979 | 0.00055084
2 | 0.0044329 | 0.001111
3 | 0.0026143 | 0.00065521
4 | 0.0025125 | 0.00062969
5 | 0.0040898 | 0.001025
6 | 0.0035488 | 0.00088941
7 | 0.0042934 | 0.001076
8 | 0.0080787 | 0.0020247
9 | 0.0045095 | 0.0011302
10 | 0.0030347 | 0.00076057
11 | 0.0066614 | 0.0016695
12 | 0.003197 | 0.00080123
13 | 0.004691 | 0.0011757
14 | 0.0086221 | 0.0021609
15 | 0.0064292 | 0.0016113
16 | 0.0064914 | 0.0016269
17 | 0.0068494 | 0.0017166
18 | 0.0045427 | 0.0011385
19 | 0.0044611 | 0.0011181
20 | 0.0046239 | 0.0011588
21 | 0.0020494 | 0.00051363
22 | 0.002049 | 0.00051352
23 | 0.0065905 | 0.0016517
24 | 0.0030641 | 0.00076794
25 | 0.013993 | 0.003507
26 | 0.0045509 | 0.0011406
27 | 0.0023509 | 0.00058918
28 | 0.002832 | 0.00070978
29 | 0.00078886 | 0.00019771
30 | 0.0018951 | 0.00047495
31 | 0.008011 | 0.0020078
32 | 0.0063638 | 0.0015949
33 | 0.0016348 | 0.00040971
34 | 0.0042958 | 0.0010766
35 | 0.00091617 | 0.00022961
36 | 0.0026401 | 0.00066168
37 | 0.0022749 | 0.00057015
38 | 0.0022837 | 0.00057234
39 | 0.0066631 | 0.0016699
40 | 0.0048573 | 0.0012174
41 | 0.0046085 | 0.001155
42 | 0.0030445 | 0.00076302
43 | 0.0036238 | 0.0009082
44 | 0.0035786 | 0.00089687
45 | 0.0039811 | 0.00099777
46 | 0.0020996 | 0.0005262
47 | 0.0031356 | 0.00078587
48 | 0.0030898 | 0.00077438
49 | 0.0064946 | 0.0016277
50 | 0.0064926 | 0.0016272
51 | 0.0064979 | 0.0016285
52 | 0.0064926 | 0.0016272
53 | 0.0024157 | 0.00060544
54 | 0.0099979 | 0.0025057
55 | 0.0033364 | 0.00083618
56 | 0.0022009 | 0.00055159
57 | 0.002018 | 0.00050577
58 | 0.002713 | 0.00067994
59 | 0.0014325 | 0.00035902
60 | 0.0029427 | 0.00073751
61 | 0.0020999 | 0.00052629
62 | 0.0071097 | 0.0017819
63 | 0.0032825 | 0.00082266
64 | 0.0023635 | 0.00059236
65 | 0.0028728 | 0.00071999

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1