## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1323-11_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1323-11_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1323-11_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1323-11_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1323-11_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1323-11_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1323-11_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1323-11_0_5_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_1323-11_0_5_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1323-11_0_5_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_1323-11_0_5_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1323-11_0_5_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1323-11_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1323-11_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1323-11_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1323-11_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1323-11_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1323-11_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1323-11_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1323-11_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1323-11_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1323-11_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1323-11_0_5_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1323-11_0_5_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1323-11_0_5_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1323-11_0_5_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_1323-11_0_5_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1323-11_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1323-11_0_5_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1323-11_0_5_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_1323-11_0_5_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_1323-11_0_5_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_1323-11_0_5_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1323-11_0_5_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_1323-11_0_5_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_1323-11_0_5_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_1323-11_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1323-11_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1323-11_0_5_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1323-11_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1323-11_0_5_node_83 | 0.4 | n |  | TRUE
41 | bus_LV_1323-11_0_5_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_1323-11_0_5_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_1323-11_0_5_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1323-11_0_5_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_1323-11_0_5_node_93 | 0.4 | n |  | TRUE
46 | bus_LV_1323-11_0_5_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1323-11_0_5_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_1323-11_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_1323-11_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_1323-11_0_5_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1323-11_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_1323-11_0_5_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_1323-11_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_1323-11_0_5_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_1323-11_0_5_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_1323-11_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_1323-11_0_5_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_1323-11_0_5_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_1323-11_0_5_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_1323-11_0_5_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_1323-11_0_5_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_1323-11_0_5_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_1323-11_0_5_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_1323-11_0_5_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_1323-11_0_5_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_1323-11_0_5_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_1323-11_0_5_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_1323-11_0_5_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_1323-11_0_5_node_89 | 0.4 | n |  | TRUE
70 | bus_LV_1323-11_0_5_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_1323-11_0_5_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_1323-11_0_5_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_1323-11_0_5_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_1323-11_0_5_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_1323-11_0_5_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_1323-11_0_5_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_1323-11_0_5_node_91 | 0.4 | n |  | TRUE
78 | bus_LV_1323-11_0_5_node_90 | 0.4 | n |  | TRUE
79 | bus_LV_1323-11_0_5_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_1323-11_0_5_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_1323-11_0_5_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_1323-11_0_5_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_1323-11_0_5_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_1323-11_0_5_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_1323-11_0_5_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_1323-11_0_5_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_1323-11_0_5_node_82 | 0.4 | n |  | TRUE
88 | bus_MV_15_0_node_153 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1323-11_0_5_load_0 | 0 | 0.0023682 | 0.00059352 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1323-11_0_5_load_1 | 1 | 0.0037419 | 0.0009378 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1323-11_0_5_load_2 | 2 | 0.026689 | 0.0066889 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1323-11_0_5_load_4 | 4 | 0.00095283 | 0.0002388 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1323-11_0_5_load_6 | 6 | 0.00095232 | 0.00023867 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1323-11_0_5_load_52 | 7 | 0.0020659 | 0.00051778 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1323-11_0_5_load_51 | 9 | 0.0031824 | 0.00079757 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1323-11_0_5_load_13 | 11 | 0.019029 | 0.0047692 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1323-11_0_5_load_7 | 12 | 0.0079171 | 0.0019842 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1323-11_0_5_load_8 | 13 | 0.015923 | 0.0039907 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1323-11_0_5_load_12 | 17 | 0.014895 | 0.003733 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1323-11_0_5_load_14 | 18 | 0.002412 | 0.00060451 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1323-11_0_5_load_15 | 19 | 0.0061804 | 0.0015489 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1323-11_0_5_load_16 | 20 | 0.003129 | 0.0007842 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1323-11_0_5_load_19 | 21 | 0.02503 | 0.0062732 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1323-11_0_5_load_23 | 25 | 0.010656 | 0.0026706 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1323-11_0_5_load_24 | 26 | 0.0097466 | 0.0024427 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1323-11_0_5_load_25 | 27 | 0.0035505 | 0.00088983 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1323-11_0_5_load_66 | 30 | 0.0035492 | 0.00088952 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1323-11_0_5_load_31 | 32 | 0.014935 | 0.0037429 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1323-11_0_5_load_56 | 35 | 0.012289 | 0.0030799 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1323-11_0_5_load_28 | 36 | 0.0030787 | 0.00077159 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1323-11_0_5_load_30 | 39 | 0.019561 | 0.0049024 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1323-11_0_5_load_83 | 40 | 0.0035477 | 0.00088914 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1323-11_0_5_load_62 | 41 | 0.0086716 | 0.0021733 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1323-11_0_5_load_29 | 43 | 0.0044511 | 0.0011155 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1323-11_0_5_load_93 | 45 | 0.059333 | 0.01487 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1323-11_0_5_load_36 | 47 | 0.0013612 | 0.00034116 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1323-11_0_5_load_40 | 48 | 0.00079281 | 0.0001987 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1323-11_0_5_load_37 | 49 | 0.00078533 | 0.00019682 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1323-11_0_5_load_44 | 50 | 0.0064456 | 0.0016154 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1323-11_0_5_load_42 | 51 | 0.0028595 | 0.00071666 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1323-11_0_5_load_38 | 52 | 0.003972 | 0.00099547 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1323-11_0_5_load_45 | 53 | 0.0010867 | 0.00027235 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1323-11_0_5_load_39 | 54 | 0.0023773 | 0.0005958 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1323-11_0_5_load_43 | 56 | 0.0023765 | 0.00059559 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1323-11_0_5_load_47 | 57 | 0.00079173 | 0.00019843 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1323-11_0_5_load_46 | 58 | 0.0051903 | 0.0013008 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1323-11_0_5_load_48 | 59 | 0.0041166 | 0.0010317 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1323-11_0_5_load_49 | 60 | 0.0031849 | 0.00079821 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1323-11_0_5_load_50 | 61 | 0.0024142 | 0.00060507 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1323-11_0_5_load_59 | 62 | 0.0095105 | 0.0023836 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1323-11_0_5_load_60 | 63 | 0.0030688 | 0.00076913 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1323-11_0_5_load_70 | 64 | 0.0028765 | 0.00072092 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1323-11_0_5_load_61 | 65 | 0.0030826 | 0.00077257 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1323-11_0_5_load_80 | 66 | 0.0031143 | 0.00078052 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1323-11_0_5_load_63 | 67 | 0.0091496 | 0.0022931 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1323-11_0_5_load_89 | 69 | 0.0048554 | 0.0012169 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1323-11_0_5_load_68 | 70 | 0.0040637 | 0.0010185 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1323-11_0_5_load_71 | 71 | 0.013355 | 0.0033472 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1323-11_0_5_load_64 | 73 | 0.0030174 | 0.00075623 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1323-11_0_5_load_67 | 75 | 0.0028669 | 0.00071851 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1323-11_0_5_load_84 | 76 | 0.0047537 | 0.0011914 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1323-11_0_5_load_91 | 77 | 0.0042973 | 0.001077 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1323-11_0_5_load_90 | 78 | 0.0045368 | 0.001137 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1323-11_0_5_load_73 | 80 | 0.0033065 | 0.00082868 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1323-11_0_5_load_74 | 81 | 0.0030651 | 0.00076819 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1323-11_0_5_load_76 | 82 | 0.0031936 | 0.0008004 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1323-11_0_5_load_75 | 83 | 0.0030298 | 0.00075934 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1323-11_0_5_load_77 | 84 | 0.0031467 | 0.00078863 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1323-11_0_5_load_78 | 85 | 0.0024928 | 0.00062474 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1323-11_0_5_load_81 | 86 | 0.0022888 | 0.00057363 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1323-11_0_5_load_82 | 87 | 0.0045438 | 0.0011388 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1323-11_0_5_line_0 |  | 0 | 1 | 0.03842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1323-11_0_5_line_1 |  | 0 | 2 | 0.023376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1323-11_0_5_line_2 |  | 1 | 3 | 0.025947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1323-11_0_5_line_3 |  | 2 | 4 | 0.0074949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1323-11_0_5_line_4 |  | 3 | 5 | 0.049673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1323-11_0_5_line_5 |  | 4 | 6 | 0.05488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1323-11_0_5_line_6 |  | 5 | 7 | 0.01908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1323-11_0_5_line_7 |  | 6 | 8 | 0.0090077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1323-11_0_5_line_8 |  | 7 | 9 | 0.017741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1323-11_0_5_line_9 |  | 8 | 10 | 0.006671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1323-11_0_5_line_10 |  | 8 | 11 | 0.032767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1323-11_0_5_line_11 |  | 9 | 60 | 0.00048547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1323-11_0_5_line_12 |  | 10 | 21 | 0.016166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1323-11_0_5_line_13 |  | 11 | 15 | 0.014835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1323-11_0_5_line_14 |  | 12 | 13 | 0.027047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1323-11_0_5_line_15 |  | 12 | 14 | 0.014901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1323-11_0_5_line_16 |  | 13 | 15 | 0.040919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1323-11_0_5_line_17 |  | 14 | 16 | 0.035573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1323-11_0_5_line_18 |  | 14 | 17 | 0.019749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1323-11_0_5_line_19 |  | 16 | 18 | 0.027833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1323-11_0_5_line_20 |  | 16 | 19 | 0.025506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1323-11_0_5_line_21 |  | 17 | 20 | 0.027507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1323-11_0_5_line_22 |  | 21 | 22 | 0.071386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_1323-11_0_5_line_23 |  | 22 | 23 | 0.01448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1323-11_0_5_line_24 |  | 22 | 24 | 0.022594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1323-11_0_5_line_25 |  | 23 | 25 | 0.034817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1323-11_0_5_line_26 |  | 23 | 26 | 0.040027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1323-11_0_5_line_27 |  | 24 | 27 | 0.016523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1323-11_0_5_line_28 |  | 24 | 28 | 0.019767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1323-11_0_5_line_29 |  | 25 | 29 | 0.032191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1323-11_0_5_line_30 |  | 28 | 30 | 0.021676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1323-11_0_5_line_31 |  | 28 | 31 | 0.02253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_1323-11_0_5_line_32 |  | 29 | 32 | 0.03913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1323-11_0_5_line_33 |  | 30 | 40 | 0.00090292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1323-11_0_5_line_34 |  | 31 | 41 | 0.018425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1323-11_0_5_line_35 |  | 31 | 34 | 0.023226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1323-11_0_5_line_36 |  | 32 | 39 | 0.015588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1323-11_0_5_line_37 |  | 33 | 34 | 0.046953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1323-11_0_5_line_38 |  | 33 | 35 | 0.027008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1323-11_0_5_line_39 |  | 33 | 36 | 0.030087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1323-11_0_5_line_40 |  | 34 | 62 | 0.021752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1323-11_0_5_line_41 |  | 35 | 63 | 0.010984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1323-11_0_5_line_42 |  | 36 | 42 | 0.03038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1323-11_0_5_line_43 |  | 37 | 38 | 0.012475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1323-11_0_5_line_44 |  | 37 | 39 | 0.026455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1323-11_0_5_line_45 |  | 38 | 46 | 0.005359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1323-11_0_5_line_46 |  | 38 | 47 | 0.014107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1323-11_0_5_line_47 |  | 40 | 76 | 0.011848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1323-11_0_5_line_48 |  | 41 | 67 | 0.012177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1323-11_0_5_line_49 |  | 42 | 43 | 0.037938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1323-11_0_5_line_50 |  | 43 | 44 | 0.030591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1323-11_0_5_line_51 |  | 44 | 45 | 0.021175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1323-11_0_5_line_52 |  | 46 | 48 | 0.020275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1323-11_0_5_line_53 |  | 46 | 49 | 0.0050641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1323-11_0_5_line_54 |  | 47 | 50 | 0.012974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1323-11_0_5_line_55 |  | 48 | 51 | 0.005382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1323-11_0_5_line_56 |  | 49 | 52 | 0.023855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1323-11_0_5_line_57 |  | 50 | 53 | 0.018616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1323-11_0_5_line_58 |  | 51 | 57 | 0.0042054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1323-11_0_5_line_59 |  | 52 | 54 | 0.041779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1323-11_0_5_line_60 |  | 53 | 58 | 0.04061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1323-11_0_5_line_61 |  | 54 | 55 | 0.0017241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1323-11_0_5_line_62 |  | 55 | 56 | 0.0043139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1323-11_0_5_line_63 |  | 59 | 60 | 0.0016814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1323-11_0_5_line_64 |  | 59 | 61 | 0.038914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1323-11_0_5_line_65 |  | 63 | 64 | 0.0067098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1323-11_0_5_line_66 |  | 64 | 71 | 0.010204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1323-11_0_5_line_67 |  | 65 | 66 | 0.0069529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1323-11_0_5_line_68 |  | 66 | 72 | 0.0087048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1323-11_0_5_line_69 |  | 67 | 73 | 0.019624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1323-11_0_5_line_70 |  | 67 | 74 | 0.071421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1323-11_0_5_line_71 |  | 68 | 69 | 0.027467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1323-11_0_5_line_72 |  | 68 | 70 | 0.0091692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1323-11_0_5_line_73 |  | 69 | 78 | 0.0025169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1323-11_0_5_line_74 |  | 70 | 74 | 0.0071765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1323-11_0_5_line_75 |  | 71 | 79 | 0.0033823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1323-11_0_5_line_76 |  | 72 | 86 | 0.004609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1323-11_0_5_line_77 |  | 72 | 85 | 0.010856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1323-11_0_5_line_78 |  | 73 | 75 | 0.000146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1323-11_0_5_line_79 |  | 77 | 78 | 0.0043321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1323-11_0_5_line_80 |  | 79 | 80 | 0.013537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1323-11_0_5_line_81 |  | 79 | 81 | 0.010679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_1323-11_0_5_line_82 |  | 80 | 82 | 0.013697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_1323-11_0_5_line_83 |  | 81 | 83 | 0.0011201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_1323-11_0_5_line_84 |  | 82 | 84 | 0.025574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_1323-11_0_5_line_85 |  | 84 | 85 | 0.00051318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_1323-11_0_5_line_86 |  | 86 | 87 | 0.0068577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1323-11_0_5_trafo_21 | 0.63 MVA 20/0.4 kV | 88 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2696689.3722 | 1228054.2258 | 2696694.6248 | 1228052.8236 | 2696698.0018 | 1228035.7773 | 2696702.6784 | 1228028.7594 | 2696701.2466 | 1228021.731
1 | 2696689.3722 | 1228054.2258 | 2696666.7868 | 1228060.2552
2 | 2696711.5608 | 1228000.3388 | 2696706.6557 | 1228020.0066 | 2696701.2466 | 1228021.731 | 2696701.2466 | 1228021.731
3 | 2696663.0131 | 1228065.8971 | 2696663.0131 | 1228065.8971 | 2696664.7482 | 1228060.7994 | 2696666.7868 | 1228060.2552
4 | 2696759.6257 | 1228013.4075 | 2696711.5608 | 1228000.3388
5 | 2696663.0131 | 1228065.8971 | 2696642.9935 | 1228070.3417 | 2696648.6189 | 1228088.8687 | 2696653.0126 | 1228093.1876 | 2696661.8294 | 1228093.9536
6 | 2696759.6257 | 1228013.4075 | 2696756.4356 | 1228025.4755 | 2696752.4915 | 1228030.7648
7 | 2696668.9393 | 1228099.4843 | 2696661.8294 | 1228093.9536
8 | 2696752.4915 | 1228030.7648 | 2696747.9981 | 1228036.7908 | 2696739.6533 | 1228042.6982
9 | 2696668.9393 | 1228099.4843 | 2696662.6426 | 1228101.7391
10 | 2696668.9393 | 1228099.4843 | 2696670.3324 | 1228103.2985 | 2696678.9839 | 1228100.248 | 2696685.8323 | 1228118.5406
11 | 2696739.257 | 1228042.9786 | 2696739.6533 | 1228042.6982
12 | 2696662.6426 | 1228101.7391 | 2696647.6951 | 1228107.8952
13 | 2696691.0336 | 1228132.4337 | 2696685.8323 | 1228118.5406
14 | 2696754.1336 | 1228107.5307 | 2696729.6193 | 1228118.9589
15 | 2696767.6394 | 1228101.2345 | 2696754.1336 | 1228107.5307
16 | 2696691.0336 | 1228132.4337 | 2696722.6058 | 1228122.2285 | 2696729.6193 | 1228118.9589
17 | 2696767.6394 | 1228101.2345 | 2696755.7027 | 1228067.7162
18 | 2696767.6394 | 1228101.2345 | 2696786.0272 | 1228094.0303
19 | 2696755.7027 | 1228067.7162 | 2696729.4415 | 1228076.9376
20 | 2696755.7027 | 1228067.7162 | 2696775.7474 | 1228061.2709 | 2696780.0284 | 1228060.0539
21 | 2696786.0272 | 1228094.0303 | 2696809.8191 | 1228084.7088 | 2696811.6875 | 1228084.1362
22 | 2696590.5351 | 1228148.1125 | 2696596.9645 | 1228139.5552 | 2696604.1609 | 1228131.3661 | 2696610.4831 | 1228126.1428 | 2696617.1482 | 1228121.7368 | 2696625.2411 | 1228117.1427 | 2696647.6951 | 1228107.8952
23 | 2696603.9559 | 1228142.582 | 2696590.5351 | 1228148.1125
24 | 2696580.9024 | 1228168.1817 | 2696581.2342 | 1228164.5512 | 2696583.1709 | 1228159.6346 | 2696590.5351 | 1228148.1125
25 | 2696603.9559 | 1228142.582 | 2696618.2538 | 1228144.6379 | 2696638.5013 | 1228146.8862
26 | 2696603.9559 | 1228142.582 | 2696589.877 | 1228139.6402 | 2696565.5392 | 1228131.5601
27 | 2696580.9024 | 1228168.1817 | 2696581.1798 | 1228170.6992 | 2696581.4845 | 1228171.538 | 2696583.0076 | 1228173.8867 | 2696584.3383 | 1228175.4761 | 2696590.901 | 1228180.4355
28 | 2696580.9024 | 1228168.1817 | 2696561.0865 | 1228167.5707
29 | 2696670.6385 | 1228148.3249 | 2696646.0554 | 1228147.725 | 2696638.5013 | 1228146.8862
30 | 2696561.0865 | 1228167.5707 | 2696559.6489 | 1228171.1611 | 2696556.112 | 1228188.6143
31 | 2696541.6218 | 1228156.5358 | 2696553.0768 | 1228164.7165 | 2696561.0865 | 1228167.5707
32 | 2696670.6385 | 1228148.3249 | 2696665.6885 | 1228155.8499 | 2696659.8642 | 1228157.4898 | 2696648.6344 | 1228178.7819
33 | 2696556.112 | 1228188.6143 | 2696555.9327 | 1228189.4993
34 | 2696541.6218 | 1228156.5358 | 2696531.122 | 1228171.6763
35 | 2696541.6218 | 1228156.5358 | 2696537.5826 | 1228147.1857 | 2696534.3547 | 1228134.5465
36 | 2696648.6344 | 1228178.7819 | 2696641.3623 | 1228192.57
37 | 2696498.9504 | 1228104.9174 | 2696528.5427 | 1228124.6895 | 2696534.3547 | 1228134.5465
38 | 2696498.9504 | 1228104.9174 | 2696490.7737 | 1228106.2746 | 2696472.0708 | 1228105.4883
39 | 2696498.9504 | 1228104.9174 | 2696511.6059 | 1228090.0453 | 2696521.1143 | 1228094.6368
40 | 2696534.3547 | 1228134.5465 | 2696512.6029 | 1228134.6047
41 | 2696461.0963 | 1228105.0268 | 2696472.0708 | 1228105.4883
42 | 2696543.7999 | 1228112.0168 | 2696528.9286 | 1228103.7251 | 2696527.7133 | 1228097.8233 | 2696521.1143 | 1228094.6368
43 | 2696624.9452 | 1228213.2183 | 2696623.5025 | 1228216.6529 | 2696618.9625 | 1228224.1401
44 | 2696624.9452 | 1228213.2183 | 2696630.9681 | 1228206.8226 | 2696635.2375 | 1228201.5326 | 2696640.4087 | 1228194.3781 | 2696641.3623 | 1228192.57
45 | 2696618.9625 | 1228224.1401 | 2696616.0999 | 1228228.6746
46 | 2696618.9625 | 1228224.1401 | 2696629.2215 | 1228233.8232
47 | 2696555.9327 | 1228189.4993 | 2696555.0021 | 1228194.0911 | 2696550.9651 | 1228200.0076 | 2696550.9651 | 1228200.0076
48 | 2696518.9474 | 1228171.4119 | 2696531.122 | 1228171.6763
49 | 2696543.7999 | 1228112.0168 | 2696543.104 | 1228099.7967 | 2696546.0802 | 1228089.204 | 2696549.8816 | 1228087.0642 | 2696552.3772 | 1228077.0368
50 | 2696559.7651 | 1228047.3515 | 2696552.3772 | 1228077.0368
51 | 2696576.898 | 1228058.2597 | 2696569.5827 | 1228049.9683 | 2696559.7651 | 1228047.3515
52 | 2696616.0999 | 1228228.6746 | 2696605.6004 | 1228246.0191
53 | 2696616.0999 | 1228228.6746 | 2696612.5043 | 1228226.081 | 2696611.9538 | 1228226.3889
54 | 2696629.2215 | 1228233.8232 | 2696638.6564 | 1228242.7284
55 | 2696603.0984 | 1228250.7658 | 2696603.8421 | 1228248.9235 | 2696605.6004 | 1228246.0191
56 | 2696611.9538 | 1228226.3889 | 2696596.8334 | 1228234.844 | 2696590.418 | 1228236.0701
57 | 2696649.758 | 1228257.1099 | 2696647.5872 | 1228251.1579 | 2696638.6564 | 1228242.7284
58 | 2696603.0984 | 1228250.7658 | 2696601.5243 | 1228254.6655
59 | 2696549.6032 | 1228230.1018 | 2696582.7313 | 1228237.5392 | 2696590.418 | 1228236.0701
60 | 2696649.758 | 1228257.1099 | 2696655.5461 | 1228272.9807 | 2696676.0819 | 1228284.8457
61 | 2696547.921 | 1228229.7241 | 2696549.6032 | 1228230.1018
62 | 2696547.921 | 1228229.7241 | 2696543.8249 | 1228228.3706
63 | 2696737.8847 | 1228043.9501 | 2696739.257 | 1228042.9786
64 | 2696737.8847 | 1228043.9501 | 2696724.3679 | 1228053.5187 | 2696712.6315 | 1228066.3705 | 2696713.6913 | 1228071.2042
65 | 2696461.0963 | 1228105.0268 | 2696454.3925 | 1228104.745
66 | 2696454.3925 | 1228104.745 | 2696444.1976 | 1228104.3163
67 | 2696415.7915 | 1228081.0978 | 2696408.8507 | 1228080.6884
68 | 2696400.161 | 1228080.1758 | 2696408.8507 | 1228080.6884
69 | 2696518.9474 | 1228171.4119 | 2696518.7969 | 1228191.0351
70 | 2696448.2491 | 1228163.7487 | 2696487.214 | 1228165.9043 | 2696502.0227 | 1228171.0371 | 2696518.9474 | 1228171.4119
71 | 2696448.8173 | 1228147.4128 | 2696421.3678 | 1228146.445
72 | 2696448.8173 | 1228147.4128 | 2696448.4985 | 1228156.5765
73 | 2696421.3678 | 1228146.445 | 2696418.9343 | 1228147.0879
74 | 2696448.2491 | 1228163.7487 | 2696448.4985 | 1228156.5765
75 | 2696440.8183 | 1228104.1742 | 2696444.1976 | 1228104.3163
76 | 2696400.161 | 1228080.1758 | 2696395.5592 | 1228079.9179
77 | 2696400.161 | 1228080.1758 | 2696399.5715 | 1228091.0162
78 | 2696518.7969 | 1228191.0351 | 2696518.7958 | 1228191.1811
79 | 2696418.9343 | 1228147.0879 | 2696414.7459 | 1228148.1945
80 | 2696440.8183 | 1228104.1742 | 2696427.2932 | 1228103.6065
81 | 2696440.8183 | 1228104.1742 | 2696441.5254 | 1228093.5185
82 | 2696427.2932 | 1228103.6065 | 2696413.6086 | 1228103.032
83 | 2696441.5996 | 1228092.4009 | 2696441.5254 | 1228093.5185
84 | 2696413.6086 | 1228103.032 | 2696398.9515 | 1228102.4167 | 2696399.5436 | 1228091.5287
85 | 2696399.5715 | 1228091.0162 | 2696399.5436 | 1228091.5287
86 | 2696388.7123 | 1228079.5343 | 2696395.5592 | 1228079.9179

## bus_geodata
| x | y | coords
0 | 2696689.3722 | 1228054.2258
1 | 2696701.2466 | 1228021.731
2 | 2696666.7868 | 1228060.2552
3 | 2696711.5608 | 1228000.3388
4 | 2696663.0131 | 1228065.8971
5 | 2696759.6257 | 1228013.4075
6 | 2696661.8294 | 1228093.9536
7 | 2696752.4915 | 1228030.7648
8 | 2696668.9393 | 1228099.4843
9 | 2696739.6533 | 1228042.6982
10 | 2696662.6426 | 1228101.7391
11 | 2696685.8323 | 1228118.5406
12 | 2696754.1336 | 1228107.5307
13 | 2696729.6193 | 1228118.9589
14 | 2696767.6394 | 1228101.2345
15 | 2696691.0336 | 1228132.4337
16 | 2696755.7027 | 1228067.7162
17 | 2696786.0272 | 1228094.0303
18 | 2696729.4415 | 1228076.9376
19 | 2696780.0284 | 1228060.0539
20 | 2696811.6875 | 1228084.1362
21 | 2696647.6951 | 1228107.8952
22 | 2696590.5351 | 1228148.1125
23 | 2696603.9559 | 1228142.582
24 | 2696580.9024 | 1228168.1817
25 | 2696638.5013 | 1228146.8862
26 | 2696565.5392 | 1228131.5601
27 | 2696590.901 | 1228180.4355
28 | 2696561.0865 | 1228167.5707
29 | 2696670.6385 | 1228148.3249
30 | 2696556.112 | 1228188.6144
31 | 2696541.6218 | 1228156.5358
32 | 2696648.6344 | 1228178.7819
33 | 2696498.9504 | 1228104.9174
34 | 2696534.3547 | 1228134.5465
35 | 2696472.0708 | 1228105.4883
36 | 2696521.1143 | 1228094.6368
37 | 2696624.9452 | 1228213.2183
38 | 2696618.9625 | 1228224.1401
39 | 2696641.3623 | 1228192.57
40 | 2696555.9327 | 1228189.4993
41 | 2696531.122 | 1228171.6763
42 | 2696543.7999 | 1228112.0168
43 | 2696552.3772 | 1228077.0368
44 | 2696559.7651 | 1228047.3515
45 | 2696576.898 | 1228058.2597
46 | 2696616.0999 | 1228228.6746
47 | 2696629.2215 | 1228233.8232
48 | 2696605.6004 | 1228246.0191
49 | 2696611.9538 | 1228226.3889
50 | 2696638.6564 | 1228242.7284
51 | 2696603.0984 | 1228250.7658
52 | 2696590.418 | 1228236.0701
53 | 2696649.758 | 1228257.1099
54 | 2696549.6032 | 1228230.1018
55 | 2696547.9209 | 1228229.7241
56 | 2696543.8249 | 1228228.3706
57 | 2696601.5243 | 1228254.6655
58 | 2696676.0819 | 1228284.8457
59 | 2696737.8847 | 1228043.9501
60 | 2696739.257 | 1228042.9786
61 | 2696713.6913 | 1228071.2042
62 | 2696512.6029 | 1228134.6047
63 | 2696461.0963 | 1228105.0268
64 | 2696454.3925 | 1228104.745
65 | 2696415.7915 | 1228081.0978
66 | 2696408.8507 | 1228080.6884
67 | 2696518.9474 | 1228171.4119
68 | 2696448.8173 | 1228147.4128
69 | 2696421.3678 | 1228146.445
70 | 2696448.4985 | 1228156.5765
71 | 2696444.1976 | 1228104.3163
72 | 2696400.161 | 1228080.1758
73 | 2696518.7969 | 1228191.0351
74 | 2696448.2491 | 1228163.7487
75 | 2696518.7958 | 1228191.1811
76 | 2696550.9651 | 1228200.0076
77 | 2696414.7459 | 1228148.1945
78 | 2696418.9343 | 1228147.0879
79 | 2696440.8183 | 1228104.1742
80 | 2696427.2932 | 1228103.6065
81 | 2696441.5254 | 1228093.5185
82 | 2696413.6086 | 1228103.032
83 | 2696441.5996 | 1228092.4009
84 | 2696399.5436 | 1228091.5287
85 | 2696399.5715 | 1228091.0162
86 | 2696395.5592 | 1228079.9179
87 | 2696388.7123 | 1228079.5343
88 | 2696590.5351 | 1228148.1125

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98761 | -0.23796 | 0.0023682 | 0.00059352
1 | 0.98695 | -0.25081 | 0.0037419 | 0.0009378
2 | 0.98806 | -0.22916 | 0.026689 | 0.0066889
3 | 0.98659 | -0.25776 | 0 | 0
4 | 0.98839 | -0.22277 | 0.00095283 | 0.0002388
5 | 0.98591 | -0.27109 | 0 | 0
6 | 0.99085 | -0.17518 | 0.00095232 | 0.00023867
7 | 0.98565 | -0.27621 | 0.0020659 | 0.00051778
8 | 0.99126 | -0.16724 | 0 | 0
9 | 0.98544 | -0.28032 | 0.0031824 | 0.00079757
10 | 0.99199 | -0.15315 | 0 | 0
11 | 0.98917 | -0.20771 | 0.019029 | 0.0047692
12 | 0.98572 | -0.27471 | 0.0079171 | 0.0019842
13 | 0.98658 | -0.25796 | 0.015923 | 0.0039907
14 | 0.98535 | -0.28182 | 0 | 0
15 | 0.98848 | -0.22106 | 0 | 0
16 | 0.98507 | -0.28731 | 0 | 0
17 | 0.98503 | -0.28822 | 0.014895 | 0.003733
18 | 0.98501 | -0.28852 | 0.002412 | 0.00060451
19 | 0.98493 | -0.29015 | 0.0061804 | 0.0015489
20 | 0.98495 | -0.28976 | 0.003129 | 0.0007842
21 | 0.99376 | -0.11908 | 0.02503 | 0.0062732
22 | 0.99849 | -0.028673 | 0 | 0
23 | 1 | 0 | -0.4298 | -0.1092
24 | 0.99713 | -0.05453 | 0 | 0
25 | 0.99767 | -0.044525 | 0.010656 | 0.0026706
26 | 0.99965 | -0.0068026 | 0.0097466 | 0.0024427
27 | 0.99707 | -0.055558 | 0.0035505 | 0.00088983
28 | 0.99595 | -0.076797 | 0 | 0
29 | 0.99583 | -0.079846 | 0 | 0
30 | 0.99572 | -0.081312 | 0.0035492 | 0.00088952
31 | 0.99408 | -0.11263 | 0 | 0
32 | 0.9936 | -0.12296 | 0.014935 | 0.0037429
33 | 0.98544 | -0.27855 | 0 | 0
34 | 0.99108 | -0.16985 | 0 | 0
35 | 0.98387 | -0.30907 | 0.012289 | 0.0030799
36 | 0.98357 | -0.31473 | 0.0030787 | 0.00077159
37 | 0.99224 | -0.14919 | 0 | 0
38 | 0.99192 | -0.15539 | 0 | 0
39 | 0.99292 | -0.13607 | 0.019561 | 0.0049024
40 | 0.99571 | -0.081444 | 0.0035477 | 0.00088914
41 | 0.99338 | -0.12612 | 0.0086716 | 0.0021733
42 | 0.98177 | -0.34971 | 0 | 0
43 | 0.97953 | -0.39356 | 0.0044511 | 0.0011155
44 | 0.97784 | -0.42659 | 0 | 0
45 | 0.97668 | -0.44952 | 0.059333 | 0.01487
46 | 0.99185 | -0.15671 | 0 | 0
47 | 0.99174 | -0.15891 | 0.0013612 | 0.00034116
48 | 0.99177 | -0.15831 | 0.00079281 | 0.0001987
49 | 0.99181 | -0.15757 | 0.00078533 | 0.00019682
50 | 0.99159 | -0.16184 | 0.0064456 | 0.0016154
51 | 0.99175 | -0.15866 | 0.0028595 | 0.00071666
52 | 0.99162 | -0.16126 | 0.003972 | 0.00099547
53 | 0.99148 | -0.16391 | 0.0010867 | 0.00027235
54 | 0.99144 | -0.16478 | 0.0023773 | 0.0005958
55 | 0.99143 | -0.16485 | 0 | 0
56 | 0.99142 | -0.16503 | 0.0023765 | 0.00059559
57 | 0.99175 | -0.15872 | 0.00079173 | 0.00019843
58 | 0.99129 | -0.16765 | 0.0051903 | 0.0013008
59 | 0.98542 | -0.2806 | 0.0041166 | 0.0010317
60 | 0.98543 | -0.2804 | 0.0031849 | 0.00079821
61 | 0.98534 | -0.28228 | 0.0024142 | 0.00060507
62 | 0.99089 | -0.17352 | 0.0095105 | 0.0023836
63 | 0.98336 | -0.31908 | 0.0030688 | 0.00076913
64 | 0.98307 | -0.32482 | 0.0028765 | 0.00072092
65 | 0.98131 | -0.35921 | 0.0030826 | 0.00077257
66 | 0.98133 | -0.35883 | 0.0031143 | 0.00078052
67 | 0.99301 | -0.13317 | 0.0091496 | 0.0022931
68 | 0.99162 | -0.1601 | 0 | 0
69 | 0.99128 | -0.16677 | 0.0048554 | 0.0012169
70 | 0.99174 | -0.15787 | 0.0040637 | 0.0010185
71 | 0.98265 | -0.33304 | 0.013355 | 0.0033472
72 | 0.98138 | -0.35785 | 0 | 0
73 | 0.99291 | -0.13522 | 0.0030174 | 0.00075623
74 | 0.99185 | -0.15562 | 0 | 0
75 | 0.99291 | -0.13522 | 0.0028669 | 0.00071851
76 | 0.99566 | -0.082434 | 0.0047537 | 0.0011914
77 | 0.99124 | -0.16749 | 0.0042973 | 0.001077
78 | 0.99126 | -0.16716 | 0.0045368 | 0.001137
79 | 0.98255 | -0.33495 | 0 | 0
80 | 0.98223 | -0.3411 | 0.0033065 | 0.00082868
81 | 0.98249 | -0.33612 | 0.0030651 | 0.00076819
82 | 0.98196 | -0.34651 | 0.0031936 | 0.0008004
83 | 0.98249 | -0.33618 | 0.0030298 | 0.00075934
84 | 0.98152 | -0.35515 | 0.0031467 | 0.00078863
85 | 0.98151 | -0.35529 | 0.0024928 | 0.00062474
86 | 0.98135 | -0.35842 | 0.0022888 | 0.00057363
87 | 0.98132 | -0.35898 | 0.0045438 | 0.0011388
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.018738 | 0.0047065 | -0.018727 | -0.0046996 | 1.1487e-05 | 6.8604e-06 | 0.028236 | 0.028237 | 0.028237 | 0.98761 | -0.23796 | 0.98695 | -0.25081 | 7.7573
1 | -0.021107 | -0.0053 | 0.021115 | 0.0053054 | 8.8671e-06 | 5.3757e-06 | 0.031804 | 0.031804 | 0.031804 | 0.98761 | -0.23796 | 0.98806 | -0.22916 | 8.7375
2 | 0.014985 | 0.0037618 | -0.01498 | -0.0037589 | 4.9676e-06 | 2.8478e-06 | 0.022595 | 0.022595 | 0.022595 | 0.98695 | -0.25081 | 0.98659 | -0.25776 | 6.2074
3 | -0.047804 | -0.011994 | 0.047819 | 0.012003 | 1.4569e-05 | 9.2282e-06 | 0.071998 | 0.071998 | 0.071998 | 0.98806 | -0.22916 | 0.98839 | -0.22277 | 19.7796
4 | 0.01498 | 0.0037589 | -0.014971 | -0.0037535 | 9.51e-06 | 5.4525e-06 | 0.022595 | 0.022595 | 0.022595 | 0.98659 | -0.25776 | 0.98591 | -0.27109 | 6.2075
5 | -0.048772 | -0.012242 | 0.048883 | 0.012313 | 0.00011097 | 7.0318e-05 | 0.073432 | 0.073432 | 0.073432 | 0.98839 | -0.22277 | 0.99085 | -0.17518 | 20.1736
6 | 0.014971 | 0.0037535 | -0.014967 | -0.0037514 | 3.6531e-06 | 2.0947e-06 | 0.022595 | 0.022595 | 0.022595 | 0.98591 | -0.27109 | 0.98565 | -0.27621 | 6.2075
7 | -0.049835 | -0.012551 | 0.049854 | 0.012563 | 1.8931e-05 | 1.2e-05 | 0.074862 | 0.074862 | 0.074862 | 0.99085 | -0.17518 | 0.99126 | -0.16724 | 20.5665
8 | 0.012901 | 0.0032336 | -0.012898 | -0.0032322 | 2.5237e-06 | 1.3891e-06 | 0.019476 | 0.019477 | 0.019477 | 0.98565 | -0.27621 | 0.98544 | -0.28032 | 5.3507
9 | -0.11964 | -0.030168 | 0.11972 | 0.030219 | 8.075e-05 | 5.1594e-05 | 0.17966 | 0.17966 | 0.17966 | 0.99126 | -0.16724 | 0.99199 | -0.15315 | 49.358
10 | 0.069788 | 0.017605 | -0.069653 | -0.017519 | 0.00013496 | 8.5952e-05 | 0.1048 | 0.1048 | 0.1048 | 0.99126 | -0.16724 | 0.98917 | -0.20771 | 28.7916
11 | 0.009716 | 0.0024347 | -0.009716 | -0.0024346 | 3.9185e-08 | 1.8893e-08 | 0.014671 | 0.014671 | 0.014671 | 0.98544 | -0.28032 | 0.98543 | -0.2804 | 4.0305
12 | -0.11972 | -0.030219 | 0.11992 | 0.030344 | 0.00019568 | 0.00012502 | 0.17966 | 0.17966 | 0.17966 | 0.99199 | -0.15315 | 0.99376 | -0.11908 | 49.358
13 | 0.050623 | 0.012749 | -0.050591 | -0.012729 | 3.2281e-05 | 2.0469e-05 | 0.076175 | 0.076176 | 0.076176 | 0.98917 | -0.20771 | 0.98848 | -0.22106 | 20.9273
14 | -0.034551 | -0.0086645 | 0.034579 | 0.0086818 | 2.7594e-05 | 1.7315e-05 | 0.05216 | 0.052159 | 0.05216 | 0.98572 | -0.27471 | 0.98658 | -0.25796 | 14.3295
15 | 0.026634 | 0.0066802 | -0.026625 | -0.0066747 | 9.034e-06 | 5.5919e-06 | 0.040208 | 0.040208 | 0.040208 | 0.98572 | -0.27471 | 0.98535 | -0.28182 | 11.0462
16 | -0.050502 | -0.012672 | 0.050591 | 0.012729 | 8.904e-05 | 5.6462e-05 | 0.076176 | 0.076176 | 0.076176 | 0.98658 | -0.25796 | 0.98848 | -0.22106 | 20.9274
17 | 0.0085956 | 0.0021544 | -0.0085933 | -0.0021534 | 2.2477e-06 | 9.8555e-07 | 0.012981 | 0.012981 | 0.012981 | 0.98535 | -0.28182 | 0.98507 | -0.28731 | 3.5661
18 | 0.01803 | 0.0045203 | -0.018024 | -0.004517 | 5.4903e-06 | 3.2623e-06 | 0.027228 | 0.027228 | 0.027228 | 0.98535 | -0.28182 | 0.98503 | -0.28822 | 7.4802
19 | 0.0024122 | 0.00060424 | -0.002412 | -0.00060451 | 1.3857e-07 | -2.6562e-07 | 0.0036436 | 0.0036437 | 0.0036437 | 0.98507 | -0.28731 | 0.98501 | -0.28852 | 1.001
20 | 0.0061812 | 0.0015492 | -0.0061804 | -0.0015489 | 8.3388e-07 | 2.0903e-07 | 0.0093371 | 0.0093372 | 0.0093372 | 0.98507 | -0.28731 | 0.98493 | -0.29015 | 2.5652
21 | 0.0031292 | 0.00078399 | -0.003129 | -0.0007842 | 2.3049e-07 | -2.026e-07 | 0.004727 | 0.0047271 | 0.0047271 | 0.98503 | -0.28822 | 0.98495 | -0.28976 | 1.2987
22 | -0.14495 | -0.036618 | 0.14558 | 0.03702 | 0.0006311 | 0.00040205 | 0.21714 | 0.21714 | 0.21714 | 0.99376 | -0.11908 | 0.99849 | -0.028673 | 29.8273
23 | -0.34427 | -0.087821 | 0.34475 | 0.088126 | 0.00047746 | 0.00030501 | 0.5136 | 0.5136 | 0.5136 | 0.99849 | -0.028673 | 1 | 0 | 47.0334
24 | 0.19869 | 0.050802 | -0.19845 | -0.050644 | 0.00024822 | 0.00015798 | 0.29646 | 0.29646 | 0.29646 | 0.99849 | -0.028673 | 0.99713 | -0.05453 | 27.1487
25 | 0.073647 | 0.018631 | -0.07349 | -0.018531 | 0.00015698 | 0.00010001 | 0.10965 | 0.10965 | 0.10965 | 1 | 0 | 0.99767 | -0.044525 | 30.1236
26 | 0.0097498 | 0.0024442 | -0.0097466 | -0.0024427 | 3.1595e-06 | 1.4971e-06 | 0.014508 | 0.014508 | 0.014508 | 1 | 0 | 0.99965 | -0.0068026 | 3.9858
27 | 0.0035506 | 0.00088973 | -0.0035505 | -0.00088983 | 1.7396e-07 | -1.0418e-07 | 0.0052986 | 0.0052987 | 0.0052987 | 0.99713 | -0.05453 | 0.99707 | -0.055558 | 1.4557
28 | 0.19489 | 0.049754 | -0.19469 | -0.049621 | 0.00020947 | 0.00013329 | 0.29116 | 0.29117 | 0.29117 | 0.99713 | -0.05453 | 0.99595 | -0.076797 | 26.6635
29 | 0.062835 | 0.015861 | -0.062729 | -0.015793 | 0.00010611 | 6.7493e-05 | 0.093757 | 0.093757 | 0.093757 | 0.99767 | -0.044525 | 0.99583 | -0.079846 | 25.7574
30 | 0.011854 | 0.0029714 | -0.011851 | -0.0029701 | 2.5494e-06 | 1.3496e-06 | 0.01771 | 0.01771 | 0.01771 | 0.99595 | -0.076797 | 0.99572 | -0.081312 | 4.8654
31 | 0.18283 | 0.046649 | -0.18252 | -0.046448 | 0.00031589 | 0.00020158 | 0.27346 | 0.27346 | 0.27346 | 0.99595 | -0.076797 | 0.99408 | -0.11263 | 37.5626
32 | 0.062729 | 0.015793 | -0.0626 | -0.015711 | 0.00012899 | 8.2045e-05 | 0.093757 | 0.093757 | 0.093757 | 0.99583 | -0.079846 | 0.9936 | -0.12296 | 25.7575
33 | 0.0083017 | 0.0020805 | -0.0083017 | -0.0020805 | 5.2114e-08 | 2.1608e-08 | 0.012406 | 0.012406 | 0.012406 | 0.99572 | -0.081312 | 0.99571 | -0.081444 | 3.4083
34 | 0.041524 | 0.01043 | -0.041497 | -0.010413 | 2.6701e-05 | 1.685e-05 | 0.062165 | 0.062165 | 0.062165 | 0.99408 | -0.11263 | 0.99338 | -0.12612 | 17.0782
35 | 0.14099 | 0.036018 | -0.1406 | -0.035769 | 0.00038884 | 0.00024856 | 0.21129 | 0.21129 | 0.21129 | 0.99408 | -0.11263 | 0.99108 | -0.16985 | 58.0471
36 | 0.047665 | 0.011968 | -0.047635 | -0.011949 | 2.9793e-05 | 1.8866e-05 | 0.071391 | 0.071391 | 0.071391 | 0.9936 | -0.12296 | 0.99292 | -0.13607 | 19.613
37 | -0.13041 | -0.032948 | 0.13109 | 0.033385 | 0.00068339 | 0.00043677 | 0.19701 | 0.19701 | 0.19701 | 0.98544 | -0.27855 | 0.99108 | -0.16985 | 54.1236
38 | 0.063027 | 0.015861 | -0.062935 | -0.015803 | 9.1778e-05 | 5.8395e-05 | 0.095194 | 0.095194 | 0.095194 | 0.98544 | -0.27855 | 0.98387 | -0.30907 | 26.1521
39 | 0.067381 | 0.017087 | -0.067264 | -0.017012 | 0.00011696 | 7.4473e-05 | 0.10182 | 0.10182 | 0.10182 | 0.98544 | -0.27855 | 0.98357 | -0.31473 | 27.9716
40 | 0.0095122 | 0.0023843 | -0.0095105 | -0.0023836 | 1.6638e-06 | 7.8457e-07 | 0.014282 | 0.014282 | 0.014282 | 0.99108 | -0.16985 | 0.99089 | -0.17352 | 3.9236
41 | 0.050646 | 0.012723 | -0.050622 | -0.012708 | 2.4174e-05 | 1.5332e-05 | 0.076608 | 0.076608 | 0.076608 | 0.98387 | -0.30907 | 0.98336 | -0.31908 | 21.046
42 | 0.064185 | 0.016241 | -0.064077 | -0.016172 | 0.00010754 | 6.8444e-05 | 0.097159 | 0.097159 | 0.097159 | 0.98357 | -0.31473 | 0.98177 | -0.34971 | 26.692
43 | 0.028057 | 0.007036 | -0.028049 | -0.0070309 | 8.2826e-06 | 5.1398e-06 | 0.042077 | 0.042077 | 0.042077 | 0.99224 | -0.14919 | 0.99192 | -0.15539 | 11.5597
44 | -0.028057 | -0.007036 | 0.028074 | 0.0070469 | 1.7564e-05 | 1.0899e-05 | 0.042077 | 0.042077 | 0.042077 | 0.99224 | -0.14919 | 0.99292 | -0.13607 | 11.5597
45 | 0.013959 | 0.0034986 | -0.013958 | -0.0034981 | 8.8124e-07 | 4.9482e-07 | 0.020941 | 0.020941 | 0.020941 | 0.99192 | -0.15539 | 0.99185 | -0.15671 | 5.7529
46 | 0.01409 | 0.0035323 | -0.014087 | -0.0035309 | 2.3634e-06 | 1.3305e-06 | 0.021137 | 0.021137 | 0.021137 | 0.99192 | -0.15539 | 0.99174 | -0.15891 | 5.8068
47 | 0.004754 | 0.0011914 | -0.0047537 | -0.0011914 | 2.2425e-07 | -1.0579e-08 | 0.0071044 | 0.0071045 | 0.0071045 | 0.99571 | -0.081444 | 0.99566 | -0.082434 | 1.9518
48 | 0.032826 | 0.0082399 | -0.032815 | -0.008233 | 1.1043e-05 | 6.9099e-06 | 0.049175 | 0.049175 | 0.049175 | 0.99338 | -0.12612 | 0.99301 | -0.13317 | 13.5097
49 | 0.064077 | 0.016172 | -0.063943 | -0.016087 | 0.0001343 | 8.5473e-05 | 0.097159 | 0.097159 | 0.097159 | 0.98177 | -0.34971 | 0.97953 | -0.39356 | 26.6921
50 | 0.059492 | 0.014971 | -0.059398 | -0.014912 | 9.3742e-05 | 5.9611e-05 | 0.090397 | 0.090398 | 0.090398 | 0.97953 | -0.39356 | 0.97784 | -0.42659 | 24.8345
51 | 0.059398 | 0.014912 | -0.059333 | -0.01487 | 6.4889e-05 | 4.1263e-05 | 0.090398 | 0.090398 | 0.090398 | 0.97784 | -0.42659 | 0.97668 | -0.44952 | 24.8345
52 | 0.0044444 | 0.0011137 | -0.0044441 | -0.0011137 | 3.3802e-07 | -4.5321e-08 | 0.0066677 | 0.0066677 | 0.0066677 | 0.99185 | -0.15671 | 0.99177 | -0.15831 | 1.8318
53 | 0.0095138 | 0.0023845 | -0.0095134 | -0.0023843 | 3.8687e-07 | 1.8224e-07 | 0.014273 | 0.014273 | 0.014273 | 0.99185 | -0.15671 | 0.99181 | -0.15757 | 3.9211
54 | 0.012726 | 0.0031898 | -0.012724 | -0.0031888 | 1.7738e-06 | 9.6785e-07 | 0.019094 | 0.019094 | 0.019094 | 0.99174 | -0.15891 | 0.99159 | -0.16184 | 5.2457
55 | 0.0036513 | 0.000915 | -0.0036512 | -0.00091503 | 6.057e-08 | -3.0684e-08 | 0.0054782 | 0.0054783 | 0.0054783 | 0.99177 | -0.15831 | 0.99175 | -0.15866 | 1.505
56 | 0.0087281 | 0.0021875 | -0.0087265 | -0.0021868 | 1.534e-06 | 6.7394e-07 | 0.013095 | 0.013095 | 0.013095 | 0.99181 | -0.15757 | 0.99162 | -0.16126 | 3.5975
57 | 0.0062786 | 0.0015734 | -0.0062779 | -0.0015732 | 6.1972e-07 | 1.565e-07 | 0.0094218 | 0.0094219 | 0.0094219 | 0.99159 | -0.16184 | 0.99148 | -0.16391 | 2.5884
58 | 0.00079174 | 0.00019837 | -0.00079173 | -0.00019843 | 2.2253e-09 | -5.2841e-08 | 0.0011879 | 0.0011879 | 0.0011879 | 0.99175 | -0.15866 | 0.99175 | -0.15872 | 0.32635
59 | 0.0047546 | 0.0011913 | -0.0047538 | -0.0011913 | 7.975e-07 | -2.8458e-08 | 0.0071346 | 0.0071347 | 0.0071347 | 0.99162 | -0.16126 | 0.99144 | -0.16478 | 1.9601
60 | 0.0051912 | 0.0013009 | -0.0051903 | -0.0013008 | 9.244e-07 | 6.7978e-08 | 0.007791 | 0.0077911 | 0.0077911 | 0.99148 | -0.16391 | 0.99129 | -0.16765 | 2.1404
61 | 0.0023765 | 0.00059554 | -0.0023765 | -0.00059555 | 8.2252e-09 | -1.6969e-08 | 0.0035668 | 0.0035668 | 0.0035668 | 0.99144 | -0.16478 | 0.99143 | -0.16485 | 0.97988
62 | 0.0023765 | 0.00059555 | -0.0023765 | -0.00059559 | 2.058e-08 | -4.2458e-08 | 0.0035668 | 0.0035668 | 0.0035668 | 0.99143 | -0.16485 | 0.99142 | -0.16503 | 0.97989
63 | -0.006531 | -0.0016364 | 0.0065311 | 0.0016364 | 6.1324e-08 | 1.7826e-08 | 0.0098619 | 0.0098619 | 0.0098619 | 0.98542 | -0.2806 | 0.98543 | -0.2804 | 2.7093
64 | 0.0024144 | 0.0006047 | -0.0024142 | -0.00060507 | 1.9397e-07 | -3.7156e-07 | 0.0036457 | 0.0036459 | 0.0036459 | 0.98542 | -0.2806 | 0.98534 | -0.28228 | 1.0016
65 | 0.047553 | 0.011938 | -0.04754 | -0.01193 | 1.3031e-05 | 8.2546e-06 | 0.071964 | 0.071964 | 0.071964 | 0.98336 | -0.31908 | 0.98307 | -0.32482 | 19.7703
66 | 0.044663 | 0.011209 | -0.044646 | -0.011198 | 1.7491e-05 | 1.1065e-05 | 0.06761 | 0.06761 | 0.06761 | 0.98307 | -0.32482 | 0.98265 | -0.33304 | 18.5741
67 | -0.0030826 | -0.00077257 | 0.0030827 | 0.00077252 | 5.6968e-08 | -5.1381e-08 | 0.0046743 | 0.0046743 | 0.0046743 | 0.98131 | -0.35921 | 0.98133 | -0.35883 | 1.2842
68 | -0.006197 | -0.001553 | 0.0061973 | 0.0015531 | 2.8822e-07 | 7.4482e-08 | 0.0093966 | 0.0093966 | 0.0093966 | 0.98133 | -0.35883 | 0.98138 | -0.35785 | 2.5815
69 | 0.0058848 | 0.0014748 | -0.0058843 | -0.0014747 | 5.7226e-07 | 1.1241e-07 | 0.0088184 | 0.0088184 | 0.0088184 | 0.99301 | -0.13317 | 0.99291 | -0.13522 | 2.4226
70 | 0.01778 | 0.004465 | -0.017761 | -0.0044538 | 1.9017e-05 | 1.1248e-05 | 0.026646 | 0.026647 | 0.026647 | 0.99301 | -0.13317 | 0.99185 | -0.15562 | 7.3205
71 | 0.013694 | 0.0034334 | -0.01369 | -0.003431 | 4.3496e-06 | 2.4295e-06 | 0.02055 | 0.02055 | 0.02055 | 0.99162 | -0.1601 | 0.99128 | -0.16677 | 5.6455
72 | -0.013694 | -0.0034334 | 0.013696 | 0.0034342 | 1.452e-06 | 8.1099e-07 | 0.02055 | 0.02055 | 0.02055 | 0.99162 | -0.1601 | 0.99174 | -0.15787 | 5.6455
73 | 0.0088343 | 0.0022141 | -0.0088342 | -0.002214 | 1.6599e-07 | 7.3785e-08 | 0.013261 | 0.013261 | 0.013261 | 0.99128 | -0.16677 | 0.99126 | -0.16716 | 3.6432
74 | -0.017759 | -0.0044527 | 0.017761 | 0.0044538 | 1.9109e-06 | 1.1304e-06 | 0.026647 | 0.026647 | 0.026647 | 0.99174 | -0.15787 | 0.99185 | -0.15562 | 7.3205
75 | 0.03129 | 0.007851 | -0.031287 | -0.0078492 | 2.848e-06 | 1.7799e-06 | 0.047386 | 0.047386 | 0.047386 | 0.98265 | -0.33304 | 0.98255 | -0.33495 | 13.0181
76 | 0.0068329 | 0.0017125 | -0.0068327 | -0.0017124 | 1.8552e-07 | 6.0499e-08 | 0.01036 | 0.01036 | 0.01036 | 0.98138 | -0.35785 | 0.98135 | -0.35842 | 2.8463
77 | -0.01303 | -0.0032656 | 0.013032 | 0.0032665 | 1.5891e-06 | 8.7985e-07 | 0.019757 | 0.019757 | 0.019757 | 0.98138 | -0.35785 | 0.98151 | -0.35529 | 5.4277
78 | 0.0028669 | 0.00071851 | -0.0028669 | -0.00071851 | 1.0098e-09 | -1.2414e-09 | 0.0042964 | 0.0042964 | 0.0042964 | 0.99291 | -0.13522 | 0.99291 | -0.13522 | 1.1803
79 | -0.0042973 | -0.001077 | 0.0042974 | 0.001077 | 6.7606e-08 | -1.2576e-08 | 0.006451 | 0.006451 | 0.006451 | 0.99124 | -0.16749 | 0.99126 | -0.16716 | 1.7723
80 | 0.025192 | 0.0063216 | -0.025185 | -0.006317 | 7.3902e-06 | 4.5583e-06 | 0.038155 | 0.038155 | 0.038155 | 0.98255 | -0.33495 | 0.98223 | -0.3411 | 10.4821
81 | 0.0060953 | 0.0015276 | -0.0060949 | -0.0015275 | 3.4125e-07 | 8.3149e-08 | 0.009231 | 0.009231 | 0.009231 | 0.98255 | -0.33495 | 0.98249 | -0.33612 | 2.536
82 | 0.021878 | 0.0054883 | -0.021873 | -0.0054849 | 5.6429e-06 | 3.4382e-06 | 0.033146 | 0.033146 | 0.033146 | 0.98223 | -0.3411 | 0.98196 | -0.34651 | 9.106
83 | 0.0030298 | 0.00075933 | -0.0030298 | -0.00075934 | 8.8446e-09 | -8.5238e-09 | 0.0045888 | 0.0045888 | 0.0045888 | 0.98249 | -0.33612 | 0.98249 | -0.33618 | 1.2607
84 | 0.018679 | 0.0046845 | -0.018671 | -0.0046799 | 7.6843e-06 | 4.5946e-06 | 0.028306 | 0.028307 | 0.028307 | 0.98196 | -0.34651 | 0.98152 | -0.35515 | 7.7765
85 | 0.015525 | 0.0038913 | -0.015525 | -0.0038912 | 1.066e-07 | 6.174e-08 | 0.023536 | 0.023536 | 0.023536 | 0.98152 | -0.35515 | 0.98151 | -0.35529 | 6.4659
86 | 0.0045439 | 0.0011388 | -0.0045438 | -0.0011388 | 1.2208e-07 | -8.5109e-09 | 0.0068899 | 0.0068899 | 0.0068899 | 0.98135 | -0.35842 | 0.98132 | -0.35898 | 1.8928

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.4298 | 0.1092

## res_load
| p_mw | q_mvar
0 | 0.0023682 | 0.00059352
1 | 0.0037419 | 0.0009378
2 | 0.026689 | 0.0066889
3 | 0.00095283 | 0.0002388
4 | 0.00095232 | 0.00023867
5 | 0.0020659 | 0.00051778
6 | 0.0031824 | 0.00079757
7 | 0.019029 | 0.0047692
8 | 0.0079171 | 0.0019842
9 | 0.015923 | 0.0039907
10 | 0.014895 | 0.003733
11 | 0.002412 | 0.00060451
12 | 0.0061804 | 0.0015489
13 | 0.003129 | 0.0007842
14 | 0.02503 | 0.0062732
15 | 0.010656 | 0.0026706
16 | 0.0097466 | 0.0024427
17 | 0.0035505 | 0.00088983
18 | 0.0035492 | 0.00088952
19 | 0.014935 | 0.0037429
20 | 0.012289 | 0.0030799
21 | 0.0030787 | 0.00077159
22 | 0.019561 | 0.0049024
23 | 0.0035477 | 0.00088914
24 | 0.0086716 | 0.0021733
25 | 0.0044511 | 0.0011155
26 | 0.059333 | 0.01487
27 | 0.0013612 | 0.00034116
28 | 0.00079281 | 0.0001987
29 | 0.00078533 | 0.00019682
30 | 0.0064456 | 0.0016154
31 | 0.0028595 | 0.00071666
32 | 0.003972 | 0.00099547
33 | 0.0010867 | 0.00027235
34 | 0.0023773 | 0.0005958
35 | 0.0023765 | 0.00059559
36 | 0.00079173 | 0.00019843
37 | 0.0051903 | 0.0013008
38 | 0.0041166 | 0.0010317
39 | 0.0031849 | 0.00079821
40 | 0.0024142 | 0.00060507
41 | 0.0095105 | 0.0023836
42 | 0.0030688 | 0.00076913
43 | 0.0028765 | 0.00072092
44 | 0.0030826 | 0.00077257
45 | 0.0031143 | 0.00078052
46 | 0.0091496 | 0.0022931
47 | 0.0048554 | 0.0012169
48 | 0.0040637 | 0.0010185
49 | 0.013355 | 0.0033472
50 | 0.0030174 | 0.00075623
51 | 0.0028669 | 0.00071851
52 | 0.0047537 | 0.0011914
53 | 0.0042973 | 0.001077
54 | 0.0045368 | 0.001137
55 | 0.0033065 | 0.00082868
56 | 0.0030651 | 0.00076819
57 | 0.0031936 | 0.0008004
58 | 0.0030298 | 0.00075934
59 | 0.0031467 | 0.00078863
60 | 0.0024928 | 0.00062474
61 | 0.0022888 | 0.00057363
62 | 0.0045438 | 0.0011388

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1