## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1323-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1323-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1323-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1323-17_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1323-17_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1323-17_0_3_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_1323-17_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1323-17_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1323-17_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1323-17_0_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1323-17_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1323-17_0_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_1323-17_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_1323-17_0_3_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_1323-17_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1323-17_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1323-17_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1323-17_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1323-17_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1323-17_0_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1323-17_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1323-17_0_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1323-17_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_1323-17_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1323-17_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1323-17_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_1323-17_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1323-17_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1323-17_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1323-17_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1323-17_0_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_1323-17_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1323-17_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1323-17_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1323-17_0_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_1323-17_0_3_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_1323-17_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1323-17_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1323-17_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1323-17_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1323-17_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1323-17_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1323-17_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_MV_15_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1323-17_0_3_load_0 | 0 | 0.002365 | 0.00059272 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1323-17_0_3_load_1 | 1 | 0.0025881 | 0.00064865 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1323-17_0_3_load_2 | 2 | 0.0028366 | 0.00071092 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1323-17_0_3_load_36 | 5 | 0.012679 | 0.0031778 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1323-17_0_3_load_13 | 6 | 0.0048433 | 0.0012138 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1323-17_0_3_load_14 | 7 | 0.00087294 | 0.00021878 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1323-17_0_3_load_24 | 9 | 0.0023784 | 0.00059608 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1323-17_0_3_load_6 | 10 | 0.0032274 | 0.00080887 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1323-17_0_3_load_35 | 11 | 0.0028129 | 0.00070499 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1323-17_0_3_load_5 | 13 | 0.0045883 | 0.0011499 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1323-17_0_3_load_7 | 14 | 0.002643 | 0.0006624 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1323-17_0_3_load_9 | 15 | 0.010588 | 0.0026535 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1323-17_0_3_load_10 | 16 | 0.0054398 | 0.0013633 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1323-17_0_3_load_18 | 17 | 0.0015354 | 0.00038481 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1323-17_0_3_load_19 | 18 | 0.0015354 | 0.00038481 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1323-17_0_3_load_20 | 19 | 0.0022494 | 0.00056376 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1323-17_0_3_load_23 | 22 | 0.0032139 | 0.00080549 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1323-17_0_3_load_11 | 24 | 0.0015463 | 0.00038753 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1323-17_0_3_load_12 | 25 | 0.0036826 | 0.00092296 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1323-17_0_3_load_31 | 28 | 0.00062621 | 0.00015694 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1323-17_0_3_load_33 | 30 | 0.002432 | 0.00060952 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1323-17_0_3_load_27 | 32 | 0.0043197 | 0.0010826 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1323-17_0_3_load_26 | 33 | 0.0018778 | 0.00047061 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1323-17_0_3_load_42 | 34 | 0.015363 | 0.0038502 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1323-17_0_3_load_41 | 35 | 0.0030082 | 0.00075393 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1323-17_0_3_load_28 | 36 | 0.0016339 | 0.00040949 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1323-17_0_3_load_34 | 38 | 0.00071082 | 0.00017815 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1323-17_0_3_load_37 | 39 | 0.00080671 | 0.00020218 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1323-17_0_3_load_40 | 41 | 0.00055251 | 0.00013847 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1323-17_0_3_load_39 | 42 | 0.00046029 | 0.00011536 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1323-17_0_3_line_0 |  | 0 | 1 | 0.0046451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1323-17_0_3_line_1 |  | 0 | 2 | 0.037576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1323-17_0_3_line_2 |  | 1 | 3 | 0.15117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1323-17_0_3_line_3 |  | 2 | 4 | 0.021025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1323-17_0_3_line_4 |  | 3 | 5 | 0.023522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1323-17_0_3_line_5 |  | 4 | 6 | 0.0021516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1323-17_0_3_line_6 |  | 4 | 7 | 0.02488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1323-17_0_3_line_7 |  | 5 | 11 | 0.019031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1323-17_0_3_line_8 |  | 6 | 12 | 0.028774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1323-17_0_3_line_9 |  | 8 | 9 | 0.49901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1323-17_0_3_line_10 |  | 8 | 10 | 0.087621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1323-17_0_3_line_11 |  | 9 | 22 | 0.024751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1323-17_0_3_line_12 |  | 10 | 13 | 0.063022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1323-17_0_3_line_13 |  | 11 | 39 | 0.15623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1323-17_0_3_line_14 |  | 12 | 27 | 0.057108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1323-17_0_3_line_15 |  | 12 | 26 | 0.007718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1323-17_0_3_line_16 |  | 13 | 14 | 0.0025461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1323-17_0_3_line_17 |  | 14 | 15 | 0.011185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1323-17_0_3_line_18 |  | 15 | 16 | 0.0092967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1323-17_0_3_line_19 |  | 16 | 24 | 0.04784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1323-17_0_3_line_20 |  | 17 | 18 | 0.0014402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1323-17_0_3_line_21 |  | 17 | 19 | 0.06875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1323-17_0_3_line_22 |  | 18 | 20 | 0.022614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1323-17_0_3_line_23 |  | 19 | 21 | 0.019929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1323-17_0_3_line_24 |  | 20 | 22 | 0.0056975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1323-17_0_3_line_25 |  | 21 | 23 | 0.16131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1323-17_0_3_line_26 |  | 23 | 32 | 0.0078219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1323-17_0_3_line_27 |  | 23 | 33 | 0.055661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1323-17_0_3_line_28 |  | 24 | 25 | 0.0088634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1323-17_0_3_line_29 |  | 25 | 26 | 0.016652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1323-17_0_3_line_30 |  | 27 | 30 | 0.12148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1323-17_0_3_line_31 |  | 28 | 29 | 0.12565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1323-17_0_3_line_32 |  | 29 | 37 | 0.12491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1323-17_0_3_line_33 |  | 29 | 36 | 0.10881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1323-17_0_3_line_34 |  | 30 | 31 | 0.074288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1323-17_0_3_line_35 |  | 31 | 36 | 0.047317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1323-17_0_3_line_36 |  | 34 | 35 | 0.073135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1323-17_0_3_line_37 |  | 35 | 41 | 0.0058461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1323-17_0_3_line_38 |  | 37 | 38 | 0.027074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1323-17_0_3_line_39 |  | 39 | 40 | 0.021397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1323-17_0_3_line_40 |  | 40 | 41 | 0.026285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1323-17_0_3_line_41 |  | 40 | 42 | 0.060195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1323-17_0_3_trafo_35 | 0.63 MVA 20/0.4 kV | 43 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2696269.3215 | 1226709.1165 | 2696264.7158 | 1226709.7204
1 | 2696269.3215 | 1226709.1165 | 2696275.4347 | 1226708.315 | 2696296.3747 | 1226711.4339 | 2696306.539 | 1226712.6698
2 | 2696119.9741 | 1226749.5425 | 2696145.846 | 1226748.1484 | 2696171.1622 | 1226743.1539 | 2696228.5046 | 1226725.1235 | 2696264.7158 | 1226709.7204
3 | 2696327.1066 | 1226716.546 | 2696320.7435 | 1226714.397 | 2696306.539 | 1226712.6698
4 | 2696119.9741 | 1226749.5425 | 2696096.4523 | 1226749.4144
5 | 2696327.1066 | 1226716.546 | 2696328.9145 | 1226715.3794
6 | 2696327.1066 | 1226716.546 | 2696310.351 | 1226729.3507 | 2696307.3012 | 1226731.6032
7 | 2696077.4211 | 1226749.3107 | 2696077.4211 | 1226749.3107 | 2696096.4523 | 1226749.4144
8 | 2696353.0915 | 1226699.7769 | 2696328.9145 | 1226715.3794
9 | 2696161.4509 | 1226592.7225 | 2695847.933 | 1226204.5025
10 | 2696161.4509 | 1226592.7225 | 2696172.1855 | 1226592.229 | 2696202.2235 | 1226603.7338 | 2696223.6055 | 1226605.7921 | 2696246.6986 | 1226603.2906
11 | 2695847.933 | 1226204.5025 | 2695825.5409 | 1226215.0475
12 | 2696276.8911 | 1226636.6205 | 2696276.8911 | 1226636.6205 | 2696273.6413 | 1226623.8366 | 2696278.7063 | 1226608.3185 | 2696262.9878 | 1226601.526 | 2696246.6986 | 1226603.2906
13 | 2696077.4211 | 1226749.3107 | 2696041.8971 | 1226758.3549 | 2695991.523 | 1226776.3216 | 2695931.0522 | 1226802.9802
14 | 2696351.3407 | 1226756.8339 | 2696351.6835 | 1226725.3836 | 2696353.0915 | 1226699.7769
15 | 2696354.1477 | 1226692.133 | 2696353.0915 | 1226699.7769
16 | 2696276.8911 | 1226636.6205 | 2696279.0656 | 1226637.9451
17 | 2696279.0656 | 1226637.9451 | 2696288.618 | 1226643.7638
18 | 2696296.5577 | 1226648.6002 | 2696288.618 | 1226643.7638
19 | 2696296.5577 | 1226648.6002 | 2696301.7003 | 1226651.7328 | 2696317.2183 | 1226670.4196 | 2696330.62 | 1226676.552 | 2696332.8524 | 1226678.2257
20 | 2695799.7589 | 1226226.7434 | 2695798.4453 | 1226227.3337
21 | 2695739.1537 | 1226261.8172 | 2695761.4394 | 1226246.4245 | 2695787.4429 | 1226232.2773 | 2695798.4453 | 1226227.3337
22 | 2695820.3863 | 1226217.4749 | 2695799.7589 | 1226226.7434
23 | 2695723.7204 | 1226274.4044 | 2695736.3475 | 1226263.7554 | 2695739.1537 | 1226261.8172
24 | 2695820.3863 | 1226217.4749 | 2695825.5409 | 1226215.0475
25 | 2695611.8195 | 1226304.3936 | 2695615.1165 | 1226309.6281 | 2695619.7458 | 1226321.1106 | 2695626.5016 | 1226342.7235 | 2695643.9842 | 1226335.5994 | 2695658.5574 | 1226328.3729 | 2695682.7224 | 1226313.0171 | 2695699.941 | 1226297.3383 | 2695723.7204 | 1226274.4044
26 | 2695611.8195 | 1226304.3936 | 2695604.3037 | 1226302.2268
27 | 2695611.8195 | 1226304.3936 | 2695627.8716 | 1226296.6571 | 2695664.2408 | 1226286.2024
28 | 2696339.9441 | 1226683.5425 | 2696332.8524 | 1226678.2257
29 | 2696354.1477 | 1226692.133 | 2696345.1722 | 1226687.4621 | 2696339.9441 | 1226683.5425
30 | 2696351.3407 | 1226756.8339 | 2696350.6483 | 1226788.8012 | 2696351.2614 | 1226828.6286 | 2696356.2896 | 1226855.6071 | 2696362.7418 | 1226876.8804
31 | 2696271.9634 | 1227026.6538 | 2696273.5644 | 1227012.981 | 2696271.7177 | 1226995.016 | 2696266.9558 | 1226974.9802 | 2696263.494 | 1226945.3362 | 2696249.3336 | 1226906.5016 | 2696249.2201 | 1226904.4564
32 | 2696213.2837 | 1227001.4867 | 2696226.9418 | 1227064.3304 | 2696236.5817 | 1227060.7059 | 2696250.643 | 1227052.2606 | 2696267.6293 | 1227036.3796 | 2696271.9634 | 1227026.6538
33 | 2696271.9634 | 1227026.6538 | 2696305.015 | 1226994.688 | 2696353.1387 | 1226954.2876
34 | 2696395.9612 | 1226943.2903 | 2696375.2619 | 1226903.8601 | 2696363.0609 | 1226877.9328 | 2696362.7418 | 1226876.8804
35 | 2696395.9612 | 1226943.2903 | 2696380.261 | 1226941.5125 | 2696367.438 | 1226942.2832 | 2696353.1387 | 1226954.2876
36 | 2695881.5949 | 1226823.4313 | 2695876.6618 | 1226825.3828 | 2695832.0416 | 1226834.9264 | 2695809.8654 | 1226833.8864
37 | 2695881.5949 | 1226823.4313 | 2695887.0311 | 1226821.2807
38 | 2696213.2837 | 1227001.4867 | 2696213.3293 | 1226974.4127
39 | 2695911.4731 | 1226811.6117 | 2695931.0522 | 1226802.9802
40 | 2695911.4731 | 1226811.6117 | 2695887.0311 | 1226821.2807
41 | 2695911.4731 | 1226811.6117 | 2695917.0923 | 1226818.9964 | 2695930.5067 | 1226823.4047 | 2695944.3244 | 1226823.9501 | 2695957.9357 | 1226819.9111 | 2695963.2113 | 1226820.8746 | 2695964.5174 | 1226824.0202

## bus_geodata
| x | y | coords
0 | 2696269.3215 | 1226709.1165
1 | 2696264.7158 | 1226709.7204
2 | 2696306.539 | 1226712.6698
3 | 2696119.9741 | 1226749.5425
4 | 2696327.1066 | 1226716.546
5 | 2696096.4523 | 1226749.4144
6 | 2696328.9145 | 1226715.3794
7 | 2696307.3012 | 1226731.6032
8 | 2696161.4509 | 1226592.7225
9 | 2695847.933 | 1226204.5025
10 | 2696246.6986 | 1226603.2906
11 | 2696077.4211 | 1226749.3107
12 | 2696353.0915 | 1226699.7769
13 | 2696276.8911 | 1226636.6205
14 | 2696279.0656 | 1226637.9451
15 | 2696288.618 | 1226643.7638
16 | 2696296.5577 | 1226648.6002
17 | 2695798.4453 | 1226227.3337
18 | 2695799.7589 | 1226226.7434
19 | 2695739.1537 | 1226261.8172
20 | 2695820.3863 | 1226217.4749
21 | 2695723.7204 | 1226274.4044
22 | 2695825.5409 | 1226215.0475
23 | 2695611.8195 | 1226304.3936
24 | 2696332.8524 | 1226678.2257
25 | 2696339.9441 | 1226683.5425
26 | 2696354.1477 | 1226692.133
27 | 2696351.3407 | 1226756.8339
28 | 2696249.2201 | 1226904.4564
29 | 2696271.9634 | 1227026.6538
30 | 2696362.7418 | 1226876.8804
31 | 2696395.9612 | 1226943.2903
32 | 2695604.3037 | 1226302.2268
33 | 2695664.2408 | 1226286.2024
34 | 2695809.8654 | 1226833.8864
35 | 2695881.5949 | 1226823.4313
36 | 2696353.1387 | 1226954.2876
37 | 2696213.2837 | 1227001.4867
38 | 2696213.3293 | 1226974.4127
39 | 2695931.0522 | 1226802.9802
40 | 2695911.4731 | 1226811.6117
41 | 2695887.0311 | 1226821.2807
42 | 2695964.5174 | 1226824.0202
43 | 2696119.9741 | 1226749.5425

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99356 | -0.12264 | 0.002365 | 0.00059272
1 | 0.99384 | -0.1173 | 0.0025881 | 0.00064865
2 | 0.99138 | -0.16443 | 0.0028366 | 0.00071092
3 | 0.99856 | -0.027288 | 0 | 0
4 | 0.99021 | -0.18683 | 0 | 0
5 | 0.9993 | -0.013359 | 0.012679 | 0.0031778
6 | 0.9901 | -0.18909 | 0.0048433 | 0.0012138
7 | 0.99019 | -0.18721 | 0.00087294 | 0.00021878
8 | 0.98199 | -0.346 | 0 | 0
9 | 0.97403 | -0.50177 | 0.0023784 | 0.00059608
10 | 0.98339 | -0.3189 | 0.0032274 | 0.00080887
11 | 1 | 0 | -0.10339 | -0.025904
12 | 0.98865 | -0.2169 | 0 | 0
13 | 0.98458 | -0.29579 | 0.0045883 | 0.0011499
14 | 0.98464 | -0.29465 | 0.002643 | 0.0006624
15 | 0.98492 | -0.2891 | 0.010588 | 0.0026535
16 | 0.98525 | -0.28272 | 0.0054398 | 0.0013633
17 | 0.97337 | -0.51474 | 0.0015354 | 0.00038481
18 | 0.97338 | -0.51447 | 0.0015354 | 0.00038481
19 | 0.97283 | -0.52544 | 0.0022494 | 0.00056376
20 | 0.97363 | -0.50968 | 0 | 0
21 | 0.97271 | -0.52772 | 0 | 0
22 | 0.97369 | -0.50847 | 0.0032139 | 0.00080549
23 | 0.97178 | -0.54616 | 0 | 0
24 | 0.98718 | -0.24532 | 0.0015463 | 0.00038753
25 | 0.98755 | -0.23816 | 0.0036826 | 0.00092296
26 | 0.98831 | -0.22363 | 0 | 0
27 | 0.98837 | -0.22243 | 0 | 0
28 | 0.98723 | -0.24471 | 0.00062621 | 0.00015694
29 | 0.9873 | -0.2433 | 0 | 0
30 | 0.98777 | -0.23419 | 0.002432 | 0.00060952
31 | 0.98757 | -0.23815 | 0 | 0
32 | 0.97175 | -0.54679 | 0.0043197 | 0.0010826
33 | 0.97168 | -0.54809 | 0.0018778 | 0.00047061
34 | 0.99517 | -0.092807 | 0.015363 | 0.0038502
35 | 0.9962 | -0.073053 | 0.0030082 | 0.00075393
36 | 0.98744 | -0.24067 | 0.0016339 | 0.00040949
37 | 0.98722 | -0.24489 | 0 | 0
38 | 0.9872 | -0.24524 | 0.00071082 | 0.00017815
39 | 0.99713 | -0.055159 | 0.00080671 | 0.00020218
40 | 0.99675 | -0.062435 | 0 | 0
41 | 0.9963 | -0.071166 | 0.00055251 | 0.00013847
42 | 0.99672 | -0.062922 | 0.00046029 | 0.00011536
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.06578 | -0.016709 | 0.065797 | 0.01672 | 1.6933e-05 | 1.0777e-05 | 0.098596 | 0.098596 | 0.098596 | 0.99356 | -0.12264 | 0.99384 | -0.1173 | 27.0868
1 | 0.063415 | 0.016116 | -0.063288 | -0.016035 | 0.00012732 | 8.0996e-05 | 0.095054 | 0.095054 | 0.095054 | 0.99356 | -0.12264 | 0.99138 | -0.16443 | 26.1138
2 | -0.068385 | -0.017368 | 0.068683 | 0.017555 | 0.00029763 | 0.00018655 | 0.10247 | 0.10247 | 0.10247 | 0.99384 | -0.1173 | 0.99856 | -0.027288 | 14.0757
3 | 0.060451 | 0.015324 | -0.060386 | -0.015283 | 6.5e-05 | 4.1329e-05 | 0.090797 | 0.090797 | 0.090797 | 0.99138 | -0.16443 | 0.99021 | -0.18683 | 24.9442
4 | -0.068683 | -0.017555 | 0.068729 | 0.017584 | 4.6309e-05 | 2.9022e-05 | 0.10247 | 0.10247 | 0.10247 | 0.99856 | -0.027288 | 0.9993 | -0.013359 | 14.0755
5 | 0.059513 | 0.015064 | -0.059507 | -0.01506 | 6.4609e-06 | 4.1073e-06 | 0.089485 | 0.089485 | 0.089485 | 0.99021 | -0.18683 | 0.9901 | -0.18909 | 24.5838
6 | 0.00087296 | 0.00021847 | -0.00087294 | -0.00021878 | 1.6054e-08 | -3.0976e-07 | 0.0013117 | 0.0013118 | 0.0013118 | 0.99021 | -0.18683 | 0.99019 | -0.18721 | 0.36039
7 | -0.081409 | -0.020762 | 0.081461 | 0.020795 | 5.2547e-05 | 3.3131e-05 | 0.12135 | 0.12135 | 0.12135 | 0.9993 | -0.013359 | 1 | 0 | 16.6689
8 | 0.054664 | 0.013846 | -0.054591 | -0.0138 | 7.292e-05 | 4.6299e-05 | 0.082206 | 0.082206 | 0.082206 | 0.9901 | -0.18909 | 0.98865 | -0.2169 | 22.5841
9 | 0.017257 | 0.0043714 | -0.017129 | -0.0042957 | 0.00012813 | 7.5744e-05 | 0.026166 | 0.026169 | 0.026169 | 0.98199 | -0.346 | 0.97403 | -0.50177 | 7.1892
10 | -0.017257 | -0.0043714 | 0.017279 | 0.0043847 | 2.2497e-05 | 1.3288e-05 | 0.026166 | 0.026166 | 0.026166 | 0.98199 | -0.346 | 0.98339 | -0.3189 | 7.1886
11 | 0.01475 | 0.0036996 | -0.014746 | -0.0036969 | 4.7135e-06 | 2.7087e-06 | 0.022535 | 0.022535 | 0.022535 | 0.97403 | -0.50177 | 0.97369 | -0.50847 | 6.191
12 | -0.020507 | -0.0051936 | 0.02053 | 0.0052074 | 2.2784e-05 | 1.3781e-05 | 0.03105 | 0.031049 | 0.03105 | 0.98339 | -0.3189 | 0.98458 | -0.29579 | 8.5301
13 | 0.020274 | 0.0051095 | -0.020221 | -0.0050774 | 5.3357e-05 | 3.2105e-05 | 0.030179 | 0.030179 | 0.030179 | 1 | 0 | 0.99713 | -0.055159 | 8.291
14 | 0.0054086 | 0.0013489 | -0.0054071 | -0.0013487 | 1.4183e-06 | 1.7564e-07 | 0.008138 | 0.0081383 | 0.0081383 | 0.98865 | -0.2169 | 0.98837 | -0.22243 | 2.2358
15 | 0.049182 | 0.012451 | -0.049166 | -0.012441 | 1.5878e-05 | 1.0063e-05 | 0.074068 | 0.074068 | 0.074068 | 0.98865 | -0.2169 | 0.98831 | -0.22363 | 20.3484
16 | -0.025118 | -0.0063573 | 0.025119 | 0.0063581 | 1.3775e-06 | 8.4924e-07 | 0.037984 | 0.037984 | 0.037984 | 0.98458 | -0.29579 | 0.98464 | -0.29465 | 10.4351
17 | -0.027762 | -0.0070205 | 0.02777 | 0.0070251 | 7.3911e-06 | 4.588e-06 | 0.041978 | 0.041978 | 0.041978 | 0.98464 | -0.29465 | 0.98492 | -0.2891 | 11.5324
18 | -0.038357 | -0.0096786 | 0.038369 | 0.009686 | 1.1717e-05 | 7.3806e-06 | 0.057973 | 0.057973 | 0.057973 | 0.98492 | -0.2891 | 0.98525 | -0.28272 | 15.9268
19 | -0.043809 | -0.011049 | 0.043887 | 0.011099 | 7.8594e-05 | 4.969e-05 | 0.066189 | 0.066189 | 0.066189 | 0.98525 | -0.28272 | 0.98718 | -0.24532 | 18.1838
20 | -0.009993 | -0.0025048 | 0.0099931 | 0.0025048 | 1.2604e-07 | 6.2763e-08 | 0.015277 | 0.015277 | 0.015277 | 0.97337 | -0.51474 | 0.97338 | -0.51447 | 4.1969
21 | 0.0084576 | 0.00212 | -0.0084533 | -0.0021181 | 4.3099e-06 | 1.9043e-06 | 0.012929 | 0.01293 | 0.01293 | 0.97337 | -0.51474 | 0.97283 | -0.52544 | 3.5521
22 | -0.011529 | -0.0028896 | 0.011531 | 0.002891 | 2.634e-06 | 1.4046e-06 | 0.017624 | 0.017624 | 0.017624 | 0.97338 | -0.51447 | 0.97363 | -0.50968 | 4.8417
23 | 0.0062039 | 0.0015543 | -0.0062032 | -0.0015541 | 6.7291e-07 | 1.8326e-07 | 0.0094891 | 0.0094892 | 0.0094892 | 0.97283 | -0.52544 | 0.97271 | -0.52772 | 2.6069
24 | -0.011531 | -0.002891 | 0.011532 | 0.0028914 | 6.6361e-07 | 3.5385e-07 | 0.017624 | 0.017624 | 0.017624 | 0.97363 | -0.50968 | 0.97369 | -0.50847 | 4.8417
25 | 0.0062032 | 0.0015541 | -0.0061977 | -0.0015526 | 5.4473e-06 | 1.4858e-06 | 0.0094892 | 0.0094899 | 0.0094899 | 0.97271 | -0.52772 | 0.97178 | -0.54616 | 2.6071
26 | 0.0043198 | 0.0010826 | -0.0043197 | -0.0010826 | 1.2834e-07 | -1.477e-08 | 0.0066146 | 0.0066146 | 0.0066146 | 0.97178 | -0.54616 | 0.97175 | -0.54679 | 1.8172
27 | 0.0018779 | 0.00047003 | -0.0018778 | -0.00047061 | 1.7258e-07 | -5.7908e-07 | 0.0028753 | 0.0028756 | 0.0028756 | 0.97178 | -0.54616 | 0.97168 | -0.54809 | 0.78999
28 | -0.045434 | -0.011487 | 0.045449 | 0.011496 | 1.5605e-05 | 9.8737e-06 | 0.068519 | 0.068519 | 0.068519 | 0.98718 | -0.24532 | 0.98755 | -0.23816 | 18.824
29 | -0.049132 | -0.012419 | 0.049166 | 0.012441 | 3.4259e-05 | 2.1712e-05 | 0.074068 | 0.074068 | 0.074068 | 0.98755 | -0.23816 | 0.98831 | -0.22363 | 20.3484
30 | 0.0054071 | 0.0013487 | -0.0054041 | -0.0013484 | 3.0174e-06 | 3.752e-07 | 0.0081383 | 0.0081388 | 0.0081388 | 0.98837 | -0.22243 | 0.98777 | -0.23419 | 2.2359
31 | -0.00062621 | -0.00015694 | 0.00062625 | 0.00015536 | 4.1951e-08 | -1.5799e-06 | 0.00094386 | 0.00094329 | 0.00094386 | 0.98723 | -0.24471 | 0.9873 | -0.2433 | 0.2593
32 | 0.00071088 | 0.00017625 | -0.00071083 | -0.00017781 | 5.3731e-08 | -1.5629e-06 | 0.0010707 | 0.0010713 | 0.0010713 | 0.9873 | -0.2433 | 0.98722 | -0.24489 | 0.29431
33 | -0.0013371 | -0.00033161 | 0.0013373 | 0.00033032 | 1.6548e-07 | -1.2858e-06 | 0.002014 | 0.0020135 | 0.002014 | 0.9873 | -0.2433 | 0.98744 | -0.24067 | 0.5533
34 | 0.0029721 | 0.00073884 | -0.0029715 | -0.00073943 | 5.5795e-07 | -5.9362e-07 | 0.0044752 | 0.0044755 | 0.0044755 | 0.98777 | -0.23419 | 0.98757 | -0.23815 | 1.2295
35 | 0.0029715 | 0.00073943 | -0.0029712 | -0.00073981 | 3.5543e-07 | -3.7787e-07 | 0.0044755 | 0.0044757 | 0.0044757 | 0.98757 | -0.23815 | 0.98744 | -0.24067 | 1.2296
36 | -0.015363 | -0.0038502 | 0.015377 | 0.0038586 | 1.4471e-05 | 8.3102e-06 | 0.022971 | 0.02297 | 0.022971 | 0.99517 | -0.092807 | 0.9962 | -0.073053 | 6.3106
37 | -0.018385 | -0.0046125 | 0.018387 | 0.0046135 | 1.6536e-06 | 9.8215e-07 | 0.027464 | 0.027464 | 0.027464 | 0.9962 | -0.073053 | 0.9963 | -0.071166 | 7.545
38 | 0.00071083 | 0.00017781 | -0.00071082 | -0.00017815 | 1.1653e-08 | -3.3871e-07 | 0.0010713 | 0.0010714 | 0.0010714 | 0.98722 | -0.24489 | 0.9872 | -0.24524 | 0.29434
39 | 0.019414 | 0.0048753 | -0.019408 | -0.0048712 | 6.7368e-06 | 4.0326e-06 | 0.028976 | 0.028976 | 0.028976 | 0.99713 | -0.055159 | 0.99675 | -0.062435 | 7.9603
40 | 0.018947 | 0.0047566 | -0.018939 | -0.0047519 | 7.888e-06 | 4.7059e-06 | 0.028289 | 0.028289 | 0.028289 | 0.99675 | -0.062435 | 0.9963 | -0.071166 | 7.7717
41 | 0.0004603 | 0.00011458 | -0.00046029 | -0.00011536 | 1.0655e-08 | -7.7775e-07 | 0.0006869 | 0.00068718 | 0.00068718 | 0.99675 | -0.062435 | 0.99672 | -0.062922 | 0.18878

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.1062 | 0.026609

## res_load
| p_mw | q_mvar
0 | 0.002365 | 0.00059272
1 | 0.0025881 | 0.00064865
2 | 0.0028366 | 0.00071092
3 | 0.012679 | 0.0031778
4 | 0.0048433 | 0.0012138
5 | 0.00087294 | 0.00021878
6 | 0.0023784 | 0.00059608
7 | 0.0032274 | 0.00080887
8 | 0.0028129 | 0.00070499
9 | 0.0045883 | 0.0011499
10 | 0.002643 | 0.0006624
11 | 0.010588 | 0.0026535
12 | 0.0054398 | 0.0013633
13 | 0.0015354 | 0.00038481
14 | 0.0015354 | 0.00038481
15 | 0.0022494 | 0.00056376
16 | 0.0032139 | 0.00080549
17 | 0.0015463 | 0.00038753
18 | 0.0036826 | 0.00092296
19 | 0.00062621 | 0.00015694
20 | 0.002432 | 0.00060952
21 | 0.0043197 | 0.0010826
22 | 0.0018778 | 0.00047061
23 | 0.015363 | 0.0038502
24 | 0.0030082 | 0.00075393
25 | 0.0016339 | 0.00040949
26 | 0.00071082 | 0.00017815
27 | 0.00080671 | 0.00020218
28 | 0.00055251 | 0.00013847
29 | 0.00046029 | 0.00011536

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1